## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2542-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2542-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2542-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2542-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2542-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2542-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2542-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2542-2_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_2542-2_0_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_2542-2_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_2542-2_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2542-2_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_2542-2_0_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_2542-2_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_2542-2_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_2542-2_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2542-2_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2542-2_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2542-2_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2542-2_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2542-2_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2542-2_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_2542-2_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2542-2_0_3_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_2542-2_0_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_2542-2_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_2542-2_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2542-2_0_3_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_2542-2_0_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_2542-2_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_2542-2_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2542-2_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2542-2_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2542-2_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2542-2_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2542-2_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2542-2_0_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_2542-2_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2542-2_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2542-2_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2542-2_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2542-2_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2542-2_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2542-2_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2542-2_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2542-2_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2542-2_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2542-2_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2542-2_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_2542-2_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2542-2_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2542-2_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2542-2_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2542-2_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2542-2_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2542-2_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_2542-2_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_2542-2_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2542-2_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_MV_292_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2542-2_0_3_load_0 | 0 | 0.084277 | 0.021122 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2542-2_0_3_load_3 | 3 | 0.099542 | 0.024948 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2542-2_0_3_load_4 | 4 | 0.0036131 | 0.00090552 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2542-2_0_3_load_5 | 5 | 0.024994 | 0.006264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2542-2_0_3_load_6 | 6 | 0.00032626 | 8.1769e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2542-2_0_3_load_22 | 9 | 0.0057578 | 0.001443 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2542-2_0_3_load_28 | 10 | 0.00028508 | 7.1447e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2542-2_0_3_load_50 | 11 | 0.0092075 | 0.0023076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2542-2_0_3_load_51 | 12 | 0.014365 | 0.0036003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2542-2_0_3_load_27 | 14 | 0.0013657 | 0.00034228 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2542-2_0_3_load_7 | 15 | 0.0015562 | 0.00039003 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2542-2_0_3_load_10 | 18 | 0.0070681 | 0.0017714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2542-2_0_3_load_11 | 19 | 0.00022767 | 5.7059e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2542-2_0_3_load_18 | 22 | 0.00025256 | 6.3297e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2542-2_0_3_load_63 | 24 | 0.001036 | 0.00025964 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2542-2_0_3_load_30 | 25 | 0.0038071 | 0.00095414 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2542-2_0_3_load_60 | 27 | 0.00072766 | 0.00018237 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2542-2_0_3_load_55 | 28 | 0.0047611 | 0.0011932 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2542-2_0_3_load_64 | 29 | 0.0026779 | 0.00067113 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2542-2_0_3_load_14 | 30 | 0.0016548 | 0.00041474 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2542-2_0_3_load_53 | 32 | 0.0023707 | 0.00059416 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2542-2_0_3_load_65 | 36 | 0.00012988 | 3.255e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2542-2_0_3_load_26 | 37 | 0.00015804 | 3.9609e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2542-2_0_3_load_25 | 39 | 0.00048346 | 0.00012117 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2542-2_0_3_load_23 | 40 | 0.00035234 | 8.8306e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2542-2_0_3_load_24 | 41 | 0.00099345 | 0.00024898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2542-2_0_3_load_34 | 42 | 0.026402 | 0.0066171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2542-2_0_3_load_54 | 47 | 0.067446 | 0.016903 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2542-2_0_3_load_48 | 48 | 0.0014411 | 0.00036117 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2542-2_0_3_load_52 | 49 | 0.004798 | 0.0012025 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2542-2_0_3_load_47 | 50 | 0.0022896 | 0.00057382 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2542-2_0_3_load_41 | 51 | 0.0027265 | 0.00068333 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2542-2_0_3_load_42 | 52 | 0.00050831 | 0.00012739 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2542-2_0_3_load_43 | 53 | 0.00081356 | 0.0002039 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2542-2_0_3_load_46 | 54 | 0.0037504 | 0.00093994 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2542-2_0_3_load_59 | 57 | 0.00072419 | 0.0001815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2542-2_0_3_load_61 | 58 | 0.0051428 | 0.0012889 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2542-2_0_3_line_0 |  | 0 | 1 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2542-2_0_3_line_1 |  | 0 | 2 | 0.05299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2542-2_0_3_line_2 |  | 1 | 3 | 0.056976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2542-2_0_3_line_3 |  | 1 | 4 | 0.033459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2542-2_0_3_line_4 |  | 2 | 5 | 0.013366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2542-2_0_3_line_5 |  | 2 | 6 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2542-2_0_3_line_6 |  | 3 | 7 | 0.031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2542-2_0_3_line_7 |  | 4 | 8 | 0.16156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2542-2_0_3_line_8 |  | 5 | 9 | 0.0052183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2542-2_0_3_line_9 |  | 6 | 10 | 0.02726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2542-2_0_3_line_10 |  | 7 | 11 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2542-2_0_3_line_11 |  | 7 | 12 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2542-2_0_3_line_12 |  | 8 | 13 | 0.16125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2542-2_0_3_line_13 |  | 10 | 14 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2542-2_0_3_line_14 |  | 11 | 49 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2542-2_0_3_line_15 |  | 12 | 45 | 0.0027837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2542-2_0_3_line_16 |  | 13 | 52 | 0.06292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2542-2_0_3_line_17 |  | 14 | 38 | 0.044447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2542-2_0_3_line_18 |  | 15 | 16 | 0.01973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2542-2_0_3_line_19 |  | 15 | 17 | 0.007233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2542-2_0_3_line_20 |  | 16 | 18 | 0.10137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2542-2_0_3_line_21 |  | 16 | 19 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2542-2_0_3_line_22 |  | 17 | 20 | 0.03955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2542-2_0_3_line_23 |  | 18 | 21 | 0.019085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2542-2_0_3_line_24 |  | 19 | 22 | 0.03041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2542-2_0_3_line_25 |  | 20 | 23 | 0.017706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2542-2_0_3_line_26 |  | 20 | 24 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2542-2_0_3_line_27 |  | 21 | 25 | 0.057679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2542-2_0_3_line_28 |  | 22 | 26 | 0.018018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2542-2_0_3_line_29 |  | 23 | 27 | 0.01274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2542-2_0_3_line_30 |  | 23 | 28 | 0.0097574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2542-2_0_3_line_31 |  | 24 | 29 | 0.03686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2542-2_0_3_line_32 |  | 25 | 35 | 0.034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2542-2_0_3_line_33 |  | 26 | 31 | 0.004809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2542-2_0_3_line_34 |  | 26 | 30 | 0.019902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2542-2_0_3_line_35 |  | 28 | 55 | 0.018976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2542-2_0_3_line_36 |  | 31 | 32 | 0.089824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2542-2_0_3_line_37 |  | 33 | 34 | 0.051085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2542-2_0_3_line_38 |  | 33 | 35 | 0.082673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2542-2_0_3_line_39 |  | 33 | 36 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2542-2_0_3_line_40 |  | 34 | 37 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2542-2_0_3_line_41 |  | 34 | 38 | 0.030907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2542-2_0_3_line_42 |  | 37 | 39 | 0.012019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2542-2_0_3_line_43 |  | 39 | 41 | 0.01719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2542-2_0_3_line_44 |  | 40 | 41 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2542-2_0_3_line_45 |  | 42 | 43 | 0.088548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2542-2_0_3_line_46 |  | 43 | 44 | 0.005702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2542-2_0_3_line_47 |  | 43 | 45 | 0.024529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2542-2_0_3_line_48 |  | 43 | 46 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2542-2_0_3_line_49 |  | 44 | 47 | 0.044917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2542-2_0_3_line_50 |  | 46 | 48 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2542-2_0_3_line_51 |  | 48 | 50 | 0.027771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2542-2_0_3_line_52 |  | 50 | 54 | 0.0057873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2542-2_0_3_line_53 |  | 51 | 52 | 0.010338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2542-2_0_3_line_54 |  | 51 | 53 | 0.0058635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2542-2_0_3_line_55 |  | 55 | 56 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2542-2_0_3_line_56 |  | 55 | 57 | 0.015264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2542-2_0_3_line_57 |  | 56 | 58 | 0.022623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2542-2_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 59 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2604496.6254 | 1228728.5428 | 2604478.2189 | 1228723.8837
1 | 2604426.8487 | 1228710.8808 | 2604478.2189 | 1228723.8837
2 | 2604496.6254 | 1228728.5428 | 2604540.8165 | 1228737.9147 | 2604552.4499 | 1228739.9032
3 | 2604496.6254 | 1228728.5428 | 2604502.167 | 1228695.5457
4 | 2604426.8487 | 1228710.8808 | 2604423.7178 | 1228723.8751
5 | 2604426.8487 | 1228710.8808 | 2604412.2666 | 1228707.189
6 | 2604583.8045 | 1228745.2626 | 2604552.4499 | 1228739.9032
7 | 2604528.2025 | 1228536.0969 | 2604509.4326 | 1228652.4628 | 2604506.5106 | 1228669.6819 | 2604502.167 | 1228695.5457
8 | 2604423.7178 | 1228723.8751 | 2604423.7178 | 1228723.8751 | 2604428.7577 | 1228725.2281
9 | 2604412.2666 | 1228707.189 | 2604385.8407 | 1228700.4987
10 | 2604583.8045 | 1228745.2626 | 2604577.9369 | 1228770.2285 | 2604577.9369 | 1228770.2285
11 | 2604583.8045 | 1228745.2626 | 2604595.0744 | 1228747.1935
12 | 2604528.2025 | 1228536.0969 | 2604665.1516 | 1228563.3617 | 2604686.3997 | 1228567.3027
13 | 2604385.8407 | 1228700.4987 | 2604363.581 | 1228694.8631
14 | 2604577.9369 | 1228770.2285 | 2604591.6542 | 1228773.7744
15 | 2604597.8181 | 1228747.6636 | 2604595.0744 | 1228747.1935
16 | 2604686.3997 | 1228567.3027 | 2604662.5954 | 1228625.5457
17 | 2604320.4935 | 1228683.9545 | 2604363.581 | 1228694.8631
18 | 2604495.4001 | 1228868.4025 | 2604515.0116 | 1228870.5648
19 | 2604522.201 | 1228871.3575 | 2604515.0116 | 1228870.5648
20 | 2604495.4001 | 1228868.4025 | 2604397.5498 | 1228841.9275
21 | 2604495.4001 | 1228868.4025 | 2604495.7346 | 1228850.424
22 | 2604522.201 | 1228871.3575 | 2604550.8886 | 1228873.8361 | 2604561.5466 | 1228875.2783
23 | 2604379.1271 | 1228836.9429 | 2604397.5498 | 1228841.9275
24 | 2604495.7346 | 1228850.424 | 2604496.3003 | 1228820.0193
25 | 2604579.1433 | 1228877.6597 | 2604561.5466 | 1228875.2783
26 | 2604561.5466 | 1228875.2783 | 2604563.3136 | 1228861.2493
27 | 2604379.1271 | 1228836.9429 | 2604323.4503 | 1228821.8778
28 | 2604496.7525 | 1228802.0086 | 2604496.5522 | 1228806.4777 | 2604496.3003 | 1228820.0193
29 | 2604579.1433 | 1228877.6597 | 2604580.1158 | 1228890.3625
30 | 2604579.1433 | 1228877.6597 | 2604588.8129 | 1228878.9658
31 | 2604554.6618 | 1228833.0037 | 2604563.7893 | 1228834.8339 | 2604565.0085 | 1228835.5241 | 2604565.6215 | 1228836.3917 | 2604566.0521 | 1228837.9596 | 2604566.0509 | 1228839.5161 | 2604563.3136 | 1228861.2493
32 | 2604289.901 | 1228812.7979 | 2604304.0651 | 1228816.6325 | 2604323.4503 | 1228821.8778
33 | 2604496.9758 | 1228797.2059 | 2604496.7525 | 1228802.0086
34 | 2604496.7525 | 1228802.0086 | 2604516.0465 | 1228806.8914
35 | 2604607.6177 | 1228881.5059 | 2604588.8129 | 1228878.9658
36 | 2604496.9758 | 1228797.2059 | 2604584.1524 | 1228818.8544
37 | 2604286.8061 | 1228743.6325 | 2604296.2896 | 1228745.8739 | 2604297.8753 | 1228742.662 | 2604300.3015 | 1228740.0066 | 2604303.3786 | 1228738.1522 | 2604306.8491 | 1228737.2208 | 2604310.4476 | 1228737.29 | 2604312.7889 | 1228726.2074 | 2604315.1989 | 1228714.4021
38 | 2604286.8061 | 1228743.6325 | 2604296.2896 | 1228745.8739 | 2604295.7652 | 1228748.2194 | 2604295.6953 | 1228750.6208 | 2604296.5033 | 1228754.3124 | 2604298.3646 | 1228757.6046 | 2604301.1204 | 1228760.197 | 2604304.5208 | 1228761.867 | 2604301.7715 | 1228771.5152 | 2604296.0684 | 1228790.667 | 2604289.901 | 1228812.7979
39 | 2604286.8061 | 1228743.6325 | 2604283.5508 | 1228740.4061 | 2604280.0373 | 1228737.8465 | 2604276.0157 | 1228736.1093 | 2604272.4448 | 1228735.2464
40 | 2604315.1989 | 1228714.4021 | 2604299.4079 | 1228709.7906
41 | 2604320.4935 | 1228683.9545 | 2604315.1989 | 1228714.4021
42 | 2604287.8709 | 1228706.4214 | 2604299.4079 | 1228709.7906
43 | 2604287.8709 | 1228706.4214 | 2604271.3705 | 1228701.6027
44 | 2604259.4993 | 1228698.1359 | 2604271.3705 | 1228701.6027
45 | 2604622.0655 | 1228751.8068 | 2604643.8524 | 1228753.758 | 2604668.5965 | 1228752.2762 | 2604709.6672 | 1228744.0533
46 | 2604622.0655 | 1228751.8068 | 2604620.8946 | 1228757.387
47 | 2604622.0655 | 1228751.8068 | 2604597.8181 | 1228747.6636
48 | 2604622.0655 | 1228751.8068 | 2604626.4599 | 1228731.6204
49 | 2604620.8946 | 1228757.387 | 2604664.53 | 1228768.0383
50 | 2604626.4599 | 1228731.6204 | 2604638.7084 | 1228733.7864
51 | 2604638.7084 | 1228733.7864 | 2604652.0328 | 1228736.1427 | 2604659.2454 | 1228735.7481 | 2604660.1281 | 1228728.7879
52 | 2604660.8562 | 1228723.0466 | 2604660.1281 | 1228728.7879
53 | 2604658.6842 | 1228635.1153 | 2604662.5954 | 1228625.5457
54 | 2604658.6842 | 1228635.1153 | 2604656.4659 | 1228640.543
55 | 2604607.6177 | 1228881.5059 | 2604615.9653 | 1228882.6352 | 2604628.4709 | 1228885.1907
56 | 2604607.6177 | 1228881.5059 | 2604605.0842 | 1228896.5586
57 | 2604628.4709 | 1228885.1907 | 2604650.6341 | 1228889.7265

## bus_geodata
| x | y | coords
0 | 2604478.2189 | 1228723.8837
1 | 2604496.6254 | 1228728.5428
2 | 2604426.8487 | 1228710.8808
3 | 2604552.4499 | 1228739.9032
4 | 2604502.167 | 1228695.5457
5 | 2604423.7178 | 1228723.8751
6 | 2604412.2666 | 1228707.189
7 | 2604583.8045 | 1228745.2626
8 | 2604528.2025 | 1228536.0969
9 | 2604428.7577 | 1228725.2281
10 | 2604385.8407 | 1228700.4987
11 | 2604577.9369 | 1228770.2285
12 | 2604595.0744 | 1228747.1935
13 | 2604686.3997 | 1228567.3027
14 | 2604363.581 | 1228694.8631
15 | 2604515.0116 | 1228870.5648
16 | 2604495.4001 | 1228868.4025
17 | 2604522.201 | 1228871.3575
18 | 2604397.5498 | 1228841.9275
19 | 2604495.7346 | 1228850.424
20 | 2604561.5466 | 1228875.2783
21 | 2604379.1271 | 1228836.9429
22 | 2604496.3003 | 1228820.0193
23 | 2604579.1433 | 1228877.6597
24 | 2604563.3136 | 1228861.2493
25 | 2604323.4503 | 1228821.8778
26 | 2604496.7525 | 1228802.0086
27 | 2604580.1158 | 1228890.3625
28 | 2604588.8129 | 1228878.9658
29 | 2604554.6618 | 1228833.0037
30 | 2604516.0465 | 1228806.8914
31 | 2604496.9758 | 1228797.2059
32 | 2604584.1524 | 1228818.8544
33 | 2604286.8061 | 1228743.6325
34 | 2604315.1989 | 1228714.4021
35 | 2604289.901 | 1228812.7979
36 | 2604272.4448 | 1228735.2464
37 | 2604299.4078 | 1228709.7906
38 | 2604320.4935 | 1228683.9545
39 | 2604287.8709 | 1228706.4214
40 | 2604259.4993 | 1228698.1359
41 | 2604271.3705 | 1228701.6027
42 | 2604709.6672 | 1228744.0533
43 | 2604622.0655 | 1228751.8068
44 | 2604620.8946 | 1228757.387
45 | 2604597.8181 | 1228747.6636
46 | 2604626.4599 | 1228731.6204
47 | 2604664.53 | 1228768.0383
48 | 2604638.7084 | 1228733.7864
49 | 2604591.6542 | 1228773.7744
50 | 2604660.1281 | 1228728.7879
51 | 2604658.6842 | 1228635.1153
52 | 2604662.5954 | 1228625.5457
53 | 2604656.4659 | 1228640.543
54 | 2604660.8562 | 1228723.0466
55 | 2604607.6177 | 1228881.5059
56 | 2604628.4709 | 1228885.1907
57 | 2604605.0842 | 1228896.5586
58 | 2604650.6341 | 1228889.7265
59 | 2604583.8045 | 1228745.2626

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99454 | -0.10445 | 0.084277 | 0.021122
1 | 0.99586 | -0.079198 | 0 | 0
2 | 0.99128 | -0.16711 | 0 | 0
3 | 1 | 0 | -0.29264 | -0.073877
4 | 0.99562 | -0.083713 | 0.0036131 | 0.00090552
5 | 0.9909 | -0.17441 | 0.024994 | 0.006264
6 | 0.99077 | -0.17676 | 0.00032626 | 8.1769e-05
7 | 0.99622 | -0.072186 | 0 | 0
8 | 0.99503 | -0.09525 | 0 | 0
9 | 0.99087 | -0.17494 | 0.0057578 | 0.001443
10 | 0.98987 | -0.1941 | 0.00028508 | 7.1447e-05
11 | 0.9959 | -0.078496 | 0.0092075 | 0.0023076
12 | 0.99501 | -0.095448 | 0.014365 | 0.0036003
13 | 0.99443 | -0.10676 | 0 | 0
14 | 0.98911 | -0.20862 | 0.0013657 | 0.00034228
15 | 0.97742 | -0.43606 | 0.0015562 | 0.00039003
16 | 0.97772 | -0.43007 | 0 | 0
17 | 0.97732 | -0.43805 | 0 | 0
18 | 0.97971 | -0.39107 | 0.0070681 | 0.0017714
19 | 0.97765 | -0.43155 | 0.00022767 | 5.7059e-05
20 | 0.97676 | -0.44893 | 0 | 0
21 | 0.98021 | -0.38129 | 0 | 0
22 | 0.97753 | -0.43393 | 0.00025256 | 6.3297e-05
23 | 0.97658 | -0.45261 | 0 | 0
24 | 0.97672 | -0.44989 | 0.001036 | 0.00025964
25 | 0.98172 | -0.35181 | 0.0038071 | 0.00095414
26 | 0.97746 | -0.43525 | 0 | 0
27 | 0.97657 | -0.45278 | 0.00072766 | 0.00018237
28 | 0.97648 | -0.4545 | 0.0047611 | 0.0011932
29 | 0.97662 | -0.4517 | 0.0026779 | 0.00067113
30 | 0.97743 | -0.43585 | 0.0016548 | 0.00041474
31 | 0.97745 | -0.43546 | 0 | 0
32 | 0.97725 | -0.43935 | 0.0023707 | 0.00059416
33 | 0.98521 | -0.28404 | 0 | 0
34 | 0.98673 | -0.25458 | 0 | 0
35 | 0.98275 | -0.3317 | 0 | 0
36 | 0.9852 | -0.28408 | 0.00012988 | 3.255e-05
37 | 0.9867 | -0.25517 | 0.00015804 | 3.9609e-05
38 | 0.98771 | -0.23571 | 0 | 0
39 | 0.98668 | -0.25556 | 0.00048346 | 0.00012117
40 | 0.98665 | -0.25605 | 0.00035234 | 8.8306e-05
41 | 0.98666 | -0.25598 | 0.00099345 | 0.00024898
42 | 0.99034 | -0.18576 | 0.026402 | 0.0066171
43 | 0.99248 | -0.1443 | 0 | 0
44 | 0.99212 | -0.15111 | 0 | 0
45 | 0.99475 | -0.10042 | 0 | 0
46 | 0.99233 | -0.14703 | 0 | 0
47 | 0.98935 | -0.2049 | 0.067446 | 0.016903
48 | 0.99225 | -0.14868 | 0.0014411 | 0.00036117
49 | 0.99583 | -0.079691 | 0.004798 | 0.0012025
50 | 0.9921 | -0.15165 | 0.0022896 | 0.00057382
51 | 0.99417 | -0.1119 | 0.0027265 | 0.00068333
52 | 0.9942 | -0.11126 | 0.00050831 | 0.00012739
53 | 0.99416 | -0.11199 | 0.00081356 | 0.0002039
54 | 0.99208 | -0.15204 | 0.0037504 | 0.00093994
55 | 0.97638 | -0.45654 | 0 | 0
56 | 0.97628 | -0.45853 | 0 | 0
57 | 0.97637 | -0.45674 | 0.00072419 | 0.0001815
58 | 0.97617 | -0.46065 | 0.0051428 | 0.0012889
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15175 | -0.038263 | 0.15194 | 0.038381 | 0.00018366 | 0.00011705 | 0.22713 | 0.22713 | 0.22713 | 0.99454 | -0.10445 | 0.99586 | -0.079198 | 31.1997
1 | 0.067478 | 0.017142 | -0.067275 | -0.017013 | 0.00020287 | 0.00012915 | 0.10104 | 0.10104 | 0.10104 | 0.99454 | -0.10445 | 0.99128 | -0.16711 | 27.7585
2 | -0.15961 | -0.0403 | 0.16021 | 0.040687 | 0.00060814 | 0.00038772 | 0.23859 | 0.23859 | 0.23859 | 0.99586 | -0.079198 | 1 | 0 | 32.7735
3 | 0.0076685 | 0.001919 | -0.0076669 | -0.0019184 | 1.6471e-06 | 6.1892e-07 | 0.011457 | 0.011458 | 0.011458 | 0.99586 | -0.079198 | 0.99562 | -0.083713 | 3.1477
4 | 0.030762 | 0.0077137 | -0.030752 | -0.0077071 | 1.0689e-05 | 6.6686e-06 | 0.046179 | 0.046179 | 0.046179 | 0.99128 | -0.16711 | 0.9909 | -0.17441 | 12.6866
5 | 0.036513 | 0.0092988 | -0.036496 | -0.0092882 | 1.6978e-05 | 1.0672e-05 | 0.054862 | 0.054862 | 0.054862 | 0.99128 | -0.16711 | 0.99077 | -0.17676 | 15.072
6 | 0.13077 | 0.033189 | -0.13032 | -0.0329 | 0.00045237 | 0.0002891 | 0.19474 | 0.19474 | 0.19474 | 1 | 0 | 0.99622 | -0.072186 | 53.5001
7 | 0.0040538 | 0.0010129 | -0.0040516 | -0.0010135 | 2.2234e-06 | -6.7682e-07 | 0.0060576 | 0.0060583 | 0.0060583 | 0.99562 | -0.083713 | 0.99503 | -0.09525 | 1.6644
8 | 0.0057579 | 0.0014431 | -0.0057578 | -0.001443 | 1.463e-07 | 2.6414e-08 | 0.0086465 | 0.0086466 | 0.0086466 | 0.9909 | -0.17441 | 0.99087 | -0.17494 | 2.3754
9 | 0.036169 | 0.0092064 | -0.036139 | -0.0091874 | 3.0221e-05 | 1.8991e-05 | 0.054372 | 0.054372 | 0.054372 | 0.99077 | -0.17676 | 0.98987 | -0.1941 | 14.9375
10 | 0.01401 | 0.0035125 | -0.014006 | -0.0035101 | 4.2116e-06 | 2.3616e-06 | 0.020927 | 0.020927 | 0.020927 | 0.99622 | -0.072186 | 0.9959 | -0.078496 | 5.7491
11 | 0.11631 | 0.029388 | -0.11618 | -0.029305 | 0.00012954 | 8.2757e-05 | 0.17381 | 0.17381 | 0.17381 | 0.99622 | -0.072186 | 0.99501 | -0.095448 | 47.7511
12 | 0.0040516 | 0.0010135 | -0.0040494 | -0.0010142 | 2.2196e-06 | -6.7265e-07 | 0.0060583 | 0.006059 | 0.006059 | 0.99503 | -0.09525 | 0.99443 | -0.10676 | 1.6646
13 | 0.035854 | 0.0091159 | -0.035829 | -0.0091002 | 2.5057e-05 | 1.5741e-05 | 0.053944 | 0.053944 | 0.053944 | 0.98987 | -0.1941 | 0.98911 | -0.20862 | 14.8198
14 | 0.0047983 | 0.0012025 | -0.004798 | -0.0012025 | 2.7309e-07 | -9.5648e-09 | 0.0071693 | 0.0071694 | 0.0071694 | 0.9959 | -0.078496 | 0.99583 | -0.079691 | 1.9696
15 | 0.10182 | 0.025705 | -0.10179 | -0.025689 | 2.4223e-05 | 1.5467e-05 | 0.15233 | 0.15233 | 0.15233 | 0.99501 | -0.095448 | 0.99475 | -0.10042 | 41.8491
16 | 0.0040494 | 0.0010142 | -0.0040485 | -0.0010145 | 8.6626e-07 | -2.617e-07 | 0.006059 | 0.0060593 | 0.0060593 | 0.99443 | -0.10676 | 0.9942 | -0.11126 | 1.6647
17 | 0.034463 | 0.0087579 | -0.034418 | -0.0087298 | 4.4878e-05 | 2.8152e-05 | 0.051889 | 0.05189 | 0.05189 | 0.98911 | -0.20862 | 0.98771 | -0.23571 | 14.2554
18 | -0.01664 | -0.0041732 | 0.016645 | 0.004176 | 4.7485e-06 | 2.7917e-06 | 0.025334 | 0.025334 | 0.025334 | 0.97742 | -0.43606 | 0.97772 | -0.43007 | 6.9598
19 | 0.015084 | 0.0037832 | -0.015082 | -0.0037823 | 1.4304e-06 | 8.2482e-07 | 0.022964 | 0.022964 | 0.022964 | 0.97742 | -0.43606 | 0.97732 | -0.43805 | 6.3089
20 | -0.021152 | -0.005304 | 0.021191 | 0.0053279 | 3.9395e-05 | 2.3939e-05 | 0.032193 | 0.032192 | 0.032193 | 0.97772 | -0.43007 | 0.97971 | -0.39107 | 8.8442
21 | 0.0045073 | 0.001128 | -0.004507 | -0.001128 | 3.1726e-07 | -2.2451e-08 | 0.0068592 | 0.0068593 | 0.0068593 | 0.97772 | -0.43007 | 0.97765 | -0.43155 | 1.8844
22 | 0.015082 | 0.0037823 | -0.015075 | -0.0037778 | 7.8215e-06 | 4.5105e-06 | 0.022964 | 0.022965 | 0.022965 | 0.97732 | -0.43805 | 0.97676 | -0.44893 | 6.309
23 | -0.02826 | -0.0070993 | 0.028273 | 0.0071075 | 1.3189e-05 | 8.2002e-06 | 0.042928 | 0.042927 | 0.042928 | 0.97971 | -0.39107 | 0.98021 | -0.38129 | 11.7933
24 | 0.0042793 | 0.0010709 | -0.0042789 | -0.001071 | 4.8371e-07 | -7.17e-08 | 0.0065127 | 0.0065129 | 0.0065129 | 0.97765 | -0.43155 | 0.97753 | -0.43393 | 1.7893
25 | 0.01136 | 0.0028474 | -0.011358 | -0.0028464 | 1.9887e-06 | 1.0512e-06 | 0.017307 | 0.017307 | 0.017307 | 0.97676 | -0.44893 | 0.97658 | -0.45261 | 4.7546
26 | 0.0037142 | 0.00093039 | -0.0037141 | -0.00093046 | 1.6976e-07 | -6.8331e-08 | 0.0056581 | 0.0056582 | 0.0056582 | 0.97676 | -0.44893 | 0.97672 | -0.44989 | 1.5545
27 | -0.028273 | -0.0071075 | 0.028313 | 0.0071323 | 3.9858e-05 | 2.4781e-05 | 0.042927 | 0.042927 | 0.042927 | 0.98021 | -0.38129 | 0.98172 | -0.35181 | 11.7932
28 | 0.0040263 | 0.0010077 | -0.004026 | -0.0010078 | 2.5377e-07 | -6.3448e-08 | 0.0061284 | 0.0061285 | 0.0061285 | 0.97753 | -0.43393 | 0.97746 | -0.43525 | 1.6837
29 | 0.00072766 | 0.00018221 | -0.00072766 | -0.00018237 | 5.8727e-09 | -1.5564e-07 | 0.0011087 | 0.0011087 | 0.0011087 | 0.97658 | -0.45261 | 0.97657 | -0.45278 | 0.3046
30 | 0.010631 | 0.0026642 | -0.01063 | -0.0026637 | 9.6003e-07 | 4.9235e-07 | 0.016198 | 0.016198 | 0.016198 | 0.97658 | -0.45261 | 0.97648 | -0.4545 | 4.45
31 | 0.0026781 | 0.00067082 | -0.0026779 | -0.00067113 | 2.3009e-07 | -3.1402e-07 | 0.0040799 | 0.0040801 | 0.0040801 | 0.97672 | -0.44989 | 0.97662 | -0.4517 | 1.1209
32 | -0.03212 | -0.0080865 | 0.032151 | 0.0081058 | 3.0909e-05 | 1.9342e-05 | 0.048698 | 0.048697 | 0.048698 | 0.98172 | -0.35181 | 0.98275 | -0.3317 | 13.3785
33 | 0.0023712 | 0.00059327 | -0.0023712 | -0.00059331 | 2.3493e-08 | -4.5242e-08 | 0.0036093 | 0.0036094 | 0.0036094 | 0.97746 | -0.43525 | 0.97745 | -0.43546 | 0.99159
34 | 0.0016549 | 0.00041452 | -0.0016548 | -0.00041474 | 4.7366e-08 | -2.1914e-07 | 0.0025192 | 0.0025193 | 0.0025193 | 0.97746 | -0.43525 | 0.97743 | -0.43585 | 0.6921
35 | 0.0058686 | 0.0014704 | -0.005868 | -0.0014703 | 5.6908e-07 | 1.2686e-07 | 0.0089427 | 0.0089428 | 0.0089428 | 0.97648 | -0.4545 | 0.97638 | -0.45654 | 2.4568
36 | 0.0023712 | 0.00059331 | -0.0023707 | -0.00059416 | 4.3887e-07 | -8.4478e-07 | 0.0036094 | 0.0036098 | 0.0036098 | 0.97745 | -0.43546 | 0.97725 | -0.43935 | 0.9917
37 | -0.032354 | -0.0081841 | 0.0324 | 0.0082128 | 4.5795e-05 | 2.8657e-05 | 0.048893 | 0.048893 | 0.048893 | 0.98521 | -0.28404 | 0.98673 | -0.25458 | 13.4322
38 | 0.032224 | 0.0081518 | -0.032151 | -0.0081058 | 7.352e-05 | 4.6002e-05 | 0.048697 | 0.048697 | 0.048697 | 0.98521 | -0.28404 | 0.98275 | -0.3317 | 13.3784
39 | 0.00012988 | 3.2334e-05 | -0.00012988 | -3.255e-05 | 2.4499e-10 | -2.1613e-07 | 0.00019609 | 0.00019616 | 0.00019616 | 0.98521 | -0.28404 | 0.9852 | -0.28408 | 0.053891
40 | 0.0019874 | 0.0004974 | -0.0019874 | -0.00049757 | 5.5405e-08 | -1.7466e-07 | 0.0029968 | 0.0029969 | 0.0029969 | 0.98673 | -0.25458 | 0.9867 | -0.25517 | 0.82332
41 | -0.034387 | -0.0087102 | 0.034418 | 0.0087298 | 3.1207e-05 | 1.9577e-05 | 0.05189 | 0.05189 | 0.05189 | 0.98673 | -0.25458 | 0.98771 | -0.23571 | 14.2554
42 | 0.0018293 | 0.00045796 | -0.0018293 | -0.00045809 | 3.4298e-08 | -1.3156e-07 | 0.0027586 | 0.0027586 | 0.0027586 | 0.9867 | -0.25517 | 0.98668 | -0.25556 | 0.75786
43 | 0.0013458 | 0.00033693 | -0.0013458 | -0.00033713 | 2.6552e-08 | -2.0255e-07 | 0.0020295 | 0.0020296 | 0.0020296 | 0.98668 | -0.25556 | 0.98666 | -0.25598 | 0.55758
44 | -0.00035234 | -8.8306e-05 | 0.00035235 | 8.8149e-05 | 1.3094e-09 | -1.5711e-07 | 0.00053139 | 0.00053133 | 0.00053139 | 0.98665 | -0.25605 | 0.98666 | -0.25598 | 0.14599
45 | -0.026402 | -0.0066171 | 0.026455 | 0.0066494 | 5.2257e-05 | 3.2303e-05 | 0.039671 | 0.03967 | 0.039671 | 0.99034 | -0.18576 | 0.99248 | -0.1443 | 10.8985
46 | 0.067641 | 0.017028 | -0.067619 | -0.017014 | 2.2003e-05 | 1.4008e-05 | 0.10144 | 0.10144 | 0.10144 | 0.99248 | -0.1443 | 0.99212 | -0.15111 | 27.8683
47 | -0.10158 | -0.025553 | 0.10179 | 0.025689 | 0.00021345 | 0.00013629 | 0.15233 | 0.15233 | 0.15233 | 0.99248 | -0.1443 | 0.99475 | -0.10042 | 41.8491
48 | 0.0074836 | 0.0018757 | -0.0074826 | -0.0018753 | 9.7535e-07 | 3.5728e-07 | 0.01122 | 0.01122 | 0.01122 | 0.99248 | -0.1443 | 0.99233 | -0.14703 | 3.0825
49 | 0.067619 | 0.017014 | -0.067446 | -0.016903 | 0.00017333 | 0.00011035 | 0.10144 | 0.10144 | 0.10144 | 0.99212 | -0.15111 | 0.98935 | -0.2049 | 27.8683
50 | 0.0074826 | 0.0018753 | -0.007482 | -0.0018751 | 5.8723e-07 | 2.1515e-07 | 0.01122 | 0.01122 | 0.01122 | 0.99233 | -0.14703 | 0.99225 | -0.14868 | 3.0825
51 | 0.0060409 | 0.0015139 | -0.0060401 | -0.0015137 | 8.5467e-07 | 1.8834e-07 | 0.0090592 | 0.0090593 | 0.0090593 | 0.99225 | -0.14868 | 0.9921 | -0.15165 | 2.4888
52 | 0.0037505 | 0.00093991 | -0.0037504 | -0.00093994 | 6.8674e-08 | -3.0777e-08 | 0.0056252 | 0.0056253 | 0.0056253 | 0.9921 | -0.15165 | 0.99208 | -0.15204 | 1.5454
53 | -0.0035401 | -0.00088716 | 0.0035402 | 0.00088709 | 1.0884e-07 | -6.4396e-08 | 0.0052986 | 0.0052986 | 0.0052986 | 0.99417 | -0.1119 | 0.9942 | -0.11126 | 1.4557
54 | 0.00081356 | 0.00020382 | -0.00081356 | -0.0002039 | 3.2603e-09 | -7.3943e-08 | 0.0012177 | 0.0012177 | 0.0012177 | 0.99417 | -0.1119 | 0.99416 | -0.11199 | 0.33453
55 | 0.0051438 | 0.001289 | -0.0051433 | -0.001289 | 4.8688e-07 | 4.7397e-08 | 0.0078392 | 0.0078393 | 0.0078393 | 0.97638 | -0.45654 | 0.97628 | -0.45853 | 2.1537
56 | 0.00072419 | 0.00018131 | -0.00072419 | -0.0001815 | 6.9723e-09 | -1.8644e-07 | 0.0011036 | 0.0011037 | 0.0011037 | 0.97638 | -0.45654 | 0.97637 | -0.45674 | 0.30321
57 | 0.0051433 | 0.001289 | -0.0051428 | -0.0012889 | 5.2135e-07 | 5.0821e-08 | 0.0078393 | 0.0078394 | 0.0078394 | 0.97628 | -0.45853 | 0.97617 | -0.46065 | 2.1537

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39218 | 0.098824

## res_load
| p_mw | q_mvar
0 | 0.084277 | 0.021122
1 | 0.099542 | 0.024948
2 | 0.0036131 | 0.00090552
3 | 0.024994 | 0.006264
4 | 0.00032626 | 8.1769e-05
5 | 0.0057578 | 0.001443
6 | 0.00028508 | 7.1447e-05
7 | 0.0092075 | 0.0023076
8 | 0.014365 | 0.0036003
9 | 0.0013657 | 0.00034228
10 | 0.0015562 | 0.00039003
11 | 0.0070681 | 0.0017714
12 | 0.00022767 | 5.7059e-05
13 | 0.00025256 | 6.3297e-05
14 | 0.001036 | 0.00025964
15 | 0.0038071 | 0.00095414
16 | 0.00072766 | 0.00018237
17 | 0.0047611 | 0.0011932
18 | 0.0026779 | 0.00067113
19 | 0.0016548 | 0.00041474
20 | 0.0023707 | 0.00059416
21 | 0.00012988 | 3.255e-05
22 | 0.00015804 | 3.9609e-05
23 | 0.00048346 | 0.00012117
24 | 0.00035234 | 8.8306e-05
25 | 0.00099345 | 0.00024898
26 | 0.026402 | 0.0066171
27 | 0.067446 | 0.016903
28 | 0.0014411 | 0.00036117
29 | 0.004798 | 0.0012025
30 | 0.0022896 | 0.00057382
31 | 0.0027265 | 0.00068333
32 | 0.00050831 | 0.00012739
33 | 0.00081356 | 0.0002039
34 | 0.0037504 | 0.00093994
35 | 0.00072419 | 0.0001815
36 | 0.0051428 | 0.0012889

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1