## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2542-3_1_4_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_2542-3_1_4_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_2542-3_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_2542-3_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2542-3_1_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2542-3_1_4_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_2542-3_1_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_2542-3_1_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_2542-3_1_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_2542-3_1_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2542-3_1_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_2542-3_1_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2542-3_1_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_2542-3_1_4_node_188 | 0.4 | n |  | TRUE
14 | bus_LV_2542-3_1_4_node_184 | 0.4 | n |  | TRUE
15 | bus_LV_2542-3_1_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_2542-3_1_4_node_187 | 0.4 | n |  | TRUE
17 | bus_LV_2542-3_1_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2542-3_1_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_2542-3_1_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_2542-3_1_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_2542-3_1_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2542-3_1_4_node_105 | 0.4 | n |  | TRUE
23 | bus_LV_2542-3_1_4_node_178 | 0.4 | n |  | TRUE
24 | bus_LV_2542-3_1_4_node_176 | 0.4 | n |  | TRUE
25 | bus_LV_2542-3_1_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_2542-3_1_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2542-3_1_4_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_2542-3_1_4_node_182 | 0.4 | n |  | TRUE
29 | bus_LV_2542-3_1_4_node_179 | 0.4 | n |  | TRUE
30 | bus_LV_2542-3_1_4_node_177 | 0.4 | n |  | TRUE
31 | bus_LV_2542-3_1_4_node_186 | 0.4 | n |  | TRUE
32 | bus_LV_2542-3_1_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2542-3_1_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_2542-3_1_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_2542-3_1_4_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_2542-3_1_4_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_2542-3_1_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_2542-3_1_4_node_121 | 0.4 | n |  | TRUE
39 | bus_LV_2542-3_1_4_node_120 | 0.4 | n |  | TRUE
40 | bus_LV_2542-3_1_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_2542-3_1_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2542-3_1_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_2542-3_1_4_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_2542-3_1_4_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_2542-3_1_4_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_2542-3_1_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2542-3_1_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2542-3_1_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_2542-3_1_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2542-3_1_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_2542-3_1_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2542-3_1_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2542-3_1_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2542-3_1_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2542-3_1_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_2542-3_1_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_2542-3_1_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_2542-3_1_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_2542-3_1_4_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_2542-3_1_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_2542-3_1_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2542-3_1_4_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_2542-3_1_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_2542-3_1_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_2542-3_1_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_2542-3_1_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_2542-3_1_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_2542-3_1_4_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_2542-3_1_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_2542-3_1_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2542-3_1_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2542-3_1_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_2542-3_1_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_2542-3_1_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_2542-3_1_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_2542-3_1_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_2542-3_1_4_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_2542-3_1_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_2542-3_1_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_2542-3_1_4_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_2542-3_1_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_2542-3_1_4_node_103 | 0.4 | n |  | TRUE
83 | bus_LV_2542-3_1_4_node_118 | 0.4 | n |  | TRUE
84 | bus_LV_2542-3_1_4_node_119 | 0.4 | n |  | TRUE
85 | bus_LV_2542-3_1_4_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_2542-3_1_4_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_2542-3_1_4_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_2542-3_1_4_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_2542-3_1_4_node_110 | 0.4 | n |  | TRUE
90 | bus_LV_2542-3_1_4_node_114 | 0.4 | n |  | TRUE
91 | bus_LV_2542-3_1_4_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_2542-3_1_4_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_2542-3_1_4_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_2542-3_1_4_node_115 | 0.4 | n |  | TRUE
95 | bus_LV_2542-3_1_4_node_106 | 0.4 | n |  | TRUE
96 | bus_LV_2542-3_1_4_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_2542-3_1_4_node_109 | 0.4 | n |  | TRUE
98 | bus_MV_292_0_node_185 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2542-3_1_4_load_5 | 0 | 0.0041717 | 0.0010455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2542-3_1_4_load_6 | 1 | 0.00021443 | 5.3742e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2542-3_1_4_load_9 | 4 | 0.00037059 | 9.2878e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2542-3_1_4_load_47 | 5 | 0.0028871 | 0.00072357 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2542-3_1_4_load_44 | 7 | 0.0011519 | 0.00028868 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2542-3_1_4_load_25 | 9 | 0.0013754 | 0.00034472 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2542-3_1_4_load_26 | 10 | 0.0034907 | 0.00087485 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2542-3_1_4_load_29 | 12 | 0.0014297 | 0.00035833 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2542-3_1_4_load_188 | 13 | 0.0026977 | 0.00067611 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2542-3_1_4_load_30 | 15 | 0.0027013 | 0.00067702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2542-3_1_4_load_187 | 16 | 0.0015058 | 0.00037738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2542-3_1_4_load_32 | 17 | 0.0053683 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2542-3_1_4_load_33 | 18 | 0.01713 | 0.0042932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2542-3_1_4_load_105 | 22 | 0.0015004 | 0.00037605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2542-3_1_4_load_178 | 23 | 0.0065361 | 0.0016381 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2542-3_1_4_load_176 | 24 | 0.0038964 | 0.00097654 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2542-3_1_4_load_86 | 27 | 0.0046278 | 0.0011598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2542-3_1_4_load_179 | 29 | 0.0018451 | 0.00046243 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2542-3_1_4_load_177 | 30 | 0.0022626 | 0.00056706 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2542-3_1_4_load_186 | 31 | 0.017078 | 0.0042802 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2542-3_1_4_load_45 | 33 | 0.0027131 | 0.00067997 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2542-3_1_4_load_40 | 34 | 0.0020988 | 0.00052601 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2542-3_1_4_load_89 | 36 | 0.0030127 | 0.00075506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2542-3_1_4_load_121 | 38 | 0.0038081 | 0.00095439 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2542-3_1_4_load_120 | 39 | 0.0061875 | 0.0015507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2542-3_1_4_load_43 | 41 | 0.0024506 | 0.00061418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2542-3_1_4_load_57 | 42 | 0.0010748 | 0.00026936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2542-3_1_4_load_112 | 43 | 0.0030787 | 0.00077159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2542-3_1_4_load_113 | 45 | 0.0080568 | 0.0020192 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2542-3_1_4_load_48 | 46 | 0.0037546 | 0.00094099 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2542-3_1_4_load_52 | 50 | 0.0026601 | 0.00066669 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2542-3_1_4_load_56 | 53 | 0.0096588 | 0.0024207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2542-3_1_4_load_58 | 54 | 0.0030403 | 0.00076197 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2542-3_1_4_load_63 | 56 | 0.0035115 | 0.00088007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2542-3_1_4_load_66 | 57 | 0.0065787 | 0.0016488 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2542-3_1_4_load_69 | 59 | 0.0032144 | 0.0008056 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2542-3_1_4_load_67 | 61 | 0.010446 | 0.0026179 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2542-3_1_4_load_76 | 62 | 0.0067508 | 0.0016919 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2542-3_1_4_load_59 | 63 | 0.0025417 | 0.00063701 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2542-3_1_4_load_60 | 64 | 0.0033399 | 0.00083706 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2542-3_1_4_load_62 | 65 | 0.0057325 | 0.0014367 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2542-3_1_4_load_64 | 66 | 0.0026015 | 0.000652 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2542-3_1_4_load_72 | 67 | 0.0023665 | 0.0005931 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2542-3_1_4_load_73 | 68 | 0.0011813 | 0.00029607 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2542-3_1_4_load_68 | 69 | 0.0029201 | 0.00073185 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2542-3_1_4_load_71 | 71 | 0.0019804 | 0.00049633 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2542-3_1_4_load_74 | 72 | 0.0015968 | 0.00040019 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2542-3_1_4_load_80 | 73 | 0.0013727 | 0.00034402 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2542-3_1_4_load_77 | 75 | 0.0011962 | 0.00029981 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2542-3_1_4_load_79 | 76 | 0.0021744 | 0.00054496 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2542-3_1_4_load_81 | 77 | 0.0033045 | 0.00082818 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2542-3_1_4_load_82 | 78 | 0.0011498 | 0.00028816 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2542-3_1_4_load_83 | 79 | 0.03741 | 0.0093758 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2542-3_1_4_load_87 | 80 | 0.0033023 | 0.00082763 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2542-3_1_4_load_88 | 81 | 0.0085738 | 0.0021488 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2542-3_1_4_load_118 | 83 | 0.0024864 | 0.00062315 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2542-3_1_4_load_119 | 84 | 0.0028656 | 0.00071819 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2542-3_1_4_load_110 | 89 | 0.0034709 | 0.00086988 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2542-3_1_4_load_114 | 90 | 0.0017097 | 0.00042848 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2542-3_1_4_load_108 | 91 | 0.0018058 | 0.00045259 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2542-3_1_4_load_111 | 93 | 0.0022066 | 0.00055302 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2542-3_1_4_load_115 | 94 | 0.0022634 | 0.00056726 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2542-3_1_4_load_106 | 95 | 0.0017475 | 0.00043797 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2542-3_1_4_load_107 | 96 | 0.0022188 | 0.00055607 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2542-3_1_4_load_109 | 97 | 0.0025961 | 0.00065065 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2542-3_1_4_line_0 |  | 0 | 1 | 0.065907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2542-3_1_4_line_1 |  | 0 | 2 | 0.035289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2542-3_1_4_line_2 |  | 1 | 3 | 0.019258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2542-3_1_4_line_3 |  | 2 | 4 | 0.041678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2542-3_1_4_line_4 |  | 3 | 5 | 0.039738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2542-3_1_4_line_5 |  | 3 | 6 | 0.026885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2542-3_1_4_line_6 |  | 5 | 7 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2542-3_1_4_line_7 |  | 6 | 8 | 0.028711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2542-3_1_4_line_8 |  | 6 | 9 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2542-3_1_4_line_9 |  | 7 | 40 | 0.031124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2542-3_1_4_line_10 |  | 8 | 11 | 0.028512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2542-3_1_4_line_11 |  | 8 | 12 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2542-3_1_4_line_12 |  | 9 | 10 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2542-3_1_4_line_13 |  | 11 | 13 | 0.032041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2542-3_1_4_line_14 |  | 11 | 14 | 0.02865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2542-3_1_4_line_15 |  | 12 | 15 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2542-3_1_4_line_16 |  | 14 | 16 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2542-3_1_4_line_17 |  | 17 | 18 | 0.0058491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2542-3_1_4_line_18 |  | 17 | 19 | 0.024689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2542-3_1_4_line_19 |  | 18 | 20 | 0.063431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2542-3_1_4_line_20 |  | 19 | 21 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2542-3_1_4_line_21 |  | 20 | 22 | 0.0059038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2542-3_1_4_line_22 |  | 21 | 23 | 0.032609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2542-3_1_4_line_23 |  | 21 | 24 | 0.016661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2542-3_1_4_line_24 |  | 22 | 28 | 0.00049482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2542-3_1_4_line_25 |  | 23 | 29 | 0.0015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2542-3_1_4_line_26 |  | 24 | 30 | 0.0032123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2542-3_1_4_line_27 |  | 25 | 26 | 0.042352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2542-3_1_4_line_28 |  | 25 | 27 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2542-3_1_4_line_29 |  | 26 | 31 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2542-3_1_4_line_30 |  | 26 | 28 | 0.00628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2542-3_1_4_line_31 |  | 27 | 35 | 0.015803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2542-3_1_4_line_32 |  | 29 | 49 | 0.01469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2542-3_1_4_line_33 |  | 32 | 33 | 0.0083225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2542-3_1_4_line_34 |  | 32 | 34 | 0.0037342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2542-3_1_4_line_35 |  | 33 | 43 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2542-3_1_4_line_36 |  | 34 | 40 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2542-3_1_4_line_37 |  | 35 | 80 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2542-3_1_4_line_38 |  | 35 | 79 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2542-3_1_4_line_39 |  | 36 | 37 | 0.040678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2542-3_1_4_line_40 |  | 37 | 81 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2542-3_1_4_line_41 |  | 37 | 79 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2542-3_1_4_line_42 |  | 38 | 39 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2542-3_1_4_line_43 |  | 39 | 83 | 0.014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2542-3_1_4_line_44 |  | 40 | 41 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2542-3_1_4_line_45 |  | 41 | 42 | 0.006357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2542-3_1_4_line_46 |  | 42 | 44 | 0.0087276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2542-3_1_4_line_47 |  | 43 | 45 | 0.0098909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2542-3_1_4_line_48 |  | 44 | 54 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2542-3_1_4_line_49 |  | 44 | 50 | 0.008607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2542-3_1_4_line_50 |  | 45 | 97 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2542-3_1_4_line_51 |  | 46 | 47 | 0.033812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2542-3_1_4_line_52 |  | 47 | 48 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2542-3_1_4_line_53 |  | 48 | 49 | 0.008616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2542-3_1_4_line_54 |  | 51 | 52 | 0.002817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2542-3_1_4_line_55 |  | 51 | 53 | 0.022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2542-3_1_4_line_56 |  | 52 | 55 | 0.026641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2542-3_1_4_line_57 |  | 52 | 56 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2542-3_1_4_line_58 |  | 53 | 57 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2542-3_1_4_line_59 |  | 54 | 58 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2542-3_1_4_line_60 |  | 55 | 59 | 0.018544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2542-3_1_4_line_61 |  | 56 | 60 | 0.0059457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2542-3_1_4_line_62 |  | 57 | 61 | 0.016024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2542-3_1_4_line_63 |  | 58 | 62 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2542-3_1_4_line_64 |  | 58 | 61 | 0.02398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2542-3_1_4_line_65 |  | 59 | 69 | 0.041812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2542-3_1_4_line_66 |  | 60 | 66 | 0.021987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2542-3_1_4_line_67 |  | 60 | 63 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2542-3_1_4_line_68 |  | 63 | 64 | 0.0021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2542-3_1_4_line_69 |  | 64 | 65 | 0.0092395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2542-3_1_4_line_70 |  | 66 | 67 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2542-3_1_4_line_71 |  | 67 | 68 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2542-3_1_4_line_72 |  | 68 | 72 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2542-3_1_4_line_73 |  | 69 | 70 | 0.0014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2542-3_1_4_line_74 |  | 70 | 71 | 0.009602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2542-3_1_4_line_75 |  | 72 | 73 | 0.0039828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2542-3_1_4_line_76 |  | 73 | 74 | 0.0094629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2542-3_1_4_line_77 |  | 74 | 77 | 0.030592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2542-3_1_4_line_78 |  | 74 | 75 | 0.031088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2542-3_1_4_line_79 |  | 75 | 76 | 0.0089875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2542-3_1_4_line_80 |  | 77 | 78 | 0.0015898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2542-3_1_4_line_81 |  | 81 | 82 | 0.024547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2542-3_1_4_line_82 |  | 82 | 83 | 0.029598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2542-3_1_4_line_83 |  | 82 | 84 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2542-3_1_4_line_84 |  | 84 | 87 | 0.026119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_2542-3_1_4_line_85 |  | 85 | 86 | 0.04835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_2542-3_1_4_line_86 |  | 85 | 87 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_2542-3_1_4_line_87 |  | 86 | 88 | 0.031899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_2542-3_1_4_line_88 |  | 86 | 89 | 0.010905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2542-3_1_4_line_89 |  | 88 | 90 | 0.0041868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2542-3_1_4_line_90 |  | 88 | 91 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_2542-3_1_4_line_91 |  | 89 | 92 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2542-3_1_4_line_92 |  | 90 | 94 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2542-3_1_4_line_93 |  | 91 | 95 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_2542-3_1_4_line_94 |  | 92 | 93 | 0.020515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2542-3_1_4_line_95 |  | 95 | 96 | 0.021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_2542-3_1_4_line_96 |  | 96 | 97 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2542-3_1_4_trafo_35 | 0.63 MVA 20/0.4 kV | 98 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2604413.1909 | 1228846.1594 | 2604476.8101 | 1228863.3726
1 | 2604379.1271 | 1228836.9429 | 2604413.1909 | 1228846.1594
2 | 2604495.4001 | 1228868.4025 | 2604476.8101 | 1228863.3726
3 | 2604379.1271 | 1228836.9429 | 2604368.0098 | 1228877.1105
4 | 2604495.4001 | 1228868.4025 | 2604496.5201 | 1228908.1243
5 | 2604495.4001 | 1228868.4025 | 2604522.201 | 1228871.3575
6 | 2604497.2746 | 1228925.9619 | 2604497.0017 | 1228925.204 | 2604496.5201 | 1228908.1243
7 | 2604550.8886 | 1228873.8361 | 2604522.201 | 1228871.3575
8 | 2604522.201 | 1228871.3575 | 2604524.7694 | 1228890.2845
9 | 2604511.7989 | 1228953.0982 | 2604502.6642 | 1228940.9286 | 2604497.2746 | 1228925.9619
10 | 2604550.8886 | 1228873.8361 | 2604561.5466 | 1228875.2783 | 2604579.1433 | 1228877.6597
11 | 2604550.8886 | 1228873.8361 | 2604552.3819 | 1228890.509
12 | 2604524.7694 | 1228890.2845 | 2604528.6323 | 1228918.7507
13 | 2604581.5888 | 1228909.6027 | 2604579.1433 | 1228877.6597
14 | 2604607.6177 | 1228881.5059 | 2604579.1433 | 1228877.6597
15 | 2604554.5622 | 1228914.8521 | 2604552.3819 | 1228890.509
16 | 2604607.6177 | 1228881.5059 | 2604604.3529 | 1228900.9038
17 | 2604516.023 | 1229059.8018 | 2604516.4839 | 1229065.6327
18 | 2604519.6433 | 1229090.063 | 2604517.7331 | 1229081.4343 | 2604516.4839 | 1229065.6327
19 | 2604524.7315 | 1229002.4593 | 2604519.3651 | 1229006.2242 | 2604521.8932 | 1229039.5459 | 2604513.7496 | 1229049.3901 | 2604515.8495 | 1229057.6076 | 2604516.023 | 1229059.8018
20 | 2604502.3788 | 1229089.8834 | 2604519.6433 | 1229090.063
21 | 2604524.7315 | 1229002.4593 | 2604530.4642 | 1229001.0481
22 | 2604502.3788 | 1229089.8834 | 2604479.1965 | 1229091.6449 | 2604469.8441 | 1229092.0117
23 | 2604502.3788 | 1229089.8834 | 2604500.9146 | 1229106.4796
24 | 2604530.4642 | 1229001.0481 | 2604530.9446 | 1229000.9298
25 | 2604469.8441 | 1229092.0117 | 2604468.2767 | 1229092.0732
26 | 2604500.6323 | 1229109.6794 | 2604500.9146 | 1229106.4796
27 | 2604537.0593 | 1228999.4223 | 2604543.8862 | 1228997.7487 | 2604551.8723 | 1228995.887 | 2604556.9911 | 1229008.9096 | 2604558.6858 | 1229021.9298
28 | 2604558.6858 | 1229021.9298 | 2604576.3153 | 1229021.7672
29 | 2604539.0706 | 1229014.5439 | 2604537.0593 | 1228999.4223
30 | 2604537.0593 | 1228999.4223 | 2604530.9446 | 1229000.9298
31 | 2604592.1171 | 1229021.6216 | 2604576.3153 | 1229021.7672
32 | 2604453.5982 | 1229092.6488 | 2604468.2767 | 1229092.0732
33 | 2604525.7974 | 1228965.1047 | 2604533.9468 | 1228963.4163
34 | 2604525.7974 | 1228965.1047 | 2604522.9629 | 1228962.6736
35 | 2604553.6847 | 1228959.3271 | 2604533.9468 | 1228963.4163
36 | 2604511.7989 | 1228953.0982 | 2604522.9629 | 1228962.6736
37 | 2604592.1171 | 1229021.6216 | 2604598.2243 | 1229019.9363 | 2604604.8904 | 1229019.9414
38 | 2604592.1171 | 1229021.6216 | 2604591.7662 | 1229034.818
39 | 2604614.6747 | 1229034.8355 | 2604614.3156 | 1229075.5118
40 | 2604614.6747 | 1229034.8355 | 2604625.3661 | 1229031.7974 | 2604638.1189 | 1229031.3825
41 | 2604614.6747 | 1229034.8355 | 2604591.7662 | 1229034.818
42 | 2604662.4489 | 1229077.7401 | 2604662.4623 | 1229092.4397 | 2604662.3082 | 1229095.8527 | 2604661.7681 | 1229098.754
43 | 2604662.436 | 1229063.6475 | 2604662.4489 | 1229077.7401
44 | 2604511.7989 | 1228953.0982 | 2604494.4789 | 1228955.8091
45 | 2604488.1225 | 1228955.8934 | 2604494.4789 | 1228955.8091
46 | 2604479.3956 | 1228956.0091 | 2604488.1225 | 1228955.8934
47 | 2604563.3699 | 1228957.3205 | 2604553.6847 | 1228959.3271
48 | 2604479.3956 | 1228956.0091 | 2604479.4689 | 1228949.094 | 2604478.4141 | 1228945.4008
49 | 2604479.3956 | 1228956.0091 | 2604470.7894 | 1228956.1239
50 | 2604563.3699 | 1228957.3205 | 2604576.2378 | 1228954.6546
51 | 2604429.318 | 1229093.5426 | 2604428.5857 | 1229069.5501 | 2604428.7913 | 1229068.0716 | 2604429.345 | 1229067.1048 | 2604430.0501 | 1229066.327 | 2604431.5655 | 1229065.9835 | 2604436.1613 | 1229065.8665
52 | 2604429.318 | 1229093.5426 | 2604436.5377 | 1229093.3145 | 2604444.9619 | 1229092.9427
53 | 2604444.9619 | 1229092.9427 | 2604453.5982 | 1229092.6488
54 | 2604406.4893 | 1228963.6934 | 2604409.3001 | 1228963.4064
55 | 2604409.3001 | 1228963.4064 | 2604407.2637 | 1228940.6248
56 | 2604379.9044 | 1228966.3646 | 2604406.4893 | 1228963.6934
57 | 2604406.4893 | 1228963.6934 | 2604407.6547 | 1228978.6016
58 | 2604429.099 | 1228931.9657 | 2604410.7 | 1228934.4681 | 2604407.2637 | 1228940.6248
59 | 2604467.6015 | 1228923.7146 | 2604473.3485 | 1228927.6656 | 2604478.4141 | 1228945.4008
60 | 2604379.9044 | 1228966.3646 | 2604381.1267 | 1228984.8682
61 | 2604408.1181 | 1228984.5292 | 2604407.6547 | 1228978.6016
62 | 2604429.099 | 1228931.9657 | 2604444.9771 | 1228929.8061
63 | 2604467.6015 | 1228923.7146 | 2604470.5135 | 1228919.681 | 2604468.6873 | 1228906.2789
64 | 2604467.6015 | 1228923.7146 | 2604462.4094 | 1228927.4352 | 2604444.9771 | 1228929.8061
65 | 2604372.7682 | 1229016.8559 | 2604383.194 | 1229016.1631 | 2604381.1267 | 1228984.8682
66 | 2604408.1181 | 1228984.5292 | 2604409.838 | 1229006.4491
67 | 2604408.1181 | 1228984.5292 | 2604422.2297 | 1228983.4687
68 | 2604422.2297 | 1228983.4687 | 2604424.398 | 1228983.3057
69 | 2604433.6115 | 1228982.6134 | 2604424.398 | 1228983.3057
70 | 2604411.2969 | 1229020.0643 | 2604410.8652 | 1229019.5408 | 2604409.838 | 1229006.4491
71 | 2604411.2969 | 1229020.0643 | 2604414.0668 | 1229023.4232 | 2604426.1548 | 1229023.3591
72 | 2604426.1548 | 1229023.3591 | 2604439.2797 | 1229023.2895
73 | 2604371.277 | 1229016.955 | 2604372.7682 | 1229016.8559
74 | 2604372.0125 | 1229026.5278 | 2604371.277 | 1229016.955
75 | 2604443.2624 | 1229023.2683 | 2604439.2797 | 1229023.2895
76 | 2604452.7252 | 1229023.2181 | 2604443.2624 | 1229023.2683
77 | 2604452.7252 | 1229023.2181 | 2604454.1469 | 1229006.0312 | 2604467.481 | 1229005.4705
78 | 2604452.7252 | 1229023.2181 | 2604452.9405 | 1229039.4168 | 2604467.8263 | 1229039.6946
79 | 2604468.0999 | 1229048.6779 | 2604467.8263 | 1229039.6946
80 | 2604467.481 | 1229005.4705 | 2604469.0694 | 1229005.4037
81 | 2604662.4089 | 1229034.0495 | 2604645.7298 | 1229031.1349 | 2604638.1189 | 1229031.3825
82 | 2604662.4089 | 1229034.0495 | 2604662.436 | 1229063.6475
83 | 2604662.4089 | 1229034.0495 | 2604680.355 | 1229034.0296
84 | 2604692.0104 | 1229019.5193 | 2604691.9764 | 1229034.0168 | 2604680.355 | 1229034.0296
85 | 2604659.6838 | 1228982.2945 | 2604662.4414 | 1228982.2744 | 2604662.5378 | 1228994.8041 | 2604677.4012 | 1228994.6933 | 2604687.3405 | 1228994.6121 | 2604690.1511 | 1228994.592 | 2604692.1698 | 1228999.6521
86 | 2604692.0104 | 1229019.5193 | 2604692.021 | 1229015.6726 | 2604692.1555 | 1229008.3239 | 2604692.1698 | 1228999.6521
87 | 2604659.557 | 1228950.3977 | 2604659.4705 | 1228954.5001 | 2604659.5324 | 1228962.5827 | 2604659.5739 | 1228967.708 | 2604659.6838 | 1228982.2945
88 | 2604659.6838 | 1228982.2945 | 2604648.7788 | 1228982.3792
89 | 2604659.557 | 1228950.3977 | 2604663.7436 | 1228950.3585
90 | 2604659.557 | 1228950.3977 | 2604642.7052 | 1228950.3094
91 | 2604623.2297 | 1228982.5777 | 2604648.7788 | 1228982.3792
92 | 2604663.7436 | 1228950.3585 | 2604683.9779 | 1228950.1691
93 | 2604621.538 | 1228950.1986 | 2604642.7052 | 1228950.3094
94 | 2604623.2297 | 1228982.5777 | 2604619.207 | 1228982.608 | 2604619.0802 | 1228966.1159
95 | 2604621.538 | 1228950.1986 | 2604617.2545 | 1228950.1762 | 2604601.1177 | 1228951.0644 | 2604600.2954 | 1228951.1588
96 | 2604600.2954 | 1228951.1588 | 2604584.1846 | 1228953.0082 | 2604576.2378 | 1228954.6546

## bus_geodata
| x | y | coords
0 | 2604413.1909 | 1228846.1594
1 | 2604476.8101 | 1228863.3726
2 | 2604379.1271 | 1228836.9429
3 | 2604495.4001 | 1228868.4025
4 | 2604368.0098 | 1228877.1105
5 | 2604496.5201 | 1228908.1243
6 | 2604522.201 | 1228871.3575
7 | 2604497.2746 | 1228925.9619
8 | 2604550.8886 | 1228873.8361
9 | 2604524.7694 | 1228890.2845
10 | 2604528.6323 | 1228918.7507
11 | 2604579.1433 | 1228877.6597
12 | 2604552.3819 | 1228890.509
13 | 2604581.5888 | 1228909.6027
14 | 2604607.6177 | 1228881.5059
15 | 2604554.5622 | 1228914.8521
16 | 2604604.3529 | 1228900.9038
17 | 2604516.4839 | 1229065.6327
18 | 2604516.023 | 1229059.8018
19 | 2604519.6433 | 1229090.063
20 | 2604524.7315 | 1229002.4593
21 | 2604502.3788 | 1229089.8834
22 | 2604530.4642 | 1229001.0481
23 | 2604469.8441 | 1229092.0117
24 | 2604500.9146 | 1229106.4796
25 | 2604558.6858 | 1229021.9298
26 | 2604537.0593 | 1228999.4224
27 | 2604576.3153 | 1229021.7672
28 | 2604530.9446 | 1229000.9298
29 | 2604468.2767 | 1229092.0732
30 | 2604500.6323 | 1229109.6794
31 | 2604539.0706 | 1229014.5439
32 | 2604525.7974 | 1228965.1047
33 | 2604533.9468 | 1228963.4163
34 | 2604522.9629 | 1228962.6736
35 | 2604592.1171 | 1229021.6216
36 | 2604614.3156 | 1229075.5118
37 | 2604614.6747 | 1229034.8355
38 | 2604661.7681 | 1229098.754
39 | 2604662.4489 | 1229077.7401
40 | 2604511.7989 | 1228953.0982
41 | 2604494.4789 | 1228955.8091
42 | 2604488.1225 | 1228955.8934
43 | 2604553.6847 | 1228959.3271
44 | 2604479.3956 | 1228956.0091
45 | 2604563.3699 | 1228957.3205
46 | 2604436.1613 | 1229065.8665
47 | 2604429.318 | 1229093.5426
48 | 2604444.9619 | 1229092.9427
49 | 2604453.5982 | 1229092.6488
50 | 2604470.7894 | 1228956.1239
51 | 2604409.3001 | 1228963.4064
52 | 2604406.4893 | 1228963.6934
53 | 2604407.2637 | 1228940.6248
54 | 2604478.4141 | 1228945.4008
55 | 2604379.9044 | 1228966.3646
56 | 2604407.6547 | 1228978.6016
57 | 2604429.099 | 1228931.9657
58 | 2604467.6015 | 1228923.7146
59 | 2604381.1267 | 1228984.8682
60 | 2604408.1181 | 1228984.5292
61 | 2604444.9771 | 1228929.8061
62 | 2604468.6873 | 1228906.2789
63 | 2604422.2297 | 1228983.4687
64 | 2604424.398 | 1228983.3057
65 | 2604433.6115 | 1228982.6134
66 | 2604409.838 | 1229006.4491
67 | 2604411.2969 | 1229020.0643
68 | 2604426.1548 | 1229023.3591
69 | 2604372.7682 | 1229016.8559
70 | 2604371.277 | 1229016.955
71 | 2604372.0125 | 1229026.5278
72 | 2604439.2797 | 1229023.2895
73 | 2604443.2624 | 1229023.2683
74 | 2604452.7252 | 1229023.2181
75 | 2604467.8263 | 1229039.6946
76 | 2604468.0999 | 1229048.6779
77 | 2604467.481 | 1229005.4705
78 | 2604469.0694 | 1229005.4037
79 | 2604591.7662 | 1229034.818
80 | 2604604.8904 | 1229019.9414
81 | 2604638.1189 | 1229031.3825
82 | 2604662.4089 | 1229034.0495
83 | 2604662.436 | 1229063.6475
84 | 2604680.355 | 1229034.0296
85 | 2604692.1698 | 1228999.6521
86 | 2604659.6838 | 1228982.2945
87 | 2604692.0104 | 1229019.5193
88 | 2604659.557 | 1228950.3977
89 | 2604648.7788 | 1228982.3792
90 | 2604663.7436 | 1228950.3585
91 | 2604642.7052 | 1228950.3094
92 | 2604623.2297 | 1228982.5777
93 | 2604619.0802 | 1228966.1159
94 | 2604683.9779 | 1228950.1691
95 | 2604621.538 | 1228950.1986
96 | 2604600.2954 | 1228951.1588
97 | 2604576.2378 | 1228954.6546
98 | 2604530.9446 | 1229000.9298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97597 | -0.46233 | 0.0041717 | 0.0010455
1 | 0.97625 | -0.45685 | 0.00021443 | 5.3742e-05
2 | 0.97596 | -0.46257 | 0 | 0
3 | 0.97634 | -0.45517 | 0 | 0
4 | 0.97595 | -0.46285 | 0.00037059 | 9.2878e-05
5 | 0.977 | -0.44212 | 0.0028871 | 0.00072357
6 | 0.97601 | -0.46167 | 0 | 0
7 | 0.97734 | -0.43531 | 0.0011519 | 0.00028868
8 | 0.97578 | -0.46605 | 0 | 0
9 | 0.97592 | -0.46337 | 0.0013754 | 0.00034472
10 | 0.97583 | -0.4652 | 0.0034907 | 0.00087485
11 | 0.97567 | -0.46824 | 0 | 0
12 | 0.97572 | -0.46731 | 0.0014297 | 0.00035833
13 | 0.97559 | -0.46983 | 0.0026977 | 0.00067611
14 | 0.97563 | -0.46903 | 0 | 0
15 | 0.97566 | -0.46852 | 0.0027013 | 0.00067702
16 | 0.9756 | -0.46958 | 0.0015058 | 0.00037738
17 | 0.99752 | -0.047638 | 0.0053683 | 0.0013454
18 | 0.99765 | -0.045214 | 0.01713 | 0.0042932
19 | 0.99711 | -0.055556 | 0 | 0
20 | 1 | 0 | -0.27588 | -0.070162
21 | 0.99682 | -0.06108 | 0 | 0
22 | 0.99958 | -0.0078837 | 0.0015004 | 0.00037605
23 | 0.99646 | -0.068025 | 0.0065361 | 0.0016381
24 | 0.99673 | -0.06288 | 0.0038964 | 0.00097654
25 | 0.99635 | -0.069075 | 0 | 0
26 | 0.99911 | -0.016879 | 0 | 0
27 | 0.9952 | -0.090888 | 0.0046278 | 0.0011598
28 | 0.99955 | -0.0085404 | 0 | 0
29 | 0.99646 | -0.06818 | 0.0018451 | 0.00046243
30 | 0.99672 | -0.063007 | 0.0022626 | 0.00056706
31 | 0.99887 | -0.02143 | 0.017078 | 0.0042802
32 | 0.97858 | -0.41103 | 0 | 0
33 | 0.97886 | -0.40563 | 0.0027131 | 0.00067997
34 | 0.97846 | -0.41345 | 0.0020988 | 0.00052601
35 | 0.9942 | -0.11005 | 0 | 0
36 | 0.99208 | -0.1504 | 0.0030127 | 0.00075506
37 | 0.99219 | -0.14823 | 0 | 0
38 | 0.98928 | -0.20413 | 0.0038081 | 0.00095439
39 | 0.98935 | -0.2027 | 0.0061875 | 0.0015507
40 | 0.97798 | -0.42282 | 0 | 0
41 | 0.97753 | -0.43164 | 0.0024506 | 0.00061418
42 | 0.97737 | -0.43475 | 0.0010748 | 0.00026936
43 | 0.97955 | -0.39223 | 0.0030787 | 0.00077159
44 | 0.97716 | -0.43897 | 0 | 0
45 | 0.97989 | -0.38548 | 0.0080568 | 0.0020192
46 | 0.99621 | -0.072979 | 0.0037546 | 0.00094099
47 | 0.99632 | -0.070749 | 0 | 0
48 | 0.99638 | -0.069717 | 0 | 0
49 | 0.99641 | -0.069148 | 0 | 0
50 | 0.97713 | -0.43938 | 0.0026601 | 0.00066669
51 | 0.97268 | -0.52701 | 0 | 0
52 | 0.97257 | -0.5291 | 0 | 0
53 | 0.97354 | -0.51009 | 0.0096588 | 0.0024207
54 | 0.9769 | -0.44398 | 0.0030403 | 0.00076197
55 | 0.97237 | -0.53309 | 0 | 0
56 | 0.97213 | -0.53794 | 0.0035115 | 0.00088007
57 | 0.97473 | -0.48663 | 0.0065787 | 0.0016488
58 | 0.97632 | -0.45539 | 0 | 0
59 | 0.97223 | -0.53586 | 0.0032144 | 0.0008056
60 | 0.97197 | -0.54108 | 0 | 0
61 | 0.97557 | -0.47006 | 0.010446 | 0.0026179
62 | 0.9762 | -0.45767 | 0.0067508 | 0.0016919
63 | 0.97181 | -0.54411 | 0.0025417 | 0.00063701
64 | 0.9718 | -0.54447 | 0.0033399 | 0.00083706
65 | 0.97175 | -0.54545 | 0.0057325 | 0.0014367
66 | 0.97162 | -0.54795 | 0.0026015 | 0.000652
67 | 0.97143 | -0.55161 | 0.0023665 | 0.0005931
68 | 0.97125 | -0.55525 | 0.0011813 | 0.00029607
69 | 0.97204 | -0.53964 | 0.0029201 | 0.00073185
70 | 0.97204 | -0.5397 | 0 | 0
71 | 0.97202 | -0.54005 | 0.0019804 | 0.00049633
72 | 0.97112 | -0.55787 | 0.0015968 | 0.00040019
73 | 0.97108 | -0.55855 | 0.0013727 | 0.00034402
74 | 0.97102 | -0.55992 | 0 | 0
75 | 0.97092 | -0.56185 | 0.0011962 | 0.00029981
76 | 0.9709 | -0.56221 | 0.0021744 | 0.00054496
77 | 0.97089 | -0.56243 | 0.0033045 | 0.00082818
78 | 0.97089 | -0.56247 | 0.0011498 | 0.00028816
79 | 0.99337 | -0.12584 | 0.03741 | 0.0093758
80 | 0.99416 | -0.11081 | 0.0033023 | 0.00082763
81 | 0.99099 | -0.17119 | 0.0085738 | 0.0021488
82 | 0.98982 | -0.19362 | 0 | 0
83 | 0.98948 | -0.20019 | 0.0024864 | 0.00062315
84 | 0.98903 | -0.20871 | 0.0028656 | 0.00071819
85 | 0.98705 | -0.24672 | 0 | 0
86 | 0.98497 | -0.28684 | 0 | 0
87 | 0.98791 | -0.23028 | 0 | 0
88 | 0.98365 | -0.31232 | 0 | 0
89 | 0.98491 | -0.28795 | 0.0034709 | 0.00086988
90 | 0.98364 | -0.31262 | 0.0017097 | 0.00042848
91 | 0.98298 | -0.3254 | 0.0018058 | 0.00045259
92 | 0.98486 | -0.28897 | 0 | 0
93 | 0.98482 | -0.28978 | 0.0022066 | 0.00055302
94 | 0.9836 | -0.31344 | 0.0022634 | 0.00056726
95 | 0.98214 | -0.34163 | 0.0017475 | 0.00043797
96 | 0.98131 | -0.35774 | 0.0022188 | 0.00055607
97 | 0.98038 | -0.37588 | 0.0025961 | 0.00065065
98 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045423 | -0.0011375 | 0.0045435 | 0.0011374 | 1.1852e-06 | -6.53e-08 | 0.0069251 | 0.0069248 | 0.0069251 | 0.97597 | -0.46233 | 0.97625 | -0.45685 | 1.9025
1 | 0.0003706 | 9.1922e-05 | -0.00037059 | -9.2361e-05 | 4.2209e-09 | -4.3827e-07 | 0.00056469 | 0.00056485 | 0.00056485 | 0.97597 | -0.46233 | 0.97596 | -0.46257 | 0.15518
2 | -0.0047579 | -0.0011911 | 0.0047583 | 0.0011911 | 3.7977e-07 | 2.2328e-09 | 0.0072516 | 0.0072516 | 0.0072516 | 0.97625 | -0.45685 | 0.97634 | -0.45517 | 1.9922
3 | 0.00037059 | 9.2361e-05 | -0.00037059 | -9.2878e-05 | 4.9882e-09 | -5.1761e-07 | 0.00056485 | 0.00056503 | 0.00056503 | 0.97596 | -0.46257 | 0.97595 | -0.46285 | 0.15523
4 | -0.017967 | -0.0045013 | 0.017978 | 0.0045079 | 1.1173e-05 | 6.6533e-06 | 0.027382 | 0.027382 | 0.027382 | 0.97634 | -0.45517 | 0.977 | -0.44212 | 7.5226
5 | 0.013208 | 0.0033101 | -0.013204 | -0.0033079 | 4.0856e-06 | 2.2787e-06 | 0.020131 | 0.020131 | 0.020131 | 0.97634 | -0.45517 | 0.97601 | -0.46167 | 5.5304
6 | -0.020865 | -0.0052315 | 0.020872 | 0.0052356 | 6.776e-06 | 4.1125e-06 | 0.031779 | 0.031779 | 0.031779 | 0.977 | -0.44212 | 0.97734 | -0.43531 | 8.7305
7 | 0.0083374 | 0.0020885 | -0.0083357 | -0.0020877 | 1.7395e-06 | 7.5458e-07 | 0.012711 | 0.012711 | 0.012711 | 0.97601 | -0.46167 | 0.97578 | -0.46605 | 3.492
8 | 0.0048668 | 0.0012194 | -0.0048664 | -0.0012194 | 3.9434e-07 | 1.3693e-08 | 0.0074198 | 0.0074199 | 0.0074199 | 0.97601 | -0.46167 | 0.97592 | -0.46337 | 2.0384
9 | -0.022024 | -0.0055243 | 0.022037 | 0.0055323 | 1.3124e-05 | 8.009e-06 | 0.033533 | 0.033533 | 0.033533 | 0.97734 | -0.43531 | 0.97798 | -0.42282 | 9.2123
10 | 0.0042042 | 0.0010526 | -0.0042038 | -0.0010527 | 4.3944e-07 | -7.4882e-08 | 0.0064108 | 0.0064109 | 0.0064109 | 0.97578 | -0.46605 | 0.97567 | -0.46824 | 1.7612
11 | 0.0041315 | 0.0010351 | -0.0041312 | -0.0010351 | 2.4917e-07 | -4.9625e-08 | 0.0063002 | 0.0063002 | 0.0063002 | 0.97578 | -0.46605 | 0.97572 | -0.46731 | 1.7308
12 | 0.003491 | 0.00087468 | -0.0034907 | -0.00087485 | 3.0521e-07 | -1.6358e-07 | 0.0053227 | 0.0053229 | 0.0053229 | 0.97592 | -0.46337 | 0.97583 | -0.4652 | 1.4623
13 | 0.0026979 | 0.00067584 | -0.0026977 | -0.00067611 | 2.0342e-07 | -2.6993e-07 | 0.0041145 | 0.0041147 | 0.0041147 | 0.97567 | -0.46824 | 0.97559 | -0.46983 | 1.1304
14 | 0.0015058 | 0.00037683 | -0.0015058 | -0.00037716 | 5.666e-08 | -3.2153e-07 | 0.0022964 | 0.0022965 | 0.0022965 | 0.97567 | -0.46824 | 0.97563 | -0.46903 | 0.63091
15 | 0.0027015 | 0.00067681 | -0.0027013 | -0.00067702 | 1.5556e-07 | -2.0568e-07 | 0.0041198 | 0.0041199 | 0.0041199 | 0.97572 | -0.46731 | 0.97566 | -0.46852 | 1.1318
16 | 0.0015058 | 0.00037716 | -0.0015058 | -0.00037738 | 3.8908e-08 | -2.2075e-07 | 0.0022965 | 0.0022966 | 0.0022966 | 0.97563 | -0.46903 | 0.9756 | -0.46958 | 0.63094
17 | -0.02368 | -0.0059394 | 0.023683 | 0.005941 | 2.7372e-06 | 1.6754e-06 | 0.035326 | 0.035326 | 0.035326 | 0.99752 | -0.047638 | 0.99765 | -0.045214 | 9.7049
18 | 0.018312 | 0.0045939 | -0.018305 | -0.0045898 | 6.9091e-06 | 4.0997e-06 | 0.027318 | 0.027318 | 0.027318 | 0.99752 | -0.047638 | 0.99711 | -0.055556 | 7.505
19 | -0.040813 | -0.010234 | 0.040901 | 0.01029 | 8.815e-05 | 5.5586e-05 | 0.060876 | 0.060876 | 0.060876 | 0.99765 | -0.045214 | 1 | 0 | 16.7241
20 | 0.018305 | 0.0045898 | -0.0183 | -0.004587 | 4.8177e-06 | 2.8588e-06 | 0.027318 | 0.027318 | 0.027318 | 0.99711 | -0.055556 | 0.99682 | -0.06108 | 7.505
21 | 0.23333 | 0.059873 | -0.23324 | -0.059816 | 8.9215e-05 | 5.6865e-05 | 0.34769 | 0.34769 | 0.34769 | 1 | 0 | 0.99958 | -0.0078837 | 31.8401
22 | 0.012141 | 0.0030433 | -0.012137 | -0.0030411 | 4.0165e-06 | 2.1456e-06 | 0.018123 | 0.018124 | 0.018124 | 0.99682 | -0.06108 | 0.99646 | -0.068025 | 4.979
23 | 0.0061596 | 0.0015437 | -0.0061591 | -0.0015436 | 5.2821e-07 | 1.2088e-07 | 0.0091947 | 0.0091948 | 0.0091948 | 0.99682 | -0.06108 | 0.99673 | -0.06288 | 2.526
24 | 0.23174 | 0.05944 | -0.23173 | -0.059435 | 7.3817e-06 | 4.7048e-06 | 0.34546 | 0.34546 | 0.34546 | 0.99958 | -0.0078837 | 0.99955 | -0.0085404 | 31.6356
25 | 0.0056006 | 0.001403 | -0.0056006 | -0.001403 | 4.114e-08 | 5.897e-09 | 0.0083632 | 0.0083632 | 0.0083632 | 0.99646 | -0.068025 | 0.99646 | -0.06818 | 2.2976
26 | 0.0022626 | 0.00056703 | -0.0022626 | -0.00056706 | 1.3744e-08 | -3.3071e-08 | 0.0033778 | 0.0033779 | 0.0033779 | 0.99673 | -0.06288 | 0.99672 | -0.063007 | 0.92798
27 | -0.21402 | -0.054748 | 0.21456 | 0.055093 | 0.00054217 | 0.00034533 | 0.32002 | 0.32002 | 0.32002 | 0.99635 | -0.069075 | 0.99911 | -0.016879 | 29.3059
28 | 0.21402 | 0.054748 | -0.21379 | -0.054604 | 0.0002257 | 0.00014376 | 0.32002 | 0.32002 | 0.32002 | 0.99635 | -0.069075 | 0.9952 | -0.090888 | 29.3059
29 | 0.017082 | 0.0042824 | -0.017078 | -0.0042802 | 3.703e-06 | 2.1702e-06 | 0.025441 | 0.025441 | 0.025441 | 0.99911 | -0.016879 | 0.99887 | -0.02143 | 6.9894
30 | -0.23164 | -0.059375 | 0.23173 | 0.059435 | 9.3684e-05 | 5.9711e-05 | 0.34546 | 0.34546 | 0.34546 | 0.99911 | -0.016879 | 0.99955 | -0.0085404 | 31.6356
31 | 0.20916 | 0.053444 | -0.20897 | -0.053321 | 0.00019364 | 0.00012332 | 0.3131 | 0.3131 | 0.3131 | 0.9952 | -0.090888 | 0.9942 | -0.11005 | 28.6723
32 | 0.0037554 | 0.00094059 | -0.0037553 | -0.00094067 | 1.7324e-07 | -8.0475e-08 | 0.0056078 | 0.0056079 | 0.0056079 | 0.99646 | -0.06818 | 0.99641 | -0.069148 | 1.5406
33 | -0.10738 | -0.02707 | 0.10741 | 0.027088 | 2.7756e-05 | 1.745e-05 | 0.16334 | 0.16334 | 0.16334 | 0.97858 | -0.41103 | 0.97886 | -0.40563 | 14.9579
34 | 0.10738 | 0.02707 | -0.10737 | -0.027062 | 1.2454e-05 | 7.8296e-06 | 0.16334 | 0.16334 | 0.16334 | 0.97858 | -0.41103 | 0.97846 | -0.41345 | 14.9579
35 | -0.11012 | -0.027768 | 0.11019 | 0.027812 | 7.0661e-05 | 4.4463e-05 | 0.16746 | 0.16746 | 0.16746 | 0.97886 | -0.40563 | 0.97955 | -0.39223 | 15.3356
36 | 0.10527 | 0.026536 | -0.10522 | -0.026507 | 4.7153e-05 | 2.9624e-05 | 0.16015 | 0.16015 | 0.16015 | 0.97846 | -0.41345 | 0.97798 | -0.42282 | 14.6656
37 | 0.0033024 | 0.00082754 | -0.0033023 | -0.00082763 | 1.1911e-07 | -9.2357e-08 | 0.0049427 | 0.0049428 | 0.0049428 | 0.9942 | -0.11005 | 0.99416 | -0.11081 | 1.3579
38 | 0.20567 | 0.052493 | -0.20551 | -0.052393 | 0.0001567 | 9.9775e-05 | 0.30816 | 0.30816 | 0.30816 | 0.9942 | -0.11005 | 0.99337 | -0.12584 | 28.2197
39 | -0.0030127 | -0.00075506 | 0.003013 | 0.00075474 | 3.1147e-07 | -3.2597e-07 | 0.0045188 | 0.0045186 | 0.0045188 | 0.99208 | -0.1504 | 0.99219 | -0.14823 | 1.2414
40 | 0.1649 | 0.042147 | -0.16472 | -0.042031 | 0.00018296 | 0.00011617 | 0.2476 | 0.2476 | 0.2476 | 0.99219 | -0.14823 | 0.99099 | -0.17119 | 22.6743
41 | -0.16792 | -0.042902 | 0.1681 | 0.043018 | 0.00018202 | 0.00011561 | 0.25212 | 0.25212 | 0.25212 | 0.99219 | -0.14823 | 0.99337 | -0.12584 | 23.0881
42 | -0.0038081 | -0.00095439 | 0.0038083 | 0.00095429 | 2.5919e-07 | -1.0463e-07 | 0.0057279 | 0.0057278 | 0.0057279 | 0.98928 | -0.20413 | 0.98935 | -0.2027 | 1.5736
43 | -0.0099958 | -0.002505 | 0.009997 | 0.0025056 | 1.1944e-06 | 5.8345e-07 | 0.015034 | 0.015034 | 0.015034 | 0.98935 | -0.2027 | 0.98948 | -0.20019 | 4.1302
44 | 0.083187 | 0.020974 | -0.083152 | -0.020953 | 3.5131e-05 | 2.1824e-05 | 0.12662 | 0.12662 | 0.12662 | 0.97798 | -0.42282 | 0.97753 | -0.43164 | 11.5949
45 | 0.080702 | 0.020338 | -0.08069 | -0.020331 | 1.2e-05 | 7.4408e-06 | 0.12289 | 0.12289 | 0.12289 | 0.97753 | -0.43164 | 0.97737 | -0.43475 | 11.2533
46 | 0.079615 | 0.020062 | -0.079599 | -0.020052 | 1.6039e-05 | 9.9367e-06 | 0.12125 | 0.12125 | 0.12125 | 0.97737 | -0.43475 | 0.97716 | -0.43897 | 11.1035
47 | -0.11327 | -0.028584 | 0.11331 | 0.028607 | 3.6636e-05 | 2.3074e-05 | 0.17214 | 0.17214 | 0.17214 | 0.97955 | -0.39223 | 0.97989 | -0.38548 | 15.7638
48 | 0.076939 | 0.019385 | -0.07692 | -0.019374 | 1.8468e-05 | 1.1416e-05 | 0.1172 | 0.1172 | 0.1172 | 0.97716 | -0.43897 | 0.9769 | -0.44398 | 10.7325
49 | 0.0026602 | 0.00066661 | -0.0026601 | -0.00066669 | 5.2965e-08 | -7.3918e-08 | 0.0040509 | 0.0040509 | 0.0040509 | 0.97716 | -0.43897 | 0.97713 | -0.43938 | 1.1129
50 | -0.12137 | -0.030626 | 0.12142 | 0.030661 | 5.584e-05 | 3.5241e-05 | 0.18438 | 0.18438 | 0.18438 | 0.97989 | -0.38548 | 0.98038 | -0.37588 | 16.8842
51 | -0.0037546 | -0.00094099 | 0.003755 | 0.0009408 | 3.9877e-07 | -1.8506e-07 | 0.0056081 | 0.005608 | 0.0056081 | 0.99621 | -0.072979 | 0.99632 | -0.070749 | 1.5407
52 | -0.003755 | -0.0009408 | 0.0037552 | 0.00094072 | 1.8463e-07 | -8.5728e-08 | 0.005608 | 0.0056079 | 0.005608 | 0.99632 | -0.070749 | 0.99638 | -0.069717 | 1.5407
53 | -0.0037552 | -0.00094072 | 0.0037553 | 0.00094067 | 1.0161e-07 | -4.7191e-08 | 0.0056079 | 0.0056079 | 0.0056079 | 0.99638 | -0.069717 | 0.99641 | -0.069148 | 1.5406
54 | 0.040225 | 0.010093 | -0.040221 | -0.010091 | 4.0008e-06 | 2.5255e-06 | 0.061541 | 0.061541 | 0.061541 | 0.97268 | -0.52701 | 0.97257 | -0.5291 | 16.9068
55 | -0.040225 | -0.010093 | 0.040257 | 0.010114 | 3.2484e-05 | 2.0506e-05 | 0.061541 | 0.061541 | 0.061541 | 0.97268 | -0.52701 | 0.97354 | -0.51009 | 16.9068
56 | 0.0081184 | 0.0020348 | -0.0081168 | -0.0020342 | 1.5413e-06 | 6.5593e-07 | 0.012421 | 0.012421 | 0.012421 | 0.97257 | -0.5291 | 0.97237 | -0.53309 | 3.4124
57 | 0.032102 | 0.008056 | -0.032089 | -0.0080476 | 1.353e-05 | 8.4736e-06 | 0.04912 | 0.04912 | 0.04912 | 0.97257 | -0.5291 | 0.97213 | -0.53794 | 13.4944
58 | -0.049916 | -0.012535 | 0.049972 | 0.01257 | 5.5935e-05 | 3.548e-05 | 0.076304 | 0.076304 | 0.076304 | 0.97354 | -0.51009 | 0.97473 | -0.48663 | 20.9626
59 | 0.07388 | 0.018612 | -0.07384 | -0.018587 | 4.0262e-05 | 2.4813e-05 | 0.11257 | 0.11257 | 0.11257 | 0.9769 | -0.44398 | 0.97632 | -0.45539 | 10.3085
60 | 0.0081168 | 0.0020342 | -0.0081158 | -0.0020337 | 1.0729e-06 | 4.5666e-07 | 0.012421 | 0.012421 | 0.012421 | 0.97237 | -0.53309 | 0.97223 | -0.53586 | 3.4124
61 | 0.028577 | 0.0071675 | -0.028573 | -0.0071648 | 4.2666e-06 | 2.6569e-06 | 0.043745 | 0.043745 | 0.043745 | 0.97213 | -0.53794 | 0.97197 | -0.54108 | 12.0178
62 | -0.056551 | -0.014219 | 0.056595 | 0.014247 | 4.4802e-05 | 2.8474e-05 | 0.086347 | 0.086347 | 0.086347 | 0.97473 | -0.48663 | 0.97557 | -0.47006 | 23.7216
63 | 0.0067515 | 0.0016921 | -0.0067508 | -0.0016919 | 7.3462e-07 | 2.3883e-07 | 0.01029 | 0.01029 | 0.01029 | 0.97632 | -0.45539 | 0.9762 | -0.45767 | 2.827
64 | 0.067088 | 0.016895 | -0.067041 | -0.016865 | 4.7036e-05 | 2.9504e-05 | 0.10228 | 0.10228 | 0.10228 | 0.97632 | -0.45539 | 0.97557 | -0.47006 | 14.0493
65 | 0.0049014 | 0.0012281 | -0.0049005 | -0.0012281 | 8.8236e-07 | 4.6308e-08 | 0.0075015 | 0.0075017 | 0.0075017 | 0.97223 | -0.53586 | 0.97204 | -0.53964 | 2.0609
66 | 0.016957 | 0.0042531 | -0.016951 | -0.0042498 | 5.5571e-06 | 3.2841e-06 | 0.025961 | 0.025961 | 0.025961 | 0.97197 | -0.54108 | 0.97162 | -0.54795 | 7.1322
67 | 0.011616 | 0.0029118 | -0.011615 | -0.0029109 | 1.6783e-06 | 8.9878e-07 | 0.017784 | 0.017784 | 0.017784 | 0.97197 | -0.54108 | 0.97181 | -0.54411 | 4.8857
68 | 0.0090728 | 0.0022739 | -0.0090727 | -0.0022738 | 1.5736e-07 | 7.3773e-08 | 0.013892 | 0.013892 | 0.013892 | 0.97181 | -0.54411 | 0.9718 | -0.54447 | 3.8165
69 | 0.0057328 | 0.0014368 | -0.0057325 | -0.0014367 | 2.6698e-07 | 5.6397e-08 | 0.008778 | 0.0087781 | 0.0087781 | 0.9718 | -0.54447 | 0.97175 | -0.54545 | 2.4116
70 | 0.01435 | 0.0035978 | -0.014347 | -0.0035963 | 2.5014e-06 | 1.4299e-06 | 0.021977 | 0.021977 | 0.021977 | 0.97162 | -0.54795 | 0.97143 | -0.55161 | 6.0376
71 | 0.011981 | 0.0030032 | -0.011979 | -0.0030021 | 2.0766e-06 | 1.1255e-06 | 0.018352 | 0.018352 | 0.018352 | 0.97143 | -0.55161 | 0.97125 | -0.55525 | 5.0418
72 | 0.010797 | 0.002706 | -0.010796 | -0.0027053 | 1.3469e-06 | 6.9958e-07 | 0.016542 | 0.016542 | 0.016542 | 0.97125 | -0.55525 | 0.97112 | -0.55787 | 4.5446
73 | 0.0019804 | 0.00049621 | -0.0019804 | -0.00049623 | 5.1505e-09 | -1.5229e-08 | 0.0030316 | 0.0030316 | 0.0030316 | 0.97204 | -0.53964 | 0.97204 | -0.5397 | 0.83286
74 | 0.0019804 | 0.00049623 | -0.0019804 | -0.00049633 | 3.3094e-08 | -9.7843e-08 | 0.0030316 | 0.0030316 | 0.0030316 | 0.97204 | -0.5397 | 0.97202 | -0.54005 | 0.83287
75 | 0.0091993 | 0.0023052 | -0.009199 | -0.002305 | 2.9674e-07 | 1.4064e-07 | 0.014096 | 0.014096 | 0.014096 | 0.97112 | -0.55787 | 0.97108 | -0.55855 | 3.8724
76 | 0.0078263 | 0.001961 | -0.0078258 | -0.0019608 | 5.1034e-07 | 2.0955e-07 | 0.011992 | 0.011992 | 0.011992 | 0.97108 | -0.55855 | 0.97102 | -0.55992 | 3.2946
77 | 0.0044548 | 0.0011163 | -0.0044543 | -0.0011163 | 5.3463e-07 | -3.6199e-08 | 0.0068266 | 0.0068268 | 0.0068268 | 0.97102 | -0.55992 | 0.97089 | -0.56243 | 1.8755
78 | 0.003371 | 0.00084449 | -0.0033707 | -0.00084467 | 3.111e-07 | -1.8542e-07 | 0.0051657 | 0.0051658 | 0.0051658 | 0.97102 | -0.55992 | 0.97092 | -0.56185 | 1.4192
79 | 0.0021744 | 0.00054487 | -0.0021744 | -0.00054496 | 3.7429e-08 | -8.7194e-08 | 0.0033325 | 0.0033325 | 0.0033325 | 0.97092 | -0.56185 | 0.9709 | -0.56221 | 0.91553
80 | 0.0011498 | 0.00028815 | -0.0011498 | -0.00028816 | 1.8512e-09 | -1.8475e-08 | 0.0017622 | 0.0017622 | 0.0017622 | 0.97089 | -0.56243 | 0.97089 | -0.56247 | 0.48412
81 | 0.15615 | 0.039882 | -0.15598 | -0.039775 | 0.00016906 | 0.00010725 | 0.23473 | 0.23473 | 0.23473 | 0.99099 | -0.17119 | 0.98982 | -0.19362 | 21.4954
82 | 0.012487 | 0.0031309 | -0.012483 | -0.0031287 | 3.9116e-06 | 2.1231e-06 | 0.018773 | 0.018773 | 0.018773 | 0.98982 | -0.19362 | 0.98948 | -0.20019 | 5.1574
83 | 0.14349 | 0.036644 | -0.14339 | -0.036578 | 0.00010462 | 6.6266e-05 | 0.21596 | 0.21596 | 0.21596 | 0.98982 | -0.19362 | 0.98903 | -0.20871 | 19.7763
84 | 0.14052 | 0.03586 | -0.14037 | -0.035767 | 0.00014625 | 9.2594e-05 | 0.21165 | 0.21165 | 0.21165 | 0.98903 | -0.20871 | 0.98791 | -0.23028 | 19.3816
85 | 0.14026 | 0.035697 | -0.13999 | -0.035525 | 0.00027073 | 0.00017141 | 0.21165 | 0.21165 | 0.21165 | 0.98705 | -0.24672 | 0.98497 | -0.28684 | 19.3817
86 | -0.14026 | -0.035697 | 0.14037 | 0.035767 | 0.00011125 | 7.0437e-05 | 0.21165 | 0.21165 | 0.21165 | 0.98705 | -0.24672 | 0.98791 | -0.23028 | 19.3816
87 | 0.13431 | 0.034103 | -0.13415 | -0.033999 | 0.00016443 | 0.00010402 | 0.20307 | 0.20307 | 0.20307 | 0.98497 | -0.28684 | 0.98365 | -0.31232 | 18.5962
88 | 0.0056779 | 0.0014225 | -0.0056776 | -0.0014224 | 3.0089e-07 | 5.3773e-08 | 0.0085776 | 0.0085776 | 0.0085776 | 0.98497 | -0.28684 | 0.98491 | -0.28795 | 2.3565
89 | 0.0039732 | 0.00099552 | -0.0039731 | -0.00099554 | 5.6717e-08 | -1.6847e-08 | 0.0060103 | 0.0060103 | 0.0060103 | 0.98365 | -0.31232 | 0.98364 | -0.31262 | 1.6512
90 | 0.13018 | 0.033003 | -0.1301 | -0.032951 | 8.1801e-05 | 5.1711e-05 | 0.19706 | 0.19706 | 0.19706 | 0.98365 | -0.31232 | 0.98298 | -0.3254 | 18.0458
91 | 0.0022068 | 0.00055256 | -0.0022067 | -0.00055281 | 1.0649e-07 | -2.5699e-07 | 0.0033338 | 0.0033339 | 0.0033339 | 0.98491 | -0.28795 | 0.98486 | -0.28897 | 0.91591
92 | 0.0022635 | 0.00056706 | -0.0022634 | -0.00056726 | 8.8965e-08 | -1.9991e-07 | 0.003424 | 0.0034241 | 0.0034241 | 0.98364 | -0.31262 | 0.9836 | -0.31344 | 0.94069
93 | 0.12829 | 0.032499 | -0.12819 | -0.032436 | 9.9918e-05 | 6.3144e-05 | 0.19433 | 0.19433 | 0.19433 | 0.98298 | -0.3254 | 0.98214 | -0.34163 | 17.7955
94 | 0.0022067 | 0.00055281 | -0.0022066 | -0.00055302 | 8.5514e-08 | -2.0632e-07 | 0.0033339 | 0.003334 | 0.003334 | 0.98486 | -0.28897 | 0.98482 | -0.28978 | 0.91594
95 | 0.12644 | 0.031998 | -0.12634 | -0.031936 | 9.7697e-05 | 6.1719e-05 | 0.19168 | 0.19168 | 0.19168 | 0.98214 | -0.34163 | 0.98131 | -0.35774 | 17.5531
96 | 0.12413 | 0.03138 | -0.12402 | -0.031312 | 0.00010786 | 6.811e-05 | 0.18832 | 0.18832 | 0.18832 | 0.98131 | -0.35774 | 0.98038 | -0.37588 | 17.245

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27588 | 0.070162

## res_load
| p_mw | q_mvar
0 | 0.0041717 | 0.0010455
1 | 0.00021443 | 5.3742e-05
2 | 0.00037059 | 9.2878e-05
3 | 0.0028871 | 0.00072357
4 | 0.0011519 | 0.00028868
5 | 0.0013754 | 0.00034472
6 | 0.0034907 | 0.00087485
7 | 0.0014297 | 0.00035833
8 | 0.0026977 | 0.00067611
9 | 0.0027013 | 0.00067702
10 | 0.0015058 | 0.00037738
11 | 0.0053683 | 0.0013454
12 | 0.01713 | 0.0042932
13 | 0.0015004 | 0.00037605
14 | 0.0065361 | 0.0016381
15 | 0.0038964 | 0.00097654
16 | 0.0046278 | 0.0011598
17 | 0.0018451 | 0.00046243
18 | 0.0022626 | 0.00056706
19 | 0.017078 | 0.0042802
20 | 0.0027131 | 0.00067997
21 | 0.0020988 | 0.00052601
22 | 0.0030127 | 0.00075506
23 | 0.0038081 | 0.00095439
24 | 0.0061875 | 0.0015507
25 | 0.0024506 | 0.00061418
26 | 0.0010748 | 0.00026936
27 | 0.0030787 | 0.00077159
28 | 0.0080568 | 0.0020192
29 | 0.0037546 | 0.00094099
30 | 0.0026601 | 0.00066669
31 | 0.0096588 | 0.0024207
32 | 0.0030403 | 0.00076197
33 | 0.0035115 | 0.00088007
34 | 0.0065787 | 0.0016488
35 | 0.0032144 | 0.0008056
36 | 0.010446 | 0.0026179
37 | 0.0067508 | 0.0016919
38 | 0.0025417 | 0.00063701
39 | 0.0033399 | 0.00083706
40 | 0.0057325 | 0.0014367
41 | 0.0026015 | 0.000652
42 | 0.0023665 | 0.0005931
43 | 0.0011813 | 0.00029607
44 | 0.0029201 | 0.00073185
45 | 0.0019804 | 0.00049633
46 | 0.0015968 | 0.00040019
47 | 0.0013727 | 0.00034402
48 | 0.0011962 | 0.00029981
49 | 0.0021744 | 0.00054496
50 | 0.0033045 | 0.00082818
51 | 0.0011498 | 0.00028816
52 | 0.03741 | 0.0093758
53 | 0.0033023 | 0.00082763
54 | 0.0085738 | 0.0021488
55 | 0.0024864 | 0.00062315
56 | 0.0028656 | 0.00071819
57 | 0.0034709 | 0.00086988
58 | 0.0017097 | 0.00042848
59 | 0.0018058 | 0.00045259
60 | 0.0022066 | 0.00055302
61 | 0.0022634 | 0.00056726
62 | 0.0017475 | 0.00043797
63 | 0.0022188 | 0.00055607
64 | 0.0025961 | 0.00065065

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1