## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2543-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2543-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2543-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2543-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2543-2_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_2543-2_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2543-2_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_2543-2_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2543-2_0_4_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_2543-2_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2543-2_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2543-2_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2543-2_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2543-2_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2543-2_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2543-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2543-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2543-2_0_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2543-2_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_2543-2_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_2543-2_0_4_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_2543-2_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2543-2_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2543-2_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_2543-2_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2543-2_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_2543-2_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_2543-2_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2543-2_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2543-2_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2543-2_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2543-2_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2543-2_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2543-2_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2543-2_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2543-2_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_2543-2_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_2543-2_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2543-2_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2543-2_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2543-2_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2543-2_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2543-2_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2543-2_0_4_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_2543-2_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2543-2_0_4_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_2543-2_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2543-2_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2543-2_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_2543-2_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_2543-2_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2543-2_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2543-2_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2543-2_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2543-2_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_2543-2_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_2543-2_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2543-2_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_2543-2_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_MV_396_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2543-2_0_4_load_0 | 0 | 0.015923 | 0.0039907 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2543-2_0_4_load_1 | 1 | 0.0001217 | 3.05e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2543-2_0_4_load_2 | 2 | 0.037171 | 0.0093159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2543-2_0_4_load_22 | 6 | 0.0037544 | 0.00094093 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2543-2_0_4_load_63 | 8 | 0.0068224 | 0.0017098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2543-2_0_4_load_15 | 10 | 0.0027552 | 0.00069053 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2543-2_0_4_load_11 | 11 | 0.0020865 | 0.00052293 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2543-2_0_4_load_5 | 12 | 0.0072349 | 0.0018132 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2543-2_0_4_load_6 | 13 | 0.009553 | 0.0023942 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2543-2_0_4_load_10 | 16 | 0.033585 | 0.0084171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2543-2_0_4_load_55 | 18 | 0.0053983 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2543-2_0_4_load_45 | 20 | 0.0094937 | 0.0023794 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2543-2_0_4_load_12 | 21 | 0.0027473 | 0.00068855 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2543-2_0_4_load_14 | 22 | 0.0020882 | 0.00052336 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2543-2_0_4_load_35 | 23 | 0.039997 | 0.010024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2543-2_0_4_load_44 | 24 | 0.004721 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2543-2_0_4_load_33 | 25 | 0.010376 | 0.0026004 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2543-2_0_4_load_17 | 27 | 0.0013872 | 0.00034767 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2543-2_0_4_load_18 | 28 | 0.00037333 | 9.3566e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2543-2_0_4_load_19 | 29 | 0.0057092 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2543-2_0_4_load_20 | 30 | 0.0029517 | 0.00073976 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2543-2_0_4_load_21 | 31 | 0.0032421 | 0.00081254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2543-2_0_4_load_34 | 32 | 0.0061069 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2543-2_0_4_load_23 | 33 | 0.0024158 | 0.00060547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2543-2_0_4_load_32 | 34 | 0.059759 | 0.014977 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2543-2_0_4_load_51 | 35 | 0.001579 | 0.00039573 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2543-2_0_4_load_52 | 36 | 0.0029202 | 0.00073188 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2543-2_0_4_load_62 | 37 | 0.0054465 | 0.001365 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2543-2_0_4_load_27 | 38 | 0.0022815 | 0.00057181 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2543-2_0_4_load_28 | 39 | 0.0064202 | 0.0016091 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2543-2_0_4_load_29 | 40 | 0.0068528 | 0.0017175 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2543-2_0_4_load_30 | 41 | 0.0058493 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2543-2_0_4_load_31 | 42 | 0.0015572 | 0.00039027 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2543-2_0_4_load_58 | 43 | 0.0022895 | 0.00057381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2543-2_0_4_load_36 | 44 | 0.0023405 | 0.00058658 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2543-2_0_4_load_59 | 45 | 0.0029734 | 0.0007452 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2543-2_0_4_load_37 | 46 | 0.0066857 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2543-2_0_4_load_38 | 47 | 0.0015299 | 0.00038344 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2543-2_0_4_load_50 | 48 | 0.0015747 | 0.00039465 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2543-2_0_4_load_49 | 49 | 0.0066923 | 0.0016772 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2543-2_0_4_load_39 | 50 | 0.0015326 | 0.0003841 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2543-2_0_4_load_40 | 51 | 0.009542 | 0.0023915 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2543-2_0_4_load_43 | 52 | 0.0015166 | 0.00038009 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2543-2_0_4_load_46 | 53 | 0.0094616 | 0.0023713 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2543-2_0_4_load_61 | 55 | 0.0055492 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2543-2_0_4_load_53 | 56 | 0.001378 | 0.00034536 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2543-2_0_4_load_57 | 57 | 0.0063522 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2543-2_0_4_load_65 | 58 | 0.0048438 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2543-2_0_4_line_0 |  | 0 | 1 | 0.065564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2543-2_0_4_line_1 |  | 0 | 2 | 0.049367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2543-2_0_4_line_2 |  | 1 | 3 | 0.06392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2543-2_0_4_line_3 |  | 3 | 4 | 0.04495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2543-2_0_4_line_4 |  | 4 | 5 | 0.030973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2543-2_0_4_line_5 |  | 4 | 6 | 0.036906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2543-2_0_4_line_6 |  | 5 | 35 | 0.070556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2543-2_0_4_line_7 |  | 6 | 33 | 0.0025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2543-2_0_4_line_8 |  | 7 | 8 | 0.031973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2543-2_0_4_line_9 |  | 7 | 9 | 0.039462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2543-2_0_4_line_10 |  | 9 | 10 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2543-2_0_4_line_11 |  | 9 | 11 | 0.025677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2543-2_0_4_line_12 |  | 10 | 24 | 0.00054974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2543-2_0_4_line_13 |  | 11 | 21 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2543-2_0_4_line_14 |  | 12 | 13 | 0.023151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2543-2_0_4_line_15 |  | 12 | 14 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2543-2_0_4_line_16 |  | 14 | 15 | 0.008111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2543-2_0_4_line_17 |  | 14 | 16 | 0.033619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2543-2_0_4_line_18 |  | 15 | 17 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2543-2_0_4_line_19 |  | 15 | 18 | 0.075037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2543-2_0_4_line_20 |  | 17 | 19 | 0.01712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2543-2_0_4_line_21 |  | 17 | 20 | 0.051386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2543-2_0_4_line_22 |  | 19 | 37 | 0.040966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2543-2_0_4_line_23 |  | 19 | 51 | 0.0039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2543-2_0_4_line_24 |  | 20 | 53 | 0.032576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2543-2_0_4_line_25 |  | 21 | 22 | 0.0077052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2543-2_0_4_line_26 |  | 22 | 23 | 0.032178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2543-2_0_4_line_27 |  | 23 | 25 | 0.0021978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2543-2_0_4_line_28 |  | 24 | 26 | 0.047573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2543-2_0_4_line_29 |  | 25 | 34 | 0.027068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2543-2_0_4_line_30 |  | 26 | 52 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2543-2_0_4_line_31 |  | 26 | 50 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2543-2_0_4_line_32 |  | 27 | 28 | 0.0052603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2543-2_0_4_line_33 |  | 27 | 29 | 0.018192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2543-2_0_4_line_34 |  | 28 | 30 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2543-2_0_4_line_35 |  | 29 | 31 | 0.023625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2543-2_0_4_line_36 |  | 30 | 32 | 0.02582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2543-2_0_4_line_37 |  | 31 | 33 | 0.020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2543-2_0_4_line_38 |  | 32 | 34 | 0.017673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2543-2_0_4_line_39 |  | 35 | 36 | 0.020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2543-2_0_4_line_40 |  | 36 | 56 | 0.0056006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2543-2_0_4_line_41 |  | 38 | 39 | 0.024863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2543-2_0_4_line_42 |  | 38 | 40 | 0.0022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2543-2_0_4_line_43 |  | 39 | 41 | 0.0095763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2543-2_0_4_line_44 |  | 40 | 42 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2543-2_0_4_line_45 |  | 41 | 43 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2543-2_0_4_line_46 |  | 42 | 44 | 0.019414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2543-2_0_4_line_47 |  | 43 | 45 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2543-2_0_4_line_48 |  | 44 | 46 | 0.0017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2543-2_0_4_line_49 |  | 45 | 54 | 0.0084213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2543-2_0_4_line_50 |  | 46 | 47 | 0.0062993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2543-2_0_4_line_51 |  | 47 | 48 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2543-2_0_4_line_52 |  | 48 | 49 | 0.0099912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2543-2_0_4_line_53 |  | 49 | 52 | 0.0032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2543-2_0_4_line_54 |  | 50 | 51 | 0.036111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2543-2_0_4_line_55 |  | 54 | 55 | 0.023824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2543-2_0_4_line_56 |  | 55 | 58 | 0.019958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2543-2_0_4_line_57 |  | 56 | 57 | 0.0051681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2543-2_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 59 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2599210.7001 | 1227436.665 | 2599193.9157 | 1227432.3404 | 2599147.2858 | 1227420.013
1 | 2599210.7001 | 1227436.665 | 2599258.5056 | 1227448.9824
2 | 2599085.5515 | 1227405.9863 | 2599092.4848 | 1227404.8734 | 2599097.3953 | 1227405.6731 | 2599121.751 | 1227413.2625 | 2599147.2858 | 1227420.013
3 | 2599083.3627 | 1227367.653 | 2599077.4788 | 1227391.1901 | 2599075.7904 | 1227399.4174 | 2599079.2535 | 1227400.184 | 2599082.3227 | 1227401.9512 | 2599084.1644 | 1227403.7853 | 2599085.5515 | 1227405.9863
4 | 2599083.3627 | 1227367.653 | 2599083.8095 | 1227365.8852 | 2599086.0586 | 1227356.9018 | 2599091.6023 | 1227337.8008
5 | 2599083.3627 | 1227367.653 | 2599095.9043 | 1227370.4971 | 2599119.5067 | 1227375.092
6 | 2599091.6023 | 1227337.8008 | 2599102.7041 | 1227340.0002 | 2599134.8043 | 1227346.2988 | 2599160.9857 | 1227350.5593
7 | 2599122.0317 | 1227375.5836 | 2599119.5067 | 1227375.092
8 | 2599342.3732 | 1227470.0425 | 2599373.3051 | 1227478.1365
9 | 2599357.9029 | 1227433.7971 | 2599355.9031 | 1227439.4006 | 2599347.964 | 1227457.7124 | 2599343.5701 | 1227466.7293 | 2599342.3732 | 1227470.0425
10 | 2599357.9029 | 1227433.7971 | 2599359.8042 | 1227428.6049 | 2599363.4205 | 1227418.7047
11 | 2599357.9029 | 1227433.7971 | 2599333.2445 | 1227426.6377
12 | 2599363.6091 | 1227418.1884 | 2599363.4205 | 1227418.7047
13 | 2599333.2445 | 1227426.6377 | 2599310.7284 | 1227420.1003
14 | 2599424.8282 | 1227298.898 | 2599447.2849 | 1227304.5268
15 | 2599414.8561 | 1227296.3985 | 2599424.8282 | 1227298.898
16 | 2599414.8561 | 1227296.3985 | 2599406.9674 | 1227294.4204
17 | 2599447.6528 | 1227297.0842 | 2599429.7688 | 1227292.8392 | 2599414.8561 | 1227296.3985
18 | 2599402.604 | 1227306.806 | 2599406.9674 | 1227294.4204
19 | 2599406.9674 | 1227294.4204 | 2599431.8364 | 1227223.6248
20 | 2599402.604 | 1227306.806 | 2599396.7103 | 1227322.8828
21 | 2599402.604 | 1227306.806 | 2599379.1196 | 1227299.2598 | 2599353.5468 | 1227291.5181
22 | 2599396.7103 | 1227322.8828 | 2599436.4243 | 1227332.9321
23 | 2599396.7103 | 1227322.8828 | 2599395.4078 | 1227326.6391
24 | 2599353.5468 | 1227291.5181 | 2599322.3681 | 1227282.0794
25 | 2599310.7284 | 1227420.1003 | 2599303.3287 | 1227417.9519
26 | 2599272.4272 | 1227408.9798 | 2599303.3287 | 1227417.9519
27 | 2599270.3166 | 1227408.367 | 2599272.4272 | 1227408.9798
28 | 2599379.2419 | 1227373.2589 | 2599375.5983 | 1227383.6988 | 2599367.0006 | 1227408.9035 | 2599363.6091 | 1227418.1884
29 | 2599270.3166 | 1227408.367 | 2599257.7002 | 1227404.7039 | 2599244.0882 | 1227401.7431
30 | 2599379.2419 | 1227373.2589 | 2599361.7884 | 1227367.8931
31 | 2599379.2419 | 1227373.2589 | 2599383.5769 | 1227360.7575
32 | 2599183.4742 | 1227388.5586 | 2599188.6143 | 1227389.6767
33 | 2599165.6976 | 1227384.6919 | 2599183.4742 | 1227388.5586
34 | 2599201.589 | 1227392.4989 | 2599188.6143 | 1227389.6767
35 | 2599142.6122 | 1227379.6705 | 2599165.6976 | 1227384.6919
36 | 2599201.589 | 1227392.4989 | 2599226.8192 | 1227397.9869
37 | 2599142.6122 | 1227379.6705 | 2599139.0984 | 1227378.9062 | 2599122.0317 | 1227375.5836
38 | 2599226.8192 | 1227397.9869 | 2599244.0882 | 1227401.7431
39 | 2599160.9857 | 1227350.5593 | 2599181.3735 | 1227353.877
40 | 2599186.9013 | 1227354.7765 | 2599181.3735 | 1227353.877
41 | 2599263.4587 | 1227339.2462 | 2599287.4112 | 1227345.9135
42 | 2599289.5585 | 1227346.5112 | 2599287.4112 | 1227345.9135
43 | 2599263.4587 | 1227339.2462 | 2599256.0996 | 1227337.1978 | 2599254.2509 | 1227336.6182
44 | 2599303.9229 | 1227350.5096 | 2599289.5585 | 1227346.5112
45 | 2599254.2509 | 1227336.6182 | 2599244.33 | 1227333.5079
46 | 2599303.9229 | 1227350.5096 | 2599317.8982 | 1227354.3997 | 2599322.5892 | 1227355.8419
47 | 2599244.33 | 1227333.5079 | 2599232.2438 | 1227329.7189
48 | 2599324.2454 | 1227356.3511 | 2599322.5892 | 1227355.8419
49 | 2599227.4689 | 1227322.7822 | 2599232.2438 | 1227329.7189 | 2599232.2438 | 1227329.7189
50 | 2599330.2665 | 1227358.2022 | 2599324.2454 | 1227356.3511
51 | 2599349.0942 | 1227363.9905 | 2599330.2665 | 1227358.2022
52 | 2599358.6443 | 1227366.9265 | 2599349.0942 | 1227363.9905
53 | 2599361.7884 | 1227367.8931 | 2599358.6443 | 1227366.9265
54 | 2599383.5769 | 1227360.7575 | 2599395.4078 | 1227326.6391
55 | 2599227.4689 | 1227322.7822 | 2599217.8301 | 1227323.7841 | 2599205.9482 | 1227323.6858 | 2599203.7066 | 1227323.4813
56 | 2599183.8311 | 1227321.668 | 2599203.7066 | 1227323.4813
57 | 2599192.0023 | 1227355.6066 | 2599186.9013 | 1227354.7765

## bus_geodata
| x | y | coords
0 | 2599210.7001 | 1227436.665
1 | 2599147.2858 | 1227420.013
2 | 2599258.5056 | 1227448.9824
3 | 2599085.5515 | 1227405.9863
4 | 2599083.3627 | 1227367.653
5 | 2599091.6023 | 1227337.8008
6 | 2599119.5067 | 1227375.092
7 | 2599342.3732 | 1227470.0425
8 | 2599373.3051 | 1227478.1365
9 | 2599357.9029 | 1227433.7971
10 | 2599363.4205 | 1227418.7047
11 | 2599333.2445 | 1227426.6377
12 | 2599424.8282 | 1227298.898
13 | 2599447.2849 | 1227304.5268
14 | 2599414.8561 | 1227296.3985
15 | 2599406.9674 | 1227294.4204
16 | 2599447.6528 | 1227297.0842
17 | 2599402.604 | 1227306.806
18 | 2599431.8364 | 1227223.6248
19 | 2599396.7103 | 1227322.8828
20 | 2599353.5468 | 1227291.5181
21 | 2599310.7284 | 1227420.1003
22 | 2599303.3287 | 1227417.9519
23 | 2599272.4272 | 1227408.9798
24 | 2599363.6091 | 1227418.1884
25 | 2599270.3166 | 1227408.367
26 | 2599379.2419 | 1227373.2589
27 | 2599183.4742 | 1227388.5586
28 | 2599188.6143 | 1227389.6767
29 | 2599165.6976 | 1227384.6919
30 | 2599201.589 | 1227392.4989
31 | 2599142.6122 | 1227379.6705
32 | 2599226.8192 | 1227397.9869
33 | 2599122.0317 | 1227375.5836
34 | 2599244.0882 | 1227401.7431
35 | 2599160.9857 | 1227350.5593
36 | 2599181.3735 | 1227353.877
37 | 2599436.4243 | 1227332.9321
38 | 2599287.4112 | 1227345.9135
39 | 2599263.4587 | 1227339.2462
40 | 2599289.5585 | 1227346.5112
41 | 2599254.2509 | 1227336.6182
42 | 2599303.9229 | 1227350.5096
43 | 2599244.33 | 1227333.5079
44 | 2599322.5892 | 1227355.8419
45 | 2599232.2438 | 1227329.7189
46 | 2599324.2454 | 1227356.3511
47 | 2599330.2665 | 1227358.2022
48 | 2599349.0942 | 1227363.9905
49 | 2599358.6443 | 1227366.9265
50 | 2599383.5769 | 1227360.7575
51 | 2599395.4078 | 1227326.6391
52 | 2599361.7884 | 1227367.8931
53 | 2599322.3681 | 1227282.0794
54 | 2599227.4689 | 1227322.7822
55 | 2599203.7066 | 1227323.4813
56 | 2599186.9013 | 1227354.7765
57 | 2599192.0023 | 1227355.6066
58 | 2599183.8311 | 1227321.668
59 | 2599379.2419 | 1227373.2589

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97174 | -0.54568 | 0.015923 | 0.0039907
1 | 0.97499 | -0.48164 | 0.0001217 | 3.05e-05
2 | 0.97002 | -0.57961 | 0.037171 | 0.0093159
3 | 0.97605 | -0.46087 | 0 | 0
4 | 0.9768 | -0.44629 | 0 | 0
5 | 0.97645 | -0.45321 | 0 | 0
6 | 0.97755 | -0.43159 | 0.0037544 | 0.00094093
7 | 0.98751 | -0.23812 | 0 | 0
8 | 0.98731 | -0.24202 | 0.0068224 | 0.0017098
9 | 0.98776 | -0.23331 | 0 | 0
10 | 0.98883 | -0.21273 | 0.0027552 | 0.00069053
11 | 0.9861 | -0.26524 | 0.0020865 | 0.00052293
12 | 0.98537 | -0.28046 | 0.0072349 | 0.0018132
13 | 0.98516 | -0.28443 | 0.009553 | 0.0023942
14 | 0.98552 | -0.27736 | 0 | 0
15 | 0.9859 | -0.27003 | 0 | 0
16 | 0.98448 | -0.29765 | 0.033585 | 0.0084171
17 | 0.98657 | -0.25691 | 0 | 0
18 | 0.98553 | -0.2773 | 0.0053983 | 0.0013529
19 | 0.98775 | -0.23403 | 0 | 0
20 | 0.98568 | -0.27437 | 0.0094937 | 0.0023794
21 | 0.9846 | -0.2942 | 0.0027473 | 0.00068855
22 | 0.98412 | -0.30361 | 0.0020882 | 0.00052336
23 | 0.98211 | -0.34259 | 0.039997 | 0.010024
24 | 0.98886 | -0.21202 | 0.004721 | 0.0011832
25 | 0.982 | -0.34473 | 0.010376 | 0.0026004
26 | 0.99214 | -0.14925 | 0 | 0
27 | 0.97908 | -0.40174 | 0.0013872 | 0.00034767
28 | 0.97921 | -0.39913 | 0.00037333 | 9.3566e-05
29 | 0.97862 | -0.41064 | 0.0057092 | 0.0014309
30 | 0.97955 | -0.39251 | 0.0029517 | 0.00073976
31 | 0.97807 | -0.42137 | 0.0032421 | 0.00081254
32 | 0.98024 | -0.37918 | 0.0061069 | 0.0015305
33 | 0.9776 | -0.43051 | 0.0024158 | 0.00060547
34 | 0.98074 | -0.36942 | 0.059759 | 0.014977
35 | 0.97564 | -0.469 | 0.001579 | 0.00039573
36 | 0.97544 | -0.47303 | 0.0029202 | 0.00073188
37 | 0.98755 | -0.23801 | 0.0054465 | 0.001365
38 | 0.99944 | -0.010812 | 0.0022815 | 0.00057181
39 | 0.99881 | -0.022936 | 0.0064202 | 0.0016091
40 | 0.9995 | -0.009637 | 0.0068528 | 0.0017175
41 | 0.99862 | -0.026535 | 0.0058493 | 0.001466
42 | 1 | 0 | -0.37882 | -0.096748
43 | 0.99847 | -0.029381 | 0.0022895 | 0.00057381
44 | 0.998 | -0.037794 | 0.0023405 | 0.00058658
45 | 0.99832 | -0.032342 | 0.0029734 | 0.0007452
46 | 0.99782 | -0.04115 | 0.0066857 | 0.0016756
47 | 0.99719 | -0.053118 | 0.0015299 | 0.00038344
48 | 0.99522 | -0.09046 | 0.0015747 | 0.00039465
49 | 0.99423 | -0.10937 | 0.0066923 | 0.0016772
50 | 0.99103 | -0.17066 | 0.0015326 | 0.0003841
51 | 0.98805 | -0.22833 | 0.009542 | 0.0023915
52 | 0.99391 | -0.11547 | 0.0015166 | 0.00038009
53 | 0.98539 | -0.2799 | 0.0094616 | 0.0023713
54 | 0.99824 | -0.033873 | 0 | 0
55 | 0.99801 | -0.038205 | 0.0055492 | 0.0013908
56 | 0.9754 | -0.47383 | 0.001378 | 0.00034536
57 | 0.97537 | -0.47443 | 0.0063522 | 0.001592
58 | 0.99793 | -0.039897 | 0.0048438 | 0.001214
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.053154 | -0.013344 | 0.053317 | 0.013448 | 0.00016292 | 0.00010345 | 0.081403 | 0.081402 | 0.081403 | 0.97174 | -0.54568 | 0.97499 | -0.48164 | 22.3633
1 | 0.037231 | 0.0093538 | -0.037171 | -0.0093159 | 6.019e-05 | 3.7911e-05 | 0.05702 | 0.05702 | 0.05702 | 0.97174 | -0.54568 | 0.97002 | -0.57961 | 15.6649
2 | -0.053439 | -0.013478 | 0.053492 | 0.01351 | 5.3186e-05 | 3.1645e-05 | 0.081588 | 0.081587 | 0.081588 | 0.97499 | -0.48164 | 0.97605 | -0.46087 | 7.4714
3 | -0.053492 | -0.01351 | 0.053529 | 0.013532 | 3.74e-05 | 2.225e-05 | 0.081587 | 0.081587 | 0.081587 | 0.97605 | -0.46087 | 0.9768 | -0.44629 | 7.4713
4 | 0.012245 | 0.0030734 | -0.012241 | -0.0030712 | 4.0424e-06 | 2.1995e-06 | 0.018656 | 0.018656 | 0.018656 | 0.9768 | -0.44629 | 0.97645 | -0.45321 | 5.1252
5 | -0.065774 | -0.016606 | 0.065821 | 0.016634 | 4.6355e-05 | 2.828e-05 | 0.10024 | 0.10024 | 0.10024 | 0.9768 | -0.44629 | 0.97755 | -0.43159 | 9.1797
6 | 0.012241 | 0.0030712 | -0.012232 | -0.0030662 | 9.2085e-06 | 5.0116e-06 | 0.018656 | 0.018656 | 0.018656 | 0.97645 | -0.45321 | 0.97564 | -0.469 | 5.1253
7 | -0.069575 | -0.017575 | 0.069579 | 0.017577 | 3.6099e-06 | 2.2136e-06 | 0.10596 | 0.10596 | 0.10596 | 0.97755 | -0.43159 | 0.9776 | -0.43051 | 9.703
8 | 0.0068236 | 0.0017102 | -0.0068224 | -0.0017098 | 1.2676e-06 | 4.0231e-07 | 0.010282 | 0.010282 | 0.010282 | 0.98751 | -0.23812 | 0.98731 | -0.24202 | 2.8248
9 | -0.0068236 | -0.0017102 | 0.0068252 | 0.0017107 | 1.5645e-06 | 4.9628e-07 | 0.010282 | 0.010282 | 0.010282 | 0.98751 | -0.23812 | 0.98776 | -0.23331 | 2.8248
10 | -0.21716 | -0.055147 | 0.21738 | 0.055284 | 0.00021532 | 0.00013718 | 0.3274 | 0.3274 | 0.3274 | 0.98776 | -0.23331 | 0.98883 | -0.21273 | 29.9821
11 | 0.21034 | 0.053436 | -0.21001 | -0.053231 | 0.00032278 | 0.00020559 | 0.31712 | 0.31712 | 0.31712 | 0.98776 | -0.23331 | 0.9861 | -0.26524 | 29.0406
12 | -0.22013 | -0.055975 | 0.22014 | 0.05598 | 7.5538e-06 | 4.8133e-06 | 0.33155 | 0.33155 | 0.33155 | 0.98883 | -0.21273 | 0.98886 | -0.21202 | 30.3617
13 | 0.20793 | 0.052708 | -0.20764 | -0.052524 | 0.00028891 | 0.00018401 | 0.31397 | 0.31397 | 0.31397 | 0.9861 | -0.26524 | 0.9846 | -0.2942 | 28.7523
14 | 0.0095548 | 0.0023951 | -0.009553 | -0.0023942 | 1.8075e-06 | 8.6197e-07 | 0.014429 | 0.014429 | 0.014429 | 0.98537 | -0.28046 | 0.98516 | -0.28443 | 3.964
15 | -0.01679 | -0.0042083 | 0.016792 | 0.0042098 | 2.4783e-06 | 1.4552e-06 | 0.025355 | 0.025355 | 0.025355 | 0.98537 | -0.28046 | 0.98552 | -0.27736 | 6.9655
16 | -0.050409 | -0.012647 | 0.050427 | 0.012658 | 1.7622e-05 | 1.1175e-05 | 0.076117 | 0.076117 | 0.076117 | 0.98552 | -0.27736 | 0.9859 | -0.27003 | 20.9111
17 | 0.033617 | 0.0084375 | -0.033585 | -0.0084171 | 3.2486e-05 | 2.0363e-05 | 0.050762 | 0.050762 | 0.050762 | 0.98552 | -0.27736 | 0.98448 | -0.29765 | 13.9457
18 | -0.055827 | -0.014012 | 0.055862 | 0.014034 | 3.496e-05 | 2.2207e-05 | 0.084267 | 0.084267 | 0.084267 | 0.9859 | -0.27003 | 0.98657 | -0.25691 | 23.1503
19 | 0.0054002 | 0.0013532 | -0.0053983 | -0.0013529 | 1.8693e-06 | 2.3986e-07 | 0.0081504 | 0.0081507 | 0.0081507 | 0.9859 | -0.27003 | 0.98553 | -0.2773 | 2.2392
20 | -0.074836 | -0.018795 | 0.074918 | 0.018847 | 8.1812e-05 | 5.2141e-05 | 0.11289 | 0.11289 | 0.11289 | 0.98657 | -0.25691 | 0.98775 | -0.23403 | 31.0127
21 | 0.018974 | 0.0047613 | -0.018958 | -0.0047518 | 1.5783e-05 | 9.4457e-06 | 0.028619 | 0.02862 | 0.02862 | 0.98657 | -0.25691 | 0.98568 | -0.27437 | 7.8625
22 | 0.0054475 | 0.0013652 | -0.0054465 | -0.001365 | 1.0346e-06 | 1.379e-07 | 0.0082065 | 0.0082067 | 0.0082067 | 0.98775 | -0.23403 | 0.98755 | -0.23801 | 2.2546
23 | -0.080365 | -0.020212 | 0.080387 | 0.020226 | 2.1862e-05 | 1.3941e-05 | 0.12109 | 0.12109 | 0.12109 | 0.98775 | -0.23403 | 0.98805 | -0.22833 | 33.2672
24 | 0.009464 | 0.0023725 | -0.0094616 | -0.0023713 | 2.4937e-06 | 1.1809e-06 | 0.014287 | 0.014288 | 0.014288 | 0.98568 | -0.27437 | 0.98539 | -0.2799 | 3.9252
25 | 0.20489 | 0.051835 | -0.2048 | -0.051776 | 9.2453e-05 | 5.8876e-05 | 0.30982 | 0.30982 | 0.30982 | 0.9846 | -0.2942 | 0.98412 | -0.30361 | 28.372
26 | 0.20271 | 0.051253 | -0.20233 | -0.051012 | 0.00037826 | 0.00024086 | 0.30667 | 0.30667 | 0.30667 | 0.98412 | -0.30361 | 0.98211 | -0.34259 | 28.0829
27 | 0.16234 | 0.040988 | -0.16232 | -0.040977 | 1.6634e-05 | 1.0563e-05 | 0.24607 | 0.24607 | 0.24607 | 0.98211 | -0.34259 | 0.982 | -0.34473 | 22.5335
28 | -0.22486 | -0.057163 | 0.22554 | 0.057597 | 0.000682 | 0.00043464 | 0.33865 | 0.33865 | 0.33865 | 0.98886 | -0.21202 | 0.99214 | -0.14925 | 31.0123
29 | 0.15194 | 0.038377 | -0.15176 | -0.038263 | 0.00017952 | 0.00011387 | 0.23034 | 0.23034 | 0.23034 | 0.982 | -0.34473 | 0.98074 | -0.36942 | 21.0937
30 | -0.31735 | -0.080818 | 0.31787 | 0.081149 | 0.00051806 | 0.00033085 | 0.47642 | 0.47642 | 0.47642 | 0.99214 | -0.14925 | 0.99391 | -0.11547 | 43.628
31 | 0.091804 | 0.023221 | -0.09171 | -0.02316 | 9.4171e-05 | 6.0099e-05 | 0.13776 | 0.13776 | 0.13776 | 0.99214 | -0.14925 | 0.99103 | -0.17066 | 37.8473
32 | -0.082438 | -0.020838 | 0.082448 | 0.020845 | 1.0332e-05 | 6.4142e-06 | 0.12535 | 0.12535 | 0.12535 | 0.97908 | -0.40174 | 0.97921 | -0.39913 | 11.4793
33 | 0.081051 | 0.020491 | -0.081016 | -0.020469 | 3.4542e-05 | 2.1421e-05 | 0.12325 | 0.12325 | 0.12325 | 0.97908 | -0.40174 | 0.97862 | -0.41064 | 11.2863
34 | -0.082822 | -0.020938 | 0.082848 | 0.020955 | 2.6318e-05 | 1.6342e-05 | 0.12592 | 0.12592 | 0.12592 | 0.97921 | -0.39913 | 0.97955 | -0.39251 | 11.5313
35 | 0.075307 | 0.019038 | -0.075268 | -0.019015 | 3.8761e-05 | 2.3917e-05 | 0.11457 | 0.11457 | 0.11457 | 0.97862 | -0.41064 | 0.97807 | -0.42137 | 10.4914
36 | -0.0858 | -0.021695 | 0.085854 | 0.021729 | 5.4885e-05 | 3.4151e-05 | 0.13041 | 0.1304 | 0.13041 | 0.97955 | -0.39251 | 0.98024 | -0.37918 | 11.9419
37 | 0.072026 | 0.018202 | -0.071995 | -0.018183 | 3.1526e-05 | 1.9387e-05 | 0.10963 | 0.10963 | 0.10963 | 0.97807 | -0.42137 | 0.9776 | -0.43051 | 10.0397
38 | -0.091961 | -0.023259 | 0.092005 | 0.023286 | 4.3098e-05 | 2.6914e-05 | 0.13968 | 0.13967 | 0.13968 | 0.98024 | -0.37918 | 0.98074 | -0.36942 | 12.7908
39 | 0.010653 | 0.0026705 | -0.010651 | -0.0026694 | 2.0449e-06 | 1.0508e-06 | 0.016248 | 0.016248 | 0.016248 | 0.97564 | -0.469 | 0.97544 | -0.47303 | 4.4637
40 | 0.0077307 | 0.0019375 | -0.0077304 | -0.0019374 | 2.9209e-07 | 1.1703e-07 | 0.011793 | 0.011793 | 0.011793 | 0.97544 | -0.47303 | 0.9754 | -0.47383 | 3.2399
41 | 0.027953 | 0.0070147 | -0.027936 | -0.0070047 | 1.6151e-05 | 1.0011e-05 | 0.04162 | 0.041621 | 0.041621 | 0.99944 | -0.010812 | 0.99881 | -0.022936 | 11.4342
42 | -0.030234 | -0.0075865 | 0.030236 | 0.0075876 | 1.6939e-06 | 1.0549e-06 | 0.045017 | 0.045017 | 0.045017 | 0.99944 | -0.010812 | 0.9995 | -0.009637 | 12.3674
43 | 0.021516 | 0.0053956 | -0.021512 | -0.0053934 | 3.6901e-06 | 2.2364e-06 | 0.032056 | 0.032056 | 0.032056 | 0.99881 | -0.022936 | 0.99862 | -0.026535 | 8.8065
44 | -0.037089 | -0.009305 | 0.037106 | 0.0093157 | 1.7049e-05 | 1.0716e-05 | 0.055219 | 0.055219 | 0.055219 | 0.9995 | -0.009637 | 1 | 0 | 15.1702
45 | 0.015663 | 0.0039274 | -0.015661 | -0.0039262 | 2.1239e-06 | 1.2233e-06 | 0.02334 | 0.02334 | 0.02334 | 0.99862 | -0.026535 | 0.99847 | -0.029381 | 6.4121
46 | 0.34006 | 0.087432 | -0.33944 | -0.087034 | 0.00062331 | 0.00039816 | 0.5068 | 0.5068 | 0.5068 | 1 | 0 | 0.998 | -0.037794 | 46.4103
47 | 0.013372 | 0.0033524 | -0.01337 | -0.0033514 | 1.8863e-06 | 1.0416e-06 | 0.019928 | 0.019928 | 0.019928 | 0.99847 | -0.029381 | 0.99832 | -0.032342 | 5.4747
48 | 0.3371 | 0.086447 | -0.33704 | -0.086412 | 5.4865e-05 | 3.5046e-05 | 0.50331 | 0.50331 | 0.50331 | 0.998 | -0.037794 | 0.99782 | -0.04115 | 46.0907
49 | 0.010396 | 0.0026062 | -0.010396 | -0.0026058 | 7.5833e-07 | 3.7523e-07 | 0.015496 | 0.015496 | 0.015496 | 0.99832 | -0.032342 | 0.99824 | -0.033873 | 4.2572
50 | 0.33036 | 0.084737 | -0.33017 | -0.084614 | 0.00019164 | 0.0001224 | 0.49334 | 0.49334 | 0.49334 | 0.99782 | -0.04115 | 0.99719 | -0.053118 | 45.1777
51 | 0.32864 | 0.084231 | -0.32804 | -0.083852 | 0.00059372 | 0.00037921 | 0.49106 | 0.49106 | 0.49106 | 0.99719 | -0.053118 | 0.99522 | -0.09046 | 44.9687
52 | 0.32647 | 0.083457 | -0.32617 | -0.083266 | 0.00029828 | 0.00019051 | 0.4887 | 0.4887 | 0.4887 | 0.99522 | -0.09046 | 0.99423 | -0.10937 | 44.7531
53 | 0.31948 | 0.081589 | -0.31938 | -0.081529 | 9.4216e-05 | 6.017e-05 | 0.47869 | 0.47869 | 0.47869 | 0.99423 | -0.10937 | 0.99391 | -0.11547 | 43.8359
54 | 0.090177 | 0.022776 | -0.089929 | -0.022618 | 0.00024849 | 0.00015857 | 0.13546 | 0.13546 | 0.13546 | 0.99103 | -0.17066 | 0.98805 | -0.22833 | 37.2151
55 | 0.010396 | 0.0026058 | -0.010393 | -0.0026047 | 2.1453e-06 | 1.0616e-06 | 0.015496 | 0.015496 | 0.015496 | 0.99824 | -0.033873 | 0.99801 | -0.038205 | 4.2572
56 | 0.0048442 | 0.001214 | -0.0048438 | -0.001214 | 3.9043e-07 | -1.09e-08 | 0.0072226 | 0.0072227 | 0.0072227 | 0.99801 | -0.038205 | 0.99793 | -0.039897 | 1.9843
57 | 0.0063524 | 0.0015921 | -0.0063522 | -0.001592 | 1.8201e-07 | 5.1979e-08 | 0.0096908 | 0.0096909 | 0.0096909 | 0.9754 | -0.47383 | 0.97537 | -0.47443 | 2.6623

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38037 | 0.097138

## res_load
| p_mw | q_mvar
0 | 0.015923 | 0.0039907
1 | 0.0001217 | 3.05e-05
2 | 0.037171 | 0.0093159
3 | 0.0037544 | 0.00094093
4 | 0.0068224 | 0.0017098
5 | 0.0027552 | 0.00069053
6 | 0.0020865 | 0.00052293
7 | 0.0072349 | 0.0018132
8 | 0.009553 | 0.0023942
9 | 0.033585 | 0.0084171
10 | 0.0053983 | 0.0013529
11 | 0.0094937 | 0.0023794
12 | 0.0027473 | 0.00068855
13 | 0.0020882 | 0.00052336
14 | 0.039997 | 0.010024
15 | 0.004721 | 0.0011832
16 | 0.010376 | 0.0026004
17 | 0.0013872 | 0.00034767
18 | 0.00037333 | 9.3566e-05
19 | 0.0057092 | 0.0014309
20 | 0.0029517 | 0.00073976
21 | 0.0032421 | 0.00081254
22 | 0.0061069 | 0.0015305
23 | 0.0024158 | 0.00060547
24 | 0.059759 | 0.014977
25 | 0.001579 | 0.00039573
26 | 0.0029202 | 0.00073188
27 | 0.0054465 | 0.001365
28 | 0.0022815 | 0.00057181
29 | 0.0064202 | 0.0016091
30 | 0.0068528 | 0.0017175
31 | 0.0058493 | 0.001466
32 | 0.0015572 | 0.00039027
33 | 0.0022895 | 0.00057381
34 | 0.0023405 | 0.00058658
35 | 0.0029734 | 0.0007452
36 | 0.0066857 | 0.0016756
37 | 0.0015299 | 0.00038344
38 | 0.0015747 | 0.00039465
39 | 0.0066923 | 0.0016772
40 | 0.0015326 | 0.0003841
41 | 0.009542 | 0.0023915
42 | 0.0015166 | 0.00038009
43 | 0.0094616 | 0.0023713
44 | 0.0055492 | 0.0013908
45 | 0.001378 | 0.00034536
46 | 0.0063522 | 0.001592
47 | 0.0048438 | 0.001214

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1