## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2543-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2543-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2543-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2543-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2543-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2543-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2543-9_0_3_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_2543-9_0_3_node_143 | 0.4 | n |  | TRUE
8 | bus_LV_2543-9_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2543-9_0_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_2543-9_0_3_node_104 | 0.4 | n |  | TRUE
11 | bus_LV_2543-9_0_3_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_2543-9_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2543-9_0_3_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_2543-9_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2543-9_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2543-9_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2543-9_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2543-9_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2543-9_0_3_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_2543-9_0_3_node_146 | 0.4 | n |  | TRUE
21 | bus_LV_2543-9_0_3_node_122 | 0.4 | n |  | TRUE
22 | bus_LV_2543-9_0_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_2543-9_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_2543-9_0_3_node_139 | 0.4 | n |  | TRUE
25 | bus_LV_2543-9_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2543-9_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2543-9_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2543-9_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2543-9_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2543-9_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2543-9_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2543-9_0_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_2543-9_0_3_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_2543-9_0_3_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_2543-9_0_3_node_133 | 0.4 | n |  | TRUE
36 | bus_LV_2543-9_0_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_2543-9_0_3_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_2543-9_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2543-9_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2543-9_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2543-9_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2543-9_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2543-9_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2543-9_0_3_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_2543-9_0_3_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_2543-9_0_3_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_2543-9_0_3_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_2543-9_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_2543-9_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2543-9_0_3_node_121 | 0.4 | n |  | TRUE
51 | bus_LV_2543-9_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_2543-9_0_3_node_120 | 0.4 | n |  | TRUE
53 | bus_LV_2543-9_0_3_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_2543-9_0_3_node_147 | 0.4 | n |  | TRUE
55 | bus_LV_2543-9_0_3_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_2543-9_0_3_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_2543-9_0_3_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_2543-9_0_3_node_149 | 0.4 | n |  | TRUE
59 | bus_LV_2543-9_0_3_node_141 | 0.4 | n |  | TRUE
60 | bus_LV_2543-9_0_3_node_140 | 0.4 | n |  | TRUE
61 | bus_LV_2543-9_0_3_node_148 | 0.4 | n |  | TRUE
62 | bus_LV_2543-9_0_3_node_142 | 0.4 | n |  | TRUE
63 | bus_LV_2543-9_0_3_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_2543-9_0_3_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_2543-9_0_3_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_2543-9_0_3_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_2543-9_0_3_node_98 | 0.4 | n |  | TRUE
68 | bus_LV_2543-9_0_3_node_135 | 0.4 | n |  | TRUE
69 | bus_LV_2543-9_0_3_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_2543-9_0_3_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_2543-9_0_3_node_145 | 0.4 | n |  | TRUE
72 | bus_LV_2543-9_0_3_node_152 | 0.4 | n |  | TRUE
73 | bus_LV_2543-9_0_3_node_151 | 0.4 | n |  | TRUE
74 | bus_MV_396_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2543-9_0_3_load_0 | 0 | 0.0091053 | 0.002282 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2543-9_0_3_load_1 | 1 | 0.0017866 | 0.00044777 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2543-9_0_3_load_3 | 3 | 0.0021211 | 0.0005316 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2543-9_0_3_load_103 | 6 | 0.0026284 | 0.00065875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2543-9_0_3_load_143 | 7 | 0.0048059 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2543-9_0_3_load_58 | 9 | 0.004513 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2543-9_0_3_load_13 | 12 | 0.006041 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2543-9_0_3_load_6 | 14 | 0.002035 | 0.00051002 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2543-9_0_3_load_7 | 15 | 0.0028312 | 0.00070956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2543-9_0_3_load_11 | 18 | 0.0029816 | 0.00074726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2543-9_0_3_load_146 | 20 | 0.0025564 | 0.0006407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2543-9_0_3_load_122 | 21 | 0.0064636 | 0.0016199 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2543-9_0_3_load_64 | 22 | 0.0019985 | 0.00050088 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2543-9_0_3_load_139 | 24 | 0.0019994 | 0.00050109 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2543-9_0_3_load_12 | 25 | 0.0018087 | 0.00045331 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2543-9_0_3_load_15 | 26 | 0.0032818 | 0.00082249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2543-9_0_3_load_16 | 27 | 0.00099299 | 0.00024887 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2543-9_0_3_load_19 | 30 | 0.00094915 | 0.00023788 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2543-9_0_3_load_20 | 31 | 0.00097896 | 0.00024535 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2543-9_0_3_load_88 | 32 | 0.00061525 | 0.0001542 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2543-9_0_3_load_84 | 33 | 0.0020752 | 0.00052009 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2543-9_0_3_load_77 | 34 | 0.00056482 | 0.00014156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2543-9_0_3_load_133 | 35 | 0.0034802 | 0.00087223 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2543-9_0_3_load_35 | 38 | 0.0022994 | 0.00057627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2543-9_0_3_load_36 | 39 | 0.001829 | 0.00045838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2543-9_0_3_load_38 | 41 | 0.0042817 | 0.0010731 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2543-9_0_3_load_39 | 42 | 0.0055029 | 0.0013792 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2543-9_0_3_load_89 | 44 | 0.0011938 | 0.0002992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2543-9_0_3_load_93 | 45 | 0.0019702 | 0.00049379 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2543-9_0_3_load_107 | 46 | 0.0019783 | 0.0004958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2543-9_0_3_load_90 | 47 | 0.0014903 | 0.0003735 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2543-9_0_3_load_60 | 48 | 0.0035235 | 0.00088308 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2543-9_0_3_load_51 | 49 | 0.0016651 | 0.00041732 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2543-9_0_3_load_121 | 50 | 0.0022076 | 0.00055327 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2543-9_0_3_load_76 | 51 | 0.0052671 | 0.0013201 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2543-9_0_3_load_120 | 52 | 0.0016609 | 0.00041626 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2543-9_0_3_load_61 | 53 | 0.0032298 | 0.00080946 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2543-9_0_3_load_147 | 54 | 0.0032164 | 0.00080611 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2543-9_0_3_load_75 | 55 | 0.0028282 | 0.00070882 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2543-9_0_3_load_108 | 56 | 0.0034236 | 0.00085802 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2543-9_0_3_load_141 | 59 | 0.0017222 | 0.00043163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2543-9_0_3_load_140 | 60 | 0.00056685 | 0.00014206 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2543-9_0_3_load_148 | 61 | 0.0084786 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2543-9_0_3_load_142 | 62 | 0.013306 | 0.0033348 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2543-9_0_3_load_91 | 63 | 0.0076176 | 0.0019092 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2543-9_0_3_load_94 | 64 | 0.0027056 | 0.00067808 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2543-9_0_3_load_95 | 65 | 0.0056837 | 0.0014245 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2543-9_0_3_load_96 | 66 | 0.0024412 | 0.00061181 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2543-9_0_3_load_135 | 68 | 0.0061372 | 0.0015381 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2543-9_0_3_load_105 | 69 | 0.0038389 | 0.00096211 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2543-9_0_3_load_106 | 70 | 0.0029636 | 0.00074274 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2543-9_0_3_load_152 | 72 | 0.0058359 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2543-9_0_3_load_151 | 73 | 0.0082747 | 0.0020738 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2543-9_0_3_line_0 |  | 0 | 1 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2543-9_0_3_line_1 |  | 0 | 2 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2543-9_0_3_line_2 |  | 1 | 3 | 0.013281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2543-9_0_3_line_3 |  | 2 | 4 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2543-9_0_3_line_4 |  | 2 | 5 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2543-9_0_3_line_5 |  | 3 | 6 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2543-9_0_3_line_6 |  | 4 | 7 | 0.021165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2543-9_0_3_line_7 |  | 5 | 8 | 0.00592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2543-9_0_3_line_8 |  | 5 | 9 | 0.027474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2543-9_0_3_line_9 |  | 6 | 10 | 0.0073243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2543-9_0_3_line_10 |  | 7 | 11 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2543-9_0_3_line_11 |  | 8 | 12 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2543-9_0_3_line_12 |  | 9 | 13 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2543-9_0_3_line_13 |  | 10 | 69 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2543-9_0_3_line_14 |  | 10 | 70 | 0.020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2543-9_0_3_line_15 |  | 11 | 71 | 0.039507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2543-9_0_3_line_16 |  | 11 | 35 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2543-9_0_3_line_17 |  | 12 | 25 | 0.0016256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2543-9_0_3_line_18 |  | 13 | 48 | 0.0054923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2543-9_0_3_line_19 |  | 13 | 53 | 0.028483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2543-9_0_3_line_20 |  | 14 | 15 | 0.00031472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2543-9_0_3_line_21 |  | 14 | 16 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2543-9_0_3_line_22 |  | 16 | 17 | 0.009933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2543-9_0_3_line_23 |  | 16 | 18 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2543-9_0_3_line_24 |  | 17 | 19 | 0.028962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2543-9_0_3_line_25 |  | 17 | 20 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2543-9_0_3_line_26 |  | 18 | 21 | 0.0041202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2543-9_0_3_line_27 |  | 19 | 22 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2543-9_0_3_line_28 |  | 19 | 23 | 0.01609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2543-9_0_3_line_29 |  | 20 | 24 | 0.018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2543-9_0_3_line_30 |  | 23 | 49 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2543-9_0_3_line_31 |  | 24 | 63 | 0.0064155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2543-9_0_3_line_32 |  | 26 | 27 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2543-9_0_3_line_33 |  | 26 | 28 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2543-9_0_3_line_34 |  | 27 | 29 | 0.004367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2543-9_0_3_line_35 |  | 28 | 30 | 0.010426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2543-9_0_3_line_36 |  | 28 | 31 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2543-9_0_3_line_37 |  | 29 | 32 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2543-9_0_3_line_38 |  | 29 | 33 | 0.0056367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2543-9_0_3_line_39 |  | 30 | 34 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2543-9_0_3_line_40 |  | 31 | 35 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2543-9_0_3_line_41 |  | 32 | 36 | 0.00767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2543-9_0_3_line_42 |  | 33 | 37 | 0.033857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2543-9_0_3_line_43 |  | 36 | 60 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2543-9_0_3_line_44 |  | 37 | 57 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2543-9_0_3_line_45 |  | 37 | 58 | 0.056162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2543-9_0_3_line_46 |  | 38 | 39 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2543-9_0_3_line_47 |  | 38 | 40 | 0.012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2543-9_0_3_line_48 |  | 39 | 41 | 0.015612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2543-9_0_3_line_49 |  | 40 | 42 | 0.0032839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2543-9_0_3_line_50 |  | 40 | 43 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2543-9_0_3_line_51 |  | 41 | 44 | 0.0010004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2543-9_0_3_line_52 |  | 42 | 45 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2543-9_0_3_line_53 |  | 43 | 46 | 0.0045692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2543-9_0_3_line_54 |  | 44 | 47 | 0.020542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2543-9_0_3_line_55 |  | 45 | 48 | 0.0076538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2543-9_0_3_line_56 |  | 47 | 63 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2543-9_0_3_line_57 |  | 49 | 50 | 0.032247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2543-9_0_3_line_58 |  | 49 | 51 | 0.037359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2543-9_0_3_line_59 |  | 50 | 52 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2543-9_0_3_line_60 |  | 51 | 55 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2543-9_0_3_line_61 |  | 52 | 56 | 0.022993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2543-9_0_3_line_62 |  | 53 | 54 | 0.037224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2543-9_0_3_line_63 |  | 57 | 59 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2543-9_0_3_line_64 |  | 58 | 61 | 0.061418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2543-9_0_3_line_65 |  | 59 | 62 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2543-9_0_3_line_66 |  | 62 | 68 | 0.020175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2543-9_0_3_line_67 |  | 64 | 65 | 0.02885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2543-9_0_3_line_68 |  | 64 | 66 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2543-9_0_3_line_69 |  | 66 | 67 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2543-9_0_3_line_70 |  | 67 | 68 | 0.00048692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2543-9_0_3_line_71 |  | 71 | 72 | 0.016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2543-9_0_3_line_72 |  | 71 | 73 | 0.016796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2543-9_0_3_trafo_0 | 0.63 MVA 20/0.4 kV | 74 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2598924.1166 | 1228305.7181 | 2598920.0155 | 1228292.0388 | 2598919.9277 | 1228291.7821
1 | 2598928.1579 | 1228319.1977 | 2598924.1166 | 1228305.7181
2 | 2598914.9961 | 1228279.4713 | 2598917.6958 | 1228285.2575 | 2598919.9277 | 1228291.7821
3 | 2598928.1579 | 1228319.1977 | 2598931.0977 | 1228319.6974 | 2598936 | 1228321.4976 | 2598941.6982 | 1228324.9985
4 | 2598928.1579 | 1228319.1977 | 2598931.3726 | 1228330.7595
5 | 2598902.7879 | 1228260.5235 | 2598902.7879 | 1228260.5235 | 2598906.903 | 1228265.748 | 2598910.8289 | 1228271.9176 | 2598914.5578 | 1228278.5319 | 2598914.9961 | 1228279.4713
6 | 2598941.6982 | 1228324.9985 | 2598945.4023 | 1228321.0066 | 2598951.4998 | 1228312.7005 | 2598954.4331 | 1228308.1483
7 | 2598931.3726 | 1228330.7595 | 2598928.6915 | 1228336.0409
8 | 2598931.3726 | 1228330.7595 | 2598934.7013 | 1228344.6003 | 2598938.8536 | 1228357.1711
9 | 2598897.7939 | 1228255.1658 | 2598902.7879 | 1228260.5235
10 | 2598964.6185 | 1228292.3416 | 2598954.4331 | 1228308.1483
11 | 2598928.6915 | 1228336.0409 | 2598918.0644 | 1228357.0348
12 | 2598944.4654 | 1228374.1604 | 2598938.8536 | 1228357.1711
13 | 2598897.7939 | 1228255.1658 | 2598892.2316 | 1228249.8193 | 2598885.4956 | 1228243.9075
14 | 2598897.7939 | 1228255.1658 | 2598889.8023 | 1228263.4056 | 2598884.7652 | 1228269.9883 | 2598884.3023 | 1228270.7313
15 | 2598964.6185 | 1228292.3416 | 2598996.2017 | 1228316.1943
16 | 2598964.6185 | 1228292.3416 | 2598975.883 | 1228274.8654
17 | 2598918.0644 | 1228357.0348 | 2598917.3302 | 1228358.4852
18 | 2598944.4654 | 1228374.1604 | 2598945.89 | 1228379.4647
19 | 2598944.4654 | 1228374.1604 | 2598961.3827 | 1228370.0548 | 2598968.0383 | 1228361.2037
20 | 2598825.5625 | 1228349.8021 | 2598825.821 | 1228349.9816
21 | 2598840.5142 | 1228360.1839 | 2598825.821 | 1228349.9816
22 | 2598840.5142 | 1228360.1839 | 2598836.152 | 1228369.1123
23 | 2598840.5142 | 1228360.1839 | 2598854.8795 | 1228331.5995
24 | 2598836.152 | 1228369.1123 | 2598822.8457 | 1228394.8525
25 | 2598836.152 | 1228369.1123 | 2598849.4788 | 1228375.4793
26 | 2598854.8795 | 1228331.5995 | 2598856.7296 | 1228327.9181
27 | 2598822.8457 | 1228394.8525 | 2598811.6995 | 1228388.094
28 | 2598814.8783 | 1228408.8291 | 2598818.8999 | 1228402.4023 | 2598822.8457 | 1228394.8525
29 | 2598849.4788 | 1228375.4793 | 2598866.3636 | 1228383.5461
30 | 2598814.8783 | 1228408.8291 | 2598829.5398 | 1228417.5702
31 | 2598872.1524 | 1228386.3117 | 2598866.3636 | 1228383.5461
32 | 2598993.7657 | 1228246.5531 | 2599003.3546 | 1228231.0226
33 | 2598986.9553 | 1228257.5836 | 2598993.7657 | 1228246.5531
34 | 2599005.6488 | 1228227.3068 | 2599003.3546 | 1228231.0226
35 | 2598986.9553 | 1228257.5836 | 2598995.6161 | 1228263.3885
36 | 2598986.9553 | 1228257.5836 | 2598985.4026 | 1228260.0965 | 2598981.541 | 1228266.0875
37 | 2599005.6488 | 1228227.3068 | 2599015.1774 | 1228233.3326
38 | 2599005.6488 | 1228227.3068 | 2599008.6109 | 1228222.5111
39 | 2598995.6161 | 1228263.3885 | 2599015.1981 | 1228276.5134
40 | 2598981.541 | 1228266.0875 | 2598975.883 | 1228274.8654
41 | 2599021.6599 | 1228237.4321 | 2599015.1774 | 1228233.3326
42 | 2599026.4027 | 1228193.7055 | 2599008.6109 | 1228222.5111
43 | 2599021.6599 | 1228237.4321 | 2599034.8342 | 1228245.7728
44 | 2599026.4027 | 1228193.7055 | 2599017.302 | 1228186.7029 | 2599013.7557 | 1228184.6134
45 | 2599026.4027 | 1228193.7055 | 2599082.5609 | 1228194.3518
46 | 2598918.0517 | 1228406.3725 | 2598920.0074 | 1228406.6065 | 2598931.0843 | 1228407.9162 | 2598938.5699 | 1228408.3234
47 | 2598950.6997 | 1228408.902 | 2598946.563 | 1228408.7582 | 2598938.5699 | 1228408.3234
48 | 2598903.4167 | 1228401.2485 | 2598908.3999 | 1228403.6292 | 2598911.9914 | 1228405.1405 | 2598916.204 | 1228406.1514 | 2598918.0517 | 1228406.3725
49 | 2598950.6997 | 1228408.902 | 2598950.6523 | 1228405.6184
50 | 2598946.598 | 1228433.6062 | 2598949.6039 | 1228423.1995 | 2598950.6997 | 1228408.902
51 | 2598903.4167 | 1228401.2485 | 2598902.514 | 1228400.8172
52 | 2598947.8754 | 1228386.8565 | 2598949.4997 | 1228392.9039 | 2598950.5999 | 1228401.9979 | 2598950.6523 | 1228405.6184
53 | 2598946.598 | 1228433.6062 | 2598944.2234 | 1228437.5099
54 | 2598902.514 | 1228400.8172 | 2598883.9787 | 1228391.9618
55 | 2598947.8754 | 1228386.8565 | 2598945.89 | 1228379.4647
56 | 2598872.1524 | 1228386.3117 | 2598883.9787 | 1228391.9618
57 | 2598857.238 | 1228434.0837 | 2598829.5398 | 1228417.5702
58 | 2598829.5398 | 1228417.5702 | 2598812.2176 | 1228450.6708
59 | 2598857.238 | 1228434.0837 | 2598872.2004 | 1228443.0041 | 2598880.4579 | 1228447.5208
60 | 2598812.2176 | 1228450.6708 | 2598787.3767 | 1228437.9971
61 | 2598880.4579 | 1228447.5208 | 2598900.6301 | 1228458.5545
62 | 2598995.7561 | 1228365.6125 | 2598982.7753 | 1228352.7962 | 2598979.8506 | 1228351.7517 | 2598975.5247 | 1228352.564 | 2598972.2522 | 1228355.5998 | 2598968.0383 | 1228361.2037
63 | 2599013.7557 | 1228184.6134 | 2599008.8001 | 1228181.7015 | 2598999.9306 | 1228177.4458
64 | 2599082.5609 | 1228194.3518 | 2599094.5905 | 1228181.6756 | 2599104.4403 | 1228182.5523 | 2599108.5562 | 1228193.3914 | 2599119.1497 | 1228202.117 | 2599116.279 | 1228207.3539 | 2599118.3471 | 1228209.1854
65 | 2598999.9306 | 1228177.4458 | 2598999.0026 | 1228177.0005 | 2598984.7448 | 1228170.9376
66 | 2598966.0666 | 1228163.3444 | 2598969.1027 | 1228164.2985 | 2598981.5977 | 1228169.5993 | 2598984.7448 | 1228170.9376
67 | 2598936.3216 | 1228158.0168 | 2598930.5968 | 1228157.5017 | 2598920.8984 | 1228156.4029 | 2598911.5031 | 1228155.5042 | 2598907.63 | 1228155.0167
68 | 2598936.3216 | 1228158.0168 | 2598942.803 | 1228158.6 | 2598952.5038 | 1228159.725
69 | 2598965.6021 | 1228163.1985 | 2598959.404 | 1228161.1984 | 2598954.0016 | 1228159.8987 | 2598952.5038 | 1228159.725
70 | 2598965.6021 | 1228163.1985 | 2598966.0666 | 1228163.3444
71 | 2598996.2017 | 1228316.1943 | 2599006.2805 | 1228302.9437
72 | 2598996.2017 | 1228316.1943 | 2598985.9696 | 1228329.5135

## bus_geodata
| x | y | coords
0 | 2598924.1166 | 1228305.7181
1 | 2598919.9277 | 1228291.7821
2 | 2598928.1579 | 1228319.1977
3 | 2598914.9961 | 1228279.4713
4 | 2598941.6982 | 1228324.9985
5 | 2598931.3726 | 1228330.7595
6 | 2598902.7879 | 1228260.5235
7 | 2598954.4331 | 1228308.1483
8 | 2598928.6915 | 1228336.0409
9 | 2598938.8536 | 1228357.1711
10 | 2598897.7939 | 1228255.1658
11 | 2598964.6185 | 1228292.3416
12 | 2598918.0644 | 1228357.0348
13 | 2598944.4654 | 1228374.1604
14 | 2598825.821 | 1228349.9816
15 | 2598825.5625 | 1228349.8021
16 | 2598840.5142 | 1228360.1839
17 | 2598836.152 | 1228369.1123
18 | 2598854.8795 | 1228331.5995
19 | 2598822.8457 | 1228394.8525
20 | 2598849.4788 | 1228375.4793
21 | 2598856.7296 | 1228327.9181
22 | 2598811.6995 | 1228388.094
23 | 2598814.8783 | 1228408.8291
24 | 2598866.3636 | 1228383.5461
25 | 2598917.3302 | 1228358.4852
26 | 2598993.7657 | 1228246.5531
27 | 2599003.3546 | 1228231.0226
28 | 2598986.9553 | 1228257.5836
29 | 2599005.6488 | 1228227.3068
30 | 2598995.6161 | 1228263.3885
31 | 2598981.541 | 1228266.0875
32 | 2599015.1774 | 1228233.3326
33 | 2599008.6109 | 1228222.5111
34 | 2599015.1981 | 1228276.5134
35 | 2598975.883 | 1228274.8654
36 | 2599021.6599 | 1228237.4321
37 | 2599026.4027 | 1228193.7055
38 | 2598938.5699 | 1228408.3234
39 | 2598918.0517 | 1228406.3725
40 | 2598950.6997 | 1228408.902
41 | 2598903.4167 | 1228401.2485
42 | 2598950.6523 | 1228405.6184
43 | 2598946.598 | 1228433.6062
44 | 2598902.514 | 1228400.8172
45 | 2598947.8754 | 1228386.8565
46 | 2598944.2234 | 1228437.5099
47 | 2598883.9787 | 1228391.9618
48 | 2598945.89 | 1228379.4647
49 | 2598829.5398 | 1228417.5702
50 | 2598857.238 | 1228434.0837
51 | 2598812.2176 | 1228450.6708
52 | 2598880.4579 | 1228447.5208
53 | 2598968.0383 | 1228361.2037
54 | 2598995.7561 | 1228365.6125
55 | 2598787.3767 | 1228437.9971
56 | 2598900.6301 | 1228458.5545
57 | 2599013.7557 | 1228184.6134
58 | 2599082.5609 | 1228194.3518
59 | 2598999.9306 | 1228177.4458
60 | 2599034.8342 | 1228245.7728
61 | 2599118.3471 | 1228209.1854
62 | 2598984.7448 | 1228170.9376
63 | 2598872.1524 | 1228386.3117
64 | 2598936.3216 | 1228158.0168
65 | 2598907.63 | 1228155.0167
66 | 2598952.5038 | 1228159.725
67 | 2598965.6021 | 1228163.1985
68 | 2598966.0666 | 1228163.3444
69 | 2598885.4956 | 1228243.9075
70 | 2598884.3023 | 1228270.7313
71 | 2598996.2017 | 1228316.1943
72 | 2599006.2805 | 1228302.9437
73 | 2598985.9696 | 1228329.5135
74 | 2598928.1579 | 1228319.1977

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.17767 | -0.044635
1 | 0.99982 | -0.0033845 | 0.0017866 | 0.00044777
2 | 0.99896 | -0.019808 | 0 | 0
3 | 0.99968 | -0.0060604 | 0.0021211 | 0.0005316
4 | 0.99797 | -0.038746 | 0 | 0
5 | 0.99799 | -0.038361 | 0 | 0
6 | 0.99949 | -0.0097779 | 0.0026284 | 0.00065875
7 | 0.99656 | -0.065791 | 0.0048059 | 0.0012045
8 | 0.99795 | -0.039174 | 0 | 0
9 | 0.99596 | -0.077183 | 0.004513 | 0.0011311
10 | 0.99945 | -0.010647 | 0 | 0
11 | 0.99539 | -0.088294 | 0 | 0
12 | 0.99778 | -0.042408 | 0.006041 | 0.001514
13 | 0.99471 | -0.10113 | 0 | 0
14 | 0.9872 | -0.24631 | 0.002035 | 0.00051002
15 | 0.9872 | -0.24632 | 0.0028312 | 0.00070956
16 | 0.98728 | -0.24475 | 0 | 0
17 | 0.98741 | -0.24221 | 0 | 0
18 | 0.987 | -0.25016 | 0.0029816 | 0.00074726
19 | 0.98691 | -0.25208 | 0 | 0
20 | 0.98787 | -0.2334 | 0.0025564 | 0.0006407
21 | 0.98698 | -0.25063 | 0.0064636 | 0.0016199
22 | 0.98688 | -0.25255 | 0.0019985 | 0.00050088
23 | 0.98665 | -0.25699 | 0 | 0
24 | 0.98848 | -0.2214 | 0.0019994 | 0.00050109
25 | 0.99778 | -0.042459 | 0.0018087 | 0.00045331
26 | 0.99285 | -0.13718 | 0.0032818 | 0.00082249
27 | 0.9921 | -0.15163 | 0.00099299 | 0.00024887
28 | 0.99342 | -0.12618 | 0 | 0
29 | 0.99192 | -0.15501 | 0 | 0
30 | 0.9934 | -0.12646 | 0.00094915 | 0.00023788
31 | 0.99387 | -0.11737 | 0.00097896 | 0.00024535
32 | 0.99191 | -0.15525 | 0.00061525 | 0.0001542
33 | 0.9917 | -0.15926 | 0.0020752 | 0.00052009
34 | 0.99339 | -0.1267 | 0.00056482 | 0.00014156
35 | 0.99436 | -0.10806 | 0.0034802 | 0.00087223
36 | 0.99191 | -0.15533 | 0 | 0
37 | 0.99045 | -0.18359 | 0 | 0
38 | 0.99197 | -0.15394 | 0.0022994 | 0.00057627
39 | 0.99094 | -0.17381 | 0.001829 | 0.00045838
40 | 0.9926 | -0.14176 | 0 | 0
41 | 0.99019 | -0.18837 | 0.0042817 | 0.0010731
42 | 0.99278 | -0.13836 | 0.0055029 | 0.0013792
43 | 0.99255 | -0.14264 | 0 | 0
44 | 0.99014 | -0.18923 | 0.0011938 | 0.0002992
45 | 0.9939 | -0.11679 | 0.0019702 | 0.00049379
46 | 0.99255 | -0.1428 | 0.0019783 | 0.0004958
47 | 0.98925 | -0.20642 | 0.0014903 | 0.0003735
48 | 0.99436 | -0.10787 | 0.0035235 | 0.00088308
49 | 0.98639 | -0.26221 | 0.0016651 | 0.00041732
50 | 0.98617 | -0.26642 | 0.0022076 | 0.00055327
51 | 0.98611 | -0.26763 | 0.0052671 | 0.0013201
52 | 0.98604 | -0.26887 | 0.0016609 | 0.00041626
53 | 0.99454 | -0.10436 | 0.0032298 | 0.00080946
54 | 0.99444 | -0.10647 | 0.0032164 | 0.00080611
55 | 0.98604 | -0.26904 | 0.0028282 | 0.00070882
56 | 0.98597 | -0.27028 | 0.0034236 | 0.00085802
57 | 0.98999 | -0.19244 | 0 | 0
58 | 0.99001 | -0.19205 | 0 | 0
59 | 0.98953 | -0.20132 | 0.0017222 | 0.00043163
60 | 0.9919 | -0.15548 | 0.00056685 | 0.00014206
61 | 0.98953 | -0.20132 | 0.0084786 | 0.0021249
62 | 0.98907 | -0.21022 | 0.013306 | 0.0033348
63 | 0.98871 | -0.21706 | 0.0076176 | 0.0019092
64 | 0.9885 | -0.22148 | 0.0027056 | 0.00067808
65 | 0.98834 | -0.2244 | 0.0056837 | 0.0014245
66 | 0.98862 | -0.21904 | 0.0024412 | 0.00061181
67 | 0.98876 | -0.21642 | 0 | 0
68 | 0.98876 | -0.21633 | 0.0061372 | 0.0015381
69 | 0.99939 | -0.011765 | 0.0038389 | 0.00096211
70 | 0.99939 | -0.011715 | 0.0029636 | 0.00074274
71 | 0.99488 | -0.098107 | 0 | 0
72 | 0.99479 | -0.099818 | 0.0058359 | 0.0014626
73 | 0.99475 | -0.10055 | 0.0082747 | 0.0020738
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013345 | 0.0033455 | -0.013342 | -0.0033443 | 2.1518e-06 | 1.1863e-06 | 0.019857 | 0.019857 | 0.019857 | 1 | 0 | 0.99982 | -0.0033845 | 5.4553
1 | 0.16268 | 0.04129 | -0.16253 | -0.041191 | 0.00015485 | 9.8735e-05 | 0.24225 | 0.24225 | 0.24225 | 1 | 0 | 0.99896 | -0.019808 | 33.2767
2 | 0.011556 | 0.0028966 | -0.011554 | -0.0028958 | 1.4731e-06 | 7.6863e-07 | 0.017198 | 0.017198 | 0.017198 | 0.99982 | -0.0033845 | 0.99968 | -0.0060604 | 4.7248
3 | 0.073409 | 0.01859 | -0.073342 | -0.018548 | 6.6695e-05 | 4.249e-05 | 0.10942 | 0.10942 | 0.10942 | 0.99896 | -0.019808 | 0.99797 | -0.038746 | 30.0592
4 | 0.089117 | 0.0226 | -0.089037 | -0.02255 | 7.9407e-05 | 5.0664e-05 | 0.13284 | 0.13284 | 0.13284 | 0.99896 | -0.019808 | 0.99799 | -0.038361 | 36.4941
5 | 0.0094332 | 0.0023642 | -0.0094315 | -0.0023634 | 1.6704e-06 | 7.7288e-07 | 0.014041 | 0.014041 | 0.014041 | 0.99968 | -0.0060604 | 0.99949 | -0.0097779 | 3.8575
6 | 0.073342 | 0.018548 | -0.073247 | -0.018487 | 9.5019e-05 | 6.0536e-05 | 0.10942 | 0.10942 | 0.10942 | 0.99797 | -0.038746 | 0.99656 | -0.065791 | 30.0592
7 | 0.0078512 | 0.0019679 | -0.0078509 | -0.0019678 | 3.0423e-07 | 1.1736e-07 | 0.011706 | 0.011706 | 0.011706 | 0.99799 | -0.038361 | 0.99795 | -0.039174 | 3.2161
8 | 0.081186 | 0.020582 | -0.081035 | -0.020485 | 0.00015117 | 9.6393e-05 | 0.12113 | 0.12113 | 0.12113 | 0.99799 | -0.038361 | 0.99596 | -0.077183 | 33.2781
9 | 0.0068031 | 0.0017047 | -0.0068028 | -0.0017046 | 2.8175e-07 | 8.433e-08 | 0.010128 | 0.010128 | 0.010128 | 0.99949 | -0.0097779 | 0.99945 | -0.010647 | 2.7825
10 | 0.068441 | 0.017283 | -0.068368 | -0.017236 | 7.3709e-05 | 4.6929e-05 | 0.10224 | 0.10224 | 0.10224 | 0.99656 | -0.065791 | 0.99539 | -0.088294 | 28.0878
11 | 0.0078509 | 0.0019678 | -0.0078497 | -0.0019673 | 1.2092e-06 | 4.6653e-07 | 0.011706 | 0.011707 | 0.011707 | 0.99795 | -0.039174 | 0.99778 | -0.042408 | 3.2161
12 | 0.076522 | 0.019354 | -0.076434 | -0.019298 | 8.7795e-05 | 5.5956e-05 | 0.11439 | 0.11439 | 0.11439 | 0.99596 | -0.077183 | 0.99471 | -0.10113 | 31.4258
13 | 0.0038391 | 0.00096202 | -0.0038389 | -0.00096211 | 2.0432e-07 | -8.7778e-08 | 0.0057157 | 0.0057158 | 0.0057158 | 0.99945 | -0.010647 | 0.99939 | -0.011765 | 1.5703
14 | 0.0029637 | 0.00074257 | -0.0029636 | -0.00074274 | 1.5072e-07 | -1.7404e-07 | 0.0044124 | 0.0044125 | 0.0044125 | 0.99945 | -0.010647 | 0.99939 | -0.011715 | 1.2122
15 | 0.014119 | 0.0035406 | -0.014112 | -0.0035369 | 6.6002e-06 | 3.7109e-06 | 0.021107 | 0.021107 | 0.021107 | 0.99539 | -0.088294 | 0.99488 | -0.098107 | 5.7987
16 | 0.054249 | 0.013695 | -0.054198 | -0.013663 | 5.1324e-05 | 3.2577e-05 | 0.081133 | 0.081133 | 0.081133 | 0.99539 | -0.088294 | 0.99436 | -0.10806 | 22.2893
17 | 0.0018087 | 0.00045329 | -0.0018087 | -0.00045331 | 4.4352e-09 | -1.8393e-08 | 0.0026974 | 0.0026974 | 0.0026974 | 0.99778 | -0.042408 | 0.99778 | -0.042459 | 0.74104
18 | 0.069986 | 0.017683 | -0.069964 | -0.017668 | 2.2597e-05 | 1.4391e-05 | 0.10474 | 0.10474 | 0.10474 | 0.99471 | -0.10113 | 0.99436 | -0.10787 | 28.7761
19 | 0.0064475 | 0.0016156 | -0.0064465 | -0.0016153 | 9.936e-07 | 2.6624e-07 | 0.0096449 | 0.009645 | 0.009645 | 0.99471 | -0.10113 | 0.99454 | -0.10436 | 2.6497
20 | 0.0028312 | 0.00070956 | -0.0028312 | -0.00070956 | 2.1495e-09 | -2.6487e-09 | 0.0042675 | 0.0042675 | 0.0042675 | 0.9872 | -0.24631 | 0.9872 | -0.24632 | 1.1724
21 | -0.0048662 | -0.0012196 | 0.0048666 | 0.0012196 | 3.6088e-07 | 2.2389e-09 | 0.0073348 | 0.0073348 | 0.0073348 | 0.9872 | -0.24631 | 0.98728 | -0.24475 | 2.0151
22 | -0.014314 | -0.003588 | 0.014316 | 0.0035889 | 1.7338e-06 | 9.8258e-07 | 0.021574 | 0.021574 | 0.021574 | 0.98728 | -0.24475 | 0.98741 | -0.24221 | 5.9271
23 | 0.0094478 | 0.0023684 | -0.0094453 | -0.0023672 | 2.4326e-06 | 1.1479e-06 | 0.01424 | 0.01424 | 0.01424 | 0.98728 | -0.24475 | 0.987 | -0.25016 | 3.9121
24 | 0.019073 | 0.0047857 | -0.019064 | -0.0047804 | 8.9736e-06 | 5.3729e-06 | 0.028744 | 0.028745 | 0.028745 | 0.98741 | -0.24221 | 0.98691 | -0.25208 | 7.8968
25 | -0.033389 | -0.0083747 | 0.033403 | 0.0083835 | 1.4024e-05 | 8.7862e-06 | 0.050319 | 0.050319 | 0.050319 | 0.98741 | -0.24221 | 0.98787 | -0.2334 | 13.8239
26 | 0.0064638 | 0.00162 | -0.0064636 | -0.0016199 | 1.4672e-07 | 4.1245e-08 | 0.0097448 | 0.0097448 | 0.0097448 | 0.987 | -0.25016 | 0.98698 | -0.25063 | 2.6771
27 | 0.0019986 | 0.00050074 | -0.0019985 | -0.00050088 | 4.4385e-08 | -1.3815e-07 | 0.0030133 | 0.0030134 | 0.0030134 | 0.98691 | -0.25208 | 0.98688 | -0.25255 | 0.82785
28 | 0.017065 | 0.0042796 | -0.017061 | -0.0042773 | 3.9949e-06 | 2.3512e-06 | 0.025731 | 0.025731 | 0.025731 | 0.98691 | -0.25208 | 0.98665 | -0.25699 | 7.069
29 | -0.035959 | -0.0090242 | 0.03598 | 0.0090371 | 2.0591e-05 | 1.2939e-05 | 0.054169 | 0.054169 | 0.054169 | 0.98787 | -0.2334 | 0.98848 | -0.2214 | 14.8817
30 | 0.017061 | 0.0042773 | -0.017057 | -0.0042748 | 4.2382e-06 | 2.4945e-06 | 0.025731 | 0.025731 | 0.025731 | 0.98665 | -0.25699 | 0.98639 | -0.26221 | 7.0691
31 | -0.037979 | -0.0095382 | 0.037987 | 0.0095431 | 7.8657e-06 | 4.9518e-06 | 0.057179 | 0.057179 | 0.057179 | 0.98848 | -0.2214 | 0.98871 | -0.21706 | 15.7086
32 | 0.044874 | 0.0113 | -0.044843 | -0.011281 | 3.0976e-05 | 1.9589e-05 | 0.067273 | 0.067273 | 0.067273 | 0.99285 | -0.13718 | 0.9921 | -0.15163 | 18.4817
33 | -0.048156 | -0.012123 | 0.048181 | 0.012139 | 2.5336e-05 | 1.6047e-05 | 0.072192 | 0.072192 | 0.072192 | 0.99285 | -0.13718 | 0.99342 | -0.12618 | 19.8329
34 | 0.04385 | 0.011032 | -0.043843 | -0.011027 | 7.0869e-06 | 4.4793e-06 | 0.065784 | 0.065784 | 0.065784 | 0.9921 | -0.15163 | 0.99192 | -0.15501 | 18.0725
35 | 0.001514 | 0.00037901 | -0.001514 | -0.00037913 | 2.0105e-08 | -1.2212e-07 | 0.0022676 | 0.0022677 | 0.0022677 | 0.99342 | -0.12618 | 0.9934 | -0.12646 | 0.62299
36 | -0.049695 | -0.012518 | 0.049716 | 0.012531 | 2.096e-05 | 1.3284e-05 | 0.074459 | 0.074459 | 0.074459 | 0.99342 | -0.12618 | 0.99387 | -0.11737 | 20.4559
37 | 0.0011821 | 0.00029583 | -0.0011821 | -0.00029596 | 1.3293e-08 | -1.3702e-07 | 0.0017732 | 0.0017732 | 0.0017732 | 0.99192 | -0.15501 | 0.99191 | -0.15525 | 0.48715
38 | 0.042661 | 0.010731 | -0.042652 | -0.010726 | 8.661e-06 | 5.4703e-06 | 0.064011 | 0.064011 | 0.064011 | 0.99192 | -0.15501 | 0.9917 | -0.15926 | 17.5854
39 | 0.00056482 | 0.00014125 | -0.00056482 | -0.00014156 | 6.3269e-09 | -3.0115e-07 | 0.00084594 | 0.00084605 | 0.00084605 | 0.9934 | -0.12646 | 0.99339 | -0.1267 | 0.23243
40 | -0.050695 | -0.012776 | 0.050718 | 0.012791 | 2.2576e-05 | 1.4313e-05 | 0.075925 | 0.075925 | 0.075925 | 0.99387 | -0.11737 | 0.99436 | -0.10806 | 20.8585
41 | 0.00056685 | 0.00014177 | -0.00056685 | -0.00014187 | 2.0794e-09 | -9.7672e-08 | 0.00085026 | 0.00085029 | 0.00085029 | 0.99191 | -0.15525 | 0.99191 | -0.15533 | 0.2336
42 | 0.040577 | 0.010206 | -0.04053 | -0.010176 | 4.7084e-05 | 2.9698e-05 | 0.060897 | 0.060897 | 0.060897 | 0.9917 | -0.15926 | 0.99045 | -0.18359 | 16.73
43 | 0.00056685 | 0.00014187 | -0.00056685 | -0.00014206 | 4.2279e-09 | -1.9856e-07 | 0.00085029 | 0.00085036 | 0.00085036 | 0.99191 | -0.15533 | 0.9919 | -0.15548 | 0.23362
44 | 0.032044 | 0.0080481 | -0.03203 | -0.0080396 | 1.3536e-05 | 8.4625e-06 | 0.048148 | 0.048148 | 0.048148 | 0.99045 | -0.18359 | 0.98999 | -0.19244 | 13.2275
45 | 0.0084858 | 0.002128 | -0.0084824 | -0.0021266 | 3.4234e-06 | 1.4685e-06 | 0.012749 | 0.01275 | 0.01275 | 0.99045 | -0.18359 | 0.99001 | -0.19205 | 3.5026
46 | 0.054552 | 0.013753 | -0.0545 | -0.01372 | 5.1817e-05 | 3.2897e-05 | 0.08186 | 0.08186 | 0.08186 | 0.99197 | -0.15394 | 0.99094 | -0.17381 | 22.489
47 | -0.056851 | -0.014329 | 0.056884 | 0.01435 | 3.3143e-05 | 2.1055e-05 | 0.085309 | 0.085309 | 0.085309 | 0.99197 | -0.15394 | 0.9926 | -0.14176 | 23.4365
48 | 0.052671 | 0.013262 | -0.052634 | -0.013238 | 3.6644e-05 | 2.3251e-05 | 0.079114 | 0.079114 | 0.079114 | 0.99094 | -0.17381 | 0.99019 | -0.18837 | 21.7345
49 | -0.058863 | -0.014846 | 0.058872 | 0.014852 | 9.596e-06 | 6.099e-06 | 0.088275 | 0.088275 | 0.088275 | 0.9926 | -0.14176 | 0.99278 | -0.13836 | 24.2513
50 | 0.0019784 | 0.00049548 | -0.0019783 | -0.00049575 | 8.3029e-08 | -2.7223e-07 | 0.0029657 | 0.0029658 | 0.0029658 | 0.9926 | -0.14176 | 0.99255 | -0.14264 | 0.81478
51 | 0.048353 | 0.012165 | -0.048351 | -0.012164 | 1.9817e-06 | 1.2554e-06 | 0.072679 | 0.072679 | 0.072679 | 0.99019 | -0.18837 | 0.99014 | -0.18923 | 19.9668
52 | -0.064375 | -0.016231 | 0.064442 | 0.016273 | 6.6531e-05 | 4.2333e-05 | 0.096523 | 0.096522 | 0.096523 | 0.99278 | -0.13836 | 0.9939 | -0.11679 | 26.5172
53 | 0.0019783 | 0.00049575 | -0.0019783 | -0.0004958 | 1.5071e-08 | -4.9409e-08 | 0.0029658 | 0.0029658 | 0.0029658 | 0.99255 | -0.14264 | 0.99255 | -0.1428 | 0.81478
54 | 0.047157 | 0.011865 | -0.047118 | -0.01184 | 3.8707e-05 | 2.4508e-05 | 0.070885 | 0.070885 | 0.070885 | 0.99014 | -0.18923 | 0.98925 | -0.20642 | 19.474
55 | -0.066412 | -0.016767 | 0.06644 | 0.016785 | 2.8399e-05 | 1.8076e-05 | 0.099472 | 0.099472 | 0.099472 | 0.9939 | -0.11679 | 0.99436 | -0.10787 | 27.3275
56 | 0.045628 | 0.011467 | -0.045605 | -0.011452 | 2.3159e-05 | 1.4654e-05 | 0.068644 | 0.068644 | 0.068644 | 0.98925 | -0.20642 | 0.98871 | -0.21706 | 18.8582
57 | 0.0072943 | 0.001828 | -0.0072928 | -0.0018274 | 1.4642e-06 | 5.2558e-07 | 0.011004 | 0.011004 | 0.011004 | 0.98639 | -0.26221 | 0.98617 | -0.26642 | 3.0231
58 | 0.0080976 | 0.0020295 | -0.0080955 | -0.0020286 | 2.0906e-06 | 8.6125e-07 | 0.012216 | 0.012216 | 0.012216 | 0.98639 | -0.26221 | 0.98611 | -0.26763 | 3.356
59 | 0.0050853 | 0.0012742 | -0.0050847 | -0.0012741 | 5.924e-07 | 3.6835e-08 | 0.007673 | 0.0076731 | 0.0076731 | 0.98617 | -0.26642 | 0.98604 | -0.26887 | 2.108
60 | 0.0028284 | 0.00070859 | -0.0028282 | -0.00070882 | 1.9049e-07 | -2.3382e-07 | 0.0042679 | 0.0042681 | 0.0042681 | 0.98611 | -0.26763 | 0.98604 | -0.26904 | 1.1725
61 | 0.0034238 | 0.00085788 | -0.0034236 | -0.00085802 | 2.3017e-07 | -1.4595e-07 | 0.0051667 | 0.0051668 | 0.0051668 | 0.98604 | -0.26887 | 0.98597 | -0.27028 | 1.4194
62 | 0.0032167 | 0.00080584 | -0.0032164 | -0.00080611 | 3.2333e-07 | -2.7605e-07 | 0.0048127 | 0.0048129 | 0.0048129 | 0.99454 | -0.10436 | 0.99444 | -0.10647 | 1.3222
63 | 0.03203 | 0.0080396 | -0.032017 | -0.0080311 | 1.3549e-05 | 8.4711e-06 | 0.048148 | 0.048148 | 0.048148 | 0.98999 | -0.19244 | 0.98953 | -0.20132 | 13.2275
64 | 0.0084824 | 0.0021266 | -0.0084786 | -0.0021249 | 3.7439e-06 | 1.6067e-06 | 0.01275 | 0.01275 | 0.01275 | 0.99001 | -0.19205 | 0.98953 | -0.20132 | 3.5027
65 | 0.030295 | 0.0075995 | -0.030282 | -0.0075915 | 1.286e-05 | 8.0184e-06 | 0.045558 | 0.045558 | 0.045558 | 0.98953 | -0.20132 | 0.98907 | -0.21022 | 12.516
66 | 0.016976 | 0.0042567 | -0.016971 | -0.0042538 | 4.9351e-06 | 2.8996e-06 | 0.02554 | 0.02554 | 0.02554 | 0.98907 | -0.21022 | 0.98876 | -0.21633 | 7.0165
67 | 0.0056845 | 0.0014246 | -0.0056837 | -0.0014245 | 7.9221e-07 | 1.3724e-07 | 0.0085571 | 0.0085572 | 0.0085572 | 0.9885 | -0.22148 | 0.98834 | -0.2244 | 2.3509
68 | -0.0083901 | -0.0021027 | 0.0083911 | 0.0021031 | 9.7343e-07 | 4.1436e-07 | 0.01263 | 0.01263 | 0.01263 | 0.9885 | -0.22148 | 0.98862 | -0.21904 | 3.4698
69 | -0.010832 | -0.0027149 | 0.010834 | 0.0027156 | 1.3534e-06 | 6.9208e-07 | 0.016304 | 0.016304 | 0.016304 | 0.98862 | -0.21904 | 0.98876 | -0.21642 | 4.4792
70 | -0.010834 | -0.0027156 | 0.010834 | 0.0027156 | 4.8538e-08 | 2.4819e-08 | 0.016304 | 0.016304 | 0.016304 | 0.98876 | -0.21642 | 0.98876 | -0.21633 | 4.4791
71 | 0.0058364 | 0.0014627 | -0.0058359 | -0.0014626 | 4.7574e-07 | 8.831e-08 | 0.0087294 | 0.0087294 | 0.0087294 | 0.99488 | -0.098107 | 0.99479 | -0.099818 | 2.3982
72 | 0.0082756 | 0.0020742 | -0.0082747 | -0.0020738 | 9.6497e-07 | 3.9952e-07 | 0.012378 | 0.012378 | 0.012378 | 0.99488 | -0.098107 | 0.99475 | -0.10055 | 3.4005

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18678 | 0.046917

## res_load
| p_mw | q_mvar
0 | 0.0091053 | 0.002282
1 | 0.0017866 | 0.00044777
2 | 0.0021211 | 0.0005316
3 | 0.0026284 | 0.00065875
4 | 0.0048059 | 0.0012045
5 | 0.004513 | 0.0011311
6 | 0.006041 | 0.001514
7 | 0.002035 | 0.00051002
8 | 0.0028312 | 0.00070956
9 | 0.0029816 | 0.00074726
10 | 0.0025564 | 0.0006407
11 | 0.0064636 | 0.0016199
12 | 0.0019985 | 0.00050088
13 | 0.0019994 | 0.00050109
14 | 0.0018087 | 0.00045331
15 | 0.0032818 | 0.00082249
16 | 0.00099299 | 0.00024887
17 | 0.00094915 | 0.00023788
18 | 0.00097896 | 0.00024535
19 | 0.00061525 | 0.0001542
20 | 0.0020752 | 0.00052009
21 | 0.00056482 | 0.00014156
22 | 0.0034802 | 0.00087223
23 | 0.0022994 | 0.00057627
24 | 0.001829 | 0.00045838
25 | 0.0042817 | 0.0010731
26 | 0.0055029 | 0.0013792
27 | 0.0011938 | 0.0002992
28 | 0.0019702 | 0.00049379
29 | 0.0019783 | 0.0004958
30 | 0.0014903 | 0.0003735
31 | 0.0035235 | 0.00088308
32 | 0.0016651 | 0.00041732
33 | 0.0022076 | 0.00055327
34 | 0.0052671 | 0.0013201
35 | 0.0016609 | 0.00041626
36 | 0.0032298 | 0.00080946
37 | 0.0032164 | 0.00080611
38 | 0.0028282 | 0.00070882
39 | 0.0034236 | 0.00085802
40 | 0.0017222 | 0.00043163
41 | 0.00056685 | 0.00014206
42 | 0.0084786 | 0.0021249
43 | 0.013306 | 0.0033348
44 | 0.0076176 | 0.0019092
45 | 0.0027056 | 0.00067808
46 | 0.0056837 | 0.0014245
47 | 0.0024412 | 0.00061181
48 | 0.0061372 | 0.0015381
49 | 0.0038389 | 0.00096211
50 | 0.0029636 | 0.00074274
51 | 0.0058359 | 0.0014626
52 | 0.0082747 | 0.0020738

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1