## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2543-9_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2543-9_1_3_node_71 | 0.4 | n |  | TRUE
2 | bus_LV_2543-9_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_2543-9_1_3_node_55 | 0.4 | n |  | TRUE
4 | bus_LV_2543-9_1_3_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_2543-9_1_3_node_92 | 0.4 | n |  | TRUE
6 | bus_LV_2543-9_1_3_node_113 | 0.4 | n |  | TRUE
7 | bus_LV_2543-9_1_3_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_2543-9_1_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_2543-9_1_3_node_137 | 0.4 | n |  | TRUE
10 | bus_LV_2543-9_1_3_node_132 | 0.4 | n |  | TRUE
11 | bus_LV_2543-9_1_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_2543-9_1_3_node_153 | 0.4 | n |  | TRUE
13 | bus_LV_2543-9_1_3_node_112 | 0.4 | n |  | TRUE
14 | bus_LV_2543-9_1_3_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_2543-9_1_3_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_2543-9_1_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2543-9_1_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2543-9_1_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2543-9_1_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2543-9_1_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2543-9_1_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_2543-9_1_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_2543-9_1_3_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_2543-9_1_3_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_2543-9_1_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2543-9_1_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2543-9_1_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2543-9_1_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2543-9_1_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2543-9_1_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_2543-9_1_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_2543-9_1_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2543-9_1_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2543-9_1_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2543-9_1_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2543-9_1_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2543-9_1_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2543-9_1_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2543-9_1_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_2543-9_1_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_2543-9_1_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_2543-9_1_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_2543-9_1_3_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_2543-9_1_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2543-9_1_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_2543-9_1_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_2543-9_1_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_2543-9_1_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_2543-9_1_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_2543-9_1_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_2543-9_1_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_2543-9_1_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2543-9_1_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_2543-9_1_3_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_2543-9_1_3_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_2543-9_1_3_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_2543-9_1_3_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_2543-9_1_3_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_2543-9_1_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_2543-9_1_3_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_2543-9_1_3_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_2543-9_1_3_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_2543-9_1_3_node_114 | 0.4 | n |  | TRUE
64 | bus_LV_2543-9_1_3_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_2543-9_1_3_node_115 | 0.4 | n |  | TRUE
66 | bus_LV_2543-9_1_3_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_2543-9_1_3_node_117 | 0.4 | n |  | TRUE
68 | bus_LV_2543-9_1_3_node_127 | 0.4 | n |  | TRUE
69 | bus_LV_2543-9_1_3_node_124 | 0.4 | n |  | TRUE
70 | bus_LV_2543-9_1_3_node_125 | 0.4 | n |  | TRUE
71 | bus_LV_2543-9_1_3_node_126 | 0.4 | n |  | TRUE
72 | bus_MV_396_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2543-9_1_3_load_128 | 0 | 0.003383 | 0.00084786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2543-9_1_3_load_71 | 1 | 0.0036465 | 0.00091391 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2543-9_1_3_load_129 | 2 | 0.0036482 | 0.00091432 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2543-9_1_3_load_55 | 3 | 0.000755 | 0.00018922 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2543-9_1_3_load_130 | 4 | 0.0032551 | 0.00081581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2543-9_1_3_load_113 | 6 | 0.0039606 | 0.00099263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2543-9_1_3_load_131 | 7 | 0.0018204 | 0.00045623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2543-9_1_3_load_137 | 9 | 0.0018154 | 0.00045497 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2543-9_1_3_load_132 | 10 | 0.00089252 | 0.00022369 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2543-9_1_3_load_57 | 11 | 0.0024656 | 0.00061795 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2543-9_1_3_load_153 | 12 | 0.0068408 | 0.0017145 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2543-9_1_3_load_136 | 14 | 0.0028169 | 0.00070599 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2543-9_1_3_load_79 | 15 | 0.00065089 | 0.00016313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2543-9_1_3_load_9 | 16 | 0.0025025 | 0.00062718 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2543-9_1_3_load_32 | 17 | 0.0023351 | 0.00058524 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2543-9_1_3_load_21 | 18 | 0.0019027 | 0.00047687 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2543-9_1_3_load_22 | 19 | 0.001457 | 0.00036515 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2543-9_1_3_load_23 | 20 | 0.002221 | 0.00055663 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2543-9_1_3_load_24 | 21 | 0.0019974 | 0.0005006 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2543-9_1_3_load_25 | 22 | 0.0018163 | 0.0004552 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2543-9_1_3_load_74 | 23 | 0.0020118 | 0.0005042 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2543-9_1_3_load_26 | 25 | 0.0014804 | 0.00037103 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2543-9_1_3_load_27 | 26 | 0.0032146 | 0.00080564 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2543-9_1_3_load_28 | 27 | 0.0038971 | 0.00097671 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2543-9_1_3_load_29 | 28 | 0.0023193 | 0.00058128 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2543-9_1_3_load_30 | 29 | 0.0035968 | 0.00090143 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2543-9_1_3_load_62 | 31 | 0.0020787 | 0.00052096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2543-9_1_3_load_31 | 32 | 0.0018835 | 0.00047205 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2543-9_1_3_load_33 | 33 | 0.0020323 | 0.00050935 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2543-9_1_3_load_34 | 34 | 0.0028654 | 0.00071813 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2543-9_1_3_load_41 | 35 | 0.0018237 | 0.00045707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2543-9_1_3_load_42 | 36 | 0.0021302 | 0.00053388 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2543-9_1_3_load_43 | 37 | 0.0018286 | 0.00045829 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2543-9_1_3_load_44 | 38 | 0.0019307 | 0.00048387 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2543-9_1_3_load_46 | 39 | 0.0014158 | 0.00035484 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2543-9_1_3_load_47 | 40 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2543-9_1_3_load_63 | 41 | 0.0022536 | 0.0005648 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2543-9_1_3_load_49 | 42 | 0.0020677 | 0.00051822 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2543-9_1_3_load_67 | 43 | 0.0024287 | 0.0006087 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2543-9_1_3_load_52 | 44 | 0.00065861 | 0.00016506 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2543-9_1_3_load_53 | 45 | 0.0033052 | 0.00082837 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2543-9_1_3_load_56 | 47 | 0.00055151 | 0.00013822 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2543-9_1_3_load_78 | 48 | 0.0008796 | 0.00022045 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2543-9_1_3_load_65 | 49 | 0.0015507 | 0.00038864 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2543-9_1_3_load_66 | 50 | 0.0016921 | 0.00042409 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2543-9_1_3_load_70 | 52 | 0.0017088 | 0.00042828 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2543-9_1_3_load_72 | 53 | 0.0013019 | 0.00032629 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2543-9_1_3_load_82 | 54 | 0.0025925 | 0.00064975 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2543-9_1_3_load_73 | 55 | 0.001524 | 0.00038195 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2543-9_1_3_load_99 | 56 | 0.0028526 | 0.00071492 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2543-9_1_3_load_100 | 57 | 0.0028553 | 0.0007156 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2543-9_1_3_load_101 | 58 | 0.0034866 | 0.00087383 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2543-9_1_3_load_102 | 59 | 0.0074632 | 0.0018705 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2543-9_1_3_load_109 | 60 | 0.00847 | 0.0021228 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2543-9_1_3_load_118 | 64 | 0.0044693 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2543-9_1_3_load_115 | 65 | 0.0038034 | 0.00095321 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2543-9_1_3_load_127 | 68 | 0.0069385 | 0.001739 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2543-9_1_3_load_124 | 69 | 0.012604 | 0.003159 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2543-9_1_3_load_126 | 71 | 0.095148 | 0.023846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2543-9_1_3_line_0 |  | 0 | 1 | 0.027614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2543-9_1_3_line_1 |  | 0 | 2 | 0.034954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2543-9_1_3_line_2 |  | 1 | 51 | 0.032664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2543-9_1_3_line_3 |  | 2 | 3 | 0.028683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2543-9_1_3_line_4 |  | 3 | 45 | 0.005213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2543-9_1_3_line_5 |  | 4 | 5 | 0.013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2543-9_1_3_line_6 |  | 4 | 6 | 0.02831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2543-9_1_3_line_7 |  | 5 | 30 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2543-9_1_3_line_8 |  | 5 | 34 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2543-9_1_3_line_9 |  | 6 | 59 | 0.042007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2543-9_1_3_line_10 |  | 6 | 62 | 0.021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2543-9_1_3_line_11 |  | 7 | 8 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2543-9_1_3_line_12 |  | 7 | 9 | 0.00069125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2543-9_1_3_line_13 |  | 8 | 10 | 0.027611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2543-9_1_3_line_14 |  | 8 | 37 | 0.032649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2543-9_1_3_line_15 |  | 10 | 11 | 0.0070475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2543-9_1_3_line_16 |  | 11 | 46 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2543-9_1_3_line_17 |  | 12 | 13 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2543-9_1_3_line_18 |  | 13 | 61 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2543-9_1_3_line_19 |  | 14 | 15 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2543-9_1_3_line_20 |  | 15 | 48 | 0.011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2543-9_1_3_line_21 |  | 16 | 17 | 0.0071167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2543-9_1_3_line_22 |  | 17 | 32 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2543-9_1_3_line_23 |  | 18 | 19 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2543-9_1_3_line_24 |  | 18 | 20 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2543-9_1_3_line_25 |  | 19 | 21 | 0.00062157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2543-9_1_3_line_26 |  | 20 | 22 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2543-9_1_3_line_27 |  | 21 | 23 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2543-9_1_3_line_28 |  | 22 | 24 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2543-9_1_3_line_29 |  | 24 | 53 | 0.058511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2543-9_1_3_line_30 |  | 24 | 51 | 0.03694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2543-9_1_3_line_31 |  | 25 | 26 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2543-9_1_3_line_32 |  | 25 | 27 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2543-9_1_3_line_33 |  | 26 | 28 | 0.0090576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2543-9_1_3_line_34 |  | 27 | 29 | 0.0026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2543-9_1_3_line_35 |  | 28 | 30 | 0.0078971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2543-9_1_3_line_36 |  | 29 | 31 | 0.025295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2543-9_1_3_line_37 |  | 30 | 54 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2543-9_1_3_line_38 |  | 31 | 38 | 0.0047736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2543-9_1_3_line_39 |  | 32 | 33 | 0.025054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2543-9_1_3_line_40 |  | 33 | 34 | 0.0015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2543-9_1_3_line_41 |  | 35 | 36 | 0.019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2543-9_1_3_line_42 |  | 35 | 37 | 0.0070263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2543-9_1_3_line_43 |  | 36 | 38 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2543-9_1_3_line_44 |  | 39 | 40 | 0.015428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2543-9_1_3_line_45 |  | 39 | 41 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2543-9_1_3_line_46 |  | 40 | 42 | 0.0066118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2543-9_1_3_line_47 |  | 41 | 49 | 0.020213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2543-9_1_3_line_48 |  | 42 | 43 | 0.039558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2543-9_1_3_line_49 |  | 43 | 51 | 0.018905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2543-9_1_3_line_50 |  | 44 | 45 | 0.00077906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2543-9_1_3_line_51 |  | 46 | 47 | 0.028041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2543-9_1_3_line_52 |  | 47 | 48 | 0.057397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2543-9_1_3_line_53 |  | 49 | 50 | 0.017634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2543-9_1_3_line_54 |  | 51 | 52 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2543-9_1_3_line_55 |  | 52 | 54 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2543-9_1_3_line_56 |  | 53 | 55 | 0.029379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2543-9_1_3_line_57 |  | 56 | 57 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2543-9_1_3_line_58 |  | 56 | 58 | 0.022148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2543-9_1_3_line_59 |  | 58 | 59 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2543-9_1_3_line_60 |  | 60 | 61 | 0.043801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2543-9_1_3_line_61 |  | 60 | 62 | 0.0096016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2543-9_1_3_line_62 |  | 62 | 63 | 0.039356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2543-9_1_3_line_63 |  | 63 | 64 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2543-9_1_3_line_64 |  | 64 | 66 | 0.029215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2543-9_1_3_line_65 |  | 65 | 66 | 0.002192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2543-9_1_3_line_66 |  | 66 | 67 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2543-9_1_3_line_67 |  | 67 | 68 | 0.0020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2543-9_1_3_line_68 |  | 67 | 69 | 0.020246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2543-9_1_3_line_69 |  | 69 | 70 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2543-9_1_3_line_70 |  | 70 | 71 | 0.0295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2543-9_1_3_trafo_102 | 0.63 MVA 20/0.4 kV | 72 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2598659.7873 | 1228312.4789 | 2598681.4563 | 1228329.5959
1 | 2598659.7873 | 1228312.4789 | 2598632.3586 | 1228290.8122
2 | 2598706.6971 | 1228350.2962 | 2598701.597 | 1228345.5056 | 2598681.4563 | 1228329.5959
3 | 2598632.3586 | 1228290.8122 | 2598624.9996 | 1228284.9992 | 2598610.2306 | 1228272.5671
4 | 2598606.2425 | 1228269.21 | 2598610.2306 | 1228272.5671
5 | 2598757.1682 | 1228302.312 | 2598768.3196 | 1228294.5848
6 | 2598791.4694 | 1228278.2903 | 2598776.652 | 1228288.8109 | 2598768.3196 | 1228294.5848
7 | 2598744.5552 | 1228310.3195 | 2598757.1682 | 1228302.312
8 | 2598757.1682 | 1228302.312 | 2598770.4522 | 1228311.5358
9 | 2598791.4694 | 1228278.2903 | 2598757.1174 | 1228254.1133
10 | 2598791.4694 | 1228278.2903 | 2598795.5525 | 1228274.8874 | 2598802.3017 | 1228268.2598 | 2598806.3011 | 1228263.4339
11 | 2598622.2012 | 1228212.3013 | 2598630.6995 | 1228201.4039 | 2598632.1092 | 1228198.7741
12 | 2598632.4358 | 1228198.1649 | 2598632.1092 | 1228198.7741
13 | 2598622.2012 | 1228212.3013 | 2598604.7033 | 1228228.9043 | 2598601.9471 | 1228231.044
14 | 2598622.2012 | 1228212.3013 | 2598648.1852 | 1228232.07
15 | 2598596.1556 | 1228235.0421 | 2598599.3023 | 1228233.097 | 2598601.9471 | 1228231.044
16 | 2598579.4017 | 1228245.3982 | 2598596.1556 | 1228235.0421
17 | 2598769.1428 | 1228215.5803 | 2598763.2335 | 1228217.8385 | 2598758.3775 | 1228220.5412 | 2598754.0671 | 1228223.6773
18 | 2598769.1428 | 1228215.5803 | 2598791.064 | 1228225.3258 | 2598793.7155 | 1228223.891
19 | 2598490.1542 | 1228318.1859 | 2598494.1007 | 1228316.1064 | 2598506.6461 | 1228308.5168
20 | 2598506.6461 | 1228308.5168 | 2598516.2931 | 1228302.6805
21 | 2598804.5599 | 1228335.2188 | 2598810.4056 | 1228339.2778
22 | 2598804.5599 | 1228335.2188 | 2598792.3412 | 1228326.7346
23 | 2598719.8736 | 1228402.822 | 2598721.4 | 1228403.9134 | 2598726.0828 | 1228406.7251 | 2598743.1118 | 1228415.4132
24 | 2598719.8736 | 1228402.822 | 2598717.1565 | 1228400.8792 | 2598711.1245 | 1228395.6887 | 2598711.1245 | 1228395.6887
25 | 2598743.6655 | 1228415.6957 | 2598743.1118 | 1228415.4132
26 | 2598698.2325 | 1228387.9042 | 2598700.2963 | 1228389.0761 | 2598708.3966 | 1228393.6214 | 2598711.1245 | 1228395.6887
27 | 2598764.7635 | 1228426.4599 | 2598743.6655 | 1228415.6957
28 | 2598682.6409 | 1228378.385 | 2598686.3615 | 1228381.1636 | 2598698.2325 | 1228387.9042
29 | 2598682.6409 | 1228378.385 | 2598671.8021 | 1228391.5064 | 2598666.6365 | 1228397.9003 | 2598664.7887 | 1228401.2138 | 2598664.0694 | 1228403.2152 | 2598663.9033 | 1228405.7723 | 2598664.4192 | 1228408.496 | 2598665.3365 | 1228410.9862 | 2598666.5948 | 1228413.4317 | 2598668.4136 | 1228415.5437 | 2598671.2022 | 1228417.5664 | 2598674.8696 | 1228419.7002 | 2598680.5365 | 1228422.0585
30 | 2598682.6409 | 1228378.385 | 2598706.6971 | 1228350.2962
31 | 2598731.4967 | 1228299.5056 | 2598725.671 | 1228294.6812 | 2598722.1258 | 1228291.9846
32 | 2598712.5395 | 1228284.6928 | 2598722.1258 | 1228291.9846
33 | 2598738.4729 | 1228305.2827 | 2598731.4967 | 1228299.5056
34 | 2598712.5395 | 1228284.6928 | 2598710.4264 | 1228283.0855
35 | 2598744.5552 | 1228310.3195 | 2598738.4729 | 1228305.2827
36 | 2598690.6946 | 1228267.2923 | 2598695.7461 | 1228271.9191 | 2598710.4264 | 1228283.0855
37 | 2598744.5552 | 1228310.3195 | 2598729.5833 | 1228325.8818
38 | 2598690.6946 | 1228267.2923 | 2598687.1744 | 1228264.0681
39 | 2598771.7614 | 1228312.4449 | 2598792.3412 | 1228326.7346
40 | 2598770.4522 | 1228311.5358 | 2598771.7614 | 1228312.4449
41 | 2598668.9836 | 1228248.3499 | 2598658.9999 | 1228240.2979 | 2598653.7771 | 1228236.3244
42 | 2598648.1852 | 1228232.07 | 2598653.7771 | 1228236.3244
43 | 2598687.1744 | 1228264.0681 | 2598677.604 | 1228255.3024 | 2598668.9836 | 1228248.3499
44 | 2598776.7391 | 1228389.2517 | 2598763.0138 | 1228382.2063
45 | 2598776.7391 | 1228389.2517 | 2598791.6425 | 1228375.9325
46 | 2598757.1316 | 1228379.1869 | 2598763.0138 | 1228382.2063
47 | 2598791.6425 | 1228375.9325 | 2598774.3586 | 1228365.4525
48 | 2598721.9389 | 1228361.1219 | 2598757.1316 | 1228379.1869
49 | 2598706.6971 | 1228350.2962 | 2598710.5014 | 1228354.3977 | 2598714.1008 | 1228357.0985 | 2598721.9389 | 1228361.1219
50 | 2598606.2425 | 1228269.21 | 2598605.6465 | 1228268.7083
51 | 2598579.4017 | 1228245.3982 | 2598569.5009 | 1228252.4048 | 2598558.2346 | 1228263.6406
52 | 2598558.2346 | 1228263.6406 | 2598532.302 | 1228289.5029 | 2598518.9022 | 1228301.1021 | 2598516.2931 | 1228302.6805
53 | 2598759.28 | 1228356.3096 | 2598774.3586 | 1228365.4525
54 | 2598706.6971 | 1228350.2962 | 2598710.4996 | 1228346.5042 | 2598716.6899 | 1228339.5159
55 | 2598716.6899 | 1228339.5159 | 2598719.286 | 1228336.5852 | 2598729.5833 | 1228325.8818
56 | 2598680.5365 | 1228422.0585 | 2598707.6603 | 1228433.3461
57 | 2598729.4049 | 1228234.6092 | 2598715.09 | 1228224.5344
58 | 2598729.4049 | 1228234.6092 | 2598747.5168 | 1228247.3564
59 | 2598757.1174 | 1228254.1133 | 2598747.5168 | 1228247.3564
60 | 2598793.7155 | 1228223.891 | 2598797.6334 | 1228227.4145 | 2598804.4839 | 1228233.5166 | 2598807.0757 | 1228236.3844 | 2598808.0686 | 1228237.9185 | 2598809.6761 | 1228243.9773 | 2598809.0628 | 1228245.5672 | 2598806.692 | 1228248.6584 | 2598798.8066 | 1228257.432
61 | 2598806.3011 | 1228263.4339 | 2598798.8066 | 1228257.432
62 | 2598830.0622 | 1228232.0437 | 2598825.1993 | 1228238.304 | 2598814.6029 | 1228253.404 | 2598806.3011 | 1228263.4339
63 | 2598830.0622 | 1228232.0437 | 2598834.5994 | 1228226.206 | 2598840.0144 | 1228220.5469
64 | 2598866.0466 | 1228210.5791 | 2598860.8036 | 1228210.3023 | 2598855.3031 | 1228211.0038 | 2598846.9997 | 1228213.9962 | 2598843.6969 | 1228216.6985 | 2598840.0144 | 1228220.5469
65 | 2598866.0466 | 1228210.5791 | 2598865.6362 | 1228212.7324
66 | 2598866.0466 | 1228210.5791 | 2598868.5375 | 1228201.6511 | 2598872.8011 | 1228191.511 | 2598876.1864 | 1228184.1949
67 | 2598876.1864 | 1228184.1949 | 2598876.7744 | 1228182.2262
68 | 2598876.1864 | 1228184.1949 | 2598855.9479 | 1228183.6621
69 | 2598829.2488 | 1228182.9593 | 2598855.9479 | 1228183.6621
70 | 2598829.2488 | 1228182.9593 | 2598819.2324 | 1228182.6724 | 2598804.0044 | 1228187.6341 | 2598803.9072 | 1228184.1719

## bus_geodata
| x | y | coords
0 | 2598659.7873 | 1228312.4789
1 | 2598681.4563 | 1228329.5959
2 | 2598632.3586 | 1228290.8122
3 | 2598610.2306 | 1228272.5671
4 | 2598768.3196 | 1228294.5848
5 | 2598757.1682 | 1228302.312
6 | 2598791.4694 | 1228278.2903
7 | 2598632.1092 | 1228198.7741
8 | 2598622.2012 | 1228212.3013
9 | 2598632.4358 | 1228198.1649
10 | 2598601.9471 | 1228231.044
11 | 2598596.1556 | 1228235.0421
12 | 2598754.0671 | 1228223.6773
13 | 2598769.1428 | 1228215.5803
14 | 2598490.1542 | 1228318.1859
15 | 2598506.6461 | 1228308.5168
16 | 2598810.4056 | 1228339.2778
17 | 2598804.5599 | 1228335.2188
18 | 2598719.8736 | 1228402.822
19 | 2598743.1118 | 1228415.4132
20 | 2598711.1245 | 1228395.6887
21 | 2598743.6655 | 1228415.6957
22 | 2598698.2325 | 1228387.9042
23 | 2598764.7635 | 1228426.4599
24 | 2598682.6409 | 1228378.385
25 | 2598722.1258 | 1228291.9846
26 | 2598731.4967 | 1228299.5056
27 | 2598712.5395 | 1228284.6928
28 | 2598738.4729 | 1228305.2827
29 | 2598710.4264 | 1228283.0855
30 | 2598744.5552 | 1228310.3195
31 | 2598690.6946 | 1228267.2923
32 | 2598792.3412 | 1228326.7346
33 | 2598771.7614 | 1228312.4449
34 | 2598770.4522 | 1228311.5358
35 | 2598653.7771 | 1228236.3244
36 | 2598668.9836 | 1228248.3499
37 | 2598648.1852 | 1228232.07
38 | 2598687.1744 | 1228264.0681
39 | 2598776.7391 | 1228389.2517
40 | 2598763.0138 | 1228382.2063
41 | 2598791.6425 | 1228375.9325
42 | 2598757.1316 | 1228379.1869
43 | 2598721.9389 | 1228361.1219
44 | 2598605.6465 | 1228268.7083
45 | 2598606.2425 | 1228269.21
46 | 2598579.4017 | 1228245.3982
47 | 2598558.2346 | 1228263.6406
48 | 2598516.2931 | 1228302.6805
49 | 2598774.3586 | 1228365.4525
50 | 2598759.28 | 1228356.3096
51 | 2598706.6971 | 1228350.2962
52 | 2598716.6899 | 1228339.5159
53 | 2598680.5365 | 1228422.0585
54 | 2598729.5833 | 1228325.8818
55 | 2598707.6603 | 1228433.3461
56 | 2598729.4049 | 1228234.6092
57 | 2598715.09 | 1228224.5344
58 | 2598747.5168 | 1228247.3564
59 | 2598757.1174 | 1228254.1133
60 | 2598798.8066 | 1228257.432
61 | 2598793.7155 | 1228223.891
62 | 2598806.3011 | 1228263.4339
63 | 2598830.0622 | 1228232.0437
64 | 2598840.0144 | 1228220.5469
65 | 2598865.6362 | 1228212.7324
66 | 2598866.0466 | 1228210.5792
67 | 2598876.1864 | 1228184.1949
68 | 2598876.7744 | 1228182.2262
69 | 2598855.9479 | 1228183.6621
70 | 2598829.2488 | 1228182.9593
71 | 2598803.9072 | 1228184.1719
72 | 2598791.4694 | 1228278.2903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98739 | -0.24189 | 0.003383 | 0.00084786
1 | 0.98769 | -0.23609 | 0.0036465 | 0.00091391
2 | 0.98712 | -0.24712 | 0.0036482 | 0.00091432
3 | 0.987 | -0.24954 | 0.000755 | 0.00018922
4 | 0.99277 | -0.13768 | 0.0032551 | 0.00081581
5 | 0.99158 | -0.16055 | 0 | 0
6 | 0.99532 | -0.088524 | 0.0039606 | 0.00099263
7 | 0.98742 | -0.24139 | 0.0018204 | 0.00045623
8 | 0.98747 | -0.2403 | 0 | 0
9 | 0.98742 | -0.24141 | 0.0018154 | 0.00045497
10 | 0.98726 | -0.24437 | 0.00089252 | 0.00022369
11 | 0.98722 | -0.2453 | 0.0024656 | 0.00061795
12 | 0.99194 | -0.15304 | 0.0068408 | 0.0017145
13 | 0.99205 | -0.15096 | 0 | 0
14 | 0.98669 | -0.25562 | 0.0028169 | 0.00070599
15 | 0.98674 | -0.25466 | 0.00065089 | 0.00016313
16 | 0.99116 | -0.1687 | 0.0025025 | 0.00062718
17 | 0.99118 | -0.16839 | 0.0023351 | 0.00058524
18 | 0.98727 | -0.24431 | 0.0019027 | 0.00047687
19 | 0.98713 | -0.24689 | 0.001457 | 0.00036515
20 | 0.98734 | -0.24282 | 0.002221 | 0.00055663
21 | 0.98713 | -0.24694 | 0.0019974 | 0.0005006
22 | 0.98747 | -0.24023 | 0.0018163 | 0.0004552
23 | 0.98709 | -0.24779 | 0.0020118 | 0.0005042
24 | 0.98767 | -0.2365 | 0 | 0
25 | 0.98956 | -0.19975 | 0.0014804 | 0.00037103
26 | 0.9899 | -0.1932 | 0.0032146 | 0.00080564
27 | 0.98924 | -0.20601 | 0.0038971 | 0.00097671
28 | 0.99018 | -0.18774 | 0.0023193 | 0.00058128
29 | 0.98917 | -0.20721 | 0.0035968 | 0.00090143
30 | 0.99044 | -0.18266 | 0 | 0
31 | 0.98867 | -0.21699 | 0.0020787 | 0.00052096
32 | 0.99124 | -0.16711 | 0.0018835 | 0.00047205
33 | 0.9914 | -0.16412 | 0.0020323 | 0.00050935
34 | 0.99141 | -0.16388 | 0.0028654 | 0.00071813
35 | 0.98792 | -0.23163 | 0.0018237 | 0.00045707
36 | 0.98819 | -0.22625 | 0.0021302 | 0.00053388
37 | 0.98783 | -0.23335 | 0.0018286 | 0.00045829
38 | 0.98858 | -0.21866 | 0.0019307 | 0.00048387
39 | 0.98737 | -0.24236 | 0.0014158 | 0.00035484
40 | 0.98746 | -0.24045 | 0.0020028 | 0.00050195
41 | 0.98726 | -0.24433 | 0.0022536 | 0.0005648
42 | 0.98752 | -0.2394 | 0.0020677 | 0.00051822
43 | 0.98792 | -0.23164 | 0.0024287 | 0.0006087
44 | 0.98698 | -0.24992 | 0.00065861 | 0.00016506
45 | 0.98698 | -0.24991 | 0.0033052 | 0.00082837
46 | 0.98713 | -0.24703 | 0 | 0
47 | 0.987 | -0.24949 | 0.00055151 | 0.00013822
48 | 0.98677 | -0.25396 | 0.0008796 | 0.00022045
49 | 0.9872 | -0.2455 | 0.0015507 | 0.00038864
50 | 0.98718 | -0.24603 | 0.0016921 | 0.00042409
51 | 0.98815 | -0.22711 | 0 | 0
52 | 0.98873 | -0.21581 | 0.0017088 | 0.00042828
53 | 0.98751 | -0.23946 | 0.0013019 | 0.00032629
54 | 0.9895 | -0.20085 | 0.0025925 | 0.00064975
55 | 0.98747 | -0.24026 | 0.001524 | 0.00038195
56 | 0.99979 | -0.0040863 | 0.0028526 | 0.00071492
57 | 0.99974 | -0.004958 | 0.0028553 | 0.0007156
58 | 0.9999 | -0.0018819 | 0.0034866 | 0.00087383
59 | 1 | 0 | -0.25558 | -0.065214
60 | 0.99249 | -0.14239 | 0.00847 | 0.0021228
61 | 0.99221 | -0.14769 | 0 | 0
62 | 0.99262 | -0.13979 | 0 | 0
63 | 0.98811 | -0.22579 | 0 | 0
64 | 0.98637 | -0.25927 | 0.0044693 | 0.0011201
65 | 0.98314 | -0.32164 | 0.0038034 | 0.00095321
66 | 0.98315 | -0.32149 | 0 | 0
67 | 0.98012 | -0.38025 | 0 | 0
68 | 0.98011 | -0.38051 | 0.0069385 | 0.001739
69 | 0.97809 | -0.41991 | 0.012604 | 0.003159
70 | 0.97572 | -0.46632 | 0 | 0
71 | 0.9731 | -0.51785 | 0.095148 | 0.023846
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011753 | -0.0029457 | 0.011756 | 0.0029474 | 3.2485e-06 | 1.7257e-06 | 0.017712 | 0.017712 | 0.017712 | 0.98739 | -0.24189 | 0.98769 | -0.23609 | 4.8658
1 | 0.0083697 | 0.0020978 | -0.0083676 | -0.0020969 | 2.0854e-06 | 8.8771e-07 | 0.012613 | 0.012614 | 0.012614 | 0.98739 | -0.24189 | 0.98712 | -0.24712 | 3.4653
2 | -0.015402 | -0.0038613 | 0.015409 | 0.0038651 | 6.5958e-06 | 3.8031e-06 | 0.023205 | 0.023205 | 0.023205 | 0.98769 | -0.23609 | 0.98815 | -0.22711 | 6.3751
3 | 0.0047194 | 0.0011826 | -0.0047189 | -0.0011826 | 5.4439e-07 | -1.8213e-08 | 0.0071142 | 0.0071143 | 0.0071143 | 0.98712 | -0.24712 | 0.987 | -0.24954 | 1.9545
4 | 0.0039639 | 0.0009934 | -0.0039638 | -0.00099342 | 6.9815e-08 | -2.1941e-08 | 0.005976 | 0.0059761 | 0.0059761 | 0.987 | -0.24954 | 0.98698 | -0.24991 | 1.6418
5 | 0.095547 | 0.024087 | -0.095443 | -0.024021 | 0.00010442 | 6.6652e-05 | 0.14326 | 0.14326 | 0.14326 | 0.99277 | -0.13768 | 0.99158 | -0.16055 | 39.3575
6 | -0.098802 | -0.024903 | 0.099035 | 0.025052 | 0.00023298 | 0.00014874 | 0.14814 | 0.14814 | 0.14814 | 0.99277 | -0.13768 | 0.99532 | -0.088524 | 40.6979
7 | 0.083821 | 0.021107 | -0.083732 | -0.021051 | 8.8514e-05 | 5.6457e-05 | 0.12582 | 0.12582 | 0.12582 | 0.99158 | -0.16055 | 0.99044 | -0.18266 | 34.5661
8 | 0.011622 | 0.0029132 | -0.01162 | -0.0029122 | 1.8447e-06 | 9.7205e-07 | 0.017441 | 0.017441 | 0.017441 | 0.99158 | -0.16055 | 0.99141 | -0.16388 | 4.7914
9 | -0.24368 | -0.06224 | 0.24473 | 0.062909 | 0.0010477 | 0.00066945 | 0.36472 | 0.36472 | 0.36472 | 0.99532 | -0.088524 | 1 | 0 | 50.0993
10 | 0.14069 | 0.036195 | -0.14034 | -0.035972 | 0.0003497 | 0.00022353 | 0.21066 | 0.21066 | 0.21066 | 0.99532 | -0.088524 | 0.99262 | -0.13979 | 57.8742
11 | -0.0036358 | -0.0009112 | 0.0036359 | 0.0009111 | 1.8916e-07 | -9.3885e-08 | 0.005479 | 0.0054789 | 0.005479 | 0.98742 | -0.24139 | 0.98747 | -0.2403 | 1.5052
12 | 0.0018154 | 0.00045496 | -0.0018154 | -0.00045497 | 1.94e-09 | -7.6003e-09 | 0.0027357 | 0.0027357 | 0.0027357 | 0.98742 | -0.24139 | 0.98742 | -0.24141 | 0.75157
13 | 0.0082612 | 0.0020699 | -0.0082596 | -0.0020692 | 1.6045e-06 | 6.7375e-07 | 0.012448 | 0.012449 | 0.012449 | 0.98747 | -0.2403 | 0.98726 | -0.24437 | 3.4199
14 | -0.011897 | -0.002981 | 0.011901 | 0.0029831 | 3.9349e-06 | 2.1005e-06 | 0.017927 | 0.017927 | 0.017927 | 0.98747 | -0.2403 | 0.98783 | -0.23335 | 4.9251
15 | 0.007367 | 0.0018455 | -0.0073667 | -0.0018454 | 3.2582e-07 | 1.1841e-07 | 0.011103 | 0.011103 | 0.011103 | 0.98726 | -0.24437 | 0.98722 | -0.2453 | 3.0504
16 | 0.0049011 | 0.0012274 | -0.0049007 | -0.0012274 | 4.0305e-07 | 6.137e-09 | 0.007387 | 0.0073871 | 0.0073871 | 0.98722 | -0.2453 | 0.98713 | -0.24703 | 2.0294
17 | -0.0068408 | -0.0017145 | 0.0068415 | 0.0017147 | 6.7829e-07 | 2.1236e-07 | 0.010262 | 0.010262 | 0.010262 | 0.99194 | -0.15304 | 0.99205 | -0.15096 | 2.8192
18 | -0.0068415 | -0.0017147 | 0.0068426 | 0.001715 | 1.0638e-06 | 3.3297e-07 | 0.010262 | 0.010262 | 0.010262 | 0.99205 | -0.15096 | 0.99221 | -0.14769 | 2.8192
19 | -0.0028169 | -0.00070599 | 0.0028171 | 0.00070583 | 1.2942e-07 | -1.6143e-07 | 0.0042482 | 0.0042481 | 0.0042482 | 0.98669 | -0.25562 | 0.98674 | -0.25466 | 1.1671
20 | -0.0034679 | -0.00086895 | 0.0034681 | 0.00086888 | 1.1564e-07 | -7.0021e-08 | 0.0052297 | 0.0052296 | 0.0052297 | 0.98674 | -0.25466 | 0.98677 | -0.25396 | 1.4367
21 | -0.0025025 | -0.00062718 | 0.0025025 | 0.00062711 | 3.7668e-08 | -6.7617e-08 | 0.0037569 | 0.0037569 | 0.0037569 | 0.99116 | -0.1687 | 0.99118 | -0.16839 | 1.0321
22 | -0.0048376 | -0.0012124 | 0.0048379 | 0.0012123 | 2.9422e-07 | -3.4389e-09 | 0.0072625 | 0.0072625 | 0.0072625 | 0.99118 | -0.16839 | 0.99124 | -0.16711 | 1.9952
23 | 0.0054669 | 0.0013698 | -0.0054662 | -0.0013697 | 6.7356e-07 | 9.2828e-08 | 0.0082397 | 0.0082398 | 0.0082398 | 0.98727 | -0.24431 | 0.98713 | -0.24689 | 2.2637
24 | -0.0073696 | -0.0018467 | 0.0073702 | 0.0018468 | 5.2271e-07 | 1.9005e-07 | 0.011107 | 0.011107 | 0.011107 | 0.98727 | -0.24431 | 0.98734 | -0.24282 | 3.0515
25 | 0.0040093 | 0.0010045 | -0.0040093 | -0.0010046 | 8.5134e-09 | -2.4973e-09 | 0.0060436 | 0.0060436 | 0.0060436 | 0.98713 | -0.24689 | 0.98713 | -0.24694 | 1.6603
26 | -0.0095911 | -0.0024035 | 0.0095923 | 0.002404 | 1.1819e-06 | 5.6345e-07 | 0.014455 | 0.014455 | 0.014455 | 0.98734 | -0.24282 | 0.98747 | -0.24023 | 3.971
27 | 0.0020119 | 0.00050395 | -0.0020118 | -0.0005042 | 8.1688e-08 | -2.5049e-07 | 0.0030326 | 0.0030327 | 0.0030327 | 0.98713 | -0.24694 | 0.98709 | -0.24779 | 0.83316
28 | -0.011409 | -0.0028592 | 0.011411 | 0.0028603 | 2.0276e-06 | 1.0636e-06 | 0.017191 | 0.017191 | 0.017191 | 0.98747 | -0.24023 | 0.98767 | -0.2365 | 4.7229
29 | 0.0028264 | 0.00070741 | -0.002826 | -0.0007079 | 3.9782e-07 | -4.9409e-07 | 0.0042579 | 0.0042581 | 0.0042581 | 0.98767 | -0.2365 | 0.98751 | -0.23946 | 1.1698
30 | -0.014237 | -0.0035677 | 0.014243 | 0.0035713 | 6.3731e-06 | 3.6058e-06 | 0.021449 | 0.021449 | 0.021449 | 0.98767 | -0.2365 | 0.98815 | -0.22711 | 5.8926
31 | -0.030701 | -0.0077064 | 0.03071 | 0.0077124 | 9.6068e-06 | 5.9939e-06 | 0.046169 | 0.046169 | 0.046169 | 0.98956 | -0.19975 | 0.9899 | -0.1932 | 12.6839
32 | 0.02922 | 0.0073354 | -0.029211 | -0.00733 | 8.7216e-06 | 5.4272e-06 | 0.043943 | 0.043943 | 0.043943 | 0.98956 | -0.19975 | 0.98924 | -0.20601 | 12.0723
33 | -0.033925 | -0.0085181 | 0.033934 | 0.0085236 | 8.8351e-06 | 5.538e-06 | 0.051001 | 0.051001 | 0.051001 | 0.9899 | -0.1932 | 0.99018 | -0.18774 | 14.0114
34 | 0.025314 | 0.0063533 | -0.025313 | -0.0063524 | 1.4438e-06 | 8.8993e-07 | 0.038081 | 0.038081 | 0.038081 | 0.98924 | -0.20601 | 0.98917 | -0.20721 | 10.4619
35 | -0.036253 | -0.0091049 | 0.036262 | 0.0091104 | 8.7919e-06 | 5.5252e-06 | 0.054487 | 0.054487 | 0.054487 | 0.99018 | -0.18774 | 0.99044 | -0.18266 | 14.9689
36 | 0.021716 | 0.005451 | -0.021706 | -0.0054448 | 1.0125e-05 | 6.1552e-06 | 0.032671 | 0.032671 | 0.032671 | 0.98917 | -0.20721 | 0.98867 | -0.21699 | 8.9755
37 | 0.04747 | 0.011941 | -0.047429 | -0.011914 | 4.1208e-05 | 2.6095e-05 | 0.071334 | 0.071334 | 0.071334 | 0.99044 | -0.18266 | 0.9895 | -0.20085 | 19.5973
38 | 0.019627 | 0.0049238 | -0.019626 | -0.0049229 | 1.5623e-06 | 9.3866e-07 | 0.029542 | 0.029542 | 0.029542 | 0.98867 | -0.21699 | 0.98858 | -0.21866 | 8.116
39 | -0.0067214 | -0.0016844 | 0.0067224 | 0.0016847 | 9.565e-07 | 2.8914e-07 | 0.01009 | 0.01009 | 0.01009 | 0.99124 | -0.16711 | 0.9914 | -0.16412 | 2.7719
40 | -0.0087547 | -0.002194 | 0.0087548 | 0.0021941 | 1.032e-07 | 4.5496e-08 | 0.01314 | 0.01314 | 0.01314 | 0.9914 | -0.16412 | 0.99141 | -0.16388 | 3.6099
41 | -0.015555 | -0.0038991 | 0.015558 | 0.0039014 | 3.9909e-06 | 2.3059e-06 | 0.023429 | 0.023429 | 0.023429 | 0.98792 | -0.23163 | 0.98819 | -0.22625 | 6.4364
42 | 0.013731 | 0.003442 | -0.01373 | -0.0034414 | 1.127e-06 | 6.3134e-07 | 0.020682 | 0.020682 | 0.020682 | 0.98792 | -0.23163 | 0.98783 | -0.23335 | 5.6818
43 | -0.017689 | -0.0044352 | 0.017695 | 0.004439 | 6.3994e-06 | 3.7873e-06 | 0.026636 | 0.026636 | 0.026636 | 0.98819 | -0.22625 | 0.98858 | -0.21866 | 7.3177
44 | -0.006913 | -0.0017321 | 0.0069136 | 0.0017323 | 6.2793e-07 | 2.0453e-07 | 0.010418 | 0.010418 | 0.010418 | 0.98737 | -0.24236 | 0.98746 | -0.24045 | 2.8621
45 | 0.0054971 | 0.0013773 | -0.0054966 | -0.0013772 | 5.1442e-07 | 7.3611e-08 | 0.0082843 | 0.0082844 | 0.0082844 | 0.98737 | -0.24236 | 0.98726 | -0.24433 | 2.2759
46 | -0.0089164 | -0.0022343 | 0.0089168 | 0.0022345 | 4.4761e-07 | 2.0188e-07 | 0.013436 | 0.013436 | 0.013436 | 0.98746 | -0.24045 | 0.98752 | -0.2394 | 3.6912
47 | 0.0032431 | 0.00081239 | -0.0032429 | -0.00081253 | 1.8109e-07 | -1.4255e-07 | 0.0048878 | 0.0048879 | 0.0048879 | 0.98726 | -0.24433 | 0.9872 | -0.2455 | 1.3428
48 | -0.010985 | -0.0027527 | 0.010989 | 0.0027548 | 4.064e-06 | 2.0946e-06 | 0.016552 | 0.016552 | 0.016552 | 0.98752 | -0.2394 | 0.98792 | -0.23164 | 4.5472
49 | -0.013417 | -0.0033635 | 0.01342 | 0.0033651 | 2.8955e-06 | 1.611e-06 | 0.02021 | 0.02021 | 0.02021 | 0.98792 | -0.23164 | 0.98815 | -0.22711 | 5.5521
50 | -0.00065861 | -0.00016506 | 0.00065861 | 0.00016505 | 2.8815e-10 | -9.7718e-09 | 0.00099295 | 0.00099295 | 0.00099295 | 0.98698 | -0.24992 | 0.98698 | -0.24991 | 0.27279
51 | 0.0049007 | 0.0012274 | -0.0049001 | -0.0012274 | 5.7382e-07 | 8.8258e-09 | 0.0073871 | 0.0073872 | 0.0073872 | 0.98713 | -0.24703 | 0.987 | -0.24949 | 2.0295
52 | 0.0043486 | 0.0010892 | -0.0043477 | -0.0010893 | 9.2508e-07 | -1.4133e-07 | 0.0065558 | 0.006556 | 0.006556 | 0.987 | -0.24949 | 0.98677 | -0.25396 | 1.8011
53 | 0.0016922 | 0.00042389 | -0.0016921 | -0.00042409 | 4.3019e-08 | -1.9792e-07 | 0.0025506 | 0.0025506 | 0.0025506 | 0.9872 | -0.2455 | 0.98718 | -0.24603 | 0.70072
54 | -0.043073 | -0.010801 | 0.043096 | 0.010816 | 2.3202e-05 | 1.4661e-05 | 0.064864 | 0.064864 | 0.064864 | 0.98815 | -0.22711 | 0.98873 | -0.21581 | 17.8197
55 | -0.044805 | -0.011244 | 0.044837 | 0.011265 | 3.2005e-05 | 2.0242e-05 | 0.067436 | 0.067435 | 0.067436 | 0.98873 | -0.21581 | 0.9895 | -0.20085 | 18.5262
56 | 0.001524 | 0.00038161 | -0.001524 | -0.00038195 | 5.8098e-08 | -3.3867e-07 | 0.0022963 | 0.0022965 | 0.0022965 | 0.98751 | -0.23946 | 0.98747 | -0.24026 | 0.6309
57 | 0.0028554 | 0.00071545 | -0.0028553 | -0.0007156 | 1.1855e-07 | -1.5367e-07 | 0.0042497 | 0.0042498 | 0.0042498 | 0.99979 | -0.0040863 | 0.99974 | -0.004958 | 1.1675
58 | -0.005708 | -0.0014304 | 0.0057086 | 0.0014305 | 5.994e-07 | 9.314e-08 | 0.0084953 | 0.0084952 | 0.0084953 | 0.99979 | -0.0040863 | 0.9999 | -0.0018819 | 2.3339
59 | -0.0091952 | -0.0023043 | 0.009196 | 0.0023047 | 8.2436e-07 | 3.7359e-07 | 0.013684 | 0.013684 | 0.013684 | 0.9999 | -0.0018819 | 1 | 0 | 3.7593
60 | 0.0068443 | 0.0017156 | -0.0068426 | -0.001715 | 1.7296e-06 | 5.4108e-07 | 0.010262 | 0.010262 | 0.010262 | 0.99249 | -0.14239 | 0.99221 | -0.14769 | 2.8192
61 | -0.015314 | -0.0038383 | 0.015316 | 0.0038394 | 1.8982e-06 | 1.0907e-06 | 0.02296 | 0.02296 | 0.02296 | 0.99249 | -0.14239 | 0.99262 | -0.13979 | 6.3078
62 | 0.12502 | 0.032132 | -0.1245 | -0.0318 | 0.00051997 | 0.00033228 | 0.1877 | 0.1877 | 0.1877 | 0.99262 | -0.13979 | 0.98811 | -0.22579 | 51.5666
63 | 0.1245 | 0.0318 | -0.1243 | -0.031671 | 0.00020117 | 0.00012855 | 0.1877 | 0.1877 | 0.1877 | 0.98811 | -0.22579 | 0.98637 | -0.25927 | 51.5666
64 | 0.11983 | 0.030551 | -0.11947 | -0.030322 | 0.00035876 | 0.00022924 | 0.18096 | 0.18096 | 0.18096 | 0.98637 | -0.25927 | 0.98315 | -0.32149 | 49.7144
65 | -0.0038034 | -0.00095321 | 0.0038034 | 0.0009532 | 2.7239e-08 | -1.0363e-08 | 0.0057565 | 0.0057565 | 0.0057565 | 0.98314 | -0.32164 | 0.98315 | -0.32149 | 1.5815
66 | 0.11567 | 0.029369 | -0.11534 | -0.029161 | 0.00032603 | 0.0002083 | 0.1752 | 0.1752 | 0.1752 | 0.98315 | -0.32149 | 0.98012 | -0.38025 | 48.133
67 | 0.0069386 | 0.001739 | -0.0069385 | -0.001739 | 8.5498e-08 | 2.8825e-08 | 0.010534 | 0.010534 | 0.010534 | 0.98012 | -0.38025 | 0.98011 | -0.38051 | 2.894
68 | 0.1084 | 0.027422 | -0.1082 | -0.02729 | 0.00020587 | 0.0001315 | 0.16467 | 0.16467 | 0.16467 | 0.98012 | -0.38025 | 0.97809 | -0.41991 | 45.239
69 | 0.095594 | 0.024131 | -0.095382 | -0.023996 | 0.00021202 | 0.00013536 | 0.14549 | 0.14549 | 0.14549 | 0.97809 | -0.41991 | 0.97572 | -0.46632 | 39.971
70 | 0.095382 | 0.023996 | -0.095148 | -0.023846 | 0.00023418 | 0.00014951 | 0.14549 | 0.14549 | 0.14549 | 0.97572 | -0.46632 | 0.9731 | -0.51785 | 39.971

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26304 | 0.067084

## res_load
| p_mw | q_mvar
0 | 0.003383 | 0.00084786
1 | 0.0036465 | 0.00091391
2 | 0.0036482 | 0.00091432
3 | 0.000755 | 0.00018922
4 | 0.0032551 | 0.00081581
5 | 0.0039606 | 0.00099263
6 | 0.0018204 | 0.00045623
7 | 0.0018154 | 0.00045497
8 | 0.00089252 | 0.00022369
9 | 0.0024656 | 0.00061795
10 | 0.0068408 | 0.0017145
11 | 0.0028169 | 0.00070599
12 | 0.00065089 | 0.00016313
13 | 0.0025025 | 0.00062718
14 | 0.0023351 | 0.00058524
15 | 0.0019027 | 0.00047687
16 | 0.001457 | 0.00036515
17 | 0.002221 | 0.00055663
18 | 0.0019974 | 0.0005006
19 | 0.0018163 | 0.0004552
20 | 0.0020118 | 0.0005042
21 | 0.0014804 | 0.00037103
22 | 0.0032146 | 0.00080564
23 | 0.0038971 | 0.00097671
24 | 0.0023193 | 0.00058128
25 | 0.0035968 | 0.00090143
26 | 0.0020787 | 0.00052096
27 | 0.0018835 | 0.00047205
28 | 0.0020323 | 0.00050935
29 | 0.0028654 | 0.00071813
30 | 0.0018237 | 0.00045707
31 | 0.0021302 | 0.00053388
32 | 0.0018286 | 0.00045829
33 | 0.0019307 | 0.00048387
34 | 0.0014158 | 0.00035484
35 | 0.0020028 | 0.00050195
36 | 0.0022536 | 0.0005648
37 | 0.0020677 | 0.00051822
38 | 0.0024287 | 0.0006087
39 | 0.00065861 | 0.00016506
40 | 0.0033052 | 0.00082837
41 | 0.00055151 | 0.00013822
42 | 0.0008796 | 0.00022045
43 | 0.0015507 | 0.00038864
44 | 0.0016921 | 0.00042409
45 | 0.0017088 | 0.00042828
46 | 0.0013019 | 0.00032629
47 | 0.0025925 | 0.00064975
48 | 0.001524 | 0.00038195
49 | 0.0028526 | 0.00071492
50 | 0.0028553 | 0.0007156
51 | 0.0034866 | 0.00087383
52 | 0.0074632 | 0.0018705
53 | 0.00847 | 0.0021228
54 | 0.0044693 | 0.0011201
55 | 0.0038034 | 0.00095321
56 | 0.0069385 | 0.001739
57 | 0.012604 | 0.003159
58 | 0.095148 | 0.023846

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1