## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-10_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_2546-10_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_2546-10_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2546-10_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2546-10_0_4_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_2546-10_0_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_2546-10_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_2546-10_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2546-10_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2546-10_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2546-10_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2546-10_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2546-10_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2546-10_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2546-10_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_2546-10_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2546-10_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2546-10_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2546-10_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2546-10_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2546-10_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_2546-10_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_2546-10_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_2546-10_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2546-10_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2546-10_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2546-10_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2546-10_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2546-10_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2546-10_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2546-10_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2546-10_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2546-10_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2546-10_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2546-10_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_MV_521_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-10_0_4_load_0 | 0 | 0.0055023 | 0.001379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-10_0_4_load_1 | 1 | 0.0037014 | 0.00092766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-10_0_4_load_4 | 4 | 0.0014388 | 0.00036061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-10_0_4_load_37 | 5 | 0.0021004 | 0.00052641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-10_0_4_load_41 | 6 | 0.0016647 | 0.00041723 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-10_0_4_load_36 | 8 | 0.0015396 | 0.00038587 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-10_0_4_load_39 | 9 | 0.0022654 | 0.00056776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-10_0_4_load_29 | 10 | 0.0012898 | 0.00032324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-10_0_4_load_20 | 11 | 0.002107 | 0.00052808 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-10_0_4_load_5 | 12 | 0.0015404 | 0.00038607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-10_0_4_load_6 | 13 | 0.079443 | 0.01991 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-10_0_4_load_7 | 14 | 0.0023233 | 0.00058229 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-10_0_4_load_8 | 15 | 0.0071083 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-10_0_4_load_10 | 17 | 0.0018564 | 0.00046526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-10_0_4_load_21 | 18 | 0.075109 | 0.018824 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-10_0_4_load_25 | 19 | 0.068373 | 0.017136 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-10_0_4_load_11 | 22 | 0.0025961 | 0.00065065 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-10_0_4_load_40 | 25 | 0.0025108 | 0.00062926 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-10_0_4_load_43 | 26 | 0.0090513 | 0.0022685 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-10_0_4_load_42 | 27 | 0.0053225 | 0.0013339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-10_0_4_load_16 | 28 | 0.081806 | 0.020503 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-10_0_4_load_17 | 29 | 0.083919 | 0.021032 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-10_0_4_load_22 | 30 | 0.071675 | 0.017963 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-10_0_4_load_26 | 32 | 0.024724 | 0.0061965 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-10_0_4_load_27 | 33 | 0.016025 | 0.0040163 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-10_0_4_load_33 | 35 | 0.0041298 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-10_0_4_load_30 | 36 | 0.0036451 | 0.00091354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-10_0_4_load_31 | 37 | 0.0043867 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-10_0_4_load_32 | 38 | 0.002958 | 0.00074134 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-10_0_4_load_38 | 39 | 0.0032069 | 0.00080373 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-10_0_4_line_0 |  | 0 | 1 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-10_0_4_line_1 |  | 0 | 2 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-10_0_4_line_2 |  | 2 | 3 | 0.017476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-10_0_4_line_3 |  | 2 | 4 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-10_0_4_line_4 |  | 3 | 5 | 0.0035497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-10_0_4_line_5 |  | 3 | 6 | 0.013849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-10_0_4_line_6 |  | 4 | 7 | 0.011167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-10_0_4_line_7 |  | 5 | 8 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-10_0_4_line_8 |  | 6 | 9 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-10_0_4_line_9 |  | 7 | 10 | 0.010911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-10_0_4_line_10 |  | 7 | 11 | 0.01071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-10_0_4_line_11 |  | 8 | 39 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-10_0_4_line_12 |  | 9 | 25 | 0.025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-10_0_4_line_13 |  | 10 | 27 | 0.040032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-10_0_4_line_14 |  | 11 | 20 | 0.016906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-10_0_4_line_15 |  | 12 | 13 | 0.019229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-10_0_4_line_16 |  | 12 | 14 | 0.039495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-10_0_4_line_17 |  | 13 | 15 | 0.0099399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-10_0_4_line_18 |  | 14 | 16 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-10_0_4_line_19 |  | 14 | 17 | 0.028927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-10_0_4_line_20 |  | 16 | 18 | 0.030421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2546-10_0_4_line_21 |  | 16 | 19 | 0.045154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2546-10_0_4_line_22 |  | 18 | 20 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2546-10_0_4_line_23 |  | 19 | 21 | 0.038232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-10_0_4_line_24 |  | 20 | 28 | 0.013625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2546-10_0_4_line_25 |  | 21 | 32 | 0.026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-10_0_4_line_26 |  | 21 | 30 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-10_0_4_line_27 |  | 22 | 23 | 0.058791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-10_0_4_line_28 |  | 23 | 24 | 0.068226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-10_0_4_line_29 |  | 24 | 25 | 0.040765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-10_0_4_line_30 |  | 26 | 27 | 0.0025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-10_0_4_line_31 |  | 28 | 29 | 0.018579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-10_0_4_line_32 |  | 30 | 31 | 0.022988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-10_0_4_line_33 |  | 31 | 33 | 0.046678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-10_0_4_line_34 |  | 32 | 34 | 0.0041095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-10_0_4_line_35 |  | 34 | 35 | 0.059657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-10_0_4_line_36 |  | 35 | 38 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-10_0_4_line_37 |  | 36 | 37 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-10_0_4_line_38 |  | 36 | 38 | 0.073754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-10_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 40 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2596176.34 | 1227394.4913 | 2596183.7402 | 1227385.7868 | 2596194.4898 | 1227368.6048
1 | 2596162.8117 | 1227410.4039 | 2596176.34 | 1227394.4913
2 | 2596152.3992 | 1227397.6032 | 2596152.9019 | 1227401.5052 | 2596154.1007 | 1227403.9058 | 2596159.2032 | 1227408.0049 | 2596162.8117 | 1227410.4039
3 | 2596162.8117 | 1227410.4039 | 2596170.802 | 1227415.7018 | 2596175.499 | 1227418.4929
4 | 2596152.3992 | 1227397.6032 | 2596149.6272 | 1227399.8205
5 | 2596152.3992 | 1227397.6032 | 2596160.8725 | 1227386.6495
6 | 2596185.099 | 1227424.1974 | 2596175.499 | 1227418.4929
7 | 2596138.3049 | 1227411.4487 | 2596144.9013 | 1227403.6006 | 2596149.6272 | 1227399.8205
8 | 2596170.55 | 1227373.2355 | 2596165.7018 | 1227380.4066 | 2596160.8725 | 1227386.6495
9 | 2596185.099 | 1227424.1974 | 2596189.3977 | 1227416.0009 | 2596190.3076 | 1227414.6174
10 | 2596185.099 | 1227424.1974 | 2596194.3304 | 1227429.6285
11 | 2596131.2041 | 1227419.897 | 2596138.3049 | 1227411.4487
12 | 2596170.55 | 1227373.2355 | 2596184.671 | 1227352.3491
13 | 2596212.3034 | 1227381.1693 | 2596190.3076 | 1227414.6174
14 | 2596208.9018 | 1227438.2013 | 2596194.3304 | 1227429.6285
15 | 2596184.1236 | 1227506.2144 | 2596202.574 | 1227511.6324
16 | 2596175.4796 | 1227476.7791 | 2596170.0291 | 1227496.4943 | 2596170.2059 | 1227500.252 | 2596175.9217 | 1227503.8059 | 2596184.1236 | 1227506.2144
17 | 2596212.1112 | 1227514.433 | 2596202.574 | 1227511.6324
18 | 2596190.7787 | 1227476.8025 | 2596175.4796 | 1227476.7791
19 | 2596175.4796 | 1227476.7791 | 2596148.9499 | 1227475.7849 | 2596146.5782 | 1227475.599
20 | 2596190.7787 | 1227476.8025 | 2596191.6003 | 1227470.098 | 2596192.802 | 1227465.3055 | 2596202.3652 | 1227449.2058
21 | 2596190.7787 | 1227476.8025 | 2596232.3484 | 1227475.6526 | 2596235.9114 | 1227475.8547
22 | 2596208.9018 | 1227438.2013 | 2596202.3652 | 1227449.2058
23 | 2596273.3329 | 1227483.5086 | 2596260.0702 | 1227480.4264 | 2596248.2476 | 1227477.8547 | 2596243.0562 | 1227476.7352 | 2596238.1606 | 1227475.9824 | 2596235.9114 | 1227475.8547
24 | 2596208.9018 | 1227438.2013 | 2596215.9764 | 1227426.5572
25 | 2596273.3329 | 1227483.5086 | 2596267.0668 | 1227509.4034
26 | 2596273.3329 | 1227483.5086 | 2596274.4752 | 1227480.5173 | 2596276.1015 | 1227476.058 | 2596278.7728 | 1227470.4086 | 2596280.9677 | 1227466.3603
27 | 2596191.0207 | 1227278.8857 | 2596172.6008 | 1227304.7019 | 2596156.7608 | 1227326.6625
28 | 2596191.0207 | 1227278.8857 | 2596211.4022 | 1227286.2991 | 2596224.8259 | 1227291.5045 | 2596209.8969 | 1227313.605 | 2596206.9445 | 1227318.2096
29 | 2596206.9445 | 1227318.2096 | 2596191.6 | 1227342.1004 | 2596184.671 | 1227352.3491
30 | 2596212.3034 | 1227381.1693 | 2596213.6793 | 1227379.077
31 | 2596225.6234 | 1227410.6792 | 2596215.9764 | 1227426.5572
32 | 2596298.0462 | 1227452.3079 | 2596294.9171 | 1227453.0436 | 2596292.152 | 1227454.1571 | 2596289.1373 | 1227456.0824 | 2596286.6154 | 1227458.2631 | 2596283.4052 | 1227462.4898 | 2596280.9677 | 1227466.3603
33 | 2596298.0462 | 1227452.3079 | 2596300.5544 | 1227452.3174 | 2596303.131 | 1227452.6937 | 2596305.9353 | 1227453.6258 | 2596332.5017 | 1227464.7378 | 2596338.0497 | 1227466.6021 | 2596341.8738 | 1227467.635
34 | 2596266.1003 | 1227513.3976 | 2596267.0668 | 1227509.4034
35 | 2596266.1003 | 1227513.3976 | 2596324.7107 | 1227524.5217
36 | 2596324.7107 | 1227524.5217 | 2596342.7497 | 1227527.9455
37 | 2596421.8104 | 1227567.0075 | 2596409.8977 | 1227560.9019 | 2596408.5988 | 1227560.1576
38 | 2596342.7497 | 1227527.9455 | 2596350.4025 | 1227529.398 | 2596355.397 | 1227530.8958 | 2596367.7065 | 1227536.7249 | 2596408.5988 | 1227560.1576

## bus_geodata
| x | y | coords
0 | 2596176.34 | 1227394.4913
1 | 2596194.4898 | 1227368.6048
2 | 2596162.8117 | 1227410.4039
3 | 2596152.3992 | 1227397.6032
4 | 2596175.499 | 1227418.4929
5 | 2596149.6272 | 1227399.8205
6 | 2596160.8725 | 1227386.6495
7 | 2596185.099 | 1227424.1974
8 | 2596138.3049 | 1227411.4487
9 | 2596170.55 | 1227373.2355
10 | 2596190.3076 | 1227414.6174
11 | 2596194.3304 | 1227429.6285
12 | 2596184.1236 | 1227506.2144
13 | 2596202.574 | 1227511.6324
14 | 2596175.4796 | 1227476.7791
15 | 2596212.1112 | 1227514.433
16 | 2596190.7787 | 1227476.8025
17 | 2596146.5782 | 1227475.599
18 | 2596202.3652 | 1227449.2058
19 | 2596235.9114 | 1227475.8547
20 | 2596208.9018 | 1227438.2013
21 | 2596273.3329 | 1227483.5086
22 | 2596156.7608 | 1227326.6625
23 | 2596191.0207 | 1227278.8857
24 | 2596206.9445 | 1227318.2096
25 | 2596184.671 | 1227352.3491
26 | 2596213.6793 | 1227379.077
27 | 2596212.3034 | 1227381.1693
28 | 2596215.9764 | 1227426.5572
29 | 2596225.6234 | 1227410.6792
30 | 2596280.9677 | 1227466.3603
31 | 2596298.0462 | 1227452.3079
32 | 2596267.0668 | 1227509.4034
33 | 2596341.8738 | 1227467.635
34 | 2596266.1003 | 1227513.3976
35 | 2596324.7107 | 1227524.5217
36 | 2596408.5988 | 1227560.1576
37 | 2596421.8104 | 1227567.0075
38 | 2596342.7497 | 1227527.9455
39 | 2596131.2041 | 1227419.897
40 | 2596273.3329 | 1227483.5086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98902 | -0.2112 | 0.0055023 | 0.001379
1 | 0.98891 | -0.21329 | 0.0037014 | 0.00092766
2 | 0.98919 | -0.20777 | 0 | 0
3 | 0.98894 | -0.21272 | 0 | 0
4 | 0.98954 | -0.20104 | 0.0014388 | 0.00036061
5 | 0.98892 | -0.21315 | 0.0021004 | 0.00052641
6 | 0.98882 | -0.21495 | 0.0016647 | 0.00041723
7 | 0.98981 | -0.19577 | 0 | 0
8 | 0.98884 | -0.21453 | 0.0015396 | 0.00038587
9 | 0.98871 | -0.21713 | 0.0022654 | 0.00056776
10 | 0.98965 | -0.19881 | 0.0012898 | 0.00032324
11 | 0.99022 | -0.18773 | 0.002107 | 0.00052808
12 | 0.99031 | -0.18599 | 0.0015404 | 0.00038607
13 | 0.98878 | -0.21561 | 0.079443 | 0.01991
14 | 0.9935 | -0.12435 | 0.0023233 | 0.00058229
15 | 0.98872 | -0.21687 | 0.0071083 | 0.0017815
16 | 0.99479 | -0.099532 | 0 | 0
17 | 0.99345 | -0.1253 | 0.0018564 | 0.00046526
18 | 0.99214 | -0.1506 | 0.075109 | 0.018824
19 | 1 | 0 | -0.51091 | -0.1293
20 | 0.99091 | -0.17443 | 0 | 0
21 | 0.99555 | -0.085377 | 0 | 0
22 | 0.98819 | -0.22721 | 0.0025961 | 0.00065065
23 | 0.98833 | -0.22448 | 0 | 0
24 | 0.9885 | -0.22132 | 0 | 0
25 | 0.98859 | -0.21943 | 0.0025108 | 0.00062926
26 | 0.98911 | -0.20946 | 0.0090513 | 0.0022685
27 | 0.98913 | -0.20906 | 0.0053225 | 0.0013339
28 | 0.98988 | -0.19449 | 0.081806 | 0.020503
29 | 0.98845 | -0.22226 | 0.083919 | 0.021032
30 | 0.99405 | -0.11442 | 0.071675 | 0.017963
31 | 0.99371 | -0.12092 | 0 | 0
32 | 0.99458 | -0.10407 | 0.024724 | 0.0061965
33 | 0.99303 | -0.13413 | 0.016025 | 0.0040163
34 | 0.99453 | -0.10516 | 0 | 0
35 | 0.9937 | -0.12107 | 0.0041298 | 0.001035
36 | 0.99298 | -0.1351 | 0.0036451 | 0.00091354
37 | 0.99292 | -0.13626 | 0.0043867 | 0.0010994
38 | 0.99352 | -0.12464 | 0.002958 | 0.00074134
39 | 0.98881 | -0.21516 | 0.0032069 | 0.00080373
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0037018 | 0.00092749 | -0.0037014 | -0.00092766 | 3.6865e-07 | -1.7072e-07 | 0.0055694 | 0.0055695 | 0.0055695 | 0.98902 | -0.2112 | 0.98891 | -0.21329 | 1.5301
1 | -0.0092041 | -0.0023065 | 0.0092056 | 0.0023072 | 1.5019e-06 | 6.9315e-07 | 0.013848 | 0.013848 | 0.013848 | 0.98902 | -0.2112 | 0.98919 | -0.20777 | 3.8043
2 | 0.015892 | 0.0039822 | -0.015888 | -0.0039801 | 3.745e-06 | 2.1725e-06 | 0.023905 | 0.023905 | 0.023905 | 0.98919 | -0.20777 | 0.98894 | -0.21272 | 6.5673
3 | -0.025097 | -0.0062894 | 0.025105 | 0.0062944 | 8.0443e-06 | 4.9551e-06 | 0.037753 | 0.037753 | 0.037753 | 0.98919 | -0.20777 | 0.98954 | -0.20104 | 10.3716
4 | 0.0068475 | 0.001716 | -0.0068473 | -0.0017159 | 1.413e-07 | 4.4891e-08 | 0.010303 | 0.010303 | 0.010303 | 0.98894 | -0.21272 | 0.98892 | -0.21315 | 2.8305
5 | 0.0090403 | 0.0022641 | -0.0090393 | -0.0022637 | 9.6082e-07 | 4.3726e-07 | 0.013602 | 0.013602 | 0.013602 | 0.98894 | -0.21272 | 0.98882 | -0.21495 | 3.7368
6 | -0.026544 | -0.006655 | 0.026551 | 0.0066591 | 6.6722e-06 | 4.1267e-06 | 0.039916 | 0.039916 | 0.039916 | 0.98954 | -0.20104 | 0.98981 | -0.19577 | 10.966
7 | 0.004747 | 0.0011895 | -0.0047466 | -0.0011895 | 3.1192e-07 | -9.5346e-09 | 0.0071427 | 0.0071427 | 0.0071427 | 0.98892 | -0.21315 | 0.98884 | -0.21453 | 1.9623
8 | 0.0073746 | 0.0018464 | -0.0073738 | -0.0018462 | 7.642e-07 | 2.7683e-07 | 0.011097 | 0.011097 | 0.011097 | 0.98882 | -0.21495 | 0.98871 | -0.21713 | 3.0486
9 | 0.015673 | 0.003931 | -0.015671 | -0.0039297 | 2.2718e-06 | 1.3137e-06 | 0.023563 | 0.023563 | 0.023563 | 0.98981 | -0.19577 | 0.98965 | -0.19881 | 6.4733
10 | -0.042224 | -0.01059 | 0.04224 | 0.0106 | 1.6185e-05 | 1.022e-05 | 0.063479 | 0.063479 | 0.063479 | 0.98981 | -0.19577 | 0.99022 | -0.18773 | 17.4393
11 | 0.003207 | 0.00080365 | -0.0032069 | -0.00080373 | 9.6385e-08 | -7.9883e-08 | 0.0048259 | 0.0048259 | 0.0048259 | 0.98884 | -0.21453 | 0.98881 | -0.21516 | 1.3258
12 | 0.0051084 | 0.0012784 | -0.0051079 | -0.0012784 | 5.5875e-07 | 3.4303e-08 | 0.0076875 | 0.0076877 | 0.0076877 | 0.98871 | -0.21713 | 0.98859 | -0.21943 | 2.112
13 | 0.014381 | 0.0036065 | -0.014374 | -0.0036025 | 7.0195e-06 | 3.9784e-06 | 0.021624 | 0.021624 | 0.021624 | 0.98965 | -0.19881 | 0.98913 | -0.20906 | 5.9406
14 | -0.044347 | -0.011128 | 0.044375 | 0.011146 | 2.8159e-05 | 1.7804e-05 | 0.066645 | 0.066645 | 0.066645 | 0.99022 | -0.18773 | 0.99091 | -0.17443 | 18.3092
15 | 0.086674 | 0.02177 | -0.086551 | -0.021692 | 0.00012234 | 7.8049e-05 | 0.13025 | 0.13025 | 0.13025 | 0.99031 | -0.18599 | 0.98878 | -0.21561 | 35.7831
16 | -0.088214 | -0.022156 | 0.088474 | 0.022322 | 0.00026028 | 0.00016607 | 0.13257 | 0.13256 | 0.13257 | 0.99031 | -0.18599 | 0.9935 | -0.12435 | 36.419
17 | 0.0071088 | 0.0017817 | -0.0071083 | -0.0017815 | 4.266e-07 | 1.4553e-07 | 0.010698 | 0.010698 | 0.010698 | 0.98878 | -0.21561 | 0.98872 | -0.21687 | 2.939
18 | -0.092654 | -0.023369 | 0.092764 | 0.02344 | 0.00011024 | 7.0358e-05 | 0.13883 | 0.13883 | 0.13883 | 0.9935 | -0.12435 | 0.99479 | -0.099532 | 38.1388
19 | 0.0018565 | 0.00046494 | -0.0018564 | -0.00046526 | 8.3865e-08 | -3.209e-07 | 0.0027804 | 0.0027805 | 0.0027805 | 0.9935 | -0.12435 | 0.99345 | -0.1253 | 0.76389
20 | 0.28642 | 0.072276 | -0.28572 | -0.07183 | 0.00069854 | 0.00044589 | 0.4286 | 0.4286 | 0.4286 | 0.99479 | -0.099532 | 0.99214 | -0.1506 | 39.2492
21 | -0.37918 | -0.095716 | 0.381 | 0.096877 | 0.0018173 | 0.0011613 | 0.56743 | 0.56742 | 0.56743 | 0.99479 | -0.099532 | 1 | 0 | 51.962
22 | 0.21061 | 0.053006 | -0.21037 | -0.052853 | 0.00023957 | 0.000153 | 0.31595 | 0.31595 | 0.31595 | 0.99214 | -0.1506 | 0.99091 | -0.17443 | 43.4
23 | 0.12826 | 0.032418 | -0.12773 | -0.032084 | 0.00052273 | 0.00033405 | 0.19095 | 0.19095 | 0.19095 | 1 | 0 | 0.99555 | -0.085377 | 52.4575
24 | 0.166 | 0.041707 | -0.16584 | -0.041606 | 0.00015878 | 0.00010127 | 0.24931 | 0.24931 | 0.24931 | 0.99091 | -0.17443 | 0.98988 | -0.19449 | 34.2454
25 | 0.039898 | 0.010018 | -0.039862 | -0.0099954 | 3.5537e-05 | 2.2398e-05 | 0.05964 | 0.059641 | 0.059641 | 0.99555 | -0.085377 | 0.99458 | -0.10407 | 16.3848
26 | 0.087837 | 0.022066 | -0.087715 | -0.021988 | 0.00012157 | 7.7559e-05 | 0.1313 | 0.1313 | 0.1313 | 0.99555 | -0.085377 | 0.99405 | -0.11442 | 36.0728
27 | -0.0025961 | -0.00065065 | 0.0025965 | 0.00065011 | 3.369e-07 | -5.3769e-07 | 0.0039092 | 0.003909 | 0.0039092 | 0.98819 | -0.22721 | 0.98833 | -0.22448 | 1.074
28 | -0.0025965 | -0.00065011 | 0.0025969 | 0.00064949 | 3.909e-07 | -6.2428e-07 | 0.003909 | 0.0039087 | 0.003909 | 0.98833 | -0.22448 | 0.9885 | -0.22132 | 1.0739
29 | -0.0025969 | -0.00064949 | 0.0025971 | 0.00064912 | 2.3354e-07 | -3.7317e-07 | 0.0039087 | 0.0039085 | 0.0039087 | 0.9885 | -0.22132 | 0.98859 | -0.21943 | 1.0738
30 | -0.0090513 | -0.0022685 | 0.0090515 | 0.0022685 | 1.7412e-07 | 7.9295e-08 | 0.013617 | 0.013617 | 0.013617 | 0.98911 | -0.20946 | 0.98913 | -0.20906 | 3.7409
31 | 0.08403 | 0.021103 | -0.083919 | -0.021032 | 0.00011119 | 7.0926e-05 | 0.12633 | 0.12633 | 0.12633 | 0.98988 | -0.19449 | 0.98845 | -0.22226 | 34.7068
32 | 0.01604 | 0.004025 | -0.016035 | -0.0040221 | 4.9707e-06 | 2.8833e-06 | 0.024013 | 0.024013 | 0.024013 | 0.99405 | -0.11442 | 0.99371 | -0.12092 | 6.5969
33 | 0.016035 | 0.0040221 | -0.016025 | -0.0040163 | 1.0093e-05 | 5.8554e-06 | 0.024013 | 0.024013 | 0.024013 | 0.99371 | -0.12092 | 0.99303 | -0.13413 | 6.597
34 | 0.015138 | 0.0037989 | -0.015137 | -0.0037984 | 7.9059e-07 | 4.5265e-07 | 0.02265 | 0.02265 | 0.02265 | 0.99458 | -0.10407 | 0.99453 | -0.10516 | 6.2225
35 | 0.015137 | 0.0037984 | -0.015126 | -0.0037918 | 1.1477e-05 | 6.5719e-06 | 0.02265 | 0.02265 | 0.02265 | 0.99453 | -0.10516 | 0.9937 | -0.12107 | 6.2226
36 | 0.010996 | 0.0027568 | -0.010994 | -0.0027559 | 1.8669e-06 | 9.5698e-07 | 0.016466 | 0.016466 | 0.016466 | 0.9937 | -0.12107 | 0.99352 | -0.12464 | 4.5237
37 | 0.004387 | 0.0010994 | -0.0043867 | -0.0010994 | 2.4121e-07 | -3.814e-08 | 0.006574 | 0.0065741 | 0.0065741 | 0.99298 | -0.1351 | 0.99292 | -0.13626 | 1.8061
38 | -0.008032 | -0.0020129 | 0.008036 | 0.0020145 | 4.0067e-06 | 1.6097e-06 | 0.012036 | 0.012036 | 0.012036 | 0.99298 | -0.1351 | 0.99352 | -0.12464 | 3.3067

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57928 | 0.14643

## res_load
| p_mw | q_mvar
0 | 0.0055023 | 0.001379
1 | 0.0037014 | 0.00092766
2 | 0.0014388 | 0.00036061
3 | 0.0021004 | 0.00052641
4 | 0.0016647 | 0.00041723
5 | 0.0015396 | 0.00038587
6 | 0.0022654 | 0.00056776
7 | 0.0012898 | 0.00032324
8 | 0.002107 | 0.00052808
9 | 0.0015404 | 0.00038607
10 | 0.079443 | 0.01991
11 | 0.0023233 | 0.00058229
12 | 0.0071083 | 0.0017815
13 | 0.0018564 | 0.00046526
14 | 0.075109 | 0.018824
15 | 0.068373 | 0.017136
16 | 0.0025961 | 0.00065065
17 | 0.0025108 | 0.00062926
18 | 0.0090513 | 0.0022685
19 | 0.0053225 | 0.0013339
20 | 0.081806 | 0.020503
21 | 0.083919 | 0.021032
22 | 0.071675 | 0.017963
23 | 0.024724 | 0.0061965
24 | 0.016025 | 0.0040163
25 | 0.0041298 | 0.001035
26 | 0.0036451 | 0.00091354
27 | 0.0043867 | 0.0010994
28 | 0.002958 | 0.00074134
29 | 0.0032069 | 0.00080373

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1