## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-12_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_2546-12_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_2546-12_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_2546-12_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_2546-12_1_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2546-12_1_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2546-12_1_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2546-12_1_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2546-12_1_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2546-12_1_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2546-12_1_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_2546-12_1_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2546-12_1_2_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_2546-12_1_2_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_2546-12_1_2_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_2546-12_1_2_node_105 | 0.4 | n |  | TRUE
16 | bus_LV_2546-12_1_2_node_103 | 0.4 | n |  | TRUE
17 | bus_LV_2546-12_1_2_node_183 | 0.4 | n |  | TRUE
18 | bus_LV_2546-12_1_2_node_181 | 0.4 | n |  | TRUE
19 | bus_LV_2546-12_1_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2546-12_1_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2546-12_1_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2546-12_1_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2546-12_1_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2546-12_1_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2546-12_1_2_node_143 | 0.4 | n |  | TRUE
26 | bus_LV_2546-12_1_2_node_127 | 0.4 | n |  | TRUE
27 | bus_LV_2546-12_1_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2546-12_1_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2546-12_1_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2546-12_1_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2546-12_1_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2546-12_1_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2546-12_1_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2546-12_1_2_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_2546-12_1_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2546-12_1_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2546-12_1_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_2546-12_1_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2546-12_1_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2546-12_1_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_2546-12_1_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2546-12_1_2_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_2546-12_1_2_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_2546-12_1_2_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_2546-12_1_2_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_2546-12_1_2_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_2546-12_1_2_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_2546-12_1_2_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_2546-12_1_2_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_2546-12_1_2_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2546-12_1_2_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_2546-12_1_2_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_2546-12_1_2_node_168 | 0.4 | n |  | TRUE
54 | bus_LV_2546-12_1_2_node_133 | 0.4 | n |  | TRUE
55 | bus_LV_2546-12_1_2_node_125 | 0.4 | n |  | TRUE
56 | bus_LV_2546-12_1_2_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_2546-12_1_2_node_111 | 0.4 | n |  | TRUE
58 | bus_LV_2546-12_1_2_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_2546-12_1_2_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_2546-12_1_2_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_2546-12_1_2_node_166 | 0.4 | n |  | TRUE
62 | bus_LV_2546-12_1_2_node_167 | 0.4 | n |  | TRUE
63 | bus_LV_2546-12_1_2_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_2546-12_1_2_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_2546-12_1_2_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_2546-12_1_2_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_2546-12_1_2_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_2546-12_1_2_node_109 | 0.4 | n |  | TRUE
69 | bus_LV_2546-12_1_2_node_112 | 0.4 | n |  | TRUE
70 | bus_LV_2546-12_1_2_node_114 | 0.4 | n |  | TRUE
71 | bus_LV_2546-12_1_2_node_160 | 0.4 | n |  | TRUE
72 | bus_LV_2546-12_1_2_node_126 | 0.4 | n |  | TRUE
73 | bus_LV_2546-12_1_2_node_161 | 0.4 | n |  | TRUE
74 | bus_LV_2546-12_1_2_node_132 | 0.4 | n |  | TRUE
75 | bus_LV_2546-12_1_2_node_134 | 0.4 | n |  | TRUE
76 | bus_LV_2546-12_1_2_node_144 | 0.4 | n |  | TRUE
77 | bus_LV_2546-12_1_2_node_170 | 0.4 | n |  | TRUE
78 | bus_LV_2546-12_1_2_node_162 | 0.4 | n |  | TRUE
79 | bus_LV_2546-12_1_2_node_169 | 0.4 | n |  | TRUE
80 | bus_LV_2546-12_1_2_node_173 | 0.4 | n |  | TRUE
81 | bus_LV_2546-12_1_2_node_171 | 0.4 | n |  | TRUE
82 | bus_LV_2546-12_1_2_node_172 | 0.4 | n |  | TRUE
83 | bus_LV_2546-12_1_2_node_180 | 0.4 | n |  | TRUE
84 | bus_LV_2546-12_1_2_node_182 | 0.4 | n |  | TRUE
85 | bus_LV_2546-12_1_2_node_197 | 0.4 | n |  | TRUE
86 | bus_LV_2546-12_1_2_node_191 | 0.4 | n |  | TRUE
87 | bus_LV_2546-12_1_2_node_196 | 0.4 | n |  | TRUE
88 | bus_LV_2546-12_1_2_node_194 | 0.4 | n |  | TRUE
89 | bus_LV_2546-12_1_2_node_195 | 0.4 | n |  | TRUE
90 | bus_MV_521_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-12_1_2_load_6 | 0 | 0.0035933 | 0.00090056 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-12_1_2_load_9 | 3 | 0.0021318 | 0.00053429 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-12_1_2_load_13 | 4 | 0.0071963 | 0.0018036 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-12_1_2_load_14 | 5 | 0.013392 | 0.0033563 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-12_1_2_load_11 | 8 | 0.0039549 | 0.0009912 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-12_1_2_load_12 | 9 | 0.0040791 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-12_1_2_load_95 | 13 | 0.0090138 | 0.0022591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-12_1_2_load_90 | 14 | 0.0037534 | 0.0009407 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-12_1_2_load_105 | 15 | 0.0035305 | 0.00088483 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-12_1_2_load_103 | 16 | 0.0012205 | 0.00030588 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-12_1_2_load_183 | 17 | 0.0028531 | 0.00071506 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-12_1_2_load_181 | 18 | 0.0029736 | 0.00074525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-12_1_2_load_18 | 19 | 0.0029316 | 0.00073473 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-12_1_2_load_19 | 20 | 0.001202 | 0.00030126 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-12_1_2_load_20 | 21 | 0.0025281 | 0.00063359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-12_1_2_load_21 | 22 | 0.0025509 | 0.00063931 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-12_1_2_load_22 | 23 | 0.0026111 | 0.0006544 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-12_1_2_load_143 | 25 | 0.0083624 | 0.0020958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-12_1_2_load_127 | 26 | 0.0082598 | 0.0020701 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-12_1_2_load_24 | 27 | 0.0024761 | 0.00062056 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-12_1_2_load_25 | 28 | 0.0017596 | 0.000441 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-12_1_2_load_26 | 29 | 0.0024332 | 0.00060981 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-12_1_2_load_27 | 30 | 0.0021629 | 0.00054208 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-12_1_2_load_28 | 31 | 0.0031146 | 0.0007806 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-12_1_2_load_29 | 32 | 0.0010308 | 0.00025835 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-12_1_2_load_87 | 34 | 0.0017011 | 0.00042632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-12_1_2_load_37 | 35 | 0.0017655 | 0.00044247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-12_1_2_load_38 | 36 | 0.00093944 | 0.00023545 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-12_1_2_load_39 | 37 | 0.0035548 | 0.00089093 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-12_1_2_load_40 | 38 | 0.0020295 | 0.00050865 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-12_1_2_load_42 | 40 | 0.0013197 | 0.00033075 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-12_1_2_load_43 | 41 | 0.0028571 | 0.00071606 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-12_1_2_load_106 | 42 | 0.0026771 | 0.00067094 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-12_1_2_load_75 | 43 | 0.020269 | 0.0050798 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-12_1_2_load_77 | 45 | 0.00075708 | 0.00018974 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-12_1_2_load_82 | 47 | 0.0035177 | 0.00088161 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-12_1_2_load_84 | 48 | 0.0012765 | 0.00031992 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-12_1_2_load_80 | 49 | 0.017023 | 0.0042663 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-12_1_2_load_81 | 51 | 0.0027151 | 0.00068046 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-12_1_2_load_133 | 54 | 0.0018301 | 0.00045866 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-12_1_2_load_125 | 55 | 0.018624 | 0.0046675 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2546-12_1_2_load_113 | 56 | 0.001282 | 0.00032129 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2546-12_1_2_load_111 | 57 | 0.001079 | 0.00027043 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2546-12_1_2_load_88 | 58 | 0.003484 | 0.00087317 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2546-12_1_2_load_166 | 61 | 0.0042979 | 0.0010772 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2546-12_1_2_load_96 | 63 | 0.0091069 | 0.0022824 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2546-12_1_2_load_102 | 64 | 0.0018584 | 0.00046576 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2546-12_1_2_load_104 | 65 | 0.0030754 | 0.00077077 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2546-12_1_2_load_108 | 67 | 0.0016077 | 0.00040293 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2546-12_1_2_load_112 | 69 | 0.001392 | 0.00034886 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2546-12_1_2_load_114 | 70 | 0.0027606 | 0.00069187 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2546-12_1_2_load_160 | 71 | 0.0024027 | 0.00060217 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2546-12_1_2_load_161 | 73 | 0.0012009 | 0.00030097 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2546-12_1_2_load_132 | 74 | 0.0019966 | 0.00050039 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2546-12_1_2_load_134 | 75 | 0.010388 | 0.0026034 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2546-12_1_2_load_144 | 76 | 0.0020643 | 0.00051737 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2546-12_1_2_load_170 | 77 | 0.0080532 | 0.0020183 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2546-12_1_2_load_162 | 78 | 0.0010909 | 0.0002734 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2546-12_1_2_load_169 | 79 | 0.0029789 | 0.00074658 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2546-12_1_2_load_173 | 80 | 0.0024685 | 0.00061866 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2546-12_1_2_load_171 | 81 | 0.0043845 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2546-12_1_2_load_172 | 82 | 0.003882 | 0.00097291 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2546-12_1_2_load_180 | 83 | 0.0021175 | 0.00053068 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2546-12_1_2_load_182 | 84 | 0.0024818 | 0.00062199 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2546-12_1_2_load_197 | 85 | 0.0030718 | 0.00076987 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2546-12_1_2_load_196 | 87 | 0.0034688 | 0.00086935 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2546-12_1_2_load_194 | 88 | 0.0020791 | 0.00052108 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2546-12_1_2_load_195 | 89 | 0.0029599 | 0.00074183 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-12_1_2_line_0 |  | 0 | 1 | 0.0084476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-12_1_2_line_1 |  | 1 | 2 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2546-12_1_2_line_2 |  | 1 | 3 | 0.031624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2546-12_1_2_line_3 |  | 2 | 4 | 0.010639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2546-12_1_2_line_4 |  | 2 | 5 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-12_1_2_line_5 |  | 3 | 6 | 0.0018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2546-12_1_2_line_6 |  | 4 | 12 | 0.012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2546-12_1_2_line_7 |  | 6 | 13 | 0.046582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-12_1_2_line_8 |  | 6 | 14 | 0.01722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2546-12_1_2_line_9 |  | 7 | 8 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-12_1_2_line_10 |  | 7 | 9 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-12_1_2_line_11 |  | 8 | 10 | 0.013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-12_1_2_line_12 |  | 9 | 11 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-12_1_2_line_13 |  | 10 | 15 | 0.014069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-12_1_2_line_14 |  | 10 | 16 | 0.010063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-12_1_2_line_15 |  | 11 | 17 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-12_1_2_line_16 |  | 11 | 18 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-12_1_2_line_17 |  | 12 | 46 | 0.00801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2546-12_1_2_line_18 |  | 14 | 33 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2546-12_1_2_line_19 |  | 16 | 64 | 0.026833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-12_1_2_line_20 |  | 17 | 85 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-12_1_2_line_21 |  | 18 | 83 | 0.00018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-12_1_2_line_22 |  | 19 | 20 | 0.0011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-12_1_2_line_23 |  | 19 | 21 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-12_1_2_line_24 |  | 20 | 22 | 0.010177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-12_1_2_line_25 |  | 21 | 23 | 0.0030793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-12_1_2_line_26 |  | 22 | 24 | 0.026636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-12_1_2_line_27 |  | 24 | 25 | 0.0044576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-12_1_2_line_28 |  | 24 | 26 | 0.031836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-12_1_2_line_29 |  | 25 | 76 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-12_1_2_line_30 |  | 27 | 28 | 0.0012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-12_1_2_line_31 |  | 27 | 29 | 0.00061915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-12_1_2_line_32 |  | 28 | 30 | 0.0025752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-12_1_2_line_33 |  | 29 | 31 | 0.022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-12_1_2_line_34 |  | 30 | 32 | 0.0049688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-12_1_2_line_35 |  | 31 | 33 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-12_1_2_line_36 |  | 33 | 34 | 0.029949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2546-12_1_2_line_37 |  | 34 | 58 | 0.033442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-12_1_2_line_38 |  | 35 | 36 | 0.0080665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-12_1_2_line_39 |  | 35 | 37 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-12_1_2_line_40 |  | 36 | 38 | 0.017326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-12_1_2_line_41 |  | 37 | 39 | 0.049895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-12_1_2_line_42 |  | 38 | 40 | 0.0018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-12_1_2_line_43 |  | 39 | 41 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-12_1_2_line_44 |  | 40 | 42 | 0.03792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-12_1_2_line_45 |  | 42 | 66 | 0.032675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2546-12_1_2_line_46 |  | 43 | 44 | 0.057021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2546-12_1_2_line_47 |  | 44 | 45 | 0.042144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-12_1_2_line_48 |  | 44 | 46 | 0.00656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2546-12_1_2_line_49 |  | 45 | 47 | 0.031263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2546-12_1_2_line_50 |  | 46 | 48 | 0.041312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2546-12_1_2_line_51 |  | 47 | 53 | 0.040235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2546-12_1_2_line_52 |  | 48 | 54 | 0.0023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2546-12_1_2_line_53 |  | 49 | 50 | 0.031358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2546-12_1_2_line_54 |  | 50 | 55 | 0.011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2546-12_1_2_line_55 |  | 51 | 52 | 0.031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2546-12_1_2_line_56 |  | 52 | 56 | 0.010186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2546-12_1_2_line_57 |  | 52 | 57 | 0.009042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2546-12_1_2_line_58 |  | 53 | 79 | 0.005932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2546-12_1_2_line_59 |  | 53 | 77 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2546-12_1_2_line_60 |  | 54 | 65 | 0.036997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2546-12_1_2_line_61 |  | 54 | 74 | 0.021684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2546-12_1_2_line_62 |  | 55 | 72 | 0.046744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2546-12_1_2_line_63 |  | 56 | 70 | 0.0031474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2546-12_1_2_line_64 |  | 57 | 69 | 0.019445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2546-12_1_2_line_65 |  | 58 | 59 | 0.0044359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2546-12_1_2_line_66 |  | 59 | 60 | 0.051693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2546-12_1_2_line_67 |  | 60 | 61 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2546-12_1_2_line_68 |  | 60 | 62 | 0.009884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2546-12_1_2_line_69 |  | 62 | 63 | 0.022368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2546-12_1_2_line_70 |  | 62 | 78 | 0.011232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2546-12_1_2_line_71 |  | 64 | 65 | 0.0085914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2546-12_1_2_line_72 |  | 66 | 67 | 0.028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2546-12_1_2_line_73 |  | 67 | 68 | 0.042941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2546-12_1_2_line_74 |  | 68 | 69 | 0.038418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2546-12_1_2_line_75 |  | 70 | 71 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2546-12_1_2_line_76 |  | 71 | 72 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2546-12_1_2_line_77 |  | 72 | 73 | 0.0040637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2546-12_1_2_line_78 |  | 73 | 78 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2546-12_1_2_line_79 |  | 74 | 75 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2546-12_1_2_line_80 |  | 76 | 77 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2546-12_1_2_line_81 |  | 79 | 80 | 0.028896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2546-12_1_2_line_82 |  | 80 | 81 | 0.012878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2546-12_1_2_line_83 |  | 81 | 82 | 0.048497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2546-12_1_2_line_84 |  | 83 | 84 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2546-12_1_2_line_85 |  | 85 | 86 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2546-12_1_2_line_86 |  | 86 | 87 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2546-12_1_2_line_87 |  | 87 | 89 | 0.0020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2546-12_1_2_line_88 |  | 88 | 89 | 0.020486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-12_1_2_trafo_75 | 0.63 MVA 20/0.4 kV | 90 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2596927.5567 | 1227858.0029 | 2596935.9562 | 1227858.903
1 | 2596927.5567 | 1227858.0029 | 2596930.0775 | 1227867.874 | 2596932.2209 | 1227880.4136
2 | 2596927.5567 | 1227858.0029 | 2596925.4036 | 1227855.6026 | 2596918.5281 | 1227849.7694 | 2596909.1288 | 1227842.8815 | 2596902.6698 | 1227838.6355
3 | 2596932.2209 | 1227880.4136 | 2596934.0109 | 1227890.9005
4 | 2596932.2209 | 1227880.4136 | 2596908.7546 | 1227880.1148 | 2596908.868 | 1227876.7532
5 | 2596901.1019 | 1227837.6049 | 2596902.6698 | 1227838.6355
6 | 2596937.1046 | 1227902.5018 | 2596934.9191 | 1227896.2215 | 2596934.0109 | 1227890.9005
7 | 2596901.1019 | 1227837.6049 | 2596893.1255 | 1227841.9117 | 2596886.9658 | 1227842.8933 | 2596855.7433 | 1227840.9954
8 | 2596901.1019 | 1227837.6049 | 2596886.342 | 1227828.7345
9 | 2597002.904 | 1227859.6978 | 2597019.1731 | 1227861.9463 | 2597020.3378 | 1227862.0977
10 | 2597002.904 | 1227859.6978 | 2597004.649 | 1227849.039
11 | 2597033.2295 | 1227863.7735 | 2597020.3378 | 1227862.0977
12 | 2597006.6428 | 1227836.8602 | 2597004.649 | 1227849.039
13 | 2597033.2295 | 1227863.7735 | 2597047.1616 | 1227865.7314
14 | 2597033.2295 | 1227863.7735 | 2597028.1313 | 1227872.4495
15 | 2597006.6428 | 1227836.8602 | 2597009.8694 | 1227834.4237 | 2597013.2662 | 1227827.0106
16 | 2597006.6428 | 1227836.8602 | 2596978.1426 | 1227831.4606 | 2596972.298 | 1227828.1197
17 | 2596941.0635 | 1227909.4705 | 2596937.1046 | 1227902.5018
18 | 2596874.8008 | 1227821.7985 | 2596886.342 | 1227828.7345
19 | 2597013.2081 | 1227894.521 | 2597017.5587 | 1227890.4417 | 2597028.1313 | 1227872.4495
20 | 2597013.2662 | 1227827.0106 | 2597022.8093 | 1227806.1837
21 | 2596972.1374 | 1227828.028 | 2596972.298 | 1227828.1197
22 | 2596825.262 | 1228028.5455 | 2596826.3633 | 1228028.5315
23 | 2596807.8834 | 1228028.7667 | 2596825.262 | 1228028.5455
24 | 2596836.0117 | 1228026.9628 | 2596834.232 | 1228028.4313 | 2596826.3633 | 1228028.5315
25 | 2596807.8834 | 1228028.7667 | 2596804.8044 | 1228028.8059
26 | 2596841.8621 | 1228000.9776 | 2596836.0117 | 1228026.9628 | 2596836.0117 | 1228026.9628
27 | 2596841.8621 | 1228000.9776 | 2596845.4994 | 1228001.6983 | 2596846.2433 | 1228001.7908
28 | 2596841.8621 | 1228000.9776 | 2596810.6332 | 1227994.7926
29 | 2596846.2433 | 1228001.7908 | 2596854.4028 | 1228002.8052 | 2596864.5032 | 1228003.6003 | 2596872.0856 | 1228003.5992
30 | 2596893.2206 | 1227788.7716 | 2596892.5916 | 1227789.8993
31 | 2596892.29 | 1227790.4401 | 2596892.5916 | 1227789.8993
32 | 2596893.2206 | 1227788.7716 | 2596894.4749 | 1227786.5226
33 | 2596892.29 | 1227790.4401 | 2596881.2552 | 1227810.2258
34 | 2596896.8951 | 1227782.1831 | 2596894.4749 | 1227786.5226
35 | 2596874.8008 | 1227821.7985 | 2596881.2552 | 1227810.2258
36 | 2596874.8008 | 1227821.7985 | 2596854.1996 | 1227809.5024 | 2596848.8267 | 1227806.9301
37 | 2596848.8267 | 1227806.9301 | 2596840.0039 | 1227802.7061 | 2596836.1992 | 1227800.896 | 2596825.6037 | 1227795.9989 | 2596818.9825 | 1227791.9252
38 | 2596691.8784 | 1227863.8177 | 2596690.7418 | 1227855.8316 | 2596690.7418 | 1227855.8316
39 | 2596686.6961 | 1227841.2977 | 2596687.4311 | 1227843.3706 | 2596690.7418 | 1227855.8316
40 | 2596691.8784 | 1227863.8177 | 2596692.4078 | 1227867.5376 | 2596691.0434 | 1227879.7678 | 2596690.7475 | 1227880.9952
41 | 2596659.8029 | 1227799.9941 | 2596664.2227 | 1227804.1607 | 2596668.4686 | 1227808.9166 | 2596671.5319 | 1227812.5726 | 2596675.1565 | 1227817.3289 | 2596678.5161 | 1227822.5189 | 2596681.7779 | 1227828.8319 | 2596684.7748 | 1227835.8788 | 2596686.6961 | 1227841.2977
42 | 2596690.7475 | 1227880.9952 | 2596690.3181 | 1227882.7767
43 | 2596659.8029 | 1227799.9941 | 2596667.8615 | 1227793.9971 | 2596671.5579 | 1227791.7937 | 2596674.2846 | 1227789.9466 | 2596676.6698 | 1227787.1769 | 2596677.5023 | 1227785.3976 | 2596677.8801 | 1227783.4963 | 2596677.9396 | 1227781.584 | 2596677.9374 | 1227781.5644
44 | 2596681.8776 | 1227919.7251 | 2596682.5015 | 1227915.2047 | 2596690.3181 | 1227882.7767
45 | 2596679.6889 | 1227952.2059 | 2596679.1014 | 1227945.102 | 2596679.6039 | 1227936.1965 | 2596681.8776 | 1227919.7251
46 | 2596944.3927 | 1227915.1277 | 2596932.1946 | 1227916.635 | 2596926.1804 | 1227920.3404 | 2596925.6519 | 1227923.8649 | 2596919.4564 | 1227928.4598 | 2596893.982 | 1227927.4172 | 2596893.4801 | 1227928.1561
47 | 2596944.3927 | 1227915.1277 | 2596949.4132 | 1227923.6634 | 2596953.4855 | 1227930.2652 | 2596955.3079 | 1227937.7464 | 2596954.9407 | 1227945.4734 | 2596952.6922 | 1227954.2386
48 | 2596941.0635 | 1227909.4705 | 2596944.3927 | 1227915.1277
49 | 2596931.2725 | 1227976.1847 | 2596948.9105 | 1227961.8529 | 2596952.3622 | 1227955.5251 | 2596952.6922 | 1227954.2386
50 | 2596941.0635 | 1227909.4705 | 2596952.9673 | 1227910.098 | 2596957.9611 | 1227911.3072 | 2596978.2191 | 1227924.6429
51 | 2596904.1919 | 1228005.4912 | 2596906.0841 | 1228001.6212 | 2596910.5966 | 1227995.4596 | 2596925.5533 | 1227980.832 | 2596931.2725 | 1227976.1847
52 | 2596980.1547 | 1227925.9171 | 2596978.2191 | 1227924.6429
53 | 2596847.049 | 1227897.2692 | 2596846.1536 | 1227922.8069 | 2596842.7996 | 1227927.5449
54 | 2596847.049 | 1227897.2692 | 2596839.3166 | 1227890.2804 | 2596838.1798 | 1227889.8696
55 | 2596773.3158 | 1227922.3689 | 2596778.1032 | 1227933.8286 | 2596782.8812 | 1227941.9418 | 2596790.1431 | 1227947.7523
56 | 2596773.3158 | 1227922.3689 | 2596777.1009 | 1227916.1965 | 2596778.6778 | 1227913.7085
57 | 2596773.3158 | 1227922.3689 | 2596767.9595 | 1227929.6537
58 | 2596904.1919 | 1228005.4912 | 2596909.1265 | 1228008.7834
59 | 2596904.1919 | 1228005.4912 | 2596898.4934 | 1228004.0378 | 2596892.3028 | 1228003.5964 | 2596887.2725 | 1228003.5971
60 | 2596980.1547 | 1227925.9171 | 2597006.9408 | 1227900.3975
61 | 2596980.1547 | 1227925.9171 | 2596998.2667 | 1227937.8401
62 | 2596791.4815 | 1227887.8496 | 2596836.3386 | 1227889.8706 | 2596838.1798 | 1227889.8696
63 | 2596778.6778 | 1227913.7085 | 2596780.3628 | 1227911.0502
64 | 2596767.9595 | 1227929.6537 | 2596762.7009 | 1227936.8055 | 2596756.8218 | 1227945.5876
65 | 2596815.2043 | 1227789.6008 | 2596818.9825 | 1227791.9252
66 | 2596815.2043 | 1227789.6008 | 2596813.9026 | 1227792.4032 | 2596812.2002 | 1227796.8067 | 2596810.4009 | 1227804.2009 | 2596807.2979 | 1227824.7036 | 2596804.6013 | 1227840.003
67 | 2596804.6013 | 1227840.003 | 2596794.9026 | 1227839.9972 | 2596792.5991 | 1227839.7984 | 2596790.4015 | 1227839.2993 | 2596788.4003 | 1227837.7995 | 2596777.4022 | 1227831.1017
68 | 2596804.6013 | 1227840.003 | 2596803.3018 | 1227846.8967 | 2596802.5078 | 1227849.6543
69 | 2596802.5078 | 1227849.6543 | 2596824.8657 | 1227850.32
70 | 2596802.5078 | 1227849.6543 | 2596799.3926 | 1227860.4454
71 | 2597006.9408 | 1227900.3975 | 2597013.2081 | 1227894.521
72 | 2596679.6889 | 1227952.2059 | 2596686.8936 | 1227950.6008 | 2596697.2888 | 1227949.9056 | 2596702.4868 | 1227950.3029 | 2596706.4878 | 1227950.901 | 2596707.3687 | 1227951.4167
73 | 2596739.4865 | 1227979.7994 | 2596737.1898 | 1227978.1998 | 2596722.4902 | 1227964.1998 | 2596712.3926 | 1227955.1001 | 2596709.3907 | 1227952.6003 | 2596707.3687 | 1227951.4167
74 | 2596739.4865 | 1227979.7994 | 2596744.2013 | 1227969.802 | 2596752.7985 | 1227951.5976 | 2596756.8218 | 1227945.5876
75 | 2596787.2294 | 1227899.6568 | 2596785.398 | 1227903.1064 | 2596780.3628 | 1227911.0502
76 | 2596791.4815 | 1227887.8496 | 2596790.4 | 1227891.5968 | 2596788.0018 | 1227898.2021 | 2596787.2294 | 1227899.6568
77 | 2596791.4815 | 1227887.8496 | 2596792.6086 | 1227883.9453
78 | 2596792.6086 | 1227883.9453 | 2596799.3926 | 1227860.4454
79 | 2597007.1526 | 1227943.6896 | 2596998.2667 | 1227937.8401
80 | 2596887.2725 | 1228003.5971 | 2596872.0856 | 1228003.5992
81 | 2596909.1265 | 1228008.7834 | 2596909.2703 | 1228008.8794 | 2596917.0694 | 1228013.5891 | 2596924.4279 | 1228016.2979 | 2596936.1109 | 1228017.7326
82 | 2596948.5647 | 1228020.9565 | 2596937.4989 | 1228017.9031 | 2596936.1109 | 1228017.7326
83 | 2596948.5647 | 1228020.9565 | 2596960.7026 | 1228024.3058 | 2596971.0991 | 1228026.3015 | 2596980.397 | 1228028.498 | 2596991.3019 | 1228032.0055 | 2596995.272 | 1228033.6844
84 | 2596956.4959 | 1227819.0869 | 2596972.1374 | 1227828.028
85 | 2597029.5327 | 1227791.5105 | 2597022.8093 | 1227806.1837
86 | 2597029.5327 | 1227791.5105 | 2597044.6973 | 1227798.5908
87 | 2597044.6973 | 1227798.5908 | 2597046.5372 | 1227799.4499
88 | 2597065.0992 | 1227808.1164 | 2597046.5372 | 1227799.4499

## bus_geodata
| x | y | coords
0 | 2596935.9562 | 1227858.903
1 | 2596927.5567 | 1227858.0029
2 | 2596932.2209 | 1227880.4136
3 | 2596902.6698 | 1227838.6355
4 | 2596934.0109 | 1227890.9005
5 | 2596908.868 | 1227876.7532
6 | 2596901.1019 | 1227837.6049
7 | 2597002.904 | 1227859.6978
8 | 2597020.3378 | 1227862.0977
9 | 2597004.649 | 1227849.039
10 | 2597033.2295 | 1227863.7735
11 | 2597006.6428 | 1227836.8602
12 | 2596937.1046 | 1227902.5018
13 | 2596855.7433 | 1227840.9954
14 | 2596886.342 | 1227828.7345
15 | 2597047.1616 | 1227865.7314
16 | 2597028.1313 | 1227872.4495
17 | 2597013.2662 | 1227827.0106
18 | 2596972.298 | 1227828.1197
19 | 2596825.262 | 1228028.5455
20 | 2596826.3633 | 1228028.5315
21 | 2596807.8834 | 1228028.7667
22 | 2596836.0117 | 1228026.9628
23 | 2596804.8044 | 1228028.8059
24 | 2596841.8621 | 1228000.9776
25 | 2596846.2433 | 1228001.7908
26 | 2596810.6332 | 1227994.7926
27 | 2596892.5916 | 1227789.8993
28 | 2596893.2206 | 1227788.7716
29 | 2596892.29 | 1227790.4401
30 | 2596894.4749 | 1227786.5226
31 | 2596881.2552 | 1227810.2258
32 | 2596896.8951 | 1227782.1831
33 | 2596874.8008 | 1227821.7985
34 | 2596848.8267 | 1227806.9301
35 | 2596690.7418 | 1227855.8316
36 | 2596691.8784 | 1227863.8177
37 | 2596686.6961 | 1227841.2977
38 | 2596690.7475 | 1227880.9952
39 | 2596659.8028 | 1227799.9941
40 | 2596690.3181 | 1227882.7767
41 | 2596677.9374 | 1227781.5644
42 | 2596681.8776 | 1227919.7251
43 | 2596893.4801 | 1227928.1561
44 | 2596944.3927 | 1227915.1277
45 | 2596952.6922 | 1227954.2386
46 | 2596941.0635 | 1227909.4705
47 | 2596931.2725 | 1227976.1847
48 | 2596978.2191 | 1227924.6429
49 | 2596842.7996 | 1227927.5449
50 | 2596847.049 | 1227897.2692
51 | 2596790.1431 | 1227947.7523
52 | 2596773.3158 | 1227922.3689
53 | 2596904.1919 | 1228005.4912
54 | 2596980.1547 | 1227925.9171
55 | 2596838.1798 | 1227889.8696
56 | 2596778.6778 | 1227913.7085
57 | 2596767.9595 | 1227929.6537
58 | 2596818.9825 | 1227791.9252
59 | 2596815.2043 | 1227789.6008
60 | 2596804.6013 | 1227840.003
61 | 2596777.4022 | 1227831.1017
62 | 2596802.5078 | 1227849.6543
63 | 2596824.8657 | 1227850.32
64 | 2597013.2081 | 1227894.521
65 | 2597006.9408 | 1227900.3975
66 | 2596679.6889 | 1227952.2059
67 | 2596707.3687 | 1227951.4167
68 | 2596739.4865 | 1227979.7994
69 | 2596756.8218 | 1227945.5876
70 | 2596780.3628 | 1227911.0502
71 | 2596787.2294 | 1227899.6568
72 | 2596791.4815 | 1227887.8496
73 | 2596792.6086 | 1227883.9453
74 | 2596998.2667 | 1227937.8401
75 | 2597007.1526 | 1227943.6896
76 | 2596872.0856 | 1228003.5992
77 | 2596887.2725 | 1228003.5971
78 | 2596799.3926 | 1227860.4454
79 | 2596909.1265 | 1228008.7834
80 | 2596936.1109 | 1228017.7326
81 | 2596948.5647 | 1228020.9565
82 | 2596995.272 | 1228033.6844
83 | 2596972.1374 | 1227828.028
84 | 2596956.4959 | 1227819.0869
85 | 2597022.8093 | 1227806.1837
86 | 2597029.5327 | 1227791.5105
87 | 2597044.6973 | 1227798.5908
88 | 2597065.0992 | 1227808.1164
89 | 2597046.5372 | 1227799.4499
90 | 2596944.3927 | 1227915.1277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98969 | -0.1964 | 0.0035933 | 0.00090056
1 | 0.98972 | -0.19586 | 0 | 0
2 | 0.99096 | -0.17216 | 0 | 0
3 | 0.98806 | -0.22765 | 0.0021318 | 0.00053429
4 | 0.9916 | -0.15991 | 0.0071963 | 0.0018036
5 | 0.99063 | -0.17854 | 0.013392 | 0.0033563
6 | 0.98797 | -0.22951 | 0 | 0
7 | 0.98707 | -0.24786 | 0 | 0
8 | 0.98749 | -0.23965 | 0.0039549 | 0.0009912
9 | 0.98681 | -0.2529 | 0.0040791 | 0.0010223
10 | 0.98785 | -0.23267 | 0 | 0
11 | 0.98656 | -0.25777 | 0 | 0
12 | 0.99236 | -0.1453 | 0 | 0
13 | 0.98758 | -0.23701 | 0.0090138 | 0.0022591
14 | 0.98715 | -0.24515 | 0.0037534 | 0.0009407
15 | 0.98781 | -0.23356 | 0.0035305 | 0.00088483
16 | 0.98816 | -0.22664 | 0.0012205 | 0.00030588
17 | 0.9864 | -0.26092 | 0.0028531 | 0.00071506
18 | 0.98631 | -0.26261 | 0.0029736 | 0.00074525
19 | 0.98555 | -0.27757 | 0.0029316 | 0.00073473
20 | 0.98555 | -0.27741 | 0.001202 | 0.00030126
21 | 0.98546 | -0.27917 | 0.0025281 | 0.00063359
22 | 0.98564 | -0.27571 | 0.0025509 | 0.00063931
23 | 0.98546 | -0.27931 | 0.0026111 | 0.0006544
24 | 0.98593 | -0.27006 | 0 | 0
25 | 0.98601 | -0.26846 | 0.0083624 | 0.0020958
26 | 0.98569 | -0.27478 | 0.0082598 | 0.0020701
27 | 0.98617 | -0.26411 | 0.0024761 | 0.00062056
28 | 0.98617 | -0.26423 | 0.0017596 | 0.000441
29 | 0.98618 | -0.26403 | 0.0024332 | 0.00060981
30 | 0.98616 | -0.26438 | 0.0021629 | 0.00054208
31 | 0.98638 | -0.26003 | 0.0031146 | 0.0007806
32 | 0.98616 | -0.26447 | 0.0010308 | 0.00025835
33 | 0.98654 | -0.25695 | 0 | 0
34 | 0.98536 | -0.27975 | 0.0017011 | 0.00042632
35 | 0.97126 | -0.55537 | 0.0017655 | 0.00044247
36 | 0.97132 | -0.55415 | 0.00093944 | 0.00023545
37 | 0.97117 | -0.55716 | 0.0035548 | 0.00089093
38 | 0.97147 | -0.55123 | 0.0020295 | 0.00050865
39 | 0.97104 | -0.55979 | 0 | 0
40 | 0.97149 | -0.55085 | 0.0013197 | 0.00033075
41 | 0.97096 | -0.56123 | 0.0028571 | 0.00071606
42 | 0.97193 | -0.54212 | 0.0026771 | 0.00067094
43 | 1 | 0 | -0.25426 | -0.064796
44 | 0.99345 | -0.12445 | 0 | 0
45 | 0.99126 | -0.16664 | 0.00075708 | 0.00018974
46 | 0.99287 | -0.13559 | 0 | 0
47 | 0.98966 | -0.19764 | 0.0035177 | 0.00088161
48 | 0.99078 | -0.17601 | 0.0012765 | 0.00031992
49 | 0.97325 | -0.5161 | 0.017023 | 0.0042663
50 | 0.97375 | -0.50628 | 0 | 0
51 | 0.97447 | -0.49195 | 0.0027151 | 0.00068046
52 | 0.97455 | -0.4904 | 0 | 0
53 | 0.98772 | -0.23515 | 0 | 0
54 | 0.99066 | -0.17823 | 0.0018301 | 0.00045866
55 | 0.97393 | -0.50264 | 0.018624 | 0.0046675
56 | 0.97476 | -0.4863 | 0.001282 | 0.00032129
57 | 0.97439 | -0.49359 | 0.001079 | 0.00027043
58 | 0.98277 | -0.32985 | 0.003484 | 0.00087317
59 | 0.98244 | -0.33623 | 0 | 0
60 | 0.9786 | -0.41097 | 0 | 0
61 | 0.97848 | -0.41328 | 0.0042979 | 0.0010772
62 | 0.9779 | -0.42455 | 0 | 0
63 | 0.97772 | -0.42826 | 0.0091069 | 0.0022824
64 | 0.98902 | -0.20999 | 0.0018584 | 0.00046576
65 | 0.98931 | -0.20438 | 0.0030754 | 0.00077077
66 | 0.97239 | -0.533 | 0 | 0
67 | 0.97279 | -0.52516 | 0.0016077 | 0.00040293
68 | 0.97346 | -0.51191 | 0 | 0
69 | 0.97406 | -0.50008 | 0.001392 | 0.00034886
70 | 0.97483 | -0.48496 | 0.0027606 | 0.00069187
71 | 0.97515 | -0.47862 | 0.0024027 | 0.00060217
72 | 0.97548 | -0.47207 | 0 | 0
73 | 0.97572 | -0.46731 | 0.0012009 | 0.00030097
74 | 0.99041 | -0.183 | 0.0019966 | 0.00050039
75 | 0.99031 | -0.18497 | 0.010388 | 0.0026034
76 | 0.98669 | -0.25524 | 0.0020643 | 0.00051737
77 | 0.98712 | -0.24695 | 0.0080532 | 0.0020183
78 | 0.97721 | -0.43814 | 0.0010909 | 0.0002734
79 | 0.98765 | -0.2366 | 0.0029789 | 0.00074658
80 | 0.98736 | -0.24214 | 0.0024685 | 0.00061866
81 | 0.98727 | -0.24405 | 0.0043845 | 0.0010989
82 | 0.98709 | -0.24742 | 0.003882 | 0.00097291
83 | 0.98631 | -0.26263 | 0.0021175 | 0.00053068
84 | 0.98627 | -0.26343 | 0.0024818 | 0.00062199
85 | 0.98616 | -0.26567 | 0.0030718 | 0.00076987
86 | 0.98603 | -0.26813 | 0 | 0
87 | 0.9859 | -0.27069 | 0.0034688 | 0.00086935
88 | 0.98585 | -0.27164 | 0.0020791 | 0.00052108
89 | 0.98589 | -0.27087 | 0.0029599 | 0.00074183
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035933 | -0.00090056 | 0.0035934 | 0.00090051 | 9.246e-08 | -4.9382e-08 | 0.0054025 | 0.0054025 | 0.0054025 | 0.98969 | -0.1964 | 0.98972 | -0.19586 | 1.4842
1 | -0.11765 | -0.029968 | 0.11778 | 0.030054 | 0.00013466 | 8.5594e-05 | 0.17706 | 0.17705 | 0.17706 | 0.98972 | -0.19586 | 0.99096 | -0.17216 | 24.3208
2 | 0.11406 | 0.029067 | -0.11388 | -0.028956 | 0.00017471 | 0.000111 | 0.17165 | 0.17165 | 0.17165 | 0.98972 | -0.19586 | 0.98806 | -0.22765 | 23.5787
3 | -0.13118 | -0.033412 | 0.13126 | 0.033462 | 7.7548e-05 | 4.9356e-05 | 0.19717 | 0.19717 | 0.19717 | 0.99096 | -0.17216 | 0.9916 | -0.15991 | 27.0838
4 | 0.013396 | 0.0033586 | -0.013392 | -0.0033563 | 4.0714e-06 | 2.2602e-06 | 0.020116 | 0.020116 | 0.020116 | 0.99096 | -0.17216 | 0.99063 | -0.17854 | 5.5263
5 | 0.11175 | 0.028422 | -0.11174 | -0.028416 | 9.9818e-06 | 6.3403e-06 | 0.16844 | 0.16844 | 0.16844 | 0.98806 | -0.22765 | 0.98797 | -0.22951 | 23.1377
6 | -0.13845 | -0.035265 | 0.13855 | 0.035327 | 9.7702e-05 | 6.2218e-05 | 0.20797 | 0.20797 | 0.20797 | 0.9916 | -0.15991 | 0.99236 | -0.1453 | 28.5672
7 | 0.009017 | 0.0022605 | -0.0090138 | -0.0022591 | 3.222e-06 | 1.4658e-06 | 0.013581 | 0.013581 | 0.013581 | 0.98797 | -0.22951 | 0.98758 | -0.23701 | 3.7311
8 | 0.10272 | 0.026155 | -0.10265 | -0.026106 | 7.7433e-05 | 4.9117e-05 | 0.15486 | 0.15486 | 0.15486 | 0.98797 | -0.22951 | 0.98715 | -0.24515 | 21.2722
9 | -0.026105 | -0.0065482 | 0.026115 | 0.0065545 | 1.0221e-05 | 6.3166e-06 | 0.039355 | 0.039355 | 0.039355 | 0.98707 | -0.24786 | 0.98749 | -0.23965 | 10.8119
10 | 0.026105 | 0.0065482 | -0.026099 | -0.0065443 | 6.2732e-06 | 3.8768e-06 | 0.039355 | 0.039355 | 0.039355 | 0.98707 | -0.24786 | 0.98681 | -0.2529 | 10.8119
11 | -0.03007 | -0.0075457 | 0.03008 | 0.007552 | 1.0011e-05 | 6.2403e-06 | 0.045315 | 0.045315 | 0.045315 | 0.98749 | -0.23965 | 0.98785 | -0.23267 | 12.4491
12 | 0.022019 | 0.005522 | -0.022014 | -0.0055189 | 5.1023e-06 | 3.1079e-06 | 0.033204 | 0.033204 | 0.033204 | 0.98681 | -0.2529 | 0.98656 | -0.25777 | 9.1221
13 | 0.0035307 | 0.00088475 | -0.0035305 | -0.00088483 | 1.4922e-07 | -8.4607e-08 | 0.0053182 | 0.0053183 | 0.0053183 | 0.98785 | -0.23267 | 0.98781 | -0.23356 | 1.4611
14 | -0.033611 | -0.0084367 | 0.03362 | 0.0084428 | 9.6744e-06 | 6.0627e-06 | 0.050633 | 0.050633 | 0.050633 | 0.98785 | -0.23267 | 0.98816 | -0.22664 | 13.9101
15 | 0.01444 | 0.0036205 | -0.014438 | -0.0036192 | 2.1697e-06 | 1.2329e-06 | 0.02178 | 0.02178 | 0.02178 | 0.98656 | -0.25777 | 0.9864 | -0.26092 | 5.9834
16 | 0.0075746 | 0.0018984 | -0.0075729 | -0.0018977 | 1.7493e-06 | 6.6333e-07 | 0.011425 | 0.011425 | 0.011425 | 0.98656 | -0.25777 | 0.98631 | -0.26261 | 3.1387
17 | -0.13855 | -0.035327 | 0.13862 | 0.035369 | 6.4958e-05 | 4.1366e-05 | 0.20797 | 0.20797 | 0.20797 | 0.99236 | -0.1453 | 0.99287 | -0.13559 | 28.5672
18 | 0.098892 | 0.025166 | -0.098836 | -0.02513 | 5.6204e-05 | 3.5627e-05 | 0.1492 | 0.1492 | 0.1492 | 0.98715 | -0.24515 | 0.98654 | -0.25695 | 20.495
19 | -0.034841 | -0.0087486 | 0.034868 | 0.008766 | 2.7703e-05 | 1.7386e-05 | 0.052471 | 0.052471 | 0.052471 | 0.98816 | -0.22664 | 0.98902 | -0.20999 | 14.415
20 | 0.011584 | 0.0029042 | -0.011582 | -0.0029028 | 2.6237e-06 | 1.3868e-06 | 0.017476 | 0.017476 | 0.017476 | 0.9864 | -0.26092 | 0.98616 | -0.26567 | 4.8011
21 | 0.0045993 | 0.0011525 | -0.0045993 | -0.0011525 | 3.3391e-09 | -2.2398e-10 | 0.0069387 | 0.0069387 | 0.0069387 | 0.98631 | -0.26261 | 0.98631 | -0.26263 | 1.9062
22 | -0.0080712 | -0.0020227 | 0.0080712 | 0.0020227 | 6.1334e-08 | 2.5219e-08 | 0.012186 | 0.012186 | 0.012186 | 0.98555 | -0.27757 | 0.98555 | -0.27741 | 3.3478
23 | 0.0051396 | 0.001288 | -0.0051392 | -0.001288 | 3.9246e-07 | 2.9724e-08 | 0.0077599 | 0.00776 | 0.00776 | 0.98555 | -0.27757 | 0.98546 | -0.27917 | 2.1319
24 | -0.0092733 | -0.002324 | 0.009274 | 0.0023244 | 7.4809e-07 | 3.4909e-07 | 0.014001 | 0.014001 | 0.014001 | 0.98555 | -0.27741 | 0.98564 | -0.27571 | 3.8464
25 | 0.0026111 | 0.00065437 | -0.0026111 | -0.0006544 | 1.795e-08 | -2.7744e-08 | 0.0039427 | 0.0039427 | 0.0039427 | 0.98546 | -0.27917 | 0.98546 | -0.27931 | 1.0832
26 | -0.011825 | -0.0029637 | 0.011828 | 0.0029654 | 3.1832e-06 | 1.6977e-06 | 0.017852 | 0.017852 | 0.017852 | 0.98564 | -0.27571 | 0.98593 | -0.27006 | 4.9044
27 | -0.02009 | -0.0050362 | 0.020091 | 0.0050372 | 1.5368e-06 | 9.267e-07 | 0.030321 | 0.030321 | 0.030321 | 0.98593 | -0.27006 | 0.98601 | -0.26846 | 8.3299
28 | 0.0082616 | 0.0020709 | -0.0082598 | -0.0020701 | 1.8561e-06 | 7.8204e-07 | 0.012469 | 0.012469 | 0.012469 | 0.98593 | -0.27006 | 0.98569 | -0.27478 | 3.4256
29 | -0.028454 | -0.007133 | 0.028472 | 0.0071441 | 1.7934e-05 | 1.1147e-05 | 0.042941 | 0.042941 | 0.042941 | 0.98601 | -0.26846 | 0.98669 | -0.25524 | 11.7969
30 | 0.0049534 | 0.0012414 | -0.0049534 | -0.0012414 | 2.7049e-08 | 8.3663e-10 | 0.0074741 | 0.0074741 | 0.0074741 | 0.98617 | -0.26411 | 0.98617 | -0.26423 | 2.0533
31 | -0.0074295 | -0.0018619 | 0.0074295 | 0.0018619 | 2.9178e-08 | 1.0774e-08 | 0.01121 | 0.01121 | 0.01121 | 0.98617 | -0.26411 | 0.98618 | -0.26403 | 3.0797
32 | 0.0031938 | 0.00080035 | -0.0031938 | -0.00080037 | 2.2426e-08 | -1.8503e-08 | 0.004819 | 0.004819 | 0.004819 | 0.98617 | -0.26423 | 0.98616 | -0.26438 | 1.3239
33 | -0.0098627 | -0.0024717 | 0.0098646 | 0.0024727 | 1.8814e-06 | 9.1498e-07 | 0.014882 | 0.014881 | 0.014882 | 0.98618 | -0.26403 | 0.98638 | -0.26003 | 4.0883
34 | 0.0010308 | 0.00025829 | -0.0010308 | -0.00025835 | 4.5077e-09 | -6.051e-08 | 0.0015554 | 0.0015554 | 0.0015554 | 0.98616 | -0.26438 | 0.98616 | -0.26447 | 0.42731
35 | -0.012979 | -0.0032533 | 0.012981 | 0.0032543 | 1.905e-06 | 1.0501e-06 | 0.01958 | 0.01958 | 0.01958 | 0.98638 | -0.26003 | 0.98654 | -0.25695 | 5.3791
36 | 0.085854 | 0.021876 | -0.08576 | -0.021816 | 9.4352e-05 | 5.9622e-05 | 0.12962 | 0.12962 | 0.12962 | 0.98654 | -0.25695 | 0.98536 | -0.27975 | 17.8055
37 | 0.084059 | 0.02139 | -0.083857 | -0.021261 | 0.00020244 | 0.00012914 | 0.12706 | 0.12706 | 0.12706 | 0.98536 | -0.27975 | 0.98277 | -0.32985 | 34.9054
38 | -0.0081785 | -0.002049 | 0.008179 | 0.0020492 | 4.7489e-07 | 2.0409e-07 | 0.01253 | 0.01253 | 0.01253 | 0.97126 | -0.55537 | 0.97132 | -0.55415 | 3.4422
39 | 0.0064131 | 0.0016066 | -0.0064125 | -0.0016064 | 5.4633e-07 | 1.6288e-07 | 0.0098249 | 0.0098249 | 0.0098249 | 0.97126 | -0.55537 | 0.97117 | -0.55716 | 2.6992
40 | -0.0091185 | -0.0022847 | 0.0091197 | 0.0022853 | 1.2678e-06 | 5.969e-07 | 0.013969 | 0.013969 | 0.013969 | 0.97132 | -0.55415 | 0.97147 | -0.55123 | 3.8376
41 | 0.0028577 | 0.00071546 | -0.0028573 | -0.00071585 | 3.5868e-07 | -3.8774e-07 | 0.0043782 | 0.0043784 | 0.0043784 | 0.97117 | -0.55716 | 0.97104 | -0.55979 | 1.2029
42 | -0.011149 | -0.0027939 | 0.011149 | 0.002794 | 2.0042e-07 | 1.0558e-07 | 0.017077 | 0.017077 | 0.017077 | 0.97147 | -0.55123 | 0.97149 | -0.55085 | 4.6916
43 | 0.0028573 | 0.00071585 | -0.0028571 | -0.00071606 | 1.9507e-07 | -2.1078e-07 | 0.0043784 | 0.0043786 | 0.0043786 | 0.97104 | -0.55979 | 0.97096 | -0.56123 | 1.2029
44 | -0.012469 | -0.0031248 | 0.012474 | 0.0031276 | 5.1869e-06 | 2.8499e-06 | 0.019099 | 0.019099 | 0.019099 | 0.97149 | -0.55085 | 0.97193 | -0.54212 | 5.2469
45 | -0.015151 | -0.0037986 | 0.015158 | 0.0038024 | 6.5936e-06 | 3.8148e-06 | 0.023197 | 0.023197 | 0.023197 | 0.97193 | -0.54212 | 0.97239 | -0.533 | 6.3729
46 | 0.25261 | 0.064796 | -0.2511 | -0.063828 | 0.0015149 | 0.00096805 | 0.37642 | 0.37642 | 0.37642 | 1 | 0 | 0.99345 | -0.12445 | 51.7061
47 | 0.056908 | 0.014397 | -0.056793 | -0.014324 | 0.00011496 | 7.3027e-05 | 0.085286 | 0.085287 | 0.085287 | 0.99345 | -0.12445 | 0.99126 | -0.16664 | 23.4304
48 | 0.19419 | 0.049431 | -0.19409 | -0.049365 | 0.00010425 | 6.6553e-05 | 0.29113 | 0.29113 | 0.29113 | 0.99345 | -0.12445 | 0.99287 | -0.13559 | 39.991
49 | 0.056036 | 0.014134 | -0.055953 | -0.014081 | 8.3017e-05 | 5.2729e-05 | 0.08415 | 0.08415 | 0.08415 | 0.99126 | -0.16664 | 0.98966 | -0.19764 | 23.1182
50 | 0.05547 | 0.013996 | -0.055362 | -0.013928 | 0.00010715 | 6.8044e-05 | 0.083166 | 0.083166 | 0.083166 | 0.99287 | -0.13559 | 0.99078 | -0.17601 | 22.8478
51 | 0.052436 | 0.0132 | -0.052342 | -0.01314 | 9.3835e-05 | 5.9538e-05 | 0.078861 | 0.078861 | 0.078861 | 0.98966 | -0.19764 | 0.98772 | -0.23515 | 21.6652
52 | 0.054086 | 0.013608 | -0.05408 | -0.013605 | 5.7365e-06 | 3.6415e-06 | 0.081249 | 0.081249 | 0.081249 | 0.99078 | -0.17601 | 0.99066 | -0.17823 | 22.3211
53 | -0.017023 | -0.0042663 | 0.017031 | 0.004271 | 7.9654e-06 | 4.708e-06 | 0.026026 | 0.026026 | 0.026026 | 0.97325 | -0.5161 | 0.97375 | -0.50628 | 7.1501
54 | -0.017031 | -0.004271 | 0.017034 | 0.0042727 | 2.9545e-06 | 1.7462e-06 | 0.026026 | 0.026026 | 0.026026 | 0.97375 | -0.50628 | 0.97393 | -0.50264 | 7.15
55 | -0.0027151 | -0.00068046 | 0.0027153 | 0.0006802 | 2.0068e-07 | -2.5948e-07 | 0.0041459 | 0.0041458 | 0.0041459 | 0.97447 | -0.49195 | 0.97455 | -0.4904 | 1.139
56 | -0.021986 | -0.0055251 | 0.021991 | 0.0055277 | 4.3062e-06 | 2.629e-06 | 0.033576 | 0.033576 | 0.033576 | 0.97455 | -0.4904 | 0.97476 | -0.4863 | 9.2241
57 | 0.019271 | 0.0048449 | -0.019268 | -0.0048431 | 2.9368e-06 | 1.7669e-06 | 0.02943 | 0.02943 | 0.02943 | 0.97455 | -0.4904 | 0.97439 | -0.49359 | 8.0852
58 | 0.013719 | 0.0034391 | -0.013718 | -0.0034386 | 9.5024e-07 | 5.3224e-07 | 0.020668 | 0.020668 | 0.020668 | 0.98772 | -0.23515 | 0.98765 | -0.2366 | 5.6781
59 | 0.038623 | 0.009701 | -0.038601 | -0.0096873 | 2.1738e-05 | 1.3693e-05 | 0.058193 | 0.058193 | 0.058193 | 0.98772 | -0.23515 | 0.98712 | -0.24695 | 15.9872
60 | 0.039862 | 0.01004 | -0.039812 | -0.010009 | 4.9766e-05 | 3.1375e-05 | 0.059892 | 0.059892 | 0.059892 | 0.99066 | -0.17823 | 0.98931 | -0.20438 | 16.4539
61 | 0.012388 | 0.0031058 | -0.012385 | -0.0031043 | 2.8156e-06 | 1.5229e-06 | 0.018608 | 0.018608 | 0.018608 | 0.99066 | -0.17823 | 0.99041 | -0.183 | 5.1121
62 | -0.035657 | -0.0089403 | 0.035709 | 0.008973 | 5.2027e-05 | 3.2715e-05 | 0.05448 | 0.05448 | 0.05448 | 0.97393 | -0.50264 | 0.97548 | -0.47207 | 14.9671
63 | -0.023273 | -0.005849 | 0.023274 | 0.0058499 | 1.4902e-06 | 9.1447e-07 | 0.035533 | 0.035533 | 0.035533 | 0.97476 | -0.4863 | 0.97483 | -0.48496 | 9.7617
64 | 0.018189 | 0.0045727 | -0.018183 | -0.0045693 | 5.6283e-06 | 3.36e-06 | 0.027782 | 0.027782 | 0.027782 | 0.97439 | -0.49359 | 0.97406 | -0.50008 | 7.6325
65 | 0.080373 | 0.020387 | -0.080348 | -0.020372 | 2.467e-05 | 1.5733e-05 | 0.12178 | 0.12178 | 0.12178 | 0.98277 | -0.32985 | 0.98244 | -0.33623 | 33.4562
66 | 0.080348 | 0.020372 | -0.08006 | -0.020188 | 0.00028749 | 0.00018334 | 0.12178 | 0.12178 | 0.12178 | 0.98244 | -0.33623 | 0.9786 | -0.41097 | 33.4563
67 | 0.0042984 | 0.0010771 | -0.0042979 | -0.0010772 | 4.7367e-07 | -6.8294e-08 | 0.0065359 | 0.006536 | 0.006536 | 0.9786 | -0.41097 | 0.97848 | -0.41328 | 1.7956
68 | 0.075762 | 0.019111 | -0.075713 | -0.01908 | 4.9228e-05 | 3.1382e-05 | 0.11524 | 0.11524 | 0.11524 | 0.9786 | -0.41097 | 0.9779 | -0.42455 | 31.6607
69 | 0.0091085 | 0.0022832 | -0.0091069 | -0.0022824 | 1.6113e-06 | 7.5068e-07 | 0.01386 | 0.01386 | 0.01386 | 0.9779 | -0.42455 | 0.97772 | -0.42826 | 3.8077
70 | 0.066604 | 0.016797 | -0.066561 | -0.016769 | 4.3294e-05 | 2.7567e-05 | 0.10139 | 0.10139 | 0.10139 | 0.9779 | -0.42455 | 0.97721 | -0.43814 | 27.853
71 | -0.036727 | -0.0092318 | 0.036737 | 0.009238 | 9.8406e-06 | 6.1877e-06 | 0.055267 | 0.055267 | 0.055267 | 0.98902 | -0.20999 | 0.98931 | -0.20438 | 15.1831
72 | -0.015158 | -0.0038024 | 0.015164 | 0.0038057 | 5.666e-06 | 3.2778e-06 | 0.023197 | 0.023197 | 0.023197 | 0.97239 | -0.533 | 0.97279 | -0.52516 | 6.3728
73 | -0.016771 | -0.0042086 | 0.016782 | 0.0042148 | 1.0599e-05 | 6.2502e-06 | 0.025656 | 0.025656 | 0.025656 | 0.97279 | -0.52516 | 0.97346 | -0.51191 | 7.0484
74 | -0.016782 | -0.0042148 | 0.016791 | 0.0042204 | 9.4829e-06 | 5.5912e-06 | 0.025656 | 0.025656 | 0.025656 | 0.97346 | -0.51191 | 0.97406 | -0.50008 | 7.0483
75 | -0.026035 | -0.0065418 | 0.026043 | 0.0065466 | 7.8855e-06 | 4.8807e-06 | 0.039747 | 0.039746 | 0.039747 | 0.97483 | -0.48496 | 0.97515 | -0.47862 | 10.9194
76 | -0.028445 | -0.0071488 | 0.028454 | 0.0071543 | 8.887e-06 | 5.5307e-06 | 0.043413 | 0.043413 | 0.043413 | 0.97515 | -0.47862 | 0.97548 | -0.47207 | 11.9266
77 | -0.064163 | -0.016127 | 0.064178 | 0.016137 | 1.4604e-05 | 9.2955e-06 | 0.097893 | 0.097893 | 0.097893 | 0.97548 | -0.47207 | 0.97572 | -0.46731 | 26.8936
78 | -0.065379 | -0.016438 | 0.06547 | 0.016496 | 9.1218e-05 | 5.8073e-05 | 0.099724 | 0.099724 | 0.099724 | 0.97572 | -0.46731 | 0.97721 | -0.43814 | 27.3967
79 | 0.010389 | 0.0026039 | -0.010388 | -0.0026034 | 9.7191e-07 | 4.8513e-07 | 0.015608 | 0.015608 | 0.015608 | 0.99041 | -0.183 | 0.99031 | -0.18497 | 4.288
80 | -0.030536 | -0.0076615 | 0.030548 | 0.007669 | 1.2079e-05 | 7.5365e-06 | 0.046054 | 0.046054 | 0.046054 | 0.98669 | -0.25524 | 0.98712 | -0.24695 | 12.6521
81 | 0.010739 | 0.002692 | -0.010736 | -0.0026905 | 2.8368e-06 | 1.4459e-06 | 0.01618 | 0.01618 | 0.01618 | 0.98765 | -0.2366 | 0.98736 | -0.24214 | 4.4451
82 | 0.0082679 | 0.0020719 | -0.0082671 | -0.0020716 | 7.4975e-07 | 3.1515e-07 | 0.01246 | 0.01246 | 0.01246 | 0.98736 | -0.24214 | 0.98727 | -0.24405 | 3.4231
83 | 0.0038826 | 0.00097269 | -0.003882 | -0.00097291 | 6.2278e-07 | -2.2146e-07 | 0.0058517 | 0.005852 | 0.005852 | 0.98727 | -0.24405 | 0.98709 | -0.24742 | 1.6077
84 | 0.0024818 | 0.00062182 | -0.0024818 | -0.00062199 | 9.4718e-08 | -1.6931e-07 | 0.0037442 | 0.0037443 | 0.0037443 | 0.98631 | -0.26263 | 0.98627 | -0.26343 | 1.0286
85 | 0.00851 | 0.0021329 | -0.008509 | -0.0021325 | 9.9798e-07 | 4.3281e-07 | 0.012841 | 0.012841 | 0.012841 | 0.98616 | -0.26567 | 0.98603 | -0.26813 | 3.5277
86 | 0.008509 | 0.0021325 | -0.0085079 | -0.002132 | 1.0348e-06 | 4.4885e-07 | 0.012841 | 0.012841 | 0.012841 | 0.98603 | -0.26813 | 0.9859 | -0.27069 | 3.5277
87 | 0.0050392 | 0.0012627 | -0.0050391 | -0.0012627 | 4.4046e-08 | 2.296e-09 | 0.0076055 | 0.0076055 | 0.0076055 | 0.9859 | -0.27069 | 0.98589 | -0.27087 | 2.0894
88 | -0.0020791 | -0.00052108 | 0.0020792 | 0.00052086 | 7.5651e-08 | -2.128e-07 | 0.0031382 | 0.0031381 | 0.0031382 | 0.98585 | -0.27164 | 0.98589 | -0.27087 | 0.86213

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27453 | 0.069876

## res_load
| p_mw | q_mvar
0 | 0.0035933 | 0.00090056
1 | 0.0021318 | 0.00053429
2 | 0.0071963 | 0.0018036
3 | 0.013392 | 0.0033563
4 | 0.0039549 | 0.0009912
5 | 0.0040791 | 0.0010223
6 | 0.0090138 | 0.0022591
7 | 0.0037534 | 0.0009407
8 | 0.0035305 | 0.00088483
9 | 0.0012205 | 0.00030588
10 | 0.0028531 | 0.00071506
11 | 0.0029736 | 0.00074525
12 | 0.0029316 | 0.00073473
13 | 0.001202 | 0.00030126
14 | 0.0025281 | 0.00063359
15 | 0.0025509 | 0.00063931
16 | 0.0026111 | 0.0006544
17 | 0.0083624 | 0.0020958
18 | 0.0082598 | 0.0020701
19 | 0.0024761 | 0.00062056
20 | 0.0017596 | 0.000441
21 | 0.0024332 | 0.00060981
22 | 0.0021629 | 0.00054208
23 | 0.0031146 | 0.0007806
24 | 0.0010308 | 0.00025835
25 | 0.0017011 | 0.00042632
26 | 0.0017655 | 0.00044247
27 | 0.00093944 | 0.00023545
28 | 0.0035548 | 0.00089093
29 | 0.0020295 | 0.00050865
30 | 0.0013197 | 0.00033075
31 | 0.0028571 | 0.00071606
32 | 0.0026771 | 0.00067094
33 | 0.020269 | 0.0050798
34 | 0.00075708 | 0.00018974
35 | 0.0035177 | 0.00088161
36 | 0.0012765 | 0.00031992
37 | 0.017023 | 0.0042663
38 | 0.0027151 | 0.00068046
39 | 0.0018301 | 0.00045866
40 | 0.018624 | 0.0046675
41 | 0.001282 | 0.00032129
42 | 0.001079 | 0.00027043
43 | 0.003484 | 0.00087317
44 | 0.0042979 | 0.0010772
45 | 0.0091069 | 0.0022824
46 | 0.0018584 | 0.00046576
47 | 0.0030754 | 0.00077077
48 | 0.0016077 | 0.00040293
49 | 0.001392 | 0.00034886
50 | 0.0027606 | 0.00069187
51 | 0.0024027 | 0.00060217
52 | 0.0012009 | 0.00030097
53 | 0.0019966 | 0.00050039
54 | 0.010388 | 0.0026034
55 | 0.0020643 | 0.00051737
56 | 0.0080532 | 0.0020183
57 | 0.0010909 | 0.0002734
58 | 0.0029789 | 0.00074658
59 | 0.0024685 | 0.00061866
60 | 0.0043845 | 0.0010989
61 | 0.003882 | 0.00097291
62 | 0.0021175 | 0.00053068
63 | 0.0024818 | 0.00062199
64 | 0.0030718 | 0.00076987
65 | 0.0034688 | 0.00086935
66 | 0.0020791 | 0.00052108
67 | 0.0029599 | 0.00074183

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1