## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-14_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2546-14_0_6_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_2546-14_0_6_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2546-14_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2546-14_0_6_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_2546-14_0_6_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2546-14_0_6_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_2546-14_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2546-14_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2546-14_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2546-14_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2546-14_0_6_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_2546-14_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2546-14_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2546-14_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2546-14_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2546-14_0_6_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_2546-14_0_6_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2546-14_0_6_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2546-14_0_6_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_2546-14_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2546-14_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2546-14_0_6_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_2546-14_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2546-14_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2546-14_0_6_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_2546-14_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2546-14_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_2546-14_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2546-14_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2546-14_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2546-14_0_6_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2546-14_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2546-14_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2546-14_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2546-14_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2546-14_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2546-14_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_396_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-14_0_6_load_0 | 0 | 0.072471 | 0.018163 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-14_0_6_load_3 | 3 | 0.003033 | 0.00076015 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-14_0_6_load_4 | 4 | 0.0038588 | 0.00096711 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-14_0_6_load_7 | 5 | 0.014138 | 0.0035434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-14_0_6_load_34 | 7 | 0.0090167 | 0.0022598 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-14_0_6_load_43 | 9 | 0.021015 | 0.0052669 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-14_0_6_load_17 | 14 | 0.039773 | 0.0099679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-14_0_6_load_13 | 15 | 0.0057709 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-14_0_6_load_24 | 16 | 0.0085376 | 0.0021397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-14_0_6_load_8 | 17 | 0.006387 | 0.0016007 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-14_0_6_load_9 | 18 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-14_0_6_load_10 | 19 | 0.01928 | 0.0048321 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-14_0_6_load_11 | 20 | 0.0070818 | 0.0017749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-14_0_6_load_33 | 22 | 0.00022219 | 5.5686e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-14_0_6_load_22 | 23 | 0.0038605 | 0.00096753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-14_0_6_load_31 | 24 | 0.0036534 | 0.00091564 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-14_0_6_load_14 | 25 | 0.019899 | 0.0049872 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-14_0_6_load_29 | 27 | 0.00074926 | 0.00018778 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-14_0_6_load_41 | 28 | 0.0017275 | 0.00043295 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-14_0_6_load_28 | 29 | 0.00070612 | 0.00017697 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-14_0_6_load_40 | 30 | 0.0018173 | 0.00045545 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-14_0_6_load_18 | 31 | 0.0044797 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-14_0_6_load_19 | 32 | 0.010521 | 0.0026367 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-14_0_6_load_20 | 33 | 0.0085595 | 0.0021452 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-14_0_6_load_21 | 34 | 0.0026438 | 0.00066261 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-14_0_6_load_39 | 36 | 0.0031622 | 0.00079252 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-14_0_6_load_26 | 37 | 0.073859 | 0.018511 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-14_0_6_load_25 | 38 | 0.0063024 | 0.0015795 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-14_0_6_load_38 | 39 | 0.0027213 | 0.00068203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-14_0_6_load_30 | 40 | 0.0011029 | 0.00027641 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-14_0_6_load_42 | 42 | 0.028161 | 0.0070577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-14_0_6_line_0 |  | 0 | 1 | 0.1353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2546-14_0_6_line_1 |  | 0 | 2 | 0.042286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-14_0_6_line_2 |  | 1 | 3 | 0.11994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-14_0_6_line_3 |  | 1 | 4 | 0.026567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2546-14_0_6_line_4 |  | 2 | 5 | 0.042747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-14_0_6_line_5 |  | 3 | 6 | 0.048194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-14_0_6_line_6 |  | 4 | 7 | 0.11957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2546-14_0_6_line_7 |  | 5 | 10 | 0.023395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-14_0_6_line_8 |  | 6 | 11 | 0.050264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-14_0_6_line_9 |  | 6 | 8 | 0.008004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-14_0_6_line_10 |  | 7 | 12 | 0.048454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2546-14_0_6_line_11 |  | 8 | 9 | 0.14649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-14_0_6_line_12 |  | 10 | 16 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-14_0_6_line_13 |  | 11 | 41 | 0.055958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-14_0_6_line_14 |  | 12 | 22 | 0.080615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2546-14_0_6_line_15 |  | 13 | 14 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-14_0_6_line_16 |  | 13 | 15 | 0.099677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-14_0_6_line_17 |  | 15 | 25 | 0.0095209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-14_0_6_line_18 |  | 17 | 18 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-14_0_6_line_19 |  | 17 | 19 | 0.0062479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-14_0_6_line_20 |  | 18 | 20 | 0.018524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-14_0_6_line_21 |  | 20 | 21 | 0.056835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-14_0_6_line_22 |  | 21 | 23 | 0.091582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-14_0_6_line_23 |  | 22 | 24 | 0.053384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2546-14_0_6_line_24 |  | 23 | 33 | 0.0050405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-14_0_6_line_25 |  | 24 | 40 | 0.023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2546-14_0_6_line_26 |  | 25 | 26 | 0.026315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-14_0_6_line_27 |  | 26 | 27 | 0.024253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2546-14_0_6_line_28 |  | 26 | 28 | 0.047411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2546-14_0_6_line_29 |  | 27 | 29 | 0.039099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2546-14_0_6_line_30 |  | 28 | 30 | 0.00034705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2546-14_0_6_line_31 |  | 29 | 40 | 0.004758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2546-14_0_6_line_32 |  | 30 | 39 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2546-14_0_6_line_33 |  | 31 | 32 | 0.034338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-14_0_6_line_34 |  | 31 | 33 | 0.024694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-14_0_6_line_35 |  | 32 | 34 | 0.04023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-14_0_6_line_36 |  | 34 | 35 | 0.028433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-14_0_6_line_37 |  | 35 | 36 | 0.057628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2546-14_0_6_line_38 |  | 35 | 37 | 0.039666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-14_0_6_line_39 |  | 36 | 39 | 0.070968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2546-14_0_6_line_40 |  | 37 | 38 | 0.13143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-14_0_6_line_41 |  | 41 | 42 | 0.045492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-14_0_6_trafo_30 | 0.63 MVA 20/0.4 kV | 43 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2597910.8546 | 1226293.5993 | 2598039.8335 | 1226334.4831
1 | 2598080.1434 | 1226347.2605 | 2598039.8335 | 1226334.4831
2 | 2597910.8546 | 1226293.5993 | 2597795.7636 | 1226259.8577
3 | 2597910.8546 | 1226293.5993 | 2597899.3334 | 1226317.5387
4 | 2598080.1434 | 1226347.2605 | 2598062.8023 | 1226386.3322
5 | 2597749.5158 | 1226246.2991 | 2597795.7636 | 1226259.8577
6 | 2597899.3334 | 1226317.5387 | 2597877.6005 | 1226362.6965 | 2597849.0536 | 1226426.0109
7 | 2598053.3116 | 1226407.7162 | 2598062.8023 | 1226386.3322
8 | 2597749.5158 | 1226246.2991 | 2597743.0188 | 1226261.4772 | 2597748.5312 | 1226267.6009 | 2597767.9629 | 1226284.1363
9 | 2597749.5158 | 1226246.2991 | 2597752.6658 | 1226238.938
10 | 2597829.4009 | 1226470.2998 | 2597843.1978 | 1226438.9985 | 2597849.0536 | 1226426.0109
11 | 2597752.6658 | 1226238.938 | 2597760.846 | 1226205.9599 | 2597740.1903 | 1226199.5309 | 2597748.4769 | 1226167.4422 | 2597804.3871 | 1226182.7073
12 | 2598043.3979 | 1226428.554 | 2598053.3116 | 1226407.7162
13 | 2597752.3786 | 1226337.885 | 2597767.9629 | 1226284.1363
14 | 2597829.4009 | 1226470.2998 | 2597906.4012 | 1226494.1677
15 | 2598174.3476 | 1226576.1196 | 2598187.9485 | 1226546.8463
16 | 2598174.3476 | 1226576.1196 | 2598078.913 | 1226547.3496
17 | 2598078.913 | 1226547.3496 | 2598069.7973 | 1226544.6015
18 | 2597789.0909 | 1226561.5641 | 2597780.9881 | 1226579.6177
19 | 2597789.0909 | 1226561.5641 | 2597791.6492 | 1226555.8641
20 | 2597773.4032 | 1226596.5171 | 2597780.9881 | 1226579.6177
21 | 2597750.2035 | 1226648.4015 | 2597762.0991 | 1226621.7034 | 2597773.4032 | 1226596.5171
22 | 2597750.2035 | 1226648.4015 | 2597773.2985 | 1226656.097 | 2597806.2018 | 1226668.3026 | 2597837.157 | 1226676.9667
23 | 2597957.3915 | 1226509.9733 | 2597906.4012 | 1226494.1677
24 | 2597842.011 | 1226678.3253 | 2597837.157 | 1226676.9667
25 | 2597957.3915 | 1226509.9733 | 2597979.5458 | 1226516.8405
26 | 2598044.602 | 1226537.0061 | 2598069.7973 | 1226544.6015
27 | 2598044.602 | 1226537.0061 | 2598021.4362 | 1226529.8253
28 | 2598044.602 | 1226537.0061 | 2598025.0906 | 1226580.2157
29 | 2598021.4362 | 1226529.8253 | 2597984.0905 | 1226518.2492
30 | 2598024.9478 | 1226580.532 | 2598025.0906 | 1226580.2157
31 | 2597979.5458 | 1226516.8405 | 2597984.0905 | 1226518.2492
32 | 2598017.4196 | 1226597.2036 | 2598024.9478 | 1226580.532
33 | 2597865.791 | 1226684.9811 | 2597878.0012 | 1226688.3986 | 2597898.7424 | 1226694.6348
34 | 2597842.011 | 1226678.3253 | 2597865.791 | 1226684.9811
35 | 2597937.2684 | 1226706.2182 | 2597898.7424 | 1226694.6348
36 | 2597964.4969 | 1226714.4048 | 2597937.2684 | 1226706.2182
37 | 2597964.4969 | 1226714.4048 | 2597988.2133 | 1226661.8833
38 | 2597964.4969 | 1226714.4048 | 2598002.6959 | 1226725.0938
39 | 2598017.4196 | 1226597.2036 | 2597988.2133 | 1226661.8833
40 | 2598002.6959 | 1226725.0938 | 2598111.0034 | 1226755.401 | 2598129.169 | 1226760.8488
41 | 2597752.3786 | 1226337.885 | 2597796.0648 | 1226350.5745

## bus_geodata
| x | y | coords
0 | 2598039.8335 | 1226334.4831
1 | 2597910.8546 | 1226293.5993
2 | 2598080.1434 | 1226347.2605
3 | 2597795.7636 | 1226259.8577
4 | 2597899.3334 | 1226317.5387
5 | 2598062.8023 | 1226386.3322
6 | 2597749.5158 | 1226246.2991
7 | 2597849.0536 | 1226426.0109
8 | 2597752.6658 | 1226238.938
9 | 2597804.3871 | 1226182.7073
10 | 2598053.3116 | 1226407.7162
11 | 2597767.9629 | 1226284.1363
12 | 2597829.4009 | 1226470.2998
13 | 2598174.3476 | 1226576.1196
14 | 2598187.9485 | 1226546.8463
15 | 2598078.913 | 1226547.3496
16 | 2598043.3979 | 1226428.554
17 | 2597789.0909 | 1226561.5641
18 | 2597780.9881 | 1226579.6177
19 | 2597791.6492 | 1226555.8641
20 | 2597773.4032 | 1226596.5171
21 | 2597750.2035 | 1226648.4015
22 | 2597906.4012 | 1226494.1677
23 | 2597837.157 | 1226676.9667
24 | 2597957.3915 | 1226509.9733
25 | 2598069.7973 | 1226544.6015
26 | 2598044.602 | 1226537.0061
27 | 2598021.4362 | 1226529.8253
28 | 2598025.0906 | 1226580.2157
29 | 2597984.0905 | 1226518.2492
30 | 2598024.9478 | 1226580.532
31 | 2597865.791 | 1226684.9811
32 | 2597898.7424 | 1226694.6348
33 | 2597842.011 | 1226678.3253
34 | 2597937.2684 | 1226706.2182
35 | 2597964.4969 | 1226714.4048
36 | 2597988.2133 | 1226661.8833
37 | 2598002.6959 | 1226725.0938
38 | 2598129.169 | 1226760.8488
39 | 2598017.4196 | 1226597.2036
40 | 2597979.5458 | 1226516.8405
41 | 2597752.3786 | 1226337.885
42 | 2597796.0648 | 1226350.5745
43 | 2598044.602 | 1226537.0061

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97632 | -0.45425 | 0.072471 | 0.018163
1 | 0.9823 | -0.33725 | 0 | 0
2 | 0.97542 | -0.4718 | 0 | 0
3 | 0.97645 | -0.45107 | 0.003033 | 0.00076015
4 | 0.98412 | -0.30196 | 0.0038588 | 0.00096711
5 | 0.97452 | -0.48958 | 0.014138 | 0.0035434
6 | 0.97423 | -0.4945 | 0 | 0
7 | 0.98974 | -0.19408 | 0.0090167 | 0.0022598
8 | 0.97408 | -0.49759 | 0 | 0
9 | 0.9712 | -0.55432 | 0.021015 | 0.0052669
10 | 0.97434 | -0.49324 | 0 | 0
11 | 0.97291 | -0.52053 | 0 | 0
12 | 0.99215 | -0.14814 | 0 | 0
13 | 0.98972 | -0.19679 | 0 | 0
14 | 0.98854 | -0.21966 | 0.039773 | 0.0099679
15 | 0.99336 | -0.1265 | 0.0057709 | 0.0014463
16 | 0.97415 | -0.49686 | 0.0085376 | 0.0021397
17 | 0.9716 | -0.54863 | 0.006387 | 0.0016007
18 | 0.97207 | -0.53926 | 0.004176 | 0.0010466
19 | 0.97148 | -0.55086 | 0.01928 | 0.0048321
20 | 0.97258 | -0.52907 | 0.0070818 | 0.0017749
21 | 0.97454 | -0.49047 | 0 | 0
22 | 0.99616 | -0.072182 | 0.00022219 | 5.5686e-05
23 | 0.9777 | -0.42861 | 0.0038605 | 0.00096753
24 | 0.99882 | -0.022148 | 0.0036534 | 0.00091564
25 | 0.99376 | -0.11884 | 0.019899 | 0.0049872
26 | 0.99533 | -0.088495 | 0 | 0
27 | 0.99699 | -0.056964 | 0.00074926 | 0.00018778
28 | 0.99304 | -0.13214 | 0.0017275 | 0.00043295
29 | 0.99967 | -0.0061808 | 0.00070612 | 0.00017697
30 | 0.99302 | -0.13246 | 0.0018173 | 0.00045545
31 | 0.97903 | -0.40267 | 0.0044797 | 0.0011227
32 | 0.98075 | -0.36912 | 0.010521 | 0.0026367
33 | 0.97789 | -0.42486 | 0.0085595 | 0.0021452
34 | 0.98316 | -0.32232 | 0.0026438 | 0.00066261
35 | 0.98493 | -0.28803 | 0 | 0
36 | 0.98886 | -0.21215 | 0.0031622 | 0.00079252
37 | 0.98199 | -0.34533 | 0.073859 | 0.018511
38 | 0.98123 | -0.36032 | 0.0063024 | 0.0015795
39 | 0.99216 | -0.14897 | 0.0027213 | 0.00068203
40 | 1 | 0 | -0.39652 | -0.10176
41 | 0.97144 | -0.54959 | 0 | 0
42 | 0.97024 | -0.57329 | 0.028161 | 0.0070577
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.095188 | -0.023871 | 0.095722 | 0.024209 | 0.000534 | 0.00033835 | 0.14508 | 0.14508 | 0.14508 | 0.97632 | -0.45425 | 0.9823 | -0.33725 | 19.929
1 | 0.022717 | 0.0057079 | -0.022698 | -0.0056963 | 1.9016e-05 | 1.1642e-05 | 0.034629 | 0.034629 | 0.034629 | 0.97632 | -0.45425 | 0.97542 | -0.4718 | 9.5135
2 | 0.052766 | 0.013435 | -0.052478 | -0.013253 | 0.0002879 | 0.00018275 | 0.080007 | 0.080008 | 0.080008 | 0.9823 | -0.33725 | 0.97645 | -0.45107 | 21.9801
3 | -0.14849 | -0.037644 | 0.14874 | 0.037805 | 0.00025238 | 0.00016085 | 0.22509 | 0.22509 | 0.22509 | 0.9823 | -0.33725 | 0.98412 | -0.30196 | 30.9188
4 | 0.022698 | 0.0056963 | -0.022679 | -0.0056845 | 1.9223e-05 | 1.177e-05 | 0.034629 | 0.034629 | 0.034629 | 0.97542 | -0.4718 | 0.97452 | -0.48958 | 9.5135
5 | 0.049445 | 0.012492 | -0.049342 | -0.012427 | 0.00010271 | 6.5132e-05 | 0.075386 | 0.075386 | 0.075386 | 0.97645 | -0.45107 | 0.97423 | -0.4945 | 20.7104
6 | -0.1526 | -0.038772 | 0.1534 | 0.039278 | 0.000797 | 0.00050549 | 0.23092 | 0.23092 | 0.23092 | 0.98412 | -0.30196 | 0.98974 | -0.19408 | 21.1468
7 | 0.0085406 | 0.002141 | -0.0085391 | -0.0021404 | 1.4921e-06 | 6.6348e-07 | 0.013041 | 0.013041 | 0.013041 | 0.97452 | -0.48958 | 0.97434 | -0.49324 | 3.5827
8 | 0.028267 | 0.0071238 | -0.028232 | -0.0071019 | 3.5158e-05 | 2.1876e-05 | 0.043188 | 0.043188 | 0.043188 | 0.97423 | -0.4945 | 0.97291 | -0.52053 | 11.8649
9 | 0.021075 | 0.0053035 | -0.021072 | -0.0053016 | 3.1116e-06 | 1.8918e-06 | 0.032198 | 0.032198 | 0.032198 | 0.97423 | -0.4945 | 0.97408 | -0.49759 | 8.8455
10 | -0.16241 | -0.041538 | 0.16278 | 0.041768 | 0.00036201 | 0.00022981 | 0.24448 | 0.24448 | 0.24448 | 0.98974 | -0.19408 | 0.99215 | -0.14814 | 22.3881
11 | 0.021072 | 0.0053016 | -0.021015 | -0.0052669 | 5.6952e-05 | 3.4631e-05 | 0.032198 | 0.032198 | 0.032198 | 0.97408 | -0.49759 | 0.9712 | -0.55432 | 8.8457
12 | 0.0085391 | 0.0021404 | -0.0085376 | -0.0021397 | 1.4711e-06 | 6.5429e-07 | 0.013041 | 0.013041 | 0.013041 | 0.97434 | -0.49324 | 0.97415 | -0.49686 | 3.5827
13 | 0.028232 | 0.0071019 | -0.028192 | -0.0070775 | 3.9141e-05 | 2.4356e-05 | 0.043188 | 0.043189 | 0.043189 | 0.97291 | -0.52053 | 0.97144 | -0.54959 | 11.865
14 | -0.16278 | -0.041768 | 0.16338 | 0.04215 | 0.00060228 | 0.00038232 | 0.24448 | 0.24448 | 0.24448 | 0.99215 | -0.14814 | 0.99616 | -0.072182 | 22.388
15 | 0.039816 | 0.0099953 | -0.039773 | -0.0099679 | 4.3385e-05 | 2.7352e-05 | 0.059868 | 0.059868 | 0.059868 | 0.98972 | -0.19679 | 0.98854 | -0.21966 | 16.4473
16 | -0.039816 | -0.0099953 | 0.03995 | 0.01008 | 0.00013397 | 8.4456e-05 | 0.059868 | 0.059867 | 0.059868 | 0.98972 | -0.19679 | 0.99336 | -0.1265 | 16.4472
17 | -0.045721 | -0.011526 | 0.045738 | 0.011537 | 1.6759e-05 | 1.0602e-05 | 0.068512 | 0.068512 | 0.068512 | 0.99336 | -0.1265 | 0.99376 | -0.11884 | 18.822
18 | -0.025669 | -0.0064341 | 0.025681 | 0.0064411 | 1.1469e-05 | 7.0949e-06 | 0.039313 | 0.039313 | 0.039313 | 0.9716 | -0.54863 | 0.97207 | -0.53926 | 10.8004
19 | 0.019282 | 0.0048333 | -0.01928 | -0.0048321 | 2.0433e-06 | 1.2303e-06 | 0.029531 | 0.029531 | 0.029531 | 0.9716 | -0.54863 | 0.97148 | -0.55086 | 8.113
20 | -0.029857 | -0.0074877 | 0.029871 | 0.0074968 | 1.4511e-05 | 9.0572e-06 | 0.045706 | 0.045706 | 0.045706 | 0.97207 | -0.53926 | 0.97258 | -0.52907 | 12.5565
21 | -0.036953 | -0.0092717 | 0.037021 | 0.0093146 | 6.8134e-05 | 4.2899e-05 | 0.05654 | 0.05654 | 0.05654 | 0.97258 | -0.52907 | 0.97454 | -0.49047 | 15.5331
22 | -0.037021 | -0.0093146 | 0.037131 | 0.0093837 | 0.00010979 | 6.9119e-05 | 0.05654 | 0.05654 | 0.05654 | 0.97454 | -0.49047 | 0.9777 | -0.42861 | 15.533
23 | -0.1636 | -0.042206 | 0.164 | 0.042459 | 0.00039992 | 0.00025386 | 0.24481 | 0.24481 | 0.24481 | 0.99616 | -0.072182 | 0.99882 | -0.022148 | 22.4183
24 | -0.040991 | -0.010351 | 0.040999 | 0.010356 | 7.3635e-06 | 4.6494e-06 | 0.062415 | 0.062415 | 0.062415 | 0.9777 | -0.42861 | 0.97789 | -0.42486 | 17.147
25 | -0.16765 | -0.043375 | 0.16783 | 0.04349 | 0.00018157 | 0.00011529 | 0.25025 | 0.25025 | 0.25025 | 0.99882 | -0.022148 | 1 | 0 | 22.9166
26 | -0.065637 | -0.016524 | 0.065732 | 0.016585 | 9.5372e-05 | 6.0697e-05 | 0.098309 | 0.098308 | 0.098309 | 0.99376 | -0.11884 | 0.99533 | -0.088495 | 27.0079
27 | -0.22461 | -0.057285 | 0.22495 | 0.057503 | 0.00034255 | 0.00021829 | 0.33614 | 0.33614 | 0.33614 | 0.99533 | -0.088495 | 0.99699 | -0.056964 | 30.7824
28 | 0.15888 | 0.040701 | -0.15854 | -0.040488 | 0.00033523 | 0.0002127 | 0.23784 | 0.23784 | 0.23784 | 0.99533 | -0.088495 | 0.99304 | -0.13214 | 21.7799
29 | -0.2257 | -0.057691 | 0.22626 | 0.058045 | 0.00055591 | 0.00035425 | 0.33726 | 0.33726 | 0.33726 | 0.99699 | -0.056964 | 0.99967 | -0.0061808 | 30.8847
30 | 0.15681 | 0.040055 | -0.15681 | -0.040053 | 2.4008e-06 | 1.523e-06 | 0.23525 | 0.23525 | 0.23525 | 0.99304 | -0.13214 | 0.99302 | -0.13246 | 21.5428
31 | -0.22696 | -0.058222 | 0.22703 | 0.058266 | 6.8072e-05 | 4.3379e-05 | 0.33831 | 0.33831 | 0.33831 | 0.99967 | -0.0061808 | 1 | 0 | 30.9809
32 | 0.155 | 0.039598 | -0.15487 | -0.03952 | 0.00012363 | 7.8414e-05 | 0.23252 | 0.23252 | 0.23252 | 0.99302 | -0.13246 | 0.99216 | -0.14897 | 21.2935
33 | -0.054091 | -0.013657 | 0.054178 | 0.013713 | 8.7108e-05 | 5.5317e-05 | 0.082248 | 0.082248 | 0.082248 | 0.97903 | -0.40267 | 0.98075 | -0.36912 | 22.5957
34 | 0.049611 | 0.012534 | -0.049558 | -0.012501 | 5.2701e-05 | 3.3419e-05 | 0.07544 | 0.07544 | 0.07544 | 0.97903 | -0.40267 | 0.97789 | -0.42486 | 20.7252
35 | -0.064698 | -0.016349 | 0.064844 | 0.016442 | 0.00014551 | 9.2617e-05 | 0.09821 | 0.09821 | 0.09821 | 0.98075 | -0.36912 | 0.98316 | -0.32232 | 26.9808
36 | -0.067488 | -0.017104 | 0.067599 | 0.017175 | 0.00011139 | 7.0928e-05 | 0.10221 | 0.10221 | 0.10221 | 0.98316 | -0.32232 | 0.98493 | -0.28803 | 28.08
37 | -0.14798 | -0.037407 | 0.14853 | 0.037751 | 0.00054065 | 0.00034454 | 0.22369 | 0.22369 | 0.22369 | 0.98493 | -0.28803 | 0.98886 | -0.21215 | 30.7262
38 | 0.080385 | 0.020232 | -0.080166 | -0.020092 | 0.0002195 | 0.00013998 | 0.12148 | 0.12148 | 0.12148 | 0.98493 | -0.28803 | 0.98199 | -0.34533 | 33.3724
39 | -0.15169 | -0.038544 | 0.15215 | 0.038837 | 0.00046295 | 0.00029355 | 0.22844 | 0.22844 | 0.22844 | 0.98886 | -0.21215 | 0.99216 | -0.14897 | 20.9198
40 | 0.0063069 | 0.0015808 | -0.0063024 | -0.0015795 | 4.5019e-06 | 1.2198e-06 | 0.0095569 | 0.0095575 | 0.0095575 | 0.98199 | -0.34533 | 0.98123 | -0.36032 | 2.6257
41 | 0.028192 | 0.0070775 | -0.028161 | -0.0070577 | 3.182e-05 | 1.9803e-05 | 0.043189 | 0.043189 | 0.043189 | 0.97144 | -0.54959 | 0.97024 | -0.57329 | 11.8651

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39762 | 0.10203

## res_load
| p_mw | q_mvar
0 | 0.072471 | 0.018163
1 | 0.003033 | 0.00076015
2 | 0.0038588 | 0.00096711
3 | 0.014138 | 0.0035434
4 | 0.0090167 | 0.0022598
5 | 0.021015 | 0.0052669
6 | 0.039773 | 0.0099679
7 | 0.0057709 | 0.0014463
8 | 0.0085376 | 0.0021397
9 | 0.006387 | 0.0016007
10 | 0.004176 | 0.0010466
11 | 0.01928 | 0.0048321
12 | 0.0070818 | 0.0017749
13 | 0.00022219 | 5.5686e-05
14 | 0.0038605 | 0.00096753
15 | 0.0036534 | 0.00091564
16 | 0.019899 | 0.0049872
17 | 0.00074926 | 0.00018778
18 | 0.0017275 | 0.00043295
19 | 0.00070612 | 0.00017697
20 | 0.0018173 | 0.00045545
21 | 0.0044797 | 0.0011227
22 | 0.010521 | 0.0026367
23 | 0.0085595 | 0.0021452
24 | 0.0026438 | 0.00066261
25 | 0.0031622 | 0.00079252
26 | 0.073859 | 0.018511
27 | 0.0063024 | 0.0015795
28 | 0.0027213 | 0.00068203
29 | 0.0011029 | 0.00027641
30 | 0.028161 | 0.0070577

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1