## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-20_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-20_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-20_0_2_node_71 | 0.4 | n |  | TRUE
3 | bus_LV_2546-20_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-20_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_2546-20_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2546-20_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2546-20_0_2_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2546-20_0_2_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2546-20_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2546-20_0_2_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_2546-20_0_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_2546-20_0_2_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_2546-20_0_2_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2546-20_0_2_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_2546-20_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_2546-20_0_2_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_2546-20_0_2_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2546-20_0_2_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2546-20_0_2_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_2546-20_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2546-20_0_2_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2546-20_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2546-20_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2546-20_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2546-20_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2546-20_0_2_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_2546-20_0_2_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_2546-20_0_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2546-20_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2546-20_0_2_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_2546-20_0_2_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_2546-20_0_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_2546-20_0_2_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_2546-20_0_2_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_2546-20_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2546-20_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2546-20_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2546-20_0_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2546-20_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_2546-20_0_2_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_2546-20_0_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_2546-20_0_2_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_2546-20_0_2_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2546-20_0_2_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_2546-20_0_2_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_2546-20_0_2_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_2546-20_0_2_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_2546-20_0_2_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_2546-20_0_2_node_70 | 0.4 | n |  | TRUE
50 | bus_MV_521_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-20_0_2_load_0 | 0 | 0.012012 | 0.0030106 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-20_0_2_load_1 | 1 | 0.0016606 | 0.00041618 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-20_0_2_load_71 | 2 | 0.0015099 | 0.00037841 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-20_0_2_load_3 | 3 | 0.0048615 | 0.0012184 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-20_0_2_load_2 | 4 | 0.0009263 | 0.00023215 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-20_0_2_load_10 | 5 | 0.00298 | 0.00074686 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-20_0_2_load_11 | 6 | 0.00072023 | 0.00018051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-20_0_2_load_37 | 7 | 0.0015151 | 0.00037971 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-20_0_2_load_57 | 8 | 0.0019617 | 0.00049165 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-20_0_2_load_8 | 9 | 0.0032656 | 0.00081843 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-20_0_2_load_38 | 12 | 0.0035177 | 0.00088163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-20_0_2_load_33 | 13 | 0.0030497 | 0.00076432 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-20_0_2_load_4 | 14 | 0.0059843 | 0.0014998 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-20_0_2_load_5 | 15 | 0.0043494 | 0.0010901 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-20_0_2_load_6 | 16 | 0.0076397 | 0.0019147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-20_0_2_load_7 | 17 | 0.0035156 | 0.00088108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-20_0_2_load_59 | 19 | 0.0020003 | 0.00050131 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-20_0_2_load_21 | 20 | 0.0033774 | 0.00084645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-20_0_2_load_9 | 21 | 0.01096 | 0.0027467 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-20_0_2_load_16 | 22 | 0.0051437 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-20_0_2_load_17 | 23 | 0.00071356 | 0.00017884 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-20_0_2_load_77 | 26 | 0.0032451 | 0.00081331 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-20_0_2_load_78 | 27 | 0.0028782 | 0.00072133 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-20_0_2_load_34 | 28 | 0.0067409 | 0.0016894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-20_0_2_load_36 | 29 | 0.0031927 | 0.00080017 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-20_0_2_load_62 | 30 | 0.012908 | 0.0032351 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-20_0_2_load_60 | 32 | 0.07234 | 0.01813 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-20_0_2_load_96 | 33 | 0.0018098 | 0.00045357 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-20_0_2_load_65 | 34 | 0.0042291 | 0.0010599 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-20_0_2_load_41 | 35 | 0.013854 | 0.0034721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-20_0_2_load_42 | 36 | 0.0055042 | 0.0013795 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-20_0_2_load_43 | 37 | 0.0048842 | 0.0012241 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-20_0_2_load_45 | 39 | 0.0043603 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-20_0_2_load_98 | 40 | 0.001915 | 0.00047994 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-20_0_2_load_52 | 41 | 0.0057022 | 0.0014291 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-20_0_2_load_53 | 42 | 0.0026945 | 0.00067531 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-20_0_2_load_54 | 43 | 0.0019074 | 0.00047803 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-20_0_2_load_68 | 45 | 0.00062796 | 0.00015738 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-20_0_2_load_69 | 46 | 0.0042283 | 0.0010597 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-20_0_2_load_63 | 47 | 0.0028877 | 0.00072373 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-20_0_2_load_64 | 48 | 0.001879 | 0.00047091 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2546-20_0_2_load_70 | 49 | 0.0003257 | 8.1627e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-20_0_2_line_0 |  | 0 | 1 | 0.0051055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-20_0_2_line_1 |  | 0 | 2 | 0.050409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-20_0_2_line_2 |  | 1 | 3 | 0.025547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-20_0_2_line_3 |  | 2 | 6 | 0.025781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-20_0_2_line_4 |  | 2 | 7 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-20_0_2_line_5 |  | 3 | 8 | 0.024695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-20_0_2_line_6 |  | 4 | 5 | 0.048628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-20_0_2_line_7 |  | 5 | 9 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-20_0_2_line_8 |  | 6 | 21 | 0.00097676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-20_0_2_line_9 |  | 7 | 11 | 0.0080794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-20_0_2_line_10 |  | 8 | 10 | 0.06436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-20_0_2_line_11 |  | 9 | 21 | 0.028666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-20_0_2_line_12 |  | 10 | 40 | 0.065897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-20_0_2_line_13 |  | 11 | 12 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-20_0_2_line_14 |  | 11 | 13 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-20_0_2_line_15 |  | 12 | 31 | 0.02956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-20_0_2_line_16 |  | 13 | 28 | 0.02089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-20_0_2_line_17 |  | 14 | 15 | 0.026953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-20_0_2_line_18 |  | 14 | 16 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-20_0_2_line_19 |  | 16 | 17 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-20_0_2_line_20 |  | 17 | 18 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-20_0_2_line_21 |  | 18 | 19 | 0.011675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-20_0_2_line_22 |  | 18 | 20 | 0.02183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-20_0_2_line_23 |  | 19 | 33 | 0.030756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-20_0_2_line_24 |  | 20 | 24 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-20_0_2_line_25 |  | 22 | 23 | 0.013345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-20_0_2_line_26 |  | 22 | 24 | 0.027165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-20_0_2_line_27 |  | 24 | 25 | 0.003726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-20_0_2_line_28 |  | 25 | 26 | 0.034334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-20_0_2_line_29 |  | 26 | 27 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-20_0_2_line_30 |  | 28 | 29 | 0.0011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-20_0_2_line_31 |  | 29 | 30 | 0.035619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-20_0_2_line_32 |  | 30 | 32 | 0.0063067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-20_0_2_line_33 |  | 31 | 33 | 0.0022519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-20_0_2_line_34 |  | 31 | 34 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-20_0_2_line_35 |  | 32 | 38 | 0.023337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-20_0_2_line_36 |  | 34 | 48 | 0.00031125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-20_0_2_line_37 |  | 35 | 36 | 0.024134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-20_0_2_line_38 |  | 35 | 37 | 0.0017838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-20_0_2_line_39 |  | 36 | 38 | 0.028371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-20_0_2_line_40 |  | 37 | 39 | 0.0069438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-20_0_2_line_41 |  | 40 | 49 | 0.083856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-20_0_2_line_42 |  | 41 | 42 | 0.022895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-20_0_2_line_43 |  | 41 | 43 | 0.021323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-20_0_2_line_44 |  | 43 | 44 | 0.041453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-20_0_2_line_45 |  | 44 | 45 | 0.019446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2546-20_0_2_line_46 |  | 45 | 46 | 0.0029042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2546-20_0_2_line_47 |  | 46 | 49 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-20_0_2_line_48 |  | 47 | 48 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-20_0_2_trafo_36 | 0.63 MVA 20/0.4 kV | 50 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2596617.8574 | 1226336.6409 | 2596622.7467 | 1226338.1106
1 | 2596623.4218 | 1226286.5401 | 2596617.8574 | 1226336.6409
2 | 2596622.7467 | 1226338.1106 | 2596647.2127 | 1226345.465
3 | 2596623.4218 | 1226286.5401 | 2596604.4985 | 1226283.1006 | 2596598.1675 | 1226281.4301
4 | 2596623.4218 | 1226286.5401 | 2596646.6067 | 1226290.7543
5 | 2596647.2127 | 1226345.465 | 2596670.862 | 1226352.5738
6 | 2596549.0732 | 1226268.489 | 2596542.545 | 1226316.6764
7 | 2596549.0732 | 1226268.489 | 2596552.8998 | 1226269.8009 | 2596569.5022 | 1226273.8828
8 | 2596597.2231 | 1226281.1809 | 2596598.1675 | 1226281.4301
9 | 2596654.5559 | 1226292.1991 | 2596646.6067 | 1226290.7543
10 | 2596732.4979 | 1226371.1011 | 2596670.862 | 1226352.5738
11 | 2596569.5022 | 1226273.8828 | 2596570.4025 | 1226274.1042 | 2596597.2231 | 1226281.1809
12 | 2596732.4979 | 1226371.1011 | 2596705.2707 | 1226431.1105
13 | 2596654.5559 | 1226292.1991 | 2596656.0676 | 1226284.9607 | 2596657.6222 | 1226277.5245
14 | 2596654.5559 | 1226292.1991 | 2596667.3958 | 1226294.3147
15 | 2596663.6713 | 1226248.5905 | 2596657.6222 | 1226277.5245
16 | 2596688.0075 | 1226297.7108 | 2596667.3958 | 1226294.3147
17 | 2596721.8127 | 1226224.0285 | 2596746.7784 | 1226234.1867
18 | 2596721.8127 | 1226224.0285 | 2596705.4015 | 1226217.351
19 | 2596696.0231 | 1226213.535 | 2596705.4015 | 1226217.351
20 | 2596679.2831 | 1226206.7237 | 2596696.0231 | 1226213.535
21 | 2596679.2831 | 1226206.7237 | 2596675.204 | 1226217.6627
22 | 2596679.2831 | 1226206.7237 | 2596683.8009 | 1226194.6029 | 2596686.9189 | 1226186.2722
23 | 2596675.204 | 1226217.6627 | 2596664.4581 | 1226246.4806
24 | 2596692.2994 | 1226171.8959 | 2596686.9189 | 1226186.2722
25 | 2596717.2415 | 1226182.6574 | 2596729.4949 | 1226187.9442
26 | 2596692.2994 | 1226171.8959 | 2596717.2415 | 1226182.6574
27 | 2596692.2994 | 1226171.8959 | 2596693.6011 | 1226168.4042
28 | 2596693.6011 | 1226168.4042 | 2596688.9016 | 1226167.8065 | 2596683.3992 | 1226167.9987 | 2596661.4519 | 1226177.9334
29 | 2596661.4519 | 1226177.9334 | 2596635.4964 | 1226189.6825
30 | 2596688.0075 | 1226297.7108 | 2596689.1199 | 1226297.8941
31 | 2596689.1199 | 1226297.8941 | 2596718.3018 | 1226302.7023 | 2596724.2481 | 1226303.7854
32 | 2596730.4526 | 1226304.9156 | 2596724.2481 | 1226303.7854
33 | 2596663.6713 | 1226248.5905 | 2596664.4581 | 1226246.4806
34 | 2596663.6713 | 1226248.5905 | 2596647.5292 | 1226243.475
35 | 2596753.4115 | 1226309.0975 | 2596730.4526 | 1226304.9156
36 | 2596647.2325 | 1226243.3809 | 2596647.5292 | 1226243.475
37 | 2596774.0314 | 1226260.8108 | 2596764.5533 | 1226283.0061
38 | 2596774.0314 | 1226260.8108 | 2596774.7319 | 1226259.1703
39 | 2596753.4115 | 1226309.0975 | 2596764.5533 | 1226283.0061
40 | 2596777.4589 | 1226252.7844 | 2596774.7319 | 1226259.1703
41 | 2596622.9506 | 1226447.0846 | 2596705.2707 | 1226431.1105
42 | 2596530.836 | 1226399.7804 | 2596520.8999 | 1226394.9044 | 2596509.9957 | 1226390.3258
43 | 2596530.836 | 1226399.7804 | 2596543.0975 | 1226405.7976 | 2596549.8554 | 1226409.4134
44 | 2596585.9855 | 1226429.7307 | 2596557.502 | 1226413.5047 | 2596549.8554 | 1226409.4134
45 | 2596585.9855 | 1226429.7307 | 2596602.7995 | 1226436.7028 | 2596603.9047 | 1226437.2722
46 | 2596603.9047 | 1226437.2722 | 2596606.4864 | 1226438.6023
47 | 2596606.4864 | 1226438.6023 | 2596622.9506 | 1226447.0846
48 | 2596625.4628 | 1226236.482 | 2596647.2325 | 1226243.3809

## bus_geodata
| x | y | coords
0 | 2596617.8574 | 1226336.6409
1 | 2596622.7467 | 1226338.1106
2 | 2596623.4218 | 1226286.5401
3 | 2596647.2127 | 1226345.465
4 | 2596542.545 | 1226316.6764
5 | 2596549.0732 | 1226268.489
6 | 2596598.1675 | 1226281.4301
7 | 2596646.6067 | 1226290.7543
8 | 2596670.862 | 1226352.5738
9 | 2596569.5022 | 1226273.8828
10 | 2596732.4979 | 1226371.1011
11 | 2596654.5559 | 1226292.1991
12 | 2596657.6222 | 1226277.5245
13 | 2596667.3958 | 1226294.3147
14 | 2596721.8127 | 1226224.0285
15 | 2596746.7784 | 1226234.1867
16 | 2596705.4015 | 1226217.351
17 | 2596696.0231 | 1226213.535
18 | 2596679.2831 | 1226206.7237
19 | 2596675.204 | 1226217.6627
20 | 2596686.9189 | 1226186.2722
21 | 2596597.2231 | 1226281.1809
22 | 2596717.2415 | 1226182.6574
23 | 2596729.4949 | 1226187.9442
24 | 2596692.2994 | 1226171.8959
25 | 2596693.6011 | 1226168.4042
26 | 2596661.4519 | 1226177.9334
27 | 2596635.4964 | 1226189.6825
28 | 2596688.0075 | 1226297.7108
29 | 2596689.1199 | 1226297.8941
30 | 2596724.2481 | 1226303.7854
31 | 2596663.6713 | 1226248.5905
32 | 2596730.4526 | 1226304.9156
33 | 2596664.4581 | 1226246.4806
34 | 2596647.5292 | 1226243.475
35 | 2596774.0314 | 1226260.8108
36 | 2596764.5533 | 1226283.0061
37 | 2596774.7319 | 1226259.1703
38 | 2596753.4115 | 1226309.0975
39 | 2596777.4589 | 1226252.7844
40 | 2596705.2707 | 1226431.1105
41 | 2596530.836 | 1226399.7804
42 | 2596509.9957 | 1226390.3258
43 | 2596549.8554 | 1226409.4134
44 | 2596585.9855 | 1226429.7307
45 | 2596603.9047 | 1226437.2722
46 | 2596606.4864 | 1226438.6023
47 | 2596625.4628 | 1226236.482
48 | 2596647.2325 | 1226243.3809
49 | 2596622.9506 | 1226447.0846
50 | 2596711.3669 | 1226301.5597

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99287 | -0.13692 | 0.012012 | 0.0030106
1 | 0.99275 | -0.13926 | 0.0016606 | 0.00041618
2 | 0.99462 | -0.10319 | 0.0015099 | 0.00037841
3 | 0.99218 | -0.15022 | 0.0048615 | 0.0012184
4 | 0.99385 | -0.11795 | 0.0009263 | 0.00023215
5 | 0.9939 | -0.11716 | 0.00298 | 0.00074686
6 | 0.99418 | -0.11176 | 0.00072023 | 0.00018051
7 | 0.99587 | -0.079027 | 0.0015151 | 0.00037971
8 | 0.99174 | -0.15869 | 0.0019617 | 0.00049165
9 | 0.99397 | -0.1157 | 0.0032656 | 0.00081843
10 | 0.99071 | -0.17857 | 0 | 0
11 | 0.99632 | -0.07054 | 0 | 0
12 | 0.99559 | -0.08455 | 0.0035177 | 0.00088163
13 | 0.99766 | -0.044761 | 0.0030497 | 0.00076432
14 | 0.99199 | -0.15405 | 0.0059843 | 0.0014998
15 | 0.99188 | -0.15613 | 0.0043494 | 0.0010901
16 | 0.99216 | -0.15081 | 0.0076397 | 0.0019147
17 | 0.99232 | -0.14759 | 0.0035156 | 0.00088108
18 | 0.99268 | -0.14072 | 0 | 0
19 | 0.99307 | -0.13311 | 0.0020003 | 0.00050131
20 | 0.99237 | -0.14665 | 0.0033774 | 0.00084645
21 | 0.99416 | -0.11207 | 0.01096 | 0.0027467
22 | 0.99206 | -0.15273 | 0.0051437 | 0.0012891
23 | 0.99205 | -0.15289 | 0.00071356 | 0.00017884
24 | 0.9922 | -0.14991 | 0 | 0
25 | 0.99218 | -0.15031 | 0 | 0
26 | 0.99199 | -0.15404 | 0.0032451 | 0.00081331
27 | 0.99192 | -0.15549 | 0.0028782 | 0.00072133
28 | 0.99987 | -0.0024127 | 0.0067409 | 0.0016894
29 | 1 | 0 | -0.23954 | -0.060112
30 | 0.99631 | -0.070946 | 0.012908 | 0.0032351
31 | 0.99425 | -0.1104 | 0 | 0
32 | 0.99573 | -0.082131 | 0.07234 | 0.01813
33 | 0.99416 | -0.11201 | 0.0018098 | 0.00045357
34 | 0.99411 | -0.11309 | 0.0042291 | 0.0010599
35 | 0.99387 | -0.118 | 0.013854 | 0.0034721
36 | 0.99438 | -0.10817 | 0.0055042 | 0.0013795
37 | 0.99385 | -0.11829 | 0.0048842 | 0.0012241
38 | 0.99512 | -0.093873 | 0 | 0
39 | 0.99383 | -0.11882 | 0.0043603 | 0.0010928
40 | 0.98966 | -0.19896 | 0.001915 | 0.00047994
41 | 0.98744 | -0.2421 | 0.0057022 | 0.0014291
42 | 0.98739 | -0.2432 | 0.0026945 | 0.00067531
43 | 0.98761 | -0.23889 | 0.0019074 | 0.00047803
44 | 0.988 | -0.23126 | 0 | 0
45 | 0.98818 | -0.22769 | 0.00062796 | 0.00015738
46 | 0.98821 | -0.22712 | 0.0042283 | 0.0010597
47 | 0.99405 | -0.11427 | 0.0028877 | 0.00072373
48 | 0.99411 | -0.11311 | 0.001879 | 0.00047091
49 | 0.98847 | -0.22211 | 0.0003257 | 8.1627e-05
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02597 | 0.0065366 | -0.025967 | -0.0065349 | 2.9017e-06 | 1.7911e-06 | 0.038931 | 0.038931 | 0.038931 | 0.99287 | -0.13692 | 0.99275 | -0.13926 | 10.6953
1 | -0.037982 | -0.0095472 | 0.038043 | 0.0095858 | 6.1274e-05 | 3.8562e-05 | 0.056934 | 0.056933 | 0.056934 | 0.99287 | -0.13692 | 0.99462 | -0.10319 | 15.6411
2 | 0.024306 | 0.0061187 | -0.024294 | -0.0061109 | 1.2723e-05 | 7.8125e-06 | 0.036442 | 0.036442 | 0.036442 | 0.99275 | -0.13926 | 0.99218 | -0.15022 | 10.0115
3 | 0.018861 | 0.0047291 | -0.018854 | -0.0047246 | 7.6983e-06 | 4.5925e-06 | 0.028218 | 0.028218 | 0.028218 | 0.99462 | -0.10319 | 0.99418 | -0.11176 | 7.7523
4 | -0.058414 | -0.014693 | 0.058482 | 0.014736 | 6.7519e-05 | 4.2906e-05 | 0.087411 | 0.087411 | 0.087411 | 0.99462 | -0.10319 | 0.99587 | -0.079027 | 24.0139
5 | 0.019432 | 0.0048925 | -0.019424 | -0.0048878 | 7.8694e-06 | 4.7177e-06 | 0.029151 | 0.029151 | 0.029151 | 0.99218 | -0.15022 | 0.99174 | -0.15869 | 8.0086
6 | -0.0009263 | -0.00023215 | 0.00092633 | 0.00023154 | 3.5068e-08 | -6.0773e-07 | 0.0013869 | 0.0013866 | 0.0013869 | 0.99385 | -0.11795 | 0.9939 | -0.11716 | 0.38101
7 | -0.0039063 | -0.0009784 | 0.0039066 | 0.0009783 | 2.7115e-07 | -1.0048e-07 | 0.0058482 | 0.0058481 | 0.0058482 | 0.9939 | -0.11716 | 0.99397 | -0.1157 | 1.6066
8 | 0.018133 | 0.004544 | -0.018133 | -0.0045439 | 2.6981e-07 | 1.6001e-07 | 0.027141 | 0.027141 | 0.027141 | 0.99418 | -0.11176 | 0.99416 | -0.11207 | 7.4562
9 | -0.059997 | -0.015116 | 0.060021 | 0.015131 | 2.4364e-05 | 1.5488e-05 | 0.089674 | 0.089674 | 0.089674 | 0.99587 | -0.079027 | 0.99632 | -0.07054 | 24.6358
10 | 0.017463 | 0.0043961 | -0.017446 | -0.0043863 | 1.6577e-05 | 9.7799e-06 | 0.026208 | 0.026208 | 0.026208 | 0.99174 | -0.15869 | 0.99071 | -0.17857 | 7.2
11 | -0.0071722 | -0.0017967 | 0.0071734 | 0.0017972 | 1.2392e-06 | 4.2145e-07 | 0.010737 | 0.010737 | 0.010737 | 0.99397 | -0.1157 | 0.99416 | -0.11207 | 2.9497
12 | 0.017446 | 0.0043863 | -0.017429 | -0.0043763 | 1.6974e-05 | 1.0016e-05 | 0.026208 | 0.026208 | 0.026208 | 0.99071 | -0.17857 | 0.98966 | -0.19896 | 7.2001
13 | 0.053345 | 0.013433 | -0.053309 | -0.01341 | 3.5705e-05 | 2.2656e-05 | 0.079694 | 0.079694 | 0.079694 | 0.99632 | -0.07054 | 0.99559 | -0.08455 | 21.8939
14 | -0.11337 | -0.028564 | 0.11351 | 0.028654 | 0.00013998 | 8.9419e-05 | 0.16937 | 0.16937 | 0.16937 | 0.99632 | -0.07054 | 0.99766 | -0.044761 | 46.5297
15 | 0.049791 | 0.012529 | -0.04973 | -0.01249 | 6.1418e-05 | 3.8924e-05 | 0.074436 | 0.074436 | 0.074436 | 0.99559 | -0.08455 | 0.99425 | -0.1104 | 20.4496
16 | -0.11656 | -0.029418 | 0.11679 | 0.029569 | 0.00023694 | 0.00015137 | 0.17392 | 0.17392 | 0.17392 | 0.99766 | -0.044761 | 0.99987 | -0.0024127 | 47.7793
17 | 0.0043499 | 0.00109 | -0.0043494 | -0.0010901 | 4.3032e-07 | -7.2519e-08 | 0.0065249 | 0.006525 | 0.006525 | 0.99199 | -0.15405 | 0.99188 | -0.15613 | 1.7926
18 | -0.010334 | -0.0025898 | 0.010336 | 0.0025906 | 1.5966e-06 | 7.9303e-07 | 0.015502 | 0.015501 | 0.015502 | 0.99199 | -0.15405 | 0.99216 | -0.15081 | 4.2587
19 | -0.017975 | -0.0045053 | 0.017978 | 0.0045069 | 2.7596e-06 | 1.6354e-06 | 0.026959 | 0.026959 | 0.026959 | 0.99216 | -0.15081 | 0.99232 | -0.14759 | 7.4064
20 | -0.021494 | -0.005388 | 0.021501 | 0.0053923 | 7.0404e-06 | 4.2723e-06 | 0.032231 | 0.032231 | 0.032231 | 0.99232 | -0.14759 | 0.99268 | -0.14072 | 8.8547
21 | -0.036867 | -0.0092448 | 0.036881 | 0.0092533 | 1.3372e-05 | 8.4068e-06 | 0.055265 | 0.055265 | 0.055265 | 0.99268 | -0.14072 | 0.99307 | -0.13311 | 15.1828
22 | 0.015366 | 0.0038526 | -0.015362 | -0.0038501 | 4.3436e-06 | 2.4978e-06 | 0.023034 | 0.023035 | 0.023035 | 0.99268 | -0.14072 | 0.99237 | -0.14665 | 6.3282
23 | -0.038881 | -0.0097546 | 0.03892 | 0.0097792 | 3.9151e-05 | 2.4658e-05 | 0.058263 | 0.058262 | 0.058263 | 0.99307 | -0.13311 | 0.99416 | -0.11201 | 16.0062
24 | 0.011985 | 0.0030036 | -0.011983 | -0.0030026 | 1.8589e-06 | 9.9142e-07 | 0.01797 | 0.01797 | 0.01797 | 0.99237 | -0.14665 | 0.9922 | -0.14991 | 4.9369
25 | 0.00071357 | 0.00017867 | -0.00071356 | -0.00017884 | 5.7326e-09 | -1.6864e-07 | 0.0010702 | 0.0010703 | 0.0010703 | 0.99206 | -0.15273 | 0.99205 | -0.15289 | 0.29404
26 | -0.0058573 | -0.0014678 | 0.005858 | 0.0014679 | 7.8623e-07 | 1.524e-07 | 0.0087854 | 0.0087853 | 0.0087854 | 0.99206 | -0.15273 | 0.9922 | -0.14991 | 2.4136
27 | 0.0061247 | 0.0015347 | -0.0061246 | -0.0015347 | 1.1788e-07 | 2.7322e-08 | 0.0091851 | 0.0091852 | 0.0091852 | 0.9922 | -0.14991 | 0.99218 | -0.15031 | 2.5234
28 | 0.0061246 | 0.0015347 | -0.0061235 | -0.0015344 | 1.0863e-06 | 2.5188e-07 | 0.0091852 | 0.0091853 | 0.0091853 | 0.99218 | -0.15031 | 0.99199 | -0.15404 | 2.5234
29 | 0.0028784 | 0.00072109 | -0.0028782 | -0.00072133 | 1.9917e-07 | -2.4032e-07 | 0.0043175 | 0.0043176 | 0.0043176 | 0.99199 | -0.15404 | 0.99192 | -0.15549 | 1.1862
30 | -0.12353 | -0.031259 | 0.12355 | 0.031268 | 1.4306e-05 | 9.1408e-06 | 0.18395 | 0.18395 | 0.18395 | 0.99987 | -0.0024127 | 1 | 0 | 50.5353
31 | 0.11434 | 0.028844 | -0.11395 | -0.028597 | 0.00038695 | 0.00024718 | 0.1702 | 0.1702 | 0.1702 | 1 | 0 | 0.99631 | -0.070946 | 46.7593
32 | 0.10104 | 0.025362 | -0.10099 | -0.025327 | 5.3871e-05 | 3.4395e-05 | 0.15092 | 0.15092 | 0.15092 | 0.99631 | -0.070946 | 0.99573 | -0.082131 | 41.4629
33 | 0.040733 | 0.010235 | -0.04073 | -0.010233 | 3.1393e-06 | 1.9799e-06 | 0.060971 | 0.060971 | 0.060971 | 0.99425 | -0.1104 | 0.99416 | -0.11201 | 16.7503
34 | 0.0089971 | 0.0022549 | -0.0089959 | -0.0022544 | 1.1513e-06 | 5.1729e-07 | 0.013465 | 0.013465 | 0.013465 | 0.99425 | -0.1104 | 0.99411 | -0.11309 | 3.6993
35 | 0.028649 | 0.0071972 | -0.028633 | -0.0071872 | 1.6045e-05 | 9.9657e-06 | 0.042819 | 0.042819 | 0.042819 | 0.99573 | -0.082131 | 0.99512 | -0.093873 | 11.7636
36 | 0.0047668 | 0.0011944 | -0.0047668 | -0.0011944 | 5.9423e-09 | -2.3221e-10 | 0.0071351 | 0.0071351 | 0.0071351 | 0.99411 | -0.11309 | 0.99411 | -0.11311 | 1.9602
37 | -0.023098 | -0.005789 | 0.023109 | 0.0057956 | 1.0824e-05 | 6.6145e-06 | 0.034583 | 0.034583 | 0.034583 | 0.99387 | -0.118 | 0.99438 | -0.10817 | 9.5008
38 | 0.0092447 | 0.0023169 | -0.0092446 | -0.0023169 | 1.2815e-07 | 5.89e-08 | 0.013841 | 0.013841 | 0.013841 | 0.99387 | -0.118 | 0.99385 | -0.11829 | 3.8025
39 | -0.028613 | -0.0071751 | 0.028633 | 0.0071872 | 1.9507e-05 | 1.2116e-05 | 0.042819 | 0.042819 | 0.042819 | 0.99438 | -0.10817 | 0.99512 | -0.093873 | 11.7636
40 | 0.0043604 | 0.0010928 | -0.0043603 | -0.0010928 | 1.1098e-07 | -1.895e-08 | 0.0065285 | 0.0065285 | 0.0065285 | 0.99385 | -0.11829 | 0.99383 | -0.11882 | 1.7935
41 | 0.015514 | 0.0038964 | -0.015497 | -0.0038865 | 1.7115e-05 | 9.8772e-06 | 0.023329 | 0.02333 | 0.02333 | 0.98966 | -0.19896 | 0.98847 | -0.22211 | 6.4092
42 | 0.0026947 | 0.00067511 | -0.0026945 | -0.00067531 | 1.4157e-07 | -2.0225e-07 | 0.0040606 | 0.0040607 | 0.0040607 | 0.98744 | -0.2421 | 0.98739 | -0.2432 | 1.1156
43 | -0.0083969 | -0.0021042 | 0.0083982 | 0.0021048 | 1.2802e-06 | 5.4656e-07 | 0.012654 | 0.012653 | 0.012654 | 0.98744 | -0.2421 | 0.98761 | -0.23889 | 3.4762
44 | -0.010306 | -0.0025828 | 0.010309 | 0.0025847 | 3.7478e-06 | 1.8679e-06 | 0.015527 | 0.015527 | 0.015527 | 0.98761 | -0.23889 | 0.988 | -0.23126 | 4.2657
45 | -0.010309 | -0.0025847 | 0.010311 | 0.0025855 | 1.758e-06 | 8.7607e-07 | 0.015527 | 0.015527 | 0.015527 | 0.988 | -0.23126 | 0.98818 | -0.22769 | 4.2657
46 | -0.010939 | -0.0027429 | 0.010939 | 0.0027431 | 2.9551e-07 | 1.5192e-07 | 0.016473 | 0.016473 | 0.016473 | 0.98818 | -0.22769 | 0.98821 | -0.22712 | 4.5254
47 | -0.015168 | -0.0038028 | 0.015171 | 0.0038049 | 3.6229e-06 | 2.0813e-06 | 0.022839 | 0.022839 | 0.022839 | 0.98821 | -0.22712 | 0.98847 | -0.22211 | 6.2745
48 | -0.0028877 | -0.00072373 | 0.0028879 | 0.00072354 | 1.6002e-07 | -1.9365e-07 | 0.0043227 | 0.0043226 | 0.0043227 | 0.99405 | -0.11427 | 0.99411 | -0.11311 | 1.1876

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24273 | 0.060912

## res_load
| p_mw | q_mvar
0 | 0.012012 | 0.0030106
1 | 0.0016606 | 0.00041618
2 | 0.0015099 | 0.00037841
3 | 0.0048615 | 0.0012184
4 | 0.0009263 | 0.00023215
5 | 0.00298 | 0.00074686
6 | 0.00072023 | 0.00018051
7 | 0.0015151 | 0.00037971
8 | 0.0019617 | 0.00049165
9 | 0.0032656 | 0.00081843
10 | 0.0035177 | 0.00088163
11 | 0.0030497 | 0.00076432
12 | 0.0059843 | 0.0014998
13 | 0.0043494 | 0.0010901
14 | 0.0076397 | 0.0019147
15 | 0.0035156 | 0.00088108
16 | 0.0020003 | 0.00050131
17 | 0.0033774 | 0.00084645
18 | 0.01096 | 0.0027467
19 | 0.0051437 | 0.0012891
20 | 0.00071356 | 0.00017884
21 | 0.0032451 | 0.00081331
22 | 0.0028782 | 0.00072133
23 | 0.0067409 | 0.0016894
24 | 0.0031927 | 0.00080017
25 | 0.012908 | 0.0032351
26 | 0.07234 | 0.01813
27 | 0.0018098 | 0.00045357
28 | 0.0042291 | 0.0010599
29 | 0.013854 | 0.0034721
30 | 0.0055042 | 0.0013795
31 | 0.0048842 | 0.0012241
32 | 0.0043603 | 0.0010928
33 | 0.001915 | 0.00047994
34 | 0.0057022 | 0.0014291
35 | 0.0026945 | 0.00067531
36 | 0.0019074 | 0.00047803
37 | 0.00062796 | 0.00015738
38 | 0.0042283 | 0.0010597
39 | 0.0028877 | 0.00072373
40 | 0.001879 | 0.00047091
41 | 0.0003257 | 8.1627e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1