## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-20_1_3_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_2546-20_1_3_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_2546-20_1_3_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_2546-20_1_3_node_89 | 0.4 | n |  | TRUE
4 | bus_LV_2546-20_1_3_node_75 | 0.4 | n |  | TRUE
5 | bus_LV_2546-20_1_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2546-20_1_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_2546-20_1_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2546-20_1_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2546-20_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2546-20_1_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_2546-20_1_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_2546-20_1_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_2546-20_1_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2546-20_1_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_2546-20_1_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_2546-20_1_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_2546-20_1_3_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2546-20_1_3_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_2546-20_1_3_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_2546-20_1_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_2546-20_1_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_2546-20_1_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_2546-20_1_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_2546-20_1_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2546-20_1_3_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_2546-20_1_3_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_2546-20_1_3_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_2546-20_1_3_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_2546-20_1_3_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_2546-20_1_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_2546-20_1_3_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_2546-20_1_3_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_2546-20_1_3_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_2546-20_1_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_2546-20_1_3_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_2546-20_1_3_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_2546-20_1_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_2546-20_1_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_2546-20_1_3_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_2546-20_1_3_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_2546-20_1_3_node_94 | 0.4 | n |  | TRUE
42 | bus_MV_521_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-20_1_3_load_13 | 0 | 0.0018733 | 0.0004695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-20_1_3_load_14 | 1 | 0.0016301 | 0.00040854 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-20_1_3_load_89 | 3 | 0.0027486 | 0.00068887 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-20_1_3_load_75 | 4 | 0.015668 | 0.0039268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-20_1_3_load_19 | 5 | 0.0018937 | 0.00047462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-20_1_3_load_39 | 6 | 0.0032124 | 0.0008051 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-20_1_3_load_22 | 7 | 0.023392 | 0.0058627 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-20_1_3_load_25 | 9 | 0.0011542 | 0.00028927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-20_1_3_load_49 | 10 | 0.0040659 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-20_1_3_load_27 | 11 | 0.0079604 | 0.0019951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-20_1_3_load_28 | 12 | 0.0088248 | 0.0022117 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-20_1_3_load_31 | 15 | 0.0086663 | 0.002172 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-20_1_3_load_32 | 16 | 0.018068 | 0.0045284 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-20_1_3_load_90 | 18 | 0.0030447 | 0.00076306 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-20_1_3_load_85 | 19 | 0.011686 | 0.0029289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-20_1_3_load_72 | 20 | 0.018275 | 0.0045802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-20_1_3_load_40 | 21 | 0.0012773 | 0.00032012 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-20_1_3_load_46 | 22 | 0.013469 | 0.0033756 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-20_1_3_load_82 | 26 | 0.01699 | 0.0042581 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-20_1_3_load_99 | 28 | 0.0032964 | 0.00082615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-20_1_3_load_66 | 29 | 0.0020109 | 0.00050398 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-20_1_3_load_73 | 31 | 0.0045917 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-20_1_3_load_74 | 32 | 0.007621 | 0.00191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-20_1_3_load_80 | 33 | 0.0012916 | 0.00032371 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-20_1_3_load_81 | 34 | 0.001203 | 0.00030149 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-20_1_3_load_83 | 35 | 0.0014677 | 0.00036784 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-20_1_3_load_84 | 36 | 0.0057637 | 0.0014445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-20_1_3_load_87 | 38 | 0.0086844 | 0.0021765 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-20_1_3_load_91 | 39 | 0.021034 | 0.0052716 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-20_1_3_load_94 | 41 | 0.016881 | 0.0042307 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-20_1_3_line_0 |  | 0 | 1 | 0.024366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-20_1_3_line_1 |  | 1 | 2 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-20_1_3_line_2 |  | 2 | 3 | 0.013733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-20_1_3_line_3 |  | 2 | 4 | 0.044989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-20_1_3_line_4 |  | 3 | 18 | 0.011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-20_1_3_line_5 |  | 4 | 31 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-20_1_3_line_6 |  | 5 | 6 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-20_1_3_line_7 |  | 6 | 21 | 0.0055626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-20_1_3_line_8 |  | 7 | 8 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-20_1_3_line_9 |  | 8 | 9 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-20_1_3_line_10 |  | 9 | 10 | 0.0046208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-20_1_3_line_11 |  | 10 | 17 | 0.022156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-20_1_3_line_12 |  | 11 | 12 | 0.037264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-20_1_3_line_13 |  | 11 | 13 | 0.0052512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-20_1_3_line_14 |  | 12 | 14 | 0.016148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2546-20_1_3_line_15 |  | 13 | 15 | 0.030937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-20_1_3_line_16 |  | 13 | 16 | 0.028539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-20_1_3_line_17 |  | 14 | 17 | 0.023036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-20_1_3_line_18 |  | 14 | 18 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-20_1_3_line_19 |  | 15 | 19 | 0.059104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-20_1_3_line_20 |  | 16 | 20 | 0.0053354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-20_1_3_line_21 |  | 17 | 22 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-20_1_3_line_22 |  | 19 | 37 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-20_1_3_line_23 |  | 20 | 21 | 0.055747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-20_1_3_line_24 |  | 22 | 23 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-20_1_3_line_25 |  | 23 | 24 | 0.008201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-20_1_3_line_26 |  | 23 | 25 | 0.003494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-20_1_3_line_27 |  | 24 | 26 | 0.00037683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-20_1_3_line_28 |  | 25 | 27 | 0.020715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-20_1_3_line_29 |  | 25 | 28 | 0.030179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-20_1_3_line_30 |  | 26 | 33 | 0.039788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-20_1_3_line_31 |  | 27 | 39 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-20_1_3_line_32 |  | 29 | 30 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-20_1_3_line_33 |  | 30 | 31 | 0.042939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-20_1_3_line_34 |  | 31 | 32 | 0.011843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-20_1_3_line_35 |  | 33 | 34 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-20_1_3_line_36 |  | 34 | 35 | 0.0194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-20_1_3_line_37 |  | 35 | 36 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-20_1_3_line_38 |  | 37 | 38 | 0.041173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-20_1_3_line_39 |  | 39 | 40 | 0.0031055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-20_1_3_line_40 |  | 40 | 41 | 0.029286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-20_1_3_trafo_28 | 0.63 MVA 20/0.4 kV | 42 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2596924.4783 | 1226158.0633 | 2596914.5788 | 1226180.328
1 | 2596907.6984 | 1226195.8025 | 2596914.5788 | 1226180.328
2 | 2596907.6984 | 1226195.8025 | 2596894.554 | 1226191.8238
3 | 2596907.6984 | 1226195.8025 | 2596918.4007 | 1226239.5002
4 | 2596894.554 | 1226191.8238 | 2596883.8131 | 1226188.5727
5 | 2596918.4007 | 1226239.5002 | 2596928.2026 | 1226243.4973 | 2596933.0798 | 1226245.8958
6 | 2596760.5011 | 1226201.3222 | 2596749.4194 | 1226196.5409
7 | 2596760.5011 | 1226201.3222 | 2596765.6086 | 1226203.5259
8 | 2596889.6639 | 1226132.4083 | 2596890.3903 | 1226109.4563
9 | 2596889.6639 | 1226132.4083 | 2596884.9465 | 1226143.6306
10 | 2596884.9465 | 1226143.6306 | 2596883.1559 | 1226147.8903
11 | 2596874.5702 | 1226168.3152 | 2596883.1559 | 1226147.8903
12 | 2596867.2912 | 1226200.2712 | 2596850.1213 | 1226233.3433
13 | 2596847.7017 | 1226238.0039 | 2596850.1213 | 1226233.3433
14 | 2596874.0034 | 1226185.6034 | 2596870.7033 | 1226193.6988 | 2596867.2912 | 1226200.2712
15 | 2596847.7017 | 1226238.0039 | 2596833.4966 | 1226265.4869
16 | 2596847.7017 | 1226238.0039 | 2596842.5987 | 1226233.9043 | 2596838.2017 | 1226231.8054 | 2596821.8642 | 1226226.6866
17 | 2596874.0034 | 1226185.6034 | 2596868.0528 | 1226183.8278 | 2596874.5702 | 1226168.3152
18 | 2596874.0034 | 1226185.6034 | 2596883.8131 | 1226188.5727
19 | 2596833.4966 | 1226265.4869 | 2596841.018 | 1226324.1104
20 | 2596821.8642 | 1226226.6866 | 2596816.7728 | 1226225.0913
21 | 2596874.5702 | 1226168.3152 | 2596857.7882 | 1226167.5957
22 | 2596856.6092 | 1226325.7394 | 2596848.4993 | 1226325.1323 | 2596842.1249 | 1226324.302 | 2596841.018 | 1226324.1104
23 | 2596765.6086 | 1226203.5259 | 2596773.9017 | 1226207.104 | 2596793.4998 | 1226217.7995 | 2596816.7728 | 1226225.0913
24 | 2596838.7196 | 1226166.7781 | 2596857.7882 | 1226167.5957
25 | 2596838.7196 | 1226166.7781 | 2596838.4057 | 1226174.972
26 | 2596838.7196 | 1226166.7781 | 2596838.8465 | 1226163.2871
27 | 2596838.0446 | 1226174.8642 | 2596838.4057 | 1226174.972
28 | 2596840.0025 | 1226142.6077 | 2596838.8465 | 1226163.2871
29 | 2596838.8465 | 1226163.2871 | 2596810.011 | 1226154.3836
30 | 2596799.8538 | 1226163.7066 | 2596827.1033 | 1226171.5984 | 2596838.0446 | 1226174.8642
31 | 2596840.0025 | 1226142.6077 | 2596840.7235 | 1226129.6208
32 | 2596954.0366 | 1226208.4187 | 2596959.2862 | 1226195.6229
33 | 2596954.0366 | 1226208.4187 | 2596933.0798 | 1226245.8958
34 | 2596933.0798 | 1226245.8958 | 2596943.7073 | 1226251.1223
35 | 2596799.8538 | 1226163.7066 | 2596786.9906 | 1226159.9813
36 | 2596768.3567 | 1226154.5847 | 2596786.9906 | 1226159.9813
37 | 2596768.3567 | 1226154.5847 | 2596753.6601 | 1226150.3284
38 | 2596856.6092 | 1226325.7394 | 2596861.7474 | 1226325.0585 | 2596866.1958 | 1226324.0443 | 2596870.8864 | 1226322.4965 | 2596875.41 | 1226320.6485 | 2596894.806 | 1226311.1392
39 | 2596840.8957 | 1226126.52 | 2596840.7235 | 1226129.6208
40 | 2596840.8957 | 1226126.52 | 2596842.5245 | 1226097.2798

## bus_geodata
| x | y | coords
0 | 2596924.4783 | 1226158.0633
1 | 2596914.5788 | 1226180.328
2 | 2596907.6984 | 1226195.8025
3 | 2596894.554 | 1226191.8238
4 | 2596918.4007 | 1226239.5002
5 | 2596749.4194 | 1226196.5409
6 | 2596760.5011 | 1226201.3222
7 | 2596890.3903 | 1226109.4563
8 | 2596889.6639 | 1226132.4083
9 | 2596884.9465 | 1226143.6306
10 | 2596883.1559 | 1226147.8903
11 | 2596850.1213 | 1226233.3433
12 | 2596867.2912 | 1226200.2712
13 | 2596847.7017 | 1226238.0039
14 | 2596874.0034 | 1226185.6034
15 | 2596833.4966 | 1226265.4869
16 | 2596821.8642 | 1226226.6866
17 | 2596874.5702 | 1226168.3152
18 | 2596883.8131 | 1226188.5727
19 | 2596841.018 | 1226324.1104
20 | 2596816.7728 | 1226225.0913
21 | 2596765.6086 | 1226203.5259
22 | 2596857.7882 | 1226167.5957
23 | 2596838.7196 | 1226166.7781
24 | 2596838.4057 | 1226174.972
25 | 2596838.8465 | 1226163.2871
26 | 2596838.0446 | 1226174.8642
27 | 2596840.0025 | 1226142.6077
28 | 2596810.011 | 1226154.3836
29 | 2596959.2862 | 1226195.6229
30 | 2596954.0366 | 1226208.4187
31 | 2596933.0798 | 1226245.8958
32 | 2596943.7073 | 1226251.1223
33 | 2596799.8538 | 1226163.7066
34 | 2596786.9906 | 1226159.9813
35 | 2596768.3567 | 1226154.5847
36 | 2596753.6601 | 1226150.3284
37 | 2596856.6092 | 1226325.7394
38 | 2596894.806 | 1226311.1392
39 | 2596840.7235 | 1226129.6208
40 | 2596840.8957 | 1226126.52
41 | 2596842.5245 | 1226097.2798
42 | 2596874.0034 | 1226185.6034

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99765 | -0.045001 | 0.0018733 | 0.0004695
1 | 0.9977 | -0.044201 | 0.0016301 | 0.00040854
2 | 0.99775 | -0.043162 | 0 | 0
3 | 0.99817 | -0.035134 | 0.0027486 | 0.00068887
4 | 0.99653 | -0.066739 | 0.015668 | 0.0039268
5 | 0.99535 | -0.089416 | 0.0018937 | 0.00047462
6 | 0.99537 | -0.089014 | 0.0032124 | 0.0008051
7 | 0.99516 | -0.092973 | 0.023392 | 0.0058627
8 | 0.99565 | -0.083524 | 0 | 0
9 | 0.99591 | -0.078518 | 0.0011542 | 0.00028927
10 | 0.99601 | -0.076525 | 0.0040659 | 0.001019
11 | 0.99729 | -0.051926 | 0.0079604 | 0.0019951
12 | 1 | 0 | -0.23161 | -0.058029
13 | 0.99695 | -0.058533 | 0 | 0
14 | 0.9989 | -0.021021 | 0 | 0
15 | 0.99613 | -0.074302 | 0.0086663 | 0.002172
16 | 0.99584 | -0.079942 | 0.018068 | 0.0045284
17 | 0.99659 | -0.065393 | 0 | 0
18 | 0.99854 | -0.02804 | 0.0030447 | 0.00076306
19 | 0.99504 | -0.095476 | 0.011686 | 0.0029289
20 | 0.99572 | -0.082255 | 0.018275 | 0.0045802
21 | 0.9954 | -0.088514 | 0.0012773 | 0.00032012
22 | 0.99534 | -0.089419 | 0.013469 | 0.0033756
23 | 0.99416 | -0.11226 | 0 | 0
24 | 0.99396 | -0.11612 | 0 | 0
25 | 0.99403 | -0.1148 | 0 | 0
26 | 0.99395 | -0.1163 | 0.01699 | 0.0042581
27 | 0.99331 | -0.12866 | 0 | 0
28 | 0.99394 | -0.11655 | 0.0032964 | 0.00082615
29 | 0.99622 | -0.072745 | 0.0020109 | 0.00050398
30 | 0.99624 | -0.072257 | 0 | 0
31 | 0.99632 | -0.07074 | 0.0045917 | 0.0011508
32 | 0.99624 | -0.072325 | 0.007621 | 0.00191
33 | 0.9936 | -0.12313 | 0.0012916 | 0.00032371
34 | 0.99349 | -0.12513 | 0.001203 | 0.00030149
35 | 0.99336 | -0.1276 | 0.0014677 | 0.00036784
36 | 0.99328 | -0.12916 | 0.0057637 | 0.0014445
37 | 0.99491 | -0.097875 | 0 | 0
38 | 0.99459 | -0.10417 | 0.0086844 | 0.0021765
39 | 0.99286 | -0.13738 | 0.021034 | 0.0052716
40 | 0.99281 | -0.1383 | 0 | 0
41 | 0.99236 | -0.14705 | 0.016881 | 0.0042307
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018733 | -0.0004695 | 0.0018734 | 0.00046923 | 7.1332e-08 | -2.7253e-07 | 0.0027941 | 0.002794 | 0.0027941 | 0.99765 | -0.045001 | 0.9977 | -0.044201 | 0.76761
1 | -0.0035035 | -0.00087777 | 0.0035037 | 0.00087765 | 1.7339e-07 | -1.102e-07 | 0.0052252 | 0.0052251 | 0.0052252 | 0.9977 | -0.044201 | 0.99775 | -0.043162 | 1.4355
2 | -0.033432 | -0.0083912 | 0.033445 | 0.0083993 | 1.2805e-05 | 8.0159e-06 | 0.049864 | 0.049864 | 0.049864 | 0.99775 | -0.043162 | 0.99817 | -0.035134 | 13.699
3 | 0.029929 | 0.0075136 | -0.029895 | -0.0074927 | 3.3618e-05 | 2.0929e-05 | 0.044639 | 0.044639 | 0.044639 | 0.99775 | -0.043162 | 0.99653 | -0.066739 | 12.2636
4 | -0.036194 | -0.0090881 | 0.036206 | 0.0090958 | 1.2254e-05 | 7.6959e-06 | 0.053962 | 0.053962 | 0.053962 | 0.99817 | -0.035134 | 0.99854 | -0.02804 | 14.8247
5 | 0.014227 | 0.0035659 | -0.014224 | -0.0035644 | 2.7113e-06 | 1.5266e-06 | 0.021244 | 0.021244 | 0.021244 | 0.99653 | -0.066739 | 0.99632 | -0.07074 | 5.8363
6 | -0.0018937 | -0.00047462 | 0.0018938 | 0.00047448 | 3.6275e-08 | -1.3366e-07 | 0.0028311 | 0.002831 | 0.0028311 | 0.99535 | -0.089416 | 0.99537 | -0.089014 | 0.77777
7 | -0.0051062 | -0.0012796 | 0.0051063 | 0.0012796 | 1.2154e-07 | 5.4839e-09 | 0.0076334 | 0.0076333 | 0.0076334 | 0.99537 | -0.089014 | 0.9954 | -0.088514 | 2.0971
8 | -0.023392 | -0.0058627 | 0.023403 | 0.0058691 | 1.0535e-05 | 6.4441e-06 | 0.034978 | 0.034978 | 0.034978 | 0.99516 | -0.092973 | 0.99565 | -0.083524 | 9.6092
9 | -0.023403 | -0.0058691 | 0.023409 | 0.0058726 | 5.585e-06 | 3.416e-06 | 0.034978 | 0.034977 | 0.034978 | 0.99565 | -0.083524 | 0.99591 | -0.078518 | 9.6092
10 | -0.024563 | -0.0061618 | 0.024565 | 0.0061633 | 2.3341e-06 | 1.4337e-06 | 0.036702 | 0.036702 | 0.036702 | 0.99591 | -0.078518 | 0.99601 | -0.076525 | 10.083
11 | -0.028631 | -0.0071823 | 0.028646 | 0.0071917 | 1.5203e-05 | 9.4414e-06 | 0.042776 | 0.042776 | 0.042776 | 0.99601 | -0.076525 | 0.99659 | -0.065393 | 11.7517
12 | -0.079842 | -0.020052 | 0.08004 | 0.020179 | 0.00019836 | 0.00012646 | 0.11914 | 0.11914 | 0.11914 | 0.99729 | -0.051926 | 1 | 0 | 32.7316
13 | 0.071881 | 0.018057 | -0.071859 | -0.018043 | 2.2658e-05 | 1.4432e-05 | 0.10727 | 0.10727 | 0.10727 | 0.99729 | -0.051926 | 0.99695 | -0.058533 | 29.4686
14 | 0.14992 | 0.03785 | -0.14977 | -0.037754 | 0.00015081 | 9.6096e-05 | 0.22318 | 0.22318 | 0.22318 | 1 | 0 | 0.9989 | -0.021021 | 30.6572
15 | 0.029083 | 0.0073049 | -0.029061 | -0.0072914 | 2.1866e-05 | 1.3591e-05 | 0.043414 | 0.043414 | 0.043414 | 0.99695 | -0.058533 | 0.99613 | -0.074302 | 11.927
16 | 0.042776 | 0.010738 | -0.042732 | -0.01071 | 4.3632e-05 | 2.7553e-05 | 0.063852 | 0.063852 | 0.063852 | 0.99695 | -0.058533 | 0.99584 | -0.079942 | 17.5417
17 | 0.11051 | 0.027887 | -0.11027 | -0.027737 | 0.00023429 | 0.00014964 | 0.16469 | 0.16469 | 0.16469 | 0.9989 | -0.021021 | 0.99659 | -0.065393 | 45.2434
18 | 0.039264 | 0.0098672 | -0.039251 | -0.0098589 | 1.3153e-05 | 8.2836e-06 | 0.058499 | 0.058499 | 0.058499 | 0.9989 | -0.021021 | 0.99854 | -0.02804 | 16.0711
19 | 0.020395 | 0.0051194 | -0.020374 | -0.005107 | 2.0576e-05 | 1.24e-05 | 0.030469 | 0.030469 | 0.030469 | 0.99613 | -0.074302 | 0.99504 | -0.095476 | 8.3706
20 | 0.024664 | 0.0061821 | -0.024661 | -0.0061804 | 2.7174e-06 | 1.6697e-06 | 0.036853 | 0.036853 | 0.036853 | 0.99584 | -0.079942 | 0.99572 | -0.082255 | 10.1246
21 | 0.081628 | 0.020545 | -0.081534 | -0.020485 | 9.3616e-05 | 5.9696e-05 | 0.12191 | 0.12191 | 0.12191 | 0.99659 | -0.065393 | 0.99534 | -0.089419 | 33.4917
22 | 0.008688 | 0.0021781 | -0.0086871 | -0.0021777 | 9.9287e-07 | 4.3174e-07 | 0.012993 | 0.012993 | 0.012993 | 0.99504 | -0.095476 | 0.99491 | -0.097875 | 3.5694
23 | 0.0063855 | 0.0016002 | -0.0063836 | -0.0015997 | 1.9037e-06 | 4.9347e-07 | 0.0095425 | 0.0095428 | 0.0095428 | 0.99572 | -0.082255 | 0.9954 | -0.088514 | 2.6216
24 | 0.068065 | 0.01711 | -0.067991 | -0.017063 | 7.4136e-05 | 4.7199e-05 | 0.10177 | 0.10177 | 0.10177 | 0.99534 | -0.089419 | 0.99416 | -0.11226 | 27.96
25 | 0.026726 | 0.0067011 | -0.026721 | -0.006698 | 4.9216e-06 | 3.0435e-06 | 0.040004 | 0.040004 | 0.040004 | 0.99416 | -0.11226 | 0.99396 | -0.11612 | 10.9901
26 | 0.041265 | 0.010362 | -0.04126 | -0.010358 | 4.9994e-06 | 3.1543e-06 | 0.06177 | 0.06177 | 0.06177 | 0.99416 | -0.11226 | 0.99403 | -0.1148 | 16.9699
27 | 0.026721 | 0.006698 | -0.026721 | -0.0066979 | 2.2614e-07 | 1.3985e-07 | 0.040004 | 0.040004 | 0.040004 | 0.99396 | -0.11612 | 0.99395 | -0.1163 | 10.9901
28 | 0.037963 | 0.0095325 | -0.037938 | -0.0095167 | 2.5093e-05 | 1.5791e-05 | 0.056836 | 0.056836 | 0.056836 | 0.99403 | -0.1148 | 0.99331 | -0.12866 | 15.6142
29 | 0.0032966 | 0.00082593 | -0.0032964 | -0.00082615 | 2.7561e-07 | -2.1478e-07 | 0.0049348 | 0.004935 | 0.004935 | 0.99403 | -0.1148 | 0.99394 | -0.11655 | 1.3558
30 | 0.0097312 | 0.0024398 | -0.009728 | -0.0024383 | 3.1668e-06 | 1.5113e-06 | 0.014569 | 0.014569 | 0.014569 | 0.99395 | -0.1163 | 0.9936 | -0.12313 | 4.0024
31 | 0.037938 | 0.0095167 | -0.037922 | -0.0095068 | 1.5756e-05 | 9.9156e-06 | 0.056836 | 0.056836 | 0.056836 | 0.99331 | -0.12866 | 0.99286 | -0.13738 | 15.6142
32 | -0.0020109 | -0.00050398 | 0.002011 | 0.00050383 | 4.6791e-08 | -1.5014e-07 | 0.0030036 | 0.0030036 | 0.0030036 | 0.99622 | -0.072745 | 0.99624 | -0.072257 | 0.82517
33 | -0.002011 | -0.00050383 | 0.0020111 | 0.00050336 | 1.4525e-07 | -4.6618e-07 | 0.0030036 | 0.0030034 | 0.0030036 | 0.99624 | -0.072257 | 0.99632 | -0.07074 | 0.82516
34 | 0.0076215 | 0.0019102 | -0.007621 | -0.00191 | 5.7545e-07 | 2.1407e-07 | 0.011383 | 0.011383 | 0.011383 | 0.99632 | -0.07074 | 0.99624 | -0.072325 | 3.1272
35 | 0.0084364 | 0.0021146 | -0.0084356 | -0.0021142 | 8.0166e-07 | 3.3963e-07 | 0.012635 | 0.012635 | 0.012635 | 0.9936 | -0.12313 | 0.99349 | -0.12513 | 3.471
36 | 0.0072327 | 0.0018127 | -0.0072318 | -0.0018124 | 8.5372e-07 | 2.952e-07 | 0.010833 | 0.010833 | 0.010833 | 0.99349 | -0.12513 | 0.99336 | -0.1276 | 2.9761
37 | 0.0057641 | 0.0014446 | -0.0057637 | -0.0014445 | 4.2776e-07 | 7.5708e-08 | 0.0086344 | 0.0086345 | 0.0086345 | 0.99336 | -0.1276 | 0.99328 | -0.12916 | 2.3721
38 | 0.0086871 | 0.0021777 | -0.0086844 | -0.0021765 | 2.6065e-06 | 1.1336e-06 | 0.012993 | 0.012993 | 0.012993 | 0.99491 | -0.097875 | 0.99459 | -0.10417 | 3.5695
39 | 0.016888 | 0.0042352 | -0.016888 | -0.0042348 | 7.4614e-07 | 4.3737e-07 | 0.025312 | 0.025312 | 0.025312 | 0.99286 | -0.13738 | 0.99281 | -0.1383 | 6.9538
40 | 0.016888 | 0.0042348 | -0.016881 | -0.0042307 | 7.0362e-06 | 4.1246e-06 | 0.025312 | 0.025312 | 0.025312 | 0.99281 | -0.1383 | 0.99236 | -0.14705 | 6.9538

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24044 | 0.060241

## res_load
| p_mw | q_mvar
0 | 0.0018733 | 0.0004695
1 | 0.0016301 | 0.00040854
2 | 0.0027486 | 0.00068887
3 | 0.015668 | 0.0039268
4 | 0.0018937 | 0.00047462
5 | 0.0032124 | 0.0008051
6 | 0.023392 | 0.0058627
7 | 0.0011542 | 0.00028927
8 | 0.0040659 | 0.001019
9 | 0.0079604 | 0.0019951
10 | 0.0088248 | 0.0022117
11 | 0.0086663 | 0.002172
12 | 0.018068 | 0.0045284
13 | 0.0030447 | 0.00076306
14 | 0.011686 | 0.0029289
15 | 0.018275 | 0.0045802
16 | 0.0012773 | 0.00032012
17 | 0.013469 | 0.0033756
18 | 0.01699 | 0.0042581
19 | 0.0032964 | 0.00082615
20 | 0.0020109 | 0.00050398
21 | 0.0045917 | 0.0011508
22 | 0.007621 | 0.00191
23 | 0.0012916 | 0.00032371
24 | 0.001203 | 0.00030149
25 | 0.0014677 | 0.00036784
26 | 0.0057637 | 0.0014445
27 | 0.0086844 | 0.0021765
28 | 0.021034 | 0.0052716
29 | 0.016881 | 0.0042307

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1