## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-24_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-24_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-24_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-24_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2546-24_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2546-24_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2546-24_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2546-24_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2546-24_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2546-24_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2546-24_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2546-24_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2546-24_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2546-24_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2546-24_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_2546-24_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_2546-24_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2546-24_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2546-24_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_2546-24_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2546-24_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2546-24_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2546-24_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2546-24_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2546-24_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2546-24_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2546-24_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2546-24_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2546-24_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2546-24_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2546-24_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2546-24_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_2546-24_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_2546-24_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2546-24_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2546-24_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2546-24_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2546-24_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2546-24_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2546-24_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2546-24_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2546-24_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2546-24_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_2546-24_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2546-24_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2546-24_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2546-24_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2546-24_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_MV_521_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-24_0_3_load_0 | 0 | 0.0017079 | 0.00042804 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-24_0_3_load_1 | 1 | 0.001653 | 0.00041428 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-24_0_3_load_3 | 3 | 0.0028015 | 0.00070211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-24_0_3_load_31 | 6 | 0.01199 | 0.0030049 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-24_0_3_load_11 | 8 | 0.0015295 | 0.00038334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-24_0_3_load_5 | 10 | 0.010041 | 0.0025165 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-24_0_3_load_43 | 16 | 0.0050002 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-24_0_3_load_33 | 17 | 0.0066861 | 0.0016757 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-24_0_3_load_44 | 19 | 0.017612 | 0.004414 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-24_0_3_load_29 | 20 | 0.0054947 | 0.0013771 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-24_0_3_load_17 | 21 | 0.0042009 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-24_0_3_load_13 | 22 | 0.010729 | 0.002689 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-24_0_3_load_14 | 23 | 0.0021068 | 0.00052801 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-24_0_3_load_15 | 24 | 0.0043089 | 0.0010799 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-24_0_3_load_16 | 25 | 0.0091086 | 0.0022828 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-24_0_3_load_35 | 27 | 0.021841 | 0.0054738 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-24_0_3_load_27 | 28 | 0.0054696 | 0.0013708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-24_0_3_load_18 | 29 | 0.0033132 | 0.00083037 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-24_0_3_load_19 | 30 | 0.0036009 | 0.00090248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-24_0_3_load_21 | 31 | 0.013584 | 0.0034045 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-24_0_3_load_38 | 32 | 0.0060091 | 0.001506 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-24_0_3_load_47 | 33 | 0.018806 | 0.0047131 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-24_0_3_load_45 | 34 | 0.0084991 | 0.0021301 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-24_0_3_load_25 | 35 | 0.0065235 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-24_0_3_load_24 | 36 | 0.016641 | 0.0041705 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-24_0_3_load_26 | 37 | 0.017756 | 0.0044502 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-24_0_3_load_28 | 38 | 0.019289 | 0.0048343 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-24_0_3_load_36 | 39 | 0.0054502 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-24_0_3_load_30 | 41 | 0.0041053 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-24_0_3_load_32 | 42 | 0.011778 | 0.002952 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-24_0_3_load_48 | 43 | 0.009734 | 0.0024396 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-24_0_3_load_46 | 44 | 0.0051884 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-24_0_3_load_39 | 46 | 0.0019766 | 0.00049539 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-24_0_3_load_50 | 49 | 0.0012221 | 0.00030628 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-24_0_3_line_0 |  | 0 | 1 | 0.0080964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-24_0_3_line_1 |  | 0 | 2 | 0.033786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-24_0_3_line_2 |  | 1 | 3 | 0.0095973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-24_0_3_line_3 |  | 2 | 4 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-24_0_3_line_4 |  | 4 | 8 | 0.030848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-24_0_3_line_5 |  | 5 | 6 | 0.02792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-24_0_3_line_6 |  | 5 | 7 | 0.027394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-24_0_3_line_7 |  | 6 | 20 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-24_0_3_line_8 |  | 7 | 21 | 0.0036511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-24_0_3_line_9 |  | 8 | 9 | 0.055814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-24_0_3_line_10 |  | 9 | 17 | 0.12441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-24_0_3_line_11 |  | 10 | 11 | 0.086389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-24_0_3_line_12 |  | 10 | 12 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-24_0_3_line_13 |  | 11 | 13 | 0.054685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-24_0_3_line_14 |  | 12 | 14 | 0.059763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-24_0_3_line_15 |  | 13 | 15 | 0.052902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-24_0_3_line_16 |  | 13 | 16 | 0.099608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-24_0_3_line_17 |  | 14 | 17 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-24_0_3_line_18 |  | 15 | 18 | 0.099067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-24_0_3_line_19 |  | 16 | 19 | 0.015831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-24_0_3_line_20 |  | 18 | 33 | 0.095356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-24_0_3_line_21 |  | 20 | 41 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-24_0_3_line_22 |  | 21 | 24 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-24_0_3_line_23 |  | 22 | 23 | 0.004867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-24_0_3_line_24 |  | 22 | 24 | 0.0012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-24_0_3_line_25 |  | 23 | 25 | 0.017246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-24_0_3_line_26 |  | 25 | 26 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-24_0_3_line_27 |  | 26 | 27 | 0.020385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2546-24_0_3_line_28 |  | 26 | 28 | 0.0048998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2546-24_0_3_line_29 |  | 27 | 32 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2546-24_0_3_line_30 |  | 28 | 35 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2546-24_0_3_line_31 |  | 29 | 30 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-24_0_3_line_32 |  | 30 | 31 | 0.0050922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-24_0_3_line_33 |  | 31 | 32 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-24_0_3_line_34 |  | 33 | 34 | 0.0023242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-24_0_3_line_35 |  | 34 | 44 | 0.0307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-24_0_3_line_36 |  | 35 | 36 | 0.0015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2546-24_0_3_line_37 |  | 36 | 37 | 0.0072103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2546-24_0_3_line_38 |  | 37 | 38 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2546-24_0_3_line_39 |  | 38 | 39 | 0.006388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2546-24_0_3_line_40 |  | 39 | 40 | 0.012515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2546-24_0_3_line_41 |  | 40 | 43 | 0.021168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-24_0_3_line_42 |  | 40 | 44 | 0.036051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2546-24_0_3_line_43 |  | 41 | 42 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-24_0_3_line_44 |  | 43 | 45 | 0.034225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-24_0_3_line_45 |  | 45 | 48 | 0.10163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2546-24_0_3_line_46 |  | 45 | 47 | 0.11234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2546-24_0_3_line_47 |  | 46 | 47 | 0.034639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-24_0_3_line_48 |  | 48 | 49 | 0.05996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-24_0_3_trafo_38 | 0.63 MVA 20/0.4 kV | 50 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2596757.8143 | 1227522.5577 | 2596756.9965 | 1227514.5028
1 | 2596728.5354 | 1227531.3411 | 2596754.479 | 1227528.2247 | 2596756.7063 | 1227527.4452 | 2596757.5999 | 1227526.4442 | 2596758.046 | 1227524.6651 | 2596757.8251 | 1227522.664 | 2596757.8143 | 1227522.5577
2 | 2596756.027 | 1227504.9546 | 2596756.9965 | 1227514.5028
3 | 2596725.5963 | 1227519.4802 | 2596728.5354 | 1227531.3411
4 | 2596725.5963 | 1227519.4802 | 2596724.2636 | 1227521.1708 | 2596723.12 | 1227522.3055 | 2596721.7794 | 1227523.3958 | 2596719.734 | 1227524.3975 | 2596716.6582 | 1227525.5333 | 2596710.0668 | 1227527.2602 | 2596707.0967 | 1227527.8289 | 2596703.4674 | 1227528.4202 | 2596697.2011 | 1227528.9018
5 | 2596626.2733 | 1227380.7775 | 2596605.6507 | 1227361.957
6 | 2596642.3631 | 1227358.6996 | 2596634.6941 | 1227371.2114 | 2596626.2733 | 1227380.7775
7 | 2596605.6507 | 1227361.957 | 2596594.9607 | 1227352.2011 | 2596594.1988 | 1227351.7465
8 | 2596642.3631 | 1227358.6996 | 2596643.702 | 1227355.3028
9 | 2596641.5278 | 1227526.3099 | 2596654.6075 | 1227527.87 | 2596664.4132 | 1227528.6648 | 2596675.0068 | 1227529.2035 | 2596697.2011 | 1227528.9018
10 | 2596530.9325 | 1227469.3401 | 2596641.5278 | 1227526.3099
11 | 2596422.1194 | 1227350.2036 | 2596426.3252 | 1227350.4567 | 2596428.2955 | 1227350.5889 | 2596460.7992 | 1227367.8014 | 2596496.5194 | 1227392.4879
12 | 2596515.903 | 1227403.8005 | 2596503.1989 | 1227397.1042 | 2596496.5194 | 1227392.4879
13 | 2596422.1194 | 1227350.2036 | 2596421.5378 | 1227340.8428 | 2596430.1971 | 1227312.7988 | 2596435.9016 | 1227297.8976
14 | 2596515.903 | 1227403.8005 | 2596499.7139 | 1227461.333
15 | 2596435.9016 | 1227297.8976 | 2596439.7998 | 1227290.8022 | 2596448.8997 | 1227276.6994 | 2596462.3002 | 1227256.5016 | 2596464.602 | 1227253.4985
16 | 2596435.9016 | 1227297.8976 | 2596519.2552 | 1227352.4315
17 | 2596499.7139 | 1227461.333 | 2596530.9325 | 1227469.3401
18 | 2596464.602 | 1227253.4985 | 2596470.303 | 1227245.0789 | 2596520.197 | 1227171.4055
19 | 2596532.503 | 1227361.0988 | 2596519.2552 | 1227352.4315
20 | 2596520.197 | 1227171.4055 | 2596604.5762 | 1227215.8231
21 | 2596584.652 | 1227346.0508 | 2596594.1988 | 1227351.7465
22 | 2596647.5397 | 1227341.9419 | 2596646.4264 | 1227348.3912 | 2596643.702 | 1227355.3028
23 | 2596647.7308 | 1227340.6648 | 2596648.14 | 1227335.815
24 | 2596647.5397 | 1227341.9419 | 2596647.7027 | 1227340.9972 | 2596647.7308 | 1227340.6648
25 | 2596648.9644 | 1227318.6089 | 2596649.065 | 1227324.8536 | 2596648.14 | 1227335.815
26 | 2596648.7035 | 1227302.4184 | 2596648.8843 | 1227313.636 | 2596648.9644 | 1227318.6089
27 | 2596648.7035 | 1227302.4184 | 2596637.7601 | 1227300.4346 | 2596628.6446 | 1227298.7885
28 | 2596648.7035 | 1227302.4184 | 2596649.1417 | 1227297.5382
29 | 2596608.5054 | 1227295.1517 | 2596628.6446 | 1227298.7885
30 | 2596650.5102 | 1227287.4387 | 2596649.7576 | 1227290.6775 | 2596649.1417 | 1227297.5382
31 | 2596580.6414 | 1227290.1796 | 2596564.3587 | 1227287.3978
32 | 2596585.6609 | 1227291.0371 | 2596580.6414 | 1227290.1796
33 | 2596608.5054 | 1227295.1517 | 2596586.7638 | 1227291.2256 | 2596585.6609 | 1227291.0371
34 | 2596606.6329 | 1227216.9058 | 2596604.5762 | 1227215.8231
35 | 2596606.6329 | 1227216.9058 | 2596633.7986 | 1227231.206
36 | 2596650.5102 | 1227287.4387 | 2596650.8544 | 1227285.9574
37 | 2596652.4863 | 1227278.9342 | 2596650.8544 | 1227285.9574
38 | 2596657.1504 | 1227264.8492 | 2596653.2197 | 1227275.7779 | 2596652.4863 | 1227278.9342
39 | 2596657.1504 | 1227264.8492 | 2596657.4792 | 1227263.9351 | 2596659.9623 | 1227259.1212
40 | 2596665.6996 | 1227247.9988 | 2596659.9623 | 1227259.1212
41 | 2596665.6996 | 1227247.9988 | 2596678.0435 | 1227230.802
42 | 2596665.6996 | 1227247.9988 | 2596633.7986 | 1227231.206
43 | 2596569.4376 | 1227336.9738 | 2596584.652 | 1227346.0508
44 | 2596698.0011 | 1227202.9983 | 2596678.0435 | 1227230.802
45 | 2596698.0011 | 1227202.9983 | 2596704.8088 | 1227207.8862 | 2596733.7977 | 1227227.4036 | 2596747.7996 | 1227237.4016 | 2596774.2024 | 1227253.8966 | 2596782.7001 | 1227259.1061
46 | 2596687.6995 | 1227117.5984 | 2596705.8387 | 1227139.7789 | 2596726.1606 | 1227149.1396 | 2596724.4373 | 1227157.2231 | 2596716.9978 | 1227174.2484 | 2596702.2036 | 1227197.3037 | 2596698.0011 | 1227202.9983
47 | 2596687.6995 | 1227117.5984 | 2596677.5031 | 1227123.7967 | 2596673.1996 | 1227125.3001 | 2596668.7969 | 1227125.5027 | 2596666.1975 | 1227125.204 | 2596661.9985 | 1227123.8056 | 2596656.1693 | 1227120.5061
48 | 2596782.7001 | 1227259.1061 | 2596775.3969 | 1227262.501 | 2596759.6011 | 1227296.6966 | 2596748.1028 | 1227305.1969

## bus_geodata
| x | y | coords
0 | 2596757.8143 | 1227522.5577
1 | 2596756.9965 | 1227514.5028
2 | 2596728.5354 | 1227531.3411
3 | 2596756.027 | 1227504.9546
4 | 2596725.5963 | 1227519.4802
5 | 2596626.2733 | 1227380.7775
6 | 2596605.6507 | 1227361.957
7 | 2596642.3631 | 1227358.6996
8 | 2596697.2011 | 1227528.9018
9 | 2596641.5278 | 1227526.3099
10 | 2596496.5194 | 1227392.4879
11 | 2596422.1194 | 1227350.2036
12 | 2596515.903 | 1227403.8005
13 | 2596435.9016 | 1227297.8976
14 | 2596499.7139 | 1227461.333
15 | 2596464.602 | 1227253.4985
16 | 2596519.2552 | 1227352.4315
17 | 2596530.9325 | 1227469.3401
18 | 2596520.197 | 1227171.4055
19 | 2596532.503 | 1227361.0988
20 | 2596594.1988 | 1227351.7465
21 | 2596643.702 | 1227355.3028
22 | 2596647.7308 | 1227340.6648
23 | 2596648.14 | 1227335.815
24 | 2596647.5397 | 1227341.9419
25 | 2596648.9644 | 1227318.6089
26 | 2596648.7035 | 1227302.4184
27 | 2596628.6446 | 1227298.7885
28 | 2596649.1417 | 1227297.5382
29 | 2596564.3587 | 1227287.3978
30 | 2596580.6414 | 1227290.1796
31 | 2596585.6609 | 1227291.0371
32 | 2596608.5054 | 1227295.1517
33 | 2596604.5762 | 1227215.8231
34 | 2596606.6329 | 1227216.9058
35 | 2596650.5102 | 1227287.4387
36 | 2596650.8544 | 1227285.9574
37 | 2596652.4863 | 1227278.9342
38 | 2596657.1504 | 1227264.8492
39 | 2596659.9623 | 1227259.1212
40 | 2596665.6996 | 1227247.9988
41 | 2596584.652 | 1227346.0508
42 | 2596569.4376 | 1227336.9738
43 | 2596678.0435 | 1227230.802
44 | 2596633.7986 | 1227231.206
45 | 2596698.0011 | 1227202.9983
46 | 2596656.1693 | 1227120.5061
47 | 2596687.6995 | 1227117.5984
48 | 2596782.7001 | 1227259.1061
49 | 2596748.1028 | 1227305.1969
50 | 2596648.7035 | 1227302.4184

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97135 | -0.55451 | 0.0017079 | 0.00042804
1 | 0.97131 | -0.55518 | 0.001653 | 0.00041428
2 | 0.97154 | -0.55066 | 0 | 0
3 | 0.97129 | -0.55567 | 0.0028015 | 0.00070211
4 | 0.97161 | -0.54927 | 0 | 0
5 | 0.99201 | -0.15317 | 0 | 0
6 | 0.99116 | -0.16969 | 0.01199 | 0.0030049
7 | 0.99285 | -0.13699 | 0 | 0
8 | 0.97179 | -0.54576 | 0.0015295 | 0.00038334
9 | 0.97219 | -0.53784 | 0 | 0
10 | 0.97462 | -0.48992 | 0.010041 | 0.0025165
11 | 0.97658 | -0.45127 | 0 | 0
12 | 0.97431 | -0.49586 | 0 | 0
13 | 0.97783 | -0.42688 | 0 | 0
14 | 0.97351 | -0.51166 | 0 | 0
15 | 0.98014 | -0.38161 | 0 | 0
16 | 0.97573 | -0.46803 | 0.0050002 | 0.0012532
17 | 0.97308 | -0.52019 | 0.0066861 | 0.0016757
18 | 0.98448 | -0.29741 | 0 | 0
19 | 0.97547 | -0.47314 | 0.017612 | 0.004414
20 | 0.99086 | -0.17551 | 0.0054947 | 0.0013771
21 | 0.99296 | -0.13484 | 0.0042009 | 0.0010528
22 | 0.99349 | -0.12461 | 0.010729 | 0.002689
23 | 0.99373 | -0.12009 | 0.0021068 | 0.00052801
24 | 0.99344 | -0.12556 | 0.0043089 | 0.0010799
25 | 0.99459 | -0.10344 | 0.0091086 | 0.0022828
26 | 0.99553 | -0.085251 | 0 | 0
27 | 0.99766 | -0.044567 | 0.021841 | 0.0054738
28 | 0.99516 | -0.092304 | 0.0054696 | 0.0013708
29 | 0.99949 | -0.0098663 | 0.0033132 | 0.00083037
30 | 0.99954 | -0.0089114 | 0.0036009 | 0.00090248
31 | 0.99957 | -0.0082971 | 0.013584 | 0.0034045
32 | 1 | 0 | -0.27388 | -0.069169
33 | 0.98866 | -0.21706 | 0.018806 | 0.0047131
34 | 0.9888 | -0.21433 | 0.0084991 | 0.0021301
35 | 0.99442 | -0.10653 | 0.0065235 | 0.0016349
36 | 0.99432 | -0.10856 | 0.016641 | 0.0041705
37 | 0.99387 | -0.11715 | 0.017756 | 0.0044502
38 | 0.99307 | -0.13252 | 0.019289 | 0.0048343
39 | 0.99278 | -0.13805 | 0.0054502 | 0.001366
40 | 0.99224 | -0.1483 | 0 | 0
41 | 0.9907 | -0.17865 | 0.0041053 | 0.0010289
42 | 0.99051 | -0.18236 | 0.011778 | 0.002952
43 | 0.99199 | -0.15315 | 0.009734 | 0.0024396
44 | 0.99091 | -0.17372 | 0.0051884 | 0.0013003
45 | 0.99189 | -0.15509 | 0 | 0
46 | 0.99163 | -0.16025 | 0.0019766 | 0.00049539
47 | 0.99169 | -0.15903 | 0 | 0
48 | 0.99178 | -0.1573 | 0 | 0
49 | 0.99171 | -0.1586 | 0.0012221 | 0.00030628
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044546 | 0.0011163 | -0.0044545 | -0.0011163 | 1.4139e-07 | -9.7267e-09 | 0.0068241 | 0.0068241 | 0.0068241 | 0.97135 | -0.55451 | 0.97131 | -0.55518 | 1.8748
1 | -0.0061625 | -0.0015443 | 0.0061637 | 0.0015446 | 1.1291e-06 | 3.0435e-07 | 0.0094404 | 0.0094403 | 0.0094404 | 0.97135 | -0.55451 | 0.97154 | -0.55066 | 2.5935
2 | 0.0028015 | 0.00070204 | -0.0028015 | -0.00070211 | 6.6293e-08 | -7.6358e-08 | 0.0042918 | 0.0042919 | 0.0042919 | 0.97131 | -0.55518 | 0.97129 | -0.55567 | 1.1791
3 | -0.0061637 | -0.0015446 | 0.0061641 | 0.0015448 | 4.0835e-07 | 1.1002e-07 | 0.0094403 | 0.0094402 | 0.0094403 | 0.97154 | -0.55066 | 0.97161 | -0.54927 | 2.5935
4 | -0.0061641 | -0.0015448 | 0.0061651 | 0.001545 | 1.0309e-06 | 2.7765e-07 | 0.0094402 | 0.0094401 | 0.0094402 | 0.97161 | -0.54927 | 0.97179 | -0.54576 | 2.5935
5 | 0.033405 | 0.0083855 | -0.033379 | -0.008369 | 2.6292e-05 | 1.6467e-05 | 0.050112 | 0.050112 | 0.050112 | 0.99201 | -0.15317 | 0.99116 | -0.16969 | 13.7671
6 | -0.033405 | -0.0083855 | 0.033431 | 0.0084016 | 2.5797e-05 | 1.6156e-05 | 0.050112 | 0.050112 | 0.050112 | 0.99201 | -0.15317 | 0.99285 | -0.13699 | 13.7671
7 | 0.021389 | 0.005364 | -0.021383 | -0.0053604 | 5.9396e-06 | 3.6034e-06 | 0.032112 | 0.032112 | 0.032112 | 0.99116 | -0.16969 | 0.99086 | -0.17551 | 8.822
8 | -0.033431 | -0.0084016 | 0.033434 | 0.0084038 | 3.4383e-06 | 2.1533e-06 | 0.050112 | 0.050112 | 0.050112 | 0.99285 | -0.13699 | 0.99296 | -0.13484 | 13.767
9 | -0.0076946 | -0.0019284 | 0.0076975 | 0.0019295 | 2.9054e-06 | 1.1677e-06 | 0.011782 | 0.011782 | 0.011782 | 0.97179 | -0.54576 | 0.97219 | -0.53784 | 3.2368
10 | -0.0076975 | -0.0019295 | 0.007704 | 0.0019321 | 6.4756e-06 | 2.6004e-06 | 0.011782 | 0.011781 | 0.011782 | 0.97219 | -0.53784 | 0.97308 | -0.52019 | 3.2368
11 | -0.024452 | -0.0061362 | 0.024497 | 0.006164 | 4.5157e-05 | 2.7822e-05 | 0.037335 | 0.037335 | 0.037335 | 0.97462 | -0.48992 | 0.97658 | -0.45127 | 10.2569
12 | 0.014411 | 0.0036197 | -0.014407 | -0.0036174 | 4.0821e-06 | 2.3325e-06 | 0.022005 | 0.022005 | 0.022005 | 0.97462 | -0.48992 | 0.97431 | -0.49586 | 6.0454
13 | -0.024497 | -0.006164 | 0.024526 | 0.0061816 | 2.8584e-05 | 1.7609e-05 | 0.037335 | 0.037335 | 0.037335 | 0.97658 | -0.45127 | 0.97783 | -0.42688 | 10.2568
14 | 0.014407 | 0.0036174 | -0.014396 | -0.0036112 | 1.0852e-05 | 6.2017e-06 | 0.022005 | 0.022005 | 0.022005 | 0.97431 | -0.49586 | 0.97351 | -0.51166 | 6.0454
15 | -0.047187 | -0.011879 | 0.047289 | 0.011943 | 0.00010234 | 6.4835e-05 | 0.071826 | 0.071825 | 0.071826 | 0.97783 | -0.42688 | 0.98014 | -0.38161 | 19.7323
16 | 0.022661 | 0.0056969 | -0.022617 | -0.0056697 | 4.4437e-05 | 2.7193e-05 | 0.034491 | 0.034491 | 0.034491 | 0.97783 | -0.42688 | 0.97573 | -0.46803 | 9.4757
17 | 0.014396 | 0.0036112 | -0.01439 | -0.0036078 | 5.8525e-06 | 3.345e-06 | 0.022005 | 0.022005 | 0.022005 | 0.97351 | -0.51166 | 0.97308 | -0.52019 | 6.0455
18 | -0.047289 | -0.011943 | 0.047481 | 0.012065 | 0.00019165 | 0.0001214 | 0.071825 | 0.071825 | 0.071825 | 0.98014 | -0.38161 | 0.98448 | -0.29741 | 19.7323
19 | 0.017616 | 0.0044166 | -0.017612 | -0.004414 | 4.285e-06 | 2.5447e-06 | 0.026866 | 0.026866 | 0.026866 | 0.97573 | -0.46803 | 0.97547 | -0.47314 | 7.3808
20 | -0.047481 | -0.012065 | 0.047665 | 0.012182 | 0.00018447 | 0.00011684 | 0.071825 | 0.071825 | 0.071825 | 0.98448 | -0.29741 | 0.98866 | -0.21706 | 19.7321
21 | 0.015888 | 0.0039833 | -0.015886 | -0.003982 | 2.3734e-06 | 1.3758e-06 | 0.023861 | 0.023861 | 0.023861 | 0.99086 | -0.17551 | 0.9907 | -0.17865 | 6.5551
22 | -0.037635 | -0.0094566 | 0.037652 | 0.0094671 | 1.6673e-05 | 1.049e-05 | 0.056407 | 0.056407 | 0.056407 | 0.99296 | -0.13484 | 0.99344 | -0.12556 | 15.4965
23 | -0.052692 | -0.013237 | 0.052703 | 0.013244 | 1.1371e-05 | 7.2142e-06 | 0.078931 | 0.078931 | 0.078931 | 0.99349 | -0.12461 | 0.99373 | -0.12009 | 21.6844
24 | 0.041963 | 0.010548 | -0.041961 | -0.010547 | 1.9149e-06 | 1.2088e-06 | 0.062861 | 0.062861 | 0.062861 | 0.99349 | -0.12461 | 0.99344 | -0.12556 | 17.2696
25 | -0.05481 | -0.013772 | 0.054854 | 0.0138 | 4.3577e-05 | 2.7666e-05 | 0.082086 | 0.082086 | 0.082086 | 0.99373 | -0.12009 | 0.99459 | -0.10344 | 22.5511
26 | -0.063962 | -0.016083 | 0.064018 | 0.016118 | 5.5628e-05 | 3.5392e-05 | 0.095714 | 0.095713 | 0.095714 | 0.99459 | -0.10344 | 0.99553 | -0.085251 | 26.2949
27 | -0.22889 | -0.057922 | 0.22934 | 0.058208 | 0.00044789 | 0.00028612 | 0.34232 | 0.34232 | 0.34232 | 0.99553 | -0.085251 | 0.99766 | -0.044567 | 47.022
28 | 0.16487 | 0.041804 | -0.16482 | -0.041768 | 5.5871e-05 | 3.563e-05 | 0.24661 | 0.24661 | 0.24661 | 0.99553 | -0.085251 | 0.99516 | -0.092304 | 33.8746
29 | -0.25118 | -0.063682 | 0.25172 | 0.064027 | 0.0005393 | 0.00034462 | 0.3749 | 0.3749 | 0.3749 | 0.99766 | -0.044567 | 1 | 0 | 51.4967
30 | 0.15935 | 0.040397 | -0.15924 | -0.040328 | 0.00010886 | 6.9408e-05 | 0.23843 | 0.23843 | 0.23843 | 0.99516 | -0.092304 | 0.99442 | -0.10653 | 32.7512
31 | -0.0033132 | -0.00083037 | 0.0033134 | 0.00083025 | 1.5071e-07 | -1.2004e-07 | 0.0049326 | 0.0049326 | 0.0049326 | 0.99949 | -0.0098663 | 0.99954 | -0.0089114 | 1.3551
32 | -0.0069143 | -0.0017327 | 0.0069145 | 0.0017328 | 2.0232e-07 | 6.274e-08 | 0.010293 | 0.010293 | 0.010293 | 0.99954 | -0.0089114 | 0.99957 | -0.0082971 | 2.8278
33 | -0.020499 | -0.0051373 | 0.020507 | 0.0051422 | 8.1056e-06 | 4.8832e-06 | 0.030515 | 0.030515 | 0.030515 | 0.99957 | -0.0082971 | 1 | 0 | 8.3833
34 | -0.066471 | -0.016895 | 0.06648 | 0.0169 | 8.7383e-06 | 5.5627e-06 | 0.10013 | 0.10013 | 0.10013 | 0.98866 | -0.21706 | 0.9888 | -0.21433 | 27.5078
35 | -0.074979 | -0.01903 | 0.075125 | 0.019124 | 0.00014679 | 9.355e-05 | 0.11292 | 0.11292 | 0.11292 | 0.9888 | -0.21433 | 0.99091 | -0.17372 | 31.0215
36 | 0.15272 | 0.038693 | -0.1527 | -0.038684 | 1.491e-05 | 9.5031e-06 | 0.22867 | 0.22867 | 0.22867 | 0.99442 | -0.10653 | 0.99432 | -0.10856 | 31.4103
37 | 0.13606 | 0.034513 | -0.136 | -0.034477 | 5.6132e-05 | 3.5738e-05 | 0.20376 | 0.20376 | 0.20376 | 0.99432 | -0.10856 | 0.99387 | -0.11715 | 27.9896
38 | 0.11825 | 0.030027 | -0.11816 | -0.029972 | 8.7435e-05 | 5.5574e-05 | 0.17718 | 0.17718 | 0.17718 | 0.99387 | -0.11715 | 0.99307 | -0.13252 | 24.3379
39 | 0.098872 | 0.025137 | -0.098845 | -0.025121 | 2.6334e-05 | 1.6688e-05 | 0.14828 | 0.14828 | 0.14828 | 0.99307 | -0.13252 | 0.99278 | -0.13805 | 20.3677
40 | 0.093395 | 0.023755 | -0.093349 | -0.023725 | 4.6064e-05 | 2.9157e-05 | 0.14011 | 0.14011 | 0.14011 | 0.99278 | -0.13805 | 0.99224 | -0.1483 | 19.2456
41 | 0.012937 | 0.0032391 | -0.012934 | -0.0032375 | 2.9874e-06 | 1.6386e-06 | 0.019399 | 0.019399 | 0.019399 | 0.99224 | -0.1483 | 0.99199 | -0.15315 | 5.3295
42 | 0.080412 | 0.020486 | -0.080314 | -0.020424 | 9.8492e-05 | 6.2105e-05 | 0.12071 | 0.12071 | 0.12071 | 0.99224 | -0.1483 | 0.99091 | -0.17372 | 16.581
43 | 0.011781 | 0.0029531 | -0.011778 | -0.002952 | 2.0801e-06 | 1.1032e-06 | 0.017694 | 0.017694 | 0.017694 | 0.9907 | -0.17865 | 0.99051 | -0.18236 | 4.8611
44 | 0.0031997 | 0.00079787 | -0.0031994 | -0.00079813 | 2.9549e-07 | -2.5269e-07 | 0.0047982 | 0.0047983 | 0.0047983 | 0.99199 | -0.15315 | 0.99189 | -0.15509 | 1.3182
45 | 0.0012223 | 0.00030432 | -0.0012221 | -0.00030555 | 1.2807e-07 | -1.2297e-06 | 0.0018329 | 0.0018334 | 0.0018334 | 0.99189 | -0.15509 | 0.99178 | -0.1573 | 0.50367
46 | 0.0019771 | 0.00049381 | -0.0019767 | -0.00049502 | 3.7054e-07 | -1.2126e-06 | 0.0029654 | 0.0029659 | 0.0029659 | 0.99189 | -0.15509 | 0.99169 | -0.15903 | 0.81482
47 | -0.0019766 | -0.00049539 | 0.0019767 | 0.00049502 | 1.1427e-07 | -3.7375e-07 | 0.0029661 | 0.0029659 | 0.0029661 | 0.99163 | -0.16025 | 0.99169 | -0.15903 | 0.81486
48 | 0.0012221 | 0.00030555 | -0.0012221 | -0.00030628 | 7.5589e-08 | -7.2532e-07 | 0.0018334 | 0.0018336 | 0.0018336 | 0.99178 | -0.1573 | 0.99171 | -0.1586 | 0.50375

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27989 | 0.070675

## res_load
| p_mw | q_mvar
0 | 0.0017079 | 0.00042804
1 | 0.001653 | 0.00041428
2 | 0.0028015 | 0.00070211
3 | 0.01199 | 0.0030049
4 | 0.0015295 | 0.00038334
5 | 0.010041 | 0.0025165
6 | 0.0050002 | 0.0012532
7 | 0.0066861 | 0.0016757
8 | 0.017612 | 0.004414
9 | 0.0054947 | 0.0013771
10 | 0.0042009 | 0.0010528
11 | 0.010729 | 0.002689
12 | 0.0021068 | 0.00052801
13 | 0.0043089 | 0.0010799
14 | 0.0091086 | 0.0022828
15 | 0.021841 | 0.0054738
16 | 0.0054696 | 0.0013708
17 | 0.0033132 | 0.00083037
18 | 0.0036009 | 0.00090248
19 | 0.013584 | 0.0034045
20 | 0.0060091 | 0.001506
21 | 0.018806 | 0.0047131
22 | 0.0084991 | 0.0021301
23 | 0.0065235 | 0.0016349
24 | 0.016641 | 0.0041705
25 | 0.017756 | 0.0044502
26 | 0.019289 | 0.0048343
27 | 0.0054502 | 0.001366
28 | 0.0041053 | 0.0010289
29 | 0.011778 | 0.002952
30 | 0.009734 | 0.0024396
31 | 0.0051884 | 0.0013003
32 | 0.0019766 | 0.00049539
33 | 0.0012221 | 0.00030628

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1