## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-26_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-26_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2546-26_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2546-26_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2546-26_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2546-26_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_2546-26_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2546-26_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2546-26_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2546-26_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_2546-26_0_4_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_2546-26_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2546-26_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2546-26_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2546-26_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2546-26_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2546-26_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2546-26_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2546-26_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2546-26_0_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_2546-26_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_2546-26_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_2546-26_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2546-26_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2546-26_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2546-26_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2546-26_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2546-26_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2546-26_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2546-26_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2546-26_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_2546-26_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2546-26_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2546-26_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2546-26_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2546-26_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2546-26_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_2546-26_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2546-26_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2546-26_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_2546-26_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2546-26_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_2546-26_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_2546-26_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_2546-26_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2546-26_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2546-26_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_2546-26_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2546-26_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2546-26_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_MV_521_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-26_0_4_load_0 | 0 | 0.010863 | 0.0027226 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-26_0_4_load_1 | 1 | 0.0045513 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-26_0_4_load_2 | 2 | 0.0028121 | 0.00070477 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-26_0_4_load_3 | 3 | 0.0098064 | 0.0024577 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-26_0_4_load_4 | 4 | 0.0035761 | 0.00089625 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-26_0_4_load_13 | 5 | 0.0041823 | 0.0010482 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-26_0_4_load_22 | 7 | 0.005364 | 0.0013444 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-26_0_4_load_5 | 8 | 0.0025771 | 0.00064589 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-26_0_4_load_7 | 11 | 0.020763 | 0.0052036 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-26_0_4_load_54 | 13 | 0.0040862 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-26_0_4_load_8 | 16 | 0.0066682 | 0.0016712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-26_0_4_load_9 | 17 | 0.014872 | 0.0037274 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-26_0_4_load_11 | 18 | 0.0067763 | 0.0016983 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-26_0_4_load_12 | 19 | 0.047798 | 0.011979 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-26_0_4_load_50 | 20 | 0.016965 | 0.0042519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-26_0_4_load_38 | 21 | 0.0054235 | 0.0013593 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-26_0_4_load_39 | 22 | 0.05151 | 0.01291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-26_0_4_load_49 | 23 | 0.0030733 | 0.00077023 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-26_0_4_load_14 | 26 | 0.0095088 | 0.0023831 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-26_0_4_load_15 | 27 | 0.009304 | 0.0023318 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-26_0_4_load_17 | 29 | 0.0025422 | 0.00063714 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-26_0_4_load_18 | 30 | 0.0055626 | 0.0013941 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-26_0_4_load_19 | 31 | 0.0055161 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-26_0_4_load_32 | 32 | 0.0045805 | 0.001148 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-26_0_4_load_34 | 33 | 0.0067608 | 0.0016944 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-26_0_4_load_28 | 34 | 0.0078139 | 0.0019583 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-26_0_4_load_30 | 35 | 0.0013593 | 0.00034067 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-26_0_4_load_26 | 37 | 0.011689 | 0.0029295 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-26_0_4_load_44 | 38 | 0.0062953 | 0.0015777 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-26_0_4_load_55 | 40 | 0.01209 | 0.00303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-26_0_4_load_43 | 41 | 0.0066876 | 0.0016761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-26_0_4_load_47 | 43 | 0.0020122 | 0.00050431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-26_0_4_load_24 | 44 | 0.0065876 | 0.001651 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-26_0_4_load_25 | 45 | 0.016796 | 0.0042094 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-26_0_4_load_27 | 46 | 0.0089021 | 0.0022311 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-26_0_4_load_52 | 48 | 0.0054569 | 0.0013676 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-26_0_4_load_31 | 49 | 0.0078201 | 0.0019599 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-26_0_4_load_33 | 50 | 0.0045805 | 0.001148 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-26_0_4_load_41 | 51 | 0.0010092 | 0.00025292 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-26_0_4_load_48 | 52 | 0.0049075 | 0.0012299 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-26_0_4_load_45 | 53 | 0.0092547 | 0.0023194 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-26_0_4_line_0 |  | 0 | 1 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-26_0_4_line_1 |  | 0 | 2 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-26_0_4_line_2 |  | 1 | 3 | 0.035617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-26_0_4_line_3 |  | 2 | 4 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-26_0_4_line_4 |  | 3 | 7 | 0.026903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-26_0_4_line_5 |  | 4 | 8 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-26_0_4_line_6 |  | 5 | 6 | 0.059945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-26_0_4_line_7 |  | 6 | 19 | 0.00079654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-26_0_4_line_8 |  | 6 | 16 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-26_0_4_line_9 |  | 7 | 9 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-26_0_4_line_10 |  | 8 | 10 | 0.019102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-26_0_4_line_11 |  | 9 | 42 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-26_0_4_line_12 |  | 9 | 39 | 0.027039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-26_0_4_line_13 |  | 10 | 11 | 0.029104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-26_0_4_line_14 |  | 11 | 12 | 0.045053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-26_0_4_line_15 |  | 12 | 15 | 0.086046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-26_0_4_line_16 |  | 13 | 14 | 0.090231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-26_0_4_line_17 |  | 14 | 24 | 0.10245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-26_0_4_line_18 |  | 15 | 38 | 0.029464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-26_0_4_line_19 |  | 16 | 17 | 0.0023492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-26_0_4_line_20 |  | 17 | 18 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-26_0_4_line_21 |  | 18 | 24 | 0.1027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-26_0_4_line_22 |  | 19 | 25 | 0.026646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-26_0_4_line_23 |  | 20 | 21 | 0.032717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-26_0_4_line_24 |  | 20 | 22 | 0.053629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-26_0_4_line_25 |  | 20 | 23 | 0.019714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2546-26_0_4_line_26 |  | 22 | 25 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-26_0_4_line_27 |  | 23 | 52 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2546-26_0_4_line_28 |  | 26 | 27 | 0.003945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-26_0_4_line_29 |  | 26 | 28 | 0.01517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-26_0_4_line_30 |  | 27 | 29 | 0.0097846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-26_0_4_line_31 |  | 28 | 30 | 0.0051846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-26_0_4_line_32 |  | 28 | 31 | 0.022851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-26_0_4_line_33 |  | 29 | 32 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-26_0_4_line_34 |  | 30 | 33 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-26_0_4_line_35 |  | 31 | 34 | 0.0072421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-26_0_4_line_36 |  | 32 | 35 | 0.0048356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-26_0_4_line_37 |  | 33 | 36 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-26_0_4_line_38 |  | 34 | 37 | 0.0036922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-26_0_4_line_39 |  | 35 | 49 | 0.0086255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-26_0_4_line_40 |  | 36 | 42 | 0.035218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-26_0_4_line_41 |  | 37 | 44 | 0.0013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-26_0_4_line_42 |  | 38 | 41 | 0.0036137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-26_0_4_line_43 |  | 39 | 40 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-26_0_4_line_44 |  | 41 | 53 | 0.014876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-26_0_4_line_45 |  | 42 | 43 | 0.021523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2546-26_0_4_line_46 |  | 43 | 52 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2546-26_0_4_line_47 |  | 44 | 45 | 0.037291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-26_0_4_line_48 |  | 45 | 46 | 0.016373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2546-26_0_4_line_49 |  | 46 | 47 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2546-26_0_4_line_50 |  | 47 | 48 | 0.057921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2546-26_0_4_line_51 |  | 49 | 50 | 0.0081408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2546-26_0_4_line_52 |  | 50 | 51 | 0.008767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-26_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 54 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2596460.1379 | 1226960.2604 | 2596476.1234 | 1226970.4502
1 | 2596460.1379 | 1226960.2604 | 2596446.8168 | 1226951.769
2 | 2596476.1234 | 1226970.4502 | 2596506.1577 | 1226989.5954
3 | 2596437.8796 | 1226946.072 | 2596446.8168 | 1226951.769
4 | 2596529.7859 | 1227002.2603 | 2596527.3703 | 1227001.3234 | 2596518.6987 | 1226997.582 | 2596510.079 | 1226992.095 | 2596506.1577 | 1226989.5954
5 | 2596437.8796 | 1226946.072 | 2596435.1016 | 1226944.3012 | 2596423.2192 | 1226937.9541
6 | 2596394.5786 | 1227063.1627 | 2596450.2383 | 1227085.8196
7 | 2596450.2383 | 1227085.8196 | 2596450.5759 | 1227085.0982
8 | 2596450.2383 | 1227085.8196 | 2596441.5874 | 1227100.9571
9 | 2596540.9081 | 1227006.574 | 2596529.7859 | 1227002.2603
10 | 2596406.3707 | 1226928.9543 | 2596423.2192 | 1226937.9541
11 | 2596552.9675 | 1227010.9694 | 2596540.9081 | 1227006.574
12 | 2596550.7599 | 1226981.3867 | 2596540.9081 | 1227006.574
13 | 2596406.3707 | 1226928.9543 | 2596416.4016 | 1226901.6335
14 | 2596435.4 | 1226862.1972 | 2596432.1041 | 1226863.3999 | 2596429.9004 | 1226865.9027 | 2596428.1974 | 1226869.5059 | 2596416.4016 | 1226901.6335
15 | 2596435.4 | 1226862.1972 | 2596438.5979 | 1226862.0062 | 2596443.2971 | 1226863.104 | 2596474.3992 | 1226876.5041 | 2596514.9842 | 1226894.4235
16 | 2596296.3984 | 1227148.8969 | 2596338.1937 | 1227068.879
17 | 2596296.3984 | 1227148.8969 | 2596341.4018 | 1227181.5989 | 2596356.7993 | 1227192.4067 | 2596380.7016 | 1227207.0004
18 | 2596514.9842 | 1226894.4235 | 2596503.4016 | 1226921.5155
19 | 2596441.5874 | 1227100.9571 | 2596440.4217 | 1227102.9967
20 | 2596431.8737 | 1227117.9541 | 2596440.4217 | 1227102.9967
21 | 2596380.7016 | 1227207.0004 | 2596417.8997 | 1227142.406 | 2596431.8737 | 1227117.9541
22 | 2596455.7011 | 1227059.4008 | 2596455.9013 | 1227064.5036 | 2596455.6015 | 1227069.9959 | 2596454.8013 | 1227075.0994 | 2596453.8029 | 1227078.2019 | 2596450.5759 | 1227085.0982
23 | 2596519.8917 | 1227066.3995 | 2596511.2822 | 1227097.9639
24 | 2596519.8917 | 1227066.3995 | 2596466.5504 | 1227060.8492
25 | 2596519.8917 | 1227066.3995 | 2596529.9933 | 1227049.4708
26 | 2596455.7011 | 1227059.4008 | 2596461.5971 | 1227059.7974 | 2596466.1976 | 1227060.7063 | 2596466.5504 | 1227060.8492
27 | 2596529.9933 | 1227049.4708 | 2596536.0236 | 1227039.3649
28 | 2596585.9316 | 1227084.6715 | 2596582.4161 | 1227082.8815
29 | 2596568.8972 | 1227075.9983 | 2596582.4161 | 1227082.8815
30 | 2596594.651 | 1227089.1111 | 2596585.9316 | 1227084.6715
31 | 2596568.8972 | 1227075.9983 | 2596571.052 | 1227071.2827
32 | 2596568.8972 | 1227075.9983 | 2596559.5828 | 1227096.8645
33 | 2596594.651 | 1227089.1111 | 2596610.6438 | 1227097.2539
34 | 2596583.5037 | 1227044.0334 | 2596571.052 | 1227071.2827
35 | 2596559.5828 | 1227096.8645 | 2596556.6308 | 1227103.4777
36 | 2596614.953 | 1227099.448 | 2596610.6438 | 1227097.2539
37 | 2596584.8044 | 1227025.8038 | 2596587.0586 | 1227031.7616 | 2596586.6829 | 1227037.076 | 2596583.5037 | 1227044.0334
38 | 2596555.1258 | 1227106.8492 | 2596556.6308 | 1227103.4777
39 | 2596614.953 | 1227099.448 | 2596622.6396 | 1227103.3617
40 | 2596584.8044 | 1227025.8038 | 2596578.7545 | 1227021.3937 | 2596552.9675 | 1227010.9694
41 | 2596555.1258 | 1227106.8492 | 2596554.5882 | 1227108.0535
42 | 2596501.981 | 1226924.8382 | 2596503.4016 | 1226921.5155
43 | 2596540.5027 | 1226974.889 | 2596550.7599 | 1226981.3867
44 | 2596496.1332 | 1226938.5163 | 2596501.981 | 1226924.8382
45 | 2596552.9675 | 1227010.9694 | 2596541.9386 | 1227029.4522
46 | 2596541.9386 | 1227029.4522 | 2596536.0236 | 1227039.3649
47 | 2596538.4085 | 1227141.6182 | 2596544.7023 | 1227130.2 | 2596554.5882 | 1227108.0535
48 | 2596538.4085 | 1227141.6182 | 2596537.8365 | 1227142.6559 | 2596532.8699 | 1227150.2077 | 2596529.7142 | 1227155.4862
49 | 2596520.197 | 1227171.4055 | 2596529.7142 | 1227155.4862
50 | 2596520.197 | 1227171.4055 | 2596571.4508 | 1227198.3858
51 | 2596622.6396 | 1227103.3617 | 2596629.8941 | 1227107.0554
52 | 2596637.7067 | 1227111.0332 | 2596629.8941 | 1227107.0554

## bus_geodata
| x | y | coords
0 | 2596460.1379 | 1226960.2604
1 | 2596476.1234 | 1226970.4502
2 | 2596446.8168 | 1226951.769
3 | 2596506.1577 | 1226989.5954
4 | 2596437.8796 | 1226946.072
5 | 2596394.5786 | 1227063.1627
6 | 2596450.2383 | 1227085.8196
7 | 2596529.7859 | 1227002.2603
8 | 2596423.2192 | 1226937.9541
9 | 2596540.9081 | 1227006.574
10 | 2596406.3707 | 1226928.9543
11 | 2596416.4016 | 1226901.6335
12 | 2596435.4 | 1226862.1972
13 | 2596338.1937 | 1227068.879
14 | 2596296.3984 | 1227148.8969
15 | 2596514.9842 | 1226894.4235
16 | 2596441.5874 | 1227100.9571
17 | 2596440.4217 | 1227102.9967
18 | 2596431.8737 | 1227117.9541
19 | 2596450.5759 | 1227085.0982
20 | 2596519.8917 | 1227066.3995
21 | 2596511.2822 | 1227097.9639
22 | 2596466.5504 | 1227060.8492
23 | 2596529.9933 | 1227049.4708
24 | 2596380.7016 | 1227207.0004
25 | 2596455.7011 | 1227059.4008
26 | 2596582.4161 | 1227082.8815
27 | 2596585.9316 | 1227084.6715
28 | 2596568.8972 | 1227075.9983
29 | 2596594.651 | 1227089.1111
30 | 2596571.052 | 1227071.2827
31 | 2596559.5828 | 1227096.8645
32 | 2596610.6438 | 1227097.2539
33 | 2596583.5037 | 1227044.0334
34 | 2596556.6308 | 1227103.4777
35 | 2596614.953 | 1227099.448
36 | 2596584.8044 | 1227025.8038
37 | 2596555.1258 | 1227106.8492
38 | 2596503.4016 | 1226921.5155
39 | 2596550.7599 | 1226981.3867
40 | 2596540.5027 | 1226974.889
41 | 2596501.981 | 1226924.8382
42 | 2596552.9675 | 1227010.9694
43 | 2596541.9386 | 1227029.4522
44 | 2596554.5882 | 1227108.0535
45 | 2596538.4085 | 1227141.6182
46 | 2596529.7142 | 1227155.4862
47 | 2596520.197 | 1227171.4055
48 | 2596571.4508 | 1227198.3858
49 | 2596622.6396 | 1227103.3617
50 | 2596629.8941 | 1227107.0554
51 | 2596637.7067 | 1227111.0332
52 | 2596536.0236 | 1227039.3649
53 | 2596496.1332 | 1226938.5163
54 | 2596552.9675 | 1227010.9694

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98634 | -0.26167 | 0.010863 | 0.0027226
1 | 0.98744 | -0.24035 | 0.0045513 | 0.0011407
2 | 0.98558 | -0.27639 | 0.0028121 | 0.00070477
3 | 0.98966 | -0.19754 | 0.0098064 | 0.0024577
4 | 0.9851 | -0.28575 | 0.0035761 | 0.00089625
5 | 0.99017 | -0.18912 | 0.0041823 | 0.0010482
6 | 0.9904 | -0.18467 | 0 | 0
7 | 0.99157 | -0.16066 | 0.005364 | 0.0013444
8 | 0.98439 | -0.29948 | 0.0025771 | 0.00064589
9 | 0.99248 | -0.14321 | 0 | 0
10 | 0.98363 | -0.31427 | 0 | 0
11 | 0.98248 | -0.33684 | 0.020763 | 0.0052036
12 | 0.98155 | -0.35496 | 0 | 0
13 | 0.98855 | -0.22065 | 0.0040862 | 0.0010241
14 | 0.98888 | -0.21407 | 0 | 0
15 | 0.97978 | -0.38964 | 0 | 0
16 | 0.98988 | -0.19471 | 0.0066682 | 0.0016712
17 | 0.98982 | -0.19579 | 0.014872 | 0.0037274
18 | 0.98965 | -0.19912 | 0.0067763 | 0.0016983
19 | 0.99042 | -0.18415 | 0.047798 | 0.011979
20 | 1 | 0 | -0.36767 | -0.093384
21 | 0.99984 | -0.0030936 | 0.0054235 | 0.0013593
22 | 0.99333 | -0.12789 | 0.05151 | 0.01291
23 | 0.998 | -0.037949 | 0.0030733 | 0.00077023
24 | 0.98927 | -0.20661 | 0 | 0
25 | 0.99248 | -0.14427 | 0 | 0
26 | 0.98368 | -0.31331 | 0.0095088 | 0.0023831
27 | 0.98357 | -0.31552 | 0.009304 | 0.0023318
28 | 0.98425 | -0.30219 | 0 | 0
29 | 0.98337 | -0.31938 | 0.0025422 | 0.00063714
30 | 0.98475 | -0.29254 | 0.0055626 | 0.0013941
31 | 0.98293 | -0.32803 | 0.0055161 | 0.0013825
32 | 0.98305 | -0.32564 | 0.0045805 | 0.001148
33 | 0.98776 | -0.23401 | 0.0067608 | 0.0016944
34 | 0.98255 | -0.33551 | 0.0078139 | 0.0019583
35 | 0.98299 | -0.32693 | 0.0013593 | 0.00034067
36 | 0.98983 | -0.19407 | 0 | 0
37 | 0.98238 | -0.33881 | 0.011689 | 0.0029295
38 | 0.97917 | -0.40154 | 0.0062953 | 0.0015777
39 | 0.99218 | -0.149 | 0 | 0
40 | 0.99205 | -0.15159 | 0.01209 | 0.00303
41 | 0.97912 | -0.40259 | 0.0066876 | 0.0016761
42 | 0.9936 | -0.12179 | 0 | 0
43 | 0.99568 | -0.081893 | 0.0020122 | 0.00050431
44 | 0.98233 | -0.33971 | 0.0065876 | 0.001651
45 | 0.98126 | -0.36072 | 0.016796 | 0.0042094
46 | 0.98104 | -0.36497 | 0.0089021 | 0.0022311
47 | 0.98095 | -0.36681 | 0 | 0
48 | 0.98065 | -0.37253 | 0.0054569 | 0.0013676
49 | 0.98288 | -0.32902 | 0.0078201 | 0.0019599
50 | 0.98284 | -0.32984 | 0.0045805 | 0.001148
51 | 0.98283 | -0.33 | 0.0010092 | 0.00025292
52 | 0.99682 | -0.060359 | 0.0049075 | 0.0012299
53 | 0.97899 | -0.40509 | 0.0092547 | 0.0023194
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.063065 | -0.015894 | 0.06313 | 0.015935 | 6.4392e-05 | 4.0968e-05 | 0.095173 | 0.095173 | 0.095173 | 0.98634 | -0.26167 | 0.98744 | -0.24035 | 26.1465
1 | 0.052202 | 0.013172 | -0.052165 | -0.013148 | 3.677e-05 | 2.3332e-05 | 0.078785 | 0.078785 | 0.078785 | 0.98634 | -0.26167 | 0.98558 | -0.27639 | 21.6442
2 | -0.067681 | -0.017076 | 0.06782 | 0.017164 | 0.00013905 | 8.8534e-05 | 0.10203 | 0.10203 | 0.10203 | 0.98744 | -0.24035 | 0.98966 | -0.19754 | 28.0307
3 | 0.049353 | 0.012444 | -0.049331 | -0.01243 | 2.2082e-05 | 1.3998e-05 | 0.074539 | 0.074539 | 0.074539 | 0.98558 | -0.27639 | 0.9851 | -0.28575 | 20.4778
4 | -0.077626 | -0.019622 | 0.077764 | 0.01971 | 0.00013758 | 8.7703e-05 | 0.11678 | 0.11678 | 0.11678 | 0.98966 | -0.19754 | 0.99157 | -0.16066 | 32.0813
5 | 0.045755 | 0.011533 | -0.045725 | -0.011514 | 3.0053e-05 | 1.902e-05 | 0.069137 | 0.069138 | 0.069138 | 0.9851 | -0.28575 | 0.98439 | -0.29948 | 18.9938
6 | -0.0041823 | -0.0010482 | 0.0041832 | 0.001048 | 8.8797e-07 | -2.0293e-07 | 0.0062852 | 0.0062849 | 0.0062852 | 0.99017 | -0.18912 | 0.9904 | -0.18467 | 1.7267
7 | -0.036609 | -0.0091793 | 0.03661 | 0.0091798 | 9.0372e-07 | 5.6813e-07 | 0.055004 | 0.055004 | 0.055004 | 0.9904 | -0.18467 | 0.99042 | -0.18415 | 15.1111
8 | 0.032426 | 0.0081313 | -0.03241 | -0.0081216 | 1.5519e-05 | 9.7079e-06 | 0.04872 | 0.04872 | 0.04872 | 0.9904 | -0.18467 | 0.98988 | -0.19471 | 13.3845
9 | -0.083128 | -0.021054 | 0.083198 | 0.021099 | 6.9704e-05 | 4.4456e-05 | 0.12483 | 0.12483 | 0.12483 | 0.99157 | -0.16066 | 0.99248 | -0.14321 | 34.2927
10 | 0.043148 | 0.010868 | -0.043117 | -0.010849 | 3.049e-05 | 1.9271e-05 | 0.065242 | 0.065242 | 0.065242 | 0.98439 | -0.29948 | 0.98363 | -0.31427 | 17.9236
11 | -0.095292 | -0.024131 | 0.09539 | 0.024194 | 9.8122e-05 | 6.2632e-05 | 0.14296 | 0.14296 | 0.14296 | 0.99248 | -0.14321 | 0.9936 | -0.12179 | 39.2745
12 | 0.012095 | 0.0030326 | -0.012091 | -0.0030308 | 3.3343e-06 | 1.7846e-06 | 0.018134 | 0.018134 | 0.018134 | 0.99248 | -0.14321 | 0.99218 | -0.149 | 4.9819
13 | 0.043117 | 0.010849 | -0.043071 | -0.01082 | 4.6456e-05 | 2.9363e-05 | 0.065242 | 0.065242 | 0.065242 | 0.98363 | -0.31427 | 0.98248 | -0.33684 | 17.9237
14 | 0.022308 | 0.0056162 | -0.022289 | -0.0056045 | 1.9297e-05 | 1.178e-05 | 0.033796 | 0.033796 | 0.033796 | 0.98248 | -0.33684 | 0.98155 | -0.35496 | 9.2847
15 | 0.022289 | 0.0056045 | -0.022252 | -0.0055819 | 3.6856e-05 | 2.2502e-05 | 0.033796 | 0.033797 | 0.033797 | 0.98155 | -0.35496 | 0.97978 | -0.38964 | 9.2848
16 | -0.0040862 | -0.0010241 | 0.0040874 | 0.0010237 | 1.28e-06 | -3.38e-07 | 0.0061507 | 0.0061503 | 0.0061507 | 0.98855 | -0.22065 | 0.98888 | -0.21407 | 1.6898
17 | -0.0040874 | -0.0010237 | 0.0040889 | 0.0010234 | 1.4531e-06 | -3.8486e-07 | 0.0061503 | 0.0061498 | 0.0061503 | 0.98888 | -0.21407 | 0.98927 | -0.20661 | 1.6896
18 | 0.022252 | 0.0055819 | -0.022239 | -0.0055742 | 1.262e-05 | 7.7062e-06 | 0.033797 | 0.033797 | 0.033797 | 0.97978 | -0.38964 | 0.97917 | -0.40154 | 9.2848
19 | 0.025742 | 0.0064503 | -0.025741 | -0.0064495 | 1.3191e-06 | 8.1404e-07 | 0.038696 | 0.038696 | 0.038696 | 0.98988 | -0.19471 | 0.98982 | -0.19579 | 10.6307
20 | 0.010868 | 0.0027222 | -0.010867 | -0.0027213 | 1.7245e-06 | 8.8225e-07 | 0.016338 | 0.016338 | 0.016338 | 0.98982 | -0.19579 | 0.98965 | -0.19912 | 4.4885
21 | 0.0040903 | 0.001023 | -0.0040889 | -0.0010234 | 1.4565e-06 | -3.8698e-07 | 0.0061494 | 0.0061498 | 0.0061498 | 0.98965 | -0.19912 | 0.98927 | -0.20661 | 1.6895
22 | -0.084408 | -0.021159 | 0.084569 | 0.021262 | 0.0001607 | 0.0001025 | 0.12682 | 0.12682 | 0.12682 | 0.99042 | -0.18415 | 0.99248 | -0.14427 | 34.8397
23 | 0.0054243 | 0.0013593 | -0.0054235 | -0.0013593 | 7.9932e-07 | 8.2406e-08 | 0.0080715 | 0.0080716 | 0.0080716 | 1 | 0 | 0.99984 | -0.0030936 | 2.2175
24 | 0.13698 | 0.034748 | -0.13615 | -0.034214 | 0.00083677 | 0.00053483 | 0.20398 | 0.20398 | 0.20398 | 1 | 0 | 0.99333 | -0.12789 | 56.0382
25 | 0.22362 | 0.057276 | -0.22321 | -0.057014 | 0.00041033 | 0.00026209 | 0.33318 | 0.33318 | 0.33318 | 1 | 0 | 0.998 | -0.037949 | 45.7669
26 | 0.084635 | 0.021304 | -0.084569 | -0.021262 | 6.6215e-05 | 4.2236e-05 | 0.12682 | 0.12682 | 0.12682 | 0.99333 | -0.12789 | 0.99248 | -0.14427 | 34.8396
27 | 0.22013 | 0.056244 | -0.2199 | -0.056092 | 0.00023826 | 0.00015218 | 0.3286 | 0.3286 | 0.3286 | 0.998 | -0.037949 | 0.99682 | -0.060359 | 45.1375
28 | 0.031211 | 0.0078276 | -0.031208 | -0.0078255 | 3.2979e-06 | 2.0606e-06 | 0.047215 | 0.047215 | 0.047215 | 0.98368 | -0.31331 | 0.98357 | -0.31552 | 12.9712
29 | -0.04072 | -0.010211 | 0.040742 | 0.010224 | 2.1586e-05 | 1.3622e-05 | 0.061599 | 0.061599 | 0.061599 | 0.98368 | -0.31331 | 0.98425 | -0.30219 | 16.9228
30 | 0.021904 | 0.0054937 | -0.0219 | -0.0054912 | 4.0296e-06 | 2.4548e-06 | 0.033139 | 0.033139 | 0.033139 | 0.98357 | -0.31552 | 0.98337 | -0.31938 | 9.1042
31 | -0.10365 | -0.026044 | 0.10369 | 0.026074 | 4.7752e-05 | 3.0495e-05 | 0.15672 | 0.15672 | 0.15672 | 0.98425 | -0.30219 | 0.98475 | -0.29254 | 43.0548
32 | 0.062905 | 0.015819 | -0.062827 | -0.01577 | 7.7532e-05 | 4.933e-05 | 0.09512 | 0.09512 | 0.09512 | 0.98425 | -0.30219 | 0.98293 | -0.32803 | 26.132
33 | 0.019358 | 0.0048541 | -0.019352 | -0.0048506 | 5.7747e-06 | 3.4682e-06 | 0.029293 | 0.029293 | 0.029293 | 0.98337 | -0.31938 | 0.98305 | -0.32564 | 8.0475
34 | -0.10926 | -0.027468 | 0.10956 | 0.027664 | 0.00030633 | 0.00019567 | 0.16512 | 0.16512 | 0.16512 | 0.98475 | -0.29254 | 0.98776 | -0.23401 | 45.364
35 | 0.057311 | 0.014387 | -0.057291 | -0.014374 | 2.0447e-05 | 1.2994e-05 | 0.08677 | 0.08677 | 0.08677 | 0.98293 | -0.32803 | 0.98255 | -0.33551 | 23.8379
36 | 0.014771 | 0.0037027 | -0.014771 | -0.0037021 | 9.0657e-07 | 5.189e-07 | 0.022359 | 0.022359 | 0.022359 | 0.98305 | -0.32564 | 0.98299 | -0.32693 | 6.1427
37 | -0.11632 | -0.029358 | 0.11655 | 0.029501 | 0.00022297 | 0.00014246 | 0.17531 | 0.17531 | 0.17531 | 0.98776 | -0.23401 | 0.98983 | -0.19407 | 48.162
38 | 0.049477 | 0.012416 | -0.049469 | -0.012411 | 7.7749e-06 | 4.9292e-06 | 0.074936 | 0.074936 | 0.074936 | 0.98255 | -0.33551 | 0.98238 | -0.33881 | 20.5868
39 | 0.013411 | 0.0033615 | -0.01341 | -0.0033607 | 1.3332e-06 | 7.439e-07 | 0.020302 | 0.020302 | 0.020302 | 0.98299 | -0.32693 | 0.98288 | -0.32902 | 5.5774
40 | -0.11655 | -0.029501 | 0.11695 | 0.02976 | 0.00040589 | 0.00025931 | 0.17531 | 0.17531 | 0.17531 | 0.98983 | -0.19407 | 0.9936 | -0.12179 | 48.1619
41 | 0.03778 | 0.0094816 | -0.037779 | -0.0094806 | 1.6199e-06 | 1.02e-06 | 0.057231 | 0.057231 | 0.057231 | 0.98238 | -0.33881 | 0.98233 | -0.33971 | 15.7227
42 | 0.015944 | 0.0039965 | -0.015943 | -0.003996 | 7.956e-07 | 4.6373e-07 | 0.02423 | 0.02423 | 0.02423 | 0.97917 | -0.40154 | 0.97912 | -0.40259 | 6.6566
43 | 0.012091 | 0.0030308 | -0.01209 | -0.00303 | 1.4942e-06 | 7.9983e-07 | 0.018134 | 0.018134 | 0.018134 | 0.99218 | -0.149 | 0.99205 | -0.15159 | 4.9819
44 | 0.0092558 | 0.00232 | -0.0092547 | -0.0023194 | 1.1038e-06 | 5.1936e-07 | 0.014067 | 0.014067 | 0.014067 | 0.97912 | -0.40259 | 0.97899 | -0.40509 | 3.8645
45 | -0.21234 | -0.053954 | 0.21275 | 0.054215 | 0.00040879 | 0.00026106 | 0.31827 | 0.31827 | 0.31827 | 0.9936 | -0.12179 | 0.99568 | -0.081893 | 43.7182
46 | -0.21476 | -0.054719 | 0.21499 | 0.054862 | 0.0002234 | 0.00014268 | 0.32128 | 0.32128 | 0.32128 | 0.99568 | -0.081893 | 0.99682 | -0.060359 | 44.1312
47 | 0.031191 | 0.0078296 | -0.03116 | -0.0078101 | 3.1223e-05 | 1.9511e-05 | 0.047252 | 0.047252 | 0.047252 | 0.98233 | -0.33971 | 0.98126 | -0.36072 | 12.9813
48 | 0.014364 | 0.0036007 | -0.014361 | -0.003599 | 2.9132e-06 | 1.6577e-06 | 0.021782 | 0.021782 | 0.021782 | 0.98126 | -0.36072 | 0.98104 | -0.36497 | 5.9841
49 | 0.0054588 | 0.0013679 | -0.0054584 | -0.0013678 | 4.7681e-07 | 7.0997e-08 | 0.0082797 | 0.0082798 | 0.0082798 | 0.98104 | -0.36497 | 0.98095 | -0.36681 | 2.2747
50 | 0.0054584 | 0.0013678 | -0.0054569 | -0.0013676 | 1.4891e-06 | 2.2204e-07 | 0.0082798 | 0.0082801 | 0.0082801 | 0.98095 | -0.36681 | 0.98065 | -0.37253 | 2.2748
51 | 0.0055899 | 0.0014008 | -0.0055897 | -0.0014008 | 2.1863e-07 | 3.6753e-08 | 0.0084627 | 0.0084627 | 0.0084627 | 0.98288 | -0.32902 | 0.98284 | -0.32984 | 2.3249
52 | 0.0010092 | 0.00025281 | -0.0010092 | -0.00025292 | 7.6744e-09 | -1.0619e-07 | 0.0015278 | 0.0015279 | 0.0015279 | 0.98284 | -0.32984 | 0.98283 | -0.33 | 0.41975

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38464 | 0.097636

## res_load
| p_mw | q_mvar
0 | 0.010863 | 0.0027226
1 | 0.0045513 | 0.0011407
2 | 0.0028121 | 0.00070477
3 | 0.0098064 | 0.0024577
4 | 0.0035761 | 0.00089625
5 | 0.0041823 | 0.0010482
6 | 0.005364 | 0.0013444
7 | 0.0025771 | 0.00064589
8 | 0.020763 | 0.0052036
9 | 0.0040862 | 0.0010241
10 | 0.0066682 | 0.0016712
11 | 0.014872 | 0.0037274
12 | 0.0067763 | 0.0016983
13 | 0.047798 | 0.011979
14 | 0.016965 | 0.0042519
15 | 0.0054235 | 0.0013593
16 | 0.05151 | 0.01291
17 | 0.0030733 | 0.00077023
18 | 0.0095088 | 0.0023831
19 | 0.009304 | 0.0023318
20 | 0.0025422 | 0.00063714
21 | 0.0055626 | 0.0013941
22 | 0.0055161 | 0.0013825
23 | 0.0045805 | 0.001148
24 | 0.0067608 | 0.0016944
25 | 0.0078139 | 0.0019583
26 | 0.0013593 | 0.00034067
27 | 0.011689 | 0.0029295
28 | 0.0062953 | 0.0015777
29 | 0.01209 | 0.00303
30 | 0.0066876 | 0.0016761
31 | 0.0020122 | 0.00050431
32 | 0.0065876 | 0.001651
33 | 0.016796 | 0.0042094
34 | 0.0089021 | 0.0022311
35 | 0.0054569 | 0.0013676
36 | 0.0078201 | 0.0019599
37 | 0.0045805 | 0.001148
38 | 0.0010092 | 0.00025292
39 | 0.0049075 | 0.0012299
40 | 0.0092547 | 0.0023194

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1