## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-34_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-34_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-34_0_5_node_47 | 0.4 | n |  | TRUE
4 | bus_LV_2546-34_0_5_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_2546-34_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2546-34_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2546-34_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2546-34_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2546-34_0_5_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2546-34_0_5_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_2546-34_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2546-34_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2546-34_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2546-34_0_5_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_2546-34_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2546-34_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2546-34_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_2546-34_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2546-34_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2546-34_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2546-34_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2546-34_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2546-34_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2546-34_0_5_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2546-34_0_5_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_2546-34_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_2546-34_0_5_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_2546-34_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2546-34_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2546-34_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2546-34_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2546-34_0_5_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_2546-34_0_5_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_2546-34_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2546-34_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2546-34_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2546-34_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2546-34_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2546-34_0_5_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_2546-34_0_5_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_2546-34_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2546-34_0_5_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_2546-34_0_5_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_2546-34_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2546-34_0_5_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_2546-34_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2546-34_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2546-34_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2546-34_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_2546-34_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2546-34_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2546-34_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2546-34_0_5_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_2546-34_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2546-34_0_5_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2546-34_0_5_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_2546-34_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2546-34_0_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2546-34_0_5_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_2546-34_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_2546-34_0_5_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_2546-34_0_5_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2546-34_0_5_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_2546-34_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_2546-34_0_5_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2546-34_0_5_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_2546-34_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_2546-34_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_2546-34_0_5_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_2546-34_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_2546-34_0_5_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_2546-34_0_5_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_2546-34_0_5_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_2546-34_0_5_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_2546-34_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2546-34_0_5_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_2546-34_0_5_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_2546-34_0_5_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_2546-34_0_5_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2546-34_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_2546-34_0_5_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_2546-34_0_5_node_87 | 0.4 | n |  | TRUE
83 | bus_MV_521_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-34_0_5_load_0 | 0 | 0.018884 | 0.0047327 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-34_0_5_load_1 | 1 | 0.0048104 | 0.0012056 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-34_0_5_load_2 | 2 | 0.010001 | 0.0025064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-34_0_5_load_47 | 3 | 0.0060256 | 0.0015102 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-34_0_5_load_3 | 5 | 0.0021376 | 0.00053574 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-34_0_5_load_4 | 6 | 0.0030494 | 0.00076425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-34_0_5_load_5 | 7 | 0.0032173 | 0.00080633 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-34_0_5_load_6 | 8 | 0.068637 | 0.017202 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-34_0_5_load_60 | 10 | 0.01878 | 0.0047066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-34_0_5_load_7 | 12 | 0.0029002 | 0.00072685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-34_0_5_load_8 | 13 | 0.0038151 | 0.00095614 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-34_0_5_load_9 | 15 | 0.0038916 | 0.00097532 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-34_0_5_load_57 | 16 | 0.0039174 | 0.00098179 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-34_0_5_load_10 | 19 | 0.0013199 | 0.00033079 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-34_0_5_load_11 | 20 | 0.0065253 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-34_0_5_load_12 | 21 | 0.0076504 | 0.0019174 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-34_0_5_load_13 | 22 | 0.0032318 | 0.00080997 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-34_0_5_load_14 | 23 | 0.0023076 | 0.00057833 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-34_0_5_load_50 | 24 | 0.0076415 | 0.0019152 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-34_0_5_load_49 | 26 | 0.0094717 | 0.0023738 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-34_0_5_load_54 | 27 | 0.023954 | 0.0060034 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-34_0_5_load_15 | 28 | 0.0026422 | 0.00066219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-34_0_5_load_16 | 29 | 0.0026523 | 0.00066473 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-34_0_5_load_17 | 30 | 0.005715 | 0.0014323 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-34_0_5_load_18 | 31 | 0.0066291 | 0.0016614 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-34_0_5_load_70 | 32 | 0.0047651 | 0.0011942 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-34_0_5_load_71 | 33 | 0.0050296 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-34_0_5_load_19 | 34 | 0.0030055 | 0.00075325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-34_0_5_load_20 | 35 | 0.0019225 | 0.00048182 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-34_0_5_load_21 | 36 | 0.0030052 | 0.00075317 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-34_0_5_load_56 | 39 | 0.0012712 | 0.0003186 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-34_0_5_load_55 | 40 | 0.0015998 | 0.00040094 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-34_0_5_load_30 | 44 | 0.0054726 | 0.0013716 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-34_0_5_load_77 | 45 | 0.0073245 | 0.0018357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-34_0_5_load_24 | 46 | 0.0091796 | 0.0023006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-34_0_5_load_25 | 47 | 0.0034176 | 0.00085654 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-34_0_5_load_27 | 48 | 0.0061082 | 0.0015309 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-34_0_5_load_28 | 49 | 0.0016222 | 0.00040656 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-34_0_5_load_40 | 50 | 0.0029774 | 0.00074621 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-34_0_5_load_37 | 51 | 0.0032586 | 0.00081667 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-34_0_5_load_41 | 52 | 0.0053584 | 0.0013429 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2546-34_0_5_load_36 | 53 | 0.0029073 | 0.00072863 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2546-34_0_5_load_73 | 56 | 0.013687 | 0.0034302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2546-34_0_5_load_48 | 57 | 0.0083554 | 0.0020941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2546-34_0_5_load_61 | 58 | 0.0045224 | 0.0011334 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2546-34_0_5_load_72 | 59 | 0.021397 | 0.0053626 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2546-34_0_5_load_38 | 60 | 0.007385 | 0.0018509 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2546-34_0_5_load_39 | 61 | 0.0018923 | 0.00047426 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2546-34_0_5_load_68 | 62 | 0.0027917 | 0.00069967 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2546-34_0_5_load_69 | 63 | 0.0029856 | 0.00074826 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2546-34_0_5_load_62 | 64 | 0.0060162 | 0.0015078 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2546-34_0_5_load_65 | 65 | 0.01121 | 0.0028095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2546-34_0_5_load_42 | 66 | 0.0012212 | 0.00030606 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2546-34_0_5_load_43 | 67 | 0.001668 | 0.00041804 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2546-34_0_5_load_44 | 68 | 0.0011909 | 0.00029846 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2546-34_0_5_load_45 | 69 | 0.0039989 | 0.0010022 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2546-34_0_5_load_46 | 70 | 0.0032499 | 0.00081451 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2546-34_0_5_load_82 | 71 | 0.0032748 | 0.00082075 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2546-34_0_5_load_51 | 73 | 0.010294 | 0.0025798 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2546-34_0_5_load_80 | 76 | 0.0025722 | 0.00064466 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2546-34_0_5_load_86 | 77 | 0.015966 | 0.0040013 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2546-34_0_5_load_84 | 78 | 0.0060984 | 0.0015284 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2546-34_0_5_load_75 | 79 | 0.0069344 | 0.0017379 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2546-34_0_5_load_76 | 81 | 0.0059412 | 0.001489 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2546-34_0_5_load_87 | 82 | 0.081998 | 0.020551 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-34_0_5_line_0 |  | 0 | 1 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-34_0_5_line_1 |  | 1 | 2 | 0.028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-34_0_5_line_2 |  | 2 | 3 | 0.036064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-34_0_5_line_3 |  | 3 | 4 | 0.0252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-34_0_5_line_4 |  | 4 | 72 | 0.048219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-34_0_5_line_5 |  | 4 | 25 | 0.040745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-34_0_5_line_6 |  | 5 | 6 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-34_0_5_line_7 |  | 5 | 7 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-34_0_5_line_8 |  | 6 | 8 | 0.0080572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-34_0_5_line_9 |  | 8 | 9 | 0.02915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-34_0_5_line_10 |  | 9 | 10 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-34_0_5_line_11 |  | 9 | 11 | 0.029072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2546-34_0_5_line_12 |  | 10 | 58 | 0.018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-34_0_5_line_13 |  | 11 | 54 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2546-34_0_5_line_14 |  | 11 | 44 | 0.0069051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-34_0_5_line_15 |  | 12 | 13 | 0.0038995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-34_0_5_line_16 |  | 12 | 14 | 0.072222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-34_0_5_line_17 |  | 13 | 15 | 0.03781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-34_0_5_line_18 |  | 14 | 16 | 0.0068047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-34_0_5_line_19 |  | 15 | 17 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-34_0_5_line_20 |  | 17 | 18 | 0.041195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-34_0_5_line_21 |  | 18 | 49 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-34_0_5_line_22 |  | 18 | 46 | 0.0060062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-34_0_5_line_23 |  | 19 | 20 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2546-34_0_5_line_24 |  | 19 | 21 | 0.0020257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2546-34_0_5_line_25 |  | 20 | 22 | 0.001719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2546-34_0_5_line_26 |  | 21 | 23 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2546-34_0_5_line_27 |  | 22 | 24 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2546-34_0_5_line_28 |  | 23 | 25 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2546-34_0_5_line_29 |  | 24 | 26 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2546-34_0_5_line_30 |  | 25 | 27 | 0.040847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-34_0_5_line_31 |  | 26 | 57 | 0.028878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2546-34_0_5_line_32 |  | 27 | 74 | 0.026178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-34_0_5_line_33 |  | 28 | 29 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-34_0_5_line_34 |  | 28 | 30 | 0.0077067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-34_0_5_line_35 |  | 30 | 31 | 0.0064234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-34_0_5_line_36 |  | 31 | 32 | 0.010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-34_0_5_line_37 |  | 32 | 33 | 0.0082165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-34_0_5_line_38 |  | 33 | 79 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-34_0_5_line_39 |  | 34 | 35 | 0.040441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-34_0_5_line_40 |  | 34 | 36 | 0.00093938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-34_0_5_line_41 |  | 35 | 37 | 0.024431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-34_0_5_line_42 |  | 36 | 38 | 0.037616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-34_0_5_line_43 |  | 37 | 39 | 0.0084929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-34_0_5_line_44 |  | 37 | 40 | 0.038033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-34_0_5_line_45 |  | 38 | 41 | 0.028447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2546-34_0_5_line_46 |  | 38 | 42 | 0.016369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2546-34_0_5_line_47 |  | 39 | 43 | 0.0061354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-34_0_5_line_48 |  | 41 | 44 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2546-34_0_5_line_49 |  | 42 | 45 | 0.034691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2546-34_0_5_line_50 |  | 43 | 75 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2546-34_0_5_line_51 |  | 45 | 81 | 0.030935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2546-34_0_5_line_52 |  | 46 | 47 | 0.0077283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2546-34_0_5_line_53 |  | 47 | 48 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2546-34_0_5_line_54 |  | 48 | 50 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2546-34_0_5_line_55 |  | 49 | 51 | 0.0070398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2546-34_0_5_line_56 |  | 50 | 52 | 0.0049532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2546-34_0_5_line_57 |  | 51 | 53 | 0.0029398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2546-34_0_5_line_58 |  | 52 | 64 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2546-34_0_5_line_59 |  | 53 | 60 | 0.0031161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2546-34_0_5_line_60 |  | 54 | 55 | 0.013707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2546-34_0_5_line_61 |  | 54 | 56 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2546-34_0_5_line_62 |  | 55 | 57 | 0.0074183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2546-34_0_5_line_63 |  | 56 | 59 | 0.0087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2546-34_0_5_line_64 |  | 58 | 64 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2546-34_0_5_line_65 |  | 59 | 80 | 0.063634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2546-34_0_5_line_66 |  | 60 | 61 | 0.034329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2546-34_0_5_line_67 |  | 61 | 62 | 0.0026043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2546-34_0_5_line_68 |  | 62 | 63 | 0.042314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2546-34_0_5_line_69 |  | 63 | 76 | 0.007752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2546-34_0_5_line_70 |  | 64 | 65 | 0.025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2546-34_0_5_line_71 |  | 65 | 69 | 0.014444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2546-34_0_5_line_72 |  | 66 | 67 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2546-34_0_5_line_73 |  | 66 | 68 | 0.025952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2546-34_0_5_line_74 |  | 67 | 69 | 0.0018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2546-34_0_5_line_75 |  | 68 | 70 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2546-34_0_5_line_76 |  | 70 | 71 | 0.025059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2546-34_0_5_line_77 |  | 72 | 77 | 0.0041491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2546-34_0_5_line_78 |  | 73 | 74 | 0.029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2546-34_0_5_line_79 |  | 75 | 78 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2546-34_0_5_line_80 |  | 77 | 82 | 0.02818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2546-34_0_5_line_81 |  | 79 | 80 | 0.010276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-34_0_5_trafo_72 | 0.63 MVA 20/0.4 kV | 83 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2596937.6385 | 1227504.2717 | 2596947.4839 | 1227493.061
1 | 2596947.4839 | 1227493.061 | 2596953.2525 | 1227486.4925 | 2596966.3542 | 1227471.3953
2 | 2596966.3542 | 1227471.3953 | 2596975.82 | 1227460.4876 | 2596984.556 | 1227458.6709 | 2596993.1763 | 1227449.3459
3 | 2597010.2827 | 1227430.8412 | 2596993.1763 | 1227449.3459
4 | 2597010.2827 | 1227430.8412 | 2597026.8624 | 1227445.4857 | 2597033.9135 | 1227438.3779 | 2597044.6373 | 1227426.3876
5 | 2596979.1401 | 1227404.464 | 2597010.2827 | 1227430.8412
6 | 2597122.0882 | 1227273.9445 | 2597114.7404 | 1227288.5121
7 | 2597132.3007 | 1227253.6975 | 2597122.0882 | 1227273.9445
8 | 2597111.1119 | 1227295.706 | 2597114.7404 | 1227288.5121
9 | 2597097.9844 | 1227321.7324 | 2597111.1119 | 1227295.706
10 | 2597097.9844 | 1227321.7324 | 2597104.1995 | 1227324.3975 | 2597118.5399 | 1227330.5463
11 | 2597071.5319 | 1227309.5052 | 2597081.029 | 1227313.9141 | 2597097.9844 | 1227321.7324
12 | 2597118.5399 | 1227330.5463 | 2597127.6121 | 1227334.4362 | 2597135.4346 | 1227337.6354
13 | 2597071.5319 | 1227309.5052 | 2597071.0638 | 1227312.9296 | 2597069.4967 | 1227316.0211 | 2597067.0049 | 1227318.4238 | 2597063.8608 | 1227319.8707
14 | 2597071.5319 | 1227309.5052 | 2597070.8406 | 1227306.1257 | 2597069.0886 | 1227303.1471
15 | 2597268.3509 | 1227325.4853 | 2597270.0995 | 1227321.9998
16 | 2597270.0995 | 1227321.9998 | 2597336.868 | 1227294.4683
17 | 2597268.3509 | 1227325.4853 | 2597251.3961 | 1227359.2809
18 | 2597336.868 | 1227294.4683 | 2597339.8593 | 1227288.3563
19 | 2597239.9823 | 1227382.0319 | 2597251.3961 | 1227359.2809
20 | 2597201.9802 | 1227366.1296 | 2597238.5802 | 1227381.4433 | 2597239.9823 | 1227382.0319
21 | 2597201.9802 | 1227366.1296 | 2597211.2001 | 1227345.9022 | 2597212.1674 | 1227344.0935
22 | 2597201.9802 | 1227366.1296 | 2597196.4659 | 1227363.749
23 | 2597002.5383 | 1227374.7768 | 2597010.1618 | 1227365.1042
24 | 2597002.5383 | 1227374.7768 | 2597001.2844 | 1227376.3677
25 | 2597011.2258 | 1227363.7541 | 2597010.1618 | 1227365.1042
26 | 2596991.6889 | 1227388.5423 | 2597001.2844 | 1227376.3677
27 | 2597011.2258 | 1227363.7541 | 2597021.3711 | 1227350.882
28 | 2596979.1401 | 1227404.464 | 2596991.6889 | 1227388.5423
29 | 2597028.2457 | 1227342.1595 | 2597021.3711 | 1227350.882
30 | 2596979.1401 | 1227404.464 | 2596968.2508 | 1227418.4001 | 2596961.5476 | 1227424.296 | 2596953.4039 | 1227428.5249 | 2596948.5621 | 1227429.9855
31 | 2597046.1211 | 1227319.4795 | 2597046.1211 | 1227319.4795 | 2597028.2457 | 1227342.1595
32 | 2596923.0746 | 1227435.8119 | 2596939.7437 | 1227432.6457 | 2596948.5621 | 1227429.9855
33 | 2597154.705 | 1227413.583 | 2597170.3264 | 1227420.1147
34 | 2597147.5948 | 1227410.6101 | 2597154.705 | 1227413.583
35 | 2597141.6686 | 1227408.1322 | 2597147.5948 | 1227410.6101
36 | 2597141.6686 | 1227408.1322 | 2597131.7057 | 1227403.9665
37 | 2597124.1252 | 1227400.7969 | 2597131.7057 | 1227403.9665
38 | 2597124.1252 | 1227400.7969 | 2597116.0041 | 1227397.4013 | 2597113.6016 | 1227396.8021 | 2597113.6016 | 1227396.8021
39 | 2597079.4201 | 1227210.4777 | 2597059.2735 | 1227245.5431
40 | 2597058.8055 | 1227246.3576 | 2597059.2735 | 1227245.5431
41 | 2597091.204 | 1227189.1022 | 2597089.8037 | 1227192.4048 | 2597079.4201 | 1227210.4777
42 | 2597038.9011 | 1227278.1032 | 2597043.097 | 1227273.6985 | 2597058.8055 | 1227246.3576
43 | 2597091.204 | 1227189.1022 | 2597094.8914 | 1227181.4515
44 | 2597091.204 | 1227189.1022 | 2597058.9567 | 1227168.9379
45 | 2597038.9011 | 1227278.1032 | 2597039.9855 | 1227279.4813 | 2597045.2858 | 1227286.2381 | 2597056.4476 | 1227300.5297
46 | 2597028.8009 | 1227265.2008 | 2597038.9011 | 1227278.1032
47 | 2597097.5552 | 1227175.9246 | 2597094.8914 | 1227181.4515
48 | 2597056.4476 | 1227300.5297 | 2597059.7661 | 1227299.5275 | 2597063.2216 | 1227299.6591 | 2597066.4504 | 1227300.9138 | 2597069.0886 | 1227303.1471
49 | 2597028.8009 | 1227265.2008 | 2597017.0021 | 1227250.198 | 2597007.5156 | 1227237.8085
50 | 2597097.5552 | 1227175.9246 | 2597099.8025 | 1227169.0972 | 2597101.49 | 1227164.3825
51 | 2596988.7091 | 1227213.2467 | 2597007.5156 | 1227237.8085
52 | 2597189.3706 | 1227360.6858 | 2597196.4659 | 1227363.749
53 | 2597172.5837 | 1227353.4387 | 2597189.3706 | 1227360.6858
54 | 2597172.5837 | 1227353.4387 | 2597160.9352 | 1227348.4098
55 | 2597215.4877 | 1227337.8859 | 2597212.1674 | 1227344.0935
56 | 2597160.9352 | 1227348.4098 | 2597156.3877 | 1227346.4466
57 | 2597216.8742 | 1227335.2936 | 2597215.4877 | 1227337.8859
58 | 2597145.7493 | 1227341.8539 | 2597156.3877 | 1227346.4466
59 | 2597216.8742 | 1227335.2936 | 2597218.3438 | 1227332.5458
60 | 2597063.8608 | 1227319.8707 | 2597060.4435 | 1227320.2282 | 2597057.0937 | 1227319.4516 | 2597054.1829 | 1227317.6298 | 2597052.0143 | 1227314.9738
61 | 2597063.8608 | 1227319.8707 | 2597067.5107 | 1227329.6413 | 2597070.7214 | 1227336.0162
62 | 2597052.0143 | 1227314.9738 | 2597046.1211 | 1227319.4795
63 | 2597074.6348 | 1227343.7864 | 2597070.7214 | 1227336.0162
64 | 2597145.7493 | 1227341.8539 | 2597135.4346 | 1227337.6354
65 | 2597103.9646 | 1227400.2423 | 2597090.7371 | 1227376.1125 | 2597088.1503 | 1227370.6217 | 2597074.6348 | 1227343.7864
66 | 2597234.5347 | 1227302.2747 | 2597218.3438 | 1227332.5458
67 | 2597234.5347 | 1227302.2747 | 2597235.7629 | 1227299.9783
68 | 2597255.7199 | 1227262.6659 | 2597235.7629 | 1227299.9783
69 | 2597255.7199 | 1227262.6659 | 2597259.376 | 1227255.8302
70 | 2597145.7493 | 1227341.8539 | 2597157.4004 | 1227319.3078
71 | 2597157.4004 | 1227319.3078 | 2597164.0316 | 1227306.4758
72 | 2597171.0352 | 1227292.9231 | 2597164.8688 | 1227304.8557
73 | 2597171.0352 | 1227292.9231 | 2597177.8562 | 1227279.7238 | 2597187.713 | 1227284.8164
74 | 2597164.0316 | 1227306.4758 | 2597164.8688 | 1227304.8557
75 | 2597203.2205 | 1227281.5049 | 2597198.6018 | 1227290.4422 | 2597187.713 | 1227284.8164
76 | 2597203.2205 | 1227281.5049 | 2597214.7252 | 1227259.2431
77 | 2597044.6373 | 1227426.3876 | 2597047.3539 | 1227423.2515
78 | 2596923.0746 | 1227435.8119 | 2596921.9913 | 1227407.7293 | 2596921.5631 | 1227406.0094
79 | 2597101.49 | 1227164.3825 | 2597108.6399 | 1227152.1876
80 | 2597065.8044 | 1227401.9514 | 2597047.3539 | 1227423.2515
81 | 2597103.9646 | 1227400.2423 | 2597111.2982 | 1227397.2035 | 2597113.6016 | 1227396.8021

## bus_geodata
| x | y | coords
0 | 2596937.6385 | 1227504.2717
1 | 2596947.4839 | 1227493.061
2 | 2596966.3541 | 1227471.3953
3 | 2596993.1763 | 1227449.3459
4 | 2597010.2827 | 1227430.8412
5 | 2597122.0882 | 1227273.9445
6 | 2597114.7404 | 1227288.5121
7 | 2597132.3007 | 1227253.6975
8 | 2597111.1119 | 1227295.706
9 | 2597097.9844 | 1227321.7324
10 | 2597118.5399 | 1227330.5463
11 | 2597071.5319 | 1227309.5052
12 | 2597270.0995 | 1227321.9998
13 | 2597268.3508 | 1227325.4853
14 | 2597336.868 | 1227294.4683
15 | 2597251.3961 | 1227359.2809
16 | 2597339.8593 | 1227288.3563
17 | 2597239.9823 | 1227382.0319
18 | 2597201.9802 | 1227366.1296
19 | 2597002.5383 | 1227374.7768
20 | 2597010.1618 | 1227365.1042
21 | 2597001.2844 | 1227376.3677
22 | 2597011.2258 | 1227363.7541
23 | 2596991.6889 | 1227388.5423
24 | 2597021.3711 | 1227350.882
25 | 2596979.1401 | 1227404.464
26 | 2597028.2457 | 1227342.1595
27 | 2596948.5621 | 1227429.9855
28 | 2597154.705 | 1227413.583
29 | 2597170.3264 | 1227420.1147
30 | 2597147.5948 | 1227410.61
31 | 2597141.6686 | 1227408.1322
32 | 2597131.7057 | 1227403.9665
33 | 2597124.1252 | 1227400.7969
34 | 2597059.2735 | 1227245.5431
35 | 2597079.4201 | 1227210.4777
36 | 2597058.8055 | 1227246.3576
37 | 2597091.204 | 1227189.1022
38 | 2597038.9011 | 1227278.1032
39 | 2597094.8914 | 1227181.4515
40 | 2597058.9567 | 1227168.9379
41 | 2597056.4476 | 1227300.5297
42 | 2597028.8009 | 1227265.2008
43 | 2597097.5552 | 1227175.9246
44 | 2597069.0886 | 1227303.1471
45 | 2597007.5156 | 1227237.8085
46 | 2597196.4659 | 1227363.749
47 | 2597189.3706 | 1227360.6858
48 | 2597172.5837 | 1227353.4387
49 | 2597212.1674 | 1227344.0935
50 | 2597160.9352 | 1227348.4099
51 | 2597215.4877 | 1227337.8859
52 | 2597156.3877 | 1227346.4466
53 | 2597216.8742 | 1227335.2936
54 | 2597063.8608 | 1227319.8707
55 | 2597052.0143 | 1227314.9738
56 | 2597070.7214 | 1227336.0162
57 | 2597046.1211 | 1227319.4795
58 | 2597135.4346 | 1227337.6354
59 | 2597074.6348 | 1227343.7864
60 | 2597218.3438 | 1227332.5458
61 | 2597234.5347 | 1227302.2747
62 | 2597235.7629 | 1227299.9783
63 | 2597255.7199 | 1227262.6659
64 | 2597145.7493 | 1227341.8539
65 | 2597157.4004 | 1227319.3078
66 | 2597171.0352 | 1227292.9231
67 | 2597164.8688 | 1227304.8557
68 | 2597187.713 | 1227284.8164
69 | 2597164.0316 | 1227306.4758
70 | 2597203.2205 | 1227281.5049
71 | 2597214.7252 | 1227259.2431
72 | 2597044.6373 | 1227426.3876
73 | 2596921.5631 | 1227406.0094
74 | 2596923.0746 | 1227435.8119
75 | 2597101.49 | 1227164.3825
76 | 2597259.376 | 1227255.8302
77 | 2597047.3539 | 1227423.2515
78 | 2597108.6399 | 1227152.1876
79 | 2597113.6016 | 1227396.8021
80 | 2597103.9646 | 1227400.2423
81 | 2596988.709 | 1227213.2467
82 | 2597065.8044 | 1227401.9514
83 | 2597063.8608 | 1227319.8707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98249 | -0.33652 | 0.018884 | 0.0047327
1 | 0.98275 | -0.33144 | 0.0048104 | 0.0012056
2 | 0.98338 | -0.31916 | 0.010001 | 0.0025064
3 | 0.9845 | -0.29728 | 0.0060256 | 0.0015102
4 | 0.98542 | -0.27929 | 0 | 0
5 | 0.99164 | -0.1602 | 0.0021376 | 0.00053574
6 | 0.99172 | -0.15865 | 0.0030494 | 0.00076425
7 | 0.99157 | -0.1615 | 0.0032173 | 0.00080633
8 | 0.99178 | -0.15745 | 0.068637 | 0.017202
9 | 0.99384 | -0.11774 | 0 | 0
10 | 0.99133 | -0.16606 | 0.01878 | 0.0047066
11 | 0.99649 | -0.066789 | 0 | 0
12 | 0.98415 | -0.30538 | 0.0029002 | 0.00072685
13 | 0.98418 | -0.3049 | 0.0038151 | 0.00095614
14 | 0.98389 | -0.31047 | 0 | 0
15 | 0.98455 | -0.29767 | 0.0038916 | 0.00097532
16 | 0.98387 | -0.31095 | 0.0039174 | 0.00098179
17 | 0.98489 | -0.29102 | 0 | 0
18 | 0.98544 | -0.28027 | 0 | 0
19 | 0.99293 | -0.13464 | 0.0013199 | 0.00033079
20 | 0.99345 | -0.12468 | 0.0065253 | 0.0016354
21 | 0.99285 | -0.13627 | 0.0076504 | 0.0019174
22 | 0.99353 | -0.12324 | 0.0032318 | 0.00080997
23 | 0.99222 | -0.14822 | 0.0023076 | 0.00057833
24 | 0.99426 | -0.10928 | 0.0076415 | 0.0019152
25 | 0.99061 | -0.17912 | 0 | 0
26 | 0.99477 | -0.099468 | 0.0094717 | 0.0023738
27 | 0.98933 | -0.204 | 0.023954 | 0.0060034
28 | 0.99697 | -0.05832 | 0.0026422 | 0.00066219
29 | 0.99693 | -0.059107 | 0.0026523 | 0.00066473
30 | 0.997 | -0.057604 | 0.005715 | 0.0014323
31 | 0.99707 | -0.056364 | 0.0066291 | 0.0016614
32 | 0.99724 | -0.053025 | 0.0047651 | 0.0011942
33 | 0.99741 | -0.049799 | 0.0050296 | 0.0012605
34 | 0.99451 | -0.10498 | 0.0030055 | 0.00075325
35 | 0.99411 | -0.11275 | 0.0019225 | 0.00048182
36 | 0.99452 | -0.10475 | 0.0030052 | 0.00075317
37 | 0.99391 | -0.11662 | 0 | 0
38 | 0.9951 | -0.093549 | 0 | 0
39 | 0.99385 | -0.11772 | 0.0012712 | 0.0003186
40 | 0.99386 | -0.11769 | 0.0015998 | 0.00040094
41 | 0.99589 | -0.07845 | 0 | 0
42 | 0.99491 | -0.097372 | 0 | 0
43 | 0.99382 | -0.11838 | 0 | 0
44 | 0.99627 | -0.071111 | 0.0054726 | 0.0013716
45 | 0.99449 | -0.10548 | 0.0073245 | 0.0018357
46 | 0.98566 | -0.27597 | 0.0091796 | 0.0023006
47 | 0.98601 | -0.26916 | 0.0034176 | 0.00085654
48 | 0.98689 | -0.25195 | 0.0061082 | 0.0015309
49 | 0.98487 | -0.29136 | 0.0016222 | 0.00040656
50 | 0.98758 | -0.23864 | 0.0029774 | 0.00074621
51 | 0.98471 | -0.29437 | 0.0032586 | 0.00081667
52 | 0.98786 | -0.23318 | 0.0053584 | 0.0013429
53 | 0.98466 | -0.29545 | 0.0029073 | 0.00072863
54 | 0.99724 | -0.052547 | 0 | 0
55 | 0.99655 | -0.065676 | 0 | 0
56 | 0.99907 | -0.017719 | 0.013687 | 0.0034302
57 | 0.99617 | -0.07279 | 0.0083554 | 0.0020941
58 | 0.98959 | -0.19971 | 0.0045224 | 0.0011334
59 | 1 | 0 | -0.50842 | -0.12912
60 | 0.98461 | -0.29644 | 0.007385 | 0.0018509
61 | 0.98428 | -0.30276 | 0.0018923 | 0.00047426
62 | 0.98426 | -0.30315 | 0.0027917 | 0.00069967
63 | 0.98405 | -0.30739 | 0.0029856 | 0.00074826
64 | 0.98857 | -0.21933 | 0.0060162 | 0.0015078
65 | 0.98797 | -0.23102 | 0.01121 | 0.0028095
66 | 0.98765 | -0.23728 | 0.0012212 | 0.00030606
67 | 0.98776 | -0.23514 | 0.001668 | 0.00041804
68 | 0.98747 | -0.24086 | 0.0011909 | 0.00029846
69 | 0.98778 | -0.23479 | 0.0039989 | 0.0010022
70 | 0.98733 | -0.24346 | 0.0032499 | 0.00081451
71 | 0.98726 | -0.24493 | 0.0032748 | 0.00082075
72 | 0.98104 | -0.36446 | 0 | 0
73 | 0.9888 | -0.21429 | 0.010294 | 0.0025798
74 | 0.98908 | -0.2088 | 0 | 0
75 | 0.99375 | -0.11969 | 0 | 0
76 | 0.98403 | -0.30775 | 0.0025722 | 0.00064466
77 | 0.98067 | -0.37182 | 0.015966 | 0.0040013
78 | 0.99367 | -0.12121 | 0.0060984 | 0.0015284
79 | 0.99769 | -0.04438 | 0.0069344 | 0.0017379
80 | 0.99801 | -0.038197 | 0 | 0
81 | 0.99432 | -0.10872 | 0.0059412 | 0.001489
82 | 0.97852 | -0.41379 | 0.081998 | 0.020551
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018884 | -0.0047327 | 0.018888 | 0.0047355 | 4.5766e-06 | 2.7401e-06 | 0.0286 | 0.0286 | 0.0286 | 0.98249 | -0.33652 | 0.98275 | -0.33144 | 7.8572
1 | -0.023699 | -0.0059411 | 0.023713 | 0.0059496 | 1.3873e-05 | 8.5148e-06 | 0.035884 | 0.035884 | 0.035884 | 0.98275 | -0.33144 | 0.98338 | -0.31916 | 9.8582
2 | -0.033713 | -0.008456 | 0.033748 | 0.008478 | 3.5198e-05 | 2.2069e-05 | 0.051016 | 0.051016 | 0.051016 | 0.98338 | -0.31916 | 0.9845 | -0.29728 | 14.0155
3 | -0.039774 | -0.0099882 | 0.039808 | 0.01001 | 3.4161e-05 | 2.1542e-05 | 0.060124 | 0.060123 | 0.060124 | 0.9845 | -0.29728 | 0.98542 | -0.27929 | 16.5175
4 | 0.098563 | 0.024935 | -0.098162 | -0.024679 | 0.000401 | 0.00025603 | 0.14892 | 0.14892 | 0.14892 | 0.98542 | -0.27929 | 0.98104 | -0.36446 | 40.9114
5 | -0.13837 | -0.034945 | 0.13904 | 0.035371 | 0.00066768 | 0.00042679 | 0.20904 | 0.20904 | 0.20904 | 0.98542 | -0.27929 | 0.99061 | -0.17912 | 57.4288
6 | -0.0053551 | -0.0013419 | 0.0053555 | 0.0013419 | 3.9507e-07 | 4.2339e-08 | 0.0080356 | 0.0080355 | 0.0080356 | 0.99164 | -0.1602 | 0.99172 | -0.15865 | 2.2076
7 | 0.0032175 | 0.00080617 | -0.0032173 | -0.00080633 | 1.9822e-07 | -1.6567e-07 | 0.004828 | 0.0048281 | 0.0048281 | 0.99164 | -0.1602 | 0.99157 | -0.1615 | 1.3264
8 | -0.0084049 | -0.0021062 | 0.0084054 | 0.0021064 | 4.8052e-07 | 2.0356e-07 | 0.012611 | 0.012611 | 0.012611 | 0.99172 | -0.15865 | 0.99178 | -0.15745 | 3.4646
9 | -0.077043 | -0.019309 | 0.077189 | 0.019402 | 0.00014605 | 9.3097e-05 | 0.11559 | 0.11559 | 0.11559 | 0.99178 | -0.15745 | 0.99384 | -0.11774 | 31.7556
10 | 0.12288 | 0.03109 | -0.1226 | -0.030908 | 0.00028423 | 0.00018162 | 0.18409 | 0.18409 | 0.18409 | 0.99384 | -0.11774 | 0.99133 | -0.16606 | 50.5738
11 | -0.20007 | -0.050492 | 0.20056 | 0.050804 | 0.00048954 | 0.00031255 | 0.29968 | 0.29968 | 0.29968 | 0.99384 | -0.11774 | 0.99649 | -0.066789 | 41.1647
12 | 0.10382 | 0.026202 | -0.10365 | -0.026095 | 0.000167 | 0.00010664 | 0.1559 | 0.1559 | 0.1559 | 0.99133 | -0.16606 | 0.98959 | -0.19971 | 42.8297
13 | -0.23627 | -0.059774 | 0.23643 | 0.059877 | 0.00016158 | 0.00010269 | 0.353 | 0.353 | 0.353 | 0.99649 | -0.066789 | 0.99724 | -0.052547 | 24.2447
14 | 0.035706 | 0.0089697 | -0.035698 | -0.0089651 | 7.3631e-06 | 4.6224e-06 | 0.053325 | 0.053325 | 0.053325 | 0.99649 | -0.066789 | 0.99627 | -0.071111 | 14.6497
15 | -0.0068186 | -0.0017083 | 0.0068188 | 0.0017084 | 1.5542e-07 | 4.9917e-08 | 0.010309 | 0.010309 | 0.010309 | 0.98415 | -0.30538 | 0.98418 | -0.3049 | 2.8322
16 | 0.0039184 | 0.00098146 | -0.0039175 | -0.00098177 | 9.5063e-07 | -3.0906e-07 | 0.0059244 | 0.0059247 | 0.0059247 | 0.98415 | -0.30538 | 0.98389 | -0.31047 | 1.6277
17 | -0.010634 | -0.0026645 | 0.010637 | 0.0026664 | 3.665e-06 | 1.8649e-06 | 0.016077 | 0.016077 | 0.016077 | 0.98418 | -0.3049 | 0.98455 | -0.29767 | 4.4169
18 | 0.0039175 | 0.00098177 | -0.0039174 | -0.00098179 | 8.9573e-08 | -2.9091e-08 | 0.0059247 | 0.0059248 | 0.0059248 | 0.98389 | -0.31047 | 0.98387 | -0.31095 | 1.6277
19 | -0.014529 | -0.0036417 | 0.014534 | 0.0036443 | 4.6025e-06 | 2.6218e-06 | 0.021959 | 0.021959 | 0.021959 | 0.98455 | -0.29767 | 0.98489 | -0.29102 | 6.0327
20 | -0.014534 | -0.0036443 | 0.014541 | 0.0036485 | 7.4489e-06 | 4.2428e-06 | 0.021959 | 0.021959 | 0.021959 | 0.98489 | -0.29102 | 0.98544 | -0.28027 | 6.0326
21 | 0.025438 | 0.0063828 | -0.025425 | -0.0063745 | 1.3436e-05 | 8.29e-06 | 0.038414 | 0.038414 | 0.038414 | 0.98544 | -0.28027 | 0.98487 | -0.29136 | 10.5534
22 | -0.039979 | -0.010031 | 0.039987 | 0.010037 | 8.2095e-06 | 5.1775e-06 | 0.060373 | 0.060373 | 0.060373 | 0.98544 | -0.28027 | 0.98566 | -0.27597 | 16.5859
23 | -0.18498 | -0.047047 | 0.18507 | 0.047103 | 8.8887e-05 | 5.625e-05 | 0.27746 | 0.27746 | 0.27746 | 0.99293 | -0.13464 | 0.99345 | -0.12468 | 19.0565
24 | 0.18366 | 0.046716 | -0.18365 | -0.046707 | 1.4412e-05 | 9.1191e-06 | 0.27548 | 0.27548 | 0.27548 | 0.99293 | -0.13464 | 0.99285 | -0.13627 | 18.9206
25 | -0.1916 | -0.048738 | 0.19161 | 0.048747 | 1.3296e-05 | 8.4204e-06 | 0.28724 | 0.28724 | 0.28724 | 0.99345 | -0.12468 | 0.99353 | -0.12324 | 19.7277
26 | 0.176 | 0.04479 | -0.1759 | -0.044726 | 0.0001013 | 6.4031e-05 | 0.26402 | 0.26402 | 0.26402 | 0.99285 | -0.13627 | 0.99222 | -0.14822 | 18.1331
27 | -0.19484 | -0.049557 | 0.19497 | 0.04964 | 0.00013108 | 8.304e-05 | 0.29208 | 0.29208 | 0.29208 | 0.99353 | -0.12324 | 0.99426 | -0.10928 | 20.0601
28 | 0.17359 | 0.044147 | -0.17333 | -0.043983 | 0.00025806 | 0.00016463 | 0.26056 | 0.26056 | 0.26056 | 0.99222 | -0.14822 | 0.99061 | -0.17912 | 35.791
29 | -0.20262 | -0.051555 | 0.20271 | 0.051616 | 9.5912e-05 | 6.0808e-05 | 0.30351 | 0.30351 | 0.30351 | 0.99426 | -0.10928 | 0.99477 | -0.099468 | 20.8456
30 | 0.034293 | 0.0086112 | -0.034252 | -0.0085857 | 4.0654e-05 | 2.5493e-05 | 0.051518 | 0.051518 | 0.051518 | 0.99061 | -0.17912 | 0.98933 | -0.204 | 14.1533
31 | -0.21218 | -0.05399 | 0.21246 | 0.054163 | 0.00027322 | 0.00017336 | 0.31768 | 0.31768 | 0.31768 | 0.99477 | -0.099468 | 0.99617 | -0.07279 | 21.8186
32 | 0.010299 | 0.0025823 | -0.010296 | -0.0025812 | 2.3555e-06 | 1.1715e-06 | 0.01549 | 0.01549 | 0.01549 | 0.98933 | -0.204 | 0.98908 | -0.2088 | 4.2556
33 | 0.0026524 | 0.00066457 | -0.0026523 | -0.00066473 | 9.951e-08 | -1.571e-07 | 0.0039588 | 0.0039588 | 0.0039588 | 0.99697 | -0.05832 | 0.99693 | -0.059107 | 1.0876
34 | -0.0052946 | -0.0013268 | 0.0052948 | 0.0013268 | 1.8047e-07 | 1.5004e-08 | 0.0079023 | 0.0079023 | 0.0079023 | 0.99697 | -0.05832 | 0.997 | -0.057604 | 2.171
35 | -0.01101 | -0.0027591 | 0.01101 | 0.0027594 | 6.5038e-07 | 3.3247e-07 | 0.016432 | 0.016432 | 0.016432 | 0.997 | -0.057604 | 0.99707 | -0.056364 | 4.5142
36 | -0.017639 | -0.0044208 | 0.017642 | 0.0044225 | 2.8063e-06 | 1.6552e-06 | 0.026325 | 0.026325 | 0.026325 | 0.99707 | -0.056364 | 0.99724 | -0.053025 | 7.2321
37 | -0.022407 | -0.0056167 | 0.022411 | 0.0056188 | 3.4445e-06 | 2.0972e-06 | 0.033435 | 0.033435 | 0.033435 | 0.99724 | -0.053025 | 0.99741 | -0.049799 | 9.1855
38 | -0.02744 | -0.0068794 | 0.027448 | 0.0068838 | 7.0884e-06 | 4.3893e-06 | 0.040939 | 0.040939 | 0.040939 | 0.99741 | -0.049799 | 0.99769 | -0.04438 | 11.2469
39 | 0.010899 | 0.0027325 | -0.010895 | -0.0027304 | 4.0332e-06 | 2.0567e-06 | 0.016308 | 0.016308 | 0.016308 | 0.99451 | -0.10498 | 0.99411 | -0.11275 | 4.4802
40 | -0.013905 | -0.0034857 | 0.013905 | 0.0034858 | 1.5247e-07 | 8.5395e-08 | 0.020805 | 0.020805 | 0.020805 | 0.99451 | -0.10498 | 0.99452 | -0.10475 | 5.7156
41 | 0.0089726 | 0.0022486 | -0.0089709 | -0.0022479 | 1.6525e-06 | 7.4093e-07 | 0.01343 | 0.013431 | 0.013431 | 0.99411 | -0.11275 | 0.99391 | -0.11662 | 3.6897
42 | -0.01691 | -0.004239 | 0.016919 | 0.0042443 | 9.0298e-06 | 5.2907e-06 | 0.025301 | 0.025301 | 0.025301 | 0.99452 | -0.10475 | 0.9951 | -0.093549 | 6.9509
43 | 0.0073711 | 0.0018474 | -0.0073707 | -0.0018472 | 3.8786e-07 | 1.3817e-07 | 0.011036 | 0.011036 | 0.011036 | 0.99391 | -0.11662 | 0.99385 | -0.11772 | 3.0317
44 | 0.0015998 | 0.0004005 | -0.0015998 | -0.00040094 | 8.1816e-08 | -4.4051e-07 | 0.002395 | 0.0023952 | 0.0023952 | 0.99391 | -0.11662 | 0.99386 | -0.11769 | 0.65802
45 | -0.030193 | -0.0075734 | 0.030215 | 0.0075869 | 2.1747e-05 | 1.3548e-05 | 0.045151 | 0.045151 | 0.045151 | 0.9951 | -0.093549 | 0.99589 | -0.07845 | 12.4042
46 | 0.013274 | 0.0033291 | -0.013272 | -0.0033277 | 2.4187e-06 | 1.3354e-06 | 0.01985 | 0.01985 | 0.01985 | 0.9951 | -0.093549 | 0.99491 | -0.097372 | 5.4534
47 | 0.0060995 | 0.0015286 | -0.0060993 | -0.0015286 | 1.9188e-07 | 4.33e-08 | 0.0091322 | 0.0091322 | 0.0091322 | 0.99385 | -0.11772 | 0.99382 | -0.11838 | 2.5089
48 | -0.030215 | -0.0075869 | 0.030226 | 0.0075935 | 1.0584e-05 | 6.5938e-06 | 0.045151 | 0.045151 | 0.045151 | 0.99589 | -0.07845 | 0.99627 | -0.071111 | 12.4041
49 | 0.013272 | 0.0033277 | -0.013267 | -0.0033249 | 5.126e-06 | 2.8304e-06 | 0.01985 | 0.01985 | 0.01985 | 0.99491 | -0.097372 | 0.99449 | -0.10548 | 5.4534
50 | 0.0060993 | 0.0015286 | -0.0060989 | -0.0015285 | 3.8136e-07 | 8.6076e-08 | 0.0091322 | 0.0091323 | 0.0091323 | 0.99382 | -0.11838 | 0.99375 | -0.11969 | 2.5089
51 | 0.0059422 | 0.0014892 | -0.0059412 | -0.001489 | 9.1705e-07 | 1.8559e-07 | 0.008891 | 0.0088912 | 0.0088912 | 0.99449 | -0.10548 | 0.99432 | -0.10872 | 2.4426
52 | -0.049167 | -0.012337 | 0.049183 | 0.012347 | 1.5969e-05 | 1.0122e-05 | 0.074231 | 0.074231 | 0.074231 | 0.98566 | -0.27597 | 0.98601 | -0.26916 | 20.3931
53 | -0.052601 | -0.013204 | 0.052644 | 0.013231 | 4.3214e-05 | 2.7424e-05 | 0.079389 | 0.079388 | 0.079389 | 0.98601 | -0.26916 | 0.98689 | -0.25195 | 21.81
54 | -0.058752 | -0.014762 | 0.058789 | 0.014786 | 3.7348e-05 | 2.374e-05 | 0.088598 | 0.088598 | 0.088598 | 0.98689 | -0.25195 | 0.98758 | -0.23864 | 24.3402
55 | 0.023802 | 0.005968 | -0.023799 | -0.0059659 | 3.4144e-06 | 2.0956e-06 | 0.035963 | 0.035963 | 0.035963 | 0.98487 | -0.29136 | 0.98471 | -0.29437 | 9.8801
56 | -0.061767 | -0.015532 | 0.061783 | 0.015542 | 1.6094e-05 | 1.0237e-05 | 0.093084 | 0.093084 | 0.093084 | 0.98758 | -0.23864 | 0.98786 | -0.23318 | 25.5726
57 | 0.02054 | 0.0051492 | -0.020539 | -0.0051485 | 1.0621e-06 | 6.4236e-07 | 0.031039 | 0.031039 | 0.031039 | 0.98471 | -0.29437 | 0.98466 | -0.29545 | 8.5273
58 | -0.067141 | -0.016885 | 0.067186 | 0.016914 | 4.4463e-05 | 2.8308e-05 | 0.10116 | 0.10116 | 0.10116 | 0.98786 | -0.23318 | 0.98857 | -0.21933 | 27.7901
59 | 0.017632 | 0.0044199 | -0.017631 | -0.0044194 | 8.2966e-07 | 4.9135e-07 | 0.026646 | 0.026646 | 0.026646 | 0.98466 | -0.29545 | 0.98461 | -0.29644 | 7.3203
60 | 0.22103 | 0.056394 | -0.22089 | -0.056305 | 0.00014007 | 8.8933e-05 | 0.33016 | 0.33016 | 0.33016 | 0.99724 | -0.052547 | 0.99655 | -0.065676 | 22.6758
61 | -0.45746 | -0.11627 | 0.45822 | 0.11676 | 0.00076867 | 0.00049103 | 0.68316 | 0.68316 | 0.68316 | 0.99724 | -0.052547 | 0.99907 | -0.017719 | 46.9205
62 | 0.22089 | 0.056305 | -0.22081 | -0.056257 | 7.5809e-05 | 4.8131e-05 | 0.33016 | 0.33016 | 0.33016 | 0.99655 | -0.065676 | 0.99617 | -0.07279 | 22.6758
63 | -0.47191 | -0.12019 | 0.47231 | 0.12045 | 0.00040372 | 0.00025792 | 0.70355 | 0.70355 | 0.70355 | 0.99907 | -0.017719 | 1 | 0 | 48.3205
64 | 0.099129 | 0.024962 | -0.099036 | -0.024902 | 9.2903e-05 | 5.9315e-05 | 0.1491 | 0.1491 | 0.1491 | 0.98959 | -0.19971 | 0.98857 | -0.21933 | 40.9615
65 | 0.034455 | 0.0086674 | -0.034392 | -0.008628 | 6.2752e-05 | 3.9328e-05 | 0.051281 | 0.051281 | 0.051281 | 1 | 0 | 0.99801 | -0.038197 | 14.0882
66 | 0.010246 | 0.0025686 | -0.010243 | -0.002567 | 3.0869e-06 | 1.5392e-06 | 0.015485 | 0.015485 | 0.015485 | 0.98461 | -0.29644 | 0.98428 | -0.30276 | 4.2542
67 | 0.0083509 | 0.0020928 | -0.0083507 | -0.0020927 | 1.5565e-07 | 6.6517e-08 | 0.012625 | 0.012625 | 0.012625 | 0.98428 | -0.30276 | 0.98426 | -0.30315 | 3.4683
68 | 0.005559 | 0.001393 | -0.0055579 | -0.0013929 | 1.1207e-06 | 1.7959e-07 | 0.008404 | 0.0084042 | 0.0084042 | 0.98426 | -0.30315 | 0.98405 | -0.30739 | 2.3089
69 | 0.0025723 | 0.00064459 | -0.0025722 | -0.00064466 | 4.398e-08 | -7.0333e-08 | 0.0038896 | 0.0038896 | 0.0038896 | 0.98405 | -0.30739 | 0.98403 | -0.30775 | 1.0686
70 | 0.025834 | 0.006481 | -0.02582 | -0.0064721 | 1.4393e-05 | 8.8861e-06 | 0.038888 | 0.038889 | 0.038889 | 0.98857 | -0.21933 | 0.98797 | -0.23102 | 10.6837
71 | 0.01461 | 0.0036626 | -0.014607 | -0.0036611 | 2.6227e-06 | 1.4936e-06 | 0.022005 | 0.022005 | 0.022005 | 0.98797 | -0.23102 | 0.98778 | -0.23479 | 6.0452
72 | -0.0089392 | -0.0022403 | 0.0089401 | 0.0022408 | 9.1362e-07 | 4.1281e-07 | 0.013468 | 0.013468 | 0.013468 | 0.98765 | -0.23728 | 0.98776 | -0.23514 | 3.7
73 | 0.007718 | 0.0019343 | -0.0077167 | -0.0019338 | 1.3159e-06 | 5.1013e-07 | 0.011628 | 0.011628 | 0.011628 | 0.98765 | -0.23728 | 0.98747 | -0.24086 | 3.1946
74 | -0.010608 | -0.0026588 | 0.010608 | 0.0026589 | 1.7465e-07 | 8.843e-08 | 0.015981 | 0.015981 | 0.015981 | 0.98776 | -0.23514 | 0.98778 | -0.23479 | 4.3903
75 | 0.0065258 | 0.0016353 | -0.006525 | -0.0016351 | 8.0927e-07 | 2.3249e-07 | 0.0098337 | 0.0098338 | 0.0098338 | 0.98747 | -0.24086 | 0.98733 | -0.24346 | 2.7016
76 | 0.0032751 | 0.00082057 | -0.0032748 | -0.00082075 | 2.2894e-07 | -1.7393e-07 | 0.0049358 | 0.0049359 | 0.0049359 | 0.98733 | -0.24346 | 0.98726 | -0.24493 | 1.356
77 | 0.098162 | 0.024679 | -0.098128 | -0.024657 | 3.4505e-05 | 2.2031e-05 | 0.14892 | 0.14892 | 0.14892 | 0.98104 | -0.36446 | 0.98067 | -0.37182 | 40.9114
78 | -0.010294 | -0.0025798 | 0.010296 | 0.0025812 | 2.6883e-06 | 1.3372e-06 | 0.01549 | 0.01549 | 0.01549 | 0.9888 | -0.21429 | 0.98908 | -0.2088 | 4.2556
79 | 0.0060989 | 0.0015285 | -0.0060984 | -0.0015284 | 4.4211e-07 | 9.9818e-08 | 0.0091323 | 0.0091324 | 0.0091324 | 0.99375 | -0.11969 | 0.99367 | -0.12121 | 2.5089
80 | 0.082162 | 0.020655 | -0.081998 | -0.020551 | 0.00016431 | 0.0001048 | 0.12469 | 0.12469 | 0.12469 | 0.98067 | -0.37182 | 0.97852 | -0.41379 | 34.2561
81 | -0.034382 | -0.0086217 | 0.034392 | 0.008628 | 1.0134e-05 | 6.3516e-06 | 0.051281 | 0.051281 | 0.051281 | 0.99769 | -0.04438 | 0.99801 | -0.038197 | 14.0882

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52982 | 0.13448

## res_load
| p_mw | q_mvar
0 | 0.018884 | 0.0047327
1 | 0.0048104 | 0.0012056
2 | 0.010001 | 0.0025064
3 | 0.0060256 | 0.0015102
4 | 0.0021376 | 0.00053574
5 | 0.0030494 | 0.00076425
6 | 0.0032173 | 0.00080633
7 | 0.068637 | 0.017202
8 | 0.01878 | 0.0047066
9 | 0.0029002 | 0.00072685
10 | 0.0038151 | 0.00095614
11 | 0.0038916 | 0.00097532
12 | 0.0039174 | 0.00098179
13 | 0.0013199 | 0.00033079
14 | 0.0065253 | 0.0016354
15 | 0.0076504 | 0.0019174
16 | 0.0032318 | 0.00080997
17 | 0.0023076 | 0.00057833
18 | 0.0076415 | 0.0019152
19 | 0.0094717 | 0.0023738
20 | 0.023954 | 0.0060034
21 | 0.0026422 | 0.00066219
22 | 0.0026523 | 0.00066473
23 | 0.005715 | 0.0014323
24 | 0.0066291 | 0.0016614
25 | 0.0047651 | 0.0011942
26 | 0.0050296 | 0.0012605
27 | 0.0030055 | 0.00075325
28 | 0.0019225 | 0.00048182
29 | 0.0030052 | 0.00075317
30 | 0.0012712 | 0.0003186
31 | 0.0015998 | 0.00040094
32 | 0.0054726 | 0.0013716
33 | 0.0073245 | 0.0018357
34 | 0.0091796 | 0.0023006
35 | 0.0034176 | 0.00085654
36 | 0.0061082 | 0.0015309
37 | 0.0016222 | 0.00040656
38 | 0.0029774 | 0.00074621
39 | 0.0032586 | 0.00081667
40 | 0.0053584 | 0.0013429
41 | 0.0029073 | 0.00072863
42 | 0.013687 | 0.0034302
43 | 0.0083554 | 0.0020941
44 | 0.0045224 | 0.0011334
45 | 0.021397 | 0.0053626
46 | 0.007385 | 0.0018509
47 | 0.0018923 | 0.00047426
48 | 0.0027917 | 0.00069967
49 | 0.0029856 | 0.00074826
50 | 0.0060162 | 0.0015078
51 | 0.01121 | 0.0028095
52 | 0.0012212 | 0.00030606
53 | 0.001668 | 0.00041804
54 | 0.0011909 | 0.00029846
55 | 0.0039989 | 0.0010022
56 | 0.0032499 | 0.00081451
57 | 0.0032748 | 0.00082075
58 | 0.010294 | 0.0025798
59 | 0.0025722 | 0.00064466
60 | 0.015966 | 0.0040013
61 | 0.0060984 | 0.0015284
62 | 0.0069344 | 0.0017379
63 | 0.0059412 | 0.001489
64 | 0.081998 | 0.020551

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1