## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-36_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-36_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-36_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-36_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-36_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-36_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2546-36_0_6_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_2546-36_0_6_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_2546-36_0_6_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_2546-36_0_6_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_2546-36_0_6_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_2546-36_0_6_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_2546-36_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2546-36_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2546-36_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2546-36_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2546-36_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2546-36_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2546-36_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2546-36_0_6_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_2546-36_0_6_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_2546-36_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2546-36_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2546-36_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2546-36_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2546-36_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2546-36_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2546-36_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2546-36_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2546-36_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2546-36_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2546-36_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2546-36_0_6_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_2546-36_0_6_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_2546-36_0_6_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_2546-36_0_6_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_2546-36_0_6_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_2546-36_0_6_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2546-36_0_6_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_2546-36_0_6_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_2546-36_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2546-36_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2546-36_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2546-36_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2546-36_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_2546-36_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2546-36_0_6_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_2546-36_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2546-36_0_6_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_2546-36_0_6_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2546-36_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_2546-36_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2546-36_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2546-36_0_6_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2546-36_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2546-36_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_2546-36_0_6_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_2546-36_0_6_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_2546-36_0_6_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_2546-36_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2546-36_0_6_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_2546-36_0_6_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_2546-36_0_6_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_2546-36_0_6_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_2546-36_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_2546-36_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_2546-36_0_6_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_2546-36_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_2546-36_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_2546-36_0_6_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_2546-36_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2546-36_0_6_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_2546-36_0_6_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_2546-36_0_6_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_2546-36_0_6_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_2546-36_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_2546-36_0_6_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_2546-36_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_2546-36_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2546-36_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_2546-36_0_6_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_2546-36_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_2546-36_0_6_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_2546-36_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_2546-36_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_2546-36_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_2546-36_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_2546-36_0_6_node_91 | 0.4 | n |  | TRUE
88 | bus_MV_521_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-36_0_6_load_0 | 0 | 0.0016976 | 0.00042545 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-36_0_6_load_1 | 1 | 0.0029568 | 0.00074105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-36_0_6_load_3 | 3 | 0.0019547 | 0.00048991 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-36_0_6_load_4 | 4 | 0.0013506 | 0.00033848 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-36_0_6_load_5 | 5 | 0.0023826 | 0.00059713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-36_0_6_load_48 | 6 | 0.00068307 | 0.00017119 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-36_0_6_load_86 | 7 | 0.0033763 | 0.00084617 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-36_0_6_load_56 | 8 | 0.0064225 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-36_0_6_load_84 | 10 | 0.0017207 | 0.00043124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-36_0_6_load_55 | 11 | 0.0025336 | 0.00063498 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-36_0_6_load_6 | 12 | 0.003833 | 0.00096064 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-36_0_6_load_7 | 13 | 0.0085887 | 0.0021525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-36_0_6_load_8 | 14 | 0.0050321 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-36_0_6_load_10 | 16 | 0.015436 | 0.0038687 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-36_0_6_load_11 | 18 | 0.0062089 | 0.0015561 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-36_0_6_load_78 | 19 | 0.0051192 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-36_0_6_load_92 | 20 | 0.040965 | 0.010267 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-36_0_6_load_12 | 22 | 0.039489 | 0.009897 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-36_0_6_load_27 | 23 | 0.0056852 | 0.0014248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-36_0_6_load_13 | 24 | 0.049695 | 0.012455 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-36_0_6_load_21 | 25 | 0.031745 | 0.007956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-36_0_6_load_15 | 26 | 0.00084285 | 0.00021124 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-36_0_6_load_16 | 27 | 0.004728 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-36_0_6_load_19 | 30 | 0.0037342 | 0.00093588 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-36_0_6_load_20 | 31 | 0.0032937 | 0.00082549 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-36_0_6_load_79 | 32 | 0.0031672 | 0.00079378 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-36_0_6_load_80 | 33 | 0.0095932 | 0.0024043 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-36_0_6_load_53 | 34 | 0.0012478 | 0.00031272 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-36_0_6_load_71 | 35 | 0.0018167 | 0.00045531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-36_0_6_load_87 | 36 | 0.00074458 | 0.00018661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-36_0_6_load_62 | 37 | 0.002963 | 0.00074261 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-36_0_6_load_54 | 38 | 0.0054828 | 0.0013741 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-36_0_6_load_72 | 39 | 0.0039278 | 0.0009844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-36_0_6_load_24 | 40 | 0.0039719 | 0.00099545 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-36_0_6_load_25 | 41 | 0.0043159 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-36_0_6_load_28 | 43 | 0.0054655 | 0.0013698 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-36_0_6_load_29 | 44 | 0.0078787 | 0.0019746 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-36_0_6_load_35 | 45 | 0.01061 | 0.0026591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-36_0_6_load_36 | 47 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-36_0_6_load_58 | 48 | 0.0037173 | 0.00093163 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-36_0_6_load_51 | 49 | 0.027167 | 0.0068087 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2546-36_0_6_load_30 | 50 | 0.0023162 | 0.00058048 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2546-36_0_6_load_31 | 51 | 0.00048927 | 0.00012262 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2546-36_0_6_load_32 | 52 | 0.0029983 | 0.00075146 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2546-36_0_6_load_33 | 53 | 0.00052183 | 0.00013078 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2546-36_0_6_load_34 | 54 | 0.003013 | 0.00075512 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2546-36_0_6_load_37 | 55 | 0.0010786 | 0.00027033 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2546-36_0_6_load_73 | 56 | 0.010412 | 0.0026094 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2546-36_0_6_load_64 | 57 | 0.00069043 | 0.00017304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2546-36_0_6_load_74 | 58 | 0.0053023 | 0.0013289 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2546-36_0_6_load_63 | 59 | 0.00081328 | 0.00020383 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2546-36_0_6_load_38 | 60 | 0.022376 | 0.0056079 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2546-36_0_6_load_39 | 61 | 0.0029682 | 0.00074389 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2546-36_0_6_load_40 | 62 | 0.011323 | 0.0028379 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2546-36_0_6_load_41 | 63 | 0.0069967 | 0.0017535 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2546-36_0_6_load_67 | 65 | 0.0018318 | 0.00045908 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2546-36_0_6_load_43 | 66 | 0.0035887 | 0.00089942 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2546-36_0_6_load_44 | 67 | 0.0022962 | 0.00057549 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2546-36_0_6_load_45 | 68 | 0.0032204 | 0.00080711 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2546-36_0_6_load_46 | 69 | 0.0038342 | 0.00096095 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2546-36_0_6_load_65 | 70 | 0.0019707 | 0.0004939 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2546-36_0_6_load_50 | 71 | 0.012582 | 0.0031533 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2546-36_0_6_load_89 | 73 | 0.0017228 | 0.00043177 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2546-36_0_6_load_90 | 74 | 0.0036539 | 0.00091577 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2546-36_0_6_load_59 | 75 | 0.0048345 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2546-36_0_6_load_60 | 76 | 0.0064736 | 0.0016224 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2546-36_0_6_load_61 | 77 | 0.0048962 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2546-36_0_6_load_68 | 78 | 0.0039884 | 0.00099958 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2546-36_0_6_load_69 | 79 | 0.010233 | 0.0025648 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2546-36_0_6_load_70 | 80 | 0.0042937 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2546-36_0_6_load_81 | 81 | 0.003185 | 0.00079824 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2546-36_0_6_load_75 | 82 | 0.0061081 | 0.0015308 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2546-36_0_6_load_76 | 83 | 0.011065 | 0.0027731 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2546-36_0_6_load_82 | 84 | 0.001729 | 0.00043332 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2546-36_0_6_load_83 | 85 | 0.007365 | 0.0018458 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2546-36_0_6_load_85 | 86 | 0.0028984 | 0.0007264 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2546-36_0_6_load_91 | 87 | 0.003654 | 0.00091577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-36_0_6_line_0 |  | 0 | 1 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-36_0_6_line_1 |  | 0 | 2 | 0.0052246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-36_0_6_line_2 |  | 1 | 3 | 0.013587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-36_0_6_line_3 |  | 2 | 4 | 0.020313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-36_0_6_line_4 |  | 2 | 5 | 0.0042261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-36_0_6_line_5 |  | 3 | 6 | 0.015972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-36_0_6_line_6 |  | 4 | 7 | 0.0028049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-36_0_6_line_7 |  | 5 | 8 | 0.035773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-36_0_6_line_8 |  | 6 | 9 | 0.0052877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-36_0_6_line_9 |  | 7 | 10 | 0.022585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-36_0_6_line_10 |  | 8 | 11 | 0.0033302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-36_0_6_line_11 |  | 9 | 70 | 0.0048155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-36_0_6_line_12 |  | 9 | 59 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-36_0_6_line_13 |  | 10 | 84 | 0.0021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-36_0_6_line_14 |  | 12 | 13 | 0.00188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2546-36_0_6_line_15 |  | 12 | 14 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2546-36_0_6_line_16 |  | 13 | 15 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2546-36_0_6_line_17 |  | 14 | 16 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2546-36_0_6_line_18 |  | 15 | 17 | 0.055089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-36_0_6_line_19 |  | 15 | 18 | 0.0033354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-36_0_6_line_20 |  | 16 | 19 | 0.0041128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2546-36_0_6_line_21 |  | 17 | 20 | 0.035651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-36_0_6_line_22 |  | 17 | 21 | 0.03031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-36_0_6_line_23 |  | 18 | 22 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-36_0_6_line_24 |  | 19 | 23 | 0.013226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2546-36_0_6_line_25 |  | 21 | 25 | 0.028192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-36_0_6_line_26 |  | 22 | 24 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-36_0_6_line_27 |  | 23 | 41 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2546-36_0_6_line_28 |  | 26 | 27 | 0.0039723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-36_0_6_line_29 |  | 26 | 28 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-36_0_6_line_30 |  | 27 | 29 | 0.010045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-36_0_6_line_31 |  | 28 | 30 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-36_0_6_line_32 |  | 28 | 31 | 0.015712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2546-36_0_6_line_33 |  | 29 | 32 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-36_0_6_line_34 |  | 29 | 33 | 0.026723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-36_0_6_line_35 |  | 30 | 34 | 0.024243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-36_0_6_line_36 |  | 31 | 35 | 0.017037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2546-36_0_6_line_37 |  | 32 | 36 | 0.030576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-36_0_6_line_38 |  | 33 | 37 | 0.02003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-36_0_6_line_39 |  | 34 | 38 | 0.02217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-36_0_6_line_40 |  | 35 | 39 | 0.02869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2546-36_0_6_line_41 |  | 36 | 70 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-36_0_6_line_42 |  | 37 | 77 | 0.015221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-36_0_6_line_43 |  | 38 | 72 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-36_0_6_line_44 |  | 39 | 47 | 0.0019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2546-36_0_6_line_45 |  | 40 | 41 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2546-36_0_6_line_46 |  | 40 | 42 | 0.010925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2546-36_0_6_line_47 |  | 42 | 43 | 0.0049398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2546-36_0_6_line_48 |  | 42 | 44 | 0.0054394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2546-36_0_6_line_49 |  | 43 | 45 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2546-36_0_6_line_50 |  | 44 | 46 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2546-36_0_6_line_51 |  | 45 | 47 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2546-36_0_6_line_52 |  | 46 | 48 | 0.046109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2546-36_0_6_line_53 |  | 46 | 49 | 0.085542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2546-36_0_6_line_54 |  | 48 | 69 | 0.015664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2546-36_0_6_line_55 |  | 49 | 71 | 0.058469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2546-36_0_6_line_56 |  | 50 | 51 | 0.015973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2546-36_0_6_line_57 |  | 50 | 52 | 0.0075872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2546-36_0_6_line_58 |  | 51 | 53 | 0.0005326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2546-36_0_6_line_59 |  | 52 | 54 | 0.00029927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2546-36_0_6_line_60 |  | 53 | 55 | 0.015714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2546-36_0_6_line_61 |  | 54 | 56 | 0.0061488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2546-36_0_6_line_62 |  | 55 | 57 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2546-36_0_6_line_63 |  | 56 | 58 | 0.020077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2546-36_0_6_line_64 |  | 57 | 59 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2546-36_0_6_line_65 |  | 58 | 82 | 0.0091919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2546-36_0_6_line_66 |  | 60 | 61 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2546-36_0_6_line_67 |  | 60 | 62 | 0.0023005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2546-36_0_6_line_68 |  | 61 | 63 | 0.0058784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2546-36_0_6_line_69 |  | 63 | 64 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2546-36_0_6_line_70 |  | 64 | 65 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2546-36_0_6_line_71 |  | 65 | 78 | 0.010825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2546-36_0_6_line_72 |  | 66 | 67 | 0.016177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2546-36_0_6_line_73 |  | 66 | 68 | 0.023887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2546-36_0_6_line_74 |  | 67 | 69 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2546-36_0_6_line_75 |  | 72 | 73 | 0.0043615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2546-36_0_6_line_76 |  | 72 | 74 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2546-36_0_6_line_77 |  | 73 | 81 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2546-36_0_6_line_78 |  | 74 | 87 | 0.00014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2546-36_0_6_line_79 |  | 75 | 76 | 0.049334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2546-36_0_6_line_80 |  | 75 | 77 | 0.0039719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2546-36_0_6_line_81 |  | 78 | 79 | 0.012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2546-36_0_6_line_82 |  | 79 | 80 | 0.007641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2546-36_0_6_line_83 |  | 80 | 81 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2546-36_0_6_line_84 |  | 82 | 83 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2546-36_0_6_line_85 |  | 84 | 85 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2546-36_0_6_line_86 |  | 85 | 86 | 0.0088571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-36_0_6_trafo_10 | 0.63 MVA 20/0.4 kV | 88 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2596466.1102 | 1226535.2561 | 2596479.6721 | 1226541.7521
1 | 2596461.3982 | 1226532.9991 | 2596466.1102 | 1226535.2561
2 | 2596491.9255 | 1226547.6214 | 2596479.6721 | 1226541.7521
3 | 2596461.3982 | 1226532.9991 | 2596450.601 | 1226550.2049
4 | 2596461.3982 | 1226532.9991 | 2596457.6187 | 1226531.1084
5 | 2596491.9255 | 1226547.6214 | 2596506.33 | 1226554.521
6 | 2596449.1101 | 1226552.5807 | 2596450.601 | 1226550.2049
7 | 2596425.4461 | 1226515.4789 | 2596436.4034 | 1226520.4958 | 2596457.6187 | 1226531.1084
8 | 2596511.0988 | 1226556.8053 | 2596506.33 | 1226554.521
9 | 2596449.1101 | 1226552.5807 | 2596437.1051 | 1226571.7112
10 | 2596422.4182 | 1226514.0925 | 2596425.4461 | 1226515.4789
11 | 2596511.0988 | 1226556.8053 | 2596515.475 | 1226558.8148
12 | 2596511.0988 | 1226556.8053 | 2596517.9737 | 1226545.1393
13 | 2596435.9765 | 1226573.5096 | 2596437.1051 | 1226571.7112
14 | 2596632.8007 | 1226717.0892 | 2596634.5506 | 1226717.7761
15 | 2596632.8007 | 1226717.0892 | 2596608.9703 | 1226707.7349
16 | 2596646.6717 | 1226722.5341 | 2596634.5506 | 1226717.7761
17 | 2596598.6585 | 1226703.6872 | 2596608.9703 | 1226707.7349
18 | 2596646.6717 | 1226722.5341 | 2596636.8682 | 1226740.9728 | 2596621.1962 | 1226767.6642 | 2596619.7429 | 1226770.6112
19 | 2596646.6717 | 1226722.5341 | 2596649.7559 | 1226723.804
20 | 2596594.8301 | 1226702.1844 | 2596598.6585 | 1226703.6872
21 | 2596619.7429 | 1226770.6112 | 2596628.2032 | 1226775.4425 | 2596630.9371 | 1226772.0945 | 2596647.2366 | 1226782.2021 | 2596646.1542 | 1226784.4263
22 | 2596593.2929 | 1226755.6734 | 2596619.7429 | 1226770.6112
23 | 2596649.7559 | 1226723.804 | 2596661.1102 | 1226728.4793
24 | 2596594.8301 | 1226702.1844 | 2596591.2979 | 1226700.7979 | 2596585.8021 | 1226698.3997 | 2596582.8777 | 1226696.5979
25 | 2596593.2929 | 1226755.6734 | 2596595.8592 | 1226750.8469 | 2596576.3587 | 1226739.1779
26 | 2596694.1633 | 1226742.0896 | 2596661.1102 | 1226728.4793
27 | 2596571.8214 | 1226690.2085 | 2596578.5013 | 1226693.9013 | 2596582.8777 | 1226696.5979
28 | 2596584.2274 | 1226590.3973 | 2596587.8354 | 1226592.0589
29 | 2596598.9978 | 1226597.1992 | 2596587.8354 | 1226592.0589
30 | 2596575.1033 | 1226586.1956 | 2596584.2274 | 1226590.3973
31 | 2596598.9978 | 1226597.1992 | 2596609.143 | 1226601.8558
32 | 2596598.9978 | 1226597.1992 | 2596593.9663 | 1226612.0838
33 | 2596575.1033 | 1226586.1956 | 2596564.2532 | 1226581.2134
34 | 2596575.1033 | 1226586.1956 | 2596586.8481 | 1226562.1918
35 | 2596609.143 | 1226601.8558 | 2596631.1755 | 1226611.9686
36 | 2596593.9663 | 1226612.0838 | 2596590.6832 | 1226621.7963 | 2596587.8515 | 1226627.9616
37 | 2596536.467 | 1226568.4541 | 2596564.2532 | 1226581.2134
38 | 2596586.8481 | 1226562.1918 | 2596595.6514 | 1226544.1997
39 | 2596651.3239 | 1226621.2166 | 2596631.1755 | 1226611.9686
40 | 2596571.8295 | 1226651.7571 | 2596587.7616 | 1226628.1573 | 2596587.8515 | 1226627.9616
41 | 2596536.467 | 1226568.4541 | 2596515.475 | 1226558.8148
42 | 2596595.6514 | 1226544.1997 | 2596602.341 | 1226530.5275
43 | 2596664.798 | 1226627.4011 | 2596651.3239 | 1226621.2166
44 | 2596571.8295 | 1226651.7571 | 2596570.7521 | 1226653.353
45 | 2596571.8214 | 1226690.2085 | 2596565.3027 | 1226686.6048 | 2596561.3966 | 1226684.0978
46 | 2596552.202 | 1226678.1965 | 2596561.3966 | 1226684.0978
47 | 2596552.202 | 1226678.1965 | 2596555.2407 | 1226674.3019
48 | 2596552.202 | 1226678.1965 | 2596549.3379 | 1226682.8208
49 | 2596555.2407 | 1226674.3019 | 2596564.9568 | 1226661.8487
50 | 2596541.1327 | 1226696.0691 | 2596549.3379 | 1226682.8208
51 | 2596570.7521 | 1226653.353 | 2596565.4014 | 1226661.2788 | 2596564.9568 | 1226661.8487
52 | 2596541.1327 | 1226696.0691 | 2596501.5236 | 1226672.4658
53 | 2596541.1327 | 1226696.0691 | 2596614.4646 | 1226740.1137
54 | 2596487.9876 | 1226664.5851 | 2596496.5321 | 1226669.4913 | 2596501.5236 | 1226672.4658
55 | 2596664.5875 | 1226770.2185 | 2596614.4646 | 1226740.1137
56 | 2596548.2414 | 1226493.7784 | 2596540.1318 | 1226507.5394
57 | 2596552.0935 | 1226487.2417 | 2596548.2414 | 1226493.7784
58 | 2596539.8614 | 1226507.9982 | 2596540.1318 | 1226507.5394
59 | 2596552.0935 | 1226487.2417 | 2596552.2454 | 1226486.9839
60 | 2596531.8832 | 1226521.5365 | 2596539.8614 | 1226507.9982
61 | 2596555.3672 | 1226481.6866 | 2596552.2454 | 1226486.9839
62 | 2596531.8832 | 1226521.5365 | 2596523.5075 | 1226535.749
63 | 2596555.3672 | 1226481.6866 | 2596565.5606 | 1226464.3894
64 | 2596517.9737 | 1226545.1393 | 2596523.5075 | 1226535.749
65 | 2596565.5606 | 1226464.3894 | 2596570.2274 | 1226456.4704
66 | 2596734.8613 | 1226708.5634 | 2596740.8043 | 1226695.1978 | 2596742.1149 | 1226692.4013
67 | 2596734.8613 | 1226708.5634 | 2596734.4009 | 1226709.5988 | 2596733.9577 | 1226710.6787
68 | 2596744.6096 | 1226687.0785 | 2596742.1149 | 1226692.4013
69 | 2596752.802 | 1226669.5983 | 2596744.6096 | 1226687.0785
70 | 2596752.802 | 1226669.5983 | 2596734.3519 | 1226660.7067
71 | 2596724.5998 | 1226656.0069 | 2596734.3519 | 1226660.7067
72 | 2596460.363 | 1226648.7231 | 2596474.392 | 1226656.7785
73 | 2596460.363 | 1226648.7231 | 2596439.6477 | 1226636.8284
74 | 2596487.9876 | 1226664.5851 | 2596474.392 | 1226656.7785
75 | 2596664.798 | 1226627.4011 | 2596668.7578 | 1226629.2295
76 | 2596664.798 | 1226627.4011 | 2596674.2991 | 1226609.7964 | 2596677.5394 | 1226603.0974
77 | 2596682.6808 | 1226635.8051 | 2596675.4033 | 1226632.2979 | 2596668.7578 | 1226629.2295
78 | 2596677.6045 | 1226602.9628 | 2596677.5394 | 1226603.0974
79 | 2596604.0866 | 1226526.9598 | 2596625.7688 | 1226482.6458
80 | 2596604.0866 | 1226526.9598 | 2596602.341 | 1226530.5275
81 | 2596724.5998 | 1226656.0069 | 2596713.7236 | 1226650.7654
82 | 2596713.7236 | 1226650.7654 | 2596706.8402 | 1226647.4481
83 | 2596682.6808 | 1226635.8051 | 2596706.8402 | 1226647.4481
84 | 2596576.923 | 1226445.1088 | 2596570.2274 | 1226456.4704
85 | 2596435.9765 | 1226573.5096 | 2596425.3117 | 1226590.5043
86 | 2596420.6038 | 1226598.0066 | 2596425.3117 | 1226590.5043

## bus_geodata
| x | y | coords
0 | 2596466.1102 | 1226535.2561
1 | 2596479.6721 | 1226541.7521
2 | 2596461.3982 | 1226532.9991
3 | 2596491.9255 | 1226547.6214
4 | 2596450.601 | 1226550.2049
5 | 2596457.6187 | 1226531.1084
6 | 2596506.33 | 1226554.521
7 | 2596449.1101 | 1226552.5807
8 | 2596425.4461 | 1226515.4789
9 | 2596511.0988 | 1226556.8053
10 | 2596437.1051 | 1226571.7112
11 | 2596422.4182 | 1226514.0925
12 | 2596632.8007 | 1226717.0892
13 | 2596634.5506 | 1226717.7761
14 | 2596608.9703 | 1226707.7349
15 | 2596646.6717 | 1226722.5341
16 | 2596598.6585 | 1226703.6872
17 | 2596619.7429 | 1226770.6112
18 | 2596649.7559 | 1226723.804
19 | 2596594.8301 | 1226702.1844
20 | 2596646.1542 | 1226784.4263
21 | 2596593.2929 | 1226755.6734
22 | 2596661.1102 | 1226728.4793
23 | 2596582.8777 | 1226696.5979
24 | 2596694.1633 | 1226742.0896
25 | 2596576.3587 | 1226739.1779
26 | 2596587.8354 | 1226592.0589
27 | 2596584.2274 | 1226590.3973
28 | 2596598.9978 | 1226597.1992
29 | 2596575.1033 | 1226586.1956
30 | 2596609.143 | 1226601.8558
31 | 2596593.9663 | 1226612.0838
32 | 2596564.2532 | 1226581.2134
33 | 2596586.8481 | 1226562.1918
34 | 2596631.1755 | 1226611.9686
35 | 2596587.8515 | 1226627.9616
36 | 2596536.467 | 1226568.4541
37 | 2596595.6514 | 1226544.1997
38 | 2596651.3239 | 1226621.2166
39 | 2596571.8295 | 1226651.7571
40 | 2596561.3966 | 1226684.0978
41 | 2596571.8214 | 1226690.2085
42 | 2596552.202 | 1226678.1965
43 | 2596555.2407 | 1226674.3019
44 | 2596549.3379 | 1226682.8208
45 | 2596564.9568 | 1226661.8487
46 | 2596541.1327 | 1226696.0691
47 | 2596570.7521 | 1226653.353
48 | 2596501.5236 | 1226672.4658
49 | 2596614.4646 | 1226740.1137
50 | 2596548.2414 | 1226493.7784
51 | 2596540.1318 | 1226507.5394
52 | 2596552.0935 | 1226487.2417
53 | 2596539.8614 | 1226507.9982
54 | 2596552.2454 | 1226486.9839
55 | 2596531.8832 | 1226521.5365
56 | 2596555.3672 | 1226481.6866
57 | 2596523.5075 | 1226535.749
58 | 2596565.5606 | 1226464.3894
59 | 2596517.9737 | 1226545.1393
60 | 2596734.8613 | 1226708.5634
61 | 2596742.1149 | 1226692.4013
62 | 2596733.9577 | 1226710.6787
63 | 2596744.6096 | 1226687.0785
64 | 2596752.802 | 1226669.5983
65 | 2596734.3519 | 1226660.7067
66 | 2596460.363 | 1226648.7231
67 | 2596474.392 | 1226656.7785
68 | 2596439.6477 | 1226636.8284
69 | 2596487.9876 | 1226664.5851
70 | 2596515.475 | 1226558.8148
71 | 2596664.5875 | 1226770.2185
72 | 2596664.798 | 1226627.4011
73 | 2596668.7578 | 1226629.2295
74 | 2596677.5394 | 1226603.0974
75 | 2596604.0866 | 1226526.9598
76 | 2596625.7688 | 1226482.6458
77 | 2596602.341 | 1226530.5275
78 | 2596724.5998 | 1226656.0069
79 | 2596713.7236 | 1226650.7654
80 | 2596706.8402 | 1226647.4481
81 | 2596682.6808 | 1226635.8051
82 | 2596570.2274 | 1226456.4704
83 | 2596576.923 | 1226445.1088
84 | 2596435.9765 | 1226573.5096
85 | 2596425.3117 | 1226590.5043
86 | 2596420.6038 | 1226598.0066
87 | 2596677.6045 | 1226602.9628
88 | 2596646.6717 | 1226722.5341

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.978 | -0.4232 | 0.0016976 | 0.00042545
1 | 0.97844 | -0.41458 | 0.0029568 | 0.00074105
2 | 0.97786 | -0.42604 | 0 | 0
3 | 0.97887 | -0.40606 | 0.0019547 | 0.00048991
4 | 0.97751 | -0.43287 | 0.0013506 | 0.00033848
5 | 0.97781 | -0.42691 | 0.0023826 | 0.00059713
6 | 0.97941 | -0.3955 | 0.00068307 | 0.00017119
7 | 0.97747 | -0.43374 | 0.0033763 | 0.00084617
8 | 0.97752 | -0.43275 | 0.0064225 | 0.0016096
9 | 0.9796 | -0.39193 | 0 | 0
10 | 0.97718 | -0.43939 | 0.0017207 | 0.00043124
11 | 0.97751 | -0.43291 | 0.0025336 | 0.00063498
12 | 0.99797 | -0.038874 | 0.003833 | 0.00096064
13 | 0.99787 | -0.040812 | 0.0085887 | 0.0021525
14 | 0.99937 | -0.011951 | 0.0050321 | 0.0012612
15 | 0.99687 | -0.05999 | 0 | 0
16 | 1 | 0 | -0.51476 | -0.13086
17 | 0.99321 | -0.13051 | 0 | 0
18 | 0.99658 | -0.065572 | 0.0062089 | 0.0015561
19 | 0.99959 | -0.0076907 | 0.0051192 | 0.001283
20 | 0.99187 | -0.15634 | 0.040965 | 0.010267
21 | 0.99233 | -0.14752 | 0 | 0
22 | 0.99558 | -0.08481 | 0.039489 | 0.009897
23 | 0.9983 | -0.03207 | 0.0056852 | 0.0014248
24 | 0.99396 | -0.1161 | 0.049695 | 0.012455
25 | 0.99151 | -0.16338 | 0.031745 | 0.007956
26 | 0.98667 | -0.25455 | 0.00084285 | 0.00021124
27 | 0.98622 | -0.26318 | 0.004728 | 0.001185
28 | 0.98806 | -0.22772 | 0 | 0
29 | 0.98513 | -0.28418 | 0 | 0
30 | 0.98716 | -0.24502 | 0.0037342 | 0.00093588
31 | 0.98958 | -0.19848 | 0.0032937 | 0.00082549
32 | 0.98416 | -0.30302 | 0.0031672 | 0.00079378
33 | 0.98443 | -0.29799 | 0.0095932 | 0.0024043
34 | 0.98529 | -0.28106 | 0.0012478 | 0.00031272
35 | 0.99069 | -0.17707 | 0.0018167 | 0.00045531
36 | 0.98176 | -0.34968 | 0.00074458 | 0.00018661
37 | 0.98407 | -0.3049 | 0.002963 | 0.00074261
38 | 0.98361 | -0.31364 | 0.0054828 | 0.0013741
39 | 0.99259 | -0.1408 | 0.0039278 | 0.0009844
40 | 0.99594 | -0.076937 | 0.0039719 | 0.00099545
41 | 0.99708 | -0.05525 | 0.0043159 | 0.0010817
42 | 0.99492 | -0.096323 | 0 | 0
43 | 0.99456 | -0.10324 | 0.0054655 | 0.0013698
44 | 0.9946 | -0.10248 | 0.0078787 | 0.0019746
45 | 0.99343 | -0.12486 | 0.01061 | 0.0026591
46 | 0.9938 | -0.11798 | 0 | 0
47 | 0.99272 | -0.13833 | 0.0044051 | 0.001104
48 | 0.9931 | -0.13155 | 0.0037173 | 0.00093163
49 | 0.99069 | -0.17818 | 0.027167 | 0.0068087
50 | 0.97667 | -0.44923 | 0.0023162 | 0.00058048
51 | 0.97729 | -0.43721 | 0.00048927 | 0.00012262
52 | 0.9764 | -0.45462 | 0.0029983 | 0.00075146
53 | 0.97731 | -0.4368 | 0.00052183 | 0.00013078
54 | 0.97639 | -0.45482 | 0.003013 | 0.00075512
55 | 0.97792 | -0.4247 | 0.0010786 | 0.00027033
56 | 0.9762 | -0.45852 | 0.010412 | 0.0026094
57 | 0.97859 | -0.41169 | 0.00069043 | 0.00017304
58 | 0.97578 | -0.46677 | 0.0053023 | 0.0013289
59 | 0.97903 | -0.40296 | 0.00081328 | 0.00020383
60 | 0.97593 | -0.46395 | 0.022376 | 0.0056079
61 | 0.97648 | -0.45303 | 0.0029682 | 0.00074389
62 | 0.9759 | -0.46443 | 0.011323 | 0.0028379
63 | 0.97668 | -0.44909 | 0.0069967 | 0.0017535
64 | 0.97747 | -0.4337 | 0 | 0
65 | 0.9783 | -0.4174 | 0.0018318 | 0.00045908
66 | 0.99268 | -0.13961 | 0.0035887 | 0.00089942
67 | 0.99278 | -0.13766 | 0.0022962 | 0.00057549
68 | 0.99261 | -0.14097 | 0.0032204 | 0.00080711
69 | 0.99291 | -0.13513 | 0.0038342 | 0.00096095
70 | 0.97996 | -0.38478 | 0.0019707 | 0.0004939
71 | 0.99001 | -0.19126 | 0.012582 | 0.0031533
72 | 0.98257 | -0.33402 | 0 | 0
73 | 0.98229 | -0.33945 | 0.0017228 | 0.00043177
74 | 0.98238 | -0.33764 | 0.0036539 | 0.00091577
75 | 0.9838 | -0.31015 | 0.0048345 | 0.0012116
76 | 0.98351 | -0.31591 | 0.0064736 | 0.0016224
77 | 0.98385 | -0.30934 | 0.0048962 | 0.0012271
78 | 0.97875 | -0.40844 | 0.0039884 | 0.00099958
79 | 0.97931 | -0.39757 | 0.010233 | 0.0025648
80 | 0.97973 | -0.38928 | 0.0042937 | 0.0010761
81 | 0.98133 | -0.35816 | 0.003185 | 0.00079824
82 | 0.97564 | -0.46966 | 0.0061081 | 0.0015308
83 | 0.9755 | -0.47234 | 0.011065 | 0.0027731
84 | 0.97715 | -0.43986 | 0.001729 | 0.00043332
85 | 0.97696 | -0.44362 | 0.007365 | 0.0018458
86 | 0.97694 | -0.44409 | 0.0028984 | 0.0007264
87 | 0.98238 | -0.33765 | 0.003654 | 0.00091577
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031496 | -0.0078996 | 0.031509 | 0.0079077 | 1.295e-05 | 8.0994e-06 | 0.047922 | 0.047922 | 0.047922 | 0.978 | -0.4232 | 0.97844 | -0.41458 | 13.1655
1 | 0.029798 | 0.0074742 | -0.029794 | -0.0074716 | 4.0276e-06 | 2.5121e-06 | 0.04534 | 0.04534 | 0.04534 | 0.978 | -0.4232 | 0.97786 | -0.42604 | 12.4559
2 | -0.034465 | -0.0086488 | 0.034479 | 0.0086575 | 1.4e-05 | 8.7891e-06 | 0.052419 | 0.052419 | 0.052419 | 0.97844 | -0.41458 | 0.97887 | -0.40606 | 14.4008
3 | 0.018452 | 0.0046286 | -0.018446 | -0.004625 | 6.0065e-06 | 3.5894e-06 | 0.028081 | 0.028081 | 0.028081 | 0.97786 | -0.42604 | 0.97751 | -0.43287 | 7.7145
4 | 0.011342 | 0.0028431 | -0.011341 | -0.0028428 | 4.7205e-07 | 2.491e-07 | 0.017259 | 0.017259 | 0.017259 | 0.97786 | -0.42604 | 0.97781 | -0.42691 | 4.7415
5 | -0.036434 | -0.0091474 | 0.036453 | 0.009159 | 1.8376e-05 | 1.156e-05 | 0.05539 | 0.05539 | 0.05539 | 0.97887 | -0.40606 | 0.97941 | -0.3955 | 15.2171
6 | 0.017096 | 0.0042865 | -0.017095 | -0.0042861 | 7.124e-07 | 4.2077e-07 | 0.026025 | 0.026025 | 0.026025 | 0.97751 | -0.43287 | 0.97747 | -0.43374 | 7.1497
7 | 0.0089585 | 0.0022457 | -0.0089561 | -0.0022446 | 2.4933e-06 | 1.1471e-06 | 0.013633 | 0.013633 | 0.013633 | 0.97781 | -0.42691 | 0.97752 | -0.43275 | 3.7454
8 | -0.037136 | -0.0093302 | 0.037142 | 0.0093342 | 6.3138e-06 | 3.9743e-06 | 0.056428 | 0.056428 | 0.056428 | 0.97941 | -0.3955 | 0.9796 | -0.39193 | 15.5022
9 | 0.013719 | 0.0034399 | -0.013715 | -0.0034378 | 3.6943e-06 | 2.0813e-06 | 0.020885 | 0.020885 | 0.020885 | 0.97747 | -0.43374 | 0.97718 | -0.43939 | 5.7377
10 | 0.0025336 | 0.00063495 | -0.0025336 | -0.00063498 | 1.8576e-08 | -2.9858e-08 | 0.0038567 | 0.0038568 | 0.0038568 | 0.97752 | -0.43275 | 0.97751 | -0.43291 | 1.0595
11 | -0.082096 | -0.020656 | 0.082125 | 0.020674 | 2.8096e-05 | 1.7921e-05 | 0.12473 | 0.12473 | 0.12473 | 0.9796 | -0.39193 | 0.97996 | -0.38478 | 34.2677
12 | 0.044955 | 0.011322 | -0.044931 | -0.011307 | 2.3692e-05 | 1.4993e-05 | 0.068306 | 0.068306 | 0.068306 | 0.9796 | -0.39193 | 0.97903 | -0.40296 | 18.7655
13 | 0.011994 | 0.0030066 | -0.011994 | -0.0030064 | 2.6562e-07 | 1.434e-07 | 0.018265 | 0.018265 | 0.018265 | 0.97718 | -0.43939 | 0.97715 | -0.43986 | 5.0179
14 | 0.17739 | 0.044728 | -0.17737 | -0.044717 | 1.6452e-05 | 1.0456e-05 | 0.26459 | 0.26459 | 0.26459 | 0.99797 | -0.038874 | 0.99787 | -0.040812 | 24.2302
15 | -0.18122 | -0.045688 | 0.18146 | 0.045837 | 0.00023382 | 0.00014864 | 0.27031 | 0.27031 | 0.27031 | 0.99797 | -0.038874 | 0.99937 | -0.011951 | 24.7536
16 | 0.16879 | 0.042565 | -0.16863 | -0.042466 | 0.00015478 | 9.8722e-05 | 0.25179 | 0.25179 | 0.25179 | 0.99787 | -0.040812 | 0.99687 | -0.05999 | 34.586
17 | -0.18649 | -0.047098 | 0.1866 | 0.047166 | 0.00010686 | 6.7957e-05 | 0.2778 | 0.2778 | 0.2778 | 0.99937 | -0.011951 | 1 | 0 | 25.4397
18 | 0.073056 | 0.018442 | -0.07281 | -0.018286 | 0.00024588 | 0.00015665 | 0.1091 | 0.1091 | 0.1091 | 0.99687 | -0.05999 | 0.99321 | -0.13051 | 29.9718
19 | 0.095575 | 0.024023 | -0.09555 | -0.024007 | 2.5466e-05 | 1.6255e-05 | 0.14269 | 0.14269 | 0.14269 | 0.99687 | -0.05999 | 0.99658 | -0.065572 | 39.2003
20 | 0.32651 | 0.083695 | -0.32639 | -0.083617 | 0.00012169 | 7.7718e-05 | 0.48652 | 0.48652 | 0.48652 | 1 | 0 | 0.99959 | -0.0076907 | 44.5528
21 | 0.041016 | 0.010299 | -0.040965 | -0.010267 | 5.0493e-05 | 3.1855e-05 | 0.061456 | 0.061456 | 0.061456 | 0.99321 | -0.13051 | 0.99187 | -0.15634 | 16.8836
22 | 0.031795 | 0.0079871 | -0.031769 | -0.007971 | 2.5798e-05 | 1.6119e-05 | 0.047641 | 0.047641 | 0.047641 | 0.99321 | -0.13051 | 0.99233 | -0.14752 | 13.0883
23 | 0.089341 | 0.022451 | -0.089259 | -0.022399 | 8.1966e-05 | 5.2298e-05 | 0.13342 | 0.13342 | 0.13342 | 0.99658 | -0.065572 | 0.99558 | -0.08481 | 36.6534
24 | 0.32127 | 0.082334 | -0.32089 | -0.082092 | 0.00037915 | 0.00024214 | 0.4789 | 0.4789 | 0.4789 | 0.99959 | -0.0076907 | 0.9983 | -0.03207 | 43.8549
25 | 0.031769 | 0.007971 | -0.031745 | -0.007956 | 2.3995e-05 | 1.4993e-05 | 0.047641 | 0.047642 | 0.047642 | 0.99233 | -0.14752 | 0.99151 | -0.16338 | 13.0884
26 | 0.04977 | 0.012502 | -0.049695 | -0.012455 | 7.4193e-05 | 4.7019e-05 | 0.074397 | 0.074397 | 0.074397 | 0.99558 | -0.08481 | 0.99396 | -0.1161 | 20.4387
27 | 0.31521 | 0.080667 | -0.31485 | -0.080441 | 0.00035333 | 0.00022563 | 0.47042 | 0.47042 | 0.47042 | 0.9983 | -0.03207 | 0.99708 | -0.05525 | 43.079
28 | 0.12211 | 0.03093 | -0.12206 | -0.030898 | 5.058e-05 | 3.232e-05 | 0.18427 | 0.18427 | 0.18427 | 0.98667 | -0.25455 | 0.98622 | -0.26318 | 50.6235
29 | -0.12295 | -0.031142 | 0.12311 | 0.031243 | 0.00015865 | 0.00010138 | 0.18554 | 0.18554 | 0.18554 | 0.98667 | -0.25455 | 0.98806 | -0.22772 | 50.9727
30 | 0.11733 | 0.029713 | -0.11721 | -0.029638 | 0.00011819 | 7.5516e-05 | 0.17714 | 0.17714 | 0.17714 | 0.98622 | -0.26318 | 0.98513 | -0.28418 | 48.6637
31 | 0.087448 | 0.022208 | -0.087375 | -0.022161 | 7.2717e-05 | 4.6396e-05 | 0.1318 | 0.1318 | 0.1318 | 0.98806 | -0.22772 | 0.98716 | -0.24502 | 36.2089
32 | -0.21056 | -0.053451 | 0.21085 | 0.05364 | 0.00029668 | 0.00018947 | 0.31734 | 0.31734 | 0.31734 | 0.98806 | -0.22772 | 0.98958 | -0.19848 | 43.5908
33 | 0.088419 | 0.022411 | -0.088339 | -0.02236 | 7.9967e-05 | 5.1027e-05 | 0.13364 | 0.13364 | 0.13364 | 0.98513 | -0.28418 | 0.98416 | -0.30302 | 36.7153
34 | 0.028791 | 0.0072264 | -0.028772 | -0.0072146 | 1.8956e-05 | 1.1792e-05 | 0.043492 | 0.043492 | 0.043492 | 0.98513 | -0.28418 | 0.98443 | -0.29799 | 11.9485
35 | 0.083641 | 0.021225 | -0.083496 | -0.021133 | 0.00014472 | 9.2312e-05 | 0.12617 | 0.12617 | 0.12617 | 0.98716 | -0.24502 | 0.98529 | -0.28106 | 34.6626
36 | -0.21415 | -0.054466 | 0.21437 | 0.054606 | 0.00022121 | 0.00014092 | 0.32229 | 0.32229 | 0.32229 | 0.98958 | -0.19848 | 0.99069 | -0.17707 | 29.5141
37 | 0.085171 | 0.021566 | -0.084981 | -0.021445 | 0.00019038 | 0.00012145 | 0.12886 | 0.12886 | 0.12886 | 0.98416 | -0.30302 | 0.98176 | -0.34968 | 35.3998
38 | 0.019179 | 0.0048103 | -0.019173 | -0.0048065 | 6.3135e-06 | 3.7861e-06 | 0.028992 | 0.028992 | 0.028992 | 0.98443 | -0.29799 | 0.98407 | -0.3049 | 7.9648
39 | 0.082248 | 0.02082 | -0.08212 | -0.020738 | 0.00012842 | 8.1909e-05 | 0.12429 | 0.12429 | 0.12429 | 0.98529 | -0.28106 | 0.98361 | -0.31364 | 34.1449
40 | -0.21618 | -0.055062 | 0.21656 | 0.055303 | 0.00037884 | 0.00024135 | 0.32502 | 0.32502 | 0.32502 | 0.99069 | -0.17707 | 0.99259 | -0.1408 | 29.7639
41 | 0.084237 | 0.021258 | -0.084095 | -0.021168 | 0.00014132 | 9.0152e-05 | 0.12773 | 0.12773 | 0.12773 | 0.98176 | -0.34968 | 0.97996 | -0.38478 | 35.0898
42 | 0.01621 | 0.0040639 | -0.016206 | -0.0040619 | 3.4294e-06 | 2.0015e-06 | 0.024511 | 0.024511 | 0.024511 | 0.98407 | -0.3049 | 0.98385 | -0.30934 | 6.7339
43 | 0.076637 | 0.019364 | -0.076562 | -0.019317 | 7.4801e-05 | 4.7685e-05 | 0.11599 | 0.11599 | 0.11599 | 0.98361 | -0.31364 | 0.98257 | -0.33402 | 31.8662
44 | -0.22049 | -0.056287 | 0.22052 | 0.056304 | 2.6355e-05 | 1.6793e-05 | 0.33091 | 0.33091 | 0.33091 | 0.99259 | -0.1408 | 0.99272 | -0.13833 | 30.3031
45 | -0.31021 | -0.079152 | 0.31054 | 0.07936 | 0.00032534 | 0.00020774 | 0.46398 | 0.46398 | 0.46398 | 0.99594 | -0.076937 | 0.99708 | -0.05525 | 42.4892
46 | 0.30624 | 0.078156 | -0.30595 | -0.077974 | 0.00028653 | 0.00018295 | 0.45805 | 0.45805 | 0.45805 | 0.99594 | -0.076937 | 0.99492 | -0.096323 | 41.9457
47 | 0.24147 | 0.061739 | -0.24139 | -0.061688 | 8.073e-05 | 5.1475e-05 | 0.36158 | 0.36158 | 0.36158 | 0.99492 | -0.096323 | 0.99456 | -0.10324 | 33.1119
48 | 0.064482 | 0.016234 | -0.064463 | -0.016222 | 1.8982e-05 | 1.2078e-05 | 0.096466 | 0.096466 | 0.096466 | 0.99492 | -0.096323 | 0.9946 | -0.10248 | 26.5018
49 | 0.23593 | 0.060318 | -0.23568 | -0.060161 | 0.00024659 | 0.0001572 | 0.3534 | 0.3534 | 0.3534 | 0.99456 | -0.10324 | 0.99343 | -0.12486 | 32.3631
50 | 0.056585 | 0.014248 | -0.056543 | -0.014221 | 4.1903e-05 | 2.6616e-05 | 0.084679 | 0.084679 | 0.084679 | 0.9946 | -0.10248 | 0.9938 | -0.11798 | 23.2635
51 | 0.22507 | 0.057502 | -0.22492 | -0.057408 | 0.00014646 | 9.3336e-05 | 0.33751 | 0.33751 | 0.33751 | 0.99343 | -0.12486 | 0.99272 | -0.13833 | 30.9077
52 | 0.016672 | 0.0041826 | -0.016661 | -0.0041763 | 1.0776e-05 | 6.2995e-06 | 0.024964 | 0.024964 | 0.024964 | 0.9938 | -0.11798 | 0.9931 | -0.13155 | 6.8584
53 | 0.039871 | 0.010038 | -0.039757 | -0.0099663 | 0.00011439 | 7.2104e-05 | 0.059715 | 0.059715 | 0.059715 | 0.9938 | -0.11798 | 0.99069 | -0.17818 | 16.4053
54 | 0.012944 | 0.0032447 | -0.012942 | -0.0032435 | 2.2095e-06 | 1.2114e-06 | 0.019395 | 0.019395 | 0.019395 | 0.9931 | -0.13155 | 0.99291 | -0.13513 | 5.3282
55 | 0.01259 | 0.0031576 | -0.012582 | -0.0031533 | 7.841e-06 | 4.2659e-06 | 0.018911 | 0.018911 | 0.018911 | 0.99069 | -0.17818 | 0.99001 | -0.19126 | 5.1953
56 | -0.041243 | -0.010347 | 0.041267 | 0.010362 | 2.3653e-05 | 1.4938e-05 | 0.06284 | 0.06284 | 0.06284 | 0.97667 | -0.44923 | 0.97729 | -0.43721 | 17.2637
57 | 0.038927 | 0.0097665 | -0.038917 | -0.0097602 | 1.0009e-05 | 6.3108e-06 | 0.059311 | 0.059311 | 0.059311 | 0.97667 | -0.44923 | 0.9764 | -0.45462 | 16.2943
58 | -0.041756 | -0.010485 | 0.041757 | 0.010485 | 8.075e-07 | 5.1013e-07 | 0.063585 | 0.063585 | 0.063585 | 0.97729 | -0.43721 | 0.97731 | -0.4368 | 17.4684
59 | 0.035919 | 0.0090088 | -0.035918 | -0.0090085 | 3.363e-07 | 2.1149e-07 | 0.054742 | 0.054742 | 0.054742 | 0.9764 | -0.45462 | 0.97639 | -0.45482 | 15.039
60 | -0.042279 | -0.010616 | 0.042303 | 0.010631 | 2.4424e-05 | 1.5434e-05 | 0.064379 | 0.064379 | 0.064379 | 0.97731 | -0.4368 | 0.97792 | -0.4247 | 17.6867
61 | 0.032905 | 0.0082534 | -0.0329 | -0.0082498 | 5.7991e-06 | 3.6346e-06 | 0.05015 | 0.05015 | 0.05015 | 0.97639 | -0.45482 | 0.9762 | -0.45852 | 13.7775
62 | -0.043382 | -0.010902 | 0.043409 | 0.010919 | 2.6964e-05 | 1.705e-05 | 0.066021 | 0.066021 | 0.066021 | 0.97792 | -0.4247 | 0.97859 | -0.41169 | 18.1375
63 | 0.022488 | 0.0056404 | -0.022479 | -0.0056349 | 8.8472e-06 | 5.4113e-06 | 0.03428 | 0.03428 | 0.03428 | 0.9762 | -0.45852 | 0.97578 | -0.46677 | 9.4175
64 | -0.044099 | -0.011092 | 0.044118 | 0.011103 | 1.8387e-05 | 1.163e-05 | 0.06707 | 0.06707 | 0.06707 | 0.97859 | -0.41169 | 0.97903 | -0.40296 | 18.4259
65 | 0.017177 | 0.0043061 | -0.017174 | -0.0043047 | 2.365e-06 | 1.3988e-06 | 0.026194 | 0.026194 | 0.026194 | 0.97578 | -0.46677 | 0.97564 | -0.46966 | 7.1961
66 | -0.033699 | -0.0084459 | 0.033717 | 0.0084569 | 1.7539e-05 | 1.1004e-05 | 0.051382 | 0.051382 | 0.051382 | 0.97593 | -0.46395 | 0.97648 | -0.45303 | 14.116
67 | 0.011324 | 0.0028381 | -0.011323 | -0.0028379 | 2.5716e-07 | 1.3584e-07 | 0.017266 | 0.017266 | 0.017266 | 0.97593 | -0.46395 | 0.9759 | -0.46443 | 4.7433
68 | -0.036685 | -0.0092008 | 0.036692 | 0.0092052 | 6.8896e-06 | 4.3358e-06 | 0.055905 | 0.055905 | 0.055905 | 0.97648 | -0.45303 | 0.97668 | -0.44909 | 15.3585
69 | -0.043689 | -0.010959 | 0.043721 | 0.010979 | 3.2076e-05 | 2.0287e-05 | 0.066565 | 0.066565 | 0.066565 | 0.97668 | -0.44909 | 0.97747 | -0.4337 | 18.287
70 | -0.043721 | -0.010979 | 0.043755 | 0.011001 | 3.403e-05 | 2.1523e-05 | 0.066565 | 0.066565 | 0.066565 | 0.97747 | -0.4337 | 0.9783 | -0.4174 | 18.287
71 | -0.045587 | -0.01146 | 0.045606 | 0.011472 | 1.9525e-05 | 1.236e-05 | 0.069351 | 0.069351 | 0.069351 | 0.9783 | -0.4174 | 0.97875 | -0.40844 | 19.0524
72 | -0.0068094 | -0.0017064 | 0.00681 | 0.0017066 | 6.3203e-07 | 1.9534e-07 | 0.010207 | 0.010207 | 0.010207 | 0.99268 | -0.13961 | 0.99278 | -0.13766 | 2.8041
73 | 0.0032206 | 0.00080694 | -0.0032204 | -0.00080711 | 2.0877e-07 | -1.7518e-07 | 0.0048276 | 0.0048277 | 0.0048277 | 0.99268 | -0.13961 | 0.99261 | -0.14097 | 1.3263
74 | -0.0091062 | -0.002282 | 0.0091073 | 0.0022825 | 1.0952e-06 | 4.9817e-07 | 0.013649 | 0.013649 | 0.013649 | 0.99278 | -0.13766 | 0.99291 | -0.13513 | 3.7496
75 | 0.069253 | 0.017485 | -0.069235 | -0.017473 | 1.8006e-05 | 1.1469e-05 | 0.10492 | 0.10492 | 0.10492 | 0.98257 | -0.33402 | 0.98229 | -0.33945 | 28.8252
76 | 0.0073092 | 0.001832 | -0.0073079 | -0.0018315 | 1.2611e-06 | 4.5955e-07 | 0.011069 | 0.011069 | 0.011069 | 0.98257 | -0.33402 | 0.98238 | -0.33764 | 3.041
77 | 0.067512 | 0.017041 | -0.067452 | -0.017003 | 6.0446e-05 | 3.8491e-05 | 0.10231 | 0.10231 | 0.10231 | 0.98229 | -0.33945 | 0.98133 | -0.35816 | 28.1083
78 | 0.003654 | 0.00091577 | -0.003654 | -0.00091577 | 1.7186e-09 | -7.9371e-10 | 0.0055347 | 0.0055347 | 0.0055347 | 0.98238 | -0.33764 | 0.98238 | -0.33765 | 1.5205
79 | 0.0064753 | 0.0016229 | -0.0064736 | -0.0016224 | 1.7747e-06 | 5.0953e-07 | 0.0097941 | 0.0097943 | 0.0097943 | 0.9838 | -0.31015 | 0.98351 | -0.31591 | 2.6907
80 | -0.01131 | -0.0028346 | 0.01131 | 0.0028348 | 4.3585e-07 | 2.2851e-07 | 0.017106 | 0.017106 | 0.017106 | 0.9838 | -0.31015 | 0.98385 | -0.30934 | 4.6995
81 | -0.049594 | -0.012472 | 0.04962 | 0.012488 | 2.5749e-05 | 1.6328e-05 | 0.075414 | 0.075414 | 0.075414 | 0.97875 | -0.40844 | 0.97931 | -0.39757 | 20.7182
82 | -0.059854 | -0.015053 | 0.059877 | 0.015068 | 2.3709e-05 | 1.5078e-05 | 0.090964 | 0.090964 | 0.090964 | 0.97931 | -0.39757 | 0.97973 | -0.38928 | 24.99
83 | -0.064171 | -0.016144 | 0.064267 | 0.016205 | 9.5574e-05 | 6.0829e-05 | 0.097485 | 0.097485 | 0.097485 | 0.97973 | -0.38928 | 0.98133 | -0.35816 | 26.7815
84 | 0.011066 | 0.0027738 | -0.011065 | -0.0027731 | 1.4088e-06 | 7.3697e-07 | 0.016878 | 0.016878 | 0.016878 | 0.97564 | -0.46966 | 0.9755 | -0.47234 | 4.6369
85 | 0.010265 | 0.0025731 | -0.010263 | -0.0025722 | 1.8386e-06 | 9.2541e-07 | 0.015632 | 0.015632 | 0.015632 | 0.97715 | -0.43986 | 0.97696 | -0.44362 | 4.2946
86 | 0.0028985 | 0.00072633 | -0.0028984 | -0.0007264 | 6.4731e-08 | -6.9476e-08 | 0.0044146 | 0.0044147 | 0.0044147 | 0.97696 | -0.44362 | 0.97694 | -0.44409 | 1.2128

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5302 | 0.13473

## res_load
| p_mw | q_mvar
0 | 0.0016976 | 0.00042545
1 | 0.0029568 | 0.00074105
2 | 0.0019547 | 0.00048991
3 | 0.0013506 | 0.00033848
4 | 0.0023826 | 0.00059713
5 | 0.00068307 | 0.00017119
6 | 0.0033763 | 0.00084617
7 | 0.0064225 | 0.0016096
8 | 0.0017207 | 0.00043124
9 | 0.0025336 | 0.00063498
10 | 0.003833 | 0.00096064
11 | 0.0085887 | 0.0021525
12 | 0.0050321 | 0.0012612
13 | 0.015436 | 0.0038687
14 | 0.0062089 | 0.0015561
15 | 0.0051192 | 0.001283
16 | 0.040965 | 0.010267
17 | 0.039489 | 0.009897
18 | 0.0056852 | 0.0014248
19 | 0.049695 | 0.012455
20 | 0.031745 | 0.007956
21 | 0.00084285 | 0.00021124
22 | 0.004728 | 0.001185
23 | 0.0037342 | 0.00093588
24 | 0.0032937 | 0.00082549
25 | 0.0031672 | 0.00079378
26 | 0.0095932 | 0.0024043
27 | 0.0012478 | 0.00031272
28 | 0.0018167 | 0.00045531
29 | 0.00074458 | 0.00018661
30 | 0.002963 | 0.00074261
31 | 0.0054828 | 0.0013741
32 | 0.0039278 | 0.0009844
33 | 0.0039719 | 0.00099545
34 | 0.0043159 | 0.0010817
35 | 0.0054655 | 0.0013698
36 | 0.0078787 | 0.0019746
37 | 0.01061 | 0.0026591
38 | 0.0044051 | 0.001104
39 | 0.0037173 | 0.00093163
40 | 0.027167 | 0.0068087
41 | 0.0023162 | 0.00058048
42 | 0.00048927 | 0.00012262
43 | 0.0029983 | 0.00075146
44 | 0.00052183 | 0.00013078
45 | 0.003013 | 0.00075512
46 | 0.0010786 | 0.00027033
47 | 0.010412 | 0.0026094
48 | 0.00069043 | 0.00017304
49 | 0.0053023 | 0.0013289
50 | 0.00081328 | 0.00020383
51 | 0.022376 | 0.0056079
52 | 0.0029682 | 0.00074389
53 | 0.011323 | 0.0028379
54 | 0.0069967 | 0.0017535
55 | 0.0018318 | 0.00045908
56 | 0.0035887 | 0.00089942
57 | 0.0022962 | 0.00057549
58 | 0.0032204 | 0.00080711
59 | 0.0038342 | 0.00096095
60 | 0.0019707 | 0.0004939
61 | 0.012582 | 0.0031533
62 | 0.0017228 | 0.00043177
63 | 0.0036539 | 0.00091577
64 | 0.0048345 | 0.0012116
65 | 0.0064736 | 0.0016224
66 | 0.0048962 | 0.0012271
67 | 0.0039884 | 0.00099958
68 | 0.010233 | 0.0025648
69 | 0.0042937 | 0.0010761
70 | 0.003185 | 0.00079824
71 | 0.0061081 | 0.0015308
72 | 0.011065 | 0.0027731
73 | 0.001729 | 0.00043332
74 | 0.007365 | 0.0018458
75 | 0.0028984 | 0.0007264
76 | 0.003654 | 0.00091577

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1