## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-37_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-37_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2546-37_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2546-37_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_2546-37_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_2546-37_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_2546-37_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2546-37_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2546-37_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2546-37_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2546-37_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_2546-37_0_4_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2546-37_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_2546-37_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_2546-37_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_2546-37_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2546-37_0_4_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_2546-37_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_2546-37_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2546-37_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2546-37_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2546-37_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2546-37_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2546-37_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2546-37_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_2546-37_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_2546-37_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2546-37_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2546-37_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2546-37_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2546-37_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2546-37_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2546-37_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2546-37_0_4_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_2546-37_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_2546-37_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_2546-37_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2546-37_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_2546-37_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2546-37_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2546-37_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2546-37_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2546-37_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_2546-37_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_2546-37_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_2546-37_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_2546-37_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2546-37_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_2546-37_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2546-37_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2546-37_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_2546-37_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2546-37_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2546-37_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2546-37_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_MV_521_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-37_0_4_load_0 | 0 | 0.023728 | 0.0059468 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-37_0_4_load_1 | 1 | 0.015102 | 0.0037849 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-37_0_4_load_2 | 2 | 0.020804 | 0.005214 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-37_0_4_load_8 | 3 | 0.011681 | 0.0029275 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-37_0_4_load_9 | 4 | 0.01511 | 0.0037868 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-37_0_4_load_32 | 5 | 0.020764 | 0.0052039 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-37_0_4_load_30 | 6 | 0.020877 | 0.0052323 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-37_0_4_load_3 | 7 | 0.0082647 | 0.0020713 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-37_0_4_load_4 | 8 | 0.013243 | 0.0033189 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-37_0_4_load_5 | 9 | 0.0097836 | 0.002452 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-37_0_4_load_6 | 10 | 0.0035083 | 0.00087926 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-37_0_4_load_7 | 11 | 0.0044566 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-37_0_4_load_29 | 14 | 0.0066736 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-37_0_4_load_25 | 15 | 0.010017 | 0.0025104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-37_0_4_load_40 | 16 | 0.02366 | 0.0059298 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-37_0_4_load_18 | 17 | 0.004712 | 0.0011809 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-37_0_4_load_52 | 18 | 0.018266 | 0.004578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-37_0_4_load_31 | 19 | 0.018225 | 0.0045675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-37_0_4_load_10 | 20 | 0.0037611 | 0.00094262 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-37_0_4_load_11 | 21 | 0.00224 | 0.00056139 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-37_0_4_load_12 | 22 | 0.0023771 | 0.00059576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-37_0_4_load_51 | 24 | 0.0032946 | 0.00082571 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-37_0_4_load_43 | 25 | 0.0024504 | 0.00061413 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-37_0_4_load_41 | 27 | 0.0031949 | 0.00080071 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-37_0_4_load_15 | 28 | 0.033172 | 0.0083137 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-37_0_4_load_16 | 29 | 0.027038 | 0.0067763 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-37_0_4_load_20 | 30 | 0.0039466 | 0.00098911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-37_0_4_load_21 | 31 | 0.0025841 | 0.00064763 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-37_0_4_load_22 | 32 | 0.0032251 | 0.0008083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-37_0_4_load_23 | 33 | 0.0031471 | 0.00078873 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-37_0_4_load_24 | 34 | 0.0025172 | 0.00063087 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-37_0_4_load_59 | 35 | 0.0049457 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-37_0_4_load_58 | 36 | 0.0088201 | 0.0022105 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-37_0_4_load_38 | 37 | 0.0022404 | 0.0005615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-37_0_4_load_45 | 39 | 0.0052058 | 0.0013047 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-37_0_4_load_36 | 40 | 0.0022381 | 0.00056092 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-37_0_4_load_44 | 41 | 0.0020093 | 0.00050357 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-37_0_4_load_26 | 42 | 0.0075275 | 0.0018866 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-37_0_4_load_49 | 44 | 0.0040689 | 0.0010198 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-37_0_4_load_57 | 45 | 0.003527 | 0.00088396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-37_0_4_load_47 | 46 | 0.0099941 | 0.0025048 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2546-37_0_4_load_55 | 47 | 0.0066026 | 0.0016548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2546-37_0_4_load_33 | 48 | 0.0031214 | 0.0007823 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2546-37_0_4_load_34 | 49 | 0.003657 | 0.00091652 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2546-37_0_4_load_60 | 52 | 0.003683 | 0.00092305 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2546-37_0_4_load_42 | 53 | 0.0022541 | 0.00056493 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2546-37_0_4_load_46 | 54 | 0.0022022 | 0.00055191 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2546-37_0_4_load_50 | 55 | 0.0027724 | 0.00069482 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2546-37_0_4_load_54 | 56 | 0.0033123 | 0.00083013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-37_0_4_line_0 |  | 0 | 1 | 0.024995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-37_0_4_line_1 |  | 1 | 2 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-37_0_4_line_2 |  | 2 | 3 | 0.042081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-37_0_4_line_3 |  | 3 | 4 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-37_0_4_line_4 |  | 4 | 18 | 0.02994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-37_0_4_line_5 |  | 5 | 6 | 0.04218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-37_0_4_line_6 |  | 6 | 19 | 0.043965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-37_0_4_line_7 |  | 7 | 8 | 0.039859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2546-37_0_4_line_8 |  | 7 | 9 | 0.030874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2546-37_0_4_line_9 |  | 8 | 10 | 0.0043605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-37_0_4_line_10 |  | 9 | 11 | 0.019534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2546-37_0_4_line_11 |  | 10 | 12 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-37_0_4_line_12 |  | 11 | 13 | 0.056062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2546-37_0_4_line_13 |  | 12 | 14 | 0.013342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-37_0_4_line_14 |  | 12 | 15 | 0.0059256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-37_0_4_line_15 |  | 13 | 16 | 0.024397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2546-37_0_4_line_16 |  | 13 | 17 | 0.00024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2546-37_0_4_line_17 |  | 14 | 45 | 0.0078209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2546-37_0_4_line_18 |  | 15 | 42 | 0.032082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-37_0_4_line_19 |  | 16 | 18 | 0.0044985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2546-37_0_4_line_20 |  | 17 | 29 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-37_0_4_line_21 |  | 18 | 19 | 0.06555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-37_0_4_line_22 |  | 20 | 21 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-37_0_4_line_23 |  | 20 | 22 | 0.01847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-37_0_4_line_24 |  | 21 | 23 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-37_0_4_line_25 |  | 23 | 24 | 0.039547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-37_0_4_line_26 |  | 23 | 25 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-37_0_4_line_27 |  | 24 | 26 | 0.020682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-37_0_4_line_28 |  | 25 | 27 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-37_0_4_line_29 |  | 26 | 55 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-37_0_4_line_30 |  | 26 | 54 | 0.042214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2546-37_0_4_line_31 |  | 27 | 53 | 0.0018141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-37_0_4_line_32 |  | 28 | 29 | 0.043048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-37_0_4_line_33 |  | 30 | 31 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-37_0_4_line_34 |  | 30 | 32 | 0.0062852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-37_0_4_line_35 |  | 31 | 33 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-37_0_4_line_36 |  | 32 | 34 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-37_0_4_line_37 |  | 33 | 37 | 0.0053355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-37_0_4_line_38 |  | 34 | 38 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-37_0_4_line_39 |  | 35 | 36 | 0.007158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-37_0_4_line_40 |  | 36 | 55 | 0.0012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-37_0_4_line_41 |  | 38 | 39 | 0.049383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-37_0_4_line_42 |  | 38 | 40 | 0.017017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-37_0_4_line_43 |  | 39 | 41 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-37_0_4_line_44 |  | 40 | 49 | 0.0047265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-37_0_4_line_45 |  | 41 | 53 | 0.0032266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2546-37_0_4_line_46 |  | 42 | 43 | 0.016176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2546-37_0_4_line_47 |  | 43 | 44 | 0.046966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-37_0_4_line_48 |  | 44 | 46 | 0.0080157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2546-37_0_4_line_49 |  | 45 | 47 | 0.0097421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2546-37_0_4_line_50 |  | 46 | 54 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2546-37_0_4_line_51 |  | 47 | 56 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2546-37_0_4_line_52 |  | 48 | 49 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2546-37_0_4_line_53 |  | 48 | 50 | 0.009305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2546-37_0_4_line_54 |  | 50 | 51 | 0.005438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2546-37_0_4_line_55 |  | 51 | 52 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-37_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 57 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2595705.1648 | 1226284.9287 | 2595709.2685 | 1226287.4149 | 2595726.4549 | 1226298.0242
1 | 2595726.4549 | 1226298.0242 | 2595739.0951 | 1226305.827
2 | 2595739.0951 | 1226305.827 | 2595765.5911 | 1226322.1831 | 2595774.9322 | 1226327.884
3 | 2595787.8984 | 1226335.7972 | 2595774.9322 | 1226327.884
4 | 2595787.8984 | 1226335.7972 | 2595787.8984 | 1226335.7972 | 2595814.3119 | 1226349.8937
5 | 2595770.8406 | 1226248.1982 | 2595789.3588 | 1226258.9733 | 2595807.2112 | 1226269.5601
6 | 2595845.0265 | 1226291.9851 | 2595807.2112 | 1226269.5601
7 | 2595768.5777 | 1226383.2475 | 2595738.907 | 1226366.0727 | 2595737.1161 | 1226362.95 | 2595735.3646 | 1226362.0342
8 | 2595768.5777 | 1226383.2475 | 2595795.2976 | 1226398.7143
9 | 2595735.3646 | 1226362.0342 | 2595731.8922 | 1226360.2188 | 2595731.5023 | 1226360.4276
10 | 2595812.2034 | 1226408.5002 | 2595795.2976 | 1226398.7143
11 | 2595720.8869 | 1226369.6769 | 2595725.9678 | 1226363.3917 | 2595731.5023 | 1226360.4276
12 | 2595839.8041 | 1226363.4985 | 2595820.3035 | 1226406.1041 | 2595817.3041 | 1226408.6967 | 2595814.902 | 1226409.1987 | 2595812.2034 | 1226408.5002
13 | 2595720.8869 | 1226369.6769 | 2595709.8258 | 1226362.2169
14 | 2595720.8869 | 1226369.6769 | 2595717.6888 | 1226374.6653
15 | 2595839.8041 | 1226363.4985 | 2595818.2805 | 1226352.0117
16 | 2595840.0243 | 1226363.6124 | 2595839.8041 | 1226363.4985
17 | 2595703.3418 | 1226357.8439 | 2595709.8258 | 1226362.2169
18 | 2595700.3735 | 1226401.6738 | 2595717.6888 | 1226374.6653
19 | 2595818.2805 | 1226352.0117 | 2595814.3119 | 1226349.8937
20 | 2595840.0243 | 1226363.6124 | 2595854.1506 | 1226370.9157
21 | 2595814.3119 | 1226349.8937 | 2595845.0265 | 1226291.9851
22 | 2595850.1087 | 1226528.298 | 2595862.7506 | 1226537.0048
23 | 2595877.9618 | 1226547.4812 | 2595862.7506 | 1226537.0048
24 | 2595831.098 | 1226515.2049 | 2595850.1087 | 1226528.298
25 | 2595831.098 | 1226515.2049 | 2595798.726 | 1226492.4883
26 | 2595831.098 | 1226515.2049 | 2595820.1999 | 1226524.1586
27 | 2595782.0986 | 1226480.1973 | 2595791.1983 | 1226487.2059 | 2595798.726 | 1226492.4883
28 | 2595810.2521 | 1226532.3315 | 2595820.1999 | 1226524.1586
29 | 2595782.0986 | 1226480.1973 | 2595768.1436 | 1226494.722
30 | 2595782.0986 | 1226480.1973 | 2595748.7335 | 1226454.3358
31 | 2595810.2521 | 1226532.3315 | 2595808.8505 | 1226533.4831
32 | 2595854.1506 | 1226370.9157 | 2595892.3905 | 1226390.6857
33 | 2595726.0459 | 1226538.8276 | 2595734.3782 | 1226548.0675
34 | 2595738.5874 | 1226552.7351 | 2595734.3782 | 1226548.0675
35 | 2595715.2897 | 1226526.8998 | 2595726.0459 | 1226538.8276
36 | 2595738.5874 | 1226552.7351 | 2595742.798 | 1226557.4044 | 2595751.1426 | 1226566.4575
37 | 2595715.2897 | 1226526.8998 | 2595711.7165 | 1226522.9374
38 | 2595759.2038 | 1226575.2029 | 2595751.1426 | 1226566.4575
39 | 2595762.3025 | 1226500.8014 | 2595767.2617 | 1226495.6398
40 | 2595768.1436 | 1226494.722 | 2595767.2617 | 1226495.6398
41 | 2595796.9 | 1226543.3014 | 2595759.2038 | 1226575.2029
42 | 2595759.2038 | 1226575.2029 | 2595770.5038 | 1226586.0011 | 2595771.5403 | 1226586.9236
43 | 2595796.9 | 1226543.3014 | 2595806.3574 | 1226535.5314
44 | 2595775.0709 | 1226590.066 | 2595771.5403 | 1226586.9236
45 | 2595808.8505 | 1226533.4831 | 2595806.3574 | 1226535.5314
46 | 2595691.6429 | 1226415.2918 | 2595700.3735 | 1226401.6738
47 | 2595691.6429 | 1226415.2918 | 2595707.6029 | 1226423.8962 | 2595728.3039 | 1226438.5007 | 2595731.0701 | 1226440.6448
48 | 2595737.4055 | 1226445.5554 | 2595731.0701 | 1226440.6448
49 | 2595703.3418 | 1226357.8439 | 2595695.2649 | 1226352.3966
50 | 2595748.7335 | 1226454.3358 | 2595737.4055 | 1226445.5554
51 | 2595685.4237 | 1226337.2172 | 2595685.8649 | 1226339.5071 | 2595687.2953 | 1226347.0216 | 2595695.2649 | 1226352.3966
52 | 2595796.2534 | 1226608.9193 | 2595775.0709 | 1226590.066
53 | 2595803.2041 | 1226615.1057 | 2595796.2534 | 1226608.9193
54 | 2595807.2007 | 1226618.805 | 2595803.2041 | 1226615.1057
55 | 2595824.5029 | 1226597.8025 | 2595819.4447 | 1226603.9431 | 2595807.2007 | 1226618.805

## bus_geodata
| x | y | coords
0 | 2595705.1648 | 1226284.9287
1 | 2595726.4549 | 1226298.0242
2 | 2595739.0951 | 1226305.827
3 | 2595774.9322 | 1226327.884
4 | 2595787.8984 | 1226335.7972
5 | 2595770.8406 | 1226248.1982
6 | 2595807.2112 | 1226269.5601
7 | 2595768.5777 | 1226383.2475
8 | 2595735.3646 | 1226362.0342
9 | 2595795.2976 | 1226398.7143
10 | 2595731.5023 | 1226360.4276
11 | 2595812.2034 | 1226408.5002
12 | 2595720.8869 | 1226369.6769
13 | 2595839.8041 | 1226363.4985
14 | 2595709.8258 | 1226362.2169
15 | 2595717.6888 | 1226374.6653
16 | 2595818.2805 | 1226352.0117
17 | 2595840.0243 | 1226363.6124
18 | 2595814.3119 | 1226349.8937
19 | 2595845.0265 | 1226291.9851
20 | 2595862.7506 | 1226537.0048
21 | 2595850.1087 | 1226528.298
22 | 2595877.9618 | 1226547.4812
23 | 2595831.098 | 1226515.2049
24 | 2595798.726 | 1226492.4883
25 | 2595820.1999 | 1226524.1586
26 | 2595782.0986 | 1226480.1973
27 | 2595810.2521 | 1226532.3315
28 | 2595892.3905 | 1226390.6857
29 | 2595854.1506 | 1226370.9157
30 | 2595734.3782 | 1226548.0675
31 | 2595726.0459 | 1226538.8276
32 | 2595738.5874 | 1226552.7351
33 | 2595715.2897 | 1226526.8998
34 | 2595751.1426 | 1226566.4575
35 | 2595762.3025 | 1226500.8014
36 | 2595767.2617 | 1226495.6398
37 | 2595711.7165 | 1226522.9374
38 | 2595759.2038 | 1226575.2029
39 | 2595796.9 | 1226543.3014
40 | 2595771.5403 | 1226586.9236
41 | 2595806.3574 | 1226535.5314
42 | 2595700.3735 | 1226401.6738
43 | 2595691.6429 | 1226415.2918
44 | 2595731.0701 | 1226440.6448
45 | 2595703.3418 | 1226357.8439
46 | 2595737.4055 | 1226445.5554
47 | 2595695.2649 | 1226352.3966
48 | 2595796.2534 | 1226608.9193
49 | 2595775.0709 | 1226590.066
50 | 2595803.2041 | 1226615.1057
51 | 2595807.2007 | 1226618.805
52 | 2595824.5029 | 1226597.8025
53 | 2595808.8505 | 1226533.4831
54 | 2595748.7335 | 1226454.3358
55 | 2595768.1436 | 1226494.722
56 | 2595685.4237 | 1226337.2172
57 | 2595720.8869 | 1226369.6769

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97803 | -0.42336 | 0.023728 | 0.0059468
1 | 0.97858 | -0.41256 | 0.015102 | 0.0037849
2 | 0.97911 | -0.40207 | 0.020804 | 0.005214
3 | 0.98144 | -0.35655 | 0.011681 | 0.0029275
4 | 0.98244 | -0.33697 | 0.01511 | 0.0037868
5 | 0.9787 | -0.41026 | 0.020764 | 0.0052039
6 | 0.97951 | -0.39434 | 0.020877 | 0.0052323
7 | 1 | 0 | -0.41966 | -0.10719
8 | 0.99735 | -0.050287 | 0.013243 | 0.0033189
9 | 0.99619 | -0.07222 | 0.0097836 | 0.002452
10 | 0.99682 | -0.060312 | 0.0035083 | 0.00087926
11 | 0.99386 | -0.11651 | 0.0044566 | 0.0011169
12 | 0.99513 | -0.092515 | 0 | 0
13 | 0.98731 | -0.24256 | 0 | 0
14 | 0.99488 | -0.09724 | 0.0066736 | 0.0016726
15 | 0.99454 | -0.10373 | 0.010017 | 0.0025104
16 | 0.98518 | -0.2837 | 0.02366 | 0.0059298
17 | 0.98729 | -0.24285 | 0.004712 | 0.0011809
18 | 0.98484 | -0.29035 | 0.018266 | 0.004578
19 | 0.98121 | -0.36114 | 0.018225 | 0.0045675
20 | 0.9785 | -0.41351 | 0.0037611 | 0.00094262
21 | 0.97859 | -0.41179 | 0.00224 | 0.00056139
22 | 0.97846 | -0.41431 | 0.0023771 | 0.00059576
23 | 0.97877 | -0.40827 | 0 | 0
24 | 0.98075 | -0.36959 | 0.0032946 | 0.00082571
25 | 0.97817 | -0.41995 | 0.0024504 | 0.00061413
26 | 0.98185 | -0.3482 | 0 | 0
27 | 0.97766 | -0.43005 | 0.0031949 | 0.00080071
28 | 0.9851 | -0.2856 | 0.033172 | 0.0083137
29 | 0.98641 | -0.25998 | 0.027038 | 0.0067763
30 | 0.97515 | -0.47932 | 0.0039466 | 0.00098911
31 | 0.97506 | -0.48114 | 0.0025841 | 0.00064763
32 | 0.97522 | -0.47795 | 0.0032251 | 0.0008083
33 | 0.97498 | -0.48273 | 0.0031471 | 0.00078873
34 | 0.97549 | -0.47279 | 0.0025172 | 0.00063087
35 | 0.98149 | -0.35518 | 0.0049457 | 0.0012395
36 | 0.98152 | -0.35454 | 0.0088201 | 0.0022105
37 | 0.97497 | -0.48294 | 0.0022404 | 0.0005615
38 | 0.97568 | -0.46894 | 0 | 0
39 | 0.97708 | -0.44152 | 0.0052058 | 0.0013047
40 | 0.97548 | -0.4729 | 0.0022381 | 0.00056092
41 | 0.97748 | -0.43358 | 0.0020093 | 0.00050357
42 | 0.99164 | -0.15901 | 0.0075275 | 0.0018866
43 | 0.99029 | -0.18484 | 0 | 0
44 | 0.98638 | -0.26024 | 0.0040689 | 0.0010198
45 | 0.99479 | -0.099092 | 0.003527 | 0.00088396
46 | 0.98574 | -0.27258 | 0.0099941 | 0.0025048
47 | 0.9947 | -0.10079 | 0.0066026 | 0.0016548
48 | 0.97526 | -0.47734 | 0.0031214 | 0.0007823
49 | 0.97543 | -0.4738 | 0.003657 | 0.00091652
50 | 0.97522 | -0.47797 | 0 | 0
51 | 0.9752 | -0.47834 | 0 | 0
52 | 0.97511 | -0.48017 | 0.003683 | 0.00092305
53 | 0.97759 | -0.43137 | 0.0022541 | 0.00056493
54 | 0.98473 | -0.29211 | 0.0022022 | 0.00055191
55 | 0.98154 | -0.35422 | 0.0027724 | 0.00069482
56 | 0.99464 | -0.10194 | 0.0033123 | 0.00083013
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023728 | -0.0059468 | 0.02374 | 0.0059544 | 1.2216e-05 | 7.5044e-06 | 0.036101 | 0.036101 | 0.036101 | 0.97803 | -0.42336 | 0.97858 | -0.41256 | 9.9179
1 | -0.038843 | -0.0097393 | 0.038862 | 0.0097515 | 1.9433e-05 | 1.2251e-05 | 0.059065 | 0.059065 | 0.059065 | 0.97858 | -0.41256 | 0.97911 | -0.40207 | 16.2266
2 | -0.059666 | -0.014966 | 0.059796 | 0.015048 | 0.00012977 | 8.252e-05 | 0.090682 | 0.090682 | 0.090682 | 0.97911 | -0.40207 | 0.98144 | -0.35655 | 24.9127
3 | -0.071477 | -0.017976 | 0.071544 | 0.018018 | 6.6925e-05 | 4.264e-05 | 0.10839 | 0.10839 | 0.10839 | 0.98144 | -0.35655 | 0.98244 | -0.33697 | 29.778
4 | -0.086653 | -0.021805 | 0.086847 | 0.021928 | 0.00019349 | 0.00012345 | 0.13128 | 0.13128 | 0.13128 | 0.98244 | -0.33697 | 0.98484 | -0.29035 | 36.0651
5 | -0.020764 | -0.0052039 | 0.02078 | 0.0052134 | 1.5764e-05 | 9.5585e-06 | 0.031569 | 0.031569 | 0.031569 | 0.9787 | -0.41026 | 0.97951 | -0.39434 | 8.6729
6 | -0.041657 | -0.010446 | 0.041723 | 0.010487 | 6.6027e-05 | 4.1703e-05 | 0.063284 | 0.063284 | 0.063284 | 0.97951 | -0.39434 | 0.98121 | -0.36114 | 17.3858
7 | 0.14636 | 0.037451 | -0.146 | -0.037224 | 0.00035537 | 0.00022639 | 0.21806 | 0.21806 | 0.21806 | 1 | 0 | 0.99735 | -0.050287 | 29.9532
8 | 0.27165 | 0.06974 | -0.27071 | -0.069134 | 0.00094864 | 0.00060632 | 0.40481 | 0.40481 | 0.40481 | 1 | 0 | 0.99619 | -0.07222 | 55.6064
9 | 0.13276 | 0.033905 | -0.1327 | -0.033864 | 6.4302e-05 | 4.1096e-05 | 0.1983 | 0.1983 | 0.1983 | 0.99735 | -0.050287 | 0.99682 | -0.060312 | 54.4785
10 | 0.26092 | 0.066682 | -0.26036 | -0.066325 | 0.00055765 | 0.00035639 | 0.3902 | 0.3902 | 0.3902 | 0.99619 | -0.07222 | 0.99386 | -0.11651 | 53.599
11 | 0.12919 | 0.032985 | -0.12899 | -0.032857 | 0.00020073 | 0.00012828 | 0.19306 | 0.19307 | 0.19307 | 0.99682 | -0.060312 | 0.99513 | -0.092515 | 53.0398
12 | 0.25591 | 0.065208 | -0.25436 | -0.06422 | 0.0015462 | 0.00098813 | 0.38353 | 0.38353 | 0.38353 | 0.99386 | -0.11651 | 0.98731 | -0.24256 | 52.6826
13 | 0.020122 | 0.005045 | -0.020118 | -0.0050423 | 4.5297e-06 | 2.7257e-06 | 0.030089 | 0.030089 | 0.030089 | 0.99513 | -0.092515 | 0.99488 | -0.09724 | 8.2663
14 | 0.10887 | 0.027812 | -0.10881 | -0.027774 | 5.9021e-05 | 3.7697e-05 | 0.16298 | 0.16298 | 0.16298 | 0.99513 | -0.092515 | 0.99454 | -0.10373 | 44.7736
15 | 0.18935 | 0.047892 | -0.18898 | -0.047654 | 0.00037295 | 0.00023806 | 0.28553 | 0.28553 | 0.28553 | 0.98731 | -0.24256 | 0.98518 | -0.2837 | 39.2216
16 | 0.065013 | 0.016328 | -0.065012 | -0.016328 | 8.93e-07 | 5.6835e-07 | 0.097996 | 0.097996 | 0.097996 | 0.98731 | -0.24256 | 0.98729 | -0.24285 | 26.922
17 | 0.013444 | 0.0033698 | -0.013443 | -0.0033691 | 1.1858e-06 | 6.5739e-07 | 0.020108 | 0.020108 | 0.020108 | 0.99488 | -0.09724 | 0.99479 | -0.099092 | 5.5242
18 | 0.098791 | 0.025264 | -0.098528 | -0.025095 | 0.00026349 | 0.00016822 | 0.14799 | 0.14799 | 0.14799 | 0.99454 | -0.10373 | 0.99164 | -0.15901 | 40.6565
19 | 0.16532 | 0.041724 | -0.16526 | -0.041691 | 5.2631e-05 | 3.3569e-05 | 0.2498 | 0.2498 | 0.2498 | 0.98518 | -0.2837 | 0.98484 | -0.29035 | 34.3128
20 | 0.0603 | 0.015147 | -0.06025 | -0.015115 | 4.9268e-05 | 3.1329e-05 | 0.090894 | 0.090894 | 0.090894 | 0.98729 | -0.24285 | 0.98641 | -0.25998 | 24.9709
21 | 0.060151 | 0.015184 | -0.059947 | -0.015055 | 0.00020321 | 0.00012922 | 0.090922 | 0.090922 | 0.090922 | 0.98484 | -0.29035 | 0.98121 | -0.36114 | 24.9786
22 | -0.0061383 | -0.0015382 | 0.0061388 | 0.0015383 | 5.0156e-07 | 1.2816e-07 | 0.0093344 | 0.0093344 | 0.0093344 | 0.9785 | -0.41351 | 0.97859 | -0.41179 | 2.5644
23 | 0.0023772 | 0.00059559 | -0.0023771 | -0.00059576 | 9.0513e-08 | -1.7407e-07 | 0.003615 | 0.003615 | 0.003615 | 0.9785 | -0.41351 | 0.97846 | -0.41431 | 0.99314
24 | -0.0083787 | -0.0020997 | 0.0083801 | 0.0021003 | 1.405e-06 | 6.0917e-07 | 0.01274 | 0.01274 | 0.01274 | 0.97859 | -0.41179 | 0.97877 | -0.40827 | 3.5001
25 | -0.053974 | -0.01357 | 0.054074 | 0.013634 | 9.9893e-05 | 6.3433e-05 | 0.082072 | 0.082071 | 0.082072 | 0.97877 | -0.40827 | 0.98075 | -0.36959 | 22.5471
26 | 0.045594 | 0.01147 | -0.045568 | -0.011454 | 2.5424e-05 | 1.6094e-05 | 0.069331 | 0.069331 | 0.069331 | 0.97877 | -0.40827 | 0.97817 | -0.41995 | 19.0471
27 | -0.057368 | -0.01446 | 0.057427 | 0.014497 | 5.8798e-05 | 3.7369e-05 | 0.08707 | 0.08707 | 0.08707 | 0.98075 | -0.36959 | 0.98185 | -0.3482 | 23.9204
28 | 0.043118 | 0.01084 | -0.043097 | -0.010827 | 2.0779e-05 | 1.3137e-05 | 0.065604 | 0.065604 | 0.065604 | 0.97817 | -0.41995 | 0.97766 | -0.43005 | 18.023
29 | 0.016543 | 0.0041478 | -0.016539 | -0.004145 | 4.7483e-06 | 2.7842e-06 | 0.025072 | 0.025073 | 0.025073 | 0.98185 | -0.3482 | 0.98154 | -0.35422 | 6.8881
30 | -0.073971 | -0.018645 | 0.07417 | 0.018772 | 0.00019908 | 0.00012688 | 0.11214 | 0.11214 | 0.11214 | 0.98185 | -0.3482 | 0.98473 | -0.29211 | 30.8084
31 | 0.039902 | 0.010026 | -0.0399 | -0.010024 | 2.5099e-06 | 1.5836e-06 | 0.060741 | 0.060741 | 0.060741 | 0.97766 | -0.43005 | 0.97759 | -0.43137 | 16.6871
32 | -0.033172 | -0.0083137 | 0.033213 | 0.0083391 | 4.0531e-05 | 2.5391e-05 | 0.050107 | 0.050107 | 0.050107 | 0.9851 | -0.2856 | 0.98641 | -0.25998 | 13.7658
33 | 0.0079727 | 0.0019982 | -0.007972 | -0.0019979 | 6.9056e-07 | 2.8675e-07 | 0.012166 | 0.012166 | 0.012166 | 0.97515 | -0.47932 | 0.97506 | -0.48114 | 3.3422
34 | -0.011919 | -0.0029873 | 0.01192 | 0.0029877 | 7.7968e-07 | 4.2058e-07 | 0.018188 | 0.018188 | 0.018188 | 0.97515 | -0.47932 | 0.97522 | -0.47795 | 4.9967
35 | 0.0053879 | 0.0013502 | -0.0053875 | -0.0013502 | 4.072e-07 | 6.0287e-08 | 0.0082223 | 0.0082224 | 0.0082224 | 0.97506 | -0.48114 | 0.97498 | -0.48273 | 2.2589
36 | -0.015145 | -0.003796 | 0.015149 | 0.0037981 | 3.7247e-06 | 2.1517e-06 | 0.023109 | 0.023109 | 0.023109 | 0.97522 | -0.47795 | 0.97549 | -0.47279 | 6.3486
37 | 0.0022404 | 0.00056145 | -0.0022404 | -0.0005615 | 2.3393e-08 | -5.1567e-08 | 0.0034193 | 0.0034194 | 0.0034194 | 0.97498 | -0.48273 | 0.97497 | -0.48294 | 0.93938
38 | -0.017666 | -0.004429 | 0.017669 | 0.0044309 | 3.2391e-06 | 1.9245e-06 | 0.026949 | 0.026949 | 0.026949 | 0.97549 | -0.47279 | 0.97568 | -0.46894 | 7.4035
39 | -0.0049457 | -0.0012395 | 0.0049458 | 0.0012395 | 1.5091e-07 | 6.116e-09 | 0.0074981 | 0.007498 | 0.0074981 | 0.98149 | -0.35518 | 0.98152 | -0.35454 | 2.0599
40 | -0.013766 | -0.00345 | 0.013766 | 0.0034502 | 2.0789e-07 | 1.1696e-07 | 0.02087 | 0.02087 | 0.02087 | 0.98152 | -0.35454 | 0.98154 | -0.35422 | 5.7334
41 | -0.030373 | -0.0076154 | 0.030413 | 0.0076403 | 3.9739e-05 | 2.4815e-05 | 0.046324 | 0.046323 | 0.046324 | 0.97568 | -0.46894 | 0.97708 | -0.44152 | 12.7263
42 | 0.012704 | 0.0031845 | -0.012702 | -0.0031832 | 2.3956e-06 | 1.3207e-06 | 0.019375 | 0.019375 | 0.019375 | 0.97568 | -0.46894 | 0.97548 | -0.4729 | 5.3229
43 | -0.035619 | -0.008945 | 0.035632 | 0.0089535 | 1.3509e-05 | 8.4926e-06 | 0.054252 | 0.054251 | 0.054252 | 0.97708 | -0.44152 | 0.97748 | -0.43358 | 14.9043
44 | 0.010463 | 0.0026223 | -0.010463 | -0.002622 | 4.5154e-07 | 2.2999e-07 | 0.015961 | 0.015961 | 0.015961 | 0.97548 | -0.4729 | 0.97543 | -0.4738 | 4.3849
45 | -0.037642 | -0.009457 | 0.037646 | 0.0094595 | 3.9742e-06 | 2.503e-06 | 0.05731 | 0.05731 | 0.05731 | 0.97748 | -0.43358 | 0.97759 | -0.43137 | 15.7446
46 | 0.091 | 0.023209 | -0.090887 | -0.023136 | 0.00011335 | 7.2334e-05 | 0.13669 | 0.13669 | 0.13669 | 0.99164 | -0.15901 | 0.99029 | -0.18484 | 37.5534
47 | 0.090887 | 0.023136 | -0.090558 | -0.022926 | 0.00032909 | 0.00021002 | 0.13669 | 0.13669 | 0.13669 | 0.99029 | -0.18484 | 0.98638 | -0.26024 | 37.5534
48 | 0.086489 | 0.021907 | -0.086438 | -0.021874 | 5.1235e-05 | 3.2688e-05 | 0.13056 | 0.13056 | 0.13056 | 0.98638 | -0.26024 | 0.98574 | -0.27258 | 35.8671
49 | 0.0099158 | 0.0024851 | -0.009915 | -0.0024848 | 8.037e-07 | 3.879e-07 | 0.014832 | 0.014832 | 0.014832 | 0.99479 | -0.099092 | 0.9947 | -0.10079 | 4.0748
50 | 0.076443 | 0.019369 | -0.076372 | -0.019324 | 7.1662e-05 | 4.5681e-05 | 0.11547 | 0.11547 | 0.11547 | 0.98574 | -0.27258 | 0.98473 | -0.29211 | 31.7225
51 | 0.0033124 | 0.00082999 | -0.0033123 | -0.00083013 | 1.8042e-07 | -1.3886e-07 | 0.0049552 | 0.0049552 | 0.0049552 | 0.9947 | -0.10079 | 0.99464 | -0.10194 | 1.3613
52 | -0.0068049 | -0.0017051 | 0.0068061 | 0.0017055 | 1.1463e-06 | 3.7974e-07 | 0.010383 | 0.010383 | 0.010383 | 0.97526 | -0.47734 | 0.97543 | -0.4738 | 2.8524
53 | 0.0036835 | 0.00092285 | -0.0036834 | -0.00092289 | 1.1021e-07 | -4.5568e-08 | 0.0056201 | 0.0056201 | 0.0056201 | 0.97526 | -0.47734 | 0.97522 | -0.47797 | 1.544
54 | 0.0036834 | 0.00092289 | -0.0036833 | -0.00092292 | 6.4412e-08 | -2.6627e-08 | 0.0056201 | 0.0056201 | 0.0056201 | 0.97522 | -0.47797 | 0.9752 | -0.47834 | 1.544
55 | 0.0036833 | 0.00092292 | -0.003683 | -0.00092305 | 3.2197e-07 | -1.3305e-07 | 0.0056201 | 0.0056203 | 0.0056203 | 0.9752 | -0.47834 | 0.97511 | -0.48017 | 1.544

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42793 | 0.10926

## res_load
| p_mw | q_mvar
0 | 0.023728 | 0.0059468
1 | 0.015102 | 0.0037849
2 | 0.020804 | 0.005214
3 | 0.011681 | 0.0029275
4 | 0.01511 | 0.0037868
5 | 0.020764 | 0.0052039
6 | 0.020877 | 0.0052323
7 | 0.0082647 | 0.0020713
8 | 0.013243 | 0.0033189
9 | 0.0097836 | 0.002452
10 | 0.0035083 | 0.00087926
11 | 0.0044566 | 0.0011169
12 | 0.0066736 | 0.0016726
13 | 0.010017 | 0.0025104
14 | 0.02366 | 0.0059298
15 | 0.004712 | 0.0011809
16 | 0.018266 | 0.004578
17 | 0.018225 | 0.0045675
18 | 0.0037611 | 0.00094262
19 | 0.00224 | 0.00056139
20 | 0.0023771 | 0.00059576
21 | 0.0032946 | 0.00082571
22 | 0.0024504 | 0.00061413
23 | 0.0031949 | 0.00080071
24 | 0.033172 | 0.0083137
25 | 0.027038 | 0.0067763
26 | 0.0039466 | 0.00098911
27 | 0.0025841 | 0.00064763
28 | 0.0032251 | 0.0008083
29 | 0.0031471 | 0.00078873
30 | 0.0025172 | 0.00063087
31 | 0.0049457 | 0.0012395
32 | 0.0088201 | 0.0022105
33 | 0.0022404 | 0.0005615
34 | 0.0052058 | 0.0013047
35 | 0.0022381 | 0.00056092
36 | 0.0020093 | 0.00050357
37 | 0.0075275 | 0.0018866
38 | 0.0040689 | 0.0010198
39 | 0.003527 | 0.00088396
40 | 0.0099941 | 0.0025048
41 | 0.0066026 | 0.0016548
42 | 0.0031214 | 0.0007823
43 | 0.003657 | 0.00091652
44 | 0.003683 | 0.00092305
45 | 0.0022541 | 0.00056493
46 | 0.0022022 | 0.00055191
47 | 0.0027724 | 0.00069482
48 | 0.0033123 | 0.00083013

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1