## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2546-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2546-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-38_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-38_0_4_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_2546-38_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2546-38_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2546-38_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_2546-38_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2546-38_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2546-38_0_4_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_2546-38_0_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_2546-38_0_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_2546-38_0_4_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_2546-38_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2546-38_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2546-38_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2546-38_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2546-38_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_2546-38_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2546-38_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2546-38_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2546-38_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2546-38_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2546-38_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2546-38_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2546-38_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2546-38_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_2546-38_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2546-38_0_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_2546-38_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2546-38_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2546-38_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2546-38_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2546-38_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2546-38_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2546-38_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2546-38_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2546-38_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2546-38_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2546-38_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2546-38_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_2546-38_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_MV_521_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-38_0_4_load_0 | 0 | 0.079207 | 0.019851 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-38_0_4_load_1 | 1 | 0.017675 | 0.0044298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-38_0_4_load_4 | 4 | 0.02958 | 0.0074134 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-38_0_4_load_38 | 5 | 0.0049743 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-38_0_4_load_46 | 8 | 0.0091225 | 0.0022863 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-38_0_4_load_49 | 11 | 0.0046922 | 0.001176 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-38_0_4_load_45 | 13 | 0.032401 | 0.0081203 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-38_0_4_load_44 | 14 | 0.0068942 | 0.0017278 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-38_0_4_load_7 | 15 | 0.0068128 | 0.0017074 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-38_0_4_load_10 | 17 | 0.0097964 | 0.0024552 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-38_0_4_load_26 | 18 | 0.0018853 | 0.0004725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-38_0_4_load_28 | 19 | 0.0012705 | 0.00031843 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-38_0_4_load_27 | 20 | 0.0025126 | 0.00062971 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-38_0_4_load_29 | 21 | 0.0026502 | 0.00066421 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-38_0_4_load_30 | 22 | 0.0029651 | 0.00074313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-38_0_4_load_13 | 23 | 0.023835 | 0.0059735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-38_0_4_load_14 | 24 | 0.0098423 | 0.0024667 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-38_0_4_load_15 | 25 | 0.015845 | 0.0039712 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-38_0_4_load_16 | 26 | 0.011621 | 0.0029126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-38_0_4_load_17 | 27 | 0.0044588 | 0.0011175 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-38_0_4_load_47 | 30 | 0.032549 | 0.0081575 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-38_0_4_load_39 | 31 | 0.066909 | 0.016769 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-38_0_4_load_23 | 32 | 0.0032511 | 0.0008148 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-38_0_4_load_18 | 33 | 0.0049352 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-38_0_4_load_21 | 35 | 0.0051107 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-38_0_4_load_22 | 36 | 0.0033002 | 0.0008271 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-38_0_4_load_32 | 38 | 0.04567 | 0.011446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-38_0_4_load_37 | 39 | 0.0023769 | 0.00059571 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-38_0_4_load_48 | 40 | 0.034977 | 0.0087661 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-38_0_4_load_43 | 42 | 0.028652 | 0.007181 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-38_0_4_load_42 | 43 | 0.010081 | 0.0025266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-38_0_4_line_0 |  | 0 | 1 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-38_0_4_line_1 |  | 0 | 2 | 0.0037703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-38_0_4_line_2 |  | 1 | 3 | 0.039345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-38_0_4_line_3 |  | 2 | 4 | 0.01912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-38_0_4_line_4 |  | 3 | 5 | 0.016008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2546-38_0_4_line_5 |  | 3 | 6 | 0.022652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-38_0_4_line_6 |  | 5 | 7 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2546-38_0_4_line_7 |  | 6 | 8 | 0.037495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-38_0_4_line_8 |  | 6 | 9 | 0.008387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-38_0_4_line_9 |  | 7 | 39 | 0.056113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-38_0_4_line_10 |  | 7 | 38 | 0.0070729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2546-38_0_4_line_11 |  | 8 | 14 | 0.026282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-38_0_4_line_12 |  | 9 | 19 | 0.029627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-38_0_4_line_13 |  | 9 | 16 | 0.034653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-38_0_4_line_14 |  | 10 | 11 | 0.034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-38_0_4_line_15 |  | 10 | 12 | 0.02794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-38_0_4_line_16 |  | 12 | 28 | 0.003132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2546-38_0_4_line_17 |  | 12 | 38 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2546-38_0_4_line_18 |  | 13 | 14 | 0.0071053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-38_0_4_line_19 |  | 15 | 16 | 0.030461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-38_0_4_line_20 |  | 16 | 17 | 0.026544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2546-38_0_4_line_21 |  | 17 | 18 | 0.00097695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-38_0_4_line_22 |  | 18 | 20 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-38_0_4_line_23 |  | 19 | 21 | 5.2946e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-38_0_4_line_24 |  | 20 | 35 | 0.0069557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-38_0_4_line_25 |  | 21 | 22 | 0.0016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2546-38_0_4_line_26 |  | 23 | 24 | 0.0012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2546-38_0_4_line_27 |  | 23 | 25 | 0.0074507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-38_0_4_line_28 |  | 24 | 26 | 0.012278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2546-38_0_4_line_29 |  | 25 | 27 | 0.022325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-38_0_4_line_30 |  | 26 | 28 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2546-38_0_4_line_31 |  | 27 | 29 | 0.0073235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-38_0_4_line_32 |  | 28 | 30 | 0.021119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-38_0_4_line_33 |  | 29 | 31 | 0.033877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-38_0_4_line_34 |  | 29 | 32 | 0.0096248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-38_0_4_line_35 |  | 30 | 40 | 0.037837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-38_0_4_line_36 |  | 31 | 37 | 0.15599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-38_0_4_line_37 |  | 32 | 36 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-38_0_4_line_38 |  | 33 | 34 | 0.0016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-38_0_4_line_39 |  | 34 | 35 | 0.016007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-38_0_4_line_40 |  | 37 | 41 | 0.091489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-38_0_4_line_41 |  | 41 | 42 | 0.095032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-38_0_4_line_42 |  | 42 | 43 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-38_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 44 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2596703.5607 | 1226895.6585 | 2596690.8784 | 1226905.8257
1 | 2596706.5023 | 1226893.3002 | 2596703.5607 | 1226895.6585
2 | 2596658.802 | 1226928.5037 | 2596668.9004 | 1226922.5055 | 2596680.8009 | 1226913.9047 | 2596690.8784 | 1226905.8257
3 | 2596706.5023 | 1226893.3002 | 2596693.4025 | 1226879.373
4 | 2596658.802 | 1226928.5037 | 2596662.5022 | 1226932.0036 | 2596666.8997 | 1226935.6032 | 2596671.3589 | 1226938.34
5 | 2596638.8699 | 1226939.3549 | 2596650.0971 | 1226932.9002 | 2596658.802 | 1226928.5037
6 | 2596699.4509 | 1226953.6731 | 2596683.3278 | 1226946.3335 | 2596672.6005 | 1226939.102 | 2596671.3589 | 1226938.34
7 | 2596638.8699 | 1226939.3549 | 2596635.2205 | 1226931.897 | 2596632.5981 | 1226918.3017 | 2596628.3562 | 1226903.5529
8 | 2596631.6655 | 1226943.6838 | 2596634.9685 | 1226941.703 | 2596638.8699 | 1226939.3549
9 | 2596699.4509 | 1226953.6731 | 2596679.8382 | 1227006.2596
10 | 2596699.4509 | 1226953.6731 | 2596706.0369 | 1226956.252
11 | 2596623.4314 | 1226877.9478 | 2596623.1034 | 1226880.6962 | 2596624.1996 | 1226889.1005 | 2596628.3562 | 1226903.5529
12 | 2596631.6655 | 1226943.6838 | 2596628.1661 | 1226946.7543 | 2596623.1764 | 1226954.1727 | 2596619.6412 | 1226960.7008 | 2596616.318 | 1226968.6402
13 | 2596631.6655 | 1226943.6838 | 2596599.352 | 1226930.9284
14 | 2596739.7742 | 1226939.4531 | 2596738 | 1226924.4008 | 2596740.4965 | 1226916.6948 | 2596743.9339 | 1226906.0982
15 | 2596729.8993 | 1226965.5962 | 2596739.7742 | 1226939.4531
16 | 2596730.8179 | 1226968.5419 | 2596730.6125 | 1226966.9744 | 2596729.8993 | 1226965.5962
17 | 2596729.8993 | 1226965.5962 | 2596706.0369 | 1226956.252
18 | 2596623.4314 | 1226877.9478 | 2596623.6992 | 1226875.704 | 2596625.1629 | 1226871.0848
19 | 2596599.352 | 1226930.9284 | 2596577.5158 | 1226952.1668
20 | 2596599.352 | 1226930.9284 | 2596574.9584 | 1226920.4631
21 | 2596574.9584 | 1226920.4631 | 2596574.0606 | 1226920.0779
22 | 2596560.442 | 1226914.2353 | 2596574.0606 | 1226920.0779
23 | 2596616.2975 | 1226968.6891 | 2596616.318 | 1226968.6402
24 | 2596554.0497 | 1226911.4929 | 2596560.442 | 1226914.2353
25 | 2596616.2975 | 1226968.6891 | 2596615.6738 | 1226970.1792
26 | 2596723.5787 | 1226991.9937 | 2596723.203 | 1226993.1391
27 | 2596720.8805 | 1227000.2186 | 2596723.203 | 1226993.1391
28 | 2596727.4058 | 1226980.3279 | 2596723.5787 | 1226991.9937
29 | 2596717.2981 | 1227022.1974 | 2596717.9005 | 1227014.7986 | 2596720.0989 | 1227002.6013 | 2596720.8805 | 1227000.2186
30 | 2596730.8179 | 1226968.5419 | 2596728.3979 | 1226977.3039 | 2596727.4058 | 1226980.3279
31 | 2596716.7039 | 1227029.4968 | 2596717.2981 | 1227022.1974
32 | 2596730.8179 | 1226968.5419 | 2596750.9397 | 1226974.9545
33 | 2596716.7039 | 1227029.4968 | 2596726.3652 | 1227028.0571 | 2596731.5027 | 1227027.2982 | 2596750.2572 | 1227024.8307
34 | 2596716.7039 | 1227029.4968 | 2596716.1031 | 1227039.1028
35 | 2596786.9899 | 1226986.4433 | 2596750.9397 | 1226974.9545
36 | 2596896.3521 | 1227074.2466 | 2596889.2042 | 1227070.8707 | 2596883.1705 | 1227068.1056 | 2596814.5035 | 1227036.6021 | 2596792.697 | 1227029.0207 | 2596771.1654 | 1227025.0081 | 2596750.2572 | 1227024.8307
37 | 2596716.1031 | 1227039.1028 | 2596716.3981 | 1227051.5988 | 2596716.5678 | 1227053.014
38 | 2596539.3397 | 1226905.182 | 2596537.8392 | 1226904.5192
39 | 2596539.3397 | 1226905.182 | 2596554.0497 | 1226911.4929
40 | 2596896.3521 | 1227074.2466 | 2596898.8744 | 1227071.9773 | 2596901.9503 | 1227070.5303 | 2596905.3147 | 1227070.0394 | 2596908.6721 | 1227070.549 | 2596912.7968 | 1227060.5854 | 2596914.954 | 1227055.7258 | 2596925.8988 | 1227031.0055 | 2596935.8968 | 1227006.9082 | 2596939.3179 | 1226998.9351
41 | 2596939.3179 | 1226998.9351 | 2596852.4265 | 1226960.4508
42 | 2596835.619 | 1226953.0068 | 2596852.4265 | 1226960.4508

## bus_geodata
| x | y | coords
0 | 2596703.5607 | 1226895.6585
1 | 2596690.8784 | 1226905.8257
2 | 2596706.5023 | 1226893.3002
3 | 2596658.802 | 1226928.5037
4 | 2596693.4025 | 1226879.373
5 | 2596671.3589 | 1226938.34
6 | 2596638.8699 | 1226939.3549
7 | 2596699.4509 | 1226953.6731
8 | 2596628.3562 | 1226903.5529
9 | 2596631.6655 | 1226943.6838
10 | 2596739.7742 | 1226939.4531
11 | 2596743.9339 | 1226906.0982
12 | 2596729.8993 | 1226965.5962
13 | 2596625.1629 | 1226871.0848
14 | 2596623.4314 | 1226877.9478
15 | 2596577.5158 | 1226952.1668
16 | 2596599.352 | 1226930.9284
17 | 2596574.9584 | 1226920.4631
18 | 2596574.0606 | 1226920.0779
19 | 2596616.318 | 1226968.6402
20 | 2596560.442 | 1226914.2353
21 | 2596616.2975 | 1226968.6891
22 | 2596615.6738 | 1226970.1792
23 | 2596723.203 | 1226993.1391
24 | 2596723.5787 | 1226991.9937
25 | 2596720.8805 | 1227000.2186
26 | 2596727.4058 | 1226980.3279
27 | 2596717.2981 | 1227022.1974
28 | 2596730.8179 | 1226968.5419
29 | 2596716.7039 | 1227029.4968
30 | 2596750.9397 | 1226974.9545
31 | 2596750.2572 | 1227024.8307
32 | 2596716.1031 | 1227039.1028
33 | 2596537.8392 | 1226904.5192
34 | 2596539.3397 | 1226905.182
35 | 2596554.0497 | 1226911.4929
36 | 2596716.5678 | 1227053.014
37 | 2596896.3521 | 1227074.2466
38 | 2596706.0369 | 1226956.252
39 | 2596679.8382 | 1227006.2596
40 | 2596786.9899 | 1226986.4433
41 | 2596939.3179 | 1226998.9351
42 | 2596852.4265 | 1226960.4508
43 | 2596835.619 | 1226953.0068
44 | 2596699.4509 | 1226953.6731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98833 | -0.22437 | 0.079207 | 0.019851
1 | 0.98995 | -0.19287 | 0.017675 | 0.0044298
2 | 0.98823 | -0.22636 | 0 | 0
3 | 0.99452 | -0.10478 | 0 | 0
4 | 0.98771 | -0.23646 | 0.02958 | 0.0074134
5 | 0.99608 | -0.074811 | 0.0049743 | 0.0012467
6 | 0.99273 | -0.13932 | 0 | 0
7 | 0.99929 | -0.013582 | 0 | 0
8 | 0.99106 | -0.17148 | 0.0091225 | 0.0022863
9 | 0.99244 | -0.14495 | 0 | 0
10 | 0.99694 | -0.058304 | 0 | 0
11 | 0.9968 | -0.061136 | 0.0046922 | 0.001176
12 | 0.99706 | -0.056005 | 0 | 0
13 | 0.98991 | -0.19392 | 0.032401 | 0.0081203
14 | 0.99012 | -0.18983 | 0.0068942 | 0.0017278
15 | 0.99126 | -0.16769 | 0.0068128 | 0.0017074
16 | 0.99145 | -0.16401 | 0 | 0
17 | 0.99086 | -0.17543 | 0.0097964 | 0.0024552
18 | 0.99085 | -0.17568 | 0.0018853 | 0.0004725
19 | 0.99225 | -0.14856 | 0.0012705 | 0.00031843
20 | 0.99068 | -0.17899 | 0.0025126 | 0.00062971
21 | 0.99225 | -0.14857 | 0.0026502 | 0.00066421
22 | 0.99224 | -0.14865 | 0.0029651 | 0.00074313
23 | 0.99468 | -0.10152 | 0.023835 | 0.0059735
24 | 0.99477 | -0.099858 | 0.0098423 | 0.0024667
25 | 0.99377 | -0.11893 | 0.015845 | 0.0039712
26 | 0.99571 | -0.081906 | 0.011621 | 0.0029126
27 | 0.99137 | -0.165 | 0.0044588 | 0.0011175
28 | 0.99671 | -0.062743 | 0 | 0
29 | 0.99061 | -0.17959 | 0 | 0
30 | 0.99541 | -0.087796 | 0.032549 | 0.0081575
31 | 0.98731 | -0.24338 | 0.066909 | 0.016769
32 | 0.99055 | -0.18071 | 0.0032511 | 0.0008148
33 | 0.99054 | -0.18177 | 0.0049352 | 0.0012369
34 | 0.99054 | -0.18163 | 0 | 0
35 | 0.99061 | -0.18023 | 0.0051107 | 0.0012809
36 | 0.99051 | -0.18153 | 0.0033002 | 0.0008271
37 | 0.98168 | -0.35205 | 0 | 0
38 | 1 | 0 | -0.47639 | -0.12074
39 | 0.99916 | -0.015911 | 0.0023769 | 0.00059571
40 | 0.9942 | -0.1111 | 0.034977 | 0.0087661
41 | 0.97839 | -0.41637 | 0 | 0
42 | 0.97496 | -0.48363 | 0.028652 | 0.007181
43 | 0.97479 | -0.48703 | 0.010081 | 0.0025266
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1088 | -0.027275 | 0.10897 | 0.027379 | 0.00016357 | 0.00010448 | 0.16382 | 0.16381 | 0.16382 | 0.98833 | -0.22437 | 0.98995 | -0.19287 | 45.0041
1 | 0.029597 | 0.007424 | -0.029594 | -0.0074222 | 2.8077e-06 | 1.7486e-06 | 0.044563 | 0.044563 | 0.044563 | 0.98833 | -0.22437 | 0.98823 | -0.22636 | 12.2425
2 | -0.12664 | -0.031809 | 0.12718 | 0.032151 | 0.00053478 | 0.00034175 | 0.19038 | 0.19038 | 0.19038 | 0.98995 | -0.19287 | 0.99452 | -0.10478 | 52.3029
3 | 0.029594 | 0.0074222 | -0.02958 | -0.0074134 | 1.4238e-05 | 8.8678e-06 | 0.044563 | 0.044563 | 0.044563 | 0.98823 | -0.22636 | 0.98771 | -0.23646 | 12.2425
4 | -0.21385 | -0.053992 | 0.21416 | 0.054189 | 0.00030756 | 0.00019642 | 0.3201 | 0.3201 | 0.3201 | 0.99452 | -0.10478 | 0.99608 | -0.074811 | 43.9703
5 | 0.086671 | 0.021841 | -0.086528 | -0.02175 | 0.00014294 | 9.119e-05 | 0.12972 | 0.12972 | 0.12972 | 0.99452 | -0.10478 | 0.99273 | -0.13932 | 35.6378
6 | -0.21913 | -0.055435 | 0.21978 | 0.055848 | 0.00064587 | 0.00041252 | 0.32753 | 0.32753 | 0.32753 | 0.99608 | -0.074811 | 0.99929 | -0.013582 | 44.991
7 | 0.048532 | 0.012207 | -0.048458 | -0.01216 | 7.4442e-05 | 4.7159e-05 | 0.072762 | 0.072762 | 0.072762 | 0.99273 | -0.13932 | 0.99106 | -0.17148 | 19.9895
8 | 0.037996 | 0.0095427 | -0.037986 | -0.0095363 | 1.0204e-05 | 6.4222e-06 | 0.05696 | 0.05696 | 0.05696 | 0.99273 | -0.13932 | 0.99244 | -0.14495 | 15.6483
9 | 0.0023772 | 0.00059515 | -0.0023769 | -0.00059571 | 2.6365e-07 | -5.6629e-07 | 0.0035396 | 0.0035398 | 0.0035398 | 0.99929 | -0.013582 | 0.99916 | -0.015911 | 0.97249
10 | -0.22215 | -0.056443 | 0.2223 | 0.056536 | 0.00014536 | 9.2846e-05 | 0.33107 | 0.33107 | 0.33107 | 0.99929 | -0.013582 | 1 | 0 | 45.4772
11 | 0.039335 | 0.0098738 | -0.039301 | -0.0098521 | 3.4383e-05 | 2.1667e-05 | 0.059065 | 0.059065 | 0.059065 | 0.99106 | -0.17148 | 0.99012 | -0.18983 | 16.2267
12 | 0.0068871 | 0.0017261 | -0.0068859 | -0.0017257 | 1.1847e-06 | 3.7544e-07 | 0.010326 | 0.010326 | 0.010326 | 0.99244 | -0.14495 | 0.99225 | -0.14856 | 2.8369
13 | 0.031099 | 0.0078102 | -0.03107 | -0.0077925 | 2.826e-05 | 1.7639e-05 | 0.046634 | 0.046634 | 0.046634 | 0.99244 | -0.14495 | 0.99145 | -0.16401 | 12.8115
14 | 0.0046929 | 0.0011759 | -0.0046922 | -0.001176 | 6.3285e-07 | -4.3417e-08 | 0.0070044 | 0.0070046 | 0.0070046 | 0.99694 | -0.058304 | 0.9968 | -0.061136 | 1.9243
15 | -0.0046929 | -0.0011759 | 0.0046934 | 0.0011759 | 5.1403e-07 | -3.5378e-08 | 0.0070044 | 0.0070043 | 0.0070044 | 0.99694 | -0.058304 | 0.99706 | -0.056005 | 1.9243
16 | 0.24707 | 0.062596 | -0.24699 | -0.062545 | 7.9947e-05 | 5.1085e-05 | 0.36897 | 0.36897 | 0.36897 | 0.99706 | -0.056005 | 0.99671 | -0.062743 | 50.6826
17 | -0.25177 | -0.063772 | 0.25244 | 0.064206 | 0.00067922 | 0.00043403 | 0.37597 | 0.37597 | 0.37597 | 0.99706 | -0.056005 | 1 | 0 | 51.6447
18 | -0.032401 | -0.0081203 | 0.032407 | 0.0081243 | 6.3204e-06 | 3.9537e-06 | 0.048704 | 0.048704 | 0.048704 | 0.98991 | -0.19392 | 0.99012 | -0.18983 | 13.3802
19 | -0.0068128 | -0.0017074 | 0.0068139 | 0.0017078 | 1.1947e-06 | 3.7186e-07 | 0.010227 | 0.010227 | 0.010227 | 0.99126 | -0.16769 | 0.99145 | -0.16401 | 2.8096
20 | 0.024256 | 0.0060847 | -0.024243 | -0.0060766 | 1.3194e-05 | 8.1019e-06 | 0.036407 | 0.036407 | 0.036407 | 0.99145 | -0.16401 | 0.99086 | -0.17543 | 10.002
21 | 0.014447 | 0.0036214 | -0.014447 | -0.0036213 | 1.7245e-07 | 9.7782e-08 | 0.021696 | 0.021696 | 0.021696 | 0.99086 | -0.17543 | 0.99085 | -0.17568 | 5.9604
22 | 0.012561 | 0.0031488 | -0.012559 | -0.0031477 | 1.9776e-06 | 1.0748e-06 | 0.018864 | 0.018864 | 0.018864 | 0.99085 | -0.17568 | 0.99068 | -0.17899 | 5.1826
23 | 0.0056154 | 0.0014073 | -0.0056153 | -0.0014073 | 1.4062e-09 | 2.1885e-10 | 0.008421 | 0.008421 | 0.008421 | 0.99225 | -0.14856 | 0.99225 | -0.14857 | 2.3135
24 | 0.010047 | 0.002518 | -0.010046 | -0.0025177 | 5.94e-07 | 2.906e-07 | 0.015091 | 0.015091 | 0.015091 | 0.99068 | -0.17899 | 0.99061 | -0.18023 | 4.1458
25 | 0.0029651 | 0.00074311 | -0.0029651 | -0.00074313 | 1.1978e-08 | -1.32e-08 | 0.0044466 | 0.0044466 | 0.0044466 | 0.99225 | -0.14857 | 0.99224 | -0.14865 | 1.2216
26 | -0.15756 | -0.039961 | 0.15757 | 0.039969 | 1.2575e-05 | 8.0167e-06 | 0.23587 | 0.23587 | 0.23587 | 0.99468 | -0.10152 | 0.99477 | -0.099858 | 32.4003
27 | 0.13373 | 0.033987 | -0.13361 | -0.033916 | 0.00011201 | 7.1587e-05 | 0.20022 | 0.20022 | 0.20022 | 0.99468 | -0.10152 | 0.99377 | -0.11893 | 55.005
28 | -0.16742 | -0.042436 | 0.16756 | 0.042528 | 0.00014457 | 9.2203e-05 | 0.2506 | 0.2506 | 0.2506 | 0.99477 | -0.099858 | 0.99571 | -0.081906 | 34.4226
29 | 0.11777 | 0.029945 | -0.11751 | -0.029778 | 0.00026078 | 0.00016661 | 0.17649 | 0.17649 | 0.17649 | 0.99377 | -0.11893 | 0.99137 | -0.165 | 48.487
30 | -0.17918 | -0.04544 | 0.17935 | 0.045546 | 0.00016523 | 0.00010543 | 0.26796 | 0.26796 | 0.26796 | 0.99571 | -0.081906 | 0.99671 | -0.062743 | 36.8082
31 | 0.11305 | 0.02866 | -0.11297 | -0.02861 | 7.9182e-05 | 5.0582e-05 | 0.1698 | 0.1698 | 0.1698 | 0.99137 | -0.165 | 0.99061 | -0.17959 | 46.6484
32 | 0.067645 | 0.016999 | -0.067565 | -0.016948 | 8.0797e-05 | 5.1435e-05 | 0.10101 | 0.10101 | 0.10101 | 0.99671 | -0.062743 | 0.99541 | -0.087796 | 27.7489
33 | 0.10642 | 0.026968 | -0.10609 | -0.02676 | 0.00032506 | 0.0002076 | 0.15996 | 0.15996 | 0.15996 | 0.99061 | -0.17959 | 0.98731 | -0.24338 | 43.9447
34 | 0.0065518 | 0.0016419 | -0.0065514 | -0.0016418 | 3.4958e-07 | 9.9827e-08 | 0.0098415 | 0.0098415 | 0.0098415 | 0.99061 | -0.17959 | 0.99055 | -0.18071 | 2.7037
35 | 0.035016 | 0.0087905 | -0.034977 | -0.0087661 | 3.8884e-05 | 2.4395e-05 | 0.05235 | 0.05235 | 0.05235 | 0.99541 | -0.087796 | 0.9942 | -0.1111 | 14.3818
36 | 0.039184 | 0.0099913 | -0.03898 | -0.0098624 | 0.00020444 | 0.00012886 | 0.059117 | 0.059118 | 0.059118 | 0.98731 | -0.24338 | 0.98168 | -0.35205 | 16.2412
37 | 0.0033003 | 0.000827 | -0.0033002 | -0.0008271 | 1.2835e-07 | -9.7099e-08 | 0.0049577 | 0.0049578 | 0.0049578 | 0.99055 | -0.18071 | 0.99051 | -0.18153 | 1.362
38 | -0.0049352 | -0.0012369 | 0.0049352 | 0.0012369 | 3.3811e-08 | 5.2359e-10 | 0.0074138 | 0.0074138 | 0.0074138 | 0.99054 | -0.18177 | 0.99054 | -0.18163 | 2.0368
39 | -0.0049352 | -0.0012369 | 0.0049355 | 0.0012369 | 3.2992e-07 | 5.0905e-09 | 0.0074138 | 0.0074137 | 0.0074138 | 0.99054 | -0.18163 | 0.99061 | -0.18023 | 2.0368
40 | 0.03898 | 0.0098624 | -0.03886 | -0.0097869 | 0.00011991 | 7.5587e-05 | 0.059118 | 0.059118 | 0.059118 | 0.98168 | -0.35205 | 0.97839 | -0.41637 | 16.2413
41 | 0.03886 | 0.0097869 | -0.038735 | -0.0097083 | 0.00012455 | 7.8524e-05 | 0.059118 | 0.059119 | 0.059119 | 0.97839 | -0.41637 | 0.97496 | -0.48363 | 16.2414
42 | 0.010083 | 0.0025274 | -0.010081 | -0.0025266 | 1.6324e-06 | 8.1556e-07 | 0.015389 | 0.015389 | 0.015389 | 0.97496 | -0.48363 | 0.97479 | -0.48703 | 4.2277

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52206 | 0.13219

## res_load
| p_mw | q_mvar
0 | 0.079207 | 0.019851
1 | 0.017675 | 0.0044298
2 | 0.02958 | 0.0074134
3 | 0.0049743 | 0.0012467
4 | 0.0091225 | 0.0022863
5 | 0.0046922 | 0.001176
6 | 0.032401 | 0.0081203
7 | 0.0068942 | 0.0017278
8 | 0.0068128 | 0.0017074
9 | 0.0097964 | 0.0024552
10 | 0.0018853 | 0.0004725
11 | 0.0012705 | 0.00031843
12 | 0.0025126 | 0.00062971
13 | 0.0026502 | 0.00066421
14 | 0.0029651 | 0.00074313
15 | 0.023835 | 0.0059735
16 | 0.0098423 | 0.0024667
17 | 0.015845 | 0.0039712
18 | 0.011621 | 0.0029126
19 | 0.0044588 | 0.0011175
20 | 0.032549 | 0.0081575
21 | 0.066909 | 0.016769
22 | 0.0032511 | 0.0008148
23 | 0.0049352 | 0.0012369
24 | 0.0051107 | 0.0012809
25 | 0.0033002 | 0.0008271
26 | 0.04567 | 0.011446
27 | 0.0023769 | 0.00059571
28 | 0.034977 | 0.0087661
29 | 0.028652 | 0.007181
30 | 0.010081 | 0.0025266

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1