## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2546-43_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2546-43_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2546-43_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2546-43_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2546-43_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2546-43_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2546-43_0_5_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2546-43_0_5_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_2546-43_0_5_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_2546-43_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_2546-43_0_5_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_2546-43_0_5_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_2546-43_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2546-43_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2546-43_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2546-43_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2546-43_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2546-43_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2546-43_0_5_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_2546-43_0_5_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_2546-43_0_5_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_2546-43_0_5_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_2546-43_0_5_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_2546-43_0_5_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2546-43_0_5_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2546-43_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_2546-43_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_2546-43_0_5_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_2546-43_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2546-43_0_5_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2546-43_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2546-43_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2546-43_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2546-43_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_2546-43_0_5_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_2546-43_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_2546-43_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_2546-43_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_2546-43_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2546-43_0_5_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_2546-43_0_5_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_2546-43_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2546-43_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_2546-43_0_5_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_2546-43_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2546-43_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2546-43_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2546-43_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2546-43_0_5_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2546-43_0_5_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2546-43_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2546-43_0_5_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2546-43_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2546-43_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_2546-43_0_5_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2546-43_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_2546-43_0_5_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2546-43_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2546-43_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_2546-43_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2546-43_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_2546-43_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2546-43_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_2546-43_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2546-43_0_5_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2546-43_0_5_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2546-43_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2546-43_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2546-43_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_MV_310_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2546-43_0_5_load_0 | 0 | 0.0098425 | 0.0024668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2546-43_0_5_load_1 | 2 | 0.0088919 | 0.0022285 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2546-43_0_5_load_26 | 6 | 0.0078413 | 0.0019652 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2546-43_0_5_load_44 | 7 | 0.0075268 | 0.0018864 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2546-43_0_5_load_46 | 8 | 0.0077977 | 0.0019543 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2546-43_0_5_load_35 | 9 | 0.01184 | 0.0029674 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2546-43_0_5_load_42 | 10 | 0.0108 | 0.0027068 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2546-43_0_5_load_34 | 11 | 0.011842 | 0.0029679 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2546-43_0_5_load_6 | 12 | 0.0061945 | 0.0015525 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2546-43_0_5_load_7 | 13 | 0.0056646 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2546-43_0_5_load_9 | 15 | 0.0051639 | 0.0012942 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2546-43_0_5_load_41 | 18 | 0.01009 | 0.0025288 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2546-43_0_5_load_64 | 19 | 0.006368 | 0.001596 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2546-43_0_5_load_54 | 20 | 0.0097751 | 0.0024499 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2546-43_0_5_load_63 | 21 | 0.0051694 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2546-43_0_5_load_69 | 22 | 0.005572 | 0.0013965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2546-43_0_5_load_39 | 23 | 0.014706 | 0.0036858 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2546-43_0_5_load_50 | 24 | 0.0063653 | 0.0015953 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2546-43_0_5_load_53 | 25 | 0.020904 | 0.0052391 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2546-43_0_5_load_68 | 27 | 0.0056535 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2546-43_0_5_load_12 | 28 | 0.0093766 | 0.00235 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2546-43_0_5_load_13 | 29 | 0.0099734 | 0.0024996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2546-43_0_5_load_14 | 30 | 0.0095493 | 0.0023933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2546-43_0_5_load_15 | 31 | 0.0062315 | 0.0015618 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2546-43_0_5_load_16 | 32 | 0.010248 | 0.0025684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2546-43_0_5_load_65 | 33 | 0.0068223 | 0.0017098 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2546-43_0_5_load_66 | 34 | 0.0062315 | 0.0015618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2546-43_0_5_load_17 | 35 | 0.0071778 | 0.0017989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2546-43_0_5_load_18 | 36 | 0.0017855 | 0.00044748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2546-43_0_5_load_19 | 37 | 0.0067571 | 0.0016935 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2546-43_0_5_load_70 | 39 | 0.01214 | 0.0030425 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2546-43_0_5_load_62 | 40 | 0.0018827 | 0.00047184 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2546-43_0_5_load_33 | 41 | 0.0038799 | 0.0009724 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2546-43_0_5_load_21 | 42 | 0.011865 | 0.0029737 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2546-43_0_5_load_22 | 43 | 0.0071743 | 0.001798 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2546-43_0_5_load_23 | 44 | 0.011924 | 0.0029883 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2546-43_0_5_load_24 | 45 | 0.0026341 | 0.00066016 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2546-43_0_5_load_30 | 46 | 0.011793 | 0.0029556 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2546-43_0_5_load_28 | 47 | 0.0076155 | 0.0019086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2546-43_0_5_load_47 | 48 | 0.006509 | 0.0016313 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2546-43_0_5_load_27 | 49 | 0.013826 | 0.0034652 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2546-43_0_5_load_31 | 51 | 0.013766 | 0.00345 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2546-43_0_5_load_32 | 52 | 0.01474 | 0.0036942 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2546-43_0_5_load_49 | 53 | 0.0063671 | 0.0015957 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2546-43_0_5_load_51 | 54 | 0.011126 | 0.0027883 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2546-43_0_5_load_60 | 55 | 0.0022972 | 0.00057574 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2546-43_0_5_load_45 | 56 | 0.0075277 | 0.0018866 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2546-43_0_5_load_43 | 57 | 0.010835 | 0.0027154 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2546-43_0_5_load_37 | 58 | 0.0090462 | 0.0022672 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2546-43_0_5_load_38 | 59 | 0.011371 | 0.0028498 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2546-43_0_5_load_40 | 60 | 0.0090878 | 0.0022776 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2546-43_0_5_load_52 | 61 | 0.016832 | 0.0042186 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2546-43_0_5_load_48 | 62 | 0.0054425 | 0.001364 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2546-43_0_5_load_55 | 63 | 0.0051737 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2546-43_0_5_load_56 | 64 | 0.0062151 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2546-43_0_5_load_57 | 65 | 0.0089138 | 0.002234 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2546-43_0_5_load_58 | 66 | 0.0019567 | 0.00049039 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2546-43_0_5_load_59 | 67 | 0.0018938 | 0.00047462 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2546-43_0_5_load_67 | 68 | 0.0074606 | 0.0018698 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2546-43_0_5_line_0 |  | 0 | 1 | 0.037858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2546-43_0_5_line_1 |  | 1 | 4 | 0.02705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2546-43_0_5_line_2 |  | 2 | 3 | 0.02343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2546-43_0_5_line_3 |  | 3 | 5 | 0.01322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2546-43_0_5_line_4 |  | 3 | 6 | 0.031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2546-43_0_5_line_5 |  | 4 | 5 | 0.044077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2546-43_0_5_line_6 |  | 4 | 7 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2546-43_0_5_line_7 |  | 5 | 8 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2546-43_0_5_line_8 |  | 6 | 9 | 0.025258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2546-43_0_5_line_9 |  | 7 | 10 | 0.00064773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2546-43_0_5_line_10 |  | 8 | 48 | 0.033512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2546-43_0_5_line_11 |  | 9 | 11 | 0.039617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2546-43_0_5_line_12 |  | 10 | 57 | 0.034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2546-43_0_5_line_13 |  | 12 | 13 | 0.0028218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2546-43_0_5_line_14 |  | 12 | 14 | 0.040716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2546-43_0_5_line_15 |  | 13 | 15 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2546-43_0_5_line_16 |  | 14 | 16 | 0.036508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2546-43_0_5_line_17 |  | 14 | 17 | 0.018507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2546-43_0_5_line_18 |  | 15 | 18 | 0.015557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2546-43_0_5_line_19 |  | 16 | 19 | 0.0019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2546-43_0_5_line_20 |  | 16 | 20 | 0.022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2546-43_0_5_line_21 |  | 17 | 21 | 0.055646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2546-43_0_5_line_22 |  | 17 | 22 | 0.021312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2546-43_0_5_line_23 |  | 18 | 23 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2546-43_0_5_line_24 |  | 19 | 24 | 0.025016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2546-43_0_5_line_25 |  | 20 | 25 | 0.0037279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2546-43_0_5_line_26 |  | 21 | 26 | 0.0035682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2546-43_0_5_line_27 |  | 22 | 27 | 0.036306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2546-43_0_5_line_28 |  | 23 | 58 | 0.018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2546-43_0_5_line_29 |  | 24 | 53 | 0.00014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2546-43_0_5_line_30 |  | 25 | 32 | 0.029441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2546-43_0_5_line_31 |  | 26 | 67 | 0.0069177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2546-43_0_5_line_32 |  | 26 | 66 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2546-43_0_5_line_33 |  | 27 | 62 | 0.00050294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2546-43_0_5_line_34 |  | 28 | 29 | 7.5134e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2546-43_0_5_line_35 |  | 28 | 30 | 0.025878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2546-43_0_5_line_36 |  | 29 | 31 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2546-43_0_5_line_37 |  | 30 | 32 | 0.0071333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2546-43_0_5_line_38 |  | 31 | 33 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2546-43_0_5_line_39 |  | 33 | 34 | 0.0080456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2546-43_0_5_line_40 |  | 34 | 68 | 0.00060732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2546-43_0_5_line_41 |  | 35 | 36 | 0.02217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2546-43_0_5_line_42 |  | 35 | 37 | 0.0057579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2546-43_0_5_line_43 |  | 37 | 38 | 0.013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2546-43_0_5_line_44 |  | 38 | 41 | 0.012588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2546-43_0_5_line_45 |  | 39 | 40 | 0.0064842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2546-43_0_5_line_46 |  | 40 | 55 | 0.016283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2546-43_0_5_line_47 |  | 40 | 41 | 0.22128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2546-43_0_5_line_48 |  | 42 | 43 | 0.00013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2546-43_0_5_line_49 |  | 42 | 44 | 0.035361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2546-43_0_5_line_50 |  | 43 | 45 | 0.011077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2546-43_0_5_line_51 |  | 45 | 46 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2546-43_0_5_line_52 |  | 46 | 47 | 0.00010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2546-43_0_5_line_53 |  | 47 | 49 | 0.035388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2546-43_0_5_line_54 |  | 48 | 62 | 0.00053472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2546-43_0_5_line_55 |  | 49 | 50 | 0.053604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2546-43_0_5_line_56 |  | 50 | 51 | 0.028463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2546-43_0_5_line_57 |  | 50 | 52 | 0.028895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2546-43_0_5_line_58 |  | 51 | 53 | 0.01985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2546-43_0_5_line_59 |  | 52 | 54 | 0.035296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2546-43_0_5_line_60 |  | 55 | 67 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2546-43_0_5_line_61 |  | 56 | 57 | 0.010423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2546-43_0_5_line_62 |  | 58 | 59 | 0.015396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2546-43_0_5_line_63 |  | 59 | 60 | 0.028376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2546-43_0_5_line_64 |  | 60 | 61 | 0.0055463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2546-43_0_5_line_65 |  | 63 | 64 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2546-43_0_5_line_66 |  | 63 | 65 | 0.010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2546-43_0_5_line_67 |  | 64 | 66 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2546-43_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 69 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2595672.4447 | 1226403.8215 | 2595658.4169 | 1226425.3 | 2595648.1198 | 1226418.7483 | 2595648.1198 | 1226418.7483
1 | 2595649.5455 | 1226389.3188 | 2595672.4447 | 1226403.8215
2 | 2595604.9041 | 1226377.3452 | 2595603.6167 | 1226388.7084 | 2595613.1943 | 1226395.9276
3 | 2595611.9441 | 1226366.1444 | 2595604.9041 | 1226377.3452
4 | 2595604.9041 | 1226377.3452 | 2595587.9147 | 1226403.6972
5 | 2595611.9441 | 1226366.1444 | 2595649.5455 | 1226389.3188
6 | 2595649.5455 | 1226389.3188 | 2595658.6009 | 1226374.8047
7 | 2595611.9441 | 1226366.1444 | 2595596.9646 | 1226356.2753
8 | 2595587.9147 | 1226403.6972 | 2595583.9501 | 1226409.8467 | 2595586.5457 | 1226414.6142 | 2595596.9503 | 1226421.5644
9 | 2595658.6009 | 1226374.8047 | 2595658.9438 | 1226374.2552
10 | 2595596.9646 | 1226356.2753 | 2595568.9802 | 1226337.838
11 | 2595629.8938 | 1226443.5703 | 2595596.9503 | 1226421.5644
12 | 2595658.9438 | 1226374.2552 | 2595677.1827 | 1226345.0217
13 | 2595474.2151 | 1226268.0248 | 2595472.1197 | 1226266.1348
14 | 2595505.1013 | 1226294.5057 | 2595495.804 | 1226287.4977 | 2595474.2151 | 1226268.0248
15 | 2595472.1197 | 1226266.1348 | 2595462.0835 | 1226257.0822
16 | 2595505.1013 | 1226294.5057 | 2595508.0977 | 1226288.0552 | 2595517.7172 | 1226270.4486 | 2595521.3107 | 1226261.8186
17 | 2595505.1013 | 1226294.5057 | 2595520.419 | 1226304.9557
18 | 2595450.5317 | 1226246.6627 | 2595462.0835 | 1226257.0822
19 | 2595521.3107 | 1226261.8186 | 2595521.8741 | 1226259.946
20 | 2595521.3107 | 1226261.8186 | 2595522.6309 | 1226263.7409 | 2595539.7068 | 1226273.6902
21 | 2595520.419 | 1226304.9557 | 2595514.4824 | 1226311.8532 | 2595502.2528 | 1226315.8093 | 2595487.9792 | 1226312.8186 | 2595469.8944 | 1226306.6495
22 | 2595520.419 | 1226304.9557 | 2595538.2364 | 1226316.6499
23 | 2595450.5317 | 1226246.6627 | 2595439.3443 | 1226236.5718
24 | 2595534.4225 | 1226238.3305 | 2595522.0969 | 1226259.2053 | 2595521.8741 | 1226259.946
25 | 2595542.9278 | 1226275.5669 | 2595539.7068 | 1226273.6902
26 | 2595466.5173 | 1226305.4975 | 2595469.8944 | 1226306.6495
27 | 2595568.1342 | 1226337.2372 | 2595550.1969 | 1226324.5 | 2595538.2364 | 1226316.6499
28 | 2595428.3807 | 1226221.8201 | 2595428.8005 | 1226223.501 | 2595430.1975 | 1226226.7018 | 2595434.4992 | 1226232.2016 | 2595439.3443 | 1226236.5718
29 | 2595534.4225 | 1226238.3305 | 2595534.4942 | 1226238.209
30 | 2595568.3661 | 1226290.3885 | 2595542.9278 | 1226275.5669
31 | 2595466.5173 | 1226305.4975 | 2595470.7867 | 1226310.9406
32 | 2595466.5173 | 1226305.4975 | 2595454.4015 | 1226299.7369 | 2595448.038 | 1226295.9235
33 | 2595568.5442 | 1226337.5284 | 2595568.1342 | 1226337.2372
34 | 2595596.954 | 1226307.0452 | 2595596.8891 | 1226307.0074
35 | 2595596.8891 | 1226307.0074 | 2595574.5296 | 1226293.9796
36 | 2595596.954 | 1226307.0452 | 2595610.4808 | 1226314.9266 | 2595610.8515 | 1226317.3337
37 | 2595568.3661 | 1226290.3885 | 2595574.5296 | 1226293.9796
38 | 2595610.8515 | 1226317.3337 | 2595611.8365 | 1226323.7307 | 2595619.8155 | 1226336.7149
39 | 2595625.854 | 1226341.7693 | 2595621.0487 | 1226338.7215 | 2595619.8155 | 1226336.7149
40 | 2595626.3668 | 1226342.0946 | 2595625.854 | 1226341.7693
41 | 2595386.0332 | 1226524.0778 | 2595391.4097 | 1226527.7866 | 2595401.9094 | 1226539.3762
42 | 2595381.2937 | 1226520.8083 | 2595386.0332 | 1226524.0778
43 | 2595369.9349 | 1226512.9727 | 2595381.2937 | 1226520.8083
44 | 2595369.9349 | 1226512.9727 | 2595359.9459 | 1226505.3123
45 | 2595499.6138 | 1226333.5662 | 2595494.4693 | 1226329.6193
46 | 2595481.5506 | 1226319.7081 | 2595494.4693 | 1226329.6193
47 | 2595494.4693 | 1226329.6193 | 2595359.9459 | 1226505.3123
48 | 2595665.16 | 1226260.6927 | 2595665.2751 | 1226260.7624
49 | 2595665.2751 | 1226260.7624 | 2595695.5187 | 1226279.0849
50 | 2595665.16 | 1226260.6927 | 2595655.6864 | 1226254.9533
51 | 2595635.3377 | 1226242.6544 | 2595648.692 | 1226250.7159 | 2595655.6864 | 1226254.9533
52 | 2595635.2445 | 1226242.5982 | 2595635.3377 | 1226242.6544
53 | 2595635.2445 | 1226242.5982 | 2595604.9488 | 1226224.3097
54 | 2595568.9802 | 1226337.838 | 2595568.9802 | 1226337.838 | 2595568.5442 | 1226337.5284
55 | 2595559.0581 | 1226196.6071 | 2595604.9488 | 1226224.3097
56 | 2595559.0581 | 1226196.6071 | 2595544.5867 | 1226221.1162
57 | 2595559.0581 | 1226196.6071 | 2595535.0135 | 1226182.1725 | 2595534.287 | 1226181.7297
58 | 2595544.5867 | 1226221.1162 | 2595534.4942 | 1226238.209
59 | 2595534.287 | 1226181.7297 | 2595504.1484 | 1226163.3593
60 | 2595470.7867 | 1226310.9406 | 2595471.7899 | 1226312.2196 | 2595481.5506 | 1226319.7081
61 | 2595677.1827 | 1226345.0217 | 2595681.7103 | 1226337.7647 | 2595683.4606 | 1226337.1075 | 2595683.4606 | 1226337.1075
62 | 2595428.3807 | 1226221.8201 | 2595428.101 | 1226220.6999 | 2595428.098 | 1226216.8976 | 2595429.2019 | 1226213.5059 | 2595432.9667 | 1226207.7562
63 | 2595432.9667 | 1226207.7562 | 2595444.1984 | 1226190.603 | 2595448.3763 | 1226183.93
64 | 2595451.3196 | 1226179.229 | 2595448.3763 | 1226183.93
65 | 2595420.0585 | 1226279.1786 | 2595429.7959 | 1226284.9918 | 2595434.0972 | 1226287.5694
66 | 2595411.1047 | 1226273.8332 | 2595420.0585 | 1226279.1786
67 | 2595448.038 | 1226295.9235 | 2595434.0972 | 1226287.5694

## bus_geodata
| x | y | coords
0 | 2595648.1198 | 1226418.7483
1 | 2595672.4447 | 1226403.8215
2 | 2595613.1943 | 1226395.9276
3 | 2595604.9041 | 1226377.3452
4 | 2595649.5455 | 1226389.3188
5 | 2595611.9441 | 1226366.1444
6 | 2595587.9147 | 1226403.6972
7 | 2595658.6009 | 1226374.8047
8 | 2595596.9646 | 1226356.2753
9 | 2595596.9503 | 1226421.5644
10 | 2595658.9438 | 1226374.2552
11 | 2595629.8938 | 1226443.5703
12 | 2595474.2151 | 1226268.0248
13 | 2595472.1197 | 1226266.1348
14 | 2595505.1013 | 1226294.5057
15 | 2595462.0835 | 1226257.0822
16 | 2595521.3107 | 1226261.8186
17 | 2595520.419 | 1226304.9557
18 | 2595450.5317 | 1226246.6627
19 | 2595521.8741 | 1226259.946
20 | 2595539.7068 | 1226273.6902
21 | 2595469.8944 | 1226306.6495
22 | 2595538.2364 | 1226316.6499
23 | 2595439.3443 | 1226236.5718
24 | 2595534.4225 | 1226238.3305
25 | 2595542.9278 | 1226275.5669
26 | 2595466.5173 | 1226305.4975
27 | 2595568.1342 | 1226337.2372
28 | 2595596.8891 | 1226307.0074
29 | 2595596.954 | 1226307.0452
30 | 2595574.5296 | 1226293.9796
31 | 2595610.8515 | 1226317.3337
32 | 2595568.3661 | 1226290.3885
33 | 2595619.8155 | 1226336.7149
34 | 2595625.854 | 1226341.7693
35 | 2595386.0332 | 1226524.0778
36 | 2595401.9094 | 1226539.3762
37 | 2595381.2937 | 1226520.8083
38 | 2595369.9349 | 1226512.9727
39 | 2595499.6138 | 1226333.5662
40 | 2595494.4693 | 1226329.6193
41 | 2595359.9459 | 1226505.3123
42 | 2595665.2751 | 1226260.7624
43 | 2595665.16 | 1226260.6927
44 | 2595695.5187 | 1226279.0849
45 | 2595655.6864 | 1226254.9533
46 | 2595635.3377 | 1226242.6544
47 | 2595635.2445 | 1226242.5982
48 | 2595568.9802 | 1226337.838
49 | 2595604.9488 | 1226224.3097
50 | 2595559.0581 | 1226196.6071
51 | 2595544.5867 | 1226221.1162
52 | 2595534.287 | 1226181.7297
53 | 2595534.4942 | 1226238.209
54 | 2595504.1484 | 1226163.3593
55 | 2595481.5506 | 1226319.7081
56 | 2595683.4606 | 1226337.1075
57 | 2595677.1827 | 1226345.0217
58 | 2595428.3807 | 1226221.8201
59 | 2595432.9667 | 1226207.7562
60 | 2595448.3763 | 1226183.93
61 | 2595451.3196 | 1226179.229
62 | 2595568.5442 | 1226337.5284
63 | 2595420.0585 | 1226279.1786
64 | 2595434.0972 | 1226287.5694
65 | 2595411.1047 | 1226273.8332
66 | 2595448.038 | 1226295.9235
67 | 2595470.7867 | 1226310.9406
68 | 2595626.3668 | 1226342.0946
69 | 2595521.3107 | 1226261.8186

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97778 | -0.4281 | 0.0098425 | 0.0024668
1 | 0.97813 | -0.42131 | 0 | 0
2 | 0.97959 | -0.39267 | 0.0088919 | 0.0022285
3 | 0.97978 | -0.38888 | 0 | 0
4 | 0.97837 | -0.41646 | 0 | 0
5 | 0.98028 | -0.37919 | 0 | 0
6 | 0.97886 | -0.40685 | 0.0078413 | 0.0019652
7 | 0.97779 | -0.4279 | 0.0075268 | 0.0018864
8 | 0.98172 | -0.35093 | 0.0077977 | 0.0019543
9 | 0.97831 | -0.41773 | 0.01184 | 0.0029674
10 | 0.97777 | -0.42824 | 0.0108 | 0.0027068
11 | 0.97788 | -0.42628 | 0.011842 | 0.0029679
12 | 0.98914 | -0.20767 | 0.0061945 | 0.0015525
13 | 0.98892 | -0.21179 | 0.0056646 | 0.0014197
14 | 0.99244 | -0.14393 | 0 | 0
15 | 0.98797 | -0.23019 | 0.0051639 | 0.0012942
16 | 0.99473 | -0.10021 | 0 | 0
17 | 0.99087 | -0.17398 | 0 | 0
18 | 0.98696 | -0.24997 | 0.01009 | 0.0025288
19 | 0.9945 | -0.10453 | 0.006368 | 0.001596
20 | 0.99675 | -0.061664 | 0.0097751 | 0.0024499
21 | 0.98753 | -0.23866 | 0.0051694 | 0.0012956
22 | 0.98854 | -0.2187 | 0.005572 | 0.0013965
23 | 0.98611 | -0.26644 | 0.014706 | 0.0036858
24 | 0.99175 | -0.15723 | 0.0063653 | 0.0015953
25 | 0.9971 | -0.055017 | 0.020904 | 0.0052391
26 | 0.98733 | -0.24249 | 0 | 0
27 | 0.98477 | -0.29174 | 0.0056535 | 0.0014169
28 | 0.99856 | -0.027751 | 0.0093766 | 0.00235
29 | 0.99855 | -0.027799 | 0.0099734 | 0.0024996
30 | 0.99964 | -0.0069211 | 0.0095493 | 0.0023933
31 | 0.99811 | -0.036261 | 0.0062315 | 0.0015618
32 | 1 | 0 | -0.49102 | -0.12502
33 | 0.99771 | -0.044057 | 0.0068223 | 0.0017098
34 | 0.99761 | -0.045986 | 0.0062315 | 0.0015618
35 | 0.98169 | -0.35244 | 0.0071778 | 0.0017989
36 | 0.98165 | -0.35316 | 0.0017855 | 0.00044748
37 | 0.98174 | -0.35151 | 0.0067571 | 0.0016935
38 | 0.98194 | -0.34759 | 0 | 0
39 | 0.98605 | -0.26735 | 0.01214 | 0.0030425
40 | 0.98613 | -0.26594 | 0.0018827 | 0.00047184
41 | 0.98212 | -0.34401 | 0.0038799 | 0.0009724
42 | 0.98125 | -0.36098 | 0.011865 | 0.0029737
43 | 0.98126 | -0.36093 | 0.0071743 | 0.001798
44 | 0.98086 | -0.36862 | 0.011924 | 0.0029883
45 | 0.98157 | -0.35472 | 0.0026341 | 0.00066016
46 | 0.98231 | -0.34028 | 0.011793 | 0.0029556
47 | 0.98232 | -0.34019 | 0.0076155 | 0.0019086
48 | 0.98467 | -0.29368 | 0.006509 | 0.0016313
49 | 0.98405 | -0.30637 | 0.013826 | 0.0034652
50 | 0.98736 | -0.2421 | 0 | 0
51 | 0.98979 | -0.19504 | 0.013766 | 0.00345
52 | 0.98667 | -0.25547 | 0.01474 | 0.0036942
53 | 0.99174 | -0.15751 | 0.0063671 | 0.0015957
54 | 0.98631 | -0.2625 | 0.011126 | 0.0027883
55 | 0.98663 | -0.25613 | 0.0022972 | 0.00057574
56 | 0.97711 | -0.44122 | 0.0075277 | 0.0018866
57 | 0.97719 | -0.43979 | 0.010835 | 0.0027154
58 | 0.98531 | -0.28201 | 0.0090462 | 0.0022672
59 | 0.98478 | -0.29232 | 0.011371 | 0.0028498
60 | 0.9841 | -0.30555 | 0.0090878 | 0.0022776
61 | 0.98402 | -0.30723 | 0.016832 | 0.0042186
62 | 0.98472 | -0.29271 | 0.0054425 | 0.001364
63 | 0.98639 | -0.26082 | 0.0051737 | 0.0012967
64 | 0.9866 | -0.25669 | 0.0062151 | 0.0015576
65 | 0.98631 | -0.26249 | 0.0089138 | 0.002234
66 | 0.98691 | -0.25079 | 0.0019567 | 0.00049039
67 | 0.98709 | -0.24717 | 0.0018938 | 0.00047462
68 | 0.9976 | -0.046065 | 0.0074606 | 0.0018698
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0098425 | -0.0024668 | 0.0098457 | 0.0024683 | 3.1852e-06 | 1.5635e-06 | 0.014979 | 0.014979 | 0.014979 | 0.97778 | -0.4281 | 0.97813 | -0.42131 | 4.115
1 | -0.0098457 | -0.0024683 | 0.009848 | 0.0024695 | 2.2758e-06 | 1.1169e-06 | 0.014979 | 0.014978 | 0.014979 | 0.97813 | -0.42131 | 0.97837 | -0.41646 | 4.115
2 | -0.0088919 | -0.0022285 | 0.0088935 | 0.0022293 | 1.6029e-06 | 7.3085e-07 | 0.013507 | 0.013507 | 0.013507 | 0.97959 | -0.39267 | 0.97978 | -0.38888 | 3.7107
3 | -0.040461 | -0.010157 | 0.04048 | 0.010169 | 1.8723e-05 | 1.1816e-05 | 0.061455 | 0.061455 | 0.061455 | 0.97978 | -0.38888 | 0.98028 | -0.37919 | 16.8832
4 | 0.031567 | 0.0079275 | -0.03154 | -0.0079106 | 2.7031e-05 | 1.6905e-05 | 0.047948 | 0.047948 | 0.047948 | 0.97978 | -0.38888 | 0.97886 | -0.40685 | 13.1725
5 | -0.046569 | -0.011684 | 0.046652 | 0.011736 | 8.2926e-05 | 5.2518e-05 | 0.070831 | 0.070831 | 0.070831 | 0.97837 | -0.41646 | 0.98028 | -0.37919 | 19.4591
6 | 0.036721 | 0.0092144 | -0.036701 | -0.0092018 | 2.0013e-05 | 1.2593e-05 | 0.055853 | 0.055853 | 0.055853 | 0.97837 | -0.41646 | 0.97779 | -0.4279 | 15.3442
7 | -0.087131 | -0.021905 | 0.087249 | 0.02198 | 0.00011772 | 7.5113e-05 | 0.13229 | 0.13229 | 0.13229 | 0.98028 | -0.37919 | 0.98172 | -0.35093 | 36.3422
8 | 0.023699 | 0.0059454 | -0.023687 | -0.0059378 | 1.2294e-05 | 7.5511e-06 | 0.036028 | 0.036028 | 0.036028 | 0.97886 | -0.40685 | 0.97831 | -0.41773 | 9.8979
9 | 0.029174 | 0.0073154 | -0.029173 | -0.0073151 | 4.7881e-07 | 2.9831e-07 | 0.044399 | 0.044399 | 0.044399 | 0.97779 | -0.4279 | 0.97777 | -0.42824 | 12.1974
10 | -0.095047 | -0.023934 | 0.095308 | 0.024101 | 0.00026097 | 0.00016659 | 0.1441 | 0.1441 | 0.1441 | 0.98172 | -0.35093 | 0.98467 | -0.29368 | 39.5892
11 | 0.011847 | 0.0029705 | -0.011842 | -0.0029679 | 4.824e-06 | 2.5901e-06 | 0.018019 | 0.01802 | 0.01802 | 0.97831 | -0.41773 | 0.97788 | -0.42628 | 4.9505
12 | 0.018373 | 0.0046083 | -0.018363 | -0.0046022 | 1.0103e-05 | 6.0339e-06 | 0.027962 | 0.027962 | 0.027962 | 0.97777 | -0.42824 | 0.97719 | -0.43979 | 7.6819
13 | 0.082232 | 0.020713 | -0.082215 | -0.020702 | 1.6203e-05 | 1.0334e-05 | 0.12374 | 0.12374 | 0.12374 | 0.98914 | -0.20767 | 0.98892 | -0.21179 | 33.9952
14 | -0.088426 | -0.022265 | 0.088696 | 0.022438 | 0.00027034 | 0.00017249 | 0.13306 | 0.13306 | 0.13306 | 0.98914 | -0.20767 | 0.99244 | -0.14393 | 36.5553
15 | 0.076551 | 0.019283 | -0.076483 | -0.01924 | 6.7285e-05 | 4.2889e-05 | 0.11522 | 0.11522 | 0.11522 | 0.98892 | -0.21179 | 0.98797 | -0.23019 | 31.6536
16 | -0.27371 | -0.069512 | 0.27428 | 0.06988 | 0.00057733 | 0.0003676 | 0.41071 | 0.41071 | 0.41071 | 0.99244 | -0.14393 | 0.99473 | -0.10021 | 28.2078
17 | 0.18501 | 0.047074 | -0.18474 | -0.046904 | 0.0002675 | 0.00017072 | 0.27764 | 0.27765 | 0.27765 | 0.99244 | -0.14393 | 0.99087 | -0.17398 | 38.1381
18 | 0.07132 | 0.017946 | -0.071252 | -0.017903 | 6.7343e-05 | 4.2901e-05 | 0.10744 | 0.10744 | 0.10744 | 0.98797 | -0.23019 | 0.98696 | -0.24997 | 29.517
19 | 0.12665 | 0.032159 | -0.12662 | -0.032142 | 2.6362e-05 | 1.6846e-05 | 0.1896 | 0.1896 | 0.1896 | 0.99473 | -0.10021 | 0.9945 | -0.10453 | 52.0883
20 | -0.40093 | -0.10204 | 0.40168 | 0.10252 | 0.00074647 | 0.00047659 | 0.60031 | 0.60031 | 0.60031 | 0.99473 | -0.10021 | 0.99675 | -0.061664 | 41.2299
21 | 0.065594 | 0.016571 | -0.065391 | -0.016442 | 0.00020267 | 0.00012899 | 0.09855 | 0.098551 | 0.098551 | 0.99087 | -0.17398 | 0.98753 | -0.23866 | 27.0744
22 | 0.11915 | 0.030333 | -0.11889 | -0.030169 | 0.00025635 | 0.00016379 | 0.17909 | 0.17909 | 0.17909 | 0.99087 | -0.17398 | 0.98854 | -0.2187 | 49.2019
23 | 0.061162 | 0.015374 | -0.061114 | -0.015343 | 4.8058e-05 | 3.0565e-05 | 0.092229 | 0.092229 | 0.092229 | 0.98696 | -0.24997 | 0.98611 | -0.26644 | 25.3377
24 | 0.12025 | 0.030546 | -0.11995 | -0.030352 | 0.00030419 | 0.00019436 | 0.18007 | 0.18007 | 0.18007 | 0.9945 | -0.10453 | 0.99175 | -0.15723 | 49.4707
25 | -0.41145 | -0.10497 | 0.41158 | 0.10505 | 0.00013214 | 8.4376e-05 | 0.6149 | 0.6149 | 0.6149 | 0.99675 | -0.061664 | 0.9971 | -0.055017 | 42.2321
26 | 0.060222 | 0.015146 | -0.060211 | -0.015139 | 1.1023e-05 | 7.0088e-06 | 0.090761 | 0.090761 | 0.090761 | 0.98753 | -0.23866 | 0.98733 | -0.24249 | 24.9344
27 | 0.11332 | 0.028773 | -0.11292 | -0.028519 | 0.00039675 | 0.00025346 | 0.17071 | 0.17071 | 0.17071 | 0.98854 | -0.2187 | 0.98477 | -0.29174 | 46.8977
28 | 0.046408 | 0.011657 | -0.046373 | -0.011636 | 3.4457e-05 | 2.1814e-05 | 0.070038 | 0.070038 | 0.070038 | 0.98611 | -0.26644 | 0.98531 | -0.28201 | 19.2411
29 | 0.11358 | 0.028757 | -0.11358 | -0.028756 | 1.5389e-06 | 9.8305e-07 | 0.17052 | 0.17052 | 0.17052 | 0.99175 | -0.15723 | 0.99174 | -0.15751 | 46.847
30 | -0.43249 | -0.11029 | 0.43364 | 0.11102 | 0.0011522 | 0.00073585 | 0.64609 | 0.64609 | 0.64609 | 0.9971 | -0.055017 | 1 | 0 | 44.3747
31 | 0.037933 | 0.0095496 | -0.037925 | -0.0095443 | 8.4832e-06 | 5.3408e-06 | 0.057185 | 0.057185 | 0.057185 | 0.98733 | -0.24249 | 0.98709 | -0.24717 | 15.7101
32 | 0.022277 | 0.0055894 | -0.022268 | -0.005584 | 8.808e-06 | 5.3708e-06 | 0.033576 | 0.033577 | 0.033577 | 0.98733 | -0.24249 | 0.98691 | -0.25079 | 9.2243
33 | 0.10727 | 0.027102 | -0.10726 | -0.027099 | 4.9597e-06 | 3.1678e-06 | 0.16217 | 0.16217 | 0.16217 | 0.98477 | -0.29174 | 0.98472 | -0.29271 | 44.5508
34 | 0.036739 | 0.0092147 | -0.036739 | -0.0092147 | 8.4458e-08 | 5.307e-08 | 0.05475 | 0.05475 | 0.05475 | 0.99856 | -0.027751 | 0.99855 | -0.027799 | 15.0411
35 | -0.046116 | -0.011565 | 0.046161 | 0.011594 | 4.5831e-05 | 2.8993e-05 | 0.068722 | 0.068722 | 0.068722 | 0.99856 | -0.027751 | 0.99964 | -0.0069211 | 18.8798
36 | 0.026766 | 0.0067151 | -0.026755 | -0.0067084 | 1.0794e-05 | 6.6714e-06 | 0.039888 | 0.039888 | 0.039888 | 0.99855 | -0.027799 | 0.99811 | -0.036261 | 10.9582
37 | -0.055711 | -0.013987 | 0.055729 | 0.013999 | 1.84e-05 | 1.1682e-05 | 0.082937 | 0.082937 | 0.082937 | 0.99964 | -0.0069211 | 1 | 0 | 22.7849
38 | 0.020523 | 0.0051467 | -0.020516 | -0.0051421 | 7.6228e-06 | 4.5949e-06 | 0.030598 | 0.030598 | 0.030598 | 0.99811 | -0.036261 | 0.99771 | -0.044057 | 8.406
39 | 0.013693 | 0.0034323 | -0.013692 | -0.0034316 | 1.2584e-06 | 7.0033e-07 | 0.020423 | 0.020423 | 0.020423 | 0.99771 | -0.044057 | 0.99761 | -0.045986 | 5.6107
40 | 0.0074606 | 0.0018698 | -0.0074606 | -0.0018698 | 2.8203e-08 | 1.012e-08 | 0.011128 | 0.011128 | 0.011128 | 0.99761 | -0.045986 | 0.9976 | -0.046065 | 3.0572
41 | 0.0017855 | 0.00044724 | -0.0017855 | -0.00044748 | 6.0894e-08 | -2.4132e-07 | 0.0027063 | 0.0027064 | 0.0027064 | 0.98169 | -0.35244 | 0.98165 | -0.35316 | 0.74353
42 | -0.0089634 | -0.0022462 | 0.0089637 | 0.0022464 | 3.9856e-07 | 1.8228e-07 | 0.013586 | 0.013586 | 0.013586 | 0.98169 | -0.35244 | 0.98174 | -0.35151 | 3.7325
43 | -0.015721 | -0.0039399 | 0.015724 | 0.0039416 | 2.9381e-06 | 1.7058e-06 | 0.023828 | 0.023828 | 0.023828 | 0.98174 | -0.35151 | 0.98194 | -0.34759 | 6.5462
44 | -0.015724 | -0.0039416 | 0.015727 | 0.0039431 | 2.6802e-06 | 1.5561e-06 | 0.023828 | 0.023828 | 0.023828 | 0.98194 | -0.34759 | 0.98212 | -0.34401 | 6.5462
45 | -0.01214 | -0.0030425 | 0.01214 | 0.0030429 | 8.1603e-07 | 4.3954e-07 | 0.018319 | 0.018319 | 0.018319 | 0.98605 | -0.26735 | 0.98613 | -0.26594 | 5.0328
46 | -0.033703 | -0.0084743 | 0.033719 | 0.0084842 | 1.5798e-05 | 9.9029e-06 | 0.050866 | 0.050866 | 0.050866 | 0.98613 | -0.26594 | 0.98663 | -0.25613 | 13.9741
47 | 0.01968 | 0.0049596 | -0.019606 | -0.0049155 | 7.3225e-05 | 4.4052e-05 | 0.029705 | 0.029706 | 0.029706 | 0.98613 | -0.26594 | 0.98212 | -0.34401 | 8.1611
48 | -0.023793 | -0.0059644 | 0.023793 | 0.0059644 | 6.5691e-08 | 4.0343e-08 | 0.036082 | 0.036082 | 0.036082 | 0.98125 | -0.36098 | 0.98126 | -0.36093 | 9.9125
49 | 0.011928 | 0.0029907 | -0.011924 | -0.0029883 | 4.3388e-06 | 2.3303e-06 | 0.018089 | 0.018089 | 0.018089 | 0.98125 | -0.36098 | 0.98086 | -0.36862 | 4.9694
50 | -0.030968 | -0.0077625 | 0.030977 | 0.0077682 | 9.1602e-06 | 5.7226e-06 | 0.046961 | 0.046961 | 0.046961 | 0.98126 | -0.36093 | 0.98157 | -0.35472 | 12.9013
51 | -0.033611 | -0.0084283 | 0.033634 | 0.0084429 | 2.3149e-05 | 1.4515e-05 | 0.050954 | 0.050954 | 0.050954 | 0.98157 | -0.35472 | 0.98231 | -0.34028 | 13.9983
52 | -0.045427 | -0.011398 | 0.045427 | 0.011399 | 1.9336e-07 | 1.2237e-07 | 0.068818 | 0.068818 | 0.068818 | 0.98231 | -0.34028 | 0.98232 | -0.34019 | 18.9061
53 | -0.053043 | -0.013307 | 0.053128 | 0.013362 | 8.5684e-05 | 5.4389e-05 | 0.080354 | 0.080354 | 0.080354 | 0.98232 | -0.34019 | 0.98405 | -0.30637 | 22.0753
54 | -0.10182 | -0.025732 | 0.10182 | 0.025735 | 4.7518e-06 | 3.0344e-06 | 0.15394 | 0.15394 | 0.15394 | 0.98467 | -0.29368 | 0.98472 | -0.29271 | 42.2914
55 | -0.066955 | -0.016827 | 0.067161 | 0.016958 | 0.00020612 | 0.00013123 | 0.10126 | 0.10126 | 0.10126 | 0.98405 | -0.30637 | 0.98736 | -0.2421 | 27.8191
56 | -0.093047 | -0.023453 | 0.093257 | 0.023587 | 0.00021002 | 0.00013405 | 0.14028 | 0.14028 | 0.14028 | 0.98736 | -0.2421 | 0.98979 | -0.19504 | 38.5372
57 | 0.025886 | 0.0064946 | -0.025869 | -0.0064844 | 1.6493e-05 | 1.0186e-05 | 0.039014 | 0.039014 | 0.039014 | 0.98736 | -0.2421 | 0.98667 | -0.25547 | 10.7182
58 | -0.10702 | -0.027037 | 0.10722 | 0.02716 | 0.00019288 | 0.00012319 | 0.16097 | 0.16097 | 0.16097 | 0.98979 | -0.19504 | 0.99174 | -0.15751 | 44.2225
59 | 0.011129 | 0.0027903 | -0.011126 | -0.0027883 | 3.7289e-06 | 1.9359e-06 | 0.016785 | 0.016785 | 0.016785 | 0.98667 | -0.25547 | 0.98631 | -0.2625 | 4.6112
60 | -0.036016 | -0.00906 | 0.036031 | 0.0090696 | 1.5417e-05 | 9.6889e-06 | 0.05433 | 0.05433 | 0.05433 | 0.98663 | -0.25613 | 0.98709 | -0.24717 | 14.9259
61 | -0.0075277 | -0.0018866 | 0.0075282 | 0.0018868 | 5.1366e-07 | 1.9817e-07 | 0.011464 | 0.011464 | 0.011464 | 0.97711 | -0.44122 | 0.97719 | -0.43979 | 3.1493
62 | 0.037327 | 0.0093685 | -0.037309 | -0.0093569 | 1.835e-05 | 1.1548e-05 | 0.056376 | 0.056376 | 0.056376 | 0.98531 | -0.28201 | 0.98478 | -0.29232 | 15.488
63 | 0.025938 | 0.0065071 | -0.025921 | -0.006497 | 1.6347e-05 | 1.0101e-05 | 0.039195 | 0.039195 | 0.039195 | 0.98478 | -0.29232 | 0.9841 | -0.30555 | 10.7678
64 | 0.016834 | 0.0042194 | -0.016832 | -0.0042186 | 1.3475e-06 | 7.9194e-07 | 0.025453 | 0.025453 | 0.025453 | 0.9841 | -0.30555 | 0.98402 | -0.30723 | 6.9927
65 | -0.014088 | -0.003531 | 0.014091 | 0.0035326 | 2.7702e-06 | 1.5641e-06 | 0.021253 | 0.021253 | 0.021253 | 0.98639 | -0.26082 | 0.9866 | -0.25669 | 5.8387
66 | 0.0089145 | 0.0022343 | -0.0089138 | -0.002234 | 7.0722e-07 | 3.1952e-07 | 0.013448 | 0.013448 | 0.013448 | 0.98639 | -0.26082 | 0.98631 | -0.26249 | 3.6945
67 | -0.020306 | -0.0050902 | 0.020312 | 0.0050937 | 5.7166e-06 | 3.451e-06 | 0.030626 | 0.030626 | 0.030626 | 0.9866 | -0.25669 | 0.98691 | -0.25079 | 8.4139

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50127 | 0.12759

## res_load
| p_mw | q_mvar
0 | 0.0098425 | 0.0024668
1 | 0.0088919 | 0.0022285
2 | 0.0078413 | 0.0019652
3 | 0.0075268 | 0.0018864
4 | 0.0077977 | 0.0019543
5 | 0.01184 | 0.0029674
6 | 0.0108 | 0.0027068
7 | 0.011842 | 0.0029679
8 | 0.0061945 | 0.0015525
9 | 0.0056646 | 0.0014197
10 | 0.0051639 | 0.0012942
11 | 0.01009 | 0.0025288
12 | 0.006368 | 0.001596
13 | 0.0097751 | 0.0024499
14 | 0.0051694 | 0.0012956
15 | 0.005572 | 0.0013965
16 | 0.014706 | 0.0036858
17 | 0.0063653 | 0.0015953
18 | 0.020904 | 0.0052391
19 | 0.0056535 | 0.0014169
20 | 0.0093766 | 0.00235
21 | 0.0099734 | 0.0024996
22 | 0.0095493 | 0.0023933
23 | 0.0062315 | 0.0015618
24 | 0.010248 | 0.0025684
25 | 0.0068223 | 0.0017098
26 | 0.0062315 | 0.0015618
27 | 0.0071778 | 0.0017989
28 | 0.0017855 | 0.00044748
29 | 0.0067571 | 0.0016935
30 | 0.01214 | 0.0030425
31 | 0.0018827 | 0.00047184
32 | 0.0038799 | 0.0009724
33 | 0.011865 | 0.0029737
34 | 0.0071743 | 0.001798
35 | 0.011924 | 0.0029883
36 | 0.0026341 | 0.00066016
37 | 0.011793 | 0.0029556
38 | 0.0076155 | 0.0019086
39 | 0.006509 | 0.0016313
40 | 0.013826 | 0.0034652
41 | 0.013766 | 0.00345
42 | 0.01474 | 0.0036942
43 | 0.0063671 | 0.0015957
44 | 0.011126 | 0.0027883
45 | 0.0022972 | 0.00057574
46 | 0.0075277 | 0.0018866
47 | 0.010835 | 0.0027154
48 | 0.0090462 | 0.0022672
49 | 0.011371 | 0.0028498
50 | 0.0090878 | 0.0022776
51 | 0.016832 | 0.0042186
52 | 0.0054425 | 0.001364
53 | 0.0051737 | 0.0012967
54 | 0.0062151 | 0.0015576
55 | 0.0089138 | 0.002234
56 | 0.0019567 | 0.00049039
57 | 0.0018938 | 0.00047462
58 | 0.0074606 | 0.0018698

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1