## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2550-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2550-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2550-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2550-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2550-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2550-2_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2550-2_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2550-2_0_6_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_2550-2_0_6_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2550-2_0_6_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2550-2_0_6_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_2550-2_0_6_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_2550-2_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2550-2_0_6_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_2550-2_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2550-2_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2550-2_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2550-2_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2550-2_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2550-2_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2550-2_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2550-2_0_6_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_2550-2_0_6_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2550-2_0_6_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2550-2_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_2550-2_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2550-2_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2550-2_0_6_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_2550-2_0_6_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_2550-2_0_6_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_2550-2_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_2550-2_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_2550-2_0_6_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_2550-2_0_6_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2550-2_0_6_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_2550-2_0_6_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_2550-2_0_6_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2550-2_0_6_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_2550-2_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_2550-2_0_6_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2550-2_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_2550-2_0_6_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_2550-2_0_6_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2550-2_0_6_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2550-2_0_6_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_2550-2_0_6_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_2550-2_0_6_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2550-2_0_6_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2550-2_0_6_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_2550-2_0_6_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2550-2_0_6_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_2550-2_0_6_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_2550-2_0_6_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_2550-2_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_2550-2_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2550-2_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_2550-2_0_6_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_2550-2_0_6_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_2550-2_0_6_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_2550-2_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_2550-2_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_2550-2_0_6_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_2550-2_0_6_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_2550-2_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2550-2_0_6_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_2550-2_0_6_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_2550-2_0_6_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_2550-2_0_6_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_2550-2_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_2550-2_0_6_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_2550-2_0_6_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_2550-2_0_6_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_2550-2_0_6_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_2550-2_0_6_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_2550-2_0_6_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_2550-2_0_6_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_2550-2_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2550-2_0_6_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2550-2_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_2550-2_0_6_node_75 | 0.4 | n |  | TRUE
80 | bus_MV_292_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2550-2_0_6_load_0 | 0 | 0.0019489 | 0.00048845 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2550-2_0_6_load_1 | 1 | 0.0028994 | 0.00072665 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2550-2_0_6_load_2 | 2 | 0.0026388 | 0.00066136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2550-2_0_6_load_3 | 3 | 0.0063158 | 0.0015829 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2550-2_0_6_load_4 | 4 | 0.0023836 | 0.00059738 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2550-2_0_6_load_5 | 5 | 0.009937 | 0.0024904 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2550-2_0_6_load_14 | 8 | 0.0011686 | 0.00029289 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2550-2_0_6_load_60 | 10 | 0.0098322 | 0.0024642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2550-2_0_6_load_52 | 13 | 0.0071019 | 0.0017799 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2550-2_0_6_load_7 | 14 | 0.015084 | 0.0037804 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2550-2_0_6_load_8 | 15 | 0.0023092 | 0.00057875 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2550-2_0_6_load_9 | 16 | 0.012752 | 0.003196 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2550-2_0_6_load_15 | 19 | 0.0087755 | 0.0021993 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2550-2_0_6_load_48 | 22 | 0.037348 | 0.0093602 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2550-2_0_6_load_38 | 24 | 0.017278 | 0.0043302 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2550-2_0_6_load_56 | 27 | 0.038034 | 0.0095323 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2550-2_0_6_load_64 | 28 | 0.012361 | 0.0030979 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2550-2_0_6_load_53 | 30 | 0.0072145 | 0.0018081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2550-2_0_6_load_43 | 31 | 0.086582 | 0.021699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2550-2_0_6_load_49 | 36 | 0.026407 | 0.0066183 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2550-2_0_6_load_54 | 37 | 0.027324 | 0.006848 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2550-2_0_6_load_19 | 38 | 0.0017743 | 0.00044469 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2550-2_0_6_load_20 | 39 | 0.0051537 | 0.0012916 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2550-2_0_6_load_23 | 43 | 0.00041924 | 0.00010507 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2550-2_0_6_load_81 | 44 | 0.00046508 | 0.00011656 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2550-2_0_6_load_84 | 45 | 0.023733 | 0.0059482 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2550-2_0_6_load_25 | 47 | 0.0059258 | 0.0014851 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2550-2_0_6_load_78 | 48 | 0.034027 | 0.008528 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2550-2_0_6_load_67 | 51 | 0.0066846 | 0.0016753 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2550-2_0_6_load_65 | 52 | 0.0027709 | 0.00069446 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2550-2_0_6_load_57 | 54 | 0.022689 | 0.0056864 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2550-2_0_6_load_66 | 55 | 0.0053052 | 0.0013296 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2550-2_0_6_load_27 | 56 | 0.013803 | 0.0034593 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2550-2_0_6_load_28 | 57 | 0.011906 | 0.0029839 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2550-2_0_6_load_83 | 64 | 0.0035138 | 0.00088065 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2550-2_0_6_load_79 | 65 | 0.002435 | 0.00061026 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2550-2_0_6_load_80 | 66 | 0.0029424 | 0.00073745 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2550-2_0_6_load_77 | 67 | 0.0091453 | 0.002292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2550-2_0_6_load_62 | 68 | 0.013985 | 0.003505 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2550-2_0_6_load_41 | 71 | 0.012541 | 0.0031431 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2550-2_0_6_load_44 | 72 | 0.013723 | 0.0034394 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2550-2_0_6_load_47 | 73 | 0.0047752 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2550-2_0_6_load_45 | 74 | 0.0049294 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2550-2_0_6_load_74 | 75 | 0.0092955 | 0.0023297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2550-2_0_6_load_69 | 77 | 0.009152 | 0.0022937 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2550-2_0_6_load_72 | 78 | 0.0027531 | 0.00068999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2550-2_0_6_load_75 | 79 | 0.0026814 | 0.00067202 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2550-2_0_6_line_0 |  | 0 | 1 | 0.0011474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2550-2_0_6_line_1 |  | 0 | 2 | 0.013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2550-2_0_6_line_2 |  | 1 | 3 | 0.034657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2550-2_0_6_line_3 |  | 2 | 4 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2550-2_0_6_line_4 |  | 3 | 5 | 0.030398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2550-2_0_6_line_5 |  | 4 | 6 | 0.020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2550-2_0_6_line_6 |  | 5 | 7 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2550-2_0_6_line_7 |  | 6 | 8 | 0.0046205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2550-2_0_6_line_8 |  | 6 | 9 | 0.018353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2550-2_0_6_line_9 |  | 7 | 10 | 0.0064715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2550-2_0_6_line_10 |  | 7 | 11 | 0.00998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2550-2_0_6_line_11 |  | 8 | 12 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2550-2_0_6_line_12 |  | 9 | 13 | 0.0079766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2550-2_0_6_line_13 |  | 11 | 75 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2550-2_0_6_line_14 |  | 12 | 18 | 0.034978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2550-2_0_6_line_15 |  | 12 | 15 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2550-2_0_6_line_16 |  | 13 | 29 | 0.019308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2550-2_0_6_line_17 |  | 14 | 15 | 0.023399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2550-2_0_6_line_18 |  | 14 | 16 | 0.026167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2550-2_0_6_line_19 |  | 16 | 17 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2550-2_0_6_line_20 |  | 17 | 19 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2550-2_0_6_line_21 |  | 17 | 20 | 0.021052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2550-2_0_6_line_22 |  | 18 | 21 | 0.0376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2550-2_0_6_line_23 |  | 18 | 22 | 0.0090334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2550-2_0_6_line_24 |  | 19 | 23 | 0.045193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2550-2_0_6_line_25 |  | 20 | 24 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2550-2_0_6_line_26 |  | 21 | 28 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2550-2_0_6_line_27 |  | 22 | 26 | 0.055824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2550-2_0_6_line_28 |  | 23 | 31 | 0.023442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2550-2_0_6_line_29 |  | 23 | 32 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2550-2_0_6_line_30 |  | 24 | 33 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2550-2_0_6_line_31 |  | 25 | 26 | 0.044043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2550-2_0_6_line_32 |  | 25 | 27 | 0.03118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2550-2_0_6_line_33 |  | 27 | 35 | 0.038097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2550-2_0_6_line_34 |  | 29 | 30 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2550-2_0_6_line_35 |  | 32 | 45 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2550-2_0_6_line_36 |  | 33 | 71 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2550-2_0_6_line_37 |  | 34 | 35 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2550-2_0_6_line_38 |  | 34 | 36 | 0.03759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2550-2_0_6_line_39 |  | 35 | 37 | 0.02888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2550-2_0_6_line_40 |  | 37 | 53 | 0.029721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2550-2_0_6_line_41 |  | 38 | 39 | 0.032829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2550-2_0_6_line_42 |  | 38 | 40 | 0.027425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2550-2_0_6_line_43 |  | 38 | 41 | 0.027991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2550-2_0_6_line_44 |  | 39 | 42 | 0.035702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2550-2_0_6_line_45 |  | 40 | 43 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2550-2_0_6_line_46 |  | 41 | 44 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2550-2_0_6_line_47 |  | 42 | 47 | 0.020769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2550-2_0_6_line_48 |  | 43 | 50 | 0.022736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2550-2_0_6_line_49 |  | 45 | 46 | 0.056098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2550-2_0_6_line_50 |  | 46 | 51 | 0.031376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2550-2_0_6_line_51 |  | 46 | 52 | 0.020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2550-2_0_6_line_52 |  | 48 | 49 | 0.082142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2550-2_0_6_line_53 |  | 49 | 54 | 0.031985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2550-2_0_6_line_54 |  | 50 | 55 | 0.023302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2550-2_0_6_line_55 |  | 52 | 55 | 0.00087923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2550-2_0_6_line_56 |  | 53 | 54 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2550-2_0_6_line_57 |  | 56 | 57 | 0.0012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2550-2_0_6_line_58 |  | 57 | 58 | 0.016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2550-2_0_6_line_59 |  | 58 | 59 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2550-2_0_6_line_60 |  | 58 | 60 | 0.007946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2550-2_0_6_line_61 |  | 59 | 65 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2550-2_0_6_line_62 |  | 59 | 66 | 0.0033395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2550-2_0_6_line_63 |  | 60 | 67 | 0.017491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2550-2_0_6_line_64 |  | 61 | 62 | 0.010421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2550-2_0_6_line_65 |  | 61 | 63 | 0.039801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2550-2_0_6_line_66 |  | 62 | 64 | 0.015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2550-2_0_6_line_67 |  | 63 | 68 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2550-2_0_6_line_68 |  | 64 | 66 | 0.022965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2550-2_0_6_line_69 |  | 65 | 69 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2550-2_0_6_line_70 |  | 67 | 70 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2550-2_0_6_line_71 |  | 69 | 79 | 0.0067185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2550-2_0_6_line_72 |  | 70 | 76 | 0.00669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2550-2_0_6_line_73 |  | 71 | 72 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2550-2_0_6_line_74 |  | 72 | 73 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2550-2_0_6_line_75 |  | 73 | 74 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2550-2_0_6_line_76 |  | 75 | 76 | 0.018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2550-2_0_6_line_77 |  | 76 | 77 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2550-2_0_6_line_78 |  | 78 | 79 | 0.024776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2550-2_0_6_trafo_18 | 0.63 MVA 20/0.4 kV | 80 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2605751.7509 | 1229288.0175 | 2605752.4205 | 1229287.0858 | 2605752.4205 | 1229287.0858
1 | 2605751.7509 | 1229288.0175 | 2605743.9406 | 1229298.886
2 | 2605721.8085 | 1229275.9961 | 2605736.3194 | 1229275.03 | 2605752.4205 | 1229287.0858
3 | 2605730.6046 | 1229327.0741 | 2605734.7998 | 1229311.6058 | 2605743.9406 | 1229298.886
4 | 2605721.8085 | 1229275.9961 | 2605696.4786 | 1229277.6826 | 2605696.5183 | 1229275.7259 | 2605693.4702 | 1229275.9323
5 | 2605725.1986 | 1229347.0065 | 2605730.6046 | 1229327.0741
6 | 2605671.5789 | 1229277.4145 | 2605693.4702 | 1229275.9323
7 | 2605725.1986 | 1229347.0065 | 2605724.8 | 1229351.6098
8 | 2605725.1986 | 1229347.0065 | 2605706.9828 | 1229344.3654
9 | 2605671.5789 | 1229277.4145 | 2605672.0579 | 1229283.8682
10 | 2605671.5789 | 1229277.4145 | 2605670.8384 | 1229267.4634
11 | 2605723.9348 | 1229361.6029 | 2605724.8 | 1229351.6098
12 | 2605706.9828 | 1229344.3654 | 2605699.0888 | 1229343.2209
13 | 2605670.8384 | 1229267.4634 | 2605653.6824 | 1229268.7716
14 | 2605723.9348 | 1229361.6029 | 2605720.6763 | 1229362.8561 | 2605694.495 | 1229380.4751
15 | 2605723.9348 | 1229361.6029 | 2605722.6834 | 1229376.0388
16 | 2605679.8652 | 1229342.6944 | 2605692.0087 | 1229342.1944 | 2605699.0888 | 1229343.2209
17 | 2605720.6628 | 1229399.3501 | 2605722.6834 | 1229376.0388
18 | 2605720.6628 | 1229399.3501 | 2605718.403 | 1229425.4197
19 | 2605716.5514 | 1229446.7798 | 2605718.403 | 1229425.4197
20 | 2605716.5514 | 1229446.7798 | 2605719.7812 | 1229474.7281
21 | 2605716.5514 | 1229446.7798 | 2605737.6633 | 1229446.5108
22 | 2605657.7357 | 1229377.4942 | 2605658.6762 | 1229376.2944 | 2605664.8189 | 1229377.0117 | 2605681.7706 | 1229378.5397 | 2605687.4663 | 1229379.4456 | 2605694.495 | 1229380.4751
23 | 2605694.495 | 1229380.4751 | 2605693.3813 | 1229389.4396
24 | 2605741.1757 | 1229496.6439 | 2605738.423 | 1229499.8543 | 2605734.6344 | 1229500.9847 | 2605726.7103 | 1229501.6665 | 2605724.0756 | 1229500.1742 | 2605722.3516 | 1229496.9707 | 2605719.7812 | 1229474.7281
25 | 2605737.6633 | 1229446.5108 | 2605751.6473 | 1229446.331
26 | 2605657.7357 | 1229377.4942 | 2605640.279 | 1229375.4247
27 | 2605680.2642 | 1229441.6535 | 2605687.7625 | 1229434.6675 | 2605693.3813 | 1229389.4396
28 | 2605741.1757 | 1229496.6439 | 2605749.9678 | 1229499.2205 | 2605764.1289 | 1229497.3794
29 | 2605741.1757 | 1229496.6439 | 2605742.4908 | 1229507.6962
30 | 2605774.6754 | 1229446.0348 | 2605751.6473 | 1229446.331
31 | 2605678.7695 | 1229468.3235 | 2605677.6493 | 1229451.2234 | 2605667.4901 | 1229452.3812 | 2605680.2642 | 1229441.6535
32 | 2605678.7695 | 1229468.3235 | 2605647.8262 | 1229472.1574
33 | 2605610.0182 | 1229476.8419 | 2605647.8262 | 1229472.1574
34 | 2605679.8652 | 1229342.6944 | 2605678.7502 | 1229326.6273
35 | 2605745.5594 | 1229530.6906 | 2605742.4908 | 1229507.6962
36 | 2605774.6754 | 1229446.0348 | 2605776.8984 | 1229429.762
37 | 2605601.9818 | 1229459.8799 | 2605607.6712 | 1229459.2292 | 2605610.0182 | 1229476.8419
38 | 2605601.9818 | 1229459.8799 | 2605602.1 | 1229454.9993 | 2605619.7039 | 1229439.2063 | 2605628.6966 | 1229440.2917
39 | 2605610.0182 | 1229476.8419 | 2605594.861 | 1229484.6101 | 2605596.396 | 1229496.3585
40 | 2605600.2463 | 1229525.8285 | 2605596.396 | 1229496.3585
41 | 2605669.0885 | 1229614.7511 | 2605671.5842 | 1229633.3814 | 2605685.4774 | 1229631.4077
42 | 2605712.6301 | 1229627.5501 | 2605685.4774 | 1229631.4077
43 | 2605685.4774 | 1229631.4077 | 2605684.6868 | 1229659.387
44 | 2605664.3481 | 1229579.3647 | 2605669.0885 | 1229614.7511
45 | 2605712.6301 | 1229627.5501 | 2605710.8145 | 1229614.1438
46 | 2605684.6868 | 1229659.387 | 2605671.3776 | 1229659.7747
47 | 2605664.3481 | 1229579.3647 | 2605684.9047 | 1229576.4007
48 | 2605707.7633 | 1229591.613 | 2605710.8145 | 1229614.1438
49 | 2605745.5594 | 1229530.6906 | 2605752.3615 | 1229586.3746
50 | 2605752.3615 | 1229586.3746 | 2605783.5234 | 1229582.7109
51 | 2605752.3615 | 1229586.3746 | 2605731.7797 | 1229588.7921
52 | 2605547.9272 | 1229532.9399 | 2605560.9337 | 1229614.0458
53 | 2605547.9272 | 1229532.9399 | 2605579.6208 | 1229528.632
54 | 2605707.7633 | 1229591.613 | 2605730.9064 | 1229588.8947
55 | 2605730.9064 | 1229588.8947 | 2605731.7797 | 1229588.7921
56 | 2605600.2463 | 1229525.8285 | 2605579.6208 | 1229528.632
57 | 2605624.4736 | 1229322.1177 | 2605624.5594 | 1229323.3294
58 | 2605623.2833 | 1229305.2968 | 2605624.4736 | 1229322.1177
59 | 2605594.7913 | 1229306.9824 | 2605623.2833 | 1229305.2968
60 | 2605631.2378 | 1229304.8151 | 2605623.2833 | 1229305.2968
61 | 2605594.7913 | 1229306.9824 | 2605597.2372 | 1229289.0407
62 | 2605594.7913 | 1229306.9824 | 2605594.3897 | 1229310.2977
63 | 2605631.2378 | 1229304.8151 | 2605629.8024 | 1229287.383
64 | 2605589.753 | 1229348.5691 | 2605592.7757 | 1229348.4162 | 2605591.8523 | 1229355.7531
65 | 2605586.8842 | 1229395.2386 | 2605591.8523 | 1229355.7531
66 | 2605589.753 | 1229348.5691 | 2605591.6276 | 1229333.0964
67 | 2605586.8842 | 1229395.2386 | 2605608.4615 | 1229397.8701
68 | 2605594.3897 | 1229310.2977 | 2605591.6276 | 1229333.0964
69 | 2605599.4058 | 1229273.1333 | 2605597.2372 | 1229289.0407
70 | 2605628.429 | 1229270.7033 | 2605629.8024 | 1229287.383
71 | 2605599.4058 | 1229273.1333 | 2605600.2098 | 1229266.463
72 | 2605628.429 | 1229270.7033 | 2605635.1184 | 1229270.187
73 | 2605776.8984 | 1229429.762 | 2605777.2539 | 1229427.1594 | 2605784.0138 | 1229416.2817 | 2605785.1411 | 1229407.7712
74 | 2605787.9511 | 1229386.5567 | 2605785.1411 | 1229407.7712
75 | 2605810.2618 | 1229384.5326 | 2605804.955 | 1229381.0587 | 2605797.6722 | 1229384.2758 | 2605790.1103 | 1229386.292 | 2605787.9511 | 1229386.5567
76 | 2605635.1184 | 1229270.187 | 2605653.6824 | 1229268.7716
77 | 2605635.1184 | 1229270.187 | 2605633.8255 | 1229251.9415
78 | 2605600.2098 | 1229266.463 | 2605603.1745 | 1229241.8649

## bus_geodata
| x | y | coords
0 | 2605751.7509 | 1229288.0175
1 | 2605752.4205 | 1229287.0858
2 | 2605743.9406 | 1229298.886
3 | 2605721.8085 | 1229275.9961
4 | 2605730.6046 | 1229327.0741
5 | 2605693.4702 | 1229275.9323
6 | 2605725.1986 | 1229347.0065
7 | 2605671.5789 | 1229277.4145
8 | 2605724.8 | 1229351.6098
9 | 2605706.9828 | 1229344.3654
10 | 2605672.0579 | 1229283.8682
11 | 2605670.8384 | 1229267.4634
12 | 2605723.9348 | 1229361.6029
13 | 2605699.0888 | 1229343.2209
14 | 2605720.6628 | 1229399.3501
15 | 2605722.6834 | 1229376.0388
16 | 2605718.403 | 1229425.4197
17 | 2605716.5514 | 1229446.7798
18 | 2605694.495 | 1229380.4751
19 | 2605719.7812 | 1229474.7281
20 | 2605737.6633 | 1229446.5108
21 | 2605657.7357 | 1229377.4942
22 | 2605693.3813 | 1229389.4396
23 | 2605741.1757 | 1229496.6439
24 | 2605751.6473 | 1229446.331
25 | 2605678.7695 | 1229468.3235
26 | 2605680.2642 | 1229441.6535
27 | 2605647.8262 | 1229472.1574
28 | 2605640.279 | 1229375.4247
29 | 2605679.8652 | 1229342.6944
30 | 2605678.7502 | 1229326.6273
31 | 2605764.1289 | 1229497.3794
32 | 2605742.4908 | 1229507.6962
33 | 2605774.6754 | 1229446.0348
34 | 2605601.9818 | 1229459.8799
35 | 2605610.0182 | 1229476.8419
36 | 2605628.6966 | 1229440.2917
37 | 2605596.396 | 1229496.3585
38 | 2605685.4774 | 1229631.4077
39 | 2605669.0885 | 1229614.7511
40 | 2605712.6301 | 1229627.5501
41 | 2605684.6868 | 1229659.387
42 | 2605664.3481 | 1229579.3647
43 | 2605710.8145 | 1229614.1438
44 | 2605671.3776 | 1229659.7747
45 | 2605745.5594 | 1229530.6906
46 | 2605752.3615 | 1229586.3746
47 | 2605684.9047 | 1229576.4007
48 | 2605560.9337 | 1229614.0458
49 | 2605547.9272 | 1229532.9399
50 | 2605707.7633 | 1229591.613
51 | 2605783.5234 | 1229582.7109
52 | 2605731.7797 | 1229588.7921
53 | 2605600.2463 | 1229525.8285
54 | 2605579.6208 | 1229528.632
55 | 2605730.9064 | 1229588.8947
56 | 2605624.5594 | 1229323.3294
57 | 2605624.4736 | 1229322.1177
58 | 2605623.2833 | 1229305.2968
59 | 2605594.7913 | 1229306.9824
60 | 2605631.2378 | 1229304.8151
61 | 2605591.8523 | 1229355.7531
62 | 2605589.753 | 1229348.5691
63 | 2605586.8842 | 1229395.2386
64 | 2605591.6276 | 1229333.0964
65 | 2605597.2372 | 1229289.0407
66 | 2605594.3897 | 1229310.2977
67 | 2605629.8024 | 1229287.383
68 | 2605608.4615 | 1229397.8701
69 | 2605599.4058 | 1229273.1333
70 | 2605628.429 | 1229270.7033
71 | 2605776.8984 | 1229429.762
72 | 2605785.1411 | 1229407.7712
73 | 2605787.9511 | 1229386.5567
74 | 2605810.2618 | 1229384.5326
75 | 2605653.6824 | 1229268.7716
76 | 2605635.1184 | 1229270.187
77 | 2605633.8255 | 1229251.9415
78 | 2605603.1745 | 1229241.8649
79 | 2605600.2098 | 1229266.463
80 | 2605667.4901 | 1229452.3812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98491 | -0.28766 | 0.0019489 | 0.00048845
1 | 0.98487 | -0.28842 | 0.0028994 | 0.00072665
2 | 0.98538 | -0.27864 | 0.0026388 | 0.00066136
3 | 0.98313 | -0.32202 | 0.0063158 | 0.0015829
4 | 0.98651 | -0.25682 | 0.0023836 | 0.00059738
5 | 0.98026 | -0.37776 | 0.009937 | 0.0024904
6 | 0.98726 | -0.24234 | 0 | 0
7 | 0.97839 | -0.41423 | 0 | 0
8 | 0.98745 | -0.23871 | 0.0011686 | 0.00029289
9 | 0.98702 | -0.24704 | 0 | 0
10 | 0.97833 | -0.41539 | 0.0098322 | 0.0024642
11 | 0.97763 | -0.42908 | 0 | 0
12 | 0.98786 | -0.23076 | 0 | 0
13 | 0.98691 | -0.24908 | 0.0071019 | 0.0017799
14 | 0.98517 | -0.28268 | 0.015084 | 0.0037804
15 | 0.98683 | -0.2507 | 0.0023092 | 0.00057875
16 | 0.98344 | -0.3162 | 0.012752 | 0.003196
17 | 0.98211 | -0.34211 | 0 | 0
18 | 0.99181 | -0.15524 | 0 | 0
19 | 0.98082 | -0.36715 | 0.0087755 | 0.0021993
20 | 0.98107 | -0.36239 | 0 | 0
21 | 0.99138 | -0.16348 | 0 | 0
22 | 0.99286 | -0.13517 | 0.037348 | 0.0093602
23 | 0.97791 | -0.42416 | 0 | 0
24 | 0.98038 | -0.37588 | 0.017278 | 0.0043302
25 | 0.998 | -0.038073 | 0 | 0
26 | 1 | 0 | -0.57336 | -0.14694
27 | 0.99588 | -0.07867 | 0.038034 | 0.0095323
28 | 0.99118 | -0.16733 | 0.012361 | 0.0030979
29 | 0.98679 | -0.25157 | 0 | 0
30 | 0.98668 | -0.25365 | 0.0072145 | 0.0018081
31 | 0.97602 | -0.46122 | 0.086582 | 0.021699
32 | 0.97737 | -0.43476 | 0 | 0
33 | 0.97961 | -0.39092 | 0 | 0
34 | 0.99145 | -0.16391 | 0 | 0
35 | 0.99201 | -0.15291 | 0 | 0
36 | 0.99054 | -0.18152 | 0.026407 | 0.0066183
37 | 0.98978 | -0.196 | 0.027324 | 0.006848
38 | 0.97322 | -0.51646 | 0.0017743 | 0.00044469
39 | 0.97288 | -0.52316 | 0.0051537 | 0.0012916
40 | 0.97356 | -0.50974 | 0 | 0
41 | 0.9732 | -0.5167 | 0 | 0
42 | 0.97268 | -0.52706 | 0 | 0
43 | 0.97372 | -0.50643 | 0.00041924 | 0.00010507
44 | 0.9732 | -0.51682 | 0.00046508 | 0.00011656
45 | 0.97624 | -0.4569 | 0.023733 | 0.0059482
46 | 0.97475 | -0.48619 | 0 | 0
47 | 0.97257 | -0.52932 | 0.0059258 | 0.0014851
48 | 0.98356 | -0.31685 | 0.034027 | 0.008528
49 | 0.98614 | -0.26662 | 0 | 0
50 | 0.97402 | -0.50068 | 0 | 0
51 | 0.97456 | -0.49004 | 0.0066846 | 0.0016753
52 | 0.97433 | -0.49449 | 0.0027709 | 0.00069446
53 | 0.98823 | -0.22604 | 0 | 0
54 | 0.98714 | -0.24713 | 0.022689 | 0.0056864
55 | 0.97431 | -0.4948 | 0.0053052 | 0.0013296
56 | 0.97198 | -0.54015 | 0.013803 | 0.0034593
57 | 0.972 | -0.53984 | 0.011906 | 0.0029839
58 | 0.9724 | -0.53184 | 0 | 0
59 | 0.97165 | -0.54671 | 0 | 0
60 | 0.9728 | -0.52393 | 0 | 0
61 | 0.97087 | -0.56212 | 0 | 0
62 | 0.971 | -0.55942 | 0 | 0
63 | 0.97035 | -0.57242 | 0 | 0
64 | 0.97121 | -0.55539 | 0.0035138 | 0.00088065
65 | 0.97151 | -0.54934 | 0.002435 | 0.00061026
66 | 0.97158 | -0.54797 | 0.0029424 | 0.00073745
67 | 0.97368 | -0.50654 | 0.0091453 | 0.002292
68 | 0.97006 | -0.57805 | 0.013985 | 0.003505
69 | 0.97143 | -0.55095 | 0 | 0
70 | 0.97467 | -0.48713 | 0 | 0
71 | 0.97907 | -0.40165 | 0.012541 | 0.0031431
72 | 0.97855 | -0.41189 | 0.013723 | 0.0034394
73 | 0.97835 | -0.41567 | 0.0047752 | 0.0011968
74 | 0.97824 | -0.41785 | 0.0049294 | 0.0012354
75 | 0.97632 | -0.45472 | 0.0092955 | 0.0023297
76 | 0.97506 | -0.47937 | 0 | 0
77 | 0.97491 | -0.48244 | 0.009152 | 0.0022937
78 | 0.97134 | -0.55289 | 0.0027531 | 0.00068999
79 | 0.9714 | -0.55163 | 0.0026814 | 0.00067202
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11166 | 0.028392 | -0.11166 | -0.02839 | 4.0887e-06 | 2.573e-06 | 0.16884 | 0.16884 | 0.16884 | 0.98491 | -0.28766 | 0.98487 | -0.28842 | 15.4619
1 | -0.11361 | -0.028881 | 0.11366 | 0.028912 | 4.9371e-05 | 3.1086e-05 | 0.17179 | 0.17179 | 0.17179 | 0.98491 | -0.28766 | 0.98538 | -0.27864 | 15.7315
2 | 0.10876 | 0.027663 | -0.10858 | -0.027552 | 0.00017577 | 0.00011161 | 0.16446 | 0.16446 | 0.16446 | 0.98487 | -0.28842 | 0.98313 | -0.32202 | 22.5911
3 | -0.1163 | -0.029573 | 0.11642 | 0.02965 | 0.00012239 | 7.7117e-05 | 0.17577 | 0.17577 | 0.17577 | 0.98538 | -0.27864 | 0.98651 | -0.25682 | 16.0964
4 | 0.10226 | 0.025969 | -0.10199 | -0.025794 | 0.00027353 | 0.00017468 | 0.1549 | 0.1549 | 0.1549 | 0.98313 | -0.32202 | 0.98026 | -0.37776 | 42.5561
5 | -0.1188 | -0.030248 | 0.11889 | 0.0303 | 8.3056e-05 | 5.2364e-05 | 0.17937 | 0.17937 | 0.17937 | 0.98651 | -0.25682 | 0.98726 | -0.24234 | 16.4256
6 | 0.092054 | 0.023304 | -0.091893 | -0.023201 | 0.00016086 | 0.00010267 | 0.13982 | 0.13982 | 0.13982 | 0.98026 | -0.37776 | 0.97839 | -0.41423 | 38.4122
7 | -0.13321 | -0.033891 | 0.13323 | 0.033906 | 2.3324e-05 | 1.475e-05 | 0.20095 | 0.20095 | 0.20095 | 0.98726 | -0.24234 | 0.98745 | -0.23871 | 18.4025
8 | 0.014323 | 0.0035912 | -0.014319 | -0.0035894 | 3.2074e-06 | 1.8181e-06 | 0.021588 | 0.021588 | 0.021588 | 0.98726 | -0.24234 | 0.98702 | -0.24704 | 5.9307
9 | 0.0098328 | 0.0024644 | -0.0098322 | -0.0024642 | 5.4273e-07 | 2.6608e-07 | 0.014955 | 0.014955 | 0.014955 | 0.97839 | -0.41423 | 0.97833 | -0.41539 | 4.1084
10 | 0.08206 | 0.020736 | -0.082002 | -0.020699 | 5.8351e-05 | 3.7219e-05 | 0.12487 | 0.12487 | 0.12487 | 0.97839 | -0.41423 | 0.97763 | -0.42908 | 34.3038
11 | -0.1344 | -0.034199 | 0.13445 | 0.034232 | 5.1524e-05 | 3.259e-05 | 0.20272 | 0.20272 | 0.20272 | 0.98745 | -0.23871 | 0.98786 | -0.23076 | 18.5637
12 | 0.014319 | 0.0035894 | -0.014318 | -0.0035886 | 1.394e-06 | 7.9023e-07 | 0.021588 | 0.021588 | 0.021588 | 0.98702 | -0.24704 | 0.98691 | -0.24908 | 5.9307
13 | 0.082002 | 0.020699 | -0.081902 | -0.020635 | 0.0001006 | 6.4168e-05 | 0.12487 | 0.12487 | 0.12487 | 0.97763 | -0.42908 | 0.97632 | -0.45472 | 34.3038
14 | -0.36761 | -0.093505 | 0.36896 | 0.094363 | 0.001343 | 0.00085818 | 0.55423 | 0.55423 | 0.55423 | 0.98786 | -0.23076 | 0.99181 | -0.15524 | 50.7534
15 | 0.23316 | 0.059273 | -0.23294 | -0.059131 | 0.0002238 | 0.00014268 | 0.35151 | 0.35151 | 0.35151 | 0.98786 | -0.23076 | 0.98683 | -0.2507 | 32.1897
16 | 0.007216 | 0.0018087 | -0.0072152 | -0.0018084 | 8.5709e-07 | 3.0185e-07 | 0.01088 | 0.01088 | 0.01088 | 0.98691 | -0.24908 | 0.98679 | -0.25157 | 2.989
17 | -0.23028 | -0.058326 | 0.23063 | 0.058552 | 0.00035427 | 0.00022584 | 0.34803 | 0.34803 | 0.34803 | 0.98517 | -0.28268 | 0.98683 | -0.2507 | 31.8709
18 | 0.21519 | 0.054546 | -0.21485 | -0.054325 | 0.00034602 | 0.00022045 | 0.32525 | 0.32525 | 0.32525 | 0.98517 | -0.28268 | 0.98344 | -0.3162 | 29.7846
19 | 0.20209 | 0.051129 | -0.20184 | -0.050969 | 0.00025087 | 0.00015974 | 0.30595 | 0.30595 | 0.30595 | 0.98344 | -0.3162 | 0.98211 | -0.34211 | 28.0176
20 | 0.14845 | 0.037534 | -0.14827 | -0.037421 | 0.0001781 | 0.00011292 | 0.22504 | 0.22504 | 0.22504 | 0.98211 | -0.34211 | 0.98082 | -0.36715 | 20.6081
21 | 0.053391 | 0.013435 | -0.053339 | -0.013402 | 5.1684e-05 | 3.2812e-05 | 0.080913 | 0.080913 | 0.080913 | 0.98211 | -0.34211 | 0.98107 | -0.36239 | 22.2288
22 | 0.012368 | 0.0031017 | -0.012363 | -0.0030991 | 4.8551e-06 | 2.6223e-06 | 0.018556 | 0.018556 | 0.018556 | 0.99181 | -0.15524 | 0.99138 | -0.16348 | 5.0979
23 | -0.38133 | -0.097465 | 0.3817 | 0.097701 | 0.00037046 | 0.00023675 | 0.57278 | 0.57278 | 0.57278 | 0.99181 | -0.15524 | 0.99286 | -0.13517 | 52.4526
24 | 0.1395 | 0.035222 | -0.13912 | -0.03498 | 0.00037986 | 0.00024197 | 0.21173 | 0.21173 | 0.21173 | 0.98082 | -0.36715 | 0.97791 | -0.42416 | 29.0835
25 | 0.053339 | 0.013402 | -0.053305 | -0.013381 | 3.4335e-05 | 2.1798e-05 | 0.080913 | 0.080913 | 0.080913 | 0.98107 | -0.36239 | 0.98038 | -0.37588 | 22.2288
26 | 0.012363 | 0.0030991 | -0.012361 | -0.0030979 | 2.2699e-06 | 1.2261e-06 | 0.018556 | 0.018556 | 0.018556 | 0.99138 | -0.16348 | 0.99118 | -0.16733 | 5.0979
27 | -0.41904 | -0.10706 | 0.4218 | 0.10883 | 0.0027586 | 0.0017633 | 0.62876 | 0.62876 | 0.62876 | 0.99286 | -0.13517 | 1 | 0 | 57.5784
28 | 0.086735 | 0.021797 | -0.086582 | -0.021699 | 0.00015317 | 9.7736e-05 | 0.132 | 0.132 | 0.132 | 0.97791 | -0.42416 | 0.97602 | -0.46122 | 36.2637
29 | 0.052383 | 0.013183 | -0.052357 | -0.013166 | 2.6531e-05 | 1.684e-05 | 0.079728 | 0.079728 | 0.079728 | 0.97791 | -0.42416 | 0.97737 | -0.43476 | 21.9032
30 | 0.036027 | 0.0090504 | -0.036001 | -0.0090342 | 2.583e-05 | 1.6241e-05 | 0.054689 | 0.054689 | 0.054689 | 0.98038 | -0.37588 | 0.97961 | -0.39092 | 15.0245
31 | -0.14963 | -0.037944 | 0.14991 | 0.038118 | 0.00027441 | 0.00017389 | 0.22326 | 0.22326 | 0.22326 | 0.998 | -0.038073 | 1 | 0 | 20.4448
32 | 0.14963 | 0.037944 | -0.14934 | -0.037759 | 0.0002914 | 0.00018568 | 0.22326 | 0.22326 | 0.22326 | 0.998 | -0.038073 | 0.99588 | -0.07867 | 30.6672
33 | 0.11131 | 0.028226 | -0.11091 | -0.027974 | 0.0003957 | 0.00025276 | 0.16643 | 0.16643 | 0.16643 | 0.99588 | -0.07867 | 0.99201 | -0.15291 | 45.7218
34 | 0.0072152 | 0.0018084 | -0.0072145 | -0.0018081 | 7.1496e-07 | 2.5185e-07 | 0.01088 | 0.01088 | 0.01088 | 0.98679 | -0.25157 | 0.98668 | -0.25365 | 2.9891
35 | 0.052357 | 0.013166 | -0.052301 | -0.013131 | 5.5304e-05 | 3.5104e-05 | 0.079728 | 0.079728 | 0.079728 | 0.97737 | -0.43476 | 0.97624 | -0.4569 | 21.9033
36 | 0.036001 | 0.0090342 | -0.035983 | -0.0090226 | 1.8421e-05 | 1.1583e-05 | 0.054689 | 0.054689 | 0.054689 | 0.97961 | -0.39092 | 0.97907 | -0.40165 | 15.0245
37 | -0.02643 | -0.006632 | 0.026443 | 0.0066406 | 1.3865e-05 | 8.5705e-06 | 0.03967 | 0.03967 | 0.03967 | 0.99145 | -0.16391 | 0.99201 | -0.15291 | 10.8983
38 | 0.02643 | 0.006632 | -0.026407 | -0.0066183 | 2.2183e-05 | 1.3713e-05 | 0.03967 | 0.03967 | 0.03967 | 0.99145 | -0.16391 | 0.99054 | -0.18152 | 10.8983
39 | 0.084467 | 0.021333 | -0.084293 | -0.021222 | 0.00017401 | 0.000111 | 0.12676 | 0.12676 | 0.12676 | 0.99201 | -0.15291 | 0.98978 | -0.196 | 34.8236
40 | 0.056969 | 0.014374 | -0.056887 | -0.014322 | 8.1817e-05 | 5.1982e-05 | 0.08568 | 0.08568 | 0.08568 | 0.98978 | -0.196 | 0.98823 | -0.22604 | 23.5384
41 | 0.011085 | 0.002779 | -0.011081 | -0.0027772 | 3.5364e-06 | 1.8555e-06 | 0.016948 | 0.016949 | 0.016949 | 0.97322 | -0.51646 | 0.97288 | -0.52316 | 4.6562
42 | -0.013324 | -0.0033398 | 0.013328 | 0.0033422 | 4.2683e-06 | 2.3908e-06 | 0.020372 | 0.020372 | 0.020372 | 0.97322 | -0.51646 | 0.97356 | -0.50974 | 5.5968
43 | 0.00046508 | 0.00011605 | -0.00046508 | -0.0001164 | 5.3059e-09 | -3.4441e-07 | 0.00071092 | 0.00071104 | 0.00071104 | 0.97322 | -0.51646 | 0.9732 | -0.5167 | 0.19534
44 | 0.0059275 | 0.0014855 | -0.0059264 | -0.0014853 | 1.1005e-06 | 2.6106e-07 | 0.0090661 | 0.0090663 | 0.0090663 | 0.97288 | -0.52316 | 0.97268 | -0.52706 | 2.4907
45 | -0.013328 | -0.0033422 | 0.01333 | 0.0033433 | 2.1055e-06 | 1.1793e-06 | 0.020372 | 0.020372 | 0.020372 | 0.97356 | -0.50974 | 0.97372 | -0.50643 | 5.5967
46 | 0.00046508 | 0.0001164 | -0.00046508 | -0.00011656 | 2.5246e-09 | -1.6383e-07 | 0.00071104 | 0.0007111 | 0.0007111 | 0.9732 | -0.5167 | 0.9732 | -0.51682 | 0.19536
47 | 0.0059264 | 0.0014853 | -0.0059258 | -0.0014851 | 6.4019e-07 | 1.5196e-07 | 0.0090663 | 0.0090664 | 0.0090664 | 0.97268 | -0.52706 | 0.97257 | -0.52932 | 2.4908
48 | -0.01375 | -0.0034484 | 0.013753 | 0.0034505 | 3.7646e-06 | 2.1264e-06 | 0.021013 | 0.021013 | 0.021013 | 0.97372 | -0.50643 | 0.97402 | -0.50068 | 5.7727
49 | 0.028568 | 0.0071828 | -0.028528 | -0.0071579 | 3.9903e-05 | 2.4838e-05 | 0.043553 | 0.043553 | 0.043553 | 0.97624 | -0.4569 | 0.97475 | -0.48619 | 11.9651
50 | 0.0066858 | 0.0016757 | -0.0066846 | -0.0016753 | 1.2257e-06 | 3.934e-07 | 0.010206 | 0.010206 | 0.010206 | 0.97475 | -0.48619 | 0.97456 | -0.49004 | 2.804
51 | 0.021842 | 0.0054822 | -0.021834 | -0.0054769 | 8.6416e-06 | 5.2724e-06 | 0.033347 | 0.033347 | 0.033347 | 0.97475 | -0.48619 | 0.97433 | -0.49449 | 9.1612
52 | -0.034027 | -0.008528 | 0.034109 | 0.0085792 | 8.1632e-05 | 5.1199e-05 | 0.051479 | 0.051479 | 0.051479 | 0.98356 | -0.31685 | 0.98614 | -0.26662 | 14.1427
53 | -0.034109 | -0.0085792 | 0.034141 | 0.0085992 | 3.1786e-05 | 1.9935e-05 | 0.051479 | 0.051479 | 0.051479 | 0.98614 | -0.26662 | 0.98714 | -0.24713 | 14.1426
54 | -0.013753 | -0.0034505 | 0.013757 | 0.0034527 | 3.8582e-06 | 2.1792e-06 | 0.021013 | 0.021013 | 0.021013 | 0.97402 | -0.50068 | 0.97431 | -0.4948 | 5.7727
55 | 0.019063 | 0.0047825 | -0.019063 | -0.0047823 | 2.7949e-07 | 1.6792e-07 | 0.029115 | 0.029115 | 0.029115 | 0.97433 | -0.49449 | 0.97431 | -0.4948 | 7.9986
56 | 0.056887 | 0.014322 | -0.05683 | -0.014286 | 5.7302e-05 | 3.6407e-05 | 0.08568 | 0.08568 | 0.08568 | 0.98823 | -0.22604 | 0.98714 | -0.24713 | 23.5385
57 | -0.013803 | -0.0034593 | 0.013803 | 0.0034595 | 2.0341e-07 | 1.1512e-07 | 0.021131 | 0.021131 | 0.021131 | 0.97198 | -0.54015 | 0.972 | -0.53984 | 5.8052
58 | -0.025709 | -0.0064434 | 0.025719 | 0.0064494 | 9.7955e-06 | 6.06e-06 | 0.039358 | 0.039358 | 0.039358 | 0.972 | -0.53984 | 0.9724 | -0.53184 | 10.8126
59 | 0.028355 | 0.0071212 | -0.028335 | -0.0071087 | 2.0097e-05 | 1.251e-05 | 0.043396 | 0.043396 | 0.043396 | 0.9724 | -0.53184 | 0.97165 | -0.54671 | 11.922
60 | -0.054074 | -0.013571 | 0.054095 | 0.013584 | 2.0406e-05 | 1.2961e-05 | 0.082754 | 0.082754 | 0.082754 | 0.9724 | -0.53184 | 0.9728 | -0.52393 | 22.7346
61 | 0.0078712 | 0.0019726 | -0.0078702 | -0.0019722 | 9.8668e-07 | 4.0723e-07 | 0.012054 | 0.012054 | 0.012054 | 0.97165 | -0.54671 | 0.97151 | -0.54934 | 3.3116
62 | 0.020464 | 0.0051361 | -0.020463 | -0.0051354 | 1.2302e-06 | 7.4595e-07 | 0.031342 | 0.031342 | 0.031342 | 0.97165 | -0.54671 | 0.97158 | -0.54797 | 8.6104
63 | -0.054095 | -0.013584 | 0.05414 | 0.013612 | 4.4918e-05 | 2.853e-05 | 0.082754 | 0.082754 | 0.082754 | 0.9728 | -0.52393 | 0.97368 | -0.50654 | 22.7346
64 | -0.013996 | -0.003511 | 0.013998 | 0.0035121 | 1.7984e-06 | 1.0221e-06 | 0.021452 | 0.021452 | 0.021452 | 0.97087 | -0.56212 | 0.971 | -0.55942 | 5.8934
65 | 0.013996 | 0.003511 | -0.013989 | -0.0035071 | 6.8686e-06 | 3.904e-06 | 0.021452 | 0.021452 | 0.021452 | 0.97087 | -0.56212 | 0.97035 | -0.57242 | 5.8935
66 | -0.013998 | -0.0035121 | 0.014 | 0.0035136 | 2.6896e-06 | 1.5285e-06 | 0.021452 | 0.021452 | 0.021452 | 0.971 | -0.55942 | 0.97121 | -0.55539 | 5.8934
67 | 0.013989 | 0.0035071 | -0.013985 | -0.003505 | 3.7513e-06 | 2.1324e-06 | 0.021452 | 0.021452 | 0.021452 | 0.97035 | -0.57242 | 0.97006 | -0.57805 | 5.8935
68 | -0.017514 | -0.0043942 | 0.01752 | 0.0043979 | 6.2019e-06 | 3.6849e-06 | 0.026836 | 0.026835 | 0.026836 | 0.97121 | -0.55539 | 0.97158 | -0.54797 | 7.3724
69 | 0.0054353 | 0.0013619 | -0.0054349 | -0.0013618 | 4.1724e-07 | 6.8253e-08 | 0.0083248 | 0.0083249 | 0.0083249 | 0.97151 | -0.54934 | 0.97143 | -0.55095 | 2.2871
70 | -0.063285 | -0.015904 | 0.063344 | 0.015942 | 5.8723e-05 | 3.7374e-05 | 0.09673 | 0.09673 | 0.09673 | 0.97368 | -0.50654 | 0.97467 | -0.48713 | 26.5742
71 | 0.0054349 | 0.0013618 | -0.0054347 | -0.0013618 | 1.7461e-07 | 2.8573e-08 | 0.0083249 | 0.0083249 | 0.0083249 | 0.97143 | -0.55095 | 0.9714 | -0.55163 | 2.2871
72 | -0.063344 | -0.015942 | 0.063367 | 0.015957 | 2.3474e-05 | 1.494e-05 | 0.09673 | 0.09673 | 0.09673 | 0.97467 | -0.48713 | 0.97506 | -0.47937 | 26.5741
73 | 0.023442 | 0.0058795 | -0.02343 | -0.0058725 | 1.1434e-05 | 7.0157e-06 | 0.035629 | 0.035629 | 0.035629 | 0.97907 | -0.40165 | 0.97855 | -0.41189 | 9.7882
74 | 0.0097068 | 0.0024331 | -0.0097051 | -0.0024322 | 1.7485e-06 | 8.5024e-07 | 0.014761 | 0.014761 | 0.014761 | 0.97855 | -0.41189 | 0.97835 | -0.41567 | 4.0552
75 | 0.0049299 | 0.0012354 | -0.0049294 | -0.0012354 | 5.1244e-07 | 2.2775e-08 | 0.007498 | 0.0074981 | 0.0074981 | 0.97835 | -0.41567 | 0.97824 | -0.41785 | 2.0599
76 | 0.072606 | 0.018305 | -0.07252 | -0.018251 | 8.5555e-05 | 5.4523e-05 | 0.1107 | 0.1107 | 0.1107 | 0.97632 | -0.45472 | 0.97506 | -0.47937 | 30.4117
77 | 0.0091534 | 0.0022943 | -0.009152 | -0.0022937 | 1.3384e-06 | 6.2848e-07 | 0.013969 | 0.013969 | 0.013969 | 0.97506 | -0.47937 | 0.97491 | -0.48244 | 3.8376
78 | -0.0027531 | -0.00068999 | 0.0027533 | 0.00068979 | 1.6526e-07 | -2.0093e-07 | 0.0042176 | 0.0042175 | 0.0042176 | 0.97134 | -0.55289 | 0.9714 | -0.55163 | 1.1587

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57336 | 0.14694

## res_load
| p_mw | q_mvar
0 | 0.0019489 | 0.00048845
1 | 0.0028994 | 0.00072665
2 | 0.0026388 | 0.00066136
3 | 0.0063158 | 0.0015829
4 | 0.0023836 | 0.00059738
5 | 0.009937 | 0.0024904
6 | 0.0011686 | 0.00029289
7 | 0.0098322 | 0.0024642
8 | 0.0071019 | 0.0017799
9 | 0.015084 | 0.0037804
10 | 0.0023092 | 0.00057875
11 | 0.012752 | 0.003196
12 | 0.0087755 | 0.0021993
13 | 0.037348 | 0.0093602
14 | 0.017278 | 0.0043302
15 | 0.038034 | 0.0095323
16 | 0.012361 | 0.0030979
17 | 0.0072145 | 0.0018081
18 | 0.086582 | 0.021699
19 | 0.026407 | 0.0066183
20 | 0.027324 | 0.006848
21 | 0.0017743 | 0.00044469
22 | 0.0051537 | 0.0012916
23 | 0.00041924 | 0.00010507
24 | 0.00046508 | 0.00011656
25 | 0.023733 | 0.0059482
26 | 0.0059258 | 0.0014851
27 | 0.034027 | 0.008528
28 | 0.0066846 | 0.0016753
29 | 0.0027709 | 0.00069446
30 | 0.022689 | 0.0056864
31 | 0.0053052 | 0.0013296
32 | 0.013803 | 0.0034593
33 | 0.011906 | 0.0029839
34 | 0.0035138 | 0.00088065
35 | 0.002435 | 0.00061026
36 | 0.0029424 | 0.00073745
37 | 0.0091453 | 0.002292
38 | 0.013985 | 0.003505
39 | 0.012541 | 0.0031431
40 | 0.013723 | 0.0034394
41 | 0.0047752 | 0.0011968
42 | 0.0049294 | 0.0012354
43 | 0.0092955 | 0.0023297
44 | 0.009152 | 0.0022937
45 | 0.0027531 | 0.00068999
46 | 0.0026814 | 0.00067202

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1