## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2550-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2550-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2550-7_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2550-7_0_5_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_2550-7_0_5_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_2550-7_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2550-7_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_2550-7_0_5_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_2550-7_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2550-7_0_5_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_2550-7_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_2550-7_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2550-7_0_5_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_2550-7_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2550-7_0_5_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_2550-7_0_5_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2550-7_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_2550-7_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2550-7_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2550-7_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2550-7_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2550-7_0_5_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2550-7_0_5_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2550-7_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2550-7_0_5_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_2550-7_0_5_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_2550-7_0_5_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_2550-7_0_5_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2550-7_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2550-7_0_5_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_2550-7_0_5_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_2550-7_0_5_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_2550-7_0_5_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_2550-7_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2550-7_0_5_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_2550-7_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2550-7_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2550-7_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2550-7_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2550-7_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2550-7_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2550-7_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_2550-7_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2550-7_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_2550-7_0_5_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2550-7_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2550-7_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2550-7_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2550-7_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2550-7_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2550-7_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2550-7_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_2550-7_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_2550-7_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_2550-7_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2550-7_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_2550-7_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2550-7_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2550-7_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_2550-7_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_2550-7_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_2550-7_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2550-7_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_2550-7_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_2550-7_0_5_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_2550-7_0_5_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2550-7_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_MV_292_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2550-7_0_5_load_0 | 0 | 0.0038609 | 0.00096763 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2550-7_0_5_load_1 | 1 | 0.0094587 | 0.0023706 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2550-7_0_5_load_42 | 4 | 0.014121 | 0.0035391 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2550-7_0_5_load_64 | 6 | 0.0075159 | 0.0018837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2550-7_0_5_load_65 | 7 | 0.0031318 | 0.00078489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2550-7_0_5_load_70 | 9 | 0.016554 | 0.0041489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2550-7_0_5_load_17 | 11 | 0.0034703 | 0.00086974 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2550-7_0_5_load_15 | 13 | 0.0092121 | 0.0023088 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2550-7_0_5_load_66 | 14 | 0.0032421 | 0.00081254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2550-7_0_5_load_27 | 15 | 0.0031335 | 0.00078533 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2550-7_0_5_load_6 | 16 | 0.0089963 | 0.0022547 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2550-7_0_5_load_7 | 17 | 0.0047279 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2550-7_0_5_load_10 | 20 | 0.0030416 | 0.0007623 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2550-7_0_5_load_40 | 22 | 0.0034131 | 0.0008554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2550-7_0_5_load_69 | 24 | 0.013441 | 0.0033687 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2550-7_0_5_load_68 | 26 | 0.007016 | 0.0017584 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2550-7_0_5_load_36 | 27 | 0.011917 | 0.0029866 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2550-7_0_5_load_50 | 29 | 0.018804 | 0.0047128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2550-7_0_5_load_12 | 30 | 0.006055 | 0.0015175 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2550-7_0_5_load_16 | 33 | 0.0034623 | 0.00086773 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2550-7_0_5_load_67 | 34 | 0.0057023 | 0.0014291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2550-7_0_5_load_18 | 35 | 0.0075549 | 0.0018934 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2550-7_0_5_load_19 | 36 | 0.012843 | 0.0032188 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2550-7_0_5_load_23 | 38 | 0.013546 | 0.0033948 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2550-7_0_5_load_49 | 41 | 0.019675 | 0.0049309 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2550-7_0_5_load_34 | 45 | 0.035964 | 0.0090134 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2550-7_0_5_load_26 | 46 | 0.0030396 | 0.00076181 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2550-7_0_5_load_30 | 48 | 0.012474 | 0.0031264 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2550-7_0_5_load_31 | 50 | 0.016451 | 0.0041229 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2550-7_0_5_load_33 | 52 | 0.0062697 | 0.0015713 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2550-7_0_5_load_35 | 53 | 0.0059008 | 0.0014789 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2550-7_0_5_load_53 | 56 | 0.0077561 | 0.0019439 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2550-7_0_5_load_60 | 57 | 0.00031933 | 8.0033e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2550-7_0_5_load_54 | 58 | 0.0044585 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2550-7_0_5_load_61 | 59 | 0.0050437 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2550-7_0_5_load_55 | 60 | 0.0047209 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2550-7_0_5_load_62 | 62 | 0.0029629 | 0.00074258 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2550-7_0_5_load_45 | 63 | 0.004722 | 0.0011834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2550-7_0_5_load_57 | 64 | 0.0027896 | 0.00069913 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2550-7_0_5_load_58 | 65 | 0.0009419 | 0.00023606 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2550-7_0_5_line_0 |  | 0 | 1 | 0.0014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2550-7_0_5_line_1 |  | 1 | 2 | 0.016306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2550-7_0_5_line_2 |  | 2 | 3 | 0.009528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2550-7_0_5_line_3 |  | 2 | 4 | 0.041916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2550-7_0_5_line_4 |  | 3 | 11 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2550-7_0_5_line_5 |  | 4 | 12 | 0.0147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2550-7_0_5_line_6 |  | 5 | 6 | 0.025445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2550-7_0_5_line_7 |  | 5 | 7 | 0.03271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2550-7_0_5_line_8 |  | 6 | 13 | 0.0010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2550-7_0_5_line_9 |  | 7 | 14 | 0.023837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2550-7_0_5_line_10 |  | 8 | 9 | 0.006027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2550-7_0_5_line_11 |  | 8 | 10 | 0.039764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2550-7_0_5_line_12 |  | 10 | 15 | 0.015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2550-7_0_5_line_13 |  | 11 | 32 | 0.036462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2550-7_0_5_line_14 |  | 12 | 49 | 0.013333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2550-7_0_5_line_15 |  | 14 | 34 | 0.022047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2550-7_0_5_line_16 |  | 15 | 46 | 5.5978e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2550-7_0_5_line_17 |  | 16 | 17 | 0.0082066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2550-7_0_5_line_18 |  | 16 | 18 | 0.014926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2550-7_0_5_line_19 |  | 17 | 19 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2550-7_0_5_line_20 |  | 18 | 20 | 0.015674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2550-7_0_5_line_21 |  | 19 | 21 | 0.036768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2550-7_0_5_line_22 |  | 20 | 22 | 0.0070128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2550-7_0_5_line_23 |  | 21 | 26 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2550-7_0_5_line_24 |  | 21 | 27 | 0.027228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2550-7_0_5_line_25 |  | 22 | 28 | 0.027634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2550-7_0_5_line_26 |  | 23 | 24 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2550-7_0_5_line_27 |  | 23 | 25 | 0.032456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2550-7_0_5_line_28 |  | 25 | 29 | 0.043839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2550-7_0_5_line_29 |  | 25 | 28 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2550-7_0_5_line_30 |  | 27 | 53 | 0.027364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2550-7_0_5_line_31 |  | 28 | 59 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2550-7_0_5_line_32 |  | 29 | 40 | 0.0019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2550-7_0_5_line_33 |  | 30 | 31 | 0.024377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2550-7_0_5_line_34 |  | 30 | 32 | 0.0021249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2550-7_0_5_line_35 |  | 31 | 33 | 0.0062014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2550-7_0_5_line_36 |  | 33 | 34 | 0.027115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2550-7_0_5_line_37 |  | 35 | 36 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2550-7_0_5_line_38 |  | 35 | 37 | 0.047375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2550-7_0_5_line_39 |  | 37 | 38 | 0.019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2550-7_0_5_line_40 |  | 37 | 39 | 0.024125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2550-7_0_5_line_41 |  | 39 | 40 | 0.032346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2550-7_0_5_line_42 |  | 39 | 41 | 0.021793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2550-7_0_5_line_43 |  | 41 | 42 | 0.031028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2550-7_0_5_line_44 |  | 42 | 44 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2550-7_0_5_line_45 |  | 42 | 63 | 0.019684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2550-7_0_5_line_46 |  | 43 | 44 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2550-7_0_5_line_47 |  | 43 | 45 | 0.036769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2550-7_0_5_line_48 |  | 44 | 48 | 0.035524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2550-7_0_5_line_49 |  | 45 | 51 | 0.031652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2550-7_0_5_line_50 |  | 46 | 47 | 0.019882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2550-7_0_5_line_51 |  | 47 | 48 | 0.02932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2550-7_0_5_line_52 |  | 49 | 61 | 0.011451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2550-7_0_5_line_53 |  | 49 | 62 | 0.015083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2550-7_0_5_line_54 |  | 50 | 51 | 0.044466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2550-7_0_5_line_55 |  | 51 | 52 | 0.028085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2550-7_0_5_line_56 |  | 54 | 55 | 0.042651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2550-7_0_5_line_57 |  | 54 | 56 | 0.038044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2550-7_0_5_line_58 |  | 55 | 57 | 0.14164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2550-7_0_5_line_59 |  | 56 | 58 | 0.025726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2550-7_0_5_line_60 |  | 57 | 66 | 0.040462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2550-7_0_5_line_61 |  | 58 | 60 | 0.03352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2550-7_0_5_line_62 |  | 59 | 60 | 0.032263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2550-7_0_5_line_63 |  | 61 | 63 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2550-7_0_5_line_64 |  | 64 | 65 | 0.0015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2550-7_0_5_line_65 |  | 64 | 66 | 0.046802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2550-7_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 67 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2605534.1397 | 1229352.6942 | 2605532.6513 | 1229352.805
1 | 2605516.3901 | 1229354.0157 | 2605532.6513 | 1229352.805
2 | 2605516.3901 | 1229354.0157 | 2605506.8599 | 1229354.7186
3 | 2605516.3901 | 1229354.0157 | 2605513.2926 | 1229377.9716 | 2605511.0632 | 1229395.5921
4 | 2605506.8599 | 1229354.7186 | 2605505.4841 | 1229337.7921
5 | 2605509.218 | 1229410.1759 | 2605511.0632 | 1229395.5921
6 | 2605568.2918 | 1229275.7837 | 2605542.9333 | 1229277.8806
7 | 2605568.2918 | 1229275.7837 | 2605570.6753 | 1229254.1175 | 2605567.8234 | 1229249.8457 | 2605562.2032 | 1229248.508
8 | 2605541.8482 | 1229277.9704 | 2605542.9333 | 1229277.8806
9 | 2605562.2032 | 1229248.508 | 2605539.0142 | 1229242.9888
10 | 2605573.7075 | 1229390.846 | 2605567.6705 | 1229390.5402
11 | 2605559.1463 | 1229417.4705 | 2605570.2422 | 1229419.1707 | 2605571.4268 | 1229407.8539 | 2605573.7075 | 1229390.846
12 | 2605559.1463 | 1229417.4705 | 2605557.0674 | 1229432.4928
13 | 2605502.5302 | 1229301.4496 | 2605505.4841 | 1229337.7921
14 | 2605509.218 | 1229410.1759 | 2605507.921 | 1229420.3474 | 2605507.4788 | 1229423.3932
15 | 2605539.0142 | 1229242.9888 | 2605526.9333 | 1229240.1134 | 2605522.1299 | 1229240.8427 | 2605518.6422 | 1229244.097
16 | 2605557.0597 | 1229432.5482 | 2605557.0674 | 1229432.4928
17 | 2605358.2189 | 1229406.9177 | 2605357.3677 | 1229401.7005 | 2605356.835 | 1229398.8291
18 | 2605360.6224 | 1229421.6486 | 2605358.2189 | 1229406.9177
19 | 2605348.5023 | 1229379.0125 | 2605351.1669 | 1229381.0383 | 2605355.8705 | 1229381.6762 | 2605356.1012 | 1229394.8731 | 2605356.835 | 1229398.8291
20 | 2605360.6224 | 1229421.6486 | 2605361.0085 | 1229430.3986 | 2605361.146 | 1229437.3132
21 | 2605317.1331 | 1229396.7397 | 2605322.5266 | 1229396.7445 | 2605348.5023 | 1229379.0125
22 | 2605361.2855 | 1229444.3246 | 2605361.146 | 1229437.3132
23 | 2605317.1331 | 1229396.7397 | 2605325.4027 | 1229399.5264 | 2605327.7942 | 1229401.9967 | 2605330.1798 | 1229411.2154
24 | 2605317.1331 | 1229396.7397 | 2605302.0926 | 1229401.1846 | 2605290.6547 | 1229402.7517
25 | 2605358.6475 | 1229470.1757 | 2605358.9877 | 1229462.4603 | 2605361.6248 | 1229461.3842 | 2605361.2855 | 1229444.3246
26 | 2605400.9666 | 1229439.2951 | 2605381.3012 | 1229439.8779
27 | 2605381.9918 | 1229472.32 | 2605381.8665 | 1229460.0125 | 2605381.3012 | 1229439.8779
28 | 2605381.9918 | 1229472.32 | 2605395.7775 | 1229473.2551 | 2605425.7959 | 1229472.7816
29 | 2605381.9918 | 1229472.32 | 2605358.6475 | 1229470.1757
30 | 2605290.6547 | 1229402.7517 | 2605287.4179 | 1229403.1952 | 2605264.9866 | 1229404.8543 | 2605263.41 | 1229405.1534
31 | 2605358.6475 | 1229470.1757 | 2605336.6304 | 1229467.8647
32 | 2605427.79 | 1229472.7502 | 2605425.7959 | 1229472.7816
33 | 2605508.5607 | 1229275.8511 | 2605503.4403 | 1229291.9782 | 2605502.2904 | 1229298.5255 | 2605502.3565 | 1229299.3318
34 | 2605502.5302 | 1229301.4496 | 2605502.3565 | 1229299.3318
35 | 2605508.5607 | 1229275.8511 | 2605510.4373 | 1229269.9404
36 | 2605518.6422 | 1229244.097 | 2605518.6422 | 1229244.097 | 2605510.4373 | 1229269.9404
37 | 2605444.4742 | 1229359.3424 | 2605440.6675 | 1229387.1719
38 | 2605433.3733 | 1229430.1633 | 2605433.2519 | 1229405.2595 | 2605438.3204 | 1229404.3302 | 2605440.6675 | 1229387.1719
39 | 2605433.3733 | 1229430.1633 | 2605413.7691 | 1229430.0789
40 | 2605433.3733 | 1229430.1633 | 2605434.0433 | 1229443.1827 | 2605439.7996 | 1229444.0551 | 2605439.3479 | 1229449.3023
41 | 2605427.79 | 1229472.7502 | 2605436.3951 | 1229472.858 | 2605439.3479 | 1229449.3023
42 | 2605439.3479 | 1229449.3023 | 2605444.0965 | 1229450.3627 | 2605460.889 | 1229452.4932
43 | 2605491.6698 | 1229456.3984 | 2605460.889 | 1229452.4932
44 | 2605501.3734 | 1229464.7011 | 2605491.6698 | 1229456.3984
45 | 2605491.6698 | 1229456.3984 | 2605494.1751 | 1229436.8744
46 | 2605490.7991 | 1229472.5961 | 2605503.0719 | 1229471.1954 | 2605501.3734 | 1229464.7011
47 | 2605490.7991 | 1229472.5961 | 2605495.3127 | 1229509.0867
48 | 2605501.3734 | 1229464.7011 | 2605506.4533 | 1229459.6472 | 2605509.8432 | 1229447.1984 | 2605525.2013 | 1229448.9395
49 | 2605499.1983 | 1229540.4997 | 2605495.3127 | 1229509.0867
50 | 2605554.3343 | 1229452.2423 | 2605557.0597 | 1229432.5482
51 | 2605554.3343 | 1229452.2423 | 2605525.2013 | 1229448.9395
52 | 2605496.0491 | 1229422.271 | 2605507.4788 | 1229423.3932
53 | 2605507.4788 | 1229423.3932 | 2605505.2734 | 1229438.3143
54 | 2605499.1983 | 1229540.4997 | 2605486.1973 | 1229543.1894 | 2605489.7684 | 1229574.1738
55 | 2605499.1983 | 1229540.4997 | 2605526.951 | 1229536.1941
56 | 2605164.9474 | 1229460.6786 | 2605189.0983 | 1229458.6982 | 2605197.2343 | 1229458.1605 | 2605207.6126 | 1229457.658
57 | 2605207.6126 | 1229457.658 | 2605219.4527 | 1229457.2235 | 2605229.1411 | 1229457.332 | 2605240.9272 | 1229458.0204 | 2605245.6056 | 1229458.4745
58 | 2605164.9474 | 1229460.6786 | 2605140.9347 | 1229600.2652
59 | 2605245.6056 | 1229458.4745 | 2605266.3545 | 1229460.4885 | 2605271.2069 | 1229460.9978
60 | 2605119.4178 | 1229634.3319 | 2605125.2028 | 1229627.9997 | 2605140.9347 | 1229600.2652
61 | 2605271.2069 | 1229460.9978 | 2605304.544 | 1229464.4969
62 | 2605304.544 | 1229464.4969 | 2605336.6304 | 1229467.8647
63 | 2605496.0491 | 1229422.271 | 2605494.1751 | 1229436.8744
64 | 2605160.9678 | 1229653.5017 | 2605162.5311 | 1229653.6858
65 | 2605119.4178 | 1229634.3319 | 2605125.571 | 1229640.374 | 2605145.1812 | 1229650.3967 | 2605151.6408 | 1229652.4034 | 2605160.9678 | 1229653.5017

## bus_geodata
| x | y | coords
0 | 2605534.1397 | 1229352.6942
1 | 2605532.6513 | 1229352.805
2 | 2605516.3901 | 1229354.0157
3 | 2605506.8599 | 1229354.7186
4 | 2605511.0632 | 1229395.5921
5 | 2605568.2918 | 1229275.7837
6 | 2605542.9333 | 1229277.8806
7 | 2605562.2032 | 1229248.508
8 | 2605573.7075 | 1229390.846
9 | 2605567.6705 | 1229390.5402
10 | 2605559.1463 | 1229417.4705
11 | 2605505.4841 | 1229337.7921
12 | 2605509.218 | 1229410.1759
13 | 2605541.8482 | 1229277.9704
14 | 2605539.0142 | 1229242.9888
15 | 2605557.0674 | 1229432.4928
16 | 2605358.2189 | 1229406.9177
17 | 2605356.835 | 1229398.8291
18 | 2605360.6224 | 1229421.6486
19 | 2605348.5023 | 1229379.0125
20 | 2605361.146 | 1229437.3132
21 | 2605317.1331 | 1229396.7397
22 | 2605361.2855 | 1229444.3246
23 | 2605381.3012 | 1229439.8779
24 | 2605400.9666 | 1229439.2951
25 | 2605381.9918 | 1229472.32
26 | 2605330.1798 | 1229411.2154
27 | 2605290.6547 | 1229402.7517
28 | 2605358.6475 | 1229470.1756
29 | 2605425.7959 | 1229472.7816
30 | 2605502.3565 | 1229299.3318
31 | 2605508.5607 | 1229275.8511
32 | 2605502.5302 | 1229301.4496
33 | 2605510.4373 | 1229269.9404
34 | 2605518.6422 | 1229244.097
35 | 2605440.6675 | 1229387.1719
36 | 2605444.4742 | 1229359.3424
37 | 2605433.3733 | 1229430.1633
38 | 2605413.7691 | 1229430.0789
39 | 2605439.3479 | 1229449.3023
40 | 2605427.79 | 1229472.7502
41 | 2605460.889 | 1229452.4932
42 | 2605491.6698 | 1229456.3984
43 | 2605490.7991 | 1229472.5961
44 | 2605501.3734 | 1229464.7011
45 | 2605495.3127 | 1229509.0867
46 | 2605557.0597 | 1229432.5482
47 | 2605554.3343 | 1229452.2423
48 | 2605525.2013 | 1229448.9395
49 | 2605507.4788 | 1229423.3932
50 | 2605489.7684 | 1229574.1738
51 | 2605499.1983 | 1229540.4997
52 | 2605526.951 | 1229536.1941
53 | 2605263.41 | 1229405.1534
54 | 2605207.6126 | 1229457.658
55 | 2605164.9474 | 1229460.6786
56 | 2605245.6056 | 1229458.4745
57 | 2605140.9347 | 1229600.2652
58 | 2605271.2069 | 1229460.9978
59 | 2605336.6304 | 1229467.8647
60 | 2605304.544 | 1229464.4969
61 | 2605496.0491 | 1229422.271
62 | 2605505.2734 | 1229438.3143
63 | 2605494.1751 | 1229436.8744
64 | 2605160.9678 | 1229653.5017
65 | 2605162.5311 | 1229653.6858
66 | 2605119.4178 | 1229634.3319
67 | 2605434.0433 | 1229443.1827

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98687 | -0.25212 | 0.0038609 | 0.00096763
1 | 0.98688 | -0.25202 | 0.0094587 | 0.0023706
2 | 0.98708 | -0.24813 | 0 | 0
3 | 0.98671 | -0.25526 | 0 | 0
4 | 0.98921 | -0.20689 | 0.014121 | 0.0035391
5 | 0.98164 | -0.35399 | 0 | 0
6 | 0.98125 | -0.36169 | 0.0075159 | 0.0018837
7 | 0.98215 | -0.3441 | 0.0031318 | 0.00078489
8 | 0.99003 | -0.19143 | 0 | 0
9 | 0.98994 | -0.1932 | 0.016554 | 0.0041489
10 | 0.99063 | -0.17973 | 0 | 0
11 | 0.98606 | -0.26797 | 0.0034703 | 0.00086974
12 | 0.99014 | -0.18878 | 0 | 0
13 | 0.98124 | -0.36187 | 0.0092121 | 0.0023088
14 | 0.98259 | -0.33555 | 0.0032421 | 0.00081254
15 | 0.99086 | -0.17527 | 0.0031335 | 0.00078533
16 | 0.98715 | -0.24705 | 0.0089963 | 0.0022547
17 | 0.98693 | -0.25139 | 0.0047279 | 0.0011849
18 | 0.98768 | -0.23676 | 0 | 0
19 | 0.98635 | -0.26265 | 0 | 0
20 | 0.98824 | -0.22597 | 0.0030416 | 0.0007623
21 | 0.98551 | -0.27902 | 0 | 0
22 | 0.98851 | -0.22076 | 0.0034131 | 0.0008554
23 | 0.99078 | -0.17683 | 0 | 0
24 | 0.99053 | -0.18151 | 0.013441 | 0.0033687
25 | 0.99117 | -0.16908 | 0 | 0
26 | 0.98537 | -0.28175 | 0.007016 | 0.0017584
27 | 0.98506 | -0.28773 | 0.011917 | 0.0029866
28 | 0.98965 | -0.1986 | 0 | 0
29 | 0.99458 | -0.10358 | 0.018804 | 0.0047128
30 | 0.98469 | -0.29452 | 0.006055 | 0.0015175
31 | 0.98396 | -0.30867 | 0 | 0
32 | 0.98477 | -0.29306 | 0 | 0
33 | 0.98378 | -0.31228 | 0.0034623 | 0.00086773
34 | 0.98306 | -0.32635 | 0.0057023 | 0.0014291
35 | 0.99912 | -0.016859 | 0.0075549 | 0.0018934
36 | 0.9988 | -0.02316 | 0.012843 | 0.0032188
37 | 1 | 0 | -0.33242 | -0.084067
38 | 0.99976 | -0.0046161 | 0.013546 | 0.0033948
39 | 0.99783 | -0.041272 | 0 | 0
40 | 0.99477 | -0.099951 | 0 | 0
41 | 0.99656 | -0.065528 | 0.019675 | 0.0049309
42 | 0.99413 | -0.11215 | 0 | 0
43 | 0.99201 | -0.15309 | 0 | 0
44 | 0.99303 | -0.13329 | 0 | 0
45 | 0.99003 | -0.19138 | 0.035964 | 0.0090134
46 | 0.99086 | -0.17525 | 0.0030396 | 0.00076181
47 | 0.99128 | -0.16723 | 0 | 0
48 | 0.99189 | -0.15542 | 0.012474 | 0.0031264
49 | 0.99099 | -0.17238 | 0 | 0
50 | 0.9887 | -0.21721 | 0.016451 | 0.0041229
51 | 0.98937 | -0.20418 | 0 | 0
52 | 0.98921 | -0.20732 | 0.0062697 | 0.0015713
53 | 0.98491 | -0.29064 | 0.0059008 | 0.0014789
54 | 0.98758 | -0.23887 | 0 | 0
55 | 0.98742 | -0.24196 | 0 | 0
56 | 0.98772 | -0.23611 | 0.0077561 | 0.0019439
57 | 0.98689 | -0.25224 | 0.00031933 | 8.0033e-05
58 | 0.988 | -0.23068 | 0.0044585 | 0.0011174
59 | 0.98912 | -0.20886 | 0.0050437 | 0.0012641
60 | 0.9885 | -0.22094 | 0.0047209 | 0.0011832
61 | 0.99176 | -0.15772 | 0 | 0
62 | 0.99095 | -0.17317 | 0.0029629 | 0.00074258
63 | 0.99274 | -0.1389 | 0.004722 | 0.0011834
64 | 0.98659 | -0.25807 | 0.0027896 | 0.00069913
65 | 0.98659 | -0.25809 | 0.0009419 | 0.00023606
66 | 0.98675 | -0.25494 | 0 | 0
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038609 | -0.00096763 | 0.0038609 | 0.00096762 | 1.8967e-08 | -6.9307e-09 | 0.0058215 | 0.0058215 | 0.0058215 | 0.98687 | -0.25212 | 0.98688 | -0.25202 | 1.5993
1 | -0.01332 | -0.0033382 | 0.013322 | 0.0033396 | 2.4663e-06 | 1.3701e-06 | 0.020083 | 0.020083 | 0.020083 | 0.98688 | -0.25202 | 0.98708 | -0.24813 | 5.5174
2 | 0.041959 | 0.010578 | -0.041945 | -0.010569 | 1.4306e-05 | 9.0339e-06 | 0.063276 | 0.063276 | 0.063276 | 0.98708 | -0.24813 | 0.98671 | -0.25526 | 17.3835
3 | -0.055281 | -0.013918 | 0.055391 | 0.013987 | 0.00010922 | 6.9366e-05 | 0.083359 | 0.083359 | 0.083359 | 0.98708 | -0.24813 | 0.98921 | -0.20689 | 22.9008
4 | 0.041945 | 0.010569 | -0.04192 | -0.010553 | 2.5498e-05 | 1.6102e-05 | 0.063276 | 0.063276 | 0.063276 | 0.98671 | -0.25526 | 0.98606 | -0.26797 | 17.3835
5 | -0.069512 | -0.017526 | 0.069572 | 0.017565 | 6.0314e-05 | 3.8412e-05 | 0.1046 | 0.1046 | 0.1046 | 0.98921 | -0.20689 | 0.99014 | -0.18878 | 28.7364
6 | 0.016734 | 0.0041961 | -0.016728 | -0.0041925 | 6.1401e-06 | 3.6081e-06 | 0.025367 | 0.025367 | 0.025367 | 0.98164 | -0.35399 | 0.98125 | -0.36169 | 6.969
7 | -0.016734 | -0.0041961 | 0.016742 | 0.0042007 | 7.8933e-06 | 4.638e-06 | 0.025367 | 0.025367 | 0.025367 | 0.98164 | -0.35399 | 0.98215 | -0.3441 | 6.969
8 | 0.0092122 | 0.0023088 | -0.0092121 | -0.0023088 | 7.9676e-08 | 3.724e-08 | 0.01397 | 0.01397 | 0.01397 | 0.98125 | -0.36169 | 0.98124 | -0.36187 | 3.8379
9 | -0.019874 | -0.0049856 | 0.019882 | 0.0049905 | 8.1049e-06 | 4.8854e-06 | 0.030112 | 0.030112 | 0.030112 | 0.98215 | -0.3441 | 0.98259 | -0.33555 | 8.2725
10 | 0.016556 | 0.0041497 | -0.016554 | -0.0041489 | 1.3994e-06 | 8.1815e-07 | 0.024883 | 0.024883 | 0.024883 | 0.99003 | -0.19143 | 0.98994 | -0.1932 | 6.8361
11 | -0.016556 | -0.0041497 | 0.016565 | 0.0041551 | 9.233e-06 | 5.3975e-06 | 0.024883 | 0.024883 | 0.024883 | 0.99003 | -0.19143 | 0.99063 | -0.17973 | 6.8361
12 | -0.016565 | -0.0041551 | 0.016568 | 0.0041572 | 3.5213e-06 | 2.0583e-06 | 0.024883 | 0.024883 | 0.024883 | 0.99063 | -0.17973 | 0.99086 | -0.17527 | 6.8361
13 | 0.038449 | 0.0096835 | -0.038403 | -0.0096545 | 4.6059e-05 | 2.9013e-05 | 0.058039 | 0.058039 | 0.058039 | 0.98606 | -0.26797 | 0.98477 | -0.29306 | 15.9448
14 | -0.069572 | -0.017565 | 0.069627 | 0.0176 | 5.4705e-05 | 3.4839e-05 | 0.1046 | 0.1046 | 0.1046 | 0.99014 | -0.18878 | 0.99099 | -0.17238 | 28.7364
15 | -0.023124 | -0.005803 | 0.023134 | 0.0058092 | 1.014e-05 | 6.2103e-06 | 0.035021 | 0.035021 | 0.035021 | 0.98259 | -0.33555 | 0.98306 | -0.32635 | 9.6213
16 | -0.019702 | -0.0049425 | 0.019702 | 0.0049425 | 1.8378e-08 | 1.1039e-08 | 0.029589 | 0.029589 | 0.029589 | 0.99086 | -0.17527 | 0.99086 | -0.17525 | 8.1288
17 | 0.02961 | 0.0074377 | -0.029603 | -0.0074339 | 6.1323e-06 | 3.8198e-06 | 0.044639 | 0.044639 | 0.044639 | 0.98715 | -0.24705 | 0.98693 | -0.25139 | 12.2635
18 | -0.038606 | -0.0096924 | 0.038625 | 0.0097043 | 1.8959e-05 | 1.1943e-05 | 0.0582 | 0.0582 | 0.0582 | 0.98715 | -0.24705 | 0.98768 | -0.23676 | 15.9889
19 | 0.024875 | 0.0062489 | -0.024862 | -0.0062407 | 1.3358e-05 | 8.2258e-06 | 0.037511 | 0.037511 | 0.037511 | 0.98693 | -0.25139 | 0.98635 | -0.26265 | 10.3051
20 | -0.038625 | -0.0097043 | 0.038645 | 0.0097168 | 1.991e-05 | 1.2541e-05 | 0.0582 | 0.0582 | 0.0582 | 0.98768 | -0.23676 | 0.98824 | -0.22597 | 15.9889
21 | 0.024862 | 0.0062407 | -0.024843 | -0.0062288 | 1.94e-05 | 1.1947e-05 | 0.037511 | 0.037511 | 0.037511 | 0.98635 | -0.26265 | 0.98551 | -0.27902 | 10.3052
22 | -0.041686 | -0.010479 | 0.041697 | 0.010486 | 1.0365e-05 | 6.5436e-06 | 0.062779 | 0.062779 | 0.062779 | 0.98824 | -0.22597 | 0.98851 | -0.22076 | 17.2471
23 | 0.0070169 | 0.0017587 | -0.007016 | -0.0017584 | 9.1177e-07 | 3.0758e-07 | 0.010595 | 0.010595 | 0.010595 | 0.98551 | -0.27902 | 0.98537 | -0.28175 | 2.9107
24 | 0.017826 | 0.0044701 | -0.017818 | -0.0044657 | 7.3973e-06 | 4.3875e-06 | 0.026916 | 0.026916 | 0.026916 | 0.98551 | -0.27902 | 0.98506 | -0.28773 | 7.3945
25 | -0.04511 | -0.011341 | 0.045158 | 0.011371 | 4.7801e-05 | 3.0238e-05 | 0.067917 | 0.067917 | 0.067917 | 0.98851 | -0.22076 | 0.98965 | -0.1986 | 18.6586
26 | 0.013444 | 0.0033704 | -0.013441 | -0.0033687 | 2.9991e-06 | 1.6669e-06 | 0.020192 | 0.020192 | 0.020192 | 0.99078 | -0.17683 | 0.99053 | -0.18151 | 5.5472
27 | -0.013444 | -0.0033704 | 0.013449 | 0.0033731 | 4.9622e-06 | 2.7577e-06 | 0.020192 | 0.020192 | 0.020192 | 0.99078 | -0.17683 | 0.99117 | -0.16908 | 5.5472
28 | -0.084777 | -0.021352 | 0.085043 | 0.021522 | 0.00026645 | 0.00016996 | 0.12731 | 0.12731 | 0.12731 | 0.99117 | -0.16908 | 0.99458 | -0.10358 | 34.9752
29 | 0.071328 | 0.017979 | -0.071227 | -0.017915 | 0.00010058 | 6.4067e-05 | 0.10712 | 0.10712 | 0.10712 | 0.99117 | -0.16908 | 0.98965 | -0.1986 | 29.4281
30 | 0.0059016 | 0.001479 | -0.0059008 | -0.0014789 | 8.1555e-07 | 1.7365e-07 | 0.0089148 | 0.008915 | 0.008915 | 0.98506 | -0.28773 | 0.98491 | -0.29064 | 2.4492
31 | 0.02607 | 0.0065436 | -0.026057 | -0.0065358 | 1.2758e-05 | 7.8806e-06 | 0.039201 | 0.039201 | 0.039201 | 0.98965 | -0.1986 | 0.98912 | -0.20886 | 10.7696
32 | -0.10385 | -0.026235 | 0.10387 | 0.026246 | 1.8071e-05 | 1.1539e-05 | 0.15544 | 0.15544 | 0.15544 | 0.99458 | -0.10358 | 0.99477 | -0.099951 | 42.7042
33 | 0.032346 | 0.0081353 | -0.032324 | -0.0081216 | 2.1849e-05 | 1.3674e-05 | 0.048889 | 0.048889 | 0.048889 | 0.98469 | -0.29452 | 0.98396 | -0.30867 | 13.4311
34 | -0.0384 | -0.0096528 | 0.038403 | 0.0096545 | 2.6842e-06 | 1.6909e-06 | 0.058039 | 0.058039 | 0.058039 | 0.98469 | -0.29452 | 0.98477 | -0.29306 | 15.9448
35 | 0.032324 | 0.0081216 | -0.032318 | -0.0081181 | 5.5584e-06 | 3.4786e-06 | 0.048889 | 0.048889 | 0.048889 | 0.98396 | -0.30867 | 0.98378 | -0.31228 | 13.4311
36 | 0.028856 | 0.0072504 | -0.028836 | -0.0072384 | 1.9376e-05 | 1.2056e-05 | 0.043653 | 0.043653 | 0.043653 | 0.98378 | -0.31228 | 0.98306 | -0.32635 | 11.9925
37 | 0.012847 | 0.0032209 | -0.012843 | -0.0032188 | 3.8563e-06 | 2.1003e-06 | 0.019134 | 0.019134 | 0.019134 | 0.99912 | -0.016859 | 0.9988 | -0.02316 | 5.2566
38 | -0.020402 | -0.0051144 | 0.020418 | 0.0051243 | 1.6403e-05 | 9.8768e-06 | 0.030386 | 0.030385 | 0.030386 | 0.99912 | -0.016859 | 1 | 0 | 8.3477
39 | 0.013549 | 0.0033965 | -0.013546 | -0.0033948 | 2.9794e-06 | 1.6504e-06 | 0.020161 | 0.020161 | 0.020161 | 1 | 0 | 0.99976 | -0.0046161 | 5.5387
40 | 0.2968 | 0.075546 | -0.29621 | -0.07517 | 0.0005893 | 0.0003762 | 0.44206 | 0.44206 | 0.44206 | 1 | 0 | 0.99783 | -0.041272 | 40.4814
41 | 0.10416 | 0.026434 | -0.10387 | -0.026246 | 0.00029309 | 0.00018715 | 0.15544 | 0.15544 | 0.15544 | 0.99783 | -0.041272 | 0.99477 | -0.099951 | 42.7042
42 | 0.19205 | 0.048736 | -0.19183 | -0.048594 | 0.00022378 | 0.00014236 | 0.28661 | 0.28661 | 0.28661 | 0.99783 | -0.041272 | 0.99656 | -0.065528 | 26.2467
43 | 0.17216 | 0.043663 | -0.17177 | -0.043417 | 0.00038496 | 0.00024557 | 0.25724 | 0.25724 | 0.25724 | 0.99656 | -0.065528 | 0.99413 | -0.11215 | 35.3347
44 | 0.094242 | 0.023754 | -0.094147 | -0.023693 | 9.5205e-05 | 6.0766e-05 | 0.14111 | 0.14111 | 0.14111 | 0.99413 | -0.11215 | 0.99303 | -0.13329 | 38.7665
45 | 0.077528 | 0.019663 | -0.077428 | -0.0196 | 9.9543e-05 | 6.3453e-05 | 0.11613 | 0.11613 | 0.11613 | 0.99413 | -0.11215 | 0.99274 | -0.1389 | 31.903
46 | -0.058817 | -0.014791 | 0.058872 | 0.014826 | 5.5672e-05 | 3.5383e-05 | 0.088243 | 0.088243 | 0.088243 | 0.99201 | -0.15309 | 0.99303 | -0.13329 | 24.2426
47 | 0.058817 | 0.014791 | -0.058709 | -0.014722 | 0.00010737 | 6.8241e-05 | 0.088243 | 0.088243 | 0.088243 | 0.99201 | -0.15309 | 0.99003 | -0.19138 | 24.2427
48 | 0.035275 | 0.0088672 | -0.035238 | -0.0088438 | 3.7233e-05 | 2.337e-05 | 0.052867 | 0.052867 | 0.052867 | 0.99303 | -0.13329 | 0.99189 | -0.15542 | 14.524
49 | 0.022745 | 0.005709 | -0.022732 | -0.0057005 | 1.3875e-05 | 8.473e-06 | 0.034189 | 0.03419 | 0.03419 | 0.99003 | -0.19138 | 0.98937 | -0.20418 | 9.3927
50 | -0.022742 | -0.0057043 | 0.02275 | 0.0057096 | 8.6968e-06 | 5.3097e-06 | 0.034154 | 0.034153 | 0.034154 | 0.99086 | -0.17525 | 0.99128 | -0.16723 | 9.3829
51 | -0.02275 | -0.0057096 | 0.022763 | 0.0057175 | 1.2825e-05 | 7.8298e-06 | 0.034153 | 0.034153 | 0.034153 | 0.99128 | -0.16723 | 0.99189 | -0.15542 | 9.3828
52 | -0.07259 | -0.018342 | 0.072641 | 0.018375 | 5.1065e-05 | 3.2534e-05 | 0.10905 | 0.10905 | 0.10905 | 0.99099 | -0.17238 | 0.99176 | -0.15772 | 29.9586
53 | 0.002963 | 0.00074246 | -0.0029629 | -0.00074258 | 1.1196e-07 | -1.2267e-07 | 0.0044491 | 0.0044491 | 0.0044491 | 0.99099 | -0.17238 | 0.99095 | -0.17317 | 1.2223
54 | -0.016451 | -0.0041229 | 0.016461 | 0.0041289 | 1.0221e-05 | 5.971e-06 | 0.024759 | 0.024758 | 0.024759 | 0.9887 | -0.21721 | 0.98937 | -0.20418 | 6.8018
55 | 0.0062706 | 0.0015716 | -0.0062697 | -0.0015713 | 9.3676e-07 | 2.3892e-07 | 0.0094311 | 0.0094312 | 0.0094312 | 0.98937 | -0.20418 | 0.98921 | -0.20732 | 2.591
56 | 0.0040544 | 0.001014 | -0.0040538 | -0.0010142 | 5.9675e-07 | -1.6373e-07 | 0.0061082 | 0.0061084 | 0.0061084 | 0.98758 | -0.23887 | 0.98742 | -0.24196 | 1.6781
57 | -0.0040544 | -0.001014 | 0.0040549 | 0.0010139 | 5.3226e-07 | -1.4621e-07 | 0.0061082 | 0.006108 | 0.0061082 | 0.98758 | -0.23887 | 0.98772 | -0.23611 | 1.6781
58 | 0.0040538 | 0.0010142 | -0.0040518 | -0.0010148 | 1.982e-06 | -5.4227e-07 | 0.0061084 | 0.006109 | 0.006109 | 0.98742 | -0.24196 | 0.98689 | -0.25224 | 1.6783
59 | -0.011811 | -0.0029578 | 0.011814 | 0.0029594 | 3.054e-06 | 1.6252e-06 | 0.017793 | 0.017793 | 0.017793 | 0.98772 | -0.23611 | 0.988 | -0.23068 | 4.8881
60 | 0.0037325 | 0.00093472 | -0.003732 | -0.00093493 | 4.8054e-07 | -2.0939e-07 | 0.0056275 | 0.0056277 | 0.0056277 | 0.98689 | -0.25224 | 0.98675 | -0.25494 | 1.5461
61 | -0.016273 | -0.0040768 | 0.01628 | 0.0040812 | 7.5497e-06 | 4.4023e-06 | 0.024507 | 0.024507 | 0.024507 | 0.988 | -0.23068 | 0.9885 | -0.22094 | 6.7328
62 | 0.021013 | 0.0052717 | -0.021001 | -0.0052644 | 1.2092e-05 | 7.3248e-06 | 0.031614 | 0.031614 | 0.031614 | 0.98912 | -0.20886 | 0.9885 | -0.22094 | 8.6851
63 | -0.072641 | -0.018375 | 0.072706 | 0.018416 | 6.5657e-05 | 4.183e-05 | 0.10905 | 0.10905 | 0.10905 | 0.99176 | -0.15772 | 0.99274 | -0.1389 | 29.9586
64 | 0.0009419 | 0.00023604 | -0.0009419 | -0.00023606 | 1.1914e-09 | -1.9339e-08 | 0.0014206 | 0.0014206 | 0.0014206 | 0.98659 | -0.25807 | 0.98659 | -0.25809 | 0.39028
65 | -0.0037315 | -0.00093517 | 0.003732 | 0.00093493 | 5.5587e-07 | -2.42e-07 | 0.0056279 | 0.0056277 | 0.0056279 | 0.98659 | -0.25807 | 0.98675 | -0.25494 | 1.5461

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33242 | 0.084067

## res_load
| p_mw | q_mvar
0 | 0.0038609 | 0.00096763
1 | 0.0094587 | 0.0023706
2 | 0.014121 | 0.0035391
3 | 0.0075159 | 0.0018837
4 | 0.0031318 | 0.00078489
5 | 0.016554 | 0.0041489
6 | 0.0034703 | 0.00086974
7 | 0.0092121 | 0.0023088
8 | 0.0032421 | 0.00081254
9 | 0.0031335 | 0.00078533
10 | 0.0089963 | 0.0022547
11 | 0.0047279 | 0.0011849
12 | 0.0030416 | 0.0007623
13 | 0.0034131 | 0.0008554
14 | 0.013441 | 0.0033687
15 | 0.007016 | 0.0017584
16 | 0.011917 | 0.0029866
17 | 0.018804 | 0.0047128
18 | 0.006055 | 0.0015175
19 | 0.0034623 | 0.00086773
20 | 0.0057023 | 0.0014291
21 | 0.0075549 | 0.0018934
22 | 0.012843 | 0.0032188
23 | 0.013546 | 0.0033948
24 | 0.019675 | 0.0049309
25 | 0.035964 | 0.0090134
26 | 0.0030396 | 0.00076181
27 | 0.012474 | 0.0031264
28 | 0.016451 | 0.0041229
29 | 0.0062697 | 0.0015713
30 | 0.0059008 | 0.0014789
31 | 0.0077561 | 0.0019439
32 | 0.00031933 | 8.0033e-05
33 | 0.0044585 | 0.0011174
34 | 0.0050437 | 0.0012641
35 | 0.0047209 | 0.0011832
36 | 0.0029629 | 0.00074258
37 | 0.004722 | 0.0011834
38 | 0.0027896 | 0.00069913
39 | 0.0009419 | 0.00023606

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1