## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2572-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2572-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2572-3_0_4_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_2572-3_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2572-3_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2572-3_0_4_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_2572-3_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_2572-3_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2572-3_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2572-3_0_4_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_2572-3_0_4_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_2572-3_0_4_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_2572-3_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_2572-3_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_2572-3_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2572-3_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2572-3_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2572-3_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2572-3_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2572-3_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2572-3_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2572-3_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2572-3_0_4_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_2572-3_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2572-3_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_2572-3_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2572-3_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2572-3_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2572-3_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2572-3_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2572-3_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2572-3_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2572-3_0_4_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_2572-3_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2572-3_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2572-3_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2572-3_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_2572-3_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2572-3_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_2572-3_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2572-3_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2572-3_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2572-3_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2572-3_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2572-3_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2572-3_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2572-3_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_2572-3_0_4_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_2572-3_0_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_2572-3_0_4_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_2572-3_0_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_2572-3_0_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_2572-3_0_4_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_2572-3_0_4_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_2572-3_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_2572-3_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_2572-3_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2572-3_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_2572-3_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_2572-3_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_2572-3_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_2572-3_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_2572-3_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_2572-3_0_4_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_2572-3_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_2572-3_0_4_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_2572-3_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_2572-3_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_2572-3_0_4_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_2572-3_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_2572-3_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_2572-3_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_2572-3_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2572-3_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2572-3_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2572-3_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_2572-3_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_2572-3_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_2572-3_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_2572-3_0_4_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_2572-3_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_2572-3_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2572-3_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_2572-3_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2572-3_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2572-3_0_4_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_2572-3_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_2572-3_0_4_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_2572-3_0_4_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_2572-3_0_4_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_2572-3_0_4_node_96 | 0.4 | n |  | TRUE
91 | bus_MV_291_1_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2572-3_0_4_load_0 | 0 | 0.0036542 | 0.00091583 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2572-3_0_4_load_52 | 2 | 0.02162 | 0.0054184 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2572-3_0_4_load_3 | 4 | 0.0018223 | 0.00045671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2572-3_0_4_load_54 | 5 | 0.0022049 | 0.0005526 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2572-3_0_4_load_50 | 6 | 0.019462 | 0.0048775 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2572-3_0_4_load_4 | 7 | 0.00048074 | 0.00012048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2572-3_0_4_load_5 | 8 | 0.012632 | 0.0031658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2572-3_0_4_load_55 | 9 | 0.00049995 | 0.0001253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2572-3_0_4_load_49 | 10 | 0.0061832 | 0.0015496 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2572-3_0_4_load_84 | 11 | 0.015593 | 0.0039079 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2572-3_0_4_load_56 | 12 | 0.0010056 | 0.00025202 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2572-3_0_4_load_51 | 13 | 0.0027849 | 0.00069796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2572-3_0_4_load_6 | 14 | 0.00041314 | 0.00010354 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2572-3_0_4_load_7 | 15 | 0.0010865 | 0.0002723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2572-3_0_4_load_9 | 17 | 0.0014144 | 0.00035449 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2572-3_0_4_load_10 | 18 | 0.0017683 | 0.00044317 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2572-3_0_4_load_12 | 20 | 0.0014626 | 0.00036657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2572-3_0_4_load_13 | 21 | 0.00041607 | 0.00010428 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2572-3_0_4_load_70 | 22 | 0.0017846 | 0.00044726 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2572-3_0_4_load_30 | 23 | 0.00080073 | 0.00020068 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2572-3_0_4_load_69 | 24 | 0.002785 | 0.00069798 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2572-3_0_4_load_31 | 25 | 0.0016005 | 0.00040111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2572-3_0_4_load_14 | 26 | 0.0041996 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2572-3_0_4_load_15 | 27 | 0.029581 | 0.0074137 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2572-3_0_4_load_20 | 30 | 0.023574 | 0.0059081 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2572-3_0_4_load_19 | 31 | 0.0014633 | 0.00036675 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2572-3_0_4_load_62 | 32 | 0.00020332 | 5.0956e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2572-3_0_4_load_42 | 35 | 0.0050139 | 0.0012566 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2572-3_0_4_load_43 | 36 | 0.022944 | 0.0057503 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2572-3_0_4_load_21 | 37 | 0.011318 | 0.0028364 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2572-3_0_4_load_22 | 38 | 0.010214 | 0.0025599 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2572-3_0_4_load_24 | 39 | 0.0046352 | 0.0011617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2572-3_0_4_load_25 | 41 | 0.0075617 | 0.0018952 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2572-3_0_4_load_26 | 42 | 0.011328 | 0.002839 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2572-3_0_4_load_28 | 44 | 0.0053239 | 0.0013343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2572-3_0_4_load_29 | 45 | 0.0098256 | 0.0024625 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2572-3_0_4_load_64 | 46 | 0.0014592 | 0.00036571 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2572-3_0_4_load_65 | 47 | 0.0015587 | 0.00039065 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2572-3_0_4_load_68 | 48 | 0.0018124 | 0.00045422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2572-3_0_4_load_73 | 49 | 0.0033992 | 0.00085193 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2572-3_0_4_load_66 | 50 | 0.001305 | 0.00032707 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2572-3_0_4_load_67 | 51 | 0.001337 | 0.00033508 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2572-3_0_4_load_75 | 52 | 0.0017594 | 0.00044094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2572-3_0_4_load_71 | 53 | 0.0017384 | 0.00043568 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2572-3_0_4_load_32 | 54 | 0.0088777 | 0.002225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2572-3_0_4_load_33 | 55 | 0.0020113 | 0.00050407 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2572-3_0_4_load_34 | 56 | 0.0055148 | 0.0013821 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2572-3_0_4_load_37 | 59 | 0.0016241 | 0.00040705 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2572-3_0_4_load_38 | 60 | 0.0025071 | 0.00062834 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2572-3_0_4_load_39 | 61 | 0.0038427 | 0.00096306 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2572-3_0_4_load_40 | 62 | 0.003723 | 0.00093306 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2572-3_0_4_load_85 | 63 | 0.0013292 | 0.00033312 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2572-3_0_4_load_46 | 64 | 0.0018601 | 0.0004662 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2572-3_0_4_load_45 | 66 | 0.0029723 | 0.00074492 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2572-3_0_4_load_87 | 67 | 0.011835 | 0.0029662 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2572-3_0_4_load_74 | 68 | 0.0060647 | 0.00152 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2572-3_0_4_load_44 | 69 | 0.006598 | 0.0016536 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2572-3_0_4_load_78 | 70 | 0.0038035 | 0.00095323 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2572-3_0_4_load_59 | 72 | 0.00018618 | 4.6661e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2572-3_0_4_load_60 | 73 | 0.00017042 | 4.271e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2572-3_0_4_load_61 | 74 | 0.0016533 | 0.00041435 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2572-3_0_4_load_63 | 75 | 0.0072635 | 0.0018204 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2572-3_0_4_load_72 | 76 | 0.0019775 | 0.00049561 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2572-3_0_4_load_77 | 77 | 0.0022325 | 0.00055952 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2572-3_0_4_load_88 | 78 | 0.0018764 | 0.00047028 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2572-3_0_4_load_90 | 79 | 0.01183 | 0.0029649 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2572-3_0_4_load_89 | 80 | 0.00076574 | 0.00019191 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2572-3_0_4_load_79 | 81 | 0.0059572 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2572-3_0_4_load_80 | 82 | 0.0070699 | 0.0017719 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2572-3_0_4_load_82 | 83 | 0.024686 | 0.006187 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2572-3_0_4_load_83 | 84 | 0.011829 | 0.0029647 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2572-3_0_4_load_91 | 85 | 0.0018231 | 0.00045691 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2572-3_0_4_load_92 | 86 | 0.0022868 | 0.00057312 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2572-3_0_4_load_93 | 87 | 0.0023682 | 0.00059352 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2572-3_0_4_load_95 | 89 | 0.0017393 | 0.00043591 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2572-3_0_4_load_96 | 90 | 0.0013885 | 0.00034799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2572-3_0_4_line_0 |  | 0 | 1 | 0.027853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2572-3_0_4_line_1 |  | 0 | 2 | 0.014224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2572-3_0_4_line_2 |  | 1 | 3 | 0.049188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2572-3_0_4_line_3 |  | 1 | 4 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2572-3_0_4_line_4 |  | 2 | 5 | 0.024087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2572-3_0_4_line_5 |  | 2 | 6 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2572-3_0_4_line_6 |  | 3 | 7 | 0.0064681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2572-3_0_4_line_7 |  | 4 | 8 | 0.0092519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2572-3_0_4_line_8 |  | 5 | 11 | 0.032911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2572-3_0_4_line_9 |  | 6 | 10 | 0.050298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2572-3_0_4_line_10 |  | 7 | 9 | 0.038835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2572-3_0_4_line_11 |  | 9 | 12 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2572-3_0_4_line_12 |  | 10 | 13 | 0.0085022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2572-3_0_4_line_13 |  | 11 | 63 | 0.035574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2572-3_0_4_line_14 |  | 14 | 15 | 0.00021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2572-3_0_4_line_15 |  | 14 | 16 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2572-3_0_4_line_16 |  | 15 | 17 | 0.0080794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2572-3_0_4_line_17 |  | 16 | 18 | 0.040332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2572-3_0_4_line_18 |  | 16 | 19 | 0.038393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2572-3_0_4_line_19 |  | 18 | 20 | 0.0050787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2572-3_0_4_line_20 |  | 19 | 21 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2572-3_0_4_line_21 |  | 20 | 22 | 0.024591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2572-3_0_4_line_22 |  | 21 | 23 | 2.5546e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2572-3_0_4_line_23 |  | 22 | 24 | 0.0054927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2572-3_0_4_line_24 |  | 23 | 25 | 0.0075729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2572-3_0_4_line_25 |  | 24 | 48 | 0.0067071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2572-3_0_4_line_26 |  | 26 | 27 | 0.032419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2572-3_0_4_line_27 |  | 26 | 28 | 0.0049003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2572-3_0_4_line_28 |  | 28 | 29 | 0.017402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2572-3_0_4_line_29 |  | 29 | 30 | 0.035963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2572-3_0_4_line_30 |  | 30 | 33 | 0.03803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2572-3_0_4_line_31 |  | 31 | 32 | 0.0034063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2572-3_0_4_line_32 |  | 32 | 34 | 0.0010989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2572-3_0_4_line_33 |  | 33 | 35 | 0.009033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2572-3_0_4_line_34 |  | 33 | 36 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2572-3_0_4_line_35 |  | 34 | 72 | 0.030046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2572-3_0_4_line_36 |  | 34 | 71 | 0.03327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2572-3_0_4_line_37 |  | 35 | 69 | 0.026988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2572-3_0_4_line_38 |  | 37 | 38 | 0.029982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2572-3_0_4_line_39 |  | 38 | 39 | 0.0021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2572-3_0_4_line_40 |  | 39 | 43 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2572-3_0_4_line_41 |  | 40 | 41 | 0.021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2572-3_0_4_line_42 |  | 40 | 42 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2572-3_0_4_line_43 |  | 41 | 44 | 0.030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2572-3_0_4_line_44 |  | 42 | 45 | 0.011859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2572-3_0_4_line_45 |  | 43 | 46 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2572-3_0_4_line_46 |  | 43 | 47 | 0.0018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2572-3_0_4_line_47 |  | 44 | 48 | 0.062616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2572-3_0_4_line_48 |  | 45 | 49 | 0.035462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2572-3_0_4_line_49 |  | 46 | 50 | 0.0029101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2572-3_0_4_line_50 |  | 47 | 51 | 0.0036769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2572-3_0_4_line_51 |  | 49 | 52 | 0.01724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2572-3_0_4_line_52 |  | 49 | 53 | 0.020849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2572-3_0_4_line_53 |  | 50 | 70 | 0.0027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2572-3_0_4_line_54 |  | 51 | 62 | 0.038204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2572-3_0_4_line_55 |  | 52 | 77 | 0.028008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2572-3_0_4_line_56 |  | 53 | 76 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2572-3_0_4_line_57 |  | 54 | 55 | 0.010697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2572-3_0_4_line_58 |  | 54 | 56 | 0.0092401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2572-3_0_4_line_59 |  | 55 | 57 | 0.036234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2572-3_0_4_line_60 |  | 56 | 58 | 0.024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2572-3_0_4_line_61 |  | 57 | 59 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2572-3_0_4_line_62 |  | 57 | 60 | 0.014349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2572-3_0_4_line_63 |  | 58 | 61 | 0.0058193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2572-3_0_4_line_64 |  | 58 | 62 | 0.0067867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2572-3_0_4_line_65 |  | 59 | 63 | 0.029009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2572-3_0_4_line_66 |  | 60 | 64 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2572-3_0_4_line_67 |  | 61 | 65 | 0.02641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2572-3_0_4_line_68 |  | 64 | 66 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2572-3_0_4_line_69 |  | 65 | 67 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2572-3_0_4_line_70 |  | 65 | 68 | 0.022801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2572-3_0_4_line_71 |  | 66 | 71 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2572-3_0_4_line_72 |  | 67 | 79 | 0.027957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2572-3_0_4_line_73 |  | 68 | 76 | 0.034162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2572-3_0_4_line_74 |  | 69 | 70 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2572-3_0_4_line_75 |  | 72 | 73 | 0.024124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2572-3_0_4_line_76 |  | 73 | 74 | 0.0015525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2572-3_0_4_line_77 |  | 74 | 75 | 0.022324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2572-3_0_4_line_78 |  | 77 | 78 | 0.00083503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2572-3_0_4_line_79 |  | 78 | 80 | 0.0070588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2572-3_0_4_line_80 |  | 79 | 84 | 0.018655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2572-3_0_4_line_81 |  | 80 | 85 | 0.019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2572-3_0_4_line_82 |  | 81 | 82 | 0.031099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2572-3_0_4_line_83 |  | 82 | 83 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2572-3_0_4_line_84 |  | 83 | 84 | 0.026933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2572-3_0_4_line_85 |  | 85 | 86 | 0.0018869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2572-3_0_4_line_86 |  | 86 | 87 | 0.03225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2572-3_0_4_line_87 |  | 87 | 88 | 0.02808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2572-3_0_4_line_88 |  | 88 | 89 | 0.0078741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2572-3_0_4_line_89 |  | 89 | 90 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2572-3_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 91 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2641076.533 | 1245206.6327 | 2641093.0271 | 1245184.1892
1 | 2641101.7726 | 1245172.9717 | 2641093.0271 | 1245184.1892
2 | 2641032.0003 | 1245188.3127 | 2641041.5162 | 1245187.767 | 2641076.533 | 1245206.6327
3 | 2641076.533 | 1245206.6327 | 2641090.6154 | 1245214.218
4 | 2641118.898 | 1245189.9107 | 2641101.7726 | 1245172.9717
5 | 2641087.9689 | 1245159.3183 | 2641101.7726 | 1245172.9717
6 | 2641032.0003 | 1245188.3127 | 2641026.4683 | 1245184.9612
7 | 2641098.7609 | 1245218.6055 | 2641098.7609 | 1245218.6055 | 2641090.6154 | 1245214.218
8 | 2641143.4226 | 1245211.8524 | 2641120.8041 | 1245191.796 | 2641118.898 | 1245189.9107
9 | 2641050.7101 | 1245125.5505 | 2641079.7576 | 1245151.1964 | 2641087.9689 | 1245159.3183
10 | 2641026.4683 | 1245184.9612 | 2640993.2534 | 1245164.8378
11 | 2640993.2534 | 1245164.8378 | 2640976.1884 | 1245154.499
12 | 2641050.7101 | 1245125.5505 | 2641048.6607 | 1245123.7411 | 2641044.4971 | 1245119.7489
13 | 2641143.4226 | 1245211.8524 | 2641144.6006 | 1245212.897 | 2641164.2975 | 1245229.1997 | 2641170.6204 | 1245234.777
14 | 2641300.3675 | 1245029.7745 | 2641300.4921 | 1245029.6041
15 | 2641310.2976 | 1245016.1961 | 2641300.4921 | 1245029.6041
16 | 2641295.5982 | 1245036.296 | 2641300.3675 | 1245029.7745
17 | 2641310.2976 | 1245016.1961 | 2641342.1369 | 1245040.9536
18 | 2641279.9985 | 1244992.5032 | 2641295.8023 | 1245004.7989 | 2641310.2976 | 1245016.1961
19 | 2641342.1369 | 1245040.9536 | 2641346.1461 | 1245044.0711
20 | 2641279.9985 | 1244992.5032 | 2641269.3687 | 1245006.6283
21 | 2641346.1461 | 1245044.0711 | 2641346.6995 | 1245044.5014 | 2641352.297 | 1245048.9989 | 2641357.2013 | 1245054.3032 | 2641364.8525 | 1245059.9089
22 | 2641269.3534 | 1245006.6488 | 2641269.3687 | 1245006.6283
23 | 2641364.8525 | 1245059.9089 | 2641369.2832 | 1245063.1551
24 | 2641264.7998 | 1245012.6997 | 2641269.3534 | 1245006.6488
25 | 2641374.6936 | 1245067.119 | 2641369.2832 | 1245063.1551
26 | 2641318.1937 | 1245357.7421 | 2641327.3507 | 1245363.2983 | 2641339.0007 | 1245369.8059 | 2641346.2389 | 1245373.9962
27 | 2641314.0043 | 1245355.2001 | 2641318.1937 | 1245357.7421
28 | 2641314.0043 | 1245355.2001 | 2641323.4293 | 1245340.556
29 | 2641323.4293 | 1245340.556 | 2641341.3495 | 1245309.3761
30 | 2641360.2998 | 1245276.4039 | 2641341.3495 | 1245309.3761
31 | 2641262.2868 | 1245324.9777 | 2641259.3465 | 1245323.2579
32 | 2641258.398 | 1245322.7032 | 2641259.3465 | 1245323.2579
33 | 2641360.2998 | 1245276.4039 | 2641352.6349 | 1245271.6244
34 | 2641370.4026 | 1245282.7007 | 2641360.2998 | 1245276.4039
35 | 2641258.398 | 1245322.7032 | 2641236.1457 | 1245342.8918
36 | 2641258.398 | 1245322.7032 | 2641239.9025 | 1245311.9009 | 2641229.7159 | 1245305.7039
37 | 2641329.7346 | 1245257.3447 | 2641352.6349 | 1245271.6244
38 | 2641307.4711 | 1245217.8244 | 2641324.8548 | 1245193.3968
39 | 2641306.2457 | 1245219.5464 | 2641307.4711 | 1245217.8244
40 | 2641295.6014 | 1245234.5039 | 2641306.2457 | 1245219.5464
41 | 2641354.0035 | 1245154.3021 | 2641364.0988 | 1245142.1978 | 2641367.8738 | 1245137.2515
42 | 2641354.0035 | 1245154.3021 | 2641336.4049 | 1245140.6058
43 | 2641385.9117 | 1245112.4941 | 2641385.6017 | 1245112.9062 | 2641368.5976 | 1245136.3031 | 2641367.8738 | 1245137.2515
44 | 2641336.4049 | 1245140.6058 | 2641327.0463 | 1245133.3224
45 | 2641295.6014 | 1245234.5039 | 2641302.8979 | 1245240.2028 | 2641308.9947 | 1245244.2652
46 | 2641295.6014 | 1245234.5039 | 2641294.1151 | 1245233.4351
47 | 2641385.9117 | 1245112.4941 | 2641396.3241 | 1245098.6494 | 2641400.6819 | 1245092.3979 | 2641400.6224 | 1245089.0175 | 2641399.1989 | 1245086.2057 | 2641396.1022 | 1245082.8041 | 2641374.6936 | 1245067.119
48 | 2641300.2337 | 1245110.6325 | 2641301.4309 | 1245113.3871 | 2641327.0463 | 1245133.3224
49 | 2641311.4164 | 1245245.8788 | 2641308.9947 | 1245244.2652
50 | 2641291.1299 | 1245231.2884 | 2641294.1151 | 1245233.4351
51 | 2641300.2337 | 1245110.6325 | 2641286.706 | 1245099.9449
52 | 2641300.2337 | 1245110.6325 | 2641287.435 | 1245127.0914
53 | 2641311.4164 | 1245245.8788 | 2641311.599 | 1245246.0005 | 2641313.7733 | 1245247.3613
54 | 2641291.1299 | 1245231.2884 | 2641282.7989 | 1245225.2977 | 2641270.7992 | 1245215.7969 | 2641261.237 | 1245207.5347
55 | 2641286.706 | 1245099.9449 | 2641264.7289 | 1245082.5816
56 | 2641287.435 | 1245127.0914 | 2641282.2267 | 1245133.7892 | 2641273.5113 | 1245143.5202
57 | 2641226.4321 | 1245235.9293 | 2641233.6039 | 1245227.9932
58 | 2641239.7992 | 1245221.1376 | 2641233.6039 | 1245227.9932
59 | 2641201.6997 | 1245262.4032 | 2641214.8043 | 1245248.7963 | 2641226.4321 | 1245235.9293
60 | 2641256.1018 | 1245203.0976 | 2641239.7992 | 1245221.1376
61 | 2641201.6997 | 1245262.4032 | 2641195.498 | 1245256.8009 | 2641192.3429 | 1245254.0035
62 | 2641201.6997 | 1245262.4032 | 2641206.1 | 1245266.3029 | 2641212.043 | 1245272.3376
63 | 2641256.1018 | 1245203.0976 | 2641251.7127 | 1245199.2765
64 | 2641256.1018 | 1245203.0976 | 2641261.237 | 1245207.5347
65 | 2641192.3429 | 1245254.0035 | 2641177.9043 | 1245241.202 | 2641170.6204 | 1245234.777
66 | 2641212.043 | 1245272.3376 | 2641218.4038 | 1245278.7965 | 2641220.7798 | 1245281.2592
67 | 2641231.7923 | 1245181.937 | 2641240.6014 | 1245189.6032 | 2641251.7127 | 1245199.2765
68 | 2641220.7798 | 1245281.2592 | 2641229.6031 | 1245290.4042
69 | 2641231.7923 | 1245181.937 | 2641214.6019 | 1245166.9968 | 2641212.2422 | 1245164.936
70 | 2641231.7923 | 1245181.937 | 2641249.9064 | 1245168.0889
71 | 2641229.7159 | 1245305.7039 | 2641229.6031 | 1245290.4042 | 2641229.6031 | 1245290.4042
72 | 2641212.2422 | 1245164.936 | 2641191.1851 | 1245146.5463
73 | 2641273.5113 | 1245143.5202 | 2641254.982 | 1245164.2087 | 2641249.9064 | 1245168.0889
74 | 2641329.7346 | 1245257.3447 | 2641327.1028 | 1245255.7036 | 2641313.7733 | 1245247.3613
75 | 2641236.1457 | 1245342.8918 | 2641218.279 | 1245359.1017
76 | 2641217.1292 | 1245360.1449 | 2641218.279 | 1245359.1017
77 | 2641217.1292 | 1245360.1449 | 2641200.596 | 1245375.1448
78 | 2641264.7289 | 1245082.5816 | 2641264.0737 | 1245082.0639
79 | 2641258.5349 | 1245077.688 | 2641264.0737 | 1245082.0639
80 | 2641177.1344 | 1245134.2754 | 2641191.1851 | 1245146.5463
81 | 2641258.5349 | 1245077.688 | 2641243.3658 | 1245065.7035
82 | 2641112.904 | 1245077.6579 | 2641136.1396 | 1245098.3279
83 | 2641156.8482 | 1245116.5589 | 2641145.098 | 1245106.2971 | 2641136.1396 | 1245098.3279
84 | 2641156.8482 | 1245116.5589 | 2641177.1344 | 1245134.2754
85 | 2641243.3658 | 1245065.7035 | 2641241.8852 | 1245064.5337
86 | 2641216.5802 | 1245044.5412 | 2641241.8852 | 1245064.5337
87 | 2641192.9786 | 1245030.9352 | 2641200.4375 | 1245031.7875 | 2641216.5802 | 1245044.5412
88 | 2641192.9786 | 1245030.9352 | 2641196.913 | 1245037.7559
89 | 2641214.9262 | 1245051.4732 | 2641196.913 | 1245037.7559

## bus_geodata
| x | y | coords
0 | 2641093.0271 | 1245184.1892
1 | 2641076.533 | 1245206.6327
2 | 2641101.7726 | 1245172.9717
3 | 2641032.0003 | 1245188.3127
4 | 2641090.6154 | 1245214.218
5 | 2641118.898 | 1245189.9107
6 | 2641087.9689 | 1245159.3183
7 | 2641026.4683 | 1245184.9612
8 | 2641098.7609 | 1245218.6055
9 | 2640993.2534 | 1245164.8378
10 | 2641050.7101 | 1245125.5505
11 | 2641143.4226 | 1245211.8524
12 | 2640976.1884 | 1245154.499
13 | 2641044.4971 | 1245119.7489
14 | 2641300.4921 | 1245029.6041
15 | 2641300.3675 | 1245029.7745
16 | 2641310.2976 | 1245016.1961
17 | 2641295.5982 | 1245036.296
18 | 2641342.1369 | 1245040.9536
19 | 2641279.9985 | 1244992.5032
20 | 2641346.1461 | 1245044.0711
21 | 2641269.3687 | 1245006.6283
22 | 2641364.8525 | 1245059.9089
23 | 2641269.3534 | 1245006.6488
24 | 2641369.2832 | 1245063.1551
25 | 2641264.7998 | 1245012.6997
26 | 2641318.1937 | 1245357.7421
27 | 2641346.2389 | 1245373.9962
28 | 2641314.0043 | 1245355.2001
29 | 2641323.4293 | 1245340.556
30 | 2641341.3495 | 1245309.3761
31 | 2641262.2868 | 1245324.9777
32 | 2641259.3465 | 1245323.2579
33 | 2641360.2998 | 1245276.4039
34 | 2641258.398 | 1245322.7032
35 | 2641352.6349 | 1245271.6244
36 | 2641370.4026 | 1245282.7007
37 | 2641324.8548 | 1245193.3968
38 | 2641307.4711 | 1245217.8245
39 | 2641306.2457 | 1245219.5464
40 | 2641354.0035 | 1245154.3021
41 | 2641367.8738 | 1245137.2515
42 | 2641336.4049 | 1245140.6058
43 | 2641295.6014 | 1245234.5039
44 | 2641385.9117 | 1245112.4941
45 | 2641327.0463 | 1245133.3224
46 | 2641308.9947 | 1245244.2652
47 | 2641294.1151 | 1245233.4351
48 | 2641374.6936 | 1245067.119
49 | 2641300.2337 | 1245110.6325
50 | 2641311.4164 | 1245245.8788
51 | 2641291.1299 | 1245231.2884
52 | 2641286.706 | 1245099.9449
53 | 2641287.435 | 1245127.0914
54 | 2641233.6039 | 1245227.9932
55 | 2641226.4321 | 1245235.9293
56 | 2641239.7992 | 1245221.1376
57 | 2641201.6997 | 1245262.4032
58 | 2641256.1018 | 1245203.0976
59 | 2641192.3429 | 1245254.0035
60 | 2641212.043 | 1245272.3376
61 | 2641251.7127 | 1245199.2765
62 | 2641261.237 | 1245207.5347
63 | 2641170.6204 | 1245234.777
64 | 2641220.7798 | 1245281.2592
65 | 2641231.7923 | 1245181.937
66 | 2641229.6031 | 1245290.4041
67 | 2641212.2422 | 1245164.936
68 | 2641249.9064 | 1245168.0889
69 | 2641329.7346 | 1245257.3447
70 | 2641313.7733 | 1245247.3613
71 | 2641229.7159 | 1245305.7039
72 | 2641236.1457 | 1245342.8918
73 | 2641218.279 | 1245359.1017
74 | 2641217.1292 | 1245360.1449
75 | 2641200.596 | 1245375.1448
76 | 2641273.5113 | 1245143.5202
77 | 2641264.7289 | 1245082.5816
78 | 2641264.0737 | 1245082.0639
79 | 2641191.1851 | 1245146.5463
80 | 2641258.5349 | 1245077.688
81 | 2641112.904 | 1245077.6579
82 | 2641136.1396 | 1245098.3279
83 | 2641156.8482 | 1245116.5589
84 | 2641177.1344 | 1245134.2754
85 | 2641243.3658 | 1245065.7035
86 | 2641241.8852 | 1245064.5337
87 | 2641216.5802 | 1245044.5412
88 | 2641192.9786 | 1245030.9352
89 | 2641196.913 | 1245037.7559
90 | 2641214.9262 | 1245051.4732
91 | 2641256.1018 | 1245203.0976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98034 | -0.37826 | 0.0036542 | 0.00091583
1 | 0.97992 | -0.38657 | 0 | 0
2 | 0.98061 | -0.37307 | 0.02162 | 0.0054184
3 | 0.97983 | -0.38834 | 0 | 0
4 | 0.97971 | -0.39076 | 0.0018223 | 0.00045671
5 | 0.98217 | -0.34249 | 0.0022049 | 0.0005526
6 | 0.9801 | -0.38308 | 0.019462 | 0.0048775
7 | 0.97982 | -0.38858 | 0.00048074 | 0.00012048
8 | 0.9796 | -0.39289 | 0.012632 | 0.0031658
9 | 0.97976 | -0.38964 | 0.00049995 | 0.0001253
10 | 0.97968 | -0.39127 | 0.0061832 | 0.0015496
11 | 0.98437 | -0.29956 | 0.015593 | 0.0039079
12 | 0.97974 | -0.39 | 0.0010056 | 0.00025202
13 | 0.97966 | -0.3917 | 0.0027849 | 0.00069796
14 | 0.98624 | -0.26525 | 0.00041314 | 0.00010354
15 | 0.98624 | -0.26526 | 0.0010865 | 0.0002723
16 | 0.98628 | -0.26438 | 0 | 0
17 | 0.98623 | -0.26546 | 0.0014144 | 0.00035449
18 | 0.9865 | -0.26024 | 0.0017683 | 0.00044317
19 | 0.98618 | -0.26632 | 0 | 0
20 | 0.98653 | -0.25955 | 0.0014626 | 0.00036657
21 | 0.98614 | -0.26721 | 0.00041607 | 0.00010428
22 | 0.98673 | -0.25561 | 0.0017846 | 0.00044726
23 | 0.98614 | -0.26721 | 0.00080073 | 0.00020068
24 | 0.98679 | -0.25455 | 0.002785 | 0.00069798
25 | 0.98613 | -0.26743 | 0.0016005 | 0.00040111
26 | 0.98316 | -0.32431 | 0.0041996 | 0.0010525
27 | 0.98227 | -0.34162 | 0.029581 | 0.0074137
28 | 0.98331 | -0.32132 | 0 | 0
29 | 0.98385 | -0.31073 | 0 | 0
30 | 0.98497 | -0.28888 | 0.023574 | 0.0059081
31 | 0.98964 | -0.19781 | 0.0014633 | 0.00036675
32 | 0.98965 | -0.19772 | 0.00020332 | 5.0956e-05
33 | 0.98698 | -0.24977 | 0 | 0
34 | 0.98965 | -0.19769 | 0 | 0
35 | 0.98765 | -0.2368 | 0.0050139 | 0.0012566
36 | 0.98673 | -0.25465 | 0.022944 | 0.0057503
37 | 0.99259 | -0.14169 | 0.011318 | 0.0028364
38 | 0.9929 | -0.13568 | 0.010214 | 0.0025599
39 | 0.99294 | -0.13488 | 0.0046352 | 0.0011617
40 | 0.9889 | -0.21336 | 0 | 0
41 | 0.98834 | -0.22443 | 0.0075617 | 0.0018952
42 | 0.98948 | -0.20214 | 0.011328 | 0.002839
43 | 0.99338 | -0.12639 | 0 | 0
44 | 0.98775 | -0.23574 | 0.0053239 | 0.0013343
45 | 0.98991 | -0.19379 | 0.0098256 | 0.0024625
46 | 0.99187 | -0.15528 | 0.0014592 | 0.00036571
47 | 0.99359 | -0.12236 | 0.0015587 | 0.00039065
48 | 0.98687 | -0.25292 | 0.0018124 | 0.00045422
49 | 0.99152 | -0.16269 | 0.0033992 | 0.00085193
50 | 0.99161 | -0.16029 | 0.001305 | 0.00032707
51 | 0.99401 | -0.11417 | 0.001337 | 0.00033508
52 | 0.99126 | -0.16765 | 0.0017594 | 0.00044094
53 | 0.99284 | -0.1372 | 0.0017384 | 0.00043568
54 | 0.99547 | -0.085984 | 0.0088777 | 0.002225
55 | 0.99437 | -0.10693 | 0.0020113 | 0.00050407
56 | 0.9965 | -0.066488 | 0.0055148 | 0.0013821
57 | 0.99072 | -0.17693 | 0 | 0
58 | 0.99931 | -0.013036 | 0 | 0
59 | 0.98966 | -0.19725 | 0.0016241 | 0.00040705
60 | 0.99048 | -0.18159 | 0.0025071 | 0.00062834
61 | 1 | 0 | -0.41502 | -0.10534
62 | 0.99849 | -0.028598 | 0.003723 | 0.00093306
63 | 0.98727 | -0.24345 | 0.0013292 | 0.00033312
64 | 0.9903 | -0.18509 | 0.0018601 | 0.0004662
65 | 0.99816 | -0.035056 | 0 | 0
66 | 0.99014 | -0.18823 | 0.0029723 | 0.00074492
67 | 0.99643 | -0.068296 | 0.011835 | 0.0029662
68 | 0.99652 | -0.066549 | 0.0060647 | 0.00152
69 | 0.98977 | -0.19575 | 0.006598 | 0.0016536
70 | 0.99137 | -0.16501 | 0.0038035 | 0.00095323
71 | 0.98998 | -0.19121 | 0 | 0
72 | 0.98939 | -0.20265 | 0.00018618 | 4.6661e-05
73 | 0.98919 | -0.20655 | 0.00017042 | 4.271e-05
74 | 0.98918 | -0.2068 | 0.0016533 | 0.00041435
75 | 0.98903 | -0.20969 | 0.0072635 | 0.0018204
76 | 0.99424 | -0.11027 | 0.0019775 | 0.00049561
77 | 0.99089 | -0.17485 | 0.0022325 | 0.00055952
78 | 0.99088 | -0.17504 | 0.0018764 | 0.00047028
79 | 0.99487 | -0.098465 | 0.01183 | 0.0029649
80 | 0.99082 | -0.17634 | 0.00076574 | 0.00019191
81 | 0.9926 | -0.14232 | 0.0059572 | 0.001493
82 | 0.99277 | -0.13904 | 0.0070699 | 0.0017719
83 | 0.9931 | -0.13269 | 0.024686 | 0.006187
84 | 0.99402 | -0.11475 | 0.011829 | 0.0029647
85 | 0.99065 | -0.17963 | 0.0018231 | 0.00045691
86 | 0.99063 | -0.1799 | 0.0022868 | 0.00057312
87 | 0.99047 | -0.18305 | 0.0023682 | 0.00059352
88 | 0.99039 | -0.18461 | 0 | 0
89 | 0.99037 | -0.18504 | 0.0017393 | 0.00043591
90 | 0.99034 | -0.1856 | 0.0013885 | 0.00034799
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016451 | 0.0041252 | -0.016445 | -0.0041214 | 6.513e-06 | 3.8173e-06 | 0.024971 | 0.024971 | 0.024971 | 0.98034 | -0.37826 | 0.97992 | -0.38657 | 6.8603
1 | -0.020105 | -0.005041 | 0.02011 | 0.005044 | 4.9677e-06 | 2.9999e-06 | 0.030518 | 0.030518 | 0.030518 | 0.98034 | -0.37826 | 0.98061 | -0.37307 | 8.384
2 | 0.0019865 | 0.00049655 | -0.0019864 | -0.00049706 | 1.6781e-07 | -5.122e-07 | 0.0030161 | 0.0030163 | 0.0030163 | 0.97992 | -0.38657 | 0.97983 | -0.38834 | 0.82866
3 | 0.014458 | 0.0036249 | -0.014455 | -0.0036232 | 2.8914e-06 | 1.649e-06 | 0.021955 | 0.021955 | 0.021955 | 0.97992 | -0.38657 | 0.97971 | -0.39076 | 6.0317
4 | -0.070177 | -0.017598 | 0.070279 | 0.017663 | 0.00010244 | 6.5256e-05 | 0.10649 | 0.10649 | 0.10649 | 0.98061 | -0.37307 | 0.98217 | -0.34249 | 29.2562
5 | 0.028447 | 0.0071351 | -0.028433 | -0.0071267 | 1.3568e-05 | 8.4386e-06 | 0.043168 | 0.043169 | 0.043169 | 0.98061 | -0.37307 | 0.9801 | -0.38308 | 11.8595
6 | 0.0019864 | 0.00049706 | -0.0019864 | -0.00049712 | 2.2068e-08 | -6.7343e-08 | 0.0030163 | 0.0030164 | 0.0030164 | 0.97983 | -0.38834 | 0.97982 | -0.38858 | 0.82867
7 | 0.012633 | 0.0031665 | -0.012632 | -0.0031658 | 1.2773e-06 | 7.01e-07 | 0.019188 | 0.019188 | 0.019188 | 0.97971 | -0.39076 | 0.9796 | -0.39289 | 5.2713
8 | -0.072484 | -0.018215 | 0.072633 | 0.01831 | 0.00014888 | 9.4866e-05 | 0.10983 | 0.10983 | 0.10983 | 0.98217 | -0.34249 | 0.98437 | -0.29956 | 30.1739
9 | 0.0089716 | 0.0022491 | -0.0089681 | -0.0022475 | 3.4997e-06 | 1.6062e-06 | 0.013621 | 0.013621 | 0.013621 | 0.9801 | -0.38308 | 0.97968 | -0.39127 | 3.7422
10 | 0.0015056 | 0.00037664 | -0.0015055 | -0.00037708 | 7.6129e-08 | -4.4038e-07 | 0.0022863 | 0.0022865 | 0.0022865 | 0.97982 | -0.38858 | 0.97976 | -0.38964 | 0.62815
11 | 0.0010056 | 0.00025178 | -0.0010056 | -0.00025202 | 1.7451e-08 | -2.401e-07 | 0.0015272 | 0.0015273 | 0.0015273 | 0.97976 | -0.38964 | 0.97974 | -0.39 | 0.41958
12 | 0.002785 | 0.00069789 | -0.0027849 | -0.00069796 | 5.7049e-08 | -7.0542e-08 | 0.00423 | 0.00423 | 0.00423 | 0.97968 | -0.39127 | 0.97966 | -0.3917 | 1.1621
13 | -0.088226 | -0.022218 | 0.088463 | 0.02237 | 0.00023741 | 0.00015149 | 0.1334 | 0.1334 | 0.1334 | 0.98437 | -0.29956 | 0.98727 | -0.24345 | 36.6493
14 | 0.002501 | 0.0006267 | -0.002501 | -0.0006267 | 1.127e-09 | -1.9724e-09 | 0.0037734 | 0.0037734 | 0.0037734 | 0.98624 | -0.26525 | 0.98624 | -0.26526 | 1.0366
15 | -0.0029141 | -0.00073024 | 0.0029142 | 0.00073011 | 1.2041e-07 | -1.3491e-07 | 0.0043967 | 0.0043966 | 0.0043967 | 0.98624 | -0.26525 | 0.98628 | -0.26438 | 1.2079
16 | 0.0014145 | 0.0003544 | -0.0014144 | -0.00035449 | 1.3799e-08 | -9.4266e-08 | 0.0021341 | 0.0021341 | 0.0021341 | 0.98624 | -0.26526 | 0.98623 | -0.26546 | 0.58629
17 | -0.0057319 | -0.0014356 | 0.005733 | 0.0014358 | 1.131e-06 | 2.0899e-07 | 0.0086474 | 0.0086472 | 0.0086474 | 0.98628 | -0.26438 | 0.9865 | -0.26024 | 2.3757
18 | 0.0028177 | 0.00070551 | -0.0028174 | -0.00070584 | 2.6016e-07 | -3.2341e-07 | 0.0042508 | 0.004251 | 0.004251 | 0.98628 | -0.26438 | 0.98618 | -0.26632 | 1.1678
19 | -0.0075013 | -0.001879 | 0.0075015 | 0.0018791 | 2.4381e-07 | 9.1194e-08 | 0.011314 | 0.011314 | 0.011314 | 0.9865 | -0.26024 | 0.98653 | -0.25955 | 3.1084
20 | 0.0028174 | 0.00070584 | -0.0028173 | -0.00070599 | 1.198e-07 | -1.4888e-07 | 0.004251 | 0.0042511 | 0.0042511 | 0.98618 | -0.26632 | 0.98614 | -0.26721 | 1.1679
21 | -0.0089641 | -0.0022457 | 0.0089658 | 0.0022464 | 1.6857e-06 | 7.6482e-07 | 0.013521 | 0.01352 | 0.013521 | 0.98653 | -0.25955 | 0.98673 | -0.25561 | 3.7144
22 | 0.0024012 | 0.00060171 | -0.0024012 | -0.00060171 | 1.2424e-10 | -2.4598e-10 | 0.0036232 | 0.0036232 | 0.0036232 | 0.98614 | -0.26721 | 0.98614 | -0.26721 | 0.99539
23 | -0.01075 | -0.0026937 | 0.010751 | 0.002694 | 5.4134e-07 | 2.7629e-07 | 0.016212 | 0.016212 | 0.016212 | 0.98673 | -0.25561 | 0.98679 | -0.25455 | 4.4538
24 | 0.0016005 | 0.00040103 | -0.0016005 | -0.00040111 | 1.6563e-08 | -8.6015e-08 | 0.002415 | 0.002415 | 0.002415 | 0.98614 | -0.26721 | 0.98613 | -0.26743 | 0.66347
25 | -0.013536 | -0.0033919 | 0.013537 | 0.0033925 | 1.0479e-06 | 5.8494e-07 | 0.020411 | 0.020411 | 0.020411 | 0.98679 | -0.25455 | 0.98687 | -0.25292 | 5.6075
26 | 0.029606 | 0.007429 | -0.029581 | -0.0074137 | 2.4412e-05 | 1.5213e-05 | 0.044812 | 0.044812 | 0.044812 | 0.98316 | -0.32431 | 0.98227 | -0.34162 | 12.3109
27 | -0.033805 | -0.0084815 | 0.03381 | 0.0084845 | 4.8111e-06 | 3.0169e-06 | 0.051168 | 0.051168 | 0.051168 | 0.98316 | -0.32431 | 0.98331 | -0.32132 | 14.0571
28 | -0.03381 | -0.0084845 | 0.033827 | 0.0084952 | 1.7085e-05 | 1.0714e-05 | 0.051168 | 0.051168 | 0.051168 | 0.98331 | -0.32132 | 0.98385 | -0.31073 | 14.0571
29 | -0.033827 | -0.0084952 | 0.033862 | 0.0085174 | 3.5308e-05 | 2.214e-05 | 0.051168 | 0.051168 | 0.051168 | 0.98385 | -0.31073 | 0.98497 | -0.28888 | 14.0571
30 | -0.057436 | -0.014425 | 0.057543 | 0.014494 | 0.0001074 | 6.825e-05 | 0.08678 | 0.08678 | 0.08678 | 0.98497 | -0.28888 | 0.98698 | -0.24977 | 23.8408
31 | -0.0014633 | -0.00036675 | 0.0014633 | 0.00036671 | 6.1838e-09 | -3.981e-08 | 0.0022003 | 0.0022002 | 0.0022003 | 0.98964 | -0.19781 | 0.98965 | -0.19772 | 0.60447
32 | -0.0016667 | -0.00041766 | 0.0016667 | 0.00041765 | 2.5877e-09 | -1.2463e-08 | 0.002506 | 0.0025059 | 0.002506 | 0.98965 | -0.19772 | 0.98965 | -0.19769 | 0.68845
33 | -0.080493 | -0.020247 | 0.080543 | 0.020279 | 4.9907e-05 | 3.1825e-05 | 0.12138 | 0.12138 | 0.12138 | 0.98698 | -0.24977 | 0.98765 | -0.2368 | 33.3463
34 | 0.022949 | 0.0057536 | -0.022944 | -0.0057503 | 5.333e-06 | 3.2613e-06 | 0.0346 | 0.0346 | 0.0346 | 0.98698 | -0.24977 | 0.98673 | -0.25465 | 9.5056
35 | 0.0092784 | 0.0023263 | -0.0092762 | -0.0023253 | 2.193e-06 | 1.0175e-06 | 0.013951 | 0.013951 | 0.013951 | 0.98965 | -0.19769 | 0.98939 | -0.20265 | 3.8328
36 | -0.010945 | -0.002744 | 0.010948 | 0.0027457 | 3.379e-06 | 1.7349e-06 | 0.016457 | 0.016457 | 0.016457 | 0.98965 | -0.19769 | 0.98998 | -0.19121 | 4.5212
37 | -0.085557 | -0.021536 | 0.085725 | 0.021643 | 0.00016824 | 0.00010733 | 0.12893 | 0.12893 | 0.12893 | 0.98765 | -0.2368 | 0.98977 | -0.19575 | 35.4215
38 | -0.011318 | -0.0028364 | 0.011321 | 0.0028381 | 3.2364e-06 | 1.6837e-06 | 0.016966 | 0.016966 | 0.016966 | 0.99259 | -0.14169 | 0.9929 | -0.13568 | 4.6611
39 | -0.021535 | -0.005398 | 0.021536 | 0.0053985 | 8.2552e-07 | 5.01e-07 | 0.032274 | 0.032274 | 0.032274 | 0.9929 | -0.13568 | 0.99294 | -0.13488 | 8.8665
40 | -0.026171 | -0.0065602 | 0.026182 | 0.0065668 | 1.059e-05 | 6.5399e-06 | 0.03922 | 0.03922 | 0.03922 | 0.99294 | -0.13488 | 0.99338 | -0.12639 | 10.7748
41 | 0.028274 | 0.0070995 | -0.028259 | -0.0070902 | 1.4925e-05 | 9.2699e-06 | 0.042548 | 0.042549 | 0.042549 | 0.9889 | -0.21336 | 0.98834 | -0.22443 | 11.6892
42 | -0.028274 | -0.0070995 | 0.028289 | 0.0071089 | 1.5139e-05 | 9.4029e-06 | 0.042548 | 0.042548 | 0.042548 | 0.9889 | -0.21336 | 0.98948 | -0.20214 | 11.6891
43 | 0.020697 | 0.005195 | -0.020686 | -0.0051883 | 1.1156e-05 | 6.7475e-06 | 0.031164 | 0.031164 | 0.031164 | 0.98834 | -0.22443 | 0.98775 | -0.23574 | 8.5615
44 | -0.039617 | -0.0099479 | 0.039632 | 0.0099578 | 1.5788e-05 | 9.9518e-06 | 0.059583 | 0.059583 | 0.059583 | 0.98948 | -0.20214 | 0.98991 | -0.19379 | 16.3691
45 | 0.099209 | 0.025146 | -0.099072 | -0.025058 | 0.00013753 | 8.7808e-05 | 0.14871 | 0.14871 | 0.14871 | 0.99338 | -0.12639 | 0.99187 | -0.15528 | 40.8543
46 | -0.12539 | -0.031713 | 0.12542 | 0.031729 | 2.4246e-05 | 1.5494e-05 | 0.18793 | 0.18793 | 0.18793 | 0.99338 | -0.12639 | 0.99359 | -0.12236 | 51.6291
47 | 0.015362 | 0.003854 | -0.015349 | -0.0038467 | 1.2577e-05 | 7.2486e-06 | 0.023144 | 0.023144 | 0.023144 | 0.98775 | -0.23574 | 0.98687 | -0.25292 | 6.3582
48 | -0.049458 | -0.01242 | 0.049532 | 0.012467 | 7.3518e-05 | 4.6595e-05 | 0.074353 | 0.074353 | 0.074353 | 0.98991 | -0.19379 | 0.99152 | -0.16269 | 20.4267
49 | 0.097613 | 0.024693 | -0.097589 | -0.024678 | 2.3428e-05 | 1.4956e-05 | 0.14652 | 0.14652 | 0.14652 | 0.99187 | -0.15528 | 0.99161 | -0.16029 | 40.2529
50 | -0.12697 | -0.032119 | 0.12702 | 0.032151 | 4.9914e-05 | 3.1897e-05 | 0.19026 | 0.19026 | 0.19026 | 0.99359 | -0.12236 | 0.99401 | -0.11417 | 52.2704
51 | 0.016252 | 0.0040759 | -0.016248 | -0.0040736 | 3.8463e-06 | 2.2393e-06 | 0.024391 | 0.024391 | 0.024391 | 0.99152 | -0.16269 | 0.99126 | -0.16765 | 6.7009
52 | -0.069183 | -0.017395 | 0.069267 | 0.017448 | 8.4314e-05 | 5.3692e-05 | 0.10385 | 0.10385 | 0.10385 | 0.99152 | -0.16269 | 0.99284 | -0.1372 | 28.529
53 | 0.096284 | 0.024351 | -0.096262 | -0.024337 | 2.1822e-05 | 1.393e-05 | 0.14456 | 0.14456 | 0.14456 | 0.99161 | -0.16029 | 0.99137 | -0.16501 | 39.7149
54 | -0.12836 | -0.032486 | 0.12889 | 0.032825 | 0.00052959 | 0.00033844 | 0.19227 | 0.19227 | 0.19227 | 0.99401 | -0.11417 | 0.99849 | -0.028598 | 52.8202
55 | 0.014489 | 0.0036327 | -0.014484 | -0.0036299 | 4.9689e-06 | 2.8191e-06 | 0.02175 | 0.02175 | 0.02175 | 0.99126 | -0.16765 | 0.99089 | -0.17485 | 5.9754
56 | -0.071006 | -0.017884 | 0.071097 | 0.017942 | 9.1566e-05 | 5.8323e-05 | 0.10645 | 0.10645 | 0.10645 | 0.99284 | -0.1372 | 0.99424 | -0.11027 | 29.2447
57 | 0.1125 | 0.028699 | -0.11239 | -0.028627 | 0.00011368 | 7.2614e-05 | 0.16834 | 0.16834 | 0.16834 | 0.99547 | -0.085984 | 0.99437 | -0.10693 | 46.248
58 | -0.12138 | -0.030924 | 0.12149 | 0.030997 | 0.00011429 | 7.3024e-05 | 0.18161 | 0.18161 | 0.18161 | 0.99547 | -0.085984 | 0.9965 | -0.066488 | 49.8937
59 | 0.11038 | 0.028123 | -0.11 | -0.027885 | 0.00037142 | 0.00023724 | 0.16533 | 0.16533 | 0.16533 | 0.99437 | -0.10693 | 0.99072 | -0.17693 | 45.4212
60 | -0.12701 | -0.032379 | 0.12734 | 0.032589 | 0.00032864 | 0.00021001 | 0.18985 | 0.18985 | 0.18985 | 0.9965 | -0.066488 | 0.99931 | -0.013036 | 52.156
61 | 0.091705 | 0.023294 | -0.091616 | -0.023237 | 8.9601e-05 | 5.7183e-05 | 0.13785 | 0.13785 | 0.13785 | 0.99072 | -0.17693 | 0.98966 | -0.19725 | 37.8704
62 | 0.018298 | 0.0045911 | -0.018294 | -0.0045887 | 4.065e-06 | 2.4168e-06 | 0.027485 | 0.027485 | 0.027485 | 0.99072 | -0.17693 | 0.99048 | -0.18159 | 7.5508
63 | -0.26005 | -0.066411 | 0.26021 | 0.066516 | 0.00016397 | 0.00010479 | 0.38766 | 0.38766 | 0.38766 | 0.99931 | -0.013036 | 1 | 0 | 53.2502
64 | 0.13271 | 0.033821 | -0.13261 | -0.033758 | 9.9587e-05 | 6.3647e-05 | 0.19781 | 0.19781 | 0.19781 | 0.99931 | -0.013036 | 0.99849 | -0.028598 | 54.3444
65 | 0.089992 | 0.02283 | -0.089792 | -0.022703 | 0.00019945 | 0.00012728 | 0.13541 | 0.13541 | 0.13541 | 0.98966 | -0.19725 | 0.98727 | -0.24345 | 37.1996
66 | 0.015787 | 0.0039603 | -0.015784 | -0.0039588 | 2.6344e-06 | 1.5253e-06 | 0.023719 | 0.023719 | 0.023719 | 0.99048 | -0.18159 | 0.9903 | -0.18509 | 6.5161
67 | 0.15316 | 0.038822 | -0.1529 | -0.038658 | 0.00025755 | 0.00016414 | 0.22806 | 0.22806 | 0.22806 | 1 | 0 | 0.99816 | -0.035056 | 31.3266
68 | 0.013924 | 0.0034926 | -0.013922 | -0.0034914 | 2.0862e-06 | 1.1717e-06 | 0.020924 | 0.020924 | 0.020924 | 0.9903 | -0.18509 | 0.99014 | -0.18823 | 5.7483
69 | 0.073489 | 0.018525 | -0.073372 | -0.018451 | 0.00011669 | 7.4342e-05 | 0.10959 | 0.10959 | 0.10959 | 0.99816 | -0.035056 | 0.99643 | -0.068296 | 30.1076
70 | 0.079413 | 0.020132 | -0.079293 | -0.020056 | 0.00012 | 7.6501e-05 | 0.11847 | 0.11847 | 0.11847 | 0.99816 | -0.035056 | 0.99652 | -0.066549 | 32.5456
71 | 0.01095 | 0.0027465 | -0.010948 | -0.0027457 | 1.5539e-06 | 7.9773e-07 | 0.016457 | 0.016457 | 0.016457 | 0.99014 | -0.18823 | 0.98998 | -0.19121 | 4.5211
72 | 0.061537 | 0.015485 | -0.061448 | -0.015428 | 8.8576e-05 | 5.6325e-05 | 0.091917 | 0.091917 | 0.091917 | 0.99643 | -0.068296 | 0.99487 | -0.098465 | 25.2521
73 | 0.073228 | 0.018536 | -0.073075 | -0.018438 | 0.00015335 | 9.7702e-05 | 0.10941 | 0.10941 | 0.10941 | 0.99652 | -0.066549 | 0.99424 | -0.11027 | 30.0578
74 | -0.092323 | -0.023297 | 0.092459 | 0.023384 | 0.00013612 | 8.6872e-05 | 0.13885 | 0.13885 | 0.13885 | 0.98977 | -0.19575 | 0.99137 | -0.16501 | 38.1466
75 | 0.00909 | 0.0022786 | -0.0090883 | -0.0022779 | 1.6908e-06 | 7.7239e-07 | 0.013671 | 0.013671 | 0.013671 | 0.98939 | -0.20265 | 0.98919 | -0.20655 | 3.7559
76 | 0.0089179 | 0.0022352 | -0.0089178 | -0.0022351 | 1.0477e-07 | 4.7123e-08 | 0.013415 | 0.013415 | 0.013415 | 0.98919 | -0.20655 | 0.98918 | -0.2068 | 3.6854
77 | 0.0072645 | 0.0018208 | -0.0072635 | -0.0018204 | 9.9972e-07 | 3.533e-07 | 0.010928 | 0.010928 | 0.010928 | 0.98918 | -0.2068 | 0.98903 | -0.20969 | 3.0022
78 | 0.012252 | 0.0030703 | -0.012251 | -0.0030703 | 1.0599e-07 | 5.7079e-08 | 0.018398 | 0.018398 | 0.018398 | 0.99089 | -0.17485 | 0.99088 | -0.17504 | 5.0544
79 | 0.010375 | 0.0026 | -0.010374 | -0.0025997 | 6.4254e-07 | 3.2031e-07 | 0.01558 | 0.01558 | 0.01558 | 0.99088 | -0.17504 | 0.99082 | -0.17634 | 4.2803
80 | 0.049618 | 0.012464 | -0.04958 | -0.012439 | 3.8539e-05 | 2.4423e-05 | 0.074224 | 0.074224 | 0.074224 | 0.99487 | -0.098465 | 0.99402 | -0.11475 | 20.3911
81 | 0.0096086 | 0.0024078 | -0.0096071 | -0.0024071 | 1.5096e-06 | 7.1718e-07 | 0.01443 | 0.01443 | 0.01443 | 0.99082 | -0.17634 | 0.99065 | -0.17963 | 3.9643
82 | -0.0059572 | -0.001493 | 0.0059581 | 0.0014932 | 9.3007e-07 | 1.932e-07 | 0.0089304 | 0.0089303 | 0.0089304 | 0.9926 | -0.14232 | 0.99277 | -0.13904 | 2.4534
83 | -0.013028 | -0.0032651 | 0.013032 | 0.0032673 | 3.9451e-06 | 2.168e-06 | 0.019527 | 0.019527 | 0.019527 | 0.99277 | -0.13904 | 0.9931 | -0.13269 | 5.3646
84 | -0.037718 | -0.0094542 | 0.037751 | 0.0094745 | 3.226e-05 | 2.0297e-05 | 0.056516 | 0.056516 | 0.056516 | 0.9931 | -0.13269 | 0.99402 | -0.11475 | 15.5264
85 | 0.007784 | 0.0019502 | -0.0077839 | -0.0019501 | 9.6725e-08 | 3.7611e-08 | 0.011692 | 0.011692 | 0.011692 | 0.99065 | -0.17963 | 0.99063 | -0.1799 | 3.212
86 | 0.0054971 | 0.001377 | -0.0054963 | -0.0013769 | 8.2452e-07 | 1.1255e-07 | 0.0082569 | 0.008257 | 0.008257 | 0.99063 | -0.1799 | 0.99047 | -0.18305 | 2.2684
87 | 0.0031281 | 0.00078336 | -0.0031279 | -0.00078358 | 2.3255e-07 | -2.1255e-07 | 0.0046993 | 0.0046994 | 0.0046994 | 0.99047 | -0.18305 | 0.99039 | -0.18461 | 1.291
88 | 0.0031279 | 0.00078358 | -0.0031278 | -0.00078364 | 6.5211e-08 | -5.9589e-08 | 0.0046994 | 0.0046995 | 0.0046995 | 0.99039 | -0.18461 | 0.99037 | -0.18504 | 1.2911
89 | 0.0013885 | 0.00034772 | -0.0013885 | -0.00034799 | 3.6953e-08 | -2.6769e-07 | 0.0020862 | 0.0020863 | 0.0020863 | 0.99037 | -0.18504 | 0.99034 | -0.1856 | 0.57315

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41886 | 0.1063

## res_load
| p_mw | q_mvar
0 | 0.0036542 | 0.00091583
1 | 0.02162 | 0.0054184
2 | 0.0018223 | 0.00045671
3 | 0.0022049 | 0.0005526
4 | 0.019462 | 0.0048775
5 | 0.00048074 | 0.00012048
6 | 0.012632 | 0.0031658
7 | 0.00049995 | 0.0001253
8 | 0.0061832 | 0.0015496
9 | 0.015593 | 0.0039079
10 | 0.0010056 | 0.00025202
11 | 0.0027849 | 0.00069796
12 | 0.00041314 | 0.00010354
13 | 0.0010865 | 0.0002723
14 | 0.0014144 | 0.00035449
15 | 0.0017683 | 0.00044317
16 | 0.0014626 | 0.00036657
17 | 0.00041607 | 0.00010428
18 | 0.0017846 | 0.00044726
19 | 0.00080073 | 0.00020068
20 | 0.002785 | 0.00069798
21 | 0.0016005 | 0.00040111
22 | 0.0041996 | 0.0010525
23 | 0.029581 | 0.0074137
24 | 0.023574 | 0.0059081
25 | 0.0014633 | 0.00036675
26 | 0.00020332 | 5.0956e-05
27 | 0.0050139 | 0.0012566
28 | 0.022944 | 0.0057503
29 | 0.011318 | 0.0028364
30 | 0.010214 | 0.0025599
31 | 0.0046352 | 0.0011617
32 | 0.0075617 | 0.0018952
33 | 0.011328 | 0.002839
34 | 0.0053239 | 0.0013343
35 | 0.0098256 | 0.0024625
36 | 0.0014592 | 0.00036571
37 | 0.0015587 | 0.00039065
38 | 0.0018124 | 0.00045422
39 | 0.0033992 | 0.00085193
40 | 0.001305 | 0.00032707
41 | 0.001337 | 0.00033508
42 | 0.0017594 | 0.00044094
43 | 0.0017384 | 0.00043568
44 | 0.0088777 | 0.002225
45 | 0.0020113 | 0.00050407
46 | 0.0055148 | 0.0013821
47 | 0.0016241 | 0.00040705
48 | 0.0025071 | 0.00062834
49 | 0.0038427 | 0.00096306
50 | 0.003723 | 0.00093306
51 | 0.0013292 | 0.00033312
52 | 0.0018601 | 0.0004662
53 | 0.0029723 | 0.00074492
54 | 0.011835 | 0.0029662
55 | 0.0060647 | 0.00152
56 | 0.006598 | 0.0016536
57 | 0.0038035 | 0.00095323
58 | 0.00018618 | 4.6661e-05
59 | 0.00017042 | 4.271e-05
60 | 0.0016533 | 0.00041435
61 | 0.0072635 | 0.0018204
62 | 0.0019775 | 0.00049561
63 | 0.0022325 | 0.00055952
64 | 0.0018764 | 0.00047028
65 | 0.01183 | 0.0029649
66 | 0.00076574 | 0.00019191
67 | 0.0059572 | 0.001493
68 | 0.0070699 | 0.0017719
69 | 0.024686 | 0.006187
70 | 0.011829 | 0.0029647
71 | 0.0018231 | 0.00045691
72 | 0.0022868 | 0.00057312
73 | 0.0023682 | 0.00059352
74 | 0.0017393 | 0.00043591
75 | 0.0013885 | 0.00034799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1