## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2576-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2576-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2576-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2576-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2576-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2576-2_0_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_2576-2_0_3_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_2576-2_0_3_node_128 | 0.4 | n |  | TRUE
8 | bus_LV_2576-2_0_3_node_127 | 0.4 | n |  | TRUE
9 | bus_LV_2576-2_0_3_node_129 | 0.4 | n |  | TRUE
10 | bus_LV_2576-2_0_3_node_160 | 0.4 | n |  | TRUE
11 | bus_LV_2576-2_0_3_node_131 | 0.4 | n |  | TRUE
12 | bus_LV_2576-2_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_2576-2_0_3_node_132 | 0.4 | n |  | TRUE
14 | bus_LV_2576-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2576-2_0_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_2576-2_0_3_node_163 | 0.4 | n |  | TRUE
17 | bus_LV_2576-2_0_3_node_142 | 0.4 | n |  | TRUE
18 | bus_LV_2576-2_0_3_node_143 | 0.4 | n |  | TRUE
19 | bus_LV_2576-2_0_3_node_144 | 0.4 | n |  | TRUE
20 | bus_LV_2576-2_0_3_node_145 | 0.4 | n |  | TRUE
21 | bus_LV_2576-2_0_3_node_147 | 0.4 | n |  | TRUE
22 | bus_LV_2576-2_0_3_node_172 | 0.4 | n |  | TRUE
23 | bus_LV_2576-2_0_3_node_192 | 0.4 | n |  | TRUE
24 | bus_LV_2576-2_0_3_node_182 | 0.4 | n |  | TRUE
25 | bus_LV_2576-2_0_3_node_151 | 0.4 | n |  | TRUE
26 | bus_LV_2576-2_0_3_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_2576-2_0_3_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_2576-2_0_3_node_152 | 0.4 | n |  | TRUE
29 | bus_LV_2576-2_0_3_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_2576-2_0_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_2576-2_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2576-2_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2576-2_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2576-2_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2576-2_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_2576-2_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_2576-2_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_2576-2_0_3_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_2576-2_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2576-2_0_3_node_161 | 0.4 | n |  | TRUE
41 | bus_LV_2576-2_0_3_node_179 | 0.4 | n |  | TRUE
42 | bus_LV_2576-2_0_3_node_189 | 0.4 | n |  | TRUE
43 | bus_LV_2576-2_0_3_node_180 | 0.4 | n |  | TRUE
44 | bus_LV_2576-2_0_3_node_183 | 0.4 | n |  | TRUE
45 | bus_LV_2576-2_0_3_node_184 | 0.4 | n |  | TRUE
46 | bus_LV_2576-2_0_3_node_190 | 0.4 | n |  | TRUE
47 | bus_LV_2576-2_0_3_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_2576-2_0_3_node_191 | 0.4 | n |  | TRUE
49 | bus_LV_2576-2_0_3_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_2576-2_0_3_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_2576-2_0_3_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_2576-2_0_3_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_2576-2_0_3_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_2576-2_0_3_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_2576-2_0_3_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_2576-2_0_3_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_2576-2_0_3_node_114 | 0.4 | n |  | TRUE
58 | bus_MV_291_1_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2576-2_0_3_load_0 | 0 | 0.0025211 | 0.00063184 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2576-2_0_3_load_1 | 1 | 0.0016228 | 0.0004067 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2576-2_0_3_load_3 | 3 | 0.0014216 | 0.00035628 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2576-2_0_3_load_4 | 4 | 0.0017532 | 0.00043939 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2576-2_0_3_load_38 | 5 | 0.0017596 | 0.00044099 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2576-2_0_3_load_128 | 7 | 0.0073518 | 0.0018425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2576-2_0_3_load_127 | 8 | 0.0013377 | 0.00033526 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2576-2_0_3_load_129 | 9 | 0.0015721 | 0.000394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2576-2_0_3_load_160 | 10 | 0.00303 | 0.0007594 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2576-2_0_3_load_131 | 11 | 0.014352 | 0.0035969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2576-2_0_3_load_36 | 12 | 0.014097 | 0.0035329 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2576-2_0_3_load_132 | 13 | 0.021517 | 0.0053927 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2576-2_0_3_load_8 | 14 | 0.0019435 | 0.00048709 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2576-2_0_3_load_163 | 16 | 0.0031104 | 0.00077954 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2576-2_0_3_load_142 | 17 | 0.0023263 | 0.00058303 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2576-2_0_3_load_143 | 18 | 0.0018132 | 0.00045444 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2576-2_0_3_load_145 | 20 | 0.00086836 | 0.00021763 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2576-2_0_3_load_147 | 21 | 0.0035486 | 0.00088937 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2576-2_0_3_load_182 | 24 | 0.0032493 | 0.00081435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2576-2_0_3_load_151 | 25 | 0.0021444 | 0.00053744 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2576-2_0_3_load_91 | 26 | 0.0043683 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2576-2_0_3_load_126 | 27 | 0.0028174 | 0.00070611 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2576-2_0_3_load_152 | 28 | 0.0039021 | 0.00097797 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2576-2_0_3_load_84 | 29 | 0.0044018 | 0.0011032 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2576-2_0_3_load_81 | 30 | 0.0032239 | 0.00080799 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2576-2_0_3_load_31 | 31 | 0.004553 | 0.0011411 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2576-2_0_3_load_34 | 34 | 0.014428 | 0.0036161 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2576-2_0_3_load_37 | 36 | 0.0023136 | 0.00057985 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2576-2_0_3_load_39 | 37 | 0.00159 | 0.00039849 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2576-2_0_3_load_40 | 39 | 0.00085589 | 0.00021451 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2576-2_0_3_load_161 | 40 | 0.0029574 | 0.00074118 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2576-2_0_3_load_179 | 41 | 0.0052514 | 0.0013161 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2576-2_0_3_load_189 | 42 | 0.00079832 | 0.00020008 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2576-2_0_3_load_180 | 43 | 0.027243 | 0.0068276 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2576-2_0_3_load_183 | 44 | 0.0027053 | 0.00067802 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2576-2_0_3_load_184 | 45 | 0.002948 | 0.00073885 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2576-2_0_3_load_190 | 46 | 0.0027642 | 0.00069277 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2576-2_0_3_load_115 | 47 | 0.0030135 | 0.00075525 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2576-2_0_3_load_191 | 48 | 0.0026803 | 0.00067175 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2576-2_0_3_load_76 | 49 | 0.0010276 | 0.00025754 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2576-2_0_3_load_77 | 50 | 0.0017542 | 0.00043964 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2576-2_0_3_load_80 | 52 | 0.0041451 | 0.0010389 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2576-2_0_3_load_90 | 53 | 0.019235 | 0.0048208 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2576-2_0_3_load_111 | 54 | 0.0029086 | 0.00072897 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2576-2_0_3_load_112 | 55 | 0.0022842 | 0.00057247 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2576-2_0_3_load_113 | 56 | 0.0035895 | 0.00089962 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2576-2_0_3_load_114 | 57 | 0.0099038 | 0.0024821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2576-2_0_3_line_0 |  | 0 | 1 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2576-2_0_3_line_1 |  | 0 | 2 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2576-2_0_3_line_2 |  | 2 | 3 | 0.044423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2576-2_0_3_line_3 |  | 2 | 4 | 0.0069319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2576-2_0_3_line_4 |  | 3 | 5 | 0.0048046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2576-2_0_3_line_5 |  | 4 | 6 | 0.03857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2576-2_0_3_line_6 |  | 5 | 36 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2576-2_0_3_line_7 |  | 6 | 15 | 0.090048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2576-2_0_3_line_8 |  | 7 | 8 | 0.0054127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2576-2_0_3_line_9 |  | 7 | 9 | 0.0329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2576-2_0_3_line_10 |  | 9 | 10 | 0.013016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2576-2_0_3_line_11 |  | 10 | 38 | 0.013587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2576-2_0_3_line_12 |  | 11 | 12 | 0.023242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2576-2_0_3_line_13 |  | 11 | 13 | 0.0077977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2576-2_0_3_line_14 |  | 12 | 33 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2576-2_0_3_line_15 |  | 13 | 16 | 0.0016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2576-2_0_3_line_16 |  | 14 | 15 | 0.044742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2576-2_0_3_line_17 |  | 16 | 41 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2576-2_0_3_line_18 |  | 17 | 18 | 0.0037104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2576-2_0_3_line_19 |  | 17 | 19 | 0.01091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2576-2_0_3_line_20 |  | 18 | 20 | 0.021785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2576-2_0_3_line_21 |  | 19 | 21 | 0.016535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2576-2_0_3_line_22 |  | 20 | 22 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2576-2_0_3_line_23 |  | 20 | 23 | 0.05548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2576-2_0_3_line_24 |  | 21 | 24 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2576-2_0_3_line_25 |  | 22 | 42 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2576-2_0_3_line_26 |  | 23 | 48 | 0.02757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2576-2_0_3_line_27 |  | 24 | 44 | 0.0048083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2576-2_0_3_line_28 |  | 25 | 26 | 0.0093253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2576-2_0_3_line_29 |  | 25 | 27 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2576-2_0_3_line_30 |  | 26 | 53 | 0.0092341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2576-2_0_3_line_31 |  | 27 | 57 | 0.0082427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2576-2_0_3_line_32 |  | 28 | 29 | 0.017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2576-2_0_3_line_33 |  | 28 | 30 | 0.014635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2576-2_0_3_line_34 |  | 29 | 35 | 0.029573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2576-2_0_3_line_35 |  | 30 | 51 | 0.0063847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2576-2_0_3_line_36 |  | 31 | 32 | 0.049358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2576-2_0_3_line_37 |  | 31 | 33 | 0.01746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2576-2_0_3_line_38 |  | 32 | 34 | 0.038851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2576-2_0_3_line_39 |  | 34 | 35 | 0.0032227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2576-2_0_3_line_40 |  | 36 | 37 | 0.025106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2576-2_0_3_line_41 |  | 36 | 38 | 0.021909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2576-2_0_3_line_42 |  | 37 | 39 | 0.022725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2576-2_0_3_line_43 |  | 38 | 50 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2576-2_0_3_line_44 |  | 39 | 40 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2576-2_0_3_line_45 |  | 41 | 43 | 0.0069952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2576-2_0_3_line_46 |  | 42 | 46 | 0.025812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2576-2_0_3_line_47 |  | 44 | 45 | 0.009653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2576-2_0_3_line_48 |  | 46 | 47 | 0.0030721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2576-2_0_3_line_49 |  | 47 | 56 | 0.0072215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2576-2_0_3_line_50 |  | 49 | 50 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2576-2_0_3_line_51 |  | 49 | 51 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2576-2_0_3_line_52 |  | 51 | 52 | 0.033982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2576-2_0_3_line_53 |  | 52 | 53 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2576-2_0_3_line_54 |  | 54 | 55 | 0.0084432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2576-2_0_3_line_55 |  | 54 | 56 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2576-2_0_3_line_56 |  | 55 | 57 | 3.4555e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2576-2_0_3_trafo_91 | 0.63 MVA 20/0.4 kV | 58 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2642011.8817 | 1245481.7137 | 2642016.1325 | 1245493.2664
1 | 2642022.9112 | 1245511.6893 | 2642016.1325 | 1245493.2664
2 | 2642022.9112 | 1245511.6893 | 2642029.0081 | 1245508.4748 | 2642057.1701 | 1245490.7514 | 2642060.6667 | 1245488.3262
3 | 2642022.9112 | 1245511.6893 | 2642016.7795 | 1245514.9225
4 | 2642060.6667 | 1245488.3262 | 2642064.6146 | 1245485.5879
5 | 2641979.8158 | 1245523.7257 | 2641985.8798 | 1245524.091 | 2641994.8024 | 1245522.9867 | 2642003.1661 | 1245520.8 | 2642011.3846 | 1245517.7673 | 2642016.7795 | 1245514.9225
6 | 2642073.7123 | 1245479.2777 | 2642064.6146 | 1245485.5879
7 | 2641939.401 | 1245473.9962 | 2641939.7982 | 1245483.005 | 2641940.2032 | 1245490.9019 | 2641939.9988 | 1245496.304 | 2641939.3005 | 1245498.9008 | 2641937.8984 | 1245500.6031 | 2641933.4758 | 1245503.1513 | 2641936.3906 | 1245511.911 | 2641938.718 | 1245518.2539 | 2641947.5986 | 1245517.7496 | 2641955.0896 | 1245518.2362 | 2641979.8158 | 1245523.7257
8 | 2642147.5934 | 1245491.82 | 2642152.9495 | 1245491.0393
9 | 2642114.9924 | 1245496.2338 | 2642130.6018 | 1245494.2966 | 2642147.5934 | 1245491.82
10 | 2642114.9924 | 1245496.2338 | 2642105.6031 | 1245497.3991 | 2642102.0616 | 1245497.7006
11 | 2642088.9005 | 1245495.068 | 2642095.6038 | 1245496.9057 | 2642097.8035 | 1245497.7996 | 2642100.9011 | 1245497.7994 | 2642102.0616 | 1245497.7006
12 | 2642109.6726 | 1245672.461 | 2642132.8368 | 1245670.5593
13 | 2642140.6084 | 1245669.9213 | 2642132.8368 | 1245670.5593
14 | 2642094.0424 | 1245678.6476 | 2642102.1428 | 1245673.0792 | 2642109.6726 | 1245672.461
15 | 2642142.2641 | 1245669.7854 | 2642140.6084 | 1245669.9213
16 | 2641939.401 | 1245473.9962 | 2641944.7971 | 1245471.5994 | 2641950.9985 | 1245467.4961 | 2641960.9018 | 1245460.2057 | 2641971.9002 | 1245451.9002 | 2641975.8531 | 1245448.336
17 | 2642142.2641 | 1245669.7854 | 2642163.8534 | 1245668.013
18 | 2642240.1135 | 1245486.5747 | 2642240.7301 | 1245490.2336
19 | 2642238.3007 | 1245475.8164 | 2642240.1135 | 1245486.5747
20 | 2642244.3498 | 1245511.7158 | 2642240.7301 | 1245490.2336
21 | 2642238.3007 | 1245475.8164 | 2642221.9519 | 1245478.292
22 | 2642243.517 | 1245523.0957 | 2642245.6292 | 1245519.3082 | 2642244.3498 | 1245511.7158
23 | 2642244.3498 | 1245511.7158 | 2642299.1877 | 1245520.1346
24 | 2642221.9519 | 1245478.292 | 2642207.296 | 1245480.5114
25 | 2642243.517 | 1245523.0957 | 2642238.9922 | 1245525.1426 | 2642229.6016 | 1245526.3686
26 | 2642296.2024 | 1245492.7286 | 2642299.1877 | 1245520.1346
27 | 2642202.5419 | 1245481.2313 | 2642207.296 | 1245480.5114
28 | 2642132.8455 | 1245538.1971 | 2642142.1091 | 1245537.1265
29 | 2642158.9445 | 1245535.1806 | 2642142.1091 | 1245537.1265
30 | 2642132.8455 | 1245538.1971 | 2642123.6725 | 1245539.2573
31 | 2642167.1328 | 1245534.2343 | 2642158.9445 | 1245535.1806
32 | 2642058.1255 | 1245575.9175 | 2642063.7869 | 1245559.3864
33 | 2642063.7869 | 1245559.3864 | 2642068.5285 | 1245545.5412
34 | 2642048.7222 | 1245603.955 | 2642054.6434 | 1245586.0852 | 2642058.1255 | 1245575.9175
35 | 2642070.5971 | 1245539.5009 | 2642068.5285 | 1245545.5412
36 | 2642036.8247 | 1245644.2862 | 2642040.9275 | 1245647.4062 | 2642044.5513 | 1245649.8891 | 2642048.9807 | 1245652.7557 | 2642056.4023 | 1245657.6893 | 2642061.7969 | 1245660.8073 | 2642072.6476 | 1245666.8993 | 2642078.7378 | 1245670.2435
37 | 2642094.0424 | 1245678.6476 | 2642078.7378 | 1245670.2435
38 | 2642036.8247 | 1245644.2862 | 2642040.9261 | 1245632.6743 | 2642043.0502 | 1245625.0399 | 2642045.572 | 1245615.6626 | 2642047.8848 | 1245607.0671
39 | 2642048.7222 | 1245603.955 | 2642047.8848 | 1245607.0671
40 | 2642092.8246 | 1245463.1217 | 2642088.5502 | 1245467.7698 | 2642078.8613 | 1245475.7063 | 2642073.7123 | 1245479.2777
41 | 2642088.9005 | 1245495.068 | 2642073.7123 | 1245479.2777
42 | 2642108.1147 | 1245446.3099 | 2642096.2096 | 1245459.4408 | 2642092.8246 | 1245463.1217
43 | 2642088.9005 | 1245495.068 | 2642080.5663 | 1245515.2998
44 | 2642119.2905 | 1245447.6857 | 2642108.1147 | 1245446.3099
45 | 2642170.8251 | 1245667.4407 | 2642163.8534 | 1245668.013
46 | 2642229.6016 | 1245526.3686 | 2642204.0064 | 1245529.7102
47 | 2642192.9976 | 1245482.6765 | 2642202.5419 | 1245481.2313
48 | 2642200.9601 | 1245530.1079 | 2642204.0064 | 1245529.7102
49 | 2642200.9601 | 1245530.1079 | 2642193.7994 | 1245531.0428
50 | 2642075.8829 | 1245526.6693 | 2642080.5663 | 1245515.2998
51 | 2642070.5971 | 1245539.5009 | 2642075.8829 | 1245526.6693
52 | 2642070.5971 | 1245539.5009 | 2642078.7976 | 1245542.2052 | 2642087.8021 | 1245543.4032 | 2642103.958 | 1245541.5359
53 | 2642103.958 | 1245541.5359 | 2642123.6725 | 1245539.2573
54 | 2642175.5544 | 1245533.2609 | 2642167.1671 | 1245534.2303
55 | 2642193.7994 | 1245531.0428 | 2642186.4972 | 1245531.9961 | 2642175.5544 | 1245533.2609
56 | 2642167.1328 | 1245534.2343 | 2642167.1671 | 1245534.2303

## bus_geodata
| x | y | coords
0 | 2642016.1325 | 1245493.2664
1 | 2642011.8817 | 1245481.7137
2 | 2642022.9112 | 1245511.6893
3 | 2642060.6667 | 1245488.3262
4 | 2642016.7795 | 1245514.9225
5 | 2642064.6146 | 1245485.5879
6 | 2641979.8158 | 1245523.7257
7 | 2642147.5934 | 1245491.82
8 | 2642152.9495 | 1245491.0393
9 | 2642114.9924 | 1245496.2338
10 | 2642102.0616 | 1245497.7006
11 | 2642132.8368 | 1245670.5593
12 | 2642109.6726 | 1245672.461
13 | 2642140.6084 | 1245669.9213
14 | 2641975.8531 | 1245448.336
15 | 2641939.401 | 1245473.9962
16 | 2642142.2641 | 1245669.7854
17 | 2642240.1135 | 1245486.5747
18 | 2642240.7301 | 1245490.2336
19 | 2642238.3007 | 1245475.8164
20 | 2642244.3498 | 1245511.7158
21 | 2642221.9519 | 1245478.292
22 | 2642243.517 | 1245523.0957
23 | 2642299.1877 | 1245520.1346
24 | 2642207.296 | 1245480.5114
25 | 2642142.1091 | 1245537.1265
26 | 2642132.8455 | 1245538.1971
27 | 2642158.9445 | 1245535.1806
28 | 2642063.7869 | 1245559.3864
29 | 2642058.1255 | 1245575.9175
30 | 2642068.5285 | 1245545.5412
31 | 2642078.7378 | 1245670.2435
32 | 2642036.8247 | 1245644.2862
33 | 2642094.0424 | 1245678.6476
34 | 2642047.8848 | 1245607.0671
35 | 2642048.7222 | 1245603.955
36 | 2642073.7123 | 1245479.2777
37 | 2642092.8246 | 1245463.1217
38 | 2642088.9005 | 1245495.068
39 | 2642108.1147 | 1245446.3099
40 | 2642119.2905 | 1245447.6857
41 | 2642163.8534 | 1245668.013
42 | 2642229.6016 | 1245526.3686
43 | 2642170.8251 | 1245667.4407
44 | 2642202.5419 | 1245481.2313
45 | 2642192.9976 | 1245482.6765
46 | 2642204.0064 | 1245529.7102
47 | 2642200.9601 | 1245530.1079
48 | 2642296.2024 | 1245492.7286
49 | 2642075.8829 | 1245526.6693
50 | 2642080.5663 | 1245515.2998
51 | 2642070.5971 | 1245539.5009
52 | 2642103.958 | 1245541.5359
53 | 2642123.6725 | 1245539.2573
54 | 2642175.5544 | 1245533.2609
55 | 2642167.1671 | 1245534.2303
56 | 2642193.7994 | 1245531.0428
57 | 2642167.1328 | 1245534.2343
58 | 2642070.5971 | 1245539.5009

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99309 | -0.1319 | 0.0025211 | 0.00063184
1 | 0.99307 | -0.13225 | 0.0016228 | 0.0004067
2 | 0.99316 | -0.13046 | 0 | 0
3 | 0.99348 | -0.1243 | 0.0014216 | 0.00035628
4 | 0.99314 | -0.13092 | 0.0017532 | 0.00043939
5 | 0.99352 | -0.12352 | 0.0017596 | 0.00044099
6 | 0.99307 | -0.13224 | 0 | 0
7 | 0.99346 | -0.1247 | 0.0073518 | 0.0018425
8 | 0.99345 | -0.12483 | 0.0013377 | 0.00033526
9 | 0.99372 | -0.11966 | 0.0015721 | 0.000394
10 | 0.99384 | -0.1173 | 0.00303 | 0.0007594
11 | 0.9766 | -0.45021 | 0.014352 | 0.0035969
12 | 0.97814 | -0.4199 | 0.014097 | 0.0035329
13 | 0.97619 | -0.45835 | 0.021517 | 0.0053927
14 | 0.99283 | -0.13688 | 0.0019435 | 0.00048709
15 | 0.99291 | -0.13534 | 0 | 0
16 | 0.97613 | -0.45943 | 0.0031104 | 0.00077954
17 | 0.99613 | -0.074474 | 0.0023263 | 0.00058303
18 | 0.99618 | -0.073511 | 0.0018132 | 0.00045444
19 | 0.996 | -0.076861 | 0 | 0
20 | 0.99651 | -0.067164 | 0.00086836 | 0.00021763
21 | 0.99582 | -0.080479 | 0.0035486 | 0.00088937
22 | 0.99673 | -0.062909 | 0 | 0
23 | 0.99637 | -0.069776 | 0 | 0
24 | 0.9957 | -0.082799 | 0.0032493 | 0.00081435
25 | 0.99957 | -0.0081908 | 0.0021444 | 0.00053744
26 | 1 | 0 | -0.22885 | -0.057928
27 | 0.99883 | -0.022459 | 0.0028174 | 0.00070611
28 | 0.99325 | -0.12811 | 0.0039021 | 0.00097797
29 | 0.99148 | -0.1618 | 0.0044018 | 0.0011032
30 | 0.99478 | -0.098972 | 0.0032239 | 0.00080799
31 | 0.98091 | -0.36573 | 0.004553 | 0.0011411
32 | 0.98505 | -0.28549 | 0 | 0
33 | 0.97953 | -0.39283 | 0 | 0
34 | 0.9883 | -0.2228 | 0.014428 | 0.0036161
35 | 0.98861 | -0.21679 | 0 | 0
36 | 0.99363 | -0.12136 | 0.0023136 | 0.00057985
37 | 0.99351 | -0.12376 | 0.00159 | 0.00039849
38 | 0.99401 | -0.11411 | 0 | 0
39 | 0.99343 | -0.12529 | 0.00085589 | 0.00021451
40 | 0.9934 | -0.12587 | 0.0029574 | 0.00074118
41 | 0.97548 | -0.47232 | 0.0052514 | 0.0013161
42 | 0.99699 | -0.057808 | 0.00079832 | 0.00020008
43 | 0.9753 | -0.47581 | 0.027243 | 0.0068276
44 | 0.99567 | -0.083277 | 0.0027053 | 0.00067802
45 | 0.99565 | -0.083777 | 0.002948 | 0.00073885
46 | 0.99748 | -0.048333 | 0.0027642 | 0.00069277
47 | 0.99755 | -0.047057 | 0.0030135 | 0.00075525
48 | 0.9963 | -0.071074 | 0.0026803 | 0.00067175
49 | 0.99503 | -0.094431 | 0.0010276 | 0.00025754
50 | 0.99465 | -0.10175 | 0.0017542 | 0.00043964
51 | 0.99547 | -0.085927 | 0 | 0
52 | 0.99784 | -0.040933 | 0.0041451 | 0.0010389
53 | 0.99926 | -0.014037 | 0.019235 | 0.0048208
54 | 0.99823 | -0.033927 | 0.0029086 | 0.00072897
55 | 0.99849 | -0.029022 | 0.0022842 | 0.00057247
56 | 0.99773 | -0.043677 | 0.0035895 | 0.00089962
57 | 0.99849 | -0.029001 | 0.0099038 | 0.0024821
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0016228 | 0.00040656 | -0.0016228 | -0.0004067 | 2.7292e-08 | -1.418e-07 | 0.0024315 | 0.0024316 | 0.0024316 | 0.99309 | -0.1319 | 0.99307 | -0.13225 | 0.66801
1 | -0.0041439 | -0.0010384 | 0.0041441 | 0.0010383 | 2.8379e-07 | -7.2385e-08 | 0.006209 | 0.0062089 | 0.006209 | 0.99309 | -0.1319 | 0.99316 | -0.13046 | 1.7058
2 | -0.0078415 | -0.0019629 | 0.0078438 | 0.0019638 | 2.299e-06 | 8.9631e-07 | 0.011748 | 0.011748 | 0.011748 | 0.99316 | -0.13046 | 0.99348 | -0.1243 | 3.2274
3 | 0.0036974 | 0.00092456 | -0.0036973 | -0.0009246 | 7.9749e-08 | -3.8661e-08 | 0.0055389 | 0.0055389 | 0.0055389 | 0.99316 | -0.13046 | 0.99314 | -0.13092 | 1.5217
4 | -0.0092654 | -0.0023201 | 0.0092657 | 0.0023202 | 3.4695e-07 | 1.5983e-07 | 0.013877 | 0.013877 | 0.013877 | 0.99348 | -0.1243 | 0.99352 | -0.12352 | 3.8123
5 | 0.0019441 | 0.0004852 | -0.001944 | -0.00048562 | 1.2266e-07 | -4.2055e-07 | 0.0029121 | 0.0029123 | 0.0029123 | 0.99314 | -0.13092 | 0.99307 | -0.13224 | 0.80007
6 | -0.011025 | -0.0027612 | 0.011026 | 0.0027618 | 1.132e-06 | 5.8109e-07 | 0.016512 | 0.016512 | 0.016512 | 0.99352 | -0.12352 | 0.99363 | -0.12136 | 4.5363
7 | 0.001944 | 0.00048562 | -0.0019437 | -0.00048661 | 2.8643e-07 | -9.8154e-07 | 0.0029123 | 0.0029127 | 0.0029127 | 0.99307 | -0.13224 | 0.99291 | -0.13534 | 0.80018
8 | 0.0013377 | 0.00033519 | -0.0013377 | -0.00033526 | 8.1485e-09 | -6.487e-08 | 0.0020036 | 0.0020036 | 0.0020036 | 0.99346 | -0.1247 | 0.99345 | -0.12483 | 0.55045
9 | -0.0086895 | -0.0021777 | 0.0086916 | 0.0021786 | 2.0899e-06 | 9.1143e-07 | 0.013015 | 0.013015 | 0.013015 | 0.99346 | -0.1247 | 0.99372 | -0.11966 | 3.5756
10 | -0.010264 | -0.0025726 | 0.010265 | 0.0025732 | 1.1529e-06 | 5.6922e-07 | 0.015369 | 0.015369 | 0.015369 | 0.99372 | -0.11966 | 0.99384 | -0.1173 | 4.2223
11 | -0.013295 | -0.0033326 | 0.013297 | 0.0033337 | 2.0189e-06 | 1.116e-06 | 0.019906 | 0.019906 | 0.019906 | 0.99384 | -0.1173 | 0.99401 | -0.11411 | 5.4686
12 | -0.071522 | -0.017943 | 0.071625 | 0.018009 | 0.00010352 | 6.5961e-05 | 0.10898 | 0.10898 | 0.10898 | 0.9766 | -0.45021 | 0.97814 | -0.4199 | 29.9402
13 | 0.05717 | 0.014347 | -0.057148 | -0.014333 | 2.2191e-05 | 1.4105e-05 | 0.087115 | 0.087115 | 0.087115 | 0.9766 | -0.45021 | 0.97619 | -0.45835 | 23.9327
14 | -0.085722 | -0.021542 | 0.085833 | 0.021613 | 0.0001109 | 7.0758e-05 | 0.13043 | 0.13043 | 0.13043 | 0.97814 | -0.4199 | 0.97953 | -0.39283 | 35.8315
15 | 0.035631 | 0.0089398 | -0.035629 | -0.0089386 | 1.838e-06 | 1.1555e-06 | 0.054316 | 0.054316 | 0.054316 | 0.97619 | -0.45835 | 0.97613 | -0.45943 | 14.922
16 | -0.0019435 | -0.00048709 | 0.0019437 | 0.00048661 | 1.4235e-07 | -4.8755e-07 | 0.0029129 | 0.0029127 | 0.0029129 | 0.99283 | -0.13688 | 0.99291 | -0.13534 | 0.80024
17 | 0.032518 | 0.0081591 | -0.032498 | -0.0081466 | 1.9964e-05 | 1.2506e-05 | 0.049574 | 0.049575 | 0.049575 | 0.97613 | -0.45943 | 0.97548 | -0.47232 | 13.6194
18 | -0.014782 | -0.0037059 | 0.014783 | 0.0037063 | 6.7849e-07 | 3.8593e-07 | 0.022082 | 0.022082 | 0.022082 | 0.99613 | -0.074474 | 0.99618 | -0.073511 | 6.0666
19 | 0.012456 | 0.0031229 | -0.012455 | -0.0031221 | 1.4165e-06 | 7.6456e-07 | 0.018607 | 0.018607 | 0.018607 | 0.99613 | -0.074474 | 0.996 | -0.076861 | 5.1119
20 | -0.016596 | -0.0041607 | 0.016601 | 0.0041637 | 5.0207e-06 | 2.9296e-06 | 0.024791 | 0.024791 | 0.024791 | 0.99618 | -0.073511 | 0.99651 | -0.067164 | 6.8106
21 | 0.012455 | 0.0031221 | -0.012452 | -0.003121 | 2.1469e-06 | 1.1588e-06 | 0.018607 | 0.018607 | 0.018607 | 0.996 | -0.076861 | 0.99582 | -0.080479 | 5.1119
22 | -0.02015 | -0.0050523 | 0.020155 | 0.0050548 | 4.0866e-06 | 2.4586e-06 | 0.03009 | 0.03009 | 0.03009 | 0.99651 | -0.067164 | 0.99673 | -0.062909 | 8.2665
23 | 0.0026808 | 0.00067099 | -0.0026805 | -0.00067149 | 3.3336e-07 | -5.0934e-07 | 0.0040027 | 0.004003 | 0.004003 | 0.99651 | -0.067164 | 0.99637 | -0.069776 | 1.0997
24 | 0.0089039 | 0.0022316 | -0.0089029 | -0.0022312 | 9.8397e-07 | 4.3692e-07 | 0.013305 | 0.013305 | 0.013305 | 0.99582 | -0.080479 | 0.9957 | -0.082799 | 3.6552
25 | -0.020155 | -0.0050548 | 0.020159 | 0.0050577 | 4.9016e-06 | 2.9488e-06 | 0.03009 | 0.03009 | 0.03009 | 0.99673 | -0.062909 | 0.99699 | -0.057808 | 8.2665
26 | 0.0026805 | 0.00067149 | -0.0026803 | -0.00067175 | 1.6567e-07 | -2.5302e-07 | 0.004003 | 0.0040031 | 0.0040031 | 0.99637 | -0.069776 | 0.9963 | -0.071074 | 1.0998
27 | 0.0056536 | 0.0014168 | -0.0056535 | -0.0014168 | 1.2872e-07 | 1.9839e-08 | 0.0084489 | 0.008449 | 0.008449 | 0.9957 | -0.082799 | 0.99567 | -0.083277 | 2.3211
28 | -0.050468 | -0.012685 | 0.050487 | 0.012698 | 1.9745e-05 | 1.2514e-05 | 0.075142 | 0.075142 | 0.075142 | 0.99957 | -0.0081908 | 1 | 0 | 20.6433
29 | 0.048323 | 0.012148 | -0.04829 | -0.012127 | 3.29e-05 | 2.0834e-05 | 0.071949 | 0.07195 | 0.07195 | 0.99957 | -0.0081908 | 0.99883 | -0.022459 | 19.7664
30 | 0.17672 | 0.04523 | -0.1766 | -0.045154 | 0.00012002 | 7.6573e-05 | 0.26329 | 0.26329 | 0.26329 | 1 | 0 | 0.99926 | -0.014037 | 36.1663
31 | 0.045473 | 0.011421 | -0.045459 | -0.011412 | 1.4189e-05 | 8.9731e-06 | 0.067752 | 0.067752 | 0.067752 | 0.99883 | -0.022459 | 0.99849 | -0.029001 | 18.6133
32 | 0.11044 | 0.028256 | -0.11026 | -0.028141 | 0.00017983 | 0.00011487 | 0.16566 | 0.16566 | 0.16566 | 0.99325 | -0.12811 | 0.99148 | -0.1618 | 45.5117
33 | -0.11434 | -0.029234 | 0.11451 | 0.029337 | 0.00016143 | 0.00010313 | 0.17151 | 0.17151 | 0.17151 | 0.99325 | -0.12811 | 0.99478 | -0.098972 | 47.1177
34 | 0.10586 | 0.027038 | -0.10558 | -0.026859 | 0.00028056 | 0.00017918 | 0.15906 | 0.15906 | 0.15906 | 0.99148 | -0.1618 | 0.98861 | -0.21679 | 43.6968
35 | -0.11773 | -0.030145 | 0.1178 | 0.030193 | 7.4443e-05 | 4.7561e-05 | 0.17633 | 0.17633 | 0.17633 | 0.99478 | -0.098972 | 0.99547 | -0.085927 | 48.4425
36 | -0.090497 | -0.022825 | 0.090846 | 0.023048 | 0.00034909 | 0.00022279 | 0.13733 | 0.13733 | 0.13733 | 0.98091 | -0.36573 | 0.98505 | -0.28549 | 37.7289
37 | 0.085944 | 0.021684 | -0.085833 | -0.021613 | 0.00011138 | 7.1064e-05 | 0.13043 | 0.13043 | 0.13043 | 0.98091 | -0.36573 | 0.97953 | -0.39283 | 35.8315
38 | -0.090846 | -0.023048 | 0.091121 | 0.023223 | 0.00027478 | 0.00017536 | 0.13733 | 0.13733 | 0.13733 | 0.98505 | -0.28549 | 0.9883 | -0.2228 | 37.7289
39 | -0.10555 | -0.02684 | 0.10558 | 0.026859 | 3.0574e-05 | 1.9526e-05 | 0.15906 | 0.15906 | 0.15906 | 0.9883 | -0.2228 | 0.98861 | -0.21679 | 43.6969
40 | 0.0054042 | 0.001354 | -0.0054036 | -0.001354 | 6.1662e-07 | 6.9491e-08 | 0.0080929 | 0.008093 | 0.008093 | 0.99363 | -0.12136 | 0.99351 | -0.12376 | 2.2234
41 | -0.018744 | -0.0046957 | 0.018751 | 0.0046995 | 6.4734e-06 | 3.8591e-06 | 0.02807 | 0.02807 | 0.02807 | 0.99363 | -0.12136 | 0.99401 | -0.11411 | 7.7115
42 | 0.0038136 | 0.00095548 | -0.0038133 | -0.0009556 | 2.7802e-07 | -1.1633e-07 | 0.0057117 | 0.0057118 | 0.0057118 | 0.99351 | -0.12376 | 0.99343 | -0.12529 | 1.5692
43 | -0.032048 | -0.0080333 | 0.032066 | 0.0080451 | 1.8886e-05 | 1.1803e-05 | 0.047975 | 0.047975 | 0.047975 | 0.99401 | -0.11411 | 0.99465 | -0.10175 | 13.18
44 | 0.0029574 | 0.00074109 | -0.0029574 | -0.00074118 | 8.286e-08 | -9.2756e-08 | 0.0044298 | 0.0044298 | 0.0044298 | 0.99343 | -0.12529 | 0.9934 | -0.12587 | 1.217
45 | 0.027247 | 0.0068304 | -0.027243 | -0.0068276 | 4.5317e-06 | 2.813e-06 | 0.041564 | 0.041564 | 0.041564 | 0.97548 | -0.47232 | 0.9753 | -0.47581 | 11.4187
46 | -0.020958 | -0.0052578 | 0.020967 | 0.0052635 | 9.4718e-06 | 5.7252e-06 | 0.031281 | 0.031281 | 0.031281 | 0.99699 | -0.057808 | 0.99748 | -0.048333 | 8.5938
47 | 0.0029481 | 0.00073877 | -0.002948 | -0.00073885 | 7.0269e-08 | -8.0572e-08 | 0.0044059 | 0.0044059 | 0.0044059 | 0.99567 | -0.083277 | 0.99565 | -0.083777 | 1.2104
48 | -0.023731 | -0.0059563 | 0.023733 | 0.0059572 | 1.4441e-06 | 8.8412e-07 | 0.035405 | 0.035405 | 0.035405 | 0.99748 | -0.048333 | 0.99755 | -0.047057 | 9.7266
49 | -0.026746 | -0.0067124 | 0.026751 | 0.0067151 | 4.3113e-06 | 2.6649e-06 | 0.0399 | 0.0399 | 0.0399 | 0.99755 | -0.047057 | 0.99773 | -0.043677 | 10.9615
50 | 0.033832 | 0.0084921 | -0.033821 | -0.0084847 | 1.1806e-05 | 7.3961e-06 | 0.050599 | 0.050599 | 0.050599 | 0.99503 | -0.094431 | 0.99465 | -0.10175 | 13.9009
51 | -0.03486 | -0.0087496 | 0.034874 | 0.0087585 | 1.4146e-05 | 8.8729e-06 | 0.052136 | 0.052136 | 0.052136 | 0.99503 | -0.094431 | 0.99547 | -0.085927 | 14.3231
52 | -0.15268 | -0.038951 | 0.15301 | 0.039163 | 0.00033258 | 0.00021197 | 0.22847 | 0.22847 | 0.22847 | 0.99547 | -0.085927 | 0.99784 | -0.040933 | 31.3827
53 | -0.15716 | -0.040202 | 0.15736 | 0.040333 | 0.00020488 | 0.0001306 | 0.23465 | 0.23465 | 0.23465 | 0.99784 | -0.040933 | 0.99926 | -0.014037 | 32.2317
54 | -0.033263 | -0.0083525 | 0.033271 | 0.0083573 | 7.7859e-06 | 4.8726e-06 | 0.049589 | 0.049589 | 0.049589 | 0.99823 | -0.033927 | 0.99849 | -0.029022 | 13.6234
55 | 0.030354 | 0.0076235 | -0.03034 | -0.0076147 | 1.4115e-05 | 8.7933e-06 | 0.045253 | 0.045253 | 0.045253 | 0.99823 | -0.033927 | 0.99773 | -0.043677 | 12.4323
56 | -0.035555 | -0.0089298 | 0.035555 | 0.0089298 | 3.6389e-08 | 2.2839e-08 | 0.052993 | 0.052993 | 0.052993 | 0.99849 | -0.029022 | 0.99849 | -0.029001 | 14.5585

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23322 | 0.059023

## res_load
| p_mw | q_mvar
0 | 0.0025211 | 0.00063184
1 | 0.0016228 | 0.0004067
2 | 0.0014216 | 0.00035628
3 | 0.0017532 | 0.00043939
4 | 0.0017596 | 0.00044099
5 | 0.0073518 | 0.0018425
6 | 0.0013377 | 0.00033526
7 | 0.0015721 | 0.000394
8 | 0.00303 | 0.0007594
9 | 0.014352 | 0.0035969
10 | 0.014097 | 0.0035329
11 | 0.021517 | 0.0053927
12 | 0.0019435 | 0.00048709
13 | 0.0031104 | 0.00077954
14 | 0.0023263 | 0.00058303
15 | 0.0018132 | 0.00045444
16 | 0.00086836 | 0.00021763
17 | 0.0035486 | 0.00088937
18 | 0.0032493 | 0.00081435
19 | 0.0021444 | 0.00053744
20 | 0.0043683 | 0.0010948
21 | 0.0028174 | 0.00070611
22 | 0.0039021 | 0.00097797
23 | 0.0044018 | 0.0011032
24 | 0.0032239 | 0.00080799
25 | 0.004553 | 0.0011411
26 | 0.014428 | 0.0036161
27 | 0.0023136 | 0.00057985
28 | 0.00159 | 0.00039849
29 | 0.00085589 | 0.00021451
30 | 0.0029574 | 0.00074118
31 | 0.0052514 | 0.0013161
32 | 0.00079832 | 0.00020008
33 | 0.027243 | 0.0068276
34 | 0.0027053 | 0.00067802
35 | 0.002948 | 0.00073885
36 | 0.0027642 | 0.00069277
37 | 0.0030135 | 0.00075525
38 | 0.0026803 | 0.00067175
39 | 0.0010276 | 0.00025754
40 | 0.0017542 | 0.00043964
41 | 0.0041451 | 0.0010389
42 | 0.019235 | 0.0048208
43 | 0.0029086 | 0.00072897
44 | 0.0022842 | 0.00057247
45 | 0.0035895 | 0.00089962
46 | 0.0099038 | 0.0024821

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1