## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2579-4_1_5_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_2579-4_1_5_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_2579-4_1_5_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_2579-4_1_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2579-4_1_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2579-4_1_5_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2579-4_1_5_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_2579-4_1_5_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_2579-4_1_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2579-4_1_5_node_116 | 0.4 | n |  | TRUE
10 | bus_LV_2579-4_1_5_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_2579-4_1_5_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_2579-4_1_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2579-4_1_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2579-4_1_5_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2579-4_1_5_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_2579-4_1_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2579-4_1_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2579-4_1_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2579-4_1_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2579-4_1_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2579-4_1_5_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_2579-4_1_5_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_2579-4_1_5_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_2579-4_1_5_node_114 | 0.4 | n |  | TRUE
25 | bus_LV_2579-4_1_5_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_2579-4_1_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_2579-4_1_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2579-4_1_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2579-4_1_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2579-4_1_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2579-4_1_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2579-4_1_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2579-4_1_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2579-4_1_5_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_2579-4_1_5_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_2579-4_1_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2579-4_1_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_2579-4_1_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2579-4_1_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2579-4_1_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2579-4_1_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2579-4_1_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2579-4_1_5_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_2579-4_1_5_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_2579-4_1_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2579-4_1_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2579-4_1_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2579-4_1_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2579-4_1_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2579-4_1_5_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_2579-4_1_5_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_2579-4_1_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2579-4_1_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2579-4_1_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2579-4_1_5_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2579-4_1_5_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_2579-4_1_5_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_2579-4_1_5_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_2579-4_1_5_node_112 | 0.4 | n |  | TRUE
60 | bus_LV_2579-4_1_5_node_111 | 0.4 | n |  | TRUE
61 | bus_MV_480_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2579-4_1_5_load_5 | 0 | 0.036491 | 0.0091456 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2579-4_1_5_load_6 | 1 | 0.0038481 | 0.00096442 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2579-4_1_5_load_7 | 2 | 0.011857 | 0.0029717 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2579-4_1_5_load_8 | 3 | 0.0061619 | 0.0015443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2579-4_1_5_load_12 | 5 | 0.05023 | 0.012589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2579-4_1_5_load_10 | 8 | 0.004463 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2579-4_1_5_load_116 | 9 | 0.0027774 | 0.00069608 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2579-4_1_5_load_82 | 11 | 0.0023494 | 0.00058882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2579-4_1_5_load_11 | 12 | 0.0091435 | 0.0022916 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2579-4_1_5_load_13 | 13 | 0.015162 | 0.0037998 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2579-4_1_5_load_31 | 14 | 0.00083718 | 0.00020982 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2579-4_1_5_load_30 | 15 | 0.079281 | 0.01987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2579-4_1_5_load_14 | 16 | 0.012402 | 0.0031083 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2579-4_1_5_load_15 | 17 | 0.0019531 | 0.00048949 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2579-4_1_5_load_18 | 20 | 0.0070545 | 0.001768 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2579-4_1_5_load_96 | 21 | 0.00077053 | 0.00019311 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2579-4_1_5_load_94 | 22 | 0.0051198 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2579-4_1_5_load_114 | 24 | 0.0073658 | 0.001846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2579-4_1_5_load_35 | 26 | 0.0035405 | 0.00088734 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2579-4_1_5_load_28 | 27 | 0.0012837 | 0.00032173 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2579-4_1_5_load_19 | 28 | 0.0032885 | 0.00082416 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2579-4_1_5_load_20 | 29 | 0.0035855 | 0.00089862 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2579-4_1_5_load_22 | 31 | 0.012353 | 0.003096 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2579-4_1_5_load_23 | 32 | 0.0054216 | 0.0013588 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2579-4_1_5_load_24 | 33 | 0.0026942 | 0.00067523 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2579-4_1_5_load_76 | 34 | 0.0026683 | 0.00066874 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2579-4_1_5_load_89 | 35 | 0.0074163 | 0.0018587 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2579-4_1_5_load_29 | 36 | 0.0027424 | 0.00068731 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2579-4_1_5_load_25 | 39 | 0.0021182 | 0.00053088 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2579-4_1_5_load_27 | 40 | 0.0033104 | 0.00082966 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2579-4_1_5_load_32 | 41 | 0.0014315 | 0.00035877 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2579-4_1_5_load_33 | 42 | 0.00042343 | 0.00010612 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2579-4_1_5_load_113 | 44 | 0.00067038 | 0.00016801 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2579-4_1_5_load_36 | 45 | 0.0054348 | 0.0013621 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2579-4_1_5_load_37 | 46 | 0.0024699 | 0.00061902 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2579-4_1_5_load_119 | 51 | 0.0072809 | 0.0018248 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2579-4_1_5_load_49 | 52 | 0.0063934 | 0.0016023 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2579-4_1_5_load_46 | 53 | 0.001778 | 0.0004456 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2579-4_1_5_load_47 | 54 | 0.004755 | 0.0011917 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2579-4_1_5_load_109 | 56 | 0.0031537 | 0.0007904 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2579-4_1_5_load_97 | 57 | 0.0058044 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2579-4_1_5_load_123 | 58 | 0.071288 | 0.017867 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2579-4_1_5_load_112 | 59 | 0.0020522 | 0.00051433 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2579-4_1_5_load_111 | 60 | 0.00050037 | 0.0001254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2579-4_1_5_line_0 |  | 0 | 1 | 0.038312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2579-4_1_5_line_1 |  | 0 | 2 | 0.043084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2579-4_1_5_line_2 |  | 1 | 3 | 0.029245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2579-4_1_5_line_3 |  | 2 | 4 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2579-4_1_5_line_4 |  | 3 | 5 | 0.0095105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2579-4_1_5_line_5 |  | 4 | 6 | 0.019947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_2579-4_1_5_line_6 |  | 4 | 7 | 0.004601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2579-4_1_5_line_7 |  | 5 | 8 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2579-4_1_5_line_8 |  | 6 | 9 | 0.038015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2579-4_1_5_line_9 |  | 7 | 10 | 0.045821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2579-4_1_5_line_10 |  | 7 | 11 | 0.038108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2579-4_1_5_line_11 |  | 8 | 12 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2579-4_1_5_line_12 |  | 9 | 48 | 0.0306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2579-4_1_5_line_13 |  | 10 | 56 | 0.033353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2579-4_1_5_line_14 |  | 12 | 13 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2579-4_1_5_line_15 |  | 13 | 14 | 0.037848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2579-4_1_5_line_16 |  | 14 | 15 | 0.0035485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2579-4_1_5_line_17 |  | 15 | 41 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2579-4_1_5_line_18 |  | 16 | 17 | 0.0053771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2579-4_1_5_line_19 |  | 16 | 18 | 0.019155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2579-4_1_5_line_20 |  | 18 | 19 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2579-4_1_5_line_21 |  | 18 | 20 | 0.0028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2579-4_1_5_line_22 |  | 19 | 21 | 0.034986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2579-4_1_5_line_23 |  | 19 | 22 | 0.035408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2579-4_1_5_line_24 |  | 20 | 23 | 0.023878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2579-4_1_5_line_25 |  | 21 | 24 | 0.0086394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2579-4_1_5_line_26 |  | 22 | 25 | 0.0016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2579-4_1_5_line_27 |  | 23 | 26 | 0.0031022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2579-4_1_5_line_28 |  | 23 | 27 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2579-4_1_5_line_29 |  | 25 | 57 | 0.04942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2579-4_1_5_line_30 |  | 27 | 38 | 0.024209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2579-4_1_5_line_31 |  | 28 | 29 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2579-4_1_5_line_32 |  | 28 | 30 | 0.0010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2579-4_1_5_line_33 |  | 29 | 31 | 0.023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2579-4_1_5_line_34 |  | 30 | 32 | 0.0085168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2579-4_1_5_line_35 |  | 30 | 33 | 0.01369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2579-4_1_5_line_36 |  | 31 | 34 | 0.004587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2579-4_1_5_line_37 |  | 32 | 35 | 0.028508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2579-4_1_5_line_38 |  | 33 | 36 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2579-4_1_5_line_39 |  | 35 | 37 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2579-4_1_5_line_40 |  | 36 | 38 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2579-4_1_5_line_41 |  | 37 | 55 | 0.03877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2579-4_1_5_line_42 |  | 38 | 39 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2579-4_1_5_line_43 |  | 39 | 40 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2579-4_1_5_line_44 |  | 41 | 42 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2579-4_1_5_line_45 |  | 42 | 43 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2579-4_1_5_line_46 |  | 43 | 44 | 0.010298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2579-4_1_5_line_47 |  | 44 | 59 | 0.0035292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2579-4_1_5_line_48 |  | 45 | 46 | 0.0041672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2579-4_1_5_line_49 |  | 45 | 47 | 0.026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2579-4_1_5_line_50 |  | 46 | 48 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2579-4_1_5_line_51 |  | 47 | 49 | 0.05362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2579-4_1_5_line_52 |  | 48 | 50 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2579-4_1_5_line_53 |  | 49 | 51 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2579-4_1_5_line_54 |  | 50 | 52 | 0.027547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2579-4_1_5_line_55 |  | 52 | 54 | 0.0088225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_2579-4_1_5_line_56 |  | 53 | 54 | 0.024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2579-4_1_5_line_57 |  | 53 | 55 | 0.029326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2579-4_1_5_line_58 |  | 57 | 58 | 0.039884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2579-4_1_5_line_59 |  | 59 | 60 | 0.030521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2579-4_1_5_trafo_12 | 0.63 MVA 20/0.4 kV | 61 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2630551.5882 | 1243024.2057 | 2630549.831 | 1243020.5175 | 2630546.8401 | 1243012.7638 | 2630544.2508 | 1243003.3667 | 2630541.1582 | 1242991.8768 | 2630540.53 | 1242987.6532
1 | 2630551.5882 | 1243024.2057 | 2630553.5322 | 1243028.2859 | 2630556.8383 | 1243034.9961 | 2630562.4716 | 1243046.2212 | 2630570.2439 | 1243063.0361
2 | 2630540.53 | 1242987.6532 | 2630539.7482 | 1242982.3968 | 2630537.9455 | 1242971.4028 | 2630536.4419 | 1242961.0329 | 2630536.3 | 1242958.7257
3 | 2630579.6537 | 1243082.3438 | 2630577.4209 | 1243078.5632 | 2630570.2439 | 1243063.0361
4 | 2630535.7164 | 1242949.2332 | 2630536.3 | 1242958.7257
5 | 2630599.5038 | 1243083.1909 | 2630589.3725 | 1243083.9281 | 2630579.6537 | 1243082.3438
6 | 2630575.1002 | 1243081.5976 | 2630579.6537 | 1243082.3438
7 | 2630535.7164 | 1242949.2332 | 2630535.291 | 1242942.315 | 2630529.2827 | 1242930.0234
8 | 2630599.5038 | 1243083.1909 | 2630607.9136 | 1243080.6659 | 2630620.5857 | 1243072.337 | 2630630.4573 | 1243062.3107
9 | 2630530.204 | 1243071.805 | 2630570.9026 | 1243080.6977 | 2630573.2581 | 1243081.199 | 2630575.1002 | 1243081.5976
10 | 2630575.1002 | 1243081.5976 | 2630569.014 | 1243084.9463 | 2630548.0022 | 1243091.0199 | 2630539.2181 | 1243094.0408
11 | 2630529.2827 | 1242930.0234 | 2630522.7283 | 1242916.6147
12 | 2630651.4974 | 1243040.0979 | 2630639.1772 | 1243053.4541 | 2630630.4573 | 1243062.3107
13 | 2630530.204 | 1243071.805 | 2630527.5594 | 1243065.7987 | 2630505.7921 | 1243050.1813
14 | 2630518.1689 | 1242907.2872 | 2630522.7283 | 1242916.6147
15 | 2630501.6487 | 1242873.2375 | 2630504.2978 | 1242878.6039 | 2630506.3979 | 1242883.2066 | 2630518.1689 | 1242907.2872
16 | 2630501.6487 | 1242873.2375 | 2630500.0779 | 1242870.0555
17 | 2630494.4353 | 1242859.3588 | 2630496.0993 | 1242861.9957 | 2630500.0779 | 1242870.0555
18 | 2630667.4852 | 1242875.0607 | 2630667.3908 | 1242880.437
19 | 2630667.8212 | 1242855.9087 | 2630667.4852 | 1242875.0607
20 | 2630667.8212 | 1242855.9087 | 2630654.4968 | 1242852.8714
21 | 2630667.8212 | 1242855.9087 | 2630670.658 | 1242855.7201
22 | 2630654.4968 | 1242852.8714 | 2630652.3517 | 1242883.3576 | 2630647.9318 | 1242883.1503
23 | 2630654.4968 | 1242852.8714 | 2630619.9766 | 1242844.9945
24 | 2630692.5987 | 1242846.7641 | 2630673.7186 | 1242855.5167 | 2630670.658 | 1242855.7201
25 | 2630639.302 | 1242882.7455 | 2630647.9318 | 1242883.1503
26 | 2630618.4038 | 1242844.6356 | 2630619.9766 | 1242844.9945
27 | 2630692.5987 | 1242846.7641 | 2630691.1908 | 1242843.9998
28 | 2630692.5987 | 1242846.7641 | 2630698.4858 | 1242857.2908
29 | 2630618.4038 | 1242844.6356 | 2630616.6091 | 1242881.9502 | 2630604.5174 | 1242881.71
30 | 2630710.3025 | 1242878.4203 | 2630698.4858 | 1242857.2908
31 | 2630718.8386 | 1242920.1708 | 2630716.4782 | 1242926.5052 | 2630711.2025 | 1242936.9826
32 | 2630719.1991 | 1242919.2034 | 2630718.8386 | 1242920.1708
33 | 2630700.4659 | 1242958.3055 | 2630711.2025 | 1242936.9826
34 | 2630719.1991 | 1242919.2034 | 2630725.5001 | 1242922.5937 | 2630726.4073 | 1242923.609
35 | 2630719.1991 | 1242919.2034 | 2630720.9005 | 1242911.7297 | 2630719.8924 | 1242905.7897
36 | 2630698.4155 | 1242962.4086 | 2630698.6548 | 1242961.9024 | 2630700.4659 | 1242958.3055
37 | 2630744.2476 | 1242945.7795 | 2630737.2678 | 1242935.763 | 2630726.4073 | 1242923.609
38 | 2630719.8924 | 1242905.7897 | 2630719.1989 | 1242901.7034 | 2630717.2004 | 1242894.9998 | 2630716.3165 | 1242892.8752
39 | 2630759.233 | 1242969.0424 | 2630756.4812 | 1242963.3356 | 2630744.2476 | 1242945.7795
40 | 2630710.3025 | 1242878.4203 | 2630716.3165 | 1242892.8752
41 | 2630757.5754 | 1243000.1537 | 2630761.6027 | 1242998.896 | 2630767.4838 | 1242994.3346 | 2630764.7157 | 1242990.3288 | 2630763.697 | 1242985.6206 | 2630762.6951 | 1242976.2316 | 2630759.233 | 1242969.0424
42 | 2630710.3025 | 1242878.4203 | 2630723.1394 | 1242871.9491 | 2630727.6011 | 1242869.3187
43 | 2630745.0871 | 1242859.0099 | 2630727.6011 | 1242869.3187
44 | 2630488.9623 | 1242850.6011 | 2630490.7989 | 1242853.5965 | 2630494.4353 | 1242859.3588
45 | 2630481.3231 | 1242838.4493 | 2630485.1024 | 1242844.3058 | 2630488.9623 | 1242850.6011
46 | 2630481.3231 | 1242838.4493 | 2630477.2121 | 1242847.8909
47 | 2630477.2121 | 1242847.8909 | 2630475.8032 | 1242851.1267
48 | 2630667.2525 | 1243054.7903 | 2630664.1025 | 1243052.104 | 2630664.0828 | 1243052.0851
49 | 2630690.1881 | 1243067.5485 | 2630681.4036 | 1243063.6006 | 2630674.2977 | 1243059.5058 | 2630668.9033 | 1243056.198 | 2630667.2525 | 1243054.7903
50 | 2630651.4974 | 1243040.0979 | 2630657.1985 | 1243045.4975 | 2630664.0828 | 1243052.0851
51 | 2630690.1881 | 1243067.5485 | 2630715.0722 | 1243078.5396 | 2630730.5978 | 1243085.5021 | 2630739.1406 | 1243089.4266
52 | 2630670.4797 | 1243018.76 | 2630662.5385 | 1243028.5808 | 2630659.2178 | 1243032.0437 | 2630651.4974 | 1243040.0979
53 | 2630739.1406 | 1243089.4266 | 2630745.2027 | 1243092.2042 | 2630750.3061 | 1243094.6893
54 | 2630670.4797 | 1243018.76 | 2630680.2554 | 1243019.5887 | 2630697.9777 | 1243018.8955
55 | 2630706.7439 | 1243018.0517 | 2630702.6011 | 1243018.7147 | 2630697.9777 | 1243018.8955
56 | 2630729.6968 | 1243009.2499 | 2630728.5492 | 1243009.6319 | 2630708.5239 | 1243017.7669 | 2630706.7439 | 1243018.0517
57 | 2630757.5754 | 1243000.1537 | 2630748.1883 | 1243003.0959 | 2630729.6968 | 1243009.2499
58 | 2630604.5174 | 1242881.71 | 2630564.6811 | 1242879.7594
59 | 2630464.6102 | 1242879.5155 | 2630473.3001 | 1242856.8755 | 2630475.8032 | 1242851.1267

## bus_geodata
| x | y | coords
0 | 2630551.5882 | 1243024.2057
1 | 2630540.53 | 1242987.6532
2 | 2630570.2439 | 1243063.0361
3 | 2630536.3 | 1242958.7257
4 | 2630579.6537 | 1243082.3438
5 | 2630535.7164 | 1242949.2332
6 | 2630599.5038 | 1243083.1909
7 | 2630575.1002 | 1243081.5976
8 | 2630529.2827 | 1242930.0234
9 | 2630630.4573 | 1243062.3107
10 | 2630530.204 | 1243071.805
11 | 2630539.2181 | 1243094.0408
12 | 2630522.7283 | 1242916.6147
13 | 2630518.1689 | 1242907.2872
14 | 2630501.6487 | 1242873.2375
15 | 2630500.0779 | 1242870.0555
16 | 2630667.4852 | 1242875.0607
17 | 2630667.3908 | 1242880.437
18 | 2630667.8212 | 1242855.9087
19 | 2630654.4968 | 1242852.8714
20 | 2630670.658 | 1242855.7201
21 | 2630647.9319 | 1242883.1503
22 | 2630619.9766 | 1242844.9945
23 | 2630692.5987 | 1242846.7641
24 | 2630639.302 | 1242882.7455
25 | 2630618.4038 | 1242844.6356
26 | 2630691.1908 | 1242843.9998
27 | 2630698.4858 | 1242857.2908
28 | 2630718.8386 | 1242920.1708
29 | 2630711.2025 | 1242936.9826
30 | 2630719.1991 | 1242919.2034
31 | 2630700.4659 | 1242958.3055
32 | 2630726.4073 | 1242923.609
33 | 2630719.8924 | 1242905.7897
34 | 2630698.4155 | 1242962.4086
35 | 2630744.2476 | 1242945.7795
36 | 2630716.3165 | 1242892.8752
37 | 2630759.233 | 1242969.0424
38 | 2630710.3025 | 1242878.4203
39 | 2630727.6011 | 1242869.3187
40 | 2630745.0871 | 1242859.0099
41 | 2630494.4353 | 1242859.3588
42 | 2630488.9623 | 1242850.6011
43 | 2630481.3231 | 1242838.4493
44 | 2630477.2121 | 1242847.8909
45 | 2630667.2525 | 1243054.7903
46 | 2630664.0828 | 1243052.0851
47 | 2630690.1881 | 1243067.5485
48 | 2630651.4974 | 1243040.0979
49 | 2630739.1406 | 1243089.4266
50 | 2630670.4797 | 1243018.76
51 | 2630750.3061 | 1243094.6893
52 | 2630697.9777 | 1243018.8955
53 | 2630729.6968 | 1243009.2499
54 | 2630706.7439 | 1243018.0517
55 | 2630757.5754 | 1243000.1537
56 | 2630505.7921 | 1243050.1813
57 | 2630604.5174 | 1242881.71
58 | 2630564.6811 | 1242879.7594
59 | 2630475.8032 | 1242851.1267
60 | 2630464.6102 | 1242879.5155
61 | 2630481.3231 | 1242838.4493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99555 | -0.08423 | 0.036491 | 0.0091456
1 | 0.99774 | -0.042716 | 0.0038481 | 0.00096442
2 | 0.99344 | -0.12419 | 0.011857 | 0.0029717
3 | 0.99943 | -0.010657 | 0.0061619 | 0.0015443
4 | 0.99245 | -0.14306 | 0 | 0
5 | 1 | 0 | -0.37766 | -0.096188
6 | 0.99156 | -0.16012 | 0 | 0
7 | 0.99243 | -0.14351 | 0 | 0
8 | 0.99785 | -0.041033 | 0.004463 | 0.0011185
9 | 0.98985 | -0.19272 | 0.0027774 | 0.00069608
10 | 0.9923 | -0.14607 | 0 | 0
11 | 0.99235 | -0.14509 | 0.0023494 | 0.00058882
12 | 0.99636 | -0.069685 | 0.0091435 | 0.0022916
13 | 0.99541 | -0.087996 | 0.015162 | 0.0037998
14 | 0.99246 | -0.14489 | 0.00083718 | 0.00020982
15 | 0.99219 | -0.15018 | 0.079281 | 0.01987
16 | 0.97683 | -0.44518 | 0.012402 | 0.0031083
17 | 0.97682 | -0.44537 | 0.0019531 | 0.00048949
18 | 0.97708 | -0.44016 | 0 | 0
19 | 0.97679 | -0.44578 | 0 | 0
20 | 0.97715 | -0.4388 | 0.0070545 | 0.001768
21 | 0.97653 | -0.45098 | 0.00077053 | 0.00019311
22 | 0.97612 | -0.45908 | 0.0051198 | 0.0012831
23 | 0.97777 | -0.42663 | 0 | 0
24 | 0.97647 | -0.45214 | 0.0073658 | 0.001846
25 | 0.97609 | -0.45965 | 0 | 0
26 | 0.97776 | -0.42683 | 0.0035405 | 0.00088734
27 | 0.9781 | -0.42029 | 0.0012837 | 0.00032173
28 | 0.97997 | -0.38362 | 0.0032885 | 0.00082416
29 | 0.97966 | -0.38987 | 0.0035855 | 0.00089862
30 | 0.98 | -0.38321 | 0 | 0
31 | 0.97932 | -0.39639 | 0.012353 | 0.003096
32 | 0.98029 | -0.37744 | 0.0054216 | 0.0013588
33 | 0.97959 | -0.39113 | 0.0026942 | 0.00067523
34 | 0.97931 | -0.39661 | 0.0026683 | 0.00066874
35 | 0.98132 | -0.35745 | 0.0074163 | 0.0018587
36 | 0.9792 | -0.39875 | 0.0027424 | 0.00068731
37 | 0.98236 | -0.33712 | 0 | 0
38 | 0.97875 | -0.40744 | 0 | 0
39 | 0.97866 | -0.40937 | 0.0021182 | 0.00053088
40 | 0.97859 | -0.4106 | 0.0033104 | 0.00082966
41 | 0.99213 | -0.15127 | 0.0014315 | 0.00035877
42 | 0.9921 | -0.15194 | 0.00042343 | 0.00010612
43 | 0.99206 | -0.15276 | 0 | 0
44 | 0.99203 | -0.15335 | 0.00067038 | 0.00016801
45 | 0.98821 | -0.22431 | 0.0054348 | 0.0013621
46 | 0.98826 | -0.22337 | 0.0024699 | 0.00061902
47 | 0.98803 | -0.22774 | 0 | 0
48 | 0.9885 | -0.21866 | 0 | 0
49 | 0.98768 | -0.23471 | 0 | 0
50 | 0.98734 | -0.24098 | 0 | 0
51 | 0.98759 | -0.23632 | 0.0072809 | 0.0018248
52 | 0.98622 | -0.26257 | 0.0063934 | 0.0016023
53 | 0.98493 | -0.28737 | 0.001778 | 0.0004456
54 | 0.98587 | -0.26925 | 0.004755 | 0.0011917
55 | 0.98383 | -0.30876 | 0 | 0
56 | 0.9922 | -0.14793 | 0.0031537 | 0.0007904
57 | 0.97431 | -0.49457 | 0.0058044 | 0.0014547
58 | 0.97166 | -0.54691 | 0.071288 | 0.017867
59 | 0.99202 | -0.15351 | 0.0020522 | 0.00051433
60 | 0.992 | -0.15378 | 0.00050037 | 0.0001254
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.25028 | -0.064002 | 0.25079 | 0.064322 | 0.00050386 | 0.00032048 | 0.37454 | 0.37454 | 0.37454 | 0.99555 | -0.08423 | 0.99774 | -0.042716 | 25.7242
1 | 0.21379 | 0.054856 | -0.21338 | -0.054594 | 0.00041361 | 0.00026248 | 0.32 | 0.32 | 0.32 | 0.99555 | -0.08423 | 0.99344 | -0.12419 | 21.9783
2 | -0.25464 | -0.065287 | 0.25503 | 0.065539 | 0.00039649 | 0.00025222 | 0.38028 | 0.38028 | 0.38028 | 0.99774 | -0.042716 | 0.99943 | -0.010657 | 26.1183
3 | 0.20152 | 0.051622 | -0.20134 | -0.051505 | 0.0001841 | 0.00011671 | 0.30224 | 0.30224 | 0.30224 | 0.99344 | -0.12419 | 0.99245 | -0.14306 | 20.7585
4 | -0.26119 | -0.067083 | 0.26133 | 0.067169 | 0.00013524 | 8.6052e-05 | 0.38946 | 0.38946 | 0.38946 | 0.99943 | -0.010657 | 1 | 0 | 26.7484
5 | 0.19583 | 0.050127 | -0.19567 | -0.050024 | 0.00016163 | 0.00010241 | 0.29399 | 0.29399 | 0.29399 | 0.99245 | -0.14306 | 0.99156 | -0.16012 | 20.1918
6 | 0.0055041 | 0.0013783 | -0.005504 | -0.0013782 | 1.1749e-07 | 1.5741e-08 | 0.008252 | 0.008252 | 0.008252 | 0.99245 | -0.14306 | 0.99243 | -0.14351 | 2.267
7 | 0.11468 | 0.029019 | -0.11446 | -0.028875 | 0.00022535 | 0.00014396 | 0.17075 | 0.17075 | 0.17075 | 1 | 0 | 0.99785 | -0.041033 | 46.9081
8 | 0.19567 | 0.050024 | -0.19536 | -0.049829 | 0.00030804 | 0.00019519 | 0.29399 | 0.29399 | 0.29399 | 0.99156 | -0.16012 | 0.98985 | -0.19272 | 20.1918
9 | 0.0031544 | 0.0007898 | -0.003154 | -0.00079014 | 3.8433e-07 | -3.4602e-07 | 0.0047293 | 0.0047295 | 0.0047295 | 0.99243 | -0.14351 | 0.9923 | -0.14607 | 1.2993
10 | 0.0023496 | 0.00058844 | -0.0023494 | -0.00058882 | 1.7735e-07 | -3.7886e-07 | 0.0035227 | 0.0035229 | 0.0035229 | 0.99243 | -0.14351 | 0.99235 | -0.14509 | 0.96783
11 | 0.10999 | 0.027757 | -0.10984 | -0.02766 | 0.0001507 | 9.6252e-05 | 0.16409 | 0.16409 | 0.16409 | 0.99785 | -0.041033 | 0.99636 | -0.069685 | 45.0798
12 | 0.19259 | 0.049133 | -0.19234 | -0.048981 | 0.00024096 | 0.00015264 | 0.28982 | 0.28982 | 0.28982 | 0.98985 | -0.19272 | 0.9885 | -0.21866 | 19.9051
13 | 0.003154 | 0.00079014 | -0.0031537 | -0.0007904 | 2.7978e-07 | -2.5175e-07 | 0.0047295 | 0.0047297 | 0.0047297 | 0.9923 | -0.14607 | 0.9922 | -0.14793 | 1.2994
14 | 0.1007 | 0.025369 | -0.10061 | -0.025313 | 8.8109e-05 | 5.6254e-05 | 0.15044 | 0.15044 | 0.15044 | 0.99636 | -0.069685 | 0.99541 | -0.087996 | 41.3283
15 | 0.085449 | 0.021513 | -0.085218 | -0.021365 | 0.0002317 | 0.0001478 | 0.12777 | 0.12777 | 0.12777 | 0.99541 | -0.087996 | 0.99246 | -0.14489 | 35.1018
16 | 0.08438 | 0.021155 | -0.084359 | -0.021142 | 2.1299e-05 | 1.3586e-05 | 0.12652 | 0.12652 | 0.12652 | 0.99246 | -0.14489 | 0.99219 | -0.15018 | 34.757
17 | 0.0050785 | 0.001272 | -0.0050782 | -0.001272 | 2.6334e-07 | 1.219e-08 | 0.0076161 | 0.0076162 | 0.0076162 | 0.99219 | -0.15018 | 0.99213 | -0.15127 | 2.0924
18 | 0.0019531 | 0.00048944 | -0.0019531 | -0.00048949 | 1.7849e-08 | -5.5888e-08 | 0.0029752 | 0.0029752 | 0.0029752 | 0.97683 | -0.44518 | 0.97682 | -0.44537 | 0.81736
19 | -0.014356 | -0.0035978 | 0.014359 | 0.0035997 | 3.435e-06 | 1.9586e-06 | 0.021868 | 0.021868 | 0.021868 | 0.97683 | -0.44518 | 0.97708 | -0.44016 | 6.0077
20 | 0.090738 | 0.022888 | -0.090713 | -0.022873 | 2.4416e-05 | 1.4943e-05 | 0.13824 | 0.13824 | 0.13824 | 0.97708 | -0.44016 | 0.97679 | -0.44578 | 9.4945
21 | -0.1051 | -0.026487 | 0.1051 | 0.026492 | 6.8325e-06 | 4.2303e-06 | 0.16011 | 0.16011 | 0.16011 | 0.97708 | -0.44016 | 0.97715 | -0.4388 | 10.9964
22 | 0.0081388 | 0.0020402 | -0.0081367 | -0.0020393 | 2.0168e-06 | 8.5295e-07 | 0.012398 | 0.012399 | 0.012399 | 0.97679 | -0.44578 | 0.97653 | -0.45098 | 3.4062
23 | 0.082575 | 0.020833 | -0.082522 | -0.020801 | 5.2567e-05 | 3.1871e-05 | 0.12584 | 0.12584 | 0.12584 | 0.97679 | -0.44578 | 0.97612 | -0.45908 | 8.643
24 | -0.11216 | -0.02826 | 0.11222 | 0.0283 | 6.5342e-05 | 4.0621e-05 | 0.17085 | 0.17085 | 0.17085 | 0.97715 | -0.4388 | 0.97777 | -0.42663 | 11.7342
25 | 0.0073662 | 0.0018462 | -0.0073658 | -0.001846 | 4.0818e-07 | 1.5316e-07 | 0.011225 | 0.011225 | 0.011225 | 0.97653 | -0.45098 | 0.97647 | -0.45214 | 3.0837
26 | 0.077402 | 0.019518 | -0.0774 | -0.019516 | 2.1072e-06 | 1.2679e-06 | 0.11804 | 0.11804 | 0.11804 | 0.97612 | -0.45908 | 0.97609 | -0.45965 | 8.1069
27 | 0.0035406 | 0.00088732 | -0.0035405 | -0.00088734 | 3.3774e-08 | -1.7293e-08 | 0.0053882 | 0.0053882 | 0.0053882 | 0.97777 | -0.42663 | 0.97776 | -0.42683 | 1.4803
28 | -0.11576 | -0.029188 | 0.1158 | 0.029209 | 3.512e-05 | 2.1871e-05 | 0.17624 | 0.17624 | 0.17624 | 0.97777 | -0.42663 | 0.9781 | -0.42029 | 12.1042
29 | 0.0774 | 0.019516 | -0.077271 | -0.019435 | 0.0001291 | 8.1394e-05 | 0.11804 | 0.11804 | 0.11804 | 0.97609 | -0.45965 | 0.97431 | -0.49457 | 16.2139
30 | -0.11708 | -0.029531 | 0.11716 | 0.029576 | 7.2064e-05 | 4.4905e-05 | 0.17819 | 0.17819 | 0.17819 | 0.9781 | -0.42029 | 0.97875 | -0.40744 | 12.2383
31 | 0.018617 | 0.0046693 | -0.018612 | -0.004666 | 5.5415e-06 | 3.3137e-06 | 0.02827 | 0.02827 | 0.02827 | 0.97997 | -0.38362 | 0.97966 | -0.38987 | 7.7664
32 | -0.021906 | -0.0054934 | 0.021906 | 0.0054937 | 4.2834e-07 | 2.6113e-07 | 0.033263 | 0.033263 | 0.033263 | 0.97997 | -0.38362 | 0.98 | -0.38321 | 9.1382
33 | 0.015026 | 0.0037673 | -0.015021 | -0.0037647 | 4.6636e-06 | 2.6842e-06 | 0.022824 | 0.022824 | 0.022824 | 0.97966 | -0.38987 | 0.97932 | -0.39639 | 6.2703
34 | -0.15007 | -0.037884 | 0.15011 | 0.03791 | 4.1494e-05 | 2.6127e-05 | 0.22797 | 0.22797 | 0.22797 | 0.98 | -0.38321 | 0.98029 | -0.37744 | 15.657
35 | 0.12817 | 0.03239 | -0.12812 | -0.03236 | 4.8654e-05 | 3.0449e-05 | 0.1947 | 0.1947 | 0.1947 | 0.98 | -0.38321 | 0.97959 | -0.39113 | 13.3725
36 | 0.0026683 | 0.0006687 | -0.0026683 | -0.00066874 | 2.8275e-08 | -3.9619e-08 | 0.0040543 | 0.0040543 | 0.0040543 | 0.97932 | -0.39639 | 0.97931 | -0.39661 | 1.1138
37 | -0.15554 | -0.039269 | 0.15568 | 0.039363 | 0.0001491 | 9.3985e-05 | 0.2362 | 0.2362 | 0.2362 | 0.98029 | -0.37744 | 0.98132 | -0.35745 | 16.2222
38 | 0.12542 | 0.031684 | -0.12538 | -0.031656 | 4.5783e-05 | 2.8624e-05 | 0.19061 | 0.19061 | 0.19061 | 0.97959 | -0.39113 | 0.9792 | -0.39875 | 13.0914
39 | -0.1631 | -0.041221 | 0.16326 | 0.041322 | 0.00015919 | 0.00010048 | 0.24744 | 0.24744 | 0.24744 | 0.98132 | -0.35745 | 0.98236 | -0.33712 | 16.9946
40 | 0.12264 | 0.030968 | -0.12258 | -0.030937 | 5.1021e-05 | 3.1866e-05 | 0.18644 | 0.18644 | 0.18644 | 0.9792 | -0.39875 | 0.97875 | -0.40744 | 12.8052
41 | -0.16326 | -0.041322 | 0.16348 | 0.041462 | 0.00022254 | 0.00014046 | 0.24744 | 0.24744 | 0.24744 | 0.98236 | -0.33712 | 0.98383 | -0.30876 | 16.9945
42 | 0.0054293 | 0.0013605 | -0.0054288 | -0.0013604 | 4.9962e-07 | 7.402e-08 | 0.0082542 | 0.0082543 | 0.0082543 | 0.97875 | -0.40744 | 0.97866 | -0.40937 | 2.2677
43 | 0.0033106 | 0.00082952 | -0.0033104 | -0.00082966 | 1.9286e-07 | -1.3161e-07 | 0.0050335 | 0.0050336 | 0.0050336 | 0.97866 | -0.40937 | 0.97859 | -0.4106 | 1.3829
44 | 0.0036467 | 0.00091321 | -0.0036466 | -0.00091326 | 1.1584e-07 | -5.9221e-08 | 0.0054692 | 0.0054692 | 0.0054692 | 0.99213 | -0.15127 | 0.9921 | -0.15194 | 1.5025
45 | 0.0032232 | 0.00080714 | -0.0032231 | -0.00080725 | 1.2579e-07 | -1.0484e-07 | 0.0048341 | 0.0048342 | 0.0048342 | 0.9921 | -0.15194 | 0.99206 | -0.15276 | 1.3281
46 | 0.0032231 | 0.00080725 | -0.003223 | -0.00080732 | 9.0246e-08 | -7.5201e-08 | 0.0048342 | 0.0048342 | 0.0048342 | 0.99206 | -0.15276 | 0.99203 | -0.15335 | 1.3281
47 | 0.0025526 | 0.00063931 | -0.0025526 | -0.00063935 | 1.94e-08 | -3.3148e-08 | 0.0038287 | 0.0038287 | 0.0038287 | 0.99203 | -0.15335 | 0.99202 | -0.15351 | 1.0518
48 | -0.01272 | -0.0031883 | 0.01272 | 0.0031886 | 5.7328e-07 | 3.1351e-07 | 0.019153 | 0.019153 | 0.019153 | 0.98821 | -0.22431 | 0.98826 | -0.22337 | 5.2619
49 | 0.0072851 | 0.0018263 | -0.0072839 | -0.0018258 | 1.1882e-06 | 4.2316e-07 | 0.01097 | 0.01097 | 0.01097 | 0.98821 | -0.22431 | 0.98803 | -0.22774 | 3.0137
50 | -0.01519 | -0.0038077 | 0.015194 | 0.0038096 | 3.4097e-06 | 1.9594e-06 | 0.022872 | 0.022872 | 0.022872 | 0.98826 | -0.22337 | 0.9885 | -0.21866 | 6.2836
51 | 0.0072839 | 0.0018258 | -0.0072815 | -0.001825 | 2.4198e-06 | 8.6218e-07 | 0.01097 | 0.01097 | 0.01097 | 0.98803 | -0.22774 | 0.98768 | -0.23471 | 3.0138
52 | 0.17715 | 0.045171 | -0.17696 | -0.04505 | 0.00019073 | 0.0001206 | 0.26695 | 0.26695 | 0.26695 | 0.9885 | -0.21866 | 0.98734 | -0.24098 | 18.3343
53 | 0.0072815 | 0.001825 | -0.0072809 | -0.0018248 | 5.571e-07 | 1.9857e-07 | 0.01097 | 0.01097 | 0.01097 | 0.98768 | -0.23471 | 0.98759 | -0.23632 | 3.0138
54 | 0.17696 | 0.04505 | -0.17678 | -0.044934 | 0.00018403 | 0.00011637 | 0.26695 | 0.26695 | 0.26695 | 0.98734 | -0.24098 | 0.98622 | -0.26257 | 18.3343
55 | 0.17038 | 0.043332 | -0.17033 | -0.043297 | 5.4758e-05 | 3.4595e-05 | 0.2573 | 0.2573 | 0.2573 | 0.98622 | -0.26257 | 0.98587 | -0.26925 | 17.6718
56 | -0.16543 | -0.042014 | 0.16557 | 0.042105 | 0.00014444 | 9.1188e-05 | 0.25013 | 0.25012 | 0.25013 | 0.98493 | -0.28737 | 0.98587 | -0.26925 | 17.1789
57 | 0.16365 | 0.041569 | -0.16348 | -0.041462 | 0.00016833 | 0.00010624 | 0.24744 | 0.24744 | 0.24744 | 0.98493 | -0.28737 | 0.98383 | -0.30876 | 16.9945
58 | 0.071467 | 0.01798 | -0.071288 | -0.017867 | 0.00017826 | 0.00011359 | 0.10917 | 0.10917 | 0.10917 | 0.97431 | -0.49457 | 0.97166 | -0.54691 | 29.9925
59 | 0.00050037 | 0.00012501 | -0.00050037 | -0.0001254 | 6.4463e-09 | -3.8991e-07 | 0.00075042 | 0.00075056 | 0.00075056 | 0.99202 | -0.15351 | 0.992 | -0.15378 | 0.2062

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42789 | 0.10878

## res_load
| p_mw | q_mvar
0 | 0.036491 | 0.0091456
1 | 0.0038481 | 0.00096442
2 | 0.011857 | 0.0029717
3 | 0.0061619 | 0.0015443
4 | 0.05023 | 0.012589
5 | 0.004463 | 0.0011185
6 | 0.0027774 | 0.00069608
7 | 0.0023494 | 0.00058882
8 | 0.0091435 | 0.0022916
9 | 0.015162 | 0.0037998
10 | 0.00083718 | 0.00020982
11 | 0.079281 | 0.01987
12 | 0.012402 | 0.0031083
13 | 0.0019531 | 0.00048949
14 | 0.0070545 | 0.001768
15 | 0.00077053 | 0.00019311
16 | 0.0051198 | 0.0012831
17 | 0.0073658 | 0.001846
18 | 0.0035405 | 0.00088734
19 | 0.0012837 | 0.00032173
20 | 0.0032885 | 0.00082416
21 | 0.0035855 | 0.00089862
22 | 0.012353 | 0.003096
23 | 0.0054216 | 0.0013588
24 | 0.0026942 | 0.00067523
25 | 0.0026683 | 0.00066874
26 | 0.0074163 | 0.0018587
27 | 0.0027424 | 0.00068731
28 | 0.0021182 | 0.00053088
29 | 0.0033104 | 0.00082966
30 | 0.0014315 | 0.00035877
31 | 0.00042343 | 0.00010612
32 | 0.00067038 | 0.00016801
33 | 0.0054348 | 0.0013621
34 | 0.0024699 | 0.00061902
35 | 0.0072809 | 0.0018248
36 | 0.0063934 | 0.0016023
37 | 0.001778 | 0.0004456
38 | 0.004755 | 0.0011917
39 | 0.0031537 | 0.0007904
40 | 0.0058044 | 0.0014547
41 | 0.071288 | 0.017867
42 | 0.0020522 | 0.00051433
43 | 0.00050037 | 0.0001254

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1