## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2579-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2579-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2579-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2579-7_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2579-7_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2579-7_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2579-7_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2579-7_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2579-7_0_2_node_159 | 0.4 | n |  | TRUE
9 | bus_LV_2579-7_0_2_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_2579-7_0_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_2579-7_0_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_2579-7_0_2_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_2579-7_0_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_2579-7_0_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_2579-7_0_2_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2579-7_0_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_2579-7_0_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2579-7_0_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_2579-7_0_2_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_2579-7_0_2_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2579-7_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_2579-7_0_2_node_190 | 0.4 | n |  | TRUE
23 | bus_LV_2579-7_0_2_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_2579-7_0_2_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_2579-7_0_2_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2579-7_0_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_2579-7_0_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_2579-7_0_2_node_140 | 0.4 | n |  | TRUE
29 | bus_LV_2579-7_0_2_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2579-7_0_2_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_2579-7_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_2579-7_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2579-7_0_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_2579-7_0_2_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_2579-7_0_2_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_2579-7_0_2_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_2579-7_0_2_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_2579-7_0_2_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_2579-7_0_2_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_2579-7_0_2_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_2579-7_0_2_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_2579-7_0_2_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_2579-7_0_2_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2579-7_0_2_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_2579-7_0_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_2579-7_0_2_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_2579-7_0_2_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2579-7_0_2_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_2579-7_0_2_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_2579-7_0_2_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_2579-7_0_2_node_170 | 0.4 | n |  | TRUE
52 | bus_LV_2579-7_0_2_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2579-7_0_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_2579-7_0_2_node_132 | 0.4 | n |  | TRUE
55 | bus_LV_2579-7_0_2_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_2579-7_0_2_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_2579-7_0_2_node_160 | 0.4 | n |  | TRUE
58 | bus_LV_2579-7_0_2_node_180 | 0.4 | n |  | TRUE
59 | bus_LV_2579-7_0_2_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_2579-7_0_2_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_2579-7_0_2_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_2579-7_0_2_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_2579-7_0_2_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_2579-7_0_2_node_141 | 0.4 | n |  | TRUE
65 | bus_LV_2579-7_0_2_node_165 | 0.4 | n |  | TRUE
66 | bus_LV_2579-7_0_2_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_2579-7_0_2_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_2579-7_0_2_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_2579-7_0_2_node_181 | 0.4 | n |  | TRUE
70 | bus_LV_2579-7_0_2_node_119 | 0.4 | n |  | TRUE
71 | bus_LV_2579-7_0_2_node_121 | 0.4 | n |  | TRUE
72 | bus_LV_2579-7_0_2_node_122 | 0.4 | n |  | TRUE
73 | bus_LV_2579-7_0_2_node_171 | 0.4 | n |  | TRUE
74 | bus_LV_2579-7_0_2_node_131 | 0.4 | n |  | TRUE
75 | bus_LV_2579-7_0_2_node_133 | 0.4 | n |  | TRUE
76 | bus_LV_2579-7_0_2_node_134 | 0.4 | n |  | TRUE
77 | bus_LV_2579-7_0_2_node_152 | 0.4 | n |  | TRUE
78 | bus_LV_2579-7_0_2_node_135 | 0.4 | n |  | TRUE
79 | bus_LV_2579-7_0_2_node_139 | 0.4 | n |  | TRUE
80 | bus_LV_2579-7_0_2_node_163 | 0.4 | n |  | TRUE
81 | bus_LV_2579-7_0_2_node_150 | 0.4 | n |  | TRUE
82 | bus_LV_2579-7_0_2_node_151 | 0.4 | n |  | TRUE
83 | bus_LV_2579-7_0_2_node_161 | 0.4 | n |  | TRUE
84 | bus_LV_2579-7_0_2_node_162 | 0.4 | n |  | TRUE
85 | bus_LV_2579-7_0_2_node_164 | 0.4 | n |  | TRUE
86 | bus_LV_2579-7_0_2_node_177 | 0.4 | n |  | TRUE
87 | bus_LV_2579-7_0_2_node_176 | 0.4 | n |  | TRUE
88 | bus_LV_2579-7_0_2_node_195 | 0.4 | n |  | TRUE
89 | bus_LV_2579-7_0_2_node_191 | 0.4 | n |  | TRUE
90 | bus_MV_480_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2579-7_0_2_load_0 | 0 | 0.00085501 | 0.00021429 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2579-7_0_2_load_1 | 1 | 0.0030004 | 0.00075196 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2579-7_0_2_load_4 | 3 | 0.00076316 | 0.00019126 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2579-7_0_2_load_6 | 5 | 0.00035021 | 8.7772e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2579-7_0_2_load_7 | 6 | 0.0018105 | 0.00045374 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2579-7_0_2_load_10 | 7 | 0.00036897 | 9.2473e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2579-7_0_2_load_159 | 8 | 0.00037371 | 9.366e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2579-7_0_2_load_24 | 9 | 0.0021086 | 0.00052847 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2579-7_0_2_load_25 | 10 | 0.0013503 | 0.00033842 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2579-7_0_2_load_26 | 11 | 0.0016711 | 0.00041883 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2579-7_0_2_load_27 | 12 | 0.002018 | 0.00050576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2579-7_0_2_load_28 | 13 | 0.0033437 | 0.00083801 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2579-7_0_2_load_36 | 14 | 0.0021234 | 0.00053217 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2579-7_0_2_load_43 | 15 | 0.0022102 | 0.00055392 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2579-7_0_2_load_29 | 16 | 0.003827 | 0.00095914 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2579-7_0_2_load_30 | 17 | 0.0027362 | 0.00068575 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2579-7_0_2_load_33 | 20 | 0.0038696 | 0.0009698 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2579-7_0_2_load_34 | 21 | 0.0026996 | 0.00067658 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2579-7_0_2_load_190 | 22 | 0.0034766 | 0.00087132 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2579-7_0_2_load_74 | 23 | 0.0055399 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2579-7_0_2_load_153 | 24 | 0.0027034 | 0.00067753 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2579-7_0_2_load_35 | 25 | 0.0009281 | 0.0002326 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2579-7_0_2_load_38 | 27 | 0.0011075 | 0.00027756 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2579-7_0_2_load_140 | 28 | 0.0033999 | 0.00085208 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2579-7_0_2_load_44 | 29 | 0.0028009 | 0.00070196 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2579-7_0_2_load_45 | 30 | 0.0023616 | 0.00059188 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2579-7_0_2_load_51 | 31 | 0.001675 | 0.00041978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2579-7_0_2_load_52 | 32 | 0.0029389 | 0.00073656 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2579-7_0_2_load_53 | 33 | 0.001327 | 0.00033258 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2579-7_0_2_load_67 | 36 | 0.00089632 | 0.00022464 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2579-7_0_2_load_107 | 37 | 0.0018211 | 0.0004564 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2579-7_0_2_load_72 | 38 | 0.0025895 | 0.00064899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2579-7_0_2_load_69 | 39 | 0.0017211 | 0.00043135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2579-7_0_2_load_59 | 40 | 0.0023971 | 0.00060078 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2579-7_0_2_load_60 | 41 | 0.0013221 | 0.00033136 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2579-7_0_2_load_62 | 43 | 0.001318 | 0.00033032 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2579-7_0_2_load_64 | 47 | 0.001932 | 0.0004842 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2579-7_0_2_load_65 | 48 | 0.0007743 | 0.00019406 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2579-7_0_2_load_66 | 49 | 0.0011614 | 0.00029106 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2579-7_0_2_load_68 | 50 | 0.0022614 | 0.00056677 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2579-7_0_2_load_170 | 51 | 0.00098908 | 0.00024789 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2579-7_0_2_load_70 | 52 | 0.0021097 | 0.00052875 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2579-7_0_2_load_71 | 53 | 0.0011688 | 0.00029292 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2579-7_0_2_load_132 | 54 | 0.0017262 | 0.00043264 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2579-7_0_2_load_98 | 55 | 0.001788 | 0.00044811 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2579-7_0_2_load_160 | 57 | 0.0031415 | 0.00078734 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2579-7_0_2_load_180 | 58 | 0.0011693 | 0.00029306 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2579-7_0_2_load_84 | 59 | 0.0044141 | 0.0011063 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2579-7_0_2_load_85 | 60 | 0.0047918 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2579-7_0_2_load_86 | 61 | 0.0011059 | 0.00027718 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2579-7_0_2_load_87 | 62 | 0.0022578 | 0.00056586 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2579-7_0_2_load_141 | 64 | 0.0035846 | 0.00089838 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2579-7_0_2_load_165 | 65 | 0.0061435 | 0.0015397 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2579-7_0_2_load_99 | 66 | 0.0029487 | 0.00073902 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2579-7_0_2_load_105 | 67 | 0.0049482 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2579-7_0_2_load_181 | 69 | 0.0006179 | 0.00015486 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2579-7_0_2_load_119 | 70 | 0.0012344 | 0.00030937 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2579-7_0_2_load_121 | 71 | 0.0061182 | 0.0015334 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2579-7_0_2_load_122 | 72 | 0.0012443 | 0.00031186 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2579-7_0_2_load_171 | 73 | 0.0029609 | 0.00074207 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2579-7_0_2_load_131 | 74 | 0.0015025 | 0.00037655 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2579-7_0_2_load_133 | 75 | 0.0019463 | 0.00048778 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2579-7_0_2_load_134 | 76 | 0.0015883 | 0.00039805 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2579-7_0_2_load_152 | 77 | 0.0017429 | 0.0004368 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2579-7_0_2_load_135 | 78 | 0.0020567 | 0.00051546 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2579-7_0_2_load_150 | 81 | 0.0015408 | 0.00038615 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2579-7_0_2_load_151 | 82 | 0.0014354 | 0.00035975 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2579-7_0_2_load_161 | 83 | 0.0024454 | 0.00061288 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2579-7_0_2_load_162 | 84 | 0.0074547 | 0.0018683 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2579-7_0_2_load_177 | 86 | 0.0034203 | 0.00085721 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2579-7_0_2_load_176 | 87 | 0.0075779 | 0.0018992 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2579-7_0_2_load_195 | 88 | 0.0042422 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2579-7_0_2_load_191 | 89 | 0.0032121 | 0.00080503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2579-7_0_2_line_0 |  | 0 | 1 | 0.039968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2579-7_0_2_line_1 |  | 0 | 2 | 0.024633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2579-7_0_2_line_2 |  | 2 | 3 | 0.011566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2579-7_0_2_line_3 |  | 3 | 4 | 0.018211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2579-7_0_2_line_4 |  | 4 | 7 | 0.010873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2579-7_0_2_line_5 |  | 4 | 5 | 0.0099983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2579-7_0_2_line_6 |  | 5 | 6 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2579-7_0_2_line_7 |  | 7 | 8 | 0.00052366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2579-7_0_2_line_8 |  | 8 | 57 | 0.020052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2579-7_0_2_line_9 |  | 9 | 10 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2579-7_0_2_line_10 |  | 9 | 11 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2579-7_0_2_line_11 |  | 10 | 12 | 0.0028955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2579-7_0_2_line_12 |  | 11 | 13 | 0.0072097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2579-7_0_2_line_13 |  | 12 | 14 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2579-7_0_2_line_14 |  | 13 | 15 | 0.0073651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2579-7_0_2_line_15 |  | 14 | 25 | 0.0043812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2579-7_0_2_line_16 |  | 15 | 29 | 0.0099233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2579-7_0_2_line_17 |  | 16 | 17 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2579-7_0_2_line_18 |  | 16 | 18 | 0.024629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2579-7_0_2_line_19 |  | 17 | 19 | 0.011441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2579-7_0_2_line_20 |  | 18 | 20 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2579-7_0_2_line_21 |  | 18 | 21 | 0.041051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2579-7_0_2_line_22 |  | 19 | 22 | 0.032532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2579-7_0_2_line_23 |  | 20 | 23 | 0.0094617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2579-7_0_2_line_24 |  | 21 | 24 | 0.0035101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2579-7_0_2_line_25 |  | 22 | 89 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2579-7_0_2_line_26 |  | 23 | 44 | 0.03852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2579-7_0_2_line_27 |  | 24 | 30 | 0.0042646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2579-7_0_2_line_28 |  | 25 | 26 | 0.029884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2579-7_0_2_line_29 |  | 26 | 27 | 0.0096389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2579-7_0_2_line_30 |  | 27 | 28 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2579-7_0_2_line_31 |  | 28 | 63 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2579-7_0_2_line_32 |  | 29 | 30 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2579-7_0_2_line_33 |  | 31 | 32 | 0.021603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2579-7_0_2_line_34 |  | 31 | 33 | 0.0035451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2579-7_0_2_line_35 |  | 32 | 34 | 0.023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2579-7_0_2_line_36 |  | 33 | 35 | 0.016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2579-7_0_2_line_37 |  | 34 | 36 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2579-7_0_2_line_38 |  | 34 | 37 | 0.029999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2579-7_0_2_line_39 |  | 35 | 38 | 0.032691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2579-7_0_2_line_40 |  | 35 | 39 | 0.032593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2579-7_0_2_line_41 |  | 36 | 48 | 0.0072684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2579-7_0_2_line_42 |  | 38 | 55 | 0.0012571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2579-7_0_2_line_43 |  | 39 | 52 | 0.028537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2579-7_0_2_line_44 |  | 40 | 41 | 0.0014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2579-7_0_2_line_45 |  | 40 | 42 | 0.051523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2579-7_0_2_line_46 |  | 41 | 43 | 0.0053562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2579-7_0_2_line_47 |  | 42 | 44 | 0.028719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2579-7_0_2_line_48 |  | 43 | 45 | 0.0087649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2579-7_0_2_line_49 |  | 44 | 46 | 0.046632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2579-7_0_2_line_50 |  | 45 | 56 | 0.037338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2579-7_0_2_line_51 |  | 45 | 57 | 0.0081169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2579-7_0_2_line_52 |  | 46 | 58 | 0.018082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2579-7_0_2_line_53 |  | 47 | 48 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2579-7_0_2_line_54 |  | 47 | 49 | 0.00028707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2579-7_0_2_line_55 |  | 49 | 50 | 0.026661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2579-7_0_2_line_56 |  | 50 | 51 | 0.0083398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2579-7_0_2_line_57 |  | 51 | 73 | 0.016967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2579-7_0_2_line_58 |  | 52 | 53 | 0.020374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2579-7_0_2_line_59 |  | 53 | 54 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2579-7_0_2_line_60 |  | 54 | 74 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2579-7_0_2_line_61 |  | 55 | 66 | 0.044102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2579-7_0_2_line_62 |  | 56 | 72 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2579-7_0_2_line_63 |  | 56 | 70 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2579-7_0_2_line_64 |  | 58 | 88 | 0.010726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2579-7_0_2_line_65 |  | 59 | 60 | 0.021198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2579-7_0_2_line_66 |  | 59 | 61 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2579-7_0_2_line_67 |  | 60 | 62 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2579-7_0_2_line_68 |  | 61 | 63 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2579-7_0_2_line_69 |  | 62 | 64 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2579-7_0_2_line_70 |  | 63 | 65 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2579-7_0_2_line_71 |  | 65 | 87 | 0.040714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2579-7_0_2_line_72 |  | 66 | 67 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2579-7_0_2_line_73 |  | 67 | 68 | 0.062216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2579-7_0_2_line_74 |  | 68 | 69 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2579-7_0_2_line_75 |  | 70 | 71 | 0.0015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2579-7_0_2_line_76 |  | 72 | 73 | 0.0097775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2579-7_0_2_line_77 |  | 74 | 75 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2579-7_0_2_line_78 |  | 75 | 76 | 0.00078538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2579-7_0_2_line_79 |  | 76 | 77 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2579-7_0_2_line_80 |  | 77 | 82 | 0.0043059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2579-7_0_2_line_81 |  | 78 | 79 | 0.020127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2579-7_0_2_line_82 |  | 79 | 80 | 0.037864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2579-7_0_2_line_83 |  | 80 | 85 | 0.028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2579-7_0_2_line_84 |  | 80 | 83 | 0.027751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2579-7_0_2_line_85 |  | 81 | 82 | 0.011885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2579-7_0_2_line_86 |  | 83 | 84 | 0.035347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2579-7_0_2_line_87 |  | 85 | 86 | 0.023929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2579-7_0_2_line_88 |  | 85 | 87 | 0.0082557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2579-7_0_2_trafo_74 | 0.63 MVA 20/0.4 kV | 90 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2630248.1279 | 1242574.6623 | 2630243.5153 | 1242575.2997 | 2630236.0987 | 1242578.5974 | 2630218.2546 | 1242599.1198
1 | 2630272.5098 | 1242573.7908 | 2630262.78 | 1242574.1859 | 2630259.0362 | 1242573.1551 | 2630248.1279 | 1242574.6623
2 | 2630272.5098 | 1242573.7908 | 2630272.0898 | 1242585.3495
3 | 2630271.4284 | 1242603.5487 | 2630272.0898 | 1242585.3495
4 | 2630271.4284 | 1242603.5487 | 2630266.3958 | 1242604.7794 | 2630261.2876 | 1242607.2899
5 | 2630271.4284 | 1242603.5487 | 2630275.9389 | 1242602.4488 | 2630281.2945 | 1242602.4086
6 | 2630281.2945 | 1242602.4086 | 2630287.4055 | 1242602.3627 | 2630296.6392 | 1242603.2341
7 | 2630261.2876 | 1242607.2899 | 2630260.8177 | 1242607.5208
8 | 2630260.8177 | 1242607.5208 | 2630258.9396 | 1242608.4438 | 2630253.2542 | 1242613.1734 | 2630248.4608 | 1242619.3752 | 2630247.1377 | 1242621.7582
9 | 2630070.8413 | 1242513.5107 | 2630067.8035 | 1242511.0005 | 2630061.3975 | 1242505.7982 | 2630060.6604 | 1242504.9594
10 | 2630080.9802 | 1242521.8125 | 2630079.2974 | 1242520.4981 | 2630070.8413 | 1242513.5107
11 | 2630058.749 | 1242502.7844 | 2630060.6604 | 1242504.9594
12 | 2630080.9802 | 1242521.8125 | 2630086.662 | 1242526.2506
13 | 2630058.749 | 1242502.7844 | 2630057.0988 | 1242500.9066 | 2630049.9974 | 1242492.6988 | 2630049.4585 | 1242491.9922
14 | 2630086.662 | 1242526.2506 | 2630092.4663 | 1242530.7843
15 | 2630049.4585 | 1242491.9922 | 2630046.8017 | 1242488.5085
16 | 2630100.3323 | 1242536.8337 | 2630094.7991 | 1242532.6065 | 2630092.4663 | 1242530.7843
17 | 2630097.6431 | 1242606.7116 | 2630112.056 | 1242602.5385 | 2630124.9447 | 1242598.1906
18 | 2630138.8003 | 1242579.704 | 2630138.6017 | 1242581.6042 | 2630137.34 | 1242585.9561 | 2630135.899 | 1242589.9069 | 2630132.8115 | 1242593.6047 | 2630127.0247 | 1242597.4889 | 2630124.9447 | 1242598.1906
19 | 2630086.6006 | 1242609.7031 | 2630096.2054 | 1242607.1279 | 2630097.6431 | 1242606.7116
20 | 2630138.8003 | 1242579.704 | 2630141.4424 | 1242581.8521 | 2630150.5391 | 1242579.7717
21 | 2630138.8003 | 1242579.704 | 2630139.2025 | 1242576.4039 | 2630138.398 | 1242571.0964 | 2630136.5086 | 1242566.584 | 2630133.0888 | 1242562.7753 | 2630128.07 | 1242558.2914 | 2630115.788 | 1242548.6453
22 | 2630086.6006 | 1242609.7031 | 2630084.1 | 1242604.9986 | 2630078.7895 | 1242599.8906 | 2630064.3767 | 1242586.2627
23 | 2630159.7627 | 1242577.6624 | 2630150.5391 | 1242579.7717
24 | 2630113.0007 | 1242546.5119 | 2630115.6028 | 1242548.4998 | 2630115.788 | 1242548.6453
25 | 2630064.3767 | 1242586.2627 | 2630062.6764 | 1242584.655 | 2630048.6123 | 1242571.9029
26 | 2630194.0752 | 1242588.6791 | 2630173.8995 | 1242575.7128 | 2630171.3559 | 1242574.9994 | 2630163.4632 | 1242576.8161 | 2630159.7627 | 1242577.6624
27 | 2630113.0007 | 1242546.5119 | 2630109.6119 | 1242543.9229
28 | 2630038.7972 | 1242460.9998 | 2630038.3999 | 1242469.303 | 2630038.7007 | 1242474.0965 | 2630039.4983 | 1242477.8029 | 2630041.4015 | 1242481.1035 | 2630044.2006 | 1242485.098 | 2630046.8017 | 1242488.5085
29 | 2630038.7972 | 1242460.9998 | 2630048.424 | 1242460.5178
30 | 2630048.424 | 1242460.5178 | 2630050.6975 | 1242460.404 | 2630065.3033 | 1242458.3988 | 2630070.1336 | 1242458.2063
31 | 2630097.7801 | 1242454.4606 | 2630092.5276 | 1242455.7904 | 2630081.3989 | 1242457.7576 | 2630070.1336 | 1242458.2063
32 | 2630100.3323 | 1242536.8337 | 2630109.6119 | 1242543.9229
33 | 2630294.5669 | 1242748.7672 | 2630295.4441 | 1242748.2969 | 2630311.7648 | 1242735.7145
34 | 2630294.5669 | 1242748.7672 | 2630291.4425 | 1242750.4422
35 | 2630330.2706 | 1242720.5679 | 2630315.9169 | 1242732.5134 | 2630311.7648 | 1242735.7145
36 | 2630276.5649 | 1242758.4182 | 2630291.4425 | 1242750.4422
37 | 2630330.2706 | 1242720.5679 | 2630322.4331 | 1242714.5574 | 2630319.0338 | 1242712.4858
38 | 2630330.2706 | 1242720.5679 | 2630352.7235 | 1242740.4628
39 | 2630276.5649 | 1242758.4182 | 2630258.0037 | 1242765.4616 | 2630246.1167 | 1242770.3115
40 | 2630276.5649 | 1242758.4182 | 2630272.9006 | 1242752.1956 | 2630270.8997 | 1242750.3064 | 2630250.6199 | 1242740.2874
41 | 2630312.8271 | 1242708.7034 | 2630319.0338 | 1242712.4858
42 | 2630244.9527 | 1242770.7864 | 2630246.1167 | 1242770.3115
43 | 2630250.6199 | 1242740.2874 | 2630235.563 | 1242732.8487 | 2630226.4008 | 1242725.5046
44 | 2630229.0592 | 1242622.3781 | 2630229.9036 | 1242622.6051 | 2630230.4659 | 1242622.8226
45 | 2630178.7893 | 1242613.017 | 2630185.3799 | 1242614.5737 | 2630195.8979 | 1242618.1961 | 2630205.4179 | 1242620.4014 | 2630216.3164 | 1242620.5458 | 2630223.2009 | 1242620.8032 | 2630229.0592 | 1242622.3781
46 | 2630235.4614 | 1242624.7551 | 2630230.4659 | 1242622.8226
47 | 2630178.7893 | 1242613.017 | 2630194.0752 | 1242588.6791
48 | 2630243.1973 | 1242628.8545 | 2630236.6023 | 1242625.1964 | 2630235.4614 | 1242624.7551
49 | 2630194.0752 | 1242588.6791 | 2630200.7521 | 1242577.7283 | 2630209.7594 | 1242563.3426 | 2630212.5222 | 1242559.5987 | 2630213.4384 | 1242554.8225 | 2630213.3471 | 1242547.5063
50 | 2630243.1973 | 1242628.8545 | 2630239.4303 | 1242638.3303 | 2630238.3586 | 1242643.9617 | 2630238.4764 | 1242650.4999 | 2630239.9284 | 1242657.7786 | 2630242.0992 | 1242664.9053
51 | 2630243.1973 | 1242628.8545 | 2630247.1377 | 1242621.7582
52 | 2630213.3471 | 1242547.5063 | 2630223.0832 | 1242545.8881 | 2630230.0509 | 1242541.5408
53 | 2630303.0973 | 1242702.9844 | 2630307.8983 | 1242705.6998 | 2630312.8271 | 1242708.7034
54 | 2630303.0973 | 1242702.9844 | 2630302.8474 | 1242702.843
55 | 2630279.8612 | 1242689.3412 | 2630293.3979 | 1242697.4984 | 2630302.8474 | 1242702.843
56 | 2630279.8612 | 1242689.3412 | 2630272.7181 | 1242685.0368
57 | 2630258.1854 | 1242676.2795 | 2630272.7181 | 1242685.0368
58 | 2630208.7919 | 1242715.4533 | 2630212.5692 | 1242716.7882 | 2630219.1034 | 1242720.5016 | 2630225.4008 | 1242724.703 | 2630226.4008 | 1242725.5046
59 | 2630191.2898 | 1242714.4321 | 2630194.5805 | 1242713.806 | 2630199.0792 | 1242713.5065 | 2630204.685 | 1242714.0019 | 2630208.7919 | 1242715.4533
60 | 2630176.4386 | 1242722.8769 | 2630185.784 | 1242716.5075 | 2630190.8809 | 1242714.5099 | 2630191.2898 | 1242714.4321
61 | 2630244.9527 | 1242770.7864 | 2630233.1081 | 1242775.6191 | 2630207.3003 | 1242793.3459
62 | 2630242.0992 | 1242664.9053 | 2630244.3993 | 1242667.3963 | 2630247.1016 | 1242669.6004 | 2630249.8109 | 1242671.233
63 | 2630242.0992 | 1242664.9053 | 2630239.1035 | 1242665.4015 | 2630236.7992 | 1242665.2007 | 2630234.4042 | 1242664.9995 | 2630228.0009 | 1242663.7995 | 2630225.3453 | 1242663.3571
64 | 2630239.1507 | 1242535.8634 | 2630230.0509 | 1242541.5408
65 | 2630125.4951 | 1242480.47 | 2630144.0396 | 1242490.7382
66 | 2630125.4951 | 1242480.47 | 2630124.0621 | 1242479.6765 | 2630109.8004 | 1242470.4539 | 2630109.8004 | 1242470.4539
67 | 2630144.0396 | 1242490.7382 | 2630145.6041 | 1242491.6044 | 2630160.4841 | 1242499.9147
68 | 2630097.7801 | 1242454.4606 | 2630102.7526 | 1242463.625 | 2630109.8004 | 1242470.4539
69 | 2630160.4841 | 1242499.9147 | 2630162.6005 | 1242501.0967 | 2630179.4013 | 1242510.3991 | 2630182.3936 | 1242512.3156
70 | 2630097.7801 | 1242454.4606 | 2630109.0418 | 1242450.1149 | 2630111.0744 | 1242449.015
71 | 2630146.6338 | 1242429.1961 | 2630132.9398 | 1242437.1833 | 2630111.0744 | 1242449.015
72 | 2630207.3003 | 1242793.3459 | 2630193.4923 | 1242802.8302
73 | 2630140.2633 | 1242833.5958 | 2630161.636 | 1242826.5108 | 2630172.8101 | 1242818.4401 | 2630190.6412 | 1242804.7886 | 2630193.4923 | 1242802.8302
74 | 2630140.2633 | 1242833.5958 | 2630130.1854 | 1242820.7476
75 | 2630223.802 | 1242663.0999 | 2630225.3453 | 1242663.3571
76 | 2630249.8109 | 1242671.233 | 2630258.1854 | 1242676.2795
77 | 2630176.4386 | 1242722.8769 | 2630170.6604 | 1242726.8151 | 2630161.2907 | 1242734.0344
78 | 2630160.6685 | 1242734.5137 | 2630161.2907 | 1242734.0344
79 | 2630160.6685 | 1242734.5137 | 2630144.7901 | 1242746.7478
80 | 2630144.7901 | 1242746.7478 | 2630141.3792 | 1242749.3759
81 | 2630212.8793 | 1242394.2728 | 2630202.3934 | 1242377.0933
82 | 2630179.0573 | 1242411.4897 | 2630212.8793 | 1242394.2728
83 | 2630179.0573 | 1242411.4897 | 2630172.2751 | 1242414.8686 | 2630153.7651 | 1242425.0367
84 | 2630179.0573 | 1242411.4897 | 2630172.0988 | 1242406.4067 | 2630155.0831 | 1242397.6555
85 | 2630131.9644 | 1242756.6299 | 2630141.3792 | 1242749.3759
86 | 2630123.6498 | 1242381.4892 | 2630155.0831 | 1242397.6555
87 | 2630153.7651 | 1242425.0367 | 2630173.6598 | 1242438.3324
88 | 2630153.7651 | 1242425.0367 | 2630146.6338 | 1242429.1961

## bus_geodata
| x | y | coords
0 | 2630248.1279 | 1242574.6623
1 | 2630218.2546 | 1242599.1198
2 | 2630272.5098 | 1242573.7908
3 | 2630272.0898 | 1242585.3495
4 | 2630271.4284 | 1242603.5487
5 | 2630281.2945 | 1242602.4086
6 | 2630296.6392 | 1242603.2341
7 | 2630261.2876 | 1242607.2899
8 | 2630260.8177 | 1242607.5208
9 | 2630070.8413 | 1242513.5107
10 | 2630060.6604 | 1242504.9594
11 | 2630080.9802 | 1242521.8125
12 | 2630058.749 | 1242502.7844
13 | 2630086.662 | 1242526.2506
14 | 2630049.4585 | 1242491.9922
15 | 2630092.4663 | 1242530.7843
16 | 2630124.9447 | 1242598.1906
17 | 2630097.6431 | 1242606.7116
18 | 2630138.8003 | 1242579.704
19 | 2630086.6006 | 1242609.7031
20 | 2630150.5391 | 1242579.7717
21 | 2630115.788 | 1242548.6453
22 | 2630064.3767 | 1242586.2627
23 | 2630159.7627 | 1242577.6624
24 | 2630113.0007 | 1242546.5119
25 | 2630046.8017 | 1242488.5085
26 | 2630038.7972 | 1242460.9998
27 | 2630048.424 | 1242460.5178
28 | 2630070.1336 | 1242458.2063
29 | 2630100.3323 | 1242536.8337
30 | 2630109.6119 | 1242543.9229
31 | 2630294.5669 | 1242748.7672
32 | 2630311.7648 | 1242735.7145
33 | 2630291.4425 | 1242750.4422
34 | 2630330.2706 | 1242720.5679
35 | 2630276.5649 | 1242758.4182
36 | 2630319.0338 | 1242712.4858
37 | 2630352.7235 | 1242740.4628
38 | 2630246.1167 | 1242770.3115
39 | 2630250.6199 | 1242740.2874
40 | 2630229.0592 | 1242622.3781
41 | 2630230.4659 | 1242622.8226
42 | 2630178.7893 | 1242613.017
43 | 2630235.4614 | 1242624.7551
44 | 2630194.0752 | 1242588.6791
45 | 2630243.1973 | 1242628.8545
46 | 2630213.3471 | 1242547.5063
47 | 2630303.0973 | 1242702.9844
48 | 2630312.8271 | 1242708.7034
49 | 2630302.8474 | 1242702.843
50 | 2630279.8612 | 1242689.3412
51 | 2630272.7181 | 1242685.0368
52 | 2630226.4008 | 1242725.5046
53 | 2630208.7919 | 1242715.4533
54 | 2630191.2898 | 1242714.4321
55 | 2630244.9527 | 1242770.7864
56 | 2630242.0992 | 1242664.9053
57 | 2630247.1377 | 1242621.7582
58 | 2630230.0509 | 1242541.5408
59 | 2630125.4951 | 1242480.47
60 | 2630144.0396 | 1242490.7382
61 | 2630109.8004 | 1242470.4539
62 | 2630160.4841 | 1242499.9147
63 | 2630097.7801 | 1242454.4606
64 | 2630182.3936 | 1242512.3156
65 | 2630111.0744 | 1242449.015
66 | 2630207.3003 | 1242793.3459
67 | 2630193.4923 | 1242802.8302
68 | 2630140.2633 | 1242833.5958
69 | 2630130.1854 | 1242820.7476
70 | 2630225.3453 | 1242663.3571
71 | 2630223.802 | 1242663.0999
72 | 2630249.8109 | 1242671.233
73 | 2630258.1854 | 1242676.2795
74 | 2630176.4386 | 1242722.8769
75 | 2630161.2907 | 1242734.0344
76 | 2630160.6685 | 1242734.5137
77 | 2630144.7901 | 1242746.7478
78 | 2630202.3934 | 1242377.0933
79 | 2630212.8793 | 1242394.2728
80 | 2630179.0573 | 1242411.4897
81 | 2630131.9644 | 1242756.6299
82 | 2630141.3792 | 1242749.3759
83 | 2630155.0831 | 1242397.6555
84 | 2630123.6498 | 1242381.4892
85 | 2630153.7651 | 1242425.0367
86 | 2630173.6598 | 1242438.3324
87 | 2630146.6338 | 1242429.1961
88 | 2630239.1507 | 1242535.8634
89 | 2630048.6123 | 1242571.9029
90 | 2630138.8003 | 1242579.704

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99042 | -0.18324 | 0.00085501 | 0.00021429
1 | 0.99031 | -0.18537 | 0.0030004 | 0.00075196
2 | 0.99051 | -0.18155 | 0 | 0
3 | 0.99055 | -0.18076 | 0.00076316 | 0.00019126
4 | 0.99063 | -0.17926 | 0 | 0
5 | 0.99061 | -0.17964 | 0.00035021 | 8.7772e-05
6 | 0.99058 | -0.18014 | 0.0018105 | 0.00045374
7 | 0.99069 | -0.17795 | 0.00036897 | 9.2473e-05
8 | 0.9907 | -0.17788 | 0.00037371 | 9.366e-05
9 | 0.99191 | -0.15488 | 0.0021086 | 0.00052847
10 | 0.99122 | -0.16814 | 0.0013503 | 0.00033842
11 | 0.99261 | -0.14135 | 0.0016711 | 0.00041883
12 | 0.99107 | -0.17095 | 0.002018 | 0.00050576
13 | 0.99301 | -0.13371 | 0.0033437 | 0.00083801
14 | 0.99038 | -0.18431 | 0.0021234 | 0.00053217
15 | 0.99344 | -0.12547 | 0.0022102 | 0.00055392
16 | 0.99785 | -0.040988 | 0.003827 | 0.00095914
17 | 0.99761 | -0.04571 | 0.0027362 | 0.00068575
18 | 0.99815 | -0.035275 | 0 | 0
19 | 0.99754 | -0.047051 | 0 | 0
20 | 0.99919 | -0.015386 | 0.0038696 | 0.0009698
21 | 0.99528 | -0.090081 | 0.0026996 | 0.00067658
22 | 0.99734 | -0.050863 | 0.0034766 | 0.00087132
23 | 1 | 0 | -0.17454 | -0.044034
24 | 0.99504 | -0.094615 | 0.0027034 | 0.00067753
25 | 0.99018 | -0.18826 | 0.0009281 | 0.0002326
26 | 0.98881 | -0.21474 | 0 | 0
27 | 0.98837 | -0.2233 | 0.0011075 | 0.00027756
28 | 0.98739 | -0.24229 | 0.0033999 | 0.00085208
29 | 0.99403 | -0.11399 | 0.0028009 | 0.00070196
30 | 0.99477 | -0.099924 | 0.0023616 | 0.00059188
31 | 0.98342 | -0.31895 | 0.001675 | 0.00041978
32 | 0.98407 | -0.30634 | 0.0029389 | 0.00073656
33 | 0.98332 | -0.32091 | 0.001327 | 0.00033258
34 | 0.98485 | -0.29115 | 0 | 0
35 | 0.98286 | -0.32985 | 0 | 0
36 | 0.98532 | -0.2819 | 0.00089632 | 0.00022464
37 | 0.9848 | -0.29213 | 0.0018211 | 0.0004564
38 | 0.98248 | -0.33746 | 0.0025895 | 0.00064899
39 | 0.98237 | -0.33955 | 0.0017211 | 0.00043135
40 | 0.99189 | -0.15483 | 0.0023971 | 0.00060078
41 | 0.9918 | -0.15666 | 0.0013221 | 0.00033136
42 | 0.99533 | -0.088942 | 0 | 0
43 | 0.99146 | -0.16319 | 0.001318 | 0.00033032
44 | 0.99724 | -0.052413 | 0 | 0
45 | 0.99091 | -0.17367 | 0 | 0
46 | 0.99701 | -0.056838 | 0 | 0
47 | 0.98598 | -0.26908 | 0.001932 | 0.0004842
48 | 0.98558 | -0.27694 | 0.0007743 | 0.00019406
49 | 0.98599 | -0.26887 | 0.0011614 | 0.00029106
50 | 0.98703 | -0.24886 | 0.0022614 | 0.00056677
51 | 0.98736 | -0.24227 | 0.00098908 | 0.00024789
52 | 0.98198 | -0.34717 | 0.0021097 | 0.00052875
53 | 0.98174 | -0.35183 | 0.0011688 | 0.00029292
54 | 0.98155 | -0.35553 | 0.0017262 | 0.00043264
55 | 0.98246 | -0.3377 | 0.001788 | 0.00044811
56 | 0.98896 | -0.21134 | 0 | 0
57 | 0.99084 | -0.1752 | 0.0031415 | 0.00078734
58 | 0.99692 | -0.058554 | 0.0011693 | 0.00029306
59 | 0.98566 | -0.27586 | 0.0044141 | 0.0011063
60 | 0.98545 | -0.2799 | 0.0047918 | 0.0012009
61 | 0.98592 | -0.27083 | 0.0011059 | 0.00027718
62 | 0.98535 | -0.28188 | 0.0022578 | 0.00056586
63 | 0.98622 | -0.26497 | 0 | 0
64 | 0.98527 | -0.2835 | 0.0035846 | 0.00089838
65 | 0.98584 | -0.27247 | 0.0061435 | 0.0015397
66 | 0.98212 | -0.34448 | 0.0029487 | 0.00073902
67 | 0.98203 | -0.34617 | 0.0049482 | 0.0012401
68 | 0.982 | -0.34687 | 0 | 0
69 | 0.98199 | -0.34705 | 0.0006179 | 0.00015486
70 | 0.98885 | -0.21356 | 0.0012344 | 0.00030937
71 | 0.98884 | -0.21373 | 0.0061182 | 0.0015334
72 | 0.98851 | -0.22018 | 0.0012443 | 0.00031186
73 | 0.98807 | -0.22857 | 0.0029609 | 0.00074207
74 | 0.9814 | -0.35857 | 0.0015025 | 0.00037655
75 | 0.98125 | -0.36138 | 0.0019463 | 0.00048778
76 | 0.98125 | -0.36147 | 0.0015883 | 0.00039805
77 | 0.98116 | -0.36319 | 0.0017429 | 0.0004368
78 | 0.98443 | -0.29984 | 0.0020567 | 0.00051546
79 | 0.98447 | -0.29909 | 0 | 0
80 | 0.98454 | -0.29769 | 0 | 0
81 | 0.98113 | -0.36375 | 0.0015408 | 0.00038615
82 | 0.98115 | -0.36342 | 0.0014354 | 0.00035975
83 | 0.98429 | -0.30263 | 0.0024454 | 0.00061288
84 | 0.98405 | -0.30738 | 0.0074547 | 0.0018683
85 | 0.98486 | -0.29154 | 0 | 0
86 | 0.98478 | -0.29301 | 0.0034203 | 0.00085721
87 | 0.98497 | -0.28925 | 0.0075779 | 0.0018992
88 | 0.99688 | -0.059352 | 0.0042422 | 0.0010632
89 | 0.99728 | -0.052064 | 0.0032121 | 0.00080503
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0030007 | 0.00075164 | -0.0030004 | -0.00075196 | 3.0461e-07 | -3.1935e-07 | 0.0045081 | 0.0045082 | 0.0045082 | 0.99042 | -0.18324 | 0.99031 | -0.18537 | 1.2385
1 | -0.0038557 | -0.00096593 | 0.003856 | 0.00096581 | 3.0995e-07 | -1.1866e-07 | 0.0057926 | 0.0057925 | 0.0057926 | 0.99042 | -0.18324 | 0.99051 | -0.18155 | 1.5914
2 | -0.003856 | -0.00096581 | 0.0038561 | 0.00096575 | 1.4553e-07 | -5.5741e-08 | 0.0057925 | 0.0057925 | 0.0057925 | 0.99051 | -0.18155 | 0.99055 | -0.18076 | 1.5914
3 | -0.0046193 | -0.001157 | 0.0046196 | 0.001157 | 3.2881e-07 | -2.4003e-08 | 0.0069389 | 0.0069388 | 0.0069389 | 0.99055 | -0.18076 | 0.99063 | -0.17926 | 1.9063
4 | -0.0067804 | -0.0016982 | 0.0067808 | 0.0016984 | 4.2289e-07 | 1.3066e-07 | 0.010184 | 0.010184 | 0.010184 | 0.99063 | -0.17926 | 0.99069 | -0.17795 | 2.7979
5 | 0.0021607 | 0.00054124 | -0.0021607 | -0.00054134 | 3.9495e-08 | -1.0344e-07 | 0.0032455 | 0.0032456 | 0.0032456 | 0.99063 | -0.17926 | 0.99061 | -0.17964 | 0.89165
6 | 0.0018105 | 0.00045357 | -0.0018105 | -0.00045374 | 4.2673e-08 | -1.7076e-07 | 0.0027195 | 0.0027196 | 0.0027196 | 0.99061 | -0.17964 | 0.99058 | -0.18014 | 0.74714
7 | -0.0071497 | -0.0017908 | 0.0071498 | 0.0017908 | 2.2645e-08 | 7.7502e-09 | 0.010739 | 0.010739 | 0.010739 | 0.99069 | -0.17795 | 0.9907 | -0.17788 | 2.9501
8 | -0.0075235 | -0.0018845 | 0.0075244 | 0.0018849 | 9.6012e-07 | 3.5625e-07 | 0.0113 | 0.0113 | 0.0113 | 0.9907 | -0.17788 | 0.99084 | -0.1752 | 3.1043
9 | 0.056493 | 0.014275 | -0.056457 | -0.014252 | 3.5883e-05 | 2.2794e-05 | 0.08479 | 0.08479 | 0.08479 | 0.99191 | -0.15488 | 0.99122 | -0.16814 | 23.294
10 | -0.058602 | -0.014803 | 0.05864 | 0.014827 | 3.8016e-05 | 2.4161e-05 | 0.087953 | 0.087953 | 0.087953 | 0.99191 | -0.15488 | 0.99261 | -0.14135 | 24.163
11 | 0.055107 | 0.013913 | -0.0551 | -0.013909 | 7.4376e-06 | 4.7227e-06 | 0.082763 | 0.082763 | 0.082763 | 0.99122 | -0.16814 | 0.99107 | -0.17095 | 22.7371
12 | -0.060311 | -0.015246 | 0.060333 | 0.01526 | 2.2123e-05 | 1.4066e-05 | 0.090459 | 0.090459 | 0.090459 | 0.99261 | -0.14135 | 0.99301 | -0.13371 | 24.8513
13 | 0.053082 | 0.013403 | -0.053048 | -0.013381 | 3.3953e-05 | 2.1547e-05 | 0.079733 | 0.079733 | 0.079733 | 0.99107 | -0.17095 | 0.99038 | -0.18431 | 21.9048
14 | -0.063677 | -0.016098 | 0.063702 | 0.016114 | 2.5173e-05 | 1.6015e-05 | 0.095469 | 0.095469 | 0.095469 | 0.99301 | -0.13371 | 0.99344 | -0.12547 | 26.2278
15 | 0.050924 | 0.012849 | -0.050915 | -0.012843 | 9.6258e-06 | 6.1041e-06 | 0.076543 | 0.076543 | 0.076543 | 0.99038 | -0.18431 | 0.99018 | -0.18826 | 21.0283
16 | -0.065912 | -0.016668 | 0.065949 | 0.016691 | 3.631e-05 | 2.311e-05 | 0.09878 | 0.09878 | 0.09878 | 0.99344 | -0.12547 | 0.99403 | -0.11399 | 27.1372
17 | 0.0094288 | 0.0023634 | -0.0094267 | -0.0023624 | 2.1209e-06 | 9.8376e-07 | 0.014061 | 0.014061 | 0.014061 | 0.99785 | -0.040988 | 0.99761 | -0.04571 | 3.8628
18 | -0.013256 | -0.0033225 | 0.013259 | 0.0033245 | 3.609e-06 | 1.9879e-06 | 0.019768 | 0.019767 | 0.019768 | 0.99785 | -0.040988 | 0.99815 | -0.035275 | 5.4306
19 | 0.0066905 | 0.0016767 | -0.0066901 | -0.0016765 | 4.2727e-07 | 1.2409e-07 | 0.0099795 | 0.0099795 | 0.0099795 | 0.99761 | -0.04571 | 0.99754 | -0.047051 | 2.7416
20 | -0.090056 | -0.022844 | 0.090143 | 0.022899 | 8.6212e-05 | 5.5009e-05 | 0.13435 | 0.13435 | 0.13435 | 0.99815 | -0.035275 | 0.99919 | -0.015386 | 36.9095
21 | 0.076797 | 0.019519 | -0.076595 | -0.019391 | 0.00020211 | 0.00012882 | 0.11458 | 0.11458 | 0.11458 | 0.99815 | -0.035275 | 0.99528 | -0.090081 | 31.479
22 | 0.0066901 | 0.0016765 | -0.0066889 | -0.0016762 | 1.215e-06 | 3.5297e-07 | 0.0099795 | 0.0099797 | 0.0099797 | 0.99754 | -0.047051 | 0.99734 | -0.050863 | 2.7417
23 | -0.094012 | -0.023869 | 0.094082 | 0.023913 | 6.9656e-05 | 4.4456e-05 | 0.14011 | 0.14011 | 0.14011 | 0.99919 | -0.015386 | 1 | 0 | 38.4926
24 | 0.073895 | 0.018714 | -0.073879 | -0.018704 | 1.6086e-05 | 1.0249e-05 | 0.11055 | 0.11055 | 0.11055 | 0.99528 | -0.090081 | 0.99504 | -0.094615 | 30.3702
25 | 0.0032123 | 0.00080487 | -0.0032121 | -0.00080503 | 1.8368e-07 | -1.607e-07 | 0.0047926 | 0.0047927 | 0.0047927 | 0.99734 | -0.050863 | 0.99728 | -0.052064 | 1.3167
26 | 0.078804 | 0.020121 | -0.078605 | -0.019994 | 0.00019907 | 0.0001269 | 0.11739 | 0.11739 | 0.11739 | 1 | 0 | 0.99724 | -0.052413 | 32.251
27 | 0.071176 | 0.018026 | -0.071158 | -0.018015 | 1.814e-05 | 1.1554e-05 | 0.1065 | 0.1065 | 0.1065 | 0.99504 | -0.094615 | 0.99477 | -0.099924 | 29.2596
28 | 0.049987 | 0.012611 | -0.049923 | -0.01257 | 6.3286e-05 | 4.0119e-05 | 0.075148 | 0.075148 | 0.075148 | 0.99018 | -0.18826 | 0.98881 | -0.21474 | 20.6452
29 | 0.049923 | 0.01257 | -0.049903 | -0.012557 | 2.0413e-05 | 1.294e-05 | 0.075148 | 0.075149 | 0.075149 | 0.98881 | -0.21474 | 0.98837 | -0.2233 | 20.6452
30 | 0.048795 | 0.01228 | -0.048751 | -0.012252 | 4.4249e-05 | 2.8039e-05 | 0.073481 | 0.073481 | 0.073481 | 0.98837 | -0.2233 | 0.98739 | -0.24229 | 20.1872
31 | 0.045351 | 0.0114 | -0.045302 | -0.011369 | 4.9053e-05 | 3.1036e-05 | 0.068358 | 0.068358 | 0.068358 | 0.98739 | -0.24229 | 0.98622 | -0.26497 | 18.7796
32 | -0.06875 | -0.017393 | 0.068796 | 0.017423 | 4.6433e-05 | 2.9566e-05 | 0.10297 | 0.10297 | 0.10297 | 0.99403 | -0.11399 | 0.99477 | -0.099924 | 28.2891
33 | -0.03242 | -0.0081379 | 0.03244 | 0.0081501 | 1.9498e-05 | 1.2205e-05 | 0.04906 | 0.04906 | 0.04906 | 0.98342 | -0.31895 | 0.98407 | -0.30634 | 13.478
34 | 0.030745 | 0.0077181 | -0.030743 | -0.0077163 | 2.8776e-06 | 1.7967e-06 | 0.046525 | 0.046525 | 0.046525 | 0.98342 | -0.31895 | 0.98332 | -0.32091 | 12.7817
35 | -0.035379 | -0.0088867 | 0.035405 | 0.0089028 | 2.5675e-05 | 1.6128e-05 | 0.053504 | 0.053504 | 0.053504 | 0.98407 | -0.30634 | 0.98485 | -0.29115 | 14.6988
36 | 0.029416 | 0.0073838 | -0.029403 | -0.0073759 | 1.2545e-05 | 7.815e-06 | 0.044517 | 0.044517 | 0.044517 | 0.98332 | -0.32091 | 0.98286 | -0.32985 | 12.2301
37 | -0.037226 | -0.0093589 | 0.037242 | 0.0093692 | 1.6445e-05 | 1.0349e-05 | 0.056255 | 0.056255 | 0.056255 | 0.98485 | -0.29115 | 0.98532 | -0.2819 | 15.4547
38 | 0.0018211 | 0.00045607 | -0.0018211 | -0.0004564 | 8.517e-08 | -3.272e-07 | 0.0027515 | 0.0027516 | 0.0027516 | 0.98485 | -0.29115 | 0.9848 | -0.29213 | 0.75593
39 | 0.0129 | 0.0032341 | -0.012896 | -0.0032315 | 4.6764e-06 | 2.5787e-06 | 0.019531 | 0.019531 | 0.019531 | 0.98286 | -0.32985 | 0.98248 | -0.33746 | 5.3657
40 | 0.016503 | 0.0041419 | -0.016495 | -0.0041374 | 7.6307e-06 | 4.4708e-06 | 0.024986 | 0.024987 | 0.024987 | 0.98286 | -0.32985 | 0.98237 | -0.33955 | 6.8645
41 | -0.038138 | -0.0095939 | 0.038147 | 0.0095996 | 9.0458e-06 | 5.6967e-06 | 0.057609 | 0.057609 | 0.057609 | 0.98532 | -0.2819 | 0.98558 | -0.27694 | 15.8265
42 | 0.010306 | 0.0025825 | -0.010306 | -0.0025824 | 1.1486e-07 | 5.7591e-08 | 0.015609 | 0.015609 | 0.015609 | 0.98248 | -0.33746 | 0.98246 | -0.3377 | 4.2882
43 | 0.014774 | 0.0037061 | -0.014769 | -0.003703 | 5.3597e-06 | 3.069e-06 | 0.02238 | 0.02238 | 0.02238 | 0.98237 | -0.33955 | 0.98198 | -0.34717 | 6.1483
44 | 0.070435 | 0.017808 | -0.070429 | -0.017804 | 6.1916e-06 | 3.9436e-06 | 0.10572 | 0.10572 | 0.10572 | 0.99189 | -0.15483 | 0.9918 | -0.15666 | 29.0441
45 | -0.072832 | -0.018408 | 0.073063 | 0.018556 | 0.00023089 | 0.0001471 | 0.10932 | 0.10932 | 0.10932 | 0.99189 | -0.15483 | 0.99533 | -0.088942 | 30.0321
46 | 0.069107 | 0.017472 | -0.069085 | -0.017459 | 2.1615e-05 | 1.3765e-05 | 0.10374 | 0.10374 | 0.10374 | 0.9918 | -0.15666 | 0.99146 | -0.16319 | 28.4992
47 | -0.073063 | -0.018556 | 0.073192 | 0.018638 | 0.0001287 | 8.1993e-05 | 0.10932 | 0.10932 | 0.10932 | 0.99533 | -0.088942 | 0.99724 | -0.052413 | 30.032
48 | 0.067767 | 0.017128 | -0.067733 | -0.017107 | 3.4035e-05 | 2.1669e-05 | 0.10176 | 0.10176 | 0.10176 | 0.99146 | -0.16319 | 0.99091 | -0.17367 | 27.9558
49 | 0.0054132 | 0.0013564 | -0.0054121 | -0.0013563 | 1.1409e-06 | 1.219e-07 | 0.0080772 | 0.0080774 | 0.0080774 | 0.99724 | -0.052413 | 0.99701 | -0.056838 | 2.2191
50 | 0.057067 | 0.014434 | -0.056964 | -0.014369 | 0.00010294 | 6.5399e-05 | 0.085742 | 0.085742 | 0.085742 | 0.99091 | -0.17367 | 0.98896 | -0.21134 | 23.5554
51 | 0.010667 | 0.0026726 | -0.010666 | -0.0026722 | 7.8094e-07 | 3.9525e-07 | 0.016018 | 0.016018 | 0.016018 | 0.99091 | -0.17367 | 0.99084 | -0.1752 | 4.4004
52 | 0.0054121 | 0.0013563 | -0.0054117 | -0.0013562 | 4.4242e-07 | 4.7356e-08 | 0.0080774 | 0.0080775 | 0.0080775 | 0.99701 | -0.056838 | 0.99692 | -0.058554 | 2.2191
53 | 0.038936 | 0.0098029 | -0.038922 | -0.0097936 | 1.4624e-05 | 9.2152e-06 | 0.058778 | 0.058778 | 0.058778 | 0.98598 | -0.26908 | 0.98558 | -0.27694 | 16.1477
54 | -0.040868 | -0.010287 | 0.040869 | 0.010287 | 4.0973e-07 | 2.5857e-07 | 0.061693 | 0.061693 | 0.061693 | 0.98598 | -0.26908 | 0.98599 | -0.26887 | 16.9487
55 | -0.04203 | -0.010578 | 0.04207 | 0.010604 | 4.0245e-05 | 2.5416e-05 | 0.063446 | 0.063446 | 0.063446 | 0.98599 | -0.26887 | 0.98703 | -0.24886 | 17.4302
56 | -0.044332 | -0.011171 | 0.044346 | 0.011179 | 1.3978e-05 | 8.8395e-06 | 0.066855 | 0.066855 | 0.066855 | 0.98703 | -0.24886 | 0.98736 | -0.24227 | 18.3668
57 | -0.045335 | -0.011427 | 0.045365 | 0.011446 | 2.9721e-05 | 1.8804e-05 | 0.068346 | 0.068345 | 0.068346 | 0.98736 | -0.24227 | 0.98807 | -0.22857 | 18.7763
58 | 0.012659 | 0.0031742 | -0.012656 | -0.0031727 | 2.8115e-06 | 1.5416e-06 | 0.019183 | 0.019183 | 0.019183 | 0.98198 | -0.34717 | 0.98174 | -0.35183 | 5.27
59 | 0.011487 | 0.0028798 | -0.011485 | -0.0028787 | 2.0283e-06 | 1.0726e-06 | 0.017411 | 0.017411 | 0.017411 | 0.98174 | -0.35183 | 0.98155 | -0.35553 | 4.7834
60 | 0.009759 | 0.0024461 | -0.0097576 | -0.0024454 | 1.4118e-06 | 6.8617e-07 | 0.014795 | 0.014795 | 0.014795 | 0.98155 | -0.35553 | 0.9814 | -0.35857 | 4.0645
61 | 0.0085181 | 0.0021343 | -0.0085153 | -0.0021331 | 2.7526e-06 | 1.2034e-06 | 0.012901 | 0.012901 | 0.012901 | 0.98246 | -0.3377 | 0.98212 | -0.34448 | 3.5443
62 | 0.04961 | 0.012526 | -0.049589 | -0.012512 | 2.0998e-05 | 1.331e-05 | 0.074678 | 0.074678 | 0.074678 | 0.98896 | -0.21134 | 0.98851 | -0.22018 | 20.5158
63 | 0.0073534 | 0.001843 | -0.0073527 | -0.0018428 | 7.7857e-07 | 2.8069e-07 | 0.011064 | 0.011064 | 0.011064 | 0.98896 | -0.21134 | 0.98885 | -0.21356 | 3.0396
64 | 0.0042423 | 0.0010632 | -0.0042422 | -0.0010632 | 1.6127e-07 | -3.6629e-08 | 0.0063321 | 0.0063322 | 0.0063322 | 0.99692 | -0.058554 | 0.99688 | -0.059352 | 1.7396
65 | 0.010637 | 0.0026662 | -0.010635 | -0.0026652 | 2.0499e-06 | 1.0418e-06 | 0.016058 | 0.016059 | 0.016059 | 0.98566 | -0.27586 | 0.98545 | -0.2799 | 4.4117
66 | -0.015051 | -0.0037725 | 0.015055 | 0.0037745 | 3.6054e-06 | 2.0701e-06 | 0.022722 | 0.022722 | 0.022722 | 0.98566 | -0.27586 | 0.98592 | -0.27083 | 6.2424
67 | 0.0058432 | 0.0014642 | -0.0058427 | -0.0014641 | 5.4975e-07 | 1.1194e-07 | 0.0088231 | 0.0088232 | 0.0088232 | 0.98545 | -0.2799 | 0.98535 | -0.28188 | 2.4239
68 | -0.016161 | -0.0040517 | 0.016165 | 0.0040543 | 4.5156e-06 | 2.6318e-06 | 0.024391 | 0.024391 | 0.024391 | 0.98592 | -0.27083 | 0.98622 | -0.26497 | 6.7009
69 | 0.0035849 | 0.00089824 | -0.0035846 | -0.00089838 | 2.7675e-07 | -1.4361e-07 | 0.0054136 | 0.0054137 | 0.0054137 | 0.98535 | -0.28188 | 0.98527 | -0.2835 | 1.4873
70 | 0.029137 | 0.0073144 | -0.029127 | -0.0073079 | 1.0426e-05 | 6.4889e-06 | 0.043966 | 0.043966 | 0.043966 | 0.98622 | -0.26497 | 0.98584 | -0.27247 | 12.0787
71 | 0.022983 | 0.0057682 | -0.022965 | -0.0057569 | 1.8377e-05 | 1.1243e-05 | 0.034693 | 0.034694 | 0.034694 | 0.98584 | -0.27247 | 0.98497 | -0.28925 | 9.5312
72 | 0.0055666 | 0.0013941 | -0.0055662 | -0.001394 | 4.4681e-07 | 7.3999e-08 | 0.0084337 | 0.0084338 | 0.0084338 | 0.98212 | -0.34448 | 0.98203 | -0.34617 | 2.317
73 | 0.00061793 | 0.00015388 | -0.00061791 | -0.00015466 | 2.0445e-08 | -7.7405e-07 | 0.00093596 | 0.00093624 | 0.00093624 | 0.98203 | -0.34617 | 0.982 | -0.34687 | 0.25721
74 | 0.00061791 | 0.00015466 | -0.0006179 | -0.00015486 | 5.3679e-09 | -2.0314e-07 | 0.00093624 | 0.00093631 | 0.00093631 | 0.982 | -0.34687 | 0.98199 | -0.34705 | 0.25723
75 | 0.0061183 | 0.0015334 | -0.0061182 | -0.0015334 | 4.9735e-08 | 1.1759e-08 | 0.0092068 | 0.0092068 | 0.0092068 | 0.98885 | -0.21356 | 0.98884 | -0.21373 | 2.5293
76 | 0.048345 | 0.0122 | -0.048325 | -0.012188 | 1.9435e-05 | 1.2313e-05 | 0.072804 | 0.072805 | 0.072805 | 0.98851 | -0.22018 | 0.98807 | -0.22857 | 20.0012
77 | 0.0082551 | 0.0020688 | -0.008254 | -0.0020684 | 1.1057e-06 | 4.6988e-07 | 0.012517 | 0.012517 | 0.012517 | 0.9814 | -0.35857 | 0.98125 | -0.36138 | 3.4386
78 | 0.0063077 | 0.0015806 | -0.0063077 | -0.0015806 | 2.6947e-08 | 7.3249e-09 | 0.0095652 | 0.0095652 | 0.0095652 | 0.98125 | -0.36138 | 0.98125 | -0.36147 | 2.6278
79 | 0.0047195 | 0.0011825 | -0.0047191 | -0.0011825 | 3.8501e-07 | -6.7783e-09 | 0.0071567 | 0.0071568 | 0.0071568 | 0.98125 | -0.36147 | 0.98116 | -0.36319 | 1.9662
80 | 0.0029762 | 0.00074573 | -0.0029762 | -0.00074576 | 3.2897e-08 | -3.3328e-08 | 0.0045136 | 0.0045136 | 0.0045136 | 0.98116 | -0.36319 | 0.98115 | -0.36342 | 1.24
81 | -0.0020567 | -0.00051546 | 0.0020568 | 0.00051525 | 7.2943e-08 | -2.0922e-07 | 0.0031088 | 0.0031087 | 0.0031088 | 0.98443 | -0.29984 | 0.98447 | -0.29909 | 0.85407
82 | -0.0020568 | -0.00051525 | 0.0020569 | 0.00051486 | 1.3721e-07 | -3.9366e-07 | 0.0031087 | 0.0031086 | 0.0031087 | 0.98447 | -0.29909 | 0.98454 | -0.29769 | 0.85405
83 | -0.011961 | -0.0029978 | 0.011965 | 0.0029997 | 3.5089e-06 | 1.8814e-06 | 0.018078 | 0.018078 | 0.018078 | 0.98454 | -0.29769 | 0.98486 | -0.29154 | 4.9664
84 | 0.0099041 | 0.002483 | -0.0099018 | -0.0024818 | 2.3319e-06 | 1.1396e-06 | 0.014969 | 0.014969 | 0.014969 | 0.98454 | -0.29769 | 0.98429 | -0.30263 | 4.1124
85 | -0.0015408 | -0.00038615 | 0.0015408 | 0.00038602 | 2.4337e-08 | -1.3452e-07 | 0.0023368 | 0.0023367 | 0.0023368 | 0.98113 | -0.36375 | 0.98115 | -0.36342 | 0.64197
86 | 0.0074564 | 0.0018689 | -0.0074547 | -0.0018683 | 1.6843e-06 | 6.2879e-07 | 0.011272 | 0.011273 | 0.011273 | 0.98429 | -0.30263 | 0.98405 | -0.30738 | 3.0968
87 | 0.0034206 | 0.00085706 | -0.0034203 | -0.00085721 | 2.3967e-07 | -1.5108e-07 | 0.005168 | 0.0051681 | 0.0051681 | 0.98486 | -0.29154 | 0.98478 | -0.29301 | 1.4198
88 | -0.015385 | -0.0038568 | 0.015387 | 0.0038577 | 1.6729e-06 | 9.6558e-07 | 0.023246 | 0.023246 | 0.023246 | 0.98486 | -0.29154 | 0.98497 | -0.28925 | 6.3862

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18008 | 0.045423

## res_load
| p_mw | q_mvar
0 | 0.00085501 | 0.00021429
1 | 0.0030004 | 0.00075196
2 | 0.00076316 | 0.00019126
3 | 0.00035021 | 8.7772e-05
4 | 0.0018105 | 0.00045374
5 | 0.00036897 | 9.2473e-05
6 | 0.00037371 | 9.366e-05
7 | 0.0021086 | 0.00052847
8 | 0.0013503 | 0.00033842
9 | 0.0016711 | 0.00041883
10 | 0.002018 | 0.00050576
11 | 0.0033437 | 0.00083801
12 | 0.0021234 | 0.00053217
13 | 0.0022102 | 0.00055392
14 | 0.003827 | 0.00095914
15 | 0.0027362 | 0.00068575
16 | 0.0038696 | 0.0009698
17 | 0.0026996 | 0.00067658
18 | 0.0034766 | 0.00087132
19 | 0.0055399 | 0.0013884
20 | 0.0027034 | 0.00067753
21 | 0.0009281 | 0.0002326
22 | 0.0011075 | 0.00027756
23 | 0.0033999 | 0.00085208
24 | 0.0028009 | 0.00070196
25 | 0.0023616 | 0.00059188
26 | 0.001675 | 0.00041978
27 | 0.0029389 | 0.00073656
28 | 0.001327 | 0.00033258
29 | 0.00089632 | 0.00022464
30 | 0.0018211 | 0.0004564
31 | 0.0025895 | 0.00064899
32 | 0.0017211 | 0.00043135
33 | 0.0023971 | 0.00060078
34 | 0.0013221 | 0.00033136
35 | 0.001318 | 0.00033032
36 | 0.001932 | 0.0004842
37 | 0.0007743 | 0.00019406
38 | 0.0011614 | 0.00029106
39 | 0.0022614 | 0.00056677
40 | 0.00098908 | 0.00024789
41 | 0.0021097 | 0.00052875
42 | 0.0011688 | 0.00029292
43 | 0.0017262 | 0.00043264
44 | 0.001788 | 0.00044811
45 | 0.0031415 | 0.00078734
46 | 0.0011693 | 0.00029306
47 | 0.0044141 | 0.0011063
48 | 0.0047918 | 0.0012009
49 | 0.0011059 | 0.00027718
50 | 0.0022578 | 0.00056586
51 | 0.0035846 | 0.00089838
52 | 0.0061435 | 0.0015397
53 | 0.0029487 | 0.00073902
54 | 0.0049482 | 0.0012401
55 | 0.0006179 | 0.00015486
56 | 0.0012344 | 0.00030937
57 | 0.0061182 | 0.0015334
58 | 0.0012443 | 0.00031186
59 | 0.0029609 | 0.00074207
60 | 0.0015025 | 0.00037655
61 | 0.0019463 | 0.00048778
62 | 0.0015883 | 0.00039805
63 | 0.0017429 | 0.0004368
64 | 0.0020567 | 0.00051546
65 | 0.0015408 | 0.00038615
66 | 0.0014354 | 0.00035975
67 | 0.0024454 | 0.00061288
68 | 0.0074547 | 0.0018683
69 | 0.0034203 | 0.00085721
70 | 0.0075779 | 0.0018992
71 | 0.0042422 | 0.0010632
72 | 0.0032121 | 0.00080503

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1