## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-11_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2581-11_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_2581-11_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_2581-11_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_2581-11_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2581-11_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2581-11_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2581-11_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2581-11_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_2581-11_0_3_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_2581-11_0_3_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_2581-11_0_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_2581-11_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2581-11_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_2581-11_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_2581-11_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2581-11_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2581-11_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2581-11_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2581-11_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2581-11_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2581-11_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2581-11_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_2581-11_0_3_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_2581-11_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2581-11_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2581-11_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2581-11_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_2581-11_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2581-11_0_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_2581-11_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2581-11_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2581-11_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2581-11_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2581-11_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2581-11_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2581-11_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_2581-11_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2581-11_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2581-11_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_2581-11_0_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_2581-11_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_2581-11_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_2581-11_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_2581-11_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2581-11_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2581-11_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2581-11_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_2581-11_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2581-11_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_2581-11_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2581-11_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_2581-11_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_2581-11_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_2581-11_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_2581-11_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2581-11_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2581-11_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2581-11_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2581-11_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2581-11_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2581-11_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2581-11_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2581-11_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_2581-11_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_2581-11_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_MV_523_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-11_0_3_load_0 | 0 | 0.0017412 | 0.00043638 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-11_0_3_load_1 | 1 | 0.0017352 | 0.00043489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-11_0_3_load_2 | 2 | 0.0041194 | 0.0010324 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-11_0_3_load_3 | 3 | 0.0022547 | 0.00056508 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-11_0_3_load_4 | 4 | 0.0017442 | 0.00043715 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-11_0_3_load_10 | 5 | 0.0015357 | 0.00038488 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-11_0_3_load_27 | 6 | 0.0018382 | 0.0004607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-11_0_3_load_41 | 7 | 0.0015325 | 0.00038408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-11_0_3_load_26 | 8 | 0.0018911 | 0.00047397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-11_0_3_load_5 | 9 | 0.039858 | 0.0099894 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-11_0_3_load_38 | 13 | 0.011594 | 0.0029056 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-11_0_3_load_55 | 14 | 0.012114 | 0.0030361 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-11_0_3_load_39 | 15 | 0.012549 | 0.003145 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-11_0_3_load_37 | 16 | 0.0024404 | 0.00061163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-11_0_3_load_53 | 18 | 0.0068812 | 0.0017246 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-11_0_3_load_42 | 19 | 0.0024102 | 0.00060405 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-11_0_3_load_11 | 20 | 0.00059232 | 0.00014845 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-11_0_3_load_12 | 21 | 0.0018463 | 0.00046272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-11_0_3_load_13 | 22 | 0.0036613 | 0.0009176 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-11_0_3_load_14 | 23 | 0.0018481 | 0.00046317 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-11_0_3_load_15 | 24 | 0.0054672 | 0.0013702 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-11_0_3_load_44 | 25 | 0.0018977 | 0.0004756 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-11_0_3_load_43 | 27 | 0.0019447 | 0.00048739 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-11_0_3_load_64 | 28 | 0.0033106 | 0.00082972 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-11_0_3_load_18 | 29 | 0.0066396 | 0.0016641 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-11_0_3_load_16 | 30 | 0.007054 | 0.0017679 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-11_0_3_load_17 | 31 | 0.0060958 | 0.0015277 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-11_0_3_load_19 | 32 | 0.0035581 | 0.00089175 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-11_0_3_load_32 | 33 | 0.0061065 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-11_0_3_load_63 | 34 | 0.0034088 | 0.00085433 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-11_0_3_load_21 | 35 | 0.00090165 | 0.00022597 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-11_0_3_load_22 | 36 | 0.0017376 | 0.00043547 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-11_0_3_load_23 | 37 | 0.00090578 | 0.00022701 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-11_0_3_load_24 | 38 | 0.001741 | 0.00043634 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-11_0_3_load_30 | 40 | 0.0015924 | 0.00039909 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-11_0_3_load_31 | 42 | 0.0024204 | 0.00060661 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-11_0_3_load_69 | 45 | 0.0019386 | 0.00048587 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-11_0_3_load_57 | 47 | 0.0019016 | 0.00047658 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-11_0_3_load_28 | 48 | 0.0017478 | 0.00043803 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-11_0_3_load_29 | 49 | 0.0017297 | 0.0004335 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-11_0_3_load_34 | 50 | 0.0035281 | 0.00088423 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-11_0_3_load_33 | 51 | 0.0046518 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-11_0_3_load_68 | 52 | 0.0015421 | 0.00038649 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-11_0_3_load_66 | 56 | 0.01152 | 0.0028871 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-11_0_3_load_67 | 58 | 0.0077809 | 0.0019501 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-11_0_3_load_46 | 60 | 0.0018464 | 0.00046275 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-11_0_3_load_47 | 61 | 0.0027585 | 0.00069133 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-11_0_3_load_56 | 62 | 0.0011759 | 0.00029471 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-11_0_3_load_48 | 63 | 0.010087 | 0.0025281 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-11_0_3_load_52 | 64 | 0.0067686 | 0.0016964 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-11_0_3_load_54 | 65 | 0.017469 | 0.0043782 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-11_0_3_load_58 | 66 | 0.0036872 | 0.0009241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-11_0_3_load_59 | 67 | 0.0017161 | 0.00043009 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-11_0_3_load_72 | 68 | 0.0015124 | 0.00037903 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-11_0_3_load_70 | 69 | 0.0017051 | 0.00042733 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-11_0_3_load_73 | 70 | 0.0013465 | 0.00033747 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-11_0_3_line_0 |  | 0 | 1 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-11_0_3_line_1 |  | 0 | 2 | 0.0007445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-11_0_3_line_2 |  | 1 | 3 | 0.0060017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-11_0_3_line_3 |  | 2 | 4 | 0.0045402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-11_0_3_line_4 |  | 3 | 5 | 0.0049389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-11_0_3_line_5 |  | 4 | 6 | 0.00028499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-11_0_3_line_6 |  | 5 | 7 | 0.00022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-11_0_3_line_7 |  | 6 | 8 | 0.0010523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-11_0_3_line_8 |  | 7 | 19 | 0.000664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-11_0_3_line_9 |  | 8 | 48 | 0.0038612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-11_0_3_line_10 |  | 9 | 10 | 0.076645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-11_0_3_line_11 |  | 10 | 11 | 0.023899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-11_0_3_line_12 |  | 10 | 12 | 0.007666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-11_0_3_line_13 |  | 11 | 13 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-11_0_3_line_14 |  | 12 | 14 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-11_0_3_line_15 |  | 13 | 15 | 0.027332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-11_0_3_line_16 |  | 14 | 18 | 0.019653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-11_0_3_line_17 |  | 15 | 57 | 0.0094297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-11_0_3_line_18 |  | 16 | 17 | 0.015519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-11_0_3_line_19 |  | 17 | 54 | 0.028559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-11_0_3_line_20 |  | 17 | 51 | 0.016007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-11_0_3_line_21 |  | 18 | 64 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-11_0_3_line_22 |  | 19 | 52 | 0.0010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-11_0_3_line_23 |  | 20 | 21 | 0.0031498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-11_0_3_line_24 |  | 20 | 22 | 0.026016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-11_0_3_line_25 |  | 21 | 23 | 0.0020497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-11_0_3_line_26 |  | 22 | 24 | 0.041099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-11_0_3_line_27 |  | 23 | 25 | 0.0020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-11_0_3_line_28 |  | 24 | 26 | 0.0045811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-11_0_3_line_29 |  | 25 | 27 | 0.0054714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-11_0_3_line_30 |  | 26 | 28 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-11_0_3_line_31 |  | 26 | 29 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-11_0_3_line_32 |  | 27 | 59 | 0.005829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-11_0_3_line_33 |  | 28 | 34 | 0.0002796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-11_0_3_line_34 |  | 29 | 30 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-11_0_3_line_35 |  | 30 | 31 | 0.026097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-11_0_3_line_36 |  | 31 | 32 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-11_0_3_line_37 |  | 32 | 33 | 0.0087587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-11_0_3_line_38 |  | 35 | 36 | 0.014981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-11_0_3_line_39 |  | 35 | 37 | 0.0053327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-11_0_3_line_40 |  | 36 | 38 | 0.0042952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-11_0_3_line_41 |  | 37 | 39 | 0.017423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-11_0_3_line_42 |  | 38 | 40 | 0.0056109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-11_0_3_line_43 |  | 39 | 41 | 0.038951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-11_0_3_line_44 |  | 40 | 42 | 0.00020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-11_0_3_line_45 |  | 41 | 47 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-11_0_3_line_46 |  | 41 | 46 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-11_0_3_line_47 |  | 42 | 52 | 5.8871e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-11_0_3_line_48 |  | 43 | 44 | 0.031606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-11_0_3_line_49 |  | 43 | 45 | 0.025582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-11_0_3_line_50 |  | 43 | 46 | 0.051315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-11_0_3_line_51 |  | 44 | 68 | 0.059989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-11_0_3_line_52 |  | 45 | 69 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-11_0_3_line_53 |  | 46 | 66 | 0.052057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-11_0_3_line_54 |  | 47 | 62 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-11_0_3_line_55 |  | 48 | 49 | 0.0052126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-11_0_3_line_56 |  | 49 | 50 | 0.0090049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-11_0_3_line_57 |  | 50 | 51 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2581-11_0_3_line_58 |  | 53 | 54 | 0.0068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-11_0_3_line_59 |  | 53 | 55 | 0.034956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-11_0_3_line_60 |  | 54 | 56 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-11_0_3_line_61 |  | 55 | 63 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-11_0_3_line_62 |  | 56 | 57 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-11_0_3_line_63 |  | 57 | 58 | 0.025177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-11_0_3_line_64 |  | 59 | 60 | 0.0057882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-11_0_3_line_65 |  | 59 | 61 | 0.044214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-11_0_3_line_66 |  | 60 | 62 | 0.029471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-11_0_3_line_67 |  | 64 | 65 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-11_0_3_line_68 |  | 66 | 67 | 0.015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-11_0_3_line_69 |  | 68 | 70 | 0.028248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-11_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 71 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2636024.8313 | 1243740.171 | 2636031.068 | 1243727.6755
1 | 2636024.8313 | 1243740.171 | 2636024.4988 | 1243740.8371
2 | 2636031.068 | 1243727.6755 | 2636032.2043 | 1243725.3989 | 2636033.8667 | 1243722.3674
3 | 2636022.4713 | 1243744.8994 | 2636024.4988 | 1243740.8371
4 | 2636036.2414 | 1243718.037 | 2636033.8667 | 1243722.3674
5 | 2636022.4713 | 1243744.8994 | 2636022.344 | 1243745.1544
6 | 2636036.3501 | 1243717.8389 | 2636036.2414 | 1243718.037
7 | 2636022.344 | 1243745.1544 | 2636021.8741 | 1243746.096
8 | 2636036.6694 | 1243717.2566 | 2636036.3501 | 1243717.8389
9 | 2636020.1498 | 1243749.5508 | 2636021.8741 | 1243746.096
10 | 2636064.7019 | 1243839.5033 | 2636070.4772 | 1243840.4501 | 2636096.2989 | 1243810.6988 | 2636120.2696 | 1243830.9783
11 | 2636064.7019 | 1243839.5033 | 2636063.797 | 1243845.4016 | 2636053.1146 | 1243859.8239
12 | 2636064.4005 | 1243831.8965 | 2636064.997 | 1243835.7026 | 2636064.7019 | 1243839.5033
13 | 2636053.1146 | 1243859.8239 | 2636041.5509 | 1243852.6797
14 | 2636064.4005 | 1243831.8965 | 2636077.1439 | 1243818.599
15 | 2636041.5509 | 1243852.6797 | 2636018.2984 | 1243838.3142
16 | 2636077.1439 | 1243818.599 | 2636090.7423 | 1243804.4096
17 | 2636010.2762 | 1243833.358 | 2636018.2984 | 1243838.3142
18 | 2635997.597 | 1243791.9988 | 2636011.4497 | 1243798.9956
19 | 2635997.597 | 1243791.9988 | 2635992.1972 | 1243798.9039 | 2635981.4786 | 1243815.572
20 | 2635997.597 | 1243791.9988 | 2635997.8022 | 1243791.8 | 2636001.6041 | 1243786.6975 | 2636004.9012 | 1243780.1021 | 2636005.7873 | 1243778.3268
21 | 2636103.9429 | 1243784.8075 | 2636092.1976 | 1243802.891 | 2636090.7423 | 1243804.4096
22 | 2636036.6694 | 1243717.2566 | 2636037.172 | 1243716.34
23 | 2635935.9776 | 1243683.4532 | 2635937.0236 | 1243682.7837 | 2635938.6921 | 1243681.8584
24 | 2635914.0346 | 1243697.4302 | 2635927.404 | 1243688.9072 | 2635932.2744 | 1243685.8236 | 2635935.9776 | 1243683.4532
25 | 2635940.4846 | 1243680.8644 | 2635938.6921 | 1243681.8584
26 | 2635914.0346 | 1243697.4302 | 2635908.9008 | 1243700.703 | 2635894.9028 | 1243712.3037 | 2635883.8988 | 1243721.1985 | 2635881.6853 | 1243722.7122
27 | 2635942.3195 | 1243679.8469 | 2635940.4846 | 1243680.8644
28 | 2635877.9039 | 1243725.2983 | 2635881.6853 | 1243722.7122
29 | 2635947.1053 | 1243677.1951 | 2635942.5968 | 1243679.6932 | 2635942.3195 | 1243679.8469
30 | 2635877.9039 | 1243725.2983 | 2635871.9015 | 1243729.398 | 2635865.4744 | 1243733.7328
31 | 2635877.9039 | 1243725.2983 | 2635883.0444 | 1243730.0324 | 2635895.7108 | 1243742.5112
32 | 2635952.2039 | 1243674.3701 | 2635947.1053 | 1243677.1951
33 | 2635865.4744 | 1243733.7328 | 2635865.2426 | 1243733.8891
34 | 2635895.7108 | 1243742.5112 | 2635903.6877 | 1243750.37
35 | 2635922.3398 | 1243768.623 | 2635910.6146 | 1243757.1943 | 2635903.6877 | 1243750.37
36 | 2635922.3398 | 1243768.623 | 2635935.4333 | 1243781.3854
37 | 2635935.4333 | 1243781.3854 | 2635941.7054 | 1243787.499
38 | 2636042.341 | 1243707.5939 | 2636045.1018 | 1243703.3962 | 2636047.2018 | 1243702.2972 | 2636048.6996 | 1243700.8053 | 2636051.3439 | 1243696.014
39 | 2636053.9206 | 1243691.3452 | 2636051.3439 | 1243696.014
40 | 2636039.9955 | 1243711.1914 | 2636040.0982 | 1243711.0041 | 2636042.341 | 1243707.5939
41 | 2636062.4447 | 1243676.1505 | 2636059.298 | 1243681.6016 | 2636053.9206 | 1243691.3452
42 | 2636039.9955 | 1243711.1914 | 2636037.2976 | 1243716.1111
43 | 2636024.9024 | 1243665.905 | 2636038.1979 | 1243667.9981 | 2636050.9993 | 1243671.8005 | 2636062.4447 | 1243676.1505
44 | 2636037.2976 | 1243716.1111 | 2636037.2003 | 1243716.2884
45 | 2636024.9024 | 1243665.905 | 2636005.9622 | 1243666.2237 | 2636004.0237 | 1243666.4571
46 | 2636024.9024 | 1243665.905 | 2636026.3999 | 1243656.9972 | 2636027.7998 | 1243654.2039 | 2636029.7976 | 1243652.5038 | 2636033.2039 | 1243651.6017
47 | 2636037.2003 | 1243716.2884 | 2636037.172 | 1243716.34
48 | 2636079.2956 | 1243644.0766 | 2636096.4978 | 1243625.1021 | 2636100.3726 | 1243620.4782
49 | 2636079.2956 | 1243644.0766 | 2636058.2078 | 1243629.5935
50 | 2636033.2039 | 1243651.6017 | 2636037.5002 | 1243652.2059 | 2636058.5983 | 1243656.2032 | 2636064.3022 | 1243656.5047 | 2636069.0981 | 1243654.4991 | 2636073.1032 | 1243650.7988 | 2636077.0969 | 1243646.4981 | 2636079.2956 | 1243644.0766
51 | 2636100.3726 | 1243620.4782 | 2636050.9108 | 1243586.5345
52 | 2636058.2078 | 1243629.5935 | 2636030.6314 | 1243610.6541
53 | 2636033.2039 | 1243651.6017 | 2636033.1105 | 1243644.5632 | 2635995.1662 | 1243620.3378
54 | 2636004.0237 | 1243666.4571 | 2635986.4947 | 1243668.5671
55 | 2636017.8219 | 1243754.2147 | 2636020.1498 | 1243749.5508
56 | 2636017.8219 | 1243754.2147 | 2636013.8005 | 1243762.2717
57 | 2636005.7873 | 1243778.3268 | 2636013.8005 | 1243762.2717
58 | 2635977.8014 | 1243821.2979 | 2635981.4786 | 1243815.572
59 | 2635977.8014 | 1243821.2979 | 2635958.8668 | 1243850.7134
60 | 2635981.4786 | 1243815.572 | 2635995.2877 | 1243824.1008
61 | 2635958.8668 | 1243850.7134 | 2635940.2697 | 1243832.6346
62 | 2636010.2762 | 1243833.358 | 2635995.2877 | 1243824.1008
63 | 2636010.2762 | 1243833.358 | 2635995.2773 | 1243853.5799
64 | 2635952.2039 | 1243674.3701 | 2635957.7103 | 1243672.5859
65 | 2635952.2039 | 1243674.3701 | 2635938.553 | 1243632.3159
66 | 2635957.7103 | 1243672.5859 | 2635970.5283 | 1243668.4327 | 2635983.5388 | 1243668.9229 | 2635986.4947 | 1243668.5671
67 | 2636112.6113 | 1243771.4614 | 2636103.9429 | 1243784.8075
68 | 2635995.1662 | 1243620.3378 | 2635981.9959 | 1243611.9293
69 | 2636050.9108 | 1243586.5345 | 2636027.6197 | 1243570.5507

## bus_geodata
| x | y | coords
0 | 2636024.8313 | 1243740.171
1 | 2636031.068 | 1243727.6755
2 | 2636024.4988 | 1243740.8371
3 | 2636033.8667 | 1243722.3674
4 | 2636022.4713 | 1243744.8994
5 | 2636036.2414 | 1243718.037
6 | 2636022.344 | 1243745.1544
7 | 2636036.3501 | 1243717.8389
8 | 2636021.8741 | 1243746.096
9 | 2636120.2696 | 1243830.9783
10 | 2636064.7019 | 1243839.5033
11 | 2636053.1146 | 1243859.8239
12 | 2636064.4005 | 1243831.8965
13 | 2636041.5509 | 1243852.6797
14 | 2636077.1439 | 1243818.599
15 | 2636018.2984 | 1243838.3142
16 | 2636011.4497 | 1243798.9956
17 | 2635997.597 | 1243791.9988
18 | 2636090.7423 | 1243804.4096
19 | 2636036.6694 | 1243717.2566
20 | 2635935.9776 | 1243683.4532
21 | 2635938.6921 | 1243681.8584
22 | 2635914.0346 | 1243697.4302
23 | 2635940.4846 | 1243680.8644
24 | 2635881.6853 | 1243722.7122
25 | 2635942.3195 | 1243679.8469
26 | 2635877.9039 | 1243725.2983
27 | 2635947.1053 | 1243677.1951
28 | 2635865.4744 | 1243733.7328
29 | 2635895.7108 | 1243742.5112
30 | 2635903.6877 | 1243750.37
31 | 2635922.3398 | 1243768.623
32 | 2635935.4333 | 1243781.3854
33 | 2635941.7054 | 1243787.499
34 | 2635865.2426 | 1243733.8891
35 | 2636051.3439 | 1243696.014
36 | 2636042.341 | 1243707.5939
37 | 2636053.9206 | 1243691.3452
38 | 2636039.9955 | 1243711.1914
39 | 2636062.4447 | 1243676.1505
40 | 2636037.2976 | 1243716.1111
41 | 2636024.9024 | 1243665.905
42 | 2636037.2003 | 1243716.2884
43 | 2636079.2956 | 1243644.0766
44 | 2636100.3726 | 1243620.4782
45 | 2636058.2078 | 1243629.5935
46 | 2636033.2039 | 1243651.6017
47 | 2636004.0237 | 1243666.4571
48 | 2636020.1498 | 1243749.5508
49 | 2636017.8219 | 1243754.2147
50 | 2636013.8005 | 1243762.2717
51 | 2636005.7873 | 1243778.3268
52 | 2636037.172 | 1243716.34
53 | 2635977.8014 | 1243821.2979
54 | 2635981.4786 | 1243815.572
55 | 2635958.8668 | 1243850.7134
56 | 2635995.2877 | 1243824.1008
57 | 2636010.2762 | 1243833.358
58 | 2635995.2773 | 1243853.5799
59 | 2635952.2039 | 1243674.3701
60 | 2635957.7103 | 1243672.5859
61 | 2635938.553 | 1243632.3159
62 | 2635986.4947 | 1243668.5671
63 | 2635940.2697 | 1243832.6346
64 | 2636103.9429 | 1243784.8075
65 | 2636112.6113 | 1243771.4614
66 | 2635995.1662 | 1243620.3378
67 | 2635981.9959 | 1243611.9293
68 | 2636050.9108 | 1243586.5345
69 | 2636030.6314 | 1243610.6541
70 | 2636027.6197 | 1243570.5507
71 | 2635997.597 | 1243791.9988

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99762 | -0.045271 | 0.0017412 | 0.00043638
1 | 0.99642 | -0.06813 | 0.0017352 | 0.00043489
2 | 0.99768 | -0.044031 | 0.0041194 | 0.0010324
3 | 0.99591 | -0.077788 | 0.0022547 | 0.00056508
4 | 0.9981 | -0.036147 | 0.0017442 | 0.00043715
5 | 0.99551 | -0.085547 | 0.0015357 | 0.00038488
6 | 0.99812 | -0.035644 | 0.0018382 | 0.0004607
7 | 0.99549 | -0.085896 | 0.0015325 | 0.00038408
8 | 0.99822 | -0.033751 | 0.0018911 | 0.00047397
9 | 0.98036 | -0.3781 | 0.039858 | 0.0099894
10 | 0.98319 | -0.32286 | 0 | 0
11 | 0.98502 | -0.28712 | 0 | 0
12 | 0.98288 | -0.32884 | 0 | 0
13 | 0.98607 | -0.26685 | 0.011594 | 0.0029056
14 | 0.98215 | -0.34322 | 0.012114 | 0.0030361
15 | 0.98846 | -0.22057 | 0.012549 | 0.003145
16 | 0.99672 | -0.062139 | 0.0024404 | 0.00061163
17 | 0.99676 | -0.061475 | 0 | 0
18 | 0.98158 | -0.35428 | 0.0068812 | 0.0017246
19 | 0.99543 | -0.086904 | 0.0024102 | 0.00060405
20 | 0.98454 | -0.29691 | 0.00059232 | 0.00014845
21 | 0.98467 | -0.29431 | 0.0018463 | 0.00046272
22 | 0.98345 | -0.31813 | 0.0036613 | 0.0009176
23 | 0.98476 | -0.29256 | 0.0018481 | 0.00046317
24 | 0.98187 | -0.34903 | 0.0054672 | 0.0013702
25 | 0.98486 | -0.29069 | 0.0018977 | 0.0004756
26 | 0.98171 | -0.35202 | 0 | 0
27 | 0.98512 | -0.28562 | 0.0019447 | 0.00048739
28 | 0.98162 | -0.35385 | 0.0033106 | 0.00082972
29 | 0.98104 | -0.36523 | 0.0066396 | 0.0016641
30 | 0.9808 | -0.36986 | 0.007054 | 0.0017679
31 | 0.98042 | -0.37731 | 0.0060958 | 0.0015277
32 | 0.98026 | -0.38052 | 0.0035581 | 0.00089175
33 | 0.98021 | -0.38149 | 0.0061065 | 0.0015304
34 | 0.98162 | -0.35387 | 0.0034088 | 0.00085433
35 | 0.99359 | -0.12212 | 0.00090165 | 0.00022597
36 | 0.99463 | -0.10234 | 0.0017376 | 0.00043547
37 | 0.99323 | -0.12909 | 0.00090578 | 0.00022701
38 | 0.99493 | -0.096551 | 0.001741 | 0.00043634
39 | 0.99205 | -0.1516 | 0 | 0
40 | 0.99533 | -0.088816 | 0.0015924 | 0.00039909
41 | 0.98943 | -0.20211 | 0 | 0
42 | 0.99535 | -0.088531 | 0.0024204 | 0.00060661
43 | 0.98892 | -0.21195 | 0 | 0
44 | 0.98884 | -0.21356 | 0 | 0
45 | 0.98884 | -0.21361 | 0.0019386 | 0.00048587
46 | 0.98923 | -0.20599 | 0 | 0
47 | 0.98825 | -0.22488 | 0.0019016 | 0.00047658
48 | 0.9986 | -0.026684 | 0.0017478 | 0.00043803
49 | 0.9991 | -0.016992 | 0.0017297 | 0.0004335
50 | 1 | 0 | -0.25677 | -0.065194
51 | 0.99881 | -0.022502 | 0.0046518 | 0.0011659
52 | 0.99535 | -0.088446 | 0.0015421 | 0.00038649
53 | 0.9931 | -0.13139 | 0 | 0
54 | 0.99316 | -0.13018 | 0 | 0
55 | 0.99278 | -0.13762 | 0 | 0
56 | 0.99127 | -0.16654 | 0.01152 | 0.0028871
57 | 0.98939 | -0.20255 | 0 | 0
58 | 0.98922 | -0.20604 | 0.0077809 | 0.0019501
59 | 0.9854 | -0.28003 | 0 | 0
60 | 0.9857 | -0.27419 | 0.0018464 | 0.00046275
61 | 0.98529 | -0.28222 | 0.0027585 | 0.00069133
62 | 0.98728 | -0.24356 | 0.0011759 | 0.00029471
63 | 0.99254 | -0.14225 | 0.010087 | 0.0025281
64 | 0.98105 | -0.36466 | 0.0067686 | 0.0016964
65 | 0.98079 | -0.36969 | 0.017469 | 0.0043782
66 | 0.98897 | -0.21101 | 0.0036872 | 0.0009241
67 | 0.98895 | -0.21149 | 0.0017161 | 0.00043009
68 | 0.98868 | -0.21662 | 0.0015124 | 0.00037903
69 | 0.98879 | -0.21463 | 0.0017051 | 0.00042733
70 | 0.98865 | -0.2173 | 0.0013465 | 0.00033747
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.094342 | 0.02403 | -0.094238 | -0.023963 | 0.0001039 | 6.6316e-05 | 0.14085 | 0.14085 | 0.14085 | 0.99762 | -0.045271 | 0.99642 | -0.06813 | 38.6963
1 | -0.096083 | -0.024466 | 0.096089 | 0.02447 | 5.7452e-06 | 3.6672e-06 | 0.14345 | 0.14345 | 0.14345 | 0.99762 | -0.045271 | 0.99768 | -0.044031 | 39.4097
2 | 0.092503 | 0.023528 | -0.09246 | -0.023501 | 4.3025e-05 | 2.7458e-05 | 0.13826 | 0.13826 | 0.13826 | 0.99642 | -0.06813 | 0.99591 | -0.077788 | 37.9844
3 | -0.10021 | -0.025502 | 0.10025 | 0.025526 | 3.8101e-05 | 2.4326e-05 | 0.1496 | 0.1496 | 0.1496 | 0.99768 | -0.044031 | 0.9981 | -0.036147 | 41.0976
4 | 0.090205 | 0.022936 | -0.090172 | -0.022914 | 3.3701e-05 | 2.1505e-05 | 0.13489 | 0.13489 | 0.13489 | 0.99591 | -0.077788 | 0.99551 | -0.085547 | 37.0589
5 | -0.10199 | -0.025964 | 0.10199 | 0.025965 | 2.4755e-06 | 1.5806e-06 | 0.1522 | 0.1522 | 0.1522 | 0.9981 | -0.036147 | 0.99812 | -0.035644 | 41.812
6 | 0.088636 | 0.02253 | -0.088634 | -0.022529 | 1.4898e-06 | 9.5054e-07 | 0.1326 | 0.1326 | 0.1326 | 0.99551 | -0.085547 | 0.99549 | -0.085896 | 36.4283
7 | -0.10383 | -0.026426 | 0.10384 | 0.026432 | 9.4731e-06 | 6.049e-06 | 0.15494 | 0.15494 | 0.15494 | 0.99812 | -0.035644 | 0.99822 | -0.033751 | 42.5649
8 | 0.087102 | 0.022145 | -0.087098 | -0.022142 | 4.2281e-06 | 2.6973e-06 | 0.13031 | 0.13031 | 0.13031 | 0.99549 | -0.085896 | 0.99543 | -0.086904 | 35.799
9 | -0.10573 | -0.026906 | 0.10577 | 0.026929 | 3.6034e-05 | 2.3012e-05 | 0.15776 | 0.15776 | 0.15776 | 0.99822 | -0.033751 | 0.9986 | -0.026684 | 43.3393
10 | -0.039858 | -0.0099894 | 0.039963 | 0.010056 | 0.00010519 | 6.6354e-05 | 0.060498 | 0.060497 | 0.060498 | 0.98036 | -0.3781 | 0.98319 | -0.32286 | 16.6202
11 | -0.083271 | -0.020938 | 0.083413 | 0.021028 | 0.0001424 | 9.0832e-05 | 0.12605 | 0.12605 | 0.12605 | 0.98319 | -0.32286 | 0.98502 | -0.28712 | 34.6296
12 | 0.043308 | 0.010882 | -0.043295 | -0.010874 | 1.2354e-05 | 7.8093e-06 | 0.065554 | 0.065554 | 0.065554 | 0.98319 | -0.32286 | 0.98288 | -0.32884 | 18.0095
13 | -0.083413 | -0.021028 | 0.083494 | 0.02108 | 8.099e-05 | 5.166e-05 | 0.12605 | 0.12605 | 0.12605 | 0.98502 | -0.28712 | 0.98607 | -0.26685 | 34.6295
14 | 0.043295 | 0.010874 | -0.043266 | -0.010855 | 2.9681e-05 | 1.8762e-05 | 0.065554 | 0.065555 | 0.065555 | 0.98288 | -0.32884 | 0.98215 | -0.34322 | 18.0095
15 | -0.095088 | -0.023986 | 0.095299 | 0.024121 | 0.0002112 | 0.00013482 | 0.14355 | 0.14355 | 0.14355 | 0.98607 | -0.26685 | 0.98846 | -0.22057 | 39.4358
16 | 0.031151 | 0.0078192 | -0.031135 | -0.007809 | 1.642e-05 | 1.026e-05 | 0.047201 | 0.047201 | 0.047201 | 0.98215 | -0.34322 | 0.98158 | -0.35428 | 12.9673
17 | -0.10785 | -0.027266 | 0.10794 | 0.027325 | 9.3303e-05 | 5.9593e-05 | 0.16244 | 0.16244 | 0.16244 | 0.98846 | -0.22057 | 0.98939 | -0.20255 | 44.6255
18 | -0.0024404 | -0.00061163 | 0.0024405 | 0.00061148 | 7.725e-08 | -1.5284e-07 | 0.0036433 | 0.0036433 | 0.0036433 | 0.99672 | -0.062139 | 0.99676 | -0.061475 | 1.0009
19 | 0.13822 | 0.035256 | -0.13776 | -0.034964 | 0.00045693 | 0.00029206 | 0.20656 | 0.20656 | 0.20656 | 0.99676 | -0.061475 | 0.99316 | -0.13018 | 56.7461
20 | -0.14066 | -0.035868 | 0.14092 | 0.036037 | 0.00026521 | 0.00016953 | 0.2102 | 0.2102 | 0.2102 | 0.99676 | -0.061475 | 0.99881 | -0.022502 | 57.7469
21 | 0.024254 | 0.0060844 | -0.024242 | -0.006077 | 1.1999e-05 | 7.3802e-06 | 0.036769 | 0.03677 | 0.03677 | 0.98158 | -0.35428 | 0.98105 | -0.36466 | 10.1015
22 | 0.084687 | 0.021538 | -0.084681 | -0.021534 | 6.2937e-06 | 4.0144e-06 | 0.12671 | 0.12671 | 0.12671 | 0.99543 | -0.086904 | 0.99535 | -0.088446 | 34.8092
23 | -0.046038 | -0.011592 | 0.046044 | 0.011596 | 5.722e-06 | 3.622e-06 | 0.069601 | 0.069601 | 0.069601 | 0.98454 | -0.29691 | 0.98467 | -0.29431 | 19.1212
24 | 0.045446 | 0.011444 | -0.0454 | -0.011415 | 4.6054e-05 | 2.9144e-05 | 0.068706 | 0.068706 | 0.068706 | 0.98454 | -0.29691 | 0.98345 | -0.31813 | 18.8753
25 | -0.04789 | -0.012059 | 0.047894 | 0.012061 | 4.0279e-06 | 2.5518e-06 | 0.072391 | 0.072391 | 0.072391 | 0.98467 | -0.29431 | 0.98476 | -0.29256 | 19.8877
26 | 0.041739 | 0.010497 | -0.041677 | -0.010458 | 6.1495e-05 | 3.8836e-05 | 0.063166 | 0.063167 | 0.063167 | 0.98345 | -0.31813 | 0.98187 | -0.34903 | 17.3534
27 | -0.049742 | -0.012524 | 0.049747 | 0.012527 | 4.4474e-06 | 2.8196e-06 | 0.075184 | 0.075184 | 0.075184 | 0.98476 | -0.29256 | 0.98486 | -0.29069 | 20.6549
28 | 0.03621 | 0.009088 | -0.036205 | -0.0090848 | 5.1743e-06 | 3.2536e-06 | 0.054881 | 0.054881 | 0.054881 | 0.98187 | -0.34903 | 0.98171 | -0.35202 | 15.0772
29 | -0.051645 | -0.013003 | 0.051657 | 0.013011 | 1.2499e-05 | 7.9298e-06 | 0.078051 | 0.078051 | 0.078051 | 0.98486 | -0.29069 | 0.98512 | -0.28562 | 21.4425
30 | 0.00672 | 0.0016842 | -0.0067194 | -0.001684 | 5.8442e-07 | 1.8412e-07 | 0.010186 | 0.010186 | 0.010186 | 0.98171 | -0.35202 | 0.98162 | -0.35385 | 2.7983
31 | 0.029485 | 0.0074005 | -0.029466 | -0.007389 | 1.8555e-05 | 1.1562e-05 | 0.044695 | 0.044695 | 0.044695 | 0.98171 | -0.35202 | 0.98104 | -0.36523 | 12.279
32 | -0.053602 | -0.013498 | 0.053616 | 0.013507 | 1.4337e-05 | 9.1017e-06 | 0.080988 | 0.080988 | 0.080988 | 0.98512 | -0.28562 | 0.9854 | -0.28003 | 22.2495
33 | 0.0034088 | 0.00085433 | -0.0034088 | -0.00085433 | 2.7993e-09 | -1.7423e-09 | 0.0051674 | 0.0051674 | 0.0051674 | 0.98162 | -0.35385 | 0.98162 | -0.35387 | 1.4196
34 | 0.022827 | 0.0057249 | -0.022822 | -0.0057218 | 5.0342e-06 | 3.0806e-06 | 0.034625 | 0.034625 | 0.034625 | 0.98104 | -0.36523 | 0.9808 | -0.36986 | 9.5122
35 | 0.015768 | 0.003954 | -0.015762 | -0.0039507 | 5.6008e-06 | 3.2553e-06 | 0.023923 | 0.023923 | 0.023923 | 0.9808 | -0.36986 | 0.98042 | -0.37731 | 6.5722
36 | 0.0096663 | 0.002423 | -0.0096649 | -0.0024222 | 1.4758e-06 | 7.1399e-07 | 0.014671 | 0.014671 | 0.014671 | 0.98042 | -0.37731 | 0.98026 | -0.38052 | 4.0305
37 | 0.0061067 | 0.0015305 | -0.0061065 | -0.0015304 | 2.8225e-07 | 7.0227e-08 | 0.0092699 | 0.00927 | 0.00927 | 0.98026 | -0.38052 | 0.98021 | -0.38149 | 2.5467
38 | -0.075523 | -0.01919 | 0.075595 | 0.019236 | 7.1986e-05 | 4.5877e-05 | 0.1132 | 0.1132 | 0.1132 | 0.99359 | -0.12212 | 0.99463 | -0.10234 | 31.0983
39 | 0.074622 | 0.018964 | -0.074597 | -0.018948 | 2.5017e-05 | 1.5942e-05 | 0.11185 | 0.11185 | 0.11185 | 0.99359 | -0.12212 | 0.99323 | -0.12909 | 30.7273
40 | -0.077333 | -0.019672 | 0.077354 | 0.019685 | 2.1598e-05 | 1.3767e-05 | 0.1158 | 0.1158 | 0.1158 | 0.99463 | -0.10234 | 0.99493 | -0.096551 | 31.8124
41 | 0.073691 | 0.018721 | -0.073611 | -0.018671 | 7.9764e-05 | 5.0824e-05 | 0.11049 | 0.11049 | 0.11049 | 0.99323 | -0.12909 | 0.99205 | -0.1516 | 30.3546
42 | -0.079095 | -0.020122 | 0.079125 | 0.020141 | 2.9497e-05 | 1.8805e-05 | 0.1184 | 0.1184 | 0.1184 | 0.99493 | -0.096551 | 0.99533 | -0.088816 | 32.5278
43 | 0.073611 | 0.018671 | -0.073433 | -0.018557 | 0.00017832 | 0.00011362 | 0.11049 | 0.11049 | 0.11049 | 0.99205 | -0.1516 | 0.98943 | -0.20211 | 30.3546
44 | -0.080717 | -0.02054 | 0.080718 | 0.02054 | 1.1062e-06 | 7.0535e-07 | 0.12078 | 0.12078 | 0.12078 | 0.99533 | -0.088816 | 0.99535 | -0.088531 | 33.1818
45 | 0.06152 | 0.015573 | -0.061453 | -0.01553 | 6.7156e-05 | 4.2712e-05 | 0.092576 | 0.092576 | 0.092576 | 0.98943 | -0.20211 | 0.98825 | -0.22488 | 25.4331
46 | 0.011912 | 0.0029839 | -0.01191 | -0.0029828 | 2.2011e-06 | 1.1738e-06 | 0.017914 | 0.017915 | 0.017915 | 0.98943 | -0.20211 | 0.98923 | -0.20599 | 4.9216
47 | -0.083139 | -0.021147 | 0.083139 | 0.021147 | 3.4165e-07 | 2.1789e-07 | 0.1244 | 0.1244 | 0.1244 | 0.99535 | -0.088531 | 0.99535 | -0.088446 | 34.1758
48 | 0.0028596 | 0.0007154 | -0.0028593 | -0.00071567 | 2.1939e-07 | -2.6507e-07 | 0.0043023 | 0.0043024 | 0.0043024 | 0.98892 | -0.21195 | 0.98884 | -0.21356 | 1.182
49 | 0.0036441 | 0.00091267 | -0.0036438 | -0.00091282 | 2.8841e-07 | -1.4362e-07 | 0.0054829 | 0.005483 | 0.005483 | 0.98892 | -0.21195 | 0.98884 | -0.21361 | 1.5063
50 | -0.0065036 | -0.0016281 | 0.0065055 | 0.0016286 | 1.8425e-06 | 5.206e-07 | 0.0097852 | 0.009785 | 0.0097852 | 0.98892 | -0.21195 | 0.98923 | -0.20599 | 2.6882
51 | 0.0028593 | 0.00071567 | -0.0028589 | -0.00071617 | 4.1644e-07 | -5.029e-07 | 0.0043024 | 0.0043027 | 0.0043027 | 0.98884 | -0.21356 | 0.98868 | -0.21662 | 1.1821
52 | 0.0017051 | 0.00042695 | -0.0017051 | -0.00042733 | 8.2592e-08 | -3.7627e-07 | 0.0025658 | 0.0025659 | 0.0025659 | 0.98884 | -0.21361 | 0.98879 | -0.21463 | 0.70492
53 | 0.0054046 | 0.0013542 | -0.0054033 | -0.001354 | 1.2902e-06 | 1.5759e-07 | 0.0081296 | 0.0081298 | 0.0081298 | 0.98923 | -0.20599 | 0.98897 | -0.21101 | 2.2335
54 | 0.059552 | 0.015054 | -0.059498 | -0.01502 | 5.3287e-05 | 3.3878e-05 | 0.089713 | 0.089713 | 0.089713 | 0.98825 | -0.22488 | 0.98728 | -0.24356 | 24.6465
55 | -0.10752 | -0.027367 | 0.10757 | 0.027399 | 5.0266e-05 | 3.2102e-05 | 0.16036 | 0.16036 | 0.16036 | 0.9986 | -0.026684 | 0.9991 | -0.016992 | 44.0548
56 | -0.1093 | -0.027833 | 0.10939 | 0.02789 | 8.9648e-05 | 5.7257e-05 | 0.16294 | 0.16294 | 0.16294 | 0.9991 | -0.016992 | 1 | 0 | 44.7625
57 | 0.14573 | 0.037304 | -0.14557 | -0.037203 | 0.00015862 | 0.00010104 | 0.21713 | 0.21713 | 0.21713 | 1 | 0 | 0.99881 | -0.022502 | 29.8254
58 | -0.010093 | -0.0025307 | 0.010093 | 0.002531 | 5.8317e-07 | 2.8524e-07 | 0.015123 | 0.015123 | 0.015123 | 0.9931 | -0.13139 | 0.99316 | -0.13018 | 4.1546
59 | 0.010093 | 0.0025307 | -0.01009 | -0.0025292 | 2.9979e-06 | 1.4665e-06 | 0.015123 | 0.015123 | 0.015123 | 0.9931 | -0.13139 | 0.99278 | -0.13762 | 4.1546
60 | 0.12767 | 0.032433 | -0.12744 | -0.032291 | 0.00022305 | 0.00014254 | 0.19143 | 0.19143 | 0.19143 | 0.99316 | -0.13018 | 0.99127 | -0.16654 | 52.5916
61 | 0.01009 | 0.0025292 | -0.010087 | -0.0025281 | 2.2244e-06 | 1.0883e-06 | 0.015123 | 0.015123 | 0.015123 | 0.99278 | -0.13762 | 0.99254 | -0.14225 | 4.1547
62 | 0.11592 | 0.029404 | -0.11572 | -0.029276 | 0.00020034 | 0.00012799 | 0.17414 | 0.17414 | 0.17414 | 0.99127 | -0.16654 | 0.98939 | -0.20255 | 47.8409
63 | 0.0077822 | 0.0019506 | -0.0077809 | -0.0019501 | 1.2934e-06 | 5.0448e-07 | 0.011704 | 0.011704 | 0.011704 | 0.98939 | -0.20255 | 0.98922 | -0.20604 | 3.2155
64 | -0.056375 | -0.014198 | 0.056391 | 0.014208 | 1.5739e-05 | 9.9993e-06 | 0.085154 | 0.085154 | 0.085154 | 0.9854 | -0.28003 | 0.9857 | -0.27419 | 23.3939
65 | 0.0027587 | 0.00069096 | -0.0027585 | -0.00069133 | 2.8773e-07 | -3.7904e-07 | 0.0041657 | 0.0041659 | 0.0041659 | 0.9854 | -0.28003 | 0.98529 | -0.28222 | 1.1445
66 | -0.058237 | -0.014671 | 0.058322 | 0.014725 | 8.547e-05 | 5.4324e-05 | 0.087941 | 0.087941 | 0.087941 | 0.9857 | -0.27419 | 0.98728 | -0.24356 | 24.1597
67 | 0.017473 | 0.0043806 | -0.017469 | -0.0043782 | 4.1919e-06 | 2.4819e-06 | 0.026503 | 0.026503 | 0.026503 | 0.98105 | -0.36466 | 0.98079 | -0.36969 | 7.2811
68 | 0.0017161 | 0.00042992 | -0.0017161 | -0.00043009 | 3.9066e-08 | -1.7549e-07 | 0.002582 | 0.0025821 | 0.0025821 | 0.98897 | -0.21101 | 0.98895 | -0.21149 | 0.70937
69 | 0.0013466 | 0.00033714 | -0.0013465 | -0.00033747 | 4.3506e-08 | -3.344e-07 | 0.0020265 | 0.0020267 | 0.0020267 | 0.98868 | -0.21662 | 0.98865 | -0.2173 | 0.55677

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2603 | 0.066078

## res_load
| p_mw | q_mvar
0 | 0.0017412 | 0.00043638
1 | 0.0017352 | 0.00043489
2 | 0.0041194 | 0.0010324
3 | 0.0022547 | 0.00056508
4 | 0.0017442 | 0.00043715
5 | 0.0015357 | 0.00038488
6 | 0.0018382 | 0.0004607
7 | 0.0015325 | 0.00038408
8 | 0.0018911 | 0.00047397
9 | 0.039858 | 0.0099894
10 | 0.011594 | 0.0029056
11 | 0.012114 | 0.0030361
12 | 0.012549 | 0.003145
13 | 0.0024404 | 0.00061163
14 | 0.0068812 | 0.0017246
15 | 0.0024102 | 0.00060405
16 | 0.00059232 | 0.00014845
17 | 0.0018463 | 0.00046272
18 | 0.0036613 | 0.0009176
19 | 0.0018481 | 0.00046317
20 | 0.0054672 | 0.0013702
21 | 0.0018977 | 0.0004756
22 | 0.0019447 | 0.00048739
23 | 0.0033106 | 0.00082972
24 | 0.0066396 | 0.0016641
25 | 0.007054 | 0.0017679
26 | 0.0060958 | 0.0015277
27 | 0.0035581 | 0.00089175
28 | 0.0061065 | 0.0015304
29 | 0.0034088 | 0.00085433
30 | 0.00090165 | 0.00022597
31 | 0.0017376 | 0.00043547
32 | 0.00090578 | 0.00022701
33 | 0.001741 | 0.00043634
34 | 0.0015924 | 0.00039909
35 | 0.0024204 | 0.00060661
36 | 0.0019386 | 0.00048587
37 | 0.0019016 | 0.00047658
38 | 0.0017478 | 0.00043803
39 | 0.0017297 | 0.0004335
40 | 0.0035281 | 0.00088423
41 | 0.0046518 | 0.0011659
42 | 0.0015421 | 0.00038649
43 | 0.01152 | 0.0028871
44 | 0.0077809 | 0.0019501
45 | 0.0018464 | 0.00046275
46 | 0.0027585 | 0.00069133
47 | 0.0011759 | 0.00029471
48 | 0.010087 | 0.0025281
49 | 0.0067686 | 0.0016964
50 | 0.017469 | 0.0043782
51 | 0.0036872 | 0.0009241
52 | 0.0017161 | 0.00043009
53 | 0.0015124 | 0.00037903
54 | 0.0017051 | 0.00042733
55 | 0.0013465 | 0.00033747

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1