## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-15_0_3_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_2581-15_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2581-15_0_3_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_2581-15_0_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_2581-15_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2581-15_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2581-15_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2581-15_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2581-15_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2581-15_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2581-15_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2581-15_0_3_node_115 | 0.4 | n |  | TRUE
17 | bus_LV_2581-15_0_3_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_2581-15_0_3_node_126 | 0.4 | n |  | TRUE
19 | bus_LV_2581-15_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2581-15_0_3_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_2581-15_0_3_node_124 | 0.4 | n |  | TRUE
22 | bus_LV_2581-15_0_3_node_122 | 0.4 | n |  | TRUE
23 | bus_LV_2581-15_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2581-15_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2581-15_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2581-15_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2581-15_0_3_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_2581-15_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2581-15_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2581-15_0_3_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_2581-15_0_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_2581-15_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2581-15_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2581-15_0_3_node_108 | 0.4 | n |  | TRUE
35 | bus_LV_2581-15_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2581-15_0_3_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_2581-15_0_3_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_2581-15_0_3_node_116 | 0.4 | n |  | TRUE
39 | bus_LV_2581-15_0_3_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_2581-15_0_3_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_2581-15_0_3_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_2581-15_0_3_node_125 | 0.4 | n |  | TRUE
43 | bus_LV_2581-15_0_3_node_121 | 0.4 | n |  | TRUE
44 | bus_LV_2581-15_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2581-15_0_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_2581-15_0_3_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_2581-15_0_3_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_2581-15_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_2581-15_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2581-15_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_2581-15_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2581-15_0_3_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_2581-15_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2581-15_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2581-15_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_2581-15_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_2581-15_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_2581-15_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_2581-15_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2581-15_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_2581-15_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2581-15_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_2581-15_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_2581-15_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_2581-15_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2581-15_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2581-15_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2581-15_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2581-15_0_3_node_109 | 0.4 | n |  | TRUE
70 | bus_LV_2581-15_0_3_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_2581-15_0_3_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_2581-15_0_3_node_98 | 0.4 | n |  | TRUE
73 | bus_LV_2581-15_0_3_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_2581-15_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_2581-15_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_2581-15_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_2581-15_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_2581-15_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_2581-15_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_2581-15_0_3_node_96 | 0.4 | n |  | TRUE
81 | bus_LV_2581-15_0_3_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_2581-15_0_3_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_2581-15_0_3_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_2581-15_0_3_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_2581-15_0_3_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_2581-15_0_3_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_2581-15_0_3_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_2581-15_0_3_node_94 | 0.4 | n |  | TRUE
89 | bus_MV_523_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-15_0_3_load_0 | 0 | 0.0025033 | 0.0006274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-15_0_3_load_1 | 1 | 0.0025084 | 0.00062866 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-15_0_3_load_2 | 2 | 0.001416 | 0.00035489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-15_0_3_load_3 | 3 | 0.0021535 | 0.00053973 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-15_0_3_load_4 | 4 | 0.0024742 | 0.0006201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-15_0_3_load_81 | 5 | 0.001729 | 0.00043334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-15_0_3_load_31 | 6 | 0.0020521 | 0.00051431 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-15_0_3_load_68 | 7 | 0.0029813 | 0.00074719 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-15_0_3_load_75 | 8 | 0.0020714 | 0.00051914 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-15_0_3_load_5 | 9 | 0.0025335 | 0.00063495 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-15_0_3_load_6 | 10 | 0.0021265 | 0.00053294 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-15_0_3_load_8 | 12 | 0.0021341 | 0.00053485 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-15_0_3_load_9 | 13 | 0.002129 | 0.00053357 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-15_0_3_load_10 | 14 | 0.0023691 | 0.00059376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-15_0_3_load_115 | 16 | 0.0025961 | 0.00065063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-15_0_3_load_101 | 17 | 0.002132 | 0.00053433 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-15_0_3_load_126 | 18 | 0.0023514 | 0.00058933 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-15_0_3_load_69 | 20 | 0.0024068 | 0.0006032 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-15_0_3_load_124 | 21 | 0.0080295 | 0.0020124 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-15_0_3_load_122 | 22 | 0.001573 | 0.00039424 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-15_0_3_load_48 | 25 | 0.00183 | 0.00045863 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-15_0_3_load_36 | 26 | 0.0085247 | 0.0021365 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-15_0_3_load_63 | 27 | 0.0085437 | 0.0021412 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-15_0_3_load_88 | 30 | 0.0017931 | 0.0004494 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-15_0_3_load_74 | 31 | 0.00026844 | 6.7276e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-15_0_3_load_108 | 34 | 0.02079 | 0.0052105 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-15_0_3_load_61 | 36 | 0.0033559 | 0.00084106 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-15_0_3_load_114 | 37 | 0.0025066 | 0.00062821 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-15_0_3_load_116 | 38 | 0.002204 | 0.00055238 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-15_0_3_load_110 | 39 | 0.0023527 | 0.00058965 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-15_0_3_load_111 | 40 | 0.0024182 | 0.00060605 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-15_0_3_load_67 | 41 | 0.0024428 | 0.00061223 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-15_0_3_load_125 | 42 | 0.0024766 | 0.00062069 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-15_0_3_load_121 | 43 | 0.001356 | 0.00033984 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-15_0_3_load_47 | 44 | 0.0017077 | 0.000428 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-15_0_3_load_64 | 45 | 0.0084892 | 0.0021276 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-15_0_3_load_87 | 46 | 0.001792 | 0.00044912 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-15_0_3_load_72 | 47 | 0.0086212 | 0.0021607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-15_0_3_load_58 | 48 | 0.0094781 | 0.0023754 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-15_0_3_load_32 | 49 | 0.0094065 | 0.0023575 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-15_0_3_load_59 | 50 | 0.0045109 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-15_0_3_load_76 | 52 | 0.0017978 | 0.00045058 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-15_0_3_load_33 | 53 | 0.0094765 | 0.002375 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-15_0_3_load_37 | 54 | 0.0023546 | 0.00059011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-15_0_3_load_38 | 55 | 0.0023598 | 0.00059143 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-15_0_3_load_40 | 57 | 0.0024169 | 0.00060573 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-15_0_3_load_41 | 58 | 0.0029236 | 0.00073271 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-15_0_3_load_42 | 59 | 0.0027905 | 0.00069937 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-15_0_3_load_44 | 60 | 0.0029347 | 0.00073552 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-15_0_3_load_51 | 61 | 0.0030372 | 0.00076121 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-15_0_3_load_43 | 62 | 0.0030051 | 0.00075315 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-15_0_3_load_45 | 63 | 0.0030141 | 0.00075541 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-15_0_3_load_46 | 64 | 0.002413 | 0.00060474 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-15_0_3_load_56 | 65 | 0.0024081 | 0.00060353 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-15_0_3_load_50 | 67 | 0.0040965 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-15_0_3_load_52 | 68 | 0.0017959 | 0.0004501 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-15_0_3_load_109 | 69 | 0.0032532 | 0.00081532 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-15_0_3_load_99 | 70 | 0.001797 | 0.00045038 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-15_0_3_load_78 | 71 | 0.0031902 | 0.00079955 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-15_0_3_load_98 | 72 | 0.00179 | 0.0004486 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2581-15_0_3_load_102 | 73 | 0.0022233 | 0.00055721 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2581-15_0_3_load_60 | 74 | 0.003137 | 0.00078621 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2581-15_0_3_load_62 | 75 | 0.0032252 | 0.00080831 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2581-15_0_3_load_77 | 76 | 0.0043859 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2581-15_0_3_load_65 | 77 | 0.0023726 | 0.00059464 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2581-15_0_3_load_66 | 78 | 0.0017148 | 0.00042977 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2581-15_0_3_load_70 | 79 | 0.00055144 | 0.0001382 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2581-15_0_3_load_96 | 80 | 0.0030959 | 0.0007759 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2581-15_0_3_load_95 | 81 | 0.0049422 | 0.0012386 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2581-15_0_3_load_89 | 82 | 0.0017947 | 0.00044979 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2581-15_0_3_load_90 | 83 | 0.0017864 | 0.00044772 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2581-15_0_3_load_97 | 84 | 0.0017936 | 0.00044953 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2581-15_0_3_load_91 | 85 | 0.0051091 | 0.0012805 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2581-15_0_3_load_92 | 86 | 0.0075604 | 0.0018948 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2581-15_0_3_load_93 | 87 | 0.023629 | 0.0059219 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2581-15_0_3_load_94 | 88 | 0.0051027 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-15_0_3_line_0 |  | 0 | 1 | 0.0095726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-15_0_3_line_1 |  | 0 | 2 | 0.0021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-15_0_3_line_2 |  | 1 | 3 | 0.013934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-15_0_3_line_3 |  | 2 | 4 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-15_0_3_line_4 |  | 3 | 5 | 0.00029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-15_0_3_line_5 |  | 4 | 6 | 0.0013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-15_0_3_line_6 |  | 5 | 7 | 0.015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-15_0_3_line_7 |  | 6 | 8 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-15_0_3_line_8 |  | 7 | 78 | 0.0018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-15_0_3_line_9 |  | 8 | 52 | 0.00017413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-15_0_3_line_10 |  | 9 | 10 | 0.00035791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2581-15_0_3_line_11 |  | 9 | 11 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2581-15_0_3_line_12 |  | 10 | 12 | 0.00054062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2581-15_0_3_line_13 |  | 11 | 13 | 0.018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-15_0_3_line_14 |  | 11 | 14 | 0.013994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-15_0_3_line_15 |  | 11 | 15 | 0.18974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2581-15_0_3_line_16 |  | 12 | 16 | 5.074e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2581-15_0_3_line_17 |  | 13 | 17 | 0.0021024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-15_0_3_line_18 |  | 14 | 18 | 0.0037732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-15_0_3_line_19 |  | 15 | 19 | 0.1928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-15_0_3_line_20 |  | 15 | 20 | 0.025421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-15_0_3_line_21 |  | 15 | 21 | 0.024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-15_0_3_line_22 |  | 16 | 38 | 0.00016793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2581-15_0_3_line_23 |  | 19 | 22 | 0.19841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-15_0_3_line_24 |  | 20 | 41 | 0.0093082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-15_0_3_line_25 |  | 21 | 42 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-15_0_3_line_26 |  | 22 | 43 | 0.035484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-15_0_3_line_27 |  | 23 | 24 | 0.050402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-15_0_3_line_28 |  | 23 | 25 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-15_0_3_line_29 |  | 24 | 26 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-15_0_3_line_30 |  | 24 | 27 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-15_0_3_line_31 |  | 25 | 44 | 0.0023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-15_0_3_line_32 |  | 26 | 33 | 0.018938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-15_0_3_line_33 |  | 27 | 45 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-15_0_3_line_34 |  | 28 | 29 | 0.13861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-15_0_3_line_35 |  | 28 | 30 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-15_0_3_line_36 |  | 29 | 31 | 0.045299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-15_0_3_line_37 |  | 30 | 46 | 0.00859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-15_0_3_line_38 |  | 31 | 47 | 0.007704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-15_0_3_line_39 |  | 32 | 33 | 0.037341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-15_0_3_line_40 |  | 32 | 34 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-15_0_3_line_41 |  | 33 | 49 | 0.035028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-15_0_3_line_42 |  | 35 | 36 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2581-15_0_3_line_43 |  | 35 | 37 | 0.021052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2581-15_0_3_line_44 |  | 36 | 50 | 0.0086494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-15_0_3_line_45 |  | 37 | 51 | 0.014453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2581-15_0_3_line_46 |  | 38 | 58 | 0.020041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2581-15_0_3_line_47 |  | 39 | 40 | 0.005989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-15_0_3_line_48 |  | 40 | 57 | 0.0081967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-15_0_3_line_49 |  | 41 | 77 | 0.0062319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-15_0_3_line_50 |  | 44 | 66 | 0.011242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-15_0_3_line_51 |  | 45 | 48 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-15_0_3_line_52 |  | 46 | 82 | 0.0078492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-15_0_3_line_53 |  | 47 | 79 | 0.01854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-15_0_3_line_54 |  | 49 | 53 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-15_0_3_line_55 |  | 50 | 74 | 0.0076038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-15_0_3_line_56 |  | 51 | 73 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-15_0_3_line_57 |  | 51 | 65 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2581-15_0_3_line_58 |  | 52 | 80 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-15_0_3_line_59 |  | 54 | 55 | 0.0048933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-15_0_3_line_60 |  | 54 | 56 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-15_0_3_line_61 |  | 55 | 57 | 0.0064287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-15_0_3_line_62 |  | 56 | 58 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-15_0_3_line_63 |  | 56 | 59 | 0.012519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-15_0_3_line_64 |  | 58 | 60 | 0.0069575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2581-15_0_3_line_65 |  | 59 | 61 | 0.00020427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-15_0_3_line_66 |  | 60 | 62 | 0.0060018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2581-15_0_3_line_67 |  | 62 | 63 | 0.0076458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2581-15_0_3_line_68 |  | 63 | 64 | 0.0055119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2581-15_0_3_line_69 |  | 64 | 65 | 0.0054824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2581-15_0_3_line_70 |  | 66 | 67 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2581-15_0_3_line_71 |  | 66 | 68 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2581-15_0_3_line_72 |  | 67 | 69 | 0.0089224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2581-15_0_3_line_73 |  | 68 | 70 | 0.0085975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2581-15_0_3_line_74 |  | 69 | 71 | 0.0077641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2581-15_0_3_line_75 |  | 70 | 72 | 0.0070835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2581-15_0_3_line_76 |  | 71 | 76 | 0.0079294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2581-15_0_3_line_77 |  | 72 | 84 | 0.0081215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2581-15_0_3_line_78 |  | 74 | 75 | 0.0077338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2581-15_0_3_line_79 |  | 75 | 76 | 0.0077138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2581-15_0_3_line_80 |  | 77 | 78 | 0.0090288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2581-15_0_3_line_81 |  | 80 | 81 | 0.002938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2581-15_0_3_line_82 |  | 81 | 88 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2581-15_0_3_line_83 |  | 82 | 83 | 0.0069365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2581-15_0_3_line_84 |  | 83 | 84 | 0.0085783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2581-15_0_3_line_85 |  | 85 | 86 | 0.013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2581-15_0_3_line_86 |  | 85 | 87 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2581-15_0_3_line_87 |  | 86 | 88 | 0.0037338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-15_0_3_trafo_61 | 0.63 MVA 20/0.4 kV | 89 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2635235.1807 | 1243813.8432 | 2635232.0977 | 1243822.9058
1 | 2635235.1807 | 1243813.8432 | 2635235.8639 | 1243811.8347
2 | 2635232.0977 | 1243822.9058 | 2635228.9001 | 1243832.3055 | 2635227.6623 | 1243836.1151
3 | 2635235.8639 | 1243811.8347 | 2635239.6034 | 1243800.8424
4 | 2635227.6623 | 1243836.1151 | 2635227.5696 | 1243836.4003
5 | 2635240.0278 | 1243799.5949 | 2635239.6034 | 1243800.8424
6 | 2635222.66 | 1243851.5103 | 2635227.5696 | 1243836.4003
7 | 2635240.0278 | 1243799.5949 | 2635241.9982 | 1243793.8028 | 2635243.8589 | 1243788.273
8 | 2635222.66 | 1243851.5103 | 2635222.0754 | 1243853.3093
9 | 2635243.9144 | 1243788.108 | 2635243.8589 | 1243788.273
10 | 2635113.4894 | 1243832.6318 | 2635113.4847 | 1243832.9897
11 | 2635113.2811 | 1243848.4981 | 2635113.4847 | 1243832.9897
12 | 2635113.4965 | 1243832.0912 | 2635113.4894 | 1243832.6318
13 | 2635113.2811 | 1243848.4981 | 2635119.4022 | 1243848.501 | 2635131.8734 | 1243849.6249
14 | 2635113.2811 | 1243848.4981 | 2635107.4019 | 1243848.4967 | 2635099.4835 | 1243850.2714
15 | 2635113.2811 | 1243848.4981 | 2635113.765 | 1243851.0249 | 2635113.9695 | 1243854.7729 | 2635116.1069 | 1243893.3105 | 2635124.7947 | 1243911.6292 | 2635135.4028 | 1243901.6967 | 2635143.8002 | 1243891.2062 | 2635147.4499 | 1243884.857 | 2635149.9392 | 1243880.5134 | 2635154.9098 | 1243883.378 | 2635160.9084 | 1243883.647 | 2635170.7431 | 1243874.1769 | 2635172.4487 | 1243875.8325 | 2635173.7094 | 1243878.5973 | 2635174.6688 | 1243893.9574 | 2635180.5099 | 1243902.9533 | 2635182.9684 | 1243901.2557 | 2635186.4928 | 1243899.4865 | 2635192.7304 | 1243898.9564 | 2635199.8063 | 1243899.7767 | 2635206.7219 | 1243900.8739
16 | 2635113.4972 | 1243832.0405 | 2635113.4965 | 1243832.0912
17 | 2635133.9657 | 1243849.8222 | 2635133.9265 | 1243849.8099 | 2635131.8734 | 1243849.6249
18 | 2635095.8017 | 1243851.0965 | 2635099.4835 | 1243850.2714
19 | 2635206.7219 | 1243900.8739 | 2635196.9006 | 1243927.1994 | 2635183.1199 | 1243959.85 | 2635202.6126 | 1243966.87 | 2635220.8042 | 1243974.1047 | 2635225.3639 | 1243976.1442 | 2635227.9989 | 1243977.8054 | 2635231.9305 | 1243978.7404 | 2635232.5428 | 1243974.886 | 2635237.0221 | 1243973.923 | 2635243.2441 | 1243973.4485 | 2635249.1766 | 1243975.9298 | 2635252.1879 | 1243979.1164 | 2635253.7065 | 1243985.5406 | 2635253.0309 | 1243997.4999 | 2635251.1724 | 1244008.8852 | 2635247.6083 | 1244026.2419 | 2635249.3059 | 1244029.2317
20 | 2635206.7219 | 1243900.8739 | 2635209.5412 | 1243893.1189 | 2635214.5035 | 1243876.6821
21 | 2635206.7219 | 1243900.8739 | 2635222.4747 | 1243905.2479 | 2635230.7202 | 1243907.5782
22 | 2635113.4994 | 1243831.8726 | 2635113.4972 | 1243832.0405
23 | 2635249.3059 | 1244029.2317 | 2635253.6626 | 1244017.1052 | 2635258.1009 | 1244005.235 | 2635265.7013 | 1243972.4478 | 2635268.1139 | 1243970.8278 | 2635271.4644 | 1243951.2795 | 2635269.7456 | 1243949.3124 | 2635269.1485 | 1243926.4274 | 2635266.2896 | 1243903.9292 | 2635268.1827 | 1243893.1001 | 2635270.2138 | 1243871.7651 | 2635271.3886 | 1243857.1848 | 2635273.9849 | 1243836.12 | 2635273.9849 | 1243836.12
24 | 2635217.3595 | 1243867.8231 | 2635214.7983 | 1243875.7055 | 2635214.5035 | 1243876.6821
25 | 2635230.7202 | 1243907.5782 | 2635234.2889 | 1243908.5868 | 2635241.7593 | 1243910.7539
26 | 2635283.1058 | 1243801.8353 | 2635281.2415 | 1243807.8225 | 2635277.7453 | 1243821.3661 | 2635273.9849 | 1243836.12
27 | 2635089.6114 | 1243745.1693 | 2635089.214 | 1243742.0872 | 2635091.5288 | 1243737.8537 | 2635097.529 | 1243739.1566 | 2635133.515 | 1243734.1772
28 | 2635089.6114 | 1243745.1693 | 2635092.2735 | 1243764.7495
29 | 2635133.515 | 1243734.1772 | 2635151.6604 | 1243731.6745
30 | 2635133.515 | 1243734.1772 | 2635128.7412 | 1243714.0052
31 | 2635092.2735 | 1243764.7495 | 2635092.5871 | 1243767.0557
32 | 2635170.4453 | 1243729.2704 | 2635152.529 | 1243731.5547 | 2635151.6604 | 1243731.6745
33 | 2635128.7412 | 1243714.0052 | 2635124.7782 | 1243697.2589
34 | 2634944.1271 | 1243722.6194 | 2634950.8785 | 1243737.5243 | 2634955.9467 | 1243752.0858 | 2634958.2778 | 1243759.1818 | 2634958.289 | 1243763.6959 | 2634954.4921 | 1243771.9567 | 2634959.2614 | 1243774.3863 | 2634963.314 | 1243776.6005 | 2634969.4134 | 1243781.5841 | 2634975.056 | 1243787.1431 | 2634983.0731 | 1243796.274 | 2634985.9031 | 1243799.4927 | 2634989.3585 | 1243796.6112 | 2634996.5455 | 1243791.428 | 2635017.4102 | 1243813.2428
35 | 2635017.4102 | 1243813.2428 | 2635019.9313 | 1243811.1897 | 2635029.5508 | 1243803.5859 | 2635030.7989 | 1243802.8051
36 | 2634944.1271 | 1243722.6194 | 2634941.1624 | 1243715.3084 | 2634941.774 | 1243711.5429 | 2634951.7774 | 1243704.2081 | 2634969.6741 | 1243692.8606
37 | 2635038.081 | 1243798.249 | 2635030.7989 | 1243802.8051
38 | 2634976.1804 | 1243688.7352 | 2634969.6741 | 1243692.8606
39 | 2635170.4453 | 1243729.2704 | 2635188.9893 | 1243726.9009 | 2635207.7007 | 1243725.622
40 | 2635207.7007 | 1243725.622 | 2635216.3557 | 1243703.0532
41 | 2635170.4453 | 1243729.2704 | 2635163.2133 | 1243694.9968
42 | 2635173.6032 | 1243788.1048 | 2635162.0037 | 1243784.1892
43 | 2635173.6032 | 1243788.1048 | 2635166.3259 | 1243807.8587
44 | 2635153.6693 | 1243781.8761 | 2635162.0037 | 1243784.1892
45 | 2635161.3298 | 1243821.4204 | 2635166.3259 | 1243807.8587
46 | 2635113.7625 | 1243811.8328 | 2635113.4994 | 1243831.8726
47 | 2635060.3264 | 1243826.0748 | 2635065.6398 | 1243823.3116
48 | 2635065.6398 | 1243823.3116 | 2635065.6398 | 1243823.3116 | 2635073.1639 | 1243820.0597
49 | 2635219.2853 | 1243861.8962 | 2635217.3595 | 1243867.8231
50 | 2635094.1016 | 1243778.1949 | 2635092.5871 | 1243767.0557
51 | 2635124.7782 | 1243697.2589 | 2635120.7306 | 1243680.1556 | 2635120.7306 | 1243680.1556
52 | 2635038.081 | 1243798.249 | 2635039.5327 | 1243797.3408 | 2635044.9026 | 1243794.3702
53 | 2634991.8379 | 1243678.8075 | 2634976.1804 | 1243688.7352
54 | 2635163.2133 | 1243694.9968 | 2635159.8161 | 1243678.8971
55 | 2635153.6693 | 1243781.8761 | 2635150.1738 | 1243780.906 | 2635146.2606 | 1243780.2012
56 | 2635161.3298 | 1243821.4204 | 2635154.8183 | 1243840.3599
57 | 2635161.3298 | 1243821.4204 | 2635153.6 | 1243818.7062 | 2635144.9515 | 1243816.1804
58 | 2635249.5982 | 1243771.2163 | 2635243.9144 | 1243788.108
59 | 2635083.7293 | 1243816.0297 | 2635079.0651 | 1243817.5093 | 2635079.0651 | 1243817.5093
60 | 2635099.609 | 1243811.7158 | 2635093.3443 | 1243812.9796 | 2635083.7293 | 1243816.0297
61 | 2635079.0651 | 1243817.5093 | 2635073.1639 | 1243820.0597
62 | 2635099.609 | 1243811.7158 | 2635110.8842 | 1243811.6824 | 2635113.7625 | 1243811.8328
63 | 2635099.609 | 1243811.7158 | 2635097.5794 | 1243799.3628
64 | 2635113.7625 | 1243811.8328 | 2635120.7102 | 1243812.2022
65 | 2635097.5794 | 1243799.3628 | 2635097.5463 | 1243799.1612
66 | 2635126.7035 | 1243812.5209 | 2635120.7102 | 1243812.2022
67 | 2635134.2492 | 1243813.7543 | 2635126.7035 | 1243812.5209 | 2635126.7035 | 1243812.5209
68 | 2635134.2492 | 1243813.7543 | 2635139.689 | 1243814.6435
69 | 2635144.9515 | 1243816.1804 | 2635139.689 | 1243814.6435 | 2635139.689 | 1243814.6435
70 | 2635094.1016 | 1243778.1949 | 2635104.6195 | 1243777.1564 | 2635106.4173 | 1243777.1605
71 | 2635094.1016 | 1243778.1949 | 2635084.0163 | 1243780.1922 | 2635081.6608 | 1243780.7799
72 | 2635115.3397 | 1243777.1811 | 2635106.4173 | 1243777.1605
73 | 2635073.319 | 1243782.8612 | 2635081.6608 | 1243780.7799
74 | 2635115.3397 | 1243777.1811 | 2635123.1038 | 1243777.199
75 | 2635066.6197 | 1243785.14 | 2635071.7407 | 1243783.255 | 2635073.319 | 1243782.8612
76 | 2635131.0058 | 1243777.8572 | 2635123.1038 | 1243777.199 | 2635123.1038 | 1243777.199
77 | 2635059.0033 | 1243787.9588 | 2635059.4035 | 1243787.7963 | 2635066.6197 | 1243785.14
78 | 2635138.6493 | 1243778.8303 | 2635146.2606 | 1243780.2012
79 | 2635138.6493 | 1243778.8303 | 2635135.174 | 1243778.2044 | 2635131.0058 | 1243777.8572
80 | 2635219.2853 | 1243861.8962 | 2635222.0754 | 1243853.3093
81 | 2635250.5351 | 1243768.4318 | 2635249.5982 | 1243771.2163
82 | 2635250.5351 | 1243768.4318 | 2635256.399 | 1243751.005 | 2635257.2024 | 1243748.6943
83 | 2635051.0557 | 1243791.187 | 2635049.5558 | 1243791.7963 | 2635044.9026 | 1243794.3702
84 | 2635059.0033 | 1243787.9588 | 2635051.0557 | 1243791.187
85 | 2635262.9778 | 1243732.0823 | 2635258.4285 | 1243745.1676
86 | 2635268.7082 | 1243715.5996 | 2635262.9778 | 1243732.0823
87 | 2635258.4285 | 1243745.1676 | 2635257.2024 | 1243748.6943

## bus_geodata
| x | y | coords
0 | 2635235.1807 | 1243813.8432
1 | 2635232.0977 | 1243822.9058
2 | 2635235.8639 | 1243811.8347
3 | 2635227.6623 | 1243836.1151
4 | 2635239.6034 | 1243800.8424
5 | 2635227.5696 | 1243836.4003
6 | 2635240.0278 | 1243799.5949
7 | 2635222.66 | 1243851.5103
8 | 2635243.8589 | 1243788.273
9 | 2635113.4847 | 1243832.9897
10 | 2635113.4894 | 1243832.6318
11 | 2635113.2811 | 1243848.4981
12 | 2635113.4965 | 1243832.0912
13 | 2635131.8734 | 1243849.6249
14 | 2635099.4835 | 1243850.2714
15 | 2635206.7219 | 1243900.8739
16 | 2635113.4972 | 1243832.0405
17 | 2635133.9657 | 1243849.8222
18 | 2635095.8017 | 1243851.0965
19 | 2635249.3059 | 1244029.2317
20 | 2635214.5035 | 1243876.6821
21 | 2635230.7202 | 1243907.5782
22 | 2635273.9849 | 1243836.12
23 | 2635089.6114 | 1243745.1693
24 | 2635133.515 | 1243734.1772
25 | 2635092.2735 | 1243764.7495
26 | 2635151.6604 | 1243731.6745
27 | 2635128.7412 | 1243714.0052
28 | 2635017.4102 | 1243813.2428
29 | 2634944.1271 | 1243722.6194
30 | 2635030.7989 | 1243802.8051
31 | 2634969.6741 | 1243692.8606
32 | 2635207.7007 | 1243725.622
33 | 2635170.4453 | 1243729.2704
34 | 2635216.3557 | 1243703.0532
35 | 2635173.6032 | 1243788.1048
36 | 2635162.0037 | 1243784.1892
37 | 2635166.3259 | 1243807.8587
38 | 2635113.4994 | 1243831.8726
39 | 2635060.3264 | 1243826.0748
40 | 2635065.6398 | 1243823.3116
41 | 2635217.3595 | 1243867.8231
42 | 2635241.7593 | 1243910.7539
43 | 2635283.1058 | 1243801.8353
44 | 2635092.5871 | 1243767.0557
45 | 2635124.7782 | 1243697.2589
46 | 2635038.081 | 1243798.249
47 | 2634976.1804 | 1243688.7352
48 | 2635120.7306 | 1243680.1556
49 | 2635163.2133 | 1243694.9968
50 | 2635153.6693 | 1243781.8761
51 | 2635161.3298 | 1243821.4204
52 | 2635243.9144 | 1243788.108
53 | 2635159.8161 | 1243678.8971
54 | 2635083.7293 | 1243816.0297
55 | 2635079.0651 | 1243817.5093
56 | 2635099.609 | 1243811.7158
57 | 2635073.1639 | 1243820.0597
58 | 2635113.7625 | 1243811.8328
59 | 2635097.5794 | 1243799.3628
60 | 2635120.7102 | 1243812.2022
61 | 2635097.5463 | 1243799.1612
62 | 2635126.7035 | 1243812.5209
63 | 2635134.2492 | 1243813.7543
64 | 2635139.689 | 1243814.6435
65 | 2635144.9515 | 1243816.1804
66 | 2635094.1016 | 1243778.1949
67 | 2635106.4173 | 1243777.1605
68 | 2635081.6608 | 1243780.7799
69 | 2635115.3397 | 1243777.1811
70 | 2635073.319 | 1243782.8612
71 | 2635123.1038 | 1243777.199
72 | 2635066.6197 | 1243785.14
73 | 2635154.8183 | 1243840.3599
74 | 2635146.2606 | 1243780.2012
75 | 2635138.6493 | 1243778.8303
76 | 2635131.0058 | 1243777.8572
77 | 2635219.2853 | 1243861.8962
78 | 2635222.0754 | 1243853.3093
79 | 2634991.8379 | 1243678.8075
80 | 2635249.5982 | 1243771.2163
81 | 2635250.5351 | 1243768.4318
82 | 2635044.9026 | 1243794.3702
83 | 2635051.0557 | 1243791.187
84 | 2635059.0033 | 1243787.9588
85 | 2635262.9778 | 1243732.0823
86 | 2635258.4285 | 1243745.1676
87 | 2635268.7082 | 1243715.5996
88 | 2635257.2024 | 1243748.6943
89 | 2635173.6032 | 1243788.1048

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97716 | -0.43904 | 0.0025033 | 0.0006274
1 | 0.97771 | -0.42826 | 0.0025084 | 0.00062866
2 | 0.97704 | -0.44134 | 0.001416 | 0.00035489
3 | 0.97855 | -0.41194 | 0.0021535 | 0.00053973
4 | 0.97642 | -0.45361 | 0.0024742 | 0.0006201
5 | 0.97856 | -0.41158 | 0.001729 | 0.00043334
6 | 0.97635 | -0.45494 | 0.0020521 | 0.00051431
7 | 0.97957 | -0.39189 | 0.0029813 | 0.00074719
8 | 0.97576 | -0.4666 | 0.0020714 | 0.00051914
9 | 0.99229 | -0.14647 | 0.0025335 | 0.00063495
10 | 0.99231 | -0.14614 | 0.0021265 | 0.00053294
11 | 0.99155 | -0.16055 | 0 | 0
12 | 0.99234 | -0.14562 | 0.0021341 | 0.00053485
13 | 0.99148 | -0.16196 | 0.002129 | 0.00053357
14 | 0.99149 | -0.16172 | 0.0023691 | 0.00059376
15 | 0.98331 | -0.31916 | 0 | 0
16 | 0.99234 | -0.14558 | 0.0025961 | 0.00065063
17 | 0.99148 | -0.16204 | 0.002132 | 0.00053433
18 | 0.99149 | -0.16188 | 0.0023514 | 0.00058933
19 | 0.98279 | -0.32939 | 0 | 0
20 | 0.98142 | -0.35593 | 0.0024068 | 0.0006032
21 | 0.98307 | -0.32389 | 0.0080295 | 0.0020124
22 | 0.98225 | -0.3399 | 0.001573 | 0.00039424
23 | 0.99048 | -0.18233 | 0 | 0
24 | 0.98701 | -0.24946 | 0 | 0
25 | 0.99184 | -0.15613 | 0.00183 | 0.00045863
26 | 0.9862 | -0.26527 | 0.0085247 | 0.0021365
27 | 0.98651 | -0.2593 | 0.0085437 | 0.0021412
28 | 0.99154 | -0.162 | 0 | 0
29 | 0.99034 | -0.18523 | 0 | 0
30 | 0.99169 | -0.15915 | 0.0017931 | 0.0004494
31 | 0.98995 | -0.19284 | 0.00026844 | 6.7276e-05
32 | 0.98479 | -0.29269 | 0 | 0
33 | 0.98551 | -0.27875 | 0 | 0
34 | 0.98433 | -0.30173 | 0.02079 | 0.0052105
35 | 0.99913 | -0.016368 | 0 | 0
36 | 1 | 0 | -0.28645 | -0.07281
37 | 0.99764 | -0.044579 | 0.0025066 | 0.00062821
38 | 0.99235 | -0.14541 | 0.002204 | 0.00055238
39 | 0.99287 | -0.13566 | 0.0023527 | 0.00058965
40 | 0.99288 | -0.13541 | 0.0024182 | 0.00060605
41 | 0.98074 | -0.36902 | 0.0024428 | 0.00061223
42 | 0.98304 | -0.3244 | 0.0024766 | 0.00062069
43 | 0.98221 | -0.34077 | 0.001356 | 0.00033984
44 | 0.992 | -0.15297 | 0.0017077 | 0.000428
45 | 0.98622 | -0.26484 | 0.0084892 | 0.0021276
46 | 0.99178 | -0.15744 | 0.001792 | 0.00044912
47 | 0.98989 | -0.1941 | 0.0086212 | 0.0021607
48 | 0.98607 | -0.26783 | 0.0094781 | 0.0023754
49 | 0.9849 | -0.29063 | 0.0094065 | 0.0023575
50 | 0.99899 | -0.019294 | 0.0045109 | 0.0011305
51 | 0.99664 | -0.063677 | 0 | 0
52 | 0.97575 | -0.46676 | 0.0017978 | 0.00045058
53 | 0.98476 | -0.29343 | 0.0094765 | 0.002375
54 | 0.993 | -0.13308 | 0.0023546 | 0.00059011
55 | 0.99296 | -0.13391 | 0.0023598 | 0.00059143
56 | 0.99318 | -0.12961 | 0 | 0
57 | 0.99292 | -0.13472 | 0.0024169 | 0.00060573
58 | 0.99341 | -0.12519 | 0.0029236 | 0.00073271
59 | 0.99311 | -0.1309 | 0.0027905 | 0.00069937
60 | 0.99384 | -0.11692 | 0.0029347 | 0.00073552
61 | 0.99311 | -0.13091 | 0.0030372 | 0.00076121
62 | 0.99422 | -0.10963 | 0.0030051 | 0.00075315
63 | 0.99472 | -0.10015 | 0.0030141 | 0.00075541
64 | 0.99509 | -0.093172 | 0.002413 | 0.00060474
65 | 0.99546 | -0.086123 | 0.0024081 | 0.00060353
66 | 0.99281 | -0.13741 | 0 | 0
67 | 0.99397 | -0.11512 | 0.0040965 | 0.0010267
68 | 0.99254 | -0.14275 | 0.0017959 | 0.0004501
69 | 0.99484 | -0.098423 | 0.0032532 | 0.00081532
70 | 0.99236 | -0.1461 | 0.001797 | 0.00045038
71 | 0.99562 | -0.083476 | 0.0031902 | 0.00079955
72 | 0.99223 | -0.14863 | 0.00179 | 0.0004486
73 | 0.9966 | -0.064459 | 0.0022233 | 0.00055721
74 | 0.99812 | -0.035687 | 0.003137 | 0.00078621
75 | 0.99727 | -0.051965 | 0.0032252 | 0.00080831
76 | 0.99644 | -0.067791 | 0.0043859 | 0.0010992
77 | 0.98031 | -0.37751 | 0.0023726 | 0.00059464
78 | 0.9797 | -0.38945 | 0.0017148 | 0.00042977
79 | 0.98988 | -0.19428 | 0.00055144 | 0.0001382
80 | 0.97493 | -0.48291 | 0.0030959 | 0.0007759
81 | 0.9748 | -0.4854 | 0.0049422 | 0.0012386
82 | 0.99187 | -0.15563 | 0.0017947 | 0.00044979
83 | 0.99196 | -0.15381 | 0.0017864 | 0.00044772
84 | 0.99209 | -0.15128 | 0.0017936 | 0.00044953
85 | 0.9735 | -0.51105 | 0.0051091 | 0.0012805
86 | 0.97387 | -0.50373 | 0.0075604 | 0.0018948
87 | 0.97312 | -0.51863 | 0.023629 | 0.0059219
88 | 0.974 | -0.50124 | 0.0051027 | 0.0012789
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.061926 | -0.015586 | 0.061958 | 0.015606 | 3.1938e-05 | 2.032e-05 | 0.094324 | 0.094324 | 0.094324 | 0.97716 | -0.43904 | 0.97771 | -0.42826 | 25.9132
1 | 0.059423 | 0.014958 | -0.059416 | -0.014954 | 6.5177e-06 | 4.1447e-06 | 0.090512 | 0.090512 | 0.090512 | 0.97716 | -0.43904 | 0.97704 | -0.44134 | 24.866
2 | -0.064466 | -0.016235 | 0.064517 | 0.016267 | 5.033e-05 | 3.2036e-05 | 0.098142 | 0.098142 | 0.098142 | 0.97771 | -0.42826 | 0.97855 | -0.41194 | 26.962
3 | 0.058 | 0.014599 | -0.057966 | -0.014578 | 3.3991e-05 | 2.1609e-05 | 0.088356 | 0.088356 | 0.088356 | 0.97704 | -0.44134 | 0.97642 | -0.45361 | 24.2735
4 | -0.06667 | -0.016807 | 0.066671 | 0.016807 | 1.1567e-06 | 7.3649e-07 | 0.10142 | 0.10142 | 0.10142 | 0.97855 | -0.41194 | 0.97856 | -0.41158 | 27.8617
5 | 0.055492 | 0.013958 | -0.055488 | -0.013955 | 3.5355e-06 | 2.2463e-06 | 0.084585 | 0.084585 | 0.084585 | 0.97642 | -0.45361 | 0.97635 | -0.45494 | 23.2376
6 | -0.0684 | -0.017241 | 0.068465 | 0.017282 | 6.4497e-05 | 4.1078e-05 | 0.10405 | 0.10405 | 0.10405 | 0.97856 | -0.41158 | 0.97957 | -0.39189 | 28.584
7 | 0.053436 | 0.013441 | -0.053406 | -0.013422 | 2.9741e-05 | 1.8885e-05 | 0.081457 | 0.081458 | 0.081458 | 0.97635 | -0.45494 | 0.97576 | -0.4666 | 22.3784
8 | -0.071446 | -0.018029 | 0.071455 | 0.018034 | 8.3619e-06 | 5.3278e-06 | 0.10857 | 0.10857 | 0.10857 | 0.97957 | -0.39189 | 0.9797 | -0.38945 | 29.8281
9 | 0.051335 | 0.012903 | -0.051335 | -0.012903 | 4.0032e-07 | 2.5403e-07 | 0.078299 | 0.078299 | 0.078299 | 0.97576 | -0.4666 | 0.97575 | -0.46676 | 21.5106
10 | -0.1064 | -0.027195 | 0.10641 | 0.027196 | 1.7126e-06 | 1.0868e-06 | 0.15975 | 0.15975 | 0.15975 | 0.99229 | -0.14647 | 0.99231 | -0.14614 | 21.9436
11 | 0.10387 | 0.02656 | -0.1038 | -0.026515 | 7.0726e-05 | 4.4864e-05 | 0.15595 | 0.15595 | 0.15595 | 0.99229 | -0.14647 | 0.99155 | -0.16055 | 21.4218
12 | -0.10853 | -0.027729 | 0.10854 | 0.027731 | 2.6912e-06 | 1.7084e-06 | 0.16294 | 0.16294 | 0.16294 | 0.99231 | -0.14614 | 0.99234 | -0.14562 | 22.3816
13 | 0.0042613 | 0.0010678 | -0.004261 | -0.0010679 | 2.8589e-07 | -5.748e-08 | 0.0063948 | 0.0063949 | 0.0063949 | 0.99155 | -0.16055 | 0.99148 | -0.16196 | 1.7568
14 | 0.0047208 | 0.001183 | -0.0047206 | -0.001183 | 2.6339e-07 | -1.1925e-08 | 0.0070845 | 0.0070846 | 0.0070846 | 0.99155 | -0.16055 | 0.99149 | -0.16172 | 1.9463
15 | 0.094818 | 0.024264 | -0.094096 | -0.023807 | 0.00072214 | 0.00045731 | 0.14247 | 0.14247 | 0.14247 | 0.99155 | -0.16055 | 0.98331 | -0.31916 | 19.5705
16 | -0.11067 | -0.028266 | 0.11067 | 0.028266 | 2.626e-07 | 1.6675e-07 | 0.16614 | 0.16614 | 0.16614 | 0.99234 | -0.14562 | 0.99234 | -0.14558 | 22.8212
17 | 0.002132 | 0.00053431 | -0.002132 | -0.00053433 | 8.0719e-09 | -2.1948e-08 | 0.0031997 | 0.0031997 | 0.0031997 | 0.99148 | -0.16196 | 0.99148 | -0.16204 | 0.87905
18 | 0.0023515 | 0.00058929 | -0.0023514 | -0.00058933 | 1.7622e-08 | -3.7384e-08 | 0.003529 | 0.003529 | 0.003529 | 0.99149 | -0.16172 | 0.99149 | -0.16188 | 0.96952
19 | 0.002932 | 0.00073056 | -0.0029305 | -0.00073209 | 1.4225e-06 | -1.5339e-06 | 0.0044353 | 0.0044362 | 0.0044362 | 0.98331 | -0.31916 | 0.98279 | -0.32939 | 1.2187
20 | 0.080655 | 0.020442 | -0.080513 | -0.020352 | 0.0001422 | 9.0688e-05 | 0.12214 | 0.12214 | 0.12214 | 0.98331 | -0.31916 | 0.98142 | -0.35593 | 33.5537
21 | 0.010508 | 0.0026342 | -0.010506 | -0.002633 | 2.363e-06 | 1.1963e-06 | 0.015902 | 0.015903 | 0.015903 | 0.98331 | -0.31916 | 0.98307 | -0.32389 | 4.3688
22 | -0.11327 | -0.028916 | 0.11327 | 0.028917 | 9.1029e-07 | 5.7825e-07 | 0.17003 | 0.17003 | 0.17003 | 0.99234 | -0.14558 | 0.99235 | -0.14541 | 23.3559
23 | 0.0029305 | 0.00073209 | -0.0029291 | -0.00073367 | 1.4646e-06 | -1.5755e-06 | 0.0044362 | 0.0044371 | 0.0044371 | 0.98279 | -0.32939 | 0.98225 | -0.3399 | 1.219
24 | 0.078106 | 0.019748 | -0.078057 | -0.019717 | 4.9005e-05 | 3.1245e-05 | 0.11849 | 0.11849 | 0.11849 | 0.98142 | -0.35593 | 0.98074 | -0.36902 | 32.5513
25 | 0.0024766 | 0.00062058 | -0.0024766 | -0.00062069 | 6.0534e-08 | -1.0689e-07 | 0.0037487 | 0.0037488 | 0.0037488 | 0.98307 | -0.32389 | 0.98304 | -0.3244 | 1.0299
26 | 0.001356 | 0.00033943 | -0.001356 | -0.00033984 | 5.6148e-08 | -4.1319e-07 | 0.0020541 | 0.0020543 | 0.0020543 | 0.98225 | -0.3399 | 0.98221 | -0.34077 | 0.56436
27 | 0.075064 | 0.018948 | -0.074824 | -0.018795 | 0.00024057 | 0.00015332 | 0.11282 | 0.11282 | 0.11282 | 0.99048 | -0.18233 | 0.98701 | -0.24946 | 30.9942
28 | -0.075064 | -0.018948 | 0.075159 | 0.019008 | 9.4317e-05 | 6.0108e-05 | 0.11282 | 0.11282 | 0.11282 | 0.99048 | -0.18233 | 0.99184 | -0.15613 | 30.9942
29 | 0.048294 | 0.012139 | -0.048258 | -0.012116 | 3.6425e-05 | 2.3078e-05 | 0.072821 | 0.072821 | 0.072821 | 0.98701 | -0.24946 | 0.9862 | -0.26527 | 20.0058
30 | 0.026529 | 0.0066554 | -0.026517 | -0.0066477 | 1.2436e-05 | 7.6944e-06 | 0.039998 | 0.039998 | 0.039998 | 0.98701 | -0.24946 | 0.98651 | -0.2593 | 10.9885
31 | -0.076989 | -0.019467 | 0.077 | 0.019474 | 1.1656e-05 | 7.4296e-06 | 0.11556 | 0.11556 | 0.11556 | 0.99184 | -0.15613 | 0.992 | -0.15297 | 31.7484
32 | 0.039733 | 0.0099799 | -0.039708 | -0.0099638 | 2.5531e-05 | 1.6099e-05 | 0.059959 | 0.059959 | 0.059959 | 0.9862 | -0.26527 | 0.98551 | -0.27875 | 16.4722
33 | 0.017973 | 0.0045065 | -0.017969 | -0.0045037 | 4.7433e-06 | 2.816e-06 | 0.027111 | 0.027111 | 0.027111 | 0.98651 | -0.2593 | 0.98622 | -0.26484 | 7.4481
34 | 0.0094555 | 0.0023727 | -0.009445 | -0.0023678 | 1.0468e-05 | 4.9139e-06 | 0.014191 | 0.014192 | 0.014192 | 0.99154 | -0.162 | 0.99034 | -0.18523 | 3.8988
35 | -0.0094555 | -0.0023727 | 0.0094568 | 0.0023733 | 1.2827e-06 | 6.0182e-07 | 0.014191 | 0.014191 | 0.014191 | 0.99154 | -0.162 | 0.99169 | -0.15915 | 3.8986
36 | 0.009445 | 0.0023678 | -0.0094416 | -0.0023662 | 3.4213e-06 | 1.607e-06 | 0.014192 | 0.014192 | 0.014192 | 0.99034 | -0.18523 | 0.98995 | -0.19284 | 3.8989
37 | -0.01125 | -0.0028227 | 0.011251 | 0.0028232 | 9.18e-07 | 4.7668e-07 | 0.016882 | 0.016881 | 0.016882 | 0.99169 | -0.15915 | 0.99178 | -0.15744 | 4.6378
38 | 0.0091732 | 0.0022989 | -0.0091726 | -0.0022986 | 5.4925e-07 | 2.5248e-07 | 0.013788 | 0.013788 | 0.013788 | 0.98995 | -0.19284 | 0.98989 | -0.1941 | 3.788
39 | -0.020799 | -0.0052159 | 0.020813 | 0.0052243 | 1.3831e-05 | 8.3764e-06 | 0.031428 | 0.031428 | 0.031428 | 0.98479 | -0.29269 | 0.98551 | -0.27875 | 8.6341
40 | 0.020799 | 0.0052159 | -0.02079 | -0.0052105 | 8.9531e-06 | 5.4226e-06 | 0.031428 | 0.031428 | 0.031428 | 0.98479 | -0.29269 | 0.98433 | -0.30173 | 8.6341
41 | 0.018895 | 0.0047395 | -0.018884 | -0.0047331 | 1.0693e-05 | 6.3972e-06 | 0.028531 | 0.028531 | 0.028531 | 0.98551 | -0.27875 | 0.9849 | -0.29063 | 7.8382
42 | -0.15553 | -0.039858 | 0.15566 | 0.039937 | 0.0001235 | 7.8717e-05 | 0.23195 | 0.23195 | 0.23195 | 0.99913 | -0.016368 | 1 | 0 | 31.8611
43 | 0.15553 | 0.039858 | -0.15532 | -0.039723 | 0.00021236 | 0.00013536 | 0.23195 | 0.23195 | 0.23195 | 0.99913 | -0.016368 | 0.99764 | -0.044579 | 31.8611
44 | 0.12915 | 0.032873 | -0.12903 | -0.032796 | 0.00012001 | 7.6693e-05 | 0.19235 | 0.19235 | 0.19235 | 1 | 0 | 0.99899 | -0.019294 | 52.8442
45 | 0.15281 | 0.039095 | -0.15267 | -0.039005 | 0.00014113 | 8.9946e-05 | 0.22821 | 0.22821 | 0.22821 | 0.99764 | -0.044579 | 0.99664 | -0.063677 | 31.3476
46 | -0.11547 | -0.029469 | 0.11558 | 0.029541 | 0.0001129 | 7.174e-05 | 0.17334 | 0.17334 | 0.17334 | 0.99235 | -0.14541 | 0.99341 | -0.12519 | 23.8099
47 | -0.0023527 | -0.00058965 | 0.0023528 | 0.00058959 | 2.7923e-08 | -5.9585e-08 | 0.003526 | 0.003526 | 0.003526 | 0.99287 | -0.13566 | 0.99288 | -0.13541 | 0.96869
48 | -0.0047709 | -0.0011956 | 0.0047711 | 0.0011956 | 1.5714e-07 | -5.4418e-09 | 0.0071501 | 0.0071501 | 0.0071501 | 0.99288 | -0.13541 | 0.99292 | -0.13472 | 1.9643
49 | 0.075615 | 0.019105 | -0.075584 | -0.019085 | 3.0788e-05 | 1.9626e-05 | 0.11478 | 0.11478 | 0.11478 | 0.98074 | -0.36902 | 0.98031 | -0.37751 | 31.533
50 | -0.078708 | -0.019902 | 0.078767 | 0.01994 | 5.8824e-05 | 3.7502e-05 | 0.11813 | 0.11813 | 0.11813 | 0.992 | -0.15297 | 0.99281 | -0.13741 | 32.4521
51 | 0.0094795 | 0.0023761 | -0.0094781 | -0.0023754 | 1.3483e-06 | 6.3867e-07 | 0.014303 | 0.014303 | 0.014303 | 0.98622 | -0.26484 | 0.98607 | -0.26783 | 3.9293
52 | -0.013043 | -0.0032723 | 0.013044 | 0.0032729 | 1.1273e-06 | 6.2018e-07 | 0.01957 | 0.01957 | 0.01957 | 0.99178 | -0.15744 | 0.99187 | -0.15563 | 5.3764
53 | 0.00055145 | 0.00013797 | -0.00055144 | -0.0001382 | 4.7768e-09 | -2.3527e-07 | 0.00082886 | 0.00082895 | 0.00082895 | 0.98989 | -0.1941 | 0.98988 | -0.19428 | 0.22773
54 | 0.0094777 | 0.0023756 | -0.0094765 | -0.002375 | 1.2652e-06 | 6.0036e-07 | 0.014319 | 0.014319 | 0.014319 | 0.9849 | -0.29063 | 0.98476 | -0.29343 | 3.9339
55 | 0.12452 | 0.031665 | -0.12442 | -0.031603 | 9.826e-05 | 6.2787e-05 | 0.18563 | 0.18563 | 0.18563 | 0.99899 | -0.019294 | 0.99812 | -0.035687 | 50.9983
56 | 0.0022234 | 0.000557 | -0.0022233 | -0.00055721 | 8.276e-08 | -2.0801e-07 | 0.0033195 | 0.0033196 | 0.0033196 | 0.99664 | -0.063677 | 0.9966 | -0.064459 | 0.91198
57 | 0.15045 | 0.038448 | -0.15029 | -0.038344 | 0.00016313 | 0.00010395 | 0.22489 | 0.22489 | 0.22489 | 0.99664 | -0.063677 | 0.99546 | -0.086123 | 30.8916
58 | 0.049537 | 0.012452 | -0.049499 | -0.012428 | 3.8154e-05 | 2.4196e-05 | 0.075557 | 0.075557 | 0.075557 | 0.97575 | -0.46676 | 0.97493 | -0.48291 | 20.7574
59 | 0.0095484 | 0.0023931 | -0.0095481 | -0.0023929 | 3.7568e-07 | 1.7714e-07 | 0.014308 | 0.014308 | 0.014308 | 0.993 | -0.13308 | 0.99296 | -0.13391 | 3.9309
60 | -0.011903 | -0.0029832 | 0.011905 | 0.0029842 | 1.9659e-06 | 1.045e-06 | 0.017837 | 0.017837 | 0.017837 | 0.993 | -0.13308 | 0.99318 | -0.12961 | 4.9002
61 | 0.0071882 | 0.0018015 | -0.007188 | -0.0018014 | 2.7974e-07 | 9.588e-08 | 0.010772 | 0.010772 | 0.010772 | 0.99296 | -0.13391 | 0.99292 | -0.13472 | 2.9594
62 | -0.017733 | -0.0044449 | 0.017737 | 0.0044471 | 3.7366e-06 | 2.2087e-06 | 0.026569 | 0.026568 | 0.026569 | 0.99318 | -0.12961 | 0.99341 | -0.12519 | 7.299
63 | 0.0058281 | 0.0014606 | -0.0058278 | -0.0014606 | 3.5794e-07 | 6.7087e-08 | 0.0087319 | 0.0087319 | 0.0087319 | 0.99318 | -0.12961 | 0.99311 | -0.1309 | 2.3989
64 | -0.13624 | -0.034721 | 0.1363 | 0.034756 | 5.444e-05 | 3.4661e-05 | 0.20428 | 0.20428 | 0.20428 | 0.99341 | -0.12519 | 0.99384 | -0.11692 | 28.0609
65 | 0.0030372 | 0.0007612 | -0.0030372 | -0.00076121 | 1.5858e-09 | -1.628e-09 | 0.0045508 | 0.0045508 | 0.0045508 | 0.99311 | -0.1309 | 0.99311 | -0.13091 | 1.2502
66 | -0.13923 | -0.035491 | 0.13928 | 0.035522 | 4.9004e-05 | 3.1207e-05 | 0.20868 | 0.20868 | 0.20868 | 0.99384 | -0.11692 | 0.99422 | -0.10963 | 28.6644
67 | -0.14229 | -0.036275 | 0.14235 | 0.036317 | 6.5147e-05 | 4.1496e-05 | 0.21317 | 0.21317 | 0.21317 | 0.99422 | -0.10963 | 0.99472 | -0.10015 | 29.2822
68 | -0.14537 | -0.037072 | 0.14542 | 0.037104 | 4.8973e-05 | 3.1199e-05 | 0.21768 | 0.21768 | 0.21768 | 0.99472 | -0.10015 | 0.99509 | -0.093172 | 29.9015
69 | -0.14783 | -0.037708 | 0.14788 | 0.03774 | 5.0338e-05 | 3.2074e-05 | 0.22129 | 0.22129 | 0.22129 | 0.99509 | -0.093172 | 0.99546 | -0.086123 | 30.3972
70 | -0.10259 | -0.02592 | 0.1027 | 0.02599 | 0.00010974 | 7.0074e-05 | 0.15383 | 0.15383 | 0.15383 | 0.99281 | -0.13741 | 0.99397 | -0.11512 | 42.2608
71 | 0.023819 | 0.0059797 | -0.023813 | -0.0059759 | 6.0753e-06 | 3.7239e-06 | 0.035704 | 0.035704 | 0.035704 | 0.99281 | -0.13741 | 0.99254 | -0.14275 | 9.8087
72 | -0.10679 | -0.027016 | 0.10688 | 0.027071 | 8.5614e-05 | 5.4677e-05 | 0.15996 | 0.15996 | 0.15996 | 0.99397 | -0.11512 | 0.99484 | -0.098423 | 43.9456
73 | 0.022017 | 0.0055258 | -0.022014 | -0.0055237 | 3.5134e-06 | 2.1375e-06 | 0.033011 | 0.033011 | 0.033011 | 0.99254 | -0.14275 | 0.99236 | -0.1461 | 9.069
74 | -0.11013 | -0.027886 | 0.11021 | 0.027937 | 7.9101e-05 | 5.0524e-05 | 0.16483 | 0.16483 | 0.16483 | 0.99484 | -0.098423 | 0.99562 | -0.083476 | 45.2823
75 | 0.020217 | 0.0050733 | -0.020214 | -0.0050718 | 2.4414e-06 | 1.471e-06 | 0.030317 | 0.030317 | 0.030317 | 0.99236 | -0.1461 | 0.99223 | -0.14863 | 8.3288
76 | -0.1134 | -0.028736 | 0.11349 | 0.028791 | 8.5527e-05 | 5.4634e-05 | 0.1696 | 0.1696 | 0.1696 | 0.99562 | -0.083476 | 0.99644 | -0.067791 | 46.5922
77 | 0.018424 | 0.0046232 | -0.018422 | -0.0046219 | 2.3254e-06 | 1.3834e-06 | 0.027632 | 0.027632 | 0.027632 | 0.99223 | -0.14863 | 0.99209 | -0.15128 | 7.5913
78 | 0.12128 | 0.030817 | -0.12119 | -0.030756 | 9.4968e-05 | 6.0679e-05 | 0.18096 | 0.18096 | 0.18096 | 0.99812 | -0.035687 | 0.99727 | -0.051965 | 49.7135
79 | 0.11796 | 0.029948 | -0.11787 | -0.02989 | 8.9751e-05 | 5.734e-05 | 0.17615 | 0.17615 | 0.17615 | 0.99727 | -0.051965 | 0.99644 | -0.067791 | 48.3915
80 | 0.073211 | 0.018491 | -0.073169 | -0.018464 | 4.1851e-05 | 2.6671e-05 | 0.11118 | 0.11118 | 0.11118 | 0.98031 | -0.37751 | 0.9797 | -0.38945 | 30.5436
81 | 0.046403 | 0.011652 | -0.046397 | -0.011649 | 5.5276e-06 | 3.501e-06 | 0.070832 | 0.070832 | 0.070832 | 0.97493 | -0.48291 | 0.9748 | -0.4854 | 19.4593
82 | 0.041455 | 0.01041 | -0.041424 | -0.01039 | 3.1292e-05 | 1.9767e-05 | 0.063288 | 0.063288 | 0.063288 | 0.9748 | -0.4854 | 0.974 | -0.50124 | 17.3867
83 | -0.014839 | -0.0037227 | 0.01484 | 0.0037234 | 1.2892e-06 | 7.3555e-07 | 0.022262 | 0.022262 | 0.022262 | 0.99187 | -0.15563 | 0.99196 | -0.15381 | 6.1161
84 | -0.016626 | -0.0041712 | 0.016628 | 0.0041723 | 2.0012e-06 | 1.17e-06 | 0.024942 | 0.024942 | 0.024942 | 0.99196 | -0.15381 | 0.99209 | -0.15128 | 6.8523
85 | -0.028746 | -0.0072076 | 0.028756 | 0.0072139 | 1.003e-05 | 6.2471e-06 | 0.04394 | 0.04394 | 0.04394 | 0.9735 | -0.51105 | 0.97387 | -0.50373 | 12.0715
86 | 0.023637 | 0.0059271 | -0.023629 | -0.0059219 | 8.5428e-06 | 5.2505e-06 | 0.036131 | 0.036131 | 0.036131 | 0.9735 | -0.51105 | 0.97312 | -0.51863 | 9.9261
87 | -0.036317 | -0.0091087 | 0.036321 | 0.0091114 | 4.3116e-06 | 2.713e-06 | 0.055492 | 0.055492 | 0.055492 | 0.97387 | -0.50373 | 0.974 | -0.50124 | 15.2451

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28981 | 0.073651

## res_load
| p_mw | q_mvar
0 | 0.0025033 | 0.0006274
1 | 0.0025084 | 0.00062866
2 | 0.001416 | 0.00035489
3 | 0.0021535 | 0.00053973
4 | 0.0024742 | 0.0006201
5 | 0.001729 | 0.00043334
6 | 0.0020521 | 0.00051431
7 | 0.0029813 | 0.00074719
8 | 0.0020714 | 0.00051914
9 | 0.0025335 | 0.00063495
10 | 0.0021265 | 0.00053294
11 | 0.0021341 | 0.00053485
12 | 0.002129 | 0.00053357
13 | 0.0023691 | 0.00059376
14 | 0.0025961 | 0.00065063
15 | 0.002132 | 0.00053433
16 | 0.0023514 | 0.00058933
17 | 0.0024068 | 0.0006032
18 | 0.0080295 | 0.0020124
19 | 0.001573 | 0.00039424
20 | 0.00183 | 0.00045863
21 | 0.0085247 | 0.0021365
22 | 0.0085437 | 0.0021412
23 | 0.0017931 | 0.0004494
24 | 0.00026844 | 6.7276e-05
25 | 0.02079 | 0.0052105
26 | 0.0033559 | 0.00084106
27 | 0.0025066 | 0.00062821
28 | 0.002204 | 0.00055238
29 | 0.0023527 | 0.00058965
30 | 0.0024182 | 0.00060605
31 | 0.0024428 | 0.00061223
32 | 0.0024766 | 0.00062069
33 | 0.001356 | 0.00033984
34 | 0.0017077 | 0.000428
35 | 0.0084892 | 0.0021276
36 | 0.001792 | 0.00044912
37 | 0.0086212 | 0.0021607
38 | 0.0094781 | 0.0023754
39 | 0.0094065 | 0.0023575
40 | 0.0045109 | 0.0011305
41 | 0.0017978 | 0.00045058
42 | 0.0094765 | 0.002375
43 | 0.0023546 | 0.00059011
44 | 0.0023598 | 0.00059143
45 | 0.0024169 | 0.00060573
46 | 0.0029236 | 0.00073271
47 | 0.0027905 | 0.00069937
48 | 0.0029347 | 0.00073552
49 | 0.0030372 | 0.00076121
50 | 0.0030051 | 0.00075315
51 | 0.0030141 | 0.00075541
52 | 0.002413 | 0.00060474
53 | 0.0024081 | 0.00060353
54 | 0.0040965 | 0.0010267
55 | 0.0017959 | 0.0004501
56 | 0.0032532 | 0.00081532
57 | 0.001797 | 0.00045038
58 | 0.0031902 | 0.00079955
59 | 0.00179 | 0.0004486
60 | 0.0022233 | 0.00055721
61 | 0.003137 | 0.00078621
62 | 0.0032252 | 0.00080831
63 | 0.0043859 | 0.0010992
64 | 0.0023726 | 0.00059464
65 | 0.0017148 | 0.00042977
66 | 0.00055144 | 0.0001382
67 | 0.0030959 | 0.0007759
68 | 0.0049422 | 0.0012386
69 | 0.0017947 | 0.00044979
70 | 0.0017864 | 0.00044772
71 | 0.0017936 | 0.00044953
72 | 0.0051091 | 0.0012805
73 | 0.0075604 | 0.0018948
74 | 0.023629 | 0.0059219
75 | 0.0051027 | 0.0012789

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1