## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-15_1_3_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_2581-15_1_3_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_2581-15_1_3_node_30 | 0.4 | n |  | TRUE
3 | bus_LV_2581-15_1_3_node_142 | 0.4 | n |  | TRUE
4 | bus_LV_2581-15_1_3_node_79 | 0.4 | n |  | TRUE
5 | bus_LV_2581-15_1_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_2581-15_1_3_node_158 | 0.4 | n |  | TRUE
7 | bus_LV_2581-15_1_3_node_159 | 0.4 | n |  | TRUE
8 | bus_LV_2581-15_1_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_2581-15_1_3_node_134 | 0.4 | n |  | TRUE
10 | bus_LV_2581-15_1_3_node_152 | 0.4 | n |  | TRUE
11 | bus_LV_2581-15_1_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_2581-15_1_3_node_150 | 0.4 | n |  | TRUE
13 | bus_LV_2581-15_1_3_node_144 | 0.4 | n |  | TRUE
14 | bus_LV_2581-15_1_3_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_2581-15_1_3_node_112 | 0.4 | n |  | TRUE
16 | bus_LV_2581-15_1_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_2581-15_1_3_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_2581-15_1_3_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_2581-15_1_3_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_2581-15_1_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_2581-15_1_3_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_2581-15_1_3_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_2581-15_1_3_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_2581-15_1_3_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_2581-15_1_3_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_2581-15_1_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_2581-15_1_3_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_2581-15_1_3_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_2581-15_1_3_node_127 | 0.4 | n |  | TRUE
30 | bus_LV_2581-15_1_3_node_105 | 0.4 | n |  | TRUE
31 | bus_LV_2581-15_1_3_node_103 | 0.4 | n |  | TRUE
32 | bus_LV_2581-15_1_3_node_104 | 0.4 | n |  | TRUE
33 | bus_LV_2581-15_1_3_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_2581-15_1_3_node_128 | 0.4 | n |  | TRUE
35 | bus_LV_2581-15_1_3_node_155 | 0.4 | n |  | TRUE
36 | bus_LV_2581-15_1_3_node_113 | 0.4 | n |  | TRUE
37 | bus_LV_2581-15_1_3_node_145 | 0.4 | n |  | TRUE
38 | bus_LV_2581-15_1_3_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_2581-15_1_3_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_2581-15_1_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_2581-15_1_3_node_153 | 0.4 | n |  | TRUE
42 | bus_LV_2581-15_1_3_node_129 | 0.4 | n |  | TRUE
43 | bus_LV_2581-15_1_3_node_130 | 0.4 | n |  | TRUE
44 | bus_LV_2581-15_1_3_node_132 | 0.4 | n |  | TRUE
45 | bus_LV_2581-15_1_3_node_131 | 0.4 | n |  | TRUE
46 | bus_LV_2581-15_1_3_node_133 | 0.4 | n |  | TRUE
47 | bus_LV_2581-15_1_3_node_136 | 0.4 | n |  | TRUE
48 | bus_LV_2581-15_1_3_node_149 | 0.4 | n |  | TRUE
49 | bus_LV_2581-15_1_3_node_135 | 0.4 | n |  | TRUE
50 | bus_LV_2581-15_1_3_node_154 | 0.4 | n |  | TRUE
51 | bus_LV_2581-15_1_3_node_139 | 0.4 | n |  | TRUE
52 | bus_LV_2581-15_1_3_node_137 | 0.4 | n |  | TRUE
53 | bus_LV_2581-15_1_3_node_138 | 0.4 | n |  | TRUE
54 | bus_LV_2581-15_1_3_node_140 | 0.4 | n |  | TRUE
55 | bus_LV_2581-15_1_3_node_141 | 0.4 | n |  | TRUE
56 | bus_LV_2581-15_1_3_node_156 | 0.4 | n |  | TRUE
57 | bus_LV_2581-15_1_3_node_157 | 0.4 | n |  | TRUE
58 | bus_LV_2581-15_1_3_node_143 | 0.4 | n |  | TRUE
59 | bus_LV_2581-15_1_3_node_146 | 0.4 | n |  | TRUE
60 | bus_LV_2581-15_1_3_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_2581-15_1_3_node_148 | 0.4 | n |  | TRUE
62 | bus_LV_2581-15_1_3_node_151 | 0.4 | n |  | TRUE
63 | bus_LV_2581-15_1_3_node_167 | 0.4 | n |  | TRUE
64 | bus_LV_2581-15_1_3_node_164 | 0.4 | n |  | TRUE
65 | bus_LV_2581-15_1_3_node_161 | 0.4 | n |  | TRUE
66 | bus_LV_2581-15_1_3_node_160 | 0.4 | n |  | TRUE
67 | bus_LV_2581-15_1_3_node_162 | 0.4 | n |  | TRUE
68 | bus_LV_2581-15_1_3_node_163 | 0.4 | n |  | TRUE
69 | bus_LV_2581-15_1_3_node_165 | 0.4 | n |  | TRUE
70 | bus_LV_2581-15_1_3_node_166 | 0.4 | n |  | TRUE
71 | bus_MV_397_0_node_261 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-15_1_3_load_142 | 3 | 0.0019944 | 0.00049985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-15_1_3_load_79 | 4 | 0.0016312 | 0.00040882 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-15_1_3_load_158 | 6 | 0.00087979 | 0.0002205 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-15_1_3_load_152 | 10 | 0.002161 | 0.00054159 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-15_1_3_load_150 | 12 | 0.0024632 | 0.00061735 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-15_1_3_load_144 | 13 | 0.0022324 | 0.00055949 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-15_1_3_load_54 | 14 | 0.0094645 | 0.002372 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-15_1_3_load_83 | 18 | 0.009482 | 0.0023764 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-15_1_3_load_53 | 19 | 0.0093821 | 0.0023514 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-15_1_3_load_55 | 20 | 0.0094612 | 0.0023712 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-15_1_3_load_71 | 21 | 0.00089993 | 0.00022554 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-15_1_3_load_73 | 22 | 0.00017294 | 4.3342e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-15_1_3_load_80 | 23 | 0.0010977 | 0.0002751 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-15_1_3_load_82 | 24 | 0.0093881 | 0.0023529 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-15_1_3_load_86 | 27 | 0.0094326 | 0.002364 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-15_1_3_load_127 | 29 | 0.0068502 | 0.0017168 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-15_1_3_load_103 | 31 | 0.020196 | 0.0050617 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-15_1_3_load_128 | 34 | 0.0017369 | 0.00043532 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-15_1_3_load_155 | 35 | 0.0076298 | 0.0019122 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-15_1_3_load_113 | 36 | 0.0017503 | 0.00043866 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-15_1_3_load_145 | 37 | 0.0023708 | 0.00059417 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-15_1_3_load_117 | 38 | 0.00020761 | 5.2031e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-15_1_3_load_153 | 41 | 0.00094756 | 0.00023748 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-15_1_3_load_129 | 42 | 0.0059932 | 0.001502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-15_1_3_load_130 | 43 | 0.001736 | 0.00043507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-15_1_3_load_132 | 44 | 0.0055462 | 0.00139 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-15_1_3_load_131 | 45 | 0.0023376 | 0.00058587 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-15_1_3_load_136 | 47 | 0.0049059 | 0.0012295 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-15_1_3_load_149 | 48 | 0.0026618 | 0.00066711 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-15_1_3_load_154 | 50 | 0.0051791 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-15_1_3_load_139 | 51 | 0.0016182 | 0.00040556 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-15_1_3_load_137 | 52 | 0.0016274 | 0.00040786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-15_1_3_load_138 | 53 | 0.0008912 | 0.00022335 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-15_1_3_load_156 | 56 | 0.00027339 | 6.8517e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-15_1_3_load_143 | 58 | 0.001997 | 0.0005005 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-15_1_3_load_146 | 59 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-15_1_3_load_147 | 60 | 0.0024092 | 0.00060381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-15_1_3_load_148 | 61 | 0.0025376 | 0.00063597 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-15_1_3_load_151 | 62 | 0.0026177 | 0.00065605 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-15_1_3_load_167 | 63 | 0.0008949 | 0.00022428 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-15_1_3_load_160 | 66 | 0.0010524 | 0.00026375 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-15_1_3_load_162 | 67 | 0.00026373 | 6.6098e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-15_1_3_load_165 | 69 | 0.00089177 | 0.0002235 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-15_1_3_load_166 | 70 | 0.00095046 | 0.00023821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-15_1_3_line_0 |  | 0 | 1 | 0.060452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-15_1_3_line_1 |  | 0 | 2 | 0.046221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-15_1_3_line_2 |  | 0 | 3 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-15_1_3_line_3 |  | 1 | 4 | 0.034771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-15_1_3_line_4 |  | 2 | 14 | 0.020566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-15_1_3_line_5 |  | 2 | 15 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-15_1_3_line_6 |  | 3 | 58 | 0.022003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-15_1_3_line_7 |  | 4 | 23 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-15_1_3_line_8 |  | 5 | 6 | 0.009434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-15_1_3_line_9 |  | 5 | 7 | 0.003709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-15_1_3_line_10 |  | 7 | 65 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-15_1_3_line_11 |  | 7 | 66 | 0.008152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-15_1_3_line_12 |  | 8 | 9 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-15_1_3_line_13 |  | 8 | 10 | 0.0040485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-15_1_3_line_14 |  | 9 | 48 | 0.0057632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-15_1_3_line_15 |  | 11 | 12 | 0.0030248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-15_1_3_line_16 |  | 11 | 13 | 0.02161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-15_1_3_line_17 |  | 12 | 62 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-15_1_3_line_18 |  | 13 | 58 | 0.035287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-15_1_3_line_19 |  | 14 | 19 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-15_1_3_line_20 |  | 15 | 36 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-15_1_3_line_21 |  | 15 | 27 | 0.0023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-15_1_3_line_22 |  | 16 | 17 | 0.020615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-15_1_3_line_23 |  | 16 | 18 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-15_1_3_line_24 |  | 17 | 30 | 0.049288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-15_1_3_line_25 |  | 18 | 24 | 0.015242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-15_1_3_line_26 |  | 19 | 20 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-15_1_3_line_27 |  | 21 | 22 | 0.0022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-15_1_3_line_28 |  | 22 | 23 | 0.0067649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-15_1_3_line_29 |  | 24 | 25 | 0.033246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-15_1_3_line_30 |  | 25 | 26 | 0.021401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-15_1_3_line_31 |  | 25 | 27 | 0.016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-15_1_3_line_32 |  | 26 | 28 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-15_1_3_line_33 |  | 26 | 29 | 0.016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-15_1_3_line_34 |  | 28 | 34 | 0.015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-15_1_3_line_35 |  | 30 | 31 | 0.033089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-15_1_3_line_36 |  | 31 | 32 | 0.028543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-15_1_3_line_37 |  | 32 | 33 | 0.028877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-15_1_3_line_38 |  | 33 | 35 | 0.030301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-15_1_3_line_39 |  | 34 | 42 | 0.0061202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-15_1_3_line_40 |  | 35 | 49 | 0.025383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-15_1_3_line_41 |  | 36 | 37 | 0.0044488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-15_1_3_line_42 |  | 37 | 59 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-15_1_3_line_43 |  | 38 | 39 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-15_1_3_line_44 |  | 39 | 40 | 0.040348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-15_1_3_line_45 |  | 40 | 41 | 0.04081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-15_1_3_line_46 |  | 41 | 50 | 0.028258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-15_1_3_line_47 |  | 42 | 43 | 0.013191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-15_1_3_line_48 |  | 43 | 44 | 0.021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-15_1_3_line_49 |  | 44 | 45 | 0.0086302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-15_1_3_line_50 |  | 45 | 46 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-15_1_3_line_51 |  | 46 | 47 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-15_1_3_line_52 |  | 47 | 51 | 0.006595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-15_1_3_line_53 |  | 48 | 61 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-15_1_3_line_54 |  | 49 | 50 | 0.026873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-15_1_3_line_55 |  | 51 | 52 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-15_1_3_line_56 |  | 52 | 53 | 0.00030859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-15_1_3_line_57 |  | 53 | 54 | 0.019396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2581-15_1_3_line_58 |  | 54 | 55 | 0.009431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-15_1_3_line_59 |  | 55 | 56 | 0.007887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-15_1_3_line_60 |  | 55 | 57 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-15_1_3_line_61 |  | 57 | 63 | 0.008974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-15_1_3_line_62 |  | 57 | 64 | 0.001565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-15_1_3_line_63 |  | 59 | 60 | 0.018497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-15_1_3_line_64 |  | 60 | 61 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-15_1_3_line_65 |  | 64 | 70 | 0.008102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-15_1_3_line_66 |  | 64 | 68 | 0.021944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-15_1_3_line_67 |  | 65 | 67 | 0.008322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-15_1_3_line_68 |  | 65 | 68 | 0.004491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-15_1_3_line_69 |  | 68 | 69 | 0.009291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-15_1_3_trafo_84 | 0.63 MVA 20/0.4 kV | 71 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2635064.9126 | 1243635.5304 | 2635076.6585 | 1243631.3415 | 2635074.0357 | 1243589.2099 | 2635079.8026 | 1243589.0883
1 | 2635119.719 | 1243594.372 | 2635089.6939 | 1243593.116 | 2635080.2559 | 1243595.5063 | 2635079.8026 | 1243589.0883
2 | 2635079.8026 | 1243589.0883 | 2635078.9196 | 1243576.5738
3 | 2635064.9126 | 1243635.5304 | 2635057.4049 | 1243638.6659 | 2635034.4696 | 1243652.2075
4 | 2635119.719 | 1243594.372 | 2635119.1224 | 1243614.929
5 | 2635119.719 | 1243594.372 | 2635140.7293 | 1243595.4748
6 | 2635077.3708 | 1243554.6252 | 2635078.9196 | 1243576.5738
7 | 2635034.4696 | 1243652.2075 | 2635024.5905 | 1243658.0404 | 2635020.7156 | 1243660.4973
8 | 2635222.2665 | 1243388.7686 | 2635231.6854 | 1243389.6695
9 | 2635221.8819 | 1243392.4576 | 2635222.2665 | 1243388.7686
10 | 2635221.8819 | 1243392.4576 | 2635220.8888 | 1243401.88 | 2635220.3038 | 1243407.5024
11 | 2635213.7553 | 1243391.5644 | 2635221.8819 | 1243392.4576
12 | 2635142.1952 | 1243499.7438 | 2635142.3556 | 1243489.2491
13 | 2635142.3556 | 1243489.2491 | 2635142.4172 | 1243485.2011
14 | 2635142.1952 | 1243499.7438 | 2635142.107 | 1243505.5064
15 | 2635073.3661 | 1243497.8692 | 2635073.1365 | 1243494.8532
16 | 2635073.3661 | 1243497.8692 | 2635074.8871 | 1243519.4255
17 | 2635073.1365 | 1243494.8532 | 2635071.7214 | 1243476.2612
18 | 2635077.3708 | 1243554.6252 | 2635074.8871 | 1243519.4255
19 | 2635118.6195 | 1243632.2587 | 2635119.1224 | 1243614.929
20 | 2635140.7293 | 1243595.4748 | 2635140.9649 | 1243580.0848
21 | 2635140.7293 | 1243595.4748 | 2635143.1176 | 1243595.6257
22 | 2635160.1692 | 1243662.6554 | 2635180.7868 | 1243661.1098
23 | 2635160.1692 | 1243662.6554 | 2635157.2956 | 1243645.1048
24 | 2635180.7868 | 1243661.1098 | 2635188.9975 | 1243660.4913 | 2635196.1299 | 1243660.756 | 2635202.0067 | 1243662.4808 | 2635228.1799 | 1243672.22
25 | 2635158.1269 | 1243629.8853 | 2635157.2956 | 1243645.1048
26 | 2635118.6195 | 1243632.2587 | 2635118.2098 | 1243646.3745 | 2635118.3578 | 1243647.1246
27 | 2635015.0024 | 1243664.1198 | 2635013.1399 | 1243665.3008
28 | 2635015.0024 | 1243664.1198 | 2635020.7156 | 1243660.4973
29 | 2635159.9402 | 1243596.6892 | 2635158.1269 | 1243629.8853
30 | 2635159.9402 | 1243596.6892 | 2635181.3906 | 1243597.4723
31 | 2635159.9402 | 1243596.6892 | 2635143.1176 | 1243595.6257
32 | 2635200.3551 | 1243598.1739 | 2635181.3906 | 1243597.4723
33 | 2635181.3906 | 1243597.4723 | 2635181.0209 | 1243603.7519 | 2635180.5653 | 1243613.8468
34 | 2635200.3551 | 1243598.1739 | 2635201.9218 | 1243583.202
35 | 2635228.1799 | 1243672.22 | 2635240.1985 | 1243641.3905
36 | 2635251.2586 | 1243615.0867 | 2635245.1011 | 1243628.8146 | 2635240.1985 | 1243641.3905
37 | 2635251.2586 | 1243615.0867 | 2635259.3431 | 1243606.4735 | 2635271.025 | 1243594.0348
38 | 2635271.025 | 1243594.0348 | 2635267.6291 | 1243590.657 | 2635264.7216 | 1243587.7712 | 2635264.3278 | 1243584.0998 | 2635264.1056 | 1243582.0638 | 2635266.999 | 1243566.659
39 | 2635201.9218 | 1243583.202 | 2635202.5587 | 1243577.1151
40 | 2635271.7061 | 1243541.7162 | 2635270.942 | 1243545.6698 | 2635267.4535 | 1243564.2388 | 2635266.999 | 1243566.659
41 | 2635141.033 | 1243575.6365 | 2635140.9649 | 1243580.0848
42 | 2635141.033 | 1243575.6365 | 2635141.2597 | 1243560.8355
43 | 2635303.2298 | 1243410.4521 | 2635307.0324 | 1243402.6252 | 2635306.975 | 1243397.7992
44 | 2635303.2298 | 1243410.4521 | 2635297.1518 | 1243418.3766 | 2635294.5481 | 1243427.934 | 2635292.3206 | 1243445.4098 | 2635292.2961 | 1243448.2559
45 | 2635292.2961 | 1243448.2559 | 2635289.6376 | 1243456.8679 | 2635286.1136 | 1243464.8744 | 2635281.8599 | 1243487.5282
46 | 2635281.8599 | 1243487.5282 | 2635276.6449 | 1243515.3012
47 | 2635203.9316 | 1243563.9958 | 2635202.5587 | 1243577.1151
48 | 2635206.1365 | 1243542.9246 | 2635203.9316 | 1243563.9958
49 | 2635207.0346 | 1243534.3413 | 2635206.1365 | 1243542.9246
50 | 2635208.9753 | 1243515.794 | 2635208.3824 | 1243521.4609 | 2635207.0346 | 1243534.3413
51 | 2635208.9753 | 1243515.794 | 2635209.4242 | 1243511.4606 | 2635210.5257 | 1243500.9364
52 | 2635211.2123 | 1243494.3772 | 2635210.5257 | 1243500.9364
53 | 2635141.7269 | 1243530.3251 | 2635142.107 | 1243505.5064
54 | 2635271.7061 | 1243541.7162 | 2635273.7515 | 1243530.7101 | 2635276.6449 | 1243515.3012
55 | 2635212.9088 | 1243478.1678 | 2635211.2123 | 1243494.3772
56 | 2635212.9088 | 1243478.1678 | 2635212.941 | 1243477.8609
57 | 2635214.96 | 1243458.5704 | 2635212.941 | 1243477.8609
58 | 2635214.96 | 1243458.5704 | 2635215.3685 | 1243454.6814 | 2635215.9452 | 1243449.1924
59 | 2635215.9452 | 1243449.1924 | 2635208.0831 | 1243448.323
60 | 2635217.3877 | 1243435.3475 | 2635215.9452 | 1243449.1924
61 | 2635226.3376 | 1243436.3012 | 2635217.3877 | 1243435.3475
62 | 2635217.5556 | 1243433.792 | 2635217.3877 | 1243435.3475
63 | 2635141.2597 | 1243560.8355 | 2635141.5429 | 1243542.3402
64 | 2635141.5429 | 1243542.3402 | 2635141.7269 | 1243530.3251
65 | 2635209.4661 | 1243433.0213 | 2635217.5556 | 1243433.792
66 | 2635219.839 | 1243411.9692 | 2635219.6708 | 1243413.5581 | 2635218.7575 | 1243422.2917 | 2635218.4211 | 1243425.4918 | 2635217.5556 | 1243433.792
67 | 2635220.3038 | 1243407.5024 | 2635211.9952 | 1243406.7082
68 | 2635220.3038 | 1243407.5024 | 2635219.9992 | 1243410.4358 | 2635219.839 | 1243411.9692
69 | 2635229.1223 | 1243412.7803 | 2635219.839 | 1243411.9692

## bus_geodata
| x | y | coords
0 | 2635079.8026 | 1243589.0883
1 | 2635064.9126 | 1243635.5304
2 | 2635119.719 | 1243594.372
3 | 2635078.9196 | 1243576.5738
4 | 2635034.4696 | 1243652.2075
5 | 2635222.2665 | 1243388.7686
6 | 2635231.6854 | 1243389.6695
7 | 2635221.8819 | 1243392.4576
8 | 2635142.3556 | 1243489.2491
9 | 2635142.1952 | 1243499.7439
10 | 2635142.4172 | 1243485.2011
11 | 2635073.3661 | 1243497.8692
12 | 2635073.1365 | 1243494.8532
13 | 2635074.8871 | 1243519.4255
14 | 2635119.1224 | 1243614.929
15 | 2635140.7293 | 1243595.4748
16 | 2635160.1692 | 1243662.6554
17 | 2635180.7868 | 1243661.1098
18 | 2635157.2956 | 1243645.1048
19 | 2635118.6195 | 1243632.2587
20 | 2635118.3578 | 1243647.1246
21 | 2635013.1399 | 1243665.3008
22 | 2635015.0024 | 1243664.1198
23 | 2635020.7156 | 1243660.4973
24 | 2635158.1269 | 1243629.8853
25 | 2635159.9402 | 1243596.6892
26 | 2635181.3906 | 1243597.4723
27 | 2635143.1176 | 1243595.6257
28 | 2635200.3551 | 1243598.1739
29 | 2635180.5653 | 1243613.8468
30 | 2635228.1799 | 1243672.22
31 | 2635240.1985 | 1243641.3905
32 | 2635251.2586 | 1243615.0867
33 | 2635271.025 | 1243594.0348
34 | 2635201.9218 | 1243583.202
35 | 2635266.999 | 1243566.659
36 | 2635140.9649 | 1243580.0848
37 | 2635141.033 | 1243575.6365
38 | 2635306.975 | 1243397.7992
39 | 2635303.2298 | 1243410.4521
40 | 2635292.2961 | 1243448.2559
41 | 2635281.8599 | 1243487.5282
42 | 2635202.5587 | 1243577.1151
43 | 2635203.9316 | 1243563.9958
44 | 2635206.1365 | 1243542.9246
45 | 2635207.0346 | 1243534.3413
46 | 2635208.9753 | 1243515.794
47 | 2635210.5257 | 1243500.9364
48 | 2635142.107 | 1243505.5064
49 | 2635271.7061 | 1243541.7162
50 | 2635276.6449 | 1243515.3012
51 | 2635211.2123 | 1243494.3772
52 | 2635212.9088 | 1243478.1678
53 | 2635212.941 | 1243477.8609
54 | 2635214.96 | 1243458.5704
55 | 2635215.9452 | 1243449.1924
56 | 2635208.0831 | 1243448.323
57 | 2635217.3877 | 1243435.3475
58 | 2635077.3708 | 1243554.6252
59 | 2635141.2597 | 1243560.8355
60 | 2635141.5429 | 1243542.3402
61 | 2635141.7269 | 1243530.3251
62 | 2635071.7214 | 1243476.2612
63 | 2635226.3376 | 1243436.3012
64 | 2635217.5556 | 1243433.792
65 | 2635220.3038 | 1243407.5024
66 | 2635213.7553 | 1243391.5644
67 | 2635211.9952 | 1243406.7082
68 | 2635219.839 | 1243411.9692
69 | 2635229.1223 | 1243412.7803
70 | 2635209.4661 | 1243433.0213
71 | 2635140.7293 | 1243595.4748

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99736 | -0.050776 | 0 | 0
1 | 0.99715 | -0.054806 | 0 | 0
2 | 0.99799 | -0.038542 | 0 | 0
3 | 0.99723 | -0.053262 | 0.0019944 | 0.00049985
4 | 0.99703 | -0.057125 | 0.0016312 | 0.00040882
5 | 0.99635 | -0.070161 | 0 | 0
6 | 0.99635 | -0.070307 | 0.00087979 | 0.0002205
7 | 0.99636 | -0.070104 | 0 | 0
8 | 0.99801 | -0.038298 | 0 | 0
9 | 0.99803 | -0.037901 | 0 | 0
10 | 0.998 | -0.038451 | 0.002161 | 0.00054159
11 | 0.99671 | -0.063307 | 0 | 0
12 | 0.9967 | -0.063577 | 0.0024632 | 0.00061735
13 | 0.99681 | -0.061381 | 0.0022324 | 0.00055949
14 | 0.99747 | -0.048735 | 0.0094645 | 0.002372
15 | 0.99882 | -0.022614 | 0 | 0
16 | 0.99723 | -0.053074 | 0 | 0
17 | 0.99659 | -0.065428 | 0 | 0
18 | 0.99779 | -0.042428 | 0.009482 | 0.0023764
19 | 0.99717 | -0.05446 | 0.0093821 | 0.0023514
20 | 0.99704 | -0.056929 | 0.0094612 | 0.0023712
21 | 0.99699 | -0.057898 | 0.00089993 | 0.00022554
22 | 0.99699 | -0.057864 | 0.00017294 | 4.3342e-05
23 | 0.997 | -0.057736 | 0.0010977 | 0.0002751
24 | 0.99839 | -0.030786 | 0.0093881 | 0.0023529
25 | 1 | 0 | -0.16208 | -0.040376
26 | 0.99925 | -0.014357 | 0 | 0
27 | 0.99895 | -0.020145 | 0.0094326 | 0.002364
28 | 0.99871 | -0.024802 | 0 | 0
29 | 0.99915 | -0.016317 | 0.0068502 | 0.0017168
30 | 0.99505 | -0.09503 | 0 | 0
31 | 0.99402 | -0.11495 | 0.020196 | 0.0050617
32 | 0.99366 | -0.12199 | 0 | 0
33 | 0.99329 | -0.12912 | 0 | 0
34 | 0.99828 | -0.03312 | 0.0017369 | 0.00043532
35 | 0.9929 | -0.1366 | 0.0076298 | 0.0019122
36 | 0.9986 | -0.02682 | 0.0017503 | 0.00043866
37 | 0.99855 | -0.0279 | 0.0023708 | 0.00059417
38 | 0.99255 | -0.14339 | 0.00020761 | 5.2031e-05
39 | 0.99256 | -0.14334 | 0 | 0
40 | 0.99256 | -0.14319 | 0 | 0
41 | 0.99257 | -0.14303 | 0.00094756 | 0.00023748
42 | 0.99811 | -0.036318 | 0.0059932 | 0.001502
43 | 0.99782 | -0.04183 | 0.001736 | 0.00043507
44 | 0.9974 | -0.050045 | 0.0055462 | 0.00139
45 | 0.99727 | -0.052554 | 0.0023376 | 0.00058587
46 | 0.99703 | -0.057214 | 0 | 0
47 | 0.99683 | -0.060949 | 0.0049059 | 0.0012295
48 | 0.99804 | -0.037683 | 0.0026618 | 0.00066711
49 | 0.99276 | -0.13944 | 0 | 0
50 | 0.9926 | -0.14246 | 0.0051791 | 0.001298
51 | 0.99678 | -0.06203 | 0.0016182 | 0.00040556
52 | 0.99666 | -0.064241 | 0.0016274 | 0.00040786
53 | 0.99666 | -0.064274 | 0.0008912 | 0.00022335
54 | 0.99657 | -0.066047 | 0 | 0
55 | 0.99652 | -0.06691 | 0 | 0
56 | 0.99652 | -0.066948 | 0.00027339 | 6.8517e-05
57 | 0.99646 | -0.068116 | 0 | 0
58 | 0.99704 | -0.056854 | 0.001997 | 0.0005005
59 | 0.99839 | -0.03088 | 0.0017432 | 0.00043689
60 | 0.99823 | -0.034041 | 0.0024092 | 0.00060381
61 | 0.99815 | -0.035588 | 0.0025376 | 0.00063597
62 | 0.99665 | -0.064434 | 0.0026177 | 0.00065605
63 | 0.99645 | -0.068257 | 0.0008949 | 0.00022428
64 | 0.99645 | -0.068227 | 0 | 0
65 | 0.99638 | -0.069591 | 0 | 0
66 | 0.99635 | -0.070255 | 0.0010524 | 0.00026375
67 | 0.99638 | -0.069629 | 0.00026373 | 6.6098e-05
68 | 0.99639 | -0.069417 | 0 | 0
69 | 0.99639 | -0.069563 | 0.00089177 | 0.0002235
70 | 0.99645 | -0.068362 | 0.00095046 | 0.00023821
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.003803 | 0.00095203 | -0.0038023 | -0.00095235 | 7.2974e-07 | -3.2171e-07 | 0.0056735 | 0.0056738 | 0.0056738 | 0.99736 | -0.050776 | 0.99715 | -0.054806 | 1.5587
1 | -0.015113 | -0.0037871 | 0.015122 | 0.0037921 | 8.8119e-06 | 5.036e-06 | 0.022548 | 0.022547 | 0.022548 | 0.99736 | -0.050776 | 0.99799 | -0.038542 | 6.1944
2 | 0.01131 | 0.0028351 | -0.011309 | -0.0028344 | 1.3396e-06 | 6.9363e-07 | 0.016874 | 0.016874 | 0.016874 | 0.99736 | -0.050776 | 0.99723 | -0.053262 | 4.6357
3 | 0.0038023 | 0.00095235 | -0.0038018 | -0.00095253 | 4.1976e-07 | -1.8487e-07 | 0.0056738 | 0.0056739 | 0.0056739 | 0.99715 | -0.054806 | 0.99703 | -0.057125 | 1.5588
4 | 0.028328 | 0.0071067 | -0.028314 | -0.0070982 | 1.376e-05 | 8.5377e-06 | 0.042239 | 0.04224 | 0.04224 | 0.99799 | -0.038542 | 0.99747 | -0.048735 | 11.6043
5 | -0.04345 | -0.010899 | 0.043483 | 0.01092 | 3.3018e-05 | 2.0857e-05 | 0.064787 | 0.064787 | 0.064787 | 0.99799 | -0.038542 | 0.99882 | -0.022614 | 17.7986
6 | 0.0093141 | 0.0023345 | -0.0093125 | -0.0023338 | 1.5938e-06 | 7.3301e-07 | 0.013898 | 0.013898 | 0.013898 | 0.99723 | -0.053262 | 0.99704 | -0.056854 | 3.8182
7 | 0.0021706 | 0.00054371 | -0.0021706 | -0.00054388 | 6.3204e-08 | -1.69e-07 | 0.0032394 | 0.0032395 | 0.0032395 | 0.99703 | -0.057125 | 0.997 | -0.057736 | 0.88997
8 | 0.0008798 | 0.00022038 | -0.00087979 | -0.0002205 | 6.1075e-09 | -1.1896e-07 | 0.0013139 | 0.0013139 | 0.0013139 | 0.99635 | -0.070161 | 0.99635 | -0.070307 | 0.36097
9 | -0.0008798 | -0.00022038 | 0.0008798 | 0.00022033 | 2.4011e-09 | -4.6769e-08 | 0.0013139 | 0.0013139 | 0.0013139 | 0.99635 | -0.070161 | 0.99636 | -0.070104 | 0.36096
10 | -0.0019322 | -0.00048398 | 0.0019322 | 0.00048381 | 4.7238e-08 | -1.6681e-07 | 0.0028855 | 0.0028855 | 0.0028855 | 0.99636 | -0.070104 | 0.99638 | -0.069591 | 0.79273
11 | 0.0010524 | 0.00026365 | -0.0010524 | -0.00026375 | 7.5514e-09 | -1.0134e-07 | 0.0015717 | 0.0015717 | 0.0015717 | 0.99636 | -0.070104 | 0.99635 | -0.070255 | 0.43179
12 | -0.002161 | -0.00054155 | 0.002161 | 0.00054144 | 4.0864e-08 | -1.1101e-07 | 0.003222 | 0.003222 | 0.003222 | 0.99801 | -0.038298 | 0.99803 | -0.037901 | 0.88516
13 | 0.002161 | 0.00054155 | -0.002161 | -0.00054159 | 1.5761e-08 | -4.2814e-08 | 0.003222 | 0.003222 | 0.003222 | 0.99801 | -0.038298 | 0.998 | -0.038451 | 0.88517
14 | -0.002161 | -0.00054144 | 0.0021611 | 0.00054138 | 2.2435e-08 | -6.0954e-08 | 0.003222 | 0.0032219 | 0.003222 | 0.99803 | -0.037901 | 0.99804 | -0.037683 | 0.88515
15 | 0.0050811 | 0.0012732 | -0.005081 | -0.0012732 | 6.5269e-08 | 2.3505e-09 | 0.0075856 | 0.0075856 | 0.0075856 | 0.99671 | -0.063307 | 0.9967 | -0.063577 | 2.084
16 | -0.0050811 | -0.0012732 | 0.0050815 | 0.0012732 | 4.6629e-07 | 1.6755e-08 | 0.0075856 | 0.0075855 | 0.0075856 | 0.99671 | -0.063307 | 0.99681 | -0.061381 | 2.084
17 | 0.0026178 | 0.00065587 | -0.0026177 | -0.00065605 | 1.068e-07 | -1.7464e-07 | 0.0039081 | 0.0039082 | 0.0039082 | 0.9967 | -0.063577 | 0.99665 | -0.064434 | 1.0737
18 | -0.0073139 | -0.0018327 | 0.0073155 | 0.0018333 | 1.5773e-06 | 5.494e-07 | 0.010918 | 0.010918 | 0.010918 | 0.99681 | -0.061381 | 0.99704 | -0.056854 | 2.9994
19 | 0.01885 | 0.0047262 | -0.018844 | -0.0047231 | 5.141e-06 | 3.064e-06 | 0.02812 | 0.02812 | 0.02812 | 0.99747 | -0.048735 | 0.99717 | -0.05446 | 7.7254
20 | 0.015642 | 0.0039219 | -0.015639 | -0.0039201 | 3.1344e-06 | 1.8046e-06 | 0.023303 | 0.023303 | 0.023303 | 0.99882 | -0.022614 | 0.9986 | -0.02682 | 6.4021
21 | -0.059124 | -0.014842 | 0.059131 | 0.014846 | 6.964e-06 | 4.4256e-06 | 0.08809 | 0.08809 | 0.08809 | 0.99882 | -0.022614 | 0.99895 | -0.020145 | 24.2006
22 | 0.034278 | 0.0086318 | -0.034258 | -0.0086191 | 2.0235e-05 | 1.2682e-05 | 0.051162 | 0.051162 | 0.051162 | 0.99723 | -0.053074 | 0.99659 | -0.065428 | 14.0555
23 | -0.034278 | -0.0086318 | 0.034295 | 0.0086427 | 1.7457e-05 | 1.094e-05 | 0.051162 | 0.051162 | 0.051162 | 0.99723 | -0.053074 | 0.99779 | -0.042428 | 14.0555
24 | 0.034258 | 0.0086191 | -0.034209 | -0.0085888 | 4.838e-05 | 3.0322e-05 | 0.051162 | 0.051162 | 0.051162 | 0.99659 | -0.065428 | 0.99505 | -0.09503 | 14.0556
25 | -0.043777 | -0.011019 | 0.043802 | 0.011035 | 2.4375e-05 | 1.5401e-05 | 0.065302 | 0.065302 | 0.065302 | 0.99779 | -0.042428 | 0.99839 | -0.030786 | 17.9402
26 | 0.0094623 | 0.0023717 | -0.0094612 | -0.0023712 | 1.113e-06 | 5.1815e-07 | 0.01412 | 0.01412 | 0.01412 | 0.99717 | -0.05446 | 0.99704 | -0.056929 | 3.8792
27 | -0.00089993 | -0.00022554 | 0.00089993 | 0.00022552 | 1.492e-09 | -2.7804e-08 | 0.0013431 | 0.0013431 | 0.0013431 | 0.99699 | -0.057898 | 0.99699 | -0.057864 | 0.369
28 | -0.0010729 | -0.00026886 | 0.0010729 | 0.00026877 | 6.5043e-09 | -8.4055e-08 | 0.0016012 | 0.0016012 | 0.0016012 | 0.99699 | -0.057864 | 0.997 | -0.057736 | 0.4399
29 | -0.05319 | -0.013387 | 0.053268 | 0.013437 | 7.8388e-05 | 4.9733e-05 | 0.079294 | 0.079294 | 0.079294 | 0.99839 | -0.030786 | 1 | 0 | 21.7842
30 | 0.038534 | 0.0096865 | -0.038508 | -0.0096699 | 2.6396e-05 | 1.6613e-05 | 0.05735 | 0.05735 | 0.05735 | 1 | 0 | 0.99925 | -0.014357 | 15.7555
31 | 0.06863 | 0.017252 | -0.068564 | -0.01721 | 6.5946e-05 | 4.1984e-05 | 0.10214 | 0.10214 | 0.10214 | 1 | 0 | 0.99895 | -0.020145 | 28.0606
32 | 0.031657 | 0.0079529 | -0.031641 | -0.007943 | 1.5773e-05 | 9.8468e-06 | 0.047148 | 0.047148 | 0.047148 | 0.99925 | -0.014357 | 0.99871 | -0.024802 | 12.9528
33 | 0.0068508 | 0.001717 | -0.0068502 | -0.0017168 | 6.3991e-07 | 1.9478e-07 | 0.010202 | 0.010202 | 0.010202 | 0.99925 | -0.014357 | 0.99915 | -0.016317 | 2.8027
34 | 0.031641 | 0.007943 | -0.031629 | -0.0079352 | 1.2549e-05 | 7.8344e-06 | 0.047148 | 0.047148 | 0.047148 | 0.99871 | -0.024802 | 0.99828 | -0.03312 | 12.9529
35 | 0.034209 | 0.0085888 | -0.034177 | -0.0085684 | 3.248e-05 | 2.0358e-05 | 0.051162 | 0.051162 | 0.051162 | 0.99505 | -0.09503 | 0.99402 | -0.11495 | 14.0556
36 | 0.01398 | 0.0035067 | -0.013976 | -0.0035041 | 4.6885e-06 | 2.6308e-06 | 0.020929 | 0.020929 | 0.020929 | 0.99402 | -0.11495 | 0.99366 | -0.12199 | 5.7498
37 | 0.013976 | 0.0035041 | -0.013971 | -0.0035014 | 4.7434e-06 | 2.6619e-06 | 0.020929 | 0.020929 | 0.020929 | 0.99366 | -0.12199 | 0.99329 | -0.12912 | 5.7498
38 | 0.013971 | 0.0035014 | -0.013966 | -0.0034986 | 4.9773e-06 | 2.7934e-06 | 0.020929 | 0.020929 | 0.020929 | 0.99329 | -0.12912 | 0.9929 | -0.1366 | 5.7498
39 | 0.029892 | 0.0074999 | -0.029887 | -0.007497 | 4.5569e-06 | 2.8364e-06 | 0.044559 | 0.044559 | 0.044559 | 0.99828 | -0.03312 | 0.99811 | -0.036318 | 12.2416
40 | 0.006336 | 0.0015864 | -0.0063352 | -0.0015862 | 8.5815e-07 | 2.2097e-07 | 0.0094949 | 0.0094951 | 0.0094951 | 0.9929 | -0.1366 | 0.99276 | -0.13944 | 2.6085
41 | 0.013888 | 0.0034815 | -0.013888 | -0.0034811 | 7.1453e-07 | 3.991e-07 | 0.020695 | 0.020695 | 0.020695 | 0.9986 | -0.02682 | 0.99855 | -0.0279 | 5.6856
42 | 0.011517 | 0.0028869 | -0.011515 | -0.002886 | 1.6351e-06 | 8.5284e-07 | 0.017163 | 0.017163 | 0.017163 | 0.99855 | -0.0279 | 0.99839 | -0.03088 | 4.715
43 | -0.00020761 | -5.2031e-05 | 0.00020761 | 5.1856e-05 | 4.9134e-10 | -1.7453e-07 | 0.00031124 | 0.00031118 | 0.00031124 | 0.99255 | -0.14339 | 0.99256 | -0.14334 | 0.085505
44 | -0.00020761 | -5.1856e-05 | 0.00020761 | 5.1336e-05 | 1.4642e-09 | -5.2055e-07 | 0.00031118 | 0.00031099 | 0.00031118 | 0.99256 | -0.14334 | 0.99256 | -0.14319 | 0.085488
45 | -0.00020761 | -5.1336e-05 | 0.00020761 | 5.0809e-05 | 1.4793e-09 | -5.2653e-07 | 0.00031099 | 0.00031081 | 0.00031099 | 0.99256 | -0.14319 | 0.99257 | -0.14303 | 0.085438
46 | -0.0011552 | -0.00028829 | 0.0011552 | 0.00028795 | 3.1762e-08 | -3.4492e-07 | 0.0017313 | 0.0017312 | 0.0017313 | 0.99257 | -0.14303 | 0.9926 | -0.14246 | 0.47564
47 | 0.023894 | 0.005995 | -0.023888 | -0.0059911 | 6.2777e-06 | 3.8454e-06 | 0.035624 | 0.035624 | 0.035624 | 0.99811 | -0.036318 | 0.99782 | -0.04183 | 9.7869
48 | 0.022152 | 0.0055561 | -0.022143 | -0.0055508 | 8.6707e-06 | 5.2726e-06 | 0.033036 | 0.033036 | 0.033036 | 0.99782 | -0.04183 | 0.9974 | -0.050045 | 9.0758
49 | 0.016597 | 0.0041608 | -0.016595 | -0.0041596 | 1.9843e-06 | 1.1573e-06 | 0.024761 | 0.024762 | 0.024762 | 0.9974 | -0.050045 | 0.99727 | -0.052554 | 6.8026
50 | 0.014257 | 0.0035738 | -0.014254 | -0.003572 | 3.1649e-06 | 1.7823e-06 | 0.021274 | 0.021274 | 0.021274 | 0.99727 | -0.052554 | 0.99703 | -0.057214 | 5.8444
51 | 0.014254 | 0.003572 | -0.014252 | -0.0035705 | 2.5352e-06 | 1.4278e-06 | 0.021274 | 0.021274 | 0.021274 | 0.99703 | -0.057214 | 0.99683 | -0.060949 | 5.8444
52 | 0.0093458 | 0.002341 | -0.0093453 | -0.0023408 | 4.8131e-07 | 2.2207e-07 | 0.01395 | 0.01395 | 0.01395 | 0.99683 | -0.060949 | 0.99678 | -0.06203 | 3.8325
53 | -0.0048229 | -0.0012085 | 0.0048233 | 0.0012085 | 4.8125e-07 | -1.6401e-08 | 0.0071905 | 0.0071904 | 0.0071905 | 0.99804 | -0.037683 | 0.99815 | -0.035588 | 1.9754
54 | 0.0063352 | 0.0015862 | -0.0063343 | -0.0015859 | 9.0854e-07 | 2.3406e-07 | 0.0094951 | 0.0094952 | 0.0094952 | 0.99276 | -0.13944 | 0.9926 | -0.14246 | 2.6086
55 | 0.0077271 | 0.0019352 | -0.0077263 | -0.0019349 | 8.1317e-07 | 3.0801e-07 | 0.011535 | 0.011535 | 0.011535 | 0.99678 | -0.06203 | 0.99666 | -0.064241 | 3.1689
56 | 0.0060989 | 0.001527 | -0.0060989 | -0.001527 | 9.5935e-09 | 2.1183e-09 | 0.0091051 | 0.0091051 | 0.0091051 | 0.99666 | -0.064241 | 0.99666 | -0.064274 | 2.5014
57 | 0.0052077 | 0.0013037 | -0.0052072 | -0.0013037 | 4.3964e-07 | 2.8628e-08 | 0.0077745 | 0.0077746 | 0.0077746 | 0.99666 | -0.064274 | 0.99657 | -0.066047 | 2.1359
58 | 0.0052072 | 0.0013037 | -0.005207 | -0.0013036 | 2.1377e-07 | 1.3939e-08 | 0.0077746 | 0.0077747 | 0.0077747 | 0.99657 | -0.066047 | 0.99652 | -0.06691 | 2.1359
59 | 0.00027339 | 6.8414e-05 | -0.00027339 | -6.8517e-05 | 4.9283e-10 | -1.0244e-07 | 0.00040819 | 0.00040822 | 0.00040822 | 0.99652 | -0.06691 | 0.99652 | -0.066948 | 0.11215
60 | 0.0049336 | 0.0012352 | -0.0049333 | -0.0012352 | 2.8329e-07 | -5.1189e-11 | 0.0073665 | 0.0073665 | 0.0073665 | 0.99652 | -0.06691 | 0.99646 | -0.068116 | 2.0238
61 | 0.0008949 | 0.00022417 | -0.0008949 | -0.00022428 | 6.0097e-09 | -1.1305e-07 | 0.0013363 | 0.0013364 | 0.0013364 | 0.99646 | -0.068116 | 0.99645 | -0.068257 | 0.36713
62 | 0.0040384 | 0.0010111 | -0.0040384 | -0.0010111 | 2.1341e-08 | -6.7283e-09 | 0.0060302 | 0.0060302 | 0.0060302 | 0.99646 | -0.068116 | 0.99645 | -0.068227 | 1.6567
63 | 0.0097721 | 0.0024491 | -0.0097707 | -0.0024484 | 1.4714e-06 | 6.9986e-07 | 0.014565 | 0.014565 | 0.014565 | 0.99839 | -0.03088 | 0.99823 | -0.034041 | 4.0013
64 | 0.0073614 | 0.0018446 | -0.0073609 | -0.0018444 | 5.426e-07 | 1.9019e-07 | 0.010973 | 0.010973 | 0.010973 | 0.99823 | -0.034041 | 0.99815 | -0.035588 | 3.0146
65 | 0.00095047 | 0.00023811 | -0.00095046 | -0.00023821 | 6.1205e-09 | -1.0162e-07 | 0.0014193 | 0.0014193 | 0.0014193 | 0.99645 | -0.068227 | 0.99645 | -0.068362 | 0.38993
66 | 0.0030879 | 0.00077297 | -0.0030878 | -0.00077314 | 1.7496e-07 | -1.7386e-07 | 0.0046109 | 0.004611 | 0.004611 | 0.99645 | -0.068227 | 0.99639 | -0.069417 | 1.2668
67 | 0.00026373 | 6.599e-05 | -0.00026373 | -6.6098e-05 | 4.8406e-10 | -1.0808e-07 | 0.00039383 | 0.00039387 | 0.00039387 | 0.99638 | -0.069591 | 0.99638 | -0.069629 | 0.1082
68 | -0.002196 | -0.0005498 | 0.002196 | 0.00054976 | 1.8111e-08 | -4.6903e-08 | 0.0032793 | 0.0032793 | 0.0032793 | 0.99638 | -0.069591 | 0.99639 | -0.069417 | 0.90091
69 | 0.00089178 | 0.00022338 | -0.00089177 | -0.0002235 | 6.1795e-09 | -1.1706e-07 | 0.0013317 | 0.0013318 | 0.0013318 | 0.99639 | -0.069417 | 0.99639 | -0.069563 | 0.36588

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16208 | 0.040376

## res_load
| p_mw | q_mvar
0 | 0.0019944 | 0.00049985
1 | 0.0016312 | 0.00040882
2 | 0.00087979 | 0.0002205
3 | 0.002161 | 0.00054159
4 | 0.0024632 | 0.00061735
5 | 0.0022324 | 0.00055949
6 | 0.0094645 | 0.002372
7 | 0.009482 | 0.0023764
8 | 0.0093821 | 0.0023514
9 | 0.0094612 | 0.0023712
10 | 0.00089993 | 0.00022554
11 | 0.00017294 | 4.3342e-05
12 | 0.0010977 | 0.0002751
13 | 0.0093881 | 0.0023529
14 | 0.0094326 | 0.002364
15 | 0.0068502 | 0.0017168
16 | 0.020196 | 0.0050617
17 | 0.0017369 | 0.00043532
18 | 0.0076298 | 0.0019122
19 | 0.0017503 | 0.00043866
20 | 0.0023708 | 0.00059417
21 | 0.00020761 | 5.2031e-05
22 | 0.00094756 | 0.00023748
23 | 0.0059932 | 0.001502
24 | 0.001736 | 0.00043507
25 | 0.0055462 | 0.00139
26 | 0.0023376 | 0.00058587
27 | 0.0049059 | 0.0012295
28 | 0.0026618 | 0.00066711
29 | 0.0051791 | 0.001298
30 | 0.0016182 | 0.00040556
31 | 0.0016274 | 0.00040786
32 | 0.0008912 | 0.00022335
33 | 0.00027339 | 6.8517e-05
34 | 0.001997 | 0.0005005
35 | 0.0017432 | 0.00043689
36 | 0.0024092 | 0.00060381
37 | 0.0025376 | 0.00063597
38 | 0.0026177 | 0.00065605
39 | 0.0008949 | 0.00022428
40 | 0.0010524 | 0.00026375
41 | 0.00026373 | 6.6098e-05
42 | 0.00089177 | 0.0002235
43 | 0.00095046 | 0.00023821

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1