## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-1_0_6_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_2581-1_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2581-1_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_2581-1_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2581-1_0_6_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_2581-1_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2581-1_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2581-1_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2581-1_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2581-1_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2581-1_0_6_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_2581-1_0_6_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_2581-1_0_6_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_2581-1_0_6_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_2581-1_0_6_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2581-1_0_6_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_2581-1_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2581-1_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2581-1_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2581-1_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2581-1_0_6_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2581-1_0_6_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_2581-1_0_6_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_2581-1_0_6_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_2581-1_0_6_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_2581-1_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_2581-1_0_6_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_2581-1_0_6_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_2581-1_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2581-1_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_2581-1_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2581-1_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2581-1_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2581-1_0_6_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2581-1_0_6_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2581-1_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2581-1_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2581-1_0_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_2581-1_0_6_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_2581-1_0_6_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2581-1_0_6_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_2581-1_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_2581-1_0_6_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_2581-1_0_6_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_2581-1_0_6_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_2581-1_0_6_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_2581-1_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2581-1_0_6_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_2581-1_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_2581-1_0_6_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_2581-1_0_6_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_2581-1_0_6_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_2581-1_0_6_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_2581-1_0_6_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_2581-1_0_6_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_2581-1_0_6_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_2581-1_0_6_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_2581-1_0_6_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_2581-1_0_6_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_2581-1_0_6_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_2581-1_0_6_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_2581-1_0_6_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_2581-1_0_6_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_2581-1_0_6_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_2581-1_0_6_node_34 | 0.4 | n |  | TRUE
69 | bus_LV_2581-1_0_6_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_2581-1_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_2581-1_0_6_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_2581-1_0_6_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_2581-1_0_6_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_2581-1_0_6_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_2581-1_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_2581-1_0_6_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_2581-1_0_6_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_2581-1_0_6_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_2581-1_0_6_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_2581-1_0_6_node_44 | 0.4 | n |  | TRUE
81 | bus_LV_2581-1_0_6_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_2581-1_0_6_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_2581-1_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_2581-1_0_6_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_2581-1_0_6_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_2581-1_0_6_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_2581-1_0_6_node_82 | 0.4 | n |  | TRUE
88 | bus_MV_523_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-1_0_6_load_0 | 0 | 0.0057878 | 0.0014506 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-1_0_6_load_1 | 1 | 0.0025889 | 0.00064883 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-1_0_6_load_2 | 2 | 0.008233 | 0.0020634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-1_0_6_load_3 | 3 | 0.0031546 | 0.00079061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-1_0_6_load_15 | 4 | 0.0026996 | 0.00067657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-1_0_6_load_4 | 5 | 0.0090497 | 0.0022681 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-1_0_6_load_38 | 6 | 0.0054355 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-1_0_6_load_16 | 7 | 0.0028811 | 0.00072207 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-1_0_6_load_73 | 8 | 0.0049121 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-1_0_6_load_5 | 9 | 0.0048535 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-1_0_6_load_6 | 10 | 0.0045486 | 0.00114 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-1_0_6_load_7 | 11 | 0.010191 | 0.0025541 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-1_0_6_load_8 | 12 | 0.0092014 | 0.0023061 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-1_0_6_load_42 | 14 | 0.0063749 | 0.0015977 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-1_0_6_load_29 | 15 | 0.019828 | 0.0049694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-1_0_6_load_79 | 16 | 0.0064855 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-1_0_6_load_43 | 17 | 0.008737 | 0.0021897 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-1_0_6_load_78 | 19 | 0.0062303 | 0.0015615 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-1_0_6_load_10 | 20 | 0.015244 | 0.0038204 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-1_0_6_load_11 | 21 | 0.0071753 | 0.0017983 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-1_0_6_load_12 | 22 | 0.014749 | 0.0036964 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-1_0_6_load_13 | 23 | 0.016021 | 0.0040151 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-1_0_6_load_49 | 26 | 0.010286 | 0.0025779 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-1_0_6_load_53 | 28 | 0.0083747 | 0.0020989 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-1_0_6_load_76 | 30 | 0.019029 | 0.004769 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-1_0_6_load_88 | 31 | 0.0071676 | 0.0017964 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-1_0_6_load_17 | 32 | 0.0073289 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-1_0_6_load_37 | 33 | 0.0052823 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-1_0_6_load_18 | 35 | 0.0039811 | 0.00099775 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-1_0_6_load_19 | 36 | 0.0039758 | 0.00099642 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-1_0_6_load_21 | 38 | 0.0061651 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-1_0_6_load_22 | 39 | 0.0053816 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-1_0_6_load_23 | 40 | 0.012132 | 0.0030405 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-1_0_6_load_58 | 42 | 0.0050794 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-1_0_6_load_59 | 45 | 0.00424 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-1_0_6_load_63 | 46 | 0.0050059 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-1_0_6_load_61 | 47 | 0.011016 | 0.0027609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-1_0_6_load_24 | 48 | 0.014518 | 0.0036386 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-1_0_6_load_25 | 49 | 0.0072903 | 0.0018271 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-1_0_6_load_28 | 50 | 0.0095377 | 0.0023904 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-1_0_6_load_60 | 51 | 0.0078819 | 0.0019754 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-1_0_6_load_93 | 54 | 0.03759 | 0.0094211 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-1_0_6_load_91 | 57 | 0.012925 | 0.0032392 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-1_0_6_load_92 | 58 | 0.016932 | 0.0042435 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-1_0_6_load_86 | 59 | 0.0024537 | 0.00061495 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-1_0_6_load_75 | 61 | 0.016095 | 0.0040337 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-1_0_6_load_30 | 62 | 0.0059564 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-1_0_6_load_33 | 64 | 0.0091013 | 0.002281 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-1_0_6_load_36 | 66 | 0.0053625 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-1_0_6_load_87 | 69 | 0.0049199 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-1_0_6_load_83 | 71 | 0.0057709 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-1_0_6_load_41 | 72 | 0.018849 | 0.0047241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-1_0_6_load_56 | 73 | 0.002899 | 0.00072656 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-1_0_6_load_81 | 74 | 0.0054062 | 0.0013549 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-1_0_6_load_71 | 75 | 0.022887 | 0.005736 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-1_0_6_load_47 | 76 | 0.0069766 | 0.0017485 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-1_0_6_load_46 | 77 | 0.012012 | 0.0030106 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-1_0_6_load_85 | 78 | 0.010526 | 0.002638 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-1_0_6_load_84 | 79 | 0.011347 | 0.0028439 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-1_0_6_load_45 | 82 | 0.012585 | 0.0031542 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2581-1_0_6_load_72 | 83 | 0.0065396 | 0.001639 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2581-1_0_6_load_89 | 84 | 0.010814 | 0.0027103 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2581-1_0_6_load_90 | 85 | 0.014525 | 0.0036404 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2581-1_0_6_load_74 | 86 | 0.019061 | 0.0047771 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2581-1_0_6_load_82 | 87 | 0.0032609 | 0.00081725 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-1_0_6_line_0 |  | 0 | 1 | 0.0056563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-1_0_6_line_1 |  | 0 | 2 | 0.01867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-1_0_6_line_2 |  | 1 | 3 | 0.0058061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-1_0_6_line_3 |  | 3 | 4 | 0.0050368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-1_0_6_line_4 |  | 4 | 7 | 0.0049605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-1_0_6_line_5 |  | 5 | 6 | 0.0083132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-1_0_6_line_6 |  | 6 | 8 | 0.0072683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-1_0_6_line_7 |  | 7 | 32 | 0.01903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-1_0_6_line_8 |  | 8 | 75 | 0.008436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-1_0_6_line_9 |  | 9 | 10 | 0.00075187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2581-1_0_6_line_10 |  | 9 | 11 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2581-1_0_6_line_11 |  | 10 | 12 | 0.0050098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2581-1_0_6_line_12 |  | 11 | 13 | 0.0020184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2581-1_0_6_line_13 |  | 12 | 14 | 0.0040737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2581-1_0_6_line_14 |  | 13 | 15 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2581-1_0_6_line_15 |  | 13 | 16 | 0.0073072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-1_0_6_line_16 |  | 14 | 17 | 0.00018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2581-1_0_6_line_17 |  | 15 | 18 | 0.011427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2581-1_0_6_line_18 |  | 16 | 19 | 0.00087161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-1_0_6_line_19 |  | 17 | 80 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2581-1_0_6_line_20 |  | 18 | 50 | 0.0034183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2581-1_0_6_line_21 |  | 18 | 48 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-1_0_6_line_22 |  | 19 | 60 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-1_0_6_line_23 |  | 20 | 21 | 0.0028933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-1_0_6_line_24 |  | 20 | 22 | 0.0080967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-1_0_6_line_25 |  | 21 | 23 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-1_0_6_line_26 |  | 23 | 24 | 0.015166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-1_0_6_line_27 |  | 24 | 25 | 0.007703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-1_0_6_line_28 |  | 24 | 26 | 0.048927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-1_0_6_line_29 |  | 25 | 84 | 0.010751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-1_0_6_line_30 |  | 26 | 27 | 0.023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-1_0_6_line_31 |  | 27 | 28 | 0.015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-1_0_6_line_32 |  | 28 | 29 | 0.013868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-1_0_6_line_33 |  | 29 | 30 | 0.018506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-1_0_6_line_34 |  | 29 | 31 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2581-1_0_6_line_35 |  | 30 | 86 | 0.0010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-1_0_6_line_36 |  | 31 | 81 | 0.014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2581-1_0_6_line_37 |  | 32 | 33 | 0.0033352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-1_0_6_line_38 |  | 33 | 34 | 0.0042535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-1_0_6_line_39 |  | 34 | 66 | 0.0059494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-1_0_6_line_40 |  | 35 | 36 | 0.0045119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-1_0_6_line_41 |  | 35 | 37 | 0.0063219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-1_0_6_line_42 |  | 36 | 38 | 0.004347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-1_0_6_line_43 |  | 37 | 39 | 0.002284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-1_0_6_line_44 |  | 37 | 40 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2581-1_0_6_line_45 |  | 38 | 41 | 0.0095174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-1_0_6_line_46 |  | 39 | 42 | 0.0074883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-1_0_6_line_47 |  | 40 | 43 | 0.0090807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2581-1_0_6_line_48 |  | 41 | 44 | 0.14347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-1_0_6_line_49 |  | 42 | 45 | 0.0012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-1_0_6_line_50 |  | 43 | 46 | 0.0085053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-1_0_6_line_51 |  | 43 | 47 | 0.0022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2581-1_0_6_line_52 |  | 44 | 59 | 0.017905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-1_0_6_line_53 |  | 45 | 87 | 0.0071042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-1_0_6_line_54 |  | 46 | 79 | 0.008168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-1_0_6_line_55 |  | 47 | 51 | 0.0092871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2581-1_0_6_line_56 |  | 48 | 49 | 0.0011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-1_0_6_line_57 |  | 50 | 51 | 0.0093668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2581-1_0_6_line_58 |  | 52 | 53 | 0.045468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-1_0_6_line_59 |  | 52 | 54 | 0.0058688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-1_0_6_line_60 |  | 53 | 59 | 0.0076669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-1_0_6_line_61 |  | 55 | 56 | 0.048767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-1_0_6_line_62 |  | 55 | 57 | 0.0078541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-1_0_6_line_63 |  | 56 | 58 | 0.031287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-1_0_6_line_64 |  | 57 | 85 | 0.0088893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-1_0_6_line_65 |  | 60 | 61 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-1_0_6_line_66 |  | 62 | 63 | 0.0093548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-1_0_6_line_67 |  | 63 | 64 | 0.010113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-1_0_6_line_68 |  | 63 | 65 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-1_0_6_line_69 |  | 64 | 67 | 0.0025164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2581-1_0_6_line_70 |  | 65 | 69 | 0.0084271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2581-1_0_6_line_71 |  | 65 | 71 | 0.0059144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2581-1_0_6_line_72 |  | 66 | 68 | 0.0094126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2581-1_0_6_line_73 |  | 67 | 72 | 0.012376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2581-1_0_6_line_74 |  | 68 | 69 | 0.0060204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2581-1_0_6_line_75 |  | 68 | 70 | 0.008904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2581-1_0_6_line_76 |  | 70 | 73 | 0.041985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2581-1_0_6_line_77 |  | 71 | 74 | 0.0016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2581-1_0_6_line_78 |  | 74 | 87 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2581-1_0_6_line_79 |  | 75 | 83 | 0.0015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2581-1_0_6_line_80 |  | 76 | 77 | 0.007483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2581-1_0_6_line_81 |  | 77 | 82 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2581-1_0_6_line_82 |  | 78 | 79 | 0.0021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2581-1_0_6_line_83 |  | 80 | 81 | 0.017869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2581-1_0_6_line_84 |  | 80 | 82 | 0.0098597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2581-1_0_6_line_85 |  | 81 | 83 | 0.012152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2581-1_0_6_line_86 |  | 84 | 85 | 0.0082971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-1_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 88 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2635147.1952 | 1244392.3036 | 2635152.725 | 1244391.1141
1 | 2635147.1952 | 1244392.3036 | 2635135.9155 | 1244394.7299 | 2635129.6608 | 1244394.4149 | 2635128.7919 | 1244394.382
2 | 2635158.4013 | 1244389.8931 | 2635152.725 | 1244391.1141
3 | 2635158.4013 | 1244389.8931 | 2635158.4013 | 1244389.8931 | 2635163.4371 | 1244389.9881
4 | 2635163.4371 | 1244389.9881 | 2635166.138 | 1244390.039 | 2635168.3396 | 1244390.5457
5 | 2635112.8654 | 1244420.7843 | 2635113.062 | 1244419.5775 | 2635114.4049 | 1244412.6153
6 | 2635112.8654 | 1244420.7843 | 2635111.6964 | 1244427.958
7 | 2635183.5814 | 1244400.9535 | 2635180.7481 | 1244397.03 | 2635172.386 | 1244391.4769 | 2635168.3396 | 1244390.5457
8 | 2635110.7194 | 1244436.3328 | 2635111.2429 | 1244430.7406 | 2635111.6964 | 1244427.958
9 | 2635125.1291 | 1244473.2392 | 2635125.1291 | 1244473.2392 | 2635125.8698 | 1244473.3686
10 | 2635125.8698 | 1244473.3686 | 2635133.6889 | 1244474.7352 | 2635136.0411 | 1244475.0859
11 | 2635125.1291 | 1244473.2392 | 2635125.268 | 1244471.4722 | 2635125.5883 | 1244468.2507
12 | 2635138.0374 | 1244475.3836 | 2635136.0411 | 1244475.0859
13 | 2635125.5883 | 1244468.2507 | 2635125.9913 | 1244464.197
14 | 2635138.0374 | 1244475.3836 | 2635150.1848 | 1244476.1666
15 | 2635138.0374 | 1244475.3836 | 2635137.0969 | 1244477.2681 | 2635135.0266 | 1244482.0393
16 | 2635126.0096 | 1244464.0131 | 2635125.9913 | 1244464.197
17 | 2635161.5885 | 1244476.9017 | 2635150.1848 | 1244476.1666
18 | 2635135.0266 | 1244482.0393 | 2635134.6796 | 1244482.8389
19 | 2635127.2357 | 1244451.8044 | 2635126.7704 | 1244456.3602 | 2635126.0096 | 1244464.0131
20 | 2635161.5885 | 1244476.9017 | 2635164.9771 | 1244476.4521
21 | 2635161.5885 | 1244476.9017 | 2635161.4957 | 1244482.3491 | 2635161.4014 | 1244487.8299
22 | 2635130.815 | 1244494.3198 | 2635131.7287 | 1244489.3108 | 2635132.5158 | 1244487.8256 | 2635134.6796 | 1244482.8389
23 | 2635030.6021 | 1244526.0889 | 2635033.4749 | 1244526.4326
24 | 2635030.6021 | 1244526.0889 | 2635022.5627 | 1244525.1272
25 | 2635044.0298 | 1244527.638 | 2635038.0674 | 1244526.982 | 2635033.4749 | 1244526.4326
26 | 2635059.105 | 1244529.2966 | 2635044.0298 | 1244527.638
27 | 2635059.105 | 1244529.2966 | 2635059.4222 | 1244536.9923
28 | 2635059.105 | 1244529.2966 | 2635058.8266 | 1244521.412 | 2635057.6586 | 1244480.3906
29 | 2635059.4222 | 1244536.9923 | 2635059.6403 | 1244542.2859 | 2635059.8642 | 1244547.7339
30 | 2635053.5975 | 1244457.4842 | 2635055.9134 | 1244461.9674 | 2635057.4999 | 1244474.8184 | 2635057.6586 | 1244480.3906
31 | 2635053.5975 | 1244457.4842 | 2635063.8254 | 1244455.4655 | 2635068.4946 | 1244454.673
32 | 2635082.1528 | 1244452.2716 | 2635074.2709 | 1244453.6926 | 2635068.4946 | 1244454.673
33 | 2635082.1528 | 1244452.2716 | 2635085.5695 | 1244457.1616 | 2635087.6998 | 1244462.3776 | 2635091.8526 | 1244467.8957
34 | 2635082.1528 | 1244452.2716 | 2635095.1092 | 1244450.1356 | 2635095.1099 | 1244450.1356
35 | 2635092.4562 | 1244468.6978 | 2635091.8526 | 1244467.8957
36 | 2635109.4443 | 1244449.9536 | 2635105.296 | 1244449.9513 | 2635095.1099 | 1244450.1356
37 | 2635183.5814 | 1244400.9535 | 2635185.534 | 1244403.6574
38 | 2635187.6391 | 1244407.2886 | 2635187.336 | 1244406.1528 | 2635185.534 | 1244403.6574
39 | 2635187.6391 | 1244407.2886 | 2635191.0286 | 1244412.1781
40 | 2635209.4671 | 1244470.8596 | 2635211.1553 | 1244475.0438
41 | 2635207.1017 | 1244464.9969 | 2635209.4671 | 1244470.8596
42 | 2635212.4546 | 1244479.1907 | 2635211.3016 | 1244475.4063 | 2635211.1553 | 1244475.0438
43 | 2635207.1017 | 1244464.9969 | 2635206.6031 | 1244463.7042 | 2635206.3555 | 1244462.8405
44 | 2635207.1017 | 1244464.9969 | 2635196.5605 | 1244468.8703 | 2635194.1066 | 1244469.5214
45 | 2635213.8383 | 1244488.5076 | 2635213.7994 | 1244483.6042 | 2635212.4546 | 1244479.1907
46 | 2635206.3555 | 1244462.8405 | 2635204.2926 | 1244455.642
47 | 2635185.3295 | 1244471.8501 | 2635194.1066 | 1244469.5214
48 | 2635188.3238 | 1244537.7884 | 2635189.2963 | 1244545.8215 | 2635190.1608 | 1244552.9424 | 2635190.9676 | 1244559.5959 | 2635191.8685 | 1244566.9616 | 2635192.9923 | 1244576.2187 | 2635194.8493 | 1244576.5188 | 2635207.6051 | 1244575.0268 | 2635207.4018 | 1244571.1008 | 2635203.16 | 1244525.7018 | 2635202.5014 | 1244506.7967 | 2635207.2219 | 1244499.4977 | 2635212.3581 | 1244492.1901 | 2635213.8383 | 1244488.5076
49 | 2635203.9897 | 1244454.3984 | 2635204.1231 | 1244455.0506 | 2635204.2926 | 1244455.642
50 | 2635185.3295 | 1244471.8501 | 2635181.85 | 1244464.0891
51 | 2635185.3295 | 1244471.8501 | 2635183.1468 | 1244472.5148
52 | 2635188.3238 | 1244537.7884 | 2635186.8759 | 1244525.8387 | 2635186.3153 | 1244524.8125 | 2635185.4862 | 1244524.4518 | 2635181.7296 | 1244523.9179
53 | 2635202.5664 | 1244447.4382 | 2635203.9897 | 1244454.3984
54 | 2635178.3015 | 1244456.7343 | 2635180.6015 | 1244461.3042 | 2635181.85 | 1244464.0891
55 | 2635183.1468 | 1244472.5148 | 2635174.2625 | 1244475.2201 | 2635174.2625 | 1244475.2201
56 | 2635161.4014 | 1244487.8299 | 2635161.3811 | 1244489.0119
57 | 2635164.9771 | 1244476.4521 | 2635174.2625 | 1244475.2201
58 | 2635155.0637 | 1244554.102 | 2635156.1606 | 1244547.5042 | 2635157.2496 | 1244540.9731 | 2635157.4064 | 1244540.0178 | 2635158.5957 | 1244533.1315 | 2635160.2547 | 1244523.4795 | 2635163.3629 | 1244521.7524 | 2635166.5364 | 1244521.76 | 2635174.139 | 1244522.8391
59 | 2635155.0637 | 1244554.102 | 2635154.1019 | 1244559.8914
60 | 2635174.139 | 1244522.8391 | 2635181.7296 | 1244523.9179
61 | 2635061.0245 | 1244572.7472 | 2635069.6968 | 1244573.0875 | 2635082.6297 | 1244573.5864 | 2635109.9008 | 1244574.626
62 | 2635061.0245 | 1244572.7472 | 2635060.6166 | 1244564.9036
63 | 2635109.9008 | 1244574.626 | 2635114.8661 | 1244543.7355
64 | 2635060.2049 | 1244556.024 | 2635060.3934 | 1244560.6133 | 2635060.6166 | 1244564.9036
65 | 2635130.815 | 1244494.3198 | 2635121.0731 | 1244488.5843
66 | 2635188.7402 | 1244430.588 | 2635184.0983 | 1244422.4661
67 | 2635188.7402 | 1244430.588 | 2635186.2009 | 1244433.1969 | 2635182.0018 | 1244435.3957 | 2635180.414 | 1244436.0889
68 | 2635197.8792 | 1244429.9751 | 2635195.8099 | 1244431.0635 | 2635190.0132 | 1244433.8088 | 2635188.7402 | 1244430.588
69 | 2635178.1078 | 1244437.0959 | 2635180.414 | 1244436.0889
70 | 2635197.8792 | 1244429.9751 | 2635200.1071 | 1244428.8987 | 2635199.2592 | 1244423.0066
71 | 2635197.8792 | 1244429.9751 | 2635199.805 | 1244435.5672
72 | 2635198.4017 | 1244417.0476 | 2635193.5054 | 1244415.7511 | 2635191.0286 | 1244412.1781
73 | 2635178.1078 | 1244437.0959 | 2635174.1024 | 1244426.999 | 2635173.494 | 1244425.6125
74 | 2635198.4017 | 1244417.0476 | 2635199.2592 | 1244423.0066
75 | 2635205.7085 | 1244411.9654 | 2635201.1994 | 1244415.452 | 2635198.4017 | 1244417.0476
76 | 2635205.7085 | 1244411.9654 | 2635198.901 | 1244395.292 | 2635194.2001 | 1244382.7004 | 2635189.5998 | 1244374.8014 | 2635188.7452 | 1244373.7003
77 | 2635200.3053 | 1244437.1802 | 2635200.2043 | 1244436.7266 | 2635199.805 | 1244435.5672
78 | 2635200.3053 | 1244437.1802 | 2635202.3019 | 1244446.1451 | 2635202.5664 | 1244447.4382
79 | 2635110.7194 | 1244436.3328 | 2635110.577 | 1244437.8544
80 | 2635155.6 | 1244446.9887 | 2635148.3203 | 1244448.7209
81 | 2635137.0587 | 1244450.9554 | 2635139.997 | 1244450.7014 | 2635148.3203 | 1244448.7209
82 | 2635178.3015 | 1244456.7343 | 2635177.3235 | 1244454.7911
83 | 2635109.4443 | 1244449.9536 | 2635120.1038 | 1244451.6065 | 2635127.2357 | 1244451.8044
84 | 2635127.2357 | 1244451.8044 | 2635137.0587 | 1244450.9554
85 | 2635109.4443 | 1244449.9536 | 2635110.577 | 1244437.8544
86 | 2635059.8642 | 1244547.7339 | 2635060.2049 | 1244556.024

## bus_geodata
| x | y | coords
0 | 2635147.1952 | 1244392.3036
1 | 2635152.725 | 1244391.1141
2 | 2635128.7919 | 1244394.382
3 | 2635158.4013 | 1244389.8931
4 | 2635163.4371 | 1244389.9881
5 | 2635114.4049 | 1244412.6153
6 | 2635112.8654 | 1244420.7843
7 | 2635168.3396 | 1244390.5457
8 | 2635111.6964 | 1244427.958
9 | 2635125.8698 | 1244473.3686
10 | 2635125.1291 | 1244473.2392
11 | 2635136.0411 | 1244475.0859
12 | 2635125.5883 | 1244468.2507
13 | 2635138.0374 | 1244475.3836
14 | 2635125.9913 | 1244464.197
15 | 2635150.1848 | 1244476.1666
16 | 2635135.0266 | 1244482.0393
17 | 2635126.0096 | 1244464.0131
18 | 2635161.5885 | 1244476.9017
19 | 2635134.6796 | 1244482.8389
20 | 2635030.6021 | 1244526.0889
21 | 2635033.4749 | 1244526.4326
22 | 2635022.5627 | 1244525.1272
23 | 2635044.0298 | 1244527.638
24 | 2635059.105 | 1244529.2965
25 | 2635059.4222 | 1244536.9923
26 | 2635057.6586 | 1244480.3906
27 | 2635053.5975 | 1244457.4842
28 | 2635068.4946 | 1244454.673
29 | 2635082.1528 | 1244452.2716
30 | 2635091.8526 | 1244467.8957
31 | 2635095.1099 | 1244450.1356
32 | 2635183.5814 | 1244400.9535
33 | 2635185.534 | 1244403.6574
34 | 2635187.6391 | 1244407.2886
35 | 2635209.4671 | 1244470.8596
36 | 2635211.1553 | 1244475.0438
37 | 2635207.1017 | 1244464.9969
38 | 2635212.4546 | 1244479.1907
39 | 2635206.3555 | 1244462.8405
40 | 2635194.1066 | 1244469.5214
41 | 2635213.8383 | 1244488.5076
42 | 2635204.2926 | 1244455.642
43 | 2635185.3295 | 1244471.8501
44 | 2635188.3238 | 1244537.7884
45 | 2635203.9897 | 1244454.3984
46 | 2635181.85 | 1244464.0891
47 | 2635183.1468 | 1244472.5148
48 | 2635161.4014 | 1244487.8299
49 | 2635161.3811 | 1244489.0119
50 | 2635164.9771 | 1244476.4521
51 | 2635174.2625 | 1244475.2201
52 | 2635155.0637 | 1244554.102
53 | 2635174.139 | 1244522.8391
54 | 2635154.1019 | 1244559.8914
55 | 2635061.0245 | 1244572.7472
56 | 2635109.9008 | 1244574.626
57 | 2635060.6166 | 1244564.9036
58 | 2635114.8661 | 1244543.7355
59 | 2635181.7296 | 1244523.9179
60 | 2635130.815 | 1244494.3198
61 | 2635121.0731 | 1244488.5843
62 | 2635184.0983 | 1244422.4661
63 | 2635188.7402 | 1244430.588
64 | 2635180.414 | 1244436.0889
65 | 2635197.8792 | 1244429.9751
66 | 2635191.0286 | 1244412.1781
67 | 2635178.1078 | 1244437.0959
68 | 2635198.4017 | 1244417.0476
69 | 2635199.2592 | 1244423.0066
70 | 2635205.7085 | 1244411.9654
71 | 2635199.805 | 1244435.5672
72 | 2635173.494 | 1244425.6125
73 | 2635188.7452 | 1244373.7003
74 | 2635200.3053 | 1244437.1802
75 | 2635110.7194 | 1244436.3328
76 | 2635155.6 | 1244446.9887
77 | 2635148.3203 | 1244448.7209
78 | 2635177.3235 | 1244454.7911
79 | 2635178.3015 | 1244456.7343
80 | 2635127.2357 | 1244451.8044
81 | 2635109.4443 | 1244449.9536
82 | 2635137.0587 | 1244450.9554
83 | 2635110.577 | 1244437.8544
84 | 2635059.8642 | 1244547.7339
85 | 2635060.2049 | 1244556.024
86 | 2635092.4562 | 1244468.6978
87 | 2635202.5664 | 1244447.4382
88 | 2635138.0374 | 1244475.3836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98911 | -0.20956 | 0.0057878 | 0.0014506
1 | 0.98919 | -0.20815 | 0.0025889 | 0.00064883
2 | 0.98897 | -0.2123 | 0.008233 | 0.0020634
3 | 0.98927 | -0.20643 | 0.0031546 | 0.00079061
4 | 0.98937 | -0.20466 | 0.0026996 | 0.00067657
5 | 0.99519 | -0.091962 | 0.0090497 | 0.0022681
6 | 0.99526 | -0.090638 | 0.0054355 | 0.0013623
7 | 0.98947 | -0.20268 | 0.0028811 | 0.00072207
8 | 0.99535 | -0.088785 | 0.0049121 | 0.0012311
9 | 0.9991 | -0.017182 | 0.0048535 | 0.0012164
10 | 0.99903 | -0.018415 | 0.0045486 | 0.00114
11 | 1 | 0 | -0.59875 | -0.15136
12 | 0.99861 | -0.026497 | 0.0092014 | 0.0023061
13 | 0.99981 | -0.0035921 | 0 | 0
14 | 0.99828 | -0.032856 | 0.0063749 | 0.0015977
15 | 0.99878 | -0.023241 | 0.019828 | 0.0049694
16 | 0.99962 | -0.0072635 | 0.0064855 | 0.0016254
17 | 0.99826 | -0.033137 | 0.008737 | 0.0021897
18 | 0.99789 | -0.040402 | 0 | 0
19 | 0.9996 | -0.007603 | 0.0062303 | 0.0015615
20 | 0.98239 | -0.33897 | 0.015244 | 0.0038204
21 | 0.98247 | -0.33741 | 0.0071753 | 0.0017983
22 | 0.98228 | -0.34113 | 0.014749 | 0.0036964
23 | 0.98284 | -0.33028 | 0.016021 | 0.0040151
24 | 0.98358 | -0.31574 | 0 | 0
25 | 0.98319 | -0.3234 | 0 | 0
26 | 0.98848 | -0.22067 | 0.010286 | 0.0025779
27 | 0.99106 | -0.1709 | 0 | 0
28 | 0.99272 | -0.13902 | 0.0083747 | 0.0020989
29 | 0.99435 | -0.10791 | 0 | 0
30 | 0.9937 | -0.12035 | 0.019029 | 0.004769
31 | 0.99535 | -0.088818 | 0.0071676 | 0.0017964
32 | 0.98991 | -0.19409 | 0.0073289 | 0.0018368
33 | 0.99001 | -0.19215 | 0.0052823 | 0.0013239
34 | 0.99016 | -0.18928 | 0 | 0
35 | 0.99435 | -0.10815 | 0.0039811 | 0.00099775
36 | 0.99415 | -0.11214 | 0.0039758 | 0.00099642
37 | 0.99467 | -0.10212 | 0 | 0
38 | 0.99396 | -0.11569 | 0.0061651 | 0.0015451
39 | 0.99443 | -0.10671 | 0.0053816 | 0.0013488
40 | 0.99573 | -0.081718 | 0.012132 | 0.0030405
41 | 0.99361 | -0.12242 | 0 | 0
42 | 0.99368 | -0.12108 | 0.0050794 | 0.001273
43 | 0.99623 | -0.072119 | 0 | 0
44 | 0.98832 | -0.2244 | 0 | 0
45 | 0.99356 | -0.12343 | 0.00424 | 0.0010626
46 | 0.99602 | -0.076134 | 0.0050059 | 0.0012546
47 | 0.99638 | -0.069349 | 0.011016 | 0.0027609
48 | 0.99767 | -0.044576 | 0.014518 | 0.0036386
49 | 0.99766 | -0.044726 | 0.0072903 | 0.0018271
50 | 0.99764 | -0.045107 | 0.0095377 | 0.0023904
51 | 0.99699 | -0.057487 | 0.0078819 | 0.0019754
52 | 0.98583 | -0.27296 | 0 | 0
53 | 0.9874 | -0.24235 | 0 | 0
54 | 0.98562 | -0.27692 | 0.03759 | 0.0094211
55 | 0.98193 | -0.34796 | 0 | 0
56 | 0.98117 | -0.36289 | 0 | 0
57 | 0.98205 | -0.34555 | 0.012925 | 0.0032392
58 | 0.98068 | -0.37249 | 0.016932 | 0.0042435
59 | 0.98766 | -0.2372 | 0.0024537 | 0.00061495
60 | 0.99942 | -0.011031 | 0 | 0
61 | 0.99926 | -0.014207 | 0.016095 | 0.0040337
62 | 0.99096 | -0.17376 | 0.0059564 | 0.0014928
63 | 0.99101 | -0.17278 | 0 | 0
64 | 0.99075 | -0.17779 | 0.0091013 | 0.002281
65 | 0.99139 | -0.16544 | 0 | 0
66 | 0.99037 | -0.18527 | 0.0053625 | 0.001344
67 | 0.99071 | -0.17864 | 0 | 0
68 | 0.99074 | -0.17803 | 0 | 0
69 | 0.99099 | -0.17309 | 0.0049199 | 0.001233
70 | 0.99072 | -0.17849 | 0 | 0
71 | 0.99185 | -0.15652 | 0.0057709 | 0.0014463
72 | 0.99049 | -0.18278 | 0.018849 | 0.0047241
73 | 0.9906 | -0.18065 | 0.002899 | 0.00072656
74 | 0.99199 | -0.1538 | 0.0054062 | 0.0013549
75 | 0.9955 | -0.085907 | 0.022887 | 0.005736
76 | 0.99678 | -0.061437 | 0.0069766 | 0.0017485
77 | 0.99683 | -0.060521 | 0.012012 | 0.0030106
78 | 0.99584 | -0.079676 | 0.010526 | 0.002638
79 | 0.99586 | -0.079274 | 0.011347 | 0.0028439
80 | 0.99731 | -0.051233 | 0 | 0
81 | 0.9961 | -0.074342 | 0 | 0
82 | 0.99703 | -0.05669 | 0.012585 | 0.0031542
83 | 0.99556 | -0.08477 | 0.0065396 | 0.001639
84 | 0.98264 | -0.33411 | 0.010814 | 0.0027103
85 | 0.9823 | -0.34076 | 0.014525 | 0.0036404
86 | 0.99369 | -0.12068 | 0.019061 | 0.0047771
87 | 0.99292 | -0.13592 | 0.0032609 | 0.00081725
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014022 | -0.0035144 | 0.014023 | 0.0035149 | 9.4384e-07 | 5.3145e-07 | 0.021094 | 0.021094 | 0.021094 | 0.98911 | -0.20956 | 0.98919 | -0.20815 | 5.7952
1 | 0.008234 | 0.0020638 | -0.008233 | -0.0020634 | 1.0743e-06 | 4.4796e-07 | 0.012387 | 0.012387 | 0.012387 | 0.98911 | -0.20956 | 0.98897 | -0.2123 | 3.4031
2 | -0.016612 | -0.0041638 | 0.016613 | 0.0041646 | 1.3596e-06 | 7.956e-07 | 0.024989 | 0.024989 | 0.024989 | 0.98919 | -0.20815 | 0.98927 | -0.20643 | 6.8651
3 | -0.019768 | -0.0049552 | 0.019769 | 0.0049562 | 1.6699e-06 | 1.004e-06 | 0.029734 | 0.029734 | 0.029734 | 0.98927 | -0.20643 | 0.98937 | -0.20466 | 8.1686
4 | -0.022469 | -0.0056327 | 0.022471 | 0.005634 | 2.1244e-06 | 1.2959e-06 | 0.033794 | 0.033794 | 0.033794 | 0.98937 | -0.20466 | 0.98947 | -0.20268 | 9.284
5 | -0.0090497 | -0.0022681 | 0.0090503 | 0.0022683 | 5.7079e-07 | 2.5728e-07 | 0.013531 | 0.013531 | 0.013531 | 0.99519 | -0.091962 | 0.99526 | -0.090638 | 3.7174
6 | -0.014486 | -0.0036306 | 0.014487 | 0.0036313 | 1.2785e-06 | 7.2376e-07 | 0.021658 | 0.021658 | 0.021658 | 0.99526 | -0.090638 | 0.99535 | -0.088785 | 5.95
7 | -0.025352 | -0.0063561 | 0.025362 | 0.0063625 | 1.0373e-05 | 6.3945e-06 | 0.038127 | 0.038127 | 0.038127 | 0.98947 | -0.20268 | 0.98991 | -0.19409 | 10.4744
8 | -0.019399 | -0.0048624 | 0.019402 | 0.004864 | 2.6607e-06 | 1.5932e-06 | 0.029001 | 0.029001 | 0.029001 | 0.99535 | -0.088785 | 0.9955 | -0.085907 | 7.9674
9 | 0.28388 | 0.072045 | -0.28387 | -0.072034 | 1.6826e-05 | 1.0739e-05 | 0.42312 | 0.42312 | 0.42312 | 0.9991 | -0.017182 | 0.99903 | -0.018415 | 38.7474
10 | -0.28874 | -0.073261 | 0.28898 | 0.073414 | 0.00023881 | 0.00015244 | 0.43035 | 0.43035 | 0.43035 | 0.9991 | -0.017182 | 1 | 0 | 39.4094
11 | 0.27932 | 0.070894 | -0.27921 | -0.070825 | 0.00010855 | 6.9277e-05 | 0.41635 | 0.41635 | 0.41635 | 0.99903 | -0.018415 | 0.99861 | -0.026497 | 38.127
12 | 0.30813 | 0.077948 | -0.30807 | -0.077914 | 5.3097e-05 | 3.3903e-05 | 0.45875 | 0.45875 | 0.45875 | 1 | 0 | 0.99981 | -0.0035921 | 42.0104
13 | 0.27001 | 0.068519 | -0.26993 | -0.068466 | 8.2552e-05 | 5.2673e-05 | 0.40264 | 0.40264 | 0.40264 | 0.99861 | -0.026497 | 0.99828 | -0.032856 | 36.8714
14 | 0.27925 | 0.070687 | -0.27899 | -0.070519 | 0.00026314 | 0.00016793 | 0.41586 | 0.41586 | 0.41586 | 0.99981 | -0.0035921 | 0.99878 | -0.023241 | 38.0823
15 | 0.028821 | 0.0072268 | -0.028816 | -0.0072237 | 5.042e-06 | 3.131e-06 | 0.042895 | 0.042895 | 0.042895 | 0.99981 | -0.0035921 | 0.99962 | -0.0072635 | 11.7844
16 | 0.26355 | 0.066868 | -0.26355 | -0.066866 | 3.5698e-06 | 2.2774e-06 | 0.39313 | 0.39313 | 0.39313 | 0.99828 | -0.032856 | 0.99826 | -0.033137 | 36.0013
17 | 0.25916 | 0.06555 | -0.25895 | -0.065414 | 0.00021318 | 0.00013599 | 0.38632 | 0.38632 | 0.38632 | 0.99878 | -0.023241 | 0.99789 | -0.040402 | 35.3772
18 | 0.02233 | 0.0055983 | -0.02233 | -0.0055981 | 3.6116e-07 | 2.1972e-07 | 0.033241 | 0.033241 | 0.033241 | 0.99962 | -0.0072635 | 0.9996 | -0.007603 | 9.1322
19 | 0.25481 | 0.064676 | -0.25459 | -0.064535 | 0.0002216 | 0.00014135 | 0.38011 | 0.38011 | 0.38011 | 0.99826 | -0.033137 | 0.99731 | -0.051233 | 34.8087
20 | 0.23714 | 0.059946 | -0.23708 | -0.059912 | 5.3484e-05 | 3.4096e-05 | 0.35379 | 0.35379 | 0.35379 | 0.99789 | -0.040402 | 0.99764 | -0.045107 | 32.3985
21 | 0.021813 | 0.0054684 | -0.021809 | -0.0054657 | 4.3365e-06 | 2.6326e-06 | 0.032527 | 0.032527 | 0.032527 | 0.99789 | -0.040402 | 0.99767 | -0.044576 | 8.9361
22 | 0.0161 | 0.0040366 | -0.016097 | -0.0040351 | 2.6297e-06 | 1.523e-06 | 0.023967 | 0.023967 | 0.023967 | 0.9996 | -0.007603 | 0.99942 | -0.011031 | 6.5842
23 | -0.029994 | -0.0075177 | 0.029996 | 0.0075191 | 2.2395e-06 | 1.3966e-06 | 0.045432 | 0.045432 | 0.045432 | 0.98239 | -0.33897 | 0.98247 | -0.33741 | 12.4813
24 | 0.014751 | 0.0036973 | -0.014749 | -0.0036964 | 1.5157e-06 | 8.6754e-07 | 0.022343 | 0.022343 | 0.022343 | 0.98239 | -0.33897 | 0.98228 | -0.34113 | 6.1381
25 | -0.037172 | -0.0093174 | 0.037184 | 0.0093254 | 1.2627e-05 | 7.9469e-06 | 0.056299 | 0.056299 | 0.056299 | 0.98247 | -0.33741 | 0.98284 | -0.33028 | 15.4669
26 | -0.053205 | -0.01334 | 0.053242 | 0.013364 | 3.6905e-05 | 2.3427e-05 | 0.080554 | 0.080554 | 0.080554 | 0.98284 | -0.33028 | 0.98358 | -0.31574 | 22.1303
27 | 0.055287 | 0.01389 | -0.055267 | -0.013877 | 2.0214e-05 | 1.2839e-05 | 0.083653 | 0.083653 | 0.083653 | 0.98358 | -0.31574 | 0.98319 | -0.3234 | 22.9817
28 | -0.10853 | -0.027254 | 0.10902 | 0.02757 | 0.00049473 | 0.000316 | 0.16421 | 0.16421 | 0.16421 | 0.98358 | -0.31574 | 0.98848 | -0.22067 | 45.112
29 | 0.055267 | 0.013877 | -0.055238 | -0.013859 | 2.8212e-05 | 1.7919e-05 | 0.083653 | 0.083653 | 0.083653 | 0.98319 | -0.3234 | 0.98264 | -0.33411 | 22.9817
30 | -0.11931 | -0.030148 | 0.11959 | 0.03033 | 0.00028538 | 0.00018234 | 0.17969 | 0.17969 | 0.17969 | 0.98848 | -0.22067 | 0.99106 | -0.1709 | 49.3657
31 | -0.11959 | -0.03033 | 0.11978 | 0.030448 | 0.00018358 | 0.00011729 | 0.17969 | 0.17969 | 0.17969 | 0.99106 | -0.1709 | 0.99272 | -0.13902 | 49.3657
32 | -0.12815 | -0.032546 | 0.12835 | 0.032669 | 0.0001922 | 0.00012283 | 0.19224 | 0.19224 | 0.19224 | 0.99272 | -0.13902 | 0.99435 | -0.10791 | 52.8143
33 | 0.038113 | 0.0095606 | -0.03809 | -0.0095463 | 2.2577e-05 | 1.4209e-05 | 0.057038 | 0.057038 | 0.057038 | 0.99435 | -0.10791 | 0.9937 | -0.12035 | 15.6697
34 | -0.16646 | -0.04223 | 0.16661 | 0.042327 | 0.00015301 | 9.7583e-05 | 0.24928 | 0.24928 | 0.24928 | 0.99435 | -0.10791 | 0.99535 | -0.088818 | 34.2419
35 | 0.019061 | 0.0047773 | -0.019061 | -0.0047771 | 3.0668e-07 | 1.8327e-07 | 0.028543 | 0.028543 | 0.028543 | 0.9937 | -0.12035 | 0.99369 | -0.12068 | 7.8415
36 | -0.17378 | -0.044124 | 0.1739 | 0.044201 | 0.00012114 | 7.6968e-05 | 0.26 | 0.26 | 0.26 | 0.99535 | -0.088818 | 0.9961 | -0.074342 | 23.8092
37 | -0.032691 | -0.0081993 | 0.032694 | 0.0082012 | 3.0205e-06 | 1.8902e-06 | 0.049143 | 0.049143 | 0.049143 | 0.98991 | -0.19409 | 0.99001 | -0.19215 | 13.5009
38 | -0.037977 | -0.0095251 | 0.037982 | 0.0095283 | 5.1975e-06 | 3.2717e-06 | 0.057083 | 0.057083 | 0.057083 | 0.99001 | -0.19215 | 0.99016 | -0.18928 | 15.6821
39 | -0.037982 | -0.0095283 | 0.037989 | 0.0095329 | 7.2697e-06 | 4.5761e-06 | 0.057083 | 0.057083 | 0.057083 | 0.99016 | -0.18928 | 0.99037 | -0.18527 | 15.6821
40 | 0.050508 | 0.012781 | -0.050498 | -0.012775 | 9.6772e-06 | 6.1349e-06 | 0.075627 | 0.075627 | 0.075627 | 0.99435 | -0.10815 | 0.99415 | -0.11214 | 20.7767
41 | -0.054489 | -0.013779 | 0.054505 | 0.013789 | 1.578e-05 | 1.0017e-05 | 0.081585 | 0.081585 | 0.081585 | 0.99435 | -0.10815 | 0.99467 | -0.10212 | 22.4133
42 | 0.046523 | 0.011779 | -0.046515 | -0.011774 | 7.914e-06 | 5.0086e-06 | 0.069676 | 0.069676 | 0.069676 | 0.99415 | -0.11214 | 0.99396 | -0.11569 | 19.1418
43 | 0.11459 | 0.028872 | -0.11456 | -0.028856 | 2.5184e-05 | 1.6088e-05 | 0.17148 | 0.17148 | 0.17148 | 0.99467 | -0.10212 | 0.99443 | -0.10671 | 47.1085
44 | -0.16909 | -0.042661 | 0.16926 | 0.042766 | 0.00016533 | 0.00010545 | 0.25306 | 0.25306 | 0.25306 | 0.99467 | -0.10212 | 0.99573 | -0.081718 | 34.7609
45 | 0.04035 | 0.010229 | -0.040337 | -0.01022 | 1.3041e-05 | 8.2226e-06 | 0.060447 | 0.060447 | 0.060447 | 0.99396 | -0.11569 | 0.99361 | -0.12242 | 16.6063
46 | 0.10918 | 0.027507 | -0.1091 | -0.027459 | 7.4996e-05 | 4.79e-05 | 0.16342 | 0.16342 | 0.16342 | 0.99443 | -0.10671 | 0.99368 | -0.12108 | 44.8962
47 | -0.18139 | -0.045807 | 0.18147 | 0.04586 | 8.3478e-05 | 5.3072e-05 | 0.27119 | 0.27119 | 0.27119 | 0.99573 | -0.081718 | 0.99623 | -0.072119 | 24.8342
48 | 0.040337 | 0.01022 | -0.04014 | -0.010096 | 0.00019659 | 0.00012397 | 0.060447 | 0.060447 | 0.060447 | 0.99361 | -0.12242 | 0.98832 | -0.2244 | 16.6064
49 | 0.10403 | 0.026186 | -0.10401 | -0.026179 | 1.1662e-05 | 7.4471e-06 | 0.15582 | 0.15582 | 0.15582 | 0.99368 | -0.12108 | 0.99356 | -0.12343 | 42.8066
50 | 0.026887 | 0.0067417 | -0.026882 | -0.0067385 | 5.1444e-06 | 3.1817e-06 | 0.040161 | 0.040161 | 0.040161 | 0.99623 | -0.072119 | 0.99602 | -0.076134 | 11.0333
51 | -0.20836 | -0.052602 | 0.20839 | 0.052619 | 2.7648e-05 | 1.7606e-05 | 0.31135 | 0.31135 | 0.31135 | 0.99623 | -0.072119 | 0.99638 | -0.069349 | 28.5119
52 | 0.04014 | 0.010096 | -0.040115 | -0.010081 | 2.4533e-05 | 1.5472e-05 | 0.060447 | 0.060447 | 0.060447 | 0.98832 | -0.2244 | 0.98766 | -0.2372 | 16.6065
53 | 0.099774 | 0.025116 | -0.099714 | -0.025078 | 5.9516e-05 | 3.7998e-05 | 0.14947 | 0.14947 | 0.14947 | 0.99356 | -0.12343 | 0.99292 | -0.13592 | 41.0621
54 | 0.021876 | 0.0054839 | -0.021873 | -0.0054819 | 3.2718e-06 | 1.9876e-06 | 0.032682 | 0.032683 | 0.032683 | 0.99602 | -0.076134 | 0.99586 | -0.079274 | 8.9787
55 | -0.2194 | -0.05538 | 0.21953 | 0.05546 | 0.00012474 | 7.9472e-05 | 0.3278 | 0.3278 | 0.3278 | 0.99638 | -0.069349 | 0.99699 | -0.057487 | 30.0185
56 | 0.0072903 | 0.0018271 | -0.0072903 | -0.0018271 | 5.2414e-08 | 1.8108e-08 | 0.010873 | 0.010873 | 0.010873 | 0.99767 | -0.044576 | 0.99766 | -0.044726 | 2.9872
57 | 0.22754 | 0.057521 | -0.22741 | -0.057435 | 0.000135 | 8.6036e-05 | 0.33957 | 0.33957 | 0.33957 | 0.99764 | -0.045107 | 0.99699 | -0.057487 | 31.0958
58 | -0.037598 | -0.0094255 | 0.037652 | 0.0094601 | 5.4913e-05 | 3.4564e-05 | 0.056751 | 0.056751 | 0.056751 | 0.98583 | -0.27296 | 0.9874 | -0.24235 | 15.5909
59 | 0.037598 | 0.0094255 | -0.03759 | -0.0094211 | 7.0881e-06 | 4.4615e-06 | 0.056751 | 0.056751 | 0.056751 | 0.98583 | -0.27296 | 0.98562 | -0.27692 | 15.5909
60 | -0.037652 | -0.0094601 | 0.037662 | 0.0094659 | 9.2597e-06 | 5.8281e-06 | 0.056751 | 0.056751 | 0.056751 | 0.9874 | -0.24235 | 0.98766 | -0.2372 | 15.5909
61 | 0.016951 | 0.0042551 | -0.016939 | -0.004248 | 1.207e-05 | 7.1084e-06 | 0.025691 | 0.025691 | 0.025691 | 0.98193 | -0.34796 | 0.98117 | -0.36289 | 7.0579
62 | -0.016951 | -0.0042551 | 0.016953 | 0.0042563 | 1.9439e-06 | 1.1447e-06 | 0.025691 | 0.025691 | 0.025691 | 0.98193 | -0.34796 | 0.98205 | -0.34555 | 7.0578
63 | 0.016939 | 0.004248 | -0.016932 | -0.0042435 | 7.7438e-06 | 4.561e-06 | 0.025691 | 0.025691 | 0.025691 | 0.98117 | -0.36289 | 0.98068 | -0.37249 | 7.0579
64 | -0.029878 | -0.0074955 | 0.029885 | 0.0074998 | 6.8328e-06 | 4.2605e-06 | 0.045274 | 0.045274 | 0.045274 | 0.98205 | -0.34555 | 0.9823 | -0.34076 | 12.4379
65 | 0.016097 | 0.0040351 | -0.016095 | -0.0040337 | 2.4351e-06 | 1.4103e-06 | 0.023967 | 0.023967 | 0.023967 | 0.99942 | -0.011031 | 0.99926 | -0.014207 | 6.5842
66 | -0.0059564 | -0.0014928 | 0.0059567 | 0.0014929 | 2.8063e-07 | 5.9077e-08 | 0.008944 | 0.008944 | 0.008944 | 0.99096 | -0.17376 | 0.99101 | -0.17278 | 2.4572
67 | 0.027962 | 0.0070119 | -0.027955 | -0.0070078 | 6.6855e-06 | 4.1485e-06 | 0.041987 | 0.041987 | 0.041987 | 0.99101 | -0.17278 | 0.99075 | -0.17779 | 11.5348
68 | -0.033918 | -0.0085048 | 0.03393 | 0.0085122 | 1.1861e-05 | 7.4341e-06 | 0.050931 | 0.05093 | 0.050931 | 0.99101 | -0.17278 | 0.99139 | -0.16544 | 13.9919
69 | 0.018854 | 0.0047268 | -0.018853 | -0.0047263 | 7.5669e-07 | 4.5188e-07 | 0.028317 | 0.028317 | 0.028317 | 0.99075 | -0.17779 | 0.99071 | -0.17864 | 7.7795
70 | 0.051215 | 0.012864 | -0.051197 | -0.012852 | 1.8679e-05 | 1.1846e-05 | 0.076881 | 0.076882 | 0.076882 | 0.99139 | -0.16544 | 0.99099 | -0.17309 | 21.1213
71 | -0.085146 | -0.021376 | 0.085182 | 0.0214 | 3.6231e-05 | 2.3112e-05 | 0.12781 | 0.12781 | 0.12781 | 0.99139 | -0.16544 | 0.99185 | -0.15652 | 35.1132
72 | -0.043352 | -0.010877 | 0.043367 | 0.010886 | 1.4977e-05 | 9.4642e-06 | 0.06514 | 0.06514 | 0.06514 | 0.99037 | -0.18527 | 0.99074 | -0.17803 | 17.8955
73 | 0.018853 | 0.0047263 | -0.018849 | -0.0047241 | 3.7216e-06 | 2.2225e-06 | 0.028317 | 0.028317 | 0.028317 | 0.99071 | -0.17864 | 0.99049 | -0.18278 | 7.7795
74 | -0.046266 | -0.011612 | 0.046277 | 0.011619 | 1.0903e-05 | 6.9005e-06 | 0.069494 | 0.069494 | 0.069494 | 0.99074 | -0.17803 | 0.99099 | -0.17309 | 19.0918
75 | 0.0028994 | 0.00072613 | -0.0028993 | -0.00072621 | 6.3312e-08 | -7.4138e-08 | 0.0043544 | 0.0043545 | 0.0043545 | 0.99074 | -0.17803 | 0.99072 | -0.17849 | 1.1963
76 | 0.0028993 | 0.00072621 | -0.002899 | -0.00072656 | 2.9855e-07 | -3.495e-07 | 0.0043545 | 0.0043547 | 0.0043547 | 0.99072 | -0.17849 | 0.9906 | -0.18065 | 1.1963
77 | -0.090953 | -0.022846 | 0.090965 | 0.022853 | 1.1809e-05 | 7.5362e-06 | 0.13647 | 0.13647 | 0.13647 | 0.99185 | -0.15652 | 0.99199 | -0.1538 | 37.4917
78 | -0.096371 | -0.024208 | 0.096453 | 0.024261 | 8.234e-05 | 5.2562e-05 | 0.14458 | 0.14458 | 0.14458 | 0.99199 | -0.1538 | 0.99292 | -0.13592 | 39.7195
79 | -0.042289 | -0.0106 | 0.042291 | 0.010601 | 2.2899e-06 | 1.4457e-06 | 0.063211 | 0.063211 | 0.063211 | 0.9955 | -0.085907 | 0.99556 | -0.08477 | 17.3657
80 | -0.0069766 | -0.0017485 | 0.0069769 | 0.0017486 | 3.0438e-07 | 9.7256e-08 | 0.010415 | 0.010415 | 0.010415 | 0.99678 | -0.061437 | 0.99683 | -0.060521 | 2.8612
81 | -0.018989 | -0.0047592 | 0.018993 | 0.0047613 | 3.4666e-06 | 2.0686e-06 | 0.028346 | 0.028346 | 0.028346 | 0.99683 | -0.060521 | 0.99703 | -0.05669 | 7.7875
82 | -0.010526 | -0.002638 | 0.010526 | 0.0026381 | 2.0179e-07 | 1.0084e-07 | 0.015728 | 0.015728 | 0.015728 | 0.99584 | -0.079676 | 0.99586 | -0.079274 | 4.3208
83 | 0.223 | 0.056614 | -0.22275 | -0.056457 | 0.00024766 | 0.0001578 | 0.33298 | 0.33298 | 0.33298 | 0.99731 | -0.051233 | 0.9961 | -0.074342 | 30.4928
84 | 0.031586 | 0.0079206 | -0.031578 | -0.0079155 | 8.2125e-06 | 5.1274e-06 | 0.047129 | 0.047129 | 0.047129 | 0.99731 | -0.051233 | 0.99703 | -0.05669 | 12.9476
85 | 0.048855 | 0.012256 | -0.048831 | -0.01224 | 2.4275e-05 | 1.5378e-05 | 0.072986 | 0.072986 | 0.072986 | 0.9961 | -0.074342 | 0.99556 | -0.08477 | 20.051
86 | 0.044424 | 0.011149 | -0.04441 | -0.01114 | 1.4083e-05 | 8.9081e-06 | 0.067277 | 0.067277 | 0.067277 | 0.98264 | -0.33411 | 0.9823 | -0.34076 | 18.4828

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60894 | 0.15392

## res_load
| p_mw | q_mvar
0 | 0.0057878 | 0.0014506
1 | 0.0025889 | 0.00064883
2 | 0.008233 | 0.0020634
3 | 0.0031546 | 0.00079061
4 | 0.0026996 | 0.00067657
5 | 0.0090497 | 0.0022681
6 | 0.0054355 | 0.0013623
7 | 0.0028811 | 0.00072207
8 | 0.0049121 | 0.0012311
9 | 0.0048535 | 0.0012164
10 | 0.0045486 | 0.00114
11 | 0.010191 | 0.0025541
12 | 0.0092014 | 0.0023061
13 | 0.0063749 | 0.0015977
14 | 0.019828 | 0.0049694
15 | 0.0064855 | 0.0016254
16 | 0.008737 | 0.0021897
17 | 0.0062303 | 0.0015615
18 | 0.015244 | 0.0038204
19 | 0.0071753 | 0.0017983
20 | 0.014749 | 0.0036964
21 | 0.016021 | 0.0040151
22 | 0.010286 | 0.0025779
23 | 0.0083747 | 0.0020989
24 | 0.019029 | 0.004769
25 | 0.0071676 | 0.0017964
26 | 0.0073289 | 0.0018368
27 | 0.0052823 | 0.0013239
28 | 0.0039811 | 0.00099775
29 | 0.0039758 | 0.00099642
30 | 0.0061651 | 0.0015451
31 | 0.0053816 | 0.0013488
32 | 0.012132 | 0.0030405
33 | 0.0050794 | 0.001273
34 | 0.00424 | 0.0010626
35 | 0.0050059 | 0.0012546
36 | 0.011016 | 0.0027609
37 | 0.014518 | 0.0036386
38 | 0.0072903 | 0.0018271
39 | 0.0095377 | 0.0023904
40 | 0.0078819 | 0.0019754
41 | 0.03759 | 0.0094211
42 | 0.012925 | 0.0032392
43 | 0.016932 | 0.0042435
44 | 0.0024537 | 0.00061495
45 | 0.016095 | 0.0040337
46 | 0.0059564 | 0.0014928
47 | 0.0091013 | 0.002281
48 | 0.0053625 | 0.001344
49 | 0.0049199 | 0.001233
50 | 0.0057709 | 0.0014463
51 | 0.018849 | 0.0047241
52 | 0.002899 | 0.00072656
53 | 0.0054062 | 0.0013549
54 | 0.022887 | 0.005736
55 | 0.0069766 | 0.0017485
56 | 0.012012 | 0.0030106
57 | 0.010526 | 0.002638
58 | 0.011347 | 0.0028439
59 | 0.012585 | 0.0031542
60 | 0.0065396 | 0.001639
61 | 0.010814 | 0.0027103
62 | 0.014525 | 0.0036404
63 | 0.019061 | 0.0047771
64 | 0.0032609 | 0.00081725

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1