## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-24_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_2581-24_0_4_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_2581-24_0_4_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_2581-24_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_2581-24_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2581-24_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2581-24_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2581-24_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2581-24_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2581-24_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2581-24_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2581-24_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2581-24_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2581-24_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2581-24_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2581-24_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2581-24_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2581-24_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2581-24_0_4_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_2581-24_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_2581-24_0_4_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_2581-24_0_4_node_98 | 0.4 | n |  | TRUE
27 | bus_LV_2581-24_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2581-24_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2581-24_0_4_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_2581-24_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2581-24_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2581-24_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2581-24_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2581-24_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2581-24_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2581-24_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_2581-24_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2581-24_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2581-24_0_4_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_2581-24_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_2581-24_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2581-24_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2581-24_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2581-24_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2581-24_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2581-24_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2581-24_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2581-24_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2581-24_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2581-24_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2581-24_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2581-24_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2581-24_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2581-24_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2581-24_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_2581-24_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2581-24_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2581-24_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_2581-24_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2581-24_0_4_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_2581-24_0_4_node_94 | 0.4 | n |  | TRUE
62 | bus_LV_2581-24_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2581-24_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_2581-24_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_2581-24_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_2581-24_0_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_2581-24_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2581-24_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2581-24_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_2581-24_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_2581-24_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_2581-24_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_2581-24_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_2581-24_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2581-24_0_4_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_2581-24_0_4_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_2581-24_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2581-24_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_2581-24_0_4_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_2581-24_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_2581-24_0_4_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_2581-24_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_2581-24_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_2581-24_0_4_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_2581-24_0_4_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_2581-24_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_2581-24_0_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_2581-24_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_2581-24_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_2581-24_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_2581-24_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_2581-24_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_2581-24_0_4_node_91 | 0.4 | n |  | TRUE
94 | bus_MV_523_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-24_0_4_load_0 | 0 | 0.0035686 | 0.00089436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-24_0_4_load_1 | 1 | 0.0019556 | 0.00049012 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-24_0_4_load_2 | 2 | 0.0030824 | 0.00077252 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-24_0_4_load_3 | 3 | 0.0030604 | 0.00076701 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-24_0_4_load_4 | 4 | 0.0036486 | 0.00091442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-24_0_4_load_48 | 5 | 0.0019087 | 0.00047836 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-24_0_4_load_65 | 6 | 0.005192 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-24_0_4_load_49 | 7 | 0.001923 | 0.00048196 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-24_0_4_load_5 | 9 | 0.011228 | 0.0028139 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-24_0_4_load_6 | 10 | 0.012748 | 0.0031949 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-24_0_4_load_8 | 12 | 0.012185 | 0.0030538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-24_0_4_load_9 | 13 | 0.0097231 | 0.0024368 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-24_0_4_load_23 | 14 | 0.01146 | 0.0028722 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-24_0_4_load_22 | 15 | 0.011355 | 0.0028459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-24_0_4_load_10 | 16 | 0.016388 | 0.0041073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-24_0_4_load_15 | 20 | 0.022161 | 0.005554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-24_0_4_load_16 | 21 | 0.016436 | 0.0041193 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-24_0_4_load_99 | 23 | 0.0039021 | 0.00097796 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-24_0_4_load_68 | 24 | 0.0020296 | 0.00050867 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-24_0_4_load_98 | 26 | 0.019882 | 0.0049829 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-24_0_4_load_25 | 27 | 0.020433 | 0.0051209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-24_0_4_load_28 | 28 | 0.020464 | 0.0051288 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-24_0_4_load_60 | 29 | 0.0032077 | 0.00080393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-24_0_4_load_36 | 30 | 0.0038145 | 0.00095601 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-24_0_4_load_24 | 31 | 0.01056 | 0.0026465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-24_0_4_load_27 | 32 | 0.0049461 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-24_0_4_load_17 | 33 | 0.0040952 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-24_0_4_load_18 | 34 | 0.0032261 | 0.00080854 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-24_0_4_load_19 | 35 | 0.0032006 | 0.00080215 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-24_0_4_load_20 | 36 | 0.0035225 | 0.00088282 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-24_0_4_load_21 | 37 | 0.0032274 | 0.00080887 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-24_0_4_load_26 | 38 | 0.0032086 | 0.00080416 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-24_0_4_load_62 | 39 | 0.0032334 | 0.00081036 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-24_0_4_load_63 | 40 | 0.0047702 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-24_0_4_load_29 | 41 | 0.0027327 | 0.00068488 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-24_0_4_load_30 | 42 | 0.0054179 | 0.0013578 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-24_0_4_load_31 | 43 | 0.0024959 | 0.00062554 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-24_0_4_load_32 | 44 | 0.0024163 | 0.00060558 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-24_0_4_load_33 | 45 | 0.0028084 | 0.00070385 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-24_0_4_load_34 | 46 | 0.0024494 | 0.00061388 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-24_0_4_load_45 | 47 | 0.0033905 | 0.00084975 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-24_0_4_load_43 | 48 | 0.0025258 | 0.00063303 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-24_0_4_load_37 | 49 | 0.0014048 | 0.00035209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-24_0_4_load_38 | 50 | 0.0021928 | 0.00054956 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-24_0_4_load_40 | 52 | 0.0026901 | 0.00067421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-24_0_4_load_41 | 53 | 0.0027979 | 0.00070121 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-24_0_4_load_46 | 54 | 0.0035737 | 0.00089565 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-24_0_4_load_61 | 55 | 0.002898 | 0.0007263 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-24_0_4_load_44 | 56 | 0.0043067 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-24_0_4_load_59 | 57 | 0.0022868 | 0.00057314 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-24_0_4_load_42 | 58 | 0.0034871 | 0.00087394 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-24_0_4_load_47 | 59 | 0.0050978 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-24_0_4_load_93 | 60 | 0.004467 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-24_0_4_load_94 | 61 | 0.0046193 | 0.0011577 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-24_0_4_load_50 | 62 | 0.0026574 | 0.00066601 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-24_0_4_load_72 | 64 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-24_0_4_load_69 | 65 | 0.0037936 | 0.00095078 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-24_0_4_load_75 | 66 | 0.0018036 | 0.00045204 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-24_0_4_load_70 | 67 | 0.0024277 | 0.00060845 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-24_0_4_load_52 | 68 | 0.001784 | 0.00044711 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2581-24_0_4_load_53 | 69 | 0.001963 | 0.00049196 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2581-24_0_4_load_54 | 70 | 0.0023333 | 0.00058477 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2581-24_0_4_load_57 | 72 | 0.0035295 | 0.00088458 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2581-24_0_4_load_58 | 73 | 0.0023822 | 0.00059702 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2581-24_0_4_load_64 | 74 | 0.003221 | 0.00080725 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2581-24_0_4_load_81 | 76 | 0.0046389 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2581-24_0_4_load_74 | 78 | 0.0037684 | 0.00094444 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2581-24_0_4_load_89 | 79 | 0.019327 | 0.0048437 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2581-24_0_4_load_79 | 80 | 0.0032626 | 0.00081767 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2581-24_0_4_load_97 | 81 | 0.0098212 | 0.0024614 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2581-24_0_4_load_71 | 82 | 0.0024317 | 0.00060944 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2581-24_0_4_load_90 | 84 | 0.06035 | 0.015125 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2581-24_0_4_load_76 | 85 | 0.0023027 | 0.00057712 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2581-24_0_4_load_78 | 86 | 0.0034238 | 0.00085809 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2581-24_0_4_load_92 | 87 | 0.004355 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2581-24_0_4_load_80 | 88 | 0.006983 | 0.0017501 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2581-24_0_4_load_82 | 89 | 0.0031571 | 0.00079124 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2581-24_0_4_load_86 | 91 | 0.0067052 | 0.0016805 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2581-24_0_4_load_87 | 92 | 0.0071382 | 0.001789 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2581-24_0_4_load_91 | 93 | 0.0037702 | 0.00094489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-24_0_4_line_0 |  | 0 | 1 | 0.0060894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-24_0_4_line_1 |  | 0 | 2 | 0.0015112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-24_0_4_line_2 |  | 1 | 3 | 0.0039216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-24_0_4_line_3 |  | 2 | 4 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-24_0_4_line_4 |  | 3 | 5 | 0.0081599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-24_0_4_line_5 |  | 4 | 6 | 0.0086643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-24_0_4_line_6 |  | 5 | 7 | 0.0031389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-24_0_4_line_7 |  | 6 | 8 | 0.012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-24_0_4_line_8 |  | 7 | 62 | 0.0085301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-24_0_4_line_9 |  | 8 | 77 | 0.007558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2581-24_0_4_line_10 |  | 8 | 78 | 0.01798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-24_0_4_line_11 |  | 9 | 10 | 0.0072298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-24_0_4_line_12 |  | 9 | 11 | 0.049288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-24_0_4_line_13 |  | 10 | 12 | 0.0075206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-24_0_4_line_14 |  | 11 | 13 | 0.10048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-24_0_4_line_15 |  | 12 | 14 | 0.0070948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-24_0_4_line_16 |  | 14 | 15 | 0.0068457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-24_0_4_line_17 |  | 15 | 31 | 0.0065872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-24_0_4_line_18 |  | 16 | 17 | 0.0088581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2581-24_0_4_line_19 |  | 16 | 18 | 0.00012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2581-24_0_4_line_20 |  | 17 | 19 | 0.010132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2581-24_0_4_line_21 |  | 18 | 20 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-24_0_4_line_22 |  | 18 | 21 | 0.0092744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-24_0_4_line_23 |  | 19 | 25 | 0.032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2581-24_0_4_line_24 |  | 19 | 26 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-24_0_4_line_25 |  | 20 | 27 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-24_0_4_line_26 |  | 21 | 28 | 0.0099355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-24_0_4_line_27 |  | 22 | 23 | 0.057652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-24_0_4_line_28 |  | 22 | 24 | 0.043912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-24_0_4_line_29 |  | 24 | 29 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-24_0_4_line_30 |  | 25 | 30 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2581-24_0_4_line_31 |  | 27 | 31 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-24_0_4_line_32 |  | 28 | 32 | 0.0042793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-24_0_4_line_33 |  | 29 | 71 | 0.025823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-24_0_4_line_34 |  | 30 | 37 | 0.0024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2581-24_0_4_line_35 |  | 32 | 41 | 0.0086485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-24_0_4_line_36 |  | 33 | 34 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2581-24_0_4_line_37 |  | 33 | 35 | 0.0015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2581-24_0_4_line_38 |  | 34 | 36 | 0.0016291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2581-24_0_4_line_39 |  | 35 | 37 | 0.0061369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2581-24_0_4_line_40 |  | 36 | 38 | 0.0064685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2581-24_0_4_line_41 |  | 38 | 39 | 0.0019412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2581-24_0_4_line_42 |  | 39 | 40 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2581-24_0_4_line_43 |  | 40 | 74 | 0.00054713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2581-24_0_4_line_44 |  | 41 | 42 | 0.0090487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-24_0_4_line_45 |  | 43 | 44 | 0.0048358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-24_0_4_line_46 |  | 43 | 45 | 0.014891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-24_0_4_line_47 |  | 44 | 46 | 0.0085948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-24_0_4_line_48 |  | 46 | 47 | 0.00036856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-24_0_4_line_49 |  | 47 | 48 | 0.0084308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-24_0_4_line_50 |  | 48 | 58 | 0.0092516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-24_0_4_line_51 |  | 49 | 50 | 0.0047975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-24_0_4_line_52 |  | 49 | 51 | 0.0064084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-24_0_4_line_53 |  | 50 | 52 | 0.016568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-24_0_4_line_54 |  | 51 | 53 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-24_0_4_line_55 |  | 52 | 54 | 0.0029675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-24_0_4_line_56 |  | 53 | 55 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-24_0_4_line_57 |  | 54 | 56 | 0.010361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2581-24_0_4_line_58 |  | 55 | 57 | 0.0084885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-24_0_4_line_59 |  | 56 | 59 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-24_0_4_line_60 |  | 56 | 58 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-24_0_4_line_61 |  | 57 | 73 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-24_0_4_line_62 |  | 59 | 60 | 0.0011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-24_0_4_line_63 |  | 60 | 61 | 0.0082274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-24_0_4_line_64 |  | 61 | 75 | 0.0066129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-24_0_4_line_65 |  | 62 | 63 | 0.0057935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-24_0_4_line_66 |  | 63 | 64 | 0.010063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-24_0_4_line_67 |  | 63 | 65 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-24_0_4_line_68 |  | 64 | 66 | 0.0078656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-24_0_4_line_69 |  | 65 | 67 | 0.0085178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2581-24_0_4_line_70 |  | 66 | 85 | 0.014653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2581-24_0_4_line_71 |  | 67 | 82 | 0.0093908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2581-24_0_4_line_72 |  | 68 | 69 | 0.0002229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2581-24_0_4_line_73 |  | 68 | 70 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2581-24_0_4_line_74 |  | 69 | 71 | 0.017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2581-24_0_4_line_75 |  | 71 | 72 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2581-24_0_4_line_76 |  | 72 | 73 | 0.0094761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2581-24_0_4_line_77 |  | 74 | 75 | 0.017882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_2581-24_0_4_line_78 |  | 75 | 76 | 0.0024107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_2581-24_0_4_line_79 |  | 76 | 88 | 0.0082002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2581-24_0_4_line_80 |  | 77 | 79 | 0.03118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2581-24_0_4_line_81 |  | 77 | 80 | 0.0081159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_2581-24_0_4_line_82 |  | 78 | 81 | 0.0049201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2581-24_0_4_line_83 |  | 80 | 86 | 0.01531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_2581-24_0_4_line_84 |  | 81 | 87 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2581-24_0_4_line_85 |  | 82 | 83 | 0.0095901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2581-24_0_4_line_86 |  | 83 | 84 | 0.030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2581-24_0_4_line_87 |  | 86 | 88 | 0.00093377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2581-24_0_4_line_88 |  | 87 | 93 | 0.013145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2581-24_0_4_line_89 |  | 87 | 92 | 0.032765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2581-24_0_4_line_90 |  | 89 | 90 | 0.041997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2581-24_0_4_line_91 |  | 90 | 91 | 0.026449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2581-24_0_4_line_92 |  | 90 | 92 | 0.016443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-24_0_4_trafo_89 | 0.63 MVA 20/0.4 kV | 94 | 79 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2634606.5642 | 1244682.589 | 2634601.3004 | 1244680.5991 | 2634600.877 | 1244680.4143
1 | 2634606.5642 | 1244682.589 | 2634607.9777 | 1244683.1234
2 | 2634600.877 | 1244680.4143 | 2634597.2827 | 1244678.8458
3 | 2634620.9054 | 1244688.0107 | 2634607.9777 | 1244683.1234
4 | 2634597.2827 | 1244678.8458 | 2634589.8039 | 1244675.5822
5 | 2634620.9054 | 1244688.0107 | 2634629.0098 | 1244691.0745
6 | 2634586.927 | 1244674.3267 | 2634589.8039 | 1244675.5822
7 | 2634640.9021 | 1244695.9065 | 2634631.201 | 1244691.9029 | 2634629.0098 | 1244691.0745
8 | 2634586.927 | 1244674.3267 | 2634579.1088 | 1244670.915
9 | 2634640.9021 | 1244695.9065 | 2634637.199 | 1244702.5003
10 | 2634640.9021 | 1244695.9065 | 2634645.6979 | 1244687.2066 | 2634649.7154 | 1244680.2355
11 | 2634793.6758 | 1244753.3771 | 2634786.7745 | 1244751.2224
12 | 2634840.7236 | 1244768.0664 | 2634793.6758 | 1244753.3771
13 | 2634779.596 | 1244748.9799 | 2634780.2974 | 1244749.2001 | 2634786.7745 | 1244751.2224
14 | 2634840.7236 | 1244768.0664 | 2634839.1523 | 1244774.4502 | 2634832.8777 | 1244782.7522 | 2634828.745 | 1244787.8423 | 2634819.8711 | 1244791.0146 | 2634814.7788 | 1244793.5419 | 2634808.1197 | 1244800.4185 | 2634763.1397 | 1244773.4598
15 | 2634779.596 | 1244748.9799 | 2634772.8268 | 1244746.8552
16 | 2634766.2953 | 1244744.8052 | 2634772.8268 | 1244746.8552
17 | 2634766.2953 | 1244744.8052 | 2634760.0104 | 1244742.8325
18 | 2634712.4498 | 1244737.0175 | 2634717.1363 | 1244729.5007
19 | 2634717.2016 | 1244729.3959 | 2634717.1363 | 1244729.5007
20 | 2634706.5985 | 1244745.2998 | 2634712.4498 | 1244737.0175
21 | 2634717.2016 | 1244729.3959 | 2634734.3297 | 1244734.772
22 | 2634717.2016 | 1244729.3959 | 2634718.3989 | 1244727.5017 | 2634721.9622 | 1244721.4376
23 | 2634688.8014 | 1244773.0027 | 2634699.3975 | 1244755.6978 | 2634706.5985 | 1244745.2998
24 | 2634706.5985 | 1244745.2998 | 2634700.7017 | 1244740.6957 | 2634696.2056 | 1244737.9957
25 | 2634746.1143 | 1244738.4708 | 2634734.3297 | 1244734.772
26 | 2634726.9652 | 1244712.8538 | 2634725.8018 | 1244714.9034 | 2634721.9622 | 1244721.4376
27 | 2634699.6259 | 1244781.249 | 2634748.4516 | 1244812.1323
28 | 2634699.6259 | 1244781.249 | 2634695.9302 | 1244782.7062 | 2634690.9988 | 1244784.8677 | 2634687.8776 | 1244787.5623 | 2634684.8646 | 1244793.7376 | 2634680.534 | 1244804.2858 | 2634679.0159 | 1244806.7674 | 2634675.2766 | 1244809.225 | 2634670.7261 | 1244810.855
29 | 2634670.7261 | 1244810.855 | 2634668.0021 | 1244817.9993 | 2634665.1315 | 1244823.7979
30 | 2634688.8014 | 1244773.0027 | 2634676.4641 | 1244765.5966
31 | 2634746.1143 | 1244738.4708 | 2634760.0104 | 1244742.8325
32 | 2634726.9652 | 1244712.8538 | 2634729.0776 | 1244709.1322
33 | 2634653.8018 | 1244847.0019 | 2634658.2001 | 1244837.7994 | 2634665.1315 | 1244823.7979
34 | 2634676.4641 | 1244765.5966 | 2634674.3623 | 1244764.3349
35 | 2634733.3469 | 1244701.6109 | 2634729.0776 | 1244709.1322
36 | 2634667.7446 | 1244760.3714 | 2634656.6635 | 1244753.7445
37 | 2634669.0979 | 1244761.1808 | 2634667.7446 | 1244760.3714
38 | 2634656.6635 | 1244753.7445 | 2634655.2654 | 1244752.9084
39 | 2634669.0979 | 1244761.1808 | 2634671.8001 | 1244762.7968 | 2634674.3623 | 1244764.3349
40 | 2634649.7138 | 1244749.5884 | 2634655.2654 | 1244752.9084
41 | 2634648.0478 | 1244748.592 | 2634649.7138 | 1244749.5884
42 | 2634648.0478 | 1244748.592 | 2634638.7005 | 1244743.002 | 2634636.5282 | 1244741.8329
43 | 2634636.5282 | 1244741.8329 | 2634636.0464 | 1244741.5737
44 | 2634733.3469 | 1244701.6109 | 2634737.8137 | 1244693.7415
45 | 2634567.1999 | 1244750.998 | 2634562.8053 | 1244748.9798
46 | 2634549.3118 | 1244742.6817 | 2634561.1025 | 1244748.1978 | 2634562.8053 | 1244748.9798
47 | 2634567.1999 | 1244750.998 | 2634575.0104 | 1244754.5851
48 | 2634575.3453 | 1244754.7389 | 2634575.0104 | 1244754.5851
49 | 2634575.3453 | 1244754.7389 | 2634583.0068 | 1244758.2575
50 | 2634591.3691 | 1244762.2114 | 2634589.2028 | 1244761.103 | 2634583.0068 | 1244758.2575
51 | 2634586.5978 | 1244798.7339 | 2634588.8413 | 1244794.4932
52 | 2634583.6011 | 1244804.3985 | 2634586.5978 | 1244798.7339
53 | 2634596.2737 | 1244779.688 | 2634591.7987 | 1244788.9028 | 2634588.8413 | 1244794.4932
54 | 2634583.6011 | 1244804.3985 | 2634593.0038 | 1244810.3015 | 2634601.2471 | 1244814.9114
55 | 2634596.2737 | 1244779.688 | 2634597.57 | 1244777.0187
56 | 2634601.2471 | 1244814.9114 | 2634612.0408 | 1244820.9475
57 | 2634602.3032 | 1244767.8059 | 2634600.2033 | 1244771.5961 | 2634597.57 | 1244777.0187
58 | 2634619.4102 | 1244825.1558 | 2634618.3988 | 1244824.5031 | 2634612.0408 | 1244820.9475
59 | 2634602.3032 | 1244767.8059 | 2634612.2017 | 1244749.5962 | 2634613.2544 | 1244747.4517
60 | 2634602.3032 | 1244767.8059 | 2634591.3691 | 1244762.2114
61 | 2634619.4102 | 1244825.1558 | 2634631.9405 | 1244833.2417
62 | 2634613.2544 | 1244747.4517 | 2634613.7602 | 1244746.4212
63 | 2634613.7602 | 1244746.4212 | 2634617.3856 | 1244739.0356
64 | 2634620.2995 | 1244733.0994 | 2634617.3856 | 1244739.0356
65 | 2634573.799 | 1244668.5979 | 2634579.1088 | 1244670.915
66 | 2634573.799 | 1244668.5979 | 2634564.5818 | 1244664.5591
67 | 2634573.799 | 1244668.5979 | 2634579.482 | 1244655.7264
68 | 2634564.5818 | 1244664.5591 | 2634564.0013 | 1244664.3047 | 2634557.3826 | 1244661.3906
69 | 2634579.482 | 1244655.7264 | 2634579.802 | 1244655.0018 | 2634582.8095 | 1244647.8855
70 | 2634557.3826 | 1244661.3906 | 2634543.9715 | 1244655.486
71 | 2634586.4653 | 1244639.2355 | 2634582.8095 | 1244647.8855
72 | 2634669.4195 | 1244856.0462 | 2634669.2297 | 1244855.9292
73 | 2634669.4195 | 1244856.0462 | 2634681.2016 | 1244863.3058 | 2634684.1706 | 1244864.9414
74 | 2634653.8018 | 1244847.0019 | 2634666.0994 | 1244854.0004 | 2634669.2297 | 1244855.9292
75 | 2634653.8018 | 1244847.0019 | 2634641.8013 | 1244839.6049 | 2634639.9027 | 1244838.3797
76 | 2634639.9027 | 1244838.3797 | 2634631.9405 | 1244833.2417
77 | 2634620.2995 | 1244733.0994 | 2634636.0464 | 1244741.5737
78 | 2634620.2995 | 1244733.0994 | 2634621.3782 | 1244730.9435
79 | 2634625.1145 | 1244723.6462 | 2634624.5042 | 1244724.6962 | 2634621.3782 | 1244730.9435
80 | 2634637.199 | 1244702.5003 | 2634641.0989 | 1244704.9024 | 2634663.9026 | 1244718.5967
81 | 2634637.199 | 1244702.5003 | 2634635.6017 | 1244705.6041 | 2634633.2774 | 1244709.6028
82 | 2634652.1721 | 1244675.9727 | 2634649.7154 | 1244680.2355
83 | 2634625.5837 | 1244722.8389 | 2634633.2774 | 1244709.6028
84 | 2634660.2989 | 1244662.0977 | 2634659.3002 | 1244663.604 | 2634652.1721 | 1244675.9727
85 | 2634590.1987 | 1244630.4019 | 2634586.4653 | 1244639.2355
86 | 2634590.1987 | 1244630.4019 | 2634618.5572 | 1244641.8746
87 | 2634625.1145 | 1244723.6462 | 2634625.5837 | 1244722.8389
88 | 2634660.2989 | 1244662.0977 | 2634648.2806 | 1244656.772
89 | 2634660.2989 | 1244662.0977 | 2634671.6041 | 1244644.9971 | 2634676.592 | 1244633.7914
90 | 2634683.0992 | 1244618.7027 | 2634670.7994 | 1244613.3052 | 2634657.8027 | 1244609.5047 | 2634643.1018 | 1244606.4058
91 | 2634683.0992 | 1244618.7027 | 2634693.7862 | 1244623.3793 | 2634707.3168 | 1244629.3347
92 | 2634683.0992 | 1244618.7027 | 2634678.1786 | 1244630.6261 | 2634677.3005 | 1244632.1998 | 2634676.592 | 1244633.7914

## bus_geodata
| x | y | coords
0 | 2634606.5642 | 1244682.589
1 | 2634600.877 | 1244680.4143
2 | 2634607.9777 | 1244683.1234
3 | 2634597.2827 | 1244678.8458
4 | 2634620.9054 | 1244688.0107
5 | 2634589.8039 | 1244675.5822
6 | 2634629.0098 | 1244691.0745
7 | 2634586.927 | 1244674.3267
8 | 2634640.9021 | 1244695.9065
9 | 2634793.6758 | 1244753.3771
10 | 2634786.7745 | 1244751.2224
11 | 2634840.7236 | 1244768.0664
12 | 2634779.596 | 1244748.9799
13 | 2634763.1397 | 1244773.4598
14 | 2634772.8268 | 1244746.8552
15 | 2634766.2953 | 1244744.8052
16 | 2634717.1363 | 1244729.5007
17 | 2634712.4498 | 1244737.0175
18 | 2634717.2016 | 1244729.3959
19 | 2634706.5985 | 1244745.2998
20 | 2634734.3297 | 1244734.772
21 | 2634721.9622 | 1244721.4376
22 | 2634699.6259 | 1244781.249
23 | 2634748.4516 | 1244812.1323
24 | 2634670.7261 | 1244810.855
25 | 2634688.8014 | 1244773.0027
26 | 2634696.2056 | 1244737.9957
27 | 2634746.1143 | 1244738.4708
28 | 2634726.9652 | 1244712.8538
29 | 2634665.1315 | 1244823.7979
30 | 2634676.4641 | 1244765.5966
31 | 2634760.0104 | 1244742.8325
32 | 2634729.0776 | 1244709.1322
33 | 2634667.7446 | 1244760.3714
34 | 2634656.6635 | 1244753.7445
35 | 2634669.0979 | 1244761.1808
36 | 2634655.2654 | 1244752.9084
37 | 2634674.3623 | 1244764.3349
38 | 2634649.7138 | 1244749.5884
39 | 2634648.0478 | 1244748.592
40 | 2634636.5282 | 1244741.8329
41 | 2634733.3469 | 1244701.6109
42 | 2634737.8137 | 1244693.7415
43 | 2634562.8053 | 1244748.9798
44 | 2634567.1999 | 1244750.998
45 | 2634549.3118 | 1244742.6817
46 | 2634575.0104 | 1244754.5851
47 | 2634575.3453 | 1244754.7389
48 | 2634583.0068 | 1244758.2575
49 | 2634586.5978 | 1244798.7339
50 | 2634588.8413 | 1244794.4932
51 | 2634583.6011 | 1244804.3985
52 | 2634596.2737 | 1244779.688
53 | 2634601.2471 | 1244814.9114
54 | 2634597.57 | 1244777.0187
55 | 2634612.0408 | 1244820.9475
56 | 2634602.3032 | 1244767.8059
57 | 2634619.4102 | 1244825.1558
58 | 2634591.3691 | 1244762.2114
59 | 2634613.2544 | 1244747.4517
60 | 2634613.7602 | 1244746.4212
61 | 2634617.3856 | 1244739.0356
62 | 2634579.1088 | 1244670.915
63 | 2634573.799 | 1244668.5979
64 | 2634564.5818 | 1244664.5591
65 | 2634579.482 | 1244655.7264
66 | 2634557.3826 | 1244661.3906
67 | 2634582.8095 | 1244647.8855
68 | 2634669.4195 | 1244856.0462
69 | 2634669.2297 | 1244855.9292
70 | 2634684.1706 | 1244864.9414
71 | 2634653.8018 | 1244847.0019
72 | 2634639.9027 | 1244838.3797
73 | 2634631.9405 | 1244833.2417
74 | 2634636.0464 | 1244741.5737
75 | 2634620.2995 | 1244733.0994
76 | 2634621.3782 | 1244730.9435
77 | 2634637.199 | 1244702.5003
78 | 2634649.7154 | 1244680.2355
79 | 2634663.9026 | 1244718.5967
80 | 2634633.2774 | 1244709.6028
81 | 2634652.1721 | 1244675.9727
82 | 2634586.4653 | 1244639.2355
83 | 2634590.1987 | 1244630.4019
84 | 2634618.5572 | 1244641.8746
85 | 2634543.9714 | 1244655.486
86 | 2634625.5837 | 1244722.8389
87 | 2634660.2989 | 1244662.0977
88 | 2634625.1145 | 1244723.6462
89 | 2634643.1018 | 1244606.4058
90 | 2634683.0992 | 1244618.7027
91 | 2634707.3168 | 1244629.3347
92 | 2634676.592 | 1244633.7914
93 | 2634648.2806 | 1244656.772
94 | 2634663.9026 | 1244718.5967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9928 | -0.1376 | 0.0035686 | 0.00089436
1 | 0.99232 | -0.14691 | 0.0019556 | 0.00049012
2 | 0.99293 | -0.1352 | 0.0030824 | 0.00077252
3 | 0.99202 | -0.15277 | 0.0030604 | 0.00076701
4 | 0.99411 | -0.11249 | 0.0036486 | 0.00091442
5 | 0.99141 | -0.16454 | 0.0019087 | 0.00047836
6 | 0.99488 | -0.097726 | 0.005192 | 0.0013012
7 | 0.99118 | -0.16897 | 0.001923 | 0.00048196
8 | 0.99608 | -0.07472 | 0 | 0
9 | 0.98166 | -0.35356 | 0.011228 | 0.0028139
10 | 0.9818 | -0.35082 | 0.012748 | 0.0031949
11 | 0.98122 | -0.36223 | 0 | 0
12 | 0.98204 | -0.34623 | 0.012185 | 0.0030538
13 | 0.98032 | -0.37994 | 0.0097231 | 0.0024368
14 | 0.98234 | -0.34035 | 0.01146 | 0.0028722
15 | 0.9827 | -0.33326 | 0.011355 | 0.0028459
16 | 0.98735 | -0.24279 | 0.016388 | 0.0041073
17 | 0.98773 | -0.23534 | 0 | 0
18 | 0.98734 | -0.24298 | 0 | 0
19 | 0.98817 | -0.22682 | 0 | 0
20 | 0.98532 | -0.28217 | 0.022161 | 0.005554
21 | 0.98691 | -0.25127 | 0.016436 | 0.0041193
22 | 0.98805 | -0.2298 | 0 | 0
23 | 0.98784 | -0.23381 | 0.0039021 | 0.00097796
24 | 0.9882 | -0.22674 | 0.0020296 | 0.00050867
25 | 0.98975 | -0.1963 | 0 | 0
26 | 0.98794 | -0.23134 | 0.019882 | 0.0049829
27 | 0.98418 | -0.3043 | 0.020433 | 0.0051209
28 | 0.98661 | -0.25724 | 0.020464 | 0.0051288
29 | 0.98828 | -0.22524 | 0.0032077 | 0.00080393
30 | 0.99044 | -0.18299 | 0.0038145 | 0.00095601
31 | 0.98312 | -0.3251 | 0.01056 | 0.0026465
32 | 0.98656 | -0.25824 | 0.0049461 | 0.0012396
33 | 0.99094 | -0.17329 | 0.0040952 | 0.0010264
34 | 0.9916 | -0.16055 | 0.0032261 | 0.00080854
35 | 0.99086 | -0.17482 | 0.0032006 | 0.00080215
36 | 0.99169 | -0.15892 | 0.0035225 | 0.00088282
37 | 0.99056 | -0.18068 | 0.0032274 | 0.00080887
38 | 0.99203 | -0.15236 | 0.0032086 | 0.00080416
39 | 0.99213 | -0.15036 | 0.0032334 | 0.00081036
40 | 0.99286 | -0.13643 | 0.0047702 | 0.0011955
41 | 0.98649 | -0.25951 | 0.0027327 | 0.00068488
42 | 0.98645 | -0.26039 | 0.0054179 | 0.0013578
43 | 0.99093 | -0.17388 | 0.0024959 | 0.00062554
44 | 0.99095 | -0.17343 | 0.0024163 | 0.00060558
45 | 0.99089 | -0.17462 | 0.0028084 | 0.00070385
46 | 0.99101 | -0.17225 | 0.0024494 | 0.00061388
47 | 0.99102 | -0.17218 | 0.0033905 | 0.00084975
48 | 0.99112 | -0.17015 | 0.0025258 | 0.00063303
49 | 0.99038 | -0.18451 | 0.0014048 | 0.00035209
50 | 0.99051 | -0.1819 | 0.0021928 | 0.00054956
51 | 0.99021 | -0.18782 | 0 | 0
52 | 0.99101 | -0.17228 | 0.0026901 | 0.00067421
53 | 0.98966 | -0.19847 | 0.0027979 | 0.00070121
54 | 0.99111 | -0.17041 | 0.0035737 | 0.00089565
55 | 0.98936 | -0.20426 | 0.002898 | 0.0007263
56 | 0.99148 | -0.16325 | 0.0043067 | 0.0010794
57 | 0.98918 | -0.2078 | 0.0022868 | 0.00057314
58 | 0.99126 | -0.16751 | 0.0034871 | 0.00087394
59 | 0.99281 | -0.13752 | 0.0050978 | 0.0012776
60 | 0.99288 | -0.13614 | 0.004467 | 0.0011195
61 | 0.99342 | -0.12561 | 0.0046193 | 0.0011577
62 | 0.99057 | -0.18071 | 0.0026574 | 0.00066601
63 | 0.99017 | -0.18842 | 0 | 0
64 | 0.99012 | -0.18947 | 0.0017793 | 0.00044594
65 | 0.98928 | -0.2057 | 0.0037936 | 0.00095078
66 | 0.99009 | -0.19005 | 0.0018036 | 0.00045204
67 | 0.98877 | -0.21559 | 0.0024277 | 0.00060845
68 | 0.9884 | -0.22298 | 0.001784 | 0.00044711
69 | 0.9884 | -0.22296 | 0.001963 | 0.00049196
70 | 0.98836 | -0.2237 | 0.0023333 | 0.00058477
71 | 0.9885 | -0.22103 | 0 | 0
72 | 0.98873 | -0.21659 | 0.0035295 | 0.00088458
73 | 0.98889 | -0.21342 | 0.0023822 | 0.00059702
74 | 0.99289 | -0.13585 | 0.003221 | 0.00080725
75 | 0.99389 | -0.11661 | 0 | 0
76 | 0.99407 | -0.1132 | 0.0046389 | 0.0011626
77 | 0.99657 | -0.06539 | 0 | 0
78 | 0.99544 | -0.086958 | 0.0037684 | 0.00094444
79 | 1 | 0 | -0.48653 | -0.12356
80 | 0.99593 | -0.07747 | 0.0032626 | 0.00081767
81 | 0.99529 | -0.089983 | 0.0098212 | 0.0024614
82 | 0.98822 | -0.22611 | 0.0024317 | 0.00060944
83 | 0.98769 | -0.23645 | 0 | 0
84 | 0.98599 | -0.26949 | 0.06035 | 0.015125
85 | 0.99005 | -0.19065 | 0.0023027 | 0.00057712
86 | 0.99475 | -0.10008 | 0.0034238 | 0.00085809
87 | 0.99492 | -0.097097 | 0.004355 | 0.0010915
88 | 0.99468 | -0.10145 | 0.006983 | 0.0017501
89 | 0.99414 | -0.11211 | 0.0031571 | 0.00079124
90 | 0.99426 | -0.10977 | 0 | 0
91 | 0.9941 | -0.1129 | 0.0067052 | 0.0016805
92 | 0.99441 | -0.10691 | 0.0071382 | 0.001789
93 | 0.99487 | -0.09797 | 0.0037702 | 0.00094489
94 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.086836 | 0.021934 | -0.086798 | -0.021909 | 3.8717e-05 | 2.47e-05 | 0.13021 | 0.13021 | 0.13021 | 0.9928 | -0.1376 | 0.99232 | -0.14691 | 35.7723
1 | -0.090405 | -0.022828 | 0.090415 | 0.022835 | 1.0414e-05 | 6.6452e-06 | 0.13556 | 0.13556 | 0.13556 | 0.9928 | -0.1376 | 0.99293 | -0.1352 | 37.2416
2 | 0.084842 | 0.021419 | -0.084818 | -0.021404 | 2.3824e-05 | 1.5196e-05 | 0.12728 | 0.12728 | 0.12728 | 0.99232 | -0.14691 | 0.99202 | -0.15277 | 34.9667
3 | -0.093498 | -0.023607 | 0.0936 | 0.023672 | 0.00010184 | 6.5e-05 | 0.14018 | 0.14018 | 0.14018 | 0.99293 | -0.1352 | 0.99411 | -0.11249 | 38.5107
4 | 0.081758 | 0.020637 | -0.081712 | -0.020607 | 4.606e-05 | 2.9373e-05 | 0.12269 | 0.12269 | 0.12269 | 0.99202 | -0.15277 | 0.99141 | -0.16454 | 33.7055
5 | -0.097248 | -0.024587 | 0.097317 | 0.024631 | 6.8917e-05 | 4.3994e-05 | 0.14564 | 0.14564 | 0.14564 | 0.99411 | -0.11249 | 0.99488 | -0.097726 | 40.011
6 | 0.079803 | 0.020129 | -0.079786 | -0.020118 | 1.69e-05 | 1.0776e-05 | 0.11982 | 0.11982 | 0.11982 | 0.99141 | -0.16454 | 0.99118 | -0.16897 | 32.9185
7 | -0.10251 | -0.025932 | 0.10262 | 0.026004 | 0.00011329 | 7.2338e-05 | 0.15341 | 0.15341 | 0.15341 | 0.99488 | -0.097726 | 0.99608 | -0.07472 | 42.1444
8 | 0.077863 | 0.019636 | -0.077819 | -0.019608 | 4.3741e-05 | 2.7884e-05 | 0.11694 | 0.11694 | 0.11694 | 0.99118 | -0.16897 | 0.99057 | -0.18071 | 32.1254
9 | -0.14138 | -0.035735 | 0.14145 | 0.035775 | 6.3281e-05 | 4.0303e-05 | 0.21132 | 0.21132 | 0.21132 | 0.99608 | -0.07472 | 0.99657 | -0.06539 | 29.027
10 | 0.038762 | 0.0097308 | -0.03874 | -0.0097166 | 2.2613e-05 | 1.4238e-05 | 0.057911 | 0.057912 | 0.057912 | 0.99608 | -0.07472 | 0.99544 | -0.086958 | 15.9098
11 | -0.020963 | -0.0052567 | 0.020966 | 0.0052583 | 2.7377e-06 | 1.6607e-06 | 0.031777 | 0.031777 | 0.031777 | 0.98166 | -0.35356 | 0.9818 | -0.35082 | 8.7299
12 | 0.0097353 | 0.0024428 | -0.0097313 | -0.0024408 | 4.0256e-06 | 1.9535e-06 | 0.014758 | 0.014758 | 0.014758 | 0.98166 | -0.35356 | 0.98122 | -0.36223 | 4.0545
13 | -0.033714 | -0.0084533 | 0.033721 | 0.0084579 | 7.3635e-06 | 4.6175e-06 | 0.051097 | 0.051097 | 0.051097 | 0.9818 | -0.35082 | 0.98204 | -0.34623 | 14.0378
14 | 0.0097313 | 0.0024408 | -0.0097231 | -0.0024368 | 8.2068e-06 | 3.9844e-06 | 0.014758 | 0.014759 | 0.014759 | 0.98122 | -0.36223 | 0.98032 | -0.37994 | 4.0546
15 | -0.045906 | -0.011512 | 0.045918 | 0.01152 | 1.2873e-05 | 8.1491e-06 | 0.06956 | 0.06956 | 0.06956 | 0.98204 | -0.34623 | 0.98234 | -0.34035 | 19.1099
16 | -0.057379 | -0.014392 | 0.057398 | 0.014404 | 1.9395e-05 | 1.2326e-05 | 0.08692 | 0.08692 | 0.08692 | 0.98234 | -0.34035 | 0.9827 | -0.33326 | 23.8791
17 | -0.068753 | -0.01725 | 0.06878 | 0.017267 | 2.6776e-05 | 1.7053e-05 | 0.10411 | 0.10411 | 0.10411 | 0.9827 | -0.33326 | 0.98312 | -0.3251 | 28.6027
18 | -0.18876 | -0.04751 | 0.18883 | 0.047553 | 6.7243e-05 | 4.2582e-05 | 0.28455 | 0.28455 | 0.28455 | 0.98735 | -0.24279 | 0.98773 | -0.23534 | 19.5436
19 | 0.17238 | 0.043403 | -0.17237 | -0.043402 | 1.5632e-06 | 9.9729e-07 | 0.25986 | 0.25986 | 0.25986 | 0.98735 | -0.24279 | 0.98734 | -0.24298 | 35.6945
20 | -0.18883 | -0.047553 | 0.18891 | 0.047602 | 7.6913e-05 | 4.8705e-05 | 0.28455 | 0.28455 | 0.28455 | 0.98773 | -0.23534 | 0.98817 | -0.22682 | 19.5436
21 | 0.12235 | 0.030853 | -0.12212 | -0.030706 | 0.00022905 | 0.00014636 | 0.18446 | 0.18446 | 0.18446 | 0.98734 | -0.24298 | 0.98532 | -0.28217 | 50.6747
22 | 0.050028 | 0.01255 | -0.050008 | -0.012537 | 1.9773e-05 | 1.2536e-05 | 0.0754 | 0.075401 | 0.075401 | 0.98734 | -0.24298 | 0.98691 | -0.25127 | 20.7144
23 | -0.20879 | -0.052587 | 0.2091 | 0.052781 | 0.00030521 | 0.00019364 | 0.3145 | 0.3145 | 0.3145 | 0.98817 | -0.22682 | 0.98975 | -0.1963 | 21.6003
24 | 0.019886 | 0.0049854 | -0.019882 | -0.0049829 | 4.2794e-06 | 2.5758e-06 | 0.029946 | 0.029946 | 0.029946 | 0.98817 | -0.22682 | 0.98794 | -0.23134 | 8.2268
25 | 0.099957 | 0.025152 | -0.099851 | -0.025085 | 0.00010559 | 6.7423e-05 | 0.15099 | 0.15099 | 0.15099 | 0.98532 | -0.28217 | 0.98418 | -0.3043 | 41.4806
26 | 0.033572 | 0.0084177 | -0.033562 | -0.0084117 | 9.5467e-06 | 5.983e-06 | 0.050619 | 0.050619 | 0.050619 | 0.98691 | -0.25127 | 0.98661 | -0.25724 | 13.9064
27 | 0.0039029 | 0.0009777 | -0.0039021 | -0.00097796 | 7.4691e-07 | -2.602e-07 | 0.0058776 | 0.0058779 | 0.0058779 | 0.98805 | -0.2298 | 0.98784 | -0.23381 | 1.6148
28 | -0.0039029 | -0.0009777 | 0.0039034 | 0.0009775 | 5.6886e-07 | -1.9843e-07 | 0.0058776 | 0.0058774 | 0.0058776 | 0.98805 | -0.2298 | 0.9882 | -0.22674 | 1.6147
29 | -0.005933 | -0.0014862 | 0.0059335 | 0.0014863 | 4.2247e-07 | 8.9515e-08 | 0.0089336 | 0.0089335 | 0.0089336 | 0.9882 | -0.22674 | 0.98828 | -0.22524 | 2.4543
30 | -0.2091 | -0.052781 | 0.20923 | 0.052866 | 0.00013343 | 8.4655e-05 | 0.3145 | 0.3145 | 0.3145 | 0.98975 | -0.1963 | 0.99044 | -0.18299 | 21.6002
31 | 0.079419 | 0.019964 | -0.07934 | -0.019914 | 7.8775e-05 | 5.0231e-05 | 0.1201 | 0.1201 | 0.1201 | 0.98418 | -0.3043 | 0.98312 | -0.3251 | 32.9936
32 | 0.013098 | 0.0032829 | -0.013097 | -0.0032826 | 6.2625e-07 | 3.4616e-07 | 0.019755 | 0.019755 | 0.019755 | 0.98661 | -0.25724 | 0.98656 | -0.25824 | 5.4271
33 | -0.0091412 | -0.0022902 | 0.009143 | 0.002291 | 1.8343e-06 | 8.43e-07 | 0.013763 | 0.013763 | 0.013763 | 0.98828 | -0.22524 | 0.9885 | -0.22103 | 3.7811
34 | -0.21305 | -0.053822 | 0.21307 | 0.053836 | 2.3568e-05 | 1.4957e-05 | 0.32023 | 0.32023 | 0.32023 | 0.99044 | -0.18299 | 0.99056 | -0.18068 | 21.9938
35 | 0.0081513 | 0.002043 | -0.0081508 | -0.0020428 | 4.9023e-07 | 2.0332e-07 | 0.012295 | 0.012295 | 0.012295 | 0.98656 | -0.25824 | 0.98649 | -0.25951 | 3.3776
36 | -0.22367 | -0.056523 | 0.22381 | 0.056609 | 0.00013668 | 8.6811e-05 | 0.33603 | 0.33603 | 0.33603 | 0.99094 | -0.17329 | 0.9916 | -0.16055 | 23.0793
37 | 0.21958 | 0.055496 | -0.21956 | -0.055486 | 1.6088e-05 | 1.0215e-05 | 0.32988 | 0.32988 | 0.32988 | 0.99094 | -0.17329 | 0.99086 | -0.17482 | 22.6569
38 | -0.22703 | -0.057418 | 0.22705 | 0.057429 | 1.7746e-05 | 1.1273e-05 | 0.34087 | 0.34087 | 0.34087 | 0.9916 | -0.16055 | 0.99169 | -0.15892 | 23.4117
39 | 0.21636 | 0.054684 | -0.2163 | -0.054645 | 6.0799e-05 | 3.8595e-05 | 0.32508 | 0.32508 | 0.32508 | 0.99086 | -0.17482 | 0.99056 | -0.18068 | 22.3268
40 | -0.23057 | -0.058312 | 0.23065 | 0.058358 | 7.2666e-05 | 4.6172e-05 | 0.34616 | 0.34616 | 0.34616 | 0.99169 | -0.15892 | 0.99203 | -0.15236 | 23.7747
41 | -0.23386 | -0.059162 | 0.23388 | 0.059177 | 2.2417e-05 | 1.4247e-05 | 0.35097 | 0.35097 | 0.35097 | 0.99203 | -0.15236 | 0.99213 | -0.15036 | 24.1053
42 | -0.23711 | -0.059987 | 0.23727 | 0.060088 | 0.00015856 | 0.00010079 | 0.35582 | 0.35582 | 0.35582 | 0.99213 | -0.15036 | 0.99286 | -0.13643 | 24.4384
43 | -0.24204 | -0.061283 | 0.24205 | 0.061288 | 6.7578e-06 | 4.2967e-06 | 0.36297 | 0.36297 | 0.36297 | 0.99286 | -0.13643 | 0.99289 | -0.13585 | 24.9294
44 | 0.0054181 | 0.0013579 | -0.0054179 | -0.0013578 | 2.2664e-07 | 2.953e-08 | 0.0081726 | 0.0081727 | 0.0081727 | 0.98649 | -0.25951 | 0.98645 | -0.26039 | 2.2452
45 | -0.0053044 | -0.0013293 | 0.0053045 | 0.0013293 | 1.1505e-07 | 1.1336e-08 | 0.0079653 | 0.0079653 | 0.0079653 | 0.99093 | -0.17388 | 0.99095 | -0.17343 | 2.1883
46 | 0.0028085 | 0.00070372 | -0.0028084 | -0.00070385 | 9.9318e-08 | -1.2826e-07 | 0.0042173 | 0.0042174 | 0.0042174 | 0.99093 | -0.17388 | 0.99089 | -0.17462 | 1.1586
47 | -0.0077208 | -0.0019349 | 0.0077213 | 0.001935 | 4.3321e-07 | 1.6652e-07 | 0.011594 | 0.011594 | 0.011594 | 0.99095 | -0.17343 | 0.99101 | -0.17225 | 3.185
48 | -0.010171 | -0.0025489 | 0.010171 | 0.0025489 | 3.2232e-08 | 1.588e-08 | 0.015271 | 0.015271 | 0.015271 | 0.99101 | -0.17225 | 0.99102 | -0.17218 | 4.1954
49 | -0.013561 | -0.0033987 | 0.013563 | 0.0033994 | 1.3108e-06 | 7.303e-07 | 0.020362 | 0.020362 | 0.020362 | 0.99102 | -0.17218 | 0.99112 | -0.17015 | 5.594
50 | -0.016088 | -0.0040324 | 0.01609 | 0.0040336 | 2.0241e-06 | 1.1762e-06 | 0.024154 | 0.024154 | 0.024154 | 0.99112 | -0.17015 | 0.99126 | -0.16751 | 6.6358
51 | -0.030565 | -0.0076751 | 0.030569 | 0.0076775 | 3.7951e-06 | 2.3671e-06 | 0.045929 | 0.045929 | 0.045929 | 0.99038 | -0.18451 | 0.99051 | -0.1819 | 12.6178
52 | 0.029161 | 0.0073231 | -0.029156 | -0.0073202 | 4.6141e-06 | 2.8706e-06 | 0.043818 | 0.043818 | 0.043818 | 0.99038 | -0.18451 | 0.99021 | -0.18782 | 12.038
53 | -0.032762 | -0.0082271 | 0.032777 | 0.0082365 | 1.5054e-05 | 9.4211e-06 | 0.049223 | 0.049223 | 0.049223 | 0.99051 | -0.1819 | 0.99101 | -0.17228 | 13.5228
54 | 0.029156 | 0.0073202 | -0.029141 | -0.007311 | 1.4794e-05 | 9.204e-06 | 0.043818 | 0.043818 | 0.043818 | 0.99021 | -0.18782 | 0.98966 | -0.19847 | 12.038
55 | -0.035467 | -0.0089107 | 0.03547 | 0.0089127 | 3.1569e-06 | 1.9822e-06 | 0.053262 | 0.053262 | 0.053262 | 0.99101 | -0.17228 | 0.99111 | -0.17041 | 14.6325
56 | 0.026343 | 0.0066098 | -0.026336 | -0.0066053 | 7.2767e-06 | 4.4982e-06 | 0.039612 | 0.039612 | 0.039612 | 0.98966 | -0.19847 | 0.98936 | -0.20426 | 10.8823
57 | -0.039044 | -0.0098083 | 0.039057 | 0.0098167 | 1.3355e-05 | 8.4136e-06 | 0.058628 | 0.058627 | 0.058628 | 0.99111 | -0.17041 | 0.99148 | -0.16325 | 16.1065
58 | 0.023438 | 0.005879 | -0.023434 | -0.0058766 | 3.956e-06 | 2.4228e-06 | 0.035253 | 0.035253 | 0.035253 | 0.98936 | -0.20426 | 0.98918 | -0.2078 | 9.6849
59 | -0.062945 | -0.015806 | 0.063023 | 0.015855 | 7.7376e-05 | 4.9222e-05 | 0.09448 | 0.09448 | 0.09448 | 0.99148 | -0.16325 | 0.99281 | -0.13752 | 25.956
60 | 0.019581 | 0.0049099 | -0.019577 | -0.0049075 | 3.9781e-06 | 2.3876e-06 | 0.029389 | 0.029389 | 0.029389 | 0.99148 | -0.16325 | 0.99126 | -0.16751 | 8.0739
61 | 0.021147 | 0.0053034 | -0.021142 | -0.0053 | 5.6598e-06 | 3.4309e-06 | 0.031813 | 0.031813 | 0.031813 | 0.98918 | -0.2078 | 0.98889 | -0.21342 | 8.7398
62 | -0.068121 | -0.017133 | 0.068125 | 0.017136 | 4.4891e-06 | 2.8582e-06 | 0.10212 | 0.10212 | 0.10212 | 0.99281 | -0.13752 | 0.99288 | -0.13614 | 28.055
63 | -0.072592 | -0.018255 | 0.072629 | 0.018279 | 3.6532e-05 | 2.3274e-05 | 0.10881 | 0.10881 | 0.10881 | 0.99288 | -0.13614 | 0.99342 | -0.12561 | 29.8942
64 | -0.077248 | -0.019436 | 0.077281 | 0.019457 | 3.3216e-05 | 2.1172e-05 | 0.11573 | 0.11573 | 0.11573 | 0.99342 | -0.12561 | 0.99389 | -0.11661 | 31.7951
65 | 0.075162 | 0.018942 | -0.075134 | -0.018925 | 2.7714e-05 | 1.7662e-05 | 0.11294 | 0.11294 | 0.11294 | 0.99057 | -0.18071 | 0.99017 | -0.18842 | 31.0287
66 | 0.0058862 | 0.001475 | -0.0058859 | -0.0014749 | 2.9527e-07 | 5.9542e-08 | 0.0088456 | 0.0088456 | 0.0088456 | 0.99017 | -0.18842 | 0.99012 | -0.18947 | 2.4301
67 | 0.069248 | 0.01745 | -0.069191 | -0.017413 | 5.7177e-05 | 3.6413e-05 | 0.1041 | 0.1041 | 0.1041 | 0.99017 | -0.18842 | 0.98928 | -0.2057 | 28.5986
68 | 0.0041066 | 0.001029 | -0.0041065 | -0.001029 | 1.1235e-07 | -2.9257e-08 | 0.0061716 | 0.0061716 | 0.0061716 | 0.99012 | -0.18947 | 0.99009 | -0.19005 | 1.6955
69 | 0.065397 | 0.016462 | -0.065366 | -0.016443 | 3.0923e-05 | 1.9682e-05 | 0.098393 | 0.098393 | 0.098393 | 0.98928 | -0.2057 | 0.98877 | -0.21559 | 27.031
70 | 0.0023028 | 0.00057698 | -0.0023027 | -0.00057712 | 6.5819e-08 | -1.4632e-07 | 0.0034609 | 0.0034609 | 0.0034609 | 0.99009 | -0.19005 | 0.99005 | -0.19065 | 0.95081
71 | 0.062939 | 0.015834 | -0.062907 | -0.015814 | 3.1608e-05 | 2.0109e-05 | 0.094739 | 0.094739 | 0.094739 | 0.98877 | -0.21559 | 0.98822 | -0.22611 | 26.0273
72 | -0.0041173 | -0.0010317 | 0.0041173 | 0.0010317 | 3.2112e-09 | -8.0145e-10 | 0.0061985 | 0.0061985 | 0.0061985 | 0.9884 | -0.22298 | 0.9884 | -0.22296 | 1.7029
73 | 0.0023333 | 0.0005846 | -0.0023333 | -0.00058477 | 7.9723e-08 | -1.6978e-07 | 0.0035127 | 0.0035128 | 0.0035128 | 0.9884 | -0.22298 | 0.98836 | -0.2237 | 0.96506
74 | -0.0060803 | -0.0015237 | 0.0060809 | 0.0015238 | 5.6012e-07 | 1.2998e-07 | 0.0091537 | 0.0091536 | 0.0091537 | 0.9884 | -0.22296 | 0.9885 | -0.22103 | 2.5148
75 | -0.015224 | -0.0038148 | 0.015227 | 0.0038167 | 3.2213e-06 | 1.8519e-06 | 0.022917 | 0.022917 | 0.022917 | 0.9885 | -0.22103 | 0.98873 | -0.21659 | 6.2958
76 | -0.018757 | -0.0047013 | 0.018759 | 0.004703 | 2.8316e-06 | 1.6907e-06 | 0.028229 | 0.028229 | 0.028229 | 0.98873 | -0.21659 | 0.98889 | -0.21342 | 7.7551
77 | -0.24527 | -0.062095 | 0.24549 | 0.062239 | 0.00022679 | 0.00014422 | 0.3678 | 0.3678 | 0.3678 | 0.99289 | -0.13585 | 0.99389 | -0.11661 | 25.2609
78 | -0.32278 | -0.081697 | 0.32283 | 0.08173 | 5.2841e-05 | 3.3693e-05 | 0.48353 | 0.48353 | 0.48353 | 0.99389 | -0.11661 | 0.99407 | -0.1132 | 33.2096
79 | -0.32747 | -0.082893 | 0.32765 | 0.083011 | 0.00018494 | 0.00011794 | 0.49048 | 0.49048 | 0.49048 | 0.99407 | -0.1132 | 0.99468 | -0.10145 | 33.6865
80 | -0.48336 | -0.12259 | 0.48488 | 0.12356 | 0.0015248 | 0.00097422 | 0.72223 | 0.72223 | 0.72223 | 0.99657 | -0.06539 | 1 | 0 | 49.604
81 | 0.34191 | 0.086812 | -0.34171 | -0.086685 | 0.00019861 | 0.00012669 | 0.51092 | 0.51092 | 0.51092 | 0.99657 | -0.06539 | 0.99593 | -0.07747 | 35.0905
82 | 0.034971 | 0.0087721 | -0.034966 | -0.008769 | 5.0426e-06 | 3.1633e-06 | 0.052278 | 0.052279 | 0.052279 | 0.99544 | -0.086958 | 0.99529 | -0.089983 | 14.3622
83 | 0.33845 | 0.085867 | -0.33808 | -0.085633 | 0.00036755 | 0.00023443 | 0.50604 | 0.50604 | 0.50604 | 0.99593 | -0.07747 | 0.99475 | -0.10008 | 34.7558
84 | 0.025145 | 0.0063076 | -0.025136 | -0.0063023 | 8.5244e-06 | 5.2467e-06 | 0.037595 | 0.037595 | 0.037595 | 0.99529 | -0.089983 | 0.99492 | -0.097097 | 10.3284
85 | 0.060475 | 0.015205 | -0.060445 | -0.015186 | 2.9832e-05 | 1.897e-05 | 0.091078 | 0.091078 | 0.091078 | 0.98822 | -0.22611 | 0.98769 | -0.23645 | 25.0214
86 | 0.060445 | 0.015186 | -0.06035 | -0.015125 | 9.516e-05 | 6.0512e-05 | 0.091078 | 0.091078 | 0.091078 | 0.98769 | -0.23645 | 0.98599 | -0.26949 | 25.0214
87 | 0.33466 | 0.084775 | -0.33464 | -0.084761 | 2.1966e-05 | 1.401e-05 | 0.50092 | 0.50092 | 0.50092 | 0.99475 | -0.10008 | 0.99468 | -0.10145 | 34.404
88 | 0.0037703 | 0.00094482 | -0.0037702 | -0.00094489 | 1.5675e-07 | -7.0385e-08 | 0.0056389 | 0.005639 | 0.005639 | 0.99492 | -0.097097 | 0.99487 | -0.09797 | 1.5492
89 | 0.017011 | 0.004266 | -0.017003 | -0.0042613 | 7.954e-06 | 4.6653e-06 | 0.025443 | 0.025443 | 0.025443 | 0.99492 | -0.097097 | 0.99441 | -0.10691 | 6.9899
90 | -0.0031571 | -0.00079124 | 0.0031574 | 0.00079092 | 3.5166e-07 | -3.1954e-07 | 0.0047254 | 0.0047253 | 0.0047254 | 0.99414 | -0.11211 | 0.99426 | -0.10977 | 1.2982
91 | 0.0067062 | 0.0016808 | -0.0067052 | -0.0016805 | 9.991e-07 | 2.9646e-07 | 0.010037 | 0.010037 | 0.010037 | 0.99426 | -0.10977 | 0.9941 | -0.1129 | 2.7573
92 | -0.0098636 | -0.0024717 | 0.009865 | 0.0024723 | 1.3437e-06 | 6.4666e-07 | 0.014762 | 0.014762 | 0.014762 | 0.99426 | -0.10977 | 0.99441 | -0.10691 | 4.0554

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50586 | 0.12841

## res_load
| p_mw | q_mvar
0 | 0.0035686 | 0.00089436
1 | 0.0019556 | 0.00049012
2 | 0.0030824 | 0.00077252
3 | 0.0030604 | 0.00076701
4 | 0.0036486 | 0.00091442
5 | 0.0019087 | 0.00047836
6 | 0.005192 | 0.0013012
7 | 0.001923 | 0.00048196
8 | 0.011228 | 0.0028139
9 | 0.012748 | 0.0031949
10 | 0.012185 | 0.0030538
11 | 0.0097231 | 0.0024368
12 | 0.01146 | 0.0028722
13 | 0.011355 | 0.0028459
14 | 0.016388 | 0.0041073
15 | 0.022161 | 0.005554
16 | 0.016436 | 0.0041193
17 | 0.0039021 | 0.00097796
18 | 0.0020296 | 0.00050867
19 | 0.019882 | 0.0049829
20 | 0.020433 | 0.0051209
21 | 0.020464 | 0.0051288
22 | 0.0032077 | 0.00080393
23 | 0.0038145 | 0.00095601
24 | 0.01056 | 0.0026465
25 | 0.0049461 | 0.0012396
26 | 0.0040952 | 0.0010264
27 | 0.0032261 | 0.00080854
28 | 0.0032006 | 0.00080215
29 | 0.0035225 | 0.00088282
30 | 0.0032274 | 0.00080887
31 | 0.0032086 | 0.00080416
32 | 0.0032334 | 0.00081036
33 | 0.0047702 | 0.0011955
34 | 0.0027327 | 0.00068488
35 | 0.0054179 | 0.0013578
36 | 0.0024959 | 0.00062554
37 | 0.0024163 | 0.00060558
38 | 0.0028084 | 0.00070385
39 | 0.0024494 | 0.00061388
40 | 0.0033905 | 0.00084975
41 | 0.0025258 | 0.00063303
42 | 0.0014048 | 0.00035209
43 | 0.0021928 | 0.00054956
44 | 0.0026901 | 0.00067421
45 | 0.0027979 | 0.00070121
46 | 0.0035737 | 0.00089565
47 | 0.002898 | 0.0007263
48 | 0.0043067 | 0.0010794
49 | 0.0022868 | 0.00057314
50 | 0.0034871 | 0.00087394
51 | 0.0050978 | 0.0012776
52 | 0.004467 | 0.0011195
53 | 0.0046193 | 0.0011577
54 | 0.0026574 | 0.00066601
55 | 0.0017793 | 0.00044594
56 | 0.0037936 | 0.00095078
57 | 0.0018036 | 0.00045204
58 | 0.0024277 | 0.00060845
59 | 0.001784 | 0.00044711
60 | 0.001963 | 0.00049196
61 | 0.0023333 | 0.00058477
62 | 0.0035295 | 0.00088458
63 | 0.0023822 | 0.00059702
64 | 0.003221 | 0.00080725
65 | 0.0046389 | 0.0011626
66 | 0.0037684 | 0.00094444
67 | 0.019327 | 0.0048437
68 | 0.0032626 | 0.00081767
69 | 0.0098212 | 0.0024614
70 | 0.0024317 | 0.00060944
71 | 0.06035 | 0.015125
72 | 0.0023027 | 0.00057712
73 | 0.0034238 | 0.00085809
74 | 0.004355 | 0.0010915
75 | 0.006983 | 0.0017501
76 | 0.0031571 | 0.00079124
77 | 0.0067052 | 0.0016805
78 | 0.0071382 | 0.001789
79 | 0.0037702 | 0.00094489

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1