## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-2_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2581-2_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2581-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2581-2_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_2581-2_0_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_2581-2_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2581-2_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2581-2_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2581-2_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2581-2_0_3_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_2581-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2581-2_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2581-2_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2581-2_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_2581-2_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_2581-2_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2581-2_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_2581-2_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2581-2_0_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2581-2_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2581-2_0_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2581-2_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2581-2_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2581-2_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2581-2_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2581-2_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_2581-2_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2581-2_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_2581-2_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2581-2_0_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_2581-2_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2581-2_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2581-2_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2581-2_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2581-2_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2581-2_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2581-2_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2581-2_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2581-2_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2581-2_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2581-2_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2581-2_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2581-2_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2581-2_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2581-2_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2581-2_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2581-2_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2581-2_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_2581-2_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2581-2_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_MV_290_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-2_0_3_load_0 | 0 | 0.0068569 | 0.0017185 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-2_0_3_load_42 | 8 | 0.0011397 | 0.00028563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-2_0_3_load_9 | 9 | 0.011634 | 0.0029157 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-2_0_3_load_11 | 11 | 0.0017603 | 0.00044118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-2_0_3_load_7 | 12 | 0.029963 | 0.0075095 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-2_0_3_load_54 | 13 | 0.0043921 | 0.0011008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-2_0_3_load_20 | 15 | 0.0045803 | 0.0011479 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-2_0_3_load_21 | 17 | 0.0048263 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-2_0_3_load_53 | 18 | 0.0023402 | 0.00058651 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-2_0_3_load_46 | 20 | 0.00097043 | 0.00024321 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-2_0_3_load_48 | 22 | 0.008845 | 0.0022168 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-2_0_3_load_12 | 23 | 0.0051813 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-2_0_3_load_51 | 24 | 0.0022779 | 0.0005709 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-2_0_3_load_16 | 26 | 0.00067958 | 0.00017032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-2_0_3_load_18 | 27 | 0.00038337 | 9.6082e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-2_0_3_load_50 | 29 | 0.00017605 | 4.4123e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-2_0_3_load_25 | 30 | 0.00038169 | 9.566e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-2_0_3_load_49 | 33 | 0.0002722 | 6.822e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-2_0_3_load_22 | 34 | 0.030969 | 0.0077614 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-2_0_3_load_26 | 36 | 0.0049655 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-2_0_3_load_29 | 37 | 0.0025341 | 0.0006351 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-2_0_3_load_41 | 38 | 0.0092962 | 0.0023298 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-2_0_3_load_28 | 39 | 0.0051251 | 0.0012845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-2_0_3_load_31 | 41 | 0.0013258 | 0.00033227 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-2_0_3_load_32 | 42 | 0.0037043 | 0.00092838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-2_0_3_load_34 | 45 | 0.024976 | 0.0062595 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-2_0_3_load_37 | 46 | 0.0015044 | 0.00037704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-2_0_3_load_38 | 47 | 0.0012838 | 0.00032174 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-2_0_3_load_40 | 48 | 0.0051539 | 0.0012917 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-2_0_3_load_35 | 49 | 0.00075134 | 0.0001883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-2_0_3_load_36 | 50 | 0.00039431 | 9.8824e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-2_0_3_load_52 | 51 | 0.00069577 | 0.00017438 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-2_0_3_load_47 | 52 | 0.0012434 | 0.00031164 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-2_0_3_load_56 | 53 | 0.019556 | 0.0049013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-2_0_3_line_0 |  | 0 | 1 | 0.011919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-2_0_3_line_1 |  | 0 | 2 | 0.02055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-2_0_3_line_2 |  | 1 | 3 | 0.004776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-2_0_3_line_3 |  | 2 | 4 | 0.004689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-2_0_3_line_4 |  | 2 | 5 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-2_0_3_line_5 |  | 3 | 6 | 0.090948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-2_0_3_line_6 |  | 4 | 9 | 0.038282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-2_0_3_line_7 |  | 5 | 10 | 0.028981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-2_0_3_line_8 |  | 5 | 11 | 0.036851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-2_0_3_line_9 |  | 6 | 7 | 0.10617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-2_0_3_line_10 |  | 6 | 8 | 0.056828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-2_0_3_line_11 |  | 7 | 13 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-2_0_3_line_12 |  | 9 | 12 | 0.033147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-2_0_3_line_13 |  | 10 | 17 | 0.060003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2581-2_0_3_line_14 |  | 10 | 16 | 0.0348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2581-2_0_3_line_15 |  | 11 | 18 | 0.042177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-2_0_3_line_16 |  | 13 | 53 | 0.076065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-2_0_3_line_17 |  | 14 | 15 | 0.042806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-2_0_3_line_18 |  | 14 | 16 | 0.005025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-2_0_3_line_19 |  | 15 | 22 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-2_0_3_line_20 |  | 16 | 23 | 0.027397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2581-2_0_3_line_21 |  | 17 | 24 | 0.095306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-2_0_3_line_22 |  | 19 | 20 | 0.019196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-2_0_3_line_23 |  | 19 | 21 | 0.005415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-2_0_3_line_24 |  | 20 | 31 | 0.045478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-2_0_3_line_25 |  | 21 | 27 | 0.035129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-2_0_3_line_26 |  | 21 | 25 | 0.009533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-2_0_3_line_27 |  | 22 | 33 | 0.0036438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-2_0_3_line_28 |  | 23 | 25 | 0.068905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2581-2_0_3_line_29 |  | 25 | 26 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2581-2_0_3_line_30 |  | 26 | 28 | 0.040475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2581-2_0_3_line_31 |  | 27 | 29 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-2_0_3_line_32 |  | 28 | 30 | 0.045718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2581-2_0_3_line_33 |  | 30 | 32 | 0.0025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2581-2_0_3_line_34 |  | 31 | 52 | 0.031212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-2_0_3_line_35 |  | 32 | 34 | 0.055081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2581-2_0_3_line_36 |  | 34 | 35 | 0.031665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2581-2_0_3_line_37 |  | 35 | 36 | 0.044803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2581-2_0_3_line_38 |  | 36 | 37 | 0.0014329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-2_0_3_line_39 |  | 37 | 38 | 0.0052252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-2_0_3_line_40 |  | 38 | 43 | 0.057567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-2_0_3_line_41 |  | 39 | 40 | 0.021092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-2_0_3_line_42 |  | 40 | 41 | 0.0041005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-2_0_3_line_43 |  | 40 | 42 | 0.027091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-2_0_3_line_44 |  | 41 | 44 | 0.023815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-2_0_3_line_45 |  | 42 | 45 | 0.040085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-2_0_3_line_46 |  | 43 | 47 | 0.033748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-2_0_3_line_47 |  | 43 | 48 | 0.016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-2_0_3_line_48 |  | 44 | 46 | 0.030039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-2_0_3_line_49 |  | 46 | 47 | 0.03355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-2_0_3_line_50 |  | 49 | 50 | 0.059531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-2_0_3_line_51 |  | 50 | 51 | 0.080802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-2_0_3_line_52 |  | 51 | 52 | 0.089293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-2_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 54 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2636407.0835 | 1245948.5969 | 2636411.79 | 1245937.6469
1 | 2636419.9048 | 1245918.7672 | 2636411.79 | 1245937.6469
2 | 2636407.0835 | 1245948.5969 | 2636411.4759 | 1245950.5029
3 | 2636424.1455 | 1245920.7945 | 2636419.9048 | 1245918.7672
4 | 2636427.446 | 1245901.2242 | 2636419.9048 | 1245918.7672
5 | 2636375.7977 | 1246034.1945 | 2636411.4759 | 1245950.5029
6 | 2636424.1455 | 1245920.7945 | 2636459.5001 | 1245935.4766
7 | 2636438.4586 | 1245874.4076 | 2636427.446 | 1245901.2242
8 | 2636427.446 | 1245901.2242 | 2636421.8603 | 1245899.2442 | 2636420.903 | 1245898.9048 | 2636392.7114 | 1245888.9156
9 | 2636306.4034 | 1246004.8506 | 2636312.7178 | 1245990.1907 | 2636360.4464 | 1246010.9853 | 2636377.1494 | 1246018.259 | 2636371.2792 | 1246031.9208 | 2636375.7977 | 1246034.1945
10 | 2636375.7977 | 1246034.1945 | 2636426.5681 | 1246059.7243
11 | 2636306.4034 | 1246004.8506 | 2636300.5605 | 1246018.4263
12 | 2636449.7002 | 1245963.817 | 2636451.9843 | 1245963.6489 | 2636461.5235 | 1245946.7297 | 2636459.5001 | 1245935.4766
13 | 2636438.4586 | 1245874.4076 | 2636435.3025 | 1245872.9206 | 2636431.7697 | 1245871.2534 | 2636391.553 | 1245852.3277 | 2636394.7611 | 1245844.8248
14 | 2636438.4586 | 1245874.4076 | 2636446.4608 | 1245855.6222 | 2636452.1022 | 1245842.3815
15 | 2636392.7114 | 1245888.9156 | 2636389.3868 | 1245887.7376 | 2636359.8915 | 1245893.1716 | 2636356.1406 | 1245900.975
16 | 2636300.5605 | 1246018.4263 | 2636317.7118 | 1246092.5326
17 | 2636456.7743 | 1245844.267 | 2636497.1867 | 1245858.38
18 | 2636456.7743 | 1245844.267 | 2636452.1022 | 1245842.3815
19 | 2636497.1867 | 1245858.38 | 2636505.3631 | 1245868.9001
20 | 2636452.1022 | 1245842.3815 | 2636462.8442 | 1245817.1786
21 | 2636432.2307 | 1245757.1936 | 2636394.7611 | 1245844.8248
22 | 2636499.3844 | 1245756.5381 | 2636516.7531 | 1245764.7115
23 | 2636499.3844 | 1245756.5381 | 2636494.5954 | 1245753.9848
24 | 2636558.059 | 1245783.739 | 2636525.4551 | 1245768.8064 | 2636516.7531 | 1245764.7115
25 | 2636494.5954 | 1245753.9848 | 2636504.5683 | 1245732.9546 | 2636501.1266 | 1245728.764 | 2636496.6748 | 1245724.1225
26 | 2636485.1296 | 1245752.748 | 2636490.8756 | 1245753.2392 | 2636494.5954 | 1245753.9848
27 | 2636507.5992 | 1245871.7772 | 2636505.3631 | 1245868.9001
28 | 2636485.1296 | 1245752.748 | 2636485.5079 | 1245758.8099 | 2636484.3345 | 1245766.5744 | 2636476.699 | 1245784.6726 | 2636462.8442 | 1245817.1786
29 | 2636485.1296 | 1245752.748 | 2636478.1038 | 1245745.4001 | 2636470.0828 | 1245738.8385
30 | 2636441.2318 | 1245710.6733 | 2636445.5777 | 1245716.4926 | 2636450.6886 | 1245721.9942 | 2636455.9831 | 1245727.1079 | 2636464.8066 | 1245734.5224 | 2636470.0828 | 1245738.8385
31 | 2636479.2265 | 1245710.2285 | 2636494.8512 | 1245722.2212 | 2636496.6748 | 1245724.1225
32 | 2636441.2318 | 1245710.6733 | 2636439.4769 | 1245707.3492 | 2636438.1016 | 1245703.7051 | 2636432.7977 | 1245687.8066 | 2636429.3666 | 1245679.4134 | 2636425.149 | 1245667.9266
33 | 2636424.2767 | 1245665.5509 | 2636425.149 | 1245667.9266
34 | 2636558.059 | 1245783.739 | 2636570.3811 | 1245755.062
35 | 2636424.2767 | 1245665.5509 | 2636410.7014 | 1245665.5009 | 2636374.9831 | 1245665.4932 | 2636369.196 | 1245665.5505
36 | 2636337.5325 | 1245665.8641 | 2636369.196 | 1245665.5505
37 | 2636337.5325 | 1245665.8641 | 2636334.2334 | 1245710.5455
38 | 2636334.1279 | 1245711.9745 | 2636334.2334 | 1245710.5455
39 | 2636334.1279 | 1245711.9745 | 2636333.7431 | 1245717.1855
40 | 2636351.501 | 1245770.6958 | 2636352.5603 | 1245764.2648 | 2636349.0491 | 1245747.9548 | 2636333.7431 | 1245717.1855
41 | 2636288.5625 | 1245856.2556 | 2636285.3251 | 1245855.7021 | 2636283.2422 | 1245855.3447 | 2636267.7739 | 1245852.6938
42 | 2636288.5625 | 1245856.2556 | 2636292.6041 | 1245856.9483
43 | 2636288.5625 | 1245856.2556 | 2636290.9887 | 1245829.2732
44 | 2636316.077 | 1245860.9713 | 2636292.6041 | 1245856.9483
45 | 2636294.5786 | 1245789.3488 | 2636290.9887 | 1245829.2732
46 | 2636351.501 | 1245770.6958 | 2636349.2492 | 1245784.3465 | 2636341.4131 | 1245802.6528
47 | 2636351.501 | 1245770.6958 | 2636335.1769 | 1245768.2148
48 | 2636316.077 | 1245860.9713 | 2636320.6163 | 1245851.2372 | 2636328.2107 | 1245833.4955
49 | 2636328.2107 | 1245833.4955 | 2636341.4131 | 1245802.6528
50 | 2636593.6741 | 1245595.769 | 2636542.2235 | 1245625.7148
51 | 2636609.5922 | 1245674.9874 | 2636593.6741 | 1245595.769
52 | 2636570.3811 | 1245755.062 | 2636589.7592 | 1245709.9639 | 2636609.5922 | 1245674.9874

## bus_geodata
| x | y | coords
0 | 2636411.79 | 1245937.6469
1 | 2636407.0835 | 1245948.5969
2 | 2636419.9048 | 1245918.7672
3 | 2636411.4759 | 1245950.5029
4 | 2636424.1455 | 1245920.7945
5 | 2636427.446 | 1245901.2242
6 | 2636375.7977 | 1246034.1945
7 | 2636306.4034 | 1246004.8506
8 | 2636426.5681 | 1246059.7243
9 | 2636459.5001 | 1245935.4766
10 | 2636438.4586 | 1245874.4076
11 | 2636392.7114 | 1245888.9156
12 | 2636449.7002 | 1245963.817
13 | 2636300.5605 | 1246018.4263
14 | 2636456.7743 | 1245844.267
15 | 2636497.1867 | 1245858.38
16 | 2636452.1022 | 1245842.3815
17 | 2636394.7611 | 1245844.8248
18 | 2636356.1406 | 1245900.975
19 | 2636499.3844 | 1245756.5381
20 | 2636516.7531 | 1245764.7115
21 | 2636494.5954 | 1245753.9848
22 | 2636505.3631 | 1245868.9001
23 | 2636462.8442 | 1245817.1786
24 | 2636432.2307 | 1245757.1936
25 | 2636485.1296 | 1245752.748
26 | 2636470.0828 | 1245738.8385
27 | 2636496.6748 | 1245724.1225
28 | 2636441.2318 | 1245710.6733
29 | 2636479.2265 | 1245710.2285
30 | 2636425.149 | 1245667.9266
31 | 2636558.059 | 1245783.739
32 | 2636424.2767 | 1245665.5509
33 | 2636507.5992 | 1245871.7772
34 | 2636369.196 | 1245665.5505
35 | 2636337.5325 | 1245665.8641
36 | 2636334.2334 | 1245710.5455
37 | 2636334.1279 | 1245711.9745
38 | 2636333.7431 | 1245717.1855
39 | 2636267.7739 | 1245852.6938
40 | 2636288.5625 | 1245856.2556
41 | 2636292.6041 | 1245856.9483
42 | 2636290.9887 | 1245829.2732
43 | 2636351.501 | 1245770.6958
44 | 2636316.077 | 1245860.9713
45 | 2636294.5786 | 1245789.3488
46 | 2636328.2107 | 1245833.4955
47 | 2636341.4131 | 1245802.6528
48 | 2636335.1769 | 1245768.2148
49 | 2636542.2235 | 1245625.7148
50 | 2636593.6741 | 1245595.769
51 | 2636609.5922 | 1245674.9874
52 | 2636570.3811 | 1245755.062
53 | 2636317.7118 | 1246092.5326
54 | 2636438.4586 | 1245874.4076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99069 | -0.17778 | 0.0068569 | 0.0017185
1 | 0.99042 | -0.18309 | 0 | 0
2 | 0.9913 | -0.16613 | 0 | 0
3 | 0.99031 | -0.18522 | 0 | 0
4 | 0.99112 | -0.16959 | 0 | 0
5 | 0.99258 | -0.14125 | 0 | 0
6 | 0.9882 | -0.22588 | 0 | 0
7 | 0.98586 | -0.27138 | 0 | 0
8 | 0.98814 | -0.22704 | 0.0011397 | 0.00028563
9 | 0.98966 | -0.19788 | 0.011634 | 0.0029157
10 | 0.99465 | -0.10152 | 0 | 0
11 | 0.99245 | -0.14393 | 0.0017603 | 0.00044118
12 | 0.98875 | -0.21557 | 0.029963 | 0.0075095
13 | 0.98554 | -0.27773 | 0.0043921 | 0.0011008
14 | 0.99273 | -0.13819 | 0 | 0
15 | 0.99219 | -0.14857 | 0.0045803 | 0.0011479
16 | 0.99279 | -0.13697 | 0 | 0
17 | 1 | 0 | -0.20003 | -0.050887
18 | 0.99236 | -0.14567 | 0.0023402 | 0.00058651
19 | 0.98835 | -0.22199 | 0 | 0
20 | 0.98828 | -0.22338 | 0.00097043 | 0.00024321
21 | 0.98837 | -0.2216 | 0 | 0
22 | 0.99208 | -0.15072 | 0.008845 | 0.0022168
23 | 0.9915 | -0.16165 | 0.0051813 | 0.0012986
24 | 0.9998 | -0.0037873 | 0.0022779 | 0.0005709
25 | 0.98841 | -0.22081 | 0 | 0
26 | 0.98753 | -0.23766 | 0.00067958 | 0.00017032
27 | 0.98835 | -0.22195 | 0.00038337 | 9.6082e-05
28 | 0.98581 | -0.27072 | 0 | 0
29 | 0.98835 | -0.22202 | 0.00017605 | 4.4123e-05
30 | 0.98388 | -0.3082 | 0.00038169 | 9.566e-05
31 | 0.98815 | -0.2259 | 0 | 0
32 | 0.98377 | -0.31027 | 0 | 0
33 | 0.99208 | -0.15073 | 0.0002722 | 6.822e-05
34 | 0.98145 | -0.35544 | 0.030969 | 0.0077614
35 | 0.98056 | -0.37261 | 0 | 0
36 | 0.97931 | -0.39695 | 0.0049655 | 0.0012445
37 | 0.97924 | -0.39838 | 0.0025341 | 0.0006351
38 | 0.97899 | -0.40336 | 0.0092962 | 0.0023298
39 | 0.97233 | -0.53388 | 0.0051251 | 0.0012845
40 | 0.97243 | -0.53188 | 0 | 0
41 | 0.97256 | -0.52933 | 0.0013258 | 0.00033227
42 | 0.97171 | -0.54622 | 0.0037043 | 0.00092838
43 | 0.97667 | -0.44857 | 0 | 0
44 | 0.97334 | -0.51392 | 0 | 0
45 | 0.97077 | -0.56471 | 0.024976 | 0.0062595
46 | 0.97433 | -0.49453 | 0.0015044 | 0.00037704
47 | 0.97548 | -0.47198 | 0.0012838 | 0.00032174
48 | 0.97659 | -0.45012 | 0.0051539 | 0.0012917
49 | 0.98778 | -0.23302 | 0.00075134 | 0.0001883
50 | 0.98782 | -0.23222 | 0.00039431 | 9.8824e-05
51 | 0.98791 | -0.23056 | 0.00069577 | 0.00017438
52 | 0.98806 | -0.22762 | 0.0012434 | 0.00031164
53 | 0.98416 | -0.30446 | 0.019556 | 0.0049013
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.025231 | 0.0063742 | -0.025224 | -0.0063703 | 6.4249e-06 | 3.9585e-06 | 0.037914 | 0.037914 | 0.037914 | 0.99069 | -0.17778 | 0.99042 | -0.18309 | 10.4161
1 | -0.032088 | -0.0080927 | 0.032105 | 0.0081039 | 1.7913e-05 | 1.12e-05 | 0.048213 | 0.048213 | 0.048213 | 0.99069 | -0.17778 | 0.9913 | -0.16613 | 13.2455
2 | 0.025224 | 0.0063703 | -0.025222 | -0.0063687 | 2.5746e-06 | 1.5863e-06 | 0.037914 | 0.037914 | 0.037914 | 0.99042 | -0.18309 | 0.99031 | -0.18522 | 10.4161
3 | 0.041685 | 0.010481 | -0.041678 | -0.010476 | 6.8873e-06 | 4.3475e-06 | 0.062585 | 0.062585 | 0.062585 | 0.9913 | -0.16613 | 0.99112 | -0.16959 | 17.1937
4 | -0.073791 | -0.018585 | 0.073879 | 0.018641 | 8.7878e-05 | 5.5995e-05 | 0.1108 | 0.1108 | 0.1108 | 0.9913 | -0.16613 | 0.99258 | -0.14125 | 30.4391
5 | 0.025222 | 0.0063687 | -0.025173 | -0.0063385 | 4.9027e-05 | 3.021e-05 | 0.037914 | 0.037915 | 0.037915 | 0.99031 | -0.18522 | 0.9882 | -0.22588 | 10.4162
6 | 0.041678 | 0.010476 | -0.041622 | -0.010441 | 5.623e-05 | 3.5494e-05 | 0.062585 | 0.062585 | 0.062585 | 0.99112 | -0.16959 | 0.98966 | -0.19788 | 17.1937
7 | -0.07798 | -0.019668 | 0.078128 | 0.019763 | 0.00014863 | 9.475e-05 | 0.11695 | 0.11695 | 0.11695 | 0.99258 | -0.14125 | 0.99465 | -0.10152 | 32.1281
8 | 0.0041013 | 0.0010271 | -0.0041007 | -0.0010273 | 5.2236e-07 | -1.4194e-07 | 0.0061481 | 0.0061482 | 0.0061482 | 0.99258 | -0.14125 | 0.99245 | -0.14393 | 1.6891
9 | 0.024033 | 0.0060535 | -0.023981 | -0.0060215 | 5.2171e-05 | 3.2033e-05 | 0.036199 | 0.036199 | 0.036199 | 0.9882 | -0.22588 | 0.98586 | -0.27138 | 9.9449
10 | 0.0011397 | 0.00028494 | -0.0011397 | -0.00028563 | 6.2758e-08 | -6.8785e-07 | 0.001716 | 0.0017162 | 0.0017162 | 0.9882 | -0.22588 | 0.98814 | -0.22704 | 0.47149
11 | 0.023981 | 0.0060215 | -0.023973 | -0.006017 | 7.2627e-06 | 4.4598e-06 | 0.036199 | 0.0362 | 0.0362 | 0.98586 | -0.27138 | 0.98554 | -0.27773 | 9.9449
12 | 0.029988 | 0.0075252 | -0.029963 | -0.0075095 | 2.5275e-05 | 1.5751e-05 | 0.045093 | 0.045093 | 0.045093 | 0.98966 | -0.19788 | 0.98875 | -0.21557 | 12.3882
13 | -0.19515 | -0.049703 | 0.19611 | 0.050317 | 0.00096073 | 0.0006133 | 0.29222 | 0.29222 | 0.29222 | 0.99465 | -0.10152 | 1 | 0 | 40.1407
14 | 0.11702 | 0.029941 | -0.11682 | -0.029813 | 0.00020046 | 0.0001274 | 0.17528 | 0.17528 | 0.17528 | 0.99465 | -0.10152 | 0.99279 | -0.13697 | 24.0767
15 | 0.0023404 | 0.00058609 | -0.0023402 | -0.00058651 | 1.9475e-07 | -4.2032e-07 | 0.0035089 | 0.0035091 | 0.0035091 | 0.99245 | -0.14393 | 0.99236 | -0.14567 | 0.96403
16 | 0.019581 | 0.0049163 | -0.019556 | -0.0049013 | 2.4938e-05 | 1.4993e-05 | 0.029568 | 0.029568 | 0.029568 | 0.98554 | -0.27773 | 0.98416 | -0.30446 | 8.1232
17 | 0.013705 | 0.0034371 | -0.013698 | -0.0034333 | 6.7749e-06 | 3.7828e-06 | 0.020544 | 0.020544 | 0.020544 | 0.99273 | -0.13819 | 0.99219 | -0.14857 | 5.644
18 | -0.013705 | -0.0034371 | 0.013706 | 0.0034375 | 7.953e-07 | 4.4402e-07 | 0.020544 | 0.020544 | 0.020544 | 0.99273 | -0.13819 | 0.99279 | -0.13697 | 5.6439
19 | 0.0091182 | 0.0022854 | -0.0091172 | -0.0022849 | 9.3435e-07 | 4.2592e-07 | 0.013675 | 0.013675 | 0.013675 | 0.99219 | -0.14857 | 0.99208 | -0.15072 | 3.7568
20 | 0.10311 | 0.026376 | -0.10299 | -0.026298 | 0.00012299 | 7.8007e-05 | 0.15473 | 0.15474 | 0.15474 | 0.99279 | -0.13697 | 0.9915 | -0.16165 | 21.2548
21 | 0.0022783 | 0.00056991 | -0.0022779 | -0.0005709 | 4.1073e-07 | -9.8723e-07 | 0.0033898 | 0.0033902 | 0.0033902 | 1 | 0 | 0.9998 | -0.0037873 | 0.93138
22 | 0.0040566 | 0.001013 | -0.0040563 | -0.0010131 | 2.6839e-07 | -7.4211e-08 | 0.0061061 | 0.0061062 | 0.0061062 | 0.98835 | -0.22199 | 0.98828 | -0.22338 | 1.6775
23 | -0.0040566 | -0.001013 | 0.0040566 | 0.001013 | 7.571e-08 | -2.0942e-08 | 0.0061061 | 0.0061061 | 0.0061061 | 0.98835 | -0.22199 | 0.98837 | -0.2216 | 1.6775
24 | 0.0030859 | 0.00076985 | -0.0030855 | -0.0007702 | 3.6799e-07 | -3.4715e-07 | 0.004645 | 0.0046452 | 0.0046452 | 0.98828 | -0.22338 | 0.98815 | -0.2259 | 1.2762
25 | 0.00055943 | 0.00013948 | -0.00055943 | -0.00013992 | 9.341e-09 | -4.4422e-07 | 0.00084199 | 0.00084215 | 0.00084215 | 0.98837 | -0.2216 | 0.98835 | -0.22195 | 0.23136
26 | -0.0046161 | -0.0011524 | 0.0046162 | 0.0011524 | 1.7258e-07 | -1.1729e-08 | 0.0069481 | 0.006948 | 0.0069481 | 0.98837 | -0.2216 | 0.98841 | -0.22081 | 1.9088
27 | 0.0002722 | 6.8173e-05 | -0.0002722 | -6.822e-05 | 2.2777e-10 | -4.6904e-08 | 0.00040826 | 0.00040827 | 0.00040827 | 0.99208 | -0.15072 | 0.99208 | -0.15073 | 0.11216
28 | 0.097806 | 0.024999 | -0.097527 | -0.024822 | 0.00027903 | 0.00017681 | 0.14696 | 0.14696 | 0.14696 | 0.9915 | -0.16165 | 0.98841 | -0.22081 | 20.1868
29 | 0.092911 | 0.02367 | -0.092835 | -0.023622 | 7.5458e-05 | 4.7767e-05 | 0.14001 | 0.14001 | 0.14001 | 0.98841 | -0.22081 | 0.98753 | -0.23766 | 19.2324
30 | 0.092156 | 0.023452 | -0.092009 | -0.023359 | 0.0001466 | 9.2792e-05 | 0.13899 | 0.13899 | 0.13899 | 0.98753 | -0.23766 | 0.98581 | -0.27072 | 19.0918
31 | 0.00017605 | 4.3837e-05 | -0.00017605 | -4.4123e-05 | 5.881e-10 | -2.858e-07 | 0.00026496 | 0.00026506 | 0.00026506 | 0.98835 | -0.22195 | 0.98835 | -0.22202 | 0.072818
32 | 0.092009 | 0.023359 | -0.091844 | -0.023254 | 0.00016559 | 0.00010482 | 0.13899 | 0.13899 | 0.13899 | 0.98581 | -0.27072 | 0.98388 | -0.3082 | 19.0919
33 | 0.091462 | 0.023159 | -0.091453 | -0.023153 | 9.0909e-06 | 5.7539e-06 | 0.13841 | 0.13841 | 0.13841 | 0.98388 | -0.3082 | 0.98377 | -0.31027 | 19.0126
34 | 0.0030855 | 0.0007702 | -0.0030852 | -0.00077044 | 2.5257e-07 | -2.3815e-07 | 0.0046452 | 0.0046454 | 0.0046454 | 0.98815 | -0.2259 | 0.98806 | -0.22762 | 1.2762
35 | 0.091453 | 0.023153 | -0.091255 | -0.023028 | 0.00019786 | 0.00012523 | 0.13841 | 0.13841 | 0.13841 | 0.98377 | -0.31027 | 0.98145 | -0.35544 | 19.0127
36 | 0.060286 | 0.015266 | -0.060237 | -0.015235 | 4.9664e-05 | 3.0985e-05 | 0.091459 | 0.09146 | 0.09146 | 0.98145 | -0.35544 | 0.98056 | -0.37261 | 12.5631
37 | 0.060237 | 0.015235 | -0.060166 | -0.015191 | 7.027e-05 | 4.3844e-05 | 0.09146 | 0.09146 | 0.09146 | 0.98056 | -0.37261 | 0.97931 | -0.39695 | 12.5632
38 | 0.055201 | 0.013947 | -0.055197 | -0.013945 | 3.7839e-06 | 2.4036e-06 | 0.083915 | 0.083915 | 0.083915 | 0.97931 | -0.39695 | 0.97924 | -0.39838 | 23.0537
39 | 0.052663 | 0.013309 | -0.052651 | -0.013301 | 1.2561e-05 | 7.9731e-06 | 0.080065 | 0.080065 | 0.080065 | 0.97924 | -0.39838 | 0.97899 | -0.40336 | 21.9958
40 | 0.043354 | 0.010972 | -0.043261 | -0.010912 | 9.3851e-05 | 5.9343e-05 | 0.065935 | 0.065935 | 0.065935 | 0.97899 | -0.40336 | 0.97667 | -0.44857 | 18.114
41 | -0.0051251 | -0.0012845 | 0.0051256 | 0.0012845 | 4.8654e-07 | 4.9754e-08 | 0.0078432 | 0.0078431 | 0.0078432 | 0.97233 | -0.53388 | 0.97243 | -0.53188 | 2.1547
42 | -0.033847 | -0.0084983 | 0.033851 | 0.0085008 | 4.1257e-06 | 2.5896e-06 | 0.051799 | 0.051799 | 0.051799 | 0.97243 | -0.53188 | 0.97256 | -0.52933 | 14.2304
43 | 0.028722 | 0.0072137 | -0.028702 | -0.0072015 | 1.9629e-05 | 1.2226e-05 | 0.043956 | 0.043956 | 0.043956 | 0.97243 | -0.53188 | 0.97171 | -0.54622 | 12.0757
44 | -0.035177 | -0.0088331 | 0.035203 | 0.0088494 | 2.5875e-05 | 1.6264e-05 | 0.053827 | 0.053827 | 0.053827 | 0.97256 | -0.52933 | 0.97334 | -0.51392 | 14.7877
45 | 0.024998 | 0.0062731 | -0.024976 | -0.0062595 | 2.2031e-05 | 1.3604e-05 | 0.038283 | 0.038283 | 0.038283 | 0.97171 | -0.54622 | 0.97077 | -0.56471 | 10.5174
46 | 0.038106 | 0.0096205 | -0.038064 | -0.0095936 | 4.2694e-05 | 2.6903e-05 | 0.058082 | 0.058082 | 0.058082 | 0.97667 | -0.44857 | 0.97548 | -0.47198 | 15.9567
47 | 0.0051543 | 0.0012917 | -0.0051539 | -0.0012917 | 3.8184e-07 | 3.7759e-08 | 0.0078528 | 0.0078529 | 0.0078529 | 0.97667 | -0.44857 | 0.97659 | -0.45012 | 2.1574
48 | -0.035203 | -0.0088494 | 0.035236 | 0.0088699 | 3.2638e-05 | 2.0514e-05 | 0.053827 | 0.053827 | 0.053827 | 0.97334 | -0.51392 | 0.97433 | -0.49453 | 14.7876
49 | -0.03674 | -0.0092469 | 0.03678 | 0.0092719 | 3.963e-05 | 2.4945e-05 | 0.056124 | 0.056124 | 0.056124 | 0.97433 | -0.49453 | 0.97548 | -0.47198 | 15.4188
50 | -0.00075134 | -0.0001883 | 0.00075137 | 0.00018756 | 2.8591e-08 | -7.4377e-07 | 0.0011318 | 0.0011316 | 0.0011318 | 0.98778 | -0.23302 | 0.98782 | -0.23222 | 0.31094
51 | -0.0011457 | -0.00028638 | 0.0011458 | 0.00028541 | 9.0201e-08 | -9.7676e-07 | 0.0017255 | 0.0017252 | 0.0017255 | 0.98782 | -0.23222 | 0.98791 | -0.23056 | 0.47405
52 | -0.0018415 | -0.00045978 | 0.0018418 | 0.00045881 | 2.5748e-07 | -9.7869e-07 | 0.0027732 | 0.0027728 | 0.0027732 | 0.98791 | -0.23056 | 0.98806 | -0.22762 | 0.76186

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20486 | 0.052096

## res_load
| p_mw | q_mvar
0 | 0.0068569 | 0.0017185
1 | 0.0011397 | 0.00028563
2 | 0.011634 | 0.0029157
3 | 0.0017603 | 0.00044118
4 | 0.029963 | 0.0075095
5 | 0.0043921 | 0.0011008
6 | 0.0045803 | 0.0011479
7 | 0.0048263 | 0.0012096
8 | 0.0023402 | 0.00058651
9 | 0.00097043 | 0.00024321
10 | 0.008845 | 0.0022168
11 | 0.0051813 | 0.0012986
12 | 0.0022779 | 0.0005709
13 | 0.00067958 | 0.00017032
14 | 0.00038337 | 9.6082e-05
15 | 0.00017605 | 4.4123e-05
16 | 0.00038169 | 9.566e-05
17 | 0.0002722 | 6.822e-05
18 | 0.030969 | 0.0077614
19 | 0.0049655 | 0.0012445
20 | 0.0025341 | 0.0006351
21 | 0.0092962 | 0.0023298
22 | 0.0051251 | 0.0012845
23 | 0.0013258 | 0.00033227
24 | 0.0037043 | 0.00092838
25 | 0.024976 | 0.0062595
26 | 0.0015044 | 0.00037704
27 | 0.0012838 | 0.00032174
28 | 0.0051539 | 0.0012917
29 | 0.00075134 | 0.0001883
30 | 0.00039431 | 9.8824e-05
31 | 0.00069577 | 0.00017438
32 | 0.0012434 | 0.00031164
33 | 0.019556 | 0.0049013

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1