## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-31_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-31_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-31_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-31_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-31_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-31_0_6_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2581-31_0_6_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_2581-31_0_6_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2581-31_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2581-31_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2581-31_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2581-31_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2581-31_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2581-31_0_6_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_2581-31_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2581-31_0_6_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_2581-31_0_6_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_2581-31_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2581-31_0_6_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_2581-31_0_6_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_2581-31_0_6_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_2581-31_0_6_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_2581-31_0_6_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_2581-31_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2581-31_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2581-31_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2581-31_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2581-31_0_6_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_2581-31_0_6_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_2581-31_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_2581-31_0_6_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2581-31_0_6_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2581-31_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2581-31_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2581-31_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2581-31_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2581-31_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2581-31_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2581-31_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2581-31_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2581-31_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2581-31_0_6_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_2581-31_0_6_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_2581-31_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2581-31_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2581-31_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2581-31_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2581-31_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2581-31_0_6_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2581-31_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2581-31_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2581-31_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_MV_523_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-31_0_6_load_0 | 0 | 0.0059829 | 0.0014995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-31_0_6_load_1 | 1 | 0.0055176 | 0.0013828 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-31_0_6_load_2 | 2 | 0.0088933 | 0.0022289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-31_0_6_load_3 | 3 | 0.0057882 | 0.0014507 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-31_0_6_load_4 | 4 | 0.0057056 | 0.00143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-31_0_6_load_19 | 5 | 0.0056824 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-31_0_6_load_49 | 6 | 0.0062234 | 0.0015597 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-31_0_6_load_17 | 7 | 0.005859 | 0.0014684 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-31_0_6_load_5 | 8 | 0.010351 | 0.0025943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-31_0_6_load_6 | 9 | 0.0067118 | 0.0016821 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-31_0_6_load_7 | 10 | 0.0083828 | 0.0021009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-31_0_6_load_42 | 13 | 0.0059109 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-31_0_6_load_46 | 15 | 0.0071195 | 0.0017843 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-31_0_6_load_43 | 16 | 0.033538 | 0.0084053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-31_0_6_load_15 | 17 | 0.010316 | 0.0025855 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-31_0_6_load_50 | 19 | 0.0086279 | 0.0021624 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-31_0_6_load_52 | 21 | 0.034193 | 0.0085695 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-31_0_6_load_47 | 22 | 0.031407 | 0.0078714 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-31_0_6_load_10 | 23 | 0.024347 | 0.0061021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-31_0_6_load_11 | 24 | 0.0030867 | 0.00077361 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-31_0_6_load_12 | 25 | 0.005798 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-31_0_6_load_14 | 26 | 0.0041476 | 0.0010395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-31_0_6_load_55 | 29 | 0.02729 | 0.0068396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-31_0_6_load_37 | 31 | 0.013265 | 0.0033244 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-31_0_6_load_18 | 33 | 0.0058717 | 0.0014716 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-31_0_6_load_20 | 34 | 0.0055346 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-31_0_6_load_21 | 35 | 0.010934 | 0.0027403 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-31_0_6_load_22 | 36 | 0.0058915 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-31_0_6_load_23 | 37 | 0.0063969 | 0.0016032 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-31_0_6_load_24 | 38 | 0.006406 | 0.0016055 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-31_0_6_load_25 | 39 | 0.058889 | 0.014759 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-31_0_6_load_26 | 40 | 0.0063989 | 0.0016037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-31_0_6_load_53 | 41 | 0.0063131 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-31_0_6_load_54 | 42 | 0.011024 | 0.0027629 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-31_0_6_load_27 | 43 | 0.047664 | 0.011946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-31_0_6_load_40 | 46 | 0.019426 | 0.0048686 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-31_0_6_load_39 | 47 | 0.02263 | 0.0056716 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-31_0_6_load_51 | 48 | 0.005658 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-31_0_6_load_45 | 49 | 0.016475 | 0.004129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-31_0_6_load_44 | 50 | 0.0052951 | 0.0013271 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-31_0_6_load_48 | 51 | 0.011817 | 0.0029617 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-31_0_6_line_0 |  | 0 | 1 | 0.00057484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-31_0_6_line_1 |  | 0 | 2 | 0.0099198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-31_0_6_line_2 |  | 1 | 3 | 0.005901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-31_0_6_line_3 |  | 2 | 4 | 0.002596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-31_0_6_line_4 |  | 3 | 5 | 0.0030653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-31_0_6_line_5 |  | 4 | 6 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-31_0_6_line_6 |  | 5 | 7 | 0.004439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-31_0_6_line_7 |  | 7 | 33 | 0.0064308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-31_0_6_line_8 |  | 8 | 9 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-31_0_6_line_9 |  | 8 | 10 | 0.0038237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-31_0_6_line_10 |  | 9 | 11 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-31_0_6_line_11 |  | 10 | 12 | 0.027981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-31_0_6_line_12 |  | 11 | 13 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-31_0_6_line_13 |  | 11 | 14 | 0.0092597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-31_0_6_line_14 |  | 12 | 15 | 0.0095606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-31_0_6_line_15 |  | 13 | 16 | 0.003971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-31_0_6_line_16 |  | 14 | 17 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-31_0_6_line_17 |  | 15 | 22 | 0.0035151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-31_0_6_line_18 |  | 16 | 50 | 0.0051542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2581-31_0_6_line_19 |  | 17 | 26 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-31_0_6_line_20 |  | 18 | 19 | 0.06546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-31_0_6_line_21 |  | 18 | 20 | 0.006295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-31_0_6_line_22 |  | 19 | 48 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-31_0_6_line_23 |  | 20 | 21 | 0.028439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-31_0_6_line_24 |  | 21 | 45 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-31_0_6_line_25 |  | 22 | 51 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-31_0_6_line_26 |  | 23 | 24 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-31_0_6_line_27 |  | 23 | 25 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-31_0_6_line_28 |  | 25 | 26 | 0.0082841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-31_0_6_line_29 |  | 27 | 28 | 0.001978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2581-31_0_6_line_30 |  | 27 | 29 | 0.021799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2581-31_0_6_line_31 |  | 28 | 49 | 0.0033071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2581-31_0_6_line_32 |  | 29 | 44 | 0.035283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2581-31_0_6_line_33 |  | 30 | 31 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-31_0_6_line_34 |  | 30 | 32 | 0.033178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-31_0_6_line_35 |  | 32 | 44 | 0.061547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-31_0_6_line_36 |  | 32 | 43 | 0.015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-31_0_6_line_37 |  | 33 | 34 | 0.007508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-31_0_6_line_38 |  | 34 | 35 | 0.0042164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-31_0_6_line_39 |  | 35 | 36 | 0.0021684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-31_0_6_line_40 |  | 36 | 37 | 0.0086496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-31_0_6_line_41 |  | 37 | 38 | 0.0096629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-31_0_6_line_42 |  | 38 | 39 | 0.0015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-31_0_6_line_43 |  | 39 | 40 | 0.0081136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2581-31_0_6_line_44 |  | 40 | 41 | 0.0096506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2581-31_0_6_line_45 |  | 41 | 42 | 0.010663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2581-31_0_6_line_46 |  | 42 | 44 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2581-31_0_6_line_47 |  | 44 | 45 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-31_0_6_line_48 |  | 45 | 46 | 0.020151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-31_0_6_line_49 |  | 46 | 47 | 0.008894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-31_0_6_line_50 |  | 49 | 50 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-31_0_6_trafo_55 | 0.63 MVA 20/0.4 kV | 52 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2635549.9878 | 1244683.1955 | 2635549.6982 | 1244683.6921
1 | 2635549.6982 | 1244683.6921 | 2635544.6994 | 1244692.2603
2 | 2635549.9878 | 1244683.1955 | 2635552.9615 | 1244678.0985
3 | 2635543.3912 | 1244694.5026 | 2635544.6994 | 1244692.2603
4 | 2635554.5061 | 1244675.4509 | 2635552.9615 | 1244678.0985
5 | 2635535.2704 | 1244705.9875 | 2635543.3128 | 1244694.637 | 2635543.3912 | 1244694.5026
6 | 2635554.5061 | 1244675.4509 | 2635556.743 | 1244671.6167
7 | 2635559.9836 | 1244666.0621 | 2635559.757 | 1244666.4505 | 2635556.743 | 1244671.6167
8 | 2635498.6603 | 1244616.303 | 2635497.2831 | 1244603.4552
9 | 2635498.6603 | 1244616.303 | 2635499.0678 | 1244620.1049
10 | 2635495.8595 | 1244590.1744 | 2635497.2831 | 1244603.4552
11 | 2635502.0501 | 1244647.9266 | 2635499.0678 | 1244620.1049
12 | 2635495.8595 | 1244590.1744 | 2635498.9456 | 1244589.6369 | 2635515.6048 | 1244589.1161
13 | 2635486.7375 | 1244591.7653 | 2635492.5239 | 1244590.7548 | 2635495.8595 | 1244590.1744
14 | 2635502.0501 | 1244647.9266 | 2635505.6776 | 1244647.8149 | 2635511.5782 | 1244647.2122
15 | 2635515.6048 | 1244589.1161 | 2635519.5739 | 1244588.992
16 | 2635486.7375 | 1244591.7653 | 2635484.9386 | 1244584.2831 | 2635484.0847 | 1244577.3949
17 | 2635511.5782 | 1244647.2122 | 2635515.0751 | 1244646.855
18 | 2635519.5739 | 1244588.992 | 2635524.7256 | 1244588.831
19 | 2635482.3189 | 1244563.1511 | 2635484.0847 | 1244577.3949
20 | 2635664.7553 | 1244583.1927 | 2635663.6048 | 1244535.7327 | 2635668.0979 | 1244529.9004 | 2635668.0622 | 1244519.2768
21 | 2635658.4449 | 1244583.3882 | 2635664.7553 | 1244583.1927
22 | 2635668.0622 | 1244519.2768 | 2635667.9867 | 1244496.891
23 | 2635658.4449 | 1244583.3882 | 2635631.2455 | 1244584.27 | 2635630.0212 | 1244584.3205
24 | 2635615.4722 | 1244584.9203 | 2635630.0212 | 1244584.3205
25 | 2635526.215 | 1244647.7376 | 2635517.5023 | 1244646.607 | 2635515.0751 | 1244646.855
26 | 2635479.0895 | 1244536.9579 | 2635477.4772 | 1244521.8875
27 | 2635479.0895 | 1244536.9579 | 2635479.2006 | 1244537.9966 | 2635481.2998 | 1244554.9299
28 | 2635482.3189 | 1244563.1511 | 2635481.2998 | 1244554.9299
29 | 2635543.1262 | 1244588.2558 | 2635545.0995 | 1244588.0563
30 | 2635545.0995 | 1244588.0563 | 2635566.8794 | 1244587.1322
31 | 2635543.1262 | 1244588.2558 | 2635539.8207 | 1244588.3591
32 | 2635602.118 | 1244585.385 | 2635588.5878 | 1244586.2044 | 2635581.8386 | 1244586.4975 | 2635566.8794 | 1244587.1322
33 | 2635581.6536 | 1244510.2025 | 2635581.8073 | 1244496.3018
34 | 2635600.2117 | 1244524.0115 | 2635600.6593 | 1244509.8495 | 2635581.6536 | 1244510.2025
35 | 2635602.118 | 1244585.385 | 2635600.3189 | 1244570.3978 | 2635599.2026 | 1244556.2041 | 2635600.2117 | 1244524.0115
36 | 2635600.2117 | 1244524.0115 | 2635614.793 | 1244518.0395
37 | 2635559.9836 | 1244666.0621 | 2635563.767 | 1244659.577
38 | 2635563.767 | 1244659.577 | 2635565.8917 | 1244655.9351
39 | 2635565.8917 | 1244655.9351 | 2635566.9844 | 1244654.0622
40 | 2635571.343 | 1244646.5911 | 2635566.9844 | 1244654.0622
41 | 2635571.343 | 1244646.5911 | 2635576.2124 | 1244638.2447
42 | 2635577.0147 | 1244636.8694 | 2635576.2124 | 1244638.2447
43 | 2635581.1033 | 1244629.8613 | 2635577.0147 | 1244636.8694
44 | 2635585.9663 | 1244621.5256 | 2635581.1033 | 1244629.8613
45 | 2635585.9663 | 1244621.5256 | 2635591.3396 | 1244612.3154
46 | 2635602.118 | 1244585.385 | 2635600.4211 | 1244596.1818 | 2635597.6159 | 1244601.5574 | 2635591.3396 | 1244612.3154
47 | 2635602.118 | 1244585.385 | 2635615.4722 | 1244584.9203
48 | 2635615.4722 | 1244584.9203 | 2635623.0581 | 1244596.3065 | 2635626.6172 | 1244601.7085
49 | 2635631.5104 | 1244609.1354 | 2635626.6172 | 1244601.7085
50 | 2635524.7256 | 1244588.831 | 2635539.8207 | 1244588.3591

## bus_geodata
| x | y | coords
0 | 2635549.6982 | 1244683.6921
1 | 2635549.9878 | 1244683.1955
2 | 2635544.6994 | 1244692.2603
3 | 2635552.9615 | 1244678.0985
4 | 2635543.3912 | 1244694.5026
5 | 2635554.5061 | 1244675.4509
6 | 2635535.2704 | 1244705.9875
7 | 2635556.743 | 1244671.6167
8 | 2635498.6603 | 1244616.303
9 | 2635497.2831 | 1244603.4552
10 | 2635499.0678 | 1244620.1049
11 | 2635495.8595 | 1244590.1744
12 | 2635502.0501 | 1244647.9266
13 | 2635515.6048 | 1244589.1161
14 | 2635486.7375 | 1244591.7653
15 | 2635511.5782 | 1244647.2121
16 | 2635519.5739 | 1244588.992
17 | 2635484.0847 | 1244577.3949
18 | 2635664.7553 | 1244583.1927
19 | 2635668.0621 | 1244519.2768
20 | 2635658.4449 | 1244583.3882
21 | 2635630.0212 | 1244584.3205
22 | 2635515.0751 | 1244646.855
23 | 2635479.0895 | 1244536.9579
24 | 2635477.4772 | 1244521.8875
25 | 2635481.2998 | 1244554.9299
26 | 2635482.3189 | 1244563.1511
27 | 2635545.0995 | 1244588.0563
28 | 2635543.1262 | 1244588.2558
29 | 2635566.8794 | 1244587.1322
30 | 2635581.6536 | 1244510.2025
31 | 2635581.8073 | 1244496.3018
32 | 2635600.2117 | 1244524.0115
33 | 2635559.9836 | 1244666.0621
34 | 2635563.767 | 1244659.577
35 | 2635565.8917 | 1244655.9351
36 | 2635566.9844 | 1244654.0622
37 | 2635571.343 | 1244646.5911
38 | 2635576.2124 | 1244638.2447
39 | 2635577.0147 | 1244636.8694
40 | 2635581.1033 | 1244629.8613
41 | 2635585.9663 | 1244621.5256
42 | 2635591.3396 | 1244612.3154
43 | 2635614.793 | 1244518.0395
44 | 2635602.118 | 1244585.385
45 | 2635615.4722 | 1244584.9203
46 | 2635626.6172 | 1244601.7085
47 | 2635631.5104 | 1244609.1354
48 | 2635667.9867 | 1244496.891
49 | 2635539.8207 | 1244588.3591
50 | 2635524.7256 | 1244588.831
51 | 2635526.215 | 1244647.7376
52 | 2635545.0995 | 1244588.0563

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9904 | -0.18489 | 0.0059829 | 0.0014995
1 | 0.99041 | -0.18462 | 0.0055176 | 0.0013828
2 | 0.99021 | -0.18856 | 0.0088933 | 0.0022289
3 | 0.99058 | -0.18123 | 0.0057882 | 0.0014507
4 | 0.99018 | -0.18912 | 0.0057056 | 0.00143
5 | 0.99069 | -0.17916 | 0.0056824 | 0.0014241
6 | 0.9901 | -0.19067 | 0.0062234 | 0.0015597
7 | 0.99087 | -0.1757 | 0.005859 | 0.0014684
8 | 0.99287 | -0.1369 | 0.010351 | 0.0025943
9 | 0.99369 | -0.12113 | 0.0067118 | 0.0016821
10 | 0.99267 | -0.14087 | 0.0083828 | 0.0021009
11 | 0.99462 | -0.10328 | 0 | 0
12 | 0.99138 | -0.16582 | 0 | 0
13 | 0.99685 | -0.060292 | 0.0059109 | 0.0014814
14 | 0.99421 | -0.11106 | 0 | 0
15 | 0.99094 | -0.17436 | 0.0071195 | 0.0017843
16 | 0.99732 | -0.051284 | 0.033538 | 0.0084053
17 | 0.99358 | -0.12338 | 0.010316 | 0.0025855
18 | 0.99431 | -0.10918 | 0 | 0
19 | 0.99346 | -0.12568 | 0.0086279 | 0.0021624
20 | 0.9944 | -0.10759 | 0 | 0
21 | 0.99477 | -0.10043 | 0.034193 | 0.0085695
22 | 0.9908 | -0.17705 | 0.031407 | 0.0078714
23 | 0.99238 | -0.14651 | 0.024347 | 0.0061021
24 | 0.99234 | -0.14734 | 0.0030867 | 0.00077361
25 | 0.99283 | -0.13772 | 0.005798 | 0.0014531
26 | 0.99309 | -0.13286 | 0.0041476 | 0.0010395
27 | 0.99877 | -0.023423 | 0 | 0
28 | 0.99866 | -0.025551 | 0 | 0
29 | 1 | 0 | -0.51428 | -0.12969
30 | 0.99268 | -0.14064 | 0 | 0
31 | 0.99251 | -0.14391 | 0.013265 | 0.0033244
32 | 0.99308 | -0.13286 | 0 | 0
33 | 0.99116 | -0.17004 | 0.0058717 | 0.0014716
34 | 0.99154 | -0.16264 | 0.0055346 | 0.0013871
35 | 0.99178 | -0.15808 | 0.010934 | 0.0027403
36 | 0.99192 | -0.15532 | 0.0058915 | 0.0014766
37 | 0.99254 | -0.14339 | 0.0063969 | 0.0016032
38 | 0.99328 | -0.12899 | 0.006406 | 0.0016055
39 | 0.99342 | -0.12644 | 0.058889 | 0.014759
40 | 0.99397 | -0.11573 | 0.0063989 | 0.0016037
41 | 0.99443 | -0.10688 | 0.0063131 | 0.0015822
42 | 0.99496 | -0.09672 | 0.011024 | 0.0027629
43 | 0.9924 | -0.14614 | 0.047664 | 0.011946
44 | 0.99651 | -0.066812 | 0 | 0
45 | 0.99541 | -0.088008 | 0 | 0
46 | 0.99464 | -0.10293 | 0.019426 | 0.0048686
47 | 0.99445 | -0.10647 | 0.02263 | 0.0056716
48 | 0.99335 | -0.12792 | 0.005658 | 0.001418
49 | 0.99848 | -0.02911 | 0.016475 | 0.004129
50 | 0.9977 | -0.043928 | 0.0052951 | 0.0013271
51 | 0.99068 | -0.17941 | 0.011817 | 0.0029617
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02681 | -0.0067205 | 0.02681 | 0.0067207 | 3.4976e-07 | 2.1645e-07 | 0.040281 | 0.040281 | 0.040281 | 0.9904 | -0.18489 | 0.99041 | -0.18462 | 11.0661
1 | 0.020827 | 0.0052211 | -0.020823 | -0.0052189 | 3.6424e-06 | 2.2035e-06 | 0.031292 | 0.031292 | 0.031292 | 0.9904 | -0.18489 | 0.99021 | -0.18856 | 8.5966
2 | -0.032328 | -0.0081036 | 0.032333 | 0.0081068 | 5.2203e-06 | 3.265e-06 | 0.04857 | 0.04857 | 0.04857 | 0.99041 | -0.18462 | 0.99058 | -0.18123 | 13.3435
3 | 0.01193 | 0.00299 | -0.01193 | -0.0029898 | 3.1288e-07 | 1.6685e-07 | 0.017927 | 0.017927 | 0.017927 | 0.99021 | -0.18856 | 0.99018 | -0.18912 | 4.9251
4 | -0.038121 | -0.0095575 | 0.038125 | 0.0095598 | 3.7695e-06 | 2.373e-06 | 0.057265 | 0.057265 | 0.057265 | 0.99058 | -0.18123 | 0.99069 | -0.17916 | 15.7321
5 | 0.0062239 | 0.0015599 | -0.0062234 | -0.0015597 | 4.6146e-07 | 1.1441e-07 | 0.0093531 | 0.0093532 | 0.0093532 | 0.99018 | -0.18912 | 0.9901 | -0.19067 | 2.5696
6 | -0.043807 | -0.010984 | 0.043814 | 0.010989 | 7.2072e-06 | 4.5554e-06 | 0.0658 | 0.0658 | 0.0658 | 0.99069 | -0.17916 | 0.99087 | -0.1757 | 18.0769
7 | -0.049673 | -0.012457 | 0.049687 | 0.012465 | 1.342e-05 | 8.506e-06 | 0.074599 | 0.074599 | 0.074599 | 0.99087 | -0.1757 | 0.99116 | -0.17004 | 20.4941
8 | -0.069177 | -0.017375 | 0.069229 | 0.017408 | 5.2096e-05 | 3.3174e-05 | 0.10369 | 0.10369 | 0.10369 | 0.99287 | -0.1369 | 0.99369 | -0.12113 | 28.4858
9 | 0.058825 | 0.014781 | -0.058814 | -0.014774 | 1.1148e-05 | 7.0853e-06 | 0.088175 | 0.088175 | 0.088175 | 0.99287 | -0.1369 | 0.99267 | -0.14087 | 24.2238
10 | -0.075941 | -0.01909 | 0.076006 | 0.019132 | 6.4797e-05 | 4.1297e-05 | 0.11374 | 0.11374 | 0.11374 | 0.99369 | -0.12113 | 0.99462 | -0.10328 | 31.247
11 | 0.050431 | 0.012673 | -0.050372 | -0.012635 | 5.9985e-05 | 3.8029e-05 | 0.075609 | 0.075609 | 0.075609 | 0.99267 | -0.14087 | 0.99138 | -0.16582 | 20.7717
12 | -0.12378 | -0.031137 | 0.12404 | 0.0313 | 0.00025475 | 0.00016278 | 0.18523 | 0.18523 | 0.18523 | 0.99462 | -0.10328 | 0.99685 | -0.060292 | 50.8872
13 | 0.047778 | 0.012005 | -0.04776 | -0.011994 | 1.7747e-05 | 1.1238e-05 | 0.07149 | 0.07149 | 0.07149 | 0.99462 | -0.10328 | 0.99421 | -0.11106 | 19.6402
14 | 0.050372 | 0.012635 | -0.050351 | -0.012622 | 2.0496e-05 | 1.2994e-05 | 0.075609 | 0.075609 | 0.075609 | 0.99138 | -0.16582 | 0.99094 | -0.17436 | 20.7717
15 | -0.12995 | -0.032781 | 0.13001 | 0.032817 | 5.6075e-05 | 3.5836e-05 | 0.19405 | 0.19405 | 0.19405 | 0.99685 | -0.060292 | 0.99732 | -0.051284 | 53.3111
16 | 0.04776 | 0.011994 | -0.047732 | -0.011976 | 2.8052e-05 | 1.7764e-05 | 0.07149 | 0.071491 | 0.071491 | 0.99421 | -0.11106 | 0.99358 | -0.12338 | 19.6403
17 | 0.043231 | 0.010837 | -0.043226 | -0.010834 | 5.5552e-06 | 3.51e-06 | 0.064918 | 0.064918 | 0.064918 | 0.99094 | -0.17436 | 0.9908 | -0.17705 | 17.8347
18 | -0.16354 | -0.041222 | 0.1636 | 0.041259 | 5.758e-05 | 3.6716e-05 | 0.24409 | 0.24409 | 0.24409 | 0.99732 | -0.051284 | 0.9977 | -0.043928 | 33.529
19 | 0.037416 | 0.0093907 | -0.037399 | -0.0093801 | 1.6903e-05 | 1.0632e-05 | 0.05604 | 0.056041 | 0.056041 | 0.99358 | -0.12338 | 0.99309 | -0.13286 | 15.3958
20 | 0.014298 | 0.0035868 | -0.014287 | -0.0035805 | 1.124e-05 | 6.3453e-06 | 0.021398 | 0.021398 | 0.021398 | 0.99431 | -0.10918 | 0.99346 | -0.12568 | 5.8787
21 | -0.014298 | -0.0035868 | 0.014299 | 0.0035874 | 1.0809e-06 | 6.1011e-07 | 0.021398 | 0.021398 | 0.021398 | 0.99431 | -0.10918 | 0.9944 | -0.10759 | 5.8786
22 | 0.0056586 | 0.0014181 | -0.005658 | -0.001418 | 6.0303e-07 | 9.6115e-08 | 0.0084755 | 0.0084756 | 0.0084756 | 0.99346 | -0.12568 | 0.99335 | -0.12792 | 2.3285
23 | -0.014299 | -0.0035874 | 0.014304 | 0.0035902 | 4.8831e-06 | 2.7561e-06 | 0.021398 | 0.021398 | 0.021398 | 0.9944 | -0.10759 | 0.99477 | -0.10043 | 5.8786
24 | -0.048496 | -0.01216 | 0.048525 | 0.012178 | 2.8737e-05 | 1.8203e-05 | 0.072545 | 0.072545 | 0.072545 | 0.99477 | -0.10043 | 0.99541 | -0.088008 | 19.9299
25 | 0.011819 | 0.0029624 | -0.011817 | -0.0029617 | 1.3263e-06 | 7.0426e-07 | 0.01775 | 0.01775 | 0.01775 | 0.9908 | -0.17705 | 0.99068 | -0.17941 | 4.8764
26 | 0.0030869 | 0.00077349 | -0.0030867 | -0.00077361 | 1.2176e-07 | -1.1789e-07 | 0.0046285 | 0.0046286 | 0.0046286 | 0.99238 | -0.14651 | 0.99234 | -0.14734 | 1.2716
27 | -0.027434 | -0.0068755 | 0.027446 | 0.0068827 | 1.149e-05 | 7.1198e-06 | 0.041136 | 0.041136 | 0.041136 | 0.99238 | -0.14651 | 0.99283 | -0.13772 | 11.3011
28 | -0.033244 | -0.0083358 | 0.033252 | 0.0083406 | 7.7123e-06 | 4.8287e-06 | 0.049826 | 0.049826 | 0.049826 | 0.99283 | -0.13772 | 0.99309 | -0.13286 | 13.6884
29 | 0.18554 | 0.046823 | -0.18552 | -0.046811 | 1.8908e-05 | 1.2024e-05 | 0.27654 | 0.27654 | 0.27654 | 0.99877 | -0.023423 | 0.99866 | -0.025551 | 25.3242
30 | -0.18554 | -0.046823 | 0.18575 | 0.046956 | 0.00020839 | 0.00013251 | 0.27654 | 0.27654 | 0.27654 | 0.99877 | -0.023423 | 1 | 0 | 25.3242
31 | 0.18552 | 0.046811 | -0.18549 | -0.046791 | 3.1614e-05 | 2.0103e-05 | 0.27654 | 0.27654 | 0.27654 | 0.99866 | -0.025551 | 0.99848 | -0.02911 | 25.3242
32 | 0.32688 | 0.082736 | -0.32584 | -0.082069 | 0.0010447 | 0.00066722 | 0.48669 | 0.48669 | 0.48669 | 1 | 0 | 0.99651 | -0.066812 | 44.569
33 | 0.013267 | 0.0033255 | -0.013265 | -0.0033244 | 2.0617e-06 | 1.1398e-06 | 0.019887 | 0.019887 | 0.019887 | 0.99268 | -0.14064 | 0.99251 | -0.14391 | 5.4634
34 | -0.013267 | -0.0033255 | 0.013271 | 0.0033283 | 4.9204e-06 | 2.72e-06 | 0.019887 | 0.019886 | 0.019887 | 0.99268 | -0.14064 | 0.99308 | -0.13286 | 5.4634
35 | -0.060966 | -0.015293 | 0.061159 | 0.015416 | 0.00019262 | 0.00012248 | 0.091355 | 0.091355 | 0.091355 | 0.99308 | -0.13286 | 0.99651 | -0.066812 | 25.0976
36 | 0.047695 | 0.011965 | -0.047664 | -0.011946 | 3.0181e-05 | 1.9112e-05 | 0.071469 | 0.071469 | 0.071469 | 0.99308 | -0.13286 | 0.9924 | -0.14614 | 19.6343
37 | -0.055559 | -0.013937 | 0.055578 | 0.013949 | 1.959e-05 | 1.2441e-05 | 0.083414 | 0.083414 | 0.083414 | 0.99116 | -0.17004 | 0.99154 | -0.16264 | 22.9158
38 | -0.061113 | -0.015337 | 0.061126 | 0.015345 | 1.3301e-05 | 8.4584e-06 | 0.091719 | 0.091719 | 0.091719 | 0.99154 | -0.16264 | 0.99178 | -0.15808 | 25.1976
39 | -0.07206 | -0.018085 | 0.07207 | 0.018091 | 9.5063e-06 | 6.056e-06 | 0.10812 | 0.10812 | 0.10812 | 0.99178 | -0.15808 | 0.99192 | -0.15532 | 29.7045
40 | -0.077961 | -0.019568 | 0.078005 | 0.019596 | 4.4373e-05 | 2.8287e-05 | 0.11696 | 0.11696 | 0.11696 | 0.99192 | -0.15532 | 0.99254 | -0.14339 | 32.1325
41 | -0.084402 | -0.021199 | 0.08446 | 0.021237 | 5.8034e-05 | 3.7017e-05 | 0.12655 | 0.12655 | 0.12655 | 0.99254 | -0.14339 | 0.99328 | -0.12899 | 34.7672
42 | -0.090866 | -0.022842 | 0.090877 | 0.022849 | 1.1068e-05 | 7.0628e-06 | 0.13615 | 0.13615 | 0.13615 | 0.99328 | -0.12899 | 0.99342 | -0.12644 | 37.4036
43 | -0.14977 | -0.037608 | 0.14984 | 0.037657 | 7.6577e-05 | 4.8799e-05 | 0.22436 | 0.22436 | 0.22436 | 0.99342 | -0.12644 | 0.99397 | -0.11573 | 30.8183
44 | -0.15624 | -0.03926 | 0.15631 | 0.039302 | 6.6017e-05 | 4.1876e-05 | 0.23394 | 0.23394 | 0.23394 | 0.99397 | -0.11573 | 0.99443 | -0.10688 | 21.4228
45 | -0.16262 | -0.040885 | 0.1627 | 0.040935 | 7.8953e-05 | 5.0115e-05 | 0.24338 | 0.24338 | 0.24338 | 0.99443 | -0.10688 | 0.99496 | -0.09672 | 22.2878
46 | -0.17372 | -0.043698 | 0.17397 | 0.043856 | 0.00024859 | 0.00015795 | 0.25987 | 0.25987 | 0.25987 | 0.99496 | -0.09672 | 0.99651 | -0.066812 | 23.7977
47 | 0.090707 | 0.022798 | -0.090615 | -0.022739 | 9.1687e-05 | 5.8506e-05 | 0.13547 | 0.13547 | 0.13547 | 0.99651 | -0.066812 | 0.99541 | -0.088008 | 37.2166
48 | 0.04209 | 0.010561 | -0.04206 | -0.010543 | 2.9919e-05 | 1.8887e-05 | 0.062924 | 0.062924 | 0.062924 | 0.99541 | -0.088008 | 0.99464 | -0.10293 | 17.2867
49 | 0.022634 | 0.005674 | -0.02263 | -0.0056716 | 3.8242e-06 | 2.3321e-06 | 0.033862 | 0.033862 | 0.033862 | 0.99464 | -0.10293 | 0.99445 | -0.10647 | 9.3027
50 | 0.16902 | 0.042662 | -0.1689 | -0.042586 | 0.00011987 | 7.6126e-05 | 0.25199 | 0.25199 | 0.25199 | 0.99848 | -0.02911 | 0.9977 | -0.043928 | 23.0758

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54157 | 0.13653

## res_load
| p_mw | q_mvar
0 | 0.0059829 | 0.0014995
1 | 0.0055176 | 0.0013828
2 | 0.0088933 | 0.0022289
3 | 0.0057882 | 0.0014507
4 | 0.0057056 | 0.00143
5 | 0.0056824 | 0.0014241
6 | 0.0062234 | 0.0015597
7 | 0.005859 | 0.0014684
8 | 0.010351 | 0.0025943
9 | 0.0067118 | 0.0016821
10 | 0.0083828 | 0.0021009
11 | 0.0059109 | 0.0014814
12 | 0.0071195 | 0.0017843
13 | 0.033538 | 0.0084053
14 | 0.010316 | 0.0025855
15 | 0.0086279 | 0.0021624
16 | 0.034193 | 0.0085695
17 | 0.031407 | 0.0078714
18 | 0.024347 | 0.0061021
19 | 0.0030867 | 0.00077361
20 | 0.005798 | 0.0014531
21 | 0.0041476 | 0.0010395
22 | 0.02729 | 0.0068396
23 | 0.013265 | 0.0033244
24 | 0.0058717 | 0.0014716
25 | 0.0055346 | 0.0013871
26 | 0.010934 | 0.0027403
27 | 0.0058915 | 0.0014766
28 | 0.0063969 | 0.0016032
29 | 0.006406 | 0.0016055
30 | 0.058889 | 0.014759
31 | 0.0063989 | 0.0016037
32 | 0.0063131 | 0.0015822
33 | 0.011024 | 0.0027629
34 | 0.047664 | 0.011946
35 | 0.019426 | 0.0048686
36 | 0.02263 | 0.0056716
37 | 0.005658 | 0.001418
38 | 0.016475 | 0.004129
39 | 0.0052951 | 0.0013271
40 | 0.011817 | 0.0029617

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1