## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-32_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-32_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2581-32_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2581-32_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-32_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-32_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2581-32_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2581-32_0_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2581-32_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_2581-32_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2581-32_0_5_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_2581-32_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_2581-32_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2581-32_0_5_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_2581-32_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2581-32_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2581-32_0_5_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_2581-32_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2581-32_0_5_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2581-32_0_5_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_2581-32_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_2581-32_0_5_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_2581-32_0_5_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2581-32_0_5_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_2581-32_0_5_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_2581-32_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2581-32_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2581-32_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2581-32_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2581-32_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2581-32_0_5_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_2581-32_0_5_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_2581-32_0_5_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2581-32_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2581-32_0_5_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_2581-32_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_2581-32_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2581-32_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2581-32_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2581-32_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2581-32_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2581-32_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2581-32_0_5_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_2581-32_0_5_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_2581-32_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2581-32_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2581-32_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2581-32_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2581-32_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_MV_523_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-32_0_5_load_0 | 0 | 0.017486 | 0.0043824 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-32_0_5_load_1 | 2 | 0.0010286 | 0.00025779 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-32_0_5_load_4 | 4 | 0.015039 | 0.0037692 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-32_0_5_load_5 | 5 | 0.017426 | 0.0043674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-32_0_5_load_40 | 6 | 0.0015608 | 0.00039117 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-32_0_5_load_42 | 8 | 0.017463 | 0.0043766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-32_0_5_load_37 | 10 | 0.0095711 | 0.0023987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-32_0_5_load_32 | 11 | 0.0083152 | 0.002084 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-32_0_5_load_30 | 13 | 0.014455 | 0.0036229 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-32_0_5_load_44 | 16 | 0.00068488 | 0.00017165 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-32_0_5_load_47 | 18 | 0.032512 | 0.0081482 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-32_0_5_load_46 | 19 | 0.0077001 | 0.0019298 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-32_0_5_load_51 | 21 | 0.017329 | 0.0043431 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-32_0_5_load_39 | 22 | 0.00090823 | 0.00022762 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-32_0_5_load_41 | 23 | 0.017567 | 0.0044026 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-32_0_5_load_43 | 24 | 0.0082784 | 0.0020748 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-32_0_5_load_15 | 26 | 0.0083962 | 0.0021043 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-32_0_5_load_16 | 27 | 0.0048786 | 0.0012227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-32_0_5_load_29 | 28 | 0.0013053 | 0.00032715 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-32_0_5_load_31 | 29 | 0.0013555 | 0.00033972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-32_0_5_load_45 | 30 | 0.02569 | 0.0064386 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-32_0_5_load_53 | 32 | 0.020102 | 0.0050381 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-32_0_5_load_52 | 34 | 0.017329 | 0.0043431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-32_0_5_load_50 | 35 | 0.017323 | 0.0043415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-32_0_5_load_24 | 36 | 0.0038745 | 0.00097103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-32_0_5_load_27 | 38 | 0.00081545 | 0.00020437 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-32_0_5_load_25 | 39 | 0.00077085 | 0.00019319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-32_0_5_load_34 | 40 | 0.0037924 | 0.00095045 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-32_0_5_load_22 | 41 | 0.0037768 | 0.00094655 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-32_0_5_load_19 | 42 | 0.0037947 | 0.00095103 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-32_0_5_load_20 | 43 | 0.0037973 | 0.00095168 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-32_0_5_load_23 | 44 | 0.0043408 | 0.0010879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-32_0_5_load_28 | 45 | 0.0022762 | 0.00057047 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-32_0_5_load_26 | 46 | 0.00078335 | 0.00019633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-32_0_5_load_38 | 47 | 0.00091007 | 0.00022809 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-32_0_5_load_49 | 48 | 0.017313 | 0.0043392 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-32_0_5_line_0 |  | 0 | 1 | 0.019534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-32_0_5_line_1 |  | 1 | 4 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-32_0_5_line_2 |  | 1 | 5 | 0.024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-32_0_5_line_3 |  | 2 | 3 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-32_0_5_line_4 |  | 3 | 6 | 0.028858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-32_0_5_line_5 |  | 4 | 7 | 0.016539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-32_0_5_line_6 |  | 5 | 8 | 0.0042306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-32_0_5_line_7 |  | 6 | 22 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-32_0_5_line_8 |  | 7 | 12 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-32_0_5_line_9 |  | 8 | 23 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-32_0_5_line_10 |  | 9 | 10 | 0.015676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-32_0_5_line_11 |  | 9 | 11 | 0.021589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-32_0_5_line_12 |  | 10 | 24 | 0.021129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-32_0_5_line_13 |  | 11 | 25 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-32_0_5_line_14 |  | 12 | 13 | 0.0084076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-32_0_5_line_15 |  | 13 | 28 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-32_0_5_line_16 |  | 14 | 15 | 0.074857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-32_0_5_line_17 |  | 14 | 16 | 0.027854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-32_0_5_line_18 |  | 15 | 20 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-32_0_5_line_19 |  | 15 | 21 | 0.0068669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-32_0_5_line_20 |  | 16 | 30 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-32_0_5_line_21 |  | 17 | 18 | 0.025018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-32_0_5_line_22 |  | 17 | 19 | 0.01296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-32_0_5_line_23 |  | 18 | 31 | 0.019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-32_0_5_line_24 |  | 20 | 32 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-32_0_5_line_25 |  | 20 | 33 | 0.063625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2581-32_0_5_line_26 |  | 21 | 34 | 0.008385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-32_0_5_line_27 |  | 22 | 47 | 0.015906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-32_0_5_line_28 |  | 23 | 24 | 0.0032612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-32_0_5_line_29 |  | 25 | 36 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2581-32_0_5_line_30 |  | 25 | 27 | 0.012485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-32_0_5_line_31 |  | 26 | 27 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-32_0_5_line_32 |  | 28 | 29 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-32_0_5_line_33 |  | 31 | 48 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-32_0_5_line_34 |  | 31 | 35 | 0.014625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-32_0_5_line_35 |  | 33 | 40 | 0.003385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-32_0_5_line_36 |  | 33 | 41 | 0.0064104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2581-32_0_5_line_37 |  | 34 | 48 | 0.0077177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-32_0_5_line_38 |  | 36 | 37 | 0.013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2581-32_0_5_line_39 |  | 37 | 44 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-32_0_5_line_40 |  | 37 | 42 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2581-32_0_5_line_41 |  | 38 | 39 | 0.0073184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-32_0_5_line_42 |  | 39 | 46 | 0.0069724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-32_0_5_line_43 |  | 40 | 47 | 0.0098102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-32_0_5_line_44 |  | 41 | 43 | 0.0097061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2581-32_0_5_line_45 |  | 42 | 43 | 0.0096936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2581-32_0_5_line_46 |  | 44 | 45 | 0.030919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-32_0_5_line_47 |  | 45 | 46 | 0.0071455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-32_0_5_trafo_33 | 0.63 MVA 20/0.4 kV | 49 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2635051.8115 | 1244976.1878 | 2635049.9547 | 1244982.2697 | 2635046.1984 | 1244994.8978
1 | 2635051.8115 | 1244976.1878 | 2635029.9116 | 1244969.4595
2 | 2635051.8115 | 1244976.1878 | 2635059.6601 | 1244977.7241 | 2635071.0136 | 1244975.5786 | 2635075.6243 | 1244974.7114
3 | 2635034.897 | 1245046.2002 | 2635034.7895 | 1245040.0956 | 2635035.5707 | 1245030.6274 | 2635036.4923 | 1245027.5291
4 | 2635034.897 | 1245046.2002 | 2635059.299 | 1245042.6974 | 2635063.4594 | 1245042.0777
5 | 2635014.1023 | 1244964.6023 | 2635029.9116 | 1244969.4595
6 | 2635079.782 | 1244973.9294 | 2635075.6243 | 1244974.7114
7 | 2635063.4594 | 1245042.0777 | 2635076.818 | 1245040.0876
8 | 2635008.3227 | 1244985.0371 | 2635014.1023 | 1244964.6023
9 | 2635099.2187 | 1244970.2737 | 2635079.782 | 1244973.9294
10 | 2635138.5234 | 1244962.5691 | 2635130.4876 | 1244964.5673 | 2635123.2096 | 1244965.8819
11 | 2635138.5234 | 1244962.5691 | 2635143.719 | 1244983.5238
12 | 2635102.4237 | 1244969.6709 | 2635107.0632 | 1244968.7982 | 2635123.2096 | 1244965.8819
13 | 2635148.1582 | 1244998.0381 | 2635144.0505 | 1244984.8607 | 2635143.719 | 1244983.5238
14 | 2635008.3227 | 1244985.0371 | 2635006.004 | 1244993.1186
15 | 2635006.004 | 1244993.1186 | 2635001.174 | 1245009.9528
16 | 2635034.6482 | 1245120.3469 | 2635039.4063 | 1245120.6529 | 2635045.7347 | 1245119.8675 | 2635088.9578 | 1245113.6187 | 2635108.7706 | 1245110.6116
17 | 2635034.6482 | 1245120.3469 | 2635036.5458 | 1245115.0213 | 2635033.5241 | 1245093.1893 | 2635033.5255 | 1245093.0286
18 | 2635107.0343 | 1245097.5817 | 2635108.7706 | 1245110.6116
19 | 2635108.7706 | 1245110.6116 | 2635115.4167 | 1245109.7614 | 2635115.582 | 1245109.7404
20 | 2635043.0456 | 1245078.8139 | 2635037.2232 | 1245080.9142 | 2635035.1778 | 1245083.1147 | 2635033.5749 | 1245087.1523 | 2635033.5255 | 1245093.0286
21 | 2635194.7678 | 1245093.6206 | 2635188.9598 | 1245094.5423 | 2635170.6742 | 1245100.1865
22 | 2635194.7678 | 1245093.6206 | 2635207.5673 | 1245091.5856
23 | 2635152.2767 | 1245105.0653 | 2635156.6924 | 1245104.5022 | 2635170.6742 | 1245100.1865
24 | 2635120.415 | 1245092.4575 | 2635120.7056 | 1245095.6947 | 2635107.0343 | 1245097.5817
25 | 2635105.6016 | 1245035.7998 | 2635110.2431 | 1245066.0246 | 2635111.1034 | 1245070.0434 | 2635107.5349 | 1245075.537 | 2635105.94 | 1245080.7754 | 2635105.6365 | 1245087.3779 | 2635106.6408 | 1245095.1334 | 2635107.0343 | 1245097.5817
26 | 2635115.582 | 1245109.7404 | 2635123.8998 | 1245108.6806
27 | 2635092.5504 | 1245037.744 | 2635076.818 | 1245040.0876
28 | 2635099.2187 | 1244970.2737 | 2635102.4237 | 1244969.6709
29 | 2635148.1582 | 1244998.0381 | 2635150.6027 | 1245010.1048 | 2635151.2611 | 1245015.3682
30 | 2635148.1582 | 1244998.0381 | 2635160.3786 | 1244995.4831
31 | 2635173.5647 | 1244992.9111 | 2635163.3106 | 1244994.8701 | 2635160.3786 | 1244995.4831
32 | 2634996.4142 | 1245026.5422 | 2635001.174 | 1245009.9528
33 | 2635152.2767 | 1245105.0653 | 2635131.5556 | 1245107.7053
34 | 2635152.2767 | 1245105.0653 | 2635153.4754 | 1245114.434 | 2635154.1345 | 1245119.5718
35 | 2635105.6016 | 1245035.7998 | 2635102.2535 | 1245036.2985
36 | 2635105.6016 | 1245035.7998 | 2635111.9334 | 1245034.7995
37 | 2635123.8998 | 1245108.6806 | 2635131.5556 | 1245107.7053
38 | 2635152.8823 | 1245028.3301 | 2635151.2611 | 1245015.3682
39 | 2635152.8823 | 1245028.3301 | 2635160.6914 | 1245027.5981 | 2635170.6424 | 1245026.0697
40 | 2635152.8823 | 1245028.3301 | 2635131.0955 | 1245031.7721
41 | 2635222.4104 | 1245018.2517 | 2635215.1637 | 1245019.2734
42 | 2635215.1637 | 1245019.2734 | 2635211.8505 | 1245019.7405 | 2635208.2661 | 1245020.2911
43 | 2635092.5504 | 1245037.744 | 2635102.2535 | 1245036.2985
44 | 2635121.5206 | 1245033.2848 | 2635111.9334 | 1245034.7995
45 | 2635131.0955 | 1245031.7721 | 2635121.5206 | 1245033.2848
46 | 2635170.6424 | 1245026.0697 | 2635201.2034 | 1245021.3758
47 | 2635201.2034 | 1245021.3758 | 2635208.2661 | 1245020.2911

## bus_geodata
| x | y | coords
0 | 2635046.1984 | 1244994.8978
1 | 2635051.8115 | 1244976.1878
2 | 2635036.4923 | 1245027.5291
3 | 2635034.897 | 1245046.2002
4 | 2635029.9116 | 1244969.4595
5 | 2635075.6243 | 1244974.7114
6 | 2635063.4594 | 1245042.0777
7 | 2635014.1023 | 1244964.6023
8 | 2635079.782 | 1244973.9294
9 | 2635138.5234 | 1244962.5691
10 | 2635123.2096 | 1244965.8819
11 | 2635143.719 | 1244983.5238
12 | 2635008.3227 | 1244985.0371
13 | 2635006.004 | 1244993.1186
14 | 2635034.6482 | 1245120.3469
15 | 2635108.7706 | 1245110.6116
16 | 2635033.5255 | 1245093.0286
17 | 2635194.7678 | 1245093.6206
18 | 2635170.6742 | 1245100.1865
19 | 2635207.5673 | 1245091.5856
20 | 2635107.0343 | 1245097.5817
21 | 2635115.582 | 1245109.7404
22 | 2635076.818 | 1245040.0876
23 | 2635099.2187 | 1244970.2737
24 | 2635102.4237 | 1244969.6709
25 | 2635148.1582 | 1244998.0381
26 | 2635173.5647 | 1244992.9111
27 | 2635160.3786 | 1244995.4831
28 | 2635001.174 | 1245009.9528
29 | 2634996.4142 | 1245026.5422
30 | 2635043.0456 | 1245078.8139
31 | 2635152.2767 | 1245105.0653
32 | 2635120.415 | 1245092.4575
33 | 2635105.6016 | 1245035.7998
34 | 2635123.8998 | 1245108.6806
35 | 2635154.1345 | 1245119.5718
36 | 2635151.2611 | 1245015.3682
37 | 2635152.8823 | 1245028.3301
38 | 2635222.4104 | 1245018.2517
39 | 2635215.1637 | 1245019.2734
40 | 2635102.2535 | 1245036.2985
41 | 2635111.9334 | 1245034.7995
42 | 2635131.0955 | 1245031.7721
43 | 2635121.5206 | 1245033.2848
44 | 2635170.6424 | 1245026.0697
45 | 2635201.2034 | 1245021.3758
46 | 2635208.2661 | 1245020.2911
47 | 2635092.5504 | 1245037.744
48 | 2635131.5556 | 1245107.7052
49 | 2635111.1034 | 1245070.0434

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9829 | -0.32924 | 0.017486 | 0.0043824
1 | 0.98321 | -0.32308 | 0 | 0
2 | 0.99981 | -0.0036748 | 0.0010286 | 0.00025779
3 | 0.99983 | -0.0033369 | 0 | 0
4 | 0.98253 | -0.33638 | 0.015039 | 0.0037692
5 | 0.98432 | -0.30141 | 0.017426 | 0.0043674
6 | 0.99985 | -0.0028188 | 0.0015608 | 0.00039117
7 | 0.98227 | -0.34149 | 0 | 0
8 | 0.98458 | -0.2963 | 0.017463 | 0.0043766
9 | 0.99031 | -0.18516 | 0 | 0
10 | 0.98858 | -0.21864 | 0.0095711 | 0.0023987
11 | 0.9927 | -0.13925 | 0.0083152 | 0.002084
12 | 0.98193 | -0.34806 | 0 | 0
13 | 0.9818 | -0.35066 | 0.014455 | 0.0036229
14 | 0.99202 | -0.15327 | 0 | 0
15 | 0.99383 | -0.11836 | 0 | 0
16 | 0.99135 | -0.16629 | 0.00068488 | 0.00017165
17 | 0.98992 | -0.19391 | 0 | 0
18 | 0.9901 | -0.19049 | 0.032512 | 0.0081482
19 | 0.98983 | -0.19569 | 0.0077001 | 0.0019298
20 | 0.99546 | -0.086889 | 0 | 0
21 | 0.99314 | -0.13164 | 0.017329 | 0.0043431
22 | 0.99989 | -0.0022086 | 0.00090823 | 0.00022762
23 | 0.98612 | -0.26629 | 0.017567 | 0.0044026
24 | 0.98643 | -0.26033 | 0.0082784 | 0.0020748
25 | 0.99449 | -0.10487 | 0 | 0
26 | 0.99424 | -0.10978 | 0.0083962 | 0.0021043
27 | 0.99434 | -0.10779 | 0.0048786 | 0.0012227
28 | 0.98176 | -0.3515 | 0.0013053 | 0.00032715
29 | 0.98174 | -0.35193 | 0.0013555 | 0.00033972
30 | 0.99089 | -0.17514 | 0.02569 | 0.0064386
31 | 0.9908 | -0.17685 | 0 | 0
32 | 0.99515 | -0.092906 | 0.020102 | 0.0050381
33 | 1 | 0 | -0.33473 | -0.084682
34 | 0.99243 | -0.14531 | 0.017329 | 0.0043431
35 | 0.99057 | -0.18135 | 0.017323 | 0.0043415
36 | 0.99564 | -0.082927 | 0.0038745 | 0.00097103
37 | 0.99652 | -0.066242 | 0 | 0
38 | 0.99621 | -0.072187 | 0.00081545 | 0.00020437
39 | 0.99621 | -0.072082 | 0.00077085 | 0.00019319
40 | 0.99997 | -0.00048398 | 0.0037924 | 0.00095045
41 | 0.99951 | -0.0092659 | 0.0037768 | 0.00094655
42 | 0.99808 | -0.0364 | 0.0037947 | 0.00095103
43 | 0.99879 | -0.022993 | 0.0037973 | 0.00095168
44 | 0.99637 | -0.069068 | 0.0043408 | 0.0010879
45 | 0.99624 | -0.071591 | 0.0022762 | 0.00057047
46 | 0.99622 | -0.071888 | 0.00078335 | 0.00019633
47 | 0.99994 | -0.0012382 | 0.00091007 | 0.00022809
48 | 0.9919 | -0.15554 | 0.017313 | 0.0043392
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017486 | -0.0043824 | 0.017491 | 0.0043855 | 5.1334e-06 | 3.0377e-06 | 0.026472 | 0.026472 | 0.026472 | 0.9829 | -0.32924 | 0.98321 | -0.32308 | 7.2726
1 | 0.032188 | 0.0080782 | -0.032167 | -0.0080655 | 2.0391e-05 | 1.276e-05 | 0.048718 | 0.048718 | 0.048718 | 0.98321 | -0.32308 | 0.98253 | -0.33638 | 13.3841
2 | -0.049679 | -0.012464 | 0.04973 | 0.012496 | 5.1398e-05 | 3.2587e-05 | 0.07519 | 0.07519 | 0.07519 | 0.98321 | -0.32308 | 0.98432 | -0.30141 | 20.6566
3 | -0.0010286 | -0.00025779 | 0.0010286 | 0.00025756 | 1.6555e-08 | -2.3646e-07 | 0.0015309 | 0.0015308 | 0.0015309 | 0.99981 | -0.0036748 | 0.99983 | -0.0033369 | 0.42057
4 | -0.0010286 | -0.00025756 | 0.0010286 | 0.00025719 | 2.5357e-08 | -3.6225e-07 | 0.0015308 | 0.0015307 | 0.0015308 | 0.99983 | -0.0033369 | 0.99985 | -0.0028188 | 0.42054
5 | 0.017128 | 0.0042962 | -0.017124 | -0.0042938 | 4.1736e-06 | 2.4617e-06 | 0.025941 | 0.025941 | 0.025941 | 0.98253 | -0.33638 | 0.98227 | -0.34149 | 7.1267
6 | -0.067157 | -0.016864 | 0.067173 | 0.016874 | 1.6355e-05 | 1.0413e-05 | 0.10153 | 0.10153 | 0.10153 | 0.98432 | -0.30141 | 0.98458 | -0.2963 | 27.8938
7 | -0.0025894 | -0.00064837 | 0.0025895 | 0.00064824 | 7.5207e-08 | -1.2901e-07 | 0.0038535 | 0.0038534 | 0.0038535 | 0.99985 | -0.0028188 | 0.99989 | -0.0022086 | 1.0586
8 | 0.017124 | 0.0042938 | -0.017118 | -0.0042906 | 5.3585e-06 | 3.1608e-06 | 0.025941 | 0.025941 | 0.025941 | 0.98227 | -0.34149 | 0.98193 | -0.34806 | 7.1267
9 | -0.084636 | -0.021251 | 0.084757 | 0.021328 | 0.00012137 | 7.7425e-05 | 0.12793 | 0.12793 | 0.12793 | 0.98458 | -0.2963 | 0.98612 | -0.26629 | 35.1443
10 | 0.12062 | 0.030487 | -0.12042 | -0.030364 | 0.00019328 | 0.0001235 | 0.18133 | 0.18133 | 0.18133 | 0.99031 | -0.18516 | 0.98858 | -0.21864 | 49.8151
11 | -0.12062 | -0.030487 | 0.12088 | 0.030658 | 0.00026619 | 0.00017008 | 0.18133 | 0.18133 | 0.18133 | 0.99031 | -0.18516 | 0.9927 | -0.13925 | 49.815
12 | 0.11085 | 0.027965 | -0.11063 | -0.027824 | 0.00022076 | 0.00014102 | 0.16692 | 0.16692 | 0.16692 | 0.98858 | -0.21864 | 0.98643 | -0.26033 | 45.8573
13 | -0.1292 | -0.032742 | 0.12941 | 0.032878 | 0.00021378 | 0.00013662 | 0.19379 | 0.19379 | 0.19379 | 0.9927 | -0.13925 | 0.99449 | -0.10487 | 53.2392
14 | 0.017118 | 0.0042906 | -0.017116 | -0.0042894 | 2.1217e-06 | 1.2516e-06 | 0.025941 | 0.025941 | 0.025941 | 0.98193 | -0.34806 | 0.9818 | -0.35066 | 7.1267
15 | 0.002661 | 0.00066651 | -0.0026609 | -0.00066667 | 1.0681e-07 | -1.5311e-07 | 0.0040328 | 0.0040329 | 0.0040329 | 0.9818 | -0.35066 | 0.98176 | -0.3515 | 1.1079
16 | -0.026402 | -0.006627 | 0.026446 | 0.0066542 | 4.4035e-05 | 2.7214e-05 | 0.039607 | 0.039606 | 0.039607 | 0.99202 | -0.15327 | 0.99383 | -0.11836 | 10.8809
17 | 0.026402 | 0.006627 | -0.026386 | -0.0066169 | 1.6386e-05 | 1.0127e-05 | 0.039607 | 0.039607 | 0.039607 | 0.99202 | -0.15327 | 0.99135 | -0.16629 | 10.881
18 | -0.13621 | -0.034262 | 0.13641 | 0.034393 | 0.00020513 | 0.00013111 | 0.20399 | 0.20399 | 0.20399 | 0.99383 | -0.11836 | 0.99546 | -0.086889 | 56.0399
19 | 0.10976 | 0.027608 | -0.10969 | -0.027563 | 6.9581e-05 | 4.4443e-05 | 0.16438 | 0.16438 | 0.16438 | 0.99383 | -0.11836 | 0.99314 | -0.13164 | 45.1591
20 | 0.025701 | 0.0064453 | -0.02569 | -0.0064386 | 1.0836e-05 | 6.6847e-06 | 0.038579 | 0.038579 | 0.038579 | 0.99135 | -0.16629 | 0.99089 | -0.17514 | 10.5986
21 | -0.0077008 | -0.0019301 | 0.007702 | 0.0019306 | 1.2571e-06 | 4.8283e-07 | 0.011576 | 0.011575 | 0.011576 | 0.98992 | -0.19391 | 0.9901 | -0.19049 | 3.1801
22 | 0.0077008 | 0.0019301 | -0.0077001 | -0.0019298 | 6.5123e-07 | 2.5018e-07 | 0.011576 | 0.011576 | 0.011576 | 0.98992 | -0.19391 | 0.98983 | -0.19569 | 3.1801
23 | -0.040214 | -0.010079 | 0.04024 | 0.010095 | 2.614e-05 | 1.6484e-05 | 0.060437 | 0.060437 | 0.060437 | 0.9901 | -0.19049 | 0.9908 | -0.17685 | 16.6036
24 | 0.020108 | 0.0050416 | -0.020102 | -0.0050381 | 5.7635e-06 | 3.4676e-06 | 0.030058 | 0.030058 | 0.030058 | 0.99546 | -0.086889 | 0.99515 | -0.092906 | 8.2578
25 | -0.15652 | -0.039435 | 0.15718 | 0.039851 | 0.00065346 | 0.00041655 | 0.23404 | 0.23404 | 0.23404 | 0.99546 | -0.086889 | 1 | 0 | 32.1488
26 | 0.092364 | 0.02322 | -0.092304 | -0.023182 | 6.0242e-05 | 3.8447e-05 | 0.13841 | 0.13841 | 0.13841 | 0.99314 | -0.13164 | 0.99243 | -0.14531 | 38.026
27 | -0.0034977 | -0.00087586 | 0.0034979 | 0.00087576 | 1.616e-07 | -1.0522e-07 | 0.005205 | 0.005205 | 0.005205 | 0.99989 | -0.0022086 | 0.99994 | -0.0012382 | 1.43
28 | -0.10232 | -0.025731 | 0.10235 | 0.025749 | 2.9167e-05 | 1.8625e-05 | 0.15443 | 0.15443 | 0.15443 | 0.98612 | -0.26629 | 0.98643 | -0.26033 | 42.4265
29 | -0.14269 | -0.036206 | 0.14284 | 0.036303 | 0.00015078 | 9.6043e-05 | 0.21366 | 0.21366 | 0.21366 | 0.99449 | -0.10487 | 0.99564 | -0.082927 | 29.3485
30 | 0.013277 | 0.0033283 | -0.013276 | -0.0033273 | 1.8478e-06 | 1.0206e-06 | 0.019867 | 0.019867 | 0.019867 | 0.99449 | -0.10487 | 0.99434 | -0.10779 | 5.4579
31 | -0.0083962 | -0.0021043 | 0.008397 | 0.0021046 | 7.9555e-07 | 3.349e-07 | 0.012566 | 0.012566 | 0.012566 | 0.99424 | -0.10978 | 0.99434 | -0.10779 | 3.4522
32 | 0.0013555 | 0.00033952 | -0.0013555 | -0.00033972 | 2.7318e-08 | -2.0075e-07 | 0.0020544 | 0.0020545 | 0.0020545 | 0.98176 | -0.3515 | 0.98174 | -0.35193 | 0.56443
33 | -0.057566 | -0.014439 | 0.057625 | 0.014476 | 5.8555e-05 | 3.7206e-05 | 0.086459 | 0.086459 | 0.086459 | 0.9908 | -0.17685 | 0.9919 | -0.15554 | 23.7524
34 | 0.017327 | 0.0043437 | -0.017323 | -0.0043415 | 3.7137e-06 | 2.1885e-06 | 0.026022 | 0.026022 | 0.026022 | 0.9908 | -0.17685 | 0.99057 | -0.18135 | 7.1489
35 | 0.0082007 | 0.0020543 | -0.0082005 | -0.0020543 | 1.8901e-07 | 7.6558e-08 | 0.012202 | 0.012202 | 0.012202 | 1 | 0 | 0.99997 | -0.00048398 | 3.3523
36 | 0.1677 | 0.042776 | -0.16763 | -0.042729 | 7.5005e-05 | 4.7835e-05 | 0.24981 | 0.24981 | 0.24981 | 1 | 0 | 0.99951 | -0.0092659 | 34.314
37 | 0.074975 | 0.018839 | -0.074938 | -0.018815 | 3.6584e-05 | 2.3314e-05 | 0.11243 | 0.11243 | 0.11243 | 0.99243 | -0.14531 | 0.9919 | -0.15554 | 30.8879
38 | -0.14671 | -0.037274 | 0.14683 | 0.037349 | 0.00011795 | 7.5149e-05 | 0.21945 | 0.21945 | 0.21945 | 0.99564 | -0.082927 | 0.99652 | -0.066242 | 30.1439
39 | 0.0089885 | 0.0022525 | -0.0089873 | -0.002252 | 1.21e-06 | 5.4106e-07 | 0.013422 | 0.013422 | 0.013422 | 0.99652 | -0.066242 | 0.99637 | -0.069068 | 3.6873
40 | -0.15582 | -0.039601 | 0.15605 | 0.039744 | 0.00022427 | 0.00014296 | 0.23287 | 0.23287 | 0.23287 | 0.99652 | -0.066242 | 0.99808 | -0.0364 | 31.9875
41 | -0.00081545 | -0.00020437 | 0.00081545 | 0.00020428 | 4.0714e-09 | -9.268e-08 | 0.001218 | 0.001218 | 0.001218 | 0.99621 | -0.072187 | 0.99621 | -0.072082 | 0.33462
42 | -0.0015863 | -0.00039747 | 0.0015863 | 0.00039739 | 1.4678e-08 | -8.1388e-08 | 0.0023694 | 0.0023693 | 0.0023694 | 0.99621 | -0.072082 | 0.99622 | -0.071888 | 0.65093
43 | 0.0044081 | 0.0011038 | -0.004408 | -0.0011038 | 1.5828e-07 | -2.7395e-08 | 0.0065592 | 0.0065593 | 0.0065593 | 0.99997 | -0.00048398 | 0.99994 | -0.0012382 | 1.802
44 | 0.16385 | 0.041782 | -0.16374 | -0.041713 | 0.00010851 | 6.9194e-05 | 0.24418 | 0.24418 | 0.24418 | 0.99951 | -0.0092659 | 0.99879 | -0.022993 | 33.5417
45 | -0.15984 | -0.040695 | 0.15994 | 0.040761 | 0.00010341 | 6.5929e-05 | 0.23853 | 0.23853 | 0.23853 | 0.99808 | -0.0364 | 0.99879 | -0.022993 | 32.7646
46 | 0.0046465 | 0.0011641 | -0.0046459 | -0.0011641 | 5.583e-07 | -4.5333e-08 | 0.0069391 | 0.0069392 | 0.0069392 | 0.99637 | -0.069068 | 0.99624 | -0.071591 | 1.9064
47 | 0.0023697 | 0.00059364 | -0.0023697 | -0.00059372 | 3.3567e-08 | -7.1555e-08 | 0.0035394 | 0.0035394 | 0.0035394 | 0.99624 | -0.071591 | 0.99622 | -0.071888 | 0.97236

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33473 | 0.084682

## res_load
| p_mw | q_mvar
0 | 0.017486 | 0.0043824
1 | 0.0010286 | 0.00025779
2 | 0.015039 | 0.0037692
3 | 0.017426 | 0.0043674
4 | 0.0015608 | 0.00039117
5 | 0.017463 | 0.0043766
6 | 0.0095711 | 0.0023987
7 | 0.0083152 | 0.002084
8 | 0.014455 | 0.0036229
9 | 0.00068488 | 0.00017165
10 | 0.032512 | 0.0081482
11 | 0.0077001 | 0.0019298
12 | 0.017329 | 0.0043431
13 | 0.00090823 | 0.00022762
14 | 0.017567 | 0.0044026
15 | 0.0082784 | 0.0020748
16 | 0.0083962 | 0.0021043
17 | 0.0048786 | 0.0012227
18 | 0.0013053 | 0.00032715
19 | 0.0013555 | 0.00033972
20 | 0.02569 | 0.0064386
21 | 0.020102 | 0.0050381
22 | 0.017329 | 0.0043431
23 | 0.017323 | 0.0043415
24 | 0.0038745 | 0.00097103
25 | 0.00081545 | 0.00020437
26 | 0.00077085 | 0.00019319
27 | 0.0037924 | 0.00095045
28 | 0.0037768 | 0.00094655
29 | 0.0037947 | 0.00095103
30 | 0.0037973 | 0.00095168
31 | 0.0043408 | 0.0010879
32 | 0.0022762 | 0.00057047
33 | 0.00078335 | 0.00019633
34 | 0.00091007 | 0.00022809
35 | 0.017313 | 0.0043392

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1