## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-34_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2581-34_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_2581-34_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_2581-34_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2581-34_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2581-34_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2581-34_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2581-34_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2581-34_0_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_2581-34_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_2581-34_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2581-34_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2581-34_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2581-34_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2581-34_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2581-34_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_2581-34_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2581-34_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_2581-34_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2581-34_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2581-34_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2581-34_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2581-34_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2581-34_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2581-34_0_4_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_2581-34_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_2581-34_0_4_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_2581-34_0_4_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_2581-34_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2581-34_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2581-34_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2581-34_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2581-34_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2581-34_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_2581-34_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2581-34_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2581-34_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2581-34_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2581-34_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2581-34_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2581-34_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2581-34_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2581-34_0_4_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_2581-34_0_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_2581-34_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_2581-34_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_2581-34_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_2581-34_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2581-34_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2581-34_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2581-34_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_2581-34_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2581-34_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2581-34_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2581-34_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2581-34_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2581-34_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2581-34_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2581-34_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_2581-34_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2581-34_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2581-34_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_2581-34_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_2581-34_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_MV_523_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-34_0_4_load_0 | 0 | 0.0028606 | 0.00071692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-34_0_4_load_1 | 1 | 0.0028769 | 0.00072101 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-34_0_4_load_2 | 2 | 0.0028473 | 0.00071359 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-34_0_4_load_4 | 3 | 0.0037116 | 0.00093021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-34_0_4_load_27 | 4 | 0.0043918 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-34_0_4_load_48 | 5 | 0.0067102 | 0.0016817 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-34_0_4_load_5 | 6 | 0.0021335 | 0.00053472 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-34_0_4_load_6 | 7 | 0.00187 | 0.00046865 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-34_0_4_load_7 | 8 | 0.0016088 | 0.0004032 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-34_0_4_load_8 | 9 | 0.0013863 | 0.00034743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-34_0_4_load_9 | 10 | 0.0015984 | 0.0004006 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-34_0_4_load_36 | 11 | 0.0018701 | 0.00046868 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-34_0_4_load_10 | 13 | 0.00063864 | 0.00016006 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-34_0_4_load_11 | 14 | 0.00067037 | 0.00016801 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-34_0_4_load_12 | 15 | 0.089715 | 0.022485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-34_0_4_load_14 | 17 | 0.0052536 | 0.0013167 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-34_0_4_load_54 | 18 | 0.0052586 | 0.0013179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-34_0_4_load_22 | 19 | 0.0063306 | 0.0015866 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-34_0_4_load_55 | 20 | 0.0012675 | 0.00031768 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-34_0_4_load_20 | 21 | 0.0048843 | 0.0012241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-34_0_4_load_15 | 22 | 0.0033821 | 0.00084763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-34_0_4_load_16 | 23 | 0.0057741 | 0.0014471 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-34_0_4_load_17 | 24 | 0.0061594 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-34_0_4_load_18 | 25 | 0.0061255 | 0.0015352 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-34_0_4_load_19 | 26 | 0.0066006 | 0.0016543 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-34_0_4_load_70 | 27 | 0.0058117 | 0.0014566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-34_0_4_load_47 | 28 | 0.0066132 | 0.0016574 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-34_0_4_load_71 | 29 | 0.0025655 | 0.00064298 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-34_0_4_load_52 | 30 | 0.0060468 | 0.0015155 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-34_0_4_load_21 | 31 | 0.001701 | 0.0004263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-34_0_4_load_23 | 32 | 0.0013196 | 0.00033071 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-34_0_4_load_30 | 33 | 0.0013763 | 0.00034494 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-34_0_4_load_29 | 34 | 0.0017658 | 0.00044255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-34_0_4_load_49 | 35 | 0.0051333 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-34_0_4_load_50 | 36 | 0.0036554 | 0.00091614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-34_0_4_load_44 | 37 | 0.011525 | 0.0028883 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-34_0_4_load_45 | 38 | 0.01345 | 0.003371 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-34_0_4_load_28 | 39 | 0.0017613 | 0.00044141 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-34_0_4_load_35 | 40 | 0.03855 | 0.0096617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-34_0_4_load_31 | 41 | 0.0039662 | 0.00099402 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-34_0_4_load_32 | 42 | 0.019109 | 0.0047893 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-34_0_4_load_33 | 43 | 0.0039768 | 0.00099669 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-34_0_4_load_56 | 46 | 0.0040996 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-34_0_4_load_62 | 47 | 0.001837 | 0.0004604 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-34_0_4_load_65 | 48 | 0.0021447 | 0.00053751 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-34_0_4_load_57 | 49 | 0.0021006 | 0.00052646 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-34_0_4_load_38 | 50 | 0.0018195 | 0.00045601 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-34_0_4_load_39 | 51 | 0.0019056 | 0.00047759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-34_0_4_load_41 | 52 | 0.0030905 | 0.00077455 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-34_0_4_load_66 | 53 | 0.0020228 | 0.00050697 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-34_0_4_load_40 | 54 | 0.0017231 | 0.00043185 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-34_0_4_load_42 | 55 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-34_0_4_load_43 | 56 | 0.0012127 | 0.00030394 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-34_0_4_load_64 | 58 | 0.0064239 | 0.00161 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-34_0_4_load_53 | 59 | 0.0064327 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-34_0_4_load_51 | 60 | 0.0029922 | 0.00074992 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-34_0_4_load_60 | 61 | 0.0036053 | 0.00090357 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-34_0_4_load_61 | 62 | 0.0066222 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-34_0_4_load_58 | 63 | 0.011139 | 0.0027918 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-34_0_4_load_68 | 66 | 0.0039145 | 0.00098108 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-34_0_4_line_0 |  | 0 | 1 | 0.0077345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-34_0_4_line_1 |  | 0 | 2 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-34_0_4_line_2 |  | 2 | 3 | 0.0090158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-34_0_4_line_3 |  | 3 | 4 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-34_0_4_line_4 |  | 4 | 5 | 0.010576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-34_0_4_line_5 |  | 5 | 40 | 0.0038521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-34_0_4_line_6 |  | 6 | 7 | 0.0090987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-34_0_4_line_7 |  | 6 | 8 | 0.0039315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-34_0_4_line_8 |  | 7 | 9 | 0.0032267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-34_0_4_line_9 |  | 8 | 10 | 0.0053761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-34_0_4_line_10 |  | 9 | 11 | 0.0027926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-34_0_4_line_11 |  | 11 | 12 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-34_0_4_line_12 |  | 12 | 50 | 0.027288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-34_0_4_line_13 |  | 12 | 51 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-34_0_4_line_14 |  | 13 | 14 | 0.059514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-34_0_4_line_15 |  | 13 | 15 | 0.0098535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-34_0_4_line_16 |  | 14 | 16 | 0.044924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-34_0_4_line_17 |  | 15 | 17 | 0.013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-34_0_4_line_18 |  | 16 | 18 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-34_0_4_line_19 |  | 17 | 19 | 0.024006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-34_0_4_line_20 |  | 18 | 20 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-34_0_4_line_21 |  | 19 | 21 | 0.023907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-34_0_4_line_22 |  | 20 | 57 | 0.021174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-34_0_4_line_23 |  | 21 | 31 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-34_0_4_line_24 |  | 22 | 23 | 0.0020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-34_0_4_line_25 |  | 22 | 24 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-34_0_4_line_26 |  | 23 | 25 | 0.00078433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-34_0_4_line_27 |  | 24 | 26 | 0.0019402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-34_0_4_line_28 |  | 25 | 27 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-34_0_4_line_29 |  | 26 | 28 | 0.018188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-34_0_4_line_30 |  | 27 | 29 | 0.00078331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-34_0_4_line_31 |  | 28 | 30 | 0.0015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-34_0_4_line_32 |  | 30 | 59 | 0.025197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-34_0_4_line_33 |  | 31 | 32 | 0.007322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-34_0_4_line_34 |  | 32 | 33 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-34_0_4_line_35 |  | 33 | 34 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-34_0_4_line_36 |  | 34 | 39 | 0.019682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-34_0_4_line_37 |  | 35 | 36 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-34_0_4_line_38 |  | 36 | 60 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-34_0_4_line_39 |  | 37 | 38 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-34_0_4_line_40 |  | 38 | 57 | 0.07064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2581-34_0_4_line_41 |  | 40 | 43 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-34_0_4_line_42 |  | 41 | 42 | 0.026916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-34_0_4_line_43 |  | 41 | 43 | 0.0075882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-34_0_4_line_44 |  | 42 | 44 | 0.025814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-34_0_4_line_45 |  | 44 | 45 | 0.006936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-34_0_4_line_46 |  | 44 | 46 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-34_0_4_line_47 |  | 45 | 47 | 0.025474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-34_0_4_line_48 |  | 45 | 48 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2581-34_0_4_line_49 |  | 46 | 49 | 0.028516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-34_0_4_line_50 |  | 47 | 56 | 0.018961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-34_0_4_line_51 |  | 48 | 57 | 0.041666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2581-34_0_4_line_52 |  | 49 | 63 | 0.0046263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-34_0_4_line_53 |  | 50 | 52 | 0.0026071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-34_0_4_line_54 |  | 51 | 53 | 0.0066013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-34_0_4_line_55 |  | 52 | 54 | 0.0066307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-34_0_4_line_56 |  | 54 | 55 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-34_0_4_line_57 |  | 55 | 56 | 0.0058436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2581-34_0_4_line_58 |  | 57 | 58 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-34_0_4_line_59 |  | 58 | 59 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-34_0_4_line_60 |  | 60 | 61 | 0.014034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-34_0_4_line_61 |  | 61 | 62 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-34_0_4_line_62 |  | 62 | 65 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-34_0_4_line_63 |  | 63 | 64 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-34_0_4_line_64 |  | 64 | 65 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-34_0_4_line_65 |  | 64 | 66 | 0.040943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-34_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 67 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2634221.3824 | 1244694.7756 | 2634227.6559 | 1244699.2995
1 | 2634221.3824 | 1244694.7756 | 2634214.1995 | 1244689.596 | 2634209.2665 | 1244685.716
2 | 2634202.18 | 1244680.1423 | 2634209.2665 | 1244685.716
3 | 2634202.18 | 1244680.1423 | 2634200.6001 | 1244678.8997 | 2634191.5977 | 1244670.2978 | 2634189.6184 | 1244668.2169
4 | 2634182.3298 | 1244660.554 | 2634189.6184 | 1244668.2169
5 | 2634182.3298 | 1244660.554 | 2634181.8042 | 1244660.0014 | 2634179.8566 | 1244657.6032
6 | 2634060.0579 | 1244482.4271 | 2634064.9979 | 1244488.7974 | 2634065.614 | 1244489.6321
7 | 2634060.0579 | 1244482.4271 | 2634057.6487 | 1244479.3203
8 | 2634065.614 | 1244489.6321 | 2634067.5304 | 1244492.228
9 | 2634057.6487 | 1244479.3203 | 2634054.3542 | 1244475.0718
10 | 2634069.189 | 1244494.4747 | 2634067.5304 | 1244492.228
11 | 2634079.1012 | 1244507.9018 | 2634069.189 | 1244494.4747
12 | 2634079.1012 | 1244507.9018 | 2634081.8973 | 1244511.7981 | 2634095.4051 | 1244529.7825
13 | 2634079.1012 | 1244507.9018 | 2634088.3468 | 1244501.7057
14 | 2634043.8533 | 1244699.0458 | 2634026.5987 | 1244681.1018 | 2634012.1018 | 1244664.7971 | 2634005.4026 | 1244657.6986 | 2634003.9038 | 1244655.0513
15 | 2634043.8533 | 1244699.0458 | 2634044.1971 | 1244699.4034 | 2634050.3301 | 1244706.4708
16 | 2634013.7988 | 1244613.8961 | 2634009.7981 | 1244619.7993 | 2634006.1025 | 1244625.2038 | 2634002.3027 | 1244634.2991 | 2634001.0973 | 1244641.5969 | 2634001.3018 | 1244648.1023 | 2634002.403 | 1244652.4002 | 2634003.9038 | 1244655.0513
17 | 2634058.8848 | 1244716.3291 | 2634050.3301 | 1244706.4708
18 | 2634013.7988 | 1244613.8961 | 2634020.0986 | 1244612.8982 | 2634032.4973 | 1244610.4728
19 | 2634058.8848 | 1244716.3291 | 2634063.8033 | 1244721.9971 | 2634074.9673 | 1244734.1486
20 | 2634032.4973 | 1244610.4728 | 2634049.199 | 1244607.2057 | 2634051.1488 | 1244606.8633
21 | 2634092.074 | 1244750.8084 | 2634089.1973 | 1244748.5044 | 2634079.6996 | 1244739.2995 | 2634074.9673 | 1244734.1486
22 | 2634072.0032 | 1244603.2005 | 2634051.1488 | 1244606.8633
23 | 2634092.074 | 1244750.8084 | 2634100.8024 | 1244757.7992 | 2634107.2709 | 1244762.7542
24 | 2634012.1179 | 1244522.5216 | 2634010.7988 | 1244520.9941
25 | 2634027.4466 | 1244540.3927 | 2634019.6973 | 1244531.2987 | 2634012.1179 | 1244522.5216
26 | 2634010.7988 | 1244520.9941 | 2634010.2862 | 1244520.4005
27 | 2634027.4466 | 1244540.3927 | 2634028.705 | 1244541.8695
28 | 2634010.2862 | 1244520.4005 | 2634000.2002 | 1244508.7208
29 | 2634040.396 | 1244555.8003 | 2634038.1009 | 1244552.8958 | 2634028.705 | 1244541.8695
30 | 2634000.2002 | 1244508.7208 | 2633999.6882 | 1244508.128
31 | 2634040.396 | 1244555.8003 | 2634041.3368 | 1244556.991
32 | 2634056.8757 | 1244576.8209 | 2634056.2021 | 1244575.8033 | 2634041.3368 | 1244556.991
33 | 2634113.1143 | 1244767.1641 | 2634112.297 | 1244766.6043 | 2634107.2709 | 1244762.7542
34 | 2634113.1143 | 1244767.1641 | 2634123.4236 | 1244774.226
35 | 2634139.1121 | 1244785.6531 | 2634126.8977 | 1244776.6057 | 2634123.4236 | 1244774.226
36 | 2634139.1121 | 1244785.6531 | 2634143.9012 | 1244789.2005 | 2634154.9103 | 1244797.3914
37 | 2634262.2265 | 1244657.1789 | 2634255.5993 | 1244651.3988 | 2634250.2541 | 1244646.2421
38 | 2634242.0278 | 1244636.7797 | 2634247.1008 | 1244643.2 | 2634250.2541 | 1244646.2421
39 | 2634124.6006 | 1244664.6235 | 2634114.8372 | 1244657.0578
40 | 2634072.0032 | 1244603.2005 | 2634088.2991 | 1244636.4934 | 2634114.8372 | 1244657.0578
41 | 2634179.8566 | 1244657.6032 | 2634171.0003 | 1244646.6973 | 2634171.0003 | 1244646.6973
42 | 2634150.4245 | 1244619.3735 | 2634157.324 | 1244632.2649 | 2634165.7809 | 1244641.1893
43 | 2634171.0003 | 1244646.6973 | 2634165.7809 | 1244641.1893
44 | 2634140.6613 | 1244595.8122 | 2634141.7748 | 1244603.2123 | 2634150.4245 | 1244619.3735
45 | 2634135.7479 | 1244590.903 | 2634140.6613 | 1244595.8122
46 | 2634140.6613 | 1244595.8122 | 2634156.1279 | 1244590.6298
47 | 2634135.7479 | 1244590.903 | 2634124.7414 | 1244573.3728 | 2634122.3588 | 1244569.2345
48 | 2634135.7479 | 1244590.903 | 2634112.9922 | 1244595.7533
49 | 2634156.1279 | 1244590.6298 | 2634158.6035 | 1244589.8003 | 2634183.101 | 1244587.0061 | 2634184.3436 | 1244586.8806
50 | 2634112.8985 | 1244552.8026 | 2634112.8985 | 1244552.8026 | 2634122.3588 | 1244569.2345
51 | 2634072.0032 | 1244603.2005 | 2634075.4975 | 1244602.598 | 2634103.9512 | 1244597.6803 | 2634112.9922 | 1244595.7533
52 | 2634184.3436 | 1244586.8806 | 2634188.9465 | 1244586.4155
53 | 2634096.9707 | 1244531.8671 | 2634095.4051 | 1244529.7825
54 | 2634088.3468 | 1244501.7057 | 2634093.8305 | 1244498.0306
55 | 2634100.9795 | 1244537.1488 | 2634097.8996 | 1244533.1038 | 2634096.9707 | 1244531.8671
56 | 2634100.9795 | 1244537.1488 | 2634109.3585 | 1244548.1533
57 | 2634112.8985 | 1244552.8026 | 2634109.3585 | 1244548.1533
58 | 2634072.0032 | 1244603.2005 | 2634065.9645 | 1244590.6469
59 | 2634056.8757 | 1244576.8209 | 2634065.7982 | 1244590.301 | 2634065.9645 | 1244590.6469
60 | 2634242.0278 | 1244636.7797 | 2634239.2021 | 1244633.2035 | 2634233.6685 | 1244625.5114
61 | 2634233.6685 | 1244625.5114 | 2634231.0017 | 1244621.8045 | 2634225.3988 | 1244611.9992
62 | 2634218.6652 | 1244589.935 | 2634219.1005 | 1244595.6968 | 2634220.498 | 1244600.9971 | 2634225.3988 | 1244611.9992
63 | 2634210.9005 | 1244584.1976 | 2634188.9465 | 1244586.4155
64 | 2634210.9005 | 1244584.1976 | 2634211.0969 | 1244584.1988 | 2634218.2024 | 1244583.706 | 2634218.6652 | 1244589.935
65 | 2634210.9005 | 1244584.1976 | 2634204.3983 | 1244573.0975 | 2634194.5974 | 1244558.7984 | 2634189.0263 | 1244549.6128

## bus_geodata
| x | y | coords
0 | 2634221.3824 | 1244694.7756
1 | 2634227.6559 | 1244699.2995
2 | 2634209.2665 | 1244685.716
3 | 2634202.18 | 1244680.1423
4 | 2634189.6184 | 1244668.2169
5 | 2634182.3298 | 1244660.554
6 | 2634060.0579 | 1244482.4271
7 | 2634065.614 | 1244489.6321
8 | 2634057.6487 | 1244479.3203
9 | 2634067.5304 | 1244492.228
10 | 2634054.3542 | 1244475.0718
11 | 2634069.189 | 1244494.4747
12 | 2634079.1012 | 1244507.9018
13 | 2634043.8533 | 1244699.0458
14 | 2634003.9038 | 1244655.0513
15 | 2634050.3301 | 1244706.4708
16 | 2634013.7988 | 1244613.8961
17 | 2634058.8848 | 1244716.3291
18 | 2634032.4973 | 1244610.4728
19 | 2634074.9673 | 1244734.1486
20 | 2634051.1488 | 1244606.8633
21 | 2634092.074 | 1244750.8084
22 | 2634012.1179 | 1244522.5216
23 | 2634010.7988 | 1244520.9941
24 | 2634027.4466 | 1244540.3927
25 | 2634010.2862 | 1244520.4005
26 | 2634028.705 | 1244541.8695
27 | 2634000.2002 | 1244508.7208
28 | 2634040.396 | 1244555.8003
29 | 2633999.6882 | 1244508.128
30 | 2634041.3368 | 1244556.991
31 | 2634107.2709 | 1244762.7542
32 | 2634113.1143 | 1244767.1641
33 | 2634123.4236 | 1244774.226
34 | 2634139.1121 | 1244785.6531
35 | 2634262.2265 | 1244657.1789
36 | 2634250.2541 | 1244646.2421
37 | 2634124.6006 | 1244664.6234
38 | 2634114.8372 | 1244657.0578
39 | 2634154.9103 | 1244797.3914
40 | 2634179.8566 | 1244657.6032
41 | 2634165.7809 | 1244641.1893
42 | 2634150.4245 | 1244619.3735
43 | 2634171.0003 | 1244646.6973
44 | 2634140.6613 | 1244595.8122
45 | 2634135.7479 | 1244590.903
46 | 2634156.1279 | 1244590.6298
47 | 2634122.3588 | 1244569.2345
48 | 2634112.9922 | 1244595.7533
49 | 2634184.3436 | 1244586.8806
50 | 2634095.4051 | 1244529.7825
51 | 2634088.3468 | 1244501.7057
52 | 2634096.9707 | 1244531.8671
53 | 2634093.8305 | 1244498.0306
54 | 2634100.9795 | 1244537.1488
55 | 2634109.3585 | 1244548.1533
56 | 2634112.8985 | 1244552.8026
57 | 2634072.0032 | 1244603.2005
58 | 2634065.9645 | 1244590.6469
59 | 2634056.8757 | 1244576.8209
60 | 2634242.0278 | 1244636.7797
61 | 2634233.6685 | 1244625.5114
62 | 2634225.3988 | 1244611.9992
63 | 2634188.9465 | 1244586.4155
64 | 2634210.9005 | 1244584.1976
65 | 2634218.6652 | 1244589.935
66 | 2634189.0263 | 1244549.6128
67 | 2634072.0032 | 1244603.2005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98223 | -0.34164 | 0.0028606 | 0.00071692
1 | 0.98221 | -0.34204 | 0.0028769 | 0.00072101
2 | 0.98231 | -0.34007 | 0.0028473 | 0.00071359
3 | 0.98238 | -0.33867 | 0.0037116 | 0.00093021
4 | 0.98258 | -0.33482 | 0.0043918 | 0.0011007
5 | 0.98274 | -0.33164 | 0.0067102 | 0.0016817
6 | 0.98663 | -0.25588 | 0.0021335 | 0.00053472
7 | 0.98668 | -0.25501 | 0.00187 | 0.00046865
8 | 0.98662 | -0.25611 | 0.0016088 | 0.0004032
9 | 0.9867 | -0.2546 | 0.0013863 | 0.00034743
10 | 0.98662 | -0.25626 | 0.0015984 | 0.0004006
11 | 0.98672 | -0.25417 | 0.0018701 | 0.00046868
12 | 0.98688 | -0.25104 | 0 | 0
13 | 0.97473 | -0.4859 | 0.00063864 | 0.00016006
14 | 0.98109 | -0.36143 | 0.00067037 | 0.00016801
15 | 0.97368 | -0.50655 | 0.089715 | 0.022485
16 | 0.98593 | -0.26799 | 0 | 0
17 | 0.97339 | -0.5124 | 0.0052536 | 0.0013167
18 | 0.98797 | -0.22873 | 0.0052586 | 0.0013179
19 | 0.97296 | -0.52086 | 0.0063306 | 0.0015866
20 | 0.99011 | -0.18788 | 0.0012675 | 0.00031768
21 | 0.97267 | -0.5265 | 0.0048843 | 0.0012241
22 | 0.98852 | -0.21955 | 0.0033821 | 0.00084763
23 | 0.98848 | -0.22028 | 0.0057741 | 0.0014471
24 | 0.98903 | -0.20962 | 0.0061594 | 0.0015437
25 | 0.98847 | -0.22048 | 0.0061255 | 0.0015352
26 | 0.98908 | -0.20859 | 0.0066006 | 0.0016543
27 | 0.98835 | -0.22279 | 0.0058117 | 0.0014566
28 | 0.98969 | -0.19679 | 0.0066132 | 0.0016574
29 | 0.98835 | -0.22282 | 0.0025655 | 0.00064298
30 | 0.98975 | -0.19563 | 0.0060468 | 0.0015155
31 | 0.97253 | -0.52932 | 0.001701 | 0.0004263
32 | 0.97249 | -0.53016 | 0.0013196 | 0.00033071
33 | 0.97243 | -0.53129 | 0.0013763 | 0.00034494
34 | 0.97237 | -0.53255 | 0.0017658 | 0.00044255
35 | 0.98428 | -0.30175 | 0.0051333 | 0.0012865
36 | 0.98435 | -0.30025 | 0.0036554 | 0.00091614
37 | 0.99987 | -0.0024814 | 0.011525 | 0.0028883
38 | 1 | 0 | -0.36256 | -0.092703
39 | 0.97234 | -0.53319 | 0.0017613 | 0.00044141
40 | 0.98282 | -0.33001 | 0.03855 | 0.0096617
41 | 0.98409 | -0.30531 | 0.0039662 | 0.00099402
42 | 0.98582 | -0.27151 | 0.019109 | 0.0047893
43 | 0.98363 | -0.31432 | 0.0039768 | 0.00099669
44 | 0.98794 | -0.23039 | 0 | 0
45 | 0.98879 | -0.21402 | 0 | 0
46 | 0.98729 | -0.243 | 0.0040996 | 0.0010275
47 | 0.9882 | -0.22551 | 0.001837 | 0.0004604
48 | 0.99047 | -0.1814 | 0.0021447 | 0.00053751
49 | 0.98626 | -0.263 | 0.0021006 | 0.00052646
50 | 0.98724 | -0.24401 | 0.0018195 | 0.00045601
51 | 0.98684 | -0.25182 | 0.0019056 | 0.00047759
52 | 0.98728 | -0.24325 | 0.0030905 | 0.00077455
53 | 0.98683 | -0.25206 | 0.0020228 | 0.00050697
54 | 0.9874 | -0.24097 | 0.0017231 | 0.00043185
55 | 0.98767 | -0.23577 | 0.0011953 | 0.00029957
56 | 0.98779 | -0.23345 | 0.0012127 | 0.00030394
57 | 0.99252 | -0.14208 | 0 | 0
58 | 0.99173 | -0.15736 | 0.0064239 | 0.00161
59 | 0.99089 | -0.17365 | 0.0064327 | 0.0016122
60 | 0.98446 | -0.29826 | 0.0029922 | 0.00074992
61 | 0.98461 | -0.29529 | 0.0036053 | 0.00090357
62 | 0.98483 | -0.2909 | 0.0066222 | 0.0016597
63 | 0.98611 | -0.26607 | 0.011139 | 0.0027918
64 | 0.98558 | -0.27633 | 0 | 0
65 | 0.9853 | -0.28169 | 0 | 0
66 | 0.98543 | -0.27921 | 0.0039145 | 0.00098108
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0028769 | 0.00072095 | -0.0028769 | -0.00072101 | 5.5095e-08 | -6.2635e-08 | 0.0043583 | 0.0043584 | 0.0043584 | 0.98223 | -0.34164 | 0.98221 | -0.34204 | 1.1974
1 | -0.0057375 | -0.0014379 | 0.0057379 | 0.001438 | 4.2869e-07 | 8.2823e-08 | 0.0086919 | 0.0086918 | 0.0086919 | 0.98223 | -0.34164 | 0.98231 | -0.34007 | 2.3879
2 | -0.0085852 | -0.0021515 | 0.0085857 | 0.0021518 | 5.718e-07 | 2.5181e-07 | 0.013005 | 0.013005 | 0.013005 | 0.98231 | -0.34007 | 0.98238 | -0.33867 | 3.5728
3 | -0.012297 | -0.003082 | 0.0123 | 0.0030832 | 2.2552e-06 | 1.2238e-06 | 0.018627 | 0.018627 | 0.018627 | 0.98238 | -0.33867 | 0.98258 | -0.33482 | 5.1173
4 | -0.016691 | -0.0041839 | 0.016694 | 0.0041854 | 2.534e-06 | 1.4878e-06 | 0.025278 | 0.025278 | 0.025278 | 0.98258 | -0.33482 | 0.98274 | -0.33164 | 6.9444
5 | -0.023404 | -0.0058672 | 0.023406 | 0.0058683 | 1.8141e-06 | 1.1122e-06 | 0.035438 | 0.035438 | 0.035438 | 0.98274 | -0.33164 | 0.98282 | -0.33001 | 9.7357
6 | -0.0053408 | -0.0013384 | 0.005341 | 0.0013384 | 2.2137e-07 | 2.5472e-08 | 0.0080548 | 0.0080547 | 0.0080548 | 0.98663 | -0.25588 | 0.98668 | -0.25501 | 2.2129
7 | 0.0032072 | 0.00080371 | -0.0032072 | -0.00080373 | 3.4494e-08 | -2.8132e-08 | 0.004837 | 0.004837 | 0.004837 | 0.98663 | -0.25588 | 0.98662 | -0.25611 | 1.3289
8 | -0.0072109 | -0.0018071 | 0.0072111 | 0.0018072 | 1.431e-07 | 5.037e-08 | 0.010875 | 0.010875 | 0.010875 | 0.98668 | -0.25501 | 0.9867 | -0.2546 | 2.9876
9 | 0.0015984 | 0.00040053 | -0.0015984 | -0.0004006 | 1.1716e-08 | -6.1158e-08 | 0.0024107 | 0.0024107 | 0.0024107 | 0.98662 | -0.25611 | 0.98662 | -0.25626 | 0.66228
10 | -0.0085974 | -0.0021546 | 0.0085975 | 0.0021547 | 1.7604e-07 | 7.6997e-08 | 0.012965 | 0.012965 | 0.012965 | 0.9867 | -0.2546 | 0.98672 | -0.25417 | 3.5619
11 | -0.010468 | -0.0026233 | 0.010469 | 0.0026241 | 1.5595e-06 | 7.8487e-07 | 0.015786 | 0.015785 | 0.015786 | 0.98672 | -0.25417 | 0.98688 | -0.25104 | 4.3367
12 | -0.014398 | -0.0036086 | 0.014403 | 0.0036113 | 4.8225e-06 | 2.7376e-06 | 0.021709 | 0.021709 | 0.021709 | 0.98688 | -0.25104 | 0.98724 | -0.24401 | 5.964
13 | 0.0039286 | 0.00098444 | -0.0039285 | -0.00098449 | 1.4644e-07 | -4.8479e-08 | 0.0059235 | 0.0059235 | 0.0059235 | 0.98688 | -0.25104 | 0.98684 | -0.25182 | 1.6273
14 | -0.11488 | -0.028841 | 0.11556 | 0.029279 | 0.00068653 | 0.00043863 | 0.17539 | 0.17539 | 0.17539 | 0.97473 | -0.4859 | 0.98109 | -0.36143 | 48.1839
15 | 0.11424 | 0.028681 | -0.11413 | -0.028609 | 0.00011241 | 7.1817e-05 | 0.17441 | 0.17441 | 0.17441 | 0.97473 | -0.4859 | 0.97368 | -0.50655 | 47.9161
16 | -0.11623 | -0.029447 | 0.11676 | 0.029782 | 0.00052425 | 0.00033495 | 0.17641 | 0.17641 | 0.17641 | 0.98109 | -0.36143 | 0.98593 | -0.26799 | 48.4631
17 | 0.024412 | 0.0061243 | -0.024405 | -0.0061201 | 6.8135e-06 | 4.1983e-06 | 0.03731 | 0.03731 | 0.03731 | 0.97368 | -0.50655 | 0.97339 | -0.5124 | 10.2499
18 | -0.11676 | -0.029782 | 0.11698 | 0.029924 | 0.00022186 | 0.00014175 | 0.17641 | 0.17641 | 0.17641 | 0.98593 | -0.26799 | 0.98797 | -0.22873 | 48.4631
19 | 0.019152 | 0.0048034 | -0.019144 | -0.0047987 | 7.717e-06 | 4.6406e-06 | 0.029278 | 0.029279 | 0.029279 | 0.97339 | -0.5124 | 0.97296 | -0.52086 | 8.0436
20 | -0.12224 | -0.031242 | 0.12248 | 0.031397 | 0.00024205 | 0.00015467 | 0.18433 | 0.18433 | 0.18433 | 0.98797 | -0.22873 | 0.99011 | -0.18788 | 50.6389
21 | 0.012813 | 0.0032121 | -0.01281 | -0.0032102 | 3.4429e-06 | 1.9066e-06 | 0.019597 | 0.019597 | 0.019597 | 0.97296 | -0.52086 | 0.97267 | -0.5265 | 5.3837
22 | -0.12375 | -0.031714 | 0.12402 | 0.03189 | 0.00027538 | 0.00017597 | 0.18623 | 0.18623 | 0.18623 | 0.99011 | -0.18788 | 0.99252 | -0.14208 | 51.1622
23 | 0.0079257 | 0.0019861 | -0.0079246 | -0.0019857 | 1.0657e-06 | 4.4215e-07 | 0.012125 | 0.012125 | 0.012125 | 0.97267 | -0.5265 | 0.97253 | -0.52932 | 3.331
24 | 0.020279 | 0.0050828 | -0.020278 | -0.0050823 | 7.0525e-07 | 4.2549e-07 | 0.030526 | 0.030526 | 0.030526 | 0.98852 | -0.21955 | 0.98848 | -0.22028 | 8.3861
25 | -0.023661 | -0.0059304 | 0.023672 | 0.0059373 | 1.12e-05 | 6.8662e-06 | 0.035617 | 0.035616 | 0.035617 | 0.98852 | -0.21955 | 0.98903 | -0.20962 | 9.7848
26 | 0.014504 | 0.0036352 | -0.014504 | -0.0036351 | 1.4021e-07 | 7.9679e-08 | 0.021833 | 0.021833 | 0.021833 | 0.98848 | -0.22028 | 0.98847 | -0.22048 | 5.9982
27 | -0.029831 | -0.0074809 | 0.029833 | 0.0074819 | 1.4657e-06 | 9.1317e-07 | 0.044883 | 0.044883 | 0.044883 | 0.98903 | -0.20962 | 0.98908 | -0.20859 | 12.3306
28 | 0.0083782 | 0.0020999 | -0.0083773 | -0.0020995 | 9.2053e-07 | 3.9135e-07 | 0.012612 | 0.012612 | 0.012612 | 0.98847 | -0.22048 | 0.98835 | -0.22279 | 3.4649
29 | -0.036433 | -0.0091361 | 0.036454 | 0.009149 | 2.0493e-05 | 1.2882e-05 | 0.054814 | 0.054814 | 0.054814 | 0.98908 | -0.20859 | 0.98969 | -0.19679 | 15.0587
30 | 0.0025655 | 0.00064297 | -0.0025655 | -0.00064298 | 4.3824e-09 | -7.234e-09 | 0.0038625 | 0.0038625 | 0.0038625 | 0.98835 | -0.22279 | 0.98835 | -0.22282 | 1.0611
31 | -0.043067 | -0.010806 | 0.043069 | 0.010808 | 2.3864e-06 | 1.5078e-06 | 0.064757 | 0.064757 | 0.064757 | 0.98969 | -0.19679 | 0.98975 | -0.19563 | 17.7903
32 | -0.049116 | -0.012323 | 0.049168 | 0.012356 | 5.1529e-05 | 3.2654e-05 | 0.073847 | 0.073847 | 0.073847 | 0.98975 | -0.19563 | 0.99089 | -0.17365 | 20.2878
33 | 0.0062237 | 0.0015594 | -0.0062234 | -0.0015593 | 2.4897e-07 | 6.8491e-08 | 0.0095223 | 0.0095224 | 0.0095224 | 0.97253 | -0.52932 | 0.97249 | -0.53016 | 2.616
34 | 0.0049039 | 0.0012286 | -0.0049036 | -0.0012286 | 2.6382e-07 | 1.3813e-08 | 0.0075033 | 0.0075034 | 0.0075034 | 0.97249 | -0.53016 | 0.97243 | -0.53129 | 2.0614
35 | 0.0035273 | 0.00088364 | -0.0035271 | -0.00088375 | 2.1206e-07 | -1.0508e-07 | 0.0053973 | 0.0053974 | 0.0053974 | 0.97243 | -0.53129 | 0.97237 | -0.53255 | 1.4828
36 | 0.0017613 | 0.0004412 | -0.0017613 | -0.00044141 | 5.3617e-08 | -2.0981e-07 | 0.0026952 | 0.0026953 | 0.0026953 | 0.97237 | -0.53255 | 0.97234 | -0.53319 | 0.74048
37 | -0.0051333 | -0.0012865 | 0.0051336 | 0.0012865 | 3.6633e-07 | 2.8267e-08 | 0.0077604 | 0.0077603 | 0.0077604 | 0.98428 | -0.30175 | 0.98435 | -0.30025 | 2.132
38 | -0.0087891 | -0.0022027 | 0.0087899 | 0.0022031 | 8.3169e-07 | 3.7255e-07 | 0.013286 | 0.013286 | 0.013286 | 0.98435 | -0.30025 | 0.98446 | -0.29826 | 3.65
39 | -0.011525 | -0.0028883 | 0.011526 | 0.002889 | 1.3625e-06 | 7.0997e-07 | 0.017151 | 0.017151 | 0.017151 | 0.99987 | -0.0024814 | 1 | 0 | 4.7118
40 | 0.34938 | 0.089814 | -0.34699 | -0.088285 | 0.002394 | 0.0015294 | 0.52069 | 0.52069 | 0.52069 | 1 | 0 | 0.99252 | -0.14208 | 47.682
41 | -0.061956 | -0.01553 | 0.062003 | 0.015559 | 4.6357e-05 | 2.9491e-05 | 0.093804 | 0.093804 | 0.093804 | 0.98282 | -0.33001 | 0.98363 | -0.31432 | 25.7704
42 | -0.069974 | -0.017568 | 0.070087 | 0.01764 | 0.00011302 | 7.1992e-05 | 0.10582 | 0.10582 | 0.10582 | 0.98409 | -0.30531 | 0.98582 | -0.27151 | 29.0707
43 | 0.066008 | 0.016574 | -0.06598 | -0.016556 | 2.8354e-05 | 1.805e-05 | 0.09982 | 0.09982 | 0.09982 | 0.98409 | -0.30531 | 0.98363 | -0.31432 | 27.4232
44 | -0.089197 | -0.022429 | 0.089372 | 0.022541 | 0.00017554 | 0.00011201 | 0.13466 | 0.13466 | 0.13466 | 0.98582 | -0.27151 | 0.98794 | -0.23039 | 36.9949
45 | -0.13274 | -0.033448 | 0.13284 | 0.033514 | 0.00010403 | 6.6491e-05 | 0.19999 | 0.19999 | 0.19999 | 0.98794 | -0.23039 | 0.98879 | -0.21402 | 54.9429
46 | 0.043366 | 0.010906 | -0.04334 | -0.01089 | 2.6108e-05 | 1.65e-05 | 0.065331 | 0.065331 | 0.065331 | 0.98794 | -0.23039 | 0.98729 | -0.243 | 17.948
47 | 0.025314 | 0.0063579 | -0.0253 | -0.0063493 | 1.3867e-05 | 8.5481e-06 | 0.038099 | 0.0381 | 0.0381 | 0.98879 | -0.21402 | 0.9882 | -0.22551 | 10.4669
48 | -0.15816 | -0.039872 | 0.1584 | 0.04003 | 0.0002473 | 0.00015768 | 0.23809 | 0.23809 | 0.23809 | 0.98879 | -0.21402 | 0.99047 | -0.1814 | 32.7049
49 | 0.03924 | 0.0098623 | -0.039203 | -0.0098387 | 3.7416e-05 | 2.3582e-05 | 0.059152 | 0.059152 | 0.059152 | 0.98729 | -0.243 | 0.98626 | -0.263 | 16.2506
50 | 0.023463 | 0.0058889 | -0.023454 | -0.0058835 | 8.8768e-06 | 5.4383e-06 | 0.035333 | 0.035333 | 0.035333 | 0.9882 | -0.22551 | 0.98779 | -0.23345 | 9.707
51 | -0.16055 | -0.040567 | 0.16085 | 0.04076 | 0.00030328 | 0.00019249 | 0.24131 | 0.24131 | 0.24131 | 0.99047 | -0.1814 | 0.99252 | -0.14208 | 22.0983
52 | 0.037102 | 0.0093123 | -0.037097 | -0.0093088 | 5.4372e-06 | 3.4208e-06 | 0.055983 | 0.055983 | 0.055983 | 0.98626 | -0.263 | 0.98611 | -0.26607 | 15.3799
53 | -0.016222 | -0.0040673 | 0.016223 | 0.0040677 | 5.845e-07 | 3.4074e-07 | 0.024451 | 0.024451 | 0.024451 | 0.98724 | -0.24401 | 0.98728 | -0.24325 | 6.7174
54 | 0.0020228 | 0.0005069 | -0.0020228 | -0.00050697 | 2.303e-08 | -6.96e-08 | 0.0030501 | 0.0030502 | 0.0030502 | 0.98684 | -0.25182 | 0.98683 | -0.25206 | 0.83796
55 | -0.019313 | -0.0048422 | 0.019315 | 0.0048435 | 2.1069e-06 | 1.2636e-06 | 0.029109 | 0.029109 | 0.029109 | 0.98728 | -0.24325 | 0.9874 | -0.24097 | 7.997
56 | -0.021038 | -0.0052753 | 0.021044 | 0.0052785 | 5.214e-06 | 3.16e-06 | 0.031706 | 0.031706 | 0.031706 | 0.9874 | -0.24097 | 0.98767 | -0.23577 | 8.7104
57 | -0.022239 | -0.0055781 | 0.022241 | 0.0055796 | 2.4602e-06 | 1.4997e-06 | 0.033507 | 0.033507 | 0.033507 | 0.98767 | -0.23577 | 0.98779 | -0.23345 | 9.2051
58 | 0.062113 | 0.015635 | -0.062068 | -0.015606 | 4.5324e-05 | 2.8827e-05 | 0.093146 | 0.093146 | 0.093146 | 0.99252 | -0.14208 | 0.99173 | -0.15736 | 25.5895
59 | 0.055644 | 0.013996 | -0.055601 | -0.013968 | 4.3277e-05 | 2.7484e-05 | 0.083507 | 0.083507 | 0.083507 | 0.99173 | -0.15736 | 0.99089 | -0.17365 | 22.9416
60 | -0.011782 | -0.002953 | 0.011784 | 0.0029539 | 1.669e-06 | 8.8973e-07 | 0.017809 | 0.017809 | 0.017809 | 0.98446 | -0.29826 | 0.98461 | -0.29529 | 4.8925
61 | -0.015389 | -0.0038574 | 0.015392 | 0.0038593 | 3.217e-06 | 1.8571e-06 | 0.023257 | 0.023257 | 0.023257 | 0.98461 | -0.29529 | 0.98483 | -0.2909 | 6.3894
62 | -0.022015 | -0.005519 | 0.022024 | 0.0055249 | 9.6691e-06 | 5.8915e-06 | 0.033263 | 0.033263 | 0.033263 | 0.98483 | -0.2909 | 0.9853 | -0.28169 | 9.1382
63 | 0.025958 | 0.0065171 | -0.025945 | -0.0065092 | 1.2698e-05 | 7.8455e-06 | 0.039174 | 0.039174 | 0.039174 | 0.98611 | -0.26607 | 0.98558 | -0.27633 | 10.762
64 | 0.02203 | 0.0055283 | -0.022024 | -0.0055249 | 5.6283e-06 | 3.4293e-06 | 0.033263 | 0.033263 | 0.033263 | 0.98558 | -0.27633 | 0.9853 | -0.28169 | 9.1382
65 | 0.0039151 | 0.0009809 | -0.0039145 | -0.00098108 | 5.3644e-07 | -1.7836e-07 | 0.0059108 | 0.005911 | 0.005911 | 0.98558 | -0.27633 | 0.98543 | -0.27921 | 1.6239

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37601 | 0.096074

## res_load
| p_mw | q_mvar
0 | 0.0028606 | 0.00071692
1 | 0.0028769 | 0.00072101
2 | 0.0028473 | 0.00071359
3 | 0.0037116 | 0.00093021
4 | 0.0043918 | 0.0011007
5 | 0.0067102 | 0.0016817
6 | 0.0021335 | 0.00053472
7 | 0.00187 | 0.00046865
8 | 0.0016088 | 0.0004032
9 | 0.0013863 | 0.00034743
10 | 0.0015984 | 0.0004006
11 | 0.0018701 | 0.00046868
12 | 0.00063864 | 0.00016006
13 | 0.00067037 | 0.00016801
14 | 0.089715 | 0.022485
15 | 0.0052536 | 0.0013167
16 | 0.0052586 | 0.0013179
17 | 0.0063306 | 0.0015866
18 | 0.0012675 | 0.00031768
19 | 0.0048843 | 0.0012241
20 | 0.0033821 | 0.00084763
21 | 0.0057741 | 0.0014471
22 | 0.0061594 | 0.0015437
23 | 0.0061255 | 0.0015352
24 | 0.0066006 | 0.0016543
25 | 0.0058117 | 0.0014566
26 | 0.0066132 | 0.0016574
27 | 0.0025655 | 0.00064298
28 | 0.0060468 | 0.0015155
29 | 0.001701 | 0.0004263
30 | 0.0013196 | 0.00033071
31 | 0.0013763 | 0.00034494
32 | 0.0017658 | 0.00044255
33 | 0.0051333 | 0.0012865
34 | 0.0036554 | 0.00091614
35 | 0.011525 | 0.0028883
36 | 0.01345 | 0.003371
37 | 0.0017613 | 0.00044141
38 | 0.03855 | 0.0096617
39 | 0.0039662 | 0.00099402
40 | 0.019109 | 0.0047893
41 | 0.0039768 | 0.00099669
42 | 0.0040996 | 0.0010275
43 | 0.001837 | 0.0004604
44 | 0.0021447 | 0.00053751
45 | 0.0021006 | 0.00052646
46 | 0.0018195 | 0.00045601
47 | 0.0019056 | 0.00047759
48 | 0.0030905 | 0.00077455
49 | 0.0020228 | 0.00050697
50 | 0.0017231 | 0.00043185
51 | 0.0011953 | 0.00029957
52 | 0.0012127 | 0.00030394
53 | 0.0064239 | 0.00161
54 | 0.0064327 | 0.0016122
55 | 0.0029922 | 0.00074992
56 | 0.0036053 | 0.00090357
57 | 0.0066222 | 0.0016597
58 | 0.011139 | 0.0027918
59 | 0.0039145 | 0.00098108

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1