## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-35_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-35_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-35_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-35_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-35_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-35_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2581-35_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_2581-35_0_3_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_2581-35_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_2581-35_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_2581-35_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_2581-35_0_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_2581-35_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2581-35_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2581-35_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2581-35_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2581-35_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2581-35_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2581-35_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2581-35_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2581-35_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_2581-35_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_2581-35_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_2581-35_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2581-35_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_2581-35_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_2581-35_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_2581-35_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2581-35_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_2581-35_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2581-35_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2581-35_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_2581-35_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2581-35_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2581-35_0_3_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_2581-35_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2581-35_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2581-35_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_2581-35_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2581-35_0_3_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2581-35_0_3_node_63 | 0.4 | n |  | TRUE
41 | bus_MV_397_0_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-35_0_3_load_0 | 0 | 0.0041746 | 0.0010463 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-35_0_3_load_1 | 1 | 0.0032233 | 0.00080784 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-35_0_3_load_2 | 2 | 0.0011835 | 0.00029662 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-35_0_3_load_3 | 3 | 0.0037656 | 0.00094375 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-35_0_3_load_4 | 4 | 0.0021098 | 0.00052877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-35_0_3_load_19 | 6 | 0.0020227 | 0.00050695 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-35_0_3_load_30 | 7 | 0.0017519 | 0.00043906 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-35_0_3_load_31 | 8 | 0.0026559 | 0.00066564 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-35_0_3_load_32 | 9 | 0.0032791 | 0.00082182 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-35_0_3_load_24 | 10 | 0.0045387 | 0.0011375 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-35_0_3_load_48 | 11 | 0.0011898 | 0.00029818 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-35_0_3_load_22 | 12 | 0.0063394 | 0.0015888 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-35_0_3_load_7 | 13 | 0.0015267 | 0.00038262 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-35_0_3_load_10 | 16 | 0.0142 | 0.0035589 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-35_0_3_load_11 | 17 | 0.013942 | 0.0034943 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-35_0_3_load_12 | 18 | 0.0079758 | 0.0019989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-35_0_3_load_13 | 19 | 0.002021 | 0.00050652 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-35_0_3_load_35 | 20 | 0.0091223 | 0.0022863 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-35_0_3_load_67 | 21 | 0.011529 | 0.0028896 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-35_0_3_load_57 | 22 | 0.017736 | 0.0044451 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-35_0_3_load_20 | 23 | 0.0035965 | 0.00090137 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-35_0_3_load_54 | 24 | 0.0067688 | 0.0016964 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-35_0_3_load_36 | 25 | 0.0040243 | 0.0010086 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-35_0_3_load_38 | 26 | 0.022497 | 0.0056383 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-35_0_3_load_26 | 27 | 0.0010098 | 0.00025307 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-35_0_3_load_56 | 28 | 0.013648 | 0.0034205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-35_0_3_load_33 | 29 | 0.0023269 | 0.00058319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-35_0_3_load_21 | 30 | 0.0084932 | 0.0021286 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-35_0_3_load_49 | 31 | 0.0012063 | 0.00030232 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-35_0_3_load_23 | 32 | 0.0089321 | 0.0022386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-35_0_3_load_25 | 33 | 0.005046 | 0.0012646 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-35_0_3_load_59 | 34 | 0.0074648 | 0.0018709 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-35_0_3_load_28 | 35 | 0.032522 | 0.0081508 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-35_0_3_load_29 | 36 | 0.0029916 | 0.00074977 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-35_0_3_load_55 | 37 | 0.0049457 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-35_0_3_load_58 | 39 | 0.016364 | 0.0041011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-35_0_3_load_63 | 40 | 0.0078361 | 0.0019639 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-35_0_3_line_0 |  | 0 | 1 | 0.0063312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-35_0_3_line_1 |  | 0 | 2 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-35_0_3_line_2 |  | 1 | 3 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-35_0_3_line_3 |  | 2 | 4 | 0.0058637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-35_0_3_line_4 |  | 3 | 5 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-35_0_3_line_5 |  | 4 | 6 | 0.001529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-35_0_3_line_6 |  | 5 | 10 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-35_0_3_line_7 |  | 6 | 11 | 0.0051005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-35_0_3_line_8 |  | 7 | 8 | 0.025021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-35_0_3_line_9 |  | 7 | 9 | 0.034105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-35_0_3_line_10 |  | 8 | 29 | 0.028231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-35_0_3_line_11 |  | 10 | 12 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-35_0_3_line_12 |  | 11 | 31 | 0.011862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-35_0_3_line_13 |  | 12 | 32 | 0.00029306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-35_0_3_line_14 |  | 13 | 14 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-35_0_3_line_15 |  | 13 | 15 | 0.04194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-35_0_3_line_16 |  | 14 | 16 | 0.0029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-35_0_3_line_17 |  | 14 | 17 | 0.031634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-35_0_3_line_18 |  | 15 | 18 | 0.00154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-35_0_3_line_19 |  | 15 | 19 | 0.020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-35_0_3_line_20 |  | 16 | 20 | 0.032583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-35_0_3_line_21 |  | 16 | 21 | 0.081673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-35_0_3_line_22 |  | 17 | 22 | 0.038587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2581-35_0_3_line_23 |  | 18 | 23 | 0.028991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-35_0_3_line_24 |  | 19 | 24 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-35_0_3_line_25 |  | 20 | 25 | 0.004161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-35_0_3_line_26 |  | 21 | 26 | 0.067063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-35_0_3_line_27 |  | 21 | 27 | 0.0761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-35_0_3_line_28 |  | 22 | 28 | 0.030794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2581-35_0_3_line_29 |  | 23 | 30 | 0.0413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-35_0_3_line_30 |  | 26 | 29 | 0.089348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-35_0_3_line_31 |  | 28 | 37 | 0.02371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-35_0_3_line_32 |  | 29 | 35 | 0.040678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-35_0_3_line_33 |  | 31 | 38 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-35_0_3_line_34 |  | 32 | 33 | 0.032601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-35_0_3_line_35 |  | 33 | 34 | 0.010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-35_0_3_line_36 |  | 35 | 36 | 0.028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-35_0_3_line_37 |  | 37 | 38 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-35_0_3_line_38 |  | 38 | 39 | 0.047774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-35_0_3_line_39 |  | 39 | 40 | 0.036571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-35_0_3_trafo_56 | 0.63 MVA 20/0.4 kV | 41 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2633683.6859 | 1244070.0317 | 2633677.9844 | 1244067.2792
1 | 2633683.6859 | 1244070.0317 | 2633687.2018 | 1244071.7291 | 2633695.9232 | 1244075.283
2 | 2633677.9844 | 1244067.2792 | 2633663.9909 | 1244060.5236 | 2633658.7589 | 1244057.8289
3 | 2633701.3533 | 1244077.4957 | 2633695.9232 | 1244075.283
4 | 2633649.1703 | 1244052.8903 | 2633658.7589 | 1244057.8289
5 | 2633701.3533 | 1244077.4957 | 2633702.7692 | 1244078.0727
6 | 2633649.1703 | 1244052.8903 | 2633639.8594 | 1244071.0475
7 | 2633707.5485 | 1244079.8539 | 2633702.9738 | 1244078.156 | 2633702.7692 | 1244078.0727
8 | 2633728.5774 | 1243986.8955 | 2633751.8846 | 1243995.997
9 | 2633728.5774 | 1243986.8955 | 2633699.2872 | 1243975.4577 | 2633696.7702 | 1243974.5945
10 | 2633751.8846 | 1243995.997 | 2633754.6158 | 1243997.0636 | 2633778.2226 | 1244006.1607
11 | 2633639.8594 | 1244071.0475 | 2633628.1442 | 1244093.8934
12 | 2633707.5485 | 1244079.8539 | 2633718.0025 | 1244083.7338 | 2633718.6698 | 1244083.9803
13 | 2633628.0105 | 1244094.1541 | 2633628.1442 | 1244093.8934
14 | 2633864.2007 | 1244139.3012 | 2633852.232 | 1244160.3219
15 | 2633831.1997 | 1244196.6058 | 2633844.1031 | 1244174.5984 | 2633852.232 | 1244160.3219
16 | 2633864.2007 | 1244139.3012 | 2633866.6677 | 1244140.9521
17 | 2633864.2007 | 1244139.3012 | 2633838.2663 | 1244124.7885 | 2633836.4768 | 1244124.1077
18 | 2633831.1997 | 1244196.6058 | 2633830.4235 | 1244197.9359
19 | 2633831.1997 | 1244196.6058 | 2633840.799 | 1244204.0986 | 2633846.8604 | 1244209.3865
20 | 2633893.7469 | 1244159.0724 | 2633866.6677 | 1244140.9521
21 | 2633866.6677 | 1244140.9521 | 2633917.4331 | 1244076.9732
22 | 2633800.4121 | 1244110.386 | 2633836.4768 | 1244124.1077
23 | 2633817.6527 | 1244223.8986 | 2633819.0993 | 1244219.5962 | 2633827.0026 | 1244203.7977 | 2633830.4235 | 1244197.9359
24 | 2633866.0152 | 1244225.3873 | 2633852.4987 | 1244214.3052 | 2633846.8604 | 1244209.3865
25 | 2633893.7469 | 1244159.0724 | 2633894.8012 | 1244159.7779 | 2633897.0798 | 1244161.5595
26 | 2633917.4331 | 1244076.9732 | 2633891.7558 | 1244061.8417 | 2633859.1398 | 1244043.8307
27 | 2633917.4331 | 1244076.9732 | 2633991.66 | 1244093.7556
28 | 2633771.0705 | 1244101.0674 | 2633796.1993 | 1244108.7832 | 2633800.4121 | 1244110.386
29 | 2633817.6527 | 1244223.8986 | 2633815.9016 | 1244229.1064 | 2633814.6034 | 1244236.8039 | 2633814.7991 | 1244244.8992 | 2633815.4023 | 1244253.0968 | 2633817.2997 | 1244259.6007 | 2633819.6451 | 1244263.9113
30 | 2633778.2226 | 1244006.1607 | 2633795.4082 | 1244012.7834 | 2633820.2001 | 1244023.6982 | 2633848.3209 | 1244037.8564 | 2633859.1398 | 1244043.8307
31 | 2633748.4052 | 1244094.1081 | 2633771.0705 | 1244101.0674
32 | 2633778.2226 | 1244006.1607 | 2633791.7574 | 1243967.8003
33 | 2633734.6978 | 1244089.8992 | 2633718.6698 | 1244083.9803
34 | 2633628.0105 | 1244094.1541 | 2633618.6597 | 1244112.3893 | 2633617.0666 | 1244117.4836 | 2633617.2614 | 1244121.7875 | 2633617.3967 | 1244124.2464
35 | 2633617.9602 | 1244134.4885 | 2633617.3967 | 1244124.2464
36 | 2633785.0185 | 1243941.9423 | 2633791.2484 | 1243947.0395 | 2633791.7574 | 1243967.8003 | 2633791.7574 | 1243967.8003
37 | 2633734.6978 | 1244089.8992 | 2633748.4052 | 1244094.1081
38 | 2633734.6978 | 1244089.8992 | 2633729.8017 | 1244103.1022 | 2633725.5037 | 1244112.1058 | 2633719.7035 | 1244123.5025 | 2633715.1687 | 1244133.4447
39 | 2633696.1172 | 1244164.6042 | 2633703.4042 | 1244154.0964 | 2633709.5979 | 1244143.9027 | 2633714.0029 | 1244136.0004 | 2633715.1687 | 1244133.4447

## bus_geodata
| x | y | coords
0 | 2633683.6859 | 1244070.0317
1 | 2633677.9844 | 1244067.2792
2 | 2633695.9232 | 1244075.283
3 | 2633658.7589 | 1244057.8289
4 | 2633701.3533 | 1244077.4957
5 | 2633649.1703 | 1244052.8903
6 | 2633702.7692 | 1244078.0727
7 | 2633728.5774 | 1243986.8955
8 | 2633751.8846 | 1243995.997
9 | 2633696.7702 | 1243974.5945
10 | 2633639.8594 | 1244071.0475
11 | 2633707.5485 | 1244079.8539
12 | 2633628.1442 | 1244093.8934
13 | 2633852.232 | 1244160.3219
14 | 2633864.2007 | 1244139.3012
15 | 2633831.1997 | 1244196.6058
16 | 2633866.6677 | 1244140.9521
17 | 2633836.4768 | 1244124.1077
18 | 2633830.4235 | 1244197.9359
19 | 2633846.8604 | 1244209.3865
20 | 2633893.7469 | 1244159.0724
21 | 2633917.4331 | 1244076.9732
22 | 2633800.4121 | 1244110.386
23 | 2633817.6527 | 1244223.8986
24 | 2633866.0152 | 1244225.3873
25 | 2633897.0798 | 1244161.5595
26 | 2633859.1398 | 1244043.8307
27 | 2633991.66 | 1244093.7556
28 | 2633771.0705 | 1244101.0674
29 | 2633778.2226 | 1244006.1607
30 | 2633819.6451 | 1244263.9113
31 | 2633718.6698 | 1244083.9803
32 | 2633628.0105 | 1244094.1541
33 | 2633617.3967 | 1244124.2464
34 | 2633617.9602 | 1244134.4885
35 | 2633791.7574 | 1243967.8003
36 | 2633785.0185 | 1243941.9423
37 | 2633748.4052 | 1244094.1081
38 | 2633734.6978 | 1244089.8992
39 | 2633715.1687 | 1244133.4447
40 | 2633696.1172 | 1244164.6042
41 | 2633734.6978 | 1244089.8992

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99488 | -0.098388 | 0.0041746 | 0.0010463
1 | 0.99465 | -0.10277 | 0.0032233 | 0.00080784
2 | 0.9954 | -0.088191 | 0.0011835 | 0.00029662
3 | 0.99394 | -0.1164 | 0.0037656 | 0.00094375
4 | 0.99564 | -0.083584 | 0.0021098 | 0.00052877
5 | 0.99362 | -0.12256 | 0 | 0
6 | 0.99571 | -0.082327 | 0.0020227 | 0.00050695
7 | 0.9761 | -0.46077 | 0.0017519 | 0.00043906
8 | 0.97622 | -0.45847 | 0.0026559 | 0.00066564
9 | 0.976 | -0.46282 | 0.0032791 | 0.00082182
10 | 0.99302 | -0.13421 | 0.0045387 | 0.0011375
11 | 0.99594 | -0.077952 | 0.0011898 | 0.00029818
12 | 0.99237 | -0.14682 | 0.0063394 | 0.0015888
13 | 0.99017 | -0.18774 | 0.0015267 | 0.00038262
14 | 0.99084 | -0.17468 | 0 | 0
15 | 0.98906 | -0.20928 | 0 | 0
16 | 0.99054 | -0.18037 | 0.0142 | 0.0035589
17 | 0.99488 | -0.097321 | 0.013942 | 0.0034943
18 | 0.98903 | -0.20983 | 0.0079758 | 0.0019989
19 | 0.98889 | -0.21245 | 0.002021 | 0.00050652
20 | 0.99015 | -0.18798 | 0.0091223 | 0.0022863
21 | 0.98444 | -0.298 | 0.011529 | 0.0028896
22 | 0.99759 | -0.045731 | 0.017736 | 0.0044451
23 | 0.98871 | -0.21608 | 0.0035965 | 0.00090137
24 | 0.98874 | -0.21546 | 0.0067688 | 0.0016964
25 | 0.99014 | -0.18828 | 0.0040243 | 0.0010086
26 | 0.9802 | -0.38041 | 0.022497 | 0.0056383
27 | 0.98437 | -0.29938 | 0.0010098 | 0.00025307
28 | 1 | 0 | -0.25469 | -0.064464
29 | 0.97642 | -0.4545 | 0.0023269 | 0.00058319
30 | 0.98838 | -0.22234 | 0.0084932 | 0.0021286
31 | 0.99648 | -0.067536 | 0.0012063 | 0.00030232
32 | 0.99236 | -0.14694 | 0.0089321 | 0.0022386
33 | 0.99199 | -0.15416 | 0.005046 | 0.0012646
34 | 0.99192 | -0.15551 | 0.0074648 | 0.0018709
35 | 0.97508 | -0.48095 | 0.032522 | 0.0081508
36 | 0.975 | -0.48253 | 0.0029916 | 0.00074977
37 | 0.99826 | -0.033263 | 0.0049457 | 0.0012395
38 | 0.99728 | -0.052192 | 0 | 0
39 | 0.99622 | -0.072476 | 0.016364 | 0.0041011
40 | 0.99596 | -0.07751 | 0.0078361 | 0.0019639
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.039391 | 0.0099021 | -0.039383 | -0.0098969 | 8.2441e-06 | 5.194e-06 | 0.058927 | 0.058927 | 0.058927 | 0.99488 | -0.098388 | 0.99465 | -0.10277 | 16.1887
1 | -0.043566 | -0.010948 | 0.043587 | 0.010962 | 2.1218e-05 | 1.3406e-05 | 0.065171 | 0.065171 | 0.065171 | 0.99488 | -0.098388 | 0.9954 | -0.088191 | 17.904
2 | 0.036159 | 0.0090891 | -0.036136 | -0.0090743 | 2.3518e-05 | 1.4774e-05 | 0.054105 | 0.054105 | 0.054105 | 0.99465 | -0.10277 | 0.99394 | -0.1164 | 14.8639
3 | -0.04477 | -0.011258 | 0.04478 | 0.011265 | 9.853e-06 | 6.2297e-06 | 0.06694 | 0.06694 | 0.06694 | 0.9954 | -0.088191 | 0.99564 | -0.083584 | 18.3901
4 | 0.03237 | 0.0081306 | -0.032361 | -0.0081246 | 9.5012e-06 | 5.941e-06 | 0.048467 | 0.048467 | 0.048467 | 0.99394 | -0.1164 | 0.99362 | -0.12256 | 13.3152
5 | -0.04689 | -0.011793 | 0.046893 | 0.011795 | 2.817e-06 | 1.783e-06 | 0.070093 | 0.070093 | 0.070093 | 0.99564 | -0.083584 | 0.99571 | -0.082327 | 19.2563
6 | 0.032361 | 0.0081246 | -0.032343 | -0.0081134 | 1.7975e-05 | 1.124e-05 | 0.048467 | 0.048467 | 0.048467 | 0.99362 | -0.12256 | 0.99302 | -0.13421 | 13.3152
7 | -0.048915 | -0.012302 | 0.048926 | 0.012309 | 1.0225e-05 | 6.4777e-06 | 0.073116 | 0.073116 | 0.073116 | 0.99571 | -0.082327 | 0.99594 | -0.077952 | 20.0868
8 | -0.0050313 | -0.0012607 | 0.0050318 | 0.0012607 | 5.5195e-07 | 4.0455e-08 | 0.0076698 | 0.0076697 | 0.0076698 | 0.9761 | -0.46077 | 0.97622 | -0.45847 | 2.1071
9 | 0.0032794 | 0.0008216 | -0.0032791 | -0.00082182 | 3.1964e-07 | -2.2169e-07 | 0.0049992 | 0.0049993 | 0.0049993 | 0.9761 | -0.46077 | 0.976 | -0.46282 | 1.3734
10 | -0.0076878 | -0.0019263 | 0.0076892 | 0.0019269 | 1.4537e-06 | 5.7731e-07 | 0.011718 | 0.011718 | 0.011718 | 0.97622 | -0.45847 | 0.97642 | -0.4545 | 3.2192
11 | 0.027804 | 0.0069759 | -0.027787 | -0.0069655 | 1.6715e-05 | 1.0366e-05 | 0.041666 | 0.041666 | 0.041666 | 0.99302 | -0.13421 | 0.99237 | -0.14682 | 11.4468
12 | -0.050115 | -0.012607 | 0.05014 | 0.012623 | 2.4951e-05 | 1.5814e-05 | 0.074893 | 0.074893 | 0.074893 | 0.99594 | -0.077952 | 0.99648 | -0.067536 | 20.5751
13 | 0.021448 | 0.0053767 | -0.021448 | -0.0053766 | 1.1367e-07 | 6.896e-08 | 0.032161 | 0.032161 | 0.032161 | 0.99237 | -0.14682 | 0.99236 | -0.14694 | 8.8353
14 | -0.030421 | -0.0076371 | 0.03044 | 0.007649 | 1.8962e-05 | 1.1824e-05 | 0.045721 | 0.045721 | 0.045721 | 0.99017 | -0.18774 | 0.99084 | -0.17468 | 12.5606
15 | 0.028894 | 0.0072545 | -0.028864 | -0.0072361 | 2.966e-05 | 1.8443e-05 | 0.043426 | 0.043427 | 0.043427 | 0.99017 | -0.18774 | 0.98906 | -0.20928 | 11.9304
16 | 0.10888 | 0.027662 | -0.10886 | -0.027643 | 2.9813e-05 | 1.9042e-05 | 0.16365 | 0.16365 | 0.16365 | 0.99084 | -0.17468 | 0.99054 | -0.18037 | 44.9597
17 | -0.13932 | -0.035311 | 0.13984 | 0.035643 | 0.00052002 | 0.00033241 | 0.20937 | 0.20937 | 0.20937 | 0.99084 | -0.17468 | 0.99488 | -0.097321 | 57.5203
18 | 0.020072 | 0.0050323 | -0.020072 | -0.0050319 | 5.2667e-07 | 3.1731e-07 | 0.030199 | 0.030199 | 0.030199 | 0.98906 | -0.20928 | 0.98903 | -0.20983 | 8.2964
19 | 0.0087921 | 0.0022038 | -0.0087907 | -0.0022032 | 1.3268e-06 | 5.8968e-07 | 0.013228 | 0.013228 | 0.013228 | 0.98906 | -0.20928 | 0.98889 | -0.21245 | 3.634
20 | 0.013151 | 0.0032975 | -0.013147 | -0.0032948 | 4.7694e-06 | 2.6331e-06 | 0.019757 | 0.019757 | 0.019757 | 0.99054 | -0.18037 | 0.99015 | -0.18798 | 5.4278
21 | 0.081503 | 0.020786 | -0.081043 | -0.020493 | 0.00046009 | 0.00029341 | 0.12256 | 0.12256 | 0.12256 | 0.99054 | -0.18037 | 0.98444 | -0.298 | 33.6717
22 | -0.15379 | -0.039137 | 0.15417 | 0.039382 | 0.00038349 | 0.00024443 | 0.23023 | 0.23023 | 0.23023 | 0.99488 | -0.097321 | 0.99759 | -0.045731 | 31.6245
23 | 0.012096 | 0.003033 | -0.012092 | -0.0030311 | 3.6008e-06 | 1.9326e-06 | 0.018199 | 0.018199 | 0.018199 | 0.98903 | -0.20983 | 0.98871 | -0.21608 | 4.9998
24 | 0.0067697 | 0.0016967 | -0.0067688 | -0.0016964 | 9.7132e-07 | 3.0145e-07 | 0.010187 | 0.010187 | 0.010187 | 0.98889 | -0.21245 | 0.98874 | -0.21546 | 2.7986
25 | 0.0040244 | 0.0010086 | -0.0040243 | -0.0010086 | 5.7074e-08 | -1.6991e-08 | 0.0060479 | 0.0060479 | 0.0060479 | 0.99015 | -0.18798 | 0.99014 | -0.18828 | 1.6615
26 | 0.068504 | 0.017351 | -0.068234 | -0.017179 | 0.00026998 | 0.00017194 | 0.10361 | 0.10361 | 0.10361 | 0.98444 | -0.298 | 0.9802 | -0.38041 | 28.4648
27 | 0.0010098 | 0.00025215 | -0.0010098 | -0.00025307 | 6.6476e-08 | -9.2494e-07 | 0.0015261 | 0.0015264 | 0.0015264 | 0.98444 | -0.298 | 0.98437 | -0.29938 | 0.41935
28 | -0.17191 | -0.043827 | 0.17229 | 0.04407 | 0.00038042 | 0.00024266 | 0.25668 | 0.25668 | 0.25668 | 0.99759 | -0.045731 | 1 | 0 | 35.2584
29 | 0.0084958 | 0.0021297 | -0.0084932 | -0.0021286 | 2.5322e-06 | 1.0911e-06 | 0.012786 | 0.012787 | 0.012787 | 0.98871 | -0.21608 | 0.98838 | -0.22234 | 3.5128
30 | 0.045737 | 0.011541 | -0.045575 | -0.011439 | 0.00016165 | 0.00010234 | 0.06946 | 0.06946 | 0.06946 | 0.9802 | -0.38041 | 0.97642 | -0.4545 | 19.0824
31 | 0.080752 | 0.020394 | -0.080623 | -0.020312 | 0.00012849 | 8.1924e-05 | 0.12021 | 0.12022 | 0.12022 | 1 | 0 | 0.99826 | -0.033263 | 33.0261
32 | 0.035559 | 0.0089286 | -0.035514 | -0.0089004 | 4.4805e-05 | 2.8167e-05 | 0.054196 | 0.054196 | 0.054196 | 0.97642 | -0.4545 | 0.97508 | -0.48095 | 14.8891
33 | -0.051347 | -0.012925 | 0.051384 | 0.012949 | 3.7688e-05 | 2.3897e-05 | 0.076695 | 0.076695 | 0.076695 | 0.99648 | -0.067536 | 0.99728 | -0.052192 | 21.0699
34 | 0.012516 | 0.003138 | -0.012511 | -0.0031357 | 4.306e-06 | 2.3348e-06 | 0.018767 | 0.018767 | 0.018767 | 0.99236 | -0.14694 | 0.99199 | -0.15416 | 5.1559
35 | 0.0074653 | 0.001871 | -0.0074648 | -0.0018709 | 4.8236e-07 | 1.763e-07 | 0.011198 | 0.011198 | 0.011198 | 0.99199 | -0.15416 | 0.99192 | -0.15551 | 3.0764
36 | 0.0029919 | 0.00074956 | -0.0029916 | -0.00074977 | 2.2526e-07 | -2.1525e-07 | 0.0045656 | 0.0045658 | 0.0045658 | 0.97508 | -0.48095 | 0.975 | -0.48253 | 1.2543
37 | 0.075678 | 0.019073 | -0.075609 | -0.019029 | 6.847e-05 | 4.3634e-05 | 0.11284 | 0.11284 | 0.11284 | 0.99826 | -0.033263 | 0.99728 | -0.052192 | 31.0008
38 | 0.024225 | 0.0060801 | -0.024201 | -0.0060657 | 2.341e-05 | 1.436e-05 | 0.036149 | 0.036149 | 0.036149 | 0.99728 | -0.052192 | 0.99622 | -0.072476 | 9.931
39 | 0.0078379 | 0.0019646 | -0.0078361 | -0.0019639 | 1.8797e-06 | 7.2696e-07 | 0.011707 | 0.011707 | 0.011707 | 0.99622 | -0.072476 | 0.99596 | -0.07751 | 3.2163

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26834 | 0.067884

## res_load
| p_mw | q_mvar
0 | 0.0041746 | 0.0010463
1 | 0.0032233 | 0.00080784
2 | 0.0011835 | 0.00029662
3 | 0.0037656 | 0.00094375
4 | 0.0021098 | 0.00052877
5 | 0.0020227 | 0.00050695
6 | 0.0017519 | 0.00043906
7 | 0.0026559 | 0.00066564
8 | 0.0032791 | 0.00082182
9 | 0.0045387 | 0.0011375
10 | 0.0011898 | 0.00029818
11 | 0.0063394 | 0.0015888
12 | 0.0015267 | 0.00038262
13 | 0.0142 | 0.0035589
14 | 0.013942 | 0.0034943
15 | 0.0079758 | 0.0019989
16 | 0.002021 | 0.00050652
17 | 0.0091223 | 0.0022863
18 | 0.011529 | 0.0028896
19 | 0.017736 | 0.0044451
20 | 0.0035965 | 0.00090137
21 | 0.0067688 | 0.0016964
22 | 0.0040243 | 0.0010086
23 | 0.022497 | 0.0056383
24 | 0.0010098 | 0.00025307
25 | 0.013648 | 0.0034205
26 | 0.0023269 | 0.00058319
27 | 0.0084932 | 0.0021286
28 | 0.0012063 | 0.00030232
29 | 0.0089321 | 0.0022386
30 | 0.005046 | 0.0012646
31 | 0.0074648 | 0.0018709
32 | 0.032522 | 0.0081508
33 | 0.0029916 | 0.00074977
34 | 0.0049457 | 0.0012395
35 | 0.016364 | 0.0041011
36 | 0.0078361 | 0.0019639

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1