## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2581-3_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_2581-3_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2581-3_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2581-3_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2581-3_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2581-3_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2581-3_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2581-3_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2581-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2581-3_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2581-3_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2581-3_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2581-3_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2581-3_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2581-3_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2581-3_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2581-3_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2581-3_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_2581-3_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2581-3_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2581-3_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2581-3_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2581-3_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2581-3_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2581-3_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2581-3_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2581-3_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2581-3_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2581-3_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_MV_290_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-3_0_4_load_0 | 0 | 0.016906 | 0.004237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-3_0_4_load_1 | 1 | 0.040675 | 0.010194 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-3_0_4_load_3 | 3 | 0.004452 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-3_0_4_load_4 | 4 | 0.031146 | 0.007806 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-3_0_4_load_28 | 6 | 0.017305 | 0.004337 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-3_0_4_load_12 | 7 | 0.014669 | 0.0036763 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-3_0_4_load_17 | 8 | 0.0039263 | 0.00098404 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-3_0_4_load_27 | 9 | 0.01858 | 0.0046566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-3_0_4_load_11 | 10 | 0.0086667 | 0.0021721 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-3_0_4_load_6 | 11 | 0.096614 | 0.024214 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-3_0_4_load_7 | 12 | 0.0036213 | 0.00090759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-3_0_4_load_9 | 14 | 0.031916 | 0.0079988 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-3_0_4_load_10 | 15 | 0.012063 | 0.0030233 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-3_0_4_load_15 | 16 | 0.0071786 | 0.0017991 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-3_0_4_load_18 | 17 | 0.019462 | 0.0048775 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-3_0_4_load_16 | 18 | 0.023829 | 0.005972 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-3_0_4_load_19 | 19 | 0.0056607 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-3_0_4_load_34 | 22 | 0.00051452 | 0.00012895 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-3_0_4_load_33 | 23 | 0.00071843 | 0.00018006 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-3_0_4_load_20 | 24 | 0.015605 | 0.0039109 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-3_0_4_load_26 | 25 | 0.0011429 | 0.00028644 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-3_0_4_load_21 | 27 | 0.0019066 | 0.00047785 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-3_0_4_load_22 | 28 | 0.027571 | 0.00691 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-3_0_4_load_23 | 29 | 0.014771 | 0.003702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-3_0_4_load_24 | 30 | 0.040473 | 0.010143 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-3_0_4_load_25 | 31 | 0.0062337 | 0.0015623 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-3_0_4_load_29 | 32 | 0.0050425 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-3_0_4_load_30 | 33 | 0.0047624 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-3_0_4_load_31 | 34 | 0.0066676 | 0.0016711 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-3_0_4_line_0 |  | 0 | 1 | 0.044169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-3_0_4_line_1 |  | 0 | 2 | 0.023782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-3_0_4_line_2 |  | 1 | 3 | 0.026295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-3_0_4_line_3 |  | 2 | 4 | 0.017719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-3_0_4_line_4 |  | 2 | 5 | 0.047751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-3_0_4_line_5 |  | 3 | 6 | 0.0004068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-3_0_4_line_6 |  | 4 | 7 | 0.050219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-3_0_4_line_7 |  | 5 | 8 | 0.10676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-3_0_4_line_8 |  | 6 | 9 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-3_0_4_line_9 |  | 7 | 10 | 0.052888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-3_0_4_line_10 |  | 9 | 18 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2581-3_0_4_line_11 |  | 10 | 20 | 0.08625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-3_0_4_line_12 |  | 11 | 12 | 0.028719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2581-3_0_4_line_13 |  | 11 | 13 | 0.02382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2581-3_0_4_line_14 |  | 12 | 14 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2581-3_0_4_line_15 |  | 13 | 15 | 0.054824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2581-3_0_4_line_16 |  | 14 | 16 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2581-3_0_4_line_17 |  | 15 | 17 | 0.00068498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2581-3_0_4_line_18 |  | 16 | 18 | 0.0036084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2581-3_0_4_line_19 |  | 17 | 19 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2581-3_0_4_line_20 |  | 19 | 24 | 0.0031402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-3_0_4_line_21 |  | 20 | 21 | 0.027995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-3_0_4_line_22 |  | 21 | 22 | 0.05126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-3_0_4_line_23 |  | 22 | 23 | 0.0070569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-3_0_4_line_24 |  | 24 | 25 | 0.032514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-3_0_4_line_25 |  | 25 | 26 | 0.017357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-3_0_4_line_26 |  | 26 | 34 | 0.032535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-3_0_4_line_27 |  | 27 | 28 | 0.0036348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-3_0_4_line_28 |  | 27 | 29 | 0.045277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-3_0_4_line_29 |  | 28 | 30 | 0.08118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-3_0_4_line_30 |  | 29 | 31 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-3_0_4_line_31 |  | 31 | 32 | 0.0103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-3_0_4_line_32 |  | 32 | 33 | 0.0037174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-3_0_4_line_33 |  | 33 | 34 | 0.0046932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-3_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 35 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2636088.9868 | 1246017.7684 | 2636070.5878 | 1245993.0169 | 2636062.6372 | 1245982.3202
1 | 2636103.1744 | 1246036.8546 | 2636088.9868 | 1246017.7684
2 | 2636046.9514 | 1245961.2165 | 2636062.6372 | 1245982.3202
3 | 2636103.1744 | 1246036.8546 | 2636111.1564 | 1246047.2433 | 2636114.2859 | 1246050.6393
4 | 2636103.1744 | 1246036.8546 | 2636081.7536 | 1246052.5569 | 2636076.3889 | 1246045.2974 | 2636066.6002 | 1246052.5204
5 | 2636046.9514 | 1245961.2165 | 2636046.7087 | 1245960.89
6 | 2636114.2859 | 1246050.6393 | 2636129.415 | 1246067.0562 | 2636145.5241 | 1246082.5755 | 2636149.9349 | 1246085.9038
7 | 2636066.6002 | 1246052.5204 | 2636003.2289 | 1245966.6086
8 | 2636038.5223 | 1245949.876 | 2636046.7087 | 1245960.89
9 | 2636149.9349 | 1246085.9038 | 2636167.3156 | 1246099.0189 | 2636181.5021 | 1246107.6999 | 2636189.1992 | 1246111.5048 | 2636194.7106 | 1246113.6003
10 | 2636028.3071 | 1245936.1326 | 2636038.5223 | 1245949.876
11 | 2636268.2304 | 1246155.916 | 2636259.6378 | 1246146.6242 | 2636248.2377 | 1246136.9038 | 2636237.011 | 1246129.7194 | 2636227.6991 | 1246125.6377 | 2636201.8004 | 1246116.2959 | 2636194.7106 | 1246113.6003
12 | 2635992.0681 | 1245886.4691 | 2635994.763 | 1245890.1674 | 2636008.9863 | 1245909.6758
13 | 2635978.0409 | 1245867.2178 | 2635979.3744 | 1245869.0493 | 2635992.0681 | 1245886.4691
14 | 2636008.9863 | 1245909.6758 | 2636018.8986 | 1245923.2712
15 | 2635978.0409 | 1245867.2178 | 2635984.5681 | 1245862.1874 | 2636021.4783 | 1245833.7683
16 | 2636026.1608 | 1245933.232 | 2636018.8986 | 1245923.2712
17 | 2636021.4783 | 1245833.7683 | 2636022.0211 | 1245833.3504
18 | 2636028.3071 | 1245936.1326 | 2636026.6563 | 1245933.9116 | 2636026.1608 | 1245933.232
19 | 2636033.8192 | 1245824.2664 | 2636022.0211 | 1245833.3504
20 | 2636033.8192 | 1245824.2664 | 2636036.3073 | 1245822.3506
21 | 2636292.5336 | 1246141.9999 | 2636286.8061 | 1246144.7333 | 2636282.6165 | 1246146.7313 | 2636272.1359 | 1246153.416 | 2636268.2304 | 1246155.916
22 | 2636292.5336 | 1246141.9999 | 2636277.8467 | 1246092.8891
23 | 2636276.2076 | 1246086.0252 | 2636277.8467 | 1246092.8891
24 | 2636062.5705 | 1245803.2541 | 2636061.4187 | 1245803.771 | 2636057.9219 | 1245806.1068 | 2636053.97 | 1245808.7512 | 2636036.3073 | 1245822.3506
25 | 2636079.0632 | 1245798.0077 | 2636072.1928 | 1245799.8116 | 2636067.4561 | 1245801.0614 | 2636062.5705 | 1245803.2541
26 | 2636079.0632 | 1245798.0077 | 2636085.5006 | 1245799.092 | 2636099.2644 | 1245807.848 | 2636106.9118 | 1245813.8051
27 | 2636166.8044 | 1245869.2451 | 2636164.5432 | 1245866.3994
28 | 2636133.0406 | 1245834.1588 | 2636134.926 | 1245835.6275 | 2636151.7285 | 1245850.2727 | 2636164.5432 | 1245866.3994
29 | 2636197.4839 | 1245943.4233 | 2636190.4723 | 1245917.6082 | 2636186.2268 | 1245901.5051 | 2636173.3196 | 1245877.4441 | 2636166.8044 | 1245869.2451
30 | 2636121.6725 | 1245825.3033 | 2636133.0406 | 1245834.1588
31 | 2636121.6725 | 1245825.3033 | 2636113.5469 | 1245818.9737
32 | 2636113.5469 | 1245818.9737 | 2636110.6142 | 1245816.6892
33 | 2636106.9118 | 1245813.8051 | 2636110.6142 | 1245816.6892

## bus_geodata
| x | y | coords
0 | 2636088.9868 | 1246017.7684
1 | 2636062.6372 | 1245982.3202
2 | 2636103.1744 | 1246036.8546
3 | 2636046.9514 | 1245961.2165
4 | 2636114.2859 | 1246050.6393
5 | 2636066.6002 | 1246052.5204
6 | 2636046.7087 | 1245960.89
7 | 2636149.9349 | 1246085.9038
8 | 2636003.2289 | 1245966.6086
9 | 2636038.5223 | 1245949.876
10 | 2636194.7106 | 1246113.6003
11 | 2635992.0681 | 1245886.4691
12 | 2636008.9863 | 1245909.6758
13 | 2635978.0409 | 1245867.2178
14 | 2636018.8986 | 1245923.2712
15 | 2636021.4783 | 1245833.7683
16 | 2636026.1608 | 1245933.232
17 | 2636022.0211 | 1245833.3504
18 | 2636028.3071 | 1245936.1326
19 | 2636033.8192 | 1245824.2664
20 | 2636268.2304 | 1246155.916
21 | 2636292.5336 | 1246141.9999
22 | 2636277.8467 | 1246092.8891
23 | 2636276.2076 | 1246086.0252
24 | 2636036.3073 | 1245822.3506
25 | 2636062.5705 | 1245803.2541
26 | 2636079.0632 | 1245798.0077
27 | 2636164.5432 | 1245866.3994
28 | 2636166.8044 | 1245869.2451
29 | 2636133.0406 | 1245834.1588
30 | 2636197.4839 | 1245943.4233
31 | 2636121.6725 | 1245825.3033
32 | 2636113.5469 | 1245818.9737
33 | 2636110.6142 | 1245816.6892
34 | 2636106.9118 | 1245813.8051
35 | 2635978.0409 | 1245867.2178

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9923 | -0.14792 | 0.016906 | 0.004237
1 | 0.99539 | -0.088246 | 0.040675 | 0.010194
2 | 0.991 | -0.17306 | 0 | 0
3 | 0.99821 | -0.03417 | 0.004452 | 0.0011158
4 | 0.99009 | -0.1906 | 0.031146 | 0.007806
5 | 0.99083 | -0.1764 | 0 | 0
6 | 0.99826 | -0.033304 | 0.017305 | 0.004337
7 | 0.98896 | -0.21257 | 0.014669 | 0.0036763
8 | 0.99044 | -0.18384 | 0.0039263 | 0.00098404
9 | 1 | 0 | -0.46998 | -0.11924
10 | 0.98848 | -0.22191 | 0.0086667 | 0.0021721
11 | 0.99322 | -0.12911 | 0.096614 | 0.024214
12 | 0.9955 | -0.085572 | 0.0036213 | 0.00090759
13 | 0.99203 | -0.15177 | 0 | 0
14 | 0.99685 | -0.059802 | 0.031916 | 0.0079988
15 | 0.9893 | -0.20415 | 0.012063 | 0.0030233
16 | 0.99796 | -0.038671 | 0.0071786 | 0.0017991
17 | 0.98927 | -0.20475 | 0.019462 | 0.0048775
18 | 0.9983 | -0.032343 | 0.023829 | 0.005972
19 | 0.98837 | -0.22199 | 0.0056607 | 0.0014187
20 | 0.98838 | -0.22382 | 0 | 0
21 | 0.98835 | -0.22443 | 0 | 0
22 | 0.98829 | -0.22556 | 0.00051452 | 0.00012895
23 | 0.98829 | -0.22565 | 0.00071843 | 0.00018006
24 | 0.98801 | -0.22895 | 0.015605 | 0.0039109
25 | 0.98472 | -0.29219 | 0.0011429 | 0.00028644
26 | 0.98298 | -0.32577 | 0 | 0
27 | 0.97399 | -0.50145 | 0.0019066 | 0.00047785
28 | 0.97375 | -0.50599 | 0.027571 | 0.00691
29 | 0.97694 | -0.44343 | 0.014771 | 0.003702
30 | 0.97069 | -0.56658 | 0.040473 | 0.010143
31 | 0.97808 | -0.42116 | 0.0062337 | 0.0015623
32 | 0.97895 | -0.40411 | 0.0050425 | 0.0012638
33 | 0.97928 | -0.39762 | 0.0047624 | 0.0011936
34 | 0.97973 | -0.38903 | 0.0066676 | 0.0016711
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.076697 | -0.019275 | 0.076916 | 0.019414 | 0.00021917 | 0.0001397 | 0.11503 | 0.11503 | 0.11503 | 0.9923 | -0.14792 | 0.99539 | -0.088246 | 31.602
1 | 0.059791 | 0.015038 | -0.05972 | -0.014992 | 7.1724e-05 | 4.5597e-05 | 0.08968 | 0.08968 | 0.08968 | 0.9923 | -0.14792 | 0.991 | -0.17306 | 24.6373
2 | -0.11759 | -0.029608 | 0.1179 | 0.029803 | 0.00030487 | 0.00019477 | 0.17584 | 0.17584 | 0.17584 | 0.99539 | -0.088246 | 0.99821 | -0.03417 | 48.3064
3 | 0.055791 | 0.014009 | -0.055745 | -0.013979 | 4.6641e-05 | 2.9622e-05 | 0.083782 | 0.083782 | 0.083782 | 0.991 | -0.17306 | 0.99009 | -0.1906 | 23.017
4 | 0.0039284 | 0.00098334 | -0.0039277 | -0.00098355 | 6.2297e-07 | -2.1643e-07 | 0.0058981 | 0.0058984 | 0.0058984 | 0.991 | -0.17306 | 0.99083 | -0.1764 | 1.6204
5 | -0.12235 | -0.030919 | 0.12235 | 0.030922 | 5.0793e-06 | 3.2454e-06 | 0.18247 | 0.18247 | 0.18247 | 0.99821 | -0.03417 | 0.99826 | -0.033304 | 50.1296
6 | 0.024598 | 0.0061732 | -0.024573 | -0.0061574 | 2.5743e-05 | 1.583e-05 | 0.036972 | 0.036972 | 0.036972 | 0.99009 | -0.1906 | 0.98896 | -0.21257 | 10.1572
7 | 0.0039277 | 0.00098355 | -0.0039263 | -0.00098404 | 1.3929e-06 | -4.8299e-07 | 0.0058984 | 0.0058988 | 0.0058988 | 0.99083 | -0.1764 | 0.99044 | -0.18384 | 1.6206
8 | -0.13966 | -0.035259 | 0.13988 | 0.035402 | 0.00022322 | 0.00014268 | 0.20827 | 0.20827 | 0.20827 | 0.99826 | -0.033304 | 1 | 0 | 57.2162
9 | 0.0099042 | 0.0024811 | -0.0098998 | -0.002479 | 4.4042e-06 | 2.1404e-06 | 0.014902 | 0.014902 | 0.014902 | 0.98896 | -0.21257 | 0.98848 | -0.22191 | 4.094
10 | 0.32845 | 0.083839 | -0.32794 | -0.083512 | 0.00051242 | 0.00032728 | 0.48928 | 0.48928 | 0.48928 | 1 | 0 | 0.9983 | -0.032343 | 44.8059
11 | 0.0012332 | 0.00030693 | -0.0012331 | -0.00030797 | 1.1139e-07 | -1.0342e-06 | 0.0018556 | 0.001856 | 0.001856 | 0.98848 | -0.22191 | 0.98838 | -0.22382 | 0.50989
12 | -0.26012 | -0.066024 | 0.26067 | 0.066372 | 0.00054604 | 0.00034835 | 0.39001 | 0.39001 | 0.39001 | 0.99322 | -0.12911 | 0.9955 | -0.085572 | 35.7149
13 | 0.16351 | 0.04181 | -0.16333 | -0.041697 | 0.00017911 | 0.0001137 | 0.24526 | 0.24526 | 0.24526 | 0.99322 | -0.12911 | 0.99203 | -0.15177 | 22.4601
14 | -0.26429 | -0.06728 | 0.26462 | 0.06749 | 0.00032884 | 0.0002098 | 0.39542 | 0.39542 | 0.39542 | 0.9955 | -0.085572 | 0.99685 | -0.059802 | 36.2105
15 | 0.16333 | 0.041697 | -0.16292 | -0.041435 | 0.00041224 | 0.00026172 | 0.24526 | 0.24526 | 0.24526 | 0.99203 | -0.15177 | 0.9893 | -0.20415 | 22.4601
16 | -0.29654 | -0.075489 | 0.29684 | 0.075682 | 0.00030248 | 0.0001931 | 0.44306 | 0.44306 | 0.44306 | 0.99685 | -0.059802 | 0.99796 | -0.038671 | 40.5732
17 | 0.15086 | 0.038412 | -0.15085 | -0.038409 | 4.4168e-06 | 2.8003e-06 | 0.22712 | 0.22712 | 0.22712 | 0.9893 | -0.20415 | 0.98927 | -0.20475 | 20.7986
18 | -0.30402 | -0.077481 | 0.30411 | 0.07754 | 9.2871e-05 | 5.9296e-05 | 0.45376 | 0.45376 | 0.45376 | 0.99796 | -0.038671 | 0.9983 | -0.032343 | 41.5534
19 | 0.13139 | 0.033531 | -0.13128 | -0.033462 | 0.00010928 | 6.956e-05 | 0.19785 | 0.19785 | 0.19785 | 0.98927 | -0.20475 | 0.98837 | -0.22199 | 27.1769
20 | 0.12562 | 0.032043 | -0.12558 | -0.032016 | 4.2209e-05 | 2.6974e-05 | 0.18933 | 0.18933 | 0.18933 | 0.98837 | -0.22199 | 0.98801 | -0.22895 | 52.0124
21 | 0.0012331 | 0.00030797 | -0.001233 | -0.0003083 | 3.6165e-08 | -3.3563e-07 | 0.001856 | 0.0018561 | 0.0018561 | 0.98838 | -0.22382 | 0.98835 | -0.22443 | 0.50992
22 | 0.001233 | 0.0003083 | -0.001233 | -0.00030892 | 6.6233e-08 | -6.1449e-07 | 0.0018561 | 0.0018563 | 0.0018563 | 0.98835 | -0.22443 | 0.98829 | -0.22556 | 0.50999
23 | 0.00071843 | 0.00017997 | -0.00071843 | -0.00018006 | 3.0964e-09 | -8.8445e-08 | 0.0010817 | 0.0010817 | 0.0010817 | 0.98829 | -0.22556 | 0.98829 | -0.22565 | 0.29717
24 | 0.10997 | 0.028105 | -0.10964 | -0.027891 | 0.00033527 | 0.00021416 | 0.16582 | 0.16582 | 0.16582 | 0.98801 | -0.22895 | 0.98472 | -0.29219 | 45.556
25 | 0.1085 | 0.027605 | -0.10832 | -0.027493 | 0.00017527 | 0.00011195 | 0.1641 | 0.1641 | 0.1641 | 0.98472 | -0.29219 | 0.98298 | -0.32577 | 45.0815
26 | 0.10832 | 0.027493 | -0.10799 | -0.027283 | 0.00032853 | 0.00020985 | 0.1641 | 0.1641 | 0.1641 | 0.98298 | -0.32577 | 0.97973 | -0.38903 | 45.0816
27 | 0.068176 | 0.017137 | -0.068161 | -0.017127 | 1.4792e-05 | 9.4218e-06 | 0.10417 | 0.10417 | 0.10417 | 0.97399 | -0.50145 | 0.97375 | -0.50599 | 28.6194
28 | -0.070083 | -0.017615 | 0.070277 | 0.017739 | 0.00019471 | 0.00012405 | 0.10709 | 0.10709 | 0.10709 | 0.97399 | -0.50145 | 0.97694 | -0.44343 | 29.4196
29 | 0.04059 | 0.010217 | -0.040473 | -0.010143 | 0.00011718 | 7.399e-05 | 0.062043 | 0.062043 | 0.062043 | 0.97375 | -0.50599 | 0.97069 | -0.56658 | 17.0448
30 | -0.085048 | -0.021441 | 0.085139 | 0.021499 | 9.0743e-05 | 5.7895e-05 | 0.12959 | 0.12959 | 0.12959 | 0.97694 | -0.44343 | 0.97808 | -0.42116 | 35.6004
31 | -0.091373 | -0.023061 | 0.091447 | 0.023109 | 7.4702e-05 | 4.768e-05 | 0.13907 | 0.13907 | 0.13907 | 0.97808 | -0.42116 | 0.97895 | -0.40411 | 38.2058
32 | -0.09649 | -0.024372 | 0.09652 | 0.024391 | 3.0015e-05 | 1.9163e-05 | 0.14673 | 0.14673 | 0.14673 | 0.97895 | -0.40411 | 0.97928 | -0.39762 | 40.3115
33 | -0.10128 | -0.025585 | 0.10132 | 0.025612 | 4.1723e-05 | 2.6644e-05 | 0.15397 | 0.15397 | 0.15397 | 0.97928 | -0.39762 | 0.97973 | -0.38903 | 42.2995

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48856 | 0.1239

## res_load
| p_mw | q_mvar
0 | 0.016906 | 0.004237
1 | 0.040675 | 0.010194
2 | 0.004452 | 0.0011158
3 | 0.031146 | 0.007806
4 | 0.017305 | 0.004337
5 | 0.014669 | 0.0036763
6 | 0.0039263 | 0.00098404
7 | 0.01858 | 0.0046566
8 | 0.0086667 | 0.0021721
9 | 0.096614 | 0.024214
10 | 0.0036213 | 0.00090759
11 | 0.031916 | 0.0079988
12 | 0.012063 | 0.0030233
13 | 0.0071786 | 0.0017991
14 | 0.019462 | 0.0048775
15 | 0.023829 | 0.005972
16 | 0.0056607 | 0.0014187
17 | 0.00051452 | 0.00012895
18 | 0.00071843 | 0.00018006
19 | 0.015605 | 0.0039109
20 | 0.0011429 | 0.00028644
21 | 0.0019066 | 0.00047785
22 | 0.027571 | 0.00691
23 | 0.014771 | 0.003702
24 | 0.040473 | 0.010143
25 | 0.0062337 | 0.0015623
26 | 0.0050425 | 0.0012638
27 | 0.0047624 | 0.0011936
28 | 0.0066676 | 0.0016711

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1