## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-48_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-48_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-48_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-48_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-48_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-48_0_6_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2581-48_0_6_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_2581-48_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2581-48_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2581-48_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2581-48_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2581-48_0_6_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2581-48_0_6_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_2581-48_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2581-48_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2581-48_0_6_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2581-48_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2581-48_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2581-48_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2581-48_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2581-48_0_6_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_2581-48_0_6_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_2581-48_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2581-48_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2581-48_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2581-48_0_6_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_2581-48_0_6_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2581-48_0_6_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_2581-48_0_6_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2581-48_0_6_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_2581-48_0_6_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2581-48_0_6_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_2581-48_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2581-48_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2581-48_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2581-48_0_6_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2581-48_0_6_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_2581-48_0_6_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2581-48_0_6_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_2581-48_0_6_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2581-48_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2581-48_0_6_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2581-48_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_2581-48_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2581-48_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2581-48_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2581-48_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2581-48_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2581-48_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2581-48_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_MV_523_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-48_0_6_load_0 | 0 | 0.0036126 | 0.0009054 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-48_0_6_load_1 | 1 | 0.0015323 | 0.00038402 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-48_0_6_load_2 | 2 | 0.0025475 | 0.00063846 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-48_0_6_load_3 | 3 | 0.0021206 | 0.00053148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-48_0_6_load_4 | 4 | 0.03468 | 0.0086917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-48_0_6_load_22 | 6 | 0.024521 | 0.0061455 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-48_0_6_load_7 | 7 | 0.028878 | 0.0072374 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-48_0_6_load_5 | 8 | 0.027026 | 0.0067734 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-48_0_6_load_6 | 9 | 0.027333 | 0.0068503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-48_0_6_load_8 | 10 | 0.047532 | 0.011913 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-48_0_6_load_26 | 13 | 0.0097307 | 0.0024387 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-48_0_6_load_19 | 15 | 0.06569 | 0.016464 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-48_0_6_load_13 | 17 | 0.0068868 | 0.001726 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-48_0_6_load_55 | 20 | 0.0070103 | 0.0017569 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-48_0_6_load_45 | 21 | 0.0036004 | 0.00090235 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-48_0_6_load_20 | 22 | 0.066598 | 0.016691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-48_0_6_load_28 | 23 | 0.00074755 | 0.00018735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-48_0_6_load_27 | 25 | 0.00075196 | 0.00018846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-48_0_6_load_46 | 27 | 0.00098684 | 0.00024732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-48_0_6_load_52 | 29 | 0.00096973 | 0.00024304 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-48_0_6_load_48 | 30 | 0.00092946 | 0.00023294 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-48_0_6_load_42 | 32 | 0.011906 | 0.002984 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-48_0_6_load_49 | 35 | 0.00099207 | 0.00024864 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-48_0_6_load_53 | 36 | 0.00094456 | 0.00023673 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-48_0_6_load_51 | 37 | 0.00097873 | 0.00024529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-48_0_6_load_54 | 38 | 0.0010333 | 0.00025896 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-48_0_6_load_40 | 39 | 0.00097559 | 0.0002445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-48_0_6_load_25 | 40 | 0.040666 | 0.010192 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-48_0_6_load_43 | 43 | 0.00091072 | 0.00022825 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-48_0_6_load_34 | 44 | 0.00098556 | 0.000247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-48_0_6_load_35 | 45 | 0.00097136 | 0.00024345 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-48_0_6_load_36 | 46 | 0.00096072 | 0.00024078 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-48_0_6_load_38 | 48 | 0.00099472 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-48_0_6_load_39 | 49 | 0.0010736 | 0.00026906 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-48_0_6_line_0 |  | 0 | 1 | 0.0032627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-48_0_6_line_1 |  | 0 | 2 | 0.0055399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-48_0_6_line_2 |  | 1 | 3 | 0.0083362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-48_0_6_line_3 |  | 2 | 4 | 0.0203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-48_0_6_line_4 |  | 4 | 5 | 0.034044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-48_0_6_line_5 |  | 5 | 6 | 0.0099094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-48_0_6_line_6 |  | 5 | 7 | 0.0087962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-48_0_6_line_7 |  | 7 | 8 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-48_0_6_line_8 |  | 8 | 9 | 0.014538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-48_0_6_line_9 |  | 9 | 10 | 0.012538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2581-48_0_6_line_10 |  | 10 | 11 | 0.0068951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2581-48_0_6_line_11 |  | 11 | 12 | 0.02072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2581-48_0_6_line_12 |  | 12 | 40 | 0.0036371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2581-48_0_6_line_13 |  | 12 | 13 | 0.037385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-48_0_6_line_14 |  | 14 | 15 | 0.057631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2581-48_0_6_line_15 |  | 14 | 16 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2581-48_0_6_line_16 |  | 15 | 22 | 0.039732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2581-48_0_6_line_17 |  | 16 | 17 | 0.0057179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2581-48_0_6_line_18 |  | 17 | 18 | 0.0085675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2581-48_0_6_line_19 |  | 18 | 19 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2581-48_0_6_line_20 |  | 19 | 20 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-48_0_6_line_21 |  | 19 | 21 | 0.15219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2581-48_0_6_line_22 |  | 21 | 33 | 0.036906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-48_0_6_line_23 |  | 21 | 31 | 0.030776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-48_0_6_line_24 |  | 22 | 41 | 0.10881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2581-48_0_6_line_25 |  | 23 | 24 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-48_0_6_line_26 |  | 23 | 25 | 0.034583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-48_0_6_line_27 |  | 24 | 26 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-48_0_6_line_28 |  | 24 | 27 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-48_0_6_line_29 |  | 26 | 37 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-48_0_6_line_30 |  | 26 | 38 | 0.011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-48_0_6_line_31 |  | 27 | 34 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-48_0_6_line_32 |  | 28 | 29 | 0.018625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-48_0_6_line_33 |  | 28 | 30 | 0.0050149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-48_0_6_line_34 |  | 29 | 39 | 0.022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-48_0_6_line_35 |  | 30 | 34 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-48_0_6_line_36 |  | 31 | 32 | 0.02208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-48_0_6_line_37 |  | 32 | 43 | 0.02692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-48_0_6_line_38 |  | 33 | 36 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-48_0_6_line_39 |  | 33 | 47 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-48_0_6_line_40 |  | 35 | 36 | 0.031824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-48_0_6_line_41 |  | 37 | 46 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-48_0_6_line_42 |  | 39 | 49 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-48_0_6_line_43 |  | 40 | 42 | 0.091495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2581-48_0_6_line_44 |  | 41 | 42 | 0.15248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2581-48_0_6_line_45 |  | 44 | 45 | 0.022745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-48_0_6_line_46 |  | 45 | 46 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-48_0_6_line_47 |  | 47 | 48 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-48_0_6_line_48 |  | 48 | 49 | 0.024013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-48_0_6_trafo_18 | 0.63 MVA 20/0.4 kV | 50 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2634681.4285 | 1244521.9511 | 2634680.784 | 1244525.1495
1 | 2634681.4285 | 1244521.9511 | 2634681.9025 | 1244519.5982 | 2634682.6644 | 1244516.5523
2 | 2634679.1375 | 1244533.3214 | 2634680.784 | 1244525.1495
3 | 2634687.6032 | 1244496.862 | 2634687.4034 | 1244497.6049 | 2634682.6644 | 1244516.5523
4 | 2634695.6105 | 1244463.7865 | 2634693.8984 | 1244472.3043 | 2634692.3004 | 1244479.3995 | 2634687.6032 | 1244496.862
5 | 2634695.6105 | 1244463.7865 | 2634704.9511 | 1244464.8751 | 2634705.4515 | 1244464.9473
6 | 2634695.6105 | 1244463.7865 | 2634686.9066 | 1244462.5159
7 | 2634672.1048 | 1244460.3565 | 2634673.1577 | 1244460.5089 | 2634686.9066 | 1244462.5159
8 | 2634672.1048 | 1244460.3565 | 2634657.717 | 1244458.2747
9 | 2634645.306 | 1244456.4974 | 2634647.3752 | 1244456.7782 | 2634657.717 | 1244458.2747
10 | 2634638.4736 | 1244455.57 | 2634645.306 | 1244456.4974
11 | 2634618.0021 | 1244452.0039 | 2634626.3814 | 1244453.387 | 2634638.4736 | 1244455.57
12 | 2634618.0021 | 1244452.0039 | 2634614.3736 | 1244451.7537
13 | 2634618.0021 | 1244452.0039 | 2634618.0933 | 1244460.988 | 2634617.9983 | 1244466.9024 | 2634617.4018 | 1244475.9048 | 2634615.3986 | 1244489.0016 | 2634615.3722 | 1244489.2137
14 | 2634692.5025 | 1244315.5057 | 2634678.2029 | 1244322.5045 | 2634663.3028 | 1244328.7994 | 2634648.9015 | 1244332.5067 | 2634638.4185 | 1244334.465
15 | 2634692.5025 | 1244315.5057 | 2634686.8594 | 1244311.3812 | 2634683.9882 | 1244306.1611 | 2634682.8749 | 1244304.0087 | 2634682.0474 | 1244303.3813
16 | 2634599.0522 | 1244339.7345 | 2634608.5978 | 1244338.698 | 2634630.2019 | 1244335.9999 | 2634638.4185 | 1244334.465
17 | 2634682.0474 | 1244303.3813 | 2634680.6595 | 1244304.2515 | 2634679.7452 | 1244304.2462 | 2634679.1943 | 1244304.1318 | 2634678.1285 | 1244304.1811 | 2634677.7705 | 1244304.6682 | 2634677.412 | 1244305.2554 | 2634677.3448 | 1244305.4893
18 | 2634682.5924 | 1244304.5074 | 2634680.6828 | 1244306.731 | 2634679.4145 | 1244307.8243 | 2634678.07 | 1244307.7386 | 2634677.0803 | 1244306.4098 | 2634677.3448 | 1244305.4893
19 | 2634673.1093 | 1244288.9642 | 2634679.6967 | 1244299.6095 | 2634682.2979 | 1244303.1937 | 2634682.5924 | 1244304.5074
20 | 2634673.1093 | 1244288.9642 | 2634675.1193 | 1244287.6751 | 2634682.0935 | 1244283.8467 | 2634682.8667 | 1244283.3746
21 | 2634673.1093 | 1244288.9642 | 2634580.119 | 1244168.4939
22 | 2634606.8518 | 1244143.0501 | 2634598.2805 | 1244151.2055 | 2634580.119 | 1244168.4939
23 | 2634557.4049 | 1244189.2477 | 2634567.3084 | 1244180.6887 | 2634580.119 | 1244168.4939
24 | 2634492.2703 | 1244360.5022 | 2634563.9294 | 1244345.7202 | 2634594.7988 | 1244340.1963 | 2634599.0522 | 1244339.7345
25 | 2634515.2578 | 1244104.2366 | 2634496.6374 | 1244086.7917
26 | 2634471.3998 | 1244063.1475 | 2634496.6374 | 1244086.7917
27 | 2634515.2578 | 1244104.2366 | 2634508.1714 | 1244113.0456
28 | 2634515.2578 | 1244104.2366 | 2634523.8689 | 1244093.538
29 | 2634508.1714 | 1244113.0456 | 2634493.4184 | 1244101.138
30 | 2634508.1714 | 1244113.0456 | 2634501.0797 | 1244121.8549
31 | 2634532.8406 | 1244082.3913 | 2634523.8689 | 1244093.538
32 | 2634538.212 | 1244059.2409 | 2634551.8509 | 1244071.9239
33 | 2634538.212 | 1244059.2409 | 2634534.7582 | 1244062.8769
34 | 2634568.3965 | 1244087.31 | 2634551.8509 | 1244071.9239
35 | 2634532.8406 | 1244082.3913 | 2634523.1501 | 1244075.097 | 2634534.7582 | 1244062.8769
36 | 2634557.4049 | 1244189.2477 | 2634540.1486 | 1244175.4729
37 | 2634540.1486 | 1244175.4729 | 2634519.1097 | 1244158.6785
38 | 2634606.8518 | 1244143.0501 | 2634592.9569 | 1244131.662
39 | 2634606.8518 | 1244143.0501 | 2634617.5725 | 1244133.0395
40 | 2634592.9569 | 1244131.662 | 2634568.3437 | 1244111.4893
41 | 2634493.4184 | 1244101.138 | 2634475.8373 | 1244086.9478
42 | 2634585.8025 | 1244103.496 | 2634568.3965 | 1244087.31
43 | 2634530.597 | 1244486.3063 | 2634534.7876 | 1244484.2293 | 2634545.1013 | 1244479.097 | 2634569.1916 | 1244465.8842 | 2634584.7043 | 1244459.4036 | 2634596.113 | 1244454.4113 | 2634599.7622 | 1244453.1762 | 2634606.1 | 1244452.2013 | 2634613.5986 | 1244451.7003 | 2634614.3736 | 1244451.7537
44 | 2634492.2703 | 1244360.5022 | 2634484.3552 | 1244365.048 | 2634485.3083 | 1244367.4774 | 2634488.6354 | 1244378.7818 | 2634491.3795 | 1244392.8735 | 2634491.5537 | 1244412.3093 | 2634490.9682 | 1244424.6584 | 2634489.9271 | 1244441.2853 | 2634487.0028 | 1244450.3964 | 2634491.1711 | 1244453.4559 | 2634503.2072 | 1244462.6985 | 2634524.4016 | 1244479.6993 | 2634530.597 | 1244486.3063
45 | 2634440.6439 | 1244058.5422 | 2634458.3429 | 1244072.8275
46 | 2634458.3429 | 1244072.8275 | 2634475.8373 | 1244086.9478
47 | 2634617.5725 | 1244133.0395 | 2634603.3873 | 1244119.8485
48 | 2634603.3873 | 1244119.8485 | 2634585.8025 | 1244103.496

## bus_geodata
| x | y | coords
0 | 2634681.4285 | 1244521.9511
1 | 2634680.784 | 1244525.1495
2 | 2634682.6644 | 1244516.5523
3 | 2634679.1375 | 1244533.3214
4 | 2634687.6032 | 1244496.862
5 | 2634695.6105 | 1244463.7865
6 | 2634705.4515 | 1244464.9473
7 | 2634686.9066 | 1244462.5159
8 | 2634672.1048 | 1244460.3565
9 | 2634657.717 | 1244458.2747
10 | 2634645.306 | 1244456.4974
11 | 2634638.4736 | 1244455.57
12 | 2634618.0021 | 1244452.0039
13 | 2634615.3722 | 1244489.2137
14 | 2634692.5025 | 1244315.5057
15 | 2634638.4185 | 1244334.465
16 | 2634682.0474 | 1244303.3813
17 | 2634677.3448 | 1244305.4893
18 | 2634682.5924 | 1244304.5074
19 | 2634673.1093 | 1244288.9642
20 | 2634682.8667 | 1244283.3746
21 | 2634580.119 | 1244168.4939
22 | 2634599.0522 | 1244339.7345
23 | 2634496.6374 | 1244086.7917
24 | 2634515.2578 | 1244104.2366
25 | 2634471.3998 | 1244063.1475
26 | 2634508.1714 | 1244113.0456
27 | 2634523.8689 | 1244093.538
28 | 2634538.212 | 1244059.2409
29 | 2634551.8509 | 1244071.9239
30 | 2634534.7582 | 1244062.8769
31 | 2634557.4049 | 1244189.2477
32 | 2634540.1486 | 1244175.4729
33 | 2634606.8518 | 1244143.0501
34 | 2634532.8406 | 1244082.3913
35 | 2634568.3437 | 1244111.4893
36 | 2634592.9569 | 1244131.662
37 | 2634493.4184 | 1244101.138
38 | 2634501.0797 | 1244121.8549
39 | 2634568.3965 | 1244087.31
40 | 2634614.3736 | 1244451.7537
41 | 2634492.2703 | 1244360.5022
42 | 2634530.597 | 1244486.3063
43 | 2634519.1097 | 1244158.6785
44 | 2634440.6439 | 1244058.5422
45 | 2634458.3429 | 1244072.8275
46 | 2634475.8373 | 1244086.9478
47 | 2634617.5725 | 1244133.0395
48 | 2634603.3873 | 1244119.8485
49 | 2634585.8025 | 1244103.496
50 | 2634618.0021 | 1244452.0039

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99357 | -0.12377 | 0.0036126 | 0.0009054
1 | 0.99356 | -0.12398 | 0.0015323 | 0.00038402
2 | 0.99361 | -0.12306 | 0.0025475 | 0.00063846
3 | 0.99354 | -0.12429 | 0.0021206 | 0.00053148
4 | 0.99379 | -0.11954 | 0.03468 | 0.0086917
5 | 0.99517 | -0.092844 | 0 | 0
6 | 0.99495 | -0.097121 | 0.024521 | 0.0061455
7 | 0.99572 | -0.082166 | 0.028878 | 0.0072374
8 | 0.99706 | -0.056458 | 0.027026 | 0.0067734
9 | 0.99871 | -0.024671 | 0.027333 | 0.0068503
10 | 0.99958 | -0.0080067 | 0.047532 | 0.011913
11 | 1 | 0 | -0.43319 | -0.10986
12 | 0.99855 | -0.027411 | 0 | 0
13 | 0.99822 | -0.033772 | 0.0097307 | 0.0024387
14 | 0.97683 | -0.4454 | 0 | 0
15 | 0.97763 | -0.42974 | 0.06569 | 0.016464
16 | 0.9766 | -0.44985 | 0 | 0
17 | 0.97652 | -0.45141 | 0.0068868 | 0.001726
18 | 0.97642 | -0.45338 | 0 | 0
19 | 0.97621 | -0.45758 | 0 | 0
20 | 0.97613 | -0.45903 | 0.0070103 | 0.0017569
21 | 0.97403 | -0.50045 | 0.0036004 | 0.00090235
22 | 0.97898 | -0.40313 | 0.066598 | 0.016691
23 | 0.97186 | -0.54322 | 0.00074755 | 0.00018735
24 | 0.9719 | -0.54252 | 0 | 0
25 | 0.97184 | -0.5437 | 0.00075196 | 0.00018846
26 | 0.97185 | -0.54354 | 0 | 0
27 | 0.97198 | -0.54088 | 0.00098684 | 0.00024732
28 | 0.97232 | -0.53419 | 0 | 0
29 | 0.97247 | -0.53132 | 0.00096973 | 0.00024304
30 | 0.97228 | -0.53496 | 0.00092946 | 0.00023294
31 | 0.97366 | -0.5077 | 0 | 0
32 | 0.9734 | -0.51291 | 0.011906 | 0.002984
33 | 0.97354 | -0.51016 | 0 | 0
34 | 0.97208 | -0.53893 | 0 | 0
35 | 0.97348 | -0.51138 | 0.00099207 | 0.00024864
36 | 0.97351 | -0.5108 | 0.00094456 | 0.00023673
37 | 0.97178 | -0.54491 | 0.00097873 | 0.00024529
38 | 0.97184 | -0.54376 | 0.0010333 | 0.00025896
39 | 0.97266 | -0.52744 | 0.00097559 | 0.0002445
40 | 0.9983 | -0.032024 | 0.040666 | 0.010192
41 | 0.98494 | -0.28713 | 0 | 0
42 | 0.99329 | -0.12689 | 0 | 0
43 | 0.97338 | -0.51336 | 0.00091072 | 0.00022825
44 | 0.97166 | -0.54735 | 0.00098556 | 0.000247
45 | 0.97168 | -0.54694 | 0.00097136 | 0.00024345
46 | 0.97172 | -0.54612 | 0.00096072 | 0.00024078
47 | 0.97337 | -0.51349 | 0 | 0
48 | 0.97315 | -0.5179 | 0.00099472 | 0.0002493
49 | 0.97289 | -0.52293 | 0.0010736 | 0.00026906
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0036529 | 0.00091539 | -0.0036529 | -0.00091541 | 3.6619e-08 | -1.8819e-08 | 0.0054708 | 0.0054708 | 0.0054708 | 0.99357 | -0.12377 | 0.99356 | -0.12398 | 1.503
1 | -0.0072655 | -0.0018208 | 0.0072658 | 0.0018209 | 2.4597e-07 | 8.5671e-08 | 0.010881 | 0.010881 | 0.010881 | 0.99357 | -0.12377 | 0.99361 | -0.12306 | 2.9893
2 | 0.0021206 | 0.00053139 | -0.0021206 | -0.00053148 | 3.1532e-08 | -8.7778e-08 | 0.003176 | 0.003176 | 0.003176 | 0.99356 | -0.12398 | 0.99354 | -0.12429 | 0.87253
3 | -0.0098133 | -0.0024593 | 0.0098149 | 0.0024601 | 1.6442e-06 | 7.8928e-07 | 0.014696 | 0.014696 | 0.014696 | 0.99361 | -0.12306 | 0.99379 | -0.11954 | 4.0374
4 | -0.044495 | -0.011152 | 0.044552 | 0.011188 | 5.6667e-05 | 3.5825e-05 | 0.066623 | 0.066623 | 0.066623 | 0.99379 | -0.11954 | 0.99517 | -0.092844 | 18.3031
5 | 0.024526 | 0.0061486 | -0.024521 | -0.0061455 | 4.9976e-06 | 3.0697e-06 | 0.036673 | 0.036673 | 0.036673 | 0.99517 | -0.092844 | 0.99495 | -0.097121 | 10.0749
6 | -0.069078 | -0.017336 | 0.069113 | 0.017359 | 3.5196e-05 | 2.2411e-05 | 0.1033 | 0.1033 | 0.1033 | 0.99517 | -0.092844 | 0.99572 | -0.082166 | 28.378
7 | -0.09799 | -0.024596 | 0.098111 | 0.024673 | 0.00012031 | 7.6803e-05 | 0.14645 | 0.14645 | 0.14645 | 0.99572 | -0.082166 | 0.99706 | -0.056458 | 40.2337
8 | -0.12514 | -0.031446 | 0.12533 | 0.031568 | 0.0001902 | 0.00012154 | 0.18678 | 0.18678 | 0.18678 | 0.99706 | -0.056458 | 0.99871 | -0.024671 | 51.3144
9 | -0.15266 | -0.038418 | 0.15278 | 0.038496 | 0.00012168 | 7.7546e-05 | 0.22751 | 0.22751 | 0.22751 | 0.99871 | -0.024671 | 0.99958 | -0.0080067 | 31.2512
10 | -0.20031 | -0.050408 | 0.20039 | 0.050457 | 7.6676e-05 | 4.8802e-05 | 0.29827 | 0.29827 | 0.29827 | 0.99958 | -0.0080067 | 1 | 0 | 27.3138
11 | 0.23115 | 0.059399 | -0.23084 | -0.059203 | 0.00030733 | 0.00019588 | 0.34447 | 0.34447 | 0.34447 | 1 | 0 | 0.99855 | -0.027411 | 31.545
12 | 0.22111 | 0.056763 | -0.22106 | -0.056732 | 4.95e-05 | 3.1537e-05 | 0.32997 | 0.32997 | 0.32997 | 0.99855 | -0.027411 | 0.9983 | -0.032024 | 30.2167
13 | 0.0097336 | 0.0024401 | -0.0097307 | -0.0024387 | 2.9497e-06 | 1.3989e-06 | 0.014505 | 0.014505 | 0.014505 | 0.99855 | -0.027411 | 0.99822 | -0.033772 | 3.985
14 | -0.044728 | -0.011244 | 0.044762 | 0.011263 | 3.3455e-05 | 1.9245e-05 | 0.068147 | 0.068147 | 0.068147 | 0.97683 | -0.4454 | 0.97763 | -0.42974 | 6.2406
15 | 0.044728 | 0.011244 | -0.044719 | -0.011238 | 9.514e-06 | 5.4736e-06 | 0.068147 | 0.068148 | 0.068148 | 0.97683 | -0.4454 | 0.9766 | -0.44985 | 6.2406
16 | -0.11045 | -0.027726 | 0.11059 | 0.027815 | 0.0001404 | 8.8357e-05 | 0.16813 | 0.16813 | 0.16813 | 0.97763 | -0.42974 | 0.97898 | -0.40313 | 15.3967
17 | 0.044719 | 0.011238 | -0.044715 | -0.011236 | 3.3193e-06 | 1.9097e-06 | 0.068148 | 0.068148 | 0.068148 | 0.9766 | -0.44985 | 0.97652 | -0.45141 | 6.2406
18 | 0.037829 | 0.0095102 | -0.037825 | -0.0095083 | 3.5597e-06 | 1.9567e-06 | 0.057654 | 0.057654 | 0.057654 | 0.97652 | -0.45141 | 0.97642 | -0.45338 | 5.2796
19 | 0.037825 | 0.0095083 | -0.037817 | -0.0095041 | 7.5948e-06 | 4.1749e-06 | 0.057654 | 0.057654 | 0.057654 | 0.97642 | -0.45338 | 0.97621 | -0.45758 | 5.2797
20 | 0.0070108 | 0.0017571 | -0.0070103 | -0.0017569 | 4.8177e-07 | 1.6769e-07 | 0.010686 | 0.010686 | 0.010686 | 0.97621 | -0.45758 | 0.97613 | -0.45903 | 2.9358
21 | 0.030807 | 0.007747 | -0.030744 | -0.0077105 | 6.2948e-05 | 3.649e-05 | 0.046968 | 0.046969 | 0.046969 | 0.97621 | -0.45758 | 0.97403 | -0.50045 | 6.4518
22 | 0.014318 | 0.003592 | -0.014312 | -0.0035882 | 6.6228e-06 | 3.7795e-06 | 0.021875 | 0.021876 | 0.021876 | 0.97403 | -0.50045 | 0.97354 | -0.51016 | 6.0098
23 | 0.012825 | 0.0032162 | -0.01282 | -0.0032137 | 4.4306e-06 | 2.4526e-06 | 0.019593 | 0.019593 | 0.019593 | 0.97403 | -0.50045 | 0.97366 | -0.5077 | 5.3828
24 | -0.17719 | -0.044506 | 0.17818 | 0.045133 | 0.00098678 | 0.00062741 | 0.26936 | 0.26936 | 0.26936 | 0.97898 | -0.40313 | 0.98494 | -0.28713 | 24.6664
25 | -0.0014995 | -0.0003754 | 0.0014996 | 0.00037511 | 5.0428e-08 | -2.8391e-07 | 0.0022958 | 0.0022957 | 0.0022958 | 0.97186 | -0.54322 | 0.9719 | -0.54252 | 0.63071
26 | 0.00075198 | 0.00018804 | -0.00075196 | -0.00018846 | 1.7189e-08 | -4.1752e-07 | 0.0011512 | 0.0011514 | 0.0011514 | 0.97186 | -0.54322 | 0.97184 | -0.5437 | 0.31631
27 | 0.0049304 | 0.0012346 | -0.0049302 | -0.0012346 | 2.4129e-07 | 1.4484e-08 | 0.0075482 | 0.0075483 | 0.0075483 | 0.9719 | -0.54252 | 0.97185 | -0.54354 | 2.0737
28 | -0.00643 | -0.0016097 | 0.0064305 | 0.0016099 | 4.9905e-07 | 1.4919e-07 | 0.0098439 | 0.0098438 | 0.0098439 | 0.9719 | -0.54252 | 0.97198 | -0.54088 | 2.7044
29 | 0.0038969 | 0.00097578 | -0.0038966 | -0.00097585 | 2.5308e-07 | -7.2934e-08 | 0.0059663 | 0.0059663 | 0.0059663 | 0.97185 | -0.54354 | 0.97178 | -0.54491 | 1.6391
30 | 0.0010333 | 0.00025883 | -0.0010333 | -0.00025896 | 1.0615e-08 | -1.3334e-07 | 0.001582 | 0.0015821 | 0.0015821 | 0.97185 | -0.54354 | 0.97184 | -0.54376 | 0.43464
31 | -0.0074173 | -0.0018572 | 0.007418 | 0.0018575 | 6.9179e-07 | 2.6538e-07 | 0.011355 | 0.011355 | 0.011355 | 0.97198 | -0.54088 | 0.97208 | -0.53893 | 3.1194
32 | -0.0083492 | -0.0020911 | 0.0083503 | 0.0020916 | 1.1402e-06 | 4.9866e-07 | 0.012777 | 0.012777 | 0.012777 | 0.97232 | -0.53419 | 0.97247 | -0.53132 | 3.5101
33 | 0.0083492 | 0.0020911 | -0.0083489 | -0.002091 | 3.07e-07 | 1.3428e-07 | 0.012777 | 0.012777 | 0.012777 | 0.97232 | -0.53419 | 0.97228 | -0.53496 | 3.5101
34 | -0.00932 | -0.0023346 | 0.0093218 | 0.0023354 | 1.723e-06 | 8.2237e-07 | 0.014261 | 0.01426 | 0.014261 | 0.97247 | -0.53132 | 0.97266 | -0.52744 | 3.9177
35 | 0.0074194 | 0.001858 | -0.007418 | -0.0018575 | 1.4013e-06 | 5.3742e-07 | 0.011354 | 0.011355 | 0.011355 | 0.97228 | -0.53496 | 0.97208 | -0.53893 | 3.1194
36 | 0.01282 | 0.0032137 | -0.012817 | -0.003212 | 3.1787e-06 | 1.7598e-06 | 0.019593 | 0.019593 | 0.019593 | 0.97366 | -0.5077 | 0.9734 | -0.51291 | 5.3828
37 | 0.00091074 | 0.00022793 | -0.00091072 | -0.00022825 | 1.9566e-08 | -3.221e-07 | 0.0013921 | 0.0013922 | 0.0013922 | 0.9734 | -0.51291 | 0.97338 | -0.51336 | 0.38248
38 | 0.0019367 | 0.0004848 | -0.0019367 | -0.00048499 | 5.9028e-08 | -1.856e-07 | 0.00296 | 0.0029601 | 0.0029601 | 0.97354 | -0.51016 | 0.97351 | -0.5108 | 0.81321
39 | 0.012375 | 0.0031034 | -0.012373 | -0.0031023 | 1.9651e-06 | 1.0756e-06 | 0.018916 | 0.018916 | 0.018916 | 0.97354 | -0.51016 | 0.97337 | -0.51349 | 5.1966
40 | -0.00099207 | -0.00024864 | 0.0009921 | 0.00024826 | 2.7441e-08 | -3.781e-07 | 0.0015164 | 0.0015163 | 0.0015164 | 0.97348 | -0.51138 | 0.97351 | -0.5108 | 0.4166
41 | 0.0029179 | 0.00073056 | -0.0029177 | -0.00073073 | 1.6912e-07 | -1.7166e-07 | 0.0044677 | 0.0044678 | 0.0044678 | 0.97178 | -0.54491 | 0.97172 | -0.54612 | 1.2274
42 | -0.010297 | -0.0025799 | 0.0103 | 0.0025811 | 2.2119e-06 | 1.1205e-06 | 0.015753 | 0.015753 | 0.015753 | 0.97266 | -0.52744 | 0.97289 | -0.52293 | 4.3277
43 | 0.18039 | 0.04654 | -0.17956 | -0.046012 | 0.00082976 | 0.00052748 | 0.26935 | 0.26935 | 0.26935 | 0.9983 | -0.032024 | 0.99329 | -0.12689 | 24.6661
44 | -0.17818 | -0.045133 | 0.17956 | 0.046012 | 0.0013828 | 0.00087914 | 0.26936 | 0.26935 | 0.26936 | 0.98494 | -0.28713 | 0.99329 | -0.12689 | 24.6663
45 | -0.00098556 | -0.000247 | 0.00098557 | 0.00024673 | 1.9428e-08 | -2.6929e-07 | 0.0015093 | 0.0015092 | 0.0015093 | 0.97166 | -0.54735 | 0.97168 | -0.54694 | 0.41464
46 | -0.0019569 | -0.00049018 | 0.001957 | 0.00048995 | 7.5708e-08 | -2.3003e-07 | 0.0029967 | 0.0029966 | 0.0029967 | 0.97168 | -0.54694 | 0.97172 | -0.54612 | 0.82328
47 | 0.012373 | 0.0031023 | -0.012371 | -0.0031009 | 2.5991e-06 | 1.4227e-06 | 0.018916 | 0.018916 | 0.018916 | 0.97337 | -0.51349 | 0.97315 | -0.5179 | 5.1966
48 | 0.011376 | 0.0028516 | -0.011373 | -0.0028501 | 2.7247e-06 | 1.4455e-06 | 0.017395 | 0.017395 | 0.017395 | 0.97315 | -0.5179 | 0.97289 | -0.52293 | 4.7788

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43319 | 0.10986

## res_load
| p_mw | q_mvar
0 | 0.0036126 | 0.0009054
1 | 0.0015323 | 0.00038402
2 | 0.0025475 | 0.00063846
3 | 0.0021206 | 0.00053148
4 | 0.03468 | 0.0086917
5 | 0.024521 | 0.0061455
6 | 0.028878 | 0.0072374
7 | 0.027026 | 0.0067734
8 | 0.027333 | 0.0068503
9 | 0.047532 | 0.011913
10 | 0.0097307 | 0.0024387
11 | 0.06569 | 0.016464
12 | 0.0068868 | 0.001726
13 | 0.0070103 | 0.0017569
14 | 0.0036004 | 0.00090235
15 | 0.066598 | 0.016691
16 | 0.00074755 | 0.00018735
17 | 0.00075196 | 0.00018846
18 | 0.00098684 | 0.00024732
19 | 0.00096973 | 0.00024304
20 | 0.00092946 | 0.00023294
21 | 0.011906 | 0.002984
22 | 0.00099207 | 0.00024864
23 | 0.00094456 | 0.00023673
24 | 0.00097873 | 0.00024529
25 | 0.0010333 | 0.00025896
26 | 0.00097559 | 0.0002445
27 | 0.040666 | 0.010192
28 | 0.00091072 | 0.00022825
29 | 0.00098556 | 0.000247
30 | 0.00097136 | 0.00024345
31 | 0.00096072 | 0.00024078
32 | 0.00099472 | 0.0002493
33 | 0.0010736 | 0.00026906

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1