## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-5_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_2581-5_1_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_2581-5_1_2_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_2581-5_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_2581-5_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_2581-5_1_2_node_126 | 0.4 | n |  | TRUE
6 | bus_LV_2581-5_1_2_node_176 | 0.4 | n |  | TRUE
7 | bus_LV_2581-5_1_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2581-5_1_2_node_191 | 0.4 | n |  | TRUE
9 | bus_LV_2581-5_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2581-5_1_2_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_2581-5_1_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2581-5_1_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_2581-5_1_2_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2581-5_1_2_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_2581-5_1_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_2581-5_1_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_2581-5_1_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_2581-5_1_2_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_2581-5_1_2_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_2581-5_1_2_node_144 | 0.4 | n |  | TRUE
21 | bus_LV_2581-5_1_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_2581-5_1_2_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_2581-5_1_2_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_2581-5_1_2_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_2581-5_1_2_node_183 | 0.4 | n |  | TRUE
26 | bus_LV_2581-5_1_2_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_2581-5_1_2_node_141 | 0.4 | n |  | TRUE
28 | bus_LV_2581-5_1_2_node_164 | 0.4 | n |  | TRUE
29 | bus_LV_2581-5_1_2_node_110 | 0.4 | n |  | TRUE
30 | bus_LV_2581-5_1_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_2581-5_1_2_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_2581-5_1_2_node_143 | 0.4 | n |  | TRUE
33 | bus_LV_2581-5_1_2_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_2581-5_1_2_node_177 | 0.4 | n |  | TRUE
35 | bus_LV_2581-5_1_2_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_2581-5_1_2_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_2581-5_1_2_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_2581-5_1_2_node_162 | 0.4 | n |  | TRUE
39 | bus_LV_2581-5_1_2_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_2581-5_1_2_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_2581-5_1_2_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_2581-5_1_2_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_2581-5_1_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_2581-5_1_2_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_2581-5_1_2_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_2581-5_1_2_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_2581-5_1_2_node_180 | 0.4 | n |  | TRUE
48 | bus_LV_2581-5_1_2_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_2581-5_1_2_node_139 | 0.4 | n |  | TRUE
50 | bus_LV_2581-5_1_2_node_151 | 0.4 | n |  | TRUE
51 | bus_LV_2581-5_1_2_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_2581-5_1_2_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2581-5_1_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_2581-5_1_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_2581-5_1_2_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_2581-5_1_2_node_127 | 0.4 | n |  | TRUE
57 | bus_LV_2581-5_1_2_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_2581-5_1_2_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_2581-5_1_2_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_2581-5_1_2_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_2581-5_1_2_node_196 | 0.4 | n |  | TRUE
62 | bus_LV_2581-5_1_2_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_2581-5_1_2_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_2581-5_1_2_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_2581-5_1_2_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_2581-5_1_2_node_138 | 0.4 | n |  | TRUE
67 | bus_LV_2581-5_1_2_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_2581-5_1_2_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_2581-5_1_2_node_195 | 0.4 | n |  | TRUE
70 | bus_LV_2581-5_1_2_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_2581-5_1_2_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_2581-5_1_2_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_2581-5_1_2_node_119 | 0.4 | n |  | TRUE
74 | bus_LV_2581-5_1_2_node_120 | 0.4 | n |  | TRUE
75 | bus_LV_2581-5_1_2_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_2581-5_1_2_node_194 | 0.4 | n |  | TRUE
77 | bus_LV_2581-5_1_2_node_131 | 0.4 | n |  | TRUE
78 | bus_LV_2581-5_1_2_node_171 | 0.4 | n |  | TRUE
79 | bus_LV_2581-5_1_2_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_2581-5_1_2_node_142 | 0.4 | n |  | TRUE
81 | bus_LV_2581-5_1_2_node_192 | 0.4 | n |  | TRUE
82 | bus_LV_2581-5_1_2_node_157 | 0.4 | n |  | TRUE
83 | bus_LV_2581-5_1_2_node_158 | 0.4 | n |  | TRUE
84 | bus_LV_2581-5_1_2_node_159 | 0.4 | n |  | TRUE
85 | bus_LV_2581-5_1_2_node_161 | 0.4 | n |  | TRUE
86 | bus_LV_2581-5_1_2_node_189 | 0.4 | n |  | TRUE
87 | bus_LV_2581-5_1_2_node_190 | 0.4 | n |  | TRUE
88 | bus_MV_523_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-5_1_2_load_11 | 0 | 0.0023615 | 0.00059185 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-5_1_2_load_12 | 1 | 0.0026828 | 0.00067238 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-5_1_2_load_13 | 2 | 0.001921 | 0.00048145 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-5_1_2_load_14 | 3 | 0.0019286 | 0.00048336 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-5_1_2_load_15 | 4 | 0.0024492 | 0.00061382 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-5_1_2_load_126 | 5 | 0.0019454 | 0.00048756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-5_1_2_load_176 | 6 | 0.0020344 | 0.00050986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-5_1_2_load_19 | 7 | 0.0051621 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-5_1_2_load_191 | 8 | 0.0051581 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-5_1_2_load_21 | 9 | 0.0074985 | 0.0018793 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-5_1_2_load_31 | 11 | 0.0015447 | 0.00038714 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-5_1_2_load_32 | 12 | 0.0017688 | 0.00044332 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-5_1_2_load_34 | 14 | 0.001717 | 0.00043033 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-5_1_2_load_36 | 16 | 0.009778 | 0.0024506 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-5_1_2_load_54 | 17 | 0.0020305 | 0.00050888 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-5_1_2_load_93 | 18 | 0.0018956 | 0.00047509 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-5_1_2_load_90 | 19 | 0.0055005 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-5_1_2_load_144 | 20 | 0.0022349 | 0.00056012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-5_1_2_load_44 | 21 | 0.0020599 | 0.00051627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-5_1_2_load_183 | 25 | 0.0080523 | 0.0020181 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-5_1_2_load_141 | 27 | 0.0021734 | 0.00054471 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-5_1_2_load_164 | 28 | 0.0062974 | 0.0015783 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-5_1_2_load_110 | 29 | 0.0062998 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-5_1_2_load_143 | 32 | 0.0019048 | 0.00047739 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-5_1_2_load_177 | 34 | 0.0029964 | 0.00075098 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-5_1_2_load_56 | 35 | 0.002787 | 0.00069849 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-5_1_2_load_57 | 36 | 0.0027929 | 0.00069997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-5_1_2_load_59 | 37 | 0.0027825 | 0.00069736 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-5_1_2_load_162 | 38 | 0.0027752 | 0.00069552 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-5_1_2_load_78 | 40 | 0.0077859 | 0.0019513 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-5_1_2_load_77 | 42 | 0.0029286 | 0.00073398 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-5_1_2_load_63 | 43 | 0.0021689 | 0.00054359 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-5_1_2_load_67 | 45 | 0.0018068 | 0.00045283 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-5_1_2_load_180 | 47 | 0.0024751 | 0.00062032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-5_1_2_load_84 | 48 | 0.0011007 | 0.00027586 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-5_1_2_load_69 | 51 | 0.0024556 | 0.00061542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-5_1_2_load_70 | 52 | 0.0024344 | 0.00061011 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-5_1_2_load_71 | 53 | 0.0011616 | 0.00029112 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-5_1_2_load_73 | 55 | 0.0023546 | 0.00059013 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-5_1_2_load_127 | 56 | 0.0044105 | 0.0011054 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-5_1_2_load_74 | 57 | 0.0077832 | 0.0019507 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-5_1_2_load_75 | 58 | 0.0051593 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-5_1_2_load_196 | 61 | 0.0051554 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-5_1_2_load_80 | 62 | 0.0019798 | 0.00049618 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-5_1_2_load_81 | 63 | 0.001956 | 0.00049023 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-5_1_2_load_82 | 64 | 0.00055923 | 0.00014016 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-5_1_2_load_83 | 65 | 0.0019393 | 0.00048604 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-5_1_2_load_138 | 66 | 0.0028219 | 0.00070723 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-5_1_2_load_91 | 67 | 0.0032623 | 0.00081761 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-5_1_2_load_92 | 68 | 0.0072914 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-5_1_2_load_195 | 69 | 0.0017399 | 0.00043607 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-5_1_2_load_116 | 70 | 0.0013947 | 0.00034954 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-5_1_2_load_117 | 71 | 0.0014208 | 0.0003561 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-5_1_2_load_118 | 72 | 0.0018323 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-5_1_2_load_119 | 73 | 0.002722 | 0.00068219 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-5_1_2_load_120 | 74 | 0.027245 | 0.0068282 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-5_1_2_load_130 | 75 | 0.0024935 | 0.00062492 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-5_1_2_load_194 | 76 | 0.008104 | 0.0020311 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-5_1_2_load_131 | 77 | 0.0013967 | 0.00035005 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-5_1_2_load_171 | 78 | 0.0012911 | 0.00032359 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2581-5_1_2_load_140 | 79 | 0.0037779 | 0.00094683 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2581-5_1_2_load_142 | 80 | 0.00096796 | 0.00024259 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2581-5_1_2_load_157 | 82 | 0.0010376 | 0.00026006 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2581-5_1_2_load_158 | 83 | 0.0032815 | 0.00082242 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2581-5_1_2_load_161 | 85 | 0.0038136 | 0.00095577 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2581-5_1_2_load_189 | 86 | 0.0046173 | 0.0011572 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2581-5_1_2_load_190 | 87 | 0.0020067 | 0.00050293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-5_1_2_line_0 |  | 0 | 1 | 0.0062377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-5_1_2_line_1 |  | 0 | 2 | 0.0022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-5_1_2_line_2 |  | 1 | 3 | 0.0084051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-5_1_2_line_3 |  | 2 | 4 | 0.0074637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-5_1_2_line_4 |  | 3 | 5 | 0.00011888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-5_1_2_line_5 |  | 4 | 6 | 0.020622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-5_1_2_line_6 |  | 5 | 54 | 0.02228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-5_1_2_line_7 |  | 6 | 33 | 0.005403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-5_1_2_line_8 |  | 7 | 8 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-5_1_2_line_9 |  | 8 | 28 | 0.028536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-5_1_2_line_10 |  | 9 | 10 | 0.024049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-5_1_2_line_11 |  | 10 | 45 | 0.015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-5_1_2_line_12 |  | 11 | 12 | 0.012396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-5_1_2_line_13 |  | 11 | 13 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-5_1_2_line_14 |  | 12 | 14 | 0.0082679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-5_1_2_line_15 |  | 13 | 15 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-5_1_2_line_16 |  | 13 | 16 | 0.038749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-5_1_2_line_17 |  | 14 | 17 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-5_1_2_line_18 |  | 15 | 18 | 0.0012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-5_1_2_line_19 |  | 15 | 19 | 0.1218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-5_1_2_line_20 |  | 16 | 20 | 0.018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-5_1_2_line_21 |  | 17 | 33 | 0.0025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-5_1_2_line_22 |  | 18 | 69 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-5_1_2_line_23 |  | 19 | 67 | 0.0062606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-5_1_2_line_24 |  | 20 | 26 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-5_1_2_line_25 |  | 21 | 22 | 0.051663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-5_1_2_line_26 |  | 22 | 23 | 0.027558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-5_1_2_line_27 |  | 22 | 24 | 0.044187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-5_1_2_line_28 |  | 23 | 25 | 0.0274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-5_1_2_line_29 |  | 24 | 28 | 0.0050827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-5_1_2_line_30 |  | 24 | 29 | 0.0092275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-5_1_2_line_31 |  | 24 | 26 | 0.047398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-5_1_2_line_32 |  | 26 | 27 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-5_1_2_line_33 |  | 27 | 80 | 0.0090691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-5_1_2_line_34 |  | 29 | 39 | 0.036375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-5_1_2_line_35 |  | 30 | 31 | 0.033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-5_1_2_line_36 |  | 30 | 32 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-5_1_2_line_37 |  | 31 | 47 | 0.042358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-5_1_2_line_38 |  | 31 | 48 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-5_1_2_line_39 |  | 32 | 80 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-5_1_2_line_40 |  | 33 | 34 | 0.026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-5_1_2_line_41 |  | 34 | 86 | 0.0049292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-5_1_2_line_42 |  | 35 | 36 | 0.0053717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-5_1_2_line_43 |  | 36 | 37 | 0.0063394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-5_1_2_line_44 |  | 37 | 38 | 0.004807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-5_1_2_line_45 |  | 38 | 41 | 0.015655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-5_1_2_line_46 |  | 39 | 40 | 0.01473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-5_1_2_line_47 |  | 40 | 59 | 0.026989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-5_1_2_line_48 |  | 41 | 42 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-5_1_2_line_49 |  | 42 | 58 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-5_1_2_line_50 |  | 43 | 44 | 0.029019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-5_1_2_line_51 |  | 44 | 46 | 0.009626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-5_1_2_line_52 |  | 45 | 49 | 0.035315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-5_1_2_line_53 |  | 46 | 50 | 0.022433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-5_1_2_line_54 |  | 48 | 64 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-5_1_2_line_55 |  | 49 | 79 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-5_1_2_line_56 |  | 49 | 66 | 0.012337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-5_1_2_line_57 |  | 50 | 81 | 0.080587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2581-5_1_2_line_58 |  | 50 | 55 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-5_1_2_line_59 |  | 51 | 52 | 0.0058601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-5_1_2_line_60 |  | 51 | 53 | 0.0091298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-5_1_2_line_61 |  | 52 | 54 | 0.0079669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-5_1_2_line_62 |  | 53 | 55 | 0.028374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-5_1_2_line_63 |  | 54 | 56 | 0.0015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-5_1_2_line_64 |  | 56 | 76 | 0.0067223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-5_1_2_line_65 |  | 57 | 58 | 3.8154e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-5_1_2_line_66 |  | 57 | 59 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-5_1_2_line_67 |  | 59 | 60 | 0.027413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-5_1_2_line_68 |  | 60 | 61 | 0.012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-5_1_2_line_69 |  | 62 | 63 | 0.0096642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2581-5_1_2_line_70 |  | 62 | 64 | 0.039108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2581-5_1_2_line_71 |  | 63 | 65 | 0.0095714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2581-5_1_2_line_72 |  | 65 | 66 | 0.0093262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2581-5_1_2_line_73 |  | 67 | 68 | 0.032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2581-5_1_2_line_74 |  | 69 | 78 | 0.0059902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2581-5_1_2_line_75 |  | 70 | 71 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2581-5_1_2_line_76 |  | 70 | 72 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2581-5_1_2_line_77 |  | 71 | 73 | 0.0093384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2581-5_1_2_line_78 |  | 72 | 74 | 0.025752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2581-5_1_2_line_79 |  | 73 | 75 | 0.008209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2581-5_1_2_line_80 |  | 75 | 77 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2581-5_1_2_line_81 |  | 77 | 78 | 0.010338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2581-5_1_2_line_82 |  | 81 | 85 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2581-5_1_2_line_83 |  | 82 | 83 | 0.0083049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2581-5_1_2_line_84 |  | 82 | 84 | 0.083186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2581-5_1_2_line_85 |  | 84 | 85 | 0.0015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2581-5_1_2_line_86 |  | 86 | 87 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-5_1_2_trafo_36 | 0.63 MVA 20/0.4 kV | 88 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2635161.3508 | 1244075.8565 | 2635167.5775 | 1244076.2263
1 | 2635159.1271 | 1244075.7244 | 2635161.3508 | 1244075.8565
2 | 2635167.5775 | 1244076.2263 | 2635175.9679 | 1244076.7248
3 | 2635159.1271 | 1244075.7244 | 2635157.104 | 1244075.6042 | 2635151.6678 | 1244075.6959
4 | 2635175.9679 | 1244076.7248 | 2635176.0865 | 1244076.7318
5 | 2635131.3719 | 1244078.6377 | 2635136.7986 | 1244076.9961 | 2635145.3976 | 1244075.8017 | 2635151.6678 | 1244075.6959
6 | 2635198.1029 | 1244080.0054 | 2635180.5969 | 1244076.9997 | 2635176.0865 | 1244076.7318
7 | 2635126.2003 | 1244080.2021 | 2635131.3719 | 1244078.6377
8 | 2635108.9469 | 1243934.2787 | 2635096.9117 | 1243946.7931
9 | 2635108.9469 | 1243934.2787 | 2635108.1987 | 1243960.3738 | 2635108.0719 | 1243962.8005
10 | 2635225.3639 | 1243976.1442 | 2635216.6516 | 1243953.7286
11 | 2635225.3639 | 1243976.1442 | 2635221.8176 | 1243990.9342
12 | 2635087.6321 | 1244089.4619 | 2635092.3998 | 1244089.097 | 2635099.7632 | 1244087.1593
13 | 2635073.723 | 1244089.8316 | 2635079.8577 | 1244090.0569 | 2635087.6321 | 1244089.4619
14 | 2635107.759 | 1244085.0551 | 2635099.7632 | 1244087.1593
15 | 2635066.1867 | 1244104.3076 | 2635073.723 | 1244089.8316
16 | 2635073.723 | 1244089.8316 | 2635080.1818 | 1244074.849 | 2635089.8267 | 1244054.5945
17 | 2635107.759 | 1244085.0551 | 2635123.7008 | 1244080.8599
18 | 2635066.1867 | 1244104.3076 | 2635065.5201 | 1244105.3593
19 | 2635066.1867 | 1244104.3076 | 2635061.9208 | 1244099.8684 | 2635054.4868 | 1244095.733 | 2635047.8246 | 1244092.714 | 2635041.1535 | 1244091.1958 | 2635034.8366 | 1244091.1141 | 2635028.5053 | 1244092.2108 | 2634953.221 | 1244119.9779
20 | 2635097.5706 | 1244037.6506 | 2635095.202 | 1244043.3062 | 2635089.8267 | 1244054.5945
21 | 2635126.2003 | 1244080.2021 | 2635123.7008 | 1244080.8599
22 | 2635065.5201 | 1244105.3593 | 2635063.189 | 1244109.0374 | 2635061.0608 | 1244112.4048 | 2635056.9638 | 1244118.18
23 | 2634947.3472 | 1244122.1443 | 2634953.221 | 1244119.9779
24 | 2635110.297 | 1244004.2479 | 2635106.8203 | 1244013.2887 | 2635098.1376 | 1244036.2967 | 2635097.5706 | 1244037.6506
25 | 2635127.0113 | 1243940.5944 | 2635139.6765 | 1243936.7668 | 2635150.8149 | 1243899.9839
26 | 2635116.8972 | 1243919.3987 | 2635117.0988 | 1243919.8001 | 2635119.4006 | 1243926.696 | 2635121.9295 | 1243941.1981 | 2635127.0113 | 1243940.5944
27 | 2635107.8068 | 1243967.8763 | 2635118.8408 | 1243968.9644 | 2635120.2003 | 1243962.7018 | 2635121.9295 | 1243941.1981 | 2635127.0113 | 1243940.5944
28 | 2635116.8972 | 1243919.3987 | 2635113.603 | 1243912.9083 | 2635109.2901 | 1243907.446 | 2635101.1974 | 1243900.9273 | 2635098.9032 | 1243899.3754
29 | 2635107.8068 | 1243967.8763 | 2635108.0719 | 1243962.8005
30 | 2635107.8068 | 1243967.8763 | 2635107.2724 | 1243977.0883
31 | 2635107.8068 | 1243967.8763 | 2635118.8408 | 1243968.9644 | 2635115.9042 | 1243982.5003 | 2635112.2592 | 1243997.0103 | 2635110.297 | 1244004.2479
32 | 2635110.297 | 1244004.2479 | 2635118.1994 | 1243998.1907 | 2635120.9633 | 1243995.9389 | 2635123.3018 | 1243992.8062
33 | 2635123.3018 | 1243992.8062 | 2635127.9218 | 1243985.0021
34 | 2635079.0415 | 1243990.3209 | 2635102.319 | 1243988.5906 | 2635106.9737 | 1243982.2362 | 2635107.2724 | 1243977.0883
35 | 2635183.1199 | 1243959.85 | 2635163.2945 | 1243952.8614 | 2635151.8245 | 1243948.8243
36 | 2635151.8245 | 1243948.8243 | 2635148.1036 | 1243955.7067 | 2635140.1391 | 1243966.3832
37 | 2635183.1199 | 1243959.85 | 2635196.9006 | 1243927.1994 | 2635199.3187 | 1243920.7178
38 | 2635183.1199 | 1243959.85 | 2635174.854 | 1243975.3854
39 | 2635140.1391 | 1243966.3832 | 2635137.6908 | 1243969.6652 | 2635128.103 | 1243984.696 | 2635127.9218 | 1243985.0021
40 | 2635126.2003 | 1244080.2021 | 2635129.5995 | 1244070.2046 | 2635134.3969 | 1244058.9035 | 2635135.9051 | 1244055.8334
41 | 2635138.0784 | 1244051.4093 | 2635135.9051 | 1244055.8334
42 | 2635053.4128 | 1243929.9088 | 2635054.9478 | 1243926.7931 | 2635056.0647 | 1243925.258
43 | 2635053.4128 | 1243929.9088 | 2635050.6111 | 1243935.5955 | 2635050.6111 | 1243935.5955
44 | 2635049.8863 | 1243940.3475 | 2635050.6111 | 1243935.5955
45 | 2635049.3877 | 1243955.9458 | 2635049.1726 | 1243945.0264 | 2635049.8863 | 1243940.3475
46 | 2635079.0415 | 1243990.3209 | 2635064.3127 | 1243990.4773
47 | 2635037.3256 | 1243990.7639 | 2635064.3127 | 1243990.4773
48 | 2635037.3167 | 1243955.1408 | 2635049.3877 | 1243955.9458
49 | 2635037.3167 | 1243955.1408 | 2635037.3225 | 1243978.3239
50 | 2635249.3059 | 1244029.2317 | 2635247.6083 | 1244026.2419 | 2635251.1724 | 1244008.8852 | 2635252.439 | 1244001.1261
51 | 2635249.3059 | 1244029.2317 | 2635246.4327 | 1244038.4206
52 | 2635210.6147 | 1244024.2879 | 2635213.4019 | 1244019.4013 | 2635221.203 | 1243993.4974 | 2635221.8176 | 1243990.9342
53 | 2635246.4327 | 1244038.4206 | 2635244.627 | 1244047.2823 | 2635240.8329 | 1244060.1236
54 | 2635167.8148 | 1243988.6155 | 2635174.854 | 1243975.3854
55 | 2635210.6147 | 1244024.2879 | 2635212.0391 | 1244027.4762 | 2635220.2707 | 1244030.905 | 2635227.2932 | 1244032.9017
56 | 2635210.6147 | 1244024.2879 | 2635205.5607 | 1244024.0467 | 2635198.4903 | 1244022.3238
57 | 2635240.8329 | 1244060.1236 | 2635223.9553 | 1244115.4816 | 2635215.646 | 1244136.6349
58 | 2635240.8329 | 1244060.1236 | 2635222.1444 | 1244051.3404 | 2635221.7459 | 1244051.1442
59 | 2635201.8165 | 1244066.6884 | 2635200.1602 | 1244072.3096
60 | 2635201.8165 | 1244066.6884 | 2635204.3969 | 1244057.9309
61 | 2635198.1029 | 1244080.0054 | 2635199.6034 | 1244074.1994 | 2635200.1602 | 1244072.3096
62 | 2635221.7459 | 1244051.1442 | 2635210.8575 | 1244045.781 | 2635208.3462 | 1244044.9323 | 2635205.2022 | 1244055.1981 | 2635204.3969 | 1244057.9309
63 | 2635198.1029 | 1244080.0054 | 2635197.6624 | 1244081.5366
64 | 2635195.8037 | 1244087.9969 | 2635197.6624 | 1244081.5366
65 | 2635037.3225 | 1243978.3239 | 2635037.3225 | 1243978.362
66 | 2635037.3256 | 1243990.7639 | 2635037.3225 | 1243978.362
67 | 2635009.8324 | 1243991.0575 | 2635037.3256 | 1243990.7639
68 | 2635009.8324 | 1243991.0575 | 2635010.2328 | 1243978.1051
69 | 2635170.5902 | 1244016.2235 | 2635180.0474 | 1244018.2133
70 | 2635167.8148 | 1243988.6155 | 2635158.2991 | 1244006.4999 | 2635157.3408 | 1244008.8179 | 2635158.4514 | 1244011.4151 | 2635160.3799 | 1244013.7058 | 2635165.5325 | 1244015.1594 | 2635170.5902 | 1244016.2235
71 | 2635180.0474 | 1244018.2133 | 2635189.4137 | 1244020.184
72 | 2635198.4903 | 1244022.3238 | 2635191.5783 | 1244020.6394 | 2635189.4137 | 1244020.184
73 | 2634947.3472 | 1244122.1443 | 2634917.3004 | 1244133.2265
74 | 2635053.4977 | 1244123.0656 | 2635056.9638 | 1244118.18
75 | 2635025.9843 | 1244165.9992 | 2635032.4662 | 1244154.9273
76 | 2635025.9843 | 1244165.9992 | 2635025.9843 | 1244165.9992 | 2635021.6344 | 1244177.7345
77 | 2635037.1842 | 1244146.8685 | 2635032.4662 | 1244154.9273
78 | 2635013.176 | 1244202.0513 | 2635016.9004 | 1244190.506 | 2635021.6344 | 1244177.7345
79 | 2635037.1842 | 1244146.8685 | 2635039.9307 | 1244142.1772 | 2635041.5359 | 1244139.9161
80 | 2635047.5138 | 1244131.4954 | 2635041.5359 | 1244139.9161
81 | 2635053.4977 | 1244123.0656 | 2635052.6483 | 1244124.2628 | 2635047.5138 | 1244131.4954
82 | 2635215.646 | 1244136.6349 | 2635198.7037 | 1244134.1662 | 2635194.8592 | 1244133.6099
83 | 2635104.9231 | 1244143.3093 | 2635105.3047 | 1244143.086 | 2635112.5668 | 1244140.072
84 | 2635193.3356 | 1244133.3894 | 2635157.8127 | 1244128.198 | 2635146.3767 | 1244128.675 | 2635137.0425 | 1244130.2653 | 2635128.424 | 1244133.4942 | 2635124.3486 | 1244135.1823 | 2635112.5668 | 1244140.072
85 | 2635193.3356 | 1244133.3894 | 2635194.8592 | 1244133.6099
86 | 2635138.0784 | 1244051.4093 | 2635142.6041 | 1244042.1968 | 2635147.4603 | 1244032.569

## bus_geodata
| x | y | coords
0 | 2635161.3508 | 1244075.8565
1 | 2635167.5775 | 1244076.2263
2 | 2635159.1271 | 1244075.7244
3 | 2635175.9679 | 1244076.7248
4 | 2635151.6678 | 1244075.6959
5 | 2635176.0865 | 1244076.7318
6 | 2635131.3719 | 1244078.6377
7 | 2635096.9117 | 1243946.7931
8 | 2635108.9469 | 1243934.2787
9 | 2635216.6516 | 1243953.7286
10 | 2635225.3639 | 1243976.1442
11 | 2635087.6321 | 1244089.4619
12 | 2635099.7632 | 1244087.1593
13 | 2635073.723 | 1244089.8316
14 | 2635107.7589 | 1244085.0551
15 | 2635066.1867 | 1244104.3076
16 | 2635089.8267 | 1244054.5945
17 | 2635123.7008 | 1244080.8599
18 | 2635065.5201 | 1244105.3593
19 | 2634953.221 | 1244119.9779
20 | 2635097.5706 | 1244037.6506
21 | 2635150.8149 | 1243899.9839
22 | 2635127.0113 | 1243940.5944
23 | 2635116.8972 | 1243919.3987
24 | 2635107.8068 | 1243967.8763
25 | 2635098.9032 | 1243899.3754
26 | 2635110.297 | 1244004.2479
27 | 2635123.3018 | 1243992.8062
28 | 2635108.0719 | 1243962.8005
29 | 2635107.2724 | 1243977.0883
30 | 2635151.8245 | 1243948.8243
31 | 2635183.1199 | 1243959.85
32 | 2635140.1391 | 1243966.3832
33 | 2635126.2003 | 1244080.2021
34 | 2635135.9051 | 1244055.8334
35 | 2635056.0647 | 1243925.258
36 | 2635053.4128 | 1243929.9088
37 | 2635050.6111 | 1243935.5955
38 | 2635049.8863 | 1243940.3475
39 | 2635079.0415 | 1243990.3209
40 | 2635064.3127 | 1243990.4773
41 | 2635049.3877 | 1243955.9458
42 | 2635037.3167 | 1243955.1408
43 | 2635252.439 | 1244001.1261
44 | 2635249.3059 | 1244029.2317
45 | 2635221.8176 | 1243990.9342
46 | 2635246.4327 | 1244038.4206
47 | 2635199.3187 | 1243920.7178
48 | 2635174.854 | 1243975.3854
49 | 2635210.6147 | 1244024.2879
50 | 2635240.8329 | 1244060.1236
51 | 2635201.8165 | 1244066.6884
52 | 2635200.1602 | 1244072.3096
53 | 2635204.3969 | 1244057.9309
54 | 2635198.1029 | 1244080.0054
55 | 2635221.7459 | 1244051.1442
56 | 2635197.6624 | 1244081.5366
57 | 2635037.3225 | 1243978.362
58 | 2635037.3225 | 1243978.3239
59 | 2635037.3256 | 1243990.7639
60 | 2635009.8324 | 1243991.0575
61 | 2635010.2328 | 1243978.1051
62 | 2635170.5902 | 1244016.2235
63 | 2635180.0474 | 1244018.2133
64 | 2635167.8148 | 1243988.6155
65 | 2635189.4137 | 1244020.184
66 | 2635198.4903 | 1244022.3238
67 | 2634947.3472 | 1244122.1443
68 | 2634917.3004 | 1244133.2265
69 | 2635056.9638 | 1244118.18
70 | 2635025.9843 | 1244165.9992
71 | 2635032.4662 | 1244154.9273
72 | 2635021.6344 | 1244177.7345
73 | 2635037.1842 | 1244146.8685
74 | 2635013.176 | 1244202.0513
75 | 2635041.5359 | 1244139.9161
76 | 2635195.8037 | 1244087.9969
77 | 2635047.5138 | 1244131.4954
78 | 2635053.4977 | 1244123.0656
79 | 2635227.2932 | 1244032.9017
80 | 2635127.9218 | 1243985.0021
81 | 2635215.646 | 1244136.6349
82 | 2635112.5668 | 1244140.072
83 | 2635104.9231 | 1244143.3093
84 | 2635193.3356 | 1244133.3894
85 | 2635194.8592 | 1244133.6099
86 | 2635138.0784 | 1244051.4093
87 | 2635147.4603 | 1244032.569
88 | 2635073.723 | 1244089.8316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99124 | -0.16837 | 0.0023615 | 0.00059185
1 | 0.99102 | -0.17256 | 0.0026828 | 0.00067238
2 | 0.99132 | -0.16679 | 0.001921 | 0.00048145
3 | 0.99075 | -0.17779 | 0.0019286 | 0.00048336
4 | 0.99161 | -0.16122 | 0.0024492 | 0.00061382
5 | 0.99075 | -0.17786 | 0.0019454 | 0.00048756
6 | 0.99245 | -0.14496 | 0.0020344 | 0.00050986
7 | 0.99118 | -0.16923 | 0.0051621 | 0.0012938
8 | 0.99127 | -0.16764 | 0.0051581 | 0.0012927
9 | 0.98954 | -0.2011 | 0.0074985 | 0.0018793
10 | 0.98971 | -0.19789 | 0 | 0
11 | 0.99484 | -0.098766 | 0.0015447 | 0.00038714
12 | 0.99414 | -0.11224 | 0.0017688 | 0.00044332
13 | 0.99565 | -0.083257 | 0 | 0
14 | 0.99369 | -0.12099 | 0.001717 | 0.00043033
15 | 0.99476 | -0.10034 | 0 | 0
16 | 1 | 0 | -0.23246 | -0.058576
17 | 0.99281 | -0.13794 | 0.0020305 | 0.00050888
18 | 0.99471 | -0.10129 | 0.0018956 | 0.00047509
19 | 0.99298 | -0.13485 | 0.0055005 | 0.0013785
20 | 0.99819 | -0.034556 | 0.0022349 | 0.00056012
21 | 0.99111 | -0.17074 | 0.0020599 | 0.00051627
22 | 0.9912 | -0.16885 | 0 | 0
23 | 0.991 | -0.17279 | 0 | 0
24 | 0.99161 | -0.16092 | 0 | 0
25 | 0.9908 | -0.1767 | 0.0080523 | 0.0020181
26 | 0.99478 | -0.09979 | 0 | 0
27 | 0.99429 | -0.1093 | 0.0021734 | 0.00054471
28 | 0.99153 | -0.16242 | 0.0062974 | 0.0015783
29 | 0.99122 | -0.16849 | 0.0062998 | 0.0015789
30 | 0.99298 | -0.13454 | 0 | 0
31 | 0.99219 | -0.14971 | 0 | 0
32 | 0.99348 | -0.12485 | 0.0019048 | 0.00047739
33 | 0.99268 | -0.14051 | 0 | 0
34 | 0.99245 | -0.14498 | 0.0029964 | 0.00075098
35 | 0.98758 | -0.2392 | 0.002787 | 0.00069849
36 | 0.98759 | -0.23893 | 0.0027929 | 0.00069997
37 | 0.98762 | -0.2383 | 0.0027825 | 0.00069736
38 | 0.98766 | -0.23758 | 0.0027752 | 0.00069552
39 | 0.98989 | -0.19431 | 0 | 0
40 | 0.98935 | -0.20478 | 0.0077859 | 0.0019513
41 | 0.98782 | -0.23446 | 0 | 0
42 | 0.98794 | -0.23206 | 0.0029286 | 0.00073398
43 | 0.98912 | -0.20945 | 0.0021689 | 0.00054359
44 | 0.98918 | -0.20833 | 0 | 0
45 | 0.98981 | -0.19586 | 0.0018068 | 0.00045283
46 | 0.9892 | -0.20796 | 0 | 0
47 | 0.9921 | -0.15157 | 0.0024751 | 0.00062032
48 | 0.99182 | -0.15702 | 0.0011007 | 0.00027586
49 | 0.99012 | -0.19001 | 0 | 0
50 | 0.98924 | -0.20709 | 0 | 0
51 | 0.98989 | -0.19458 | 0.0024556 | 0.00061542
52 | 0.98997 | -0.19288 | 0.0024344 | 0.00061011
53 | 0.98977 | -0.19682 | 0.0011616 | 0.00029112
54 | 0.99011 | -0.19023 | 0 | 0
55 | 0.98944 | -0.20322 | 0.0023546 | 0.00059013
56 | 0.99009 | -0.19058 | 0.0044105 | 0.0011054
57 | 0.98824 | -0.22623 | 0.0077832 | 0.0019507
58 | 0.98824 | -0.22624 | 0.0051593 | 0.001293
59 | 0.98855 | -0.22025 | 0 | 0
60 | 0.98842 | -0.22277 | 0 | 0
61 | 0.98836 | -0.22397 | 0.0051554 | 0.0012921
62 | 0.99073 | -0.17807 | 0.0019798 | 0.00049618
63 | 0.99056 | -0.18147 | 0.001956 | 0.00049023
64 | 0.99151 | -0.16296 | 0.00055923 | 0.00014016
65 | 0.9904 | -0.18451 | 0.0019393 | 0.00048604
66 | 0.99026 | -0.18714 | 0.0028219 | 0.00070723
67 | 0.99292 | -0.13601 | 0.0032623 | 0.00081761
68 | 0.9927 | -0.14014 | 0.0072914 | 0.0018274
69 | 0.99413 | -0.11258 | 0.0017399 | 0.00043607
70 | 0.99231 | -0.14778 | 0.0013947 | 0.00034954
71 | 0.99266 | -0.14087 | 0.0014208 | 0.0003561
72 | 0.99197 | -0.15423 | 0.0018323 | 0.00045923
73 | 0.99294 | -0.1356 | 0.002722 | 0.00068219
74 | 0.99133 | -0.16666 | 0.027245 | 0.0068282
75 | 0.9932 | -0.13058 | 0.0024935 | 0.00062492
76 | 0.99004 | -0.19155 | 0.008104 | 0.0020311
77 | 0.99355 | -0.12381 | 0.0013967 | 0.00035005
78 | 0.99391 | -0.11678 | 0.0012911 | 0.00032359
79 | 0.99005 | -0.19134 | 0.0037779 | 0.00094683
80 | 0.99405 | -0.11391 | 0.00096796 | 0.00024259
81 | 0.98864 | -0.21878 | 0 | 0
82 | 0.98815 | -0.22836 | 0.0010376 | 0.00026006
83 | 0.98812 | -0.22885 | 0.0032815 | 0.00082242
84 | 0.98848 | -0.22195 | 0 | 0
85 | 0.98848 | -0.22183 | 0.0038136 | 0.00095577
86 | 0.99242 | -0.14555 | 0.0046173 | 0.0011572
87 | 0.99238 | -0.1463 | 0.0020067 | 0.00050293
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.037833 | 0.0094979 | -0.037825 | -0.0094932 | 7.5465e-06 | 4.7493e-06 | 0.056799 | 0.056799 | 0.056799 | 0.99124 | -0.16837 | 0.99102 | -0.17256 | 15.6042
1 | -0.040194 | -0.01009 | 0.040197 | 0.010092 | 3.0419e-06 | 1.9181e-06 | 0.060344 | 0.060344 | 0.060344 | 0.99124 | -0.16837 | 0.99132 | -0.16679 | 16.5781
2 | 0.035143 | 0.0088208 | -0.035134 | -0.0088153 | 8.7774e-06 | 5.5093e-06 | 0.052771 | 0.052771 | 0.052771 | 0.99102 | -0.17256 | 0.99075 | -0.17779 | 14.4975
3 | -0.042118 | -0.010573 | 0.04213 | 0.01058 | 1.1189e-05 | 7.0648e-06 | 0.063228 | 0.063228 | 0.063228 | 0.99132 | -0.16679 | 0.99161 | -0.16122 | 17.3703
4 | 0.033205 | 0.0083319 | -0.033205 | -0.0083319 | 1.1089e-07 | 6.9439e-08 | 0.049874 | 0.049874 | 0.049874 | 0.99075 | -0.17779 | 0.99075 | -0.17786 | 13.7018
5 | -0.044579 | -0.011194 | 0.044613 | 0.011216 | 3.4614e-05 | 2.1887e-05 | 0.066903 | 0.066903 | 0.066903 | 0.99161 | -0.16122 | 0.99245 | -0.14496 | 18.3799
6 | 0.03126 | 0.0078443 | -0.031241 | -0.0078328 | 1.8419e-05 | 1.1502e-05 | 0.046953 | 0.046953 | 0.046953 | 0.99075 | -0.17786 | 0.99011 | -0.19023 | 12.8991
7 | -0.046648 | -0.011726 | 0.046658 | 0.011732 | 9.9147e-06 | 6.2756e-06 | 0.069953 | 0.069953 | 0.069953 | 0.99245 | -0.14496 | 0.99268 | -0.14051 | 19.2179
8 | -0.0051621 | -0.0012938 | 0.0051625 | 0.0012938 | 3.9102e-07 | 2.6453e-08 | 0.0077497 | 0.0077496 | 0.0077497 | 0.99118 | -0.16923 | 0.99127 | -0.16764 | 2.129
9 | -0.010321 | -0.0025865 | 0.010323 | 0.0025878 | 2.5684e-06 | 1.2758e-06 | 0.015493 | 0.015492 | 0.015493 | 0.99127 | -0.16764 | 0.99153 | -0.16242 | 4.2562
10 | -0.0074985 | -0.0018793 | 0.0074997 | 0.0018797 | 1.1466e-06 | 4.2485e-07 | 0.011276 | 0.011276 | 0.011276 | 0.98954 | -0.2011 | 0.98971 | -0.19789 | 3.0978
11 | -0.0074997 | -0.0018797 | 0.0075004 | 0.00188 | 7.2514e-07 | 2.6862e-07 | 0.011276 | 0.011276 | 0.011276 | 0.98971 | -0.19789 | 0.98981 | -0.19586 | 3.0977
12 | 0.061916 | 0.015602 | -0.061876 | -0.015577 | 3.9893e-05 | 2.5371e-05 | 0.092639 | 0.092639 | 0.092639 | 0.99484 | -0.098766 | 0.99414 | -0.11224 | 25.4504
13 | -0.063461 | -0.015989 | 0.063508 | 0.016019 | 4.7115e-05 | 2.9972e-05 | 0.09495 | 0.09495 | 0.09495 | 0.99484 | -0.098766 | 0.99565 | -0.083257 | 26.0851
14 | 0.060107 | 0.015134 | -0.060082 | -0.015118 | 2.5109e-05 | 1.5963e-05 | 0.089992 | 0.089992 | 0.089992 | 0.99414 | -0.11224 | 0.99369 | -0.12099 | 24.7231
15 | 0.059672 | 0.015024 | -0.059623 | -0.014993 | 4.8676e-05 | 3.094e-05 | 0.089204 | 0.089204 | 0.089204 | 0.99565 | -0.083257 | 0.99476 | -0.10034 | 24.5067
16 | -0.12318 | -0.031043 | 0.12367 | 0.031358 | 0.00049278 | 0.00031488 | 0.18415 | 0.18415 | 0.18415 | 0.99565 | -0.083257 | 1 | 0 | 50.5918
17 | 0.058365 | 0.014687 | -0.058318 | -0.014657 | 4.7243e-05 | 3.0022e-05 | 0.087421 | 0.087421 | 0.087421 | 0.99369 | -0.12099 | 0.99281 | -0.13794 | 24.0167
18 | 0.04354 | 0.010953 | -0.043538 | -0.010952 | 1.9816e-06 | 1.252e-06 | 0.065144 | 0.065144 | 0.065144 | 0.99476 | -0.10034 | 0.99471 | -0.10129 | 17.8967
19 | 0.016083 | 0.0040397 | -0.016056 | -0.0040243 | 2.6443e-05 | 1.5345e-05 | 0.02406 | 0.024061 | 0.024061 | 0.99476 | -0.10034 | 0.99298 | -0.13485 | 6.6101
20 | 0.10714 | 0.027218 | -0.10696 | -0.027104 | 0.00017791 | 0.00011362 | 0.15956 | 0.15956 | 0.15956 | 1 | 0 | 0.99819 | -0.034556 | 43.835
21 | 0.056287 | 0.014148 | -0.05628 | -0.014144 | 6.9006e-06 | 4.383e-06 | 0.084378 | 0.084378 | 0.084378 | 0.99281 | -0.13794 | 0.99268 | -0.14051 | 23.1807
22 | 0.041643 | 0.010477 | -0.04162 | -0.010463 | 2.2448e-05 | 1.4167e-05 | 0.062308 | 0.062309 | 0.062309 | 0.99471 | -0.10129 | 0.99413 | -0.11258 | 17.1177
23 | 0.010556 | 0.0026458 | -0.010555 | -0.0026455 | 5.8744e-07 | 2.9498e-07 | 0.015818 | 0.015818 | 0.015818 | 0.99298 | -0.13485 | 0.99292 | -0.13601 | 4.3457
24 | 0.10473 | 0.026544 | -0.1044 | -0.026335 | 0.00032717 | 0.00020892 | 0.15623 | 0.15623 | 0.15623 | 0.99819 | -0.034556 | 0.99478 | -0.09979 | 42.9198
25 | -0.0020599 | -0.00051627 | 0.0020601 | 0.00051572 | 1.853e-07 | -5.4726e-07 | 0.0030927 | 0.0030925 | 0.0030927 | 0.99111 | -0.17074 | 0.9912 | -0.16885 | 0.84965
26 | 0.0080553 | 0.0020193 | -0.0080538 | -0.0020187 | 1.5113e-06 | 6.1208e-07 | 0.012093 | 0.012093 | 0.012093 | 0.9912 | -0.16885 | 0.991 | -0.17279 | 3.3223
27 | -0.010115 | -0.002535 | 0.010119 | 0.0025369 | 3.8209e-06 | 1.8756e-06 | 0.015185 | 0.015185 | 0.015185 | 0.9912 | -0.16885 | 0.99161 | -0.16092 | 4.1718
28 | 0.0080538 | 0.0020187 | -0.0080523 | -0.0020181 | 1.5026e-06 | 6.0873e-07 | 0.012093 | 0.012093 | 0.012093 | 0.991 | -0.17279 | 0.9908 | -0.1767 | 3.3223
29 | 0.016622 | 0.0041668 | -0.016621 | -0.0041661 | 1.1859e-06 | 6.9338e-07 | 0.024943 | 0.024943 | 0.024943 | 0.99161 | -0.16092 | 0.99153 | -0.16242 | 6.8525
30 | 0.046376 | 0.011669 | -0.046359 | -0.011659 | 1.6766e-05 | 1.0611e-05 | 0.069608 | 0.069608 | 0.069608 | 0.99161 | -0.16092 | 0.99122 | -0.16849 | 19.1231
31 | -0.073117 | -0.018373 | 0.073331 | 0.018509 | 0.00021404 | 0.00013637 | 0.10974 | 0.10974 | 0.10974 | 0.99161 | -0.16092 | 0.99478 | -0.09979 | 30.1473
32 | 0.031072 | 0.007826 | -0.031058 | -0.0078171 | 1.4129e-05 | 8.8164e-06 | 0.046492 | 0.046492 | 0.046492 | 0.99478 | -0.09979 | 0.99429 | -0.1093 | 12.7725
33 | 0.028885 | 0.0072724 | -0.028878 | -0.0072685 | 6.3585e-06 | 3.9519e-06 | 0.043239 | 0.043239 | 0.043239 | 0.99429 | -0.1093 | 0.99405 | -0.11391 | 11.879
34 | 0.040059 | 0.01008 | -0.04001 | -0.010049 | 4.9354e-05 | 3.1118e-05 | 0.060151 | 0.060151 | 0.060151 | 0.99122 | -0.16849 | 0.98989 | -0.19431 | 16.525
35 | 0.025979 | 0.006532 | -0.02596 | -0.0065204 | 1.8816e-05 | 1.1614e-05 | 0.038938 | 0.038938 | 0.038938 | 0.99298 | -0.13454 | 0.99219 | -0.14971 | 10.6972
36 | -0.025979 | -0.006532 | 0.025991 | 0.0065394 | 1.2021e-05 | 7.42e-06 | 0.038938 | 0.038938 | 0.038938 | 0.99298 | -0.13454 | 0.99348 | -0.12485 | 10.6972
37 | 0.0024753 | 0.00061991 | -0.0024751 | -0.00062032 | 2.1889e-07 | -4.0692e-07 | 0.0037121 | 0.0037123 | 0.0037123 | 0.99219 | -0.14971 | 0.9921 | -0.15157 | 1.0199
38 | 0.023485 | 0.0059005 | -0.023477 | -0.0058955 | 8.1885e-06 | 5.0134e-06 | 0.035226 | 0.035226 | 0.035226 | 0.99219 | -0.14971 | 0.99182 | -0.15702 | 9.6774
39 | -0.027896 | -0.0070168 | 0.02791 | 0.0070259 | 1.4591e-05 | 9.0494e-06 | 0.041791 | 0.04179 | 0.041791 | 0.99348 | -0.12485 | 0.99405 | -0.11391 | 11.4809
40 | 0.0096228 | 0.0024119 | -0.0096207 | -0.0024109 | 2.0488e-06 | 9.7183e-07 | 0.014425 | 0.014425 | 0.014425 | 0.99268 | -0.14051 | 0.99245 | -0.14498 | 3.9628
41 | 0.0066243 | 0.00166 | -0.0066241 | -0.0016599 | 1.8234e-07 | 5.3004e-08 | 0.009932 | 0.009932 | 0.009932 | 0.99245 | -0.14498 | 0.99242 | -0.14555 | 2.7286
42 | -0.002787 | -0.00069849 | 0.002787 | 0.00069845 | 3.5522e-08 | -4.6e-08 | 0.0041993 | 0.0041993 | 0.0041993 | 0.98758 | -0.2392 | 0.98759 | -0.23893 | 1.1537
43 | -0.00558 | -0.0013984 | 0.0055801 | 0.0013984 | 1.6804e-07 | 2.6423e-08 | 0.0084074 | 0.0084074 | 0.0084074 | 0.98759 | -0.23893 | 0.98762 | -0.2383 | 2.3097
44 | -0.0083626 | -0.0020958 | 0.0083629 | 0.0020959 | 2.8617e-07 | 1.2163e-07 | 0.0126 | 0.0126 | 0.0126 | 0.98762 | -0.2383 | 0.98766 | -0.23758 | 3.4614
45 | -0.011138 | -0.0027914 | 0.01114 | 0.0027923 | 1.6531e-06 | 8.5759e-07 | 0.016781 | 0.016781 | 0.016781 | 0.98766 | -0.23758 | 0.98782 | -0.23446 | 4.6101
46 | 0.04001 | 0.010049 | -0.03999 | -0.010036 | 1.9985e-05 | 1.2601e-05 | 0.060151 | 0.060151 | 0.060151 | 0.98989 | -0.19431 | 0.98935 | -0.20478 | 16.525
47 | 0.032204 | 0.0080846 | -0.03218 | -0.0080698 | 2.3748e-05 | 1.4853e-05 | 0.048441 | 0.048441 | 0.048441 | 0.98935 | -0.20478 | 0.98855 | -0.22025 | 13.3079
48 | -0.01114 | -0.0027923 | 0.011141 | 0.002793 | 1.2737e-06 | 6.6073e-07 | 0.016781 | 0.016781 | 0.016781 | 0.98782 | -0.23446 | 0.98794 | -0.23206 | 4.6101
49 | -0.01407 | -0.0035269 | 0.014074 | 0.0035291 | 3.9042e-06 | 2.2017e-06 | 0.021192 | 0.021192 | 0.021192 | 0.98794 | -0.23206 | 0.98824 | -0.22624 | 5.8219
50 | -0.0021689 | -0.00054359 | 0.002169 | 0.00054329 | 1.1585e-07 | -2.9834e-07 | 0.0032629 | 0.0032628 | 0.0032629 | 0.98912 | -0.20945 | 0.98918 | -0.20833 | 0.8964
51 | -0.002169 | -0.00054329 | 0.0021691 | 0.00054319 | 3.8428e-08 | -9.8977e-08 | 0.0032628 | 0.0032627 | 0.0032628 | 0.98918 | -0.20833 | 0.9892 | -0.20796 | 0.89637
52 | -0.0093072 | -0.0023328 | 0.0093098 | 0.002334 | 2.5926e-06 | 1.2052e-06 | 0.013992 | 0.013992 | 0.013992 | 0.98981 | -0.19586 | 0.99012 | -0.19001 | 3.8439
53 | -0.0021691 | -0.00054319 | 0.0021692 | 0.00054296 | 8.955e-08 | -2.3068e-07 | 0.0032627 | 0.0032626 | 0.0032627 | 0.9892 | -0.20796 | 0.98924 | -0.20709 | 0.89635
54 | 0.022376 | 0.0056196 | -0.022369 | -0.0056158 | 6.3349e-06 | 3.861e-06 | 0.033574 | 0.033575 | 0.033575 | 0.99182 | -0.15702 | 0.99151 | -0.16296 | 9.2238
55 | 0.0037781 | 0.00094673 | -0.0037779 | -0.00094683 | 2.383e-07 | -1.0097e-07 | 0.005678 | 0.0056781 | 0.0056781 | 0.99012 | -0.19001 | 0.99005 | -0.19134 | 1.5599
56 | -0.013088 | -0.0032808 | 0.01309 | 0.0032818 | 1.7899e-06 | 9.8687e-07 | 0.01967 | 0.01967 | 0.01967 | 0.99012 | -0.19001 | 0.99026 | -0.18714 | 5.4038
57 | 0.0081398 | 0.0020403 | -0.0081353 | -0.0020385 | 4.5306e-06 | 1.8656e-06 | 0.012244 | 0.012244 | 0.012244 | 0.98924 | -0.20709 | 0.98864 | -0.21878 | 3.3638
58 | -0.010309 | -0.0025833 | 0.010311 | 0.0025842 | 1.902e-06 | 9.4643e-07 | 0.015507 | 0.015507 | 0.015507 | 0.98924 | -0.20709 | 0.98944 | -0.20322 | 4.2601
59 | -0.016288 | -0.0040838 | 0.016289 | 0.0040846 | 1.3175e-06 | 7.6784e-07 | 0.024485 | 0.024485 | 0.024485 | 0.98989 | -0.19458 | 0.98997 | -0.19288 | 6.7267
60 | 0.013832 | 0.0034684 | -0.013831 | -0.0034676 | 1.4803e-06 | 8.3006e-07 | 0.020794 | 0.020794 | 0.020794 | 0.98989 | -0.19458 | 0.98977 | -0.19682 | 5.7126
61 | -0.018724 | -0.0046947 | 0.018726 | 0.0046961 | 2.3664e-06 | 1.4121e-06 | 0.028144 | 0.028144 | 0.028144 | 0.98997 | -0.19288 | 0.99011 | -0.19023 | 7.7319
62 | 0.012669 | 0.0031765 | -0.012666 | -0.0031744 | 3.8604e-06 | 2.1061e-06 | 0.019048 | 0.019048 | 0.019048 | 0.98977 | -0.19682 | 0.98944 | -0.20322 | 5.2329
63 | 0.012515 | 0.0031367 | -0.012515 | -0.0031366 | 2.1138e-07 | 1.1479e-07 | 0.018809 | 0.018809 | 0.018809 | 0.99011 | -0.19023 | 0.99009 | -0.19058 | 5.1672
64 | 0.0081044 | 0.0020312 | -0.008104 | -0.0020311 | 3.7399e-07 | 1.529e-07 | 0.01218 | 0.01218 | 0.01218 | 0.99009 | -0.19058 | 0.99004 | -0.19155 | 3.3462
65 | 0.019233 | 0.0048222 | -0.019233 | -0.0048222 | 1.1998e-08 | 7.1909e-09 | 0.02896 | 0.02896 | 0.02896 | 0.98824 | -0.22623 | 0.98824 | -0.22624 | 7.956
66 | -0.027016 | -0.0067729 | 0.027024 | 0.0067776 | 7.696e-06 | 4.7665e-06 | 0.040679 | 0.040679 | 0.040679 | 0.98824 | -0.22623 | 0.98855 | -0.22025 | 11.1756
67 | 0.0051564 | 0.0012921 | -0.0051557 | -0.0012921 | 6.1929e-07 | 4.4939e-08 | 0.0077616 | 0.0077617 | 0.0077617 | 0.98855 | -0.22025 | 0.98842 | -0.22277 | 2.1323
68 | 0.0051557 | 0.0012921 | -0.0051554 | -0.0012921 | 2.9275e-07 | 2.128e-08 | 0.0077617 | 0.0077617 | 0.0077617 | 0.98842 | -0.22277 | 0.98836 | -0.22397 | 2.1323
69 | 0.019815 | 0.0049699 | -0.019812 | -0.0049679 | 3.2101e-06 | 1.93e-06 | 0.029762 | 0.029762 | 0.029762 | 0.99073 | -0.17807 | 0.99056 | -0.18147 | 8.1764
70 | -0.021795 | -0.0054661 | 0.02181 | 0.0054756 | 1.5715e-05 | 9.5539e-06 | 0.032735 | 0.032735 | 0.032735 | 0.99073 | -0.17807 | 0.99151 | -0.16296 | 8.9932
71 | 0.017856 | 0.0044777 | -0.017853 | -0.0044762 | 2.5825e-06 | 1.5296e-06 | 0.026824 | 0.026824 | 0.026824 | 0.99056 | -0.18147 | 0.9904 | -0.18451 | 7.3691
72 | 0.015914 | 0.0039901 | -0.015912 | -0.003989 | 1.9994e-06 | 1.1596e-06 | 0.02391 | 0.02391 | 0.02391 | 0.9904 | -0.18451 | 0.99026 | -0.18714 | 6.5687
73 | 0.0072928 | 0.0018279 | -0.0072914 | -0.0018274 | 1.4346e-06 | 5.0399e-07 | 0.010929 | 0.010929 | 0.010929 | 0.99292 | -0.13601 | 0.9927 | -0.14014 | 3.0026
74 | 0.03988 | 0.010027 | -0.039872 | -0.010022 | 8.0072e-06 | 5.047e-06 | 0.059704 | 0.059704 | 0.059704 | 0.99413 | -0.11258 | 0.99391 | -0.11678 | 16.4022
75 | -0.030497 | -0.0076525 | 0.030507 | 0.0076588 | 1.0063e-05 | 6.2747e-06 | 0.045735 | 0.045735 | 0.045735 | 0.99231 | -0.14778 | 0.99266 | -0.14087 | 12.5645
76 | 0.029102 | 0.0073029 | -0.029093 | -0.0072974 | 8.9396e-06 | 5.5597e-06 | 0.043643 | 0.043643 | 0.043643 | 0.99231 | -0.14778 | 0.99197 | -0.15423 | 11.99
77 | -0.031928 | -0.0080149 | 0.031936 | 0.0080199 | 8.0229e-06 | 5.0139e-06 | 0.047865 | 0.047865 | 0.047865 | 0.99266 | -0.14087 | 0.99294 | -0.1356 | 13.1496
78 | 0.027261 | 0.0068382 | -0.027245 | -0.0068282 | 1.615e-05 | 1.0004e-05 | 0.040895 | 0.040895 | 0.040895 | 0.99197 | -0.15423 | 0.99133 | -0.16666 | 11.2349
79 | -0.034658 | -0.0087021 | 0.034666 | 0.0087073 | 8.306e-06 | 5.2096e-06 | 0.051944 | 0.051944 | 0.051944 | 0.99294 | -0.1356 | 0.9932 | -0.13058 | 14.2703
80 | -0.037159 | -0.0093322 | 0.037171 | 0.0093397 | 1.2006e-05 | 7.55e-06 | 0.055679 | 0.055679 | 0.055679 | 0.9932 | -0.13058 | 0.99355 | -0.12381 | 15.2965
81 | -0.038568 | -0.0096898 | 0.038581 | 0.0096979 | 1.2938e-05 | 8.1466e-06 | 0.057771 | 0.057771 | 0.057771 | 0.99355 | -0.12381 | 0.99391 | -0.11678 | 15.8712
82 | 0.0081353 | 0.0020385 | -0.0081341 | -0.002038 | 1.181e-06 | 4.8652e-07 | 0.012244 | 0.012244 | 0.012244 | 0.98864 | -0.21878 | 0.98848 | -0.22183 | 3.3639
83 | 0.0032816 | 0.00082237 | -0.0032815 | -0.00082242 | 7.6051e-08 | -5.7712e-08 | 0.0049416 | 0.0049416 | 0.0049416 | 0.98815 | -0.22836 | 0.98812 | -0.22885 | 1.3576
84 | -0.0043192 | -0.0010824 | 0.0043206 | 0.0010822 | 1.3196e-06 | -2.2145e-07 | 0.0065041 | 0.0065038 | 0.0065041 | 0.98815 | -0.22836 | 0.98848 | -0.22195 | 1.7869
85 | -0.0043206 | -0.0010822 | 0.0043206 | 0.0010822 | 2.4419e-08 | -4.1058e-09 | 0.0065038 | 0.0065038 | 0.0065038 | 0.98848 | -0.22195 | 0.98848 | -0.22183 | 1.7868
86 | 0.0020068 | 0.00050271 | -0.0020067 | -0.00050293 | 7.1457e-08 | -2.2621e-07 | 0.0030089 | 0.003009 | 0.003009 | 0.99242 | -0.14555 | 0.99238 | -0.1463 | 0.82664

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24224 | 0.061027

## res_load
| p_mw | q_mvar
0 | 0.0023615 | 0.00059185
1 | 0.0026828 | 0.00067238
2 | 0.001921 | 0.00048145
3 | 0.0019286 | 0.00048336
4 | 0.0024492 | 0.00061382
5 | 0.0019454 | 0.00048756
6 | 0.0020344 | 0.00050986
7 | 0.0051621 | 0.0012938
8 | 0.0051581 | 0.0012927
9 | 0.0074985 | 0.0018793
10 | 0.0015447 | 0.00038714
11 | 0.0017688 | 0.00044332
12 | 0.001717 | 0.00043033
13 | 0.009778 | 0.0024506
14 | 0.0020305 | 0.00050888
15 | 0.0018956 | 0.00047509
16 | 0.0055005 | 0.0013785
17 | 0.0022349 | 0.00056012
18 | 0.0020599 | 0.00051627
19 | 0.0080523 | 0.0020181
20 | 0.0021734 | 0.00054471
21 | 0.0062974 | 0.0015783
22 | 0.0062998 | 0.0015789
23 | 0.0019048 | 0.00047739
24 | 0.0029964 | 0.00075098
25 | 0.002787 | 0.00069849
26 | 0.0027929 | 0.00069997
27 | 0.0027825 | 0.00069736
28 | 0.0027752 | 0.00069552
29 | 0.0077859 | 0.0019513
30 | 0.0029286 | 0.00073398
31 | 0.0021689 | 0.00054359
32 | 0.0018068 | 0.00045283
33 | 0.0024751 | 0.00062032
34 | 0.0011007 | 0.00027586
35 | 0.0024556 | 0.00061542
36 | 0.0024344 | 0.00061011
37 | 0.0011616 | 0.00029112
38 | 0.0023546 | 0.00059013
39 | 0.0044105 | 0.0011054
40 | 0.0077832 | 0.0019507
41 | 0.0051593 | 0.001293
42 | 0.0051554 | 0.0012921
43 | 0.0019798 | 0.00049618
44 | 0.001956 | 0.00049023
45 | 0.00055923 | 0.00014016
46 | 0.0019393 | 0.00048604
47 | 0.0028219 | 0.00070723
48 | 0.0032623 | 0.00081761
49 | 0.0072914 | 0.0018274
50 | 0.0017399 | 0.00043607
51 | 0.0013947 | 0.00034954
52 | 0.0014208 | 0.0003561
53 | 0.0018323 | 0.00045923
54 | 0.002722 | 0.00068219
55 | 0.027245 | 0.0068282
56 | 0.0024935 | 0.00062492
57 | 0.008104 | 0.0020311
58 | 0.0013967 | 0.00035005
59 | 0.0012911 | 0.00032359
60 | 0.0037779 | 0.00094683
61 | 0.00096796 | 0.00024259
62 | 0.0010376 | 0.00026006
63 | 0.0032815 | 0.00082242
64 | 0.0038136 | 0.00095577
65 | 0.0046173 | 0.0011572
66 | 0.0020067 | 0.00050293

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1