## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2581-8_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2581-8_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_2581-8_0_4_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_2581-8_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2581-8_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2581-8_0_4_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_2581-8_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2581-8_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2581-8_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2581-8_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2581-8_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_2581-8_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_2581-8_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2581-8_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2581-8_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2581-8_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2581-8_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2581-8_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2581-8_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2581-8_0_4_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_2581-8_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_2581-8_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_2581-8_0_4_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_2581-8_0_4_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_2581-8_0_4_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_2581-8_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2581-8_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2581-8_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2581-8_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2581-8_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2581-8_0_4_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_2581-8_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_2581-8_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_2581-8_0_4_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_2581-8_0_4_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_2581-8_0_4_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_2581-8_0_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_2581-8_0_4_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_2581-8_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_2581-8_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_2581-8_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_2581-8_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2581-8_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2581-8_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_2581-8_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2581-8_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2581-8_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2581-8_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_2581-8_0_4_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_2581-8_0_4_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_2581-8_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2581-8_0_4_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_2581-8_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_2581-8_0_4_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_2581-8_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_2581-8_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_2581-8_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_2581-8_0_4_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_2581-8_0_4_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_2581-8_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_2581-8_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_2581-8_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_2581-8_0_4_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_2581-8_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_2581-8_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_2581-8_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_2581-8_0_4_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_2581-8_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_2581-8_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_2581-8_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_2581-8_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_2581-8_0_4_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_2581-8_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_2581-8_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_2581-8_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_2581-8_0_4_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_2581-8_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_2581-8_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2581-8_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_2581-8_0_4_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_2581-8_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_2581-8_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_2581-8_0_4_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_2581-8_0_4_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_2581-8_0_4_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_2581-8_0_4_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_2581-8_0_4_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_2581-8_0_4_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_2581-8_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_MV_523_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-8_0_4_load_0 | 0 | 0.0035553 | 0.00089104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-8_0_4_load_1 | 1 | 0.0025449 | 0.00063782 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-8_0_4_load_3 | 3 | 0.0018962 | 0.00047524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-8_0_4_load_5 | 5 | 0.0019273 | 0.00048303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-8_0_4_load_24 | 6 | 0.0016052 | 0.00040231 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-8_0_4_load_23 | 7 | 0.0027536 | 0.00069011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-8_0_4_load_93 | 8 | 0.0024922 | 0.00062461 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-8_0_4_load_25 | 9 | 0.0023195 | 0.00058132 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-8_0_4_load_10 | 10 | 0.0036024 | 0.00090285 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-8_0_4_load_92 | 11 | 0.0020407 | 0.00051146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-8_0_4_load_6 | 12 | 0.0019884 | 0.00049835 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-8_0_4_load_7 | 13 | 0.0016581 | 0.00041556 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-8_0_4_load_8 | 14 | 0.0020624 | 0.0005169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-8_0_4_load_9 | 15 | 0.0019958 | 0.00050019 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-8_0_4_load_47 | 16 | 0.0020537 | 0.0005147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-8_0_4_load_11 | 18 | 0.029715 | 0.0074473 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-8_0_4_load_12 | 19 | 0.002562 | 0.00064209 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-8_0_4_load_14 | 21 | 0.0026046 | 0.00065276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-8_0_4_load_15 | 22 | 0.0016409 | 0.00041126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-8_0_4_load_16 | 23 | 0.030919 | 0.0077491 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-8_0_4_load_85 | 25 | 0.0015877 | 0.00039791 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-8_0_4_load_38 | 26 | 0.0025914 | 0.00064945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-8_0_4_load_55 | 27 | 0.0025154 | 0.00063043 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-8_0_4_load_52 | 28 | 0.0037169 | 0.00093154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-8_0_4_load_50 | 29 | 0.0014872 | 0.00037273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-8_0_4_load_84 | 30 | 0.0030807 | 0.0007721 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-8_0_4_load_37 | 31 | 0.030634 | 0.0076775 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-8_0_4_load_17 | 32 | 0.0017962 | 0.00045018 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-8_0_4_load_22 | 35 | 0.0036586 | 0.00091694 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-8_0_4_load_99 | 36 | 0.015799 | 0.0039597 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-8_0_4_load_48 | 37 | 0.0037077 | 0.00092924 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-8_0_4_load_90 | 39 | 0.0046017 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-8_0_4_load_87 | 41 | 0.0038318 | 0.00096035 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-8_0_4_load_89 | 42 | 0.0041989 | 0.0010523 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-8_0_4_load_86 | 43 | 0.0022802 | 0.00057146 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-8_0_4_load_49 | 44 | 0.0031962 | 0.00080104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-8_0_4_load_60 | 45 | 0.0021988 | 0.00055107 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-8_0_4_load_61 | 46 | 0.0033107 | 0.00082973 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-8_0_4_load_26 | 47 | 0.0033053 | 0.00082839 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-8_0_4_load_27 | 48 | 0.0037199 | 0.00093229 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-8_0_4_load_29 | 50 | 0.0035022 | 0.00087774 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-8_0_4_load_30 | 51 | 0.0035593 | 0.00089205 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-8_0_4_load_31 | 52 | 0.0042484 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-8_0_4_load_58 | 53 | 0.0038355 | 0.00096127 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-8_0_4_load_91 | 54 | 0.0041205 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-8_0_4_load_100 | 55 | 0.0037198 | 0.00093227 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-8_0_4_load_56 | 56 | 0.012333 | 0.0030909 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-8_0_4_load_98 | 57 | 0.0038652 | 0.00096872 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-8_0_4_load_32 | 58 | 0.0038686 | 0.00096957 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-8_0_4_load_33 | 59 | 0.0036025 | 0.00090288 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-8_0_4_load_34 | 60 | 0.0038953 | 0.00097625 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-8_0_4_load_35 | 61 | 0.0052694 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-8_0_4_load_36 | 62 | 0.0058298 | 0.0014611 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-8_0_4_load_94 | 63 | 0.0047957 | 0.0012019 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-8_0_4_load_95 | 64 | 0.001608 | 0.00040301 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-8_0_4_load_39 | 65 | 0.023056 | 0.0057784 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-8_0_4_load_40 | 66 | 0.026152 | 0.0065543 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-8_0_4_load_41 | 67 | 0.0027518 | 0.00068966 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-8_0_4_load_42 | 68 | 0.0026797 | 0.0006716 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-8_0_4_load_43 | 69 | 0.0027407 | 0.00068689 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2581-8_0_4_load_44 | 70 | 0.0019697 | 0.00049364 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2581-8_0_4_load_45 | 71 | 0.002003 | 0.00050199 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2581-8_0_4_load_46 | 72 | 0.0016561 | 0.00041507 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2581-8_0_4_load_62 | 73 | 0.0020004 | 0.00050136 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2581-8_0_4_load_82 | 74 | 0.0020352 | 0.00051007 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2581-8_0_4_load_53 | 75 | 0.033238 | 0.0083302 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2581-8_0_4_load_54 | 76 | 0.0083527 | 0.0020934 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2581-8_0_4_load_97 | 77 | 0.028658 | 0.0071824 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2581-8_0_4_load_57 | 79 | 0.0034683 | 0.00086923 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2581-8_0_4_load_96 | 81 | 0.012412 | 0.0031107 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2581-8_0_4_load_80 | 82 | 0.0017514 | 0.00043894 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2581-8_0_4_load_79 | 83 | 0.0031076 | 0.00077883 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2581-8_0_4_load_63 | 85 | 0.076113 | 0.019076 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2581-8_0_4_load_83 | 87 | 0.0016682 | 0.00041809 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2581-8_0_4_load_69 | 88 | 0.0019831 | 0.00049701 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2581-8_0_4_load_70 | 89 | 0.0020468 | 0.00051296 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2581-8_0_4_load_71 | 90 | 0.0019732 | 0.00049453 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2581-8_0_4_load_72 | 91 | 0.0021832 | 0.00054716 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2581-8_0_4_load_73 | 92 | 0.0019845 | 0.00049737 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2581-8_0_4_load_74 | 93 | 0.0021759 | 0.00054533 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2581-8_0_4_load_78 | 94 | 0.0015891 | 0.00039826 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-8_0_4_line_0 |  | 0 | 1 | 0.015278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-8_0_4_line_1 |  | 0 | 2 | 0.014664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-8_0_4_line_2 |  | 1 | 3 | 0.0068432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-8_0_4_line_3 |  | 2 | 4 | 0.00848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-8_0_4_line_4 |  | 2 | 5 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-8_0_4_line_5 |  | 3 | 6 | 0.0062433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-8_0_4_line_6 |  | 4 | 7 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-8_0_4_line_7 |  | 5 | 8 | 0.0082286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-8_0_4_line_8 |  | 6 | 9 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-8_0_4_line_9 |  | 7 | 10 | 0.0032789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-8_0_4_line_10 |  | 8 | 11 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-8_0_4_line_11 |  | 9 | 45 | 0.0022318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-8_0_4_line_12 |  | 10 | 14 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-8_0_4_line_13 |  | 11 | 27 | 0.0035774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2581-8_0_4_line_14 |  | 12 | 13 | 0.00048952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2581-8_0_4_line_15 |  | 12 | 14 | 0.0063017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-8_0_4_line_16 |  | 13 | 15 | 0.0057013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-8_0_4_line_17 |  | 15 | 16 | 0.0063048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-8_0_4_line_18 |  | 16 | 17 | 0.0037747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-8_0_4_line_19 |  | 17 | 74 | 0.0085902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2581-8_0_4_line_20 |  | 17 | 72 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-8_0_4_line_21 |  | 18 | 19 | 0.0012213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2581-8_0_4_line_22 |  | 18 | 20 | 0.031519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-8_0_4_line_23 |  | 19 | 21 | 0.0082318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2581-8_0_4_line_24 |  | 20 | 22 | 0.0016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-8_0_4_line_25 |  | 20 | 23 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-8_0_4_line_26 |  | 21 | 24 | 0.01985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2581-8_0_4_line_27 |  | 22 | 25 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-8_0_4_line_28 |  | 23 | 26 | 0.00076715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-8_0_4_line_29 |  | 24 | 27 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-8_0_4_line_30 |  | 24 | 28 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2581-8_0_4_line_31 |  | 24 | 29 | 0.013518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-8_0_4_line_32 |  | 25 | 30 | 0.0030715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-8_0_4_line_33 |  | 26 | 31 | 0.010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-8_0_4_line_34 |  | 28 | 75 | 0.022574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2581-8_0_4_line_35 |  | 29 | 61 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-8_0_4_line_36 |  | 30 | 87 | 0.0038233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-8_0_4_line_37 |  | 31 | 65 | 0.015654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-8_0_4_line_38 |  | 32 | 33 | 0.00073024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-8_0_4_line_39 |  | 33 | 34 | 0.060422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-8_0_4_line_40 |  | 33 | 35 | 0.0084574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-8_0_4_line_41 |  | 34 | 36 | 0.10476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2581-8_0_4_line_42 |  | 35 | 37 | 0.0091483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2581-8_0_4_line_43 |  | 37 | 44 | 0.0085598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2581-8_0_4_line_44 |  | 38 | 39 | 0.018257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-8_0_4_line_45 |  | 38 | 40 | 0.007796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2581-8_0_4_line_46 |  | 39 | 84 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2581-8_0_4_line_47 |  | 40 | 93 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-8_0_4_line_48 |  | 41 | 42 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-8_0_4_line_49 |  | 41 | 43 | 0.027682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-8_0_4_line_50 |  | 42 | 80 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2581-8_0_4_line_51 |  | 43 | 84 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-8_0_4_line_52 |  | 44 | 54 | 0.0090974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-8_0_4_line_53 |  | 45 | 46 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-8_0_4_line_54 |  | 46 | 82 | 0.0025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2581-8_0_4_line_55 |  | 47 | 48 | 0.0060364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-8_0_4_line_56 |  | 47 | 49 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-8_0_4_line_57 |  | 48 | 50 | 0.0088826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2581-8_0_4_line_58 |  | 49 | 51 | 0.012334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2581-8_0_4_line_59 |  | 49 | 52 | 0.032585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-8_0_4_line_60 |  | 50 | 53 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-8_0_4_line_61 |  | 51 | 54 | 0.0098607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2581-8_0_4_line_62 |  | 52 | 55 | 0.0095289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2581-8_0_4_line_63 |  | 53 | 56 | 0.0053927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-8_0_4_line_64 |  | 55 | 57 | 0.009255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-8_0_4_line_65 |  | 56 | 79 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2581-8_0_4_line_66 |  | 58 | 59 | 0.0028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-8_0_4_line_67 |  | 58 | 60 | 0.00037674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-8_0_4_line_68 |  | 59 | 61 | 0.0061975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-8_0_4_line_69 |  | 60 | 62 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2581-8_0_4_line_70 |  | 62 | 63 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2581-8_0_4_line_71 |  | 63 | 64 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2581-8_0_4_line_72 |  | 64 | 81 | 0.0032792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2581-8_0_4_line_73 |  | 65 | 66 | 0.0002487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2581-8_0_4_line_74 |  | 67 | 68 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2581-8_0_4_line_75 |  | 67 | 69 | 0.009182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2581-8_0_4_line_76 |  | 68 | 70 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2581-8_0_4_line_77 |  | 69 | 71 | 0.0064266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2581-8_0_4_line_78 |  | 70 | 72 | 0.00013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2581-8_0_4_line_79 |  | 71 | 73 | 0.010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2581-8_0_4_line_80 |  | 74 | 92 | 0.0062913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2581-8_0_4_line_81 |  | 75 | 76 | 0.0082258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2581-8_0_4_line_82 |  | 76 | 77 | 0.0089645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2581-8_0_4_line_83 |  | 77 | 78 | 0.0092527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2581-8_0_4_line_84 |  | 78 | 86 | 0.038737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2581-8_0_4_line_85 |  | 79 | 80 | 0.027801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2581-8_0_4_line_86 |  | 80 | 81 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2581-8_0_4_line_87 |  | 82 | 83 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2581-8_0_4_line_88 |  | 83 | 94 | 0.014684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2581-8_0_4_line_89 |  | 85 | 86 | 0.031092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2581-8_0_4_line_90 |  | 88 | 89 | 0.0062932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2581-8_0_4_line_91 |  | 88 | 90 | 0.0052808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2581-8_0_4_line_92 |  | 89 | 91 | 0.012692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2581-8_0_4_line_93 |  | 90 | 92 | 0.00091448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-8_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 95 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2635852.4243 | 1243985.6285 | 2635839.9095 | 1243976.8659
1 | 2635864.5985 | 1243993.8028 | 2635853.8432 | 1243986.6221 | 2635852.4243 | 1243985.6285
2 | 2635839.9095 | 1243976.8659 | 2635834.3038 | 1243972.9409
3 | 2635869.4015 | 1243986.805 | 2635864.5985 | 1243993.8028
4 | 2635864.5985 | 1243993.8028 | 2635859.8018 | 1244001.0007 | 2635857.4216 | 1244004.29
5 | 2635829.1896 | 1243969.3599 | 2635834.3038 | 1243972.9409
6 | 2635869.4015 | 1243986.805 | 2635883.1262 | 1243998.5173
7 | 2635857.4216 | 1244004.29 | 2635852.5977 | 1244010.9563
8 | 2635820.2102 | 1243961.857 | 2635823.8111 | 1243965.594 | 2635829.1896 | 1243969.3599
9 | 2635883.1262 | 1243998.5173 | 2635885.6204 | 1244000.6458
10 | 2635840.398 | 1244023.981 | 2635844.099 | 1244020.9967 | 2635850.1011 | 1244014.4064 | 2635852.5977 | 1244010.9563
11 | 2635820.2102 | 1243961.857 | 2635818.6615 | 1243960.2499
12 | 2635885.6204 | 1244000.6458 | 2635887.798 | 1244002.5041 | 2635897.7116 | 1244011.0584
13 | 2635837.6132 | 1244026.2266 | 2635840.398 | 1244023.981
14 | 2635902.4827 | 1244015.1753 | 2635902.8533 | 1244015.4951
15 | 2635902.4827 | 1244015.1753 | 2635897.7116 | 1244011.0584
16 | 2635902.8533 | 1244015.4951 | 2635907.1697 | 1244019.2197
17 | 2635907.1697 | 1244019.2197 | 2635911.9431 | 1244023.3386
18 | 2635914.8009 | 1244025.8046 | 2635911.9431 | 1244023.3386
19 | 2635914.8009 | 1244025.8046 | 2635921.3038 | 1244031.4175
20 | 2635914.8009 | 1244025.8046 | 2635906.6317 | 1244035.4847
21 | 2635808.8802 | 1244012.1985 | 2635809.7551 | 1244013.0507
22 | 2635786.3019 | 1243990.206 | 2635808.8802 | 1244012.1985
23 | 2635815.3803 | 1244019.0605 | 2635809.8014 | 1244013.0958 | 2635809.7551 | 1244013.0507
24 | 2635786.3019 | 1243990.206 | 2635785.1524 | 1243989.0829
25 | 2635786.3019 | 1243990.206 | 2635777.7243 | 1243998.4256
26 | 2635828.94 | 1244033.5578 | 2635815.3803 | 1244019.0605
27 | 2635775.2914 | 1243979.448 | 2635785.1524 | 1243989.0829
28 | 2635777.1704 | 1243998.9563 | 2635777.7243 | 1243998.4256
29 | 2635828.94 | 1244033.5578 | 2635836.9002 | 1244026.8014 | 2635837.6132 | 1244026.2266
30 | 2635828.94 | 1244033.5578 | 2635820.9123 | 1244040.2248 | 2635813.5744 | 1244046.3091
31 | 2635828.94 | 1244033.5578 | 2635837.8761 | 1244043.7015
32 | 2635773.0945 | 1243977.3014 | 2635775.2914 | 1243979.448
33 | 2635777.1704 | 1243998.9563 | 2635769.28 | 1244006.5173
34 | 2635813.5744 | 1244046.3091 | 2635812.7253 | 1244047.0132 | 2635795.9099 | 1244060.3639
35 | 2635849.3895 | 1244056.9846 | 2635845.0989 | 1244051.9005 | 2635837.8761 | 1244043.7015
36 | 2635770.3598 | 1243974.6295 | 2635773.0945 | 1243977.3014
37 | 2635757.6047 | 1244016.9284 | 2635758.0998 | 1244016.5977 | 2635764.6021 | 1244010.9999 | 2635769.28 | 1244006.5173
38 | 2635825.9972 | 1244209.3984 | 2635826.2248 | 1244210.0922
39 | 2635825.9972 | 1244209.3984 | 2635818.4195 | 1244207.9073 | 2635813.3646 | 1244206.5871 | 2635784.3957 | 1244226.1918 | 2635783.1274 | 1244219.7356 | 2635777.1791 | 1244218.6991
40 | 2635825.9972 | 1244209.3984 | 2635823.3629 | 1244201.3618
41 | 2635777.1791 | 1244218.6991 | 2635768.9846 | 1244154.03 | 2635729.7222 | 1244159.0134
42 | 2635823.3629 | 1244201.3618 | 2635820.5133 | 1244192.6686
43 | 2635820.5133 | 1244192.6686 | 2635817.8471 | 1244184.5347
44 | 2635961.4838 | 1244076.1196 | 2635949.0528 | 1244089.4914
45 | 2635966.8005 | 1244070.4037 | 2635961.4838 | 1244076.1196
46 | 2635940.3006 | 1244098.9062 | 2635949.0528 | 1244089.4914
47 | 2635966.8005 | 1244070.4037 | 2635975.4977 | 1244061.0009
48 | 2635906.8986 | 1244135.4056 | 2635899.9004 | 1244126.8022 | 2635898.0486 | 1244124.0765
49 | 2635906.8986 | 1244135.4056 | 2635925.5556 | 1244114.9556
50 | 2635889.0999 | 1244110.9044 | 2635898.0486 | 1244124.0765
51 | 2635940.3006 | 1244098.9062 | 2635933.9037 | 1244105.8053 | 2635925.5556 | 1244114.9556
52 | 2635815.0134 | 1244175.8898 | 2635817.8471 | 1244184.5347
53 | 2635818.6615 | 1243960.2499 | 2635810.1119 | 1243951.3772
54 | 2635808.3444 | 1243949.543 | 2635810.1119 | 1243951.3772
55 | 2635819.9847 | 1244149.9623 | 2635825.3544 | 1244147.2045
56 | 2635808.1003 | 1244154.7995 | 2635816.4003 | 1244151.8032 | 2635819.9847 | 1244149.9623
57 | 2635833.2558 | 1244143.1464 | 2635825.3544 | 1244147.2045
58 | 2635808.1003 | 1244154.7995 | 2635811.942 | 1244166.5197
59 | 2635808.1003 | 1244154.7995 | 2635797.9175 | 1244123.8468
60 | 2635833.2558 | 1244143.1464 | 2635850.3233 | 1244134.3808
61 | 2635815.0134 | 1244175.8898 | 2635811.942 | 1244166.5197
62 | 2635797.9175 | 1244123.8468 | 2635794.9397 | 1244114.7952
63 | 2635855.1203 | 1244131.9171 | 2635850.3233 | 1244134.3808
64 | 2635792.0475 | 1244106.0037 | 2635794.9397 | 1244114.7952
65 | 2635855.1203 | 1244131.9171 | 2635866.0844 | 1244126.2861
66 | 2635855.2012 | 1244063.8711 | 2635853.3866 | 1244061.7209
67 | 2635855.4442 | 1244064.1591 | 2635855.2012 | 1244063.8711
68 | 2635849.3895 | 1244056.9846 | 2635853.3866 | 1244061.7209
69 | 2635863.4846 | 1244073.6863 | 2635855.4442 | 1244064.1591
70 | 2635869.3313 | 1244082.0729 | 2635863.9988 | 1244074.2957 | 2635863.4846 | 1244073.6863
71 | 2635869.3313 | 1244082.0729 | 2635875.7529 | 1244091.4385
72 | 2635875.7529 | 1244091.4385 | 2635877.6073 | 1244094.143
73 | 2635757.3979 | 1244017.0665 | 2635757.6047 | 1244016.9284
74 | 2635897.9031 | 1244047.2052 | 2635897.9031 | 1244047.2052 | 2635898.4025 | 1244049.5987 | 2635904.0785 | 1244058.4529
75 | 2635909.0593 | 1244066.1665 | 2635905.1999 | 1244060.2022 | 2635904.0785 | 1244058.4529
76 | 2635897.9031 | 1244047.2052 | 2635898.6042 | 1244044.9969 | 2635906.5428 | 1244035.59
77 | 2635909.0593 | 1244066.1665 | 2635912.5506 | 1244071.5621
78 | 2635906.5428 | 1244035.59 | 2635906.6317 | 1244035.4847
79 | 2635918.9781 | 1244079.2385 | 2635916.997 | 1244077.4958 | 2635913.8021 | 1244073.4961 | 2635912.5506 | 1244071.5621
80 | 2635921.3038 | 1244031.4175 | 2635926.0663 | 1244035.5282
81 | 2635795.9099 | 1244060.3639 | 2635789.4677 | 1244065.4788
82 | 2635782.447 | 1244071.053 | 2635789.4677 | 1244065.4788
83 | 2635775.2005 | 1244076.8063 | 2635782.447 | 1244071.053
84 | 2635745.2786 | 1244101.5089 | 2635769.299 | 1244081.7963 | 2635775.2005 | 1244076.8063
85 | 2635889.0999 | 1244110.9044 | 2635884.5971 | 1244114.5017 | 2635875.7979 | 1244121.2974 | 2635866.0844 | 1244126.2861
86 | 2635889.0999 | 1244110.9044 | 2635877.6073 | 1244094.143
87 | 2635798.137 | 1243937.835 | 2635807.1619 | 1243948.3157 | 2635808.3444 | 1243949.543
88 | 2635788.5556 | 1243926.7081 | 2635798.137 | 1243937.835
89 | 2635745.2786 | 1244101.5089 | 2635745.4192 | 1244091.9591 | 2635744.1505 | 1244078.0202 | 2635743.6619 | 1244070.4913
90 | 2635930.7562 | 1244039.5762 | 2635935.5202 | 1244043.6882
91 | 2635930.7562 | 1244039.5762 | 2635926.7586 | 1244036.1257
92 | 2635935.5202 | 1244043.6882 | 2635942.6004 | 1244049.7994 | 2635945.1426 | 1244051.9638
93 | 2635926.7586 | 1244036.1257 | 2635926.0663 | 1244035.5282

## bus_geodata
| x | y | coords
0 | 2635852.4243 | 1243985.6285
1 | 2635839.9095 | 1243976.8659
2 | 2635864.5985 | 1243993.8028
3 | 2635834.3038 | 1243972.9409
4 | 2635869.4015 | 1243986.805
5 | 2635857.4216 | 1244004.29
6 | 2635829.1896 | 1243969.3599
7 | 2635883.1262 | 1243998.5173
8 | 2635852.5977 | 1244010.9563
9 | 2635820.2102 | 1243961.857
10 | 2635885.6204 | 1244000.6458
11 | 2635840.398 | 1244023.981
12 | 2635902.4827 | 1244015.1753
13 | 2635902.8533 | 1244015.4951
14 | 2635897.7116 | 1244011.0584
15 | 2635907.1697 | 1244019.2197
16 | 2635911.9431 | 1244023.3386
17 | 2635914.8009 | 1244025.8046
18 | 2635808.8802 | 1244012.1985
19 | 2635809.7551 | 1244013.0507
20 | 2635786.3019 | 1243990.206
21 | 2635815.3803 | 1244019.0605
22 | 2635785.1524 | 1243989.0829
23 | 2635777.7243 | 1243998.4256
24 | 2635828.94 | 1244033.5578
25 | 2635775.2914 | 1243979.448
26 | 2635777.1704 | 1243998.9563
27 | 2635837.6131 | 1244026.2266
28 | 2635813.5744 | 1244046.3091
29 | 2635837.8761 | 1244043.7015
30 | 2635773.0945 | 1243977.3014
31 | 2635769.28 | 1244006.5173
32 | 2635826.2248 | 1244210.0922
33 | 2635825.9972 | 1244209.3984
34 | 2635777.1791 | 1244218.6991
35 | 2635823.3629 | 1244201.3618
36 | 2635729.7222 | 1244159.0134
37 | 2635820.5133 | 1244192.6686
38 | 2635961.4838 | 1244076.1196
39 | 2635949.0528 | 1244089.4914
40 | 2635966.8005 | 1244070.4037
41 | 2635906.8986 | 1244135.4056
42 | 2635898.0486 | 1244124.0765
43 | 2635925.5556 | 1244114.9556
44 | 2635817.8471 | 1244184.5346
45 | 2635818.6615 | 1243960.2499
46 | 2635810.1119 | 1243951.3772
47 | 2635819.9847 | 1244149.9623
48 | 2635825.3544 | 1244147.2045
49 | 2635808.1003 | 1244154.7995
50 | 2635833.2558 | 1244143.1464
51 | 2635811.942 | 1244166.5197
52 | 2635797.9175 | 1244123.8468
53 | 2635850.3233 | 1244134.3808
54 | 2635815.0134 | 1244175.8898
55 | 2635794.9397 | 1244114.7952
56 | 2635855.1203 | 1244131.9171
57 | 2635792.0475 | 1244106.0037
58 | 2635855.2012 | 1244063.8711
59 | 2635853.3866 | 1244061.7209
60 | 2635855.4442 | 1244064.1591
61 | 2635849.3895 | 1244056.9846
62 | 2635863.4846 | 1244073.6863
63 | 2635869.3313 | 1244082.0729
64 | 2635875.7529 | 1244091.4385
65 | 2635757.6047 | 1244016.9284
66 | 2635757.3979 | 1244017.0665
67 | 2635904.0785 | 1244058.4529
68 | 2635897.9031 | 1244047.2052
69 | 2635909.0593 | 1244066.1665
70 | 2635906.5428 | 1244035.59
71 | 2635912.5506 | 1244071.5621
72 | 2635906.6317 | 1244035.4847
73 | 2635918.9781 | 1244079.2385
74 | 2635921.3038 | 1244031.4175
75 | 2635795.9099 | 1244060.3639
76 | 2635789.4677 | 1244065.4788
77 | 2635782.447 | 1244071.053
78 | 2635775.2005 | 1244076.8063
79 | 2635866.0844 | 1244126.2861
80 | 2635889.0999 | 1244110.9044
81 | 2635877.6073 | 1244094.143
82 | 2635808.3444 | 1243949.543
83 | 2635798.137 | 1243937.835
84 | 2635940.3006 | 1244098.9062
85 | 2635743.6619 | 1244070.4913
86 | 2635745.2786 | 1244101.5089
87 | 2635770.3598 | 1243974.6295
88 | 2635930.7562 | 1244039.5762
89 | 2635935.5202 | 1244043.6882
90 | 2635926.7586 | 1244036.1257
91 | 2635945.1426 | 1244051.9638
92 | 2635926.0663 | 1244035.5282
93 | 2635975.4977 | 1244061.0009
94 | 2635788.5556 | 1243926.7081
95 | 2635775.2005 | 1244076.8063

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99126 | -0.16734 | 0.0035553 | 0.00089104
1 | 0.99098 | -0.17285 | 0.0025449 | 0.00063782
2 | 0.99158 | -0.16113 | 0 | 0
3 | 0.99087 | -0.17501 | 0.0018962 | 0.00047524
4 | 0.99124 | -0.16777 | 0 | 0
5 | 0.99238 | -0.14582 | 0.0019273 | 0.00048303
6 | 0.99078 | -0.17677 | 0.0016052 | 0.00040231
7 | 0.99051 | -0.1819 | 0.0027536 | 0.00069011
8 | 0.9929 | -0.13564 | 0.0024922 | 0.00062461
9 | 0.99062 | -0.17975 | 0.0023195 | 0.00058132
10 | 0.99039 | -0.18431 | 0.0036024 | 0.00090285
11 | 0.99409 | -0.11271 | 0.0020407 | 0.00051146
12 | 0.98963 | -0.19903 | 0.0019884 | 0.00049835
13 | 0.98961 | -0.19932 | 0.0016581 | 0.00041556
14 | 0.98984 | -0.19502 | 0.0020624 | 0.0005169
15 | 0.98945 | -0.20258 | 0.0019958 | 0.00050019
16 | 0.98927 | -0.20595 | 0.0020537 | 0.0005147
17 | 0.98918 | -0.20783 | 0 | 0
18 | 0.99372 | -0.11989 | 0.029715 | 0.0074473
19 | 0.9938 | -0.11826 | 0.002562 | 0.00064209
20 | 0.99021 | -0.18763 | 0 | 0
21 | 0.99419 | -0.11082 | 0.0026046 | 0.00065276
22 | 0.9902 | -0.18785 | 0.0016409 | 0.00041126
23 | 0.98897 | -0.21159 | 0.030919 | 0.0077491
24 | 0.99514 | -0.092613 | 0 | 0
25 | 0.99012 | -0.18941 | 0.0015877 | 0.00039791
26 | 0.98892 | -0.21272 | 0.0025914 | 0.00064945
27 | 0.99434 | -0.10801 | 0.0025154 | 0.00063043
28 | 0.99741 | -0.049261 | 0.0037169 | 0.00093154
29 | 0.99342 | -0.12543 | 0.0014872 | 0.00037273
30 | 0.9901 | -0.18967 | 0.0030807 | 0.0007721
31 | 0.98811 | -0.22828 | 0.030634 | 0.0076775
32 | 0.9774 | -0.43594 | 0.0017962 | 0.00045018
33 | 0.9774 | -0.43592 | 0 | 0
34 | 0.97651 | -0.45336 | 0 | 0
35 | 0.97754 | -0.4332 | 0.0036586 | 0.00091694
36 | 0.97497 | -0.48366 | 0.015799 | 0.0039597
37 | 0.97772 | -0.42966 | 0.0037077 | 0.00092924
38 | 0.98346 | -0.31752 | 0 | 0
39 | 0.9835 | -0.31681 | 0.0046017 | 0.0011533
40 | 0.98345 | -0.31783 | 0 | 0
41 | 0.98395 | -0.30806 | 0.0038318 | 0.00096035
42 | 0.98412 | -0.30472 | 0.0041989 | 0.0010523
43 | 0.98372 | -0.31258 | 0.0022802 | 0.00057146
44 | 0.97792 | -0.42576 | 0.0031962 | 0.00080104
45 | 0.9906 | -0.18022 | 0.0021988 | 0.00055107
46 | 0.99049 | -0.18236 | 0.0033107 | 0.00082973
47 | 0.97943 | -0.39611 | 0.0033053 | 0.00082839
48 | 0.97972 | -0.39052 | 0.0037199 | 0.00093229
49 | 0.97886 | -0.40725 | 0 | 0
50 | 0.98017 | -0.3817 | 0.0035022 | 0.00087774
51 | 0.97845 | -0.4153 | 0.0035593 | 0.00089205
52 | 0.97851 | -0.41427 | 0.0042484 | 0.0010648
53 | 0.9812 | -0.36146 | 0.0038355 | 0.00096127
54 | 0.97816 | -0.42109 | 0.0041205 | 0.0010327
55 | 0.97844 | -0.41558 | 0.0037198 | 0.00093227
56 | 0.98151 | -0.3554 | 0.012333 | 0.0030909
57 | 0.97841 | -0.41623 | 0.0038652 | 0.00096872
58 | 0.99012 | -0.1886 | 0.0038686 | 0.00096957
59 | 0.99046 | -0.18223 | 0.0036025 | 0.00090288
60 | 0.99008 | -0.18943 | 0.0038953 | 0.00097625
61 | 0.99121 | -0.16782 | 0.0052694 | 0.0013206
62 | 0.9887 | -0.21597 | 0.0058298 | 0.0014611
63 | 0.98763 | -0.23674 | 0.0047957 | 0.0012019
64 | 0.98648 | -0.25887 | 0.001608 | 0.00040301
65 | 0.98741 | -0.24204 | 0.023056 | 0.0057784
66 | 0.9874 | -0.24216 | 0.026152 | 0.0065543
67 | 0.98871 | -0.2168 | 0.0027518 | 0.00068966
68 | 0.98883 | -0.21461 | 0.0026797 | 0.0006716
69 | 0.98866 | -0.21791 | 0.0027407 | 0.00068689
70 | 0.98899 | -0.21144 | 0.0019697 | 0.00049364
71 | 0.98863 | -0.21837 | 0.002003 | 0.00050199
72 | 0.98899 | -0.2114 | 0.0016561 | 0.00041507
73 | 0.98862 | -0.21873 | 0.0020004 | 0.00050136
74 | 0.98908 | -0.2097 | 0.0020352 | 0.00051007
75 | 1 | 0 | -0.49443 | -0.12545
76 | 0.99915 | -0.016233 | 0.0083527 | 0.0020934
77 | 0.99829 | -0.032645 | 0.028658 | 0.0071824
78 | 0.99765 | -0.04497 | 0 | 0
79 | 0.98236 | -0.33883 | 0.0034683 | 0.00086923
80 | 0.98437 | -0.29982 | 0 | 0
81 | 0.98616 | -0.26518 | 0.012412 | 0.0031107
82 | 0.99048 | -0.18265 | 0.0017514 | 0.00043894
83 | 0.99041 | -0.18395 | 0.0031076 | 0.00077883
84 | 0.98358 | -0.31524 | 0 | 0
85 | 0.9928 | -0.1385 | 0.076113 | 0.019076
86 | 0.99496 | -0.096742 | 0 | 0
87 | 0.9901 | -0.18978 | 0.0016682 | 0.00041809
88 | 0.98898 | -0.21156 | 0.0019831 | 0.00049701
89 | 0.98896 | -0.21204 | 0.0020468 | 0.00051296
90 | 0.98901 | -0.21098 | 0.0019732 | 0.00049453
91 | 0.98893 | -0.21253 | 0.0021832 | 0.00054716
92 | 0.98902 | -0.21084 | 0.0019845 | 0.00049737
93 | 0.98342 | -0.31833 | 0.0021759 | 0.00054533
94 | 0.99039 | -0.18436 | 0.0015891 | 0.00039826
95 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020336 | 0.0051002 | -0.02033 | -0.005097 | 5.3391e-06 | 3.2202e-06 | 0.030528 | 0.030528 | 0.030528 | 0.99126 | -0.16734 | 0.99098 | -0.17285 | 8.3867
1 | -0.023891 | -0.0059912 | 0.023898 | 0.0059956 | 7.0733e-06 | 4.3378e-06 | 0.035865 | 0.035864 | 0.035865 | 0.99126 | -0.16734 | 0.99158 | -0.16113 | 9.8529
2 | 0.017785 | 0.0044592 | -0.017783 | -0.0044581 | 1.8303e-06 | 1.0832e-06 | 0.026706 | 0.026706 | 0.026706 | 0.99098 | -0.17285 | 0.99087 | -0.17501 | 7.3369
3 | 0.044217 | 0.011117 | -0.044203 | -0.011108 | 1.4007e-05 | 8.8549e-06 | 0.066367 | 0.066367 | 0.066367 | 0.99158 | -0.16113 | 0.99124 | -0.16777 | 18.2327
4 | -0.068115 | -0.017112 | 0.068165 | 0.017144 | 4.9813e-05 | 3.1716e-05 | 0.10223 | 0.10223 | 0.10223 | 0.99158 | -0.16113 | 0.99238 | -0.14582 | 28.0856
5 | 0.015887 | 0.0039828 | -0.015886 | -0.0039821 | 1.3327e-06 | 7.7253e-07 | 0.023859 | 0.023859 | 0.023859 | 0.99087 | -0.17501 | 0.99078 | -0.17677 | 6.5546
6 | 0.044203 | 0.011108 | -0.044174 | -0.011089 | 2.9802e-05 | 1.8841e-05 | 0.066367 | 0.066367 | 0.066367 | 0.99124 | -0.16777 | 0.99051 | -0.1819 | 18.2327
7 | -0.070092 | -0.017627 | 0.070127 | 0.017649 | 3.4099e-05 | 2.1717e-05 | 0.10512 | 0.10512 | 0.10512 | 0.99238 | -0.14582 | 0.9929 | -0.13564 | 28.8795
8 | 0.014281 | 0.0035798 | -0.014279 | -0.0035786 | 2.0279e-06 | 1.1465e-06 | 0.021448 | 0.021448 | 0.021448 | 0.99078 | -0.17677 | 0.99062 | -0.17975 | 5.8923
9 | 0.04142 | 0.010399 | -0.041415 | -0.010396 | 4.7618e-06 | 3.0053e-06 | 0.062231 | 0.062231 | 0.062231 | 0.99051 | -0.1819 | 0.99039 | -0.18431 | 17.0963
10 | -0.072619 | -0.018274 | 0.072698 | 0.018324 | 7.966e-05 | 5.0751e-05 | 0.10886 | 0.10886 | 0.10886 | 0.9929 | -0.13564 | 0.99409 | -0.11271 | 29.9056
11 | 0.011959 | 0.0029973 | -0.011959 | -0.0029971 | 2.7008e-07 | 1.4412e-07 | 0.017964 | 0.017964 | 0.017964 | 0.99062 | -0.17975 | 0.9906 | -0.18022 | 4.9351
12 | 0.037813 | 0.0094932 | -0.037794 | -0.0094811 | 1.9318e-05 | 1.2158e-05 | 0.056818 | 0.056818 | 0.056818 | 0.99039 | -0.18431 | 0.98984 | -0.19502 | 15.6094
13 | -0.074739 | -0.018836 | 0.074756 | 0.018846 | 1.6801e-05 | 1.0706e-05 | 0.11191 | 0.11191 | 0.11191 | 0.99409 | -0.11271 | 0.99434 | -0.10801 | 30.7448
14 | 0.033736 | 0.0084615 | -0.033735 | -0.0084612 | 4.7238e-07 | 2.9604e-07 | 0.050728 | 0.050728 | 0.050728 | 0.98963 | -0.19903 | 0.98961 | -0.19932 | 13.9362
15 | -0.035724 | -0.0089599 | 0.035731 | 0.0089642 | 6.819e-06 | 4.2832e-06 | 0.053718 | 0.053718 | 0.053718 | 0.98963 | -0.19903 | 0.98984 | -0.19502 | 14.7576
16 | 0.032077 | 0.0080457 | -0.032072 | -0.0080426 | 4.9742e-06 | 3.1102e-06 | 0.048235 | 0.048235 | 0.048235 | 0.98961 | -0.19932 | 0.98945 | -0.20258 | 13.2513
17 | 0.030077 | 0.0075424 | -0.030072 | -0.0075394 | 4.8375e-06 | 3.015e-06 | 0.045233 | 0.045233 | 0.045233 | 0.98945 | -0.20258 | 0.98927 | -0.20595 | 12.4267
18 | 0.028018 | 0.0070247 | -0.028015 | -0.0070231 | 2.5142e-06 | 1.5606e-06 | 0.042144 | 0.042144 | 0.042144 | 0.98927 | -0.20595 | 0.98918 | -0.20783 | 11.5781
19 | 0.012208 | 0.0030599 | -0.012207 | -0.0030593 | 1.0864e-06 | 5.8505e-07 | 0.018365 | 0.018365 | 0.018365 | 0.98918 | -0.20783 | 0.98908 | -0.2097 | 5.0452
20 | 0.015808 | 0.0039632 | -0.015805 | -0.0039617 | 2.686e-06 | 1.5565e-06 | 0.02378 | 0.02378 | 0.02378 | 0.98918 | -0.20783 | 0.98899 | -0.2114 | 6.5329
21 | -0.15167 | -0.038252 | 0.15168 | 0.038259 | 1.182e-05 | 7.533e-06 | 0.22719 | 0.22719 | 0.22719 | 0.99372 | -0.11989 | 0.9938 | -0.11826 | 31.2079
22 | 0.12195 | 0.030804 | -0.12156 | -0.030552 | 0.00039452 | 0.00025209 | 0.1827 | 0.1827 | 0.1827 | 0.99372 | -0.11989 | 0.99021 | -0.18763 | 50.1916
23 | -0.15424 | -0.038901 | 0.1543 | 0.038936 | 5.4921e-05 | 3.4829e-05 | 0.23103 | 0.23103 | 0.23103 | 0.9938 | -0.11826 | 0.99419 | -0.11082 | 21.1566
24 | 0.0079781 | 0.0019995 | -0.007978 | -0.0019994 | 8.6626e-08 | 3.4767e-08 | 0.011989 | 0.011989 | 0.011989 | 0.99021 | -0.18763 | 0.9902 | -0.18785 | 3.2937
25 | 0.11358 | 0.028553 | -0.11345 | -0.02847 | 0.00012983 | 8.2936e-05 | 0.17071 | 0.17071 | 0.17071 | 0.99021 | -0.18763 | 0.98897 | -0.21159 | 46.898
26 | -0.1569 | -0.039589 | 0.15704 | 0.039676 | 0.00013695 | 8.6872e-05 | 0.23493 | 0.23493 | 0.23493 | 0.99419 | -0.11082 | 0.99514 | -0.092613 | 21.5135
27 | 0.0063371 | 0.0015882 | -0.0063366 | -0.001588 | 4.6886e-07 | 1.2274e-07 | 0.009523 | 0.0095231 | 0.0095231 | 0.9902 | -0.18785 | 0.99012 | -0.18941 | 2.6162
28 | 0.082529 | 0.020721 | -0.082525 | -0.020718 | 4.4367e-06 | 2.8297e-06 | 0.12419 | 0.12419 | 0.12419 | 0.98897 | -0.21159 | 0.98892 | -0.21272 | 34.1173
29 | 0.077328 | 0.019513 | -0.077271 | -0.019477 | 5.6986e-05 | 3.6323e-05 | 0.11568 | 0.11568 | 0.11568 | 0.99514 | -0.092613 | 0.99434 | -0.10801 | 31.7789
30 | -0.3737 | -0.094743 | 0.37448 | 0.095241 | 0.00078042 | 0.00049869 | 0.55918 | 0.55917 | 0.55918 | 0.99514 | -0.092613 | 0.99741 | -0.049261 | 51.2065
31 | 0.13934 | 0.035554 | -0.13912 | -0.035413 | 0.00022053 | 0.00014097 | 0.20857 | 0.20857 | 0.20857 | 0.99514 | -0.092613 | 0.99342 | -0.12543 | 57.3002
32 | 0.004749 | 0.0011901 | -0.0047489 | -0.0011901 | 5.8671e-08 | -1.954e-09 | 0.007137 | 0.007137 | 0.007137 | 0.99012 | -0.18941 | 0.9901 | -0.18967 | 1.9607
33 | 0.079933 | 0.020069 | -0.079874 | -0.020031 | 5.9296e-05 | 3.7809e-05 | 0.12029 | 0.12029 | 0.12029 | 0.98892 | -0.21272 | 0.98811 | -0.22828 | 33.0462
34 | -0.3782 | -0.096173 | 0.3791 | 0.096748 | 0.00089988 | 0.00057504 | 0.56472 | 0.56472 | 0.56472 | 0.99741 | -0.049261 | 1 | 0 | 51.7143
35 | 0.13763 | 0.03504 | -0.13735 | -0.03486 | 0.00028069 | 0.00017941 | 0.20635 | 0.20635 | 0.20635 | 0.99342 | -0.12543 | 0.99121 | -0.16782 | 56.6883
36 | 0.0016682 | 0.00041804 | -0.0016682 | -0.00041809 | 9.0117e-09 | -4.3403e-08 | 0.0025071 | 0.0025071 | 0.0025071 | 0.9901 | -0.18967 | 0.9901 | -0.18978 | 0.68877
37 | 0.04924 | 0.012353 | -0.049208 | -0.012333 | 3.2282e-05 | 2.046e-05 | 0.074156 | 0.074156 | 0.074156 | 0.98811 | -0.22828 | 0.98741 | -0.24204 | 20.3726
38 | -0.0017962 | -0.00045018 | 0.0017962 | 0.00045017 | 2.0478e-09 | -7.8414e-09 | 0.0027346 | 0.0027346 | 0.0027346 | 0.9774 | -0.43594 | 0.9774 | -0.43592 | 0.75127
39 | 0.015835 | 0.0039807 | -0.015822 | -0.003973 | 1.3174e-05 | 7.6748e-06 | 0.024113 | 0.024113 | 0.024113 | 0.9774 | -0.43592 | 0.97651 | -0.45336 | 6.6244
40 | -0.017632 | -0.0044309 | 0.017634 | 0.0044322 | 2.2859e-06 | 1.357e-06 | 0.026847 | 0.026847 | 0.026847 | 0.9774 | -0.43592 | 0.97754 | -0.4332 | 7.3756
41 | 0.015822 | 0.003973 | -0.015799 | -0.0039597 | 2.2843e-05 | 1.3311e-05 | 0.024113 | 0.024113 | 0.024113 | 0.97651 | -0.45336 | 0.97497 | -0.48366 | 6.6245
42 | -0.021293 | -0.0053492 | 0.021296 | 0.0053514 | 3.6049e-06 | 2.1925e-06 | 0.032416 | 0.032416 | 0.032416 | 0.97754 | -0.4332 | 0.97772 | -0.42966 | 8.9056
43 | -0.025004 | -0.0062806 | 0.025009 | 0.0062835 | 4.6496e-06 | 2.8684e-06 | 0.038059 | 0.038059 | 0.038059 | 0.97772 | -0.42966 | 0.97792 | -0.42576 | 10.4558
44 | -0.002176 | -0.00054512 | 0.002176 | 0.00054493 | 7.4206e-08 | -1.8419e-07 | 0.0032922 | 0.0032921 | 0.0032922 | 0.98346 | -0.31752 | 0.9835 | -0.31681 | 0.90446
45 | 0.002176 | 0.00054512 | -0.0021759 | -0.0005452 | 3.1687e-08 | -7.8642e-08 | 0.0032922 | 0.0032923 | 0.0032923 | 0.98346 | -0.31752 | 0.98345 | -0.31783 | 0.90447
46 | -0.0067777 | -0.0016982 | 0.0067782 | 0.0016984 | 5.0688e-07 | 1.6127e-07 | 0.010254 | 0.010254 | 0.010254 | 0.9835 | -0.31681 | 0.98358 | -0.31524 | 2.8171
47 | 0.0021759 | 0.0005452 | -0.0021759 | -0.00054533 | 5.2062e-08 | -1.292e-07 | 0.0032923 | 0.0032923 | 0.0032923 | 0.98345 | -0.31783 | 0.98342 | -0.31833 | 0.90448
48 | -0.012893 | -0.0032314 | 0.012895 | 0.0032325 | 2.0509e-06 | 1.1298e-06 | 0.019498 | 0.019498 | 0.019498 | 0.98395 | -0.30806 | 0.98412 | -0.30472 | 5.3566
49 | 0.0090612 | 0.002271 | -0.0090592 | -0.0022701 | 1.9493e-06 | 8.9602e-07 | 0.013703 | 0.013703 | 0.013703 | 0.98395 | -0.30806 | 0.98372 | -0.31258 | 3.7646
50 | -0.017094 | -0.0042848 | 0.017098 | 0.0042872 | 3.9894e-06 | 2.3508e-06 | 0.025847 | 0.025847 | 0.025847 | 0.98412 | -0.30472 | 0.98437 | -0.29982 | 7.1008
51 | 0.0067791 | 0.0016987 | -0.0067782 | -0.0016984 | 8.5939e-07 | 2.7335e-07 | 0.010254 | 0.010254 | 0.010254 | 0.98372 | -0.31258 | 0.98358 | -0.31524 | 2.8171
52 | -0.028205 | -0.0070845 | 0.028211 | 0.0070884 | 6.2852e-06 | 3.9084e-06 | 0.042923 | 0.042922 | 0.042923 | 0.97792 | -0.42576 | 0.97816 | -0.42109 | 11.7919
53 | 0.0097601 | 0.0024461 | -0.0097591 | -0.0024456 | 9.9317e-07 | 4.7702e-07 | 0.014661 | 0.014661 | 0.014661 | 0.9906 | -0.18022 | 0.99049 | -0.18236 | 4.0277
54 | 0.0064484 | 0.0016159 | -0.0064483 | -0.0016158 | 8.964e-08 | 2.4586e-08 | 0.0096874 | 0.0096874 | 0.0096874 | 0.99049 | -0.18236 | 0.99048 | -0.18265 | 2.6614
55 | -0.051082 | -0.01284 | 0.051096 | 0.012849 | 1.3639e-05 | 8.6527e-06 | 0.077621 | 0.077621 | 0.077621 | 0.97943 | -0.39611 | 0.97972 | -0.39052 | 21.3245
56 | 0.047777 | 0.012012 | -0.047752 | -0.011995 | 2.5406e-05 | 1.6098e-05 | 0.072599 | 0.072599 | 0.072599 | 0.97943 | -0.39611 | 0.97886 | -0.40725 | 19.9449
57 | -0.054816 | -0.013781 | 0.054839 | 0.013796 | 2.3097e-05 | 1.467e-05 | 0.083271 | 0.083271 | 0.083271 | 0.97972 | -0.39052 | 0.98017 | -0.3817 | 22.8766
58 | 0.035914 | 0.0090274 | -0.0359 | -0.0090188 | 1.379e-05 | 8.6707e-06 | 0.054604 | 0.054604 | 0.054604 | 0.97886 | -0.40725 | 0.97845 | -0.4153 | 15.001
59 | 0.011838 | 0.002968 | -0.011834 | -0.0029659 | 3.9572e-06 | 2.1232e-06 | 0.017996 | 0.017996 | 0.017996 | 0.97886 | -0.40725 | 0.97851 | -0.41427 | 4.944
60 | -0.058341 | -0.014673 | 0.058398 | 0.014709 | 5.6465e-05 | 3.5896e-05 | 0.088588 | 0.088588 | 0.088588 | 0.98017 | -0.3817 | 0.9812 | -0.36146 | 24.3373
61 | 0.032341 | 0.0081267 | -0.032332 | -0.0081211 | 8.9475e-06 | 5.6026e-06 | 0.049191 | 0.049191 | 0.049191 | 0.97845 | -0.4153 | 0.97816 | -0.42109 | 13.5139
62 | 0.0075856 | 0.0019011 | -0.0075851 | -0.0019009 | 4.755e-07 | 1.8463e-07 | 0.011535 | 0.011535 | 0.011535 | 0.97851 | -0.41427 | 0.97844 | -0.41558 | 3.1691
63 | -0.062233 | -0.01567 | 0.062251 | 0.015682 | 1.8023e-05 | 1.1466e-05 | 0.094404 | 0.094404 | 0.094404 | 0.9812 | -0.36146 | 0.98151 | -0.3554 | 25.9352
64 | 0.0038654 | 0.00096868 | -0.0038652 | -0.00096872 | 1.1993e-07 | -3.9479e-08 | 0.0058784 | 0.0058785 | 0.0058785 | 0.97844 | -0.41558 | 0.97841 | -0.41623 | 1.615
65 | -0.074584 | -0.018773 | 0.074643 | 0.018811 | 5.9125e-05 | 3.7684e-05 | 0.1131 | 0.1131 | 0.1131 | 0.98151 | -0.3554 | 0.98236 | -0.33883 | 31.0718
66 | -0.12835 | -0.032553 | 0.12838 | 0.032578 | 3.9311e-05 | 2.5123e-05 | 0.19302 | 0.19302 | 0.19302 | 0.99012 | -0.1886 | 0.99046 | -0.18223 | 53.0282
67 | 0.12448 | 0.031584 | -0.12447 | -0.031581 | 4.9513e-06 | 3.164e-06 | 0.18721 | 0.18721 | 0.18721 | 0.99012 | -0.1886 | 0.99008 | -0.18943 | 51.431
68 | -0.13199 | -0.033481 | 0.13208 | 0.03354 | 9.1513e-05 | 5.8489e-05 | 0.19843 | 0.19843 | 0.19843 | 0.99046 | -0.18223 | 0.99121 | -0.16782 | 54.5151
69 | 0.12058 | 0.030604 | -0.12042 | -0.030506 | 0.00015376 | 9.8245e-05 | 0.18135 | 0.18135 | 0.18135 | 0.99008 | -0.18943 | 0.9887 | -0.21597 | 49.8227
70 | 0.11459 | 0.029045 | -0.11448 | -0.028972 | 0.00011423 | 7.2974e-05 | 0.17258 | 0.17258 | 0.17258 | 0.9887 | -0.21597 | 0.98763 | -0.23674 | 47.4123
71 | 0.10968 | 0.02777 | -0.10957 | -0.027696 | 0.00011643 | 7.4372e-05 | 0.16536 | 0.16536 | 0.16536 | 0.98763 | -0.23674 | 0.98648 | -0.25887 | 45.4273
72 | 0.10796 | 0.027293 | -0.10793 | -0.027272 | 3.2643e-05 | 2.085e-05 | 0.16293 | 0.16293 | 0.16293 | 0.98648 | -0.25887 | 0.98616 | -0.26518 | 44.7609
73 | 0.026152 | 0.0065544 | -0.026152 | -0.0065543 | 1.4486e-07 | 8.9528e-08 | 0.039411 | 0.039411 | 0.039411 | 0.98741 | -0.24204 | 0.9874 | -0.24216 | 10.8272
74 | -0.0094964 | -0.0023799 | 0.0094974 | 0.0023804 | 9.9289e-07 | 4.6919e-07 | 0.014292 | 0.014292 | 0.014292 | 0.98871 | -0.2168 | 0.98883 | -0.21461 | 3.9264
75 | 0.0067446 | 0.0016902 | -0.0067443 | -0.0016901 | 3.5478e-07 | 1.0931e-07 | 0.010151 | 0.010151 | 0.010151 | 0.98871 | -0.2168 | 0.98866 | -0.21791 | 2.7886
76 | -0.012177 | -0.003052 | 0.012179 | 0.0030529 | 1.8417e-06 | 9.9104e-07 | 0.018325 | 0.018324 | 0.018325 | 0.98883 | -0.21461 | 0.98899 | -0.21144 | 5.0342
77 | 0.0040035 | 0.0010032 | -0.0040034 | -0.0010032 | 8.7501e-08 | -2.6407e-08 | 0.0060256 | 0.0060256 | 0.0060256 | 0.98866 | -0.21791 | 0.98863 | -0.21837 | 1.6554
78 | -0.014149 | -0.0035466 | 0.014149 | 0.0035466 | 2.3424e-08 | 1.3224e-08 | 0.021288 | 0.021288 | 0.021288 | 0.98899 | -0.21144 | 0.98899 | -0.2114 | 5.8483
79 | 0.0020005 | 0.00050125 | -0.0020004 | -0.00050136 | 3.4205e-08 | -1.0712e-07 | 0.0030109 | 0.003011 | 0.003011 | 0.98863 | -0.21837 | 0.98862 | -0.21873 | 0.82719
80 | 0.010172 | 0.0025492 | -0.010171 | -0.0025489 | 5.5247e-07 | 2.7284e-07 | 0.015303 | 0.015303 | 0.015303 | 0.98908 | -0.2097 | 0.98902 | -0.21084 | 4.2041
81 | 0.11368 | 0.028707 | -0.11359 | -0.02865 | 8.8347e-05 | 5.6434e-05 | 0.16923 | 0.16923 | 0.16923 | 1 | 0 | 0.99915 | -0.016233 | 46.4931
82 | 0.10524 | 0.026557 | -0.10516 | -0.026504 | 8.2647e-05 | 5.2777e-05 | 0.1568 | 0.1568 | 0.1568 | 0.99915 | -0.016233 | 0.99829 | -0.032645 | 43.0757
83 | 0.076499 | 0.019322 | -0.076454 | -0.019293 | 4.5156e-05 | 2.8779e-05 | 0.11408 | 0.11408 | 0.11408 | 0.99829 | -0.032645 | 0.99765 | -0.04497 | 31.3405
84 | 0.076454 | 0.019293 | -0.076265 | -0.019173 | 0.00018905 | 0.00012049 | 0.11408 | 0.11408 | 0.11408 | 0.99765 | -0.04497 | 0.99496 | -0.096742 | 31.3405
85 | -0.078112 | -0.01968 | 0.078258 | 0.019773 | 0.00014604 | 9.3111e-05 | 0.11835 | 0.11835 | 0.11835 | 0.98236 | -0.33883 | 0.98437 | -0.29982 | 32.5151
86 | -0.095356 | -0.02406 | 0.095514 | 0.024161 | 0.00015847 | 0.00010116 | 0.1442 | 0.1442 | 0.1442 | 0.98437 | -0.29982 | 0.98616 | -0.26518 | 39.6158
87 | 0.004697 | 0.0011769 | -0.0046967 | -0.0011769 | 2.9007e-07 | -1.4289e-08 | 0.0070563 | 0.0070563 | 0.0070563 | 0.99048 | -0.18265 | 0.99041 | -0.18395 | 1.9386
88 | 0.0015891 | 0.00039809 | -0.0015891 | -0.00039826 | 3.1387e-08 | -1.6887e-07 | 0.0023874 | 0.0023875 | 0.0023875 | 0.99041 | -0.18395 | 0.99039 | -0.18436 | 0.65591
89 | -0.076113 | -0.019076 | 0.076265 | 0.019173 | 0.00015174 | 9.671e-05 | 0.11408 | 0.11408 | 0.11408 | 0.9928 | -0.1385 | 0.99496 | -0.096742 | 31.3406
90 | 0.0042301 | 0.00106 | -0.00423 | -0.00106 | 9.5594e-08 | -1.9571e-08 | 0.0063645 | 0.0063645 | 0.0063645 | 0.98898 | -0.21156 | 0.98896 | -0.21204 | 1.7485
91 | -0.0062132 | -0.001557 | 0.0062134 | 0.001557 | 1.7306e-07 | 4.2992e-08 | 0.0093482 | 0.0093482 | 0.0093482 | 0.98898 | -0.21156 | 0.98901 | -0.21098 | 2.5682
92 | 0.0021832 | 0.00054703 | -0.0021832 | -0.00054716 | 5.1357e-08 | -1.2998e-07 | 0.0032849 | 0.003285 | 0.003285 | 0.98896 | -0.21204 | 0.98893 | -0.21253 | 0.90246
93 | -0.0081866 | -0.0020516 | 0.0081866 | 0.0020516 | 5.2025e-08 | 2.1561e-08 | 0.012317 | 0.012317 | 0.012317 | 0.98901 | -0.21098 | 0.98902 | -0.21084 | 3.3838

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52767 | 0.13379

## res_load
| p_mw | q_mvar
0 | 0.0035553 | 0.00089104
1 | 0.0025449 | 0.00063782
2 | 0.0018962 | 0.00047524
3 | 0.0019273 | 0.00048303
4 | 0.0016052 | 0.00040231
5 | 0.0027536 | 0.00069011
6 | 0.0024922 | 0.00062461
7 | 0.0023195 | 0.00058132
8 | 0.0036024 | 0.00090285
9 | 0.0020407 | 0.00051146
10 | 0.0019884 | 0.00049835
11 | 0.0016581 | 0.00041556
12 | 0.0020624 | 0.0005169
13 | 0.0019958 | 0.00050019
14 | 0.0020537 | 0.0005147
15 | 0.029715 | 0.0074473
16 | 0.002562 | 0.00064209
17 | 0.0026046 | 0.00065276
18 | 0.0016409 | 0.00041126
19 | 0.030919 | 0.0077491
20 | 0.0015877 | 0.00039791
21 | 0.0025914 | 0.00064945
22 | 0.0025154 | 0.00063043
23 | 0.0037169 | 0.00093154
24 | 0.0014872 | 0.00037273
25 | 0.0030807 | 0.0007721
26 | 0.030634 | 0.0076775
27 | 0.0017962 | 0.00045018
28 | 0.0036586 | 0.00091694
29 | 0.015799 | 0.0039597
30 | 0.0037077 | 0.00092924
31 | 0.0046017 | 0.0011533
32 | 0.0038318 | 0.00096035
33 | 0.0041989 | 0.0010523
34 | 0.0022802 | 0.00057146
35 | 0.0031962 | 0.00080104
36 | 0.0021988 | 0.00055107
37 | 0.0033107 | 0.00082973
38 | 0.0033053 | 0.00082839
39 | 0.0037199 | 0.00093229
40 | 0.0035022 | 0.00087774
41 | 0.0035593 | 0.00089205
42 | 0.0042484 | 0.0010648
43 | 0.0038355 | 0.00096127
44 | 0.0041205 | 0.0010327
45 | 0.0037198 | 0.00093227
46 | 0.012333 | 0.0030909
47 | 0.0038652 | 0.00096872
48 | 0.0038686 | 0.00096957
49 | 0.0036025 | 0.00090288
50 | 0.0038953 | 0.00097625
51 | 0.0052694 | 0.0013206
52 | 0.0058298 | 0.0014611
53 | 0.0047957 | 0.0012019
54 | 0.001608 | 0.00040301
55 | 0.023056 | 0.0057784
56 | 0.026152 | 0.0065543
57 | 0.0027518 | 0.00068966
58 | 0.0026797 | 0.0006716
59 | 0.0027407 | 0.00068689
60 | 0.0019697 | 0.00049364
61 | 0.002003 | 0.00050199
62 | 0.0016561 | 0.00041507
63 | 0.0020004 | 0.00050136
64 | 0.0020352 | 0.00051007
65 | 0.033238 | 0.0083302
66 | 0.0083527 | 0.0020934
67 | 0.028658 | 0.0071824
68 | 0.0034683 | 0.00086923
69 | 0.012412 | 0.0031107
70 | 0.0017514 | 0.00043894
71 | 0.0031076 | 0.00077883
72 | 0.076113 | 0.019076
73 | 0.0016682 | 0.00041809
74 | 0.0019831 | 0.00049701
75 | 0.0020468 | 0.00051296
76 | 0.0019732 | 0.00049453
77 | 0.0021832 | 0.00054716
78 | 0.0019845 | 0.00049737
79 | 0.0021759 | 0.00054533
80 | 0.0015891 | 0.00039826

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1