## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2581-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2581-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2581-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2581-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2581-9_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2581-9_0_6_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_2581-9_0_6_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_2581-9_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2581-9_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2581-9_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2581-9_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2581-9_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2581-9_0_6_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_2581-9_0_6_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_2581-9_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_2581-9_0_6_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_2581-9_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2581-9_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2581-9_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2581-9_0_6_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_2581-9_0_6_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_2581-9_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2581-9_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2581-9_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2581-9_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2581-9_0_6_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_2581-9_0_6_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_2581-9_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2581-9_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2581-9_0_6_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_2581-9_0_6_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_2581-9_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2581-9_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2581-9_0_6_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_2581-9_0_6_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_2581-9_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2581-9_0_6_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_2581-9_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2581-9_0_6_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_2581-9_0_6_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_2581-9_0_6_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_2581-9_0_6_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_2581-9_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2581-9_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2581-9_0_6_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2581-9_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2581-9_0_6_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_2581-9_0_6_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_2581-9_0_6_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_2581-9_0_6_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_2581-9_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2581-9_0_6_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_2581-9_0_6_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_2581-9_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2581-9_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2581-9_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2581-9_0_6_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_2581-9_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2581-9_0_6_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_2581-9_0_6_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2581-9_0_6_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_2581-9_0_6_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_2581-9_0_6_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2581-9_0_6_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_2581-9_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_2581-9_0_6_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_2581-9_0_6_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_2581-9_0_6_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_2581-9_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_2581-9_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_2581-9_0_6_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_2581-9_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_2581-9_0_6_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_2581-9_0_6_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_2581-9_0_6_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_2581-9_0_6_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_2581-9_0_6_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_2581-9_0_6_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_2581-9_0_6_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_2581-9_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_2581-9_0_6_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_2581-9_0_6_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2581-9_0_6_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_2581-9_0_6_node_84 | 0.4 | n |  | TRUE
84 | bus_MV_523_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2581-9_0_6_load_0 | 0 | 0.0020064 | 0.00050285 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2581-9_0_6_load_1 | 1 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2581-9_0_6_load_2 | 2 | 0.0025213 | 0.00063189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2581-9_0_6_load_3 | 3 | 0.0025338 | 0.00063504 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2581-9_0_6_load_4 | 4 | 0.0025249 | 0.00063279 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2581-9_0_6_load_75 | 5 | 0.0025222 | 0.00063212 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2581-9_0_6_load_86 | 6 | 0.0025769 | 0.00064582 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2581-9_0_6_load_5 | 7 | 0.0068903 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2581-9_0_6_load_6 | 8 | 0.0068604 | 0.0017194 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2581-9_0_6_load_7 | 9 | 0.008632 | 0.0021634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2581-9_0_6_load_8 | 10 | 0.006859 | 0.001719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2581-9_0_6_load_9 | 11 | 0.0086403 | 0.0021655 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2581-9_0_6_load_10 | 16 | 0.0017389 | 0.00043581 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2581-9_0_6_load_11 | 17 | 0.0017718 | 0.00044404 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2581-9_0_6_load_13 | 18 | 0.0019259 | 0.00048268 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2581-9_0_6_load_69 | 19 | 0.0019134 | 0.00047954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2581-9_0_6_load_51 | 20 | 0.0017807 | 0.00044628 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2581-9_0_6_load_15 | 21 | 0.0085403 | 0.0021404 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2581-9_0_6_load_16 | 22 | 0.0054977 | 0.0013778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2581-9_0_6_load_72 | 25 | 0.0048895 | 0.0012254 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2581-9_0_6_load_70 | 26 | 0.010394 | 0.0026049 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2581-9_0_6_load_29 | 29 | 0.0069662 | 0.0017459 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2581-9_0_6_load_26 | 32 | 0.017121 | 0.004291 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2581-9_0_6_load_57 | 33 | 0.036206 | 0.009074 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2581-9_0_6_load_45 | 35 | 0.0041788 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2581-9_0_6_load_67 | 38 | 0.011532 | 0.0028903 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2581-9_0_6_load_74 | 39 | 0.0082986 | 0.0020798 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2581-9_0_6_load_73 | 40 | 0.0074501 | 0.0018672 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2581-9_0_6_load_76 | 41 | 0.015313 | 0.0038378 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2581-9_0_6_load_27 | 42 | 0.013507 | 0.0033852 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2581-9_0_6_load_58 | 47 | 0.0067108 | 0.0016819 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2581-9_0_6_load_68 | 48 | 0.0087642 | 0.0021965 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2581-9_0_6_load_28 | 50 | 0.01334 | 0.0033434 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2581-9_0_6_load_81 | 51 | 0.010664 | 0.0026726 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2581-9_0_6_load_82 | 52 | 0.0055206 | 0.0013836 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2581-9_0_6_load_32 | 53 | 0.0081523 | 0.0020431 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2581-9_0_6_load_35 | 55 | 0.010459 | 0.0026213 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2581-9_0_6_load_37 | 56 | 0.0026251 | 0.0006579 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2581-9_0_6_load_38 | 57 | 0.0066865 | 0.0016758 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2581-9_0_6_load_89 | 58 | 0.010564 | 0.0026477 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2581-9_0_6_load_44 | 59 | 0.0037064 | 0.00092892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2581-9_0_6_load_80 | 60 | 0.004873 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2581-9_0_6_load_90 | 61 | 0.010404 | 0.0026075 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2581-9_0_6_load_50 | 62 | 0.0058644 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2581-9_0_6_load_39 | 63 | 0.015479 | 0.0038794 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2581-9_0_6_load_40 | 64 | 0.01574 | 0.0039448 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2581-9_0_6_load_41 | 65 | 0.015609 | 0.003912 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2581-9_0_6_load_42 | 66 | 0.012637 | 0.0031672 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2581-9_0_6_load_43 | 67 | 0.015223 | 0.0038153 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2581-9_0_6_load_54 | 68 | 0.012382 | 0.0031032 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2581-9_0_6_load_77 | 69 | 0.015785 | 0.0039562 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2581-9_0_6_load_55 | 70 | 0.011206 | 0.0028085 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2581-9_0_6_load_56 | 71 | 0.01164 | 0.0029172 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2581-9_0_6_load_87 | 72 | 0.003496 | 0.00087618 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2581-9_0_6_load_83 | 73 | 0.0027454 | 0.00068806 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2581-9_0_6_load_47 | 74 | 0.0057724 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2581-9_0_6_load_48 | 75 | 0.0017681 | 0.00044314 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2581-9_0_6_load_49 | 76 | 0.005722 | 0.0014341 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2581-9_0_6_load_91 | 77 | 0.014477 | 0.0036282 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2581-9_0_6_load_92 | 78 | 0.014467 | 0.0036259 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2581-9_0_6_load_59 | 79 | 0.005346 | 0.0013398 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2581-9_0_6_load_61 | 80 | 0.0017716 | 0.000444 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2581-9_0_6_load_79 | 81 | 0.0017693 | 0.00044344 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2581-9_0_6_load_88 | 82 | 0.0076438 | 0.0019157 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2581-9_0_6_load_84 | 83 | 0.0027275 | 0.00068359 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2581-9_0_6_line_0 |  | 0 | 1 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2581-9_0_6_line_1 |  | 0 | 2 | 0.0074802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2581-9_0_6_line_2 |  | 1 | 3 | 0.0014216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2581-9_0_6_line_3 |  | 2 | 4 | 0.00099644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2581-9_0_6_line_4 |  | 3 | 5 | 0.00047325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2581-9_0_6_line_5 |  | 5 | 6 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2581-9_0_6_line_6 |  | 6 | 83 | 0.0097353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2581-9_0_6_line_7 |  | 7 | 8 | 0.022505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2581-9_0_6_line_8 |  | 7 | 9 | 0.02247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2581-9_0_6_line_9 |  | 8 | 10 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2581-9_0_6_line_10 |  | 9 | 11 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2581-9_0_6_line_11 |  | 10 | 12 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2581-9_0_6_line_12 |  | 12 | 13 | 0.012571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2581-9_0_6_line_13 |  | 12 | 14 | 0.10684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2581-9_0_6_line_14 |  | 12 | 15 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2581-9_0_6_line_15 |  | 13 | 77 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2581-9_0_6_line_16 |  | 13 | 78 | 0.04215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2581-9_0_6_line_17 |  | 14 | 25 | 0.035808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2581-9_0_6_line_18 |  | 15 | 34 | 0.008654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2581-9_0_6_line_19 |  | 15 | 35 | 0.007244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2581-9_0_6_line_20 |  | 16 | 17 | 0.015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2581-9_0_6_line_21 |  | 17 | 18 | 0.0051489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2581-9_0_6_line_22 |  | 18 | 19 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2581-9_0_6_line_23 |  | 19 | 20 | 0.0040238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2581-9_0_6_line_24 |  | 20 | 76 | 0.031339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2581-9_0_6_line_25 |  | 21 | 22 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2581-9_0_6_line_26 |  | 22 | 23 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2581-9_0_6_line_27 |  | 23 | 24 | 0.013837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2581-9_0_6_line_28 |  | 24 | 26 | 0.0076157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2581-9_0_6_line_29 |  | 25 | 36 | 0.02235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2581-9_0_6_line_30 |  | 26 | 36 | 0.031422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2581-9_0_6_line_31 |  | 27 | 28 | 0.051147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2581-9_0_6_line_32 |  | 27 | 29 | 0.0088114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2581-9_0_6_line_33 |  | 27 | 30 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2581-9_0_6_line_34 |  | 28 | 33 | 0.031784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2581-9_0_6_line_35 |  | 29 | 31 | 0.023639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2581-9_0_6_line_36 |  | 30 | 41 | 0.021648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2581-9_0_6_line_37 |  | 31 | 32 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2581-9_0_6_line_38 |  | 32 | 42 | 0.031336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2581-9_0_6_line_39 |  | 34 | 72 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2581-9_0_6_line_40 |  | 34 | 73 | 0.027933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2581-9_0_6_line_41 |  | 35 | 59 | 0.022692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2581-9_0_6_line_42 |  | 37 | 38 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2581-9_0_6_line_43 |  | 37 | 39 | 0.027637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2581-9_0_6_line_44 |  | 37 | 40 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2581-9_0_6_line_45 |  | 38 | 49 | 0.038137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2581-9_0_6_line_46 |  | 39 | 43 | 0.035076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2581-9_0_6_line_47 |  | 41 | 69 | 0.041628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2581-9_0_6_line_48 |  | 42 | 50 | 0.01815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2581-9_0_6_line_49 |  | 43 | 44 | 0.086694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2581-9_0_6_line_50 |  | 43 | 45 | 0.014989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2581-9_0_6_line_51 |  | 44 | 46 | 0.14366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2581-9_0_6_line_52 |  | 44 | 47 | 0.056673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2581-9_0_6_line_53 |  | 45 | 55 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2581-9_0_6_line_54 |  | 45 | 53 | 0.025579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2581-9_0_6_line_55 |  | 46 | 82 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2581-9_0_6_line_56 |  | 47 | 79 | 0.010283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2581-9_0_6_line_57 |  | 48 | 49 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2581-9_0_6_line_58 |  | 49 | 70 | 0.020196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2581-9_0_6_line_59 |  | 51 | 52 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2581-9_0_6_line_60 |  | 52 | 71 | 0.0062971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2581-9_0_6_line_61 |  | 53 | 54 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2581-9_0_6_line_62 |  | 54 | 56 | 0.04831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2581-9_0_6_line_63 |  | 54 | 57 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2581-9_0_6_line_64 |  | 55 | 58 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2581-9_0_6_line_65 |  | 56 | 59 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2581-9_0_6_line_66 |  | 57 | 60 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2581-9_0_6_line_67 |  | 58 | 61 | 0.021626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2581-9_0_6_line_68 |  | 60 | 62 | 0.0308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2581-9_0_6_line_69 |  | 62 | 75 | 0.024425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2581-9_0_6_line_70 |  | 63 | 64 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_2581-9_0_6_line_71 |  | 63 | 65 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_2581-9_0_6_line_72 |  | 64 | 66 | 0.036828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2581-9_0_6_line_73 |  | 65 | 67 | 0.0052569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2581-9_0_6_line_74 |  | 66 | 68 | 0.060072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2581-9_0_6_line_75 |  | 67 | 69 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2581-9_0_6_line_76 |  | 68 | 70 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_2581-9_0_6_line_77 |  | 68 | 71 | 0.043149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2581-9_0_6_line_78 |  | 73 | 83 | 0.00055068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2581-9_0_6_line_79 |  | 74 | 75 | 0.010012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2581-9_0_6_line_80 |  | 74 | 76 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2581-9_0_6_line_81 |  | 79 | 80 | 0.04321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2581-9_0_6_line_82 |  | 80 | 81 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2581-9_0_6_trafo_39 | 0.63 MVA 20/0.4 kV | 84 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2636628.1716 | 1244255.9354 | 2636614.1103 | 1244246.1173
1 | 2636628.1716 | 1244255.9354 | 2636634.3047 | 1244260.2177
2 | 2636614.1103 | 1244246.1173 | 2636612.9447 | 1244245.3035
3 | 2636635.1166 | 1244260.7954 | 2636634.6573 | 1244260.4639 | 2636634.3047 | 1244260.2177
4 | 2636612.9447 | 1244245.3035 | 2636612.5567 | 1244245.0326
5 | 2636612.5567 | 1244245.0326 | 2636599.2331 | 1244235.7297
6 | 2636591.251 | 1244230.1563 | 2636599.2331 | 1244235.7297
7 | 2636504.3113 | 1244230.2024 | 2636525.3047 | 1244222.0926
8 | 2636504.3113 | 1244230.2024 | 2636483.351 | 1244238.2993
9 | 2636525.3047 | 1244222.0926 | 2636540.2271 | 1244216.3281
10 | 2636468.4274 | 1244244.0643 | 2636483.351 | 1244238.2993
11 | 2636557.5808 | 1244200.4945 | 2636550.4359 | 1244204.8311 | 2636550.712 | 1244209.0689 | 2636550.7972 | 1244211.1931 | 2636550.3892 | 1244212.4024 | 2636540.2271 | 1244216.3281
12 | 2636548.704 | 1244191.5674 | 2636557.5808 | 1244200.4945
13 | 2636557.5808 | 1244200.4945 | 2636560.5998 | 1244203.5373 | 2636564.0783 | 1244189.6386 | 2636566.2752 | 1244181.369 | 2636573.8727 | 1244173.4995 | 2636576.307 | 1244168.4112 | 2636576.3514 | 1244163.664 | 2636574.4505 | 1244156.9924 | 2636574.2317 | 1244150.7981 | 2636584.0782 | 1244113.9682 | 2636584.7187 | 1244106.912
14 | 2636561.2155 | 1244213.9812 | 2636560.5998 | 1244203.5373 | 2636557.5808 | 1244200.4945
15 | 2636548.704 | 1244191.5674 | 2636559.0435 | 1244181.3911
16 | 2636541.6485 | 1244161.738 | 2636530.2443 | 1244173.0085 | 2636548.704 | 1244191.5674
17 | 2636584.7187 | 1244106.912 | 2636589.9832 | 1244101.1741 | 2636598.0965 | 1244081.9783 | 2636600.9302 | 1244075.38
18 | 2636569.6314 | 1244211.865 | 2636561.2155 | 1244213.9812
19 | 2636561.2155 | 1244213.9812 | 2636554.7994 | 1244217.344
20 | 2636636.5265 | 1244335.5034 | 2636622.1498 | 1244328.524
21 | 2636622.1498 | 1244328.524 | 2636617.5178 | 1244326.2754
22 | 2636617.5178 | 1244326.2754 | 2636601.3315 | 1244318.4175
23 | 2636597.7117 | 1244316.6602 | 2636601.3315 | 1244318.4175
24 | 2636597.7117 | 1244316.6602 | 2636569.5195 | 1244302.974
25 | 2636549.8823 | 1243998.691 | 2636559.7672 | 1244022.1701
26 | 2636570.0441 | 1244028.3485 | 2636559.7672 | 1244022.1701 | 2636559.7672 | 1244022.1701
27 | 2636573.0591 | 1244041.8536 | 2636570.0441 | 1244028.3485
28 | 2636573.0591 | 1244041.8536 | 2636579.0304 | 1244042.8466 | 2636580.5087 | 1244043.3523
29 | 2636609.75 | 1244054.8436 | 2636600.9302 | 1244075.38
30 | 2636609.75 | 1244054.8436 | 2636583.3663 | 1244044.3298 | 2636580.5087 | 1244043.3523
31 | 2636436.9954 | 1244080.8649 | 2636446.1942 | 1244070.6369 | 2636461.5151 | 1244067.5957 | 2636477.6181 | 1244059.0334 | 2636480.2941 | 1244061.3402
32 | 2636436.9954 | 1244080.8649 | 2636432.5522 | 1244082.0718 | 2636429.2568 | 1244079.4562
33 | 2636436.9954 | 1244080.8649 | 2636442.1769 | 1244086.1668 | 2636447.779 | 1244091.8938
34 | 2636480.2941 | 1244061.3402 | 2636485.8972 | 1244076.7402 | 2636496.9234 | 1244087.4855
35 | 2636410.7048 | 1244071.1641 | 2636412.9343 | 1244076.0476 | 2636422.7686 | 1244074.3067 | 2636429.2568 | 1244079.4562
36 | 2636447.779 | 1244091.8938 | 2636462.9126 | 1244107.3731
37 | 2636410.7048 | 1244071.1641 | 2636393.4222 | 1244076.8556
38 | 2636363.6585 | 1244086.6573 | 2636393.4222 | 1244076.8556
39 | 2636569.6314 | 1244211.865 | 2636579.7998 | 1244207.5215
40 | 2636569.6314 | 1244211.865 | 2636577.8657 | 1244220.8104 | 2636590.7995 | 1244229.8411
41 | 2636554.7994 | 1244217.344 | 2636545.9096 | 1244222.0033 | 2636534.4452 | 1244227.362
42 | 2636356.6042 | 1244296.1008 | 2636348.0601 | 1244284.6522 | 2636342.7526 | 1244278.8948
43 | 2636356.6042 | 1244296.1008 | 2636367.147 | 1244288.4381 | 2636375.4881 | 1244283.6972 | 2636379.9992 | 1244281.5189
44 | 2636356.6042 | 1244296.1008 | 2636357.9003 | 1244300.4004 | 2636359.5982 | 1244306.3746
45 | 2636316.0717 | 1244251.6462 | 2636341.154 | 1244277.1606 | 2636342.7526 | 1244278.8948
46 | 2636412.6504 | 1244268.9154 | 2636399.6752 | 1244272.7605 | 2636386.5835 | 1244278.3395 | 2636379.9992 | 1244281.5189
47 | 2636462.9126 | 1244107.3731 | 2636473.4013 | 1244118.1014 | 2636475.697 | 1244120.8061 | 2636476.2984 | 1244125.0014 | 2636476.0005 | 1244129.2023 | 2636473.4035 | 1244132.4996 | 2636465.9502 | 1244139.7955
48 | 2636363.6585 | 1244086.6573 | 2636348.1606 | 1244091.761 | 2636346.4069 | 1244092.2967
49 | 2636412.6504 | 1244268.9154 | 2636397.1523 | 1244299.707 | 2636402.4488 | 1244304.7316 | 2636411.6403 | 1244304.2543 | 2636420.8983 | 1244312.6276 | 2636441.4531 | 1244323.4607
50 | 2636412.6504 | 1244268.9154 | 2636426.6185 | 1244263.3752
51 | 2636441.4531 | 1244323.4607 | 2636490.569 | 1244349.3346 | 2636469.4462 | 1244386.7069 | 2636492.9216 | 1244396.8577 | 2636490.4792 | 1244405.7484 | 2636496.9348 | 1244413.9268
52 | 2636441.4531 | 1244323.4607 | 2636448.4711 | 1244316.3881 | 2636460.1567 | 1244310.9007 | 2636473.8437 | 1244309.2725 | 2636493.7475 | 1244311.3886
53 | 2636426.6185 | 1244263.3752 | 2636426.1666 | 1244252.054
54 | 2636426.6185 | 1244263.3752 | 2636451.2513 | 1244256.481
55 | 2636496.9348 | 1244413.9268 | 2636510.935 | 1244420.169
56 | 2636493.7475 | 1244311.3886 | 2636497.0417 | 1244311.7389 | 2636503.4052 | 1244314.5845
57 | 2636316.0717 | 1244251.6462 | 2636315.201 | 1244250.6958 | 2636301.3086 | 1244235.9233
58 | 2636316.0717 | 1244251.6462 | 2636330.5555 | 1244237.5708
59 | 2636305.3629 | 1244175.8613 | 2636314.0076 | 1244184.7044
60 | 2636314.0076 | 1244184.7044 | 2636318.4096 | 1244189.2074
61 | 2636471.9443 | 1244250.6895 | 2636451.2513 | 1244256.481
62 | 2636471.9443 | 1244250.6895 | 2636489.2647 | 1244244.3807 | 2636517.4521 | 1244234.4763
63 | 2636471.9443 | 1244250.6895 | 2636483.7952 | 1244261.3581
64 | 2636433.8636 | 1244242.0913 | 2636430.2664 | 1244245.208 | 2636426.1666 | 1244252.054 | 2636426.1666 | 1244252.054
65 | 2636517.4521 | 1244234.4763 | 2636524.5919 | 1244231.9676 | 2636534.4452 | 1244227.362
66 | 2636483.7952 | 1244261.3581 | 2636494.7279 | 1244266.6655
67 | 2636450.2082 | 1244227.9302 | 2636433.8636 | 1244242.0913
68 | 2636522.4351 | 1244280.1163 | 2636494.7279 | 1244266.6655
69 | 2636522.4351 | 1244280.1163 | 2636544.4075 | 1244290.7831
70 | 2636423.0903 | 1244181.7504 | 2636437.6205 | 1244167.527
71 | 2636448.0964 | 1244157.2723 | 2636437.6205 | 1244167.527
72 | 2636396.7742 | 1244207.5136 | 2636408.2979 | 1244196.2304 | 2636423.0903 | 1244181.7504
73 | 2636448.0964 | 1244157.2723 | 2636451.8531 | 1244153.5949
74 | 2636348.5765 | 1244220.0579 | 2636353.8031 | 1244225.4045 | 2636358.3041 | 1244228.3006 | 2636363.1978 | 1244229.9983 | 2636366.4018 | 1244229.9957 | 2636370.4016 | 1244229.5977 | 2636372.3001 | 1244229.298 | 2636377.897 | 1244225.9968 | 2636396.7742 | 1244207.5136
75 | 2636465.9502 | 1244139.7955 | 2636451.8531 | 1244153.5949
76 | 2636348.5765 | 1244220.0579 | 2636330.5555 | 1244237.5708
77 | 2636348.5765 | 1244220.0579 | 2636327.8803 | 1244198.8953 | 2636318.4096 | 1244189.2074
78 | 2636591.251 | 1244230.1563 | 2636590.7995 | 1244229.8411
79 | 2636544.4075 | 1244290.7831 | 2636553.4143 | 1244295.1555
80 | 2636569.5195 | 1244302.974 | 2636553.4143 | 1244295.1555
81 | 2636542.8504 | 1244332.2241 | 2636503.4052 | 1244314.5845
82 | 2636567.6437 | 1244343.3114 | 2636542.8504 | 1244332.2241

## bus_geodata
| x | y | coords
0 | 2636628.1716 | 1244255.9354
1 | 2636614.1103 | 1244246.1173
2 | 2636634.3047 | 1244260.2177
3 | 2636612.9447 | 1244245.3035
4 | 2636635.1166 | 1244260.7954
5 | 2636612.5567 | 1244245.0326
6 | 2636599.2331 | 1244235.7297
7 | 2636504.3113 | 1244230.2024
8 | 2636525.3047 | 1244222.0926
9 | 2636483.351 | 1244238.2993
10 | 2636540.2271 | 1244216.3281
11 | 2636468.4274 | 1244244.0643
12 | 2636557.5808 | 1244200.4945
13 | 2636548.704 | 1244191.5674
14 | 2636584.7187 | 1244106.912
15 | 2636561.2155 | 1244213.9812
16 | 2636636.5265 | 1244335.5034
17 | 2636622.1498 | 1244328.524
18 | 2636617.5178 | 1244326.2754
19 | 2636601.3315 | 1244318.4175
20 | 2636597.7117 | 1244316.6602
21 | 2636549.8823 | 1243998.691
22 | 2636559.7672 | 1244022.1701
23 | 2636570.0441 | 1244028.3485
24 | 2636573.0591 | 1244041.8536
25 | 2636600.9302 | 1244075.38
26 | 2636580.5087 | 1244043.3523
27 | 2636436.9954 | 1244080.8649
28 | 2636480.2941 | 1244061.3402
29 | 2636429.2568 | 1244079.4562
30 | 2636447.779 | 1244091.8938
31 | 2636410.7048 | 1244071.1641
32 | 2636393.4222 | 1244076.8556
33 | 2636496.9234 | 1244087.4855
34 | 2636569.6314 | 1244211.865
35 | 2636554.7994 | 1244217.344
36 | 2636609.75 | 1244054.8436
37 | 2636356.6042 | 1244296.1008
38 | 2636342.7526 | 1244278.8948
39 | 2636379.9992 | 1244281.5189
40 | 2636359.5982 | 1244306.3746
41 | 2636462.9126 | 1244107.3731
42 | 2636363.6585 | 1244086.6573
43 | 2636412.6504 | 1244268.9154
44 | 2636441.4531 | 1244323.4607
45 | 2636426.6185 | 1244263.3752
46 | 2636496.9348 | 1244413.9268
47 | 2636493.7475 | 1244311.3886
48 | 2636301.3086 | 1244235.9233
49 | 2636316.0717 | 1244251.6462
50 | 2636346.4069 | 1244092.2967
51 | 2636305.3629 | 1244175.8613
52 | 2636314.0076 | 1244184.7044
53 | 2636451.2513 | 1244256.481
54 | 2636471.9443 | 1244250.6895
55 | 2636426.1666 | 1244252.054
56 | 2636517.4521 | 1244234.4763
57 | 2636483.7952 | 1244261.3581
58 | 2636433.8636 | 1244242.0913
59 | 2636534.4452 | 1244227.362
60 | 2636494.7279 | 1244266.6655
61 | 2636450.2082 | 1244227.9302
62 | 2636522.4351 | 1244280.1163
63 | 2636437.6205 | 1244167.527
64 | 2636423.0903 | 1244181.7504
65 | 2636448.0964 | 1244157.2723
66 | 2636396.7742 | 1244207.5136
67 | 2636451.8531 | 1244153.5949
68 | 2636348.5765 | 1244220.0579
69 | 2636465.9502 | 1244139.7955
70 | 2636330.5555 | 1244237.5708
71 | 2636318.4096 | 1244189.2074
72 | 2636579.7998 | 1244207.5215
73 | 2636590.7995 | 1244229.8411
74 | 2636553.4143 | 1244295.1555
75 | 2636544.4075 | 1244290.7831
76 | 2636569.5195 | 1244302.974
77 | 2636559.0435 | 1244181.3911
78 | 2636541.6485 | 1244161.738
79 | 2636503.4052 | 1244314.5845
80 | 2636542.8504 | 1244332.2241
81 | 2636567.6437 | 1244343.3114
82 | 2636510.935 | 1244420.169
83 | 2636591.251 | 1244230.1563
84 | 2636447.779 | 1244091.8938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97411 | -0.49874 | 0.0020064 | 0.00050285
1 | 0.97422 | -0.49652 | 0.0020231 | 0.00050704
2 | 0.97407 | -0.49944 | 0.0025213 | 0.00063189
3 | 0.97423 | -0.49628 | 0.0025338 | 0.00063504
4 | 0.97407 | -0.49948 | 0.0025249 | 0.00063279
5 | 0.97424 | -0.49618 | 0.0025222 | 0.00063212
6 | 0.97445 | -0.49197 | 0.0025769 | 0.00064582
7 | 0.97315 | -0.51767 | 0.0068903 | 0.0017269
8 | 0.97365 | -0.50767 | 0.0068604 | 0.0017194
9 | 0.97278 | -0.52482 | 0.008632 | 0.0021634
10 | 0.97412 | -0.49855 | 0.006859 | 0.001719
11 | 0.97266 | -0.52737 | 0.0086403 | 0.0021655
12 | 0.97507 | -0.47985 | 0 | 0
13 | 0.97473 | -0.48652 | 0 | 0
14 | 0.97409 | -0.49902 | 0 | 0
15 | 0.9754 | -0.47335 | 0 | 0
16 | 0.97517 | -0.47801 | 0.0017389 | 0.00043581
17 | 0.97519 | -0.4775 | 0.0017718 | 0.00044404
18 | 0.97521 | -0.47717 | 0.0019259 | 0.00048268
19 | 0.9753 | -0.47538 | 0.0019134 | 0.00047954
20 | 0.97533 | -0.47484 | 0.0017807 | 0.00044628
21 | 0.97124 | -0.55523 | 0.0085403 | 0.0021404
22 | 0.97145 | -0.55121 | 0.0054977 | 0.0013778
23 | 0.9716 | -0.5481 | 0 | 0
24 | 0.97179 | -0.54451 | 0 | 0
25 | 0.97311 | -0.51832 | 0.0048895 | 0.0012254
26 | 0.97189 | -0.54254 | 0.010394 | 0.0026049
27 | 0.98933 | -0.20473 | 0 | 0
28 | 0.98763 | -0.23777 | 0 | 0
29 | 0.98892 | -0.21273 | 0.0069662 | 0.0017459
30 | 0.99056 | -0.18086 | 0 | 0
31 | 0.98796 | -0.23127 | 0 | 0
32 | 0.98723 | -0.24557 | 0.017121 | 0.004291
33 | 0.98657 | -0.25835 | 0.036206 | 0.009074
34 | 0.97519 | -0.47742 | 0 | 0
35 | 0.9756 | -0.46931 | 0.0041788 | 0.0010473
36 | 0.9726 | -0.52838 | 0 | 0
37 | 0.98446 | -0.29643 | 0 | 0
38 | 0.98575 | -0.27153 | 0.011532 | 0.0028903
39 | 0.9829 | -0.32672 | 0.0082986 | 0.0020798
40 | 0.98439 | -0.29787 | 0.0074501 | 0.0018672
41 | 0.9923 | -0.14741 | 0.015313 | 0.0038378
42 | 0.98645 | -0.26063 | 0.013507 | 0.0033852
43 | 0.98099 | -0.36397 | 0 | 0
44 | 0.97912 | -0.40055 | 0 | 0
45 | 0.98025 | -0.37836 | 0 | 0
46 | 0.9781 | -0.42055 | 0 | 0
47 | 0.9783 | -0.41664 | 0.0067108 | 0.0016819
48 | 0.9879 | -0.23015 | 0.0087642 | 0.0021965
49 | 0.98808 | -0.22677 | 0 | 0
50 | 0.98623 | -0.26497 | 0.01334 | 0.0033434
51 | 0.98968 | -0.19633 | 0.010664 | 0.0026726
52 | 0.9898 | -0.19398 | 0.0055206 | 0.0013836
53 | 0.97917 | -0.3993 | 0.0081523 | 0.0020431
54 | 0.97831 | -0.41613 | 0 | 0
55 | 0.97992 | -0.38482 | 0.010459 | 0.0026213
56 | 0.97682 | -0.44529 | 0.0026251 | 0.0006579
57 | 0.97772 | -0.4277 | 0.0066865 | 0.0016758
58 | 0.97967 | -0.38967 | 0.010564 | 0.0026477
59 | 0.97627 | -0.45622 | 0.0037064 | 0.00092892
60 | 0.97735 | -0.43505 | 0.004873 | 0.0012213
61 | 0.97946 | -0.39376 | 0.010404 | 0.0026075
62 | 0.97654 | -0.45094 | 0.0058644 | 0.0014698
63 | 1 | 0 | -0.50923 | -0.13017
64 | 0.99835 | -0.031142 | 0.01574 | 0.0039448
65 | 0.999 | -0.019065 | 0.015609 | 0.003912
66 | 0.99549 | -0.08526 | 0.012637 | 0.0031672
67 | 0.99836 | -0.031327 | 0.015223 | 0.0038153
68 | 0.991 | -0.17084 | 0.012382 | 0.0031032
69 | 0.99622 | -0.072205 | 0.015785 | 0.0039562
70 | 0.98935 | -0.20236 | 0.011206 | 0.0028085
71 | 0.9899 | -0.19217 | 0.01164 | 0.0029172
72 | 0.97515 | -0.47813 | 0.003496 | 0.00087618
73 | 0.97461 | -0.48879 | 0.0027454 | 0.00068806
74 | 0.97584 | -0.46473 | 0.0057724 | 0.0014467
75 | 0.97603 | -0.46095 | 0.0017681 | 0.00044314
76 | 0.97559 | -0.4696 | 0.005722 | 0.0014341
77 | 0.97453 | -0.49037 | 0.014477 | 0.0036282
78 | 0.97416 | -0.49771 | 0.014467 | 0.0036259
79 | 0.97821 | -0.41831 | 0.005346 | 0.0013398
80 | 0.97807 | -0.42109 | 0.0017716 | 0.000444
81 | 0.97803 | -0.42197 | 0.0017693 | 0.00044344
82 | 0.97799 | -0.42268 | 0.0076438 | 0.0019157
83 | 0.9746 | -0.48898 | 0.0027275 | 0.00068359
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0070527 | -0.0017675 | 0.0070535 | 0.0017678 | 7.4645e-07 | 2.6421e-07 | 0.010774 | 0.010773 | 0.010774 | 0.97411 | -0.49874 | 0.97422 | -0.49652 | 2.9598
1 | 0.0050463 | 0.0012647 | -0.0050462 | -0.0012647 | 1.6668e-07 | 1.3563e-08 | 0.0077086 | 0.0077086 | 0.0077086 | 0.97411 | -0.49874 | 0.97407 | -0.49944 | 2.1178
2 | -0.0090766 | -0.0022749 | 0.0090767 | 0.0022749 | 1.0246e-07 | 4.7873e-08 | 0.013864 | 0.013864 | 0.013864 | 0.97422 | -0.49652 | 0.97423 | -0.49628 | 3.8087
3 | 0.0025249 | 0.00063278 | -0.0025249 | -0.00063279 | 5.5589e-09 | -8.8457e-09 | 0.0038571 | 0.0038571 | 0.0038571 | 0.97407 | -0.49944 | 0.97407 | -0.49948 | 1.0596
4 | -0.011611 | -0.0029099 | 0.011611 | 0.00291 | 5.5811e-08 | 2.9826e-08 | 0.017734 | 0.017734 | 0.017734 | 0.97423 | -0.49628 | 0.97424 | -0.49618 | 4.8719
5 | -0.014133 | -0.0035421 | 0.014136 | 0.0035437 | 2.8394e-06 | 1.6148e-06 | 0.021586 | 0.021586 | 0.021586 | 0.97424 | -0.49618 | 0.97445 | -0.49197 | 5.9302
6 | -0.016713 | -0.0041895 | 0.016715 | 0.0041909 | 2.3778e-06 | 1.4005e-06 | 0.025521 | 0.025521 | 0.025521 | 0.97445 | -0.49197 | 0.9746 | -0.48898 | 7.0112
7 | -0.02417 | -0.0060597 | 0.024181 | 0.0060668 | 1.1527e-05 | 7.0978e-06 | 0.036958 | 0.036958 | 0.036958 | 0.97315 | -0.51767 | 0.97365 | -0.50767 | 10.1533
8 | 0.017279 | 0.0043328 | -0.017273 | -0.0043293 | 5.8825e-06 | 3.4858e-06 | 0.026422 | 0.026422 | 0.026422 | 0.97315 | -0.51767 | 0.97278 | -0.52482 | 7.2588
9 | -0.031041 | -0.0077862 | 0.031055 | 0.0077946 | 1.3502e-05 | 8.4424e-06 | 0.047442 | 0.047442 | 0.047442 | 0.97365 | -0.50767 | 0.97412 | -0.49855 | 13.0336
10 | 0.0086413 | 0.0021659 | -0.0086403 | -0.0021655 | 1.0482e-06 | 4.7228e-07 | 0.013218 | 0.013218 | 0.013218 | 0.97278 | -0.52482 | 0.97266 | -0.52737 | 3.6314
11 | -0.037914 | -0.0095136 | 0.037948 | 0.009535 | 3.3842e-05 | 2.1324e-05 | 0.05792 | 0.05792 | 0.05792 | 0.97412 | -0.49855 | 0.97507 | -0.47985 | 15.912
12 | 0.028964 | 0.0072657 | -0.028954 | -0.00726 | 9.2109e-06 | 5.7383e-06 | 0.044203 | 0.044203 | 0.044203 | 0.97507 | -0.47985 | 0.97473 | -0.48652 | 12.1437
13 | 0.029411 | 0.0074001 | -0.029384 | -0.0073869 | 2.6917e-05 | 1.3233e-05 | 0.044894 | 0.044895 | 0.044895 | 0.97507 | -0.47985 | 0.97409 | -0.49902 | 4.1113
14 | -0.096322 | -0.024201 | 0.096352 | 0.024219 | 2.9884e-05 | 1.839e-05 | 0.14702 | 0.14702 | 0.14702 | 0.97507 | -0.47985 | 0.9754 | -0.47335 | 10.0973
15 | 0.014479 | 0.0036297 | -0.014477 | -0.0036282 | 2.6544e-06 | 1.5183e-06 | 0.022105 | 0.022105 | 0.022105 | 0.97473 | -0.48652 | 0.97453 | -0.49037 | 6.0727
16 | 0.014475 | 0.0036303 | -0.014467 | -0.0036259 | 7.7189e-06 | 4.4151e-06 | 0.022098 | 0.022099 | 0.022099 | 0.97473 | -0.48652 | 0.97416 | -0.49771 | 6.0711
17 | 0.029384 | 0.0073869 | -0.029357 | -0.00737 | 2.7065e-05 | 1.6876e-05 | 0.044895 | 0.044895 | 0.044895 | 0.97409 | -0.49902 | 0.97311 | -0.51832 | 12.3338
18 | 0.025701 | 0.0064492 | -0.025696 | -0.0064461 | 4.9896e-06 | 3.0854e-06 | 0.039211 | 0.039211 | 0.039211 | 0.9754 | -0.47335 | 0.97519 | -0.47742 | 10.7723
19 | -0.12205 | -0.030668 | 0.12208 | 0.030683 | 2.3552e-05 | 1.4712e-05 | 0.18623 | 0.18623 | 0.18623 | 0.9754 | -0.47335 | 0.9756 | -0.46931 | 12.7903
20 | -0.0017389 | -0.00043581 | 0.001739 | 0.00043564 | 4.2193e-08 | -1.7238e-07 | 0.0026534 | 0.0026533 | 0.0026534 | 0.97517 | -0.47801 | 0.97519 | -0.4775 | 0.72896
21 | -0.0035107 | -0.00087968 | 0.0035108 | 0.00087966 | 5.5407e-08 | -2.8781e-08 | 0.0053568 | 0.0053568 | 0.0053568 | 0.97519 | -0.4775 | 0.97521 | -0.47717 | 1.4717
22 | -0.0054367 | -0.0013623 | 0.0054372 | 0.0013624 | 4.6431e-07 | 7.2644e-08 | 0.0082955 | 0.0082954 | 0.0082955 | 0.97521 | -0.47717 | 0.9753 | -0.47538 | 2.279
23 | -0.0073506 | -0.001842 | 0.0073508 | 0.001842 | 1.8978e-07 | 7.1242e-08 | 0.011215 | 0.011215 | 0.011215 | 0.9753 | -0.47538 | 0.97533 | -0.47484 | 3.081
24 | -0.0091314 | -0.0022883 | 0.0091337 | 0.0022894 | 2.2808e-06 | 1.0685e-06 | 0.013931 | 0.013931 | 0.013931 | 0.97533 | -0.47484 | 0.97559 | -0.4696 | 3.8273
25 | -0.0085403 | -0.0021404 | 0.0085419 | 0.0021411 | 1.6355e-06 | 7.3137e-07 | 0.013084 | 0.013084 | 0.013084 | 0.97124 | -0.55523 | 0.97145 | -0.55121 | 3.5946
26 | -0.01404 | -0.003519 | 0.014042 | 0.0035201 | 2.0796e-06 | 1.1825e-06 | 0.021505 | 0.021505 | 0.021505 | 0.97145 | -0.55121 | 0.9716 | -0.5481 | 5.908
27 | -0.014042 | -0.0035201 | 0.014044 | 0.0035215 | 2.3997e-06 | 1.3644e-06 | 0.021505 | 0.021505 | 0.021505 | 0.9716 | -0.5481 | 0.97179 | -0.54451 | 5.908
28 | -0.014044 | -0.0035215 | 0.014045 | 0.0035223 | 1.3208e-06 | 7.5092e-07 | 0.021505 | 0.021505 | 0.021505 | 0.97179 | -0.54451 | 0.97189 | -0.54254 | 5.908
29 | 0.024467 | 0.0061446 | -0.024456 | -0.0061374 | 1.1735e-05 | 7.2329e-06 | 0.037418 | 0.037419 | 0.037419 | 0.97311 | -0.51832 | 0.9726 | -0.52838 | 10.2798
30 | -0.024439 | -0.0061272 | 0.024456 | 0.0061374 | 1.6498e-05 | 1.0169e-05 | 0.037419 | 0.037419 | 0.037419 | 0.97189 | -0.54254 | 0.9726 | -0.52838 | 10.2799
31 | 0.036298 | 0.0091322 | -0.036241 | -0.0090963 | 5.7194e-05 | 3.5949e-05 | 0.054607 | 0.054608 | 0.054608 | 0.98933 | -0.20473 | 0.98763 | -0.23777 | 15.0021
32 | 0.051045 | 0.012835 | -0.051026 | -0.012823 | 1.9485e-05 | 1.2357e-05 | 0.07679 | 0.07679 | 0.07679 | 0.98933 | -0.20473 | 0.98892 | -0.21273 | 21.0963
33 | -0.087344 | -0.021967 | 0.087443 | 0.022031 | 9.9727e-05 | 6.3627e-05 | 0.1314 | 0.1314 | 0.1314 | 0.98933 | -0.20473 | 0.99056 | -0.18086 | 36.0983
34 | 0.036241 | 0.0090963 | -0.036206 | -0.009074 | 3.5542e-05 | 2.2341e-05 | 0.054608 | 0.054608 | 0.054608 | 0.98763 | -0.23777 | 0.98657 | -0.25835 | 15.0021
35 | 0.04406 | 0.011077 | -0.044021 | -0.011052 | 3.8976e-05 | 2.4642e-05 | 0.066308 | 0.066309 | 0.066309 | 0.98892 | -0.21273 | 0.98796 | -0.23127 | 18.2166
36 | -0.087443 | -0.022031 | 0.087584 | 0.02212 | 0.00014016 | 8.9423e-05 | 0.1314 | 0.1314 | 0.1314 | 0.99056 | -0.18086 | 0.9923 | -0.14741 | 36.0983
37 | 0.044021 | 0.011052 | -0.043991 | -0.011033 | 3.0001e-05 | 1.8968e-05 | 0.066309 | 0.066309 | 0.066309 | 0.98796 | -0.23127 | 0.98723 | -0.24557 | 18.2167
38 | 0.02687 | 0.0067421 | -0.02685 | -0.0067302 | 1.9277e-05 | 1.1937e-05 | 0.040502 | 0.040503 | 0.040503 | 0.98723 | -0.24557 | 0.98645 | -0.26063 | 11.1271
39 | 0.0034961 | 0.00087611 | -0.003496 | -0.00087618 | 1.18e-07 | -6.2429e-08 | 0.0053346 | 0.0053346 | 0.0053346 | 0.97519 | -0.47742 | 0.97515 | -0.47813 | 1.4656
40 | 0.0222 | 0.00557 | -0.022188 | -0.0055627 | 1.2021e-05 | 7.3453e-06 | 0.033877 | 0.033877 | 0.033877 | 0.97519 | -0.47742 | 0.97461 | -0.48879 | 9.3068
41 | -0.12626 | -0.03173 | 0.12633 | 0.03178 | 7.8914e-05 | 4.9371e-05 | 0.1926 | 0.1926 | 0.1926 | 0.9756 | -0.46931 | 0.97627 | -0.45622 | 13.2281
42 | -0.25271 | -0.064079 | 0.25301 | 0.064272 | 0.00030293 | 0.00019275 | 0.38223 | 0.38223 | 0.38223 | 0.98446 | -0.29643 | 0.98575 | -0.27153 | 26.2524
43 | 0.24526 | 0.062211 | -0.2449 | -0.061985 | 0.00035657 | 0.0002268 | 0.37097 | 0.37097 | 0.37097 | 0.98446 | -0.29643 | 0.9829 | -0.32672 | 25.4789
44 | 0.0074506 | 0.0018674 | -0.0074501 | -0.0018672 | 5.0895e-07 | 1.8967e-07 | 0.011262 | 0.011262 | 0.011262 | 0.98446 | -0.29643 | 0.98439 | -0.29787 | 3.0939
45 | -0.26454 | -0.067162 | 0.26511 | 0.067525 | 0.00057103 | 0.00036351 | 0.39964 | 0.39964 | 0.39964 | 0.98575 | -0.27153 | 0.98808 | -0.22677 | 27.448
46 | 0.2366 | 0.059905 | -0.23618 | -0.059636 | 0.00042241 | 0.00026857 | 0.35841 | 0.35841 | 0.35841 | 0.9829 | -0.32672 | 0.98099 | -0.36397 | 24.6161
47 | -0.1029 | -0.025958 | 0.10327 | 0.026196 | 0.00037195 | 0.00023751 | 0.15436 | 0.15436 | 0.15436 | 0.9923 | -0.14741 | 0.99622 | -0.072205 | 42.4068
48 | 0.013343 | 0.0033449 | -0.01334 | -0.0033434 | 2.7574e-06 | 1.5331e-06 | 0.020128 | 0.020128 | 0.020128 | 0.98645 | -0.26063 | 0.98623 | -0.26497 | 5.5296
49 | 0.023303 | 0.0058597 | -0.023263 | -0.0058347 | 4.0637e-05 | 2.4915e-05 | 0.035355 | 0.035355 | 0.035355 | 0.98099 | -0.36397 | 0.97912 | -0.40055 | 9.713
50 | 0.21288 | 0.053777 | -0.21273 | -0.053683 | 0.00014666 | 9.3103e-05 | 0.32306 | 0.32306 | 0.32306 | 0.98099 | -0.36397 | 0.98025 | -0.37836 | 22.1879
51 | 0.0076519 | 0.0019189 | -0.0076446 | -0.001916 | 7.2861e-06 | 2.8582e-06 | 0.011629 | 0.01163 | 0.01163 | 0.97912 | -0.40055 | 0.9781 | -0.42055 | 3.1951
52 | 0.015611 | 0.0039159 | -0.015599 | -0.0039089 | 1.1963e-05 | 6.9444e-06 | 0.023726 | 0.023726 | 0.023726 | 0.97912 | -0.40055 | 0.9783 | -0.41664 | 6.5182
53 | 0.031444 | 0.0078865 | -0.031434 | -0.0078804 | 9.6811e-06 | 6.0531e-06 | 0.047734 | 0.047734 | 0.047734 | 0.98025 | -0.37836 | 0.97992 | -0.38482 | 13.1137
54 | 0.18129 | 0.045797 | -0.1811 | -0.045682 | 0.00018178 | 0.00011505 | 0.27532 | 0.27532 | 0.27532 | 0.98025 | -0.37836 | 0.97917 | -0.3993 | 18.9095
55 | 0.0076446 | 0.001916 | -0.0076438 | -0.0019157 | 7.775e-07 | 3.0523e-07 | 0.01163 | 0.01163 | 0.01163 | 0.9781 | -0.42055 | 0.97799 | -0.42268 | 3.1951
56 | 0.0088881 | 0.002227 | -0.0088874 | -0.0022267 | 7.0478e-07 | 3.2195e-07 | 0.013519 | 0.013519 | 0.013519 | 0.9783 | -0.41664 | 0.97821 | -0.41831 | 3.714
57 | -0.0087642 | -0.0021965 | 0.0087656 | 0.0021971 | 1.4094e-06 | 6.2583e-07 | 0.013201 | 0.013201 | 0.013201 | 0.9879 | -0.23015 | 0.98808 | -0.22677 | 3.6266
58 | -0.27388 | -0.069723 | 0.2742 | 0.069928 | 0.00032271 | 0.0002055 | 0.41284 | 0.41284 | 0.41284 | 0.98808 | -0.22677 | 0.98935 | -0.20236 | 28.3546
59 | -0.010664 | -0.0026726 | 0.010665 | 0.0026732 | 1.1922e-06 | 6.0406e-07 | 0.016034 | 0.016034 | 0.016034 | 0.98968 | -0.19633 | 0.9898 | -0.19398 | 4.4048
60 | -0.016186 | -0.0040568 | 0.016187 | 0.0040577 | 1.3982e-06 | 8.1389e-07 | 0.024333 | 0.024333 | 0.024333 | 0.9898 | -0.19398 | 0.9899 | -0.19217 | 6.6849
61 | 0.17295 | 0.043639 | -0.17281 | -0.043551 | 0.00013927 | 8.8054e-05 | 0.26293 | 0.26293 | 0.26293 | 0.97917 | -0.3993 | 0.97831 | -0.41613 | 18.0587
62 | 0.13292 | 0.033525 | -0.13273 | -0.033409 | 0.00018526 | 0.00011614 | 0.20225 | 0.20225 | 0.20225 | 0.97831 | -0.41613 | 0.97682 | -0.44529 | 13.8907
63 | 0.039893 | 0.010025 | -0.039871 | -0.010012 | 2.2023e-05 | 1.3894e-05 | 0.060687 | 0.060687 | 0.060687 | 0.97831 | -0.41613 | 0.97772 | -0.4277 | 16.6723
64 | 0.020975 | 0.0052591 | -0.02097 | -0.0052562 | 4.8467e-06 | 2.9415e-06 | 0.031852 | 0.031852 | 0.031852 | 0.97992 | -0.38482 | 0.97967 | -0.38967 | 8.7506
65 | 0.13011 | 0.032751 | -0.13004 | -0.032709 | 6.796e-05 | 4.2572e-05 | 0.19825 | 0.19825 | 0.19825 | 0.97682 | -0.44529 | 0.97627 | -0.45622 | 13.616
66 | 0.033184 | 0.0083357 | -0.033173 | -0.0083284 | 1.1627e-05 | 7.2891e-06 | 0.050511 | 0.050511 | 0.050511 | 0.97772 | -0.4277 | 0.97735 | -0.43505 | 13.8766
67 | 0.010406 | 0.0026085 | -0.010404 | -0.0026075 | 2.026e-06 | 1.0244e-06 | 0.015806 | 0.015806 | 0.015806 | 0.97967 | -0.38967 | 0.97946 | -0.39376 | 4.3423
68 | 0.0283 | 0.0071071 | -0.028278 | -0.0070938 | 2.1447e-05 | 1.334e-05 | 0.043092 | 0.043092 | 0.043092 | 0.97735 | -0.43505 | 0.97654 | -0.45094 | 11.8385
69 | 0.022414 | 0.005624 | -0.022403 | -0.0056175 | 1.0686e-05 | 6.5333e-06 | 0.034156 | 0.034156 | 0.034156 | 0.97654 | -0.45094 | 0.97603 | -0.46095 | 9.3836
70 | 0.35725 | 0.091999 | -0.35671 | -0.091655 | 0.00054045 | 0.00034482 | 0.53246 | 0.53246 | 0.53246 | 1 | 0 | 0.99835 | -0.031142 | 36.5703
71 | 0.15034 | 0.038167 | -0.1502 | -0.03808 | 0.00013777 | 8.7787e-05 | 0.22388 | 0.22388 | 0.22388 | 1 | 0 | 0.999 | -0.019065 | 30.7525
72 | 0.34097 | 0.08771 | -0.34007 | -0.087139 | 0.00089452 | 0.00057057 | 0.509 | 0.50901 | 0.50901 | 0.99835 | -0.031142 | 0.99549 | -0.08526 | 34.9592
73 | 0.13459 | 0.034167 | -0.13451 | -0.034117 | 7.935e-05 | 5.0715e-05 | 0.20063 | 0.20063 | 0.20063 | 0.999 | -0.019065 | 0.99836 | -0.031327 | 55.1177
74 | 0.32743 | 0.083972 | -0.32608 | -0.083109 | 0.0013528 | 0.00086269 | 0.49012 | 0.49012 | 0.49012 | 0.99549 | -0.08526 | 0.991 | -0.17084 | 33.6619
75 | 0.11929 | 0.030301 | -0.11905 | -0.030152 | 0.00023422 | 0.00014965 | 0.17794 | 0.17794 | 0.17794 | 0.99836 | -0.031327 | 0.99622 | -0.072205 | 48.8842
76 | 0.28584 | 0.073014 | -0.28541 | -0.072737 | 0.00043498 | 0.00027709 | 0.4297 | 0.4297 | 0.4297 | 0.991 | -0.17084 | 0.98935 | -0.20236 | 29.5121
77 | 0.027855 | 0.0069924 | -0.027827 | -0.0069748 | 2.8312e-05 | 1.7564e-05 | 0.04183 | 0.04183 | 0.04183 | 0.991 | -0.17084 | 0.9899 | -0.19217 | 11.4917
78 | 0.019443 | 0.0048746 | -0.019442 | -0.0048745 | 1.8197e-07 | 1.096e-07 | 0.029685 | 0.029685 | 0.029685 | 0.97461 | -0.48879 | 0.9746 | -0.48898 | 8.1553
79 | -0.020632 | -0.0051721 | 0.020635 | 0.0051744 | 3.7161e-06 | 2.2532e-06 | 0.031461 | 0.031461 | 0.031461 | 0.97584 | -0.46473 | 0.97603 | -0.46095 | 8.643
80 | 0.014859 | 0.0037254 | -0.014856 | -0.0037234 | 3.4468e-06 | 1.9823e-06 | 0.022659 | 0.022659 | 0.022659 | 0.97584 | -0.46473 | 0.97559 | -0.4696 | 6.2249
81 | 0.0035415 | 0.0008869 | -0.003541 | -0.00088715 | 4.7022e-07 | -2.4143e-07 | 0.0053869 | 0.0053871 | 0.0053871 | 0.97821 | -0.41831 | 0.97807 | -0.42109 | 1.48
82 | 0.0017694 | 0.00044314 | -0.0017693 | -0.00044344 | 7.3802e-08 | -2.9361e-07 | 0.0026918 | 0.0026919 | 0.0026919 | 0.97807 | -0.42109 | 0.97803 | -0.42197 | 0.73955

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52471 | 0.13405

## res_load
| p_mw | q_mvar
0 | 0.0020064 | 0.00050285
1 | 0.0020231 | 0.00050704
2 | 0.0025213 | 0.00063189
3 | 0.0025338 | 0.00063504
4 | 0.0025249 | 0.00063279
5 | 0.0025222 | 0.00063212
6 | 0.0025769 | 0.00064582
7 | 0.0068903 | 0.0017269
8 | 0.0068604 | 0.0017194
9 | 0.008632 | 0.0021634
10 | 0.006859 | 0.001719
11 | 0.0086403 | 0.0021655
12 | 0.0017389 | 0.00043581
13 | 0.0017718 | 0.00044404
14 | 0.0019259 | 0.00048268
15 | 0.0019134 | 0.00047954
16 | 0.0017807 | 0.00044628
17 | 0.0085403 | 0.0021404
18 | 0.0054977 | 0.0013778
19 | 0.0048895 | 0.0012254
20 | 0.010394 | 0.0026049
21 | 0.0069662 | 0.0017459
22 | 0.017121 | 0.004291
23 | 0.036206 | 0.009074
24 | 0.0041788 | 0.0010473
25 | 0.011532 | 0.0028903
26 | 0.0082986 | 0.0020798
27 | 0.0074501 | 0.0018672
28 | 0.015313 | 0.0038378
29 | 0.013507 | 0.0033852
30 | 0.0067108 | 0.0016819
31 | 0.0087642 | 0.0021965
32 | 0.01334 | 0.0033434
33 | 0.010664 | 0.0026726
34 | 0.0055206 | 0.0013836
35 | 0.0081523 | 0.0020431
36 | 0.010459 | 0.0026213
37 | 0.0026251 | 0.0006579
38 | 0.0066865 | 0.0016758
39 | 0.010564 | 0.0026477
40 | 0.0037064 | 0.00092892
41 | 0.004873 | 0.0012213
42 | 0.010404 | 0.0026075
43 | 0.0058644 | 0.0014698
44 | 0.015479 | 0.0038794
45 | 0.01574 | 0.0039448
46 | 0.015609 | 0.003912
47 | 0.012637 | 0.0031672
48 | 0.015223 | 0.0038153
49 | 0.012382 | 0.0031032
50 | 0.015785 | 0.0039562
51 | 0.011206 | 0.0028085
52 | 0.01164 | 0.0029172
53 | 0.003496 | 0.00087618
54 | 0.0027454 | 0.00068806
55 | 0.0057724 | 0.0014467
56 | 0.0017681 | 0.00044314
57 | 0.005722 | 0.0014341
58 | 0.014477 | 0.0036282
59 | 0.014467 | 0.0036259
60 | 0.005346 | 0.0013398
61 | 0.0017716 | 0.000444
62 | 0.0017693 | 0.00044344
63 | 0.0076438 | 0.0019157
64 | 0.0027275 | 0.00068359

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1