## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2583-9_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_2583-9_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_2583-9_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_2583-9_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2583-9_1_2_node_117 | 0.4 | n |  | TRUE
5 | bus_LV_2583-9_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2583-9_1_2_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_2583-9_1_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2583-9_1_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2583-9_1_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2583-9_1_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2583-9_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2583-9_1_2_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_2583-9_1_2_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_2583-9_1_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_2583-9_1_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2583-9_1_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2583-9_1_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_2583-9_1_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2583-9_1_2_node_120 | 0.4 | n |  | TRUE
20 | bus_LV_2583-9_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2583-9_1_2_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2583-9_1_2_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2583-9_1_2_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_2583-9_1_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2583-9_1_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_2583-9_1_2_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_2583-9_1_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2583-9_1_2_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_2583-9_1_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_2583-9_1_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_2583-9_1_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2583-9_1_2_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_2583-9_1_2_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2583-9_1_2_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2583-9_1_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2583-9_1_2_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_2583-9_1_2_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2583-9_1_2_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_2583-9_1_2_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_2583-9_1_2_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_2583-9_1_2_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_2583-9_1_2_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_2583-9_1_2_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_2583-9_1_2_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_2583-9_1_2_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_2583-9_1_2_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_2583-9_1_2_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_2583-9_1_2_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_2583-9_1_2_node_124 | 0.4 | n |  | TRUE
50 | bus_MV_390_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2583-9_1_2_load_5 | 0 | 0.0012104 | 0.00030335 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2583-9_1_2_load_6 | 1 | 0.0017405 | 0.00043622 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2583-9_1_2_load_7 | 2 | 0.0010846 | 0.00027182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2583-9_1_2_load_8 | 3 | 0.0020646 | 0.00051745 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2583-9_1_2_load_117 | 4 | 0.0016707 | 0.00041871 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2583-9_1_2_load_9 | 5 | 0.0019565 | 0.00049034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2583-9_1_2_load_56 | 6 | 0.0020376 | 0.00051066 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2583-9_1_2_load_10 | 7 | 0.00074201 | 0.00018597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2583-9_1_2_load_11 | 8 | 0.0004185 | 0.00010489 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2583-9_1_2_load_12 | 9 | 0.00084458 | 0.00021167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2583-9_1_2_load_13 | 10 | 0.00064536 | 0.00016174 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2583-9_1_2_load_14 | 11 | 0.00069726 | 0.00017475 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2583-9_1_2_load_94 | 13 | 0.0004322 | 0.00010832 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2583-9_1_2_load_21 | 14 | 0.00052051 | 0.00013045 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2583-9_1_2_load_22 | 15 | 0.0005712 | 0.00014316 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2583-9_1_2_load_23 | 16 | 0.00033125 | 8.3018e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2583-9_1_2_load_24 | 17 | 0.0022092 | 0.00055368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2583-9_1_2_load_25 | 18 | 0.0009695 | 0.00024298 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2583-9_1_2_load_120 | 19 | 0.00064696 | 0.00016214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2583-9_1_2_load_32 | 20 | 0.0016439 | 0.000412 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2583-9_1_2_load_35 | 23 | 0.0014749 | 0.00036963 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2583-9_1_2_load_36 | 24 | 0.0013192 | 0.00033062 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2583-9_1_2_load_38 | 25 | 0.0011209 | 0.00028092 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2583-9_1_2_load_49 | 26 | 0.0011299 | 0.00028317 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2583-9_1_2_load_64 | 29 | 0.022936 | 0.0057484 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2583-9_1_2_load_39 | 31 | 0.00067625 | 0.00016948 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2583-9_1_2_load_40 | 32 | 0.0012876 | 0.00032271 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2583-9_1_2_load_41 | 33 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2583-9_1_2_load_42 | 34 | 0.0022227 | 0.00055706 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2583-9_1_2_load_43 | 35 | 0.0015622 | 0.00039151 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2583-9_1_2_load_50 | 36 | 0.0018873 | 0.00047301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2583-9_1_2_load_51 | 37 | 0.063752 | 0.015978 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2583-9_1_2_load_123 | 40 | 0.0096247 | 0.0024122 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2583-9_1_2_load_78 | 43 | 0.0015231 | 0.00038174 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2583-9_1_2_load_86 | 45 | 0.00092747 | 0.00023245 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2583-9_1_2_load_87 | 46 | 0.0011286 | 0.00028285 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2583-9_1_2_load_79 | 47 | 0.0036222 | 0.00090781 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2583-9_1_2_load_80 | 48 | 0.00041565 | 0.00010417 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2583-9_1_2_load_124 | 49 | 0.0057853 | 0.0014499 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2583-9_1_2_line_0 |  | 0 | 1 | 0.012301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2583-9_1_2_line_1 |  | 0 | 2 | 0.0052728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2583-9_1_2_line_2 |  | 1 | 3 | 0.018704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2583-9_1_2_line_3 |  | 1 | 4 | 0.06498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2583-9_1_2_line_4 |  | 2 | 5 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2583-9_1_2_line_5 |  | 3 | 6 | 0.017225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2583-9_1_2_line_6 |  | 4 | 24 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2583-9_1_2_line_7 |  | 7 | 8 | 0.001284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2583-9_1_2_line_8 |  | 7 | 9 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2583-9_1_2_line_9 |  | 8 | 10 | 0.018571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2583-9_1_2_line_10 |  | 9 | 11 | 0.0007472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2583-9_1_2_line_11 |  | 10 | 12 | 0.015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2583-9_1_2_line_12 |  | 11 | 13 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2583-9_1_2_line_13 |  | 12 | 39 | 0.006133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2583-9_1_2_line_14 |  | 13 | 18 | 0.0012233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2583-9_1_2_line_15 |  | 14 | 15 | 0.0060948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2583-9_1_2_line_16 |  | 14 | 16 | 0.0038987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2583-9_1_2_line_17 |  | 15 | 17 | 0.0081939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2583-9_1_2_line_18 |  | 16 | 18 | 0.013217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2583-9_1_2_line_19 |  | 17 | 19 | 0.0092578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2583-9_1_2_line_20 |  | 19 | 35 | 0.0089444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2583-9_1_2_line_21 |  | 20 | 21 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2583-9_1_2_line_22 |  | 20 | 22 | 0.0087813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2583-9_1_2_line_23 |  | 21 | 23 | 0.009612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2583-9_1_2_line_24 |  | 21 | 24 | 0.037678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2583-9_1_2_line_25 |  | 22 | 25 | 0.036413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2583-9_1_2_line_26 |  | 23 | 26 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2583-9_1_2_line_27 |  | 25 | 30 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2583-9_1_2_line_28 |  | 26 | 36 | 0.0033056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2583-9_1_2_line_29 |  | 27 | 28 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2583-9_1_2_line_30 |  | 27 | 29 | 0.05311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2583-9_1_2_line_31 |  | 28 | 46 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2583-9_1_2_line_32 |  | 29 | 41 | 0.081373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2583-9_1_2_line_33 |  | 30 | 44 | 0.043491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2583-9_1_2_line_34 |  | 31 | 32 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2583-9_1_2_line_35 |  | 31 | 33 | 0.001296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2583-9_1_2_line_36 |  | 32 | 34 | 0.0016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2583-9_1_2_line_37 |  | 33 | 35 | 0.014397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2583-9_1_2_line_38 |  | 34 | 36 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2583-9_1_2_line_39 |  | 37 | 38 | 0.048302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2583-9_1_2_line_40 |  | 38 | 39 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2583-9_1_2_line_41 |  | 39 | 40 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2583-9_1_2_line_42 |  | 40 | 49 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2583-9_1_2_line_43 |  | 41 | 42 | 0.049631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2583-9_1_2_line_44 |  | 42 | 43 | 0.042154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2583-9_1_2_line_45 |  | 43 | 47 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2583-9_1_2_line_46 |  | 44 | 45 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2583-9_1_2_line_47 |  | 45 | 46 | 4.0633e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2583-9_1_2_line_48 |  | 47 | 48 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2583-9_1_2_trafo_10 | 0.63 MVA 20/0.4 kV | 50 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2643014.7524 | 1247758.393 | 2643007.7969 | 1247756.5961 | 2643002.6923 | 1247756.9495
1 | 2643014.7524 | 1247758.393 | 2643019.7973 | 1247759.6963 | 2643019.8533 | 1247759.7235
2 | 2643002.6923 | 1247756.9495 | 2642988.8996 | 1247757.9045 | 2642984.0492 | 1247758.4301
3 | 2642989.2774 | 1247693.3689 | 2643002.6923 | 1247756.9495
4 | 2643019.8533 | 1247759.7235 | 2643026.6004 | 1247763.0033 | 2643030.897 | 1247766.2033 | 2643033.6664 | 1247768.2802
5 | 2642966.9758 | 1247760.6474 | 2642969.7014 | 1247760.1003 | 2642978.8021 | 1247758.9988 | 2642984.0492 | 1247758.4301
6 | 2643009.6865 | 1247689.5589 | 2642994.1996 | 1247692.4994 | 2642989.2774 | 1247693.3689
7 | 2643179.2207 | 1247792.0374 | 2643180.3775 | 1247792.5948
8 | 2643179.2207 | 1247792.0374 | 2643175.2017 | 1247790.1006 | 2643161.4452 | 1247783.4676
9 | 2643197.1076 | 1247800.6569 | 2643180.3775 | 1247792.5948
10 | 2643160.7722 | 1247783.143 | 2643161.4452 | 1247783.4676
11 | 2643211.3021 | 1247807.4972 | 2643197.1076 | 1247800.6569
12 | 2643160.7722 | 1247783.143 | 2643150.1037 | 1247777.9989 | 2643144.5449 | 1247774.9545
13 | 2643211.3021 | 1247807.4972 | 2643208.6413 | 1247813.0259
14 | 2643143.4719 | 1247774.3669 | 2643144.5449 | 1247774.9545
15 | 2643128.5637 | 1247765.9606 | 2643128.1034 | 1247765.6975 | 2643123.6986 | 1247762.2971
16 | 2643131.9483 | 1247767.8957 | 2643128.5637 | 1247765.9606
17 | 2643123.6986 | 1247762.2971 | 2643120.601 | 1247759.9058 | 2643117.2184 | 1247757.2823
18 | 2643131.9483 | 1247767.8957 | 2643138.6024 | 1247771.7 | 2643143.4719 | 1247774.3669
19 | 2643109.903 | 1247751.6085 | 2643117.2184 | 1247757.2823
20 | 2643103.2374 | 1247745.6463 | 2643109.5016 | 1247751.2972 | 2643109.903 | 1247751.6085
21 | 2643046.9036 | 1247686.5997 | 2643048.998 | 1247682.1008 | 2643052.0596 | 1247677.1892
22 | 2643056.723 | 1247669.7486 | 2643056.1043 | 1247670.7003 | 2643052.0596 | 1247677.1892
23 | 2643046.9036 | 1247686.5997 | 2643052.0999 | 1247692.7971 | 2643053.2797 | 1247693.7625
24 | 2643046.9036 | 1247686.5997 | 2643043.1977 | 1247686.306 | 2643036.1023 | 1247685.7986 | 2643032.1032 | 1247685.3026 | 2643009.6865 | 1247689.5589
25 | 2643056.723 | 1247669.7486 | 2643068.7991 | 1247651.0016 | 2643076.1325 | 1247638.9434
26 | 2643053.2797 | 1247693.7625 | 2643060.2981 | 1247699.5055 | 2643061.1583 | 1247700.3434
27 | 2643085.2007 | 1247624.225 | 2643080.6007 | 1247631.5965 | 2643076.1325 | 1247638.9434
28 | 2643061.1583 | 1247700.3434 | 2643063.5262 | 1247702.6499
29 | 2643094.3392 | 1247692.7926 | 2643096.5861 | 1247689.1287 | 2643105.4673 | 1247674.6057
30 | 2643094.3392 | 1247692.7926 | 2643108.0682 | 1247701.209 | 2643140.6081 | 1247718.8334
31 | 2643105.4673 | 1247674.6057 | 2643113.8316 | 1247660.9351
32 | 2643201.359 | 1247695.1278 | 2643189.3562 | 1247713.0968 | 2643180.0652 | 1247713.3405 | 2643163.5617 | 1247731.2657 | 2643140.6081 | 1247718.8334
33 | 2643085.2007 | 1247624.225 | 2643114.0621 | 1247641.3015 | 2643122.5953 | 1247646.6115
34 | 2643079.4481 | 1247719.2637 | 2643087.8999 | 1247728.8031 | 2643092.6143 | 1247734.1139
35 | 2643093.4747 | 1247735.0832 | 2643092.6143 | 1247734.1139
36 | 2643079.4481 | 1247719.2637 | 2643078.373 | 1247718.0502
37 | 2643093.4747 | 1247735.0832 | 2643101.3009 | 1247743.8994 | 2643103.2374 | 1247745.6463
38 | 2643063.5262 | 1247702.6499 | 2643072.3042 | 1247711.2004 | 2643078.373 | 1247718.0502
39 | 2643226.2519 | 1247821.4042 | 2643235.2679 | 1247825.7061 | 2643247.9256 | 1247861.8668
40 | 2643208.6413 | 1247813.0259 | 2643226.2519 | 1247821.4042
41 | 2643208.6413 | 1247813.0259 | 2643203.4677 | 1247823.7738
42 | 2643203.4677 | 1247823.7738 | 2643198.837 | 1247833.3939
43 | 2643201.359 | 1247695.1278 | 2643224.9866 | 1247709.0313 | 2643244.0313 | 1247720.6778
44 | 2643244.0313 | 1247720.6778 | 2643237.3203 | 1247739.9639 | 2643231.1407 | 1247745.4114 | 2643219.7119 | 1247738.2334
45 | 2643219.7119 | 1247738.2334 | 2643209.5236 | 1247731.8344
46 | 2643122.5953 | 1247646.6115 | 2643113.8528 | 1247660.9004
47 | 2643113.8316 | 1247660.9351 | 2643113.8528 | 1247660.9004
48 | 2643196.4741 | 1247729.1593 | 2643208.8958 | 1247731.4401 | 2643209.5236 | 1247731.8344

## bus_geodata
| x | y | coords
0 | 2643014.7524 | 1247758.393
1 | 2643002.6923 | 1247756.9495
2 | 2643019.8533 | 1247759.7235
3 | 2642984.0492 | 1247758.4301
4 | 2642989.2774 | 1247693.3689
5 | 2643033.6664 | 1247768.2802
6 | 2642966.9758 | 1247760.6474
7 | 2643179.2207 | 1247792.0374
8 | 2643180.3775 | 1247792.5948
9 | 2643161.4452 | 1247783.4676
10 | 2643197.1076 | 1247800.6569
11 | 2643160.7722 | 1247783.143
12 | 2643211.3021 | 1247807.4972
13 | 2643144.5449 | 1247774.9545
14 | 2643128.5637 | 1247765.9606
15 | 2643123.6986 | 1247762.2971
16 | 2643131.9483 | 1247767.8957
17 | 2643117.2184 | 1247757.2823
18 | 2643143.4719 | 1247774.3669
19 | 2643109.903 | 1247751.6085
20 | 2643052.0596 | 1247677.1892
21 | 2643046.9036 | 1247686.5997
22 | 2643056.723 | 1247669.7486
23 | 2643053.2797 | 1247693.7625
24 | 2643009.6865 | 1247689.5589
25 | 2643076.1325 | 1247638.9434
26 | 2643061.1583 | 1247700.3434
27 | 2643094.3392 | 1247692.7926
28 | 2643105.4673 | 1247674.6057
29 | 2643140.6081 | 1247718.8334
30 | 2643085.2007 | 1247624.225
31 | 2643092.6143 | 1247734.1139
32 | 2643079.4481 | 1247719.2637
33 | 2643093.4747 | 1247735.0832
34 | 2643078.373 | 1247718.0502
35 | 2643103.2374 | 1247745.6463
36 | 2643063.5262 | 1247702.6499
37 | 2643247.9256 | 1247861.8668
38 | 2643226.2519 | 1247821.4042
39 | 2643208.6413 | 1247813.0259
40 | 2643203.4677 | 1247823.7738
41 | 2643201.359 | 1247695.1278
42 | 2643244.0313 | 1247720.6778
43 | 2643219.7119 | 1247738.2334
44 | 2643122.5953 | 1247646.6115
45 | 2643113.8528 | 1247660.9004
46 | 2643113.8316 | 1247660.9351
47 | 2643209.5236 | 1247731.8344
48 | 2643196.4741 | 1247729.1593
49 | 2643198.837 | 1247833.3939
50 | 2643211.3021 | 1247807.4972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98963 | -0.19908 | 0.0012104 | 0.00030335
1 | 0.98967 | -0.19815 | 0.0017405 | 0.00043622
2 | 0.98961 | -0.19936 | 0.0010846 | 0.00027182
3 | 0.9896 | -0.19951 | 0.0020646 | 0.00051745
4 | 0.99027 | -0.18648 | 0.0016707 | 0.00041871
5 | 0.98958 | -0.19993 | 0.0019565 | 0.00049034
6 | 0.98957 | -0.20014 | 0.0020376 | 0.00051066
7 | 1 | 0 | -0.14867 | -0.037277
8 | 0.99991 | -0.0017957 | 0.0004185 | 0.00010489
9 | 0.99881 | -0.022617 | 0.00084458 | 0.00021167
10 | 0.99855 | -0.027669 | 0.00064536 | 0.00016174
11 | 0.99877 | -0.023463 | 0.00069726 | 0.00017475
12 | 0.99741 | -0.049498 | 0 | 0
13 | 0.9977 | -0.04386 | 0.0004322 | 0.00010832
14 | 0.99664 | -0.064024 | 0.00052051 | 0.00013045
15 | 0.99629 | -0.070645 | 0.0005712 | 0.00014316
16 | 0.99686 | -0.059756 | 0.00033125 | 8.3018e-05
17 | 0.99583 | -0.07947 | 0.0022092 | 0.00055368
18 | 0.99762 | -0.045225 | 0.0009695 | 0.00024298
19 | 0.99533 | -0.089091 | 0.00064696 | 0.00016214
20 | 0.99062 | -0.17974 | 0.0016439 | 0.000412
21 | 0.99095 | -0.17338 | 0 | 0
22 | 0.99036 | -0.18468 | 0 | 0
23 | 0.99136 | -0.16546 | 0.0014749 | 0.00036963
24 | 0.9905 | -0.18213 | 0.0013192 | 0.00033062
25 | 0.9893 | -0.20521 | 0.0011209 | 0.00028092
26 | 0.99181 | -0.15674 | 0.0011299 | 0.00028317
27 | 0.98614 | -0.26658 | 0 | 0
28 | 0.9867 | -0.2557 | 0 | 0
29 | 0.98475 | -0.29375 | 0.022936 | 0.0057484
30 | 0.98882 | -0.21462 | 0 | 0
31 | 0.99403 | -0.11399 | 0.00067625 | 0.00016948
32 | 0.99304 | -0.13306 | 0.0012876 | 0.00032271
33 | 0.9941 | -0.11273 | 0.0017877 | 0.00044805
34 | 0.99296 | -0.13458 | 0.0022227 | 0.00055706
35 | 0.99485 | -0.098294 | 0.0015622 | 0.00039151
36 | 0.99196 | -0.15387 | 0.0018873 | 0.00047301
37 | 0.99303 | -0.13406 | 0.063752 | 0.015978
38 | 0.99584 | -0.079783 | 0 | 0
39 | 0.99697 | -0.058008 | 0 | 0
40 | 0.9968 | -0.061232 | 0.0096247 | 0.0024122
41 | 0.98433 | -0.30189 | 0 | 0
42 | 0.98407 | -0.30686 | 0 | 0
43 | 0.98386 | -0.31108 | 0.0015231 | 0.00038174
44 | 0.98759 | -0.23835 | 0 | 0
45 | 0.98712 | -0.2475 | 0.00092747 | 0.00023245
46 | 0.98712 | -0.24752 | 0.0011286 | 0.00028285
47 | 0.98381 | -0.31196 | 0.0036222 | 0.00090781
48 | 0.98381 | -0.31206 | 0.00041565 | 0.00010417
49 | 0.99675 | -0.062316 | 0.0057853 | 0.0014499
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0042515 | -0.0010653 | 0.0042517 | 0.0010653 | 1.885e-07 | -3.7413e-08 | 0.0063926 | 0.0063925 | 0.0063926 | 0.98963 | -0.19908 | 0.98967 | -0.19815 | 1.7562
1 | 0.0030412 | 0.00076195 | -0.0030411 | -0.00076199 | 4.1344e-08 | -4.1286e-08 | 0.0045727 | 0.0045727 | 0.0045727 | 0.98963 | -0.19908 | 0.98961 | -0.19936 | 1.2562
2 | 0.0041025 | 0.0010279 | -0.0041023 | -0.0010279 | 2.6687e-07 | -6.9535e-08 | 0.0061682 | 0.0061683 | 0.0061683 | 0.98967 | -0.19815 | 0.9896 | -0.19951 | 1.6946
3 | -0.010095 | -0.0025293 | 0.0101 | 0.0025321 | 5.6133e-06 | 2.757e-06 | 0.015178 | 0.015177 | 0.015178 | 0.98967 | -0.19815 | 0.99027 | -0.18648 | 4.1697
4 | 0.0019565 | 0.00049017 | -0.0019565 | -0.00049034 | 5.2971e-08 | -1.7579e-07 | 0.0029419 | 0.0029419 | 0.0029419 | 0.98961 | -0.19936 | 0.98958 | -0.19993 | 0.80823
5 | 0.0020376 | 0.00051048 | -0.0020376 | -0.00051066 | 6.0634e-08 | -1.8249e-07 | 0.0030638 | 0.0030639 | 0.0030639 | 0.9896 | -0.19951 | 0.98957 | -0.20014 | 0.84172
6 | -0.011771 | -0.0029508 | 0.011773 | 0.0029521 | 2.4358e-06 | 1.2918e-06 | 0.017688 | 0.017688 | 0.017688 | 0.99027 | -0.18648 | 0.9905 | -0.18213 | 4.8593
7 | 0.080682 | 0.020397 | -0.080675 | -0.020392 | 6.9473e-06 | 4.4294e-06 | 0.12012 | 0.12012 | 0.12012 | 1 | 0 | 0.99991 | -0.0017957 | 32.9994
8 | 0.066334 | 0.01688 | -0.066262 | -0.016834 | 7.223e-05 | 4.5968e-05 | 0.098796 | 0.098796 | 0.098796 | 1 | 0 | 0.99881 | -0.022617 | 27.1419
9 | 0.080256 | 0.020287 | -0.080157 | -0.020224 | 9.9443e-05 | 6.34e-05 | 0.11949 | 0.11949 | 0.11949 | 0.99991 | -0.0017957 | 0.99855 | -0.027669 | 32.8283
10 | 0.065417 | 0.016622 | -0.065415 | -0.01662 | 2.6657e-06 | 1.6963e-06 | 0.097538 | 0.097538 | 0.097538 | 0.99881 | -0.022617 | 0.99877 | -0.023463 | 26.7962
11 | 0.079511 | 0.020062 | -0.079428 | -0.020009 | 8.3019e-05 | 5.2926e-05 | 0.11853 | 0.11853 | 0.11853 | 0.99855 | -0.027669 | 0.99741 | -0.049498 | 32.5641
12 | 0.064717 | 0.016446 | -0.064654 | -0.016405 | 6.3492e-05 | 4.0397e-05 | 0.096499 | 0.096499 | 0.096499 | 0.99877 | -0.023463 | 0.9977 | -0.04386 | 26.5108
13 | 0.079428 | 0.020009 | -0.079396 | -0.019989 | 3.2314e-05 | 2.0601e-05 | 0.11853 | 0.11853 | 0.11853 | 0.99741 | -0.049498 | 0.99697 | -0.058008 | 32.5641
14 | 0.064222 | 0.016297 | -0.064217 | -0.016294 | 4.215e-06 | 2.6816e-06 | 0.095855 | 0.095855 | 0.095855 | 0.9977 | -0.04386 | 0.99762 | -0.045225 | 26.3337
15 | 0.062339 | 0.015802 | -0.062319 | -0.015789 | 1.9826e-05 | 1.2609e-05 | 0.093137 | 0.093137 | 0.093137 | 0.99664 | -0.064024 | 0.99629 | -0.070645 | 25.5872
16 | -0.06286 | -0.015932 | 0.062873 | 0.01594 | 1.2895e-05 | 8.2018e-06 | 0.093914 | 0.093914 | 0.093914 | 0.99664 | -0.064024 | 0.99686 | -0.059756 | 25.8007
17 | 0.061748 | 0.015646 | -0.061722 | -0.015629 | 2.6168e-05 | 1.6641e-05 | 0.092284 | 0.092284 | 0.092284 | 0.99629 | -0.070645 | 0.99583 | -0.07947 | 25.3528
18 | -0.063204 | -0.016023 | 0.063248 | 0.016051 | 4.4176e-05 | 2.81e-05 | 0.094409 | 0.094409 | 0.094409 | 0.99686 | -0.059756 | 0.99762 | -0.045225 | 25.9365
19 | 0.059513 | 0.015075 | -0.059485 | -0.015058 | 2.7489e-05 | 1.7472e-05 | 0.088983 | 0.088983 | 0.088983 | 0.99583 | -0.07947 | 0.99533 | -0.089091 | 24.4459
20 | 0.058838 | 0.014896 | -0.058812 | -0.014879 | 2.5984e-05 | 1.6513e-05 | 0.088016 | 0.088016 | 0.088016 | 0.99533 | -0.089091 | 0.99485 | -0.098294 | 24.1802
21 | -0.033487 | -0.0084529 | 0.033497 | 0.0084593 | 1.0209e-05 | 6.395e-06 | 0.050322 | 0.050322 | 0.050322 | 0.99062 | -0.17974 | 0.99095 | -0.17338 | 13.8247
22 | 0.031843 | 0.0080409 | -0.031835 | -0.0080362 | 7.5406e-06 | 4.713e-06 | 0.047853 | 0.047853 | 0.047853 | 0.99062 | -0.17974 | 0.99036 | -0.18468 | 13.1464
23 | -0.046595 | -0.011745 | 0.046613 | 0.011756 | 1.7658e-05 | 1.1177e-05 | 0.069991 | 0.069991 | 0.069991 | 0.99095 | -0.17338 | 0.99136 | -0.16546 | 19.2284
24 | 0.013098 | 0.0032857 | -0.013093 | -0.0032827 | 5.4664e-06 | 3.0133e-06 | 0.019669 | 0.01967 | 0.01967 | 0.99095 | -0.17338 | 0.9905 | -0.18213 | 5.4037
25 | 0.031835 | 0.0080362 | -0.031804 | -0.0080167 | 3.1268e-05 | 1.9544e-05 | 0.047853 | 0.047853 | 0.047853 | 0.99036 | -0.18468 | 0.9893 | -0.20521 | 13.1464
26 | -0.048088 | -0.012126 | 0.048108 | 0.012139 | 2.0078e-05 | 1.2717e-05 | 0.072205 | 0.072205 | 0.072205 | 0.99136 | -0.16546 | 0.99181 | -0.15674 | 19.8365
27 | 0.030683 | 0.0077357 | -0.030669 | -0.0077271 | 1.3818e-05 | 8.6215e-06 | 0.046167 | 0.046167 | 0.046167 | 0.9893 | -0.20521 | 0.98882 | -0.21462 | 12.6833
28 | -0.049238 | -0.012422 | 0.049244 | 0.012426 | 6.7698e-06 | 4.29e-06 | 0.0739 | 0.0739 | 0.0739 | 0.99181 | -0.15674 | 0.99196 | -0.15387 | 20.3022
29 | -0.028539 | -0.0071656 | 0.028554 | 0.0071748 | 1.482e-05 | 9.2127e-06 | 0.043068 | 0.043068 | 0.043068 | 0.98614 | -0.26658 | 0.9867 | -0.2557 | 11.8319
30 | 0.028539 | 0.0071656 | -0.028502 | -0.0071426 | 3.6942e-05 | 2.2966e-05 | 0.043068 | 0.043068 | 0.043068 | 0.98614 | -0.26658 | 0.98475 | -0.29375 | 11.832
31 | -0.028554 | -0.0071748 | 0.028565 | 0.0071818 | 1.1148e-05 | 6.9296e-06 | 0.043068 | 0.043068 | 0.043068 | 0.9867 | -0.2557 | 0.98712 | -0.24752 | 11.8319
32 | 0.0055657 | 0.0013942 | -0.0055636 | -0.0013939 | 2.1583e-06 | 3.4654e-07 | 0.00841 | 0.0084103 | 0.0084103 | 0.98475 | -0.29375 | 0.98433 | -0.30189 | 2.3105
33 | 0.030669 | 0.0077271 | -0.030635 | -0.0077054 | 3.4761e-05 | 2.169e-05 | 0.046167 | 0.046167 | 0.046167 | 0.98882 | -0.21462 | 0.98759 | -0.23835 | 12.6833
34 | 0.054743 | 0.013843 | -0.054693 | -0.013811 | 5.0032e-05 | 3.1763e-05 | 0.081991 | 0.081991 | 0.081991 | 0.99403 | -0.11399 | 0.99304 | -0.13306 | 22.5251
35 | -0.055419 | -0.014013 | 0.055423 | 0.014015 | 3.3484e-06 | 2.1262e-06 | 0.083004 | 0.083004 | 0.083004 | 0.99403 | -0.11399 | 0.9941 | -0.11273 | 22.8032
36 | 0.053406 | 0.013489 | -0.053402 | -0.013486 | 3.897e-06 | 2.4731e-06 | 0.080062 | 0.080062 | 0.080062 | 0.99304 | -0.13306 | 0.99296 | -0.13458 | 21.9951
37 | -0.057211 | -0.014463 | 0.05725 | 0.014488 | 3.9633e-05 | 2.5178e-05 | 0.08568 | 0.08568 | 0.08568 | 0.9941 | -0.11273 | 0.99485 | -0.098294 | 23.5383
38 | 0.051179 | 0.012929 | -0.051132 | -0.012899 | 4.7261e-05 | 2.997e-05 | 0.076731 | 0.076731 | 0.076731 | 0.99296 | -0.13458 | 0.99196 | -0.15387 | 21.08
39 | -0.063752 | -0.015978 | 0.063917 | 0.016083 | 0.0001653 | 0.00010516 | 0.095529 | 0.095529 | 0.095529 | 0.99303 | -0.13406 | 0.99584 | -0.079783 | 26.2444
40 | -0.063917 | -0.016083 | 0.063983 | 0.016125 | 6.6579e-05 | 4.2357e-05 | 0.095529 | 0.095529 | 0.095529 | 0.99584 | -0.079783 | 0.99697 | -0.058008 | 26.2443
41 | 0.015413 | 0.0038635 | -0.01541 | -0.0038622 | 2.3671e-06 | 1.3595e-06 | 0.023004 | 0.023004 | 0.023004 | 0.99697 | -0.058008 | 0.9968 | -0.061232 | 6.3199
42 | 0.0057856 | 0.00145 | -0.0057853 | -0.0014499 | 2.9864e-07 | 5.1965e-08 | 0.0086366 | 0.0086367 | 0.0086367 | 0.9968 | -0.061232 | 0.99675 | -0.062316 | 2.3727
43 | 0.0055636 | 0.0013939 | -0.0055623 | -0.0013937 | 1.3165e-06 | 2.1185e-07 | 0.0084103 | 0.0084106 | 0.0084106 | 0.98433 | -0.30189 | 0.98407 | -0.30686 | 2.3106
44 | 0.0055623 | 0.0013937 | -0.0055612 | -0.0013935 | 1.1182e-06 | 1.8023e-07 | 0.0084106 | 0.0084108 | 0.0084108 | 0.98407 | -0.30686 | 0.98386 | -0.31108 | 2.3106
45 | 0.004038 | 0.0010118 | -0.0040378 | -0.0010118 | 1.6827e-07 | -4.5085e-08 | 0.0061071 | 0.0061072 | 0.0061072 | 0.98386 | -0.31108 | 0.98381 | -0.31196 | 1.6778
46 | 0.030635 | 0.0077054 | -0.030621 | -0.0076971 | 1.3389e-05 | 8.3547e-06 | 0.046167 | 0.046167 | 0.046167 | 0.98759 | -0.23835 | 0.98712 | -0.2475 | 12.6833
47 | 0.029694 | 0.0074646 | -0.029694 | -0.0074646 | 3.0538e-08 | 1.9023e-08 | 0.044769 | 0.044769 | 0.044769 | 0.98712 | -0.2475 | 0.98712 | -0.24752 | 12.2992
48 | 0.00041565 | 0.000104 | -0.00041565 | -0.00010417 | 1.9814e-09 | -1.6851e-07 | 0.00062861 | 0.00062867 | 0.00062867 | 0.98381 | -0.31196 | 0.98381 | -0.31206 | 0.17271

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14941 | 0.037463

## res_load
| p_mw | q_mvar
0 | 0.0012104 | 0.00030335
1 | 0.0017405 | 0.00043622
2 | 0.0010846 | 0.00027182
3 | 0.0020646 | 0.00051745
4 | 0.0016707 | 0.00041871
5 | 0.0019565 | 0.00049034
6 | 0.0020376 | 0.00051066
7 | 0.00074201 | 0.00018597
8 | 0.0004185 | 0.00010489
9 | 0.00084458 | 0.00021167
10 | 0.00064536 | 0.00016174
11 | 0.00069726 | 0.00017475
12 | 0.0004322 | 0.00010832
13 | 0.00052051 | 0.00013045
14 | 0.0005712 | 0.00014316
15 | 0.00033125 | 8.3018e-05
16 | 0.0022092 | 0.00055368
17 | 0.0009695 | 0.00024298
18 | 0.00064696 | 0.00016214
19 | 0.0016439 | 0.000412
20 | 0.0014749 | 0.00036963
21 | 0.0013192 | 0.00033062
22 | 0.0011209 | 0.00028092
23 | 0.0011299 | 0.00028317
24 | 0.022936 | 0.0057484
25 | 0.00067625 | 0.00016948
26 | 0.0012876 | 0.00032271
27 | 0.0017877 | 0.00044805
28 | 0.0022227 | 0.00055706
29 | 0.0015622 | 0.00039151
30 | 0.0018873 | 0.00047301
31 | 0.063752 | 0.015978
32 | 0.0096247 | 0.0024122
33 | 0.0015231 | 0.00038174
34 | 0.00092747 | 0.00023245
35 | 0.0011286 | 0.00028285
36 | 0.0036222 | 0.00090781
37 | 0.00041565 | 0.00010417
38 | 0.0057853 | 0.0014499

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1