## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2584-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2584-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2584-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2584-4_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2584-4_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2584-4_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2584-4_0_3_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_2584-4_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_2584-4_0_3_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_2584-4_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2584-4_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2584-4_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2584-4_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2584-4_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2584-4_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_2584-4_0_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_2584-4_0_3_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_2584-4_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2584-4_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2584-4_0_3_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_2584-4_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_2584-4_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2584-4_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_2584-4_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_2584-4_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_2584-4_0_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_2584-4_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2584-4_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2584-4_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2584-4_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2584-4_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2584-4_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2584-4_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_2584-4_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2584-4_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2584-4_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2584-4_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2584-4_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_2584-4_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2584-4_0_3_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_2584-4_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2584-4_0_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_2584-4_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2584-4_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2584-4_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2584-4_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2584-4_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2584-4_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2584-4_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2584-4_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2584-4_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_2584-4_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2584-4_0_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_2584-4_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2584-4_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_2584-4_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_2584-4_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2584-4_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2584-4_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_2584-4_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_2584-4_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2584-4_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2584-4_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_MV_398_1_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2584-4_0_3_load_0 | 0 | 0.010336 | 0.0025904 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2584-4_0_3_load_1 | 1 | 0.012935 | 0.0032418 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2584-4_0_3_load_4 | 3 | 0.011413 | 0.0028604 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2584-4_0_3_load_5 | 4 | 0.015561 | 0.0038999 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2584-4_0_3_load_19 | 5 | 0.012424 | 0.0031139 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2584-4_0_3_load_43 | 6 | 0.01381 | 0.003461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2584-4_0_3_load_20 | 7 | 0.01142 | 0.0028622 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2584-4_0_3_load_39 | 8 | 0.0071365 | 0.0017886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2584-4_0_3_load_6 | 9 | 0.0012169 | 0.00030498 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2584-4_0_3_load_10 | 11 | 0.0072648 | 0.0018207 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2584-4_0_3_load_11 | 12 | 0.002085 | 0.00052255 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2584-4_0_3_load_12 | 13 | 0.0018637 | 0.00046708 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2584-4_0_3_load_42 | 14 | 0.0062509 | 0.0015666 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2584-4_0_3_load_63 | 16 | 0.0026919 | 0.00067466 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2584-4_0_3_load_61 | 19 | 0.0030508 | 0.00076459 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2584-4_0_3_load_21 | 21 | 0.0062527 | 0.0015671 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2584-4_0_3_load_60 | 22 | 0.0035526 | 0.00089035 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2584-4_0_3_load_41 | 23 | 0.0054787 | 0.0013731 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2584-4_0_3_load_56 | 24 | 0.0038557 | 0.00096633 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2584-4_0_3_load_58 | 25 | 0.0021879 | 0.00054835 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2584-4_0_3_load_13 | 26 | 0.0015457 | 0.00038739 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2584-4_0_3_load_14 | 27 | 0.013738 | 0.003443 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2584-4_0_3_load_17 | 30 | 0.0046375 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2584-4_0_3_load_18 | 31 | 0.012318 | 0.0030872 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2584-4_0_3_load_40 | 32 | 0.0048623 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2584-4_0_3_load_33 | 33 | 0.001401 | 0.00035111 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2584-4_0_3_load_37 | 34 | 0.017959 | 0.0045009 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2584-4_0_3_load_49 | 36 | 0.0071406 | 0.0017896 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2584-4_0_3_load_50 | 37 | 0.0019514 | 0.00048906 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2584-4_0_3_load_23 | 38 | 0.0059809 | 0.001499 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2584-4_0_3_load_52 | 41 | 0.0019108 | 0.00047889 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2584-4_0_3_load_26 | 42 | 0.0018738 | 0.00046963 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2584-4_0_3_load_25 | 43 | 0.0016102 | 0.00040356 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2584-4_0_3_load_27 | 44 | 0.0018607 | 0.00046632 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2584-4_0_3_load_29 | 45 | 0.010049 | 0.0025185 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2584-4_0_3_load_30 | 46 | 0.02714 | 0.0068019 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2584-4_0_3_load_34 | 47 | 0.016885 | 0.0042319 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2584-4_0_3_load_35 | 48 | 0.011155 | 0.0027957 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2584-4_0_3_load_48 | 51 | 0.001408 | 0.00035287 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2584-4_0_3_load_64 | 52 | 0.0014332 | 0.0003592 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2584-4_0_3_load_47 | 53 | 0.0022318 | 0.00055933 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2584-4_0_3_load_38 | 55 | 0.016464 | 0.0041263 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2584-4_0_3_load_45 | 56 | 0.011758 | 0.002947 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2584-4_0_3_load_44 | 57 | 0.011773 | 0.0029506 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2584-4_0_3_load_46 | 58 | 0.0024463 | 0.00061311 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2584-4_0_3_load_53 | 60 | 0.0017577 | 0.00044052 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2584-4_0_3_load_54 | 61 | 0.0026575 | 0.00066603 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2584-4_0_3_load_55 | 62 | 0.0041021 | 0.0010281 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2584-4_0_3_line_0 |  | 0 | 1 | 0.054716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2584-4_0_3_line_1 |  | 0 | 2 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2584-4_0_3_line_2 |  | 2 | 3 | 0.034452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2584-4_0_3_line_3 |  | 2 | 4 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2584-4_0_3_line_4 |  | 3 | 5 | 0.0065982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2584-4_0_3_line_5 |  | 4 | 6 | 0.018852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2584-4_0_3_line_6 |  | 5 | 7 | 0.027361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2584-4_0_3_line_7 |  | 6 | 8 | 0.030305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2584-4_0_3_line_8 |  | 7 | 31 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2584-4_0_3_line_9 |  | 8 | 54 | 0.015634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2584-4_0_3_line_10 |  | 9 | 10 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2584-4_0_3_line_11 |  | 10 | 11 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2584-4_0_3_line_12 |  | 10 | 12 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2584-4_0_3_line_13 |  | 10 | 13 | 0.021897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2584-4_0_3_line_14 |  | 11 | 14 | 0.0079055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2584-4_0_3_line_15 |  | 12 | 15 | 0.044947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2584-4_0_3_line_16 |  | 13 | 16 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2584-4_0_3_line_17 |  | 14 | 23 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2584-4_0_3_line_18 |  | 15 | 24 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2584-4_0_3_line_19 |  | 16 | 25 | 0.084436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2584-4_0_3_line_20 |  | 17 | 18 | 0.061013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2584-4_0_3_line_21 |  | 17 | 19 | 0.050965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2584-4_0_3_line_22 |  | 18 | 20 | 0.05463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2584-4_0_3_line_23 |  | 18 | 21 | 0.052798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2584-4_0_3_line_24 |  | 19 | 22 | 0.0054789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2584-4_0_3_line_25 |  | 20 | 40 | 0.037602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2584-4_0_3_line_26 |  | 20 | 41 | 0.039666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2584-4_0_3_line_27 |  | 21 | 38 | 0.00026141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2584-4_0_3_line_28 |  | 23 | 30 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2584-4_0_3_line_29 |  | 24 | 61 | 0.0073329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2584-4_0_3_line_30 |  | 25 | 39 | 0.072695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2584-4_0_3_line_31 |  | 25 | 59 | 0.014474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2584-4_0_3_line_32 |  | 26 | 27 | 0.0033917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2584-4_0_3_line_33 |  | 26 | 28 | 0.046033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2584-4_0_3_line_34 |  | 27 | 29 | 0.032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2584-4_0_3_line_35 |  | 28 | 30 | 0.0071555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2584-4_0_3_line_36 |  | 28 | 31 | 0.027721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2584-4_0_3_line_37 |  | 29 | 32 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2584-4_0_3_line_38 |  | 29 | 33 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2584-4_0_3_line_39 |  | 32 | 34 | 0.035387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2584-4_0_3_line_40 |  | 33 | 35 | 0.012189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2584-4_0_3_line_41 |  | 34 | 48 | 0.034421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2584-4_0_3_line_42 |  | 35 | 49 | 0.026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2584-4_0_3_line_43 |  | 36 | 37 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2584-4_0_3_line_44 |  | 37 | 59 | 0.0043024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2584-4_0_3_line_45 |  | 38 | 39 | 0.065777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2584-4_0_3_line_46 |  | 40 | 42 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2584-4_0_3_line_47 |  | 42 | 43 | 0.010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2584-4_0_3_line_48 |  | 43 | 44 | 0.0041939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2584-4_0_3_line_49 |  | 45 | 46 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2584-4_0_3_line_50 |  | 45 | 47 | 0.11861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2584-4_0_3_line_51 |  | 47 | 48 | 0.034892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2584-4_0_3_line_52 |  | 49 | 50 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2584-4_0_3_line_53 |  | 49 | 51 | 0.012656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2584-4_0_3_line_54 |  | 50 | 52 | 0.032392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2584-4_0_3_line_55 |  | 51 | 53 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2584-4_0_3_line_56 |  | 53 | 58 | 0.0036206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2584-4_0_3_line_57 |  | 54 | 55 | 0.02746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2584-4_0_3_line_58 |  | 55 | 56 | 0.030462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2584-4_0_3_line_59 |  | 56 | 57 | 0.028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2584-4_0_3_line_60 |  | 60 | 61 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2584-4_0_3_line_61 |  | 60 | 62 | 0.0027425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2584-4_0_3_trafo_44 | 0.63 MVA 20/0.4 kV | 63 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2637007.1887 | 1245002.09 | 2637013.5031 | 1245003.8182 | 2637056.7093 | 1245025.115
1 | 2636984.0717 | 1244995.763 | 2637007.1887 | 1245002.09
2 | 2636984.0717 | 1244995.763 | 2636986.2039 | 1244984.6023 | 2636990.1204 | 1244961.8472
3 | 2636984.0717 | 1244995.763 | 2636981.1334 | 1245010.7581
4 | 2636991.2395 | 1244955.3447 | 2636990.1204 | 1244961.8472
5 | 2636981.1334 | 1245010.7581 | 2636977.5083 | 1245029.2582
6 | 2636996.1861 | 1244928.4347 | 2636991.4014 | 1244954.4039 | 2636991.2395 | 1244955.3447
7 | 2636977.5083 | 1245029.2582 | 2636976.2447 | 1245035.7069 | 2636970.7008 | 1245039.0524 | 2636954.2334 | 1245033.8861
8 | 2636998.3669 | 1244916.5982 | 2636996.1861 | 1244928.4347
9 | 2636939.3163 | 1245029.2062 | 2636954.2334 | 1245033.8861
10 | 2637017.183 | 1244817.1863 | 2637018.9936 | 1244807.936 | 2637019.1115 | 1244806.7028
11 | 2637017.183 | 1244817.1863 | 2637015.4034 | 1244825.1026 | 2637013.0077 | 1244838.0402
12 | 2637017.183 | 1244817.1863 | 2636996.8911 | 1244809.3047
13 | 2637017.183 | 1244817.1863 | 2637037.3663 | 1244825.6789
14 | 2637011.5683 | 1244845.8136 | 2637013.0077 | 1244838.0402
15 | 2636954.7059 | 1244793.9377 | 2636962.0538 | 1244795.7735 | 2636996.8911 | 1244809.3047
16 | 2637049.6102 | 1244830.8307 | 2637037.3663 | 1244825.6789
17 | 2637007.5623 | 1244867.4477 | 2637011.5683 | 1244845.8136
18 | 2636954.7059 | 1244793.9377 | 2636952.3978 | 1244819.9958 | 2636952.3296 | 1244821.4718
19 | 2637049.6102 | 1244830.8307 | 2637110.0275 | 1244889.8157
20 | 2637062.2719 | 1244704.0383 | 2637079.0223 | 1244701.7747 | 2637123.2911 | 1244703.1522
21 | 2637062.2719 | 1244704.0383 | 2637065.6017 | 1244714.099 | 2637067.9897 | 1244730.9804 | 2637068.101 | 1244754.2963
22 | 2637178.0171 | 1244702.1383 | 2637170.1904 | 1244703.1566 | 2637123.2911 | 1244703.1522
23 | 2637123.2911 | 1244703.1522 | 2637118.872 | 1244755.765
24 | 2637068.101 | 1244754.2963 | 2637069.048 | 1244759.6927
25 | 2637186.5452 | 1244667.5692 | 2637187.6106 | 1244676.0036 | 2637186.912 | 1244686.2058 | 2637185.9173 | 1244691.8032 | 2637184.4151 | 1244695.2072 | 2637182.5242 | 1244697.9193 | 2637180.5169 | 1244699.9192 | 2637178.0171 | 1244702.1383
26 | 2637178.0171 | 1244702.1383 | 2637189.7439 | 1244706.9593 | 2637212.7953 | 1244715.6427 | 2637214.9618 | 1244716.5646
27 | 2637118.8501 | 1244756.0255 | 2637118.872 | 1244755.765
28 | 2637007.5623 | 1244867.4477 | 2637006.9041 | 1244871.0017 | 2637004.7368 | 1244882.3087
29 | 2636952.3296 | 1244821.4718 | 2636951.9911 | 1244828.7968
30 | 2637131.6918 | 1244820.5366 | 2637130.0832 | 1244827.6646 | 2637118.3043 | 1244859.0002 | 2637111.4007 | 1244884.0067 | 2637110.0275 | 1244889.8157
31 | 2637106.6976 | 1244903.9014 | 2637110.0275 | 1244889.8157
32 | 2636954.8941 | 1244879.7975 | 2636958.222 | 1244880.4521
33 | 2637003.3898 | 1244889.3362 | 2636958.222 | 1244880.4521
34 | 2636922.8319 | 1244873.4912 | 2636954.8941 | 1244879.7975
35 | 2637003.3898 | 1244889.3362 | 2637004.7368 | 1244882.3087
36 | 2637003.3898 | 1244889.3362 | 2636998.3669 | 1244916.5982
37 | 2636922.8319 | 1244873.4912 | 2636921.6059 | 1244891.9054
38 | 2636922.8319 | 1244873.4912 | 2636899.2423 | 1244868.8585
39 | 2636921.6059 | 1244891.9054 | 2636921.5318 | 1244893.0181 | 2636914.9582 | 1244926.6536
40 | 2636888.2246 | 1244864.159 | 2636889.6984 | 1244865.3022 | 2636894.1253 | 1244867.8536 | 2636899.2423 | 1244868.8585
41 | 2636908.3562 | 1244960.4351 | 2636914.9582 | 1244926.6536
42 | 2636888.2246 | 1244864.159 | 2636887.3025 | 1244862.9969 | 2636886.6015 | 1244861.5027 | 2636886.0989 | 1244859.6984 | 2636886.4027 | 1244855.7978 | 2636888.6932 | 1244838.6119
43 | 2637101.0754 | 1244925.5754 | 2637101.1005 | 1244925.4026 | 2637103.1029 | 1244914.4969 | 2637105.3153 | 1244907.9757
44 | 2637106.6976 | 1244903.9014 | 2637105.3153 | 1244907.9757
45 | 2637118.8501 | 1244756.0255 | 2637131.6918 | 1244820.5366
46 | 2637186.5452 | 1244667.5692 | 2637191.9426 | 1244665.9686 | 2637201.3413 | 1244660.0792 | 2637204.5233 | 1244659.9212 | 2637208.0932 | 1244662.99 | 2637213.3146 | 1244673.1298
47 | 2637213.3146 | 1244673.1298 | 2637218.2814 | 1244682.7749
48 | 2637220.2014 | 1244686.5034 | 2637218.2814 | 1244682.7749
49 | 2636785.8404 | 1244969.0992 | 2636781.2707 | 1244969.5642 | 2636768.9182 | 1244965.8027
50 | 2636901.6637 | 1244994.6795 | 2636785.8404 | 1244969.0992
51 | 2636901.6637 | 1244994.6795 | 2636908.3562 | 1244960.4351
52 | 2636891.3878 | 1244818.3822 | 2636888.6932 | 1244838.6119
53 | 2636888.6932 | 1244838.6119 | 2636901.0958 | 1244841.1342
54 | 2636891.3878 | 1244818.3822 | 2636923.3111 | 1244824.3956
55 | 2636901.0958 | 1244841.1342 | 2636918.2525 | 1244844.6234
56 | 2636921.8005 | 1244845.3449 | 2636918.2525 | 1244844.6234
57 | 2636939.3163 | 1245029.2062 | 2636944.3491 | 1245002.2113
58 | 2636944.3491 | 1245002.2113 | 2636949.9319 | 1244972.2656
59 | 2636955.153 | 1244944.2607 | 2636949.9319 | 1244972.2656
60 | 2636951.4242 | 1244841.0649 | 2636951.9911 | 1244828.7968
61 | 2636951.2976 | 1244843.8045 | 2636951.4242 | 1244841.0649

## bus_geodata
| x | y | coords
0 | 2637007.1887 | 1245002.09
1 | 2637056.7093 | 1245025.115
2 | 2636984.0717 | 1244995.763
3 | 2636990.1204 | 1244961.8472
4 | 2636981.1334 | 1245010.7581
5 | 2636991.2395 | 1244955.3447
6 | 2636977.5083 | 1245029.2582
7 | 2636996.1861 | 1244928.4347
8 | 2636954.2334 | 1245033.8861
9 | 2637019.1115 | 1244806.7028
10 | 2637017.183 | 1244817.1863
11 | 2637013.0077 | 1244838.0402
12 | 2636996.8911 | 1244809.3047
13 | 2637037.3663 | 1244825.6789
14 | 2637011.5683 | 1244845.8136
15 | 2636954.7059 | 1244793.9377
16 | 2637049.6102 | 1244830.8307
17 | 2637062.2719 | 1244704.0383
18 | 2637123.2911 | 1244703.1522
19 | 2637068.101 | 1244754.2963
20 | 2637178.0171 | 1244702.1383
21 | 2637118.872 | 1244755.765
22 | 2637069.048 | 1244759.6927
23 | 2637007.5623 | 1244867.4477
24 | 2636952.3296 | 1244821.4718
25 | 2637110.0275 | 1244889.8157
26 | 2636958.222 | 1244880.4521
27 | 2636954.8941 | 1244879.7975
28 | 2637003.3898 | 1244889.3362
29 | 2636922.8319 | 1244873.4912
30 | 2637004.7368 | 1244882.3087
31 | 2636998.3669 | 1244916.5982
32 | 2636921.6059 | 1244891.9054
33 | 2636899.2423 | 1244868.8585
34 | 2636914.9582 | 1244926.6536
35 | 2636888.2246 | 1244864.159
36 | 2637101.0754 | 1244925.5754
37 | 2637105.3153 | 1244907.9757
38 | 2637118.8501 | 1244756.0255
39 | 2637131.6918 | 1244820.5366
40 | 2637186.5452 | 1244667.5692
41 | 2637214.9618 | 1244716.5646
42 | 2637213.3146 | 1244673.1298
43 | 2637218.2814 | 1244682.7749
44 | 2637220.2014 | 1244686.5034
45 | 2636785.8404 | 1244969.0992
46 | 2636768.9182 | 1244965.8027
47 | 2636901.6637 | 1244994.6795
48 | 2636908.3562 | 1244960.4351
49 | 2636888.6932 | 1244838.6119
50 | 2636891.3878 | 1244818.3822
51 | 2636901.0958 | 1244841.1342
52 | 2636923.3111 | 1244824.3956
53 | 2636918.2525 | 1244844.6234
54 | 2636939.3163 | 1245029.2062
55 | 2636944.3491 | 1245002.2113
56 | 2636949.9319 | 1244972.2656
57 | 2636955.153 | 1244944.2607
58 | 2636921.8005 | 1244845.3449
59 | 2637106.6976 | 1244903.9014
60 | 2636951.4242 | 1244841.0649
61 | 2636951.9911 | 1244828.7968
62 | 2636951.2976 | 1244843.8045
63 | 2636955.2151 | 1244943.9274

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98392 | -0.30652 | 0.010336 | 0.0025904
1 | 0.98327 | -0.31927 | 0.012935 | 0.0032418
2 | 0.98444 | -0.29648 | 0 | 0
3 | 0.98186 | -0.34642 | 0.011413 | 0.0028604
4 | 0.98569 | -0.27229 | 0.015561 | 0.0038999
5 | 0.98139 | -0.35556 | 0.012424 | 0.0031139
6 | 0.98733 | -0.24078 | 0.01381 | 0.003461
7 | 0.97954 | -0.3915 | 0.01142 | 0.0028622
8 | 0.99009 | -0.18786 | 0.0071365 | 0.0017886
9 | 0.97553 | -0.4701 | 0.0012169 | 0.00030498
10 | 0.97554 | -0.46986 | 0 | 0
11 | 0.97592 | -0.46238 | 0.0072648 | 0.0018207
12 | 0.97525 | -0.47563 | 0.002085 | 0.00052255
13 | 0.97526 | -0.47548 | 0.0018637 | 0.00046708
14 | 0.97608 | -0.45925 | 0.0062509 | 0.0015666
15 | 0.97473 | -0.48583 | 0 | 0
16 | 0.97509 | -0.47873 | 0.0026919 | 0.00067466
17 | 0.97136 | -0.55235 | 0 | 0
18 | 0.97174 | -0.54491 | 0 | 0
19 | 0.97105 | -0.55857 | 0.0030508 | 0.00076459
20 | 0.97137 | -0.55223 | 0 | 0
21 | 0.97242 | -0.5314 | 0.0062527 | 0.0015671
22 | 0.97103 | -0.55893 | 0.0035526 | 0.00089035
23 | 0.97657 | -0.44971 | 0.0054787 | 0.0013731
24 | 0.97441 | -0.49211 | 0.0038557 | 0.00096633
25 | 0.97411 | -0.49804 | 0.0021879 | 0.00054835
26 | 0.9755 | -0.47062 | 0.0015457 | 0.00038739
27 | 0.97539 | -0.47291 | 0.013738 | 0.003443
28 | 0.97711 | -0.43911 | 0 | 0
29 | 0.9744 | -0.49229 | 0 | 0
30 | 0.97693 | -0.44265 | 0.0046375 | 0.0011623
31 | 0.97878 | -0.40651 | 0.012318 | 0.0030872
32 | 0.97389 | -0.50224 | 0.0048623 | 0.0012186
33 | 0.9742 | -0.49623 | 0.001401 | 0.00035111
34 | 0.97298 | -0.52029 | 0.017959 | 0.0045009
35 | 0.97411 | -0.49791 | 0 | 0
36 | 0.97383 | -0.50356 | 0.0071406 | 0.0017896
37 | 0.97395 | -0.50118 | 0.0019514 | 0.00048906
38 | 0.97243 | -0.5313 | 0.0059809 | 0.001499
39 | 0.97323 | -0.51549 | 0 | 0
40 | 0.97118 | -0.55595 | 0 | 0
41 | 0.9713 | -0.55363 | 0.0019108 | 0.00047889
42 | 0.971 | -0.5595 | 0.0018738 | 0.00046963
43 | 0.97097 | -0.5602 | 0.0016102 | 0.00040356
44 | 0.97096 | -0.56035 | 0.0018607 | 0.00046632
45 | 0.97032 | -0.57288 | 0.010049 | 0.0025185
46 | 0.9701 | -0.57727 | 0.02714 | 0.0068019
47 | 0.97169 | -0.54569 | 0.016885 | 0.0042319
48 | 0.97228 | -0.53408 | 0.011155 | 0.0027957
49 | 0.97393 | -0.50154 | 0 | 0
50 | 0.9739 | -0.50208 | 0 | 0
51 | 0.97386 | -0.50295 | 0.001408 | 0.00035287
52 | 0.97386 | -0.50293 | 0.0014332 | 0.0003592
53 | 0.97378 | -0.50446 | 0.0022318 | 0.00055933
54 | 0.99154 | -0.16002 | 0 | 0
55 | 0.9941 | -0.11131 | 0.016464 | 0.0041263
56 | 0.9971 | -0.054639 | 0.011758 | 0.002947
57 | 1 | 0 | -0.33741 | -0.086712
58 | 0.97377 | -0.50462 | 0.0024463 | 0.00061311
59 | 0.97399 | -0.50046 | 0 | 0
60 | 0.97429 | -0.49457 | 0.0017577 | 0.00044052
61 | 0.97436 | -0.49325 | 0.0026575 | 0.00066603
62 | 0.97428 | -0.49478 | 0.0041021 | 0.0010281
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012943 | 0.0032461 | -0.012935 | -0.0032418 | 7.8621e-06 | 4.3373e-06 | 0.019575 | 0.019575 | 0.019575 | 0.98392 | -0.30652 | 0.98327 | -0.31927 | 5.3777
1 | -0.023279 | -0.0058365 | 0.02329 | 0.0058434 | 1.114e-05 | 6.8248e-06 | 0.035206 | 0.035206 | 0.035206 | 0.98392 | -0.30652 | 0.98444 | -0.29648 | 9.6719
2 | 0.24333 | 0.061829 | -0.24274 | -0.061457 | 0.00058353 | 0.00037215 | 0.3681 | 0.3681 | 0.3681 | 0.98444 | -0.29648 | 0.98186 | -0.34642 | 33.709
3 | -0.26662 | -0.067672 | 0.26693 | 0.06787 | 0.00031068 | 0.00019825 | 0.40331 | 0.40331 | 0.40331 | 0.98444 | -0.29648 | 0.98569 | -0.27229 | 36.9329
4 | 0.23133 | 0.058596 | -0.23123 | -0.058532 | 0.0001015 | 6.471e-05 | 0.35081 | 0.35081 | 0.35081 | 0.98186 | -0.34642 | 0.98139 | -0.35556 | 32.125
5 | -0.28249 | -0.07177 | 0.28292 | 0.072044 | 0.00042925 | 0.000274 | 0.4268 | 0.4268 | 0.4268 | 0.98569 | -0.27229 | 0.98733 | -0.24078 | 39.084
6 | 0.2188 | 0.055418 | -0.21843 | -0.055178 | 0.0003769 | 0.00024018 | 0.33197 | 0.33197 | 0.33197 | 0.98139 | -0.35556 | 0.97954 | -0.3915 | 30.3999
7 | -0.29673 | -0.075505 | 0.29749 | 0.07599 | 0.00075897 | 0.00048458 | 0.44761 | 0.44761 | 0.44761 | 0.98733 | -0.24078 | 0.99009 | -0.18786 | 40.9899
8 | 0.20701 | 0.052315 | -0.20686 | -0.05222 | 0.00014892 | 9.4854e-05 | 0.31462 | 0.31462 | 0.31462 | 0.97954 | -0.3915 | 0.97878 | -0.40651 | 28.8113
9 | -0.30462 | -0.077779 | 0.30503 | 0.078041 | 0.00041053 | 0.00026213 | 0.45833 | 0.45833 | 0.45833 | 0.99009 | -0.18786 | 0.99154 | -0.16002 | 41.972
10 | -0.0012169 | -0.00030498 | 0.0012169 | 0.00030486 | 1.3778e-08 | -1.2433e-07 | 0.0018562 | 0.0018561 | 0.0018562 | 0.97553 | -0.4701 | 0.97554 | -0.46986 | 0.50993
11 | -0.057731 | -0.014504 | 0.057752 | 0.014517 | 2.0624e-05 | 1.2402e-05 | 0.088071 | 0.088071 | 0.088071 | 0.97554 | -0.46986 | 0.97592 | -0.46238 | 8.0651
12 | 0.014473 | 0.0036314 | -0.014469 | -0.0036291 | 3.9787e-06 | 2.2747e-06 | 0.022077 | 0.022077 | 0.022077 | 0.97554 | -0.46986 | 0.97525 | -0.47563 | 6.0651
13 | 0.042042 | 0.010568 | -0.04203 | -0.010562 | 1.126e-05 | 6.3864e-06 | 0.064138 | 0.064139 | 0.064139 | 0.97554 | -0.46986 | 0.97526 | -0.47548 | 5.8735
14 | -0.065017 | -0.016338 | 0.065026 | 0.016343 | 9.7142e-06 | 5.9207e-06 | 0.099148 | 0.099148 | 0.099148 | 0.97592 | -0.46238 | 0.97608 | -0.45925 | 9.0795
15 | 0.012384 | 0.0031066 | -0.012378 | -0.0031033 | 6.0181e-06 | 3.291e-06 | 0.018896 | 0.018896 | 0.018896 | 0.97525 | -0.47563 | 0.97473 | -0.48583 | 5.1912
16 | 0.040167 | 0.010095 | -0.040161 | -0.010091 | 6.2385e-06 | 3.4955e-06 | 0.061295 | 0.061295 | 0.061295 | 0.97526 | -0.47548 | 0.97509 | -0.47873 | 5.6131
17 | -0.071277 | -0.01791 | 0.07131 | 0.01793 | 3.2482e-05 | 1.9963e-05 | 0.10868 | 0.10868 | 0.10868 | 0.97608 | -0.45925 | 0.97657 | -0.44971 | 9.9521
18 | 0.012378 | 0.0031033 | -0.012374 | -0.0031013 | 3.7006e-06 | 2.024e-06 | 0.018896 | 0.018896 | 0.018896 | 0.97473 | -0.48583 | 0.97441 | -0.49211 | 5.1912
19 | 0.037469 | 0.0094165 | -0.037434 | -0.0093976 | 3.4518e-05 | 1.8935e-05 | 0.057187 | 0.057189 | 0.057189 | 0.97509 | -0.47873 | 0.97411 | -0.49804 | 5.237
20 | -0.0066053 | -0.0016555 | 0.0066077 | 0.0016563 | 2.3425e-06 | 7.4368e-07 | 0.010119 | 0.010118 | 0.010119 | 0.97136 | -0.55235 | 0.97174 | -0.54491 | 2.7799
21 | 0.0066053 | 0.0016555 | -0.0066034 | -0.0016549 | 1.9569e-06 | 6.2172e-07 | 0.010119 | 0.010119 | 0.010119 | 0.97136 | -0.55235 | 0.97105 | -0.55857 | 2.7799
22 | 0.0072602 | 0.0018191 | -0.0072577 | -0.0018182 | 2.532e-06 | 9.44e-07 | 0.011117 | 0.011118 | 0.011118 | 0.97174 | -0.54491 | 0.97137 | -0.55223 | 3.0543
23 | -0.013868 | -0.0034754 | 0.013877 | 0.0034805 | 8.9285e-06 | 5.0597e-06 | 0.021236 | 0.021235 | 0.021236 | 0.97174 | -0.54491 | 0.97242 | -0.5314 | 5.834
24 | 0.0035526 | 0.00089033 | -0.0035526 | -0.00089035 | 6.0891e-08 | -2.8806e-08 | 0.0054439 | 0.005444 | 0.005444 | 0.97105 | -0.55857 | 0.97103 | -0.55893 | 1.4956
25 | 0.0053467 | 0.0013397 | -0.0053458 | -0.0013395 | 9.4594e-07 | 1.4002e-07 | 0.0081904 | 0.0081906 | 0.0081906 | 0.97137 | -0.55223 | 0.97118 | -0.55595 | 2.2502
26 | 0.0019109 | 0.00047848 | -0.0019108 | -0.00047889 | 1.2746e-07 | -4.0941e-07 | 0.0029271 | 0.0029273 | 0.0029273 | 0.97137 | -0.55223 | 0.9713 | -0.55363 | 0.80421
27 | -0.020129 | -0.0050475 | 0.02013 | 0.0050476 | 9.3014e-08 | 5.6286e-08 | 0.030803 | 0.030803 | 0.030803 | 0.97242 | -0.5314 | 0.97243 | -0.5313 | 8.4625
28 | -0.076788 | -0.019303 | 0.076814 | 0.019319 | 2.5896e-05 | 1.6005e-05 | 0.11702 | 0.11702 | 0.11702 | 0.97657 | -0.44971 | 0.97693 | -0.44265 | 10.7166
29 | 0.0085182 | 0.0021349 | -0.0085177 | -0.0021347 | 4.653e-07 | 2.0645e-07 | 0.013008 | 0.013008 | 0.013008 | 0.97441 | -0.49211 | 0.97436 | -0.49325 | 3.5736
30 | 0.026152 | 0.0065696 | -0.02613 | -0.0065575 | 2.1759e-05 | 1.2117e-05 | 0.039954 | 0.039955 | 0.039955 | 0.97411 | -0.49804 | 0.97323 | -0.51549 | 5.4883
31 | 0.0090942 | 0.0022796 | -0.0090931 | -0.0022791 | 1.0475e-06 | 4.9024e-07 | 0.013892 | 0.013892 | 0.013892 | 0.97411 | -0.49804 | 0.97399 | -0.50046 | 3.8165
32 | 0.11106 | 0.027956 | -0.11104 | -0.027948 | 1.2173e-05 | 7.6636e-06 | 0.16945 | 0.16945 | 0.16945 | 0.9755 | -0.47062 | 0.97539 | -0.47291 | 15.5171
33 | -0.1126 | -0.028343 | 0.11277 | 0.02845 | 0.00016984 | 0.00010697 | 0.1718 | 0.1718 | 0.1718 | 0.9755 | -0.47062 | 0.97711 | -0.43911 | 15.7331
34 | 0.097306 | 0.024505 | -0.097216 | -0.024449 | 9.0061e-05 | 5.6417e-05 | 0.14849 | 0.14849 | 0.14849 | 0.97539 | -0.47291 | 0.9744 | -0.49229 | 13.598
35 | 0.081466 | 0.02049 | -0.081452 | -0.020481 | 1.3772e-05 | 8.5455e-06 | 0.12409 | 0.12409 | 0.12409 | 0.97711 | -0.43911 | 0.97693 | -0.44265 | 11.3634
36 | -0.19424 | -0.04894 | 0.19454 | 0.049133 | 0.00030338 | 0.00019312 | 0.29589 | 0.29589 | 0.29589 | 0.97711 | -0.43911 | 0.97878 | -0.40651 | 27.0964
37 | 0.088291 | 0.022212 | -0.088249 | -0.022186 | 4.1956e-05 | 2.6163e-05 | 0.13486 | 0.13486 | 0.13486 | 0.9744 | -0.49229 | 0.97389 | -0.50224 | 12.3499
38 | 0.0089247 | 0.0022366 | -0.008923 | -0.0022358 | 1.6745e-06 | 7.7232e-07 | 0.013629 | 0.013629 | 0.013629 | 0.9744 | -0.49229 | 0.9742 | -0.49623 | 3.7442
39 | 0.083387 | 0.020967 | -0.083315 | -0.020923 | 7.1831e-05 | 4.4652e-05 | 0.12743 | 0.12743 | 0.12743 | 0.97389 | -0.50224 | 0.97298 | -0.52029 | 11.6697
40 | 0.007522 | 0.0018847 | -0.0075214 | -0.0018845 | 6.0339e-07 | 2.3441e-07 | 0.011489 | 0.011489 | 0.011489 | 0.9742 | -0.49623 | 0.97411 | -0.49791 | 3.1564
41 | 0.065356 | 0.016422 | -0.065313 | -0.016396 | 4.2998e-05 | 2.6237e-05 | 0.099967 | 0.099968 | 0.099968 | 0.97298 | -0.52029 | 0.97228 | -0.53408 | 9.1546
42 | 0.0075214 | 0.0018845 | -0.0075201 | -0.001884 | 1.2998e-06 | 5.0504e-07 | 0.011489 | 0.011489 | 0.011489 | 0.97411 | -0.49791 | 0.97393 | -0.50154 | 3.1564
43 | -0.0071406 | -0.0017896 | 0.0071415 | 0.0017899 | 8.1022e-07 | 2.9271e-07 | 0.010911 | 0.010911 | 0.010911 | 0.97383 | -0.50356 | 0.97395 | -0.50118 | 2.9975
44 | -0.0090928 | -0.002279 | 0.0090931 | 0.0022791 | 3.1138e-07 | 1.4574e-07 | 0.013892 | 0.013892 | 0.013892 | 0.97395 | -0.50118 | 0.97399 | -0.50046 | 3.8165
45 | -0.02611 | -0.0065465 | 0.02613 | 0.0065575 | 1.9689e-05 | 1.0968e-05 | 0.039955 | 0.039955 | 0.039955 | 0.97243 | -0.5313 | 0.97323 | -0.51549 | 5.4884
46 | 0.0053458 | 0.0013395 | -0.0053449 | -0.0013394 | 9.0617e-07 | 1.3432e-07 | 0.0081906 | 0.0081907 | 0.0081907 | 0.97118 | -0.55595 | 0.971 | -0.5595 | 2.2502
47 | 0.003471 | 0.00086979 | -0.0034709 | -0.00086985 | 1.1511e-07 | -6.052e-08 | 0.0053191 | 0.0053192 | 0.0053192 | 0.971 | -0.5595 | 0.97097 | -0.5602 | 1.4613
48 | 0.0018607 | 0.00046628 | -0.0018607 | -0.00046632 | 1.2788e-08 | -4.3688e-08 | 0.0028515 | 0.0028515 | 0.0028515 | 0.97097 | -0.5602 | 0.97096 | -0.56035 | 0.78338
49 | 0.027146 | 0.0068051 | -0.02714 | -0.0068019 | 5.6883e-06 | 3.2082e-06 | 0.041629 | 0.041629 | 0.041629 | 0.97032 | -0.57288 | 0.9701 | -0.57727 | 5.7183
50 | -0.037195 | -0.0093237 | 0.037243 | 0.0093501 | 4.8239e-05 | 2.6471e-05 | 0.05704 | 0.057038 | 0.05704 | 0.97032 | -0.57288 | 0.97169 | -0.54569 | 5.2234
51 | -0.054128 | -0.013582 | 0.054158 | 0.0136 | 2.9971e-05 | 1.7884e-05 | 0.082896 | 0.082896 | 0.082896 | 0.97169 | -0.54569 | 0.97228 | -0.53408 | 7.5912
52 | 0.0014333 | 0.00035861 | -0.0014333 | -0.00035884 | 3.6699e-08 | -2.3049e-07 | 0.0021897 | 0.0021898 | 0.0021898 | 0.97393 | -0.50154 | 0.9739 | -0.50208 | 0.60159
53 | 0.0060868 | 0.0015254 | -0.0060864 | -0.0015253 | 4.1047e-07 | 1.0521e-07 | 0.0092997 | 0.0092997 | 0.0092997 | 0.97393 | -0.50154 | 0.97386 | -0.50295 | 2.5549
54 | 0.0014333 | 0.00035884 | -0.0014332 | -0.0003592 | 5.825e-08 | -3.6577e-07 | 0.0021898 | 0.0021899 | 0.0021899 | 0.9739 | -0.50208 | 0.97386 | -0.50293 | 0.60163
55 | 0.0046784 | 0.0011724 | -0.0046781 | -0.0011724 | 3.355e-07 | -3.1046e-09 | 0.0071484 | 0.0071485 | 0.0071485 | 0.97386 | -0.50295 | 0.97378 | -0.50446 | 1.9639
56 | 0.0024463 | 0.00061307 | -0.0024463 | -0.00061311 | 1.8973e-08 | -3.2899e-08 | 0.0037382 | 0.0037382 | 0.0037382 | 0.97378 | -0.50446 | 0.97377 | -0.50462 | 1.027
57 | -0.30503 | -0.078041 | 0.30575 | 0.078501 | 0.00072107 | 0.00046042 | 0.45833 | 0.45833 | 0.45833 | 0.99154 | -0.16002 | 0.9941 | -0.11131 | 41.972
58 | -0.32222 | -0.082627 | 0.32311 | 0.083195 | 0.00088821 | 0.00056727 | 0.48298 | 0.48298 | 0.48298 | 0.9941 | -0.11131 | 0.9971 | -0.054639 | 44.2287
59 | -0.33487 | -0.086142 | 0.33576 | 0.086711 | 0.0008921 | 0.00056983 | 0.50052 | 0.50052 | 0.50052 | 0.9971 | -0.054639 | 1 | 0 | 45.8356
60 | -0.0058599 | -0.0014686 | 0.0058602 | 0.0014687 | 3.6888e-07 | 8.313e-08 | 0.0089497 | 0.0089496 | 0.0089497 | 0.97429 | -0.49457 | 0.97436 | -0.49325 | 2.4587
61 | 0.0041022 | 0.0010281 | -0.0041021 | -0.0010281 | 4.0368e-08 | -8.317e-09 | 0.0062652 | 0.0062652 | 0.0062652 | 0.97429 | -0.49457 | 0.97428 | -0.49478 | 1.7212

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34918 | 0.089662

## res_load
| p_mw | q_mvar
0 | 0.010336 | 0.0025904
1 | 0.012935 | 0.0032418
2 | 0.011413 | 0.0028604
3 | 0.015561 | 0.0038999
4 | 0.012424 | 0.0031139
5 | 0.01381 | 0.003461
6 | 0.01142 | 0.0028622
7 | 0.0071365 | 0.0017886
8 | 0.0012169 | 0.00030498
9 | 0.0072648 | 0.0018207
10 | 0.002085 | 0.00052255
11 | 0.0018637 | 0.00046708
12 | 0.0062509 | 0.0015666
13 | 0.0026919 | 0.00067466
14 | 0.0030508 | 0.00076459
15 | 0.0062527 | 0.0015671
16 | 0.0035526 | 0.00089035
17 | 0.0054787 | 0.0013731
18 | 0.0038557 | 0.00096633
19 | 0.0021879 | 0.00054835
20 | 0.0015457 | 0.00038739
21 | 0.013738 | 0.003443
22 | 0.0046375 | 0.0011623
23 | 0.012318 | 0.0030872
24 | 0.0048623 | 0.0012186
25 | 0.001401 | 0.00035111
26 | 0.017959 | 0.0045009
27 | 0.0071406 | 0.0017896
28 | 0.0019514 | 0.00048906
29 | 0.0059809 | 0.001499
30 | 0.0019108 | 0.00047889
31 | 0.0018738 | 0.00046963
32 | 0.0016102 | 0.00040356
33 | 0.0018607 | 0.00046632
34 | 0.010049 | 0.0025185
35 | 0.02714 | 0.0068019
36 | 0.016885 | 0.0042319
37 | 0.011155 | 0.0027957
38 | 0.001408 | 0.00035287
39 | 0.0014332 | 0.0003592
40 | 0.0022318 | 0.00055933
41 | 0.016464 | 0.0041263
42 | 0.011758 | 0.002947
43 | 0.011773 | 0.0029506
44 | 0.0024463 | 0.00061311
45 | 0.0017577 | 0.00044052
46 | 0.0026575 | 0.00066603
47 | 0.0041021 | 0.0010281

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1