## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2586-6_1_2_node_45 | 0.4 | n |  | TRUE
1 | bus_LV_2586-6_1_2_node_95 | 0.4 | n |  | TRUE
2 | bus_LV_2586-6_1_2_node_139 | 0.4 | n |  | TRUE
3 | bus_LV_2586-6_1_2_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_2586-6_1_2_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_2586-6_1_2_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_2586-6_1_2_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_2586-6_1_2_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_2586-6_1_2_node_137 | 0.4 | n |  | TRUE
9 | bus_LV_2586-6_1_2_node_105 | 0.4 | n |  | TRUE
10 | bus_LV_2586-6_1_2_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_2586-6_1_2_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_2586-6_1_2_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_2586-6_1_2_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_2586-6_1_2_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_2586-6_1_2_node_177 | 0.4 | n |  | TRUE
16 | bus_LV_2586-6_1_2_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_2586-6_1_2_node_176 | 0.4 | n |  | TRUE
18 | bus_LV_2586-6_1_2_node_121 | 0.4 | n |  | TRUE
19 | bus_LV_2586-6_1_2_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_2586-6_1_2_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_2586-6_1_2_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_2586-6_1_2_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_2586-6_1_2_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_2586-6_1_2_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_2586-6_1_2_node_123 | 0.4 | n |  | TRUE
26 | bus_LV_2586-6_1_2_node_110 | 0.4 | n |  | TRUE
27 | bus_LV_2586-6_1_2_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_2586-6_1_2_node_149 | 0.4 | n |  | TRUE
29 | bus_LV_2586-6_1_2_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_2586-6_1_2_node_175 | 0.4 | n |  | TRUE
31 | bus_LV_2586-6_1_2_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_2586-6_1_2_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_2586-6_1_2_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_2586-6_1_2_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_2586-6_1_2_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_2586-6_1_2_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_2586-6_1_2_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_2586-6_1_2_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_2586-6_1_2_node_155 | 0.4 | n |  | TRUE
40 | bus_LV_2586-6_1_2_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_2586-6_1_2_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_2586-6_1_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_2586-6_1_2_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_2586-6_1_2_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_2586-6_1_2_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_2586-6_1_2_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_2586-6_1_2_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_2586-6_1_2_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_2586-6_1_2_node_111 | 0.4 | n |  | TRUE
50 | bus_LV_2586-6_1_2_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_2586-6_1_2_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_2586-6_1_2_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_2586-6_1_2_node_150 | 0.4 | n |  | TRUE
54 | bus_LV_2586-6_1_2_node_141 | 0.4 | n |  | TRUE
55 | bus_LV_2586-6_1_2_node_151 | 0.4 | n |  | TRUE
56 | bus_LV_2586-6_1_2_node_138 | 0.4 | n |  | TRUE
57 | bus_LV_2586-6_1_2_node_142 | 0.4 | n |  | TRUE
58 | bus_LV_2586-6_1_2_node_144 | 0.4 | n |  | TRUE
59 | bus_LV_2586-6_1_2_node_166 | 0.4 | n |  | TRUE
60 | bus_LV_2586-6_1_2_node_157 | 0.4 | n |  | TRUE
61 | bus_LV_2586-6_1_2_node_158 | 0.4 | n |  | TRUE
62 | bus_LV_2586-6_1_2_node_159 | 0.4 | n |  | TRUE
63 | bus_LV_2586-6_1_2_node_162 | 0.4 | n |  | TRUE
64 | bus_LV_2586-6_1_2_node_172 | 0.4 | n |  | TRUE
65 | bus_LV_2586-6_1_2_node_160 | 0.4 | n |  | TRUE
66 | bus_LV_2586-6_1_2_node_161 | 0.4 | n |  | TRUE
67 | bus_LV_2586-6_1_2_node_163 | 0.4 | n |  | TRUE
68 | bus_LV_2586-6_1_2_node_164 | 0.4 | n |  | TRUE
69 | bus_LV_2586-6_1_2_node_165 | 0.4 | n |  | TRUE
70 | bus_LV_2586-6_1_2_node_173 | 0.4 | n |  | TRUE
71 | bus_LV_2586-6_1_2_node_169 | 0.4 | n |  | TRUE
72 | bus_LV_2586-6_1_2_node_170 | 0.4 | n |  | TRUE
73 | bus_LV_2586-6_1_2_node_171 | 0.4 | n |  | TRUE
74 | bus_MV_480_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2586-6_1_2_load_95 | 1 | 0.0017535 | 0.00043947 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2586-6_1_2_load_139 | 2 | 0.0013169 | 0.00033005 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2586-6_1_2_load_46 | 3 | 0.0016893 | 0.00042339 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2586-6_1_2_load_47 | 4 | 0.0016829 | 0.00042176 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2586-6_1_2_load_48 | 5 | 0.0016893 | 0.00042337 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2586-6_1_2_load_49 | 6 | 0.0016901 | 0.00042359 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2586-6_1_2_load_50 | 7 | 0.0040358 | 0.0010115 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2586-6_1_2_load_105 | 9 | 0.00281 | 0.00070425 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2586-6_1_2_load_61 | 10 | 0.0021479 | 0.00053831 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2586-6_1_2_load_62 | 11 | 0.0014851 | 0.0003722 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2586-6_1_2_load_64 | 12 | 0.0010578 | 0.00026511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2586-6_1_2_load_68 | 14 | 0.0015786 | 0.00039562 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2586-6_1_2_load_177 | 15 | 0.0016038 | 0.00040196 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2586-6_1_2_load_76 | 16 | 0.0014415 | 0.00036129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2586-6_1_2_load_176 | 17 | 0.0013815 | 0.00034623 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2586-6_1_2_load_121 | 18 | 0.0014502 | 0.00036346 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2586-6_1_2_load_77 | 19 | 0.0027818 | 0.00069719 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2586-6_1_2_load_78 | 20 | 0.0027991 | 0.00070152 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2586-6_1_2_load_80 | 22 | 0.0028021 | 0.00070226 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2586-6_1_2_load_81 | 23 | 0.002782 | 0.00069724 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2586-6_1_2_load_123 | 25 | 0.0027904 | 0.00069933 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2586-6_1_2_load_110 | 26 | 0.0027773 | 0.00069607 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2586-6_1_2_load_149 | 28 | 0.0042355 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2586-6_1_2_load_84 | 29 | 0.0012693 | 0.00031812 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2586-6_1_2_load_175 | 30 | 0.0010229 | 0.00025635 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2586-6_1_2_load_91 | 31 | 0.0014272 | 0.00035768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2586-6_1_2_load_92 | 32 | 0.0018693 | 0.00046848 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2586-6_1_2_load_93 | 33 | 0.0015964 | 0.00040009 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2586-6_1_2_load_94 | 34 | 0.0012409 | 0.00031099 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2586-6_1_2_load_96 | 35 | 0.0016464 | 0.00041263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2586-6_1_2_load_97 | 36 | 0.0016892 | 0.00042335 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2586-6_1_2_load_155 | 39 | 0.0036747 | 0.00092098 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2586-6_1_2_load_101 | 40 | 0.0040929 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2586-6_1_2_load_102 | 41 | 0.0039097 | 0.00097987 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2586-6_1_2_load_104 | 42 | 0.0040151 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2586-6_1_2_load_143 | 43 | 0.0038655 | 0.00096879 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2586-6_1_2_load_106 | 44 | 0.002788 | 0.00069874 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2586-6_1_2_load_107 | 45 | 0.0027945 | 0.00070036 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2586-6_1_2_load_108 | 46 | 0.0027852 | 0.00069805 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2586-6_1_2_load_109 | 47 | 0.0027888 | 0.00069894 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2586-6_1_2_load_140 | 48 | 0.0033689 | 0.00084433 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2586-6_1_2_load_111 | 49 | 0.0014517 | 0.00036384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2586-6_1_2_load_112 | 50 | 0.0014258 | 0.00035733 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2586-6_1_2_load_113 | 51 | 0.0037137 | 0.00093074 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2586-6_1_2_load_150 | 53 | 0.0053323 | 0.0013364 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2586-6_1_2_load_141 | 54 | 0.0016825 | 0.00042167 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2586-6_1_2_load_151 | 55 | 0.003283 | 0.0008228 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2586-6_1_2_load_138 | 56 | 0.0015518 | 0.00038892 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2586-6_1_2_load_142 | 57 | 0.0066963 | 0.0016782 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2586-6_1_2_load_144 | 58 | 0.0055877 | 0.0014004 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2586-6_1_2_load_166 | 59 | 0.0024319 | 0.00060948 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2586-6_1_2_load_157 | 60 | 0.002605 | 0.00065288 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2586-6_1_2_load_158 | 61 | 0.0024858 | 0.00062301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2586-6_1_2_load_172 | 64 | 0.0050678 | 0.0012701 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2586-6_1_2_load_160 | 65 | 0.0014421 | 0.00036143 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2586-6_1_2_load_161 | 66 | 0.0013835 | 0.00034675 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2586-6_1_2_load_163 | 67 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2586-6_1_2_load_164 | 68 | 0.0015964 | 0.00040009 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2586-6_1_2_load_165 | 69 | 0.0015071 | 0.00037771 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2586-6_1_2_load_173 | 70 | 0.0032231 | 0.00080778 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2586-6_1_2_load_169 | 71 | 0.0015964 | 0.00040008 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2586-6_1_2_load_170 | 72 | 0.0026425 | 0.00066226 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2586-6_1_2_load_171 | 73 | 0.0017957 | 0.00045005 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2586-6_1_2_line_0 |  | 0 | 1 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2586-6_1_2_line_1 |  | 0 | 2 | 0.0225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2586-6_1_2_line_2 |  | 1 | 33 | 0.030773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2586-6_1_2_line_3 |  | 2 | 56 | 0.015878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2586-6_1_2_line_4 |  | 3 | 4 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2586-6_1_2_line_5 |  | 3 | 5 | 0.0073433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2586-6_1_2_line_6 |  | 4 | 6 | 0.0037485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2586-6_1_2_line_7 |  | 5 | 7 | 0.0047113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2586-6_1_2_line_8 |  | 6 | 8 | 0.0085583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2586-6_1_2_line_9 |  | 7 | 9 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2586-6_1_2_line_10 |  | 8 | 55 | 0.031667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2586-6_1_2_line_11 |  | 9 | 27 | 0.0088283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2586-6_1_2_line_12 |  | 10 | 11 | 0.023098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2586-6_1_2_line_13 |  | 11 | 12 | 0.027416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2586-6_1_2_line_14 |  | 12 | 13 | 0.015811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2586-6_1_2_line_15 |  | 13 | 34 | 0.034615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2586-6_1_2_line_16 |  | 13 | 37 | 0.007101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2586-6_1_2_line_17 |  | 14 | 15 | 0.109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2586-6_1_2_line_18 |  | 15 | 17 | 0.019759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2586-6_1_2_line_19 |  | 16 | 17 | 0.023186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2586-6_1_2_line_20 |  | 16 | 18 | 0.036937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2586-6_1_2_line_21 |  | 18 | 29 | 0.053464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2586-6_1_2_line_22 |  | 19 | 20 | 0.0073191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2586-6_1_2_line_23 |  | 19 | 21 | 0.011038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2586-6_1_2_line_24 |  | 20 | 22 | 0.0043105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2586-6_1_2_line_25 |  | 21 | 23 | 0.019402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2586-6_1_2_line_26 |  | 21 | 24 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2586-6_1_2_line_27 |  | 22 | 25 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2586-6_1_2_line_28 |  | 23 | 26 | 0.0073198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2586-6_1_2_line_29 |  | 24 | 27 | 0.032336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2586-6_1_2_line_30 |  | 24 | 28 | 0.025897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2586-6_1_2_line_31 |  | 25 | 54 | 0.0073975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2586-6_1_2_line_32 |  | 26 | 46 | 0.0053582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2586-6_1_2_line_33 |  | 27 | 40 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2586-6_1_2_line_34 |  | 28 | 53 | 0.0288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2586-6_1_2_line_35 |  | 29 | 30 | 0.053458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2586-6_1_2_line_36 |  | 30 | 52 | 0.022996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2586-6_1_2_line_37 |  | 31 | 32 | 0.026936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2586-6_1_2_line_38 |  | 31 | 33 | 0.0051145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2586-6_1_2_line_39 |  | 32 | 34 | 0.0019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2586-6_1_2_line_40 |  | 35 | 36 | 0.02861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2586-6_1_2_line_41 |  | 35 | 37 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2586-6_1_2_line_42 |  | 36 | 38 | 0.039673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2586-6_1_2_line_43 |  | 38 | 39 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2586-6_1_2_line_44 |  | 39 | 60 | 0.013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2586-6_1_2_line_45 |  | 40 | 41 | 0.0075768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2586-6_1_2_line_46 |  | 41 | 42 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2586-6_1_2_line_47 |  | 42 | 43 | 0.0010557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2586-6_1_2_line_48 |  | 43 | 58 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2586-6_1_2_line_49 |  | 44 | 45 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2586-6_1_2_line_50 |  | 44 | 46 | 0.0073152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2586-6_1_2_line_51 |  | 45 | 47 | 0.0073335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2586-6_1_2_line_52 |  | 47 | 48 | 0.0041332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2586-6_1_2_line_53 |  | 49 | 50 | 0.00035942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2586-6_1_2_line_54 |  | 49 | 51 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2586-6_1_2_line_55 |  | 50 | 52 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2586-6_1_2_line_56 |  | 52 | 53 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2586-6_1_2_line_57 |  | 54 | 57 | 0.010517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2586-6_1_2_line_58 |  | 55 | 59 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2586-6_1_2_line_59 |  | 59 | 69 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2586-6_1_2_line_60 |  | 60 | 61 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2586-6_1_2_line_61 |  | 61 | 62 | 0.018207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2586-6_1_2_line_62 |  | 62 | 63 | 0.033837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2586-6_1_2_line_63 |  | 62 | 64 | 0.00030247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2586-6_1_2_line_64 |  | 63 | 68 | 0.0095045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2586-6_1_2_line_65 |  | 63 | 65 | 0.01015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2586-6_1_2_line_66 |  | 64 | 73 | 0.015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2586-6_1_2_line_67 |  | 65 | 66 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2586-6_1_2_line_68 |  | 66 | 67 | 0.019707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2586-6_1_2_line_69 |  | 67 | 69 | 0.019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2586-6_1_2_line_70 |  | 68 | 70 | 0.0032952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2586-6_1_2_line_71 |  | 71 | 72 | 0.022061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2586-6_1_2_line_72 |  | 71 | 73 | 0.023844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2586-6_1_2_trafo_144 | 0.63 MVA 20/0.4 kV | 74 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2632072.4003 | 1244205.6011 | 2632067.9026 | 1244205.8992 | 2632063.1993 | 1244205.1067 | 2632059.8542 | 1244203.6585
1 | 2632072.4003 | 1244205.6011 | 2632064.309 | 1244226.5958
2 | 2632059.8542 | 1244203.6585 | 2632058.8041 | 1244203.2039 | 2632032.5582 | 1244189.4557
3 | 2632064.309 | 1244226.5958 | 2632062.1078 | 1244232.3072 | 2632066.5115 | 1244241.0143
4 | 2631786.6849 | 1244079.0288 | 2631786.4015 | 1244079.1049 | 2631774.4333 | 1244081.6648 | 2631764.6252 | 1244083.56
5 | 2631793.7768 | 1244077.1237 | 2631786.6849 | 1244079.0288
6 | 2631764.6252 | 1244083.56 | 2631760.9448 | 1244084.2712
7 | 2631793.7768 | 1244077.1237 | 2631797.6014 | 1244076.0962 | 2631798.2868 | 1244075.7891
8 | 2631752.5419 | 1244085.8949 | 2631760.9448 | 1244084.2712
9 | 2631812.1782 | 1244069.5651 | 2631798.2868 | 1244075.7891
10 | 2631752.5419 | 1244085.8949 | 2631757.0051 | 1244094.8912 | 2631770.5434 | 1244111.753
11 | 2631820.2348 | 1244065.9553 | 2631812.1782 | 1244069.5651
12 | 2632028.8969 | 1244117.2743 | 2632020.6993 | 1244124.3032 | 2632010.5093 | 1244131.1913
13 | 2631987.3711 | 1244145.8974 | 2631987.3948 | 1244145.8821 | 2632010.2559 | 1244131.3626 | 2632010.5093 | 1244131.1913
14 | 2631974.0793 | 1244154.4604 | 2631987.3711 | 1244145.8974
15 | 2631974.0793 | 1244154.4604 | 2631978.3983 | 1244159.2979 | 2631981.0981 | 1244161.7029 | 2631985.5019 | 1244164.8064 | 2632002.4455 | 1244173.6818
16 | 2631967.7746 | 1244157.762 | 2631974.0793 | 1244154.4604
17 | 2631911.126 | 1243974.5584 | 2631897.3824 | 1243866.4234
18 | 2631930.7179 | 1243977.1202 | 2631911.126 | 1243974.5584
19 | 2631953.7162 | 1243980.0481 | 2631951.6692 | 1243979.883 | 2631937.2234 | 1243977.9708 | 2631930.7179 | 1243977.1202
20 | 2631953.7162 | 1243980.0481 | 2631958.0309 | 1244016.7324
21 | 2631990.6679 | 1244059.0795 | 2631958.0309 | 1244016.7324
22 | 2631826.9353 | 1244044.447 | 2631819.6979 | 1244043.3559
23 | 2631837.85 | 1244046.0925 | 2631826.9353 | 1244044.447
24 | 2631819.6979 | 1244043.3559 | 2631815.4356 | 1244042.7133
25 | 2631837.85 | 1244046.0925 | 2631838.2366 | 1244026.694
26 | 2631837.85 | 1244046.0925 | 2631843.9153 | 1244047.9928 | 2631849.3064 | 1244051.6352
27 | 2631803.5638 | 1244040.6224 | 2631811.4684 | 1244042.1153 | 2631815.4356 | 1244042.7133
28 | 2631838.3824 | 1244019.3757 | 2631838.2366 | 1244026.694
29 | 2631849.3064 | 1244051.6352 | 2631838.3976 | 1244056.7133 | 2631820.2348 | 1244065.9553
30 | 2631849.3064 | 1244051.6352 | 2631853.5735 | 1244057.7064 | 2631856.6374 | 1244059.8798 | 2631870.6572 | 1244064.364
31 | 2631803.5638 | 1244040.6224 | 2631796.2947 | 1244039.2496
32 | 2631838.3824 | 1244019.3757 | 2631838.4393 | 1244016.521 | 2631837.4367 | 1244014.6478 | 2631837.0756 | 1244014.5349
33 | 2631820.2348 | 1244065.9553 | 2631822.3766 | 1244072.4043 | 2631824.0915 | 1244075.2931 | 2631827.271 | 1244077.0446 | 2631828.7631 | 1244077.5562
34 | 2631898.088 | 1244073.1376 | 2631870.6572 | 1244064.364
35 | 2631945.902 | 1244088.2996 | 2631990.6679 | 1244059.0795
36 | 2631923.9041 | 1244081.388 | 2631945.902 | 1244088.2996
37 | 2632028.0277 | 1244187.0824 | 2632004.1674 | 1244174.5838
38 | 2632028.0277 | 1244187.0824 | 2632032.5582 | 1244189.4557
39 | 2632002.4455 | 1244173.6818 | 2632004.1674 | 1244174.5838
40 | 2631933.4446 | 1244174.8271 | 2631942.5995 | 1244166.9992 | 2631948.5454 | 1244162.9841 | 2631956.1784 | 1244160.0122 | 2631957.3631 | 1244159.8292
41 | 2631967.7746 | 1244157.762 | 2631963.2042 | 1244158.927 | 2631957.3631 | 1244159.8292
42 | 2631903.2915 | 1244200.6097 | 2631933.4446 | 1244174.8271
43 | 2631903.2915 | 1244200.6097 | 2631899.3215 | 1244196.9193 | 2631890.7113 | 1244193.5465
44 | 2631878.5535 | 1244188.7841 | 2631890.7113 | 1244193.5465
45 | 2631828.7631 | 1244077.5562 | 2631835.9303 | 1244080.0137
46 | 2631849.1163 | 1244084.535 | 2631835.9303 | 1244080.0137
47 | 2631850.1148 | 1244084.8774 | 2631849.1163 | 1244084.535
48 | 2631868.7107 | 1244091.2536 | 2631850.1148 | 1244084.8774
49 | 2631830.0935 | 1244012.3527 | 2631815.0819 | 1244007.6611
50 | 2631830.0935 | 1244012.3527 | 2631837.0756 | 1244014.5349
51 | 2631815.0819 | 1244007.6611 | 2631808.0823 | 1244005.4735
52 | 2631804.1373 | 1244004.2405 | 2631808.0823 | 1244005.4735
53 | 2631920.3099 | 1244096.2511 | 2631920.3944 | 1244095.9018
54 | 2631916.6704 | 1244111.3018 | 2631920.3099 | 1244096.2511
55 | 2631923.9041 | 1244081.388 | 2631920.3944 | 1244095.9018
56 | 2631923.9041 | 1244081.388 | 2631922.9989 | 1244081.1052 | 2631898.088 | 1244073.1376
57 | 2631785.9603 | 1244037.2979 | 2631796.2947 | 1244039.2496
58 | 2631770.5434 | 1244111.753 | 2631771.9055 | 1244113.4495 | 2631776.9506 | 1244116.7897 | 2631781.1434 | 1244118.4021
59 | 2631781.1434 | 1244118.4021 | 2631781.1434 | 1244118.4021 | 2631793.7028 | 1244122.6559
60 | 2631878.5535 | 1244188.7841 | 2631864.2442 | 1244183.1789
61 | 2631847.2914 | 1244176.5382 | 2631864.2442 | 1244183.1789
62 | 2631847.2914 | 1244176.5382 | 2631858.1256 | 1244144.4756
63 | 2631847.0074 | 1244176.434 | 2631847.2914 | 1244176.5382
64 | 2631858.1256 | 1244144.4756 | 2631867.1263 | 1244147.5291
65 | 2631858.1256 | 1244144.4756 | 2631848.5123 | 1244141.2196
66 | 2631832.5663 | 1244171.1362 | 2631847.0074 | 1244176.434
67 | 2631848.5123 | 1244141.2196 | 2631830.6794 | 1244135.1797
68 | 2631812.0134 | 1244128.8576 | 2631830.6794 | 1244135.1797
69 | 2631812.0134 | 1244128.8576 | 2631793.7028 | 1244122.6559
70 | 2631870.2468 | 1244148.5877 | 2631867.1263 | 1244147.5291
71 | 2631810.181 | 1244162.9241 | 2631789.4695 | 1244155.326
72 | 2631810.181 | 1244162.9241 | 2631832.5663 | 1244171.1362

## bus_geodata
| x | y | coords
0 | 2632072.4003 | 1244205.6011
1 | 2632059.8542 | 1244203.6585
2 | 2632064.309 | 1244226.5958
3 | 2631786.6849 | 1244079.0288
4 | 2631764.6252 | 1244083.56
5 | 2631793.7768 | 1244077.1237
6 | 2631760.9448 | 1244084.2712
7 | 2631798.2868 | 1244075.7891
8 | 2631752.5419 | 1244085.8949
9 | 2631812.1782 | 1244069.5651
10 | 2632028.8969 | 1244117.2743
11 | 2632010.5093 | 1244131.1913
12 | 2631987.3711 | 1244145.8974
13 | 2631974.0793 | 1244154.4604
14 | 2631897.3824 | 1243866.4234
15 | 2631911.126 | 1243974.5584
16 | 2631953.7162 | 1243980.0481
17 | 2631930.7179 | 1243977.1202
18 | 2631958.0309 | 1244016.7324
19 | 2631826.9353 | 1244044.447
20 | 2631819.6979 | 1244043.3559
21 | 2631837.85 | 1244046.0925
22 | 2631815.4356 | 1244042.7133
23 | 2631838.2366 | 1244026.694
24 | 2631849.3063 | 1244051.6352
25 | 2631803.5638 | 1244040.6224
26 | 2631838.3824 | 1244019.3757
27 | 2631820.2348 | 1244065.9553
28 | 2631870.6572 | 1244064.364
29 | 2631990.6679 | 1244059.0795
30 | 2631945.902 | 1244088.2996
31 | 2632028.0277 | 1244187.0824
32 | 2632004.1674 | 1244174.5838
33 | 2632032.5582 | 1244189.4557
34 | 2632002.4455 | 1244173.6818
35 | 2631957.3631 | 1244159.8292
36 | 2631933.4446 | 1244174.8271
37 | 2631967.7746 | 1244157.762
38 | 2631903.2915 | 1244200.6097
39 | 2631890.7113 | 1244193.5465
40 | 2631828.7631 | 1244077.5562
41 | 2631835.9303 | 1244080.0137
42 | 2631849.1163 | 1244084.535
43 | 2631850.1148 | 1244084.8774
44 | 2631830.0935 | 1244012.3527
45 | 2631815.0819 | 1244007.6611
46 | 2631837.0756 | 1244014.5349
47 | 2631808.0823 | 1244005.4735
48 | 2631804.1373 | 1244004.2405
49 | 2631920.3099 | 1244096.2511
50 | 2631920.3944 | 1244095.9018
51 | 2631916.6704 | 1244111.3018
52 | 2631923.9041 | 1244081.388
53 | 2631898.088 | 1244073.1376
54 | 2631796.2947 | 1244039.2496
55 | 2631770.5434 | 1244111.753
56 | 2632066.5115 | 1244241.0143
57 | 2631785.9603 | 1244037.2979
58 | 2631868.7107 | 1244091.2536
59 | 2631781.1434 | 1244118.4021
60 | 2631878.5535 | 1244188.7841
61 | 2631864.2442 | 1244183.1789
62 | 2631847.2914 | 1244176.5382
63 | 2631858.1256 | 1244144.4756
64 | 2631847.0074 | 1244176.434
65 | 2631848.5123 | 1244141.2196
66 | 2631830.6794 | 1244135.1797
67 | 2631812.0134 | 1244128.8576
68 | 2631867.1263 | 1244147.5291
69 | 2631793.7028 | 1244122.6559
70 | 2631870.2468 | 1244148.5877
71 | 2631810.181 | 1244162.9241
72 | 2631789.4695 | 1244155.326
73 | 2631832.5663 | 1244171.1362
74 | 2631820.2348 | 1244065.9553

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98043 | -0.37775 | 0 | 0
1 | 0.98046 | -0.37708 | 0.0017535 | 0.00043947
2 | 0.98037 | -0.37892 | 0.0013169 | 0.00033005
3 | 0.99266 | -0.14032 | 0.0016893 | 0.00042339
4 | 0.99145 | -0.16361 | 0.0016829 | 0.00042176
5 | 0.99307 | -0.13252 | 0.0016893 | 0.00042337
6 | 0.99125 | -0.16738 | 0.0016901 | 0.00042359
7 | 0.99333 | -0.12738 | 0.0040358 | 0.0010115
8 | 0.99082 | -0.17574 | 0 | 0
9 | 0.99426 | -0.1097 | 0.00281 | 0.00070425
10 | 0.98097 | -0.36716 | 0.0021479 | 0.00053831
11 | 0.98101 | -0.36626 | 0.0014851 | 0.0003722
12 | 0.98111 | -0.36445 | 0.0010578 | 0.00026511
13 | 0.98117 | -0.36311 | 0 | 0
14 | 0.98977 | -0.19661 | 0.0015786 | 0.00039562
15 | 0.98993 | -0.19354 | 0.0016038 | 0.00040196
16 | 0.99009 | -0.19054 | 0.0014415 | 0.00036129
17 | 0.98999 | -0.19242 | 0.0013815 | 0.00034623
18 | 0.99029 | -0.18659 | 0.0014502 | 0.00036346
19 | 0.99221 | -0.14926 | 0.0027818 | 0.00069719
20 | 0.9921 | -0.15143 | 0.0027991 | 0.00070152
21 | 0.99241 | -0.14544 | 0 | 0
22 | 0.99205 | -0.1525 | 0.0028021 | 0.00070226
23 | 0.99206 | -0.15234 | 0.002782 | 0.00069724
24 | 0.99288 | -0.13644 | 0 | 0
25 | 0.99192 | -0.15488 | 0.0027904 | 0.00069933
26 | 0.99194 | -0.15458 | 0.0027773 | 0.00069607
27 | 0.99481 | -0.099029 | 0 | 0
28 | 0.99226 | -0.14831 | 0.0042355 | 0.0010615
29 | 0.99065 | -0.1795 | 0.0012693 | 0.00031812
30 | 0.99108 | -0.17121 | 0.0010229 | 0.00025635
31 | 0.98062 | -0.37393 | 0.0014272 | 0.00035768
32 | 0.98081 | -0.37019 | 0.0018693 | 0.00046848
33 | 0.98059 | -0.3745 | 0.0015964 | 0.00040009
34 | 0.98083 | -0.36986 | 0.0012409 | 0.00031099
35 | 0.98143 | -0.35815 | 0.0016464 | 0.00041263
36 | 0.98188 | -0.3493 | 0.0016892 | 0.00042335
37 | 0.98128 | -0.36112 | 0 | 0
38 | 0.98257 | -0.33583 | 0 | 0
39 | 0.98282 | -0.33086 | 0.0036747 | 0.00092098
40 | 0.99671 | -0.062794 | 0.0040929 | 0.0010258
41 | 0.99767 | -0.044431 | 0.0039097 | 0.00097987
42 | 0.99858 | -0.027093 | 0.0040151 | 0.0010063
43 | 0.99865 | -0.025744 | 0.0038655 | 0.00096879
44 | 0.99179 | -0.15748 | 0.002788 | 0.00069874
45 | 0.99166 | -0.15998 | 0.0027945 | 0.00070036
46 | 0.99187 | -0.15596 | 0.0027852 | 0.00069805
47 | 0.99162 | -0.16078 | 0.0027888 | 0.00069894
48 | 0.99161 | -0.16102 | 0.0033689 | 0.00084433
49 | 0.9912 | -0.16901 | 0.0014517 | 0.00036384
50 | 0.9912 | -0.16898 | 0.0014258 | 0.00035733
51 | 0.99114 | -0.17003 | 0.0037137 | 0.00093074
52 | 0.99129 | -0.16723 | 0 | 0
53 | 0.99169 | -0.15938 | 0.0053323 | 0.0013364
54 | 0.99187 | -0.15598 | 0.0016825 | 0.00042167
55 | 0.98921 | -0.20672 | 0.003283 | 0.0008228
56 | 0.98035 | -0.37937 | 0.0015518 | 0.00038892
57 | 0.9918 | -0.15723 | 0.0066963 | 0.0016782
58 | 1 | 0 | -0.15314 | -0.038521
59 | 0.98861 | -0.21845 | 0.0024319 | 0.00060948
60 | 0.98309 | -0.32557 | 0.002605 | 0.00065288
61 | 0.98345 | -0.31862 | 0.0024858 | 0.00062301
62 | 0.98391 | -0.30958 | 0 | 0
63 | 0.98512 | -0.28606 | 0 | 0
64 | 0.98391 | -0.30964 | 0.0050678 | 0.0012701
65 | 0.98553 | -0.27813 | 0.0014421 | 0.00036143
66 | 0.98631 | -0.26297 | 0.0013835 | 0.00034675
67 | 0.98715 | -0.24663 | 0.0014818 | 0.00037137
68 | 0.98508 | -0.28688 | 0.0015964 | 0.00040009
69 | 0.988 | -0.23012 | 0.0015071 | 0.00037771
70 | 0.98507 | -0.28707 | 0.0032231 | 0.00080778
71 | 0.98373 | -0.31314 | 0.0015964 | 0.00040008
72 | 0.98368 | -0.31419 | 0.0026425 | 0.00066226
73 | 0.98382 | -0.31131 | 0.0017957 | 0.00045005
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028689 | -0.00071861 | 0.002869 | 0.0007185 | 9.1865e-08 | -1.0417e-07 | 0.004354 | 0.004354 | 0.004354 | 0.98043 | -0.37775 | 0.98046 | -0.37708 | 1.1962
1 | 0.0028689 | 0.00071861 | -0.0028687 | -0.00071879 | 1.5996e-07 | -1.8135e-07 | 0.004354 | 0.0043541 | 0.0043541 | 0.98043 | -0.37775 | 0.98037 | -0.37892 | 1.1962
2 | -0.0046225 | -0.001158 | 0.0046231 | 0.0011579 | 5.679e-07 | -2.4692e-08 | 0.0070152 | 0.0070151 | 0.0070152 | 0.98046 | -0.37708 | 0.98059 | -0.3745 | 1.9273
3 | 0.0015518 | 0.00038874 | -0.0015518 | -0.00038892 | 3.3033e-08 | -1.7907e-07 | 0.0023553 | 0.0023554 | 0.0023554 | 0.98037 | -0.37892 | 0.98035 | -0.37937 | 0.64709
4 | 0.058838 | 0.014919 | -0.058772 | -0.014878 | 6.5791e-05 | 4.1815e-05 | 0.08826 | 0.08826 | 0.08826 | 0.99266 | -0.14032 | 0.99145 | -0.16361 | 24.2473
5 | -0.060527 | -0.015343 | 0.06055 | 0.015357 | 2.27e-05 | 1.4433e-05 | 0.090793 | 0.090792 | 0.090793 | 0.99266 | -0.14032 | 0.99307 | -0.13252 | 24.943
6 | 0.057089 | 0.014456 | -0.057079 | -0.014449 | 1.0332e-05 | 6.5644e-06 | 0.085735 | 0.085735 | 0.085735 | 0.99145 | -0.16361 | 0.99125 | -0.16738 | 23.5535
7 | -0.062239 | -0.015781 | 0.062254 | 0.01579 | 1.5387e-05 | 9.7868e-06 | 0.093324 | 0.093324 | 0.093324 | 0.99307 | -0.13252 | 0.99333 | -0.12738 | 25.6384
8 | 0.055388 | 0.014026 | -0.055366 | -0.014011 | 2.2215e-05 | 1.4107e-05 | 0.083197 | 0.083197 | 0.083197 | 0.99125 | -0.16738 | 0.99082 | -0.17574 | 22.8565
9 | -0.06629 | -0.016802 | 0.066346 | 0.016838 | 5.6364e-05 | 3.5876e-05 | 0.099369 | 0.099369 | 0.099369 | 0.99333 | -0.12738 | 0.99426 | -0.1097 | 27.2992
10 | 0.055366 | 0.014011 | -0.055284 | -0.013959 | 8.2197e-05 | 5.2199e-05 | 0.083197 | 0.083198 | 0.083198 | 0.99082 | -0.17574 | 0.98921 | -0.20672 | 22.8565
11 | -0.069156 | -0.017542 | 0.069192 | 0.017565 | 3.5515e-05 | 2.2615e-05 | 0.10357 | 0.10357 | 0.10357 | 0.99426 | -0.1097 | 0.99481 | -0.099029 | 28.4546
12 | -0.0021479 | -0.00053831 | 0.002148 | 0.00053808 | 9.1943e-08 | -2.3278e-07 | 0.0032581 | 0.003258 | 0.0032581 | 0.98097 | -0.36716 | 0.98101 | -0.36626 | 0.89508
13 | -0.0036331 | -0.00091028 | 0.0036334 | 0.00091013 | 3.122e-07 | -1.4638e-07 | 0.0055106 | 0.0055105 | 0.0055106 | 0.98101 | -0.36626 | 0.98111 | -0.36445 | 1.5139
14 | -0.0046912 | -0.0011752 | 0.0046915 | 0.0011752 | 3.0014e-07 | -7.5934e-09 | 0.0071148 | 0.0071148 | 0.0071148 | 0.98111 | -0.36445 | 0.98117 | -0.36311 | 1.9546
15 | 0.010762 | 0.0026976 | -0.010758 | -0.0026958 | 3.4579e-06 | 1.776e-06 | 0.016321 | 0.016321 | 0.016321 | 0.98117 | -0.36311 | 0.98083 | -0.36986 | 4.4839
16 | -0.015453 | -0.0038728 | 0.015455 | 0.0038737 | 1.4626e-06 | 8.4635e-07 | 0.023436 | 0.023436 | 0.023436 | 0.98117 | -0.36311 | 0.98128 | -0.36112 | 6.4385
17 | -0.0015786 | -0.00039562 | 0.0015788 | 0.00039437 | 2.3017e-07 | -1.2539e-06 | 0.0023732 | 0.0023727 | 0.0023732 | 0.98977 | -0.19661 | 0.98993 | -0.19354 | 0.65198
18 | -0.0031826 | -0.00079633 | 0.0031828 | 0.00079619 | 1.6954e-07 | -1.4553e-07 | 0.0047835 | 0.0047834 | 0.0047835 | 0.98993 | -0.19354 | 0.98999 | -0.19242 | 1.3142
19 | 0.0045647 | 0.0011424 | -0.0045643 | -0.0011424 | 4.0916e-07 | -3.6297e-08 | 0.0068598 | 0.0068599 | 0.0068599 | 0.99009 | -0.19054 | 0.98999 | -0.19242 | 1.8846
20 | -0.0060063 | -0.0015037 | 0.0060074 | 0.0015039 | 1.1285e-06 | 2.4712e-07 | 0.0090263 | 0.0090261 | 0.0090263 | 0.99009 | -0.19054 | 0.99029 | -0.18659 | 2.4798
21 | -0.0074576 | -0.0018674 | 0.0074601 | 0.0018683 | 2.5173e-06 | 9.2294e-07 | 0.011205 | 0.011205 | 0.011205 | 0.99029 | -0.18659 | 0.99065 | -0.1795 | 3.0784
22 | 0.016775 | 0.0042054 | -0.016773 | -0.0042044 | 1.7371e-06 | 1.0172e-06 | 0.025158 | 0.025158 | 0.025158 | 0.99221 | -0.14926 | 0.9921 | -0.15143 | 6.9114
23 | -0.019557 | -0.0049026 | 0.01956 | 0.0049047 | 3.5606e-06 | 2.1362e-06 | 0.029329 | 0.029329 | 0.029329 | 0.99221 | -0.14926 | 0.99241 | -0.14544 | 8.0575
24 | 0.013974 | 0.0035029 | -0.013973 | -0.0035025 | 7.1008e-07 | 3.988e-07 | 0.020959 | 0.020959 | 0.020959 | 0.9921 | -0.15143 | 0.99205 | -0.1525 | 5.7581
25 | 0.020096 | 0.0050403 | -0.02009 | -0.0050363 | 6.6068e-06 | 3.9777e-06 | 0.030134 | 0.030134 | 0.030134 | 0.99241 | -0.14544 | 0.99206 | -0.15234 | 8.2785
26 | -0.039657 | -0.009945 | 0.039674 | 0.0099557 | 1.7015e-05 | 1.0723e-05 | 0.059463 | 0.059463 | 0.059463 | 0.99241 | -0.14544 | 0.99288 | -0.13644 | 16.336
27 | 0.011171 | 0.0028002 | -0.01117 | -0.0027996 | 1.2694e-06 | 6.5679e-07 | 0.016756 | 0.016756 | 0.016756 | 0.99205 | -0.1525 | 0.99192 | -0.15488 | 4.6034
28 | 0.017308 | 0.0043391 | -0.017306 | -0.004338 | 1.85e-06 | 1.0895e-06 | 0.025961 | 0.025961 | 0.025961 | 0.99206 | -0.15234 | 0.99194 | -0.15458 | 7.1321
29 | -0.065623 | -0.01647 | 0.065741 | 0.016545 | 0.00011731 | 7.4659e-05 | 0.098357 | 0.098357 | 0.098357 | 0.99288 | -0.13644 | 0.99481 | -0.099029 | 27.0212
30 | 0.02595 | 0.0065147 | -0.025935 | -0.0065056 | 1.4691e-05 | 9.0675e-06 | 0.038894 | 0.038894 | 0.038894 | 0.99288 | -0.13644 | 0.99226 | -0.14831 | 10.6853
31 | 0.0083796 | 0.0021002 | -0.0083792 | -0.0021 | 4.3836e-07 | 1.8506e-07 | 0.012571 | 0.012571 | 0.012571 | 0.99192 | -0.15488 | 0.99187 | -0.15598 | 3.4535
32 | 0.014529 | 0.0036419 | -0.014528 | -0.0036414 | 9.5445e-07 | 5.4169e-07 | 0.021795 | 0.021795 | 0.021795 | 0.99194 | -0.15458 | 0.99187 | -0.15596 | 5.9876
33 | -0.13493 | -0.03411 | 0.13517 | 0.03426 | 0.0002349 | 0.00015014 | 0.20193 | 0.20193 | 0.20193 | 0.99481 | -0.099029 | 0.99671 | -0.062794 | 55.4757
34 | 0.021699 | 0.0054441 | -0.021688 | -0.0054371 | 1.1438e-05 | 6.9482e-06 | 0.032543 | 0.032543 | 0.032543 | 0.99226 | -0.14831 | 0.99169 | -0.15938 | 8.9404
35 | -0.0087294 | -0.0021864 | 0.0087329 | 0.0021879 | 3.4463e-06 | 1.517e-06 | 0.013112 | 0.013111 | 0.013112 | 0.99065 | -0.1795 | 0.99108 | -0.17121 | 3.6021
36 | -0.0097557 | -0.0024443 | 0.0097576 | 0.0024452 | 1.85e-06 | 8.8763e-07 | 0.014647 | 0.014647 | 0.014647 | 0.99108 | -0.17121 | 0.99129 | -0.16723 | 4.0239
37 | -0.0076468 | -0.0019158 | 0.0076481 | 0.0019163 | 1.3599e-06 | 5.3045e-07 | 0.011603 | 0.011603 | 0.011603 | 0.98062 | -0.37393 | 0.98081 | -0.37019 | 3.1877
38 | 0.0062196 | 0.0015581 | -0.0062195 | -0.001558 | 1.7083e-07 | 4.4807e-08 | 0.0094375 | 0.0094375 | 0.0094375 | 0.98062 | -0.37393 | 0.98059 | -0.3745 | 2.5927
39 | -0.0095174 | -0.0023848 | 0.0095176 | 0.0023848 | 1.5198e-07 | 7.2732e-08 | 0.014439 | 0.014439 | 0.014439 | 0.98081 | -0.37019 | 0.98083 | -0.36986 | 3.9667
40 | -0.017103 | -0.0042876 | 0.017111 | 0.0042919 | 7.2148e-06 | 4.2558e-06 | 0.025932 | 0.025932 | 0.025932 | 0.98143 | -0.35815 | 0.98188 | -0.3493 | 7.1242
41 | 0.015457 | 0.003875 | -0.015455 | -0.0038737 | 2.1888e-06 | 1.2666e-06 | 0.023436 | 0.023436 | 0.023436 | 0.98143 | -0.35815 | 0.98128 | -0.36112 | 6.4385
42 | -0.0188 | -0.0047152 | 0.018812 | 0.0047224 | 1.2077e-05 | 7.2274e-06 | 0.028492 | 0.028492 | 0.028492 | 0.98188 | -0.3493 | 0.98257 | -0.33583 | 7.8275
43 | -0.018812 | -0.0047224 | 0.018816 | 0.0047251 | 4.4651e-06 | 2.6718e-06 | 0.028492 | 0.028492 | 0.028492 | 0.98257 | -0.33583 | 0.98282 | -0.33086 | 7.8274
44 | -0.022491 | -0.0056461 | 0.022497 | 0.0056496 | 5.6788e-06 | 3.4689e-06 | 0.034055 | 0.034055 | 0.034055 | 0.98282 | -0.33086 | 0.98309 | -0.32557 | 9.3559
45 | -0.13926 | -0.035285 | 0.13938 | 0.035364 | 0.00012298 | 7.8606e-05 | 0.20804 | 0.20804 | 0.20804 | 0.99671 | -0.062794 | 0.99767 | -0.044431 | 57.1544
46 | -0.14329 | -0.036344 | 0.14341 | 0.03642 | 0.00011955 | 7.615e-05 | 0.21387 | 0.21387 | 0.21387 | 0.99767 | -0.044431 | 0.99858 | -0.027093 | 29.3782
47 | -0.14743 | -0.037426 | 0.14744 | 0.037432 | 9.5675e-06 | 6.0956e-06 | 0.21986 | 0.21986 | 0.21986 | 0.99858 | -0.027093 | 0.99865 | -0.025744 | 30.2
48 | -0.1513 | -0.038401 | 0.15149 | 0.038521 | 0.00018763 | 0.00011957 | 0.22562 | 0.22562 | 0.22562 | 0.99865 | -0.025744 | 1 | 0 | 30.9912
49 | 0.0089535 | 0.0022441 | -0.0089525 | -0.0022437 | 1.0643e-06 | 4.7822e-07 | 0.013433 | 0.013433 | 0.013433 | 0.99179 | -0.15748 | 0.99166 | -0.15998 | 3.6905
50 | -0.011742 | -0.0029429 | 0.011742 | 0.0029433 | 8.5131e-07 | 4.5043e-07 | 0.017616 | 0.017616 | 0.017616 | 0.99179 | -0.15748 | 0.99187 | -0.15596 | 4.8396
51 | 0.006158 | 0.0015433 | -0.0061578 | -0.0015432 | 2.3481e-07 | 5.5668e-08 | 0.0092403 | 0.0092403 | 0.0092403 | 0.99166 | -0.15998 | 0.99162 | -0.16078 | 2.5385
52 | 0.003369 | 0.0008443 | -0.0033689 | -0.00084433 | 3.9613e-08 | -2.7967e-08 | 0.0050554 | 0.0050554 | 0.0050554 | 0.99162 | -0.16078 | 0.99161 | -0.16102 | 1.3889
53 | -0.0051656 | -0.0012945 | 0.0051656 | 0.0012945 | 8.1051e-09 | 5.548e-10 | 0.0077548 | 0.0077547 | 0.0077548 | 0.9912 | -0.16901 | 0.9912 | -0.16898 | 2.1304
54 | 0.0037139 | 0.00093065 | -0.0037137 | -0.00093074 | 1.805e-07 | -8.4053e-08 | 0.0055753 | 0.0055754 | 0.0055754 | 0.9912 | -0.16901 | 0.99114 | -0.17003 | 1.5317
55 | -0.0065914 | -0.0016518 | 0.0065919 | 0.001652 | 5.4827e-07 | 1.5841e-07 | 0.0098951 | 0.0098951 | 0.0098951 | 0.9912 | -0.16898 | 0.99129 | -0.16723 | 2.7184
56 | -0.01635 | -0.0040972 | 0.016356 | 0.0041007 | 6.1215e-06 | 3.5682e-06 | 0.024542 | 0.024542 | 0.024542 | 0.99129 | -0.16723 | 0.99169 | -0.15938 | 6.7423
57 | 0.0066967 | 0.0016784 | -0.0066963 | -0.0016782 | 3.9807e-07 | 1.1903e-07 | 0.010046 | 0.010047 | 0.010047 | 0.99187 | -0.15598 | 0.9918 | -0.15723 | 2.76
58 | 0.052001 | 0.013136 | -0.051972 | -0.013118 | 2.921e-05 | 1.8531e-05 | 0.078259 | 0.078259 | 0.078259 | 0.98921 | -0.20672 | 0.98861 | -0.21845 | 21.4998
59 | 0.04954 | 0.012508 | -0.049512 | -0.012491 | 2.7672e-05 | 1.754e-05 | 0.074599 | 0.074599 | 0.074599 | 0.98861 | -0.21845 | 0.988 | -0.23012 | 20.4942
60 | -0.025102 | -0.0063024 | 0.02511 | 0.0063076 | 8.321e-06 | 5.1305e-06 | 0.037998 | 0.037998 | 0.037998 | 0.98309 | -0.32557 | 0.98345 | -0.31862 | 10.4391
61 | -0.027596 | -0.0069306 | 0.027608 | 0.006938 | 1.1906e-05 | 7.389e-06 | 0.041759 | 0.041759 | 0.041759 | 0.98345 | -0.31862 | 0.98391 | -0.30958 | 11.4724
62 | -0.038711 | -0.0097203 | 0.038755 | 0.0097477 | 4.3501e-05 | 2.741e-05 | 0.058551 | 0.058551 | 0.058551 | 0.98391 | -0.30958 | 0.98512 | -0.28606 | 16.0855
63 | 0.011103 | 0.0027824 | -0.011103 | -0.0027824 | 3.1982e-08 | 1.6627e-08 | 0.016792 | 0.016792 | 0.016792 | 0.98391 | -0.30958 | 0.98391 | -0.30964 | 4.6132
64 | 0.0048197 | 0.0012078 | -0.0048195 | -0.0012078 | 1.889e-07 | -1.084e-10 | 0.00728 | 0.0072801 | 0.0072801 | 0.98512 | -0.28606 | 0.98508 | -0.28688 | 2
65 | -0.043574 | -0.010956 | 0.043591 | 0.010966 | 1.6495e-05 | 1.0427e-05 | 0.065831 | 0.065831 | 0.065831 | 0.98512 | -0.28606 | 0.98553 | -0.27813 | 18.0855
66 | 0.0060355 | 0.0015122 | -0.006035 | -0.0015121 | 4.8059e-07 | 1.1223e-07 | 0.0091277 | 0.0091277 | 0.0091277 | 0.98391 | -0.30964 | 0.98382 | -0.31131 | 2.5076
67 | -0.045033 | -0.011327 | 0.045066 | 0.011348 | 3.2656e-05 | 2.066e-05 | 0.068009 | 0.068008 | 0.068009 | 0.98553 | -0.27813 | 0.98631 | -0.26297 | 18.6837
68 | -0.046449 | -0.011695 | 0.046486 | 0.011718 | 3.6312e-05 | 2.2988e-05 | 0.070096 | 0.070096 | 0.070096 | 0.98631 | -0.26297 | 0.98715 | -0.24663 | 19.2571
69 | -0.047967 | -0.012089 | 0.048005 | 0.012113 | 3.7927e-05 | 2.4026e-05 | 0.072329 | 0.072329 | 0.072329 | 0.98715 | -0.24663 | 0.988 | -0.23012 | 19.8707
70 | 0.0032231 | 0.00080775 | -0.0032231 | -0.00080778 | 2.9291e-08 | -2.3204e-08 | 0.0048687 | 0.0048687 | 0.0048687 | 0.98508 | -0.28688 | 0.98507 | -0.28707 | 1.3375
71 | 0.0026426 | 0.00066207 | -0.0026425 | -0.00066226 | 1.3218e-07 | -1.9547e-07 | 0.0039972 | 0.0039973 | 0.0039973 | 0.98373 | -0.31314 | 0.98368 | -0.31419 | 1.0982
72 | -0.004239 | -0.0010622 | 0.0042393 | 0.0010621 | 3.676e-07 | -6.7488e-08 | 0.0064119 | 0.0064118 | 0.0064119 | 0.98373 | -0.31314 | 0.98382 | -0.31131 | 1.7615

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15873 | 0.039921

## res_load
| p_mw | q_mvar
0 | 0.0017535 | 0.00043947
1 | 0.0013169 | 0.00033005
2 | 0.0016893 | 0.00042339
3 | 0.0016829 | 0.00042176
4 | 0.0016893 | 0.00042337
5 | 0.0016901 | 0.00042359
6 | 0.0040358 | 0.0010115
7 | 0.00281 | 0.00070425
8 | 0.0021479 | 0.00053831
9 | 0.0014851 | 0.0003722
10 | 0.0010578 | 0.00026511
11 | 0.0015786 | 0.00039562
12 | 0.0016038 | 0.00040196
13 | 0.0014415 | 0.00036129
14 | 0.0013815 | 0.00034623
15 | 0.0014502 | 0.00036346
16 | 0.0027818 | 0.00069719
17 | 0.0027991 | 0.00070152
18 | 0.0028021 | 0.00070226
19 | 0.002782 | 0.00069724
20 | 0.0027904 | 0.00069933
21 | 0.0027773 | 0.00069607
22 | 0.0042355 | 0.0010615
23 | 0.0012693 | 0.00031812
24 | 0.0010229 | 0.00025635
25 | 0.0014272 | 0.00035768
26 | 0.0018693 | 0.00046848
27 | 0.0015964 | 0.00040009
28 | 0.0012409 | 0.00031099
29 | 0.0016464 | 0.00041263
30 | 0.0016892 | 0.00042335
31 | 0.0036747 | 0.00092098
32 | 0.0040929 | 0.0010258
33 | 0.0039097 | 0.00097987
34 | 0.0040151 | 0.0010063
35 | 0.0038655 | 0.00096879
36 | 0.002788 | 0.00069874
37 | 0.0027945 | 0.00070036
38 | 0.0027852 | 0.00069805
39 | 0.0027888 | 0.00069894
40 | 0.0033689 | 0.00084433
41 | 0.0014517 | 0.00036384
42 | 0.0014258 | 0.00035733
43 | 0.0037137 | 0.00093074
44 | 0.0053323 | 0.0013364
45 | 0.0016825 | 0.00042167
46 | 0.003283 | 0.0008228
47 | 0.0015518 | 0.00038892
48 | 0.0066963 | 0.0016782
49 | 0.0055877 | 0.0014004
50 | 0.0024319 | 0.00060948
51 | 0.002605 | 0.00065288
52 | 0.0024858 | 0.00062301
53 | 0.0050678 | 0.0012701
54 | 0.0014421 | 0.00036143
55 | 0.0013835 | 0.00034675
56 | 0.0014818 | 0.00037137
57 | 0.0015964 | 0.00040009
58 | 0.0015071 | 0.00037771
59 | 0.0032231 | 0.00080778
60 | 0.0015964 | 0.00040008
61 | 0.0026425 | 0.00066226
62 | 0.0017957 | 0.00045005

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1