## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-10_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-10_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-10_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-10_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-10_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2601-10_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2601-10_0_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2601-10_0_5_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_2601-10_0_5_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2601-10_0_5_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2601-10_0_5_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_2601-10_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2601-10_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2601-10_0_5_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_2601-10_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2601-10_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_2601-10_0_5_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_2601-10_0_5_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2601-10_0_5_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_2601-10_0_5_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_2601-10_0_5_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_2601-10_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2601-10_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2601-10_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2601-10_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2601-10_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2601-10_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2601-10_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_2601-10_0_5_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_2601-10_0_5_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2601-10_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2601-10_0_5_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2601-10_0_5_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2601-10_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2601-10_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_2601-10_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2601-10_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2601-10_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_2601-10_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2601-10_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2601-10_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2601-10_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2601-10_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2601-10_0_5_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2601-10_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2601-10_0_5_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_2601-10_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_2601-10_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2601-10_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2601-10_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2601-10_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2601-10_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_2601-10_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2601-10_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2601-10_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_2601-10_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2601-10_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2601-10_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2601-10_0_5_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_2601-10_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_MV_395_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-10_0_5_load_0 | 0 | 0.011058 | 0.0027715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-10_0_5_load_1 | 1 | 0.012914 | 0.0032365 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-10_0_5_load_3 | 3 | 0.021095 | 0.0052868 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-10_0_5_load_4 | 4 | 0.0061658 | 0.0015453 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-10_0_5_load_5 | 5 | 0.010983 | 0.0027526 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-10_0_5_load_18 | 8 | 0.0030241 | 0.00075791 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-10_0_5_load_19 | 9 | 0.00075237 | 0.00018856 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-10_0_5_load_6 | 11 | 0.0064089 | 0.0016062 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-10_0_5_load_7 | 12 | 0.021447 | 0.005375 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-10_0_5_load_51 | 15 | 0.004302 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-10_0_5_load_35 | 17 | 0.0037749 | 0.00094609 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-10_0_5_load_56 | 18 | 0.051235 | 0.012841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-10_0_5_load_62 | 20 | 0.041978 | 0.010521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-10_0_5_load_9 | 21 | 0.0051617 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-10_0_5_load_11 | 23 | 0.002896 | 0.0007258 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-10_0_5_load_13 | 24 | 0.010402 | 0.002607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-10_0_5_load_15 | 26 | 0.0029845 | 0.00074798 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-10_0_5_load_37 | 28 | 0.0042901 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-10_0_5_load_36 | 29 | 0.0061161 | 0.0015328 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-10_0_5_load_34 | 31 | 0.0039413 | 0.00098779 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-10_0_5_load_33 | 32 | 0.0037856 | 0.00094875 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-10_0_5_load_16 | 34 | 0.0032793 | 0.00082186 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-10_0_5_load_46 | 37 | 0.0019832 | 0.00049704 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-10_0_5_load_21 | 38 | 0.0078022 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-10_0_5_load_29 | 39 | 0.011962 | 0.0029979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-10_0_5_load_24 | 40 | 0.0070797 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-10_0_5_load_20 | 45 | 0.0077538 | 0.0019433 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-10_0_5_load_25 | 46 | 0.027435 | 0.0068759 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-10_0_5_load_49 | 48 | 0.0034637 | 0.00086808 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-10_0_5_load_43 | 50 | 0.012492 | 0.0031309 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-10_0_5_load_52 | 52 | 0.010566 | 0.002648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-10_0_5_load_45 | 53 | 0.0030419 | 0.00076237 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-10_0_5_load_38 | 54 | 0.0062478 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-10_0_5_load_47 | 55 | 0.0026392 | 0.00066144 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2601-10_0_5_load_55 | 56 | 0.01321 | 0.0033107 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2601-10_0_5_load_61 | 57 | 0.14372 | 0.036019 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-10_0_5_line_0 |  | 0 | 1 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-10_0_5_line_1 |  | 0 | 2 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-10_0_5_line_2 |  | 1 | 3 | 0.02244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-10_0_5_line_3 |  | 2 | 4 | 0.009541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2601-10_0_5_line_4 |  | 2 | 5 | 0.025799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2601-10_0_5_line_5 |  | 4 | 6 | 0.020308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_2601-10_0_5_line_6 |  | 5 | 7 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2601-10_0_5_line_7 |  | 6 | 8 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2601-10_0_5_line_8 |  | 6 | 9 | 0.021982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-10_0_5_line_9 |  | 7 | 10 | 0.058376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2601-10_0_5_line_10 |  | 8 | 40 | 0.030182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2601-10_0_5_line_11 |  | 9 | 41 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-10_0_5_line_12 |  | 10 | 56 | 0.04467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2601-10_0_5_line_13 |  | 11 | 12 | 0.0014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-10_0_5_line_14 |  | 11 | 13 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-10_0_5_line_15 |  | 12 | 14 | 0.032783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-10_0_5_line_16 |  | 13 | 15 | 0.018801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-10_0_5_line_17 |  | 13 | 16 | 0.026214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-10_0_5_line_18 |  | 14 | 17 | 0.0094935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-10_0_5_line_19 |  | 15 | 36 | 0.018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-10_0_5_line_20 |  | 16 | 39 | 0.043331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-10_0_5_line_21 |  | 18 | 19 | 0.039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2601-10_0_5_line_22 |  | 19 | 20 | 0.12979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2601-10_0_5_line_23 |  | 20 | 59 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2601-10_0_5_line_24 |  | 21 | 22 | 0.022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-10_0_5_line_25 |  | 21 | 23 | 0.031393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-10_0_5_line_26 |  | 22 | 24 | 0.02696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-10_0_5_line_27 |  | 22 | 25 | 0.031246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-10_0_5_line_28 |  | 23 | 26 | 0.033315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-10_0_5_line_29 |  | 24 | 30 | 0.0037625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-10_0_5_line_30 |  | 25 | 31 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-10_0_5_line_31 |  | 25 | 32 | 0.045882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-10_0_5_line_32 |  | 26 | 33 | 0.035871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-10_0_5_line_33 |  | 27 | 28 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-10_0_5_line_34 |  | 27 | 29 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-10_0_5_line_35 |  | 28 | 36 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-10_0_5_line_36 |  | 30 | 36 | 0.026582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-10_0_5_line_37 |  | 31 | 37 | 0.030094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-10_0_5_line_38 |  | 33 | 38 | 0.00039147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-10_0_5_line_39 |  | 34 | 35 | 0.0088339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-10_0_5_line_40 |  | 35 | 39 | 0.018366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2601-10_0_5_line_41 |  | 37 | 53 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2601-10_0_5_line_42 |  | 38 | 45 | 0.032291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2601-10_0_5_line_43 |  | 40 | 42 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2601-10_0_5_line_44 |  | 41 | 43 | 0.058931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-10_0_5_line_45 |  | 41 | 44 | 0.023498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2601-10_0_5_line_46 |  | 42 | 46 | 0.036531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2601-10_0_5_line_47 |  | 42 | 45 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2601-10_0_5_line_48 |  | 43 | 55 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-10_0_5_line_49 |  | 44 | 54 | 0.024267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2601-10_0_5_line_50 |  | 46 | 47 | 0.038779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2601-10_0_5_line_51 |  | 47 | 50 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2601-10_0_5_line_52 |  | 48 | 49 | 0.0090183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2601-10_0_5_line_53 |  | 49 | 50 | 0.033831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2601-10_0_5_line_54 |  | 49 | 51 | 0.00309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2601-10_0_5_line_55 |  | 51 | 52 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2601-10_0_5_line_56 |  | 56 | 57 | 0.03204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2601-10_0_5_line_57 |  | 57 | 58 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2601-10_0_5_line_58 |  | 58 | 59 | 0.008472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-10_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 60 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2606860.1123 | 1227781.4955 | 2606843.7375 | 1227768.5745 | 2606843.7375 | 1227768.5745
1 | 2606874.2006 | 1227792.6124 | 2606860.1123 | 1227781.4955
2 | 2606843.7375 | 1227768.5745 | 2606841.4357 | 1227767.0932 | 2606840.2314 | 1227766.7139 | 2606839.1326 | 1227766.7904 | 2606838.3517 | 1227767.1787 | 2606837.0773 | 1227768.4558 | 2606828.2354 | 1227780.1522
3 | 2606874.2006 | 1227792.6124 | 2606880.8955 | 1227785.8147
4 | 2606874.2006 | 1227792.6124 | 2606856.131 | 1227811.0267
5 | 2606895.1455 | 1227771.346 | 2606880.8955 | 1227785.8147
6 | 2606840.6479 | 1227826.8054 | 2606856.131 | 1227811.0267
7 | 2606895.1455 | 1227771.346 | 2606915.7649 | 1227792.1801
8 | 2606895.1455 | 1227771.346 | 2606910.74 | 1227755.854
9 | 2606799.2763 | 1227820.5547 | 2606810.9795 | 1227803.5246 | 2606840.6479 | 1227826.8054
10 | 2606935.8959 | 1227814.6217 | 2606926.0775 | 1227802.6001 | 2606915.7649 | 1227792.1801
11 | 2606926.6345 | 1227740.0638 | 2606910.74 | 1227755.854
12 | 2606799.2763 | 1227820.5547 | 2606835.8988 | 1227846.1323
13 | 2606960.8728 | 1228048.8889 | 2606959.9646 | 1228049.0737 | 2606959.4974 | 1228049.2072
14 | 2606981.7997 | 1228030.7104 | 2606960.8728 | 1228048.8889
15 | 2606947.1871 | 1228071.2609 | 2606944.9235 | 1228063.0979 | 2606944.4918 | 1228056.4602 | 2606945.2447 | 1228054.0152 | 2606948.1409 | 1228052.4509 | 2606959.4974 | 1228049.2072
16 | 2606981.7997 | 1228030.7104 | 2606989.5081 | 1228028.3402 | 2606999.8377 | 1228025.4132
17 | 2606973.9867 | 1228005.6866 | 2606978.3128 | 1228018.9439 | 2606981.7997 | 1228030.7104
18 | 2606947.1871 | 1228071.2609 | 2606949.7252 | 1228080.4088
19 | 2607012.7907 | 1228016.3269 | 2607011.8976 | 1228021.9959 | 2606999.8377 | 1228025.4132
20 | 2606973.9867 | 1228005.6866 | 2606967.4295 | 1227988.8357 | 2606962.4507 | 1227976.467 | 2606957.3171 | 1227965.7131
21 | 2606762.1988 | 1228051.705 | 2606747.4213 | 1228087.797
22 | 2606782.1646 | 1227923.4628 | 2606762.1988 | 1228051.705
23 | 2606794.5739 | 1227904.9548 | 2606782.1646 | 1227923.4628
24 | 2607031.7561 | 1227977.0592 | 2607022.4595 | 1227956.3298
25 | 2607009.4163 | 1227927.7818 | 2607010.9586 | 1227930.6853 | 2607022.4595 | 1227956.3298
26 | 2607031.7561 | 1227977.0592 | 2607007.772 | 1227989.3727
27 | 2607059.8827 | 1227963.2841 | 2607031.7561 | 1227977.0592
28 | 2607009.4163 | 1227927.7818 | 2606993.7933 | 1227898.3576
29 | 2607004.4249 | 1227991.0911 | 2607007.772 | 1227989.3727
30 | 2607059.8827 | 1227963.2841 | 2607056.4114 | 1227951.3396 | 2607054.4686 | 1227945.6206
31 | 2607059.8827 | 1227963.2841 | 2607078.1481 | 1228005.3732
32 | 2606975.9964 | 1227867.2182 | 2606990.3792 | 1227891.9273 | 2606993.7933 | 1227898.3576
33 | 2607038.9913 | 1228003.5611 | 2607037.052 | 1228009.6736 | 2607026.0934 | 1228012.6789
34 | 2607038.9913 | 1228003.5611 | 2607052.3871 | 1227999.8175
35 | 2607012.7907 | 1228016.3269 | 2607026.0934 | 1228012.6789
36 | 2607004.4249 | 1227991.0911 | 2607012.7907 | 1228016.3269
37 | 2607042.3247 | 1227918.1512 | 2607051.2013 | 1227936.0022 | 2607054.4686 | 1227945.6206
38 | 2606975.9964 | 1227867.2182 | 2606975.7705 | 1227866.8985
39 | 2606949.1392 | 1227949.2689 | 2606957.0423 | 1227945.3219
40 | 2606949.1392 | 1227949.2689 | 2606955.9352 | 1227962.8181 | 2606957.3171 | 1227965.7131
41 | 2607034.2837 | 1227902.5823 | 2607036.786 | 1227907.0126 | 2607042.3247 | 1227918.1512
42 | 2606975.7705 | 1227866.8985 | 2606964.4149 | 1227850.8284 | 2606956.6662 | 1227840.8755
43 | 2606942.9733 | 1227823.2874 | 2606935.8959 | 1227814.6217
44 | 2606926.6345 | 1227740.0638 | 2606930.0329 | 1227743.3474 | 2606945.3123 | 1227759.7859 | 2606960.1713 | 1227779.2924 | 2606964.294 | 1227785.2451
45 | 2606926.6345 | 1227740.0638 | 2606909.7334 | 1227723.6902
46 | 2606942.9733 | 1227823.2874 | 2606930.2241 | 1227833.7455 | 2606929.0943 | 1227834.4446 | 2606927.95 | 1227834.5767 | 2606926.9955 | 1227834.3421 | 2606924.4129 | 1227833.383 | 2606923.1477 | 1227833.1925 | 2606922.1624 | 1227833.436 | 2606913.517 | 1227841.0626
47 | 2606942.9733 | 1227823.2874 | 2606956.6662 | 1227840.8755
48 | 2606964.294 | 1227785.2451 | 2606974.9025 | 1227802.329
49 | 2606909.7334 | 1227723.6902 | 2606903.3295 | 1227718.124 | 2606891.282 | 1227707.9285
50 | 2606887.4716 | 1227868.906 | 2606890.7841 | 1227861.1163 | 2606913.517 | 1227841.0626
51 | 2606887.4716 | 1227868.906 | 2606889.0619 | 1227869.6971 | 2606890.5458 | 1227870.6883 | 2606892.5974 | 1227872.2805 | 2606894.9816 | 1227874.4734 | 2606898.102 | 1227878.1467
52 | 2606920.005 | 1227903.9307 | 2606927.3952 | 1227898.762
53 | 2606920.005 | 1227903.9307 | 2606898.102 | 1227878.1467
54 | 2606920.005 | 1227903.9307 | 2606921.8358 | 1227906.4232
55 | 2606921.8358 | 1227906.4232 | 2606935.1096 | 1227897.2673
56 | 2606835.8988 | 1227846.1323 | 2606816.7743 | 1227871.8382
57 | 2606799.2948 | 1227897.9115 | 2606816.7743 | 1227871.8382
58 | 2606799.2948 | 1227897.9115 | 2606794.5739 | 1227904.9548

## bus_geodata
| x | y | coords
0 | 2606860.1123 | 1227781.4955
1 | 2606843.7375 | 1227768.5745
2 | 2606874.2006 | 1227792.6124
3 | 2606828.2354 | 1227780.1522
4 | 2606880.8955 | 1227785.8147
5 | 2606856.131 | 1227811.0267
6 | 2606895.1455 | 1227771.346
7 | 2606840.6479 | 1227826.8054
8 | 2606915.7649 | 1227792.1801
9 | 2606910.74 | 1227755.854
10 | 2606799.2763 | 1227820.5547
11 | 2606960.8728 | 1228048.8889
12 | 2606959.4974 | 1228049.2072
13 | 2606981.7997 | 1228030.7104
14 | 2606947.1871 | 1228071.2609
15 | 2606999.8377 | 1228025.4132
16 | 2606973.9867 | 1228005.6866
17 | 2606949.7252 | 1228080.4088
18 | 2606747.4213 | 1228087.797
19 | 2606762.1988 | 1228051.705
20 | 2606782.1646 | 1227923.4628
21 | 2607022.4595 | 1227956.3298
22 | 2607031.7561 | 1227977.0592
23 | 2607009.4163 | 1227927.7818
24 | 2607007.772 | 1227989.3727
25 | 2607059.8827 | 1227963.2841
26 | 2606993.7934 | 1227898.3576
27 | 2607038.9913 | 1228003.5611
28 | 2607026.0934 | 1228012.6788
29 | 2607052.3872 | 1227999.8175
30 | 2607004.4249 | 1227991.0911
31 | 2607054.4686 | 1227945.6206
32 | 2607078.1481 | 1228005.3732
33 | 2606975.9964 | 1227867.2182
34 | 2606957.0423 | 1227945.3219
35 | 2606949.1392 | 1227949.2689
36 | 2607012.7907 | 1228016.3269
37 | 2607042.3247 | 1227918.1512
38 | 2606975.7705 | 1227866.8985
39 | 2606957.3171 | 1227965.7131
40 | 2606935.8959 | 1227814.6217
41 | 2606926.6345 | 1227740.0638
42 | 2606942.9733 | 1227823.2874
43 | 2606964.294 | 1227785.2451
44 | 2606909.7334 | 1227723.6902
45 | 2606956.6662 | 1227840.8755
46 | 2606913.517 | 1227841.0626
47 | 2606887.4716 | 1227868.906
48 | 2606927.3952 | 1227898.762
49 | 2606920.005 | 1227903.9307
50 | 2606898.102 | 1227878.1467
51 | 2606921.8358 | 1227906.4232
52 | 2606935.1096 | 1227897.2673
53 | 2607034.2837 | 1227902.5823
54 | 2606891.282 | 1227707.9285
55 | 2606974.9025 | 1227802.329
56 | 2606835.8988 | 1227846.1323
57 | 2606816.7743 | 1227871.8382
58 | 2606799.2948 | 1227897.9115
59 | 2606794.5739 | 1227904.9548
60 | 2606874.0121 | 1227864.5991

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98374 | -0.30978 | 0.011058 | 0.0027715
1 | 0.98308 | -0.32256 | 0.012914 | 0.0032365
2 | 0.98448 | -0.29522 | 0 | 0
3 | 0.98265 | -0.3311 | 0.021095 | 0.0052868
4 | 0.98516 | -0.28209 | 0.0061658 | 0.0015453
5 | 0.98291 | -0.32556 | 0.010983 | 0.0027526
6 | 0.98664 | -0.25365 | 0 | 0
7 | 0.98162 | -0.35054 | 0 | 0
8 | 0.98884 | -0.21149 | 0.0030241 | 0.00075791
9 | 0.98645 | -0.25745 | 0.00075237 | 0.00018856
10 | 0.97822 | -0.41681 | 0 | 0
11 | 0.9711 | -0.55673 | 0.0064089 | 0.0016062
12 | 0.97107 | -0.55739 | 0.021447 | 0.005375
13 | 0.97192 | -0.54054 | 0 | 0
14 | 0.97095 | -0.55968 | 0 | 0
15 | 0.97274 | -0.52429 | 0.004302 | 0.0010782
16 | 0.97154 | -0.54791 | 0 | 0
17 | 0.97092 | -0.56034 | 0.0037749 | 0.00094609
18 | 0.97032 | -0.57231 | 0.051235 | 0.012841
19 | 0.97094 | -0.55999 | 0 | 0
20 | 0.9725 | -0.5293 | 0.041978 | 0.010521
21 | 0.97896 | -0.4022 | 0.0051617 | 0.0012936
22 | 0.97717 | -0.43728 | 0 | 0
23 | 0.98159 | -0.35101 | 0.002896 | 0.0007258
24 | 0.97536 | -0.47278 | 0.010402 | 0.002607
25 | 0.9768 | -0.44456 | 0 | 0
26 | 0.98448 | -0.29524 | 0.0029845 | 0.00074798
27 | 0.97338 | -0.51172 | 0 | 0
28 | 0.97348 | -0.50972 | 0.0042901 | 0.0010752
29 | 0.9733 | -0.51328 | 0.0061161 | 0.0015328
30 | 0.97514 | -0.47702 | 0 | 0
31 | 0.97664 | -0.44759 | 0.0039413 | 0.00098779
32 | 0.97664 | -0.44773 | 0.0037856 | 0.00094875
33 | 0.98768 | -0.23365 | 0 | 0
34 | 0.97084 | -0.56177 | 0.0032793 | 0.00082186
35 | 0.97087 | -0.56123 | 0 | 0
36 | 0.97361 | -0.50708 | 0 | 0
37 | 0.9765 | -0.45035 | 0.0019832 | 0.00049704
38 | 0.98771 | -0.23298 | 0.0078022 | 0.0019554
39 | 0.97093 | -0.56012 | 0.011962 | 0.0029979
40 | 0.99112 | -0.16787 | 0.0070797 | 0.0017743
41 | 0.98626 | -0.26102 | 0 | 0
42 | 0.99198 | -0.15139 | 0 | 0
43 | 0.98612 | -0.26381 | 0 | 0
44 | 0.98613 | -0.26365 | 0 | 0
45 | 0.99083 | -0.1734 | 0.0077538 | 0.0019433
46 | 0.99575 | -0.07992 | 0.027435 | 0.0068759
47 | 1 | 0 | -0.50922 | -0.13113
48 | 0.9992 | -0.015403 | 0.0034637 | 0.00086808
49 | 0.99923 | -0.014857 | 0 | 0
50 | 0.99966 | -0.0065747 | 0.012492 | 0.0031309
51 | 0.9992 | -0.015427 | 0 | 0
52 | 0.99904 | -0.018402 | 0.010566 | 0.002648
53 | 0.97645 | -0.45133 | 0.0030419 | 0.00076237
54 | 0.98599 | -0.26637 | 0.0062478 | 0.0015658
55 | 0.98607 | -0.26476 | 0.0026392 | 0.00066144
56 | 0.97562 | -0.46784 | 0.01321 | 0.0033107
57 | 0.97385 | -0.50266 | 0.14372 | 0.036019
58 | 0.97317 | -0.5161 | 0 | 0
59 | 0.97298 | -0.51974 | 0 | 0
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.034038 | 0.0085415 | -0.034017 | -0.0085285 | 2.0738e-05 | 1.3008e-05 | 0.05149 | 0.05149 | 0.05149 | 0.98374 | -0.30978 | 0.98308 | -0.32256 | 14.1456
1 | -0.045096 | -0.011313 | 0.045127 | 0.011333 | 3.1317e-05 | 1.9815e-05 | 0.068217 | 0.068217 | 0.068217 | 0.98374 | -0.30978 | 0.98448 | -0.29522 | 18.7409
2 | 0.021103 | 0.005292 | -0.021095 | -0.0052868 | 8.5865e-06 | 5.2109e-06 | 0.031943 | 0.031943 | 0.031943 | 0.98308 | -0.32256 | 0.98265 | -0.3311 | 8.7756
3 | -0.30897 | -0.078498 | 0.30917 | 0.078623 | 0.00019539 | 0.00012457 | 0.46738 | 0.46738 | 0.46738 | 0.98448 | -0.29522 | 0.98516 | -0.28209 | 32.1006
4 | 0.26385 | 0.067165 | -0.26346 | -0.06692 | 0.00038538 | 0.00024533 | 0.39917 | 0.39917 | 0.39917 | 0.98448 | -0.29522 | 0.98291 | -0.32556 | 27.4155
5 | -0.31534 | -0.080168 | 0.31577 | 0.080444 | 0.00043263 | 0.00027585 | 0.4767 | 0.4767 | 0.4767 | 0.98516 | -0.28209 | 0.98664 | -0.25365 | 32.7402
6 | 0.25248 | 0.064167 | -0.25217 | -0.063974 | 0.00030328 | 0.00019298 | 0.38254 | 0.38254 | 0.38254 | 0.98291 | -0.32556 | 0.98162 | -0.35054 | 26.2735
7 | -0.32541 | -0.082861 | 0.32608 | 0.083284 | 0.00066315 | 0.00042292 | 0.49124 | 0.49124 | 0.49124 | 0.98664 | -0.25365 | 0.98884 | -0.21149 | 33.7392
8 | 0.0096446 | 0.0024171 | -0.0096429 | -0.0024162 | 1.7441e-06 | 8.3552e-07 | 0.014546 | 0.014546 | 0.014546 | 0.98664 | -0.25365 | 0.98645 | -0.25745 | 3.9961
9 | 0.25217 | 0.063974 | -0.25137 | -0.063465 | 0.00080087 | 0.00050962 | 0.38254 | 0.38254 | 0.38254 | 0.98162 | -0.35054 | 0.97822 | -0.41681 | 26.2736
10 | -0.3291 | -0.084042 | 0.3298 | 0.084485 | 0.00069554 | 0.00044359 | 0.49579 | 0.49579 | 0.49579 | 0.98884 | -0.21149 | 0.99112 | -0.16787 | 34.0517
11 | 0.0088905 | 0.0022277 | -0.008889 | -0.002227 | 1.5111e-06 | 6.8111e-07 | 0.013411 | 0.013411 | 0.013411 | 0.98645 | -0.25745 | 0.98626 | -0.26102 | 3.6843
12 | 0.25137 | 0.063465 | -0.25076 | -0.063075 | 0.00061284 | 0.00038998 | 0.38254 | 0.38254 | 0.38254 | 0.97822 | -0.41681 | 0.97562 | -0.46784 | 26.2736
13 | 0.025223 | 0.0063214 | -0.025222 | -0.0063209 | 7.9133e-07 | 4.8897e-07 | 0.038649 | 0.038649 | 0.038649 | 0.9711 | -0.55673 | 0.97107 | -0.55739 | 10.6179
14 | -0.031632 | -0.0079277 | 0.031656 | 0.0079429 | 2.4421e-05 | 1.5286e-05 | 0.048469 | 0.048469 | 0.048469 | 0.9711 | -0.55673 | 0.97192 | -0.54054 | 13.3158
15 | 0.0037755 | 0.0009459 | -0.003775 | -0.00094604 | 4.1147e-07 | -1.4218e-07 | 0.0057852 | 0.0057854 | 0.0057854 | 0.97107 | -0.55739 | 0.97095 | -0.55968 | 1.5894
16 | -0.046912 | -0.011771 | 0.046948 | 0.011794 | 3.6374e-05 | 2.3046e-05 | 0.071827 | 0.071827 | 0.071827 | 0.97192 | -0.54054 | 0.97274 | -0.52429 | 19.7327
17 | 0.015255 | 0.0038278 | -0.01525 | -0.0038247 | 5.3632e-06 | 3.1077e-06 | 0.023358 | 0.023358 | 0.023358 | 0.97192 | -0.54054 | 0.97154 | -0.54791 | 6.417
18 | 0.003775 | 0.00094604 | -0.0037749 | -0.00094609 | 1.1916e-07 | -4.1152e-08 | 0.0057854 | 0.0057854 | 0.0057854 | 0.97095 | -0.55968 | 0.97092 | -0.56034 | 1.5894
19 | -0.05125 | -0.012872 | 0.051292 | 0.012899 | 4.2128e-05 | 2.6735e-05 | 0.078408 | 0.078408 | 0.078408 | 0.97274 | -0.52429 | 0.97361 | -0.50708 | 21.5406
20 | 0.01525 | 0.0038247 | -0.015241 | -0.0038195 | 8.8655e-06 | 5.1377e-06 | 0.023358 | 0.023358 | 0.023358 | 0.97154 | -0.54791 | 0.97093 | -0.56012 | 6.417
21 | -0.051235 | -0.012841 | 0.051266 | 0.012859 | 3.0095e-05 | 1.7815e-05 | 0.078571 | 0.07857 | 0.078571 | 0.97032 | -0.57231 | 0.97094 | -0.55999 | 7.1951
22 | -0.051266 | -0.012859 | 0.051341 | 0.0129 | 7.5112e-05 | 4.164e-05 | 0.07857 | 0.078568 | 0.07857 | 0.97094 | -0.55999 | 0.9725 | -0.5293 | 5.3963
23 | -0.093319 | -0.023421 | 0.093361 | 0.023447 | 4.2564e-05 | 2.6135e-05 | 0.1428 | 0.1428 | 0.1428 | 0.9725 | -0.5293 | 0.97298 | -0.51974 | 9.8076
24 | 0.085229 | 0.021547 | -0.085086 | -0.021456 | 0.00014313 | 9.1316e-05 | 0.12961 | 0.12961 | 0.12961 | 0.97896 | -0.4022 | 0.97717 | -0.43728 | 35.6083
25 | -0.09039 | -0.022841 | 0.090613 | 0.022983 | 0.00022244 | 0.00014197 | 0.13746 | 0.13746 | 0.13746 | 0.97896 | -0.4022 | 0.98159 | -0.35101 | 37.7637
26 | 0.072326 | 0.018257 | -0.072204 | -0.018179 | 0.00012274 | 7.8219e-05 | 0.11018 | 0.11018 | 0.11018 | 0.97717 | -0.43728 | 0.97536 | -0.47278 | 30.2705
27 | 0.012759 | 0.0031987 | -0.012755 | -0.0031963 | 4.4235e-06 | 2.4397e-06 | 0.01943 | 0.01943 | 0.01943 | 0.97717 | -0.43728 | 0.9768 | -0.44456 | 5.3379
28 | -0.093509 | -0.023709 | 0.09376 | 0.023869 | 0.00025138 | 0.00016046 | 0.14185 | 0.14185 | 0.14185 | 0.98159 | -0.35101 | 0.98448 | -0.29524 | 38.9697
29 | 0.061802 | 0.015572 | -0.061789 | -0.015564 | 1.2551e-05 | 7.9855e-06 | 0.094316 | 0.094316 | 0.094316 | 0.97536 | -0.47278 | 0.97514 | -0.47702 | 25.9109
30 | 0.0089685 | 0.0022477 | -0.0089672 | -0.0022471 | 1.2935e-06 | 5.9654e-07 | 0.013662 | 0.013662 | 0.013662 | 0.9768 | -0.44456 | 0.97664 | -0.44759 | 3.7534
31 | 0.0037861 | 0.00094855 | -0.0037856 | -0.00094875 | 5.7236e-07 | -2.0792e-07 | 0.0057675 | 0.0057677 | 0.0057677 | 0.9768 | -0.44456 | 0.97664 | -0.44773 | 1.5845
32 | -0.096745 | -0.024617 | 0.097033 | 0.024801 | 0.00028815 | 0.00018396 | 0.14636 | 0.14636 | 0.14636 | 0.98448 | -0.29524 | 0.98768 | -0.23365 | 40.209
33 | -0.0061165 | -0.001533 | 0.0061171 | 0.0015331 | 5.8281e-07 | 1.5202e-07 | 0.0093504 | 0.0093504 | 0.0093504 | 0.97338 | -0.51172 | 0.97348 | -0.50972 | 2.5688
34 | 0.0061165 | 0.001533 | -0.0061161 | -0.0015328 | 4.5603e-07 | 1.1898e-07 | 0.0093504 | 0.0093505 | 0.0093505 | 0.97338 | -0.51172 | 0.9733 | -0.51328 | 2.5688
35 | -0.010407 | -0.0026083 | 0.010408 | 0.002609 | 1.309e-06 | 6.6625e-07 | 0.015908 | 0.015908 | 0.015908 | 0.97348 | -0.50972 | 0.97361 | -0.50708 | 4.3703
36 | 0.061789 | 0.015564 | -0.061701 | -0.015508 | 8.8672e-05 | 5.6419e-05 | 0.094316 | 0.094316 | 0.094316 | 0.97514 | -0.47702 | 0.97361 | -0.50708 | 25.9109
37 | 0.0050259 | 0.0012593 | -0.0050253 | -0.0012593 | 6.6174e-07 | 4.6977e-08 | 0.0076574 | 0.0076575 | 0.0076575 | 0.97664 | -0.44759 | 0.9765 | -0.45035 | 2.1037
38 | -0.097033 | -0.024801 | 0.097036 | 0.024803 | 3.1447e-06 | 2.0076e-06 | 0.14636 | 0.14636 | 0.14636 | 0.98768 | -0.23365 | 0.98771 | -0.23298 | 40.2089
39 | -0.0032793 | -0.00082186 | 0.0032793 | 0.0008218 | 8.3685e-08 | -5.568e-08 | 0.0050261 | 0.0050261 | 0.0050261 | 0.97084 | -0.56177 | 0.97087 | -0.56123 | 1.3808
40 | -0.0032793 | -0.0008218 | 0.0032795 | 0.00082169 | 1.7398e-07 | -1.1578e-07 | 0.0050261 | 0.005026 | 0.0050261 | 0.97087 | -0.56123 | 0.97093 | -0.56012 | 1.3808
41 | 0.003042 | 0.00076225 | -0.0030419 | -0.00076237 | 1.4124e-07 | -1.2887e-07 | 0.0046355 | 0.0046356 | 0.0046356 | 0.9765 | -0.45035 | 0.97645 | -0.45133 | 1.2735
42 | -0.10484 | -0.026758 | 0.10514 | 0.026952 | 0.00030273 | 0.00019333 | 0.15811 | 0.15811 | 0.15811 | 0.98771 | -0.23298 | 0.99083 | -0.1734 | 43.4381
43 | -0.33687 | -0.08626 | 0.33714 | 0.086431 | 0.00026901 | 0.00017159 | 0.50642 | 0.50642 | 0.50642 | 0.99112 | -0.16787 | 0.99198 | -0.15139 | 34.7817
44 | 0.0026396 | 0.00066073 | -0.0026393 | -0.00066126 | 3.5047e-07 | -5.2762e-07 | 0.0039822 | 0.0039825 | 0.0039825 | 0.98626 | -0.26102 | 0.98612 | -0.26381 | 1.0941
45 | 0.0062494 | 0.0015663 | -0.0062486 | -0.0015661 | 7.8338e-07 | 2.0154e-07 | 0.0094287 | 0.0094288 | 0.0094288 | 0.98626 | -0.26102 | 0.98613 | -0.26365 | 2.5903
46 | -0.45016 | -0.1154 | 0.45172 | 0.1164 | 0.0015659 | 0.0010003 | 0.67618 | 0.67618 | 0.67618 | 0.99198 | -0.15139 | 0.99575 | -0.07992 | 46.4409
47 | 0.11302 | 0.028972 | -0.11289 | -0.028895 | 0.00012044 | 7.6507e-05 | 0.16976 | 0.16976 | 0.16976 | 0.99198 | -0.15139 | 0.99083 | -0.1734 | 23.3185
48 | 0.0026393 | 0.00066126 | -0.0026392 | -0.00066144 | 1.1961e-07 | -1.7999e-07 | 0.0039825 | 0.0039826 | 0.0039826 | 0.98612 | -0.26381 | 0.98607 | -0.26476 | 1.0941
49 | 0.0062486 | 0.0015661 | -0.0062478 | -0.0015658 | 8.0905e-07 | 2.0823e-07 | 0.0094288 | 0.0094289 | 0.0094289 | 0.98613 | -0.26365 | 0.98599 | -0.26637 | 2.5904
50 | -0.47916 | -0.12328 | 0.48103 | 0.12447 | 0.0018699 | 0.0011947 | 0.71718 | 0.71718 | 0.71718 | 0.99575 | -0.07992 | 1 | 0 | 49.2566
51 | 0.026538 | 0.0066561 | -0.026529 | -0.0066509 | 8.314e-06 | 5.1345e-06 | 0.03949 | 0.03949 | 0.03949 | 1 | 0 | 0.99966 | -0.0065747 | 10.849
52 | -0.0034637 | -0.00086808 | 0.0034638 | 0.00086802 | 8.998e-08 | -6.0541e-08 | 0.0051582 | 0.0051581 | 0.0051582 | 0.9992 | -0.015403 | 0.99923 | -0.014857 | 1.4171
53 | -0.014031 | -0.0035169 | 0.014037 | 0.00352 | 5.539e-06 | 3.1016e-06 | 0.020895 | 0.020895 | 0.020895 | 0.99923 | -0.014857 | 0.99966 | -0.0065747 | 5.7404
54 | 0.010567 | 0.0026489 | -0.010567 | -0.0026488 | 2.8696e-07 | 1.4318e-07 | 0.015737 | 0.015737 | 0.015737 | 0.99923 | -0.014857 | 0.9992 | -0.015427 | 4.3233
55 | 0.010567 | 0.0026488 | -0.010566 | -0.002648 | 1.4975e-06 | 7.4724e-07 | 0.015737 | 0.015737 | 0.015737 | 0.9992 | -0.015427 | 0.99904 | -0.018402 | 4.3233
56 | 0.23755 | 0.059764 | -0.23716 | -0.059513 | 0.00039448 | 0.00025087 | 0.3624 | 0.3624 | 0.3624 | 0.97562 | -0.46784 | 0.97385 | -0.50266 | 24.8899
57 | 0.093438 | 0.023494 | -0.093378 | -0.023457 | 5.996e-05 | 3.6814e-05 | 0.1428 | 0.1428 | 0.1428 | 0.97385 | -0.50266 | 0.97317 | -0.5161 | 9.8076
58 | 0.093378 | 0.023457 | -0.093361 | -0.023447 | 1.6196e-05 | 9.9444e-06 | 0.1428 | 0.1428 | 0.1428 | 0.97317 | -0.5161 | 0.97298 | -0.51974 | 9.8076

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50922 | 0.13113

## res_load
| p_mw | q_mvar
0 | 0.011058 | 0.0027715
1 | 0.012914 | 0.0032365
2 | 0.021095 | 0.0052868
3 | 0.0061658 | 0.0015453
4 | 0.010983 | 0.0027526
5 | 0.0030241 | 0.00075791
6 | 0.00075237 | 0.00018856
7 | 0.0064089 | 0.0016062
8 | 0.021447 | 0.005375
9 | 0.004302 | 0.0010782
10 | 0.0037749 | 0.00094609
11 | 0.051235 | 0.012841
12 | 0.041978 | 0.010521
13 | 0.0051617 | 0.0012936
14 | 0.002896 | 0.0007258
15 | 0.010402 | 0.002607
16 | 0.0029845 | 0.00074798
17 | 0.0042901 | 0.0010752
18 | 0.0061161 | 0.0015328
19 | 0.0039413 | 0.00098779
20 | 0.0037856 | 0.00094875
21 | 0.0032793 | 0.00082186
22 | 0.0019832 | 0.00049704
23 | 0.0078022 | 0.0019554
24 | 0.011962 | 0.0029979
25 | 0.0070797 | 0.0017743
26 | 0.0077538 | 0.0019433
27 | 0.027435 | 0.0068759
28 | 0.0034637 | 0.00086808
29 | 0.012492 | 0.0031309
30 | 0.010566 | 0.002648
31 | 0.0030419 | 0.00076237
32 | 0.0062478 | 0.0015658
33 | 0.0026392 | 0.00066144
34 | 0.01321 | 0.0033107
35 | 0.14372 | 0.036019

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1