## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-13_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-13_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-13_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2601-13_0_2_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_2601-13_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2601-13_0_2_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_2601-13_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_2601-13_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2601-13_0_2_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_2601-13_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2601-13_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2601-13_0_2_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_2601-13_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2601-13_0_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_2601-13_0_2_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_2601-13_0_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_2601-13_0_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_2601-13_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2601-13_0_2_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_2601-13_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2601-13_0_2_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_2601-13_0_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_2601-13_0_2_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2601-13_0_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_2601-13_0_2_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_2601-13_0_2_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_2601-13_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2601-13_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_2601-13_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2601-13_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2601-13_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2601-13_0_2_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_2601-13_0_2_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2601-13_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2601-13_0_2_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_2601-13_0_2_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_2601-13_0_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2601-13_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2601-13_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2601-13_0_2_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_2601-13_0_2_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_2601-13_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2601-13_0_2_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2601-13_0_2_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2601-13_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2601-13_0_2_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2601-13_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2601-13_0_2_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2601-13_0_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2601-13_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2601-13_0_2_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_2601-13_0_2_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_2601-13_0_2_node_58 | 0.4 | n |  | TRUE
55 | bus_MV_393_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-13_0_2_load_0 | 0 | 0.0056325 | 0.0014116 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-13_0_2_load_3 | 3 | 0.0056291 | 0.0014108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-13_0_2_load_42 | 7 | 0.010071 | 0.002524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-13_0_2_load_22 | 8 | 0.0024275 | 0.00060839 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-13_0_2_load_29 | 10 | 0.0022667 | 0.00056808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-13_0_2_load_30 | 12 | 0.0041841 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-13_0_2_load_59 | 13 | 0.024084 | 0.006036 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-13_0_2_load_54 | 17 | 0.024082 | 0.0060355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-13_0_2_load_44 | 19 | 0.0016289 | 0.00040824 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-13_0_2_load_45 | 23 | 0.0037744 | 0.00094597 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-13_0_2_load_51 | 24 | 0.026515 | 0.0066453 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-13_0_2_load_10 | 26 | 0.014255 | 0.0035725 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-13_0_2_load_16 | 30 | 0.0062876 | 0.0015758 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-13_0_2_load_26 | 31 | 0.0025791 | 0.00064638 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-13_0_2_load_24 | 32 | 0.0074981 | 0.0018792 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-13_0_2_load_15 | 33 | 0.0059759 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-13_0_2_load_48 | 34 | 0.0048237 | 0.0012089 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-13_0_2_load_17 | 36 | 0.0082418 | 0.0020656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-13_0_2_load_19 | 37 | 0.0036932 | 0.00092561 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-13_0_2_load_23 | 38 | 0.0014409 | 0.00036113 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-13_0_2_load_27 | 39 | 0.004457 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-13_0_2_load_28 | 40 | 0.0056509 | 0.0014162 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-13_0_2_load_49 | 41 | 0.0041675 | 0.0010445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-13_0_2_load_47 | 42 | 0.002384 | 0.00059748 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-13_0_2_load_31 | 43 | 0.0067973 | 0.0017036 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-13_0_2_load_32 | 44 | 0.0035168 | 0.0008814 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-13_0_2_load_41 | 46 | 0.015008 | 0.0037614 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-13_0_2_load_36 | 47 | 0.0020642 | 0.00051733 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-13_0_2_load_53 | 48 | 0.01495 | 0.0037469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-13_0_2_load_52 | 49 | 0.0015524 | 0.00038907 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-13_0_2_load_55 | 50 | 0.0021518 | 0.00053929 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-13_0_2_load_56 | 52 | 0.00319 | 0.00079949 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-13_0_2_load_57 | 53 | 0.0033088 | 0.00082927 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-13_0_2_load_58 | 54 | 0.0021619 | 0.00054182 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-13_0_2_line_0 |  | 0 | 1 | 0.028541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-13_0_2_line_1 |  | 0 | 2 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-13_0_2_line_2 |  | 1 | 3 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-13_0_2_line_3 |  | 2 | 4 | 0.033258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-13_0_2_line_4 |  | 3 | 5 | 0.022361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-13_0_2_line_5 |  | 4 | 8 | 0.0092538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-13_0_2_line_6 |  | 4 | 9 | 0.033521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2601-13_0_2_line_7 |  | 4 | 10 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2601-13_0_2_line_8 |  | 5 | 16 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-13_0_2_line_9 |  | 5 | 6 | 0.039886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-13_0_2_line_10 |  | 6 | 7 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-13_0_2_line_11 |  | 7 | 20 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-13_0_2_line_12 |  | 8 | 21 | 0.024186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-13_0_2_line_13 |  | 9 | 13 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-13_0_2_line_14 |  | 10 | 11 | 0.021097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2601-13_0_2_line_15 |  | 11 | 12 | 0.021523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2601-13_0_2_line_16 |  | 12 | 22 | 0.031516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-13_0_2_line_17 |  | 12 | 23 | 0.039748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2601-13_0_2_line_18 |  | 13 | 14 | 0.027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-13_0_2_line_19 |  | 14 | 15 | 0.020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-13_0_2_line_20 |  | 15 | 24 | 0.027131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-13_0_2_line_21 |  | 15 | 25 | 0.034774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-13_0_2_line_22 |  | 16 | 19 | 0.037971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-13_0_2_line_23 |  | 17 | 18 | 0.027296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-13_0_2_line_24 |  | 18 | 48 | 0.025485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-13_0_2_line_25 |  | 18 | 46 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-13_0_2_line_26 |  | 19 | 38 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-13_0_2_line_27 |  | 20 | 46 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-13_0_2_line_28 |  | 20 | 47 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-13_0_2_line_29 |  | 21 | 37 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-13_0_2_line_30 |  | 22 | 42 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-13_0_2_line_31 |  | 22 | 40 | 0.005596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-13_0_2_line_32 |  | 24 | 49 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-13_0_2_line_33 |  | 25 | 45 | 0.11211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-13_0_2_line_34 |  | 26 | 27 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-13_0_2_line_35 |  | 27 | 28 | 0.030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-13_0_2_line_36 |  | 28 | 29 | 0.050511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-13_0_2_line_37 |  | 28 | 30 | 0.039046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-13_0_2_line_38 |  | 29 | 31 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-13_0_2_line_39 |  | 29 | 32 | 0.010506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-13_0_2_line_40 |  | 30 | 33 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2601-13_0_2_line_41 |  | 31 | 34 | 0.0070629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2601-13_0_2_line_42 |  | 32 | 35 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2601-13_0_2_line_43 |  | 33 | 36 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2601-13_0_2_line_44 |  | 34 | 41 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-13_0_2_line_45 |  | 35 | 39 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2601-13_0_2_line_46 |  | 35 | 40 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2601-13_0_2_line_47 |  | 41 | 51 | 0.0043054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2601-13_0_2_line_48 |  | 42 | 50 | 0.017064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-13_0_2_line_49 |  | 43 | 44 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2601-13_0_2_line_50 |  | 43 | 45 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2601-13_0_2_line_51 |  | 51 | 52 | 0.012419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2601-13_0_2_line_52 |  | 52 | 53 | 0.0024786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2601-13_0_2_line_53 |  | 53 | 54 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-13_0_2_trafo_45 | 0.63 MVA 20/0.4 kV | 55 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2607840.1885 | 1227747.4695 | 2607842.1496 | 1227748.5283 | 2607830.4803 | 1227772.1113
1 | 2607823.5895 | 1227786.0373 | 2607830.4803 | 1227772.1113
2 | 2607840.1885 | 1227747.4695 | 2607847.1373 | 1227733.5036
3 | 2607805.5205 | 1227807.3263 | 2607805.8544 | 1227801.1342 | 2607811.8477 | 1227801.3533 | 2607816.3339 | 1227800.9144 | 2607823.5895 | 1227786.0373
4 | 2607856.4031 | 1227713.2038 | 2607854.9651 | 1227717.7713 | 2607847.1373 | 1227733.5036
5 | 2607805.5205 | 1227807.3263 | 2607814.7742 | 1227807.276
6 | 2607792.8062 | 1227789.7216 | 2607789.2281 | 1227796.8768 | 2607793.2489 | 1227798.9054 | 2607794.9039 | 1227796.495 | 2607805.8544 | 1227801.1342 | 2607805.5205 | 1227807.3263
7 | 2607805.5205 | 1227807.3263 | 2607792.0886 | 1227807.5042
8 | 2607863.5512 | 1227705.3864 | 2607856.4031 | 1227713.2038
9 | 2607830.7611 | 1227713.6817 | 2607837.6213 | 1227699.9381 | 2607841.9508 | 1227703.5014 | 2607845.7028 | 1227702.6058 | 2607856.4031 | 1227713.2038
10 | 2607830.7611 | 1227713.6817 | 2607811.3978 | 1227704.5888
11 | 2607788.9298 | 1227694.0379 | 2607811.3978 | 1227704.5888
12 | 2607838.3549 | 1227811.1492 | 2607832.5386 | 1227808.8625 | 2607827.6151 | 1227807.6331 | 2607823.6603 | 1227807.2277 | 2607814.7742 | 1227807.276
13 | 2607792.8062 | 1227789.7216 | 2607773.821 | 1227780.5341
14 | 2607777.3255 | 1227819.3857 | 2607781.2305 | 1227811.3638 | 2607782.8698 | 1227809.3425 | 2607784.7503 | 1227808.2999 | 2607786.7969 | 1227807.7356 | 2607789.4643 | 1227807.5389 | 2607792.0886 | 1227807.5042
15 | 2607777.3255 | 1227819.3857 | 2607767.8896 | 1227838.7405
16 | 2607754.0778 | 1227867.0838 | 2607767.8896 | 1227838.7405
17 | 2607767.8896 | 1227838.7405 | 2607754.7973 | 1227832.153 | 2607755.2487 | 1227828.7961 | 2607748.6526 | 1227826.097 | 2607746.5522 | 1227821.3471 | 2607738.0246 | 1227817.4308
18 | 2607753.4075 | 1227781.8993 | 2607758.2533 | 1227773.0003 | 2607773.821 | 1227780.5341
19 | 2607753.4075 | 1227781.8993 | 2607739.8157 | 1227774.7331 | 2607735.4852 | 1227771.8925
20 | 2607735.4852 | 1227771.8925 | 2607730.9001 | 1227784.3495 | 2607722.2694 | 1227795.19
21 | 2607718.2616 | 1227748.8567 | 2607714.2514 | 1227756.1781 | 2607723.0627 | 1227762.8823 | 2607731.2456 | 1227769.1076 | 2607735.4852 | 1227771.8925
22 | 2607863.5512 | 1227705.3864 | 2607873.086 | 1227714.9712 | 2607878.7828 | 1227721.6938 | 2607884.2055 | 1227729.461 | 2607887.2838 | 1227734.804
23 | 2607767.8099 | 1227730.6321 | 2607792.2359 | 1227742.8157
24 | 2607767.8099 | 1227730.6321 | 2607755.0383 | 1227752.6863
25 | 2607767.8099 | 1227730.6321 | 2607776.1153 | 1227716.2415
26 | 2607897.8427 | 1227756.9034 | 2607896.7814 | 1227754.1922 | 2607889.7696 | 1227739.1185 | 2607887.2838 | 1227734.804
27 | 2607788.9298 | 1227694.0379 | 2607776.1153 | 1227716.2415
28 | 2607788.9298 | 1227694.0379 | 2607797.3008 | 1227680.1524
29 | 2607838.3549 | 1227811.1492 | 2607842.5369 | 1227811.566 | 2607846.7122 | 1227811.3713 | 2607852.0781 | 1227810.3778 | 2607854.3136 | 1227809.7059
30 | 2607754.0778 | 1227867.0838 | 2607748.8985 | 1227864.4534 | 2607747.7986 | 1227859.5046 | 2607742.2165 | 1227856.4718
31 | 2607754.0778 | 1227867.0838 | 2607751.6261 | 1227872.1141
32 | 2607715.0989 | 1227804.1964 | 2607722.2694 | 1227795.19
33 | 2607680.7999 | 1227831.6687 | 2607675.1009 | 1227826.5139 | 2607662.2425 | 1227808.7536 | 2607678.8771 | 1227794.7555 | 2607690.6358 | 1227783.753 | 2607714.2514 | 1227756.1781 | 2607718.2616 | 1227748.8567
34 | 2607729.8051 | 1227963.7652 | 2607734.6949 | 1227961.6702 | 2607741.7373 | 1227959.0444 | 2607748.606 | 1227957.5101
35 | 2607710.0969 | 1227958.281 | 2607714.2376 | 1227949.5812 | 2607729.8051 | 1227963.7652
36 | 2607710.0969 | 1227958.281 | 2607714.2376 | 1227949.5812 | 2607731.8485 | 1227912.6932
37 | 2607710.0969 | 1227958.281 | 2607673.0534 | 1227945.9383
38 | 2607731.8485 | 1227912.6932 | 2607717.8706 | 1227908.1237
39 | 2607731.8485 | 1227912.6932 | 2607736.4514 | 1227903.249
40 | 2607673.0534 | 1227945.9383 | 2607653.6082 | 1227939.4593
41 | 2607711.1573 | 1227905.9291 | 2607717.8706 | 1227908.1237
42 | 2607742.6896 | 1227890.4496 | 2607736.4514 | 1227903.249
43 | 2607636.132 | 1227933.6363 | 2607653.6082 | 1227939.4593
44 | 2607711.1573 | 1227905.9291 | 2607691.384 | 1227899.4651
45 | 2607742.6896 | 1227890.4496 | 2607724.6739 | 1227881.5591
46 | 2607742.6896 | 1227890.4496 | 2607751.6261 | 1227872.1141
47 | 2607687.2916 | 1227898.1273 | 2607691.384 | 1227899.4651
48 | 2607731.3518 | 1227845.4528 | 2607732.1478 | 1227851.0016 | 2607742.2165 | 1227856.4718
49 | 2607701.1968 | 1227843.2447 | 2607691.7582 | 1227838.7923
50 | 2607680.7999 | 1227831.6687 | 2607687.8474 | 1227836.9475 | 2607691.7582 | 1227838.7923
51 | 2607687.2916 | 1227898.1273 | 2607691.0998 | 1227886.3069
52 | 2607691.0998 | 1227886.3069 | 2607691.8599 | 1227883.9477
53 | 2607695.401 | 1227872.9562 | 2607691.8599 | 1227883.9477

## bus_geodata
| x | y | coords
0 | 2607830.4803 | 1227772.1113
1 | 2607840.1885 | 1227747.4695
2 | 2607823.5895 | 1227786.0373
3 | 2607847.1373 | 1227733.5036
4 | 2607805.5205 | 1227807.3263
5 | 2607856.4031 | 1227713.2038
6 | 2607830.7611 | 1227713.6817
7 | 2607811.3978 | 1227704.5888
8 | 2607814.7742 | 1227807.276
9 | 2607792.8062 | 1227789.7216
10 | 2607792.0886 | 1227807.5042
11 | 2607777.3255 | 1227819.3857
12 | 2607767.8896 | 1227838.7405
13 | 2607773.821 | 1227780.5341
14 | 2607753.4075 | 1227781.8993
15 | 2607735.4852 | 1227771.8925
16 | 2607863.5512 | 1227705.3864
17 | 2607792.2359 | 1227742.8157
18 | 2607767.8099 | 1227730.6321
19 | 2607887.2838 | 1227734.804
20 | 2607788.9298 | 1227694.0379
21 | 2607838.3549 | 1227811.1492
22 | 2607754.0778 | 1227867.0838
23 | 2607738.0246 | 1227817.4308
24 | 2607722.2694 | 1227795.19
25 | 2607718.2616 | 1227748.8567
26 | 2607748.606 | 1227957.5101
27 | 2607729.8051 | 1227963.7652
28 | 2607710.0969 | 1227958.281
29 | 2607731.8485 | 1227912.6932
30 | 2607673.0534 | 1227945.9383
31 | 2607717.8706 | 1227908.1237
32 | 2607736.4514 | 1227903.249
33 | 2607653.6082 | 1227939.4593
34 | 2607711.1573 | 1227905.9291
35 | 2607742.6896 | 1227890.4496
36 | 2607636.132 | 1227933.6363
37 | 2607854.3136 | 1227809.7059
38 | 2607897.8427 | 1227756.9034
39 | 2607724.6739 | 1227881.5591
40 | 2607751.6261 | 1227872.1141
41 | 2607691.384 | 1227899.4651
42 | 2607742.2165 | 1227856.4718
43 | 2607691.7582 | 1227838.7923
44 | 2607701.1968 | 1227843.2447
45 | 2607680.7999 | 1227831.6687
46 | 2607776.1153 | 1227716.2415
47 | 2607797.3008 | 1227680.1524
48 | 2607755.0383 | 1227752.6863
49 | 2607715.0989 | 1227804.1964
50 | 2607731.3518 | 1227845.4528
51 | 2607687.2916 | 1227898.1273
52 | 2607691.0998 | 1227886.3069
53 | 2607691.8599 | 1227883.9477
54 | 2607695.401 | 1227872.9562
55 | 2607734.0498 | 1227815.6053

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98819 | -0.22543 | 0.0056325 | 0.0014116
1 | 0.98621 | -0.26366 | 0 | 0
2 | 0.98935 | -0.20313 | 0 | 0
3 | 0.98513 | -0.28461 | 0.0056291 | 0.0014108
4 | 0.99184 | -0.15556 | 0 | 0
5 | 0.98369 | -0.31246 | 0 | 0
6 | 0.98124 | -0.36013 | 0 | 0
7 | 0.97993 | -0.38579 | 0.010071 | 0.002524
8 | 0.99178 | -0.15657 | 0.0024275 | 0.00060839
9 | 0.98991 | -0.19274 | 0 | 0
10 | 0.99276 | -0.13784 | 0.0022667 | 0.00056808
11 | 0.99424 | -0.10964 | 0 | 0
12 | 0.99574 | -0.080956 | 0.0041841 | 0.0010486
13 | 0.9887 | -0.21621 | 0.024084 | 0.006036
14 | 0.98773 | -0.235 | 0 | 0
15 | 0.98701 | -0.24907 | 0 | 0
16 | 0.98366 | -0.31305 | 0 | 0
17 | 0.97613 | -0.46021 | 0.024082 | 0.0060355
18 | 0.97674 | -0.44819 | 0 | 0
19 | 0.98355 | -0.31515 | 0.0016289 | 0.00040824
20 | 0.97863 | -0.4111 | 0 | 0
21 | 0.9917 | -0.15815 | 0 | 0
22 | 0.99351 | -0.12379 | 0 | 0
23 | 1 | 0 | -0.23749 | -0.06032
24 | 0.98631 | -0.2627 | 0.026515 | 0.0066453
25 | 0.98668 | -0.25549 | 0 | 0
26 | 0.98827 | -0.22527 | 0.014255 | 0.0035725
27 | 0.98853 | -0.22022 | 0 | 0
28 | 0.98893 | -0.21241 | 0 | 0
29 | 0.99054 | -0.18117 | 0 | 0
30 | 0.9882 | -0.2267 | 0.0062876 | 0.0015758
31 | 0.99027 | -0.18646 | 0.0025791 | 0.00064638
32 | 0.99107 | -0.17091 | 0.0074981 | 0.0018792
33 | 0.98793 | -0.2319 | 0.0059759 | 0.0014977
34 | 0.99016 | -0.18867 | 0.0048237 | 0.0012089
35 | 0.99189 | -0.15513 | 0 | 0
36 | 0.98779 | -0.23461 | 0.0082418 | 0.0020656
37 | 0.99165 | -0.15921 | 0.0036932 | 0.00092561
38 | 0.98352 | -0.31579 | 0.0014409 | 0.00036113
39 | 0.99181 | -0.15672 | 0.004457 | 0.001117
40 | 0.99314 | -0.13097 | 0.0056509 | 0.0014162
41 | 0.98991 | -0.19342 | 0.0041675 | 0.0010445
42 | 0.99344 | -0.12517 | 0.002384 | 0.00059748
43 | 0.98549 | -0.27865 | 0.0067973 | 0.0017036
44 | 0.98546 | -0.27931 | 0.0035168 | 0.0008814
45 | 0.98562 | -0.27622 | 0 | 0
46 | 0.97735 | -0.43635 | 0.015008 | 0.0037614
47 | 0.9786 | -0.41171 | 0.0020642 | 0.00051733
48 | 0.97639 | -0.45516 | 0.01495 | 0.0037469
49 | 0.98629 | -0.26302 | 0.0015524 | 0.00038907
50 | 0.99341 | -0.12582 | 0.0021518 | 0.00053929
51 | 0.98988 | -0.19408 | 0 | 0
52 | 0.98978 | -0.196 | 0.00319 | 0.00079949
53 | 0.98977 | -0.19624 | 0.0033088 | 0.00082927
54 | 0.98974 | -0.19668 | 0.0021619 | 0.00054182
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.07559 | 0.019219 | -0.075451 | -0.019131 | 0.0001389 | 8.8532e-05 | 0.11392 | 0.11392 | 0.11392 | 0.98819 | -0.22543 | 0.98621 | -0.26366 | 31.2971
1 | -0.081222 | -0.020631 | 0.08131 | 0.020686 | 8.7296e-05 | 5.567e-05 | 0.1224 | 0.1224 | 0.1224 | 0.98819 | -0.22543 | 0.98935 | -0.20313 | 33.6271
2 | 0.075451 | 0.019131 | -0.075375 | -0.019082 | 7.5917e-05 | 4.8388e-05 | 0.11392 | 0.11392 | 0.11392 | 0.98621 | -0.26366 | 0.98513 | -0.28461 | 31.2971
3 | -0.08131 | -0.020686 | 0.081497 | 0.020806 | 0.00018686 | 0.00011916 | 0.1224 | 0.1224 | 0.1224 | 0.98935 | -0.20313 | 0.99184 | -0.15556 | 33.627
4 | 0.069746 | 0.017671 | -0.069653 | -0.017612 | 9.3186e-05 | 5.9355e-05 | 0.10542 | 0.10542 | 0.10542 | 0.98513 | -0.28461 | 0.98369 | -0.31246 | 28.9612
5 | 0.0061215 | 0.0015338 | -0.0061212 | -0.0015338 | 2.9268e-07 | 6.7892e-08 | 0.0091838 | 0.0091838 | 0.0091838 | 0.99184 | -0.15556 | 0.99178 | -0.15657 | 2.523
6 | 0.06274 | 0.015827 | -0.062629 | -0.015756 | 0.00011146 | 7.0902e-05 | 0.094164 | 0.094164 | 0.094164 | 0.99184 | -0.15556 | 0.98991 | -0.19274 | 25.8691
7 | -0.15036 | -0.038167 | 0.15049 | 0.038248 | 0.00012836 | 8.1804e-05 | 0.22575 | 0.22575 | 0.22575 | 0.99184 | -0.15556 | 0.99276 | -0.13784 | 31.0095
8 | 0.0030702 | 0.00076872 | -0.0030702 | -0.0007688 | 8.5569e-08 | -7.9543e-08 | 0.0046441 | 0.0046441 | 0.0046441 | 0.98369 | -0.31246 | 0.98366 | -0.31305 | 1.2759
9 | 0.066583 | 0.016843 | -0.066431 | -0.016747 | 0.0001519 | 9.671e-05 | 0.10077 | 0.10077 | 0.10077 | 0.98369 | -0.31246 | 0.98124 | -0.36013 | 27.6854
10 | 0.066431 | 0.016747 | -0.066349 | -0.016695 | 8.1468e-05 | 5.187e-05 | 0.10077 | 0.10078 | 0.10078 | 0.98124 | -0.36013 | 0.97993 | -0.38579 | 27.6854
11 | 0.056278 | 0.014171 | -0.05621 | -0.014128 | 6.8018e-05 | 4.3219e-05 | 0.085483 | 0.085483 | 0.085483 | 0.97993 | -0.38579 | 0.97863 | -0.4111 | 23.4842
12 | 0.0036937 | 0.00092539 | -0.0036934 | -0.00092552 | 2.7854e-07 | -1.3382e-07 | 0.0055417 | 0.0055418 | 0.0055418 | 0.99178 | -0.15657 | 0.9917 | -0.15815 | 1.5225
13 | 0.062629 | 0.015756 | -0.062559 | -0.015712 | 7.013e-05 | 4.4613e-05 | 0.094164 | 0.094164 | 0.094164 | 0.98991 | -0.19274 | 0.9887 | -0.21621 | 25.8692
14 | -0.15275 | -0.038817 | 0.15296 | 0.038949 | 0.0002077 | 0.00013238 | 0.22915 | 0.22915 | 0.22915 | 0.99276 | -0.13784 | 0.99424 | -0.10964 | 31.4762
15 | -0.15296 | -0.038949 | 0.15317 | 0.039084 | 0.0002119 | 0.00013506 | 0.22915 | 0.22915 | 0.22915 | 0.99424 | -0.10964 | 0.99574 | -0.080956 | 31.4762
16 | 0.077559 | 0.019599 | -0.0774 | -0.019498 | 0.00015892 | 0.0001013 | 0.11596 | 0.11596 | 0.11596 | 0.99574 | -0.080956 | 0.99351 | -0.12379 | 31.8572
17 | -0.23492 | -0.059732 | 0.23584 | 0.06032 | 0.00092006 | 0.0005878 | 0.35136 | 0.35136 | 0.35136 | 0.99574 | -0.080956 | 1 | 0 | 48.2636
18 | 0.038475 | 0.0096757 | -0.03844 | -0.009654 | 3.4501e-05 | 2.1729e-05 | 0.057917 | 0.057917 | 0.057917 | 0.9887 | -0.21621 | 0.98773 | -0.235 | 15.9113
19 | 0.03844 | 0.009654 | -0.038414 | -0.0096377 | 2.5786e-05 | 1.6241e-05 | 0.057917 | 0.057917 | 0.057917 | 0.98773 | -0.235 | 0.98701 | -0.24907 | 15.9113
20 | 0.028086 | 0.0070456 | -0.028067 | -0.0070342 | 1.8242e-05 | 1.1329e-05 | 0.042344 | 0.042344 | 0.042344 | 0.98701 | -0.24907 | 0.98631 | -0.2627 | 11.6331
21 | 0.010329 | 0.0025922 | -0.010326 | -0.0025906 | 3.1625e-06 | 1.5797e-06 | 0.015573 | 0.015573 | 0.015573 | 0.98701 | -0.24907 | 0.98668 | -0.25549 | 4.2783
22 | 0.0030702 | 0.0007688 | -0.0030699 | -0.00076908 | 3.0711e-07 | -2.854e-07 | 0.0046441 | 0.0046443 | 0.0046443 | 0.98366 | -0.31305 | 0.98355 | -0.31515 | 1.2759
23 | -0.024082 | -0.0060355 | 0.024096 | 0.0060439 | 1.3794e-05 | 8.487e-06 | 0.03671 | 0.03671 | 0.03671 | 0.97613 | -0.46021 | 0.97674 | -0.44819 | 10.0852
24 | 0.014955 | 0.0037497 | -0.01495 | -0.0037469 | 4.9611e-06 | 2.8563e-06 | 0.022784 | 0.022784 | 0.022784 | 0.97674 | -0.44819 | 0.97639 | -0.45516 | 6.2594
25 | -0.039051 | -0.0097937 | 0.039073 | 0.0098076 | 2.2054e-05 | 1.3906e-05 | 0.059494 | 0.059494 | 0.059494 | 0.97674 | -0.44819 | 0.97735 | -0.43635 | 16.3445
26 | 0.001441 | 0.00036084 | -0.0014409 | -0.00036113 | 4.369e-08 | -2.8316e-07 | 0.0021799 | 0.00218 | 0.00218 | 0.98355 | -0.31515 | 0.98352 | -0.31579 | 0.59891
27 | 0.054146 | 0.01361 | -0.054081 | -0.013569 | 6.5185e-05 | 4.1397e-05 | 0.082344 | 0.082344 | 0.082344 | 0.97863 | -0.4111 | 0.97735 | -0.43635 | 22.622
28 | 0.0020642 | 0.00051716 | -0.0020642 | -0.00051733 | 5.9895e-08 | -1.6538e-07 | 0.0031386 | 0.0031387 | 0.0031387 | 0.97863 | -0.4111 | 0.9786 | -0.41171 | 0.86227
29 | 0.0036934 | 0.00092552 | -0.0036932 | -0.00092561 | 1.8628e-07 | -8.9457e-08 | 0.0055418 | 0.0055419 | 0.0055419 | 0.9917 | -0.15815 | 0.99165 | -0.15921 | 1.5225
30 | 0.0045361 | 0.0011366 | -0.0045358 | -0.0011366 | 2.9825e-07 | -3.2243e-08 | 0.0067938 | 0.0067939 | 0.0067939 | 0.99351 | -0.12379 | 0.99344 | -0.12517 | 1.8664
31 | 0.072864 | 0.018361 | -0.072839 | -0.018345 | 2.5008e-05 | 1.5933e-05 | 0.10917 | 0.10917 | 0.10917 | 0.99351 | -0.12379 | 0.99314 | -0.13097 | 29.9908
32 | 0.0015524 | 0.00038894 | -0.0015524 | -0.00038907 | 2.3681e-08 | -1.3177e-07 | 0.0023421 | 0.0023421 | 0.0023421 | 0.98631 | -0.2627 | 0.98629 | -0.26302 | 0.64344
33 | 0.010326 | 0.0025906 | -0.010315 | -0.0025855 | 1.0196e-05 | 5.0951e-06 | 0.015573 | 0.015574 | 0.015574 | 0.98668 | -0.25549 | 0.98562 | -0.27622 | 4.2785
34 | -0.014255 | -0.0035725 | 0.014258 | 0.0035745 | 3.433e-06 | 1.9424e-06 | 0.021463 | 0.021463 | 0.021463 | 0.98827 | -0.22527 | 0.98853 | -0.22022 | 5.8964
35 | -0.014258 | -0.0035745 | 0.014263 | 0.0035775 | 5.3023e-06 | 2.9998e-06 | 0.021463 | 0.021463 | 0.021463 | 0.98853 | -0.22022 | 0.98893 | -0.21241 | 5.8963
36 | -0.034787 | -0.0087275 | 0.034839 | 0.00876 | 5.1903e-05 | 3.2569e-05 | 0.052346 | 0.052346 | 0.052346 | 0.98893 | -0.21241 | 0.99054 | -0.18117 | 14.3809
37 | 0.020524 | 0.00515 | -0.02051 | -0.0051416 | 1.3966e-05 | 8.4376e-06 | 0.030884 | 0.030884 | 0.030884 | 0.98893 | -0.21241 | 0.9882 | -0.2267 | 8.4846
38 | 0.020242 | 0.0050765 | -0.020237 | -0.0050734 | 5.0996e-06 | 3.0745e-06 | 0.030409 | 0.030409 | 0.030409 | 0.99054 | -0.18117 | 0.99027 | -0.18646 | 8.3542
39 | -0.055081 | -0.013837 | 0.055108 | 0.013854 | 2.6982e-05 | 1.7133e-05 | 0.082755 | 0.082755 | 0.082755 | 0.99054 | -0.18117 | 0.99107 | -0.17091 | 22.735
40 | 0.014222 | 0.0035657 | -0.014219 | -0.0035637 | 3.5253e-06 | 1.9937e-06 | 0.021416 | 0.021416 | 0.021416 | 0.9882 | -0.2267 | 0.98793 | -0.2319 | 5.8836
41 | 0.017658 | 0.004427 | -0.017656 | -0.0044259 | 1.8647e-06 | 1.1026e-06 | 0.026534 | 0.026534 | 0.026534 | 0.99027 | -0.18646 | 0.99016 | -0.18867 | 7.2895
42 | -0.062606 | -0.015733 | 0.062653 | 0.015763 | 4.7193e-05 | 3.002e-05 | 0.094013 | 0.094013 | 0.094013 | 0.99107 | -0.17091 | 0.99189 | -0.15513 | 25.8278
43 | 0.0082429 | 0.002066 | -0.0082418 | -0.0020656 | 1.0648e-06 | 4.4564e-07 | 0.012416 | 0.012416 | 0.012416 | 0.98793 | -0.2319 | 0.98779 | -0.23461 | 3.4109
44 | 0.012832 | 0.003217 | -0.012829 | -0.0032154 | 2.9013e-06 | 1.5893e-06 | 0.019285 | 0.019285 | 0.019285 | 0.99016 | -0.18867 | 0.98991 | -0.19342 | 5.298
45 | 0.0044573 | 0.001117 | -0.004457 | -0.001117 | 3.3686e-07 | -4.3696e-08 | 0.0066868 | 0.0066869 | 0.0066869 | 0.99189 | -0.15513 | 0.99181 | -0.15672 | 1.837
46 | -0.067111 | -0.01688 | 0.067188 | 0.016929 | 7.7564e-05 | 4.9378e-05 | 0.1007 | 0.1007 | 0.1007 | 0.99189 | -0.15513 | 0.99314 | -0.13097 | 27.6648
47 | 0.0086619 | 0.0021709 | -0.0086616 | -0.0021708 | 2.7371e-07 | 1.1983e-07 | 0.01302 | 0.01302 | 0.01302 | 0.98991 | -0.19342 | 0.98988 | -0.19408 | 3.577
48 | 0.0021519 | 0.00053911 | -0.0021518 | -0.00053929 | 6.6477e-08 | -1.7839e-07 | 0.0032231 | 0.0032231 | 0.0032231 | 0.99344 | -0.12517 | 0.99341 | -0.12582 | 0.88548
49 | 0.0035169 | 0.00088134 | -0.0035168 | -0.0008814 | 1.1036e-07 | -6.2336e-08 | 0.0053103 | 0.0053103 | 0.0053103 | 0.98549 | -0.27865 | 0.98546 | -0.27931 | 1.4589
50 | -0.010314 | -0.0025849 | 0.010315 | 0.0025855 | 1.1941e-06 | 5.9694e-07 | 0.015574 | 0.015574 | 0.015574 | 0.98549 | -0.27865 | 0.98562 | -0.27622 | 4.2785
51 | 0.0086616 | 0.0021708 | -0.0086608 | -0.0021705 | 7.8952e-07 | 3.4566e-07 | 0.01302 | 0.01302 | 0.01302 | 0.98988 | -0.19408 | 0.98978 | -0.196 | 3.5771
52 | 0.0054708 | 0.001371 | -0.0054708 | -0.001371 | 6.2875e-08 | 8.3842e-09 | 0.0082247 | 0.0082247 | 0.0082247 | 0.98978 | -0.196 | 0.98977 | -0.19624 | 2.2595
53 | 0.0021619 | 0.0005417 | -0.0021619 | -0.00054182 | 4.5747e-08 | -1.1913e-07 | 0.0032502 | 0.0032503 | 0.0032503 | 0.98977 | -0.19624 | 0.98974 | -0.19668 | 0.89293

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24126 | 0.061266

## res_load
| p_mw | q_mvar
0 | 0.0056325 | 0.0014116
1 | 0.0056291 | 0.0014108
2 | 0.010071 | 0.002524
3 | 0.0024275 | 0.00060839
4 | 0.0022667 | 0.00056808
5 | 0.0041841 | 0.0010486
6 | 0.024084 | 0.006036
7 | 0.024082 | 0.0060355
8 | 0.0016289 | 0.00040824
9 | 0.0037744 | 0.00094597
10 | 0.026515 | 0.0066453
11 | 0.014255 | 0.0035725
12 | 0.0062876 | 0.0015758
13 | 0.0025791 | 0.00064638
14 | 0.0074981 | 0.0018792
15 | 0.0059759 | 0.0014977
16 | 0.0048237 | 0.0012089
17 | 0.0082418 | 0.0020656
18 | 0.0036932 | 0.00092561
19 | 0.0014409 | 0.00036113
20 | 0.004457 | 0.001117
21 | 0.0056509 | 0.0014162
22 | 0.0041675 | 0.0010445
23 | 0.002384 | 0.00059748
24 | 0.0067973 | 0.0017036
25 | 0.0035168 | 0.0008814
26 | 0.015008 | 0.0037614
27 | 0.0020642 | 0.00051733
28 | 0.01495 | 0.0037469
29 | 0.0015524 | 0.00038907
30 | 0.0021518 | 0.00053929
31 | 0.00319 | 0.00079949
32 | 0.0033088 | 0.00082927
33 | 0.0021619 | 0.00054182

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1