## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2601-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2601-17_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2601-17_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_2601-17_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2601-17_0_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2601-17_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_2601-17_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_2601-17_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2601-17_0_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_2601-17_0_3_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_2601-17_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_2601-17_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_2601-17_0_3_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_2601-17_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_2601-17_0_3_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_2601-17_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2601-17_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2601-17_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_2601-17_0_3_node_6 | 0.4 | n |  | TRUE
24 | bus_LV_2601-17_0_3_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_2601-17_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_2601-17_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2601-17_0_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_2601-17_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2601-17_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_2601-17_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2601-17_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2601-17_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_2601-17_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2601-17_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2601-17_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_2601-17_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_2601-17_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_2601-17_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_2601-17_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2601-17_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_2601-17_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2601-17_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2601-17_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2601-17_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2601-17_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_2601-17_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2601-17_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2601-17_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2601-17_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2601-17_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2601-17_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_MV_393_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-17_0_3_load_0 | 0 | 0.016511 | 0.0041381 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-17_0_3_load_1 | 1 | 0.033044 | 0.0082815 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-17_0_3_load_4 | 4 | 0.0027961 | 0.00070078 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-17_0_3_load_5 | 5 | 0.0037459 | 0.0009388 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-17_0_3_load_21 | 9 | 0.0038777 | 0.00097184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-17_0_3_load_22 | 12 | 0.079434 | 0.019908 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-17_0_3_load_46 | 13 | 0.0084289 | 0.0021125 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-17_0_3_load_45 | 14 | 0.0024481 | 0.00061355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-17_0_3_load_55 | 15 | 0.012264 | 0.0030736 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-17_0_3_load_54 | 17 | 0.0017069 | 0.0004278 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-17_0_3_load_48 | 18 | 0.0021939 | 0.00054986 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-17_0_3_load_51 | 19 | 0.0025272 | 0.00063337 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-17_0_3_load_9 | 20 | 0.0024358 | 0.00061048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-17_0_3_load_33 | 21 | 0.0017381 | 0.00043561 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-17_0_3_load_29 | 22 | 0.0038813 | 0.00097275 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-17_0_3_load_6 | 23 | 0.0062092 | 0.0015562 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-17_0_3_load_7 | 24 | 0.0039157 | 0.00098136 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-17_0_3_load_53 | 27 | 0.0069587 | 0.001744 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-17_0_3_load_58 | 29 | 0.0073916 | 0.0018525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-17_0_3_load_18 | 31 | 0.0041224 | 0.0010332 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-17_0_3_load_15 | 32 | 0.0036762 | 0.00092134 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-17_0_3_load_52 | 33 | 0.0030871 | 0.00077369 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-17_0_3_load_47 | 34 | 0.0061476 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-17_0_3_load_44 | 35 | 0.0043885 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-17_0_3_load_19 | 37 | 0.0048249 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-17_0_3_load_43 | 38 | 0.0039311 | 0.00098524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-17_0_3_load_34 | 41 | 0.02009 | 0.0050349 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-17_0_3_load_40 | 43 | 0.042252 | 0.010589 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-17_0_3_load_36 | 44 | 0.0056683 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-17_0_3_load_39 | 46 | 0.012807 | 0.0032096 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-17_0_3_load_30 | 47 | 0.0032902 | 0.0008246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-17_0_3_load_32 | 48 | 0.0024836 | 0.00062244 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-17_0_3_load_37 | 49 | 0.020813 | 0.0052162 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-17_0_3_load_50 | 50 | 0.0019026 | 0.00047685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2601-17_0_3_load_56 | 51 | 0.0020533 | 0.0005146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-17_0_3_line_0 |  | 0 | 1 | 0.027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2601-17_0_3_line_1 |  | 0 | 2 | 0.0041899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-17_0_3_line_2 |  | 1 | 3 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2601-17_0_3_line_3 |  | 2 | 4 | 0.018951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-17_0_3_line_4 |  | 2 | 5 | 0.024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-17_0_3_line_5 |  | 3 | 6 | 0.073031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2601-17_0_3_line_6 |  | 3 | 7 | 0.12154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2601-17_0_3_line_7 |  | 3 | 8 | 0.081632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2601-17_0_3_line_8 |  | 4 | 9 | 0.0289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-17_0_3_line_9 |  | 5 | 10 | 0.015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-17_0_3_line_10 |  | 6 | 13 | 0.048177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-17_0_3_line_11 |  | 6 | 11 | 0.007625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-17_0_3_line_12 |  | 7 | 14 | 0.034633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-17_0_3_line_13 |  | 8 | 15 | 0.024297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-17_0_3_line_14 |  | 8 | 16 | 0.036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-17_0_3_line_15 |  | 8 | 17 | 0.019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-17_0_3_line_16 |  | 9 | 20 | 0.030028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-17_0_3_line_17 |  | 10 | 21 | 0.0063209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-17_0_3_line_18 |  | 10 | 22 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-17_0_3_line_19 |  | 11 | 12 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-17_0_3_line_20 |  | 13 | 46 | 0.0004175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-17_0_3_line_21 |  | 14 | 35 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-17_0_3_line_22 |  | 16 | 18 | 0.012329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-17_0_3_line_23 |  | 16 | 19 | 0.033948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-17_0_3_line_24 |  | 18 | 34 | 0.004444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-17_0_3_line_25 |  | 20 | 24 | 0.026171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-17_0_3_line_26 |  | 21 | 41 | 0.028066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-17_0_3_line_27 |  | 22 | 47 | 0.03033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-17_0_3_line_28 |  | 23 | 24 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-17_0_3_line_29 |  | 25 | 26 | 0.0344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-17_0_3_line_30 |  | 25 | 27 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-17_0_3_line_31 |  | 26 | 31 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-17_0_3_line_32 |  | 26 | 32 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-17_0_3_line_33 |  | 27 | 33 | 0.030372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-17_0_3_line_34 |  | 28 | 29 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-17_0_3_line_35 |  | 28 | 30 | 0.068082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-17_0_3_line_36 |  | 30 | 34 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-17_0_3_line_37 |  | 32 | 36 | 0.02154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-17_0_3_line_38 |  | 33 | 48 | 0.026517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-17_0_3_line_39 |  | 36 | 37 | 0.028968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-17_0_3_line_40 |  | 38 | 39 | 0.0099559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2601-17_0_3_line_41 |  | 39 | 40 | 0.075445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2601-17_0_3_line_42 |  | 39 | 41 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2601-17_0_3_line_43 |  | 40 | 45 | 0.036453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2601-17_0_3_line_44 |  | 42 | 43 | 0.026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-17_0_3_line_45 |  | 42 | 44 | 0.034108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2601-17_0_3_line_46 |  | 43 | 50 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2601-17_0_3_line_47 |  | 44 | 49 | 0.00047648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2601-17_0_3_line_48 |  | 45 | 51 | 0.0039583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-17_0_3_line_49 |  | 46 | 49 | 0.0095699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2601-17_0_3_line_50 |  | 47 | 48 | 0.026496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-17_0_3_trafo_0 | 0.63 MVA 20/0.4 kV | 52 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2607405.4762 | 1228063.4316 | 2607429.3029 | 1228049.9004
1 | 2607401.8328 | 1228065.5007 | 2607405.4762 | 1228063.4316
2 | 2607446.2339 | 1228040.2852 | 2607429.3029 | 1228049.9004
3 | 2607401.8328 | 1228065.5007 | 2607390.617 | 1228050.225
4 | 2607401.8328 | 1228065.5007 | 2607380.0005 | 1228077.0912
5 | 2607446.2339 | 1228040.2852 | 2607451.6349 | 1228035.2111 | 2607460.531 | 1228040.6254 | 2607468.9603 | 1228043.6154 | 2607467.4637 | 1228046.8488 | 2607466.8986 | 1228050.3613 | 2607467.2958 | 1228053.8972 | 2607468.6403 | 1228057.1897 | 2607470.6879 | 1228061.8061 | 2607471.6998 | 1228064.5756 | 2607472.0598 | 1228067.5445 | 2607472.3745 | 1228076.4279 | 2607472.764 | 1228080.0639 | 2607473.8649 | 1228084.29 | 2607475.5119 | 1228088.0721
6 | 2607446.2339 | 1228040.2852 | 2607451.6349 | 1228035.2111 | 2607460.531 | 1228040.6254 | 2607468.9603 | 1228043.6154 | 2607471.7449 | 1228040.5059 | 2607475.3692 | 1228038.4314 | 2607479.4618 | 1228037.5805 | 2607483.6133 | 1228038.0748 | 2607487.3995 | 1228039.8361 | 2607492.5063 | 1228033.7723 | 2607497.3331 | 1228021.3376 | 2607505.6657 | 1228004.7604 | 2607518.3769 | 1227982.8078 | 2607525.5206 | 1227977.8472
7 | 2607409.4376 | 1227987.6419 | 2607402.2358 | 1227996.7717 | 2607451.6349 | 1228035.2111 | 2607446.2339 | 1228040.2852
8 | 2607390.617 | 1228050.225 | 2607389.7 | 1228048.976 | 2607379.0446 | 1228038.5568 | 2607368.996 | 1228031.2105
9 | 2607366.3275 | 1228084.346 | 2607371.7257 | 1228081.4842 | 2607380.0005 | 1228077.0912
10 | 2607475.5119 | 1228088.0721 | 2607471.4854 | 1228090.6908 | 2607462.8712 | 1228096.3056 | 2607444.2195 | 1228123.6391
11 | 2607475.5119 | 1228088.0721 | 2607477.6065 | 1228091.4211 | 2607480.0807 | 1228094.148
12 | 2607525.5206 | 1227977.8472 | 2607515.2326 | 1227964.6154 | 2607509.3548 | 1227957.048 | 2607504.3941 | 1227950.4052
13 | 2607409.4376 | 1227987.6419 | 2607428.8524 | 1228002.2507
14 | 2607381.9025 | 1227981.9602 | 2607402.2358 | 1227996.7717 | 2607409.4376 | 1227987.6419
15 | 2607409.4376 | 1227987.6419 | 2607421.2434 | 1227972.6828
16 | 2607344.7553 | 1228013.4887 | 2607368.996 | 1228031.2105
17 | 2607366.3275 | 1228084.346 | 2607360.5223 | 1228086.8467
18 | 2607366.3275 | 1228084.346 | 2607350.7922 | 1228072.453
19 | 2607480.0807 | 1228094.148 | 2607482.8658 | 1228096.6863 | 2607485.6364 | 1228098.6687 | 2607488.5515 | 1228100.2844 | 2607492.1261 | 1228101.5785 | 2607495.8965 | 1228102.4133
20 | 2607444.2195 | 1228123.6391 | 2607443.9842 | 1228123.984
21 | 2607493.2358 | 1227935.4631 | 2607504.3941 | 1227950.4052
22 | 2607381.9025 | 1227981.9602 | 2607389.4151 | 1227972.1845
23 | 2607381.9025 | 1227981.9602 | 2607354.5893 | 1227961.7994
24 | 2607392.123 | 1227968.6609 | 2607389.4151 | 1227972.1845
25 | 2607323.628 | 1227998.043 | 2607344.7553 | 1228013.4887
26 | 2607360.5223 | 1228086.8467 | 2607334.7463 | 1228097.9504
27 | 2607326.7089 | 1228054.016 | 2607350.7922 | 1228072.453
28 | 2607299.3352 | 1227980.2832 | 2607323.628 | 1227998.043
29 | 2607247.126 | 1227993.0914 | 2607220.0205 | 1228014.3713
30 | 2607247.126 | 1227993.0914 | 2607260.4991 | 1228003.3292
31 | 2607220.0205 | 1228014.3713 | 2607213.4518 | 1227998.9137
32 | 2607220.0205 | 1228014.3713 | 2607231.1875 | 1228034.3188 | 2607232.1172 | 1228035.7879
33 | 2607284.6152 | 1228021.7912 | 2607260.4991 | 1228003.3292
34 | 2607371.8122 | 1227918.5325 | 2607373.7065 | 1227924.6607 | 2607381.2426 | 1227933.3195
35 | 2607371.8122 | 1227918.5325 | 2607376.5397 | 1227918.983 | 2607385.1996 | 1227913.3125 | 2607390.1484 | 1227912.5404 | 2607409.2212 | 1227942.0369 | 2607409.2567 | 1227943.9269 | 2607407.88 | 1227948.1722 | 2607403.8654 | 1227953.3814
36 | 2607403.8654 | 1227953.3814 | 2607392.123 | 1227968.6609
37 | 2607243.6353 | 1228053.9899 | 2607232.1172 | 1228035.7879
38 | 2607284.6152 | 1228021.7912 | 2607305.6704 | 1228037.91
39 | 2607264.9403 | 1228073.6272 | 2607248.3569 | 1228059.1986 | 2607243.6353 | 1228053.9899
40 | 2607316.2161 | 1228101.7839 | 2607307.4053 | 1228097.1482
41 | 2607306.4726 | 1228151.3458 | 2607309.8524 | 1228157.0977 | 2607310.7295 | 1228158.5886 | 2607319.071 | 1228152.673 | 2607322.8731 | 1228153.8228 | 2607323.8861 | 1228149.4881 | 2607317.5278 | 1228113.4257 | 2607316.3221 | 1228108.021 | 2607316.2161 | 1228101.7839
42 | 2607316.2161 | 1228101.7839 | 2607327.5442 | 1228101.0528 | 2607334.7463 | 1228097.9504
43 | 2607280.0682 | 1228138.495 | 2607291.5519 | 1228134.4065 | 2607297.7471 | 1228136.493 | 2607301.9706 | 1228140.0892 | 2607304.8891 | 1228145.1179 | 2607306.4726 | 1228151.3458
44 | 2607419.0966 | 1228160.456 | 2607396.9641 | 1228146.1661
45 | 2607419.0966 | 1228160.456 | 2607438.3215 | 1228132.2824
46 | 2607396.9641 | 1228146.1661 | 2607388.284 | 1228140.5618 | 2607388.284 | 1228140.5618
47 | 2607438.5901 | 1228131.8888 | 2607438.3215 | 1228132.2824
48 | 2607280.0682 | 1228138.495 | 2607276.5657 | 1228136.651
49 | 2607443.9842 | 1228123.984 | 2607438.5901 | 1228131.8888
50 | 2607326.7089 | 1228054.016 | 2607305.6704 | 1228037.91

## bus_geodata
| x | y | coords
0 | 2607405.4762 | 1228063.4316
1 | 2607429.3029 | 1228049.9004
2 | 2607401.8328 | 1228065.5007
3 | 2607446.2339 | 1228040.2852
4 | 2607390.617 | 1228050.225
5 | 2607380.0005 | 1228077.0912
6 | 2607475.5119 | 1228088.0721
7 | 2607525.5206 | 1227977.8472
8 | 2607409.4376 | 1227987.6419
9 | 2607368.996 | 1228031.2105
10 | 2607366.3275 | 1228084.346
11 | 2607480.0807 | 1228094.148
12 | 2607495.8965 | 1228102.4133
13 | 2607444.2195 | 1228123.6391
14 | 2607504.3941 | 1227950.4052
15 | 2607428.8524 | 1228002.2507
16 | 2607381.9025 | 1227981.9602
17 | 2607421.2434 | 1227972.6828
18 | 2607389.4151 | 1227972.1845
19 | 2607354.5893 | 1227961.7994
20 | 2607344.7553 | 1228013.4887
21 | 2607360.5223 | 1228086.8467
22 | 2607350.7922 | 1228072.453
23 | 2607299.3352 | 1227980.2832
24 | 2607323.628 | 1227998.043
25 | 2607247.126 | 1227993.0914
26 | 2607220.0205 | 1228014.3713
27 | 2607260.4991 | 1228003.3292
28 | 2607371.8122 | 1227918.5325
29 | 2607381.2426 | 1227933.3195
30 | 2607403.8654 | 1227953.3814
31 | 2607213.4518 | 1227998.9137
32 | 2607232.1172 | 1228035.7879
33 | 2607284.6152 | 1228021.7912
34 | 2607392.123 | 1227968.6609
35 | 2607493.2358 | 1227935.4631
36 | 2607243.6353 | 1228053.9899
37 | 2607264.9403 | 1228073.6272
38 | 2607307.4053 | 1228097.1482
39 | 2607316.2161 | 1228101.7839
40 | 2607306.4726 | 1228151.3458
41 | 2607334.7463 | 1228097.9504
42 | 2607419.0966 | 1228160.456
43 | 2607396.9641 | 1228146.1661
44 | 2607438.3215 | 1228132.2824
45 | 2607280.0682 | 1228138.495
46 | 2607443.9842 | 1228123.984
47 | 2607326.7089 | 1228054.016
48 | 2607305.6704 | 1228037.91
49 | 2607438.5901 | 1228131.8888
50 | 2607388.284 | 1228140.5618
51 | 2607276.5657 | 1228136.651
52 | 2607401.8328 | 1228065.5007

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.33117 | -0.083729
1 | 0.99694 | -0.058311 | 0.033044 | 0.0082815
2 | 0.99968 | -0.0060733 | 0 | 0
3 | 0.99505 | -0.0943 | 0 | 0
4 | 0.99935 | -0.012434 | 0.0027961 | 0.00070078
5 | 0.99824 | -0.033659 | 0.0037459 | 0.0009388
6 | 0.98929 | -0.20506 | 0 | 0
7 | 0.99429 | -0.10895 | 0 | 0
8 | 0.99265 | -0.14074 | 0 | 0
9 | 0.99892 | -0.02073 | 0.0038777 | 0.00097184
10 | 0.9974 | -0.049958 | 0 | 0
11 | 0.98874 | -0.21585 | 0 | 0
12 | 0.98741 | -0.24162 | 0.079434 | 0.019908
13 | 0.98521 | -0.28421 | 0.0084289 | 0.0021125
14 | 0.99408 | -0.11312 | 0.0024481 | 0.00061355
15 | 0.99238 | -0.14601 | 0.012264 | 0.0030736
16 | 0.99203 | -0.15263 | 0 | 0
17 | 0.99262 | -0.14132 | 0.0017069 | 0.0004278
18 | 0.99186 | -0.15607 | 0.0021939 | 0.00054986
19 | 0.99195 | -0.15415 | 0.0025272 | 0.00063337
20 | 0.99858 | -0.027322 | 0.0024358 | 0.00061048
21 | 0.99724 | -0.053039 | 0.0017381 | 0.00043561
22 | 0.99682 | -0.061048 | 0.0038813 | 0.00097275
23 | 0.99817 | -0.035224 | 0.0062092 | 0.0015562
24 | 0.99834 | -0.031955 | 0.0039157 | 0.00098136
25 | 0.99414 | -0.11273 | 0 | 0
26 | 0.99374 | -0.12039 | 0 | 0
27 | 0.99434 | -0.10898 | 0.0069587 | 0.001744
28 | 0.99121 | -0.16859 | 0 | 0
29 | 0.99109 | -0.17093 | 0.0073916 | 0.0018525
30 | 0.99167 | -0.15966 | 0 | 0
31 | 0.99368 | -0.12161 | 0.0041224 | 0.0010332
32 | 0.99355 | -0.12408 | 0.0036762 | 0.00092134
33 | 0.99488 | -0.098497 | 0.0030871 | 0.00077369
34 | 0.9918 | -0.15714 | 0.0061476 | 0.0015407
35 | 0.994 | -0.11457 | 0.0043885 | 0.0010999
36 | 0.99346 | -0.12592 | 0 | 0
37 | 0.99333 | -0.12839 | 0.0048249 | 0.0012092
38 | 0.99643 | -0.068581 | 0.0039311 | 0.00098524
39 | 0.99647 | -0.067894 | 0 | 0
40 | 0.99633 | -0.070617 | 0 | 0
41 | 0.99657 | -0.065876 | 0.02009 | 0.0050349
42 | 0.98314 | -0.32453 | 0 | 0
43 | 0.98207 | -0.34553 | 0.042252 | 0.010589
44 | 0.98453 | -0.29741 | 0.0056683 | 0.0014206
45 | 0.99626 | -0.071931 | 0 | 0
46 | 0.98518 | -0.28484 | 0.012807 | 0.0032096
47 | 0.99603 | -0.076196 | 0.0032902 | 0.0008246
48 | 0.99543 | -0.087915 | 0.0024836 | 0.00062244
49 | 0.98456 | -0.29698 | 0.020813 | 0.0052162
50 | 0.98205 | -0.34588 | 0.0019026 | 0.00047685
51 | 0.99625 | -0.072074 | 0.0020533 | 0.0005146
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.24612 | 0.062728 | -0.24543 | -0.062286 | 0.0006905 | 0.0004412 | 0.36661 | 0.36661 | 0.36661 | 1 | 0 | 0.99694 | -0.058311 | 50.358
1 | 0.083396 | 0.021001 | -0.083372 | -0.020986 | 2.421e-05 | 1.5439e-05 | 0.12413 | 0.12413 | 0.12413 | 1 | 0 | 0.99968 | -0.0060733 | 34.1015
2 | 0.21239 | 0.054005 | -0.21202 | -0.05377 | 0.00036752 | 0.00023471 | 0.31729 | 0.31729 | 0.31729 | 0.99694 | -0.058311 | 0.99505 | -0.0943 | 43.5832
3 | 0.019254 | 0.0048313 | -0.019248 | -0.0048279 | 5.838e-06 | 3.4879e-06 | 0.028661 | 0.028662 | 0.028662 | 0.99968 | -0.0060733 | 0.99935 | -0.012434 | 7.874
4 | 0.064117 | 0.016154 | -0.064033 | -0.016101 | 8.4482e-05 | 5.3745e-05 | 0.095468 | 0.095468 | 0.095468 | 0.99968 | -0.0060733 | 0.99824 | -0.033659 | 26.2275
5 | 0.17286 | 0.043921 | -0.17194 | -0.043337 | 0.00091646 | 0.00058465 | 0.2587 | 0.2587 | 0.2587 | 0.99505 | -0.0943 | 0.98929 | -0.20506 | 35.5362
6 | 0.006843 | 0.0017153 | -0.0068382 | -0.0017138 | 4.773e-06 | 1.4772e-06 | 0.010233 | 0.010234 | 0.010234 | 0.99505 | -0.0943 | 0.99429 | -0.10895 | 2.8115
7 | 0.032324 | 0.0081335 | -0.032253 | -0.0080888 | 7.1562e-05 | 4.4742e-05 | 0.04835 | 0.04835 | 0.04835 | 0.99505 | -0.0943 | 0.99265 | -0.14074 | 13.283
8 | 0.016452 | 0.0041271 | -0.016446 | -0.0041233 | 6.5042e-06 | 3.7842e-06 | 0.024498 | 0.024498 | 0.024498 | 0.99935 | -0.012434 | 0.99892 | -0.02073 | 6.7303
9 | 0.060287 | 0.015162 | -0.06024 | -0.015132 | 4.6895e-05 | 2.9811e-05 | 0.089884 | 0.089885 | 0.089885 | 0.99824 | -0.033659 | 0.9974 | -0.049958 | 24.6936
10 | 0.092366 | 0.02334 | -0.092017 | -0.023118 | 0.00034905 | 0.00022278 | 0.139 | 0.139 | 0.139 | 0.98929 | -0.20506 | 0.98521 | -0.28421 | 38.1864
11 | 0.079572 | 0.019996 | -0.079531 | -0.01997 | 4.0973e-05 | 2.6125e-05 | 0.11971 | 0.11971 | 0.11971 | 0.98929 | -0.20506 | 0.98874 | -0.21585 | 32.8861
12 | 0.0068382 | 0.0017138 | -0.0068369 | -0.0017134 | 1.3602e-06 | 4.2143e-07 | 0.010234 | 0.010234 | 0.010234 | 0.99429 | -0.10895 | 0.99408 | -0.11312 | 2.8115
13 | 0.012267 | 0.0030753 | -0.012264 | -0.0030736 | 3.0811e-06 | 1.6579e-06 | 0.018389 | 0.018389 | 0.018389 | 0.99265 | -0.14074 | 0.99238 | -0.14601 | 5.0519
14 | 0.018279 | 0.0045859 | -0.018269 | -0.0045798 | 1.0358e-05 | 6.154e-06 | 0.027403 | 0.027403 | 0.027403 | 0.99265 | -0.14074 | 0.99203 | -0.15263 | 7.5282
15 | 0.001707 | 0.00042758 | -0.0017069 | -0.0004278 | 4.6789e-08 | -2.1639e-07 | 0.0025587 | 0.0025588 | 0.0025588 | 0.99265 | -0.14074 | 0.99262 | -0.14132 | 0.70297
16 | 0.012568 | 0.0031515 | -0.012564 | -0.0031493 | 3.947e-06 | 2.1331e-06 | 0.018722 | 0.018722 | 0.018722 | 0.99892 | -0.02073 | 0.99858 | -0.027322 | 5.1434
17 | 0.027833 | 0.0069816 | -0.027829 | -0.006979 | 4.0875e-06 | 2.5335e-06 | 0.041526 | 0.041527 | 0.041527 | 0.9974 | -0.049958 | 0.99724 | -0.053039 | 11.4084
18 | 0.032407 | 0.0081506 | -0.03239 | -0.0081398 | 1.7157e-05 | 1.0725e-05 | 0.048358 | 0.048358 | 0.048358 | 0.9974 | -0.049958 | 0.99682 | -0.061048 | 13.2852
19 | 0.079531 | 0.01997 | -0.079434 | -0.019908 | 9.7644e-05 | 6.2259e-05 | 0.11971 | 0.11971 | 0.11971 | 0.98874 | -0.21585 | 0.98741 | -0.24162 | 32.8861
20 | 0.083589 | 0.021005 | -0.083586 | -0.021004 | 2.4962e-06 | 1.5922e-06 | 0.12627 | 0.12627 | 0.12627 | 0.98521 | -0.28421 | 0.98518 | -0.28484 | 34.689
21 | 0.0043888 | 0.0010998 | -0.0043885 | -0.0010999 | 3.0181e-07 | -4.8591e-08 | 0.0065694 | 0.0065695 | 0.0065695 | 0.99408 | -0.11312 | 0.994 | -0.11457 | 1.8048
22 | 0.015741 | 0.0039467 | -0.015739 | -0.0039452 | 2.5776e-06 | 1.4905e-06 | 0.023612 | 0.023612 | 0.023612 | 0.99203 | -0.15263 | 0.99186 | -0.15607 | 6.4868
23 | 0.0025273 | 0.00063305 | -0.0025272 | -0.00063337 | 1.8295e-07 | -3.2118e-07 | 0.0037908 | 0.003791 | 0.003791 | 0.99203 | -0.15263 | 0.99195 | -0.15415 | 1.0415
24 | 0.013545 | 0.0033954 | -0.013544 | -0.003395 | 6.8813e-07 | 3.8305e-07 | 0.020321 | 0.020321 | 0.020321 | 0.99186 | -0.15607 | 0.9918 | -0.15714 | 5.5826
25 | 0.010128 | 0.0025388 | -0.010126 | -0.0025378 | 2.2355e-06 | 1.0884e-06 | 0.015092 | 0.015093 | 0.015093 | 0.99858 | -0.027322 | 0.99834 | -0.031955 | 4.1463
26 | 0.026091 | 0.0065434 | -0.026075 | -0.0065336 | 1.5953e-05 | 9.8441e-06 | 0.038933 | 0.038933 | 0.038933 | 0.99724 | -0.053039 | 0.99657 | -0.065876 | 10.6959
27 | 0.028509 | 0.0071671 | -0.028488 | -0.0071543 | 2.0606e-05 | 1.2793e-05 | 0.042564 | 0.042564 | 0.042564 | 0.99682 | -0.061048 | 0.99603 | -0.076196 | 11.6935
28 | -0.0062092 | -0.0015562 | 0.0062102 | 0.0015564 | 9.6685e-07 | 2.2537e-07 | 0.0092564 | 0.0092562 | 0.0092564 | 0.99817 | -0.035224 | 0.99834 | -0.031955 | 2.543
29 | 0.012631 | 0.0031668 | -0.012626 | -0.0031643 | 4.611e-06 | 2.5052e-06 | 0.018906 | 0.018906 | 0.018906 | 0.99414 | -0.11273 | 0.99374 | -0.12039 | 5.194
30 | -0.012631 | -0.0031668 | 0.012633 | 0.003168 | 2.2575e-06 | 1.2264e-06 | 0.018906 | 0.018906 | 0.018906 | 0.99414 | -0.11273 | 0.99434 | -0.10898 | 5.194
31 | 0.0041226 | 0.0010331 | -0.0041224 | -0.0010332 | 2.4001e-07 | -6.3974e-08 | 0.0061731 | 0.0061732 | 0.0061732 | 0.99374 | -0.12039 | 0.99368 | -0.12161 | 1.6959
32 | 0.0085036 | 0.0021312 | -0.0085021 | -0.0021306 | 1.4956e-06 | 6.3856e-07 | 0.012733 | 0.012733 | 0.012733 | 0.99374 | -0.12039 | 0.99355 | -0.12408 | 3.4981
33 | -0.019592 | -0.004912 | 0.019602 | 0.0049179 | 9.7907e-06 | 5.8719e-06 | 0.02932 | 0.029319 | 0.02932 | 0.99434 | -0.10898 | 0.99488 | -0.098497 | 8.0548
34 | 0.0073924 | 0.0018528 | -0.0073916 | -0.0018525 | 8.2577e-07 | 2.9805e-07 | 0.011098 | 0.011098 | 0.011098 | 0.99121 | -0.16859 | 0.99109 | -0.17093 | 3.0488
35 | -0.0073924 | -0.0018528 | 0.0073955 | 0.0018539 | 3.1442e-06 | 1.1343e-06 | 0.011098 | 0.011097 | 0.011098 | 0.99121 | -0.16859 | 0.99167 | -0.15966 | 3.0488
36 | -0.0073955 | -0.0018539 | 0.0073964 | 0.0018543 | 8.8992e-07 | 3.2089e-07 | 0.011097 | 0.011097 | 0.011097 | 0.99167 | -0.15966 | 0.9918 | -0.15714 | 3.0487
37 | 0.0048259 | 0.0012092 | -0.0048255 | -0.0012092 | 4.2196e-07 | -8.8819e-09 | 0.0072275 | 0.0072276 | 0.0072276 | 0.99355 | -0.12408 | 0.99346 | -0.12592 | 1.9856
38 | -0.022689 | -0.0056916 | 0.0227 | 0.0056986 | 1.1452e-05 | 6.9849e-06 | 0.033937 | 0.033937 | 0.033937 | 0.99488 | -0.098497 | 0.99543 | -0.087915 | 9.3233
39 | 0.0048255 | 0.0012092 | -0.0048249 | -0.0012092 | 5.6748e-07 | -1.1849e-08 | 0.0072276 | 0.0072278 | 0.0072278 | 0.99346 | -0.12592 | 0.99333 | -0.12839 | 1.9857
40 | -0.0039311 | -0.00098524 | 0.0039313 | 0.00098519 | 1.2867e-07 | -4.7342e-08 | 0.0058705 | 0.0058705 | 0.0058705 | 0.99643 | -0.068581 | 0.99647 | -0.067894 | 1.6128
41 | 0.0020537 | 0.00051335 | -0.0020534 | -0.00051417 | 2.6604e-07 | -8.124e-07 | 0.0030663 | 0.0030666 | 0.0030666 | 0.99647 | -0.067894 | 0.99633 | -0.070617 | 0.84248
42 | -0.005985 | -0.0014985 | 0.0059855 | 0.0014987 | 5.7484e-07 | 1.1784e-07 | 0.0089368 | 0.0089367 | 0.0089368 | 0.99647 | -0.067894 | 0.99657 | -0.065876 | 2.4552
43 | 0.0020534 | 0.00051417 | -0.0020533 | -0.00051456 | 1.2856e-07 | -3.9242e-07 | 0.0030666 | 0.0030668 | 0.0030668 | 0.99633 | -0.070617 | 0.99626 | -0.071931 | 0.84253
44 | 0.044199 | 0.011094 | -0.044155 | -0.011066 | 4.422e-05 | 2.7967e-05 | 0.066903 | 0.066903 | 0.066903 | 0.98314 | -0.32453 | 0.98207 | -0.34553 | 18.3799
45 | -0.044199 | -0.011094 | 0.044256 | 0.01113 | 5.725e-05 | 3.6207e-05 | 0.066903 | 0.066903 | 0.066903 | 0.98314 | -0.32453 | 0.98453 | -0.29741 | 18.3799
46 | 0.0019027 | 0.00047674 | -0.0019026 | -0.00047685 | 3.2201e-08 | -1.1012e-07 | 0.0028829 | 0.0028829 | 0.0028829 | 0.98207 | -0.34553 | 0.98205 | -0.34588 | 0.79201
47 | -0.049925 | -0.012551 | 0.049926 | 0.012552 | 1.0177e-06 | 6.4526e-07 | 0.07547 | 0.07547 | 0.07547 | 0.98453 | -0.29741 | 0.98456 | -0.29698 | 20.7334
48 | 0.0020533 | 0.00051456 | -0.0020533 | -0.0005146 | 1.3961e-08 | -4.2607e-08 | 0.0030668 | 0.0030668 | 0.0030668 | 0.99626 | -0.071931 | 0.99625 | -0.072074 | 0.84253
49 | 0.070779 | 0.017794 | -0.070738 | -0.017768 | 4.103e-05 | 2.6137e-05 | 0.10693 | 0.10693 | 0.10693 | 0.98518 | -0.28484 | 0.98456 | -0.29698 | 29.375
50 | 0.025198 | 0.0063297 | -0.025184 | -0.006321 | 1.4084e-05 | 8.6689e-06 | 0.037649 | 0.037649 | 0.037649 | 0.99603 | -0.076196 | 0.99543 | -0.087915 | 10.3432

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34768 | 0.087867

## res_load
| p_mw | q_mvar
0 | 0.016511 | 0.0041381
1 | 0.033044 | 0.0082815
2 | 0.0027961 | 0.00070078
3 | 0.0037459 | 0.0009388
4 | 0.0038777 | 0.00097184
5 | 0.079434 | 0.019908
6 | 0.0084289 | 0.0021125
7 | 0.0024481 | 0.00061355
8 | 0.012264 | 0.0030736
9 | 0.0017069 | 0.0004278
10 | 0.0021939 | 0.00054986
11 | 0.0025272 | 0.00063337
12 | 0.0024358 | 0.00061048
13 | 0.0017381 | 0.00043561
14 | 0.0038813 | 0.00097275
15 | 0.0062092 | 0.0015562
16 | 0.0039157 | 0.00098136
17 | 0.0069587 | 0.001744
18 | 0.0073916 | 0.0018525
19 | 0.0041224 | 0.0010332
20 | 0.0036762 | 0.00092134
21 | 0.0030871 | 0.00077369
22 | 0.0061476 | 0.0015407
23 | 0.0043885 | 0.0010999
24 | 0.0048249 | 0.0012092
25 | 0.0039311 | 0.00098524
26 | 0.02009 | 0.0050349
27 | 0.042252 | 0.010589
28 | 0.0056683 | 0.0014206
29 | 0.012807 | 0.0032096
30 | 0.0032902 | 0.0008246
31 | 0.0024836 | 0.00062244
32 | 0.020813 | 0.0052162
33 | 0.0019026 | 0.00047685
34 | 0.0020533 | 0.0005146

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1