## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2601-1_0_3_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_2601-1_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_2601-1_0_3_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2601-1_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2601-1_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_2601-1_0_3_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_2601-1_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2601-1_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2601-1_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2601-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2601-1_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2601-1_0_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_2601-1_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_2601-1_0_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_2601-1_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2601-1_0_3_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_2601-1_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2601-1_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2601-1_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2601-1_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2601-1_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2601-1_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2601-1_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2601-1_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2601-1_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2601-1_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_2601-1_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_2601-1_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2601-1_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2601-1_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_2601-1_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2601-1_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2601-1_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2601-1_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2601-1_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2601-1_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2601-1_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2601-1_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_MV_393_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-1_0_3_load_0 | 0 | 0.0026239 | 0.00065761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-1_0_3_load_3 | 2 | 0.013718 | 0.003438 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-1_0_3_load_44 | 3 | 0.010441 | 0.0026167 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-1_0_3_load_14 | 4 | 0.0033253 | 0.00083339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-1_0_3_load_25 | 5 | 0.010344 | 0.0025926 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-1_0_3_load_24 | 6 | 0.0049088 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-1_0_3_load_45 | 7 | 0.0064755 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-1_0_3_load_5 | 9 | 0.0045752 | 0.0011467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-1_0_3_load_6 | 10 | 0.0040186 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-1_0_3_load_7 | 11 | 0.0024891 | 0.00062383 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-1_0_3_load_8 | 12 | 0.0045588 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-1_0_3_load_9 | 13 | 0.0023089 | 0.00057867 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-1_0_3_load_40 | 14 | 0.003638 | 0.00091176 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-1_0_3_load_23 | 15 | 0.0029095 | 0.00072919 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-1_0_3_load_42 | 16 | 0.005626 | 0.00141 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-1_0_3_load_16 | 17 | 0.012039 | 0.0030174 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-1_0_3_load_27 | 18 | 0.036122 | 0.0090529 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-1_0_3_load_10 | 19 | 0.010297 | 0.0025807 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-1_0_3_load_15 | 23 | 0.0058206 | 0.0014588 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-1_0_3_load_21 | 24 | 0.011261 | 0.0028224 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-1_0_3_load_17 | 25 | 0.033623 | 0.0084267 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-1_0_3_load_33 | 26 | 0.0078413 | 0.0019652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-1_0_3_load_43 | 28 | 0.0047219 | 0.0011834 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-1_0_3_load_41 | 29 | 0.0029275 | 0.00073369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-1_0_3_load_18 | 30 | 0.0052284 | 0.0013104 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-1_0_3_load_34 | 31 | 0.010616 | 0.0026607 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-1_0_3_load_39 | 32 | 0.017502 | 0.0043865 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-1_0_3_load_36 | 33 | 0.0046193 | 0.0011577 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-1_0_3_load_37 | 34 | 0.0077914 | 0.0019527 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-1_0_3_load_31 | 37 | 0.019762 | 0.0049527 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-1_0_3_load_29 | 38 | 0.025361 | 0.006356 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-1_0_3_load_30 | 39 | 0.0072209 | 0.0018097 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-1_0_3_load_38 | 40 | 0.0064856 | 0.0016255 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-1_0_3_line_0 |  | 0 | 1 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-1_0_3_line_1 |  | 1 | 2 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-1_0_3_line_2 |  | 2 | 3 | 0.037126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-1_0_3_line_3 |  | 3 | 4 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-1_0_3_line_4 |  | 4 | 20 | 0.0096204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-1_0_3_line_5 |  | 5 | 6 | 0.019096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-1_0_3_line_6 |  | 6 | 35 | 0.016201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2601-1_0_3_line_7 |  | 7 | 8 | 0.01086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2601-1_0_3_line_8 |  | 8 | 31 | 0.008679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-1_0_3_line_9 |  | 9 | 10 | 0.00045671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-1_0_3_line_10 |  | 9 | 11 | 0.0093858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-1_0_3_line_11 |  | 10 | 12 | 0.0063173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-1_0_3_line_12 |  | 11 | 13 | 0.0062128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-1_0_3_line_13 |  | 12 | 14 | 0.0051197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-1_0_3_line_14 |  | 13 | 15 | 0.0059408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-1_0_3_line_15 |  | 14 | 16 | 0.0068397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-1_0_3_line_16 |  | 14 | 17 | 0.019428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-1_0_3_line_17 |  | 15 | 18 | 0.0064742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-1_0_3_line_18 |  | 16 | 29 | 0.0076389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-1_0_3_line_19 |  | 17 | 21 | 0.0043451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-1_0_3_line_20 |  | 18 | 35 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-1_0_3_line_21 |  | 19 | 20 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-1_0_3_line_22 |  | 19 | 21 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-1_0_3_line_23 |  | 20 | 22 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-1_0_3_line_24 |  | 21 | 23 | 0.02247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-1_0_3_line_25 |  | 22 | 24 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-1_0_3_line_26 |  | 22 | 25 | 0.024826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-1_0_3_line_27 |  | 23 | 26 | 0.0083956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-1_0_3_line_28 |  | 25 | 30 | 0.0066247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-1_0_3_line_29 |  | 26 | 31 | 0.011069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-1_0_3_line_30 |  | 27 | 28 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-1_0_3_line_31 |  | 27 | 29 | 0.0091527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-1_0_3_line_32 |  | 28 | 32 | 0.0084824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-1_0_3_line_33 |  | 32 | 40 | 0.00035013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-1_0_3_line_34 |  | 33 | 34 | 0.0068754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-1_0_3_line_35 |  | 34 | 40 | 0.0070535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-1_0_3_line_36 |  | 35 | 36 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-1_0_3_line_37 |  | 36 | 37 | 0.033931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-1_0_3_line_38 |  | 37 | 38 | 0.0017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-1_0_3_line_39 |  | 38 | 39 | 0.013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-1_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 41 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2607704.3115 | 1228480.4936 | 2607703.6117 | 1228488.6308 | 2607703.5216 | 1228491.7272
1 | 2607704.3115 | 1228480.4936 | 2607697.3883 | 1228479.3507 | 2607685.4095 | 1228477.3805
2 | 2607685.4095 | 1228477.3805 | 2607648.7754 | 1228471.3552
3 | 2607632.0568 | 1228468.6055 | 2607648.7754 | 1228471.3552
4 | 2607622.5425 | 1228467.1813 | 2607631.1703 | 1228468.4597 | 2607632.0568 | 1228468.6055
5 | 2607612.1068 | 1228557.603 | 2607593.0315 | 1228558.4979
6 | 2607578.0379 | 1228564.2268 | 2607590.4926 | 1228558.617 | 2607593.0315 | 1228558.4979
7 | 2607660.0929 | 1228518.8041 | 2607657.9208 | 1228529.4451
8 | 2607660.0929 | 1228518.8041 | 2607654.2067 | 1228512.4261
9 | 2607589.3664 | 1228520.6417 | 2607589.4762 | 1228520.1984
10 | 2607589.3664 | 1228520.6417 | 2607587.1103 | 1228529.7523
11 | 2607589.4762 | 1228520.1984 | 2607590.9948 | 1228514.0664
12 | 2607585.6169 | 1228535.783 | 2607587.1103 | 1228529.7523
13 | 2607592.3281 | 1228509.1234 | 2607591.0189 | 1228513.969 | 2607590.9948 | 1228514.0664
14 | 2607585.6169 | 1228535.783 | 2607585.0105 | 1228538.2313 | 2607584.1249 | 1228541.5331
15 | 2607592.3281 | 1228509.1234 | 2607594.1083 | 1228502.5194
16 | 2607592.3281 | 1228509.1234 | 2607611.7374 | 1228509.9818
17 | 2607582.4477 | 1228547.7863 | 2607584.1249 | 1228541.5331
18 | 2607596.0965 | 1228495.1438 | 2607594.1083 | 1228502.5194
19 | 2607612.8034 | 1228505.7695 | 2607611.7374 | 1228509.9818
20 | 2607578.0379 | 1228564.2268 | 2607582.4477 | 1228547.7863
21 | 2607622.5425 | 1228467.1813 | 2607617.9845 | 1228485.2411
22 | 2607612.8034 | 1228505.7695 | 2607617.9845 | 1228485.2411
23 | 2607622.5425 | 1228467.1813 | 2607603.219 | 1228464.2995
24 | 2607612.8034 | 1228505.7695 | 2607634.989 | 1228509.3364
25 | 2607603.219 | 1228464.2995 | 2607606.1777 | 1228455.209 | 2607609.3426 | 1228445.1329
26 | 2607603.219 | 1228464.2995 | 2607596.3419 | 1228462.5342 | 2607580.239 | 1228455.1242
27 | 2607634.989 | 1228509.3364 | 2607643.2781 | 1228510.6691
28 | 2607580.239 | 1228455.1242 | 2607574.2208 | 1228452.3549
29 | 2607654.2067 | 1228512.4261 | 2607654.2067 | 1228512.4261 | 2607643.2781 | 1228510.6691
30 | 2607598.4786 | 1228486.3065 | 2607591.4051 | 1228484.1518 | 2607586.0624 | 1228481.7247
31 | 2607598.4786 | 1228486.3065 | 2607596.0965 | 1228495.1438
32 | 2607578.3395 | 1228478.2164 | 2607586.0624 | 1228481.7247
33 | 2607578.3395 | 1228478.2164 | 2607578.0208 | 1228478.0716
34 | 2607571.5989 | 1228475.1542 | 2607565.3391 | 1228472.3105
35 | 2607571.5989 | 1228475.1542 | 2607578.0208 | 1228478.0716
36 | 2607574.4445 | 1228578.0082 | 2607576.3343 | 1228569.4055 | 2607578.0379 | 1228564.2268
37 | 2607574.4445 | 1228578.0082 | 2607558.5809 | 1228571.2953 | 2607550.8641 | 1228568.6507 | 2607542.7013 | 1228566.113
38 | 2607542.7013 | 1228566.113 | 2607541.0184 | 1228565.5899
39 | 2607527.8991 | 1228561.5113 | 2607541.0184 | 1228565.5899

## bus_geodata
| x | y | coords
0 | 2607703.5216 | 1228491.7272
1 | 2607704.3115 | 1228480.4936
2 | 2607685.4095 | 1228477.3805
3 | 2607648.7754 | 1228471.3552
4 | 2607632.0568 | 1228468.6055
5 | 2607612.1068 | 1228557.603
6 | 2607593.0315 | 1228558.4979
7 | 2607657.9208 | 1228529.4451
8 | 2607660.0929 | 1228518.8041
9 | 2607589.3664 | 1228520.6417
10 | 2607589.4762 | 1228520.1984
11 | 2607587.1103 | 1228529.7523
12 | 2607590.9948 | 1228514.0664
13 | 2607585.6169 | 1228535.783
14 | 2607592.3281 | 1228509.1234
15 | 2607584.1249 | 1228541.5331
16 | 2607594.1083 | 1228502.5194
17 | 2607611.7374 | 1228509.9818
18 | 2607582.4477 | 1228547.7863
19 | 2607617.9845 | 1228485.2411
20 | 2607622.5425 | 1228467.1813
21 | 2607612.8034 | 1228505.7695
22 | 2607603.219 | 1228464.2995
23 | 2607634.989 | 1228509.3364
24 | 2607609.3426 | 1228445.1329
25 | 2607580.239 | 1228455.1242
26 | 2607643.2781 | 1228510.6691
27 | 2607598.4786 | 1228486.3065
28 | 2607586.0624 | 1228481.7247
29 | 2607596.0965 | 1228495.1438
30 | 2607574.2208 | 1228452.3549
31 | 2607654.2067 | 1228512.4261
32 | 2607578.3395 | 1228478.2164
33 | 2607565.3391 | 1228472.3105
34 | 2607571.5989 | 1228475.1542
35 | 2607578.0379 | 1228564.2268
36 | 2607574.4445 | 1228578.0082
37 | 2607542.7013 | 1228566.113
38 | 2607541.0184 | 1228565.5899
39 | 2607527.8991 | 1228561.5113
40 | 2607578.0208 | 1228478.0716
41 | 2607598.4786 | 1228486.3065

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99274 | -0.13972 | 0.0026239 | 0.00065761
1 | 0.99276 | -0.1392 | 0 | 0
2 | 0.99281 | -0.13831 | 0.013718 | 0.003438
3 | 0.99336 | -0.12758 | 0.010441 | 0.0026167
4 | 0.99378 | -0.11957 | 0.0033253 | 0.00083339
5 | 0.99446 | -0.10642 | 0.010344 | 0.0025926
6 | 0.99464 | -0.10294 | 0.0049088 | 0.0012303
7 | 0.99605 | -0.075826 | 0.0064755 | 0.0016229
8 | 0.99611 | -0.074591 | 0 | 0
9 | 0.99868 | -0.025289 | 0.0045752 | 0.0011467
10 | 0.99873 | -0.024363 | 0.0040186 | 0.0010072
11 | 0.99772 | -0.043584 | 0.0024891 | 0.00062383
12 | 0.99942 | -0.011123 | 0.0045588 | 0.0011425
13 | 0.99711 | -0.055442 | 0.0023089 | 0.00057867
14 | 1 | 0 | -0.31061 | -0.077968
15 | 0.99653 | -0.066553 | 0.0029095 | 0.00072919
16 | 0.99969 | -0.0059238 | 0.005626 | 0.00141
17 | 0.99764 | -0.045252 | 0.012039 | 0.0030174
18 | 0.99592 | -0.078346 | 0.036122 | 0.0090529
19 | 0.99541 | -0.08814 | 0.010297 | 0.0025807
20 | 0.99404 | -0.11446 | 0 | 0
21 | 0.99716 | -0.054485 | 0 | 0
22 | 0.99315 | -0.1317 | 0 | 0
23 | 0.99653 | -0.066606 | 0.0058206 | 0.0014588
24 | 0.99294 | -0.1357 | 0.011261 | 0.0028224
25 | 0.99227 | -0.14876 | 0.033623 | 0.0084267
26 | 0.99634 | -0.070281 | 0.0078413 | 0.0019652
27 | 0.99904 | -0.018364 | 0 | 0
28 | 0.99855 | -0.027893 | 0.0047219 | 0.0011834
29 | 0.99939 | -0.011794 | 0.0029275 | 0.00073369
30 | 0.99224 | -0.14937 | 0.0052284 | 0.0013104
31 | 0.99616 | -0.073604 | 0.010616 | 0.0026607
32 | 0.99827 | -0.033292 | 0.017502 | 0.0043865
33 | 0.99815 | -0.035494 | 0.0046193 | 0.0011577
34 | 0.99818 | -0.034939 | 0.0077914 | 0.0019527
35 | 0.99487 | -0.098588 | 0 | 0
36 | 0.99418 | -0.11174 | 0 | 0
37 | 0.99256 | -0.14311 | 0.019762 | 0.0049527
38 | 0.99251 | -0.14413 | 0.025361 | 0.006356
39 | 0.99242 | -0.14588 | 0.0072209 | 0.0018097
40 | 0.99826 | -0.033407 | 0.0064856 | 0.0016255
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0026239 | -0.00065761 | 0.002624 | 0.00065751 | 6.5344e-08 | -1.0383e-07 | 0.003933 | 0.0039329 | 0.003933 | 0.99274 | -0.13972 | 0.99276 | -0.1392 | 1.0805
1 | -0.002624 | -0.00065751 | 0.0026241 | 0.00065733 | 1.1112e-07 | -1.7659e-07 | 0.0039329 | 0.0039329 | 0.0039329 | 0.99276 | -0.1392 | 0.99281 | -0.13831 | 1.0805
2 | -0.016342 | -0.0040953 | 0.01635 | 0.0041002 | 8.3519e-06 | 4.8649e-06 | 0.024493 | 0.024493 | 0.024493 | 0.99281 | -0.13831 | 0.99336 | -0.12758 | 6.7288
3 | -0.026791 | -0.0067169 | 0.026801 | 0.0067232 | 1.0233e-05 | 6.3299e-06 | 0.040132 | 0.040132 | 0.040132 | 0.99336 | -0.12758 | 0.99378 | -0.11957 | 11.0254
4 | -0.030126 | -0.0075566 | 0.030134 | 0.0075612 | 7.3417e-06 | 4.574e-06 | 0.045111 | 0.045111 | 0.045111 | 0.99378 | -0.11957 | 0.99404 | -0.11446 | 12.3932
5 | -0.010344 | -0.0025926 | 0.010346 | 0.0025934 | 1.7157e-06 | 8.5022e-07 | 0.015478 | 0.015478 | 0.015478 | 0.99446 | -0.10642 | 0.99464 | -0.10294 | 4.2523
6 | -0.015255 | -0.0038237 | 0.015258 | 0.0038255 | 3.1645e-06 | 1.8149e-06 | 0.022822 | 0.022822 | 0.022822 | 0.99464 | -0.10294 | 0.99487 | -0.098588 | 6.2698
7 | -0.0064755 | -0.0016229 | 0.0064759 | 0.001623 | 3.8113e-07 | 1.0256e-07 | 0.0096738 | 0.0096738 | 0.0096738 | 0.99605 | -0.075826 | 0.99611 | -0.074591 | 2.6576
8 | -0.0064759 | -0.001623 | 0.0064762 | 0.0016231 | 3.0457e-07 | 8.1942e-08 | 0.0096738 | 0.0096737 | 0.0096738 | 0.99611 | -0.074591 | 0.99616 | -0.073604 | 2.6576
9 | -0.11646 | -0.029364 | 0.11646 | 0.029368 | 5.1606e-06 | 3.2968e-06 | 0.17359 | 0.17359 | 0.17359 | 0.99868 | -0.025289 | 0.99873 | -0.024363 | 47.6883
10 | 0.11188 | 0.028218 | -0.11179 | -0.028155 | 9.7888e-05 | 6.2526e-05 | 0.16677 | 0.16677 | 0.16677 | 0.99868 | -0.025289 | 0.99772 | -0.043584 | 45.8155
11 | -0.12048 | -0.030375 | 0.12056 | 0.030424 | 7.6391e-05 | 4.8808e-05 | 0.17957 | 0.17957 | 0.17957 | 0.99873 | -0.024363 | 0.99942 | -0.011123 | 49.3332
12 | 0.1093 | 0.027531 | -0.10924 | -0.027492 | 6.1943e-05 | 3.9563e-05 | 0.16306 | 0.16306 | 0.16306 | 0.99772 | -0.043584 | 0.99711 | -0.055442 | 44.7956
13 | -0.12512 | -0.031566 | 0.12519 | 0.031609 | 6.6678e-05 | 4.2607e-05 | 0.18636 | 0.18636 | 0.18636 | 0.99942 | -0.011123 | 1 | 0 | 51.1979
14 | 0.10693 | 0.026913 | -0.10687 | -0.026877 | 5.6754e-05 | 3.6245e-05 | 0.15961 | 0.15961 | 0.15961 | 0.99711 | -0.055442 | 0.99653 | -0.066553 | 43.849
15 | 0.049743 | 0.012493 | -0.049729 | -0.012484 | 1.4056e-05 | 8.9059e-06 | 0.074027 | 0.074027 | 0.074027 | 1 | 0 | 0.99969 | -0.0059238 | 20.3371
16 | 0.13403 | 0.033866 | -0.13374 | -0.033681 | 0.00029006 | 0.00018539 | 0.19953 | 0.19953 | 0.19953 | 1 | 0 | 0.99764 | -0.045252 | 54.8169
17 | 0.10396 | 0.026148 | -0.1039 | -0.02611 | 5.8529e-05 | 3.7374e-05 | 0.15527 | 0.15527 | 0.15527 | 0.99653 | -0.066553 | 0.99592 | -0.078346 | 42.6555
18 | 0.044103 | 0.011074 | -0.04409 | -0.011066 | 1.2347e-05 | 7.8021e-06 | 0.065653 | 0.065653 | 0.065653 | 0.99969 | -0.0059238 | 0.99939 | -0.011794 | 18.0365
19 | 0.1217 | 0.030664 | -0.12164 | -0.030629 | 5.3721e-05 | 3.4325e-05 | 0.18158 | 0.18158 | 0.18158 | 0.99764 | -0.045252 | 0.99716 | -0.054485 | 49.8835
20 | 0.06778 | 0.017057 | -0.067715 | -0.017016 | 6.5497e-05 | 4.1697e-05 | 0.1013 | 0.1013 | 0.1013 | 0.99592 | -0.078346 | 0.99487 | -0.098588 | 27.8287
21 | 0.080423 | 0.020232 | -0.080322 | -0.020168 | 0.000101 | 6.4398e-05 | 0.12025 | 0.12025 | 0.12025 | 0.99541 | -0.08814 | 0.99404 | -0.11446 | 33.0356
22 | -0.09072 | -0.022813 | 0.090866 | 0.022906 | 0.00014608 | 9.3214e-05 | 0.13564 | 0.13564 | 0.13564 | 0.99541 | -0.08814 | 0.99716 | -0.054485 | 37.2643
23 | 0.050188 | 0.012607 | -0.050147 | -0.01258 | 4.1244e-05 | 2.6144e-05 | 0.075138 | 0.075138 | 0.075138 | 0.99404 | -0.11446 | 0.99315 | -0.1317 | 20.6424
24 | 0.030779 | 0.0077232 | -0.030762 | -0.0077121 | 1.7779e-05 | 1.1086e-05 | 0.045934 | 0.045934 | 0.045934 | 0.99716 | -0.054485 | 0.99653 | -0.066606 | 12.6192
25 | 0.011264 | 0.0028235 | -0.011261 | -0.0028224 | 2.149e-06 | 1.115e-06 | 0.016876 | 0.016876 | 0.016876 | 0.99315 | -0.1317 | 0.99294 | -0.1357 | 4.6363
26 | 0.038883 | 0.009757 | -0.038852 | -0.0097371 | 3.1602e-05 | 1.9904e-05 | 0.058262 | 0.058262 | 0.058262 | 0.99315 | -0.1317 | 0.99227 | -0.14876 | 16.0061
27 | 0.024941 | 0.0062533 | -0.024937 | -0.0062506 | 4.3668e-06 | 2.6854e-06 | 0.037243 | 0.037243 | 0.037243 | 0.99653 | -0.066606 | 0.99634 | -0.070281 | 10.2315
28 | 0.0052286 | 0.0013104 | -0.0052284 | -0.0013104 | 1.5273e-07 | 1.2177e-08 | 0.0078408 | 0.0078409 | 0.0078409 | 0.99227 | -0.14876 | 0.99224 | -0.14937 | 2.1541
29 | 0.017095 | 0.0042854 | -0.017093 | -0.0042838 | 2.7059e-06 | 1.5876e-06 | 0.025532 | 0.025532 | 0.025532 | 0.99634 | -0.070281 | 0.99616 | -0.073604 | 7.0143
30 | 0.04115 | 0.010324 | -0.041131 | -0.010312 | 1.8685e-05 | 1.1785e-05 | 0.061294 | 0.061294 | 0.061294 | 0.99904 | -0.018364 | 0.99855 | -0.027893 | 16.8391
31 | -0.04115 | -0.010324 | 0.041163 | 0.010332 | 1.2895e-05 | 8.1329e-06 | 0.061294 | 0.061294 | 0.061294 | 0.99904 | -0.018364 | 0.99939 | -0.011794 | 16.8391
32 | 0.036409 | 0.0091288 | -0.0364 | -0.0091229 | 9.3643e-06 | 5.8822e-06 | 0.054258 | 0.054258 | 0.054258 | 0.99855 | -0.027893 | 0.99827 | -0.033292 | 14.906
33 | 0.018898 | 0.0047364 | -0.018897 | -0.0047364 | 1.0418e-07 | 6.2099e-08 | 0.028169 | 0.028169 | 0.028169 | 0.99827 | -0.033292 | 0.99826 | -0.033407 | 7.7387
34 | -0.0046193 | -0.0011577 | 0.0046195 | 0.0011577 | 1.2227e-07 | -1.162e-08 | 0.0068864 | 0.0068863 | 0.0068864 | 0.99815 | -0.035494 | 0.99818 | -0.034939 | 1.8919
35 | -0.012411 | -0.0031104 | 0.012412 | 0.0031109 | 9.0539e-07 | 4.8724e-07 | 0.018501 | 0.018501 | 0.018501 | 0.99818 | -0.034939 | 0.99826 | -0.033407 | 5.0827
36 | 0.052456 | 0.01319 | -0.052424 | -0.013169 | 3.2929e-05 | 2.0889e-05 | 0.078474 | 0.078474 | 0.078474 | 0.99487 | -0.098588 | 0.99418 | -0.11174 | 21.5589
37 | 0.052424 | 0.013169 | -0.052345 | -0.01312 | 7.8358e-05 | 4.971e-05 | 0.078474 | 0.078474 | 0.078474 | 0.99418 | -0.11174 | 0.99256 | -0.14311 | 21.5589
38 | 0.032584 | 0.0081669 | -0.032582 | -0.0081659 | 1.5769e-06 | 9.8645e-07 | 0.048849 | 0.048849 | 0.048849 | 0.99256 | -0.14311 | 0.99251 | -0.14413 | 13.4199
39 | 0.0072215 | 0.0018099 | -0.0072209 | -0.0018097 | 6.0392e-07 | 2.0897e-07 | 0.010827 | 0.010827 | 0.010827 | 0.99251 | -0.14413 | 0.99242 | -0.14588 | 2.9744

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31424 | 0.07888

## res_load
| p_mw | q_mvar
0 | 0.0026239 | 0.00065761
1 | 0.013718 | 0.003438
2 | 0.010441 | 0.0026167
3 | 0.0033253 | 0.00083339
4 | 0.010344 | 0.0025926
5 | 0.0049088 | 0.0012303
6 | 0.0064755 | 0.0016229
7 | 0.0045752 | 0.0011467
8 | 0.0040186 | 0.0010072
9 | 0.0024891 | 0.00062383
10 | 0.0045588 | 0.0011425
11 | 0.0023089 | 0.00057867
12 | 0.003638 | 0.00091176
13 | 0.0029095 | 0.00072919
14 | 0.005626 | 0.00141
15 | 0.012039 | 0.0030174
16 | 0.036122 | 0.0090529
17 | 0.010297 | 0.0025807
18 | 0.0058206 | 0.0014588
19 | 0.011261 | 0.0028224
20 | 0.033623 | 0.0084267
21 | 0.0078413 | 0.0019652
22 | 0.0047219 | 0.0011834
23 | 0.0029275 | 0.00073369
24 | 0.0052284 | 0.0013104
25 | 0.010616 | 0.0026607
26 | 0.017502 | 0.0043865
27 | 0.0046193 | 0.0011577
28 | 0.0077914 | 0.0019527
29 | 0.019762 | 0.0049527
30 | 0.025361 | 0.006356
31 | 0.0072209 | 0.0018097
32 | 0.0064856 | 0.0016255

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1