## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-3_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2601-3_1_3_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_2601-3_1_3_node_34 | 0.4 | n |  | TRUE
3 | bus_LV_2601-3_1_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_2601-3_1_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2601-3_1_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2601-3_1_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2601-3_1_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2601-3_1_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2601-3_1_3_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_2601-3_1_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_2601-3_1_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_2601-3_1_3_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_2601-3_1_3_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_2601-3_1_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_2601-3_1_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2601-3_1_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2601-3_1_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_2601-3_1_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_2601-3_1_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_2601-3_1_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_2601-3_1_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_2601-3_1_3_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_2601-3_1_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2601-3_1_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2601-3_1_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2601-3_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2601-3_1_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2601-3_1_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2601-3_1_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2601-3_1_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_2601-3_1_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_2601-3_1_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2601-3_1_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2601-3_1_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_2601-3_1_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_2601-3_1_3_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_2601-3_1_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2601-3_1_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2601-3_1_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_2601-3_1_3_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_2601-3_1_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_2601-3_1_3_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_2601-3_1_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_2601-3_1_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_2601-3_1_3_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_2601-3_1_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_2601-3_1_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_2601-3_1_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2601-3_1_3_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_2601-3_1_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2601-3_1_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2601-3_1_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2601-3_1_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_2601-3_1_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_2601-3_1_3_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_2601-3_1_3_node_94 | 0.4 | n |  | TRUE
57 | bus_MV_395_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-3_1_3_load_4 | 0 | 0.001594 | 0.0003995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-3_1_3_load_33 | 1 | 0.0021374 | 0.00053567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-3_1_3_load_12 | 3 | 0.0080185 | 0.0020096 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-3_1_3_load_13 | 4 | 0.0045622 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-3_1_3_load_15 | 6 | 0.012373 | 0.003101 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-3_1_3_load_17 | 8 | 0.0095218 | 0.0023864 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-3_1_3_load_47 | 9 | 0.021933 | 0.005497 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-3_1_3_load_29 | 10 | 0.00084156 | 0.00021092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-3_1_3_load_68 | 13 | 0.014234 | 0.0035673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-3_1_3_load_18 | 14 | 0.013891 | 0.0034814 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-3_1_3_load_19 | 15 | 0.0045751 | 0.0011466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-3_1_3_load_20 | 16 | 0.0084776 | 0.0021247 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-3_1_3_load_41 | 19 | 0.0067923 | 0.0017023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-3_1_3_load_38 | 20 | 0.0032279 | 0.00080899 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-3_1_3_load_67 | 21 | 0.0014392 | 0.0003607 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-3_1_3_load_65 | 22 | 0.0022315 | 0.00055927 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-3_1_3_load_39 | 23 | 0.0044212 | 0.001108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-3_1_3_load_23 | 24 | 0.0075041 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-3_1_3_load_24 | 25 | 0.0072907 | 0.0018272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-3_1_3_load_26 | 27 | 0.0037056 | 0.0009287 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-3_1_3_load_28 | 28 | 0.0085299 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-3_1_3_load_27 | 29 | 0.0044534 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-3_1_3_load_69 | 31 | 0.0028282 | 0.0007088 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-3_1_3_load_42 | 32 | 0.0060416 | 0.0015142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-3_1_3_load_31 | 33 | 0.00030141 | 7.5541e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-3_1_3_load_66 | 34 | 0.0021991 | 0.00055115 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-3_1_3_load_72 | 35 | 0.0071032 | 0.0017802 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-3_1_3_load_84 | 36 | 0.021213 | 0.0053166 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-3_1_3_load_43 | 37 | 0.0066739 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-3_1_3_load_45 | 38 | 0.006189 | 0.0015511 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-3_1_3_load_90 | 40 | 0.0042993 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-3_1_3_load_56 | 41 | 0.0032648 | 0.00081824 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-3_1_3_load_61 | 42 | 0.0057192 | 0.0014334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-3_1_3_load_54 | 44 | 0.0072146 | 0.0018082 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2601-3_1_3_load_59 | 45 | 0.0045556 | 0.0011417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2601-3_1_3_load_50 | 46 | 0.0030375 | 0.00076126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2601-3_1_3_load_52 | 47 | 0.0019104 | 0.0004788 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2601-3_1_3_load_53 | 48 | 0.0029717 | 0.00074478 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2601-3_1_3_load_86 | 49 | 0.0025017 | 0.00062698 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2601-3_1_3_load_85 | 50 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2601-3_1_3_load_55 | 51 | 0.0071149 | 0.0017832 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2601-3_1_3_load_58 | 52 | 0.0027534 | 0.00069006 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2601-3_1_3_load_60 | 53 | 0.0022565 | 0.00056554 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2601-3_1_3_load_62 | 54 | 0.0029621 | 0.00074238 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2601-3_1_3_load_93 | 55 | 0.0082512 | 0.002068 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2601-3_1_3_load_94 | 56 | 0.0067583 | 0.0016938 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-3_1_3_line_0 |  | 0 | 1 | 0.021521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-3_1_3_line_1 |  | 1 | 2 | 0.0025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-3_1_3_line_2 |  | 2 | 34 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-3_1_3_line_3 |  | 2 | 22 | 0.01571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-3_1_3_line_4 |  | 3 | 4 | 0.029025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-3_1_3_line_5 |  | 3 | 5 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-3_1_3_line_6 |  | 4 | 6 | 0.032643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2601-3_1_3_line_7 |  | 5 | 7 | 0.041965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2601-3_1_3_line_8 |  | 5 | 8 | 0.034831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-3_1_3_line_9 |  | 7 | 9 | 0.038477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-3_1_3_line_10 |  | 7 | 10 | 0.046451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-3_1_3_line_11 |  | 8 | 11 | 0.032744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-3_1_3_line_12 |  | 10 | 33 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-3_1_3_line_13 |  | 11 | 12 | 0.033289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-3_1_3_line_14 |  | 11 | 13 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-3_1_3_line_15 |  | 12 | 43 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-3_1_3_line_16 |  | 12 | 38 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-3_1_3_line_17 |  | 13 | 31 | 0.038014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2601-3_1_3_line_18 |  | 14 | 15 | 0.021395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-3_1_3_line_19 |  | 14 | 16 | 0.0042405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-3_1_3_line_20 |  | 15 | 17 | 0.018652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-3_1_3_line_21 |  | 17 | 18 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-3_1_3_line_22 |  | 17 | 19 | 0.026976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-3_1_3_line_23 |  | 17 | 20 | 0.034277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-3_1_3_line_24 |  | 18 | 21 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-3_1_3_line_25 |  | 18 | 22 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-3_1_3_line_26 |  | 20 | 23 | 0.01993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-3_1_3_line_27 |  | 21 | 36 | 0.010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-3_1_3_line_28 |  | 23 | 27 | 0.00077343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-3_1_3_line_29 |  | 24 | 25 | 0.0025258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2601-3_1_3_line_30 |  | 24 | 26 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2601-3_1_3_line_31 |  | 25 | 27 | 0.021687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2601-3_1_3_line_32 |  | 26 | 28 | 0.0040931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2601-3_1_3_line_33 |  | 28 | 31 | 0.008796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2601-3_1_3_line_34 |  | 29 | 30 | 0.0039157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-3_1_3_line_35 |  | 30 | 32 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-3_1_3_line_36 |  | 32 | 37 | 0.028265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-3_1_3_line_37 |  | 34 | 35 | 0.022516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-3_1_3_line_38 |  | 36 | 50 | 0.0087466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-3_1_3_line_39 |  | 37 | 38 | 0.026943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-3_1_3_line_40 |  | 39 | 40 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2601-3_1_3_line_41 |  | 39 | 41 | 0.023589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2601-3_1_3_line_42 |  | 39 | 42 | 0.029415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2601-3_1_3_line_43 |  | 41 | 44 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2601-3_1_3_line_44 |  | 42 | 45 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-3_1_3_line_45 |  | 43 | 51 | 0.012071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2601-3_1_3_line_46 |  | 44 | 51 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2601-3_1_3_line_47 |  | 45 | 52 | 0.0087747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2601-3_1_3_line_48 |  | 46 | 47 | 0.0052055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-3_1_3_line_49 |  | 47 | 48 | 0.015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2601-3_1_3_line_50 |  | 48 | 49 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2601-3_1_3_line_51 |  | 49 | 50 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2601-3_1_3_line_52 |  | 52 | 53 | 0.007866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2601-3_1_3_line_53 |  | 53 | 54 | 0.0057727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2601-3_1_3_line_54 |  | 54 | 55 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2601-3_1_3_line_55 |  | 55 | 56 | 0.00055604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-3_1_3_trafo_26 | 0.63 MVA 20/0.4 kV | 57 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2605888.4942 | 1229330.2899 | 2605870.5404 | 1229342.1558
1 | 2605890.5975 | 1229328.8999 | 2605888.4942 | 1229330.2899
2 | 2605890.5975 | 1229328.8999 | 2605900.0054 | 1229343.5349
3 | 2605890.5975 | 1229328.8999 | 2605903.8232 | 1229320.4216
4 | 2606024.0247 | 1229350.9465 | 2606053.0413 | 1229350.2493
5 | 2606071.6009 | 1229349.8033 | 2606053.0413 | 1229350.2493
6 | 2605991.7085 | 1229354.121 | 2605997.104 | 1229352.4746 | 2606004.5363 | 1229351.4147 | 2606024.0247 | 1229350.9465
7 | 2606071.6009 | 1229349.8033 | 2606050.1117 | 1229385.8809
8 | 2606071.6009 | 1229349.8033 | 2606088.765 | 1229319.4945
9 | 2606050.1117 | 1229385.8809 | 2606011.638 | 1229386.3698
10 | 2606050.1117 | 1229385.8809 | 2606068.6947 | 1229428.4529
11 | 2606104.9005 | 1229291.0021 | 2606088.765 | 1229319.4945
12 | 2606089.1411 | 1229413.8074 | 2606068.6947 | 1229428.4529
13 | 2606104.9005 | 1229291.0021 | 2606121.2849 | 1229262.0016
14 | 2606104.9005 | 1229291.0021 | 2606079.8264 | 1229291.3327
15 | 2606134.0041 | 1229239.5012 | 2606121.2849 | 1229262.0016
16 | 2606121.2849 | 1229262.0016 | 2606111.0806 | 1229261.9814
17 | 2606079.8264 | 1229291.3327 | 2606041.8153 | 1229291.8339
18 | 2605938.123 | 1229313.118 | 2605938.5692 | 1229315.5947 | 2605939.0192 | 1229334.468
19 | 2605939.1202 | 1229338.7073 | 2605939.0192 | 1229334.468
20 | 2605929.7174 | 1229296.5746 | 2605935.3215 | 1229305.8968 | 2605936.7957 | 1229308.8667 | 2605938.0042 | 1229312.4589 | 2605938.123 | 1229313.118
21 | 2605929.7174 | 1229296.5746 | 2605927.9716 | 1229300.1195 | 2605925.5286 | 1229303.9416 | 2605923.0866 | 1229306.7742 | 2605920.2661 | 1229309.3841 | 2605917.6808 | 1229311.5383
22 | 2605929.7174 | 1229296.5746 | 2605931.487 | 1229291.9848 | 2605932.917 | 1229286.0271 | 2605933.7265 | 1229279.4351 | 2605934.5173 | 1229270.1805
23 | 2605929.7174 | 1229296.5746 | 2605963.913 | 1229294.2076
24 | 2605917.6808 | 1229311.5383 | 2605910.2731 | 1229302.9037 | 2605905.3886 | 1229296.8757
25 | 2605917.6808 | 1229311.5383 | 2605903.8232 | 1229320.4216
26 | 2605963.913 | 1229294.2076 | 2605983.7957 | 1229292.8314
27 | 2605896.9942 | 1229291.752 | 2605902.3212 | 1229293.0901 | 2605905.3886 | 1229296.8757
28 | 2605984.5673 | 1229292.778 | 2605983.7957 | 1229292.8314
29 | 2606008.7601 | 1229292.1243 | 2606006.2344 | 1229292.1394
30 | 2606028.9273 | 1229292.0039 | 2606008.7601 | 1229292.1243
31 | 2605984.5673 | 1229292.778 | 2605992.5811 | 1229292.2232 | 2605998.6337 | 1229292.1848 | 2606006.2344 | 1229292.1394
32 | 2606028.9273 | 1229292.0039 | 2606033.0201 | 1229291.9499
33 | 2606033.0201 | 1229291.9499 | 2606041.8153 | 1229291.8339
34 | 2606033.0898 | 1229250.5946 | 2606031.7074 | 1229254.2581
35 | 2606033.0898 | 1229250.5946 | 2606056.393 | 1229255.8718
36 | 2606056.393 | 1229255.8718 | 2606068.2993 | 1229258.5681 | 2606084.178 | 1229260.9551
37 | 2605900.0054 | 1229343.5349 | 2605906.6022 | 1229353.797 | 2605906.783 | 1229364.1119
38 | 2605896.9942 | 1229291.752 | 2605895.3007 | 1229291.3266 | 2605892.2551 | 1229291.6794 | 2605888.9509 | 1229293.8155
39 | 2606111.0806 | 1229261.9814 | 2606098.1122 | 1229261.9558 | 2606085.4244 | 1229261.1425 | 2606084.178 | 1229260.9551
40 | 2606056.1985 | 1229224.002 | 2606063.4528 | 1229215.6335
41 | 2606056.1985 | 1229224.002 | 2606079.3327 | 1229228.6104
42 | 2606056.1985 | 1229224.002 | 2606026.8624 | 1229221.8458
43 | 2606098.0049 | 1229232.33 | 2606079.3327 | 1229228.6104
44 | 2606026.8624 | 1229221.8458 | 2606002.5611 | 1229220.0597
45 | 2606134.0041 | 1229239.5012 | 2606122.1656 | 1229237.1429
46 | 2606098.0049 | 1229232.33 | 2606122.1656 | 1229237.1429
47 | 2605993.8101 | 1229219.4165 | 2606002.5611 | 1229220.0597
48 | 2605844.8866 | 1229328.103 | 2605844.6709 | 1229327.054 | 2605845.6217 | 1229323.0303 | 2605845.6217 | 1229323.0303
49 | 2605845.6217 | 1229323.0303 | 2605847.7301 | 1229320.4641 | 2605857.9396 | 1229313.8639
50 | 2605857.9396 | 1229313.8639 | 2605874.1262 | 1229303.3995
51 | 2605888.9509 | 1229293.8155 | 2605874.1262 | 1229303.3995
52 | 2605993.8101 | 1229219.4165 | 2605985.9652 | 1229218.8399
53 | 2605980.208 | 1229218.4167 | 2605985.9652 | 1229218.8399
54 | 2605980.208 | 1229218.4167 | 2605961.2706 | 1229217.0248
55 | 2605960.716 | 1229216.984 | 2605961.2706 | 1229217.0248

## bus_geodata
| x | y | coords
0 | 2605870.5404 | 1229342.1558
1 | 2605888.4942 | 1229330.2899
2 | 2605890.5975 | 1229328.8999
3 | 2606053.0413 | 1229350.2493
4 | 2606024.0247 | 1229350.9465
5 | 2606071.6009 | 1229349.8033
6 | 2605991.7085 | 1229354.121
7 | 2606050.1117 | 1229385.8809
8 | 2606088.765 | 1229319.4945
9 | 2606011.638 | 1229386.3698
10 | 2606068.6947 | 1229428.4529
11 | 2606104.9005 | 1229291.0021
12 | 2606121.2849 | 1229262.0016
13 | 2606079.8264 | 1229291.3327
14 | 2605939.0192 | 1229334.468
15 | 2605938.1229 | 1229313.118
16 | 2605939.1202 | 1229338.7073
17 | 2605929.7174 | 1229296.5746
18 | 2605917.6808 | 1229311.5383
19 | 2605934.5173 | 1229270.1805
20 | 2605963.913 | 1229294.2076
21 | 2605905.3886 | 1229296.8757
22 | 2605903.8232 | 1229320.4216
23 | 2605983.7957 | 1229292.8314
24 | 2606008.7601 | 1229292.1243
25 | 2606006.2344 | 1229292.1394
26 | 2606028.9273 | 1229292.0039
27 | 2605984.5673 | 1229292.778
28 | 2606033.0201 | 1229291.9499
29 | 2606031.7074 | 1229254.2581
30 | 2606033.0898 | 1229250.5946
31 | 2606041.8153 | 1229291.8339
32 | 2606056.393 | 1229255.8718
33 | 2606089.1411 | 1229413.8074
34 | 2605900.0054 | 1229343.5349
35 | 2605906.783 | 1229364.1119
36 | 2605896.9942 | 1229291.752
37 | 2606084.178 | 1229260.9551
38 | 2606111.0806 | 1229261.9814
39 | 2606056.1985 | 1229224.002
40 | 2606063.4528 | 1229215.6335
41 | 2606079.3327 | 1229228.6104
42 | 2606026.8624 | 1229221.8458
43 | 2606134.0041 | 1229239.5012
44 | 2606098.0049 | 1229232.33
45 | 2606002.5611 | 1229220.0597
46 | 2605844.8866 | 1229328.103
47 | 2605845.6217 | 1229323.0303
48 | 2605857.9396 | 1229313.8639
49 | 2605874.1262 | 1229303.3995
50 | 2605888.9509 | 1229293.8155
51 | 2606122.1656 | 1229237.1429
52 | 2605993.8101 | 1229219.4165
53 | 2605985.9652 | 1229218.8399
54 | 2605980.208 | 1229218.4167
55 | 2605961.2706 | 1229217.0248
56 | 2605960.716 | 1229216.984
57 | 2606028.9273 | 1229292.0039

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9944 | -0.10756 | 0.001594 | 0.0003995
1 | 0.99444 | -0.10695 | 0.0021374 | 0.00053567
2 | 0.99444 | -0.10679 | 0 | 0
3 | 0.98614 | -0.26605 | 0.0080185 | 0.0020096
4 | 0.98569 | -0.27486 | 0.0045622 | 0.0011434
5 | 0.98657 | -0.25775 | 0 | 0
6 | 0.98532 | -0.28211 | 0.012373 | 0.003101
7 | 0.98568 | -0.27511 | 0 | 0
8 | 0.98811 | -0.22783 | 0.0095218 | 0.0023864
9 | 0.9849 | -0.29026 | 0.021933 | 0.005497
10 | 0.98563 | -0.27606 | 0.00084156 | 0.00021092
11 | 0.98984 | -0.19424 | 0 | 0
12 | 0.98743 | -0.24085 | 0 | 0
13 | 0.99299 | -0.13373 | 0.014234 | 0.0035673
14 | 0.99485 | -0.098973 | 0.013891 | 0.0034814
15 | 0.99529 | -0.090548 | 0.0045751 | 0.0011466
16 | 0.99482 | -0.099606 | 0.0084776 | 0.0021247
17 | 0.99574 | -0.081709 | 0 | 0
18 | 0.99486 | -0.098751 | 0 | 0
19 | 0.99558 | -0.084931 | 0.0067923 | 0.0017023
20 | 0.99836 | -0.031453 | 0.0032279 | 0.00080899
21 | 0.99426 | -0.11042 | 0.0014392 | 0.0003607
22 | 0.99463 | -0.10318 | 0.0022315 | 0.00055927
23 | 0.99994 | -0.0012305 | 0.0044212 | 0.001108
24 | 0.99804 | -0.037149 | 0.0075041 | 0.0018807
25 | 0.99824 | -0.033411 | 0.0072907 | 0.0018272
26 | 0.99654 | -0.065719 | 0 | 0
27 | 1 | 0 | -0.27191 | -0.068709
28 | 0.99624 | -0.071528 | 0.0085299 | 0.0021378
29 | 0.9864 | -0.26092 | 0.0044534 | 0.0011161
30 | 0.98642 | -0.26061 | 0 | 0
31 | 0.99562 | -0.083363 | 0.0028282 | 0.0007088
32 | 0.98652 | -0.2587 | 0.0060416 | 0.0015142
33 | 0.98562 | -0.2762 | 0.00030141 | 7.5541e-05
34 | 0.9943 | -0.10964 | 0.0021991 | 0.00055115
35 | 0.99415 | -0.11246 | 0.0071032 | 0.0017802
36 | 0.99394 | -0.11649 | 0.021213 | 0.0053166
37 | 0.98679 | -0.25339 | 0.0066739 | 0.0016726
38 | 0.98722 | -0.24512 | 0.006189 | 0.0015511
39 | 0.98287 | -0.32952 | 0 | 0
40 | 0.98283 | -0.33038 | 0.0042993 | 0.0010775
41 | 0.98369 | -0.31355 | 0.0032648 | 0.00081824
42 | 0.98197 | -0.34719 | 0.0057192 | 0.0014334
43 | 0.98612 | -0.26636 | 0 | 0
44 | 0.98441 | -0.29956 | 0.0072146 | 0.0018082
45 | 0.98135 | -0.35933 | 0.0045556 | 0.0011417
46 | 0.99346 | -0.12591 | 0.0030375 | 0.00076126
47 | 0.99347 | -0.12563 | 0.0019104 | 0.0004788
48 | 0.99354 | -0.12428 | 0.0029717 | 0.00074478
49 | 0.99368 | -0.12158 | 0.0025017 | 0.00062698
50 | 0.99385 | -0.11833 | 0.0015396 | 0.00038586
51 | 0.9855 | -0.2783 | 0.0071149 | 0.0017832
52 | 0.98116 | -0.36298 | 0.0027534 | 0.00069006
53 | 0.98102 | -0.36586 | 0.0022565 | 0.00056554
54 | 0.98092 | -0.36774 | 0.0029621 | 0.00074238
55 | 0.98066 | -0.3729 | 0.0082512 | 0.002068
56 | 0.98065 | -0.37297 | 0.0067583 | 0.0016938
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.001594 | -0.0003995 | 0.0015941 | 0.00039925 | 4.5913e-08 | -2.4981e-07 | 0.0023853 | 0.0023852 | 0.0023853 | 0.9944 | -0.10756 | 0.99444 | -0.10695 | 0.65529
1 | -0.0037314 | -0.00093492 | 0.0037314 | 0.0009349 | 2.9473e-08 | -1.3846e-08 | 0.0055834 | 0.0055833 | 0.0055834 | 0.99444 | -0.10695 | 0.99444 | -0.10679 | 1.5339
2 | 0.0093046 | 0.0023323 | -0.0093033 | -0.0023317 | 1.2647e-06 | 5.8372e-07 | 0.013923 | 0.013923 | 0.013923 | 0.99444 | -0.10679 | 0.9943 | -0.10964 | 3.825
3 | -0.013036 | -0.0032672 | 0.013038 | 0.0032684 | 2.2415e-06 | 1.2307e-06 | 0.019506 | 0.019506 | 0.019506 | 0.99444 | -0.10679 | 0.99463 | -0.10318 | 5.3588
4 | 0.016947 | 0.0042509 | -0.01694 | -0.0042467 | 7.118e-06 | 4.1854e-06 | 0.025573 | 0.025573 | 0.025573 | 0.98614 | -0.26605 | 0.98569 | -0.27486 | 7.0255
5 | -0.024965 | -0.0062605 | 0.024975 | 0.0062666 | 9.8801e-06 | 6.0863e-06 | 0.037672 | 0.037672 | 0.037672 | 0.98614 | -0.26605 | 0.98657 | -0.25775 | 10.3494
6 | 0.012378 | 0.0031033 | -0.012373 | -0.003101 | 4.274e-06 | 2.3195e-06 | 0.018686 | 0.018686 | 0.018686 | 0.98569 | -0.27486 | 0.98532 | -0.28211 | 5.1335
7 | 0.023111 | 0.005804 | -0.023092 | -0.0057923 | 1.9126e-05 | 1.1706e-05 | 0.034862 | 0.034863 | 0.034863 | 0.98657 | -0.25775 | 0.98568 | -0.27511 | 9.5776
8 | -0.048087 | -0.012071 | 0.048155 | 0.012114 | 6.8721e-05 | 4.3536e-05 | 0.072534 | 0.072534 | 0.072534 | 0.98657 | -0.25775 | 0.98811 | -0.22783 | 19.927
9 | 0.021949 | 0.0055067 | -0.021933 | -0.005497 | 1.5844e-05 | 9.6502e-06 | 0.033137 | 0.033138 | 0.033138 | 0.98568 | -0.27511 | 0.9849 | -0.29026 | 9.1037
10 | 0.001143 | 0.00028558 | -0.001143 | -0.00028614 | 5.1854e-08 | -5.5886e-07 | 0.0017252 | 0.0017255 | 0.0017255 | 0.98568 | -0.27511 | 0.98563 | -0.27606 | 0.47402
11 | -0.057677 | -0.014501 | 0.05777 | 0.014559 | 9.2669e-05 | 5.8888e-05 | 0.086873 | 0.086873 | 0.086873 | 0.98811 | -0.22783 | 0.98984 | -0.19424 | 23.8663
12 | 0.00030141 | 7.5221e-05 | -0.00030141 | -7.5541e-05 | 1.9524e-09 | -3.1929e-07 | 0.00045493 | 0.00045505 | 0.00045505 | 0.98563 | -0.27606 | 0.98562 | -0.2762 | 0.12501
13 | 0.078959 | 0.01996 | -0.078783 | -0.019848 | 0.00017606 | 0.00011225 | 0.11876 | 0.11876 | 0.11876 | 0.98984 | -0.19424 | 0.98743 | -0.24085 | 32.6262
14 | -0.13673 | -0.03452 | 0.13713 | 0.034774 | 0.00039763 | 0.00025416 | 0.20563 | 0.20563 | 0.20563 | 0.98984 | -0.19424 | 0.99299 | -0.13373 | 56.4924
15 | 0.055411 | 0.013986 | -0.055343 | -0.013943 | 6.7596e-05 | 4.2932e-05 | 0.083536 | 0.083536 | 0.083536 | 0.98743 | -0.24085 | 0.98612 | -0.26636 | 22.9496
16 | 0.023373 | 0.0058622 | -0.023368 | -0.0058593 | 4.7475e-06 | 2.9079e-06 | 0.035223 | 0.035223 | 0.035223 | 0.98743 | -0.24085 | 0.98722 | -0.24512 | 9.6767
17 | -0.15136 | -0.038341 | 0.15173 | 0.038575 | 0.00036716 | 0.00023399 | 0.22696 | 0.22696 | 0.22696 | 0.99299 | -0.13373 | 0.99562 | -0.083363 | 31.176
18 | -0.022369 | -0.0056062 | 0.022378 | 0.0056117 | 8.9813e-06 | 5.4701e-06 | 0.033458 | 0.033458 | 0.033458 | 0.99485 | -0.098973 | 0.99529 | -0.090548 | 9.1917
19 | 0.0084779 | 0.0021248 | -0.0084776 | -0.0021247 | 2.557e-07 | 1.0859e-07 | 0.012681 | 0.012681 | 0.012681 | 0.99485 | -0.098973 | 0.99482 | -0.099606 | 3.4837
20 | -0.026953 | -0.0067583 | 0.026964 | 0.0067654 | 1.1359e-05 | 7.027e-06 | 0.040298 | 0.040298 | 0.040298 | 0.99529 | -0.090548 | 0.99574 | -0.081709 | 11.0708
21 | 0.04996 | 0.01255 | -0.049919 | -0.012524 | 4.0595e-05 | 2.5729e-05 | 0.074669 | 0.074669 | 0.074669 | 0.99574 | -0.081709 | 0.99486 | -0.098751 | 20.5136
22 | 0.0067934 | 0.0017026 | -0.0067923 | -0.0017023 | 1.0426e-06 | 3.164e-07 | 0.010152 | 0.010152 | 0.010152 | 0.99574 | -0.081709 | 0.99558 | -0.084931 | 2.789
23 | -0.083718 | -0.021018 | 0.083919 | 0.021146 | 0.00020123 | 0.00012834 | 0.12512 | 0.12512 | 0.12512 | 0.99574 | -0.081709 | 0.99836 | -0.031453 | 34.3733
24 | 0.034646 | 0.0086948 | -0.034627 | -0.0086827 | 1.9273e-05 | 1.2086e-05 | 0.051825 | 0.051825 | 0.051825 | 0.99486 | -0.098751 | 0.99426 | -0.11042 | 14.2376
25 | 0.015273 | 0.0038295 | -0.01527 | -0.0038277 | 3.2213e-06 | 1.848e-06 | 0.022844 | 0.022845 | 0.022845 | 0.99486 | -0.098751 | 0.99463 | -0.10318 | 6.276
26 | -0.087147 | -0.021955 | 0.087273 | 0.022036 | 0.00012617 | 8.0488e-05 | 0.12993 | 0.12993 | 0.12993 | 0.99836 | -0.031453 | 0.99994 | -0.0012305 | 35.6949
27 | 0.033188 | 0.008322 | -0.033178 | -0.008316 | 9.5896e-06 | 6.003e-06 | 0.049671 | 0.049671 | 0.049671 | 0.99426 | -0.11042 | 0.99394 | -0.11649 | 13.6459
28 | -0.091694 | -0.023144 | 0.0917 | 0.023147 | 5.4047e-06 | 3.4489e-06 | 0.13651 | 0.13651 | 0.13651 | 0.99994 | -0.0012305 | 1 | 0 | 37.5024
29 | -0.17095 | -0.043531 | 0.17098 | 0.043551 | 3.0822e-05 | 1.966e-05 | 0.25512 | 0.25512 | 0.25512 | 0.99804 | -0.037149 | 0.99824 | -0.033411 | 35.0434
30 | 0.16344 | 0.041651 | -0.16322 | -0.041507 | 0.000225 | 0.00014347 | 0.24393 | 0.24393 | 0.24393 | 0.99804 | -0.037149 | 0.99654 | -0.065719 | 33.5066
31 | -0.17827 | -0.045378 | 0.17856 | 0.045562 | 0.00028767 | 0.00018354 | 0.26598 | 0.26598 | 0.26598 | 0.99824 | -0.033411 | 1 | 0 | 36.5362
32 | 0.16322 | 0.041507 | -0.16317 | -0.041478 | 4.5665e-05 | 2.9119e-05 | 0.24393 | 0.24393 | 0.24393 | 0.99654 | -0.065719 | 0.99624 | -0.071528 | 33.5066
33 | 0.15464 | 0.03934 | -0.15456 | -0.039284 | 8.8148e-05 | 5.6186e-05 | 0.23119 | 0.23119 | 0.23119 | 0.99624 | -0.071528 | 0.99562 | -0.083363 | 31.7566
34 | -0.0044534 | -0.0011161 | 0.0044535 | 0.0011161 | 6.6271e-08 | -7.5708e-09 | 0.0067181 | 0.006718 | 0.0067181 | 0.9864 | -0.26092 | 0.98642 | -0.26061 | 1.8456
35 | -0.0044535 | -0.0011161 | 0.0044539 | 0.0011161 | 4.0438e-07 | -4.6237e-08 | 0.006718 | 0.0067179 | 0.006718 | 0.98642 | -0.26061 | 0.98652 | -0.2587 | 1.8456
36 | -0.010495 | -0.0026302 | 0.010498 | 0.0026316 | 2.6563e-06 | 1.3391e-06 | 0.015831 | 0.015831 | 0.015831 | 0.98652 | -0.2587 | 0.98679 | -0.25339 | 4.3491
37 | 0.0071042 | 0.0017806 | -0.0071032 | -0.0017802 | 9.5443e-07 | 3.1884e-07 | 0.010632 | 0.010632 | 0.010632 | 0.9943 | -0.10964 | 0.99415 | -0.11246 | 2.9209
38 | 0.011965 | 0.0029994 | -0.011964 | -0.0029988 | 1.0524e-06 | 5.6021e-07 | 0.017913 | 0.017913 | 0.017913 | 0.99394 | -0.11649 | 0.99385 | -0.11833 | 4.9211
39 | -0.017172 | -0.0043042 | 0.017179 | 0.0043082 | 6.7746e-06 | 3.9914e-06 | 0.025895 | 0.025894 | 0.025895 | 0.98679 | -0.25339 | 0.98722 | -0.24512 | 7.1139
40 | 0.0042995 | 0.0010775 | -0.0042993 | -0.0010775 | 1.7597e-07 | -2.7738e-08 | 0.0065091 | 0.0065092 | 0.0065092 | 0.98287 | -0.32952 | 0.98283 | -0.33038 | 1.7882
41 | -0.037612 | -0.009447 | 0.037641 | 0.0094651 | 2.8689e-05 | 1.8062e-05 | 0.05695 | 0.05695 | 0.05695 | 0.98287 | -0.32952 | 0.98369 | -0.31355 | 15.6455
42 | 0.033313 | 0.0083695 | -0.033284 | -0.008352 | 2.8065e-05 | 1.7589e-05 | 0.050441 | 0.050441 | 0.050441 | 0.98287 | -0.32952 | 0.98197 | -0.34719 | 13.8574
43 | -0.040906 | -0.010283 | 0.040933 | 0.010301 | 2.7346e-05 | 1.726e-05 | 0.061888 | 0.061888 | 0.061888 | 0.98369 | -0.31355 | 0.98441 | -0.29956 | 17.0023
44 | 0.027565 | 0.0069186 | -0.027549 | -0.0069087 | 1.5946e-05 | 9.8973e-06 | 0.041774 | 0.041774 | 0.041774 | 0.98197 | -0.34719 | 0.98135 | -0.35933 | 11.4765
45 | 0.055343 | 0.013943 | -0.055311 | -0.013923 | 3.1589e-05 | 2.0063e-05 | 0.083536 | 0.083536 | 0.083536 | 0.98612 | -0.26636 | 0.9855 | -0.2783 | 22.9496
46 | -0.048148 | -0.012109 | 0.048196 | 0.01214 | 4.8953e-05 | 3.1016e-05 | 0.072794 | 0.072794 | 0.072794 | 0.98441 | -0.29956 | 0.9855 | -0.2783 | 19.9983
47 | 0.022994 | 0.0057669 | -0.02299 | -0.0057645 | 4.0002e-06 | 2.4493e-06 | 0.034867 | 0.034867 | 0.034867 | 0.98135 | -0.35933 | 0.98116 | -0.36298 | 9.5788
48 | -0.0030375 | -0.00076126 | 0.0030375 | 0.00076122 | 4.0405e-08 | -4.1544e-08 | 0.0045496 | 0.0045495 | 0.0045496 | 0.99346 | -0.12591 | 0.99347 | -0.12563 | 1.2499
49 | -0.0049479 | -0.00124 | 0.0049482 | 0.00124 | 3.1879e-07 | 3.5887e-09 | 0.007411 | 0.0074109 | 0.007411 | 0.99347 | -0.12563 | 0.99354 | -0.12428 | 2.036
50 | -0.0079199 | -0.0019848 | 0.007921 | 0.0019852 | 1.0169e-06 | 4.012e-07 | 0.011862 | 0.011861 | 0.011862 | 0.99354 | -0.12428 | 0.99368 | -0.12158 | 3.2587
51 | -0.010423 | -0.0026122 | 0.010424 | 0.002613 | 1.6126e-06 | 8.0334e-07 | 0.015608 | 0.015608 | 0.015608 | 0.99368 | -0.12158 | 0.99385 | -0.11833 | 4.2878
52 | 0.020236 | 0.0050744 | -0.020234 | -0.0050728 | 2.7785e-06 | 1.6789e-06 | 0.030691 | 0.030691 | 0.030691 | 0.98116 | -0.36298 | 0.98102 | -0.36586 | 8.4316
53 | 0.017977 | 0.0045072 | -0.017975 | -0.0045063 | 1.6096e-06 | 9.5729e-07 | 0.027268 | 0.027268 | 0.027268 | 0.98102 | -0.36586 | 0.98092 | -0.36774 | 7.4913
54 | 0.015013 | 0.0037639 | -0.01501 | -0.0037618 | 3.6935e-06 | 2.1242e-06 | 0.022775 | 0.022775 | 0.022775 | 0.98092 | -0.36774 | 0.98066 | -0.3729 | 6.2569
55 | 0.0067583 | 0.0016938 | -0.0067583 | -0.0016938 | 2.1928e-08 | 7.0181e-09 | 0.010255 | 0.010255 | 0.010255 | 0.98066 | -0.3729 | 0.98065 | -0.37297 | 2.8173

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27561 | 0.069638

## res_load
| p_mw | q_mvar
0 | 0.001594 | 0.0003995
1 | 0.0021374 | 0.00053567
2 | 0.0080185 | 0.0020096
3 | 0.0045622 | 0.0011434
4 | 0.012373 | 0.003101
5 | 0.0095218 | 0.0023864
6 | 0.021933 | 0.005497
7 | 0.00084156 | 0.00021092
8 | 0.014234 | 0.0035673
9 | 0.013891 | 0.0034814
10 | 0.0045751 | 0.0011466
11 | 0.0084776 | 0.0021247
12 | 0.0067923 | 0.0017023
13 | 0.0032279 | 0.00080899
14 | 0.0014392 | 0.0003607
15 | 0.0022315 | 0.00055927
16 | 0.0044212 | 0.001108
17 | 0.0075041 | 0.0018807
18 | 0.0072907 | 0.0018272
19 | 0.0037056 | 0.0009287
20 | 0.0085299 | 0.0021378
21 | 0.0044534 | 0.0011161
22 | 0.0028282 | 0.0007088
23 | 0.0060416 | 0.0015142
24 | 0.00030141 | 7.5541e-05
25 | 0.0021991 | 0.00055115
26 | 0.0071032 | 0.0017802
27 | 0.021213 | 0.0053166
28 | 0.0066739 | 0.0016726
29 | 0.006189 | 0.0015511
30 | 0.0042993 | 0.0010775
31 | 0.0032648 | 0.00081824
32 | 0.0057192 | 0.0014334
33 | 0.0072146 | 0.0018082
34 | 0.0045556 | 0.0011417
35 | 0.0030375 | 0.00076126
36 | 0.0019104 | 0.0004788
37 | 0.0029717 | 0.00074478
38 | 0.0025017 | 0.00062698
39 | 0.0015396 | 0.00038586
40 | 0.0071149 | 0.0017832
41 | 0.0027534 | 0.00069006
42 | 0.0022565 | 0.00056554
43 | 0.0029621 | 0.00074238
44 | 0.0082512 | 0.002068
45 | 0.0067583 | 0.0016938

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1