## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-45_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-45_0_8_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2601-45_0_8_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2601-45_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-45_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2601-45_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2601-45_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2601-45_0_8_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_2601-45_0_8_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_2601-45_0_8_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_2601-45_0_8_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2601-45_0_8_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2601-45_0_8_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_2601-45_0_8_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_2601-45_0_8_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_2601-45_0_8_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_2601-45_0_8_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_2601-45_0_8_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2601-45_0_8_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_2601-45_0_8_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2601-45_0_8_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2601-45_0_8_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2601-45_0_8_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2601-45_0_8_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2601-45_0_8_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2601-45_0_8_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_2601-45_0_8_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2601-45_0_8_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_2601-45_0_8_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_2601-45_0_8_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_2601-45_0_8_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2601-45_0_8_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_2601-45_0_8_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_2601-45_0_8_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2601-45_0_8_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_2601-45_0_8_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_2601-45_0_8_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2601-45_0_8_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_2601-45_0_8_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2601-45_0_8_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_2601-45_0_8_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2601-45_0_8_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_2601-45_0_8_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_2601-45_0_8_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2601-45_0_8_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2601-45_0_8_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_2601-45_0_8_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2601-45_0_8_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2601-45_0_8_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2601-45_0_8_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_2601-45_0_8_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2601-45_0_8_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2601-45_0_8_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_2601-45_0_8_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2601-45_0_8_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_2601-45_0_8_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_2601-45_0_8_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_2601-45_0_8_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_2601-45_0_8_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_2601-45_0_8_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_2601-45_0_8_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_2601-45_0_8_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2601-45_0_8_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_2601-45_0_8_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_2601-45_0_8_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_2601-45_0_8_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_2601-45_0_8_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2601-45_0_8_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_2601-45_0_8_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_2601-45_0_8_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_2601-45_0_8_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_2601-45_0_8_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_2601-45_0_8_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_2601-45_0_8_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_2601-45_0_8_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_2601-45_0_8_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_2601-45_0_8_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2601-45_0_8_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_2601-45_0_8_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_2601-45_0_8_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2601-45_0_8_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_2601-45_0_8_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_2601-45_0_8_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_393_0_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-45_0_8_load_0 | 0 | 0.0047316 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-45_0_8_load_1 | 2 | 0.0068545 | 0.0017179 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-45_0_8_load_3 | 3 | 0.0057972 | 0.0014529 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-45_0_8_load_4 | 4 | 0.0068549 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-45_0_8_load_79 | 7 | 0.0059647 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-45_0_8_load_73 | 9 | 0.0070662 | 0.001771 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-45_0_8_load_17 | 10 | 0.0058067 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-45_0_8_load_15 | 11 | 0.0022634 | 0.00056725 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-45_0_8_load_44 | 13 | 0.0026321 | 0.00065967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-45_0_8_load_47 | 14 | 0.0069806 | 0.0017495 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-45_0_8_load_37 | 15 | 0.008245 | 0.0020664 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-45_0_8_load_7 | 18 | 0.005115 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-45_0_8_load_10 | 21 | 0.014568 | 0.0036511 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-45_0_8_load_14 | 23 | 0.0028532 | 0.00071508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-45_0_8_load_61 | 25 | 0.030569 | 0.0076613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-45_0_8_load_86 | 28 | 0.037864 | 0.0094896 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-45_0_8_load_69 | 29 | 0.046549 | 0.011666 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-45_0_8_load_72 | 31 | 0.0033777 | 0.00084654 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-45_0_8_load_70 | 32 | 0.0062545 | 0.0015675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-45_0_8_load_87 | 35 | 0.080314 | 0.020129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-45_0_8_load_84 | 37 | 0.0088494 | 0.0022179 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-45_0_8_load_62 | 39 | 0.0032468 | 0.00081372 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-45_0_8_load_18 | 41 | 0.0099871 | 0.002503 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-45_0_8_load_19 | 42 | 0.0098878 | 0.0024781 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-45_0_8_load_54 | 43 | 0.0059286 | 0.0014858 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-45_0_8_load_52 | 44 | 0.0098545 | 0.0024698 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-45_0_8_load_20 | 45 | 0.0044032 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-45_0_8_load_35 | 48 | 0.0032095 | 0.00080437 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-45_0_8_load_50 | 50 | 0.0042949 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-45_0_8_load_34 | 51 | 0.0079885 | 0.0020021 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-45_0_8_load_75 | 52 | 0.0018347 | 0.00045983 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-45_0_8_load_67 | 54 | 0.0073864 | 0.0018512 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-45_0_8_load_71 | 55 | 0.0035408 | 0.0008874 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-45_0_8_load_74 | 56 | 0.0013778 | 0.00034531 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2601-45_0_8_load_30 | 57 | 0.0059986 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2601-45_0_8_load_31 | 58 | 0.0076341 | 0.0019133 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2601-45_0_8_load_33 | 59 | 0.0066951 | 0.001678 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2601-45_0_8_load_60 | 60 | 0.008881 | 0.0022258 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2601-45_0_8_load_49 | 61 | 0.0063558 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2601-45_0_8_load_36 | 62 | 0.021662 | 0.0054289 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2601-45_0_8_load_40 | 63 | 0.0044178 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2601-45_0_8_load_76 | 64 | 0.0014576 | 0.0003653 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2601-45_0_8_load_42 | 65 | 0.005093 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2601-45_0_8_load_48 | 66 | 0.0037438 | 0.00093828 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2601-45_0_8_load_77 | 67 | 0.0022922 | 0.00057447 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2601-45_0_8_load_41 | 68 | 0.0062633 | 0.0015697 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2601-45_0_8_load_83 | 71 | 0.0089589 | 0.0022453 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2601-45_0_8_load_85 | 73 | 0.0011325 | 0.00028382 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2601-45_0_8_load_88 | 74 | 0.016044 | 0.0040209 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2601-45_0_8_load_65 | 76 | 0.0051019 | 0.0012787 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2601-45_0_8_load_81 | 77 | 0.0011258 | 0.00028216 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2601-45_0_8_load_64 | 78 | 0.0034032 | 0.00085293 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2601-45_0_8_load_66 | 79 | 0.0069039 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2601-45_0_8_load_68 | 80 | 0.0021664 | 0.00054294 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2601-45_0_8_load_78 | 81 | 0.0049284 | 0.0012352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2601-45_0_8_load_82 | 82 | 0.0024759 | 0.00062053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-45_0_8_line_0 |  | 0 | 1 | 0.022153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-45_0_8_line_1 |  | 1 | 4 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-45_0_8_line_2 |  | 1 | 5 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2601-45_0_8_line_3 |  | 1 | 6 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2601-45_0_8_line_4 |  | 2 | 3 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-45_0_8_line_5 |  | 3 | 7 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-45_0_8_line_6 |  | 5 | 8 | 0.025749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2601-45_0_8_line_7 |  | 5 | 9 | 0.029592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2601-45_0_8_line_8 |  | 6 | 10 | 0.010095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2601-45_0_8_line_9 |  | 6 | 11 | 0.028235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-45_0_8_line_10 |  | 7 | 12 | 0.010448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-45_0_8_line_11 |  | 8 | 13 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-45_0_8_line_12 |  | 8 | 14 | 0.043092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2601-45_0_8_line_13 |  | 8 | 15 | 0.016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-45_0_8_line_14 |  | 10 | 16 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2601-45_0_8_line_15 |  | 11 | 17 | 0.017868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-45_0_8_line_16 |  | 12 | 77 | 0.043878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-45_0_8_line_17 |  | 12 | 43 | 0.027091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-45_0_8_line_18 |  | 13 | 65 | 0.018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-45_0_8_line_19 |  | 14 | 66 | 0.013255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2601-45_0_8_line_20 |  | 15 | 62 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-45_0_8_line_21 |  | 16 | 43 | 0.022803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-45_0_8_line_22 |  | 16 | 44 | 0.036259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-45_0_8_line_23 |  | 17 | 41 | 0.016845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-45_0_8_line_24 |  | 17 | 42 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-45_0_8_line_25 |  | 18 | 19 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-45_0_8_line_26 |  | 18 | 20 | 0.026609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-45_0_8_line_27 |  | 19 | 21 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-45_0_8_line_28 |  | 19 | 22 | 0.050051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-45_0_8_line_29 |  | 20 | 23 | 0.037319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-45_0_8_line_30 |  | 20 | 24 | 0.038799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-45_0_8_line_31 |  | 22 | 25 | 0.060899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-45_0_8_line_32 |  | 24 | 29 | 0.046108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-45_0_8_line_33 |  | 25 | 39 | 0.0019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-45_0_8_line_34 |  | 26 | 27 | 0.037763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-45_0_8_line_35 |  | 26 | 28 | 0.035118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-45_0_8_line_36 |  | 27 | 29 | 0.0027792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-45_0_8_line_37 |  | 27 | 40 | 0.092859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2601-45_0_8_line_38 |  | 28 | 34 | 0.021238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-45_0_8_line_39 |  | 30 | 31 | 0.057246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-45_0_8_line_40 |  | 30 | 32 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2601-45_0_8_line_41 |  | 30 | 33 | 0.077248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2601-45_0_8_line_42 |  | 32 | 55 | 0.040515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2601-45_0_8_line_43 |  | 33 | 37 | 0.0091267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2601-45_0_8_line_44 |  | 34 | 35 | 0.016016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-45_0_8_line_45 |  | 36 | 37 | 0.032459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2601-45_0_8_line_46 |  | 36 | 38 | 0.023291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2601-45_0_8_line_47 |  | 38 | 46 | 0.03004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2601-45_0_8_line_48 |  | 38 | 45 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-45_0_8_line_49 |  | 40 | 74 | 0.037246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2601-45_0_8_line_50 |  | 40 | 72 | 0.12296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2601-45_0_8_line_51 |  | 44 | 69 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2601-45_0_8_line_52 |  | 46 | 47 | 0.05536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2601-45_0_8_line_53 |  | 46 | 48 | 0.026291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_2601-45_0_8_line_54 |  | 47 | 52 | 0.016837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2601-45_0_8_line_55 |  | 48 | 53 | 0.011912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_2601-45_0_8_line_56 |  | 49 | 50 | 0.03469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2601-45_0_8_line_57 |  | 49 | 51 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2601-45_0_8_line_58 |  | 50 | 54 | 0.0062263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2601-45_0_8_line_59 |  | 51 | 53 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2601-45_0_8_line_60 |  | 52 | 56 | 0.0053952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2601-45_0_8_line_61 |  | 53 | 57 | 0.033806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2601-45_0_8_line_62 |  | 54 | 76 | 0.015848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2601-45_0_8_line_63 |  | 55 | 75 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2601-45_0_8_line_64 |  | 57 | 58 | 0.0077992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_2601-45_0_8_line_65 |  | 58 | 59 | 0.022055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2601-45_0_8_line_66 |  | 59 | 60 | 0.010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2601-45_0_8_line_67 |  | 60 | 61 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2601-45_0_8_line_68 |  | 61 | 66 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2601-45_0_8_line_69 |  | 63 | 64 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2601-45_0_8_line_70 |  | 64 | 67 | 0.011214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2601-45_0_8_line_71 |  | 65 | 68 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2601-45_0_8_line_72 |  | 67 | 81 | 0.0014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2601-45_0_8_line_73 |  | 69 | 70 | 0.02958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2601-45_0_8_line_74 |  | 70 | 71 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2601-45_0_8_line_75 |  | 72 | 73 | 0.035464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2601-45_0_8_line_76 |  | 73 | 75 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_2601-45_0_8_line_77 |  | 76 | 78 | 0.013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2601-45_0_8_line_78 |  | 77 | 82 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2601-45_0_8_line_79 |  | 78 | 79 | 0.013822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2601-45_0_8_line_80 |  | 79 | 80 | 0.0097935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2601-45_0_8_line_81 |  | 80 | 81 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-45_0_8_trafo_56 | 0.63 MVA 20/0.4 kV | 83 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2607576.4129 | 1227871.415 | 2607569.4961 | 1227870.5391 | 2607557.6819 | 1227861.0056
1 | 2607576.4129 | 1227871.415 | 2607565.9111 | 1227863.272
2 | 2607574.7059 | 1227885.0765 | 2607580.8865 | 1227874.8894 | 2607576.4129 | 1227871.415
3 | 2607587.9524 | 1227865.6595 | 2607580.8865 | 1227874.8894 | 2607576.4129 | 1227871.415
4 | 2607561.1141 | 1227829.326 | 2607560.3181 | 1227830.1592 | 2607551.959 | 1227837.4752 | 2607551.4671 | 1227838.1431
5 | 2607561.1141 | 1227829.326 | 2607568.2315 | 1227821.8754 | 2607570.4471 | 1227819.0744
6 | 2607563.1446 | 1227908.0977 | 2607574.7059 | 1227885.0765
7 | 2607574.7059 | 1227885.0765 | 2607580.3002 | 1227889.1971 | 2607601.8888 | 1227896.0282
8 | 2607587.9524 | 1227865.6595 | 2607595.2075 | 1227858.6406
9 | 2607587.9524 | 1227865.6595 | 2607614.7906 | 1227874.4292
10 | 2607576.9288 | 1227810.8799 | 2607570.4471 | 1227819.0744
11 | 2607563.1446 | 1227908.0977 | 2607570.4897 | 1227911.7647 | 2607581.8337 | 1227915.5444
12 | 2607563.1446 | 1227908.0977 | 2607531.6573 | 1227878.6788
13 | 2607563.1446 | 1227908.0977 | 2607554.9047 | 1227922.8624
14 | 2607615.4486 | 1227842.5918 | 2607598.6947 | 1227855.267 | 2607595.2075 | 1227858.6406
15 | 2607631.7751 | 1227879.9791 | 2607614.7906 | 1227874.4292
16 | 2607576.9288 | 1227810.8799 | 2607543.0567 | 1227782.9873
17 | 2607576.9288 | 1227810.8799 | 2607597.8441 | 1227828.0987
18 | 2607599.5894 | 1227921.4606 | 2607581.8337 | 1227915.5444
19 | 2607521.9719 | 1227869.6297 | 2607531.6573 | 1227878.6788
20 | 2607547.2161 | 1227936.5599 | 2607551.0851 | 1227929.7064 | 2607554.9047 | 1227922.8624
21 | 2607615.4486 | 1227842.5918 | 2607597.8441 | 1227828.0987
22 | 2607615.4486 | 1227842.5918 | 2607644.8304 | 1227821.3449
23 | 2607631.7751 | 1227879.9791 | 2607626.8982 | 1227896.103
24 | 2607631.7751 | 1227879.9791 | 2607642.7386 | 1227883.563
25 | 2607501.8839 | 1227581.3724 | 2607499.9374 | 1227592.7271
26 | 2607495.4416 | 1227618.9532 | 2607499.9374 | 1227592.7271
27 | 2607493.6687 | 1227570.2444 | 2607503.5097 | 1227571.9244 | 2607501.8839 | 1227581.3724
28 | 2607501.8839 | 1227581.3724 | 2607517.0871 | 1227585.127 | 2607530.11 | 1227593.2703 | 2607537.8366 | 1227589.1442 | 2607538.6754 | 1227578.9059
29 | 2607458.5476 | 1227612.6702 | 2607495.4416 | 1227618.9532
30 | 2607495.4416 | 1227618.9532 | 2607494.6859 | 1227623.3548 | 2607511.9061 | 1227625.9557 | 2607514.5642 | 1227627.1597 | 2607520.4623 | 1227630.8915 | 2607523.9608 | 1227632.7081 | 2607527.0063 | 1227633.1566
31 | 2607538.6754 | 1227578.9059 | 2607542.1363 | 1227550.3712 | 2607573.9132 | 1227555.2903
32 | 2607527.0063 | 1227633.1566 | 2607532.0367 | 1227633.9189 | 2607547.317 | 1227636.5174 | 2607566.0366 | 1227639.7096 | 2607572.5589 | 1227639.3824
33 | 2607573.9132 | 1227555.2903 | 2607575.8627 | 1227555.5921
34 | 2607581.6027 | 1227602.0069 | 2607575.3346 | 1227639.2432
35 | 2607581.6027 | 1227602.0069 | 2607614.4032 | 1227589.46
36 | 2607575.3346 | 1227639.2432 | 2607572.5589 | 1227639.3824
37 | 2607575.3346 | 1227639.2432 | 2607586.1876 | 1227643.4928 | 2607623.2556 | 1227649.7657 | 2607656.4524 | 1227655.3779 | 2607654.7425 | 1227665.1704
38 | 2607628.5532 | 1227577.452 | 2607627.7488 | 1227584.355 | 2607614.4032 | 1227589.46
39 | 2607453.0698 | 1227667.0177 | 2607452.2363 | 1227673.1091 | 2607453.307 | 1227677.324 | 2607456.0746 | 1227681.9413 | 2607459.7674 | 1227685.8593 | 2607463.5385 | 1227687.7763 | 2607494.1778 | 1227696.4974
40 | 2607453.0698 | 1227667.0177 | 2607467.6225 | 1227669.1658
41 | 2607440.4413 | 1227707.4481 | 2607426.9361 | 1227691.0773 | 2607431.0719 | 1227686.0794 | 2607432.1691 | 1227681.2001 | 2607432.8473 | 1227678.1547 | 2607433.1519 | 1227670.8063 | 2607430.8646 | 1227663.8105 | 2607444.1086 | 1227658.6794 | 2607446.4452 | 1227662.5068 | 2607453.0698 | 1227667.0177
42 | 2607467.6225 | 1227669.1658 | 2607507.7028 | 1227675.0819
43 | 2607440.4413 | 1227707.4481 | 2607447.1466 | 1227713.6396
44 | 2607644.4019 | 1227580.0625 | 2607628.5532 | 1227577.452
45 | 2607451.0138 | 1227736.1448 | 2607460.5926 | 1227729.1303 | 2607452.7629 | 1227718.8256 | 2607447.1466 | 1227713.6396
46 | 2607431.1856 | 1227747.2157 | 2607445.1986 | 1227738.9615 | 2607446.2662 | 1227739.5632 | 2607451.0138 | 1227736.1448
47 | 2607431.1856 | 1227747.2157 | 2607432.9856 | 1227749.9862 | 2607434.1276 | 1227751.7331 | 2607439.6565 | 1227759.8225 | 2607439.057 | 1227760.5333 | 2607438.8968 | 1227761.4447 | 2607439.2139 | 1227762.3123 | 2607439.9179 | 1227762.9024 | 2607440.8118 | 1227763.0592 | 2607441.6684 | 1227762.7489 | 2607446.7961 | 1227770.5488
48 | 2607431.1856 | 1227747.2157 | 2607424.4073 | 1227736.8246
49 | 2607654.7425 | 1227665.1704 | 2607691.5603 | 1227671.4656
50 | 2607565.183 | 1227697.6983 | 2607611.2432 | 1227705.361 | 2607612.7742 | 1227705.0628 | 2607617.4531 | 1227702.067 | 2607624.7356 | 1227695.5946 | 2607639.773 | 1227698.3264 | 2607642.4298 | 1227682.6539 | 2607645.6969 | 1227663.847 | 2607654.7425 | 1227665.1704
51 | 2607662.2425 | 1227808.7536 | 2607644.8304 | 1227821.3449
52 | 2607446.7961 | 1227770.5488 | 2607441.6684 | 1227762.7489 | 2607442.2754 | 1227762.0493 | 2607442.4433 | 1227761.1378 | 2607442.1185 | 1227760.2702 | 2607452.4922 | 1227753.7793 | 2607453.9481 | 1227752.8806 | 2607456.5491 | 1227751.2717 | 2607458.0278 | 1227750.3619 | 2607465.2605 | 1227759.2762 | 2607476.1201 | 1227752.0854
53 | 2607446.7961 | 1227770.5488 | 2607454.7306 | 1227781.7652 | 2607456.2129 | 1227784.024 | 2607456.5306 | 1227784.4468 | 2607455.287 | 1227785.2347 | 2607455.7559 | 1227785.9023 | 2607456.361 | 1227786.8147 | 2607456.8137 | 1227788.394 | 2607456.8807 | 1227789.3168 | 2607456.5906 | 1227791.0842 | 2607455.9523 | 1227792.5287
54 | 2607476.1201 | 1227752.0854 | 2607490.0058 | 1227742.5638 | 2607490.0058 | 1227742.5638
55 | 2607448.1821 | 1227801.5577 | 2607455.9523 | 1227792.5287
56 | 2607412.2839 | 1227818.023 | 2607430.6865 | 1227847.4295
57 | 2607412.2839 | 1227818.023 | 2607428.9093 | 1227807.8398
58 | 2607433.9895 | 1227852.7075 | 2607430.6865 | 1227847.4295
59 | 2607448.1821 | 1227801.5577 | 2607444.8265 | 1227800.6419 | 2607441.0603 | 1227800.9263 | 2607438.2781 | 1227802.1013 | 2607428.9093 | 1227807.8398
60 | 2607487.0936 | 1227738.022 | 2607490.0058 | 1227742.5638
61 | 2607448.1821 | 1227801.5577 | 2607450.938 | 1227803.2621 | 2607473.2721 | 1227824.129
62 | 2607442.8447 | 1227865.8454 | 2607436.8836 | 1227857.3322 | 2607433.9895 | 1227852.7075
63 | 2607526.9047 | 1227677.9162 | 2607507.7028 | 1227675.0819
64 | 2607478.971 | 1227829.4535 | 2607473.2721 | 1227824.129
65 | 2607478.971 | 1227829.4535 | 2607495.0863 | 1227844.5102
66 | 2607502.7671 | 1227851.6864 | 2607495.0863 | 1227844.5102
67 | 2607512.7418 | 1227861.0059 | 2607502.7671 | 1227851.6864
68 | 2607512.7418 | 1227861.0059 | 2607521.9719 | 1227869.6297
69 | 2607491.772 | 1227933.503 | 2607482.6822 | 1227921.3308
70 | 2607475.9725 | 1227912.346 | 2607482.6822 | 1227921.3308
71 | 2607599.5894 | 1227921.4606 | 2607619.0132 | 1227927.9325
72 | 2607475.9725 | 1227912.346 | 2607475.1087 | 1227911.1892
73 | 2607680.7999 | 1227831.6687 | 2607675.1009 | 1227826.5139 | 2607662.2425 | 1227808.7536
74 | 2607680.7999 | 1227831.6687 | 2607695.0779 | 1227817.5833
75 | 2607565.183 | 1227697.6983 | 2607530.1984 | 1227691.8842
76 | 2607526.9047 | 1227677.9162 | 2607525.6899 | 1227685.875 | 2607527.3374 | 1227689.3346 | 2607530.1984 | 1227691.8842
77 | 2607450.734 | 1227877.1123 | 2607442.8447 | 1227865.8454
78 | 2607531.6975 | 1227777.3254 | 2607539.5819 | 1227780.1258 | 2607543.0567 | 1227782.9873
79 | 2607450.734 | 1227877.1123 | 2607458.6621 | 1227888.4345
80 | 2607458.6621 | 1227888.4345 | 2607464.2795 | 1227896.4569
81 | 2607464.2795 | 1227896.4569 | 2607466.8734 | 1227900.1614 | 2607475.1087 | 1227911.1892

## bus_geodata
| x | y | coords
0 | 2607557.6819 | 1227861.0056
1 | 2607576.4129 | 1227871.415
2 | 2607551.4671 | 1227838.1431
3 | 2607561.1141 | 1227829.326
4 | 2607565.9111 | 1227863.272
5 | 2607574.7059 | 1227885.0765
6 | 2607587.9524 | 1227865.6595
7 | 2607570.4471 | 1227819.0744
8 | 2607563.1446 | 1227908.0977
9 | 2607601.8888 | 1227896.0282
10 | 2607595.2075 | 1227858.6406
11 | 2607614.7906 | 1227874.4292
12 | 2607576.9288 | 1227810.8799
13 | 2607581.8337 | 1227915.5444
14 | 2607531.6573 | 1227878.6788
15 | 2607554.9047 | 1227922.8624
16 | 2607615.4486 | 1227842.5918
17 | 2607631.7751 | 1227879.9791
18 | 2607499.9374 | 1227592.7271
19 | 2607501.8839 | 1227581.3724
20 | 2607495.4416 | 1227618.9532
21 | 2607493.6687 | 1227570.2444
22 | 2607538.6754 | 1227578.9059
23 | 2607458.5476 | 1227612.6702
24 | 2607527.0063 | 1227633.1566
25 | 2607573.9132 | 1227555.2903
26 | 2607581.6027 | 1227602.0069
27 | 2607575.3346 | 1227639.2432
28 | 2607614.4032 | 1227589.46
29 | 2607572.5589 | 1227639.3824
30 | 2607453.0698 | 1227667.0177
31 | 2607494.1778 | 1227696.4974
32 | 2607467.6225 | 1227669.1658
33 | 2607440.4413 | 1227707.4481
34 | 2607628.5532 | 1227577.452
35 | 2607644.4019 | 1227580.0625
36 | 2607451.0138 | 1227736.1448
37 | 2607447.1466 | 1227713.6396
38 | 2607431.1856 | 1227747.2157
39 | 2607575.8627 | 1227555.5921
40 | 2607654.7425 | 1227665.1704
41 | 2607626.8982 | 1227896.103
42 | 2607642.7386 | 1227883.563
43 | 2607597.8441 | 1227828.0987
44 | 2607644.8304 | 1227821.3449
45 | 2607424.4073 | 1227736.8246
46 | 2607446.7961 | 1227770.5488
47 | 2607476.1201 | 1227752.0854
48 | 2607455.9523 | 1227792.5287
49 | 2607412.2839 | 1227818.023
50 | 2607430.6865 | 1227847.4295
51 | 2607428.9093 | 1227807.8398
52 | 2607490.0058 | 1227742.5638
53 | 2607448.1821 | 1227801.5577
54 | 2607433.9895 | 1227852.7075
55 | 2607507.7028 | 1227675.0819
56 | 2607487.0936 | 1227738.022
57 | 2607473.2721 | 1227824.129
58 | 2607478.971 | 1227829.4535
59 | 2607495.0863 | 1227844.5102
60 | 2607502.7671 | 1227851.6864
61 | 2607512.7418 | 1227861.0059
62 | 2607547.2161 | 1227936.5599
63 | 2607491.772 | 1227933.503
64 | 2607482.6822 | 1227921.3308
65 | 2607599.5894 | 1227921.4606
66 | 2607521.9719 | 1227869.6297
67 | 2607475.9725 | 1227912.346
68 | 2607619.0132 | 1227927.9325
69 | 2607662.2425 | 1227808.7536
70 | 2607680.7999 | 1227831.6687
71 | 2607695.0779 | 1227817.5833
72 | 2607565.183 | 1227697.6983
73 | 2607530.1984 | 1227691.8842
74 | 2607691.5603 | 1227671.4656
75 | 2607526.9047 | 1227677.9162
76 | 2607442.8447 | 1227865.8454
77 | 2607543.0567 | 1227782.9873
78 | 2607450.734 | 1227877.1123
79 | 2607458.6621 | 1227888.4346
80 | 2607464.2795 | 1227896.4569
81 | 2607475.1087 | 1227911.1892
82 | 2607531.6975 | 1227777.3254
83 | 2607565.9698 | 1227692.6852

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97337 | -0.51224 | 0.0047316 | 0.0011859
1 | 0.97346 | -0.51031 | 0 | 0
2 | 0.97088 | -0.56136 | 0.0068545 | 0.0017179
3 | 0.97096 | -0.5597 | 0.0057972 | 0.0014529
4 | 0.97338 | -0.51199 | 0.0068549 | 0.001718
5 | 0.97382 | -0.50332 | 0 | 0
6 | 0.97316 | -0.51627 | 0 | 0
7 | 0.97113 | -0.55645 | 0.0059647 | 0.0014949
8 | 0.97438 | -0.49226 | 0 | 0
9 | 0.97362 | -0.50716 | 0.0070662 | 0.001771
10 | 0.97304 | -0.51872 | 0.0058067 | 0.0014553
11 | 0.97258 | -0.52778 | 0.0022634 | 0.00056725
12 | 0.97131 | -0.55286 | 0 | 0
13 | 0.97412 | -0.49744 | 0.0026321 | 0.00065967
14 | 0.97576 | -0.4651 | 0.0069806 | 0.0017495
15 | 0.97391 | -0.50154 | 0.008245 | 0.0020664
16 | 0.97247 | -0.52991 | 0 | 0
17 | 0.97225 | -0.53433 | 0 | 0
18 | 0.97764 | -0.42877 | 0.005115 | 0.0012819
19 | 0.97712 | -0.43894 | 0 | 0
20 | 0.97896 | -0.40285 | 0 | 0
21 | 0.97685 | -0.44414 | 0.014568 | 0.0036511
22 | 0.97554 | -0.46989 | 0 | 0
23 | 0.97886 | -0.40478 | 0.0028532 | 0.00071508
24 | 0.98099 | -0.36316 | 0 | 0
25 | 0.97362 | -0.50769 | 0.030569 | 0.0076613
26 | 0.97952 | -0.39179 | 0 | 0
27 | 0.98368 | -0.31106 | 0 | 0
28 | 0.97565 | -0.46748 | 0.037864 | 0.0094896
29 | 0.98341 | -0.31621 | 0.046549 | 0.011666
30 | 0.99224 | -0.14645 | 0 | 0
31 | 0.99206 | -0.14987 | 0.0033777 | 0.00084654
32 | 0.99312 | -0.12971 | 0.0062545 | 0.0015675
33 | 0.98768 | -0.23363 | 0 | 0
34 | 0.97406 | -0.49876 | 0 | 0
35 | 0.97286 | -0.52242 | 0.080314 | 0.020129
36 | 0.98529 | -0.2796 | 0 | 0
37 | 0.98714 | -0.24398 | 0.0088494 | 0.0022179
38 | 0.98396 | -0.30525 | 0 | 0
39 | 0.97362 | -0.5078 | 0.0032468 | 0.00081372
40 | 0.99322 | -0.12793 | 0 | 0
41 | 0.97209 | -0.53743 | 0.0099871 | 0.002503
42 | 0.97214 | -0.53643 | 0.0098878 | 0.0024781
43 | 0.97187 | -0.54174 | 0.0059286 | 0.0014858
44 | 0.97183 | -0.54249 | 0.0098545 | 0.0024698
45 | 0.98391 | -0.30623 | 0.0044032 | 0.0011035
46 | 0.98228 | -0.33783 | 0 | 0
47 | 0.98211 | -0.34104 | 0 | 0
48 | 0.98083 | -0.36605 | 0.0032095 | 0.00080437
49 | 0.97842 | -0.41315 | 0 | 0
50 | 0.97705 | -0.43994 | 0.0042949 | 0.0010764
51 | 0.97918 | -0.39813 | 0.0079885 | 0.0020021
52 | 0.98206 | -0.34202 | 0.0018347 | 0.00045983
53 | 0.98018 | -0.37869 | 0 | 0
54 | 0.97683 | -0.44427 | 0.0073864 | 0.0018512
55 | 0.99561 | -0.082671 | 0.0035408 | 0.0008874
56 | 0.98206 | -0.34215 | 0.0013778 | 0.00034531
57 | 0.97873 | -0.40691 | 0.0059986 | 0.0015034
58 | 0.97841 | -0.41322 | 0.0076341 | 0.0019133
59 | 0.97753 | -0.43032 | 0.0066951 | 0.001678
60 | 0.97713 | -0.43815 | 0.008881 | 0.0022258
61 | 0.97664 | -0.44779 | 0.0063558 | 0.0015929
62 | 0.97359 | -0.5078 | 0.021662 | 0.0054289
63 | 0.97527 | -0.47497 | 0.0044178 | 0.0011072
64 | 0.97533 | -0.47374 | 0.0014576 | 0.0003653
65 | 0.97392 | -0.50134 | 0.005093 | 0.0012764
66 | 0.97621 | -0.45634 | 0.0037438 | 0.00093828
67 | 0.9754 | -0.47253 | 0.0022922 | 0.00057447
68 | 0.9738 | -0.5037 | 0.0062633 | 0.0015697
69 | 0.97165 | -0.54604 | 0 | 0
70 | 0.97141 | -0.55094 | 0 | 0
71 | 0.97124 | -0.55426 | 0.0089589 | 0.0022453
72 | 1 | 0 | -0.51789 | -0.13363
73 | 0.99779 | -0.041531 | 0.0011325 | 0.00028382
74 | 0.99268 | -0.13849 | 0.016044 | 0.0040209
75 | 0.99681 | -0.059915 | 0 | 0
76 | 0.97638 | -0.45316 | 0.0051019 | 0.0012787
77 | 0.97116 | -0.55578 | 0.0011258 | 0.00028216
78 | 0.97605 | -0.45959 | 0.0034032 | 0.00085293
79 | 0.97577 | -0.4652 | 0.0069039 | 0.0017303
80 | 0.97563 | -0.46793 | 0.0021664 | 0.00054294
81 | 0.97541 | -0.47232 | 0.0049284 | 0.0012352
82 | 0.97113 | -0.55637 | 0.0024759 | 0.00062053
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0047316 | -0.0011859 | 0.004732 | 0.0011859 | 4.3465e-07 | 2.7914e-09 | 0.0072334 | 0.0072333 | 0.0072334 | 0.97337 | -0.51224 | 0.97346 | -0.51031 | 1.9872
1 | 0.0068555 | 0.0017182 | -0.0068549 | -0.001718 | 5.4724e-07 | 1.8504e-07 | 0.010479 | 0.010479 | 0.010479 | 0.97346 | -0.51031 | 0.97338 | -0.51199 | 2.8789
2 | -0.086616 | -0.02175 | 0.086645 | 0.021768 | 2.8897e-05 | 1.762e-05 | 0.13242 | 0.13241 | 0.13242 | 0.97346 | -0.51031 | 0.97382 | -0.50332 | 9.0944
3 | 0.075029 | 0.018846 | -0.075007 | -0.018833 | 2.1324e-05 | 1.2788e-05 | 0.1147 | 0.1147 | 0.1147 | 0.97346 | -0.51031 | 0.97316 | -0.51627 | 7.8779
4 | -0.0068545 | -0.0017179 | 0.006855 | 0.0017181 | 5.4177e-07 | 1.8484e-07 | 0.010505 | 0.010505 | 0.010505 | 0.97088 | -0.56136 | 0.97096 | -0.5597 | 2.8861
5 | -0.012652 | -0.003171 | 0.012654 | 0.0031721 | 1.9562e-06 | 1.0803e-06 | 0.01939 | 0.01939 | 0.01939 | 0.97096 | -0.5597 | 0.97113 | -0.55645 | 5.3269
6 | -0.093713 | -0.023539 | 0.093762 | 0.02357 | 4.9511e-05 | 3.0405e-05 | 0.14321 | 0.14321 | 0.14321 | 0.97382 | -0.50332 | 0.97438 | -0.49226 | 9.8361
7 | 0.0070675 | 0.0017714 | -0.0070662 | -0.001771 | 1.2942e-06 | 4.602e-07 | 0.010799 | 0.010799 | 0.010799 | 0.97382 | -0.50332 | 0.97362 | -0.50716 | 2.9669
8 | 0.052848 | 0.013273 | -0.052842 | -0.013269 | 6.1813e-06 | 3.4544e-06 | 0.080818 | 0.080818 | 0.080818 | 0.97316 | -0.51627 | 0.97304 | -0.51872 | 5.5507
9 | 0.022159 | 0.0055608 | -0.022147 | -0.0055533 | 1.2157e-05 | 7.43e-06 | 0.033885 | 0.033885 | 0.033885 | 0.97316 | -0.51627 | 0.97258 | -0.52778 | 9.3091
10 | -0.018619 | -0.004667 | 0.018622 | 0.0046689 | 3.1889e-06 | 1.9116e-06 | 0.028529 | 0.028529 | 0.028529 | 0.97113 | -0.55645 | 0.97131 | -0.55286 | 7.8377
11 | 0.013995 | 0.0035091 | -0.013991 | -0.0035072 | 3.4545e-06 | 1.9597e-06 | 0.021373 | 0.021373 | 0.021373 | 0.97438 | -0.49226 | 0.97412 | -0.49744 | 5.8716
12 | -0.13768 | -0.034586 | 0.13786 | 0.034698 | 0.00017865 | 0.00011219 | 0.21029 | 0.21029 | 0.21029 | 0.97438 | -0.49226 | 0.97576 | -0.4651 | 14.443
13 | 0.029926 | 0.0075075 | -0.029913 | -0.0074992 | 1.3245e-05 | 8.2662e-06 | 0.045704 | 0.045704 | 0.045704 | 0.97438 | -0.49226 | 0.97391 | -0.50154 | 12.5562
14 | 0.047035 | 0.011814 | -0.04701 | -0.011798 | 2.5093e-05 | 1.5418e-05 | 0.071938 | 0.071938 | 0.071938 | 0.97304 | -0.51872 | 0.97247 | -0.52991 | 9.8817
15 | 0.019884 | 0.0049861 | -0.019877 | -0.0049823 | 6.2015e-06 | 3.7473e-06 | 0.030422 | 0.030422 | 0.030422 | 0.97258 | -0.52778 | 0.97225 | -0.53433 | 8.3578
16 | 0.0036024 | 0.00090236 | -0.0036019 | -0.00090258 | 5.0112e-07 | -2.2229e-07 | 0.0055185 | 0.0055187 | 0.0055187 | 0.97131 | -0.55286 | 0.97116 | -0.55578 | 1.5161
17 | -0.022224 | -0.0055712 | 0.022236 | 0.0055784 | 1.1777e-05 | 7.2017e-06 | 0.034048 | 0.034047 | 0.034048 | 0.97131 | -0.55286 | 0.97187 | -0.54174 | 9.3537
18 | 0.011359 | 0.0028475 | -0.011357 | -0.0028464 | 2.1131e-06 | 1.1195e-06 | 0.017352 | 0.017352 | 0.017352 | 0.97412 | -0.49744 | 0.97392 | -0.50134 | 4.767
19 | -0.14484 | -0.036448 | 0.1449 | 0.036486 | 6.0657e-05 | 3.8158e-05 | 0.22094 | 0.22093 | 0.22094 | 0.97576 | -0.4651 | 0.97621 | -0.45634 | 15.1741
20 | 0.021668 | 0.0054329 | -0.021662 | -0.0054289 | 6.4565e-06 | 3.9367e-06 | 0.033107 | 0.033107 | 0.033107 | 0.97391 | -0.50154 | 0.97359 | -0.5078 | 9.0954
21 | 0.028181 | 0.0070742 | -0.028165 | -0.0070643 | 1.5903e-05 | 9.8949e-06 | 0.043124 | 0.043125 | 0.043125 | 0.97247 | -0.52991 | 0.97187 | -0.54174 | 11.8474
22 | 0.01883 | 0.0047242 | -0.018818 | -0.0047174 | 1.1289e-05 | 6.7754e-06 | 0.028814 | 0.028814 | 0.028814 | 0.97247 | -0.52991 | 0.97183 | -0.54249 | 7.916
23 | 0.0099886 | 0.0025037 | -0.0099871 | -0.002503 | 1.4764e-06 | 7.36e-07 | 0.015288 | 0.015288 | 0.015288 | 0.97225 | -0.53433 | 0.97209 | -0.53743 | 4.1999
24 | 0.0098888 | 0.0024786 | -0.0098878 | -0.0024781 | 9.9078e-07 | 4.9108e-07 | 0.015135 | 0.015135 | 0.015135 | 0.97225 | -0.53433 | 0.97214 | -0.53643 | 4.1579
25 | 0.048522 | 0.012213 | -0.048498 | -0.012198 | 2.3575e-05 | 1.4944e-05 | 0.073872 | 0.073872 | 0.073872 | 0.97764 | -0.42877 | 0.97712 | -0.43894 | 20.2944
26 | -0.053637 | -0.013495 | 0.053703 | 0.013537 | 6.6533e-05 | 4.2247e-05 | 0.081657 | 0.081657 | 0.081657 | 0.97764 | -0.42877 | 0.97896 | -0.40285 | 22.4333
27 | 0.014572 | 0.0036531 | -0.014568 | -0.0036511 | 3.6089e-06 | 2.065e-06 | 0.022191 | 0.022191 | 0.022191 | 0.97712 | -0.43894 | 0.97685 | -0.44414 | 6.0964
28 | 0.033927 | 0.0085447 | -0.033877 | -0.0085133 | 5.0131e-05 | 3.1458e-05 | 0.051681 | 0.051681 | 0.051681 | 0.97712 | -0.43894 | 0.97554 | -0.46989 | 14.1981
29 | 0.0028535 | 0.00071478 | -0.0028532 | -0.00071508 | 2.6326e-07 | -3.0068e-07 | 0.0043371 | 0.0043373 | 0.0043373 | 0.97896 | -0.40285 | 0.97886 | -0.40478 | 1.1916
30 | -0.056557 | -0.014252 | 0.056665 | 0.01432 | 0.0001076 | 6.8372e-05 | 0.085994 | 0.085994 | 0.085994 | 0.97896 | -0.40285 | 0.98099 | -0.36316 | 23.6247
31 | 0.033877 | 0.0085133 | -0.033816 | -0.008475 | 6.0997e-05 | 3.8279e-05 | 0.051681 | 0.051681 | 0.051681 | 0.97554 | -0.46989 | 0.97362 | -0.50769 | 14.1982
32 | -0.056665 | -0.01432 | 0.056792 | 0.014401 | 0.00012786 | 8.1248e-05 | 0.085994 | 0.085994 | 0.085994 | 0.98099 | -0.36316 | 0.98341 | -0.31621 | 23.6247
33 | 0.0032468 | 0.00081371 | -0.0032468 | -0.00081372 | 1.8216e-08 | -1.2875e-08 | 0.0049622 | 0.0049622 | 0.0049622 | 0.97362 | -0.50769 | 0.97362 | -0.5078 | 1.3632
34 | -0.11882 | -0.030027 | 0.11928 | 0.030322 | 0.00046183 | 0.00029509 | 0.18059 | 0.18059 | 0.18059 | 0.97952 | -0.39179 | 0.98368 | -0.31106 | 49.6124
35 | 0.11882 | 0.030027 | -0.11839 | -0.029753 | 0.00042949 | 0.00027443 | 0.18059 | 0.18059 | 0.18059 | 0.97952 | -0.39179 | 0.97565 | -0.46748 | 49.6125
36 | 0.10337 | 0.026084 | -0.10334 | -0.026068 | 2.5502e-05 | 1.6286e-05 | 0.15643 | 0.15643 | 0.15643 | 0.98368 | -0.31106 | 0.98341 | -0.31621 | 42.9748
37 | -0.22265 | -0.056406 | 0.22462 | 0.057669 | 0.0019775 | 0.0012633 | 0.33702 | 0.33702 | 0.33702 | 0.98368 | -0.31106 | 0.99322 | -0.12793 | 46.2936
38 | 0.080525 | 0.020263 | -0.080404 | -0.020186 | 0.00012018 | 7.6652e-05 | 0.12284 | 0.12284 | 0.12284 | 0.97565 | -0.46748 | 0.97406 | -0.49876 | 33.7476
39 | 0.0033783 | 0.00084615 | -0.0033777 | -0.00084654 | 5.5098e-07 | -3.8666e-07 | 0.005066 | 0.0050663 | 0.0050663 | 0.99224 | -0.14645 | 0.99206 | -0.14987 | 1.3918
40 | -0.26121 | -0.067017 | 0.26142 | 0.067152 | 0.00021221 | 0.00013506 | 0.39227 | 0.39227 | 0.39227 | 0.99224 | -0.14645 | 0.99312 | -0.12971 | 26.9419
41 | 0.25783 | 0.066171 | -0.25674 | -0.06548 | 0.0010858 | 0.00069093 | 0.38721 | 0.38721 | 0.38721 | 0.99224 | -0.14645 | 0.98768 | -0.23363 | 26.594
42 | -0.26767 | -0.068719 | 0.26829 | 0.069109 | 0.00061272 | 0.00039004 | 0.40164 | 0.40164 | 0.40164 | 0.99312 | -0.12971 | 0.99561 | -0.082671 | 27.5855
43 | 0.25674 | 0.06548 | -0.25661 | -0.065398 | 0.00012829 | 8.1635e-05 | 0.38721 | 0.38721 | 0.38721 | 0.98768 | -0.23363 | 0.98714 | -0.24398 | 26.594
44 | 0.080404 | 0.020186 | -0.080314 | -0.020129 | 9.0631e-05 | 5.7804e-05 | 0.12284 | 0.12284 | 0.12284 | 0.97406 | -0.49876 | 0.97286 | -0.52242 | 33.7477
45 | -0.24734 | -0.06291 | 0.24776 | 0.06318 | 0.00042535 | 0.00027057 | 0.37387 | 0.37387 | 0.37387 | 0.98529 | -0.2796 | 0.98714 | -0.24398 | 25.6779
46 | 0.24734 | 0.06291 | -0.24703 | -0.062715 | 0.00030521 | 0.00019415 | 0.37387 | 0.37387 | 0.37387 | 0.98529 | -0.2796 | 0.98396 | -0.30525 | 25.6779
47 | 0.24263 | 0.061612 | -0.24225 | -0.06137 | 0.00037975 | 0.00024152 | 0.36721 | 0.36721 | 0.36721 | 0.98396 | -0.30525 | 0.98228 | -0.33783 | 25.2206
48 | 0.0044034 | 0.0011035 | -0.0044032 | -0.0011035 | 2.063e-07 | -2.5541e-08 | 0.0066591 | 0.0066591 | 0.0066591 | 0.98396 | -0.30525 | 0.98391 | -0.30623 | 1.8294
49 | 0.016052 | 0.0040256 | -0.016044 | -0.0040209 | 8.078e-06 | 4.6882e-06 | 0.024049 | 0.024049 | 0.024049 | 0.99322 | -0.12793 | 0.99268 | -0.13849 | 6.6069
50 | -0.24068 | -0.061695 | 0.24218 | 0.06265 | 0.0015028 | 0.0009554 | 0.36106 | 0.36106 | 0.36106 | 0.99322 | -0.12793 | 1 | 0 | 24.7984
51 | 0.008964 | 0.0022477 | -0.0089625 | -0.002247 | 1.518e-06 | 7.0534e-07 | 0.013726 | 0.013726 | 0.013726 | 0.97183 | -0.54249 | 0.97165 | -0.54604 | 3.7708
52 | 0.0032132 | 0.00080457 | -0.0032127 | -0.00080496 | 4.9184e-07 | -3.8588e-07 | 0.0048673 | 0.0048675 | 0.0048675 | 0.98228 | -0.33783 | 0.98211 | -0.34104 | 1.3372
53 | 0.23904 | 0.060566 | -0.23871 | -0.06036 | 0.00032361 | 0.00020578 | 0.36234 | 0.36235 | 0.36235 | 0.98228 | -0.33783 | 0.98083 | -0.36605 | 24.8864
54 | 0.0032127 | 0.00080496 | -0.0032125 | -0.00080507 | 1.4959e-07 | -1.1731e-07 | 0.0048675 | 0.0048676 | 0.0048676 | 0.98211 | -0.34104 | 0.98206 | -0.34202 | 1.3373
55 | 0.2355 | 0.059556 | -0.23536 | -0.059465 | 0.00014271 | 9.0734e-05 | 0.35748 | 0.35748 | 0.35748 | 0.98083 | -0.36605 | 0.98018 | -0.37869 | 24.5519
56 | 0.042447 | 0.010673 | -0.042393 | -0.010639 | 5.4233e-05 | 3.4274e-05 | 0.064568 | 0.064568 | 0.064568 | 0.97842 | -0.41315 | 0.97705 | -0.43994 | 17.7384
57 | -0.042447 | -0.010673 | 0.042477 | 0.010692 | 3.048e-05 | 1.9262e-05 | 0.064568 | 0.064568 | 0.064568 | 0.97842 | -0.41315 | 0.97918 | -0.39813 | 17.7384
58 | 0.038098 | 0.0095625 | -0.03809 | -0.0095575 | 7.8617e-06 | 4.9536e-06 | 0.058027 | 0.058027 | 0.058027 | 0.97705 | -0.43994 | 0.97683 | -0.44427 | 15.9414
59 | -0.050466 | -0.012695 | 0.050513 | 0.012724 | 4.6914e-05 | 2.9758e-05 | 0.076707 | 0.076707 | 0.076707 | 0.97918 | -0.39813 | 0.98018 | -0.37869 | 21.0734
60 | 0.0013778 | 0.00034524 | -0.0013778 | -0.00034531 | 8.8174e-09 | -6.2622e-08 | 0.0020876 | 0.0020876 | 0.0020876 | 0.98206 | -0.34202 | 0.98206 | -0.34215 | 0.57352
61 | 0.18485 | 0.046741 | -0.1846 | -0.046582 | 0.00024984 | 0.0001582 | 0.28077 | 0.28077 | 0.28077 | 0.98018 | -0.37869 | 0.97873 | -0.40691 | 19.2836
62 | 0.030704 | 0.0077063 | -0.030691 | -0.0076982 | 1.3003e-05 | 8.1236e-06 | 0.046775 | 0.046775 | 0.046775 | 0.97683 | -0.44427 | 0.97638 | -0.45316 | 12.8503
63 | -0.27183 | -0.069997 | 0.27213 | 0.070189 | 0.00030133 | 0.00019184 | 0.40694 | 0.40693 | 0.40694 | 0.99561 | -0.082671 | 0.99681 | -0.059915 | 27.9489
64 | 0.1786 | 0.045079 | -0.17855 | -0.045045 | 5.3956e-05 | 3.414e-05 | 0.27165 | 0.27165 | 0.27165 | 0.97873 | -0.40691 | 0.97841 | -0.41322 | 18.6573
65 | 0.17091 | 0.043132 | -0.17077 | -0.043043 | 0.00013981 | 8.8374e-05 | 0.26004 | 0.26004 | 0.26004 | 0.97841 | -0.41322 | 0.97753 | -0.43032 | 17.8599
66 | 0.16408 | 0.041365 | -0.16402 | -0.041326 | 6.1517e-05 | 3.8844e-05 | 0.24985 | 0.24985 | 0.24985 | 0.97753 | -0.43032 | 0.97713 | -0.43815 | 17.16
67 | 0.15514 | 0.039101 | -0.15506 | -0.039056 | 7.1475e-05 | 4.506e-05 | 0.23632 | 0.23632 | 0.23632 | 0.97713 | -0.43815 | 0.97664 | -0.44779 | 16.2311
68 | 0.14871 | 0.037463 | -0.14865 | -0.037424 | 6.083e-05 | 3.8299e-05 | 0.22664 | 0.22664 | 0.22664 | 0.97664 | -0.44779 | 0.97621 | -0.45634 | 15.566
69 | -0.0044178 | -0.0011072 | 0.004418 | 0.0011072 | 2.5882e-07 | -2.3934e-08 | 0.0067404 | 0.0067403 | 0.0067404 | 0.97527 | -0.47497 | 0.97533 | -0.47374 | 1.8518
70 | -0.0058756 | -0.0014725 | 0.0058759 | 0.0014725 | 3.379e-07 | 7.6298e-08 | 0.008964 | 0.008964 | 0.008964 | 0.97533 | -0.47374 | 0.9754 | -0.47253 | 2.4627
71 | 0.006264 | 0.0015699 | -0.0062633 | -0.0015697 | 7.0324e-07 | 1.9534e-07 | 0.0095706 | 0.0095707 | 0.0095707 | 0.97392 | -0.50134 | 0.9738 | -0.5037 | 2.6293
72 | -0.0081681 | -0.002047 | 0.0081682 | 0.0020471 | 8.4062e-08 | 3.578e-08 | 0.012461 | 0.012461 | 0.012461 | 0.9754 | -0.47253 | 0.97541 | -0.47232 | 3.4233
73 | 0.0089625 | 0.002247 | -0.0089604 | -0.002246 | 2.0898e-06 | 9.7116e-07 | 0.013726 | 0.013726 | 0.013726 | 0.97165 | -0.54604 | 0.97141 | -0.55094 | 3.7708
74 | 0.0089604 | 0.002246 | -0.0089589 | -0.0022453 | 1.417e-06 | 6.586e-07 | 0.013726 | 0.013726 | 0.013726 | 0.97141 | -0.55094 | 0.97124 | -0.55426 | 3.7708
75 | 0.27406 | 0.070981 | -0.2735 | -0.070628 | 0.00055515 | 0.00035344 | 0.40862 | 0.40862 | 0.40862 | 1 | 0 | 0.99779 | -0.041531 | 28.0648
76 | 0.27237 | 0.070344 | -0.27213 | -0.070189 | 0.00024397 | 0.00015532 | 0.40693 | 0.40693 | 0.40693 | 0.99779 | -0.041531 | 0.99681 | -0.059915 | 27.9488
77 | 0.025589 | 0.0064196 | -0.025581 | -0.0064147 | 7.8451e-06 | 4.8489e-06 | 0.039 | 0.039 | 0.039 | 0.97638 | -0.45316 | 0.97605 | -0.45959 | 10.7142
78 | 0.002476 | 0.00062041 | -0.0024759 | -0.00062053 | 6.9452e-08 | -1.1477e-07 | 0.0037937 | 0.0037938 | 0.0037938 | 0.97116 | -0.55578 | 0.97113 | -0.55637 | 1.0422
79 | 0.022178 | 0.0055618 | -0.022172 | -0.0055582 | 5.9256e-06 | 3.6197e-06 | 0.033812 | 0.033812 | 0.033812 | 0.97605 | -0.45959 | 0.97577 | -0.4652 | 9.2889
80 | 0.015268 | 0.0038279 | -0.015266 | -0.0038267 | 1.991e-06 | 1.1519e-06 | 0.023283 | 0.023283 | 0.023283 | 0.97577 | -0.4652 | 0.97563 | -0.46793 | 6.3965
81 | 0.013099 | 0.0032838 | -0.013097 | -0.0032822 | 2.7372e-06 | 1.5235e-06 | 0.019979 | 0.019979 | 0.019979 | 0.97563 | -0.46793 | 0.97541 | -0.47232 | 5.4888

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51789 | 0.13363

## res_load
| p_mw | q_mvar
0 | 0.0047316 | 0.0011859
1 | 0.0068545 | 0.0017179
2 | 0.0057972 | 0.0014529
3 | 0.0068549 | 0.001718
4 | 0.0059647 | 0.0014949
5 | 0.0070662 | 0.001771
6 | 0.0058067 | 0.0014553
7 | 0.0022634 | 0.00056725
8 | 0.0026321 | 0.00065967
9 | 0.0069806 | 0.0017495
10 | 0.008245 | 0.0020664
11 | 0.005115 | 0.0012819
12 | 0.014568 | 0.0036511
13 | 0.0028532 | 0.00071508
14 | 0.030569 | 0.0076613
15 | 0.037864 | 0.0094896
16 | 0.046549 | 0.011666
17 | 0.0033777 | 0.00084654
18 | 0.0062545 | 0.0015675
19 | 0.080314 | 0.020129
20 | 0.0088494 | 0.0022179
21 | 0.0032468 | 0.00081372
22 | 0.0099871 | 0.002503
23 | 0.0098878 | 0.0024781
24 | 0.0059286 | 0.0014858
25 | 0.0098545 | 0.0024698
26 | 0.0044032 | 0.0011035
27 | 0.0032095 | 0.00080437
28 | 0.0042949 | 0.0010764
29 | 0.0079885 | 0.0020021
30 | 0.0018347 | 0.00045983
31 | 0.0073864 | 0.0018512
32 | 0.0035408 | 0.0008874
33 | 0.0013778 | 0.00034531
34 | 0.0059986 | 0.0015034
35 | 0.0076341 | 0.0019133
36 | 0.0066951 | 0.001678
37 | 0.008881 | 0.0022258
38 | 0.0063558 | 0.0015929
39 | 0.021662 | 0.0054289
40 | 0.0044178 | 0.0011072
41 | 0.0014576 | 0.0003653
42 | 0.005093 | 0.0012764
43 | 0.0037438 | 0.00093828
44 | 0.0022922 | 0.00057447
45 | 0.0062633 | 0.0015697
46 | 0.0089589 | 0.0022453
47 | 0.0011325 | 0.00028382
48 | 0.016044 | 0.0040209
49 | 0.0051019 | 0.0012787
50 | 0.0011258 | 0.00028216
51 | 0.0034032 | 0.00085293
52 | 0.0069039 | 0.0017303
53 | 0.0021664 | 0.00054294
54 | 0.0049284 | 0.0012352
55 | 0.0024759 | 0.00062053

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1