## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-46_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-46_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-46_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-46_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-46_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2601-46_0_5_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_2601-46_0_5_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2601-46_0_5_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2601-46_0_5_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_2601-46_0_5_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_2601-46_0_5_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_2601-46_0_5_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_2601-46_0_5_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_2601-46_0_5_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_2601-46_0_5_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_2601-46_0_5_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_2601-46_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2601-46_0_5_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2601-46_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2601-46_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2601-46_0_5_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_2601-46_0_5_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2601-46_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2601-46_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2601-46_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2601-46_0_5_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_2601-46_0_5_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_2601-46_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_2601-46_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2601-46_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2601-46_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2601-46_0_5_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_2601-46_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2601-46_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2601-46_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2601-46_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2601-46_0_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_2601-46_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2601-46_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2601-46_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2601-46_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2601-46_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2601-46_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2601-46_0_5_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2601-46_0_5_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2601-46_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_2601-46_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2601-46_0_5_node_55 | 0.4 | n |  | TRUE
48 | bus_MV_395_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-46_0_5_load_0 | 0 | 0.010395 | 0.0026051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-46_0_5_load_1 | 1 | 0.017224 | 0.0043167 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-46_0_5_load_50 | 5 | 0.011441 | 0.0028675 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-46_0_5_load_46 | 8 | 0.022339 | 0.0055986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-46_0_5_load_41 | 11 | 0.076108 | 0.019074 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-46_0_5_load_35 | 13 | 0.06082 | 0.015243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-46_0_5_load_33 | 14 | 0.049538 | 0.012415 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-46_0_5_load_5 | 15 | 0.0039414 | 0.00098781 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-46_0_5_load_6 | 17 | 0.0022805 | 0.00057155 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-46_0_5_load_8 | 18 | 0.0041684 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-46_0_5_load_9 | 19 | 0.0053277 | 0.0013352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-46_0_5_load_52 | 20 | 0.0027169 | 0.00068092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-46_0_5_load_38 | 21 | 0.010792 | 0.0027048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-46_0_5_load_16 | 24 | 0.0047708 | 0.0011957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-46_0_5_load_49 | 25 | 0.024016 | 0.0060189 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-46_0_5_load_39 | 27 | 0.0075869 | 0.0019015 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-46_0_5_load_24 | 28 | 0.0045812 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-46_0_5_load_22 | 29 | 0.0043304 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-46_0_5_load_15 | 30 | 0.014339 | 0.0035936 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-46_0_5_load_53 | 31 | 0.0064337 | 0.0016124 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-46_0_5_load_17 | 32 | 0.0048123 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-46_0_5_load_31 | 34 | 0.011266 | 0.0028236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-46_0_5_load_37 | 35 | 0.0027936 | 0.00070013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-46_0_5_load_45 | 36 | 0.0029806 | 0.00074702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-46_0_5_load_29 | 37 | 0.0099125 | 0.0024843 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-46_0_5_load_27 | 38 | 0.007515 | 0.0018834 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-46_0_5_load_21 | 39 | 0.0045086 | 0.0011299 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-46_0_5_load_23 | 40 | 0.010195 | 0.0025551 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-46_0_5_load_25 | 41 | 0.021395 | 0.005362 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-46_0_5_load_26 | 42 | 0.016795 | 0.0042093 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-46_0_5_load_42 | 43 | 0.036562 | 0.0091633 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-46_0_5_load_43 | 44 | 0.0044361 | 0.0011118 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-46_0_5_load_54 | 45 | 0.0058518 | 0.0014666 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-46_0_5_load_55 | 47 | 0.003052 | 0.0007649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-46_0_5_line_0 |  | 0 | 1 | 0.039202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-46_0_5_line_1 |  | 0 | 2 | 0.029314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-46_0_5_line_2 |  | 1 | 3 | 0.0025559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-46_0_5_line_3 |  | 2 | 4 | 0.075426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-46_0_5_line_4 |  | 3 | 5 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-46_0_5_line_5 |  | 4 | 6 | 0.043342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2601-46_0_5_line_6 |  | 4 | 7 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2601-46_0_5_line_7 |  | 4 | 8 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2601-46_0_5_line_8 |  | 5 | 9 | 0.02068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-46_0_5_line_9 |  | 6 | 11 | 0.02841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2601-46_0_5_line_10 |  | 6 | 12 | 0.040949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-46_0_5_line_11 |  | 7 | 13 | 0.035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-46_0_5_line_12 |  | 7 | 14 | 0.036259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-46_0_5_line_13 |  | 9 | 10 | 0.004007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-46_0_5_line_14 |  | 10 | 47 | 0.029362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-46_0_5_line_15 |  | 11 | 34 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-46_0_5_line_16 |  | 12 | 42 | 0.038165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-46_0_5_line_17 |  | 13 | 43 | 0.012497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-46_0_5_line_18 |  | 14 | 41 | 0.014085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-46_0_5_line_19 |  | 15 | 16 | 0.01493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-46_0_5_line_20 |  | 16 | 19 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-46_0_5_line_21 |  | 17 | 18 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-46_0_5_line_22 |  | 18 | 20 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-46_0_5_line_23 |  | 19 | 21 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-46_0_5_line_24 |  | 20 | 26 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-46_0_5_line_25 |  | 21 | 27 | 0.015567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-46_0_5_line_26 |  | 22 | 23 | 0.059114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-46_0_5_line_27 |  | 22 | 24 | 0.072959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-46_0_5_line_28 |  | 23 | 25 | 0.027869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-46_0_5_line_29 |  | 24 | 30 | 0.0043185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-46_0_5_line_30 |  | 26 | 31 | 0.023699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-46_0_5_line_31 |  | 26 | 46 | 0.037085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-46_0_5_line_32 |  | 27 | 46 | 0.013383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-46_0_5_line_33 |  | 28 | 29 | 0.01452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-46_0_5_line_34 |  | 29 | 39 | 0.0085152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-46_0_5_line_35 |  | 30 | 32 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-46_0_5_line_36 |  | 32 | 33 | 0.042792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-46_0_5_line_37 |  | 33 | 34 | 0.022565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-46_0_5_line_38 |  | 33 | 35 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-46_0_5_line_39 |  | 35 | 36 | 0.016992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-46_0_5_line_40 |  | 36 | 46 | 0.017314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2601-46_0_5_line_41 |  | 37 | 38 | 0.023868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2601-46_0_5_line_42 |  | 38 | 42 | 0.024068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2601-46_0_5_line_43 |  | 39 | 40 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2601-46_0_5_line_44 |  | 40 | 41 | 0.017164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-46_0_5_line_45 |  | 43 | 44 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2601-46_0_5_line_46 |  | 44 | 45 | 0.038658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-46_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 48 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2606567.0944 | 1229264.6259 | 2606602.0932 | 1229282.2854
1 | 2606542.5074 | 1229249.2154 | 2606548.7503 | 1229255.3703 | 2606554.0728 | 1229258.0555 | 2606567.0944 | 1229264.6259
2 | 2606604.3751 | 1229283.4367 | 2606602.0932 | 1229282.2854
3 | 2606558.0859 | 1229176.4225 | 2606558.5241 | 1229184.4389 | 2606541.3187 | 1229241.6541 | 2606542.5074 | 1229249.2154
4 | 2606604.3751 | 1229283.4367 | 2606598.0215 | 1229304.3902
5 | 2606558.0859 | 1229176.4225 | 2606557.6255 | 1229167.9392 | 2606569.0777 | 1229162.6375 | 2606581.3718 | 1229156.514 | 2606588.8833 | 1229152.5532
6 | 2606551.5734 | 1229160.3948 | 2606557.6255 | 1229167.9392 | 2606558.0859 | 1229176.4225
7 | 2606558.0859 | 1229176.4225 | 2606568.3123 | 1229174.0598
8 | 2606592.0206 | 1229324.1807 | 2606598.0215 | 1229304.3902
9 | 2606588.8833 | 1229152.5532 | 2606573.9811 | 1229133.0141 | 2606573.6212 | 1229129.1948
10 | 2606623.5272 | 1229130.6116 | 2606610.9802 | 1229139.3807 | 2606588.8833 | 1229152.5532
11 | 2606551.5734 | 1229160.3948 | 2606519.2932 | 1229174.6766
12 | 2606551.5734 | 1229160.3948 | 2606542.0915 | 1229151.0901 | 2606519.5481 | 1229146.6616
13 | 2606592.0206 | 1229324.1807 | 2606590.8573 | 1229328.015
14 | 2606590.8573 | 1229328.015 | 2606570.6802 | 1229325.1357 | 2606564.5066 | 1229324.9066 | 2606561.7713 | 1229325.5151
15 | 2606579.9868 | 1229106.9163 | 2606573.0601 | 1229123.2407 | 2606573.6212 | 1229129.1948
16 | 2606623.5272 | 1229130.6116 | 2606638.2985 | 1229117.6869 | 2606651.1491 | 1229104.3261
17 | 2606519.2932 | 1229174.6766 | 2606507.8648 | 1229179.733
18 | 2606505.7271 | 1229143.9467 | 2606519.5481 | 1229146.6616
19 | 2606459.9717 | 1229054.5773 | 2606466.1158 | 1229040.9699
20 | 2606459.9717 | 1229054.5773 | 2606478.0325 | 1229062.2807
21 | 2606490.4463 | 1229027.2285 | 2606503.9534 | 1229032.9956
22 | 2606517.4419 | 1229038.7547 | 2606503.9534 | 1229032.9956
23 | 2606478.0325 | 1229062.2807 | 2606488.1421 | 1229066.5927
24 | 2606529.2618 | 1229043.8014 | 2606517.4419 | 1229038.7547
25 | 2606502.4607 | 1229072.6999 | 2606488.1421 | 1229066.5927
26 | 2606567.8076 | 1228966.3641 | 2606579.7759 | 1228960.5515 | 2606593.5552 | 1228954.4185 | 2606596.7519 | 1228954.6444 | 2606602.3404 | 1228956.7629 | 2606609.638 | 1228961.685 | 2606614.5265 | 1228973.4529
27 | 2606567.8076 | 1228966.3641 | 2606582.4555 | 1228997.1206 | 2606583.6983 | 1229003.7036 | 2606575.586 | 1229034.8576
28 | 2606614.5265 | 1228973.4529 | 2606620.0297 | 1228984.2209 | 2606623.0586 | 1228985.436 | 2606626.9148 | 1228985.2735 | 2606634.8503 | 1228981.8247
29 | 2606574.4978 | 1229039.0368 | 2606575.586 | 1229034.8576
30 | 2606529.2618 | 1229043.8014 | 2606534.8975 | 1229030.3217 | 2606535.394 | 1229026.5978 | 2606533.1101 | 1229021.7796
31 | 2606514.7706 | 1229077.9503 | 2606529.2618 | 1229043.8014
32 | 2606514.7706 | 1229077.9503 | 2606502.4607 | 1229072.6999
33 | 2606470.5591 | 1229137.0334 | 2606465.7247 | 1229136.0874 | 2606457.3404 | 1229134.433 | 2606456.312 | 1229134.231
34 | 2606470.5591 | 1229137.0334 | 2606472.9804 | 1229137.5072 | 2606478.9141 | 1229138.6775
35 | 2606574.4978 | 1229039.0368 | 2606569.8408 | 1229056.9213
36 | 2606559.0575 | 1229098.3328 | 2606569.8408 | 1229056.9213
37 | 2606559.0575 | 1229098.3328 | 2606579.9868 | 1229106.9163
38 | 2606559.0575 | 1229098.3328 | 2606545.9345 | 1229092.2931
39 | 2606530.4987 | 1229085.189 | 2606545.9345 | 1229092.2931
40 | 2606514.7706 | 1229077.9503 | 2606530.4987 | 1229085.189
41 | 2606681.4052 | 1229067.1633 | 2606666.4662 | 1229085.778
42 | 2606651.1491 | 1229104.3261 | 2606653.7551 | 1229101.6166 | 2606666.4662 | 1229085.778
43 | 2606488.8854 | 1229140.6383 | 2606481.5389 | 1229139.1952 | 2606478.9141 | 1229138.6775
44 | 2606505.7271 | 1229143.9467 | 2606488.8854 | 1229140.6383
45 | 2606507.8648 | 1229179.733 | 2606497.7205 | 1229184.2211
46 | 2606462.3683 | 1229199.8621 | 2606497.7205 | 1229184.2211

## bus_geodata
| x | y | coords
0 | 2606567.0944 | 1229264.6259
1 | 2606602.0932 | 1229282.2854
2 | 2606542.5074 | 1229249.2154
3 | 2606604.3751 | 1229283.4367
4 | 2606558.0859 | 1229176.4225
5 | 2606598.0215 | 1229304.3902
6 | 2606588.8833 | 1229152.5532
7 | 2606551.5734 | 1229160.3948
8 | 2606568.3123 | 1229174.0598
9 | 2606592.0206 | 1229324.1807
10 | 2606590.8573 | 1229328.015
11 | 2606573.6212 | 1229129.1948
12 | 2606623.5272 | 1229130.6116
13 | 2606519.2932 | 1229174.6766
14 | 2606519.5481 | 1229146.6617
15 | 2606466.1158 | 1229040.9699
16 | 2606459.9717 | 1229054.5773
17 | 2606490.4463 | 1229027.2285
18 | 2606503.9534 | 1229032.9956
19 | 2606478.0325 | 1229062.2807
20 | 2606517.4419 | 1229038.7547
21 | 2606488.1421 | 1229066.5927
22 | 2606567.8076 | 1228966.3641
23 | 2606614.5265 | 1228973.4529
24 | 2606575.586 | 1229034.8576
25 | 2606634.8503 | 1228981.8247
26 | 2606529.2618 | 1229043.8014
27 | 2606502.4607 | 1229072.6999
28 | 2606456.312 | 1229134.231
29 | 2606470.5591 | 1229137.0334
30 | 2606574.4978 | 1229039.0368
31 | 2606533.1101 | 1229021.7796
32 | 2606569.8408 | 1229056.9213
33 | 2606559.0575 | 1229098.3328
34 | 2606579.9868 | 1229106.9163
35 | 2606545.9345 | 1229092.2931
36 | 2606530.4987 | 1229085.189
37 | 2606681.4052 | 1229067.1633
38 | 2606666.4662 | 1229085.778
39 | 2606478.9141 | 1229138.6775
40 | 2606488.8854 | 1229140.6383
41 | 2606505.7271 | 1229143.9467
42 | 2606651.1491 | 1229104.3261
43 | 2606507.8648 | 1229179.733
44 | 2606497.7205 | 1229184.2211
45 | 2606462.3683 | 1229199.8621
46 | 2606514.7706 | 1229077.9503
47 | 2606561.7713 | 1229325.5151
48 | 2606557.6255 | 1229167.9392

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9944 | -0.10736 | 0.010395 | 0.0026051
1 | 0.99327 | -0.12931 | 0.017224 | 0.0043167
2 | 0.99553 | -0.085628 | 0 | 0
3 | 0.99323 | -0.12996 | 0 | 0
4 | 0.99843 | -0.029922 | 0 | 0
5 | 0.99294 | -0.13557 | 0.011441 | 0.0028675
6 | 0.99408 | -0.11311 | 0 | 0
7 | 1 | 0 | -0.49027 | -0.12376
8 | 0.99822 | -0.034023 | 0.022339 | 0.0055986
9 | 0.99289 | -0.13669 | 0 | 0
10 | 0.99287 | -0.1369 | 0 | 0
11 | 0.99167 | -0.1594 | 0.076108 | 0.019074
12 | 0.9928 | -0.13786 | 0 | 0
13 | 0.99654 | -0.066473 | 0.06082 | 0.015243
14 | 0.99688 | -0.059941 | 0.049538 | 0.012415
15 | 0.98438 | -0.30078 | 0.0039414 | 0.00098781
16 | 0.98443 | -0.29973 | 0 | 0
17 | 0.98447 | -0.29906 | 0.0022805 | 0.00057155
18 | 0.9845 | -0.29846 | 0.0041684 | 0.0010447
19 | 0.9845 | -0.29833 | 0.0053277 | 0.0013352
20 | 0.98458 | -0.29675 | 0.0027169 | 0.00068092
21 | 0.9846 | -0.2965 | 0.010792 | 0.0027048
22 | 0.98293 | -0.32893 | 0 | 0
23 | 0.98162 | -0.35457 | 0 | 0
24 | 0.98455 | -0.29736 | 0.0047708 | 0.0011957
25 | 0.981 | -0.36669 | 0.024016 | 0.0060189
26 | 0.98469 | -0.29464 | 0 | 0
27 | 0.98489 | -0.29089 | 0.0075869 | 0.0019015
28 | 0.99568 | -0.083087 | 0.0045812 | 0.0011482
29 | 0.99574 | -0.081917 | 0.0043304 | 0.0010853
30 | 0.98466 | -0.29513 | 0.014339 | 0.0035936
31 | 0.98455 | -0.29738 | 0.0064337 | 0.0016124
32 | 0.9854 | -0.28081 | 0.0048123 | 0.0012061
33 | 0.98729 | -0.24405 | 0 | 0
34 | 0.98931 | -0.20501 | 0.011266 | 0.0028236
35 | 0.98664 | -0.25673 | 0.0027936 | 0.00070013
36 | 0.98592 | -0.2708 | 0.0029806 | 0.00074702
37 | 0.991 | -0.17262 | 0.0099125 | 0.0024843
38 | 0.99122 | -0.16842 | 0.007515 | 0.0018834
39 | 0.99581 | -0.080583 | 0.0045086 | 0.0011299
40 | 0.99593 | -0.078187 | 0.010195 | 0.0025551
41 | 0.9963 | -0.071066 | 0.021395 | 0.005362
42 | 0.9916 | -0.16098 | 0.016795 | 0.0042093
43 | 0.99601 | -0.076755 | 0.036562 | 0.0091633
44 | 0.9959 | -0.07876 | 0.0044361 | 0.0011118
45 | 0.9957 | -0.082737 | 0.0058518 | 0.0014666
46 | 0.98523 | -0.28424 | 0 | 0
47 | 0.99279 | -0.13849 | 0.003052 | 0.0007649
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.031755 | 0.0079718 | -0.031722 | -0.0079511 | 3.32e-05 | 2.074e-05 | 0.047523 | 0.047523 | 0.047523 | 0.9944 | -0.10736 | 0.99327 | -0.12931 | 13.0557
1 | -0.04215 | -0.010577 | 0.042193 | 0.010605 | 4.3736e-05 | 2.7611e-05 | 0.063077 | 0.063077 | 0.063077 | 0.9944 | -0.10736 | 0.99553 | -0.085628 | 17.3288
2 | 0.014498 | 0.0036344 | -0.014498 | -0.0036341 | 4.5216e-07 | 2.563e-07 | 0.02172 | 0.02172 | 0.02172 | 0.99327 | -0.12931 | 0.99323 | -0.12996 | 5.967
3 | -0.042193 | -0.010605 | 0.042306 | 0.010676 | 0.00011254 | 7.1039e-05 | 0.063077 | 0.063077 | 0.063077 | 0.99553 | -0.085628 | 0.99843 | -0.029922 | 17.3288
4 | 0.014498 | 0.0036341 | -0.014494 | -0.003632 | 3.8735e-06 | 2.1958e-06 | 0.02172 | 0.02172 | 0.02172 | 0.99323 | -0.12996 | 0.99294 | -0.13557 | 5.9671
5 | 0.22067 | 0.056115 | -0.21978 | -0.055553 | 0.00088048 | 0.00056238 | 0.32916 | 0.32916 | 0.32916 | 0.99843 | -0.029922 | 0.99408 | -0.11311 | 45.2139
6 | -0.28531 | -0.072392 | 0.28573 | 0.072654 | 0.00041122 | 0.00026247 | 0.42553 | 0.42553 | 0.42553 | 0.99843 | -0.029922 | 1 | 0 | 38.9682
7 | 0.022343 | 0.0056013 | -0.022339 | -0.0055986 | 4.3645e-06 | 2.656e-06 | 0.0333 | 0.0333 | 0.0333 | 0.99843 | -0.029922 | 0.99822 | -0.034023 | 9.1483
8 | 0.0030524 | 0.00076447 | -0.0030522 | -0.00076463 | 1.6226e-07 | -1.6363e-07 | 0.0045741 | 0.0045742 | 0.0045742 | 0.99294 | -0.13557 | 0.99289 | -0.13669 | 1.2567
9 | 0.18548 | 0.046922 | -0.18506 | -0.04666 | 0.00041105 | 0.00026234 | 0.27779 | 0.27779 | 0.27779 | 0.99408 | -0.11311 | 0.99167 | -0.1594 | 38.1579
10 | 0.034309 | 0.0086307 | -0.034269 | -0.0086053 | 4.0519e-05 | 2.5402e-05 | 0.051368 | 0.051368 | 0.051368 | 0.99408 | -0.11311 | 0.9928 | -0.13786 | 14.1122
11 | 0.10804 | 0.027218 | -0.10769 | -0.027 | 0.00034231 | 0.00021862 | 0.16081 | 0.16081 | 0.16081 | 1 | 0 | 0.99654 | -0.066473 | 44.1788
12 | 0.094853 | 0.02389 | -0.094582 | -0.023717 | 0.00027103 | 0.00017299 | 0.14118 | 0.14118 | 0.14118 | 1 | 0 | 0.99688 | -0.059941 | 38.787
13 | 0.0030522 | 0.00076463 | -0.0030522 | -0.00076467 | 3.144e-08 | -3.1701e-08 | 0.0045742 | 0.0045742 | 0.0045742 | 0.99289 | -0.13669 | 0.99287 | -0.1369 | 1.2567
14 | 0.0030522 | 0.00076467 | -0.003052 | -0.0007649 | 2.3039e-07 | -2.3225e-07 | 0.0045742 | 0.0045744 | 0.0045744 | 0.99287 | -0.1369 | 0.99279 | -0.13849 | 1.2567
15 | 0.10896 | 0.027585 | -0.10872 | -0.027433 | 0.00023798 | 0.000152 | 0.16359 | 0.16359 | 0.16359 | 0.99167 | -0.1594 | 0.98931 | -0.20501 | 44.9421
16 | 0.034269 | 0.0086053 | -0.034231 | -0.0085816 | 3.7765e-05 | 2.3677e-05 | 0.051368 | 0.051368 | 0.051368 | 0.9928 | -0.13786 | 0.9916 | -0.16098 | 14.1122
17 | 0.046875 | 0.011757 | -0.046852 | -0.011742 | 2.296e-05 | 1.4532e-05 | 0.069996 | 0.069996 | 0.069996 | 0.99654 | -0.066473 | 0.99601 | -0.076755 | 19.2296
18 | 0.045044 | 0.011302 | -0.04502 | -0.011286 | 2.3881e-05 | 1.51e-05 | 0.06724 | 0.06724 | 0.06724 | 0.99688 | -0.059941 | 0.9963 | -0.071066 | 18.4726
19 | -0.0039414 | -0.00098781 | 0.0039416 | 0.00098775 | 1.9874e-07 | -6.2618e-08 | 0.005958 | 0.0059579 | 0.005958 | 0.98438 | -0.30078 | 0.98443 | -0.29973 | 1.6368
20 | -0.0039416 | -0.00098775 | 0.0039419 | 0.00098767 | 2.6136e-07 | -8.2387e-08 | 0.0059579 | 0.0059578 | 0.0059579 | 0.98443 | -0.29973 | 0.9845 | -0.29833 | 1.6368
21 | -0.0022805 | -0.00057155 | 0.0022806 | 0.00057141 | 6.5438e-08 | -1.4487e-07 | 0.003447 | 0.0034469 | 0.003447 | 0.98447 | -0.29906 | 0.9845 | -0.29846 | 0.94698
22 | -0.006449 | -0.0016161 | 0.0064495 | 0.0016163 | 5.2254e-07 | 1.4791e-07 | 0.0097472 | 0.0097472 | 0.0097472 | 0.9845 | -0.29846 | 0.98458 | -0.29675 | 2.6778
23 | -0.0092695 | -0.0023229 | 0.0092704 | 0.0023233 | 8.09e-07 | 3.7799e-07 | 0.01401 | 0.01401 | 0.01401 | 0.9845 | -0.29833 | 0.9846 | -0.2965 | 3.849
24 | -0.0091664 | -0.0022972 | 0.0091674 | 0.0022976 | 9.2494e-07 | 4.2849e-07 | 0.013853 | 0.013853 | 0.013853 | 0.98458 | -0.29675 | 0.98469 | -0.29464 | 3.8059
25 | -0.020063 | -0.0050281 | 0.020068 | 0.0050313 | 5.3666e-06 | 3.2366e-06 | 0.03032 | 0.03032 | 0.03032 | 0.9846 | -0.2965 | 0.98489 | -0.29089 | 8.3298
26 | 0.024059 | 0.0060455 | -0.024029 | -0.0060274 | 2.9416e-05 | 1.8078e-05 | 0.036427 | 0.036428 | 0.036428 | 0.98293 | -0.32893 | 0.98162 | -0.35457 | 10.0076
27 | -0.024059 | -0.0060455 | 0.024095 | 0.0060678 | 3.6304e-05 | 2.2308e-05 | 0.036427 | 0.036427 | 0.036427 | 0.98293 | -0.32893 | 0.98455 | -0.29736 | 10.0075
28 | 0.024029 | 0.0060274 | -0.024016 | -0.0060189 | 1.3868e-05 | 8.5233e-06 | 0.036428 | 0.036428 | 0.036428 | 0.98162 | -0.35457 | 0.981 | -0.36669 | 10.0076
29 | -0.028866 | -0.0072634 | 0.028869 | 0.0072654 | 3.0838e-06 | 1.9187e-06 | 0.043637 | 0.043637 | 0.043637 | 0.98455 | -0.29736 | 0.98466 | -0.29513 | 11.9883
30 | 0.0064346 | 0.0016127 | -0.0064337 | -0.0016124 | 8.4028e-07 | 2.3635e-07 | 0.0097236 | 0.0097237 | 0.0097237 | 0.98469 | -0.29464 | 0.98455 | -0.29738 | 2.6713
31 | -0.015602 | -0.0039103 | 0.01561 | 0.0039148 | 7.7303e-06 | 4.4754e-06 | 0.023577 | 0.023577 | 0.023577 | 0.98469 | -0.29464 | 0.98523 | -0.28424 | 6.4771
32 | -0.027655 | -0.0069328 | 0.027664 | 0.0069382 | 8.7615e-06 | 5.437e-06 | 0.041783 | 0.041783 | 0.041783 | 0.98489 | -0.29089 | 0.98523 | -0.28424 | 11.4789
33 | -0.0045812 | -0.0011482 | 0.0045814 | 0.0011481 | 2.5523e-07 | -2.5517e-08 | 0.0068465 | 0.0068464 | 0.0068465 | 0.99568 | -0.083087 | 0.99574 | -0.081917 | 1.8809
34 | -0.0089118 | -0.0022334 | 0.0089124 | 0.0022337 | 5.6634e-07 | 2.5169e-07 | 0.013318 | 0.013318 | 0.013318 | 0.99574 | -0.081917 | 0.99581 | -0.080583 | 3.6587
35 | -0.043208 | -0.010859 | 0.043237 | 0.010878 | 2.9557e-05 | 1.8681e-05 | 0.065306 | 0.065306 | 0.065306 | 0.98466 | -0.29513 | 0.9854 | -0.28081 | 17.9412
36 | -0.04805 | -0.012084 | 0.048134 | 0.012137 | 8.4518e-05 | 5.3545e-05 | 0.072573 | 0.072573 | 0.072573 | 0.9854 | -0.28081 | 0.98729 | -0.24405 | 19.9376
37 | -0.09727 | -0.024494 | 0.097452 | 0.02461 | 0.00018197 | 0.00011617 | 0.14664 | 0.14664 | 0.14664 | 0.98729 | -0.24405 | 0.98931 | -0.20501 | 40.2868
38 | 0.049136 | 0.012356 | -0.049106 | -0.012337 | 2.9722e-05 | 1.8838e-05 | 0.074071 | 0.074071 | 0.074071 | 0.98729 | -0.24405 | 0.98664 | -0.25673 | 20.3492
39 | 0.046313 | 0.011637 | -0.046282 | -0.011618 | 3.1097e-05 | 1.9685e-05 | 0.069858 | 0.069858 | 0.069858 | 0.98664 | -0.25673 | 0.98592 | -0.2708 | 19.1918
40 | 0.043301 | 0.010871 | -0.043273 | -0.010853 | 2.7736e-05 | 1.753e-05 | 0.06536 | 0.06536 | 0.06536 | 0.98592 | -0.2708 | 0.98523 | -0.28424 | 17.956
41 | -0.0099125 | -0.0024843 | 0.0099145 | 0.0024853 | 1.9828e-06 | 9.6139e-07 | 0.014884 | 0.014884 | 0.014884 | 0.991 | -0.17262 | 0.99122 | -0.16842 | 4.089
42 | -0.017429 | -0.0043687 | 0.017436 | 0.0043723 | 6.179e-06 | 3.6442e-06 | 0.026165 | 0.026165 | 0.026165 | 0.99122 | -0.16842 | 0.9916 | -0.16098 | 7.1883
43 | -0.013421 | -0.0033636 | 0.013422 | 0.0033645 | 1.5327e-06 | 8.4869e-07 | 0.020055 | 0.020055 | 0.020055 | 0.99581 | -0.080583 | 0.99593 | -0.078187 | 5.5095
44 | -0.023618 | -0.0059196 | 0.023626 | 0.0059245 | 8.0143e-06 | 4.9057e-06 | 0.035287 | 0.035287 | 0.035287 | 0.99593 | -0.078187 | 0.9963 | -0.071066 | 9.6942
45 | 0.01029 | 0.0025791 | -0.010289 | -0.0025786 | 9.8311e-07 | 4.8483e-07 | 0.015373 | 0.015373 | 0.015373 | 0.99601 | -0.076755 | 0.9959 | -0.07876 | 4.2234
46 | 0.0058529 | 0.0014668 | -0.0058518 | -0.0014666 | 1.1087e-06 | 2.0664e-07 | 0.0087451 | 0.0087453 | 0.0087453 | 0.9959 | -0.07876 | 0.9957 | -0.082737 | 2.4025

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49027 | 0.12376

## res_load
| p_mw | q_mvar
0 | 0.010395 | 0.0026051
1 | 0.017224 | 0.0043167
2 | 0.011441 | 0.0028675
3 | 0.022339 | 0.0055986
4 | 0.076108 | 0.019074
5 | 0.06082 | 0.015243
6 | 0.049538 | 0.012415
7 | 0.0039414 | 0.00098781
8 | 0.0022805 | 0.00057155
9 | 0.0041684 | 0.0010447
10 | 0.0053277 | 0.0013352
11 | 0.0027169 | 0.00068092
12 | 0.010792 | 0.0027048
13 | 0.0047708 | 0.0011957
14 | 0.024016 | 0.0060189
15 | 0.0075869 | 0.0019015
16 | 0.0045812 | 0.0011482
17 | 0.0043304 | 0.0010853
18 | 0.014339 | 0.0035936
19 | 0.0064337 | 0.0016124
20 | 0.0048123 | 0.0012061
21 | 0.011266 | 0.0028236
22 | 0.0027936 | 0.00070013
23 | 0.0029806 | 0.00074702
24 | 0.0099125 | 0.0024843
25 | 0.007515 | 0.0018834
26 | 0.0045086 | 0.0011299
27 | 0.010195 | 0.0025551
28 | 0.021395 | 0.005362
29 | 0.016795 | 0.0042093
30 | 0.036562 | 0.0091633
31 | 0.0044361 | 0.0011118
32 | 0.0058518 | 0.0014666
33 | 0.003052 | 0.0007649

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1