## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-49_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-49_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-49_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-49_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-49_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2601-49_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2601-49_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2601-49_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2601-49_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2601-49_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2601-49_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_2601-49_0_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_2601-49_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2601-49_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2601-49_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2601-49_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_2601-49_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2601-49_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_2601-49_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2601-49_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2601-49_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2601-49_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2601-49_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2601-49_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2601-49_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2601-49_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2601-49_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2601-49_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_2601-49_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2601-49_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_MV_393_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-49_0_4_load_0 | 0 | 0.010471 | 0.0026242 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-49_0_4_load_1 | 1 | 0.0073025 | 0.0018302 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-49_0_4_load_4 | 4 | 0.021382 | 0.0053588 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-49_0_4_load_21 | 6 | 0.0087201 | 0.0021855 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-49_0_4_load_5 | 7 | 0.009152 | 0.0022937 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-49_0_4_load_20 | 8 | 0.023801 | 0.005965 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-49_0_4_load_15 | 9 | 0.009269 | 0.002323 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-49_0_4_load_16 | 10 | 0.014803 | 0.0037099 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-49_0_4_load_6 | 13 | 0.058065 | 0.014552 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-49_0_4_load_7 | 14 | 0.017328 | 0.0043428 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-49_0_4_load_28 | 15 | 0.013722 | 0.0034391 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-49_0_4_load_9 | 16 | 0.015981 | 0.0040053 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-49_0_4_load_25 | 17 | 0.0071549 | 0.0017932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-49_0_4_load_13 | 19 | 0.017085 | 0.0042818 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-49_0_4_load_32 | 20 | 0.046539 | 0.011664 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-49_0_4_load_12 | 22 | 0.01193 | 0.0029899 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-49_0_4_load_14 | 23 | 0.032866 | 0.008237 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-49_0_4_load_17 | 24 | 0.065056 | 0.016305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-49_0_4_load_24 | 26 | 0.043643 | 0.010938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-49_0_4_load_31 | 27 | 0.043304 | 0.010853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-49_0_4_load_26 | 28 | 0.0052313 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-49_0_4_load_27 | 29 | 0.007917 | 0.0019842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-49_0_4_line_0 |  | 0 | 1 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2601-49_0_4_line_1 |  | 0 | 2 | 0.031852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-49_0_4_line_2 |  | 1 | 3 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2601-49_0_4_line_3 |  | 2 | 4 | 0.036219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-49_0_4_line_4 |  | 3 | 5 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2601-49_0_4_line_5 |  | 4 | 6 | 0.01662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-49_0_4_line_6 |  | 5 | 9 | 0.015003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2601-49_0_4_line_7 |  | 5 | 10 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2601-49_0_4_line_8 |  | 6 | 11 | 0.021029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-49_0_4_line_9 |  | 7 | 8 | 0.018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-49_0_4_line_10 |  | 8 | 12 | 0.030592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-49_0_4_line_11 |  | 9 | 23 | 0.014374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2601-49_0_4_line_12 |  | 10 | 24 | 0.024933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2601-49_0_4_line_13 |  | 11 | 25 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-49_0_4_line_14 |  | 11 | 26 | 0.014975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-49_0_4_line_15 |  | 12 | 18 | 0.025309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-49_0_4_line_16 |  | 12 | 19 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-49_0_4_line_17 |  | 13 | 14 | 0.023462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-49_0_4_line_18 |  | 13 | 15 | 0.12434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-49_0_4_line_19 |  | 14 | 16 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-49_0_4_line_20 |  | 16 | 17 | 0.011651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-49_0_4_line_21 |  | 17 | 21 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-49_0_4_line_22 |  | 18 | 20 | 0.0044955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-49_0_4_line_23 |  | 19 | 22 | 0.014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2601-49_0_4_line_24 |  | 21 | 24 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-49_0_4_line_25 |  | 22 | 23 | 0.0029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2601-49_0_4_line_26 |  | 25 | 27 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-49_0_4_line_27 |  | 26 | 28 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-49_0_4_line_28 |  | 28 | 29 | 0.002622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-49_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 30 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2607705.2498 | 1228240.3487 | 2607708.379 | 1228225.9905
1 | 2607711.9543 | 1228269.7787 | 2607709.7295 | 1228267.6301 | 2607708.1712 | 1228265.7381 | 2607706.0695 | 1228262.1222 | 2607704.7791 | 1228258.1404 | 2607703.9043 | 1228249.045 | 2607704.9365 | 1228241.7865 | 2607705.2498 | 1228240.3487
2 | 2607711.1328 | 1228213.3554 | 2607708.379 | 1228225.9905
3 | 2607711.9543 | 1228269.7787 | 2607714.4209 | 1228272.3612 | 2607717.8196 | 1228274.8448 | 2607721.0224 | 1228276.461 | 2607724.4228 | 1228277.5882 | 2607727.9603 | 1228278.182 | 2607736.4591 | 1228279.7495 | 2607745.3289 | 1228281.4938
4 | 2607713.4272 | 1228202.6075 | 2607712.0322 | 1228209.2096 | 2607711.1328 | 1228213.3554
5 | 2607745.3289 | 1228281.4938 | 2607761.6363 | 1228284.7007
6 | 2607713.4272 | 1228202.6075 | 2607720.5702 | 1228203.9953 | 2607728.1538 | 1228205.4726
7 | 2607713.4272 | 1228202.6075 | 2607714.9747 | 1228195.2718 | 2607716.4297 | 1228187.8356
8 | 2607782.2703 | 1228288.7585 | 2607761.6363 | 1228284.7007
9 | 2607742.0087 | 1228246.0179 | 2607756.4811 | 1228234.5761
10 | 2607780.5392 | 1228215.6797 | 2607773.63 | 1228221.0183 | 2607756.4811 | 1228234.5761
11 | 2607728.1538 | 1228205.4726 | 2607742.2622 | 1228208.2208
12 | 2607716.4297 | 1228187.8356 | 2607721.2176 | 1228163.3662
13 | 2607778.9392 | 1228304.3301 | 2607782.2703 | 1228288.7585
14 | 2607782.2703 | 1228288.7585 | 2607782.334 | 1228280.6093 | 2607783.6641 | 1228273.9151
15 | 2607800.4332 | 1228199.9629 | 2607780.5392 | 1228215.6797
16 | 2607780.5392 | 1228215.6797 | 2607771.2451 | 1228213.8666 | 2607759.2026 | 1228211.5207
17 | 2607796.6004 | 1228155.2312 | 2607773.5775 | 1228150.7135
18 | 2607796.6004 | 1228155.2312 | 2607816.2849 | 1228032.4569
19 | 2607773.5775 | 1228150.7135 | 2607762.3273 | 1228148.5059
20 | 2607762.3273 | 1228148.5059 | 2607750.894 | 1228146.2624
21 | 2607725.5379 | 1228141.2868 | 2607750.894 | 1228146.2624
22 | 2607800.4332 | 1228199.9629 | 2607797.8088 | 1228196.3129
23 | 2607745.1337 | 1228208.7802 | 2607759.2026 | 1228211.5207
24 | 2607725.5379 | 1228141.2868 | 2607721.2176 | 1228163.3662
25 | 2607742.2622 | 1228208.2208 | 2607745.1337 | 1228208.7802
26 | 2607778.9392 | 1228304.3301 | 2607774.7884 | 1228303.4686 | 2607756.9993 | 1228299.7896
27 | 2607783.6641 | 1228273.9151 | 2607785.0261 | 1228267.0603 | 2607787.558 | 1228254.3228
28 | 2607790.1303 | 1228254.831 | 2607787.558 | 1228254.3228 | 2607787.558 | 1228254.3228

## bus_geodata
| x | y | coords
0 | 2607705.2498 | 1228240.3487
1 | 2607708.379 | 1228225.9905
2 | 2607711.9543 | 1228269.7787
3 | 2607711.1328 | 1228213.3554
4 | 2607745.3289 | 1228281.4938
5 | 2607713.4272 | 1228202.6075
6 | 2607761.6363 | 1228284.7007
7 | 2607742.0087 | 1228246.0179
8 | 2607756.4811 | 1228234.5761
9 | 2607728.1538 | 1228205.4726
10 | 2607716.4297 | 1228187.8356
11 | 2607782.2703 | 1228288.7585
12 | 2607780.5392 | 1228215.6797
13 | 2607796.6004 | 1228155.2312
14 | 2607773.5775 | 1228150.7135
15 | 2607816.2849 | 1228032.4569
16 | 2607762.3273 | 1228148.5059
17 | 2607750.894 | 1228146.2624
18 | 2607800.4332 | 1228199.9629
19 | 2607759.2026 | 1228211.5207
20 | 2607797.8088 | 1228196.3129
21 | 2607725.5379 | 1228141.2868
22 | 2607745.1337 | 1228208.7802
23 | 2607742.2622 | 1228208.2208
24 | 2607721.2176 | 1228163.3662
25 | 2607778.9392 | 1228304.3301
26 | 2607783.6641 | 1228273.9151
27 | 2607756.9993 | 1228299.7896
28 | 2607787.558 | 1228254.3228
29 | 2607790.1303 | 1228254.831
30 | 2607780.5392 | 1228215.6797

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99277 | -0.13772 | 0.010471 | 0.0026242
1 | 0.99373 | -0.11946 | 0.0073025 | 0.0018302
2 | 0.98893 | -0.21134 | 0 | 0
3 | 0.99432 | -0.1082 | 0 | 0
4 | 0.98457 | -0.29576 | 0.021382 | 0.0053588
5 | 0.99482 | -0.098651 | 0 | 0
6 | 0.9829 | -0.32833 | 0.0087201 | 0.0021855
7 | 0.99736 | -0.050767 | 0.009152 | 0.0022937
8 | 0.99751 | -0.047809 | 0.023801 | 0.005965
9 | 0.99638 | -0.068745 | 0.009269 | 0.002323
10 | 0.99393 | -0.11567 | 0.014803 | 0.0037099
11 | 0.98095 | -0.36638 | 0 | 0
12 | 0.99843 | -0.030166 | 0 | 0
13 | 0.98327 | -0.32196 | 0.058065 | 0.014552
14 | 0.98482 | -0.29165 | 0.017328 | 0.0043428
15 | 0.98169 | -0.35278 | 0.013722 | 0.0034391
16 | 0.98577 | -0.2733 | 0.015981 | 0.0040053
17 | 0.98689 | -0.25136 | 0.0071549 | 0.0017932
18 | 0.99736 | -0.050783 | 0 | 0
19 | 1 | 0 | -0.48029 | -0.1219
20 | 0.99717 | -0.054449 | 0.046539 | 0.011664
21 | 0.98957 | -0.1996 | 0 | 0
22 | 0.99827 | -0.032881 | 0.01193 | 0.0029899
23 | 0.99792 | -0.039402 | 0.032866 | 0.008237
24 | 0.9919 | -0.15475 | 0.065056 | 0.016305
25 | 0.98031 | -0.37888 | 0 | 0
26 | 0.98016 | -0.3818 | 0.043643 | 0.010938
27 | 0.97941 | -0.3965 | 0.043304 | 0.010853
28 | 0.97992 | -0.38657 | 0.0052313 | 0.0013111
29 | 0.9799 | -0.38694 | 0.007917 | 0.0019842
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14212 | -0.036184 | 0.14225 | 0.036264 | 0.00012527 | 7.9793e-05 | 0.21322 | 0.21322 | 0.21322 | 0.99277 | -0.13772 | 0.99373 | -0.11946 | 29.289
1 | 0.13165 | 0.03356 | -0.13119 | -0.033262 | 0.00046606 | 0.00029787 | 0.19753 | 0.19753 | 0.19753 | 0.99277 | -0.13772 | 0.98893 | -0.21134 | 54.2666
2 | -0.14955 | -0.038094 | 0.14963 | 0.038146 | 8.1223e-05 | 5.148e-05 | 0.22416 | 0.22416 | 0.22416 | 0.99373 | -0.11946 | 0.99432 | -0.1082 | 20.5274
3 | 0.13119 | 0.033262 | -0.13066 | -0.032923 | 0.00052996 | 0.00033871 | 0.19753 | 0.19753 | 0.19753 | 0.98893 | -0.21134 | 0.98457 | -0.29576 | 54.2666
4 | -0.14963 | -0.038146 | 0.1497 | 0.038189 | 6.9027e-05 | 4.3749e-05 | 0.22416 | 0.22416 | 0.22416 | 0.99432 | -0.1082 | 0.99482 | -0.098651 | 20.5273
5 | 0.10928 | 0.027564 | -0.10911 | -0.027456 | 0.00017012 | 0.00010867 | 0.16522 | 0.16522 | 0.16522 | 0.98457 | -0.29576 | 0.9829 | -0.32833 | 45.3888
6 | -0.34314 | -0.087182 | 0.34363 | 0.087498 | 0.00049483 | 0.00031611 | 0.51368 | 0.51368 | 0.51368 | 0.99482 | -0.098651 | 0.99638 | -0.068745 | 47.04
7 | 0.19344 | 0.048993 | -0.19328 | -0.048892 | 0.00015794 | 0.0001005 | 0.28952 | 0.28952 | 0.28952 | 0.99482 | -0.098651 | 0.99393 | -0.11567 | 26.5128
8 | 0.10039 | 0.02527 | -0.1002 | -0.025154 | 0.00018223 | 0.00011636 | 0.15201 | 0.15201 | 0.15201 | 0.9829 | -0.32833 | 0.98095 | -0.36638 | 41.7621
9 | -0.009152 | -0.0022937 | 0.0091533 | 0.0022943 | 1.2899e-06 | 5.8473e-07 | 0.013654 | 0.013654 | 0.013654 | 0.99736 | -0.050767 | 0.99751 | -0.047809 | 3.7512
10 | -0.032954 | -0.0082593 | 0.032982 | 0.0082767 | 2.7723e-05 | 1.7343e-05 | 0.049158 | 0.049158 | 0.049158 | 0.99751 | -0.047809 | 0.99843 | -0.030166 | 13.5051
11 | -0.3529 | -0.089821 | 0.3534 | 0.09014 | 0.00049998 | 0.00031943 | 0.52752 | 0.52752 | 0.52752 | 0.99638 | -0.068745 | 0.99792 | -0.039402 | 48.3076
12 | 0.17848 | 0.045182 | -0.17814 | -0.044969 | 0.00033417 | 0.00021323 | 0.26736 | 0.26736 | 0.26736 | 0.99393 | -0.11567 | 0.9919 | -0.15475 | 36.7251
13 | 0.043366 | 0.010892 | -0.043341 | -0.010876 | 2.5848e-05 | 1.6342e-05 | 0.065792 | 0.065792 | 0.065792 | 0.98095 | -0.36638 | 0.98031 | -0.37888 | 18.0746
14 | 0.056837 | 0.014262 | -0.056795 | -0.014235 | 4.1747e-05 | 2.6529e-05 | 0.086222 | 0.086222 | 0.086222 | 0.98095 | -0.36638 | 0.98016 | -0.3818 | 23.6875
15 | 0.046593 | 0.011698 | -0.046547 | -0.011669 | 4.5773e-05 | 2.8964e-05 | 0.069447 | 0.069447 | 0.069447 | 0.99843 | -0.030166 | 0.99736 | -0.050783 | 19.0788
16 | -0.079574 | -0.019974 | 0.079689 | 0.020048 | 0.00011467 | 7.3106e-05 | 0.11861 | 0.11861 | 0.11861 | 0.99843 | -0.030166 | 1 | 0 | 32.5839
17 | -0.071807 | -0.018003 | 0.071911 | 0.018069 | 0.0001039 | 6.6198e-05 | 0.10867 | 0.10867 | 0.10867 | 0.98327 | -0.32196 | 0.98482 | -0.29165 | 29.8545
18 | 0.013742 | 0.0034504 | -0.013722 | -0.0034391 | 2.0172e-05 | 1.1335e-05 | 0.020799 | 0.020799 | 0.020799 | 0.98327 | -0.32196 | 0.98169 | -0.35278 | 5.7141
19 | -0.089239 | -0.022412 | 0.089317 | 0.022462 | 7.8183e-05 | 4.9891e-05 | 0.13485 | 0.13485 | 0.13485 | 0.98482 | -0.29165 | 0.98577 | -0.2733 | 37.0473
20 | -0.1053 | -0.026467 | 0.10541 | 0.026538 | 0.00011043 | 7.0523e-05 | 0.15898 | 0.15898 | 0.15898 | 0.98577 | -0.2733 | 0.98689 | -0.25136 | 43.6747
21 | -0.11256 | -0.028331 | 0.11284 | 0.028509 | 0.00027926 | 0.0001784 | 0.16976 | 0.16976 | 0.16976 | 0.98689 | -0.25136 | 0.98957 | -0.1996 | 46.6384
22 | 0.046547 | 0.011669 | -0.046539 | -0.011664 | 8.1305e-06 | 5.1449e-06 | 0.069447 | 0.069447 | 0.069447 | 0.99736 | -0.050783 | 0.99717 | -0.054449 | 19.0789
23 | 0.39895 | 0.10185 | -0.39832 | -0.10145 | 0.00063282 | 0.00040444 | 0.59431 | 0.59431 | 0.59431 | 1 | 0 | 0.99827 | -0.032881 | 54.4238
24 | -0.11284 | -0.028509 | 0.11309 | 0.028664 | 0.00024315 | 0.00015532 | 0.16976 | 0.16976 | 0.16976 | 0.98957 | -0.1996 | 0.9919 | -0.15475 | 46.6384
25 | 0.38639 | 0.098455 | -0.38627 | -0.098377 | 0.00012155 | 7.7674e-05 | 0.57653 | 0.57653 | 0.57653 | 0.99827 | -0.032881 | 0.99792 | -0.039402 | 52.7954
26 | 0.043341 | 0.010876 | -0.043304 | -0.010853 | 3.6368e-05 | 2.2993e-05 | 0.065792 | 0.065792 | 0.065792 | 0.98031 | -0.37888 | 0.97941 | -0.3965 | 18.0747
27 | 0.013151 | 0.003297 | -0.013148 | -0.0032953 | 2.9862e-06 | 1.6594e-06 | 0.019966 | 0.019966 | 0.019966 | 0.98016 | -0.3818 | 0.97992 | -0.38657 | 5.4852
28 | 0.0079172 | 0.0019843 | -0.007917 | -0.0019842 | 1.4211e-07 | 5.7922e-08 | 0.012022 | 0.012022 | 0.012022 | 0.97992 | -0.38657 | 0.9799 | -0.38694 | 3.3028

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49738 | 0.12618

## res_load
| p_mw | q_mvar
0 | 0.010471 | 0.0026242
1 | 0.0073025 | 0.0018302
2 | 0.021382 | 0.0053588
3 | 0.0087201 | 0.0021855
4 | 0.009152 | 0.0022937
5 | 0.023801 | 0.005965
6 | 0.009269 | 0.002323
7 | 0.014803 | 0.0037099
8 | 0.058065 | 0.014552
9 | 0.017328 | 0.0043428
10 | 0.013722 | 0.0034391
11 | 0.015981 | 0.0040053
12 | 0.0071549 | 0.0017932
13 | 0.017085 | 0.0042818
14 | 0.046539 | 0.011664
15 | 0.01193 | 0.0029899
16 | 0.032866 | 0.008237
17 | 0.065056 | 0.016305
18 | 0.043643 | 0.010938
19 | 0.043304 | 0.010853
20 | 0.0052313 | 0.0013111
21 | 0.007917 | 0.0019842

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1