## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-58_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-58_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-58_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-58_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2601-58_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2601-58_0_6_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_2601-58_0_6_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_2601-58_0_6_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_2601-58_0_6_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_2601-58_0_6_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_2601-58_0_6_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_2601-58_0_6_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_2601-58_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2601-58_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2601-58_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2601-58_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2601-58_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2601-58_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2601-58_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2601-58_0_6_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2601-58_0_6_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2601-58_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_2601-58_0_6_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_2601-58_0_6_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_2601-58_0_6_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_2601-58_0_6_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2601-58_0_6_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2601-58_0_6_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2601-58_0_6_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_2601-58_0_6_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_2601-58_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2601-58_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2601-58_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2601-58_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2601-58_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2601-58_0_6_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2601-58_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2601-58_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2601-58_0_6_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_2601-58_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_2601-58_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2601-58_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2601-58_0_6_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_2601-58_0_6_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_2601-58_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_2601-58_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2601-58_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2601-58_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2601-58_0_6_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_2601-58_0_6_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2601-58_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2601-58_0_6_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2601-58_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2601-58_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2601-58_0_6_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_2601-58_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_2601-58_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_2601-58_0_6_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2601-58_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_2601-58_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2601-58_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_2601-58_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_2601-58_0_6_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_2601-58_0_6_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_2601-58_0_6_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_2601-58_0_6_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_2601-58_0_6_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_2601-58_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_2601-58_0_6_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_2601-58_0_6_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_2601-58_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_MV_395_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-58_0_6_load_0 | 0 | 0.0045685 | 0.001145 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-58_0_6_load_1 | 1 | 0.006787 | 0.001701 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-58_0_6_load_3 | 3 | 0.019725 | 0.0049435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-58_0_6_load_60 | 6 | 0.0019644 | 0.00049233 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-58_0_6_load_64 | 8 | 0.019104 | 0.0047878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-58_0_6_load_6 | 12 | 0.016828 | 0.0042175 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-58_0_6_load_8 | 14 | 0.0012597 | 0.0003157 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-58_0_6_load_29 | 19 | 0.022009 | 0.0055159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-58_0_6_load_28 | 20 | 0.0070641 | 0.0017704 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-58_0_6_load_25 | 21 | 0.0016501 | 0.00041356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-58_0_6_load_73 | 22 | 0.021425 | 0.0053697 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-58_0_6_load_26 | 25 | 0.0014909 | 0.00037365 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-58_0_6_load_54 | 26 | 0.015461 | 0.0038748 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-58_0_6_load_47 | 27 | 0.011205 | 0.0028082 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-58_0_6_load_55 | 28 | 0.0055075 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-58_0_6_load_15 | 30 | 0.0069031 | 0.0017301 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-58_0_6_load_16 | 31 | 0.0072891 | 0.0018268 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-58_0_6_load_42 | 35 | 0.0025307 | 0.00063426 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-58_0_6_load_23 | 36 | 0.01228 | 0.0030775 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-58_0_6_load_62 | 38 | 0.0081372 | 0.0020394 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-58_0_6_load_51 | 39 | 0.02461 | 0.0061679 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-58_0_6_load_22 | 41 | 0.0089688 | 0.0022478 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-58_0_6_load_66 | 43 | 0.011738 | 0.0029418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-58_0_6_load_58 | 44 | 0.013543 | 0.0033942 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-58_0_6_load_31 | 47 | 0.016661 | 0.0041757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-58_0_6_load_24 | 48 | 0.035034 | 0.0087803 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-58_0_6_load_27 | 49 | 0.00062812 | 0.00015742 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-58_0_6_load_50 | 53 | 0.012294 | 0.0030811 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-58_0_6_load_30 | 54 | 0.016724 | 0.0041915 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-58_0_6_load_46 | 56 | 0.032528 | 0.0081523 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-58_0_6_load_43 | 57 | 0.048308 | 0.012107 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-58_0_6_load_37 | 58 | 0.013634 | 0.0034169 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-58_0_6_load_38 | 59 | 0.011116 | 0.002786 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-58_0_6_load_40 | 60 | 0.024992 | 0.0062636 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2601-58_0_6_load_69 | 62 | 0.039939 | 0.01001 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2601-58_0_6_load_75 | 63 | 0.019142 | 0.0047975 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2601-58_0_6_load_77 | 65 | 0.012204 | 0.0030585 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2601-58_0_6_load_74 | 67 | 0.0022295 | 0.00055876 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2601-58_0_6_load_71 | 68 | 0.0080899 | 0.0020275 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2601-58_0_6_load_72 | 69 | 0.0077225 | 0.0019354 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2601-58_0_6_load_67 | 70 | 0.030985 | 0.0077656 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-58_0_6_line_0 |  | 0 | 1 | 0.049522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-58_0_6_line_1 |  | 0 | 2 | 0.089239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-58_0_6_line_2 |  | 1 | 3 | 0.067743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-58_0_6_line_3 |  | 2 | 4 | 0.088628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-58_0_6_line_4 |  | 3 | 5 | 0.0064545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-58_0_6_line_5 |  | 4 | 6 | 0.0057389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-58_0_6_line_6 |  | 5 | 7 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2601-58_0_6_line_7 |  | 5 | 8 | 0.063663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2601-58_0_6_line_8 |  | 7 | 42 | 0.042399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2601-58_0_6_line_9 |  | 7 | 43 | 0.028219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-58_0_6_line_10 |  | 8 | 66 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-58_0_6_line_11 |  | 8 | 9 | 0.066496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-58_0_6_line_12 |  | 9 | 10 | 0.060289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-58_0_6_line_13 |  | 9 | 11 | 0.092927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-58_0_6_line_14 |  | 10 | 68 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-58_0_6_line_15 |  | 10 | 69 | 0.026321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-58_0_6_line_16 |  | 11 | 67 | 0.027911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-58_0_6_line_17 |  | 11 | 29 | 0.012404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-58_0_6_line_18 |  | 12 | 13 | 0.032059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-58_0_6_line_19 |  | 13 | 14 | 0.012091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-58_0_6_line_20 |  | 13 | 15 | 0.038881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2601-58_0_6_line_21 |  | 14 | 16 | 0.0029461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-58_0_6_line_22 |  | 15 | 22 | 0.021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-58_0_6_line_23 |  | 15 | 23 | 0.013224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2601-58_0_6_line_24 |  | 16 | 17 | 0.04184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-58_0_6_line_25 |  | 17 | 21 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-58_0_6_line_26 |  | 18 | 19 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-58_0_6_line_27 |  | 18 | 20 | 0.045702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-58_0_6_line_28 |  | 19 | 24 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-58_0_6_line_29 |  | 21 | 25 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-58_0_6_line_30 |  | 23 | 26 | 0.0054547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-58_0_6_line_31 |  | 23 | 27 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2601-58_0_6_line_32 |  | 24 | 52 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-58_0_6_line_33 |  | 24 | 53 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-58_0_6_line_34 |  | 25 | 49 | 0.0056633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-58_0_6_line_35 |  | 26 | 44 | 0.026026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-58_0_6_line_36 |  | 27 | 60 | 0.011428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2601-58_0_6_line_37 |  | 28 | 29 | 0.032852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2601-58_0_6_line_38 |  | 30 | 31 | 0.00057088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2601-58_0_6_line_39 |  | 30 | 32 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2601-58_0_6_line_40 |  | 31 | 33 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2601-58_0_6_line_41 |  | 32 | 34 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2601-58_0_6_line_42 |  | 33 | 35 | 0.010838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2601-58_0_6_line_43 |  | 33 | 36 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2601-58_0_6_line_44 |  | 34 | 37 | 0.04476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-58_0_6_line_45 |  | 34 | 38 | 0.061132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2601-58_0_6_line_46 |  | 35 | 40 | 0.047851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2601-58_0_6_line_47 |  | 36 | 41 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2601-58_0_6_line_48 |  | 37 | 39 | 0.0084655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-58_0_6_line_49 |  | 38 | 42 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2601-58_0_6_line_50 |  | 39 | 45 | 0.0062734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2601-58_0_6_line_51 |  | 40 | 58 | 0.020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2601-58_0_6_line_52 |  | 41 | 48 | 0.0068629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2601-58_0_6_line_53 |  | 43 | 53 | 0.019443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2601-58_0_6_line_54 |  | 45 | 46 | 0.029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2601-58_0_6_line_55 |  | 46 | 47 | 0.0055826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2601-58_0_6_line_56 |  | 47 | 54 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2601-58_0_6_line_57 |  | 49 | 50 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2601-58_0_6_line_58 |  | 50 | 51 | 0.00368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2601-58_0_6_line_59 |  | 51 | 61 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2601-58_0_6_line_60 |  | 51 | 57 | 0.026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2601-58_0_6_line_61 |  | 52 | 63 | 0.023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2601-58_0_6_line_62 |  | 52 | 64 | 0.002563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2601-58_0_6_line_63 |  | 55 | 56 | 0.017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2601-58_0_6_line_64 |  | 55 | 57 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2601-58_0_6_line_65 |  | 58 | 59 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2601-58_0_6_line_66 |  | 59 | 60 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2601-58_0_6_line_67 |  | 61 | 62 | 0.005704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2601-58_0_6_line_68 |  | 64 | 65 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2601-58_0_6_line_69 |  | 66 | 70 | 0.0011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-58_0_6_trafo_38 | 0.63 MVA 20/0.4 kV | 71 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2607095.4088 | 1228045.1473 | 2607104.3895 | 1228065.8416 | 2607114.9844 | 1228090.6355
1 | 2607059.8827 | 1227963.2841 | 2607095.4088 | 1228045.1473
2 | 2607114.9844 | 1228090.6355 | 2607120.9972 | 1228104.7065 | 2607124.6291 | 1228121.6541 | 2607124.6017 | 1228144.7122 | 2607122.1795 | 1228156.5168
3 | 2607059.8827 | 1227963.2841 | 2607031.7561 | 1227977.0592 | 2607004.4249 | 1227991.0911 | 2607012.7907 | 1228016.3269
4 | 2607117.8541 | 1228161.2028 | 2607122.0792 | 1228157.0053 | 2607122.1795 | 1228156.5168
5 | 2607012.7907 | 1228016.3269 | 2607011.8976 | 1228021.9959
6 | 2607117.8541 | 1228161.2028 | 2607130.8983 | 1228182.6977
7 | 2607117.8541 | 1228161.2028 | 2607115.204 | 1228159.721 | 2607113.0766 | 1228158.2621 | 2607110.8126 | 1228157.1143 | 2607108.3361 | 1228156.2108 | 2607105.7077 | 1228155.5962 | 2607103.1243 | 1228155.3597 | 2607097.5176 | 1228155.3308 | 2607075.6955 | 1228156.3724 | 2607063.9364 | 1228156.3808 | 2607057.9287 | 1228155.8623 | 2607055.4287 | 1228155.5925
8 | 2607130.8983 | 1228182.6977 | 2607137.4002 | 1228181.7826 | 2607153.185 | 1228179.5779 | 2607172.1417 | 1228185.9932
9 | 2607130.8983 | 1228182.6977 | 2607106.1074 | 1228196.1786
10 | 2607058.6234 | 1228138.5195 | 2607057.1489 | 1228148.9239 | 2607055.4287 | 1228155.5925
11 | 2606994.7934 | 1228128.7613 | 2607008.4184 | 1228133.4577 | 2607013.1891 | 1228135.7202 | 2607028.5362 | 1228145.077 | 2607035.2375 | 1228148.5758 | 2607040.6974 | 1228151.0503 | 2607047.2181 | 1228153.4594 | 2607051.9671 | 1228154.7991 | 2607055.4287 | 1228155.5925
12 | 2606994.7934 | 1228128.7613 | 2606985.3554 | 1228126.5156 | 2606975.0608 | 1228124.6137 | 2606966.8874 | 1228123.0255 | 2606964.3806 | 1228154.7191
13 | 2606914.0556 | 1228122.2973 | 2606921.2249 | 1228107.7192 | 2606952.754 | 1228118.8177 | 2606962.7137 | 1228122.0756 | 2606966.8874 | 1228123.0255 | 2606975.0608 | 1228124.6137 | 2606985.3554 | 1228126.5156 | 2606994.7934 | 1228128.7613
14 | 2606964.3806 | 1228154.7191 | 2606975.1055 | 1228157.8556
15 | 2606964.3806 | 1228154.7191 | 2606963.0695 | 1228174.5737 | 2606969.3032 | 1228176.1819
16 | 2606914.0556 | 1228122.2973 | 2606939.0823 | 1228134.8002
17 | 2606908.7617 | 1228133.5201 | 2606914.0556 | 1228122.2973
18 | 2607038.6779 | 1228316.0789 | 2607015.9289 | 1228293.4896
19 | 2607038.6779 | 1228316.0789 | 2607030.0355 | 1228324.5344
20 | 2607038.6779 | 1228316.0789 | 2607054.9937 | 1228300.1219 | 2607066.4777 | 1228288.8954
21 | 2607027.9297 | 1228326.5947 | 2607030.0355 | 1228324.5344
22 | 2607051.5625 | 1228273.4577 | 2607066.4777 | 1228288.8954
23 | 2607066.4777 | 1228288.8954 | 2607075.9441 | 1228279.6344
24 | 2607027.9297 | 1228326.5947 | 2607018.638 | 1228335.5669 | 2607038.3347 | 1228356.747
25 | 2607038.3347 | 1228356.747 | 2607046.6296 | 1228365.7043
26 | 2607045.2697 | 1228225.4663 | 2607053.5138 | 1228218.3496 | 2607055.9857 | 1228216.7738 | 2607063.1794 | 1228213.8575
27 | 2607045.2697 | 1228225.4663 | 2607030.0391 | 1228213.875 | 2607025.8228 | 1228210.6126 | 2607021.6452 | 1228206.5831 | 2607018.2934 | 1228202.6212 | 2607014.7013 | 1228196.7691 | 2607012.7194 | 1228194.043
28 | 2607074.58 | 1228209.2356 | 2607063.1794 | 1228213.8575
29 | 2607056.6247 | 1228376.4976 | 2607046.6296 | 1228365.7043
30 | 2607075.9441 | 1228279.6344 | 2607079.844 | 1228275.8206
31 | 2607075.9441 | 1228279.6344 | 2607085.3159 | 1228288.6601
32 | 2607074.58 | 1228209.2356 | 2607074.0291 | 1228207.345 | 2607072.649 | 1228201.8957 | 2607071.5781 | 1228197.6808
33 | 2607074.58 | 1228209.2356 | 2607088.5474 | 1228204.3821
34 | 2607060.4727 | 1228380.6529 | 2607056.6247 | 1228376.4976
35 | 2607098.4513 | 1228257.624 | 2607079.844 | 1228275.8206
36 | 2607085.3159 | 1228288.6601 | 2607093.5471 | 1228296.5875 | 2607093.5471 | 1228296.5875
37 | 2606908.7617 | 1228133.5201 | 2606930.6605 | 1228144.8631 | 2606928.9127 | 1228152.8638
38 | 2607186.0875 | 1228266.6717 | 2607186.4652 | 1228266.2436
39 | 2607199.8776 | 1228251.0426 | 2607186.4652 | 1228266.2436
40 | 2607176.7908 | 1228277.2082 | 2607186.0875 | 1228266.6717
41 | 2607199.8776 | 1228251.0426 | 2607205.1395 | 1228254.2397 | 2607210.0884 | 1228246.719
42 | 2607176.7908 | 1228277.2082 | 2607169.5727 | 1228285.2929
43 | 2607176.7908 | 1228277.2082 | 2607162.9318 | 1228267.1788
44 | 2607235.2929 | 1228280.4359 | 2607233.4003 | 1228272.9403 | 2607234.6692 | 1228269.9067 | 2607210.0884 | 1228246.719
45 | 2607210.0884 | 1228246.719 | 2607194.736 | 1228229.6238 | 2607181.4324 | 1228209.8628 | 2607176.2335 | 1228196.5059
46 | 2607137.7044 | 1228320.9875 | 2607169.5727 | 1228285.2929
47 | 2607162.9318 | 1228267.1788 | 2607146.6655 | 1228255.4072
48 | 2607235.2929 | 1228280.4359 | 2607237.8159 | 1228288.5167
49 | 2607172.1417 | 1228185.9932 | 2607176.2335 | 1228196.5059
50 | 2607239.6855 | 1228294.5051 | 2607237.8159 | 1228288.5167
51 | 2607137.7044 | 1228320.9875 | 2607123.633 | 1228306.1659
52 | 2607141.1057 | 1228251.3838 | 2607146.6655 | 1228255.4072
53 | 2607088.5474 | 1228204.3821 | 2607095.4015 | 1228202.0004 | 2607106.1074 | 1228196.1786
54 | 2607231.2352 | 1228321.7444 | 2607236.8338 | 1228309.4661 | 2607239.1511 | 1228304.1768 | 2607239.8597 | 1228300.8424 | 2607239.9922 | 1228297.8074 | 2607239.6855 | 1228294.5051
55 | 2607231.2352 | 1228321.7444 | 2607227.1894 | 1228325.591
56 | 2607227.1894 | 1228325.591 | 2607210.0785 | 1228341.8596
57 | 2607068.6776 | 1228389.5131 | 2607060.4727 | 1228380.6529
58 | 2607071.1064 | 1228392.2843 | 2607068.6776 | 1228389.5131
59 | 2607071.1064 | 1228392.2843 | 2607060.6051 | 1228405.5464
60 | 2607071.1064 | 1228392.2843 | 2607074.0648 | 1228395.6564 | 2607085.8454 | 1228409.0894 | 2607088.8132 | 1228412.4747
61 | 2607051.5312 | 1228196.8901 | 2607052.2704 | 1228199.7482 | 2607055.5178 | 1228202.2869 | 2607061.9211 | 1228201.3828 | 2607071.5781 | 1228197.6808
62 | 2607071.2023 | 1228195.1456 | 2607071.5781 | 1228197.6808
63 | 2607097.4303 | 1228427.7474 | 2607092.3578 | 1228431.099 | 2607083.7851 | 1228438.7417
64 | 2607097.4303 | 1228427.7474 | 2607092.4506 | 1228416.6238 | 2607088.8132 | 1228412.4747
65 | 2607105.1585 | 1228286.7064 | 2607105.1585 | 1228286.7064 | 2607123.633 | 1228306.1659
66 | 2607105.1585 | 1228286.7064 | 2607093.5471 | 1228296.5875
67 | 2607060.6051 | 1228405.5464 | 2607064.6309 | 1228409.598
68 | 2607080.9233 | 1228188.5309 | 2607071.2023 | 1228195.1456
69 | 2607058.6234 | 1228138.5195 | 2607059.7837 | 1228138.4768

## bus_geodata
| x | y | coords
0 | 2607095.4088 | 1228045.1473
1 | 2607114.9844 | 1228090.6355
2 | 2607059.8827 | 1227963.2841
3 | 2607122.1795 | 1228156.5168
4 | 2607012.7907 | 1228016.3269
5 | 2607117.8541 | 1228161.2028
6 | 2607011.8976 | 1228021.9959
7 | 2607130.8983 | 1228182.6977
8 | 2607055.4287 | 1228155.5925
9 | 2606994.7934 | 1228128.7613
10 | 2606964.3806 | 1228154.7191
11 | 2606914.0556 | 1228122.2973
12 | 2607015.9289 | 1228293.4896
13 | 2607038.6779 | 1228316.0789
14 | 2607030.0355 | 1228324.5344
15 | 2607066.4777 | 1228288.8954
16 | 2607027.9297 | 1228326.5947
17 | 2607038.3347 | 1228356.747
18 | 2607045.2697 | 1228225.4663
19 | 2607063.1794 | 1228213.8575
20 | 2607012.7194 | 1228194.043
21 | 2607046.6296 | 1228365.7043
22 | 2607051.5625 | 1228273.4577
23 | 2607075.9441 | 1228279.6344
24 | 2607074.58 | 1228209.2356
25 | 2607056.6247 | 1228376.4976
26 | 2607079.844 | 1228275.8206
27 | 2607085.3159 | 1228288.6601
28 | 2606928.9127 | 1228152.8638
29 | 2606908.7617 | 1228133.5201
30 | 2607186.4652 | 1228266.2436
31 | 2607186.0875 | 1228266.6717
32 | 2607199.8776 | 1228251.0426
33 | 2607176.7908 | 1228277.2082
34 | 2607210.0884 | 1228246.719
35 | 2607169.5727 | 1228285.2929
36 | 2607162.9318 | 1228267.1788
37 | 2607235.2929 | 1228280.4359
38 | 2607176.2335 | 1228196.5059
39 | 2607237.8159 | 1228288.5167
40 | 2607137.7044 | 1228320.9875
41 | 2607146.6655 | 1228255.4072
42 | 2607172.1417 | 1228185.9932
43 | 2607106.1074 | 1228196.1786
44 | 2607098.4513 | 1228257.624
45 | 2607239.6855 | 1228294.5051
46 | 2607231.2352 | 1228321.7444
47 | 2607227.1894 | 1228325.591
48 | 2607141.1057 | 1228251.3838
49 | 2607060.4727 | 1228380.6529
50 | 2607068.6776 | 1228389.5131
51 | 2607071.1064 | 1228392.2843
52 | 2607071.5781 | 1228197.6808
53 | 2607088.5474 | 1228204.3821
54 | 2607210.0785 | 1228341.8596
55 | 2607097.4303 | 1228427.7474
56 | 2607083.7851 | 1228438.7417
57 | 2607088.8132 | 1228412.4747
58 | 2607123.633 | 1228306.1659
59 | 2607105.1585 | 1228286.7064
60 | 2607093.5471 | 1228296.5875
61 | 2607060.6051 | 1228405.5464
62 | 2607064.6309 | 1228409.598
63 | 2607051.5312 | 1228196.8901
64 | 2607071.2023 | 1228195.1456
65 | 2607080.9233 | 1228188.5309
66 | 2607058.6234 | 1228138.5195
67 | 2606939.0823 | 1228134.8002
68 | 2606975.1055 | 1228157.8556
69 | 2606969.3032 | 1228176.1819
70 | 2607059.7837 | 1228138.4768
71 | 2607075.9441 | 1228279.6344

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97589 | -0.46359 | 0.0045685 | 0.001145
1 | 0.97619 | -0.45766 | 0.006787 | 0.001701
2 | 0.97572 | -0.4668 | 0 | 0
3 | 0.97703 | -0.44116 | 0.019725 | 0.0049435
4 | 0.97556 | -0.46999 | 0 | 0
5 | 0.97722 | -0.43727 | 0 | 0
6 | 0.97555 | -0.4702 | 0.0019644 | 0.00049233
7 | 0.97805 | -0.42097 | 0 | 0
8 | 0.97504 | -0.48015 | 0.019104 | 0.0047878
9 | 0.97358 | -0.50891 | 0 | 0
10 | 0.97269 | -0.52646 | 0 | 0
11 | 0.97291 | -0.52215 | 0 | 0
12 | 0.99372 | -0.11956 | 0.016828 | 0.0042175
13 | 0.99421 | -0.11004 | 0 | 0
14 | 0.9928 | -0.1369 | 0.0012597 | 0.0003157
15 | 0.99678 | -0.06127 | 0 | 0
16 | 0.99246 | -0.14339 | 0 | 0
17 | 0.98764 | -0.23605 | 0 | 0
18 | 0.97321 | -0.5162 | 0 | 0
19 | 0.97335 | -0.51339 | 0.022009 | 0.0055159
20 | 0.97291 | -0.52214 | 0.0070641 | 0.0017704
21 | 0.98623 | -0.26326 | 0.0016501 | 0.00041356
22 | 0.99636 | -0.06933 | 0.021425 | 0.0053697
23 | 0.99744 | -0.048591 | 0 | 0
24 | 0.97369 | -0.50682 | 0 | 0
25 | 0.98456 | -0.29571 | 0.0014909 | 0.00037365
26 | 0.9973 | -0.051363 | 0.015461 | 0.0038748
27 | 0.99821 | -0.033933 | 0.011205 | 0.0028082
28 | 0.97268 | -0.52674 | 0.0055075 | 0.0013803
29 | 0.97285 | -0.52341 | 0 | 0
30 | 0.98784 | -0.23117 | 0.0069031 | 0.0017301
31 | 0.98789 | -0.23027 | 0.0072891 | 0.0018268
32 | 0.98623 | -0.26228 | 0 | 0
33 | 0.98907 | -0.20759 | 0 | 0
34 | 0.98502 | -0.28561 | 0 | 0
35 | 0.99017 | -0.18651 | 0.0025307 | 0.00063426
36 | 0.98819 | -0.22476 | 0.01228 | 0.0030775
37 | 0.98262 | -0.33235 | 0 | 0
38 | 0.98124 | -0.35885 | 0.0081372 | 0.0020394
39 | 0.98217 | -0.34122 | 0.02461 | 0.0061679
40 | 0.99506 | -0.093305 | 0 | 0
41 | 0.98738 | -0.24054 | 0.0089688 | 0.0022478
42 | 0.98057 | -0.37187 | 0 | 0
43 | 0.97584 | -0.46449 | 0.011738 | 0.0029418
44 | 0.99698 | -0.057542 | 0.013543 | 0.0033942
45 | 0.98197 | -0.34501 | 0 | 0
46 | 0.98108 | -0.36254 | 0 | 0
47 | 0.98091 | -0.36591 | 0.016661 | 0.0041757
48 | 0.98716 | -0.24484 | 0.035034 | 0.0087803
49 | 0.98392 | -0.30808 | 0.00062812 | 0.00015742
50 | 0.98257 | -0.33438 | 0 | 0
51 | 0.98216 | -0.3424 | 0 | 0
52 | 0.97334 | -0.5137 | 0 | 0
53 | 0.97452 | -0.4904 | 0.012294 | 0.0030811
54 | 0.98054 | -0.37307 | 0.016724 | 0.0041915
55 | 0.97962 | -0.39216 | 0 | 0
56 | 0.97909 | -0.40255 | 0.032528 | 0.0081523
57 | 0.98015 | -0.38171 | 0.048308 | 0.012107
58 | 0.99715 | -0.053775 | 0.013634 | 0.0034169
59 | 1 | 0 | -0.58402 | -0.14951
60 | 0.99893 | -0.020331 | 0.024992 | 0.0062636
61 | 0.98154 | -0.35461 | 0 | 0
62 | 0.98133 | -0.35873 | 0.039939 | 0.01001
63 | 0.97291 | -0.52209 | 0.019142 | 0.0047975
64 | 0.97331 | -0.51427 | 0 | 0
65 | 0.97317 | -0.51691 | 0.012204 | 0.0030585
66 | 0.97454 | -0.49004 | 0 | 0
67 | 0.97285 | -0.5233 | 0.0022295 | 0.00055876
68 | 0.97261 | -0.52812 | 0.0080899 | 0.0020275
69 | 0.9725 | -0.53021 | 0.0077225 | 0.0019354
70 | 0.97451 | -0.4907 | 0.030985 | 0.0077656
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0065336 | -0.0016354 | 0.0065354 | 0.001636 | 1.8428e-06 | 5.6045e-07 | 0.0099616 | 0.0099613 | 0.0099616 | 0.97589 | -0.46359 | 0.97619 | -0.45766 | 2.7367
1 | 0.001965 | 0.00049044 | -0.0019647 | -0.00049136 | 3.0033e-07 | -9.2258e-07 | 0.0029955 | 0.0029959 | 0.0029959 | 0.97589 | -0.46359 | 0.97572 | -0.4668 | 0.82306
2 | -0.013322 | -0.003337 | 0.013333 | 0.0033428 | 1.0476e-05 | 5.8567e-06 | 0.020307 | 0.020307 | 0.020307 | 0.97619 | -0.45766 | 0.97703 | -0.44116 | 5.5788
3 | 0.0019647 | 0.00049136 | -0.0019645 | -0.00049227 | 2.9835e-07 | -9.1584e-07 | 0.0029959 | 0.0029963 | 0.0029963 | 0.97572 | -0.4668 | 0.97556 | -0.46999 | 0.82317
4 | -0.033058 | -0.0082863 | 0.033064 | 0.0082902 | 6.1355e-06 | 3.8459e-06 | 0.050348 | 0.050348 | 0.050348 | 0.97703 | -0.44116 | 0.97722 | -0.43727 | 13.8318
5 | 0.0019645 | 0.00049227 | -0.0019644 | -0.00049233 | 1.9322e-08 | -5.9289e-08 | 0.0029963 | 0.0029964 | 0.0029964 | 0.97556 | -0.46999 | 0.97555 | -0.4702 | 0.82318
6 | -0.10692 | -0.026881 | 0.10701 | 0.026933 | 8.3283e-05 | 5.2356e-05 | 0.16284 | 0.16284 | 0.16284 | 0.97722 | -0.43727 | 0.97805 | -0.42097 | 14.9121
7 | 0.073859 | 0.018591 | -0.073707 | -0.018496 | 0.00015106 | 9.5085e-05 | 0.11249 | 0.11249 | 0.11249 | 0.97722 | -0.43727 | 0.97504 | -0.48015 | 15.4524
8 | -0.1918 | -0.048317 | 0.19225 | 0.048605 | 0.00045157 | 0.0002874 | 0.2919 | 0.2919 | 0.2919 | 0.97805 | -0.42097 | 0.98057 | -0.37187 | 26.7305
9 | 0.084796 | 0.021384 | -0.08462 | -0.021272 | 0.00017625 | 0.00011245 | 0.12906 | 0.12906 | 0.12906 | 0.97805 | -0.42097 | 0.97584 | -0.46449 | 35.4551
10 | 0.031001 | 0.0077753 | -0.030986 | -0.0077662 | 1.4603e-05 | 9.1288e-06 | 0.047312 | 0.047312 | 0.047312 | 0.97504 | -0.48015 | 0.97454 | -0.49004 | 12.9979
11 | 0.023603 | 0.0059324 | -0.023571 | -0.0059125 | 3.2366e-05 | 1.9886e-05 | 0.036027 | 0.036027 | 0.036027 | 0.97504 | -0.48015 | 0.97358 | -0.50891 | 9.8977
12 | 0.015828 | 0.0039715 | -0.015814 | -0.0039638 | 1.3232e-05 | 7.7198e-06 | 0.024193 | 0.024193 | 0.024193 | 0.97358 | -0.50891 | 0.97269 | -0.52646 | 6.6464
13 | 0.0077432 | 0.001941 | -0.0077384 | -0.001939 | 4.8811e-06 | 1.9691e-06 | 0.011835 | 0.011835 | 0.011835 | 0.97358 | -0.50891 | 0.97291 | -0.52215 | 3.2514
14 | 0.0080905 | 0.0020278 | -0.0080899 | -0.0020275 | 6.4017e-07 | 2.7139e-07 | 0.012377 | 0.012377 | 0.012377 | 0.97269 | -0.52646 | 0.97261 | -0.52812 | 3.4002
15 | 0.0077239 | 0.001936 | -0.0077225 | -0.0019354 | 1.3781e-06 | 5.5534e-07 | 0.011816 | 0.011816 | 0.011816 | 0.97269 | -0.52646 | 0.9725 | -0.53021 | 3.2462
16 | 0.0022296 | 0.00055849 | -0.0022295 | -0.00055876 | 1.2171e-07 | -2.6869e-07 | 0.00341 | 0.0034101 | 0.0034101 | 0.97291 | -0.52215 | 0.97285 | -0.5233 | 0.93683
17 | 0.0055087 | 0.0013805 | -0.0055084 | -0.0013805 | 3.3019e-07 | 5.7298e-08 | 0.0084253 | 0.0084254 | 0.0084254 | 0.97291 | -0.52215 | 0.97285 | -0.52341 | 2.3147
18 | -0.016828 | -0.0042175 | 0.016836 | 0.004222 | 7.6336e-06 | 4.47e-06 | 0.025199 | 0.025198 | 0.025199 | 0.99372 | -0.11956 | 0.99421 | -0.11004 | 6.9227
19 | 0.12741 | 0.032555 | -0.12725 | -0.03245 | 0.00016526 | 0.00010561 | 0.19092 | 0.19092 | 0.19092 | 0.99421 | -0.11004 | 0.9928 | -0.1369 | 52.4492
20 | -0.14425 | -0.036777 | 0.14459 | 0.036994 | 0.00034049 | 0.0002169 | 0.21611 | 0.21611 | 0.21611 | 0.99421 | -0.11004 | 0.99678 | -0.06127 | 29.6859
21 | 0.12599 | 0.032134 | -0.12595 | -0.032109 | 3.9475e-05 | 2.5226e-05 | 0.18903 | 0.18903 | 0.18903 | 0.9928 | -0.1369 | 0.99246 | -0.14339 | 51.9306
22 | 0.021434 | 0.0053747 | -0.021425 | -0.0053697 | 8.2308e-06 | 4.9884e-06 | 0.031998 | 0.031998 | 0.031998 | 0.99678 | -0.06127 | 0.99636 | -0.06933 | 8.7907
23 | -0.16602 | -0.042369 | 0.16612 | 0.042434 | 0.00010176 | 6.4607e-05 | 0.24811 | 0.24811 | 0.24811 | 0.99678 | -0.06127 | 0.99744 | -0.048591 | 22.7207
24 | 0.12595 | 0.032109 | -0.12539 | -0.031751 | 0.00056062 | 0.00035826 | 0.18903 | 0.18903 | 0.18903 | 0.99246 | -0.14339 | 0.98764 | -0.23605 | 51.9306
25 | 0.12539 | 0.031751 | -0.12522 | -0.031646 | 0.00016358 | 0.00010454 | 0.18903 | 0.18903 | 0.18903 | 0.98764 | -0.23605 | 0.98623 | -0.26326 | 51.9306
26 | -0.0070661 | -0.0017712 | 0.0070671 | 0.0017715 | 9.4482e-07 | 3.3643e-07 | 0.010804 | 0.010804 | 0.010804 | 0.97321 | -0.5162 | 0.97335 | -0.51339 | 2.9681
27 | 0.0070661 | 0.0017712 | -0.0070641 | -0.0017704 | 2.0005e-06 | 7.1263e-07 | 0.010804 | 0.010804 | 0.010804 | 0.97321 | -0.5162 | 0.97291 | -0.52214 | 2.9682
28 | -0.029076 | -0.0072874 | 0.029085 | 0.0072931 | 9.1148e-06 | 5.6805e-06 | 0.04445 | 0.04445 | 0.04445 | 0.97335 | -0.51339 | 0.97369 | -0.50682 | 12.2116
29 | 0.12357 | 0.031233 | -0.12338 | -0.03111 | 0.00019195 | 0.00012266 | 0.18654 | 0.18654 | 0.18654 | 0.98623 | -0.26326 | 0.98456 | -0.29571 | 51.2467
30 | 0.029011 | 0.0072736 | -0.029008 | -0.0072712 | 3.8318e-06 | 2.3811e-06 | 0.043281 | 0.043281 | 0.043281 | 0.99744 | -0.048591 | 0.9973 | -0.051363 | 11.8904
31 | -0.19513 | -0.049707 | 0.19527 | 0.049795 | 0.0001381 | 8.7872e-05 | 0.29139 | 0.29139 | 0.29139 | 0.99744 | -0.048591 | 0.99821 | -0.033933 | 26.6842
32 | 0.031365 | 0.007868 | -0.031355 | -0.0078616 | 1.0288e-05 | 6.4358e-06 | 0.047936 | 0.047936 | 0.047936 | 0.97369 | -0.50682 | 0.97334 | -0.5137 | 13.1693
33 | -0.060451 | -0.015161 | 0.060498 | 0.015191 | 4.7328e-05 | 3.0106e-05 | 0.092386 | 0.092386 | 0.092386 | 0.97369 | -0.50682 | 0.97452 | -0.4904 | 25.3808
34 | 0.12189 | 0.030736 | -0.12182 | -0.03069 | 7.2124e-05 | 4.6088e-05 | 0.18428 | 0.18428 | 0.18428 | 0.98456 | -0.29571 | 0.98392 | -0.30808 | 50.6276
35 | 0.013547 | 0.0033964 | -0.013543 | -0.0033942 | 3.9875e-06 | 2.2125e-06 | 0.020213 | 0.020213 | 0.020213 | 0.9973 | -0.051363 | 0.99698 | -0.057542 | 5.553
36 | -0.20648 | -0.052603 | 0.20661 | 0.05269 | 0.00013559 | 8.6332e-05 | 0.30809 | 0.30809 | 0.30809 | 0.99821 | -0.033933 | 0.99893 | -0.020331 | 28.2137
37 | -0.0055075 | -0.0013803 | 0.0055084 | 0.0013805 | 8.7452e-07 | 1.5186e-07 | 0.0084255 | 0.0084254 | 0.0084255 | 0.97268 | -0.52674 | 0.97285 | -0.52341 | 2.3147
38 | -0.267 | -0.067997 | 0.26701 | 0.068004 | 1.1565e-05 | 7.3796e-06 | 0.40257 | 0.40257 | 0.40257 | 0.98784 | -0.23117 | 0.98789 | -0.23027 | 36.8656
39 | 0.26009 | 0.066267 | -0.2597 | -0.066018 | 0.00038973 | 0.00024865 | 0.39217 | 0.39217 | 0.39217 | 0.98784 | -0.23117 | 0.98623 | -0.26228 | 35.9134
40 | -0.2743 | -0.069831 | 0.2746 | 0.070023 | 0.0003004 | 0.00019171 | 0.41355 | 0.41355 | 0.41355 | 0.98789 | -0.23027 | 0.98907 | -0.20759 | 37.871
41 | 0.2597 | 0.066018 | -0.25941 | -0.065832 | 0.00029145 | 0.00018595 | 0.39217 | 0.39217 | 0.39217 | 0.98623 | -0.26228 | 0.98502 | -0.28561 | 35.9134
42 | -0.33097 | -0.084183 | 0.3313 | 0.084398 | 0.00033648 | 0.00021493 | 0.49837 | 0.49837 | 0.49837 | 0.98907 | -0.20759 | 0.99017 | -0.18651 | 45.6379
43 | 0.056368 | 0.01416 | -0.056322 | -0.014131 | 4.6149e-05 | 2.9316e-05 | 0.084816 | 0.084816 | 0.084816 | 0.98907 | -0.20759 | 0.98819 | -0.22476 | 23.301
44 | 0.058195 | 0.014661 | -0.058065 | -0.014579 | 0.0001298 | 8.2507e-05 | 0.08794 | 0.08794 | 0.08794 | 0.98502 | -0.28561 | 0.98262 | -0.33235 | 24.1593
45 | 0.20122 | 0.051171 | -0.20051 | -0.05072 | 0.00070729 | 0.00045034 | 0.30424 | 0.30424 | 0.30424 | 0.98502 | -0.28561 | 0.98124 | -0.35885 | 27.8604
46 | -0.33383 | -0.085032 | 0.33534 | 0.085996 | 0.0015083 | 0.00096348 | 0.50217 | 0.50217 | 0.50217 | 0.99017 | -0.18651 | 0.99506 | -0.093305 | 45.9862
47 | 0.044043 | 0.011053 | -0.04401 | -0.011033 | 3.3123e-05 | 2.0942e-05 | 0.066325 | 0.066325 | 0.066325 | 0.98819 | -0.22476 | 0.98738 | -0.24054 | 18.2212
48 | 0.058065 | 0.014579 | -0.058041 | -0.014563 | 2.455e-05 | 1.5605e-05 | 0.08794 | 0.08794 | 0.08794 | 0.98262 | -0.33235 | 0.98217 | -0.34122 | 24.1593
49 | 0.19237 | 0.048681 | -0.19225 | -0.048605 | 0.00012015 | 7.6467e-05 | 0.2919 | 0.2919 | 0.2919 | 0.98124 | -0.35885 | 0.98057 | -0.37187 | 26.7304
50 | 0.033431 | 0.0083952 | -0.033424 | -0.0083914 | 6.0363e-06 | 3.7838e-06 | 0.050654 | 0.050654 | 0.050654 | 0.98217 | -0.34122 | 0.98197 | -0.34501 | 13.916
51 | -0.33534 | -0.085996 | 0.33599 | 0.086407 | 0.00064422 | 0.0004115 | 0.50217 | 0.50217 | 0.50217 | 0.99506 | -0.093305 | 0.99715 | -0.053775 | 45.9861
52 | 0.035041 | 0.0087848 | -0.035034 | -0.0087803 | 7.1772e-06 | 4.5056e-06 | 0.052809 | 0.052809 | 0.052809 | 0.98738 | -0.24054 | 0.98716 | -0.24484 | 14.5079
53 | 0.072882 | 0.01833 | -0.072792 | -0.018272 | 9.0088e-05 | 5.7414e-05 | 0.11116 | 0.11116 | 0.11116 | 0.97584 | -0.46449 | 0.97452 | -0.4904 | 30.5379
54 | 0.033424 | 0.0083914 | -0.033397 | -0.0083739 | 2.793e-05 | 1.7508e-05 | 0.050654 | 0.050654 | 0.050654 | 0.98197 | -0.34501 | 0.98108 | -0.36254 | 13.9161
55 | 0.033397 | 0.0083739 | -0.033391 | -0.0083705 | 5.3716e-06 | 3.3673e-06 | 0.050654 | 0.050655 | 0.050655 | 0.98108 | -0.36254 | 0.98091 | -0.36591 | 13.9161
56 | 0.01673 | 0.0041949 | -0.016724 | -0.0041915 | 5.7031e-06 | 3.3521e-06 | 0.02538 | 0.02538 | 0.02538 | 0.98091 | -0.36591 | 0.98054 | -0.37307 | 6.9725
57 | 0.12119 | 0.030533 | -0.12104 | -0.030435 | 0.00015221 | 9.7259e-05 | 0.18333 | 0.18333 | 0.18333 | 0.98392 | -0.30808 | 0.98257 | -0.33438 | 50.3667
58 | 0.12104 | 0.030435 | -0.12099 | -0.030406 | 4.6384e-05 | 2.9639e-05 | 0.18333 | 0.18333 | 0.18333 | 0.98257 | -0.33438 | 0.98216 | -0.3424 | 50.3667
59 | 0.03997 | 0.010029 | -0.039947 | -0.010015 | 2.3242e-05 | 1.4661e-05 | 0.060561 | 0.060561 | 0.060561 | 0.98216 | -0.3424 | 0.98154 | -0.35461 | 16.6375
60 | 0.08102 | 0.020377 | -0.080868 | -0.02028 | 0.0001518 | 9.6812e-05 | 0.12277 | 0.12277 | 0.12277 | 0.98216 | -0.3424 | 0.98015 | -0.38171 | 33.7292
61 | 0.01915 | 0.0048021 | -0.019142 | -0.0047975 | 7.6598e-06 | 4.6062e-06 | 0.029277 | 0.029277 | 0.029277 | 0.97334 | -0.5137 | 0.97291 | -0.52209 | 8.0431
62 | 0.012205 | 0.0030595 | -0.012205 | -0.0030593 | 3.3465e-07 | 1.8232e-07 | 0.01866 | 0.01866 | 0.01866 | 0.97334 | -0.5137 | 0.97331 | -0.51427 | 5.1263
63 | 0.032544 | 0.0081623 | -0.032528 | -0.0081523 | 1.6097e-05 | 1.0081e-05 | 0.049436 | 0.049436 | 0.049436 | 0.97962 | -0.39216 | 0.97909 | -0.40255 | 13.5812
64 | -0.032544 | -0.0081623 | 0.03256 | 0.0081725 | 1.6226e-05 | 1.0162e-05 | 0.049436 | 0.049436 | 0.049436 | 0.97962 | -0.39216 | 0.98015 | -0.38171 | 13.5812
65 | -0.34962 | -0.089824 | 0.35054 | 0.090409 | 0.00091572 | 0.00058501 | 0.52251 | 0.52251 | 0.52251 | 0.99715 | -0.053775 | 1 | 0 | 47.8492
66 | 0.23183 | 0.059098 | -0.2316 | -0.058953 | 0.00022726 | 0.00014485 | 0.34532 | 0.34532 | 0.34532 | 1 | 0 | 0.99893 | -0.020331 | 31.6229
67 | 0.039947 | 0.010015 | -0.039939 | -0.01001 | 7.845e-06 | 4.9487e-06 | 0.060561 | 0.060561 | 0.060561 | 0.98154 | -0.35461 | 0.98133 | -0.35873 | 16.6375
68 | 0.012205 | 0.0030593 | -0.012204 | -0.0030585 | 1.5322e-06 | 8.3479e-07 | 0.01866 | 0.01866 | 0.01866 | 0.97331 | -0.51427 | 0.97317 | -0.51691 | 5.1263
69 | 0.030986 | 0.0077662 | -0.030985 | -0.0077656 | 9.7464e-07 | 6.093e-07 | 0.047312 | 0.047312 | 0.047312 | 0.97454 | -0.49004 | 0.97451 | -0.4907 | 12.9979

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59513 | 0.15229

## res_load
| p_mw | q_mvar
0 | 0.0045685 | 0.001145
1 | 0.006787 | 0.001701
2 | 0.019725 | 0.0049435
3 | 0.0019644 | 0.00049233
4 | 0.019104 | 0.0047878
5 | 0.016828 | 0.0042175
6 | 0.0012597 | 0.0003157
7 | 0.022009 | 0.0055159
8 | 0.0070641 | 0.0017704
9 | 0.0016501 | 0.00041356
10 | 0.021425 | 0.0053697
11 | 0.0014909 | 0.00037365
12 | 0.015461 | 0.0038748
13 | 0.011205 | 0.0028082
14 | 0.0055075 | 0.0013803
15 | 0.0069031 | 0.0017301
16 | 0.0072891 | 0.0018268
17 | 0.0025307 | 0.00063426
18 | 0.01228 | 0.0030775
19 | 0.0081372 | 0.0020394
20 | 0.02461 | 0.0061679
21 | 0.0089688 | 0.0022478
22 | 0.011738 | 0.0029418
23 | 0.013543 | 0.0033942
24 | 0.016661 | 0.0041757
25 | 0.035034 | 0.0087803
26 | 0.00062812 | 0.00015742
27 | 0.012294 | 0.0030811
28 | 0.016724 | 0.0041915
29 | 0.032528 | 0.0081523
30 | 0.048308 | 0.012107
31 | 0.013634 | 0.0034169
32 | 0.011116 | 0.002786
33 | 0.024992 | 0.0062636
34 | 0.039939 | 0.01001
35 | 0.019142 | 0.0047975
36 | 0.012204 | 0.0030585
37 | 0.0022295 | 0.00055876
38 | 0.0080899 | 0.0020275
39 | 0.0077225 | 0.0019354
40 | 0.030985 | 0.0077656

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1